## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_1031-27_0_3_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_1031-27_0_3_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_1031-27_0_3_node_2 | 0.4 | n |  | TRUE
3 | bus_LV_1031-27_0_3_node_3 | 0.4 | n |  | TRUE
4 | bus_LV_1031-27_0_3_node_4 | 0.4 | n |  | TRUE
5 | bus_LV_1031-27_0_3_node_13 | 0.4 | n |  | TRUE
6 | bus_LV_1031-27_0_3_node_23 | 0.4 | n |  | TRUE
7 | bus_LV_1031-27_0_3_node_7 | 0.4 | n |  | TRUE
8 | bus_LV_1031-27_0_3_node_56 | 0.4 | n |  | TRUE
9 | bus_LV_1031-27_0_3_node_5 | 0.4 | n |  | TRUE
10 | bus_LV_1031-27_0_3_node_6 | 0.4 | n |  | TRUE
11 | bus_LV_1031-27_0_3_node_18 | 0.4 | n |  | TRUE
12 | bus_LV_1031-27_0_3_node_19 | 0.4 | n |  | TRUE
13 | bus_LV_1031-27_0_3_node_32 | 0.4 | n |  | TRUE
14 | bus_LV_1031-27_0_3_node_33 | 0.4 | n |  | TRUE
15 | bus_LV_1031-27_0_3_node_9 | 0.4 | n |  | TRUE
16 | bus_LV_1031-27_0_3_node_10 | 0.4 | n |  | TRUE
17 | bus_LV_1031-27_0_3_node_11 | 0.4 | n |  | TRUE
18 | bus_LV_1031-27_0_3_node_12 | 0.4 | n |  | TRUE
19 | bus_LV_1031-27_0_3_node_15 | 0.4 | n |  | TRUE
20 | bus_LV_1031-27_0_3_node_14 | 0.4 | n |  | TRUE
21 | bus_LV_1031-27_0_3_node_16 | 0.4 | n |  | TRUE
22 | bus_LV_1031-27_0_3_node_17 | 0.4 | n |  | TRUE
23 | bus_LV_1031-27_0_3_node_20 | 0.4 | n |  | TRUE
24 | bus_LV_1031-27_0_3_node_21 | 0.4 | n |  | TRUE
25 | bus_LV_1031-27_0_3_node_26 | 0.4 | n |  | TRUE
26 | bus_LV_1031-27_0_3_node_24 | 0.4 | n |  | TRUE
27 | bus_LV_1031-27_0_3_node_22 | 0.4 | n |  | TRUE
28 | bus_LV_1031-27_0_3_node_54 | 0.4 | n |  | TRUE
29 | bus_LV_1031-27_0_3_node_55 | 0.4 | n |  | TRUE
30 | bus_LV_1031-27_0_3_node_34 | 0.4 | n |  | TRUE
31 | bus_LV_1031-27_0_3_node_52 | 0.4 | n |  | TRUE
32 | bus_LV_1031-27_0_3_node_50 | 0.4 | n |  | TRUE
33 | bus_LV_1031-27_0_3_node_51 | 0.4 | n |  | TRUE
34 | bus_LV_1031-27_0_3_node_27 | 0.4 | n |  | TRUE
35 | bus_LV_1031-27_0_3_node_29 | 0.4 | n |  | TRUE
36 | bus_LV_1031-27_0_3_node_30 | 0.4 | n |  | TRUE
37 | bus_LV_1031-27_0_3_node_31 | 0.4 | n |  | TRUE
38 | bus_LV_1031-27_0_3_node_38 | 0.4 | n |  | TRUE
39 | bus_LV_1031-27_0_3_node_35 | 0.4 | n |  | TRUE
40 | bus_LV_1031-27_0_3_node_49 | 0.4 | n |  | TRUE
41 | bus_LV_1031-27_0_3_node_42 | 0.4 | n |  | TRUE
42 | bus_LV_1031-27_0_3_node_36 | 0.4 | n |  | TRUE
43 | bus_LV_1031-27_0_3_node_37 | 0.4 | n |  | TRUE
44 | bus_LV_1031-27_0_3_node_40 | 0.4 | n |  | TRUE
45 | bus_LV_1031-27_0_3_node_39 | 0.4 | n |  | TRUE
46 | bus_LV_1031-27_0_3_node_41 | 0.4 | n |  | TRUE
47 | bus_LV_1031-27_0_3_node_43 | 0.4 | n |  | TRUE
48 | bus_LV_1031-27_0_3_node_46 | 0.4 | n |  | TRUE
49 | bus_LV_1031-27_0_3_node_47 | 0.4 | n |  | TRUE
50 | bus_LV_1031-27_0_3_node_45 | 0.4 | n |  | TRUE
51 | bus_LV_1031-27_0_3_node_48 | 0.4 | n |  | TRUE
52 | bus_MV_353_1_node_84 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_1031-27_0_3_load_0 | 0 | 0.0051994 | 0.0013031 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_1031-27_0_3_load_1 | 1 | 0.0027976 | 0.00070115 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_1031-27_0_3_load_2 | 2 | 0.002482 | 0.00062206 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_1031-27_0_3_load_3 | 3 | 0.0027983 | 0.00070132 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_1031-27_0_3_load_4 | 4 | 0.0024437 | 0.00061244 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_1031-27_0_3_load_13 | 5 | 0.0025853 | 0.00064794 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_1031-27_0_3_load_23 | 6 | 0.0024404 | 0.00061163 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_1031-27_0_3_load_56 | 8 | 0.0024431 | 0.00061229 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_1031-27_0_3_load_5 | 9 | 0.0054144 | 0.001357 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_1031-27_0_3_load_18 | 11 | 0.0025872 | 0.00064842 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_1031-27_0_3_load_19 | 12 | 0.005607 | 0.0014052 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_1031-27_0_3_load_32 | 13 | 0.0054455 | 0.0013648 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_1031-27_0_3_load_33 | 14 | 0.0067301 | 0.0016867 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_1031-27_0_3_load_9 | 15 | 0.0020725 | 0.00051942 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_1031-27_0_3_load_10 | 16 | 0.0020716 | 0.0005192 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_1031-27_0_3_load_11 | 17 | 0.0045867 | 0.0011495 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_1031-27_0_3_load_12 | 18 | 0.0026291 | 0.00065892 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_1031-27_0_3_load_15 | 19 | 0.0026193 | 0.00065646 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_1031-27_0_3_load_14 | 20 | 0.0021094 | 0.00052866 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_1031-27_0_3_load_24 | 26 | 0.0075142 | 0.0018832 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_1031-27_0_3_load_54 | 28 | 0.0059281 | 0.0014857 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_1031-27_0_3_load_55 | 29 | 0.0032852 | 0.00082335 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_1031-27_0_3_load_34 | 30 | 0.0066089 | 0.0016563 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_1031-27_0_3_load_50 | 32 | 0.0062966 | 0.0015781 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_1031-27_0_3_load_51 | 33 | 0.0064656 | 0.0016204 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_1031-27_0_3_load_27 | 34 | 0.0025533 | 0.00063991 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_1031-27_0_3_load_31 | 37 | 0.0040844 | 0.0010237 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_1031-27_0_3_load_38 | 38 | 0.0024116 | 0.00060441 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_1031-27_0_3_load_35 | 39 | 0.0020073 | 0.00050307 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_1031-27_0_3_load_49 | 40 | 0.0056479 | 0.0014155 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_1031-27_0_3_load_42 | 41 | 0.0039167 | 0.00098161 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_1031-27_0_3_load_36 | 42 | 0.0020386 | 0.00051092 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_1031-27_0_3_load_37 | 43 | 0.0021195 | 0.0005312 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_1031-27_0_3_load_40 | 44 | 0.0028132 | 0.00070506 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_1031-27_0_3_load_39 | 45 | 0.0025268 | 0.00063327 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_1031-27_0_3_load_41 | 46 | 0.0028777 | 0.00072123 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_1031-27_0_3_load_43 | 47 | 0.0015733 | 0.00039432 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_1031-27_0_3_load_46 | 48 | 0.0029211 | 0.0007321 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_1031-27_0_3_load_48 | 51 | 0.0028055 | 0.00070311 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 30 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_1031-27_0_3_line_0 | NAYY 4x150 SE | 0 | 1 | 0.0099208 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
1 | LV_1031-27_0_3_line_1 | NAYY 4x150 SE | 0 | 2 | 0.0049212 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
2 | LV_1031-27_0_3_line_2 | NAYY 4x150 SE | 1 | 3 | 0.0062422 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
3 | LV_1031-27_0_3_line_3 | NAYY 4x150 SE | 2 | 4 | 0.005557 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
4 | LV_1031-27_0_3_line_4 | NAYY 4x150 SE | 3 | 5 | 0.019728 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
5 | LV_1031-27_0_3_line_5 | NAYY 4x150 SE | 4 | 6 | 0.005557 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
6 | LV_1031-27_0_3_line_6 | NAYY 4x150 SE | 5 | 7 | 0.018899 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
7 | LV_1031-27_0_3_line_7 | NAYY 4x150 SE | 6 | 8 | 0.0055572 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
8 | LV_1031-27_0_3_line_8 | NAYY 4x150 SE | 7 | 11 | 0.023314 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
9 | LV_1031-27_0_3_line_9 | NAYY 4x150 SE | 7 | 10 | 0.037271 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
10 | LV_1031-27_0_3_line_10 | NAYY 4x150 SE | 8 | 22 | 0.050078 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
11 | LV_1031-27_0_3_line_11 | NAYY 4x150 SE | 9 | 10 | 0.022904 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
12 | LV_1031-27_0_3_line_12 | NAYY 4x150 SE | 11 | 12 | 0.023354 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
13 | LV_1031-27_0_3_line_13 | NAYY 4x150 SE | 12 | 23 | 0.016995 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
14 | LV_1031-27_0_3_line_14 | NAYY 4x150 SE | 13 | 14 | 0.031384 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
15 | LV_1031-27_0_3_line_15 | NAYY 4x150 SE | 14 | 30 | 0.031103 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
16 | LV_1031-27_0_3_line_16 | NAYY 4x150 SE | 15 | 16 | 0.0054392 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
17 | LV_1031-27_0_3_line_17 | NAYY 4x150 SE | 15 | 17 | 0.0076051 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
18 | LV_1031-27_0_3_line_18 | NAYY 4x150 SE | 16 | 18 | 0.016063 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
19 | LV_1031-27_0_3_line_19 | NAYY 4x150 SE | 18 | 19 | 0.005575 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
20 | LV_1031-27_0_3_line_20 | NAYY 4x150 SE | 19 | 20 | 0.015359 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
21 | LV_1031-27_0_3_line_21 | NAYY 4x150 SE | 20 | 21 | 0.048132 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
22 | LV_1031-27_0_3_line_22 | NAYY 4x150 SE | 21 | 22 | 0.069856 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
23 | LV_1031-27_0_3_line_23 | NAYY 4x150 SE | 23 | 24 | 0.010209 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
24 | LV_1031-27_0_3_line_24 | NAYY 4x150 SE | 24 | 25 | 0.004174 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
25 | LV_1031-27_0_3_line_25 | NAYY 4x150 SE | 24 | 26 | 0.043898 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
26 | LV_1031-27_0_3_line_26 | NAYY 4x150 SE | 25 | 30 | 0.031746 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
27 | LV_1031-27_0_3_line_27 | NAYY 4x150 SE | 25 | 31 | 0.024568 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
28 | LV_1031-27_0_3_line_28 | NAYY 4x150 SE | 27 | 28 | 0.0081766 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
29 | LV_1031-27_0_3_line_29 | NAYY 4x150 SE | 27 | 29 | 0.0084494 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
30 | LV_1031-27_0_3_line_30 | NAYY 4x150 SE | 28 | 31 | 0.0066203 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
31 | LV_1031-27_0_3_line_31 | NAYY 4x150 SE | 29 | 32 | 0.015215 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
32 | LV_1031-27_0_3_line_32 | NAYY 4x150 SE | 31 | 33 | 0.025633 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
33 | LV_1031-27_0_3_line_33 | NAYY 4x150 SE | 32 | 40 | 0.022179 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
34 | LV_1031-27_0_3_line_34 | NAYY 4x150 SE | 34 | 35 | 0.016492 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
35 | LV_1031-27_0_3_line_35 | NAYY 4x150 SE | 35 | 36 | 0.02552 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
36 | LV_1031-27_0_3_line_36 | NAYY 4x150 SE | 35 | 37 | 0.0094872 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
37 | LV_1031-27_0_3_line_37 | NAYY 4x150 SE | 36 | 38 | 0.016634 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
38 | LV_1031-27_0_3_line_38 | NAYY 4x150 SE | 36 | 39 | 0.020374 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
39 | LV_1031-27_0_3_line_39 | NAYY 4x150 SE | 37 | 40 | 0.0067123 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
40 | LV_1031-27_0_3_line_40 | NAYY 4x150 SE | 38 | 41 | 0.016406 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
41 | LV_1031-27_0_3_line_41 | NAYY 4x150 SE | 39 | 42 | 0.016772 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
42 | LV_1031-27_0_3_line_42 | NAYY 4x150 SE | 41 | 44 | 0.0069601 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
43 | LV_1031-27_0_3_line_43 | NAYY 4x150 SE | 42 | 43 | 0.011314 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
44 | LV_1031-27_0_3_line_44 | NAYY 4x150 SE | 44 | 45 | 0.019572 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
45 | LV_1031-27_0_3_line_45 | NAYY 4x150 SE | 45 | 46 | 0.019567 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
46 | LV_1031-27_0_3_line_46 | NAYY 4x150 SE | 46 | 47 | 0.018556 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
47 | LV_1031-27_0_3_line_47 | NAYY 4x150 SE | 47 | 48 | 0.015021 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
48 | LV_1031-27_0_3_line_48 | NAYY 4x150 SE | 48 | 49 | 0.043375 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
49 | LV_1031-27_0_3_line_49 | NAYY 4x150 SE | 49 | 50 | 0.03092 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
50 | LV_1031-27_0_3_line_50 | NAYY 4x150 SE | 50 | 51 | 0.023283 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_1031-27_0_3_trafo_34 | 0.25 MVA 20/0.4 kV | 52 | 30 | 0.25 | 20 | 0.4 | 6 | 1.44 | 0.8 | 0.32 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4
0 | 2664887.7288 | 1223852.5809 | 2664878.1203 | 1223850.1114
1 | 2664887.7288 | 1223852.5809 | 2664892.4951 | 1223853.8058
2 | 2664872.0745 | 1223848.5577 | 2664878.1203 | 1223850.1114
3 | 2664897.8771 | 1223855.189 | 2664892.4951 | 1223853.8058
4 | 2664872.0745 | 1223848.5577 | 2664852.967 | 1223843.647
5 | 2664903.2592 | 1223856.5723 | 2664897.8771 | 1223855.189
6 | 2664834.6798 | 1223838.8772 | 2664842.3468 | 1223840.9175 | 2664852.967 | 1223843.647
7 | 2664908.6415 | 1223857.9555 | 2664903.2592 | 1223856.5723
8 | 2664834.6798 | 1223838.8772 | 2664839.9093 | 1223816.1575
9 | 2664827.0179 | 1223875.3504 | 2664834.6798 | 1223838.8772
10 | 2664957.1437 | 1223870.4208 | 2664908.6415 | 1223857.9555
11 | 2664827.0179 | 1223875.3504 | 2664849.0677 | 1223881.5469
12 | 2664839.9093 | 1223816.1575 | 2664845.1478 | 1223793.399
13 | 2664848.9599 | 1223776.8374 | 2664845.1478 | 1223793.399
14 | 2664826.2149 | 1223857.9671 | 2664833.185 | 1223827.3673
15 | 2664840.0927 | 1223797.0414 | 2664833.185 | 1223827.3673
16 | 2664907.7982 | 1223796.0453 | 2664913.1439 | 1223797.0492
17 | 2664900.3237 | 1223794.6417 | 2664907.7982 | 1223796.0453
18 | 2664913.1439 | 1223797.0492 | 2664928.9305 | 1223800.0138
19 | 2664934.4097 | 1223801.0427 | 2664928.9305 | 1223800.0138
20 | 2664934.4097 | 1223801.0427 | 2664949.505 | 1223803.8774
21 | 2664996.0944 | 1223815.1882 | 2664984.4909 | 1223810.4474 | 2664949.505 | 1223803.8774
22 | 2664957.1437 | 1223870.4208 | 2664961.8774 | 1223855.663 | 2664967.6941 | 1223841.0282 | 2664978.8111 | 1223827.8188 | 2664996.0944 | 1223815.1882
23 | 2664848.9599 | 1223776.8374 | 2664851.2522 | 1223766.8894
24 | 2664851.2522 | 1223766.8894 | 2664847.1433 | 1223766.0886
25 | 2664851.2522 | 1223766.8894 | 2664894.6463 | 1223773.5212
26 | 2664847.1433 | 1223766.0886 | 2664840.0927 | 1223797.0414
27 | 2664822.7807 | 1223762.4099 | 2664847.1433 | 1223766.0886
28 | 2664813.4213 | 1223773.7041 | 2664817.5569 | 1223767.1894 | 2664817.8963 | 1223766.8788
29 | 2664813.4213 | 1223773.7041 | 2664808.8923 | 1223780.8372 | 2664808.8923 | 1223780.8372
30 | 2664822.7807 | 1223762.4099 | 2664817.8963 | 1223766.8788
31 | 2664802.2165 | 1223794.5089 | 2664808.8923 | 1223780.8372
32 | 2664822.7807 | 1223762.4099 | 2664825.3367 | 1223746.3496 | 2664826.2431 | 1223739.0215 | 2664826.4733 | 1223737.0485
33 | 2664802.2165 | 1223794.5089 | 2664796.9092 | 1223805.378 | 2664791.5014 | 1223813.8884
34 | 2664782.8133 | 1223827.5611 | 2664773.7953 | 1223841.3691
35 | 2664759.3732 | 1223818.567 | 2664763.2695 | 1223822.1784 | 2664782.8133 | 1223827.5611
36 | 2664782.8133 | 1223827.5611 | 2664787.9015 | 1223819.5537
37 | 2664759.3732 | 1223818.567 | 2664762.2709 | 1223816.386 | 2664764.5039 | 1223809.0945 | 2664766.0805 | 1223803.9496
38 | 2664759.3732 | 1223818.567 | 2664755.052 | 1223819.1537 | 2664739.6223 | 1223814.8696
39 | 2664787.9015 | 1223819.5537 | 2664791.5014 | 1223813.8884
40 | 2664770.8873 | 1223788.264 | 2664766.0805 | 1223803.9496
41 | 2664739.6223 | 1223814.8696 | 2664723.4619 | 1223810.3825
42 | 2664772.9265 | 1223781.6093 | 2664770.8873 | 1223788.264
43 | 2664723.4619 | 1223810.3825 | 2664712.5608 | 1223807.3557
44 | 2664778.6609 | 1223762.8967 | 2664772.9265 | 1223781.6093
45 | 2664778.6609 | 1223762.8967 | 2664784.3937 | 1223744.1888
46 | 2664784.3937 | 1223744.1888 | 2664786.8175 | 1223736.2796 | 2664786.7229 | 1223731.7312 | 2664783.1928 | 1223727.2121 | 2664783.1928 | 1223727.2121
47 | 2664768.8377 | 1223722.7894 | 2664783.1928 | 1223727.2121
48 | 2664727.3143 | 1223710.2604 | 2664736.5454 | 1223712.8401 | 2664768.8377 | 1223722.7894
49 | 2664727.3143 | 1223710.2604 | 2664718.8843 | 1223740.01
50 | 2664718.8843 | 1223740.01 | 2664741.3625 | 1223746.0803

## bus_geodata
| x | y | coords
0 | 2664887.7288 | 1223852.5809
1 | 2664878.1203 | 1223850.1114
2 | 2664892.4951 | 1223853.8058
3 | 2664872.0745 | 1223848.5577
4 | 2664897.8771 | 1223855.189
5 | 2664852.967 | 1223843.647
6 | 2664903.2592 | 1223856.5723
7 | 2664834.6798 | 1223838.8772
8 | 2664908.6415 | 1223857.9555
9 | 2664849.0677 | 1223881.5469
10 | 2664827.0179 | 1223875.3504
11 | 2664839.9093 | 1223816.1575
12 | 2664845.1478 | 1223793.399
13 | 2664826.2149 | 1223857.9671
14 | 2664833.185 | 1223827.3673
15 | 2664907.7982 | 1223796.0453
16 | 2664913.1439 | 1223797.0492
17 | 2664900.3237 | 1223794.6417
18 | 2664928.9305 | 1223800.0138
19 | 2664934.4097 | 1223801.0427
20 | 2664949.505 | 1223803.8774
21 | 2664996.0944 | 1223815.1882
22 | 2664957.1437 | 1223870.4208
23 | 2664848.9599 | 1223776.8374
24 | 2664851.2522 | 1223766.8894
25 | 2664847.1433 | 1223766.0886
26 | 2664894.6463 | 1223773.5212
27 | 2664813.4213 | 1223773.7041
28 | 2664817.8963 | 1223766.8788
29 | 2664808.8923 | 1223780.8372
30 | 2664840.0927 | 1223797.0414
31 | 2664822.7807 | 1223762.4099
32 | 2664802.2165 | 1223794.5089
33 | 2664826.4733 | 1223737.0485
34 | 2664773.7953 | 1223841.3691
35 | 2664782.8133 | 1223827.5611
36 | 2664759.3732 | 1223818.567
37 | 2664787.9015 | 1223819.5537
38 | 2664766.0805 | 1223803.9496
39 | 2664739.6223 | 1223814.8696
40 | 2664791.5014 | 1223813.8884
41 | 2664770.8873 | 1223788.264
42 | 2664723.4619 | 1223810.3825
43 | 2664712.5608 | 1223807.3557
44 | 2664772.9265 | 1223781.6093
45 | 2664778.6609 | 1223762.8967
46 | 2664784.3937 | 1223744.1888
47 | 2664783.1928 | 1223727.2121
48 | 2664768.8377 | 1223722.7894
49 | 2664727.3143 | 1223710.2604
50 | 2664718.8843 | 1223740.01
51 | 2664741.3625 | 1223746.0803
52 | 2664847.1433 | 1223766.0886

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## res_bus
| vm_pu | va_degree | p_mw | q_mvar
0 | 0.98879 | -0.078488 | 0.0051994 | 0.0013031
1 | 0.98924 | -0.075338 | 0.0027976 | 0.00070115
2 | 0.98861 | -0.079791 | 0.002482 | 0.00062206
3 | 0.98954 | -0.073179 | 0.0027983 | 0.00070132
4 | 0.98842 | -0.081121 | 0.0024437 | 0.00061244
5 | 0.99059 | -0.065804 | 0.0025853 | 0.00064794
6 | 0.98825 | -0.082313 | 0.0024404 | 0.00061163
7 | 0.99166 | -0.058257 | 0 | 0
8 | 0.9881 | -0.083367 | 0.0024431 | 0.00061229
9 | 0.99119 | -0.061567 | 0.0054144 | 0.001357
10 | 0.99137 | -0.060307 | 0 | 0
11 | 0.99316 | -0.04769 | 0.0025872 | 0.00064842
12 | 0.99476 | -0.036527 | 0.005607 | 0.0014052
13 | 0.99922 | -0.0054913 | 0.0054455 | 0.0013648
14 | 0.99946 | -0.0037829 | 0.0067301 | 0.0016867
15 | 0.98352 | -0.11583 | 0.0020725 | 0.00051942
16 | 0.98358 | -0.11545 | 0.0020716 | 0.0005192
17 | 0.98347 | -0.11619 | 0.0045867 | 0.0011495
18 | 0.98378 | -0.11401 | 0.0026291 | 0.00065892
19 | 0.98387 | -0.11335 | 0.0026193 | 0.00065646
20 | 0.98418 | -0.11114 | 0.0021094 | 0.00052866
21 | 0.9853 | -0.10317 | 0 | 0
22 | 0.98693 | -0.091622 | 0 | 0
23 | 0.99605 | -0.027467 | 0 | 0
24 | 0.99683 | -0.022036 | 0 | 0
25 | 0.9972 | -0.019502 | 0 | 0
26 | 0.99636 | -0.025351 | 0.0075142 | 0.0018832
27 | 0.99388 | -0.042751 | 0 | 0
28 | 0.99446 | -0.03863 | 0.0059281 | 0.0014857
29 | 0.99327 | -0.047015 | 0.0032852 | 0.00082335
30 | 1 | 0 | -0.13686 | -0.03425
31 | 0.99499 | -0.034901 | 0 | 0
32 | 0.99225 | -0.054199 | 0.0062966 | 0.0015781
33 | 0.99476 | -0.036573 | 0.0064656 | 0.0016204
34 | 0.99014 | -0.069026 | 0.0025533 | 0.00063991
35 | 0.9902 | -0.068597 | 0 | 0
36 | 0.98917 | -0.075887 | 0 | 0
37 | 0.99062 | -0.065644 | 0.0040844 | 0.0010237
38 | 0.98865 | -0.079599 | 0.0024116 | 0.00060441
39 | 0.98899 | -0.07717 | 0.0020073 | 0.00050307
40 | 0.99096 | -0.063277 | 0.0056479 | 0.0014155
41 | 0.98819 | -0.082859 | 0.0039167 | 0.00098161
42 | 0.98889 | -0.077882 | 0.0020386 | 0.00051092
43 | 0.98886 | -0.078126 | 0.0021195 | 0.0005312
44 | 0.98803 | -0.083964 | 0.0028132 | 0.00070506
45 | 0.98767 | -0.08651 | 0.0025268 | 0.00063327
46 | 0.98739 | -0.088551 | 0.0028777 | 0.00072123
47 | 0.98719 | -0.08994 | 0.0015733 | 0.00039432
48 | 0.98707 | -0.090823 | 0.0029211 | 0.0007321
49 | 0.98689 | -0.092073 | 0 | 0
50 | 0.98677 | -0.092963 | 0 | 0
51 | 0.98667 | -0.093633 | 0.0028055 | 0.00070311
52 | 0.99998 | 149.9947 | 0 | 0

## res_line
| p_from_mw | q_from_mvar | p_to_mw | q_to_mvar | pl_mw | ql_mvar | i_from_ka | i_to_ka | i_ka | vm_from_pu | va_from_degree | vm_to_pu | va_to_degree | loading_percent
0 | -0.031182 | -0.0078233 | 0.031196 | 0.0078284 | 1.3633e-05 | 5.1163e-06 | 0.046929 | 0.046929 | 0.046929 | 0.98879 | -0.078488 | 0.98924 | -0.075338 | 17.381
1 | 0.025983 | 0.0065202 | -0.025978 | -0.0065185 | 4.6957e-06 | 1.7429e-06 | 0.039104 | 0.039104 | 0.039104 | 0.98879 | -0.078488 | 0.98861 | -0.079791 | 14.483
2 | -0.033993 | -0.0085296 | 0.034004 | 0.0085334 | 1.0186e-05 | 3.8374e-06 | 0.051137 | 0.051137 | 0.051137 | 0.98924 | -0.075338 | 0.98954 | -0.073179 | 18.9395
3 | 0.023496 | 0.0058964 | -0.023492 | -0.0058948 | 4.3376e-06 | 1.5971e-06 | 0.035368 | 0.035368 | 0.035368 | 0.98861 | -0.079791 | 0.98842 | -0.081121 | 13.0993
4 | -0.036802 | -0.0092348 | 0.03684 | 0.009249 | 3.7708e-05 | 1.4249e-05 | 0.055345 | 0.055345 | 0.055345 | 0.98954 | -0.073179 | 0.99059 | -0.065804 | 20.498
5 | 0.021048 | 0.0052824 | -0.021045 | -0.0052811 | 3.4822e-06 | 1.2681e-06 | 0.031689 | 0.031689 | 0.031689 | 0.98842 | -0.081121 | 0.98825 | -0.082313 | 11.7368
6 | -0.039425 | -0.0098969 | 0.039466 | 0.0099126 | 4.137e-05 | 1.5668e-05 | 0.059228 | 0.059228 | 0.059228 | 0.99059 | -0.065804 | 0.99166 | -0.058257 | 21.9363
7 | 0.018604 | 0.0046695 | -0.018601 | -0.0046685 | 2.7216e-06 | 9.7556e-07 | 0.028015 | 0.028015 | 0.028015 | 0.98825 | -0.082313 | 0.9881 | -0.083367 | 10.3759
8 | -0.044883 | -0.01127 | 0.044949 | 0.011295 | 6.6001e-05 | 2.5084e-05 | 0.067356 | 0.067356 | 0.067356 | 0.99166 | -0.058257 | 0.99316 | -0.04769 | 24.9467
9 | 0.0054169 | 0.0013571 | -0.0054153 | -0.001357 | 1.5365e-06 | 1.1025e-07 | 0.008128 | 0.0081282 | 0.0081282 | 0.99166 | -0.058257 | 0.99137 | -0.060307 | 3.0104
10 | 0.016158 | 0.0040562 | -0.01614 | -0.0040498 | 1.8507e-05 | 6.4773e-06 | 0.024336 | 0.024336 | 0.024336 | 0.9881 | -0.083367 | 0.98693 | -0.091622 | 9.0134
11 | -0.0054144 | -0.001357 | 0.0054153 | 0.001357 | 9.4425e-07 | 6.7905e-08 | 0.0081283 | 0.0081282 | 0.0081283 | 0.99119 | -0.061567 | 0.99137 | -0.060307 | 3.0105
12 | -0.047536 | -0.011943 | 0.04761 | 0.011971 | 7.3942e-05 | 2.8136e-05 | 0.071232 | 0.071232 | 0.071232 | 0.99316 | -0.04769 | 0.99476 | -0.036527 | 26.3823
13 | -0.053217 | -0.013377 | 0.053285 | 0.013402 | 6.7225e-05 | 2.5635e-05 | 0.079619 | 0.079619 | 0.079619 | 0.99476 | -0.036527 | 0.99605 | -0.027467 | 29.4886
14 | -0.0054455 | -0.0013648 | 0.0054468 | 0.0013649 | 1.2878e-06 | 8.4125e-08 | 0.0081093 | 0.0081092 | 0.0081093 | 0.99922 | -0.0054913 | 0.99946 | -0.0037829 | 3.0035
15 | -0.012177 | -0.0030516 | 0.012183 | 0.0030536 | 6.3787e-06 | 2.0455e-06 | 0.018129 | 0.018129 | 0.018129 | 0.99946 | -0.0037829 | 1 | 0 | 6.7145
16 | -0.0066594 | -0.0016689 | 0.0066598 | 0.001669 | 3.4453e-07 | 6.3483e-08 | 0.010075 | 0.010075 | 0.010075 | 0.98352 | -0.11583 | 0.98358 | -0.11545 | 3.7316
17 | 0.0045869 | 0.0011495 | -0.0045867 | -0.0011495 | 2.2855e-07 | -8.6052e-09 | 0.0069397 | 0.0069397 | 0.0069397 | 0.98352 | -0.11583 | 0.98347 | -0.11619 | 2.5703
18 | -0.0087314 | -0.0021882 | 0.0087332 | 0.0021887 | 1.7489e-06 | 4.6874e-07 | 0.013209 | 0.013209 | 0.013209 | 0.98358 | -0.11545 | 0.98378 | -0.11401 | 4.8924
19 | -0.011362 | -0.0028476 | 0.011363 | 0.0028479 | 1.0275e-06 | 3.244e-07 | 0.017186 | 0.017186 | 0.017186 | 0.98378 | -0.11401 | 0.98387 | -0.11335 | 6.3652
20 | -0.013983 | -0.0035044 | 0.013987 | 0.0035058 | 4.2861e-06 | 1.4534e-06 | 0.021147 | 0.021147 | 0.021147 | 0.98387 | -0.11335 | 0.98418 | -0.11114 | 7.8324
21 | -0.016096 | -0.0040345 | 0.016114 | 0.0040407 | 1.7788e-05 | 6.2293e-06 | 0.024337 | 0.024336 | 0.024337 | 0.98418 | -0.11114 | 0.9853 | -0.10317 | 9.0136
22 | -0.016114 | -0.0040407 | 0.01614 | 0.0040498 | 2.5816e-05 | 9.0382e-06 | 0.024336 | 0.024336 | 0.024336 | 0.9853 | -0.10317 | 0.98693 | -0.091622 | 9.0135
23 | -0.053285 | -0.013402 | 0.053325 | 0.013418 | 4.0383e-05 | 1.5399e-05 | 0.079619 | 0.079619 | 0.079619 | 0.99605 | -0.027467 | 0.99683 | -0.022036 | 29.4886
24 | -0.060843 | -0.015302 | 0.060864 | 0.01531 | 2.1493e-05 | 8.2122e-06 | 0.090841 | 0.090841 | 0.090841 | 0.99683 | -0.022036 | 0.9972 | -0.019502 | 33.6448
25 | 0.0075176 | 0.001884 | -0.0075142 | -0.0018832 | 3.4496e-06 | 7.5476e-07 | 0.011222 | 0.011222 | 0.011222 | 0.99683 | -0.022036 | 0.99636 | -0.025351 | 4.1563
26 | -0.12354 | -0.031068 | 0.12388 | 0.031197 | 0.00033675 | 0.00012869 | 0.18439 | 0.18439 | 0.18439 | 0.9972 | -0.019502 | 1 | 0 | 34.1462
27 | 0.06268 | 0.015758 | -0.062546 | -0.015707 | 0.00013416 | 5.1281e-05 | 0.093548 | 0.093548 | 0.093548 | 0.9972 | -0.019502 | 0.99499 | -0.034901 | 34.6476
28 | -0.050093 | -0.012578 | 0.050121 | 0.012589 | 2.8705e-05 | 1.0934e-05 | 0.075007 | 0.075007 | 0.075007 | 0.99388 | -0.042751 | 0.99446 | -0.03863 | 27.7803
29 | 0.050093 | 0.012578 | -0.050063 | -0.012567 | 2.9663e-05 | 1.1299e-05 | 0.075007 | 0.075007 | 0.075007 | 0.99388 | -0.042751 | 0.99327 | -0.047015 | 27.7803
30 | -0.05605 | -0.014075 | 0.056079 | 0.014086 | 2.9063e-05 | 1.1092e-05 | 0.083877 | 0.083877 | 0.083877 | 0.99446 | -0.03863 | 0.99499 | -0.034901 | 31.0655
31 | 0.046778 | 0.011744 | -0.046731 | -0.011726 | 4.6634e-05 | 1.7739e-05 | 0.070085 | 0.070085 | 0.070085 | 0.99327 | -0.047015 | 0.99225 | -0.054199 | 25.9575
32 | 0.0064671 | 0.0016207 | -0.0064656 | -0.0016204 | 1.4962e-06 | 2.426e-07 | 0.0096716 | 0.0096717 | 0.0096717 | 0.99499 | -0.034901 | 0.99476 | -0.036573 | 3.5821
33 | 0.040435 | 0.010148 | -0.040384 | -0.010129 | 5.0896e-05 | 1.9289e-05 | 0.060643 | 0.060643 | 0.060643 | 0.99225 | -0.054199 | 0.99096 | -0.063277 | 22.4603
34 | -0.0025533 | -0.00063991 | 0.0025534 | 0.00063975 | 1.5152e-07 | -1.5386e-07 | 0.0038371 | 0.003837 | 0.0038371 | 0.99014 | -0.069026 | 0.9902 | -0.068597 | 1.4212
35 | 0.028074 | 0.0070408 | -0.028046 | -0.0070303 | 2.8345e-05 | 1.0574e-05 | 0.04219 | 0.04219 | 0.04219 | 0.9902 | -0.068597 | 0.98917 | -0.075887 | 15.6259
36 | -0.030628 | -0.0076806 | 0.03064 | 0.0076853 | 1.2541e-05 | 4.7015e-06 | 0.046027 | 0.046027 | 0.046027 | 0.9902 | -0.068597 | 0.99062 | -0.065644 | 17.047
37 | 0.021879 | 0.0054851 | -0.021868 | -0.005481 | 1.1244e-05 | 4.1111e-06 | 0.032913 | 0.032913 | 0.032913 | 0.98917 | -0.075887 | 0.98865 | -0.079599 | 12.19
38 | 0.0061669 | 0.0015452 | -0.0061658 | -0.001545 | 1.0941e-06 | 1.5933e-07 | 0.0092768 | 0.0092769 | 0.0092769 | 0.98917 | -0.075887 | 0.98899 | -0.07717 | 3.4359
39 | -0.034725 | -0.0087089 | 0.034736 | 0.0087132 | 1.1396e-05 | 4.2967e-06 | 0.052162 | 0.052162 | 0.052162 | 0.99062 | -0.065644 | 0.99096 | -0.063277 | 19.3192
40 | 0.019456 | 0.0048766 | -0.019447 | -0.0048734 | 8.7785e-06 | 3.1661e-06 | 0.029283 | 0.029283 | 0.029283 | 0.98865 | -0.079599 | 0.98819 | -0.082859 | 10.8457
41 | 0.0041586 | 0.0010419 | -0.0041582 | -0.001042 | 4.0971e-07 | -5.7615e-08 | 0.0062568 | 0.0062569 | 0.0062569 | 0.98899 | -0.07717 | 0.98889 | -0.077882 | 2.3174
42 | 0.015531 | 0.0038918 | -0.015528 | -0.003891 | 2.3752e-06 | 8.2439e-07 | 0.023386 | 0.023386 | 0.023386 | 0.98819 | -0.082859 | 0.98803 | -0.083964 | 8.6614
43 | 0.0021196 | 0.00053108 | -0.0021195 | -0.0005312 | 7.1812e-08 | -1.1752e-07 | 0.0031894 | 0.0031894 | 0.0031894 | 0.98889 | -0.077882 | 0.98886 | -0.078126 | 1.1813
44 | 0.012715 | 0.0031859 | -0.01271 | -0.0031844 | 4.4782e-06 | 1.4718e-06 | 0.019149 | 0.019149 | 0.019149 | 0.98803 | -0.083964 | 0.98767 | -0.08651 | 7.0922
45 | 0.010184 | 0.0025512 | -0.010181 | -0.0025503 | 2.874e-06 | 8.5503e-07 | 0.015342 | 0.015342 | 0.015342 | 0.98767 | -0.08651 | 0.98739 | -0.088551 | 5.6824
46 | 0.0073031 | 0.0018291 | -0.0073017 | -0.0018288 | 1.4025e-06 | 3.0212e-07 | 0.011006 | 0.011006 | 0.011006 | 0.98739 | -0.088551 | 0.98719 | -0.08994 | 4.0762
47 | 0.0057284 | 0.0014345 | -0.0057277 | -0.0014344 | 6.9874e-07 | 7.6723e-08 | 0.0086341 | 0.0086341 | 0.0086341 | 0.98719 | -0.08994 | 0.98707 | -0.090823 | 3.1978
48 | 0.0028065 | 0.00070229 | -0.0028061 | -0.00070265 | 4.8443e-07 | -3.6801e-07 | 0.0042305 | 0.0042307 | 0.0042307 | 0.98707 | -0.090823 | 0.98689 | -0.092073 | 1.5669
49 | 0.0028061 | 0.00070265 | -0.0028057 | -0.00070292 | 3.4536e-07 | -2.622e-07 | 0.0042307 | 0.0042309 | 0.0042309 | 0.98689 | -0.092073 | 0.98677 | -0.092963 | 1.567
50 | 0.0028057 | 0.00070292 | -0.0028055 | -0.00070311 | 2.6008e-07 | -1.9737e-07 | 0.0042309 | 0.004231 | 0.004231 | 0.98677 | -0.092963 | 0.98667 | -0.093633 | 1.567

## res_trafo
| p_hv_mw | q_hv_mvar | p_lv_mw | q_lv_mvar | pl_mw | ql_mvar | i_hv_ka | i_lv_ka | vm_hv_pu | va_hv_degree | vm_lv_pu | va_lv_degree | loading_percent
0 | 2.5187e-16 | 8.8016e-16 | 0.00079998 | 7.4552e-08 | 0.00079998 | 7.4552e-08 | 2.6429e-17 | 0.0011547 | 0.99998 | 149.9947 | 1 | 0 | 0.31999

## res_ext_grid
| p_mw | q_mvar
0 | 0.14347 | 0.035907

## res_load
| p_mw | q_mvar
0 | 0.0051994 | 0.0013031
1 | 0.0027976 | 0.00070115
2 | 0.002482 | 0.00062206
3 | 0.0027983 | 0.00070132
4 | 0.0024437 | 0.00061244
5 | 0.0025853 | 0.00064794
6 | 0.0024404 | 0.00061163
7 | 0.0024431 | 0.00061229
8 | 0.0054144 | 0.001357
9 | 0.0025872 | 0.00064842
10 | 0.005607 | 0.0014052
11 | 0.0054455 | 0.0013648
12 | 0.0067301 | 0.0016867
13 | 0.0020725 | 0.00051942
14 | 0.0020716 | 0.0005192
15 | 0.0045867 | 0.0011495
16 | 0.0026291 | 0.00065892
17 | 0.0026193 | 0.00065646
18 | 0.0021094 | 0.00052866
19 | 0.0075142 | 0.0018832
20 | 0.0059281 | 0.0014857
21 | 0.0032852 | 0.00082335
22 | 0.0066089 | 0.0016563
23 | 0.0062966 | 0.0015781
24 | 0.0064656 | 0.0016204
25 | 0.0025533 | 0.00063991
26 | 0.0040844 | 0.0010237
27 | 0.0024116 | 0.00060441
28 | 0.0020073 | 0.00050307
29 | 0.0056479 | 0.0014155
30 | 0.0039167 | 0.00098161
31 | 0.0020386 | 0.00051092
32 | 0.0021195 | 0.0005312
33 | 0.0028132 | 0.00070506
34 | 0.0025268 | 0.00063327
35 | 0.0028777 | 0.00072123
36 | 0.0015733 | 0.00039432
37 | 0.0029211 | 0.0007321
38 | 0.0028055 | 0.00070311

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object
62 | res_bus | vm_pu | float64
63 | res_bus | va_degree | float64
64 | res_bus | p_mw | float64
65 | res_bus | q_mvar | float64
66 | res_line | p_from_mw | float64
67 | res_line | q_from_mvar | float64
68 | res_line | p_to_mw | float64
69 | res_line | q_to_mvar | float64
70 | res_line | pl_mw | float64
71 | res_line | ql_mvar | float64
72 | res_line | i_from_ka | float64
73 | res_line | i_to_ka | float64
74 | res_line | i_ka | float64
75 | res_line | vm_from_pu | float64
76 | res_line | va_from_degree | float64
77 | res_line | vm_to_pu | float64
78 | res_line | va_to_degree | float64
79 | res_line | loading_percent | float64
80 | res_trafo | p_hv_mw | float64
81 | res_trafo | q_hv_mvar | float64
82 | res_trafo | p_lv_mw | float64
83 | res_trafo | q_lv_mvar | float64
84 | res_trafo | pl_mw | float64
85 | res_trafo | ql_mvar | float64
86 | res_trafo | i_hv_ka | float64
87 | res_trafo | i_lv_ka | float64
88 | res_trafo | vm_hv_pu | float64
89 | res_trafo | va_hv_degree | float64
90 | res_trafo | vm_lv_pu | float64
91 | res_trafo | va_lv_degree | float64
92 | res_trafo | loading_percent | float64
93 | res_ext_grid | p_mw | float64
94 | res_ext_grid | q_mvar | float64
95 | res_load | p_mw | float64
96 | res_load | q_mvar | float64

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | TRUE | FALSE |  | 50 | 1