## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_1031-40_0_4_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_1031-40_0_4_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_1031-40_0_4_node_2 | 0.4 | n |  | TRUE
3 | bus_LV_1031-40_0_4_node_3 | 0.4 | n |  | TRUE
4 | bus_LV_1031-40_0_4_node_4 | 0.4 | n |  | TRUE
5 | bus_LV_1031-40_0_4_node_9 | 0.4 | n |  | TRUE
6 | bus_LV_1031-40_0_4_node_20 | 0.4 | n |  | TRUE
7 | bus_LV_1031-40_0_4_node_37 | 0.4 | n |  | TRUE
8 | bus_LV_1031-40_0_4_node_36 | 0.4 | n |  | TRUE
9 | bus_LV_1031-40_0_4_node_7 | 0.4 | n |  | TRUE
10 | bus_LV_1031-40_0_4_node_32 | 0.4 | n |  | TRUE
11 | bus_LV_1031-40_0_4_node_5 | 0.4 | n |  | TRUE
12 | bus_LV_1031-40_0_4_node_6 | 0.4 | n |  | TRUE
13 | bus_LV_1031-40_0_4_node_33 | 0.4 | n |  | TRUE
14 | bus_LV_1031-40_0_4_node_8 | 0.4 | n |  | TRUE
15 | bus_LV_1031-40_0_4_node_34 | 0.4 | n |  | TRUE
16 | bus_LV_1031-40_0_4_node_35 | 0.4 | n |  | TRUE
17 | bus_LV_1031-40_0_4_node_19 | 0.4 | n |  | TRUE
18 | bus_LV_1031-40_0_4_node_17 | 0.4 | n |  | TRUE
19 | bus_LV_1031-40_0_4_node_23 | 0.4 | n |  | TRUE
20 | bus_LV_1031-40_0_4_node_18 | 0.4 | n |  | TRUE
21 | bus_LV_1031-40_0_4_node_16 | 0.4 | n |  | TRUE
22 | bus_LV_1031-40_0_4_node_10 | 0.4 | n |  | TRUE
23 | bus_LV_1031-40_0_4_node_11 | 0.4 | n |  | TRUE
24 | bus_LV_1031-40_0_4_node_13 | 0.4 | n |  | TRUE
25 | bus_LV_1031-40_0_4_node_21 | 0.4 | n |  | TRUE
26 | bus_LV_1031-40_0_4_node_14 | 0.4 | n |  | TRUE
27 | bus_LV_1031-40_0_4_node_24 | 0.4 | n |  | TRUE
28 | bus_LV_1031-40_0_4_node_22 | 0.4 | n |  | TRUE
29 | bus_LV_1031-40_0_4_node_27 | 0.4 | n |  | TRUE
30 | bus_LV_1031-40_0_4_node_28 | 0.4 | n |  | TRUE
31 | bus_LV_1031-40_0_4_node_29 | 0.4 | n |  | TRUE
32 | bus_LV_1031-40_0_4_node_30 | 0.4 | n |  | TRUE
33 | bus_LV_1031-40_0_4_node_25 | 0.4 | n |  | TRUE
34 | bus_LV_1031-40_0_4_node_31 | 0.4 | n |  | TRUE
35 | bus_MV_353_1_node_300 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_1031-40_0_4_load_0 | 0 | 0.0040499 | 0.001015 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_1031-40_0_4_load_1 | 1 | 0.0022696 | 0.00056881 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_1031-40_0_4_load_2 | 2 | 0.0043176 | 0.0010821 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_1031-40_0_4_load_3 | 3 | 0.00134 | 0.00033583 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_1031-40_0_4_load_9 | 5 | 0.003409 | 0.00085438 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_1031-40_0_4_load_37 | 7 | 0.0083282 | 0.0020873 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_1031-40_0_4_load_7 | 9 | 0.00341 | 0.00085463 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_1031-40_0_4_load_32 | 10 | 0.0079062 | 0.0019815 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_1031-40_0_4_load_5 | 11 | 0.0073549 | 0.0018433 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_1031-40_0_4_load_6 | 12 | 0.0033331 | 0.00083535 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_1031-40_0_4_load_33 | 13 | 0.013547 | 0.0033951 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_1031-40_0_4_load_34 | 15 | 0.013813 | 0.003462 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_1031-40_0_4_load_35 | 16 | 0.0031867 | 0.00079866 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_1031-40_0_4_load_17 | 18 | 0.0033349 | 0.00083582 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_1031-40_0_4_load_23 | 19 | 0.025976 | 0.0065103 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_1031-40_0_4_load_16 | 21 | 0.0063713 | 0.0015968 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_1031-40_0_4_load_10 | 22 | 0.0025423 | 0.00063715 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_1031-40_0_4_load_13 | 24 | 0.0039753 | 0.00099629 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_1031-40_0_4_load_21 | 25 | 0.0042947 | 0.0010764 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_1031-40_0_4_load_24 | 27 | 0.011561 | 0.0028974 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_1031-40_0_4_load_22 | 28 | 0.012713 | 0.0031861 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_1031-40_0_4_load_27 | 29 | 0.0076817 | 0.0019252 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_1031-40_0_4_load_28 | 30 | 0.0039189 | 0.00098216 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_1031-40_0_4_load_30 | 32 | 0.0021148 | 0.00053003 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_1031-40_0_4_load_25 | 33 | 0.044578 | 0.011172 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_1031-40_0_4_load_31 | 34 | 0.010909 | 0.0027341 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 17 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_1031-40_0_4_line_0 | NAYY 4x150 SE | 0 | 1 | 0.0059069 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
1 | LV_1031-40_0_4_line_1 | NAYY 4x150 SE | 0 | 2 | 0.024146 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
2 | LV_1031-40_0_4_line_2 | NAYY 4x150 SE | 1 | 3 | 0.0098583 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
3 | LV_1031-40_0_4_line_3 | NAYY 4x150 SE | 2 | 4 | 0.021616 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
4 | LV_1031-40_0_4_line_4 | NAYY 4x150 SE | 4 | 5 | 0.017762 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
5 | LV_1031-40_0_4_line_5 | NAYY 4x150 SE | 4 | 6 | 0.03126 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
6 | LV_1031-40_0_4_line_6 | NAYY 4x150 SE | 5 | 9 | 0.010351 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
7 | LV_1031-40_0_4_line_7 | NAYY 4x150 SE | 6 | 10 | 0.0020608 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
8 | LV_1031-40_0_4_line_8 | NAYY 4x150 SE | 7 | 8 | 0.052356 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
9 | LV_1031-40_0_4_line_9 | NAYY 4x150 SE | 8 | 16 | 0.022762 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
10 | LV_1031-40_0_4_line_10 | NAYY 4x150 SE | 9 | 11 | 0.010938 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
11 | LV_1031-40_0_4_line_11 | NAYY 4x150 SE | 11 | 12 | 0.010981 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
12 | LV_1031-40_0_4_line_12 | NAYY 4x150 SE | 11 | 13 | 0.031559 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
13 | LV_1031-40_0_4_line_13 | NAYY 4x150 SE | 12 | 14 | 0.0052263 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
14 | LV_1031-40_0_4_line_14 | NAYY 4x150 SE | 13 | 15 | 0.020654 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
15 | LV_1031-40_0_4_line_15 | NAYY 4x150 SE | 13 | 16 | 0.030186 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
16 | LV_1031-40_0_4_line_16 | NAYY 4x150 SE | 14 | 17 | 0.029419 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
17 | LV_1031-40_0_4_line_17 | NAYY 4x150 SE | 14 | 18 | 0.0070725 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
18 | LV_1031-40_0_4_line_18 | NAYY 4x150 SE | 17 | 19 | 0.062626 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
19 | LV_1031-40_0_4_line_19 | NAYY 4x150 SE | 17 | 20 | 0.045118 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
20 | LV_1031-40_0_4_line_20 | NAYY 4x150 SE | 18 | 21 | 0.0067738 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
21 | LV_1031-40_0_4_line_21 | NAYY 4x150 SE | 19 | 33 | 0.036011 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
22 | LV_1031-40_0_4_line_22 | NAYY 4x150 SE | 19 | 28 | 0.061854 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
23 | LV_1031-40_0_4_line_23 | NAYY 4x150 SE | 20 | 26 | 0.016828 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
24 | LV_1031-40_0_4_line_24 | NAYY 4x150 SE | 22 | 23 | 0.016281 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
25 | LV_1031-40_0_4_line_25 | NAYY 4x150 SE | 23 | 24 | 0.025438 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
26 | LV_1031-40_0_4_line_26 | NAYY 4x150 SE | 24 | 25 | 0.026311 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
27 | LV_1031-40_0_4_line_27 | NAYY 4x150 SE | 25 | 26 | 0.0169 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
28 | LV_1031-40_0_4_line_28 | NAYY 4x150 SE | 27 | 28 | 0.029841 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
29 | LV_1031-40_0_4_line_29 | NAYY 4x150 SE | 29 | 30 | 0.021435 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
30 | LV_1031-40_0_4_line_30 | NAYY 4x150 SE | 29 | 31 | 0.03769 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
31 | LV_1031-40_0_4_line_31 | NAYY 4x150 SE | 30 | 32 | 0.0021431 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
32 | LV_1031-40_0_4_line_32 | NAYY 4x150 SE | 31 | 34 | 0.042447 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
33 | LV_1031-40_0_4_line_33 | NAYY 4x150 SE | 31 | 33 | 0.042132 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_1031-40_0_4_trafo_19 | 0.25 MVA 20/0.4 kV | 35 | 17 | 0.25 | 20 | 0.4 | 6 | 1.44 | 0.8 | 0.32 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5
0 | 2664113.2068 | 1225251.4072 | 2664110.2423 | 1225256.5163
1 | 2664113.2068 | 1225251.4072 | 2664121.6522 | 1225236.8516 | 2664125.4641 | 1225230.6054
2 | 2664110.2423 | 1225256.5163 | 2664105.971 | 1225263.8779 | 2664105.3573 | 1225265.0773
3 | 2664136.7247 | 1225212.1537 | 2664125.4641 | 1225230.6054
4 | 2664136.7247 | 1225212.1537 | 2664143.6894 | 1225195.8142
5 | 2664107.4759 | 1225200.8981 | 2664136.7247 | 1225212.1537
6 | 2664143.6894 | 1225195.8142 | 2664147.7483 | 1225186.2918
7 | 2664107.4759 | 1225200.8981 | 2664108.2906 | 1225199.0051
8 | 2664208.9306 | 1225216.9461 | 2664178.0412 | 1225259.2187
9 | 2664208.9306 | 1225216.9461 | 2664205.9525 | 1225214.7126 | 2664188.4694 | 1225207.1726
10 | 2664151.8968 | 1225176.1774 | 2664151.363 | 1225177.8116 | 2664147.7483 | 1225186.2918
11 | 2664151.8968 | 1225176.1774 | 2664155.3066 | 1225165.7397
12 | 2664151.8968 | 1225176.1774 | 2664181.8217 | 1225186.202
13 | 2664156.9295 | 1225160.7717 | 2664155.3066 | 1225165.7397
14 | 2664181.8217 | 1225186.202 | 2664191.6643 | 1225168.0446
15 | 2664181.8217 | 1225186.202 | 2664176.6274 | 1225195.7843 | 2664175.7484 | 1225199.2548 | 2664176.8329 | 1225202.0349 | 2664179.1936 | 1225203.1722 | 2664188.4694 | 1225207.1726
16 | 2664129.4253 | 1225150.1242 | 2664142.1552 | 1225154.9755 | 2664150.4832 | 1225158.1562 | 2664156.9295 | 1225160.7717
17 | 2664156.9295 | 1225160.7717 | 2664160.494 | 1225154.6632
18 | 2664129.4253 | 1225150.1242 | 2664068.2359 | 1225136.7851
19 | 2664147.7091 | 1225108.8613 | 2664129.4253 | 1225150.1242
20 | 2664163.908 | 1225148.8126 | 2664160.494 | 1225154.6632
21 | 2664068.2359 | 1225136.7851 | 2664065.0855 | 1225146.2735 | 2664052.9761 | 1225169.2967
22 | 2664084.5408 | 1225077.414 | 2664083.2091 | 1225091.6891 | 2664068.2359 | 1225136.7851
23 | 2664147.7091 | 1225108.8613 | 2664154.524 | 1225093.4693
24 | 2664197.394 | 1225073.3963 | 2664182.4762 | 1225066.8741
25 | 2664197.394 | 1225073.3963 | 2664187.1205 | 1225096.6679
26 | 2664187.1205 | 1225096.6679 | 2664182.2553 | 1225107.6884 | 2664169.5624 | 1225101.1802
27 | 2664154.524 | 1225093.4693 | 2664169.5624 | 1225101.1802
28 | 2664084.5408 | 1225077.414 | 2664087.3126 | 1225047.7019
29 | 2664013.526 | 1225238.6749 | 2664005.6959 | 1225252.4028 | 2664002.9046 | 1225257.2938
30 | 2664032.1997 | 1225205.9358 | 2664013.526 | 1225238.6749
31 | 2664002.9046 | 1225257.2938 | 2664001.8424 | 1225259.1552
32 | 2664032.1997 | 1225205.9358 | 2663995.7083 | 1225184.2542
33 | 2664032.1997 | 1225205.9358 | 2664045.9837 | 1225182.5913 | 2664052.9761 | 1225169.2967

## bus_geodata
| x | y | coords
0 | 2664113.2068 | 1225251.4072
1 | 2664110.2423 | 1225256.5163
2 | 2664125.4641 | 1225230.6054
3 | 2664105.3573 | 1225265.0773
4 | 2664136.7247 | 1225212.1537
5 | 2664143.6894 | 1225195.8142
6 | 2664107.4759 | 1225200.8981
7 | 2664178.0412 | 1225259.2187
8 | 2664208.9306 | 1225216.9461
9 | 2664147.7483 | 1225186.2918
10 | 2664108.2906 | 1225199.0051
11 | 2664151.8968 | 1225176.1774
12 | 2664155.3066 | 1225165.7397
13 | 2664181.8217 | 1225186.202
14 | 2664156.9295 | 1225160.7717
15 | 2664191.6643 | 1225168.0446
16 | 2664188.4694 | 1225207.1726
17 | 2664129.4253 | 1225150.1242
18 | 2664160.494 | 1225154.6632
19 | 2664068.2359 | 1225136.7851
20 | 2664147.7091 | 1225108.8613
21 | 2664163.908 | 1225148.8126
22 | 2664182.4762 | 1225066.8741
23 | 2664197.394 | 1225073.3963
24 | 2664187.1205 | 1225096.6679
25 | 2664169.5624 | 1225101.1802
26 | 2664154.524 | 1225093.4693
27 | 2664087.3126 | 1225047.7019
28 | 2664084.5408 | 1225077.414
29 | 2664013.526 | 1225238.6749
30 | 2664002.9046 | 1225257.2938
31 | 2664032.1997 | 1225205.9358
32 | 2664001.8424 | 1225259.1552
33 | 2664052.9761 | 1225169.2967
34 | 2663995.7083 | 1225184.2542
35 | 2664156.9295 | 1225160.7717

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## res_bus
| vm_pu | va_degree | p_mw | q_mvar
0 | 0.99274 | -0.050878 | 0.0040499 | 0.001015
1 | 0.99271 | -0.051094 | 0.0022696 | 0.00056881
2 | 0.99301 | -0.049005 | 0.0043176 | 0.0010821
3 | 0.99269 | -0.051228 | 0.00134 | 0.00033583
4 | 0.99338 | -0.046384 | 0 | 0
5 | 0.99388 | -0.042813 | 0.003409 | 0.00085438
6 | 0.99302 | -0.048885 | 0 | 0
7 | 0.99149 | -0.059702 | 0.0083282 | 0.0020873
8 | 0.99212 | -0.055277 | 0 | 0
9 | 0.99423 | -0.040376 | 0.00341 | 0.00085463
10 | 0.993 | -0.04905 | 0.0079062 | 0.0019815
11 | 0.99465 | -0.037427 | 0.0073549 | 0.0018433
12 | 0.9958 | -0.029355 | 0.0033331 | 0.00083535
13 | 0.99289 | -0.04983 | 0.013547 | 0.0033951
14 | 0.99637 | -0.025344 | 0 | 0
15 | 0.99248 | -0.05272 | 0.013813 | 0.003462
16 | 0.99239 | -0.053354 | 0.0031867 | 0.00079866
17 | 1 | 0 | -0.21859 | -0.054779
18 | 0.99627 | -0.026034 | 0.0033349 | 0.00083582
19 | 0.99462 | -0.037543 | 0.025976 | 0.0065103
20 | 0.9993 | -0.0048775 | 0 | 0
21 | 0.99621 | -0.026468 | 0.0063713 | 0.0015968
22 | 0.99839 | -0.011307 | 0.0025423 | 0.00063715
23 | 0.99845 | -0.010892 | 0 | 0
24 | 0.99854 | -0.010244 | 0.0039753 | 0.00099629
25 | 0.99878 | -0.0085269 | 0.0042947 | 0.0010764
26 | 0.99904 | -0.006698 | 0 | 0
27 | 0.99197 | -0.056224 | 0.011561 | 0.0028974
28 | 0.99247 | -0.052726 | 0.012713 | 0.0031861
29 | 0.9888 | -0.078619 | 0.0076817 | 0.0019252
30 | 0.98861 | -0.07994 | 0.0039189 | 0.00098216
31 | 0.98954 | -0.073345 | 0 | 0
32 | 0.9886 | -0.079986 | 0.0021148 | 0.00053003
33 | 0.99104 | -0.062781 | 0.044578 | 0.011172
34 | 0.98887 | -0.078069 | 0.010909 | 0.0027341
35 | 0.99998 | 149.9947 | 0 | 0

## res_line
| p_from_mw | q_from_mvar | p_to_mw | q_to_mvar | pl_mw | ql_mvar | i_from_ka | i_to_ka | i_ka | vm_from_pu | va_from_degree | vm_to_pu | va_to_degree | loading_percent
0 | 0.0036097 | 0.00090449 | -0.0036096 | -0.00090452 | 1.079e-07 | -3.4871e-08 | 0.0054105 | 0.0054105 | 0.0054105 | 0.99274 | -0.050878 | 0.99271 | -0.051094 | 2.0039
1 | -0.0076596 | -0.0019195 | 0.0076616 | 0.0019199 | 1.986e-06 | 4.5156e-07 | 0.011481 | 0.011481 | 0.011481 | 0.99274 | -0.050878 | 0.99301 | -0.049005 | 4.2522
2 | 0.00134 | 0.00033571 | -0.00134 | -0.00033583 | 2.4817e-08 | -1.1791e-07 | 0.0020085 | 0.0020086 | 0.0020086 | 0.99271 | -0.051094 | 0.99269 | -0.051228 | 0.74392
3 | -0.011979 | -0.003002 | 0.011984 | 0.0030034 | 4.3464e-06 | 1.3919e-06 | 0.017951 | 0.017951 | 0.017951 | 0.99301 | -0.049005 | 0.99338 | -0.046384 | 6.6484
4 | -0.019893 | -0.0049856 | 0.019902 | 0.0049891 | 9.8411e-06 | 3.555e-06 | 0.029798 | 0.029798 | 0.029798 | 0.99338 | -0.046384 | 0.99388 | -0.042813 | 11.0363
5 | 0.0079091 | 0.0019822 | -0.0079064 | -0.0019815 | 2.7379e-06 | 6.4849e-07 | 0.011847 | 0.011847 | 0.011847 | 0.99338 | -0.046384 | 0.99302 | -0.048885 | 4.388
6 | -0.023311 | -0.0058435 | 0.023319 | 0.0058464 | 7.8683e-06 | 2.8921e-06 | 0.034902 | 0.034902 | 0.034902 | 0.99388 | -0.042813 | 0.99423 | -0.040376 | 12.9266
7 | 0.0079064 | 0.0019815 | -0.0079062 | -0.0019815 | 1.805e-07 | 4.2763e-08 | 0.011847 | 0.011847 | 0.011847 | 0.99302 | -0.048885 | 0.993 | -0.04905 | 4.388
8 | -0.0083282 | -0.0020873 | 0.0083333 | 0.0020885 | 5.1037e-06 | 1.2873e-06 | 0.012499 | 0.012499 | 0.012499 | 0.99149 | -0.059702 | 0.99212 | -0.055277 | 4.6292
9 | -0.0083333 | -0.0020885 | 0.0083356 | 0.0020891 | 2.2188e-06 | 5.5939e-07 | 0.012499 | 0.012499 | 0.012499 | 0.99212 | -0.055277 | 0.99239 | -0.053354 | 4.6292
10 | -0.026729 | -0.0067011 | 0.02674 | 0.0067051 | 1.0923e-05 | 4.0592e-06 | 0.040005 | 0.040005 | 0.040005 | 0.99423 | -0.040376 | 0.99465 | -0.037427 | 14.8168
11 | -0.073056 | -0.018322 | 0.073137 | 0.018354 | 8.1852e-05 | 3.1339e-05 | 0.1093 | 0.1093 | 0.1093 | 0.99465 | -0.037427 | 0.9958 | -0.029355 | 40.4804
12 | 0.03896 | 0.0097738 | -0.038893 | -0.0097485 | 6.6909e-05 | 2.5325e-05 | 0.058289 | 0.058289 | 0.058289 | 0.99465 | -0.037427 | 0.99289 | -0.04983 | 21.5885
13 | -0.07647 | -0.019189 | 0.076513 | 0.019205 | 4.259e-05 | 1.6313e-05 | 0.11428 | 0.11428 | 0.11428 | 0.9958 | -0.029355 | 0.99637 | -0.025344 | 42.3251
14 | 0.013819 | 0.0034638 | -0.013813 | -0.003462 | 5.5278e-06 | 1.8591e-06 | 0.02071 | 0.02071 | 0.02071 | 0.99289 | -0.04983 | 0.99248 | -0.05272 | 7.6705
15 | 0.011528 | 0.0028895 | -0.011522 | -0.0028878 | 5.6223e-06 | 1.7722e-06 | 0.017277 | 0.017277 | 0.017277 | 0.99289 | -0.04983 | 0.99239 | -0.053354 | 6.3988
16 | -0.086221 | -0.021638 | 0.086525 | 0.021755 | 0.00030442 | 0.0001167 | 0.12878 | 0.12878 | 0.12878 | 0.99637 | -0.025344 | 1 | 0 | 47.6946
17 | 0.0097076 | 0.0024329 | -0.0097067 | -0.0024327 | 9.2759e-07 | 2.6466e-07 | 0.014498 | 0.014498 | 0.014498 | 0.99637 | -0.025344 | 0.99627 | -0.026034 | 5.3695
18 | 0.12043 | 0.03031 | -0.11981 | -0.03007 | 0.00062784 | 0.00023984 | 0.17925 | 0.17925 | 0.17925 | 1 | 0 | 0.99462 | -0.037543 | 33.1952
19 | 0.010827 | 0.0027135 | -0.01082 | -0.0027113 | 7.3075e-06 | 2.2191e-06 | 0.016111 | 0.016111 | 0.016111 | 1 | 0 | 0.9993 | -0.0048775 | 5.967
20 | 0.0063717 | 0.0015969 | -0.0063713 | -0.0015968 | 3.8281e-07 | 5.9035e-08 | 0.0095167 | 0.0095167 | 0.0095167 | 0.99627 | -0.026034 | 0.99621 | -0.026468 | 3.5247
21 | 0.069501 | 0.017456 | -0.069258 | -0.017363 | 0.000243 | 9.2997e-05 | 0.10399 | 0.10399 | 0.10399 | 0.99462 | -0.037543 | 0.99104 | -0.062781 | 38.515
22 | 0.02433 | 0.0061041 | -0.024279 | -0.0060852 | 5.1144e-05 | 1.887e-05 | 0.036401 | 0.036402 | 0.036402 | 0.99462 | -0.037543 | 0.99247 | -0.052726 | 13.4821
23 | 0.01082 | 0.0027113 | -0.010817 | -0.0027105 | 2.7256e-06 | 8.2789e-07 | 0.016111 | 0.016111 | 0.016111 | 0.9993 | -0.0048775 | 0.99904 | -0.006698 | 5.967
24 | -0.0025423 | -0.00063715 | 0.0025424 | 0.00063699 | 1.4585e-07 | -1.5682e-07 | 0.003789 | 0.0037889 | 0.003789 | 0.99839 | -0.011307 | 0.99845 | -0.010892 | 1.4033
25 | -0.0025424 | -0.00063699 | 0.0025426 | 0.00063675 | 2.2788e-07 | -2.4508e-07 | 0.0037889 | 0.0037888 | 0.0037889 | 0.99845 | -0.010892 | 0.99854 | -0.010244 | 1.4033
26 | -0.0065179 | -0.001633 | 0.0065194 | 0.0016333 | 1.5488e-06 | 2.5144e-07 | 0.0097127 | 0.0097126 | 0.0097127 | 0.99854 | -0.010244 | 0.99878 | -0.0085269 | 3.5973
27 | -0.010814 | -0.0027097 | 0.010817 | 0.0027105 | 2.7373e-06 | 8.3156e-07 | 0.016111 | 0.016111 | 0.016111 | 0.99878 | -0.0085269 | 0.99904 | -0.006698 | 5.9671
28 | -0.011561 | -0.0028974 | 0.011566 | 0.0028992 | 5.5999e-06 | 1.7684e-06 | 0.017342 | 0.017342 | 0.017342 | 0.99197 | -0.056224 | 0.99247 | -0.052726 | 6.4229
29 | 0.0060348 | 0.0015123 | -0.0060337 | -0.0015122 | 1.1032e-06 | 1.494e-07 | 0.0090816 | 0.0090817 | 0.0090817 | 0.9888 | -0.078619 | 0.98861 | -0.07994 | 3.3636
30 | -0.013717 | -0.0034375 | 0.013727 | 0.0034409 | 1.0021e-05 | 3.3703e-06 | 0.020642 | 0.020641 | 0.020642 | 0.9888 | -0.078619 | 0.98954 | -0.073345 | 7.6451
31 | 0.0021149 | 0.00053001 | -0.0021148 | -0.00053003 | 1.3551e-08 | -2.2268e-08 | 0.0031832 | 0.0031832 | 0.0031832 | 0.98861 | -0.07994 | 0.9886 | -0.079986 | 1.179
32 | 0.010917 | 0.0027363 | -0.010909 | -0.0027341 | 7.1377e-06 | 2.2003e-06 | 0.016416 | 0.016416 | 0.016416 | 0.98954 | -0.073345 | 0.98887 | -0.078069 | 6.08
33 | -0.024643 | -0.0061773 | 0.024679 | 0.0061906 | 3.6102e-05 | 1.3344e-05 | 0.037057 | 0.037057 | 0.037057 | 0.98954 | -0.073345 | 0.99104 | -0.062781 | 13.7249

## res_trafo
| p_hv_mw | q_hv_mvar | p_lv_mw | q_lv_mvar | pl_mw | ql_mvar | i_hv_ka | i_lv_ka | vm_hv_pu | va_hv_degree | vm_lv_pu | va_lv_degree | loading_percent
0 | 2.5187e-16 | 8.8016e-16 | 0.00079998 | 7.4552e-08 | 0.00079998 | 7.4552e-08 | 2.6429e-17 | 0.0011547 | 0.99998 | 149.9947 | 1 | 0 | 0.31999

## res_ext_grid
| p_mw | q_mvar
0 | 0.21859 | 0.054779

## res_load
| p_mw | q_mvar
0 | 0.0040499 | 0.001015
1 | 0.0022696 | 0.00056881
2 | 0.0043176 | 0.0010821
3 | 0.00134 | 0.00033583
4 | 0.003409 | 0.00085438
5 | 0.0083282 | 0.0020873
6 | 0.00341 | 0.00085463
7 | 0.0079062 | 0.0019815
8 | 0.0073549 | 0.0018433
9 | 0.0033331 | 0.00083535
10 | 0.013547 | 0.0033951
11 | 0.013813 | 0.003462
12 | 0.0031867 | 0.00079866
13 | 0.0033349 | 0.00083582
14 | 0.025976 | 0.0065103
15 | 0.0063713 | 0.0015968
16 | 0.0025423 | 0.00063715
17 | 0.0039753 | 0.00099629
18 | 0.0042947 | 0.0010764
19 | 0.011561 | 0.0028974
20 | 0.012713 | 0.0031861
21 | 0.0076817 | 0.0019252
22 | 0.0039189 | 0.00098216
23 | 0.0021148 | 0.00053003
24 | 0.044578 | 0.011172
25 | 0.010909 | 0.0027341

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object
62 | res_bus | vm_pu | float64
63 | res_bus | va_degree | float64
64 | res_bus | p_mw | float64
65 | res_bus | q_mvar | float64
66 | res_line | p_from_mw | float64
67 | res_line | q_from_mvar | float64
68 | res_line | p_to_mw | float64
69 | res_line | q_to_mvar | float64
70 | res_line | pl_mw | float64
71 | res_line | ql_mvar | float64
72 | res_line | i_from_ka | float64
73 | res_line | i_to_ka | float64
74 | res_line | i_ka | float64
75 | res_line | vm_from_pu | float64
76 | res_line | va_from_degree | float64
77 | res_line | vm_to_pu | float64
78 | res_line | va_to_degree | float64
79 | res_line | loading_percent | float64
80 | res_trafo | p_hv_mw | float64
81 | res_trafo | q_hv_mvar | float64
82 | res_trafo | p_lv_mw | float64
83 | res_trafo | q_lv_mvar | float64
84 | res_trafo | pl_mw | float64
85 | res_trafo | ql_mvar | float64
86 | res_trafo | i_hv_ka | float64
87 | res_trafo | i_lv_ka | float64
88 | res_trafo | vm_hv_pu | float64
89 | res_trafo | va_hv_degree | float64
90 | res_trafo | vm_lv_pu | float64
91 | res_trafo | va_lv_degree | float64
92 | res_trafo | loading_percent | float64
93 | res_ext_grid | p_mw | float64
94 | res_ext_grid | q_mvar | float64
95 | res_load | p_mw | float64
96 | res_load | q_mvar | float64

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | TRUE | FALSE |  | 50 | 1