## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_1031-42_0_4_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_1031-42_0_4_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_1031-42_0_4_node_2 | 0.4 | n |  | TRUE
3 | bus_LV_1031-42_0_4_node_3 | 0.4 | n |  | TRUE
4 | bus_LV_1031-42_0_4_node_4 | 0.4 | n |  | TRUE
5 | bus_LV_1031-42_0_4_node_16 | 0.4 | n |  | TRUE
6 | bus_LV_1031-42_0_4_node_7 | 0.4 | n |  | TRUE
7 | bus_LV_1031-42_0_4_node_12 | 0.4 | n |  | TRUE
8 | bus_LV_1031-42_0_4_node_5 | 0.4 | n |  | TRUE
9 | bus_LV_1031-42_0_4_node_9 | 0.4 | n |  | TRUE
10 | bus_LV_1031-42_0_4_node_30 | 0.4 | n |  | TRUE
11 | bus_LV_1031-42_0_4_node_33 | 0.4 | n |  | TRUE
12 | bus_LV_1031-42_0_4_node_17 | 0.4 | n |  | TRUE
13 | bus_LV_1031-42_0_4_node_50 | 0.4 | n |  | TRUE
14 | bus_LV_1031-42_0_4_node_48 | 0.4 | n |  | TRUE
15 | bus_LV_1031-42_0_4_node_10 | 0.4 | n |  | TRUE
16 | bus_LV_1031-42_0_4_node_21 | 0.4 | n |  | TRUE
17 | bus_LV_1031-42_0_4_node_53 | 0.4 | n |  | TRUE
18 | bus_LV_1031-42_0_4_node_19 | 0.4 | n |  | TRUE
19 | bus_LV_1031-42_0_4_node_31 | 0.4 | n |  | TRUE
20 | bus_LV_1031-42_0_4_node_57 | 0.4 | n |  | TRUE
21 | bus_LV_1031-42_0_4_node_6 | 0.4 | n |  | TRUE
22 | bus_LV_1031-42_0_4_node_13 | 0.4 | n |  | TRUE
23 | bus_LV_1031-42_0_4_node_14 | 0.4 | n |  | TRUE
24 | bus_LV_1031-42_0_4_node_32 | 0.4 | n |  | TRUE
25 | bus_LV_1031-42_0_4_node_28 | 0.4 | n |  | TRUE
26 | bus_LV_1031-42_0_4_node_49 | 0.4 | n |  | TRUE
27 | bus_LV_1031-42_0_4_node_29 | 0.4 | n |  | TRUE
28 | bus_LV_1031-42_0_4_node_46 | 0.4 | n |  | TRUE
29 | bus_LV_1031-42_0_4_node_44 | 0.4 | n |  | TRUE
30 | bus_LV_1031-42_0_4_node_22 | 0.4 | n |  | TRUE
31 | bus_LV_1031-42_0_4_node_23 | 0.4 | n |  | TRUE
32 | bus_LV_1031-42_0_4_node_25 | 0.4 | n |  | TRUE
33 | bus_LV_1031-42_0_4_node_26 | 0.4 | n |  | TRUE
34 | bus_LV_1031-42_0_4_node_56 | 0.4 | n |  | TRUE
35 | bus_LV_1031-42_0_4_node_55 | 0.4 | n |  | TRUE
36 | bus_LV_1031-42_0_4_node_34 | 0.4 | n |  | TRUE
37 | bus_LV_1031-42_0_4_node_35 | 0.4 | n |  | TRUE
38 | bus_LV_1031-42_0_4_node_36 | 0.4 | n |  | TRUE
39 | bus_LV_1031-42_0_4_node_40 | 0.4 | n |  | TRUE
40 | bus_LV_1031-42_0_4_node_38 | 0.4 | n |  | TRUE
41 | bus_LV_1031-42_0_4_node_37 | 0.4 | n |  | TRUE
42 | bus_LV_1031-42_0_4_node_39 | 0.4 | n |  | TRUE
43 | bus_LV_1031-42_0_4_node_41 | 0.4 | n |  | TRUE
44 | bus_LV_1031-42_0_4_node_42 | 0.4 | n |  | TRUE
45 | bus_LV_1031-42_0_4_node_52 | 0.4 | n |  | TRUE
46 | bus_LV_1031-42_0_4_node_54 | 0.4 | n |  | TRUE
47 | bus_LV_1031-42_0_4_node_47 | 0.4 | n |  | TRUE
48 | bus_LV_1031-42_0_4_node_43 | 0.4 | n |  | TRUE
49 | bus_LV_1031-42_0_4_node_45 | 0.4 | n |  | TRUE
50 | bus_LV_1031-42_0_4_node_51 | 0.4 | n |  | TRUE
51 | bus_MV_353_1_node_249 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_1031-42_0_4_load_0 | 0 | 0.00095093 | 0.00023833 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_1031-42_0_4_load_1 | 1 | 0.00072995 | 0.00018294 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_1031-42_0_4_load_12 | 7 | 0.0016281 | 0.00040805 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_1031-42_0_4_load_5 | 8 | 0.0049543 | 0.0012417 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_1031-42_0_4_load_33 | 11 | 0.0030192 | 0.00075667 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_1031-42_0_4_load_50 | 13 | 0.0015724 | 0.00039409 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_1031-42_0_4_load_48 | 14 | 0.0013621 | 0.00034138 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_1031-42_0_4_load_53 | 17 | 0.035475 | 0.0088908 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_1031-42_0_4_load_31 | 19 | 0.0054517 | 0.0013663 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_1031-42_0_4_load_57 | 20 | 0.010244 | 0.0025674 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_1031-42_0_4_load_6 | 21 | 0.00081322 | 0.00020381 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_1031-42_0_4_load_14 | 23 | 0.0013346 | 0.00033449 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_1031-42_0_4_load_28 | 25 | 0.011853 | 0.0029707 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_1031-42_0_4_load_29 | 27 | 0.018586 | 0.0046582 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_1031-42_0_4_load_46 | 28 | 0.0035349 | 0.00088593 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_1031-42_0_4_load_44 | 29 | 0.0028169 | 0.00070598 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_1031-42_0_4_load_22 | 30 | 0.024474 | 0.0061337 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_1031-42_0_4_load_25 | 32 | 0.027365 | 0.0068583 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_1031-42_0_4_load_26 | 33 | 0.0084856 | 0.0021267 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_1031-42_0_4_load_56 | 34 | 0.0075752 | 0.0018985 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_1031-42_0_4_load_55 | 35 | 0.018591 | 0.0046594 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_1031-42_0_4_load_34 | 36 | 0.0014792 | 0.00037073 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_1031-42_0_4_load_35 | 37 | 0.0012427 | 0.00031144 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_1031-42_0_4_load_36 | 38 | 0.0010947 | 0.00027437 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_1031-42_0_4_load_40 | 39 | 0.0010946 | 0.00027433 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_1031-42_0_4_load_38 | 40 | 0.0010949 | 0.0002744 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_1031-42_0_4_load_37 | 41 | 0.001049 | 0.00026289 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_1031-42_0_4_load_41 | 43 | 0.019104 | 0.004788 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_1031-42_0_4_load_42 | 44 | 0.0091312 | 0.0022885 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_1031-42_0_4_load_52 | 45 | 0.0014522 | 0.00036397 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_1031-42_0_4_load_54 | 46 | 0.0076233 | 0.0019106 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_1031-42_0_4_load_47 | 47 | 0.0011823 | 0.00029631 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_1031-42_0_4_load_43 | 48 | 0.003372 | 0.00084511 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_1031-42_0_4_load_51 | 50 | 0.0017107 | 0.00042874 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 3 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_1031-42_0_4_line_0 | NAYY 4x150 SE | 0 | 1 | 0.011427 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
1 | LV_1031-42_0_4_line_1 | NAYY 4x150 SE | 0 | 2 | 0.017479 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
2 | LV_1031-42_0_4_line_2 | NAYY 4x150 SE | 1 | 3 | 0.021832 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
3 | LV_1031-42_0_4_line_3 | NAYY 4x150 SE | 2 | 4 | 0.040389 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
4 | LV_1031-42_0_4_line_4 | NAYY 4x150 SE | 3 | 5 | 0.09829 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
5 | LV_1031-42_0_4_line_5 | NAYY 4x150 SE | 4 | 6 | 0.023532 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
6 | LV_1031-42_0_4_line_6 | NAYY 4x150 SE | 4 | 7 | 0.011963 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
7 | LV_1031-42_0_4_line_7 | NAYY 4x150 SE | 5 | 10 | 0.016018 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
8 | LV_1031-42_0_4_line_8 | NAYY 4x150 SE | 5 | 11 | 0.0028414 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
9 | LV_1031-42_0_4_line_9 | NAYY 4x150 SE | 6 | 9 | 0.019594 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
10 | LV_1031-42_0_4_line_10 | NAYY 4x150 SE | 6 | 21 | 0.012195 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
11 | LV_1031-42_0_4_line_11 | NAYY 4x150 SE | 7 | 22 | 0.024237 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
12 | LV_1031-42_0_4_line_12 | NAYY 4x150 SE | 8 | 9 | 0.026321 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
13 | LV_1031-42_0_4_line_13 | NAYY 4x150 SE | 9 | 15 | 0.017071 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
14 | LV_1031-42_0_4_line_14 | NAYY 4x150 SE | 10 | 24 | 0.013376 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
15 | LV_1031-42_0_4_line_15 | NAYY 4x150 SE | 10 | 25 | 0.016658 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
16 | LV_1031-42_0_4_line_16 | NAYY 4x150 SE | 12 | 13 | 0.017231 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
17 | LV_1031-42_0_4_line_17 | NAYY 4x150 SE | 12 | 14 | 0.0028529 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
18 | LV_1031-42_0_4_line_18 | NAYY 4x150 SE | 13 | 16 | 0.020209 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
19 | LV_1031-42_0_4_line_19 | NAYY 4x150 SE | 14 | 26 | 0.014952 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
20 | LV_1031-42_0_4_line_20 | NAYY 4x150 SE | 15 | 16 | 0.10104 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
21 | LV_1031-42_0_4_line_21 | NAYY 4x150 SE | 15 | 17 | 0.029172 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
22 | LV_1031-42_0_4_line_22 | NAYY 4x150 SE | 18 | 19 | 0.017968 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
23 | LV_1031-42_0_4_line_23 | NAYY 4x150 SE | 18 | 20 | 0.012043 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
24 | LV_1031-42_0_4_line_24 | NAYY 4x150 SE | 19 | 27 | 0.017524 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
25 | LV_1031-42_0_4_line_25 | NAYY 4x150 SE | 22 | 23 | 0.038095 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
26 | LV_1031-42_0_4_line_26 | NAYY 4x150 SE | 24 | 35 | 0.02359 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
27 | LV_1031-42_0_4_line_27 | NAYY 4x150 SE | 24 | 34 | 0.0063145 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
28 | LV_1031-42_0_4_line_28 | NAYY 4x150 SE | 25 | 27 | 0.0010538 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
29 | LV_1031-42_0_4_line_29 | NAYY 4x150 SE | 26 | 50 | 0.015941 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
30 | LV_1031-42_0_4_line_30 | NAYY 4x150 SE | 26 | 45 | 0.020488 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
31 | LV_1031-42_0_4_line_31 | NAYY 4x150 SE | 28 | 29 | 0.0074395 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
32 | LV_1031-42_0_4_line_32 | NAYY 4x150 SE | 29 | 48 | 0.01156 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
33 | LV_1031-42_0_4_line_33 | NAYY 4x150 SE | 30 | 31 | 0.026243 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
34 | LV_1031-42_0_4_line_34 | NAYY 4x150 SE | 31 | 32 | 0.0032908 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
35 | LV_1031-42_0_4_line_35 | NAYY 4x150 SE | 31 | 33 | 0.014724 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
36 | LV_1031-42_0_4_line_36 | NAYY 4x150 SE | 33 | 34 | 0.0060181 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
37 | LV_1031-42_0_4_line_37 | NAYY 4x150 SE | 36 | 37 | 0.00081767 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
38 | LV_1031-42_0_4_line_38 | NAYY 4x150 SE | 37 | 38 | 0.015374 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
39 | LV_1031-42_0_4_line_39 | NAYY 4x150 SE | 38 | 39 | 0.01621 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
40 | LV_1031-42_0_4_line_40 | NAYY 4x150 SE | 39 | 40 | 0.022146 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
41 | LV_1031-42_0_4_line_41 | NAYY 4x150 SE | 40 | 41 | 0.0014468 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
42 | LV_1031-42_0_4_line_42 | NAYY 4x150 SE | 41 | 42 | 0.021469 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
43 | LV_1031-42_0_4_line_43 | NAYY 4x150 SE | 42 | 43 | 0.012523 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
44 | LV_1031-42_0_4_line_44 | NAYY 4x150 SE | 42 | 44 | 0.029832 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
45 | LV_1031-42_0_4_line_45 | NAYY 4x150 SE | 43 | 45 | 0.014181 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
46 | LV_1031-42_0_4_line_46 | NAYY 4x150 SE | 44 | 46 | 0.010601 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
47 | LV_1031-42_0_4_line_47 | NAYY 4x150 SE | 46 | 47 | 0.0040993 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
48 | LV_1031-42_0_4_line_48 | NAYY 4x150 SE | 47 | 49 | 0.12242 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
49 | LV_1031-42_0_4_line_49 | NAYY 4x150 SE | 48 | 49 | 0.14762 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_1031-42_0_4_trafo_3 | 0.25 MVA 20/0.4 kV | 51 | 3 | 0.25 | 20 | 0.4 | 6 | 1.44 | 0.8 | 0.32 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6 | x7 | y7 | x8 | y8 | x9 | y9 | x10 | y10
0 | 2664608.5469 | 1224164.8391 | 2664608.5469 | 1224164.8391 | 2664614.2455 | 1224173.551 | 2664614.5371 | 1224174.5257
1 | 2664595.4478 | 1224153.323 | 2664602.5538 | 1224158.8147 | 2664608.5469 | 1224164.8391
2 | 2664620.6142 | 1224195.2673 | 2664617.9518 | 1224190.4576 | 2664616.6016 | 1224181.426 | 2664614.5371 | 1224174.5257
3 | 2664617.6225 | 1224119.5308 | 2664597.3281 | 1224150.5416 | 2664595.4478 | 1224153.323
4 | 2664598.3571 | 1224285.5725 | 2664596.3774 | 1224275.1555 | 2664596.8285 | 1224271.3135 | 2664598.7362 | 1224268.1099 | 2664600.0903 | 1224261.4203 | 2664603.2315 | 1224254.9391 | 2664617.3801 | 1224226.3521 | 2664620.2956 | 1224225.3053 | 2664616.5732 | 1224214.0688 | 2664618.6256 | 1224204.5295 | 2664620.6142 | 1224195.2673
5 | 2664617.6225 | 1224119.5308 | 2664621.3628 | 1224096.301
6 | 2664617.6225 | 1224119.5308 | 2664629.5611 | 1224120.3013
7 | 2664598.3571 | 1224285.5725 | 2664602.2865 | 1224285.4151 | 2664614.4153 | 1224285.7135
8 | 2664598.3571 | 1224285.5725 | 2664595.5335 | 1224285.8906
9 | 2664601.9179 | 1224093.7551 | 2664605.6335 | 1224093.7509 | 2664621.3628 | 1224096.301
10 | 2664621.3628 | 1224096.301 | 2664633.551 | 1224096.696
11 | 2664653.7216 | 1224121.1348 | 2664650.1448 | 1224121.6296 | 2664629.5611 | 1224120.3013
12 | 2664601.9179 | 1224093.7551 | 2664601.3795 | 1224093.7603 | 2664597.8652 | 1224094.7784 | 2664594.3838 | 1224097.6536 | 2664592.2207 | 1224101.3325 | 2664590.202 | 1224110.5721 | 2664589.6881 | 1224114.4216
13 | 2664590.6381 | 1224087.1618 | 2664602.5561 | 1224088.7477 | 2664602.0426 | 1224092.7447 | 2664601.9179 | 1224093.7551
14 | 2664627.7316 | 1224286.9811 | 2664621.6092 | 1224285.8917 | 2664614.4153 | 1224285.7135
15 | 2664614.4153 | 1224285.7135 | 2664613.9731 | 1224302.366
16 | 2664529.2888 | 1224139.3412 | 2664540.1575 | 1224152.7119
17 | 2664529.2888 | 1224139.3412 | 2664527.5455 | 1224137.0829
18 | 2664552.9047 | 1224168.3935 | 2664540.1575 | 1224152.7119
19 | 2664518.4088 | 1224125.2476 | 2664527.5455 | 1224137.0829
20 | 2664552.9047 | 1224168.3935 | 2664572.2095 | 1224160.7646 | 2664579.5083 | 1224158.976 | 2664580.5291 | 1224142.4653 | 2664586.9601 | 1224105.3558 | 2664590.6381 | 1224087.1618
21 | 2664590.6381 | 1224087.1618 | 2664592.6619 | 1224068.3718 | 2664593.0684 | 1224058.1067
22 | 2664619.5706 | 1224337.4581 | 2664619.4456 | 1224324.5374 | 2664618.2566 | 1224319.633
23 | 2664619.5706 | 1224337.4581 | 2664626.1062 | 1224334.7162 | 2664631.0585 | 1224334.5397
24 | 2664618.2566 | 1224319.633 | 2664617.5078 | 1224316.5446 | 2664613.7355 | 1224311.3114 | 2664613.9451 | 1224303.4193
25 | 2664653.7216 | 1224121.1348 | 2664659.852 | 1224134.0652 | 2664665.3522 | 1224157.2057
26 | 2664627.7316 | 1224286.9811 | 2664629.238 | 1224270.4535 | 2664630.4342 | 1224263.5623
27 | 2664627.7316 | 1224286.9811 | 2664633.9381 | 1224288.1443
28 | 2664613.9451 | 1224303.4193 | 2664613.9731 | 1224302.366
29 | 2664518.4088 | 1224125.2476 | 2664507.1092 | 1224132.3631 | 2664506.4827 | 1224134.9024
30 | 2664518.4088 | 1224125.2476 | 2664511.4395 | 1224116.2219 | 2664505.8852 | 1224109.0324
31 | 2664377.253 | 1224087.7182 | 2664378.4392 | 1224080.3739
32 | 2664380.2824 | 1224068.9617 | 2664378.4392 | 1224080.3739
33 | 2664654.2502 | 1224292.3279 | 2664656.2039 | 1224285.5892 | 2664662.5495 | 1224273.1168 | 2664665.1198 | 1224269.6425 | 2664665.8712 | 1224269.1276
34 | 2664654.2502 | 1224292.3279 | 2664657.4148 | 1224293.2309
35 | 2664654.2502 | 1224292.3279 | 2664645.1738 | 1224290.2502 | 2664639.8532 | 1224289.253
36 | 2664639.8532 | 1224289.253 | 2664633.9381 | 1224288.1443
37 | 2664426.5692 | 1224104.3803 | 2664426.5668 | 1224105.198
38 | 2664426.5692 | 1224104.3803 | 2664426.5999 | 1224094.1782 | 2664429.4146 | 1224089.8392 | 2664429.4146 | 1224089.8392
39 | 2664429.4146 | 1224089.8392 | 2664435.3943 | 1224088.025 | 2664445.3014 | 1224089.0603
40 | 2664467.3276 | 1224091.3621 | 2664445.3014 | 1224089.0603
41 | 2664468.7666 | 1224091.5125 | 2664467.3276 | 1224091.3621
42 | 2664489.5594 | 1224087.9001 | 2664475.3936 | 1224092.2051 | 2664468.7666 | 1224091.5125
43 | 2664489.5594 | 1224087.9001 | 2664497.2155 | 1224097.8103
44 | 2664489.5594 | 1224087.9001 | 2664479.2493 | 1224059.9068
45 | 2664505.8852 | 1224109.0324 | 2664497.2155 | 1224097.8103
46 | 2664475.5856 | 1224049.9593 | 2664479.2493 | 1224059.9068
47 | 2664475.5856 | 1224049.9593 | 2664474.1689 | 1224046.1126
48 | 2664420.6822 | 1223936.1576 | 2664450.2111 | 1223990.6898 | 2664469.0153 | 1224032.1198 | 2664474.1689 | 1224046.1126
49 | 2664420.6822 | 1223936.1576 | 2664400.6449 | 1223944.8576 | 2664399.5705 | 1223949.5378 | 2664380.2824 | 1224068.9617

## bus_geodata
| x | y | coords
0 | 2664608.5469 | 1224164.8391
1 | 2664614.5371 | 1224174.5257
2 | 2664595.4478 | 1224153.323
3 | 2664620.6142 | 1224195.2673
4 | 2664617.6225 | 1224119.5308
5 | 2664598.3571 | 1224285.5725
6 | 2664621.3628 | 1224096.301
7 | 2664629.5611 | 1224120.3013
8 | 2664589.6881 | 1224114.4216
9 | 2664601.9179 | 1224093.7551
10 | 2664614.4153 | 1224285.7135
11 | 2664595.5335 | 1224285.8906
12 | 2664529.2888 | 1224139.3412
13 | 2664540.1575 | 1224152.7119
14 | 2664527.5455 | 1224137.0829
15 | 2664590.6381 | 1224087.1618
16 | 2664552.9047 | 1224168.3935
17 | 2664593.0684 | 1224058.1067
18 | 2664619.5706 | 1224337.4581
19 | 2664618.2566 | 1224319.633
20 | 2664631.0585 | 1224334.5397
21 | 2664633.551 | 1224096.696
22 | 2664653.7216 | 1224121.1348
23 | 2664665.3522 | 1224157.2057
24 | 2664627.7316 | 1224286.9811
25 | 2664613.9731 | 1224302.366
26 | 2664518.4088 | 1224125.2476
27 | 2664613.9451 | 1224303.4193
28 | 2664377.253 | 1224087.7182
29 | 2664378.4392 | 1224080.3739
30 | 2664665.8712 | 1224269.1276
31 | 2664654.2502 | 1224292.3279
32 | 2664657.4148 | 1224293.2309
33 | 2664639.8532 | 1224289.253
34 | 2664633.9381 | 1224288.1443
35 | 2664630.4342 | 1224263.5623
36 | 2664426.5668 | 1224105.198
37 | 2664426.5692 | 1224104.3803
38 | 2664429.4146 | 1224089.8392
39 | 2664445.3014 | 1224089.0603
40 | 2664467.3276 | 1224091.3621
41 | 2664468.7666 | 1224091.5125
42 | 2664489.5594 | 1224087.9001
43 | 2664497.2155 | 1224097.8103
44 | 2664479.2493 | 1224059.9068
45 | 2664505.8852 | 1224109.0324
46 | 2664475.5856 | 1224049.9593
47 | 2664474.1689 | 1224046.1126
48 | 2664380.2824 | 1224068.9617
49 | 2664420.6822 | 1223936.1576
50 | 2664506.4827 | 1224134.9024
51 | 2664618.6256 | 1224204.5295

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## res_bus
| vm_pu | va_degree | p_mw | q_mvar
0 | 0.99745 | -0.017581 | 0.00095093 | 0.00023833
1 | 0.99832 | -0.011558 | 0.00072995 | 0.00018294
2 | 0.99613 | -0.026731 | 0 | 0
3 | 1 | 0 | -0.24609 | -0.061972
4 | 0.99307 | -0.047965 | 0 | 0
5 | 0.99036 | -0.067193 | 0 | 0
6 | 0.99134 | -0.060041 | 0 | 0
7 | 0.99302 | -0.048324 | 0.0016281 | 0.00040805
8 | 0.98972 | -0.071376 | 0.0049543 | 0.0012417
9 | 0.98991 | -0.070047 | 0 | 0
10 | 0.98883 | -0.07802 | 0 | 0
11 | 0.99035 | -0.06728 | 0.0030192 | 0.00075667
12 | 0.98106 | -0.13235 | 0 | 0
13 | 0.98253 | -0.12193 | 0.0015724 | 0.00039409
14 | 0.98082 | -0.13408 | 0.0013621 | 0.00034138
15 | 0.98872 | -0.078356 | 0 | 0
16 | 0.9843 | -0.10943 | 0 | 0
17 | 0.98723 | -0.088938 | 0.035475 | 0.0088908
18 | 0.987 | -0.090945 | 0 | 0
19 | 0.98727 | -0.089059 | 0.0054517 | 0.0013663
20 | 0.98682 | -0.092209 | 0.010244 | 0.0025674
21 | 0.99132 | -0.060142 | 0.00081322 | 0.00020381
22 | 0.99297 | -0.048653 | 0 | 0
23 | 0.9929 | -0.049168 | 0.0013346 | 0.00033449
24 | 0.98715 | -0.089849 | 0 | 0
25 | 0.98772 | -0.085874 | 0.011853 | 0.0029707
26 | 0.97957 | -0.14294 | 0 | 0
27 | 0.98767 | -0.086244 | 0.018586 | 0.0046582
28 | 0.9706 | -0.20728 | 0.0035349 | 0.00088593
29 | 0.97064 | -0.207 | 0.0028169 | 0.00070598
30 | 0.98397 | -0.11243 | 0.024474 | 0.0061337
31 | 0.9849 | -0.10581 | 0 | 0
32 | 0.98477 | -0.10674 | 0.027365 | 0.0068583
33 | 0.98601 | -0.097969 | 0.0084856 | 0.0021267
34 | 0.98653 | -0.094244 | 0.0075752 | 0.0018985
35 | 0.98652 | -0.094344 | 0.018591 | 0.0046594
36 | 0.97562 | -0.1712 | 0.0014792 | 0.00037073
37 | 0.97562 | -0.17119 | 0.0012427 | 0.00031144
38 | 0.97568 | -0.17075 | 0.0010947 | 0.00027437
39 | 0.97577 | -0.1701 | 0.0010946 | 0.00027433
40 | 0.97593 | -0.16896 | 0.0010949 | 0.0002744
41 | 0.97594 | -0.16887 | 0.001049 | 0.00026289
42 | 0.97617 | -0.16728 | 0 | 0
43 | 0.9768 | -0.16272 | 0.019104 | 0.004788
44 | 0.97496 | -0.17594 | 0.0091312 | 0.0022885
45 | 0.97792 | -0.15474 | 0.0014522 | 0.00036397
46 | 0.97467 | -0.17801 | 0.0076233 | 0.0019106
47 | 0.9746 | -0.17848 | 0.0011823 | 0.00029631
48 | 0.97075 | -0.20622 | 0.003372 | 0.00084511
49 | 0.97286 | -0.19104 | 0 | 0
50 | 0.97953 | -0.14322 | 0.0017107 | 0.00042874
51 | 0.99998 | 149.9947 | 0 | 0

## res_line
| p_from_mw | q_from_mvar | p_to_mw | q_to_mvar | pl_mw | ql_mvar | i_from_ka | i_to_ka | i_ka | vm_from_pu | va_from_degree | vm_to_pu | va_to_degree | loading_percent
0 | -0.1068 | -0.026982 | 0.10689 | 0.027017 | 9.0586e-05 | 3.4542e-05 | 0.1594 | 0.1594 | 0.1594 | 0.99745 | -0.017581 | 0.99832 | -0.011558 | 29.5179
1 | 0.10584 | 0.026744 | -0.10571 | -0.026692 | 0.0001361 | 5.189e-05 | 0.15798 | 0.15798 | 0.15798 | 0.99745 | -0.017581 | 0.99613 | -0.026731 | 29.2552
2 | -0.10762 | -0.0272 | 0.10779 | 0.027267 | 0.00017543 | 6.6902e-05 | 0.16048 | 0.16048 | 0.16048 | 0.99832 | -0.011558 | 1 | 0 | 29.7193
3 | 0.10571 | 0.026692 | -0.10539 | -0.026572 | 0.00031449 | 0.00011991 | 0.15798 | 0.15798 | 0.15798 | 0.99613 | -0.026731 | 0.99307 | -0.047965 | 29.2552
4 | 0.1375 | 0.034705 | -0.13622 | -0.034213 | 0.0012849 | 0.00049163 | 0.20469 | 0.20469 | 0.20469 | 1 | 0 | 0.99036 | -0.067193 | 37.9059
5 | 0.10243 | 0.02583 | -0.10226 | -0.025764 | 0.00017308 | 6.5962e-05 | 0.15354 | 0.15354 | 0.15354 | 0.99307 | -0.047965 | 0.99134 | -0.060041 | 28.4331
6 | 0.0029631 | 0.0007417 | -0.0029629 | -0.0007418 | 1.4714e-07 | -9.8184e-08 | 0.0044396 | 0.0044396 | 0.0044396 | 0.99307 | -0.047965 | 0.99302 | -0.048324 | 1.6443
7 | 0.1332 | 0.033457 | -0.133 | -0.03338 | 0.00020022 | 7.6595e-05 | 0.20016 | 0.20016 | 0.20016 | 0.99036 | -0.067193 | 0.98883 | -0.07802 | 37.0659
8 | 0.0030192 | 0.00075665 | -0.0030192 | -0.00075667 | 3.6486e-08 | -2.2529e-08 | 0.0045363 | 0.0045363 | 0.0045363 | 0.99036 | -0.067193 | 0.99035 | -0.06728 | 1.6801
9 | 0.10144 | 0.025561 | -0.1013 | -0.025507 | 0.00014183 | 5.4047e-05 | 0.15232 | 0.15232 | 0.15232 | 0.99134 | -0.060041 | 0.98991 | -0.070047 | 28.2071
10 | 0.00081323 | 0.00020366 | -0.00081322 | -0.00020381 | 1.1338e-08 | -1.5286e-07 | 0.0012206 | 0.0012207 | 0.0012207 | 0.99134 | -0.060041 | 0.99132 | -0.060142 | 0.4521
11 | 0.0013348 | 0.00033375 | -0.0013347 | -0.00033404 | 6.0493e-08 | -2.9027e-07 | 0.0019999 | 0.002 | 0.002 | 0.99302 | -0.048324 | 0.99297 | -0.048653 | 0.74074
12 | -0.0049543 | -0.0012417 | 0.0049552 | 0.0012417 | 9.1126e-07 | 1.2165e-08 | 0.0074487 | 0.0074485 | 0.0074487 | 0.98972 | -0.071376 | 0.98991 | -0.070047 | 2.7588
13 | 0.096348 | 0.024265 | -0.096236 | -0.024222 | 0.00011178 | 4.2555e-05 | 0.14487 | 0.14487 | 0.14487 | 0.98991 | -0.070047 | 0.98872 | -0.078356 | 26.8278
14 | 0.0868 | 0.021794 | -0.086657 | -0.02174 | 0.00014243 | 5.4611e-05 | 0.13063 | 0.13063 | 0.13063 | 0.98883 | -0.07802 | 0.98715 | -0.089849 | 48.3826
15 | 0.046198 | 0.011586 | -0.046148 | -0.011567 | 5.0242e-05 | 1.9111e-05 | 0.069523 | 0.069523 | 0.069523 | 0.98883 | -0.07802 | 0.98772 | -0.085874 | 25.7492
16 | -0.058683 | -0.014746 | 0.058768 | 0.014779 | 8.5207e-05 | 3.2554e-05 | 0.089021 | 0.089021 | 0.089021 | 0.98106 | -0.13235 | 0.98253 | -0.12193 | 32.9706
17 | 0.058683 | 0.014746 | -0.058669 | -0.014741 | 1.4108e-05 | 5.39e-06 | 0.089021 | 0.089021 | 0.089021 | 0.98106 | -0.13235 | 0.98082 | -0.13408 | 32.9706
18 | -0.06034 | -0.015173 | 0.060446 | 0.015213 | 0.00010535 | 4.0263e-05 | 0.091402 | 0.091402 | 0.091402 | 0.98253 | -0.12193 | 0.9843 | -0.10943 | 33.8526
19 | 0.057307 | 0.0144 | -0.057236 | -0.014373 | 7.0543e-05 | 2.6944e-05 | 0.086954 | 0.086954 | 0.086954 | 0.98082 | -0.13408 | 0.97957 | -0.14294 | 32.2053
20 | 0.060709 | 0.015312 | -0.060446 | -0.015213 | 0.00026336 | 9.8712e-05 | 0.091401 | 0.091402 | 0.091402 | 0.98872 | -0.078356 | 0.9843 | -0.10943 | 16.9263
21 | 0.035527 | 0.0089104 | -0.035475 | -0.0088908 | 5.2042e-05 | 1.9643e-05 | 0.053469 | 0.053469 | 0.053469 | 0.98872 | -0.078356 | 0.98723 | -0.088938 | 19.8035
22 | -0.010246 | -0.002568 | 0.010249 | 0.0025688 | 2.6752e-06 | 7.9923e-07 | 0.015447 | 0.015447 | 0.015447 | 0.987 | -0.090945 | 0.98727 | -0.089059 | 5.7211
23 | 0.010246 | 0.002568 | -0.010244 | -0.0025674 | 1.7931e-06 | 5.3576e-07 | 0.015447 | 0.015447 | 0.015447 | 0.987 | -0.090945 | 0.98682 | -0.092209 | 5.7211
24 | -0.0157 | -0.0039351 | 0.015706 | 0.0039372 | 6.1231e-06 | 2.1309e-06 | 0.023664 | 0.023664 | 0.023664 | 0.98727 | -0.089059 | 0.98767 | -0.086244 | 8.7643
25 | 0.0013347 | 0.00033404 | -0.0013346 | -0.00033449 | 9.5093e-08 | -4.5617e-07 | 0.002 | 0.0020002 | 0.0020002 | 0.99297 | -0.048653 | 0.9929 | -0.049168 | 0.7408
26 | 0.018603 | 0.0046635 | -0.018591 | -0.0046594 | 1.1575e-05 | 4.1506e-06 | 0.028042 | 0.028042 | 0.028042 | 0.98715 | -0.089849 | 0.98652 | -0.094344 | 10.3859
27 | 0.068055 | 0.017076 | -0.068013 | -0.01706 | 4.1471e-05 | 1.587e-05 | 0.10259 | 0.10259 | 0.10259 | 0.98715 | -0.089849 | 0.98653 | -0.094244 | 37.9968
28 | 0.034295 | 0.0085961 | -0.034293 | -0.0085954 | 1.7552e-06 | 6.616e-07 | 0.051666 | 0.051666 | 0.051666 | 0.98772 | -0.085874 | 0.98767 | -0.086244 | 19.1355
29 | 0.0017107 | 0.00042856 | -0.0017107 | -0.00042874 | 6.7174e-08 | -1.7483e-07 | 0.0025986 | 0.0025987 | 0.0025987 | 0.97957 | -0.14294 | 0.97953 | -0.14322 | 0.96248
30 | 0.055525 | 0.013944 | -0.055434 | -0.013909 | 9.0975e-05 | 3.4733e-05 | 0.084356 | 0.084356 | 0.084356 | 0.97957 | -0.14294 | 0.97792 | -0.15474 | 31.2428
31 | -0.0035349 | -0.00088593 | 0.003535 | 0.00088589 | 1.3634e-07 | -3.9513e-08 | 0.0054193 | 0.0054193 | 0.0054193 | 0.9706 | -0.20728 | 0.97064 | -0.207 | 2.0071
32 | -0.0063519 | -0.0015919 | 0.0063526 | 0.001592 | 6.8399e-07 | 1.2017e-07 | 0.0097376 | 0.0097376 | 0.0097376 | 0.97064 | -0.207 | 0.97075 | -0.20622 | 3.6065
33 | -0.024474 | -0.0061337 | 0.024496 | 0.006142 | 2.243e-05 | 8.2934e-06 | 0.03701 | 0.03701 | 0.03701 | 0.98397 | -0.11243 | 0.9849 | -0.10581 | 13.7075
34 | 0.027369 | 0.0068596 | -0.027365 | -0.0068583 | 3.511e-06 | 1.3085e-06 | 0.041349 | 0.041349 | 0.041349 | 0.9849 | -0.10581 | 0.98477 | -0.10674 | 15.3145
35 | -0.051865 | -0.013002 | 0.051921 | 0.013023 | 5.6417e-05 | 2.1511e-05 | 0.07836 | 0.078359 | 0.07836 | 0.9849 | -0.10581 | 0.98601 | -0.097969 | 29.022
36 | -0.060407 | -0.01515 | 0.060438 | 0.015162 | 3.1211e-05 | 1.1927e-05 | 0.091165 | 0.091165 | 0.091165 | 0.98601 | -0.097969 | 0.98653 | -0.094244 | 33.7649
37 | -0.0014792 | -0.00037073 | 0.0014792 | 0.00037072 | 2.5971e-09 | -9.2117e-09 | 0.0022561 | 0.0022561 | 0.0022561 | 0.97562 | -0.1712 | 0.97562 | -0.17119 | 0.8356
38 | -0.0027219 | -0.00068216 | 0.0027221 | 0.00068203 | 1.6533e-07 | -1.284e-07 | 0.0041514 | 0.0041514 | 0.0041514 | 0.97562 | -0.17119 | 0.97568 | -0.17075 | 1.5376
39 | -0.0038168 | -0.0009564 | 0.0038171 | 0.00095633 | 3.4273e-07 | -7.0646e-08 | 0.005821 | 0.0058209 | 0.005821 | 0.97568 | -0.17075 | 0.97577 | -0.1701 | 2.1559
40 | -0.0049117 | -0.0012307 | 0.0049125 | 0.0012307 | 7.7527e-07 | 2.1501e-08 | 0.0074901 | 0.00749 | 0.0074901 | 0.97577 | -0.1701 | 0.97593 | -0.16896 | 2.7741
41 | -0.0060074 | -0.0015051 | 0.0060075 | 0.0015051 | 7.5742e-08 | 1.1053e-08 | 0.0091594 | 0.0091594 | 0.0091594 | 0.97593 | -0.16896 | 0.97594 | -0.16887 | 3.3924
42 | -0.0070564 | -0.001768 | 0.007058 | 0.0017683 | 1.5506e-06 | 3.2807e-07 | 0.010759 | 0.010759 | 0.010759 | 0.97594 | -0.16887 | 0.97617 | -0.16728 | 3.9847
43 | -0.034796 | -0.0087264 | 0.034818 | 0.0087347 | 2.1987e-05 | 8.2998e-06 | 0.053043 | 0.053043 | 0.053043 | 0.97617 | -0.16728 | 0.9768 | -0.16272 | 19.6457
44 | 0.027738 | 0.0069581 | -0.027705 | -0.0069457 | 3.3284e-05 | 1.2429e-05 | 0.042285 | 0.042285 | 0.042285 | 0.97617 | -0.16728 | 0.97496 | -0.17594 | 15.6611
45 | -0.053922 | -0.013523 | 0.053982 | 0.013545 | 5.9712e-05 | 2.2788e-05 | 0.082146 | 0.082146 | 0.082146 | 0.9768 | -0.16272 | 0.97792 | -0.15474 | 30.4244
46 | 0.018574 | 0.0046572 | -0.018568 | -0.0046552 | 5.316e-06 | 1.9125e-06 | 0.028349 | 0.028349 | 0.028349 | 0.97496 | -0.17594 | 0.97467 | -0.17801 | 10.4995
47 | 0.010945 | 0.0027447 | -0.010944 | -0.0027445 | 7.1427e-07 | 2.2363e-07 | 0.01671 | 0.01671 | 0.01671 | 0.97467 | -0.17801 | 0.9746 | -0.17848 | 6.189
48 | 0.0097621 | 0.0024481 | -0.0097451 | -0.0024431 | 1.6972e-05 | 5.005e-06 | 0.014905 | 0.014906 | 0.014906 | 0.9746 | -0.17848 | 0.97286 | -0.19104 | 5.5206
49 | -0.0097246 | -0.0024371 | 0.0097451 | 0.0024431 | 2.0467e-05 | 6.0429e-06 | 0.014906 | 0.014906 | 0.014906 | 0.97075 | -0.20622 | 0.97286 | -0.19104 | 5.5209

## res_trafo
| p_hv_mw | q_hv_mvar | p_lv_mw | q_lv_mvar | pl_mw | ql_mvar | i_hv_ka | i_lv_ka | vm_hv_pu | va_hv_degree | vm_lv_pu | va_lv_degree | loading_percent
0 | 2.5187e-16 | 8.8016e-16 | 0.00079998 | 7.4552e-08 | 0.00079998 | 7.4552e-08 | 2.6429e-17 | 0.0011547 | 0.99998 | 149.9947 | 1 | 0 | 0.31999

## res_ext_grid
| p_mw | q_mvar
0 | 0.24609 | 0.061972

## res_load
| p_mw | q_mvar
0 | 0.00095093 | 0.00023833
1 | 0.00072995 | 0.00018294
2 | 0.0016281 | 0.00040805
3 | 0.0049543 | 0.0012417
4 | 0.0030192 | 0.00075667
5 | 0.0015724 | 0.00039409
6 | 0.0013621 | 0.00034138
7 | 0.035475 | 0.0088908
8 | 0.0054517 | 0.0013663
9 | 0.010244 | 0.0025674
10 | 0.00081322 | 0.00020381
11 | 0.0013346 | 0.00033449
12 | 0.011853 | 0.0029707
13 | 0.018586 | 0.0046582
14 | 0.0035349 | 0.00088593
15 | 0.0028169 | 0.00070598
16 | 0.024474 | 0.0061337
17 | 0.027365 | 0.0068583
18 | 0.0084856 | 0.0021267
19 | 0.0075752 | 0.0018985
20 | 0.018591 | 0.0046594
21 | 0.0014792 | 0.00037073
22 | 0.0012427 | 0.00031144
23 | 0.0010947 | 0.00027437
24 | 0.0010946 | 0.00027433
25 | 0.0010949 | 0.0002744
26 | 0.001049 | 0.00026289
27 | 0.019104 | 0.004788
28 | 0.0091312 | 0.0022885
29 | 0.0014522 | 0.00036397
30 | 0.0076233 | 0.0019106
31 | 0.0011823 | 0.00029631
32 | 0.003372 | 0.00084511
33 | 0.0017107 | 0.00042874

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object
62 | res_bus | vm_pu | float64
63 | res_bus | va_degree | float64
64 | res_bus | p_mw | float64
65 | res_bus | q_mvar | float64
66 | res_line | p_from_mw | float64
67 | res_line | q_from_mvar | float64
68 | res_line | p_to_mw | float64
69 | res_line | q_to_mvar | float64
70 | res_line | pl_mw | float64
71 | res_line | ql_mvar | float64
72 | res_line | i_from_ka | float64
73 | res_line | i_to_ka | float64
74 | res_line | i_ka | float64
75 | res_line | vm_from_pu | float64
76 | res_line | va_from_degree | float64
77 | res_line | vm_to_pu | float64
78 | res_line | va_to_degree | float64
79 | res_line | loading_percent | float64
80 | res_trafo | p_hv_mw | float64
81 | res_trafo | q_hv_mvar | float64
82 | res_trafo | p_lv_mw | float64
83 | res_trafo | q_lv_mvar | float64
84 | res_trafo | pl_mw | float64
85 | res_trafo | ql_mvar | float64
86 | res_trafo | i_hv_ka | float64
87 | res_trafo | i_lv_ka | float64
88 | res_trafo | vm_hv_pu | float64
89 | res_trafo | va_hv_degree | float64
90 | res_trafo | vm_lv_pu | float64
91 | res_trafo | va_lv_degree | float64
92 | res_trafo | loading_percent | float64
93 | res_ext_grid | p_mw | float64
94 | res_ext_grid | q_mvar | float64
95 | res_load | p_mw | float64
96 | res_load | q_mvar | float64

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | TRUE | FALSE |  | 50 | 1