## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_1031-43_1_2_node_7 | 0.4 | n |  | TRUE
1 | bus_LV_1031-43_1_2_node_9 | 0.4 | n |  | TRUE
2 | bus_LV_1031-43_1_2_node_13 | 0.4 | n |  | TRUE
3 | bus_LV_1031-43_1_2_node_14 | 0.4 | n |  | TRUE
4 | bus_LV_1031-43_1_2_node_10 | 0.4 | n |  | TRUE
5 | bus_LV_1031-43_1_2_node_15 | 0.4 | n |  | TRUE
6 | bus_LV_1031-43_1_2_node_16 | 0.4 | n |  | TRUE
7 | bus_LV_1031-43_1_2_node_17 | 0.4 | n |  | TRUE
8 | bus_LV_1031-43_1_2_node_20 | 0.4 | n |  | TRUE
9 | bus_LV_1031-43_1_2_node_44 | 0.4 | n |  | TRUE
10 | bus_LV_1031-43_1_2_node_22 | 0.4 | n |  | TRUE
11 | bus_LV_1031-43_1_2_node_18 | 0.4 | n |  | TRUE
12 | bus_LV_1031-43_1_2_node_43 | 0.4 | n |  | TRUE
13 | bus_LV_1031-43_1_2_node_19 | 0.4 | n |  | TRUE
14 | bus_LV_1031-43_1_2_node_21 | 0.4 | n |  | TRUE
15 | bus_LV_1031-43_1_2_node_23 | 0.4 | n |  | TRUE
16 | bus_LV_1031-43_1_2_node_24 | 0.4 | n |  | TRUE
17 | bus_LV_1031-43_1_2_node_25 | 0.4 | n |  | TRUE
18 | bus_LV_1031-43_1_2_node_90 | 0.4 | n |  | TRUE
19 | bus_LV_1031-43_1_2_node_91 | 0.4 | n |  | TRUE
20 | bus_LV_1031-43_1_2_node_86 | 0.4 | n |  | TRUE
21 | bus_LV_1031-43_1_2_node_99 | 0.4 | n |  | TRUE
22 | bus_LV_1031-43_1_2_node_100 | 0.4 | n |  | TRUE
23 | bus_LV_1031-43_1_2_node_114 | 0.4 | n |  | TRUE
24 | bus_LV_1031-43_1_2_node_87 | 0.4 | n |  | TRUE
25 | bus_LV_1031-43_1_2_node_65 | 0.4 | n |  | TRUE
26 | bus_LV_1031-43_1_2_node_45 | 0.4 | n |  | TRUE
27 | bus_LV_1031-43_1_2_node_46 | 0.4 | n |  | TRUE
28 | bus_LV_1031-43_1_2_node_48 | 0.4 | n |  | TRUE
29 | bus_LV_1031-43_1_2_node_108 | 0.4 | n |  | TRUE
30 | bus_LV_1031-43_1_2_node_49 | 0.4 | n |  | TRUE
31 | bus_LV_1031-43_1_2_node_50 | 0.4 | n |  | TRUE
32 | bus_LV_1031-43_1_2_node_51 | 0.4 | n |  | TRUE
33 | bus_LV_1031-43_1_2_node_52 | 0.4 | n |  | TRUE
34 | bus_LV_1031-43_1_2_node_53 | 0.4 | n |  | TRUE
35 | bus_LV_1031-43_1_2_node_54 | 0.4 | n |  | TRUE
36 | bus_LV_1031-43_1_2_node_55 | 0.4 | n |  | TRUE
37 | bus_LV_1031-43_1_2_node_56 | 0.4 | n |  | TRUE
38 | bus_LV_1031-43_1_2_node_64 | 0.4 | n |  | TRUE
39 | bus_LV_1031-43_1_2_node_66 | 0.4 | n |  | TRUE
40 | bus_LV_1031-43_1_2_node_82 | 0.4 | n |  | TRUE
41 | bus_LV_1031-43_1_2_node_88 | 0.4 | n |  | TRUE
42 | bus_LV_1031-43_1_2_node_80 | 0.4 | n |  | TRUE
43 | bus_LV_1031-43_1_2_node_89 | 0.4 | n |  | TRUE
44 | bus_LV_1031-43_1_2_node_78 | 0.4 | n |  | TRUE
45 | bus_LV_1031-43_1_2_node_79 | 0.4 | n |  | TRUE
46 | bus_LV_1031-43_1_2_node_95 | 0.4 | n |  | TRUE
47 | bus_LV_1031-43_1_2_node_81 | 0.4 | n |  | TRUE
48 | bus_LV_1031-43_1_2_node_92 | 0.4 | n |  | TRUE
49 | bus_LV_1031-43_1_2_node_93 | 0.4 | n |  | TRUE
50 | bus_LV_1031-43_1_2_node_94 | 0.4 | n |  | TRUE
51 | bus_LV_1031-43_1_2_node_116 | 0.4 | n |  | TRUE
52 | bus_LV_1031-43_1_2_node_117 | 0.4 | n |  | TRUE
53 | bus_LV_1031-43_1_2_node_118 | 0.4 | n |  | TRUE
54 | bus_LV_1031-43_1_2_node_119 | 0.4 | n |  | TRUE
55 | bus_LV_1031-43_1_2_node_121 | 0.4 | n |  | TRUE
56 | bus_LV_1031-43_1_2_node_101 | 0.4 | n |  | TRUE
57 | bus_LV_1031-43_1_2_node_102 | 0.4 | n |  | TRUE
58 | bus_LV_1031-43_1_2_node_103 | 0.4 | n |  | TRUE
59 | bus_LV_1031-43_1_2_node_115 | 0.4 | n |  | TRUE
60 | bus_LV_1031-43_1_2_node_106 | 0.4 | n |  | TRUE
61 | bus_LV_1031-43_1_2_node_104 | 0.4 | n |  | TRUE
62 | bus_LV_1031-43_1_2_node_111 | 0.4 | n |  | TRUE
63 | bus_LV_1031-43_1_2_node_105 | 0.4 | n |  | TRUE
64 | bus_LV_1031-43_1_2_node_109 | 0.4 | n |  | TRUE
65 | bus_LV_1031-43_1_2_node_107 | 0.4 | n |  | TRUE
66 | bus_LV_1031-43_1_2_node_110 | 0.4 | n |  | TRUE
67 | bus_LV_1031-43_1_2_node_112 | 0.4 | n |  | TRUE
68 | bus_MV_353_1_node_304 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_1031-43_1_2_load_7 | 0 | 0.0098028 | 0.0024568 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_1031-43_1_2_load_13 | 2 | 0.0023161 | 0.00058046 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_1031-43_1_2_load_14 | 3 | 0.0012434 | 0.00031163 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_1031-43_1_2_load_15 | 5 | 0.002759 | 0.00069146 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_1031-43_1_2_load_16 | 6 | 0.0012859 | 0.00032228 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_1031-43_1_2_load_44 | 9 | 0.00093104 | 0.00023334 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_1031-43_1_2_load_22 | 10 | 0.0009171 | 0.00022985 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_1031-43_1_2_load_18 | 11 | 0.00091615 | 0.00022961 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_1031-43_1_2_load_43 | 12 | 0.0050402 | 0.0012632 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_1031-43_1_2_load_19 | 13 | 0.0019703 | 0.00049381 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_1031-43_1_2_load_23 | 15 | 0.00095767 | 0.00024001 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_1031-43_1_2_load_24 | 16 | 0.0056842 | 0.0014246 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_1031-43_1_2_load_25 | 17 | 0.0015333 | 0.00038428 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_1031-43_1_2_load_91 | 19 | 0.0053279 | 0.0013353 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_1031-43_1_2_load_99 | 21 | 0.0013245 | 0.00033196 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_1031-43_1_2_load_100 | 22 | 0.003182 | 0.00079749 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_1031-43_1_2_load_114 | 23 | 0.0018525 | 0.00046428 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_1031-43_1_2_load_87 | 24 | 0.010103 | 0.0025321 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_1031-43_1_2_load_65 | 25 | 0.0016493 | 0.00041335 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_1031-43_1_2_load_45 | 26 | 0.00094467 | 0.00023676 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_1031-43_1_2_load_46 | 27 | 0.0010022 | 0.00025118 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_1031-43_1_2_load_48 | 28 | 0.00099408 | 0.00024914 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_1031-43_1_2_load_108 | 29 | 0.0010181 | 0.00025517 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_1031-43_1_2_load_49 | 30 | 0.00097554 | 0.00024449 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_1031-43_1_2_load_50 | 31 | 0.00097547 | 0.00024448 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_1031-43_1_2_load_51 | 32 | 0.0039726 | 0.00099562 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_1031-43_1_2_load_53 | 34 | 0.00097494 | 0.00024434 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_1031-43_1_2_load_55 | 36 | 0.0010134 | 0.00025399 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_1031-43_1_2_load_56 | 37 | 0.0044836 | 0.0011237 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_1031-43_1_2_load_64 | 38 | 0.0010895 | 0.00027305 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_1031-43_1_2_load_66 | 39 | 0.0010571 | 0.00026495 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_1031-43_1_2_load_82 | 40 | 0.001088 | 0.00027269 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_1031-43_1_2_load_88 | 41 | 0.0065194 | 0.0016339 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_1031-43_1_2_load_89 | 43 | 0.00092502 | 0.00023183 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_1031-43_1_2_load_78 | 44 | 0.0037337 | 0.00093576 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_1031-43_1_2_load_79 | 45 | 0.0026087 | 0.00065379 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_1031-43_1_2_load_95 | 46 | 0.0012615 | 0.00031616 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_1031-43_1_2_load_81 | 47 | 0.0010798 | 0.00027062 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_1031-43_1_2_load_92 | 48 | 0.00030676 | 7.6882e-05 | 0 | 0 |  | 1 | TRUE | wye
39 | LV_1031-43_1_2_load_94 | 50 | 0.00030676 | 7.6882e-05 | 0 | 0 |  | 1 | TRUE | wye
40 | LV_1031-43_1_2_load_116 | 51 | 0.00033399 | 8.3706e-05 | 0 | 0 |  | 1 | TRUE | wye
41 | LV_1031-43_1_2_load_117 | 52 | 0.0031897 | 0.00079941 | 0 | 0 |  | 1 | TRUE | wye
42 | LV_1031-43_1_2_load_118 | 53 | 0.007379 | 0.0018494 | 0 | 0 |  | 1 | TRUE | wye
43 | LV_1031-43_1_2_load_119 | 54 | 0.0015815 | 0.00039637 | 0 | 0 |  | 1 | TRUE | wye
44 | LV_1031-43_1_2_load_121 | 55 | 0.00098482 | 0.00024682 | 0 | 0 |  | 1 | TRUE | wye
45 | LV_1031-43_1_2_load_101 | 56 | 0.0012597 | 0.0003157 | 0 | 0 |  | 1 | TRUE | wye
46 | LV_1031-43_1_2_load_103 | 58 | 0.0045552 | 0.0011416 | 0 | 0 |  | 1 | TRUE | wye
47 | LV_1031-43_1_2_load_115 | 59 | 0.0015126 | 0.00037909 | 0 | 0 |  | 1 | TRUE | wye
48 | LV_1031-43_1_2_load_106 | 60 | 0.0012497 | 0.00031321 | 0 | 0 |  | 1 | TRUE | wye
49 | LV_1031-43_1_2_load_104 | 61 | 0.0014799 | 0.00037089 | 0 | 0 |  | 1 | TRUE | wye
50 | LV_1031-43_1_2_load_111 | 62 | 0.0039171 | 0.00098171 | 0 | 0 |  | 1 | TRUE | wye
51 | LV_1031-43_1_2_load_109 | 64 | 0.0017376 | 0.00043548 | 0 | 0 |  | 1 | TRUE | wye
52 | LV_1031-43_1_2_load_107 | 65 | 0.0012939 | 0.00032429 | 0 | 0 |  | 1 | TRUE | wye
53 | LV_1031-43_1_2_load_110 | 66 | 0.0011046 | 0.00027685 | 0 | 0 |  | 1 | TRUE | wye
54 | LV_1031-43_1_2_load_112 | 67 | 0.00076963 | 0.00019289 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 47 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_1031-43_1_2_line_0 | NAYY 4x150 SE | 0 | 1 | 0.031778 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
1 | LV_1031-43_1_2_line_1 | NAYY 4x150 SE | 1 | 2 | 0.05616 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
2 | LV_1031-43_1_2_line_2 | NAYY 4x150 SE | 1 | 3 | 0.023277 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
3 | LV_1031-43_1_2_line_3 | NAYY 4x150 SE | 2 | 6 | 0.035675 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
4 | LV_1031-43_1_2_line_4 | NAYY 4x150 SE | 3 | 7 | 0.005849 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
5 | LV_1031-43_1_2_line_5 | NAYY 4x150 SE | 4 | 5 | 0.026113 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
6 | LV_1031-43_1_2_line_6 | NAYY 4x150 SE | 4 | 6 | 0.049274 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
7 | LV_1031-43_1_2_line_7 | NAYY 4x150 SE | 5 | 8 | 0.022717 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
8 | LV_1031-43_1_2_line_8 | NAYY 4x150 SE | 7 | 9 | 0.01305 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
9 | LV_1031-43_1_2_line_9 | NAYY 4x150 SE | 8 | 10 | 0.016249 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
10 | LV_1031-43_1_2_line_10 | NAYY 4x150 SE | 8 | 11 | 0.01843 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
11 | LV_1031-43_1_2_line_11 | NAYY 4x150 SE | 9 | 12 | 0.013766 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
12 | LV_1031-43_1_2_line_12 | NAYY 4x150 SE | 10 | 17 | 0.034383 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
13 | LV_1031-43_1_2_line_13 | NAYY 4x150 SE | 11 | 13 | 0.019569 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
14 | LV_1031-43_1_2_line_14 | NAYY 4x150 SE | 12 | 26 | 0.0040827 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
15 | LV_1031-43_1_2_line_15 | NAYY 4x150 SE | 13 | 14 | 0.063144 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
16 | LV_1031-43_1_2_line_16 | NAYY 4x150 SE | 14 | 15 | 0.040888 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
17 | LV_1031-43_1_2_line_17 | NAYY 4x150 SE | 14 | 16 | 0.019051 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
18 | LV_1031-43_1_2_line_18 | NAYY 4x150 SE | 15 | 18 | 0.018246 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
19 | LV_1031-43_1_2_line_19 | NAYY 4x150 SE | 16 | 19 | 0.0046174 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
20 | LV_1031-43_1_2_line_20 | NAYY 4x150 SE | 17 | 20 | 0.0097667 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
21 | LV_1031-43_1_2_line_21 | NAYY 4x150 SE | 18 | 21 | 0.034428 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
22 | LV_1031-43_1_2_line_22 | NAYY 4x150 SE | 18 | 22 | 0.017939 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
23 | LV_1031-43_1_2_line_23 | NAYY 4x150 SE | 19 | 23 | 0.027425 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
24 | LV_1031-43_1_2_line_24 | NAYY 4x150 SE | 20 | 24 | 0.032911 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
25 | LV_1031-43_1_2_line_25 | NAYY 4x150 SE | 20 | 25 | 0.011954 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
26 | LV_1031-43_1_2_line_26 | NAYY 4x150 SE | 21 | 56 | 0.0016809 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
27 | LV_1031-43_1_2_line_27 | NAYY 4x150 SE | 22 | 57 | 0.018137 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
28 | LV_1031-43_1_2_line_28 | NAYY 4x150 SE | 22 | 58 | 0.043266 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
29 | LV_1031-43_1_2_line_29 | NAYY 4x150 SE | 23 | 59 | 0.025345 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
30 | LV_1031-43_1_2_line_30 | NAYY 4x150 SE | 25 | 35 | 0.017469 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
31 | LV_1031-43_1_2_line_31 | NAYY 4x150 SE | 26 | 27 | 0.012385 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
32 | LV_1031-43_1_2_line_32 | NAYY 4x150 SE | 27 | 28 | 0.0053395 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
33 | LV_1031-43_1_2_line_33 | NAYY 4x150 SE | 28 | 29 | 0.0035935 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
34 | LV_1031-43_1_2_line_34 | NAYY 4x150 SE | 30 | 31 | 0.023865 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
35 | LV_1031-43_1_2_line_35 | NAYY 4x150 SE | 30 | 32 | 0.0023713 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
36 | LV_1031-43_1_2_line_36 | NAYY 4x150 SE | 31 | 33 | 0.017366 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
37 | LV_1031-43_1_2_line_37 | NAYY 4x150 SE | 32 | 34 | 0.019103 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
38 | LV_1031-43_1_2_line_38 | NAYY 4x150 SE | 33 | 35 | 0.003289 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
39 | LV_1031-43_1_2_line_39 | NAYY 4x150 SE | 33 | 36 | 0.014401 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
40 | LV_1031-43_1_2_line_40 | NAYY 4x150 SE | 34 | 37 | 0.0022878 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
41 | LV_1031-43_1_2_line_41 | NAYY 4x150 SE | 35 | 38 | 0.014312 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
42 | LV_1031-43_1_2_line_42 | NAYY 4x150 SE | 36 | 39 | 0.0078885 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
43 | LV_1031-43_1_2_line_43 | NAYY 4x150 SE | 38 | 40 | 0.0050927 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
44 | LV_1031-43_1_2_line_44 | NAYY 4x150 SE | 39 | 41 | 0.077798 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
45 | LV_1031-43_1_2_line_45 | NAYY 4x150 SE | 40 | 42 | 0.0083095 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
46 | LV_1031-43_1_2_line_46 | NAYY 4x150 SE | 41 | 43 | 0.015231 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
47 | LV_1031-43_1_2_line_47 | NAYY 4x150 SE | 42 | 47 | 0.023488 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
48 | LV_1031-43_1_2_line_48 | NAYY 4x150 SE | 42 | 44 | 0.011108 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
49 | LV_1031-43_1_2_line_49 | NAYY 4x150 SE | 44 | 45 | 0.00056904 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
50 | LV_1031-43_1_2_line_50 | NAYY 4x150 SE | 45 | 46 | 0.23415 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
51 | LV_1031-43_1_2_line_51 | NAYY 4x150 SE | 46 | 51 | 0.0151 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
52 | LV_1031-43_1_2_line_52 | NAYY 4x150 SE | 46 | 49 | 0.022113 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
53 | LV_1031-43_1_2_line_53 | NAYY 4x150 SE | 48 | 49 | 0.0078302 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
54 | LV_1031-43_1_2_line_54 | NAYY 4x150 SE | 49 | 50 | 0.001676 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
55 | LV_1031-43_1_2_line_55 | NAYY 4x150 SE | 51 | 52 | 0.053098 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
56 | LV_1031-43_1_2_line_56 | NAYY 4x150 SE | 52 | 53 | 0.026427 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
57 | LV_1031-43_1_2_line_57 | NAYY 4x150 SE | 53 | 54 | 0.011122 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
58 | LV_1031-43_1_2_line_58 | NAYY 4x150 SE | 54 | 55 | 0.073109 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
59 | LV_1031-43_1_2_line_59 | NAYY 4x150 SE | 57 | 60 | 0.027573 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
60 | LV_1031-43_1_2_line_60 | NAYY 4x150 SE | 57 | 61 | 0.019085 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
61 | LV_1031-43_1_2_line_61 | NAYY 4x150 SE | 58 | 62 | 0.0186 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
62 | LV_1031-43_1_2_line_62 | NAYY 4x150 SE | 61 | 63 | 0.018862 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
63 | LV_1031-43_1_2_line_63 | NAYY 4x150 SE | 62 | 64 | 0.033841 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
64 | LV_1031-43_1_2_line_64 | NAYY 4x150 SE | 63 | 65 | 0.037473 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
65 | LV_1031-43_1_2_line_65 | NAYY 4x150 SE | 64 | 66 | 0.024799 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
66 | LV_1031-43_1_2_line_66 | NAYY 4x150 SE | 66 | 67 | 0.007744 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_1031-43_1_2_trafo_81 | 0.25 MVA 20/0.4 kV | 68 | 47 | 0.25 | 20 | 0.4 | 6 | 1.44 | 0.8 | 0.32 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4
0 | 2664783.1459 | 1222798.5522 | 2664775.7012 | 1222829.4457
1 | 2664783.1459 | 1222798.5522 | 2664749.5502 | 1222789.8814 | 2664741.6398 | 1222791.263 | 2664736.1377 | 1222797.8518 | 2664734.2151 | 1222802.3032
2 | 2664783.1459 | 1222798.5522 | 2664788.3813 | 1222775.8712
3 | 2664713.9311 | 1222827.964 | 2664720.5105 | 1222827.4564 | 2664725.2453 | 1222823.0717 | 2664734.2151 | 1222802.3032
4 | 2664789.6968 | 1222770.1721 | 2664788.3813 | 1222775.8712
5 | 2664695.4829 | 1222865.0529 | 2664669.6424 | 1222868.8152
6 | 2664695.4829 | 1222865.0529 | 2664695.0387 | 1222854.9861 | 2664698.4845 | 1222833.1207 | 2664703.7121 | 1222828.7525 | 2664713.9311 | 1222827.964
7 | 2664647.1626 | 1222872.0883 | 2664669.6424 | 1222868.8152
8 | 2664789.6968 | 1222770.1721 | 2664777.0348 | 1222767.0114
9 | 2664647.1626 | 1222872.0883 | 2664644.7233 | 1222856.0235
10 | 2664647.1626 | 1222872.0883 | 2664628.8909 | 1222874.4998
11 | 2664763.6783 | 1222763.6774 | 2664777.0348 | 1222767.0114
12 | 2664639.5617 | 1222822.0301 | 2664644.7233 | 1222856.0235
13 | 2664628.8909 | 1222874.4998 | 2664609.4902 | 1222877.0604
14 | 2664763.6783 | 1222763.6774 | 2664759.7171 | 1222762.6886
15 | 2664547.0117 | 1222886.0777 | 2664559.4381 | 1222883.6664 | 2664609.4902 | 1222877.0604
16 | 2664547.0117 | 1222886.0777 | 2664507.5186 | 1222896.666
17 | 2664547.0117 | 1222886.0777 | 2664543.7009 | 1222867.3162
18 | 2664489.8953 | 1222901.391 | 2664507.5186 | 1222896.666
19 | 2664543.7009 | 1222867.3162 | 2664542.8984 | 1222862.7691
20 | 2664638.0955 | 1222812.374 | 2664639.5617 | 1222822.0301
21 | 2664489.8953 | 1222901.391 | 2664486.2963 | 1222882.162 | 2664482.9856 | 1222876.9228 | 2664480.9453 | 1222868.4988
22 | 2664472.5369 | 1222906.106 | 2664489.8953 | 1222901.391
23 | 2664551.7149 | 1222842.9927 | 2664544.7522 | 1222844.0486 | 2664541.6938 | 1222847.0285 | 2664540.6524 | 1222850.0414 | 2664542.8984 | 1222862.7691
24 | 2664638.0955 | 1222812.374 | 2664670.6438 | 1222807.4981
25 | 2664638.0955 | 1222812.374 | 2664636.5356 | 1222800.5224
26 | 2664480.5496 | 1222866.8651 | 2664480.9453 | 1222868.4988
27 | 2664472.5369 | 1222906.106 | 2664455.0467 | 1222911.0866
28 | 2664472.5369 | 1222906.106 | 2664484.1048 | 1222944.4335 | 2664485.1926 | 1222947.476
29 | 2664576.773 | 1222839.1926 | 2664551.7149 | 1222842.9927
30 | 2664634.256 | 1222783.2027 | 2664636.5356 | 1222800.5224
31 | 2664747.7011 | 1222759.6892 | 2664759.7171 | 1222762.6886
32 | 2664747.7011 | 1222759.6892 | 2664742.5206 | 1222758.396
33 | 2664742.5206 | 1222758.396 | 2664742.5206 | 1222758.396 | 2664738.9584 | 1222758.8687 | 2664738.9584 | 1222758.8687
34 | 2664651.7221 | 1222777.4953 | 2664675.3523 | 1222774.1554
35 | 2664677.7004 | 1222773.8235 | 2664675.3523 | 1222774.1554
36 | 2664634.5267 | 1222779.9258 | 2664651.7221 | 1222777.4953
37 | 2664696.6157 | 1222771.15 | 2664677.7004 | 1222773.8235
38 | 2664634.5267 | 1222779.9258 | 2664634.256 | 1222783.2027
39 | 2664634.5267 | 1222779.9258 | 2664642.0474 | 1222767.644
40 | 2664698.881 | 1222770.8298 | 2664696.6157 | 1222771.15
41 | 2664634.256 | 1222783.2027 | 2664620.0799 | 1222785.1674
42 | 2664642.0474 | 1222767.644 | 2664642.0474 | 1222767.644 | 2664647.0968 | 1222761.5833
43 | 2664620.0799 | 1222785.1674 | 2664615.0354 | 1222785.8665
44 | 2664695.9671 | 1222704.6963 | 2664686.76 | 1222706.7128 | 2664679.6102 | 1222712.7724 | 2664666.3924 | 1222738.423 | 2664647.0968 | 1222761.5833
45 | 2664606.8046 | 1222787.0073 | 2664615.0354 | 1222785.8665
46 | 2664710.8452 | 1222701.4378 | 2664695.9671 | 1222704.6963
47 | 2664606.8046 | 1222787.0073 | 2664609.8131 | 1222810.2992
48 | 2664606.8046 | 1222787.0073 | 2664595.8023 | 1222788.5333
49 | 2664595.2386 | 1222788.6114 | 2664595.8023 | 1222788.5333
50 | 2664595.2386 | 1222788.6114 | 2664480.6631 | 1222584.4114
51 | 2664465.9717 | 1222587.8991 | 2664465.9717 | 1222587.8991 | 2664480.6631 | 1222584.4114
52 | 2664478.6949 | 1222563.7548 | 2664483.6037 | 1222575.5154 | 2664480.6631 | 1222584.4114
53 | 2664478.6949 | 1222563.7548 | 2664486.5204 | 1222564.026
54 | 2664478.6949 | 1222563.7548 | 2664477.0306 | 1222563.952
55 | 2664465.9717 | 1222587.8991 | 2664458.0594 | 1222604.8465 | 2664450.2525 | 1222612.0666 | 2664428.9492 | 1222622.5898
56 | 2664428.9492 | 1222622.5898 | 2664405.255 | 1222634.294 | 2664405.255 | 1222634.294
57 | 2664400.4962 | 1222624.241 | 2664405.255 | 1222634.294
58 | 2664400.4962 | 1222624.241 | 2664392.1302 | 1222606.5678 | 2664378.6422 | 1222611.703 | 2664342.8703 | 1222627.5456
59 | 2664449.4456 | 1222884.131 | 2664450.5705 | 1222893.0155 | 2664455.0467 | 1222911.0866
60 | 2664455.0467 | 1222911.0866 | 2664436.6924 | 1222916.3175
61 | 2664485.1926 | 1222947.476 | 2664491.4545 | 1222964.9905
62 | 2664418.5524 | 1222921.4873 | 2664436.6924 | 1222916.3175
63 | 2664504.4172 | 1222996.1634 | 2664498.8418 | 1222985.6526 | 2664491.4545 | 1222964.9905
64 | 2664420.9115 | 1222892.0162 | 2664411.9681 | 1222894.2654 | 2664411.4364 | 1222896.4388 | 2664418.5524 | 1222921.4873
65 | 2664504.4172 | 1222996.1634 | 2664507.5673 | 1223002.102 | 2664508.1763 | 1223010.2916 | 2664503.971 | 1223019.2153
66 | 2664500.6698 | 1223026.2205 | 2664503.971 | 1223019.2153

## bus_geodata
| x | y | coords
0 | 2664775.7012 | 1222829.4457
1 | 2664783.1459 | 1222798.5522
2 | 2664734.2151 | 1222802.3032
3 | 2664788.3813 | 1222775.8712
4 | 2664695.4829 | 1222865.0529
5 | 2664669.6424 | 1222868.8152
6 | 2664713.9311 | 1222827.964
7 | 2664789.6968 | 1222770.1721
8 | 2664647.1626 | 1222872.0883
9 | 2664777.0348 | 1222767.0114
10 | 2664644.7233 | 1222856.0235
11 | 2664628.8909 | 1222874.4998
12 | 2664763.6783 | 1222763.6774
13 | 2664609.4902 | 1222877.0604
14 | 2664547.0117 | 1222886.0777
15 | 2664507.5186 | 1222896.666
16 | 2664543.7009 | 1222867.3162
17 | 2664639.5617 | 1222822.0301
18 | 2664489.8953 | 1222901.391
19 | 2664542.8984 | 1222862.7691
20 | 2664638.0955 | 1222812.374
21 | 2664480.9453 | 1222868.4988
22 | 2664472.5369 | 1222906.106
23 | 2664551.7149 | 1222842.9927
24 | 2664670.6438 | 1222807.4981
25 | 2664636.5356 | 1222800.5224
26 | 2664759.7171 | 1222762.6886
27 | 2664747.7011 | 1222759.6892
28 | 2664742.5206 | 1222758.396
29 | 2664738.9584 | 1222758.8687
30 | 2664675.3523 | 1222774.1554
31 | 2664651.7221 | 1222777.4953
32 | 2664677.7004 | 1222773.8235
33 | 2664634.5267 | 1222779.9258
34 | 2664696.6157 | 1222771.15
35 | 2664634.256 | 1222783.2027
36 | 2664642.0474 | 1222767.644
37 | 2664698.881 | 1222770.8298
38 | 2664620.0799 | 1222785.1674
39 | 2664647.0968 | 1222761.5833
40 | 2664615.0354 | 1222785.8665
41 | 2664695.9671 | 1222704.6963
42 | 2664606.8046 | 1222787.0073
43 | 2664710.8452 | 1222701.4378
44 | 2664595.8023 | 1222788.5333
45 | 2664595.2386 | 1222788.6114
46 | 2664480.6631 | 1222584.4114
47 | 2664609.8131 | 1222810.2992
48 | 2664486.5204 | 1222564.026
49 | 2664478.6949 | 1222563.7548
50 | 2664477.0306 | 1222563.952
51 | 2664465.9717 | 1222587.8991
52 | 2664428.9492 | 1222622.5898
53 | 2664405.255 | 1222634.294
54 | 2664400.4962 | 1222624.241
55 | 2664342.8703 | 1222627.5456
56 | 2664480.5496 | 1222866.8651
57 | 2664455.0467 | 1222911.0866
58 | 2664485.1926 | 1222947.476
59 | 2664576.773 | 1222839.1926
60 | 2664449.4456 | 1222884.131
61 | 2664436.6924 | 1222916.3175
62 | 2664491.4545 | 1222964.9905
63 | 2664418.5524 | 1222921.4873
64 | 2664504.4172 | 1222996.1634
65 | 2664420.9115 | 1222892.0162
66 | 2664503.971 | 1223019.2153
67 | 2664500.6698 | 1223026.2205
68 | 2664606.8046 | 1222787.0073

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## res_bus
| vm_pu | va_degree | p_mw | q_mvar
0 | 0.97825 | -0.15273 | 0.0098028 | 0.0024568
1 | 0.9787 | -0.14949 | 0 | 0
2 | 0.98042 | -0.13723 | 0.0023161 | 0.00058046
3 | 0.97832 | -0.1522 | 0.0012434 | 0.00031163
4 | 0.9834 | -0.11607 | 0 | 0
5 | 0.98433 | -0.10945 | 0.002759 | 0.00069146
6 | 0.98163 | -0.1286 | 0.0012859 | 0.00032228
7 | 0.97824 | -0.15281 | 0 | 0
8 | 0.98523 | -0.10305 | 0 | 0
9 | 0.97805 | -0.15416 | 0.00093104 | 0.00023334
10 | 0.98683 | -0.091789 | 0.0009171 | 0.00022985
11 | 0.98416 | -0.11066 | 0.00091615 | 0.00022961
12 | 0.97787 | -0.15545 | 0.0050402 | 0.0012632
13 | 0.98304 | -0.11858 | 0.0019703 | 0.00049381
14 | 0.97961 | -0.14296 | 0 | 0
15 | 0.97825 | -0.1527 | 0.00095767 | 0.00024001
16 | 0.97922 | -0.14581 | 0.0056842 | 0.0014246
17 | 0.99025 | -0.067758 | 0.0015333 | 0.00038428
18 | 0.97767 | -0.15687 | 0 | 0
19 | 0.97916 | -0.14623 | 0.0053279 | 0.0013353
20 | 0.99125 | -0.06081 | 0 | 0
21 | 0.97754 | -0.1578 | 0.0013245 | 0.00033196
22 | 0.97717 | -0.16049 | 0.003182 | 0.00079749
23 | 0.97902 | -0.14719 | 0.0018525 | 0.00046428
24 | 0.99077 | -0.06419 | 0.010103 | 0.0025321
25 | 0.99264 | -0.051101 | 0.0016493 | 0.00041335
26 | 0.97785 | -0.15562 | 0.00094467 | 0.00023676
27 | 0.97779 | -0.15601 | 0.0010022 | 0.00025118
28 | 0.97778 | -0.15612 | 0.00099408 | 0.00024914
29 | 0.97777 | -0.15616 | 0.0010181 | 0.00025517
30 | 0.99397 | -0.041869 | 0.00097554 | 0.00024449
31 | 0.99433 | -0.03936 | 0.00097547 | 0.00024448
32 | 0.99394 | -0.042095 | 0.0039726 | 0.00099562
33 | 0.99461 | -0.037365 | 0 | 0
34 | 0.99379 | -0.043149 | 0.00097494 | 0.00024434
35 | 0.99471 | -0.036671 | 0 | 0
36 | 0.99442 | -0.038749 | 0.0010134 | 0.00025399
37 | 0.99378 | -0.043253 | 0.0044836 | 0.0011237
38 | 0.99684 | -0.021885 | 0.0010895 | 0.00027305
39 | 0.99432 | -0.039427 | 0.0010571 | 0.00026495
40 | 0.99722 | -0.019233 | 0.001088 | 0.00027269
41 | 0.99349 | -0.045282 | 0.0065194 | 0.0016339
42 | 0.99785 | -0.014865 | 0 | 0
43 | 0.99347 | -0.045425 | 0.00092502 | 0.00023183
44 | 0.99751 | -0.017286 | 0.0037337 | 0.00093576
45 | 0.99749 | -0.017388 | 0.0026087 | 0.00065379
46 | 0.99232 | -0.053688 | 0.0012615 | 0.00031616
47 | 1 | 0 | -0.12905 | -0.032369
48 | 0.9923 | -0.05385 | 0.00030676 | 7.6882e-05
49 | 0.9923 | -0.053826 | 0 | 0
50 | 0.9923 | -0.053831 | 0.00030676 | 7.6882e-05
51 | 0.99203 | -0.055752 | 0.00033399 | 8.3706e-05
52 | 0.99103 | -0.06284 | 0.0031897 | 0.00079941
53 | 0.99065 | -0.065514 | 0.007379 | 0.0018494
54 | 0.99061 | -0.065805 | 0.0015815 | 0.00039637
55 | 0.99051 | -0.06654 | 0.00098482 | 0.00024682
56 | 0.97754 | -0.15782 | 0.0012597 | 0.0003157
57 | 0.97706 | -0.16125 | 0 | 0
58 | 0.9764 | -0.16596 | 0.0045552 | 0.0011416
59 | 0.97897 | -0.14759 | 0.0015126 | 0.00037909
60 | 0.97701 | -0.16161 | 0.0012497 | 0.00031321
61 | 0.97698 | -0.16181 | 0.0014799 | 0.00037089
62 | 0.9762 | -0.16743 | 0.0039171 | 0.00098171
63 | 0.97695 | -0.16206 | 0 | 0
64 | 0.97602 | -0.16871 | 0.0017376 | 0.00043548
65 | 0.97688 | -0.16257 | 0.0012939 | 0.00032429
66 | 0.97595 | -0.1692 | 0.0011046 | 0.00027685
67 | 0.97594 | -0.16926 | 0.00076963 | 0.00019289
68 | 0.99998 | 149.9947 | 0 | 0

## res_line
| p_from_mw | q_from_mvar | p_to_mw | q_to_mvar | pl_mw | ql_mvar | i_from_ka | i_to_ka | i_ka | vm_from_pu | va_from_degree | vm_to_pu | va_to_degree | loading_percent
0 | -0.0098028 | -0.0024568 | 0.0098072 | 0.0024581 | 4.4088e-06 | 1.2965e-06 | 0.014911 | 0.014911 | 0.014911 | 0.97825 | -0.15273 | 0.9787 | -0.14949 | 5.5226
1 | -0.02099 | -0.0052609 | 0.021025 | 0.0052739 | 3.5689e-05 | 1.302e-05 | 0.031913 | 0.031913 | 0.031913 | 0.9787 | -0.14949 | 0.98042 | -0.13723 | 11.8196
2 | 0.011183 | 0.0028028 | -0.011178 | -0.0028014 | 4.1987e-06 | 1.3225e-06 | 0.017002 | 0.017002 | 0.017002 | 0.9787 | -0.14949 | 0.97832 | -0.1522 | 6.2971
3 | -0.023341 | -0.0058544 | 0.023369 | 0.0058646 | 2.794e-05 | 1.0296e-05 | 0.035428 | 0.035428 | 0.035428 | 0.98042 | -0.13723 | 0.98163 | -0.1286 | 13.1214
4 | 0.0099349 | 0.0024898 | -0.0099341 | -0.0024896 | 8.3338e-07 | 2.4709e-07 | 0.015111 | 0.015111 | 0.015111 | 0.97832 | -0.1522 | 0.97824 | -0.15281 | 5.5966
5 | -0.024698 | -0.0062028 | 0.024721 | 0.0062113 | 2.2764e-05 | 8.4236e-06 | 0.037377 | 0.037376 | 0.037377 | 0.9834 | -0.11607 | 0.98433 | -0.10945 | 13.8432
6 | 0.024698 | 0.0062028 | -0.024655 | -0.0061869 | 4.2954e-05 | 1.5897e-05 | 0.037377 | 0.037377 | 0.037377 | 0.9834 | -0.11607 | 0.98163 | -0.1286 | 13.8433
7 | -0.02748 | -0.0069027 | 0.027505 | 0.0069118 | 2.4469e-05 | 9.1221e-06 | 0.041547 | 0.041547 | 0.041547 | 0.98433 | -0.10945 | 0.98523 | -0.10305 | 15.3879
8 | 0.0099341 | 0.0024896 | -0.0099322 | -0.002489 | 1.8595e-06 | 5.5137e-07 | 0.015111 | 0.015111 | 0.015111 | 0.97824 | -0.15281 | 0.97805 | -0.15416 | 5.5966
9 | -0.067885 | -0.017063 | 0.067991 | 0.017104 | 0.00010662 | 4.08e-05 | 0.10255 | 0.10255 | 0.10255 | 0.98523 | -0.10305 | 0.98683 | -0.091789 | 37.9797
10 | 0.04038 | 0.010152 | -0.040337 | -0.010135 | 4.279e-05 | 1.6223e-05 | 0.060998 | 0.060998 | 0.060998 | 0.98523 | -0.10305 | 0.98416 | -0.11066 | 22.5919
11 | 0.0090012 | 0.0022557 | -0.0089996 | -0.0022552 | 1.611e-06 | 4.4688e-07 | 0.013694 | 0.013694 | 0.013694 | 0.97805 | -0.15416 | 0.97787 | -0.15545 | 5.072
12 | -0.068908 | -0.017334 | 0.06914 | 0.017423 | 0.00023174 | 8.8688e-05 | 0.10393 | 0.10393 | 0.10393 | 0.98683 | -0.091789 | 0.99025 | -0.067758 | 38.4918
13 | 0.039421 | 0.0099058 | -0.039378 | -0.0098894 | 4.3394e-05 | 1.6442e-05 | 0.059613 | 0.059613 | 0.059613 | 0.98416 | -0.11066 | 0.98304 | -0.11858 | 22.0789
14 | 0.0039594 | 0.00099204 | -0.0039593 | -0.00099206 | 9.2478e-08 | -1.5649e-08 | 0.0060249 | 0.0060249 | 0.0060249 | 0.97787 | -0.15545 | 0.97785 | -0.15562 | 2.2315
15 | 0.037407 | 0.0093956 | -0.037281 | -0.0093477 | 0.00012636 | 4.7804e-05 | 0.056631 | 0.056631 | 0.056631 | 0.98304 | -0.11858 | 0.97961 | -0.14296 | 20.9744
16 | 0.022897 | 0.0057429 | -0.022866 | -0.0057315 | 3.0867e-05 | 1.1358e-05 | 0.034782 | 0.034782 | 0.034782 | 0.97961 | -0.14296 | 0.97825 | -0.1527 | 12.8823
17 | 0.014384 | 0.0036049 | -0.014378 | -0.0036029 | 5.675e-06 | 1.9429e-06 | 0.021849 | 0.021849 | 0.021849 | 0.97961 | -0.14296 | 0.97922 | -0.14581 | 8.0922
18 | 0.021909 | 0.0054915 | -0.021896 | -0.0054869 | 1.2644e-05 | 4.6343e-06 | 0.033326 | 0.033326 | 0.033326 | 0.97825 | -0.1527 | 0.97767 | -0.15687 | 12.3428
19 | 0.008694 | 0.0021783 | -0.0086935 | -0.0021782 | 5.0288e-07 | 1.3533e-07 | 0.013211 | 0.013211 | 0.013211 | 0.97922 | -0.14581 | 0.97916 | -0.14623 | 4.893
20 | -0.070673 | -0.017807 | 0.070742 | 0.017833 | 6.8777e-05 | 2.6327e-05 | 0.10623 | 0.10623 | 0.10623 | 0.99025 | -0.067758 | 0.99125 | -0.06081 | 39.3451
21 | 0.0025845 | 0.00064733 | -0.0025842 | -0.00064764 | 3.3241e-07 | -3.0382e-07 | 0.0039335 | 0.0039337 | 0.0039337 | 0.97767 | -0.15687 | 0.97754 | -0.1578 | 1.4569
22 | 0.019312 | 0.0048395 | -0.019302 | -0.004836 | 9.6704e-06 | 3.4946e-06 | 0.029392 | 0.029392 | 0.029392 | 0.97767 | -0.15687 | 0.97717 | -0.16049 | 10.886
23 | 0.0033656 | 0.0008429 | -0.0033651 | -0.00084308 | 4.4764e-07 | -1.7273e-07 | 0.0051144 | 0.0051146 | 0.0051146 | 0.97916 | -0.14623 | 0.97902 | -0.14719 | 1.8943
24 | 0.010108 | 0.0025334 | -0.010103 | -0.0025321 | 4.7282e-06 | 1.3945e-06 | 0.015173 | 0.015174 | 0.015174 | 0.99125 | -0.06081 | 0.99077 | -0.06419 | 5.6198
25 | -0.08085 | -0.020367 | 0.08096 | 0.020409 | 0.00010994 | 4.2131e-05 | 0.12141 | 0.12141 | 0.12141 | 0.99125 | -0.06081 | 0.99264 | -0.051101 | 44.9649
26 | 0.0012597 | 0.00031568 | -0.0012597 | -0.0003157 | 3.8565e-09 | -1.959e-08 | 0.0019175 | 0.0019175 | 0.0019175 | 0.97754 | -0.1578 | 0.97754 | -0.15782 | 0.71017
27 | 0.0040243 | 0.0010072 | -0.0040239 | -0.0010073 | 4.2497e-07 | -6.3728e-08 | 0.0061277 | 0.0061278 | 0.0061278 | 0.97717 | -0.16049 | 0.97706 | -0.16125 | 2.2696
28 | 0.012096 | 0.0030314 | -0.012086 | -0.0030284 | 9.1594e-06 | 2.9813e-06 | 0.018419 | 0.018419 | 0.018419 | 0.97717 | -0.16049 | 0.9764 | -0.16596 | 6.8219
29 | 0.0015127 | 0.0003788 | -0.0015126 | -0.00037909 | 8.3591e-08 | -2.8653e-07 | 0.002299 | 0.0022991 | 0.0022991 | 0.97902 | -0.14719 | 0.97897 | -0.14759 | 0.85151
30 | -0.082609 | -0.020822 | 0.082776 | 0.020886 | 0.00016728 | 6.4111e-05 | 0.12388 | 0.12388 | 0.12388 | 0.99264 | -0.051101 | 0.99471 | -0.036671 | 45.8805
31 | 0.0030146 | 0.0007553 | -0.0030145 | -0.00075539 | 1.6263e-07 | -9.28e-08 | 0.0045874 | 0.0045874 | 0.0045874 | 0.97785 | -0.15562 | 0.97779 | -0.15601 | 1.6991
32 | 0.0020123 | 0.00050421 | -0.0020122 | -0.00050427 | 3.1244e-08 | -5.4956e-08 | 0.0030622 | 0.0030623 | 0.0030623 | 0.97779 | -0.15601 | 0.97778 | -0.15612 | 1.1342
33 | 0.0010181 | 0.00025513 | -0.0010181 | -0.00025517 | 5.3833e-09 | -4.3001e-08 | 0.0015494 | 0.0015494 | 0.0015494 | 0.97778 | -0.15612 | 0.97777 | -0.15616 | 0.57387
34 | -0.010408 | -0.0026083 | 0.010411 | 0.0026094 | 3.6152e-06 | 1.081e-06 | 0.015581 | 0.015581 | 0.015581 | 0.99397 | -0.041869 | 0.99433 | -0.03936 | 5.7707
35 | 0.0094323 | 0.0023638 | -0.009432 | -0.0023637 | 2.9504e-07 | 8.2741e-08 | 0.01412 | 0.01412 | 0.01412 | 0.99397 | -0.041869 | 0.99394 | -0.042095 | 5.2298
36 | -0.011387 | -0.0028539 | 0.01139 | 0.0028548 | 3.1467e-06 | 9.8495e-07 | 0.017041 | 0.017041 | 0.017041 | 0.99433 | -0.03936 | 0.99461 | -0.037365 | 6.3113
37 | 0.0054594 | 0.0013681 | -0.0054586 | -0.001368 | 7.9631e-07 | 5.8716e-08 | 0.0081732 | 0.0081733 | 0.0081733 | 0.99394 | -0.042095 | 0.99379 | -0.043149 | 3.0271
38 | -0.020914 | -0.0052414 | 0.020916 | 0.0052421 | 2.0092e-06 | 7.3007e-07 | 0.031289 | 0.031289 | 0.031289 | 0.99461 | -0.037365 | 0.99471 | -0.036671 | 11.5884
39 | 0.0095237 | 0.0023865 | -0.0095219 | -0.002386 | 1.8243e-06 | 5.148e-07 | 0.014248 | 0.014248 | 0.014248 | 0.99461 | -0.037365 | 0.99442 | -0.038749 | 5.2771
40 | 0.0044837 | 0.0011237 | -0.0044836 | -0.0011237 | 6.4344e-08 | -4.8951e-09 | 0.0067135 | 0.0067135 | 0.0067135 | 0.99379 | -0.043149 | 0.99378 | -0.043253 | 2.4865
41 | -0.10369 | -0.026129 | 0.10391 | 0.026211 | 0.00021501 | 8.2512e-05 | 0.15517 | 0.15517 | 0.15517 | 0.99471 | -0.036671 | 0.99684 | -0.021885 | 57.4688
42 | 0.0085084 | 0.002132 | -0.0085076 | -0.0021318 | 7.979e-07 | 2.0456e-07 | 0.012732 | 0.012732 | 0.012732 | 0.99442 | -0.038749 | 0.99432 | -0.039427 | 4.7154
43 | -0.105 | -0.026484 | 0.10504 | 0.026499 | 3.9061e-05 | 1.4891e-05 | 0.15679 | 0.15679 | 0.15679 | 0.99684 | -0.021885 | 0.99722 | -0.019233 | 29.0356
44 | 0.0074505 | 0.0018669 | -0.0074444 | -0.0018656 | 6.0352e-06 | 1.313e-06 | 0.01115 | 0.01115 | 0.01115 | 0.99432 | -0.039427 | 0.99349 | -0.045282 | 4.1296
45 | -0.10612 | -0.026772 | 0.10619 | 0.026797 | 6.5062e-05 | 2.4807e-05 | 0.15842 | 0.15842 | 0.15842 | 0.99722 | -0.019233 | 0.99785 | -0.014865 | 29.3362
46 | 0.00092504 | 0.00023164 | -0.00092502 | -0.00023183 | 1.8243e-08 | -1.902e-07 | 0.0013854 | 0.0013855 | 0.0013855 | 0.99349 | -0.045282 | 0.99347 | -0.045425 | 0.51315
47 | -0.12798 | -0.032266 | 0.12825 | 0.032369 | 0.0002671 | 0.00010212 | 0.19092 | 0.19092 | 0.19092 | 0.99785 | -0.014865 | 1 | 0 | 35.3547
48 | 0.021792 | 0.0054699 | -0.021785 | -0.0054672 | 7.321e-06 | 2.6707e-06 | 0.0325 | 0.0325 | 0.0325 | 0.99785 | -0.014865 | 0.99751 | -0.017286 | 12.037
49 | 0.018051 | 0.0045315 | -0.018051 | -0.0045314 | 2.5752e-07 | 9.1617e-08 | 0.02693 | 0.02693 | 0.02693 | 0.99751 | -0.017286 | 0.99749 | -0.017388 | 9.9742
50 | 0.015442 | 0.0038776 | -0.015365 | -0.0038508 | 7.7555e-05 | 2.6788e-05 | 0.023039 | 0.02304 | 0.02304 | 0.99749 | -0.017388 | 0.99232 | -0.053688 | 8.5333
51 | 0.01349 | 0.0033813 | -0.013486 | -0.00338 | 3.8554e-06 | 1.2878e-06 | 0.020228 | 0.020228 | 0.020228 | 0.99232 | -0.053688 | 0.99203 | -0.055752 | 7.492
52 | 0.00061354 | 0.00015336 | -0.00061353 | -0.00015364 | 1.1677e-08 | -2.8118e-07 | 0.00091988 | 0.00091998 | 0.00091998 | 0.99232 | -0.053688 | 0.9923 | -0.053826 | 0.34073
53 | -0.00030676 | -7.6882e-05 | 0.00030676 | 7.6781e-05 | 1.0338e-09 | -1.0075e-07 | 0.00046001 | 0.00045997 | 0.00046001 | 0.9923 | -0.05385 | 0.9923 | -0.053826 | 0.17037
54 | 0.00030676 | 7.6861e-05 | -0.00030676 | -7.6882e-05 | 2.2126e-10 | -2.1565e-08 | 0.00046 | 0.00046001 | 0.00046001 | 0.9923 | -0.053826 | 0.9923 | -0.053831 | 0.17037
55 | 0.013152 | 0.0032963 | -0.013139 | -0.003292 | 1.2895e-05 | 4.2746e-06 | 0.019727 | 0.019728 | 0.019728 | 0.99203 | -0.055752 | 0.99103 | -0.06284 | 7.3065
56 | 0.0099493 | 0.0024926 | -0.0099456 | -0.0024915 | 3.68e-06 | 1.075e-06 | 0.014938 | 0.014938 | 0.014938 | 0.99103 | -0.06284 | 0.99065 | -0.065514 | 5.5328
57 | 0.0025666 | 0.00064218 | -0.0025665 | -0.00064229 | 1.0313e-07 | -1.0353e-07 | 0.0038547 | 0.0038548 | 0.0038548 | 0.99065 | -0.065514 | 0.99061 | -0.065805 | 1.4277
58 | 0.00098492 | 0.00024592 | -0.00098482 | -0.00024682 | 9.9832e-08 | -9.0271e-07 | 0.0014791 | 0.0014795 | 0.0014795 | 0.99061 | -0.065805 | 0.99051 | -0.06654 | 0.54795
59 | 0.0012498 | 0.00031289 | -0.0012497 | -0.00031321 | 6.2328e-08 | -3.2134e-07 | 0.0019032 | 0.0019034 | 0.0019034 | 0.97706 | -0.16125 | 0.97701 | -0.16161 | 0.70495
60 | 0.0027741 | 0.00069437 | -0.0027739 | -0.00069453 | 2.1255e-07 | -1.5726e-07 | 0.0042246 | 0.0042247 | 0.0042247 | 0.97706 | -0.16125 | 0.97698 | -0.16181 | 1.5647
61 | 0.0075312 | 0.0018867 | -0.0075297 | -0.0018864 | 1.5289e-06 | 3.5544e-07 | 0.011477 | 0.011477 | 0.011477 | 0.9764 | -0.16596 | 0.9762 | -0.16743 | 4.2508
62 | 0.0012941 | 0.00032363 | -0.001294 | -0.00032385 | 4.5712e-08 | -2.1861e-07 | 0.0019707 | 0.0019708 | 0.0019708 | 0.97698 | -0.16181 | 0.97695 | -0.16206 | 0.72992
63 | 0.0036126 | 0.00090468 | -0.003612 | -0.00090486 | 6.403e-07 | -1.7674e-07 | 0.0055065 | 0.0055066 | 0.0055066 | 0.9762 | -0.16743 | 0.97602 | -0.16871 | 2.0395
64 | 0.001294 | 0.00032385 | -0.0012939 | -0.00032429 | 9.0827e-08 | -4.3425e-07 | 0.0019708 | 0.0019709 | 0.0019709 | 0.97695 | -0.16206 | 0.97688 | -0.16257 | 0.72998
65 | 0.0018744 | 0.00046938 | -0.0018743 | -0.00046965 | 1.2637e-07 | -2.6131e-07 | 0.0028576 | 0.0028577 | 0.0028577 | 0.97602 | -0.16871 | 0.97595 | -0.1692 | 1.0584
66 | 0.00076964 | 0.00019279 | -0.00076963 | -0.00019289 | 6.6539e-09 | -9.4209e-08 | 0.0011734 | 0.0011735 | 0.0011735 | 0.97595 | -0.1692 | 0.97594 | -0.16926 | 0.43461

## res_trafo
| p_hv_mw | q_hv_mvar | p_lv_mw | q_lv_mvar | pl_mw | ql_mvar | i_hv_ka | i_lv_ka | vm_hv_pu | va_hv_degree | vm_lv_pu | va_lv_degree | loading_percent
0 | 2.5187e-16 | 8.8016e-16 | 0.00079998 | 7.4552e-08 | 0.00079998 | 7.4552e-08 | 2.6429e-17 | 0.0011547 | 0.99998 | 149.9947 | 1 | 0 | 0.31999

## res_ext_grid
| p_mw | q_mvar
0 | 0.13013 | 0.032639

## res_load
| p_mw | q_mvar
0 | 0.0098028 | 0.0024568
1 | 0.0023161 | 0.00058046
2 | 0.0012434 | 0.00031163
3 | 0.002759 | 0.00069146
4 | 0.0012859 | 0.00032228
5 | 0.00093104 | 0.00023334
6 | 0.0009171 | 0.00022985
7 | 0.00091615 | 0.00022961
8 | 0.0050402 | 0.0012632
9 | 0.0019703 | 0.00049381
10 | 0.00095767 | 0.00024001
11 | 0.0056842 | 0.0014246
12 | 0.0015333 | 0.00038428
13 | 0.0053279 | 0.0013353
14 | 0.0013245 | 0.00033196
15 | 0.003182 | 0.00079749
16 | 0.0018525 | 0.00046428
17 | 0.010103 | 0.0025321
18 | 0.0016493 | 0.00041335
19 | 0.00094467 | 0.00023676
20 | 0.0010022 | 0.00025118
21 | 0.00099408 | 0.00024914
22 | 0.0010181 | 0.00025517
23 | 0.00097554 | 0.00024449
24 | 0.00097547 | 0.00024448
25 | 0.0039726 | 0.00099562
26 | 0.00097494 | 0.00024434
27 | 0.0010134 | 0.00025399
28 | 0.0044836 | 0.0011237
29 | 0.0010895 | 0.00027305
30 | 0.0010571 | 0.00026495
31 | 0.001088 | 0.00027269
32 | 0.0065194 | 0.0016339
33 | 0.00092502 | 0.00023183
34 | 0.0037337 | 0.00093576
35 | 0.0026087 | 0.00065379
36 | 0.0012615 | 0.00031616
37 | 0.0010798 | 0.00027062
38 | 0.00030676 | 7.6882e-05
39 | 0.00030676 | 7.6882e-05
40 | 0.00033399 | 8.3706e-05
41 | 0.0031897 | 0.00079941
42 | 0.007379 | 0.0018494
43 | 0.0015815 | 0.00039637
44 | 0.00098482 | 0.00024682
45 | 0.0012597 | 0.0003157
46 | 0.0045552 | 0.0011416
47 | 0.0015126 | 0.00037909
48 | 0.0012497 | 0.00031321
49 | 0.0014799 | 0.00037089
50 | 0.0039171 | 0.00098171
51 | 0.0017376 | 0.00043548
52 | 0.0012939 | 0.00032429
53 | 0.0011046 | 0.00027685
54 | 0.00076963 | 0.00019289

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object
62 | res_bus | vm_pu | float64
63 | res_bus | va_degree | float64
64 | res_bus | p_mw | float64
65 | res_bus | q_mvar | float64
66 | res_line | p_from_mw | float64
67 | res_line | q_from_mvar | float64
68 | res_line | p_to_mw | float64
69 | res_line | q_to_mvar | float64
70 | res_line | pl_mw | float64
71 | res_line | ql_mvar | float64
72 | res_line | i_from_ka | float64
73 | res_line | i_to_ka | float64
74 | res_line | i_ka | float64
75 | res_line | vm_from_pu | float64
76 | res_line | va_from_degree | float64
77 | res_line | vm_to_pu | float64
78 | res_line | va_to_degree | float64
79 | res_line | loading_percent | float64
80 | res_trafo | p_hv_mw | float64
81 | res_trafo | q_hv_mvar | float64
82 | res_trafo | p_lv_mw | float64
83 | res_trafo | q_lv_mvar | float64
84 | res_trafo | pl_mw | float64
85 | res_trafo | ql_mvar | float64
86 | res_trafo | i_hv_ka | float64
87 | res_trafo | i_lv_ka | float64
88 | res_trafo | vm_hv_pu | float64
89 | res_trafo | va_hv_degree | float64
90 | res_trafo | vm_lv_pu | float64
91 | res_trafo | va_lv_degree | float64
92 | res_trafo | loading_percent | float64
93 | res_ext_grid | p_mw | float64
94 | res_ext_grid | q_mvar | float64
95 | res_load | p_mw | float64
96 | res_load | q_mvar | float64

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | TRUE | FALSE |  | 50 | 1