## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_1031-4_0_4_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_1031-4_0_4_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_1031-4_0_4_node_2 | 0.4 | n |  | TRUE
3 | bus_LV_1031-4_0_4_node_3 | 0.4 | n |  | TRUE
4 | bus_LV_1031-4_0_4_node_4 | 0.4 | n |  | TRUE
5 | bus_LV_1031-4_0_4_node_31 | 0.4 | n |  | TRUE
6 | bus_LV_1031-4_0_4_node_13 | 0.4 | n |  | TRUE
7 | bus_LV_1031-4_0_4_node_32 | 0.4 | n |  | TRUE
8 | bus_LV_1031-4_0_4_node_30 | 0.4 | n |  | TRUE
9 | bus_LV_1031-4_0_4_node_11 | 0.4 | n |  | TRUE
10 | bus_LV_1031-4_0_4_node_5 | 0.4 | n |  | TRUE
11 | bus_LV_1031-4_0_4_node_6 | 0.4 | n |  | TRUE
12 | bus_LV_1031-4_0_4_node_7 | 0.4 | n |  | TRUE
13 | bus_LV_1031-4_0_4_node_8 | 0.4 | n |  | TRUE
14 | bus_LV_1031-4_0_4_node_9 | 0.4 | n |  | TRUE
15 | bus_LV_1031-4_0_4_node_15 | 0.4 | n |  | TRUE
16 | bus_LV_1031-4_0_4_node_16 | 0.4 | n |  | TRUE
17 | bus_LV_1031-4_0_4_node_17 | 0.4 | n |  | TRUE
18 | bus_LV_1031-4_0_4_node_23 | 0.4 | n |  | TRUE
19 | bus_LV_1031-4_0_4_node_35 | 0.4 | n |  | TRUE
20 | bus_LV_1031-4_0_4_node_18 | 0.4 | n |  | TRUE
21 | bus_LV_1031-4_0_4_node_10 | 0.4 | n |  | TRUE
22 | bus_LV_1031-4_0_4_node_33 | 0.4 | n |  | TRUE
23 | bus_LV_1031-4_0_4_node_34 | 0.4 | n |  | TRUE
24 | bus_LV_1031-4_0_4_node_24 | 0.4 | n |  | TRUE
25 | bus_LV_1031-4_0_4_node_20 | 0.4 | n |  | TRUE
26 | bus_LV_1031-4_0_4_node_22 | 0.4 | n |  | TRUE
27 | bus_LV_1031-4_0_4_node_19 | 0.4 | n |  | TRUE
28 | bus_LV_1031-4_0_4_node_21 | 0.4 | n |  | TRUE
29 | bus_LV_1031-4_0_4_node_36 | 0.4 | n |  | TRUE
30 | bus_LV_1031-4_0_4_node_37 | 0.4 | n |  | TRUE
31 | bus_LV_1031-4_0_4_node_28 | 0.4 | n |  | TRUE
32 | bus_LV_1031-4_0_4_node_27 | 0.4 | n |  | TRUE
33 | bus_LV_1031-4_0_4_node_25 | 0.4 | n |  | TRUE
34 | bus_LV_1031-4_0_4_node_26 | 0.4 | n |  | TRUE
35 | bus_LV_1031-4_0_4_node_29 | 0.4 | n |  | TRUE
36 | bus_MV_353_1_node_143 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_1031-4_0_4_load_0 | 0 | 0.01642 | 0.0041152 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_1031-4_0_4_load_13 | 6 | 0.0021497 | 0.00053878 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_1031-4_0_4_load_32 | 7 | 0.0042066 | 0.0010543 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_1031-4_0_4_load_30 | 8 | 0.045228 | 0.011335 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_1031-4_0_4_load_11 | 9 | 0.0024011 | 0.00060177 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_1031-4_0_4_load_5 | 10 | 0.0063012 | 0.0015792 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_1031-4_0_4_load_6 | 11 | 0.0044049 | 0.001104 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_1031-4_0_4_load_7 | 12 | 0.0032207 | 0.00080717 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_1031-4_0_4_load_9 | 14 | 0.0028443 | 0.00071284 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_1031-4_0_4_load_15 | 15 | 0.08256 | 0.020691 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_1031-4_0_4_load_16 | 16 | 0.0019459 | 0.00048768 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_1031-4_0_4_load_17 | 17 | 0.0026666 | 0.00066832 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_1031-4_0_4_load_23 | 18 | 0.0061726 | 0.001547 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_1031-4_0_4_load_35 | 19 | 0.0023286 | 0.0005836 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_1031-4_0_4_load_10 | 21 | 0.0022026 | 0.00055202 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_1031-4_0_4_load_33 | 22 | 0.001585 | 0.00039723 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_1031-4_0_4_load_34 | 23 | 0.0027749 | 0.00069545 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_1031-4_0_4_load_24 | 24 | 0.0065341 | 0.0016376 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_1031-4_0_4_load_36 | 29 | 0.015618 | 0.0039142 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_1031-4_0_4_load_37 | 30 | 0.0093649 | 0.0023471 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_1031-4_0_4_load_28 | 31 | 0.0084577 | 0.0021197 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_1031-4_0_4_load_25 | 33 | 0.0032386 | 0.00081168 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_1031-4_0_4_load_26 | 34 | 0.0025631 | 0.00064236 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_1031-4_0_4_load_29 | 35 | 0.0047258 | 0.0011844 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 12 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_1031-4_0_4_line_0 | NAYY 4x150 SE | 0 | 1 | 0.019308 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
1 | LV_1031-4_0_4_line_1 | NAYY 4x150 SE | 0 | 2 | 0.039091 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
2 | LV_1031-4_0_4_line_2 | NAYY 4x150 SE | 1 | 3 | 0.0667 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
3 | LV_1031-4_0_4_line_3 | NAYY 4x150 SE | 2 | 4 | 0.036155 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
4 | LV_1031-4_0_4_line_4 | NAYY 4x150 SE | 3 | 5 | 0.045259 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
5 | LV_1031-4_0_4_line_5 | NAYY 4x150 SE | 4 | 6 | 0.025088 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
6 | LV_1031-4_0_4_line_6 | NAYY 4x150 SE | 4 | 7 | 0.038334 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
7 | LV_1031-4_0_4_line_7 | NAYY 4x150 SE | 5 | 8 | 0.05334 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
8 | LV_1031-4_0_4_line_8 | NAYY 4x150 SE | 6 | 9 | 0.018256 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
9 | LV_1031-4_0_4_line_9 | NAYY 4x150 SE | 8 | 26 | 0.0042065 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
10 | LV_1031-4_0_4_line_10 | NAYY 4x150 SE | 9 | 21 | 0.022968 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
11 | LV_1031-4_0_4_line_11 | NAYY 4x150 SE | 10 | 11 | 0.0083476 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
12 | LV_1031-4_0_4_line_12 | NAYY 4x150 SE | 10 | 12 | 0.033052 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
13 | LV_1031-4_0_4_line_13 | NAYY 4x150 SE | 11 | 13 | 0.01638 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
14 | LV_1031-4_0_4_line_14 | NAYY 4x150 SE | 12 | 14 | 0.017785 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
15 | LV_1031-4_0_4_line_15 | NAYY 4x150 SE | 13 | 15 | 0.046022 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
16 | LV_1031-4_0_4_line_16 | NAYY 4x150 SE | 13 | 16 | 0.022343 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
17 | LV_1031-4_0_4_line_17 | NAYY 4x150 SE | 14 | 17 | 0.029619 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
18 | LV_1031-4_0_4_line_18 | NAYY 4x150 SE | 15 | 18 | 0.0048875 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
19 | LV_1031-4_0_4_line_19 | NAYY 4x150 SE | 16 | 19 | 0.0087859 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
20 | LV_1031-4_0_4_line_20 | NAYY 4x150 SE | 17 | 20 | 0.025768 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
21 | LV_1031-4_0_4_line_21 | NAYY 4x150 SE | 18 | 24 | 0.028414 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
22 | LV_1031-4_0_4_line_22 | NAYY 4x150 SE | 19 | 23 | 0.020189 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
23 | LV_1031-4_0_4_line_23 | NAYY 4x150 SE | 20 | 25 | 0.02657 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
24 | LV_1031-4_0_4_line_24 | NAYY 4x150 SE | 20 | 26 | 0.06902 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
25 | LV_1031-4_0_4_line_25 | NAYY 4x150 SE | 22 | 23 | 0.0040404 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
26 | LV_1031-4_0_4_line_26 | NAYY 4x150 SE | 25 | 30 | 0.006178 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
27 | LV_1031-4_0_4_line_27 | NAYY 4x150 SE | 25 | 29 | 0.031101 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
28 | LV_1031-4_0_4_line_28 | NAYY 4x150 SE | 27 | 28 | 0.045477 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
29 | LV_1031-4_0_4_line_29 | NAYY 4x150 SE | 27 | 29 | 0.02126 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
30 | LV_1031-4_0_4_line_30 | NAYY 4x150 SE | 28 | 31 | 0.019543 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
31 | LV_1031-4_0_4_line_31 | NAYY 4x150 SE | 31 | 32 | 0.041389 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
32 | LV_1031-4_0_4_line_32 | NAYY 4x150 SE | 32 | 35 | 0.038499 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
33 | LV_1031-4_0_4_line_33 | NAYY 4x150 SE | 32 | 33 | 0.024726 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
34 | LV_1031-4_0_4_line_34 | NAYY 4x150 SE | 33 | 34 | 0.026566 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_1031-4_0_4_trafo_7 | 0.25 MVA 20/0.4 kV | 36 | 12 | 0.25 | 20 | 0.4 | 6 | 1.44 | 0.8 | 0.32 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6
0 | 2664772.8229 | 1224329.4959 | 2664776.4449 | 1224331.8034 | 2664788.2153 | 1224341.1236
1 | 2664815.0414 | 1224367.8465 | 2664808.9405 | 1224364.0888 | 2664805.4028 | 1224354.7332 | 2664788.2153 | 1224341.1236
2 | 2664772.8229 | 1224329.4959 | 2664768.1164 | 1224326.4983 | 2664749.5845 | 1224330.0212 | 2664741.3405 | 1224335.0682 | 2664733.2013 | 1224330.4879 | 2664724.2756 | 1224325.71 | 2664713.7174 | 1224317.6568
3 | 2664815.0414 | 1224367.8465 | 2664807.6594 | 1224376.594 | 2664797.5913 | 1224382.0434 | 2664785.6156 | 1224387.8947
4 | 2664693.4004 | 1224337.5154 | 2664703.2221 | 1224319.8552 | 2664704.3499 | 1224308.1822 | 2664713.7174 | 1224317.6568
5 | 2664785.6156 | 1224387.8947 | 2664808.8691 | 1224397.3116
6 | 2664785.6156 | 1224387.8947 | 2664758.0839 | 1224376.7547 | 2664750.7717 | 1224372.1644
7 | 2664693.4004 | 1224337.5154 | 2664670.0905 | 1224381.6015 | 2664669.0673 | 1224384.9177
8 | 2664808.8691 | 1224397.3116 | 2664823.3082 | 1224403.1591 | 2664825.4107 | 1224404.8177
9 | 2664667.827 | 1224388.9372 | 2664669.0673 | 1224384.9177
10 | 2664825.4107 | 1224404.8177 | 2664843.4434 | 1224419.0432
11 | 2664798.1211 | 1224465.2045 | 2664806.063 | 1224467.775
12 | 2664798.1211 | 1224465.2045 | 2664773.9784 | 1224457.3904 | 2664769.2998 | 1224451.3047
13 | 2664821.6471 | 1224472.819 | 2664806.063 | 1224467.775
14 | 2664769.2998 | 1224451.3047 | 2664763.3245 | 1224443.5323 | 2664755.6758 | 1224441.2519
15 | 2664821.6471 | 1224472.819 | 2664822.7132 | 1224480.0575 | 2664812.2562 | 1224506.6051 | 2664813.1908 | 1224509.9063 | 2664815.7734 | 1224512.9586 | 2664818.2613 | 1224514.1138
16 | 2664821.6471 | 1224472.819 | 2664829.2188 | 1224464.0514 | 2664839.6142 | 1224466.8219
17 | 2664727.2913 | 1224432.7894 | 2664755.6758 | 1224441.2519
18 | 2664822.6941 | 1224516.1723 | 2664818.2613 | 1224514.1138
19 | 2664839.6142 | 1224466.8219 | 2664847.5408 | 1224470.6117
20 | 2664702.5974 | 1224425.4272 | 2664727.2913 | 1224432.7894
21 | 2664848.4651 | 1224528.1395 | 2664822.6941 | 1224516.1723
22 | 2664847.5408 | 1224470.6117 | 2664865.7552 | 1224479.3202
23 | 2664702.5974 | 1224425.4272 | 2664697.6388 | 1224444.2298 | 2664699.7486 | 1224451.0348
24 | 2664667.827 | 1224388.9372 | 2664660.4472 | 1224412.8613 | 2664673.5525 | 1224416.7728 | 2664702.5974 | 1224425.4272
25 | 2664869.4004 | 1224481.063 | 2664865.7552 | 1224479.3202
26 | 2664699.7486 | 1224451.0348 | 2664705.7681 | 1224452.5012
27 | 2664699.7486 | 1224451.0348 | 2664697.0031 | 1224462.2566 | 2664678.0115 | 1224457.624
28 | 2664645.3687 | 1224475.4265 | 2664647.0113 | 1224466.6054 | 2664652.5839 | 1224444.3071 | 2664665.7196 | 1224447.5074
29 | 2664665.7196 | 1224447.5074 | 2664675.7472 | 1224449.9512 | 2664674.1046 | 1224456.671 | 2664678.0115 | 1224457.624
30 | 2664645.3687 | 1224475.4265 | 2664653.0396 | 1224477.0331 | 2664664.0092 | 1224481.1184
31 | 2664700.9876 | 1224499.5683 | 2664672.2587 | 1224484.1908 | 2664664.0092 | 1224481.1184
32 | 2664700.9876 | 1224499.5683 | 2664736.2399 | 1224515.0413
33 | 2664700.9876 | 1224499.5683 | 2664696.2311 | 1224523.8323
34 | 2664691.1206 | 1224549.9024 | 2664696.2311 | 1224523.8323

## bus_geodata
| x | y | coords
0 | 2664788.2153 | 1224341.1236
1 | 2664772.8229 | 1224329.4959
2 | 2664815.0414 | 1224367.8465
3 | 2664713.7174 | 1224317.6568
4 | 2664785.6156 | 1224387.8947
5 | 2664693.4004 | 1224337.5154
6 | 2664808.8691 | 1224397.3116
7 | 2664750.7717 | 1224372.1644
8 | 2664669.0673 | 1224384.9177
9 | 2664825.4107 | 1224404.8177
10 | 2664798.1211 | 1224465.2045
11 | 2664806.063 | 1224467.775
12 | 2664769.2998 | 1224451.3047
13 | 2664821.6471 | 1224472.819
14 | 2664755.6758 | 1224441.2519
15 | 2664818.2613 | 1224514.1138
16 | 2664839.6142 | 1224466.8219
17 | 2664727.2913 | 1224432.7894
18 | 2664822.6941 | 1224516.1723
19 | 2664847.5408 | 1224470.6117
20 | 2664702.5974 | 1224425.4272
21 | 2664843.4434 | 1224419.0432
22 | 2664869.4004 | 1224481.063
23 | 2664865.7552 | 1224479.3202
24 | 2664848.4651 | 1224528.1395
25 | 2664699.7486 | 1224451.0348
26 | 2664667.827 | 1224388.9372
27 | 2664665.7196 | 1224447.5074
28 | 2664645.3687 | 1224475.4265
29 | 2664678.0115 | 1224457.624
30 | 2664705.7681 | 1224452.5012
31 | 2664664.0092 | 1224481.1184
32 | 2664700.9876 | 1224499.5683
33 | 2664696.2311 | 1224523.8323
34 | 2664691.1206 | 1224549.9024
35 | 2664736.2399 | 1224515.0413
36 | 2664821.6471 | 1224472.819

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## res_bus
| vm_pu | va_degree | p_mw | q_mvar
0 | 0.97863 | -0.15027 | 0.01642 | 0.0041152
1 | 0.9794 | -0.14476 | 0 | 0
2 | 0.978 | -0.15474 | 0 | 0
3 | 0.98206 | -0.12579 | 0 | 0
4 | 0.97742 | -0.15888 | 0 | 0
5 | 0.98387 | -0.11298 | 0 | 0
6 | 0.97718 | -0.16065 | 0.0021497 | 0.00053878
7 | 0.97719 | -0.16057 | 0.0042066 | 0.0010543
8 | 0.98599 | -0.097939 | 0.045228 | 0.011335
9 | 0.97705 | -0.16153 | 0.0024011 | 0.00060177
10 | 0.99727 | -0.018958 | 0.0063012 | 0.0015792
11 | 0.99662 | -0.023498 | 0.0044049 | 0.001104
12 | 1 | 0 | -0.24027 | -0.060376
13 | 0.9954 | -0.03206 | 0 | 0
14 | 0.99843 | -0.010859 | 0.0028443 | 0.00071284
15 | 0.98908 | -0.076507 | 0.08256 | 0.020691
16 | 0.99512 | -0.034005 | 0.0019459 | 0.00048768
17 | 0.99588 | -0.028596 | 0.0026666 | 0.00066832
18 | 0.98899 | -0.077141 | 0.0061726 | 0.001547
19 | 0.99504 | -0.034597 | 0.0023286 | 0.0005836
20 | 0.9937 | -0.043753 | 0 | 0
21 | 0.97698 | -0.16206 | 0.0022026 | 0.00055202
22 | 0.9949 | -0.035549 | 0.001585 | 0.00039723
23 | 0.99491 | -0.035485 | 0.0027749 | 0.00069545
24 | 0.98872 | -0.079036 | 0.0065341 | 0.0016376
25 | 0.99202 | -0.055587 | 0 | 0
26 | 0.98644 | -0.094803 | 0 | 0
27 | 0.98989 | -0.070638 | 0 | 0
28 | 0.98864 | -0.079451 | 0 | 0
29 | 0.99047 | -0.066525 | 0.015618 | 0.0039142
30 | 0.99194 | -0.056174 | 0.0093649 | 0.0023471
31 | 0.98811 | -0.083244 | 0.0084577 | 0.0021197
32 | 0.98748 | -0.087706 | 0 | 0
33 | 0.98727 | -0.089175 | 0.0032386 | 0.00081168
34 | 0.98717 | -0.089873 | 0.0025631 | 0.00064236
35 | 0.98721 | -0.089569 | 0.0047258 | 0.0011844
36 | 0.99998 | 149.9947 | 0 | 0

## res_line
| p_from_mw | q_from_mvar | p_to_mw | q_to_mvar | pl_mw | ql_mvar | i_from_ka | i_to_ka | i_ka | vm_from_pu | va_from_degree | vm_to_pu | va_to_degree | loading_percent
0 | -0.027396 | -0.0068661 | 0.027417 | 0.0068739 | 2.0907e-05 | 7.7984e-06 | 0.041656 | 0.041656 | 0.041656 | 0.97863 | -0.15027 | 0.9794 | -0.14476 | 15.4283
1 | 0.010976 | 0.0027509 | -0.01097 | -0.0027488 | 6.7946e-06 | 2.1225e-06 | 0.01669 | 0.01669 | 0.01669 | 0.97863 | -0.15027 | 0.978 | -0.15474 | 6.1815
2 | -0.027417 | -0.0068739 | 0.027489 | 0.0069008 | 7.2222e-05 | 2.6936e-05 | 0.041656 | 0.041656 | 0.041656 | 0.9794 | -0.14476 | 0.98206 | -0.12579 | 15.4283
3 | 0.01097 | 0.0027488 | -0.010963 | -0.0027468 | 6.2844e-06 | 1.9637e-06 | 0.01669 | 0.01669 | 0.01669 | 0.978 | -0.15474 | 0.97742 | -0.15888 | 6.1815
4 | -0.027489 | -0.0069008 | 0.027538 | 0.0069191 | 4.9005e-05 | 1.8274e-05 | 0.041656 | 0.041656 | 0.041656 | 0.98206 | -0.12579 | 0.98387 | -0.11298 | 15.4282
5 | 0.0067558 | 0.0016926 | -0.0067541 | -0.0016923 | 1.6559e-06 | 3.2253e-07 | 0.010285 | 0.010285 | 0.010285 | 0.97742 | -0.15888 | 0.97718 | -0.16065 | 3.8092
6 | 0.0042075 | 0.0010542 | -0.0042066 | -0.0010543 | 9.8145e-07 | -1.0287e-07 | 0.0064054 | 0.0064056 | 0.0064056 | 0.97742 | -0.15888 | 0.97719 | -0.16057 | 2.3724
7 | -0.027538 | -0.0069191 | 0.027596 | 0.0069407 | 5.7754e-05 | 2.1534e-05 | 0.041656 | 0.041656 | 0.041656 | 0.98387 | -0.11298 | 0.98599 | -0.097939 | 15.4281
8 | 0.0046044 | 0.0011535 | -0.0046038 | -0.0011536 | 5.6e-07 | -1.3286e-08 | 0.0070113 | 0.0070113 | 0.0070113 | 0.97718 | -0.16065 | 0.97705 | -0.16153 | 2.5968
9 | -0.072824 | -0.018276 | 0.072855 | 0.018288 | 3.1709e-05 | 1.2142e-05 | 0.10991 | 0.10991 | 0.10991 | 0.98599 | -0.097939 | 0.98644 | -0.094803 | 40.7077
10 | 0.0022027 | 0.00055179 | -0.0022026 | -0.00055202 | 1.6129e-07 | -2.256e-07 | 0.0033546 | 0.0033547 | 0.0033547 | 0.97705 | -0.16153 | 0.97698 | -0.16206 | 1.2425
11 | 0.1091 | 0.027445 | -0.10903 | -0.027419 | 6.9042e-05 | 2.6337e-05 | 0.16282 | 0.16282 | 0.16282 | 0.99727 | -0.018958 | 0.99662 | -0.023498 | 30.1512
12 | -0.1154 | -0.029025 | 0.1157 | 0.029141 | 0.00030585 | 0.00011677 | 0.17222 | 0.17222 | 0.17222 | 0.99727 | -0.018958 | 1 | 0 | 31.8923
13 | 0.10462 | 0.026315 | -0.1045 | -0.026268 | 0.00012475 | 4.7556e-05 | 0.15624 | 0.15624 | 0.15624 | 0.99662 | -0.023498 | 0.9954 | -0.03206 | 28.9333
14 | 0.12377 | 0.031234 | -0.12358 | -0.031162 | 0.00018837 | 7.1985e-05 | 0.18425 | 0.18425 | 0.18425 | 1 | 0 | 0.99843 | -0.010859 | 34.12
15 | 0.095859 | 0.024103 | -0.095269 | -0.023877 | 0.00058994 | 0.0002263 | 0.14333 | 0.14333 | 0.14333 | 0.9954 | -0.03206 | 0.98908 | -0.076507 | 53.0843
16 | 0.0086377 | 0.0021646 | -0.0086354 | -0.002164 | 2.3246e-06 | 6.0372e-07 | 0.012912 | 0.012913 | 0.012913 | 0.9954 | -0.03206 | 0.99512 | -0.034005 | 4.7824
17 | 0.12074 | 0.03045 | -0.12044 | -0.030335 | 0.00029945 | 0.0001144 | 0.18001 | 0.18001 | 0.18001 | 0.99843 | -0.010859 | 0.99588 | -0.028596 | 33.3351
18 | 0.01271 | 0.0031853 | -0.012708 | -0.0031849 | 1.115e-06 | 3.6613e-07 | 0.019121 | 0.019121 | 0.019121 | 0.98908 | -0.076507 | 0.98899 | -0.077141 | 7.0818
19 | 0.0066896 | 0.0016763 | -0.006689 | -0.0016762 | 5.4856e-07 | 9.6851e-08 | 0.010003 | 0.010003 | 0.010003 | 0.99512 | -0.034005 | 0.99504 | -0.034597 | 3.7048
20 | 0.11777 | 0.029667 | -0.11752 | -0.029572 | 0.00024911 | 9.5141e-05 | 0.17603 | 0.17603 | 0.17603 | 0.99588 | -0.028596 | 0.9937 | -0.043753 | 32.5973
21 | 0.0065358 | 0.0016379 | -0.0065341 | -0.0016376 | 1.7146e-06 | 2.9494e-07 | 0.0098336 | 0.0098338 | 0.0098338 | 0.98899 | -0.077141 | 0.98872 | -0.079036 | 3.6421
22 | 0.0043604 | 0.0010926 | -0.0043599 | -0.0010926 | 5.3566e-07 | -5.6188e-08 | 0.0065206 | 0.0065207 | 0.0065207 | 0.99504 | -0.034597 | 0.99491 | -0.035485 | 2.4151
23 | 0.044147 | 0.011085 | -0.044074 | -0.011057 | 7.2473e-05 | 2.7531e-05 | 0.066115 | 0.066115 | 0.066115 | 0.9937 | -0.043753 | 0.99202 | -0.055587 | 24.487
24 | 0.073376 | 0.018487 | -0.072855 | -0.018288 | 0.00052028 | 0.00019922 | 0.10991 | 0.10991 | 0.10991 | 0.9937 | -0.043753 | 0.98644 | -0.094803 | 40.7077
25 | -0.001585 | -0.00039723 | 0.001585 | 0.00039719 | 1.4168e-08 | -4.702e-08 | 0.0023706 | 0.0023705 | 0.0023706 | 0.9949 | -0.035549 | 0.99491 | -0.035485 | 0.87798
26 | 0.0093657 | 0.0023473 | -0.0093649 | -0.0023471 | 7.6082e-07 | 2.1287e-07 | 0.014048 | 0.014048 | 0.014048 | 0.99202 | -0.055587 | 0.99194 | -0.056174 | 5.2031
27 | 0.034709 | 0.0087098 | -0.034656 | -0.00869 | 5.2612e-05 | 1.9834e-05 | 0.052067 | 0.052067 | 0.052067 | 0.99202 | -0.055587 | 0.99047 | -0.066525 | 19.284
28 | 0.019028 | 0.0047719 | -0.019004 | -0.0047636 | 2.3218e-05 | 8.346e-06 | 0.028604 | 0.028604 | 0.028604 | 0.98989 | -0.070638 | 0.98864 | -0.079451 | 10.594
29 | -0.019028 | -0.0047719 | 0.019038 | 0.0047758 | 1.0854e-05 | 3.9012e-06 | 0.028604 | 0.028604 | 0.028604 | 0.98989 | -0.070638 | 0.99047 | -0.066525 | 10.594
30 | 0.019004 | 0.0047636 | -0.018994 | -0.00476 | 9.9776e-06 | 3.5871e-06 | 0.028604 | 0.028604 | 0.028604 | 0.98864 | -0.079451 | 0.98811 | -0.083244 | 10.5941
31 | 0.010537 | 0.0026403 | -0.01053 | -0.0026383 | 6.5024e-06 | 1.9711e-06 | 0.015867 | 0.015867 | 0.015867 | 0.98811 | -0.083244 | 0.98748 | -0.087706 | 5.8768
32 | 0.004727 | 0.0011844 | -0.0047258 | -0.0011844 | 1.2189e-06 | -2.3567e-08 | 0.007123 | 0.0071232 | 0.0071232 | 0.98748 | -0.087706 | 0.98721 | -0.089569 | 2.6382
33 | 0.0058031 | 0.0014539 | -0.0058019 | -0.0014538 | 1.1798e-06 | 1.3752e-07 | 0.0087445 | 0.0087446 | 0.0087446 | 0.98748 | -0.087706 | 0.98727 | -0.089175 | 3.2387
34 | 0.0025633 | 0.00064212 | -0.0025631 | -0.00064236 | 2.4743e-07 | -2.4452e-07 | 0.0038633 | 0.0038634 | 0.0038634 | 0.98727 | -0.089175 | 0.98717 | -0.089873 | 1.4309

## res_trafo
| p_hv_mw | q_hv_mvar | p_lv_mw | q_lv_mvar | pl_mw | ql_mvar | i_hv_ka | i_lv_ka | vm_hv_pu | va_hv_degree | vm_lv_pu | va_lv_degree | loading_percent
0 | 2.5187e-16 | 8.8016e-16 | 0.00079998 | 7.4552e-08 | 0.00079998 | 7.4552e-08 | 2.6429e-17 | 0.0011547 | 0.99998 | 149.9947 | 1 | 0 | 0.31999

## res_ext_grid
| p_mw | q_mvar
0 | 0.24349 | 0.061183

## res_load
| p_mw | q_mvar
0 | 0.01642 | 0.0041152
1 | 0.0021497 | 0.00053878
2 | 0.0042066 | 0.0010543
3 | 0.045228 | 0.011335
4 | 0.0024011 | 0.00060177
5 | 0.0063012 | 0.0015792
6 | 0.0044049 | 0.001104
7 | 0.0032207 | 0.00080717
8 | 0.0028443 | 0.00071284
9 | 0.08256 | 0.020691
10 | 0.0019459 | 0.00048768
11 | 0.0026666 | 0.00066832
12 | 0.0061726 | 0.001547
13 | 0.0023286 | 0.0005836
14 | 0.0022026 | 0.00055202
15 | 0.001585 | 0.00039723
16 | 0.0027749 | 0.00069545
17 | 0.0065341 | 0.0016376
18 | 0.015618 | 0.0039142
19 | 0.0093649 | 0.0023471
20 | 0.0084577 | 0.0021197
21 | 0.0032386 | 0.00081168
22 | 0.0025631 | 0.00064236
23 | 0.0047258 | 0.0011844

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object
62 | res_bus | vm_pu | float64
63 | res_bus | va_degree | float64
64 | res_bus | p_mw | float64
65 | res_bus | q_mvar | float64
66 | res_line | p_from_mw | float64
67 | res_line | q_from_mvar | float64
68 | res_line | p_to_mw | float64
69 | res_line | q_to_mvar | float64
70 | res_line | pl_mw | float64
71 | res_line | ql_mvar | float64
72 | res_line | i_from_ka | float64
73 | res_line | i_to_ka | float64
74 | res_line | i_ka | float64
75 | res_line | vm_from_pu | float64
76 | res_line | va_from_degree | float64
77 | res_line | vm_to_pu | float64
78 | res_line | va_to_degree | float64
79 | res_line | loading_percent | float64
80 | res_trafo | p_hv_mw | float64
81 | res_trafo | q_hv_mvar | float64
82 | res_trafo | p_lv_mw | float64
83 | res_trafo | q_lv_mvar | float64
84 | res_trafo | pl_mw | float64
85 | res_trafo | ql_mvar | float64
86 | res_trafo | i_hv_ka | float64
87 | res_trafo | i_lv_ka | float64
88 | res_trafo | vm_hv_pu | float64
89 | res_trafo | va_hv_degree | float64
90 | res_trafo | vm_lv_pu | float64
91 | res_trafo | va_lv_degree | float64
92 | res_trafo | loading_percent | float64
93 | res_ext_grid | p_mw | float64
94 | res_ext_grid | q_mvar | float64
95 | res_load | p_mw | float64
96 | res_load | q_mvar | float64

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | TRUE | FALSE |  | 50 | 1