## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_1031-50_0_3_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_1031-50_0_3_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_1031-50_0_3_node_2 | 0.4 | n |  | TRUE
3 | bus_LV_1031-50_0_3_node_3 | 0.4 | n |  | TRUE
4 | bus_LV_1031-50_0_3_node_4 | 0.4 | n |  | TRUE
5 | bus_LV_1031-50_0_3_node_5 | 0.4 | n |  | TRUE
6 | bus_LV_1031-50_0_3_node_25 | 0.4 | n |  | TRUE
7 | bus_LV_1031-50_0_3_node_6 | 0.4 | n |  | TRUE
8 | bus_LV_1031-50_0_3_node_14 | 0.4 | n |  | TRUE
9 | bus_LV_1031-50_0_3_node_24 | 0.4 | n |  | TRUE
10 | bus_LV_1031-50_0_3_node_7 | 0.4 | n |  | TRUE
11 | bus_LV_1031-50_0_3_node_48 | 0.4 | n |  | TRUE
12 | bus_LV_1031-50_0_3_node_15 | 0.4 | n |  | TRUE
13 | bus_LV_1031-50_0_3_node_47 | 0.4 | n |  | TRUE
14 | bus_LV_1031-50_0_3_node_8 | 0.4 | n |  | TRUE
15 | bus_LV_1031-50_0_3_node_55 | 0.4 | n |  | TRUE
16 | bus_LV_1031-50_0_3_node_54 | 0.4 | n |  | TRUE
17 | bus_LV_1031-50_0_3_node_9 | 0.4 | n |  | TRUE
18 | bus_LV_1031-50_0_3_node_10 | 0.4 | n |  | TRUE
19 | bus_LV_1031-50_0_3_node_11 | 0.4 | n |  | TRUE
20 | bus_LV_1031-50_0_3_node_13 | 0.4 | n |  | TRUE
21 | bus_LV_1031-50_0_3_node_12 | 0.4 | n |  | TRUE
22 | bus_LV_1031-50_0_3_node_28 | 0.4 | n |  | TRUE
23 | bus_LV_1031-50_0_3_node_46 | 0.4 | n |  | TRUE
24 | bus_LV_1031-50_0_3_node_62 | 0.4 | n |  | TRUE
25 | bus_LV_1031-50_0_3_node_30 | 0.4 | n |  | TRUE
26 | bus_LV_1031-50_0_3_node_26 | 0.4 | n |  | TRUE
27 | bus_LV_1031-50_0_3_node_44 | 0.4 | n |  | TRUE
28 | bus_LV_1031-50_0_3_node_37 | 0.4 | n |  | TRUE
29 | bus_LV_1031-50_0_3_node_60 | 0.4 | n |  | TRUE
30 | bus_LV_1031-50_0_3_node_16 | 0.4 | n |  | TRUE
31 | bus_LV_1031-50_0_3_node_18 | 0.4 | n |  | TRUE
32 | bus_LV_1031-50_0_3_node_19 | 0.4 | n |  | TRUE
33 | bus_LV_1031-50_0_3_node_20 | 0.4 | n |  | TRUE
34 | bus_LV_1031-50_0_3_node_21 | 0.4 | n |  | TRUE
35 | bus_LV_1031-50_0_3_node_22 | 0.4 | n |  | TRUE
36 | bus_LV_1031-50_0_3_node_63 | 0.4 | n |  | TRUE
37 | bus_LV_1031-50_0_3_node_23 | 0.4 | n |  | TRUE
38 | bus_LV_1031-50_0_3_node_27 | 0.4 | n |  | TRUE
39 | bus_LV_1031-50_0_3_node_29 | 0.4 | n |  | TRUE
40 | bus_LV_1031-50_0_3_node_32 | 0.4 | n |  | TRUE
41 | bus_LV_1031-50_0_3_node_31 | 0.4 | n |  | TRUE
42 | bus_LV_1031-50_0_3_node_33 | 0.4 | n |  | TRUE
43 | bus_LV_1031-50_0_3_node_34 | 0.4 | n |  | TRUE
44 | bus_LV_1031-50_0_3_node_35 | 0.4 | n |  | TRUE
45 | bus_LV_1031-50_0_3_node_36 | 0.4 | n |  | TRUE
46 | bus_LV_1031-50_0_3_node_49 | 0.4 | n |  | TRUE
47 | bus_LV_1031-50_0_3_node_38 | 0.4 | n |  | TRUE
48 | bus_LV_1031-50_0_3_node_39 | 0.4 | n |  | TRUE
49 | bus_LV_1031-50_0_3_node_40 | 0.4 | n |  | TRUE
50 | bus_LV_1031-50_0_3_node_41 | 0.4 | n |  | TRUE
51 | bus_LV_1031-50_0_3_node_42 | 0.4 | n |  | TRUE
52 | bus_LV_1031-50_0_3_node_43 | 0.4 | n |  | TRUE
53 | bus_LV_1031-50_0_3_node_45 | 0.4 | n |  | TRUE
54 | bus_LV_1031-50_0_3_node_56 | 0.4 | n |  | TRUE
55 | bus_LV_1031-50_0_3_node_53 | 0.4 | n |  | TRUE
56 | bus_LV_1031-50_0_3_node_50 | 0.4 | n |  | TRUE
57 | bus_LV_1031-50_0_3_node_68 | 0.4 | n |  | TRUE
58 | bus_LV_1031-50_0_3_node_67 | 0.4 | n |  | TRUE
59 | bus_LV_1031-50_0_3_node_51 | 0.4 | n |  | TRUE
60 | bus_LV_1031-50_0_3_node_52 | 0.4 | n |  | TRUE
61 | bus_LV_1031-50_0_3_node_57 | 0.4 | n |  | TRUE
62 | bus_LV_1031-50_0_3_node_58 | 0.4 | n |  | TRUE
63 | bus_LV_1031-50_0_3_node_66 | 0.4 | n |  | TRUE
64 | bus_LV_1031-50_0_3_node_64 | 0.4 | n |  | TRUE
65 | bus_LV_1031-50_0_3_node_59 | 0.4 | n |  | TRUE
66 | bus_LV_1031-50_0_3_node_61 | 0.4 | n |  | TRUE
67 | bus_LV_1031-50_0_3_node_65 | 0.4 | n |  | TRUE
68 | bus_MV_353_1_node_291 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_1031-50_0_3_load_0 | 0 | 0.017115 | 0.0042895 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_1031-50_0_3_load_1 | 1 | 0.0079665 | 0.0019966 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_1031-50_0_3_load_3 | 3 | 0.0079746 | 0.0019986 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_1031-50_0_3_load_4 | 4 | 0.0024664 | 0.00061813 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_1031-50_0_3_load_5 | 5 | 0.0081579 | 0.0020446 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_1031-50_0_3_load_25 | 6 | 0.005339 | 0.0013381 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_1031-50_0_3_load_6 | 7 | 0.0096309 | 0.0024137 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_1031-50_0_3_load_24 | 9 | 0.0021326 | 0.00053448 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_1031-50_0_3_load_7 | 10 | 0.0021342 | 0.00053488 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_1031-50_0_3_load_48 | 11 | 0.0012836 | 0.00032171 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_1031-50_0_3_load_47 | 13 | 0.0028263 | 0.00070834 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_1031-50_0_3_load_8 | 14 | 0.0024711 | 0.0006193 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_1031-50_0_3_load_55 | 15 | 0.001534 | 0.00038445 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_1031-50_0_3_load_54 | 16 | 0.0068261 | 0.0017108 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_1031-50_0_3_load_9 | 17 | 0.0025461 | 0.00063812 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_1031-50_0_3_load_10 | 18 | 0.0023474 | 0.0005883 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_1031-50_0_3_load_13 | 20 | 0.002759 | 0.00069147 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_1031-50_0_3_load_46 | 23 | 0.0039291 | 0.00098473 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_1031-50_0_3_load_62 | 24 | 0.0072342 | 0.0018131 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_1031-50_0_3_load_26 | 26 | 0.0031137 | 0.00078037 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_1031-50_0_3_load_44 | 27 | 0.0013714 | 0.00034371 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_1031-50_0_3_load_60 | 29 | 0.0073361 | 0.0018386 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_1031-50_0_3_load_16 | 30 | 0.0015954 | 0.00039984 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_1031-50_0_3_load_19 | 32 | 0.0012824 | 0.00032139 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_1031-50_0_3_load_20 | 33 | 0.0014403 | 0.00036097 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_1031-50_0_3_load_21 | 34 | 0.0015958 | 0.00039994 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_1031-50_0_3_load_22 | 35 | 0.0011876 | 0.00029765 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_1031-50_0_3_load_63 | 36 | 0.0013451 | 0.00033713 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_1031-50_0_3_load_23 | 37 | 0.0011876 | 0.00029765 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_1031-50_0_3_load_27 | 38 | 0.0028648 | 0.000718 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_1031-50_0_3_load_29 | 39 | 0.0020188 | 0.00050595 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_1031-50_0_3_load_32 | 40 | 0.0023066 | 0.0005781 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_1031-50_0_3_load_31 | 41 | 0.0035546 | 0.00089086 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_1031-50_0_3_load_33 | 42 | 0.0074592 | 0.0018695 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_1031-50_0_3_load_34 | 43 | 0.0098443 | 0.0024672 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_1031-50_0_3_load_35 | 44 | 0.0021775 | 0.00054574 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_1031-50_0_3_load_36 | 45 | 0.0080803 | 0.0020251 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_1031-50_0_3_load_49 | 46 | 0.0044598 | 0.0011177 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_1031-50_0_3_load_38 | 47 | 0.0081049 | 0.0020313 | 0 | 0 |  | 1 | TRUE | wye
39 | LV_1031-50_0_3_load_39 | 48 | 0.0072899 | 0.001827 | 0 | 0 |  | 1 | TRUE | wye
40 | LV_1031-50_0_3_load_40 | 49 | 0.002575 | 0.00064536 | 0 | 0 |  | 1 | TRUE | wye
41 | LV_1031-50_0_3_load_41 | 50 | 0.002217 | 0.00055562 | 0 | 0 |  | 1 | TRUE | wye
42 | LV_1031-50_0_3_load_42 | 51 | 0.0017315 | 0.00043394 | 0 | 0 |  | 1 | TRUE | wye
43 | LV_1031-50_0_3_load_43 | 52 | 0.0023551 | 0.00059024 | 0 | 0 |  | 1 | TRUE | wye
44 | LV_1031-50_0_3_load_56 | 54 | 0.0048728 | 0.0012212 | 0 | 0 |  | 1 | TRUE | wye
45 | LV_1031-50_0_3_load_50 | 56 | 0.0021716 | 0.00054425 | 0 | 0 |  | 1 | TRUE | wye
46 | LV_1031-50_0_3_load_68 | 57 | 0.01847 | 0.0046289 | 0 | 0 |  | 1 | TRUE | wye
47 | LV_1031-50_0_3_load_67 | 58 | 0.0015451 | 0.00038724 | 0 | 0 |  | 1 | TRUE | wye
48 | LV_1031-50_0_3_load_52 | 60 | 0.0058059 | 0.0014551 | 0 | 0 |  | 1 | TRUE | wye
49 | LV_1031-50_0_3_load_57 | 61 | 0.0016575 | 0.00041542 | 0 | 0 |  | 1 | TRUE | wye
50 | LV_1031-50_0_3_load_58 | 62 | 0.0015371 | 0.00038522 | 0 | 0 |  | 1 | TRUE | wye
51 | LV_1031-50_0_3_load_66 | 63 | 0.0015419 | 0.00038644 | 0 | 0 |  | 1 | TRUE | wye
52 | LV_1031-50_0_3_load_64 | 64 | 0.0014585 | 0.00036554 | 0 | 0 |  | 1 | TRUE | wye
53 | LV_1031-50_0_3_load_59 | 65 | 0.0079753 | 0.0019988 | 0 | 0 |  | 1 | TRUE | wye
54 | LV_1031-50_0_3_load_61 | 66 | 0.0014778 | 0.00037037 | 0 | 0 |  | 1 | TRUE | wye
55 | LV_1031-50_0_3_load_65 | 67 | 0.0015082 | 0.00037799 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 66 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_1031-50_0_3_line_0 | NAYY 4x150 SE | 0 | 1 | 0.02488 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
1 | LV_1031-50_0_3_line_1 | NAYY 4x150 SE | 0 | 2 | 0.040094 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
2 | LV_1031-50_0_3_line_2 | NAYY 4x150 SE | 1 | 3 | 0.033158 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
3 | LV_1031-50_0_3_line_3 | NAYY 4x150 SE | 2 | 4 | 0.027214 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
4 | LV_1031-50_0_3_line_4 | NAYY 4x150 SE | 2 | 5 | 0.029095 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
5 | LV_1031-50_0_3_line_5 | NAYY 4x150 SE | 3 | 6 | 0.038619 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
6 | LV_1031-50_0_3_line_6 | NAYY 4x150 SE | 4 | 7 | 0.0061147 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
7 | LV_1031-50_0_3_line_7 | NAYY 4x150 SE | 5 | 8 | 0.022477 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
8 | LV_1031-50_0_3_line_8 | NAYY 4x150 SE | 6 | 9 | 0.016046 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
9 | LV_1031-50_0_3_line_9 | NAYY 4x150 SE | 7 | 10 | 0.011946 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
10 | LV_1031-50_0_3_line_10 | NAYY 4x150 SE | 8 | 11 | 0.032207 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
11 | LV_1031-50_0_3_line_11 | NAYY 4x150 SE | 8 | 12 | 0.013684 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
12 | LV_1031-50_0_3_line_12 | NAYY 4x150 SE | 8 | 13 | 0.01571 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
13 | LV_1031-50_0_3_line_13 | NAYY 4x150 SE | 10 | 14 | 0.0072802 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
14 | LV_1031-50_0_3_line_14 | NAYY 4x150 SE | 11 | 25 | 0.017695 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
15 | LV_1031-50_0_3_line_15 | NAYY 4x150 SE | 12 | 24 | 0.043228 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
16 | LV_1031-50_0_3_line_16 | NAYY 4x150 SE | 12 | 20 | 0.008845 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
17 | LV_1031-50_0_3_line_17 | NAYY 4x150 SE | 13 | 28 | 0.018671 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
18 | LV_1031-50_0_3_line_18 | NAYY 4x150 SE | 14 | 15 | 0.017558 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
19 | LV_1031-50_0_3_line_19 | NAYY 4x150 SE | 15 | 16 | 0.0028891 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
20 | LV_1031-50_0_3_line_20 | NAYY 4x150 SE | 16 | 50 | 0.00030793 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
21 | LV_1031-50_0_3_line_21 | NAYY 4x150 SE | 17 | 18 | 0.046494 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
22 | LV_1031-50_0_3_line_22 | NAYY 4x150 SE | 17 | 19 | 0.037797 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
23 | LV_1031-50_0_3_line_23 | NAYY 4x150 SE | 19 | 20 | 0.0099512 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
24 | LV_1031-50_0_3_line_24 | NAYY 4x150 SE | 21 | 22 | 0.075636 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
25 | LV_1031-50_0_3_line_25 | NAYY 4x150 SE | 21 | 23 | 0.06565 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
26 | LV_1031-50_0_3_line_26 | NAYY 4x150 SE | 22 | 25 | 0.065252 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
27 | LV_1031-50_0_3_line_27 | NAYY 4x150 SE | 22 | 26 | 0.034619 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
28 | LV_1031-50_0_3_line_28 | NAYY 4x150 SE | 23 | 27 | 0.019678 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
29 | LV_1031-50_0_3_line_29 | NAYY 4x150 SE | 24 | 29 | 0.009868 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
30 | LV_1031-50_0_3_line_30 | NAYY 4x150 SE | 25 | 37 | 0.016072 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
31 | LV_1031-50_0_3_line_31 | NAYY 4x150 SE | 26 | 38 | 0.017394 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
32 | LV_1031-50_0_3_line_32 | NAYY 4x150 SE | 27 | 51 | 0.022117 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
33 | LV_1031-50_0_3_line_33 | NAYY 4x150 SE | 28 | 46 | 0.016748 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
34 | LV_1031-50_0_3_line_34 | NAYY 4x150 SE | 28 | 44 | 0.024194 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
35 | LV_1031-50_0_3_line_35 | NAYY 4x150 SE | 29 | 65 | 0.020759 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
36 | LV_1031-50_0_3_line_36 | NAYY 4x150 SE | 30 | 31 | 0.0092619 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
37 | LV_1031-50_0_3_line_37 | NAYY 4x150 SE | 31 | 32 | 0.032985 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
38 | LV_1031-50_0_3_line_38 | NAYY 4x150 SE | 31 | 33 | 0.011115 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
39 | LV_1031-50_0_3_line_39 | NAYY 4x150 SE | 31 | 34 | 0.016274 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
40 | LV_1031-50_0_3_line_40 | NAYY 4x150 SE | 32 | 35 | 0.00064691 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
41 | LV_1031-50_0_3_line_41 | NAYY 4x150 SE | 33 | 36 | 0.0067406 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
42 | LV_1031-50_0_3_line_42 | NAYY 4x150 SE | 35 | 37 | 1.6289e-05 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
43 | LV_1031-50_0_3_line_43 | NAYY 4x150 SE | 38 | 39 | 0.0095413 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
44 | LV_1031-50_0_3_line_44 | NAYY 4x150 SE | 39 | 40 | 0.01923 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
45 | LV_1031-50_0_3_line_45 | NAYY 4x150 SE | 40 | 41 | 0.010272 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
46 | LV_1031-50_0_3_line_46 | NAYY 4x150 SE | 42 | 43 | 0.017109 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
47 | LV_1031-50_0_3_line_47 | NAYY 4x150 SE | 42 | 44 | 0.015588 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
48 | LV_1031-50_0_3_line_48 | NAYY 4x150 SE | 43 | 45 | 0.0090631 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
49 | LV_1031-50_0_3_line_49 | NAYY 4x150 SE | 47 | 48 | 0.0066016 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
50 | LV_1031-50_0_3_line_50 | NAYY 4x150 SE | 47 | 49 | 0.027743 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
51 | LV_1031-50_0_3_line_51 | NAYY 4x150 SE | 49 | 50 | 0.006342 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
52 | LV_1031-50_0_3_line_52 | NAYY 4x150 SE | 51 | 52 | 0.02033 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
53 | LV_1031-50_0_3_line_53 | NAYY 4x150 SE | 52 | 53 | 0.0037568 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
54 | LV_1031-50_0_3_line_54 | NAYY 4x150 SE | 53 | 54 | 0.022225 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
55 | LV_1031-50_0_3_line_55 | NAYY 4x150 SE | 54 | 55 | 0.040687 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
56 | LV_1031-50_0_3_line_56 | NAYY 4x150 SE | 55 | 59 | 0.03722 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
57 | LV_1031-50_0_3_line_57 | NAYY 4x150 SE | 56 | 57 | 0.096283 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
58 | LV_1031-50_0_3_line_58 | NAYY 4x150 SE | 57 | 58 | 0.0078727 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
59 | LV_1031-50_0_3_line_59 | NAYY 4x150 SE | 58 | 67 | 0.00011861 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
60 | LV_1031-50_0_3_line_60 | NAYY 4x150 SE | 59 | 60 | 0.018743 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
61 | LV_1031-50_0_3_line_61 | NAYY 4x150 SE | 60 | 61 | 0.019408 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
62 | LV_1031-50_0_3_line_62 | NAYY 4x150 SE | 61 | 62 | 0.0064417 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
63 | LV_1031-50_0_3_line_63 | NAYY 4x150 SE | 62 | 63 | 0.0057485 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
64 | LV_1031-50_0_3_line_64 | NAYY 4x150 SE | 63 | 64 | 0.0002535 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
65 | LV_1031-50_0_3_line_65 | NAYY 4x150 SE | 64 | 67 | 0.0058935 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
66 | LV_1031-50_0_3_line_66 | NAYY 4x150 SE | 65 | 66 | 0.010257 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_1031-50_0_3_trafo_61 | 0.25 MVA 20/0.4 kV | 68 | 66 | 0.25 | 20 | 0.4 | 6 | 1.44 | 0.8 | 0.32 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6 | x7 | y7 | x8 | y8 | x9 | y9
0 | 2664762.2431 | 1224927.347 | 2664768.0202 | 1224951.5475
1 | 2664752.9336 | 1224888.349 | 2664762.2431 | 1224927.347
2 | 2664775.717 | 1224983.7994 | 2664768.9876 | 1224955.6001 | 2664768.0202 | 1224951.5475
3 | 2664752.9336 | 1224888.349 | 2664778.0016 | 1224898.942
4 | 2664752.9336 | 1224888.349 | 2664746.3956 | 1224872.5566 | 2664740.9695 | 1224861.85
5 | 2664775.717 | 1224983.7994 | 2664778.8488 | 1224996.9228 | 2664788.291 | 1225020.2088
6 | 2664783.634 | 1224901.3221 | 2664778.0016 | 1224898.942
7 | 2664730.8085 | 1224841.8007 | 2664740.9695 | 1224861.85
8 | 2664788.291 | 1225020.2088 | 2664788.7794 | 1225021.4132 | 2664793.9821 | 1225035.2112
9 | 2664783.634 | 1224901.3221 | 2664794.6378 | 1224905.972
10 | 2664730.8085 | 1224841.8007 | 2664715.6587 | 1224827.2823 | 2664706.6897 | 1224820.5353
11 | 2664730.8085 | 1224841.8007 | 2664732.4105 | 1224840.1949 | 2664739.662 | 1224832.9246 | 2664740.6465 | 1224832.335
12 | 2664730.8085 | 1224841.8007 | 2664729.0271 | 1224846.6511 | 2664727.7968 | 1224857.1224
13 | 2664801.3439 | 1224908.8058 | 2664794.6378 | 1224905.972
14 | 2664692.5487 | 1224809.8978 | 2664706.6897 | 1224820.5353
15 | 2664740.6465 | 1224832.335 | 2664750.5903 | 1224826.3948 | 2664777.6121 | 1224820.8074 | 2664781.6448 | 1224821.1991
16 | 2664740.6465 | 1224832.335 | 2664733.6005 | 1224826.9882
17 | 2664725.6181 | 1224875.666 | 2664727.7968 | 1224857.1224
18 | 2664801.3439 | 1224908.8058 | 2664817.5174 | 1224915.6403
19 | 2664820.1787 | 1224916.7649 | 2664817.5174 | 1224915.6403
20 | 2664820.4623 | 1224916.8848 | 2664820.1787 | 1224916.7649
21 | 2664695.1326 | 1224807.9648 | 2664683.3415 | 1224799.0019 | 2664675.5256 | 1224791.9347 | 2664669.0478 | 1224783.8258 | 2664663.1707 | 1224774.8043
22 | 2664724.7114 | 1224831.4612 | 2664723.2319 | 1224830.1665 | 2664716.729 | 1224824.381 | 2664695.1326 | 1224807.9648
23 | 2664724.7114 | 1224831.4612 | 2664726.9296 | 1224830.3735 | 2664733.6005 | 1224826.9882
24 | 2664640.0031 | 1224697.1437 | 2664635.9795 | 1224696.9221 | 2664637.3697 | 1224714.8153 | 2664636.8375 | 1224721.9363 | 2664635.1043 | 1224727.232 | 2664631.3837 | 1224734.0182 | 2664633.5818 | 1224735.4763 | 2664634.7034 | 1224736.2223 | 2664641.634 | 1224747.3269 | 2664650.0444 | 1224761.0937
25 | 2664640.0031 | 1224697.1437 | 2664643.3372 | 1224697.3245 | 2664701.7328 | 1224719.0635
26 | 2664692.5487 | 1224809.8978 | 2664679.8543 | 1224800.3538 | 2664666.8069 | 1224786.3141 | 2664650.0444 | 1224761.0937
27 | 2664650.0444 | 1224761.0937 | 2664666.5315 | 1224748.1645 | 2664669.9471 | 1224747.8236 | 2664675.5939 | 1224750.7757 | 2664678.7353 | 1224753.0231
28 | 2664719.556 | 1224727.3463 | 2664706.9882 | 1224721.0199 | 2664701.7328 | 1224719.0635
29 | 2664789.9535 | 1224825.8449 | 2664789.9535 | 1224825.8449 | 2664784.5724 | 1224821.4835 | 2664781.6448 | 1224821.1991
30 | 2664692.5487 | 1224809.8978 | 2664683.7561 | 1224823.3513
31 | 2664692.8819 | 1224763.1436 | 2664678.7353 | 1224753.0231
32 | 2664738.491 | 1224738.6775 | 2664728.7053 | 1224731.9518 | 2664719.556 | 1224727.3463
33 | 2664725.6181 | 1224875.666 | 2664724.7765 | 1224892.3898
34 | 2664725.6181 | 1224875.666 | 2664712.8067 | 1224876.1938 | 2664708.8009 | 1224879.23 | 2664706.3583 | 1224885.0864
35 | 2664788.3823 | 1224846.496 | 2664790.1278 | 1224832.1175 | 2664789.9535 | 1224825.8449
36 | 2664665.3477 | 1224851.5179 | 2664663.3971 | 1224858.6791 | 2664662.3482 | 1224860.1906
37 | 2664665.3477 | 1224851.5179 | 2664683.3933 | 1224823.9065
38 | 2664665.3477 | 1224851.5179 | 2664655.9917 | 1224845.518
39 | 2664665.3477 | 1224851.5179 | 2664679.0498 | 1224860.2977
40 | 2664683.7472 | 1224823.3649 | 2664683.3933 | 1224823.9065
41 | 2664650.3176 | 1224841.8793 | 2664655.9917 | 1224845.518
42 | 2664683.7561 | 1224823.3513 | 2664683.7472 | 1224823.3649
43 | 2664692.8819 | 1224763.1436 | 2664700.6419 | 1224768.6951
44 | 2664700.6419 | 1224768.6951 | 2664704.5364 | 1224771.4812 | 2664716.5794 | 1224779.4509
45 | 2664716.5794 | 1224779.4509 | 2664725.1452 | 1224785.1195
46 | 2664696.0727 | 1224915.9779 | 2664699.6628 | 1224907.3042 | 2664701.2358 | 1224899.7449
47 | 2664706.3583 | 1224885.0864 | 2664702.2228 | 1224895.0019 | 2664701.2358 | 1224899.7449
48 | 2664696.0727 | 1224915.9779 | 2664692.6066 | 1224924.3521
49 | 2664858.319 | 1224931.5154 | 2664851.8596 | 1224930.1525 | 2664851.8596 | 1224930.1525
50 | 2664826.3042 | 1224919.3534 | 2664851.8596 | 1224930.1525
51 | 2664826.3042 | 1224919.3534 | 2664820.4623 | 1224916.8848
52 | 2664738.491 | 1224738.6775 | 2664755.2453 | 1224750.1926
53 | 2664758.3414 | 1224752.3205 | 2664755.2453 | 1224750.1926
54 | 2664758.3414 | 1224752.3205 | 2664776.4585 | 1224765.1934
55 | 2664813.6975 | 1224781.5082 | 2664803.9688 | 1224777.433 | 2664777.6171 | 1224766.0167 | 2664776.4585 | 1224765.1934
56 | 2664848.5739 | 1224794.752 | 2664825.8269 | 1224786.5323 | 2664813.6975 | 1224781.5082
57 | 2664873.767 | 1224836.62 | 2664963.1089 | 1224872.5157
58 | 2664873.767 | 1224836.62 | 2664866.5572 | 1224833.4579
59 | 2664866.5572 | 1224833.4579 | 2664866.4485 | 1224833.4102
60 | 2664848.5739 | 1224794.752 | 2664842.243 | 1224812.3938
61 | 2664842.243 | 1224812.3938 | 2664840.1682 | 1224818.1755 | 2664840.6328 | 1224820.76 | 2664842.7011 | 1224822.995 | 2664849.6555 | 1224826.0451
62 | 2664855.5548 | 1224828.6324 | 2664849.6555 | 1224826.0451
63 | 2664860.8192 | 1224830.9413 | 2664855.5548 | 1224828.6324
64 | 2664861.0513 | 1224831.0431 | 2664860.8192 | 1224830.9413
65 | 2664861.0513 | 1224831.0431 | 2664866.4485 | 1224833.4102
66 | 2664787.1461 | 1224856.6786 | 2664788.3823 | 1224846.496

## bus_geodata
| x | y | coords
0 | 2664762.2431 | 1224927.347
1 | 2664768.0202 | 1224951.5475
2 | 2664752.9336 | 1224888.349
3 | 2664775.717 | 1224983.7994
4 | 2664778.0016 | 1224898.942
5 | 2664740.9695 | 1224861.85
6 | 2664788.291 | 1225020.2088
7 | 2664783.634 | 1224901.3221
8 | 2664730.8085 | 1224841.8007
9 | 2664793.9821 | 1225035.2112
10 | 2664794.6378 | 1224905.972
11 | 2664706.6897 | 1224820.5353
12 | 2664740.6465 | 1224832.335
13 | 2664727.7968 | 1224857.1224
14 | 2664801.3439 | 1224908.8058
15 | 2664817.5174 | 1224915.6403
16 | 2664820.1787 | 1224916.7649
17 | 2664695.1326 | 1224807.9648
18 | 2664663.1707 | 1224774.8043
19 | 2664724.7114 | 1224831.4612
20 | 2664733.6005 | 1224826.9882
21 | 2664640.0031 | 1224697.1437
22 | 2664650.0444 | 1224761.0937
23 | 2664701.7328 | 1224719.0635
24 | 2664781.6448 | 1224821.1991
25 | 2664692.5487 | 1224809.8978
26 | 2664678.7353 | 1224753.0231
27 | 2664719.556 | 1224727.3463
28 | 2664725.6181 | 1224875.666
29 | 2664789.9535 | 1224825.8449
30 | 2664662.3482 | 1224860.1906
31 | 2664665.3477 | 1224851.5179
32 | 2664683.3933 | 1224823.9065
33 | 2664655.9917 | 1224845.518
34 | 2664679.0498 | 1224860.2977
35 | 2664683.7472 | 1224823.3649
36 | 2664650.3176 | 1224841.8793
37 | 2664683.7561 | 1224823.3513
38 | 2664692.8819 | 1224763.1436
39 | 2664700.6419 | 1224768.6951
40 | 2664716.5794 | 1224779.4509
41 | 2664725.1452 | 1224785.1195
42 | 2664701.2358 | 1224899.7449
43 | 2664696.0727 | 1224915.9779
44 | 2664706.3583 | 1224885.0864
45 | 2664692.6066 | 1224924.3521
46 | 2664724.7765 | 1224892.3898
47 | 2664851.8596 | 1224930.1525
48 | 2664858.319 | 1224931.5154
49 | 2664826.3042 | 1224919.3534
50 | 2664820.4623 | 1224916.8848
51 | 2664738.491 | 1224738.6775
52 | 2664755.2453 | 1224750.1926
53 | 2664758.3414 | 1224752.3205
54 | 2664776.4585 | 1224765.1934
55 | 2664813.6975 | 1224781.5082
56 | 2664963.1089 | 1224872.5157
57 | 2664873.767 | 1224836.62
58 | 2664866.5572 | 1224833.4579
59 | 2664848.5739 | 1224794.752
60 | 2664842.243 | 1224812.3938
61 | 2664849.6555 | 1224826.0451
62 | 2664855.5548 | 1224828.6324
63 | 2664860.8192 | 1224830.9413
64 | 2664861.0513 | 1224831.0431
65 | 2664788.3823 | 1224846.496
66 | 2664787.1461 | 1224856.6786
67 | 2664866.4485 | 1224833.4102
68 | 2664740.6465 | 1224832.335

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## res_bus
| vm_pu | va_degree | p_mw | q_mvar
0 | 0.98069 | -0.13526 | 0.017115 | 0.0042895
1 | 0.97984 | -0.14131 | 0.0079665 | 0.0019966
2 | 0.98306 | -0.11843 | 0 | 0
3 | 0.9791 | -0.14664 | 0.0079746 | 0.0019986
4 | 0.98126 | -0.13117 | 0.0024664 | 0.00061813
5 | 0.98669 | -0.092742 | 0.0081579 | 0.0020446
6 | 0.97868 | -0.14965 | 0.005339 | 0.0013381
7 | 0.98088 | -0.13389 | 0.0096309 | 0.0024137
8 | 0.98976 | -0.071158 | 0 | 0
9 | 0.97863 | -0.15 | 0.0021326 | 0.00053448
10 | 0.98031 | -0.138 | 0.0021342 | 0.00053488
11 | 0.98859 | -0.079355 | 0.0012836 | 0.00032171
12 | 0.99111 | -0.061705 | 0 | 0
13 | 0.98897 | -0.076742 | 0.0028263 | 0.00070834
14 | 0.97998 | -0.14034 | 0.0024711 | 0.0006193
15 | 0.97925 | -0.14556 | 0.001534 | 0.00038445
16 | 0.97913 | -0.14637 | 0.0068261 | 0.0017108
17 | 0.99067 | -0.064772 | 0.0025461 | 0.00063812
18 | 0.99052 | -0.065883 | 0.0023474 | 0.0005883
19 | 0.99094 | -0.06289 | 0 | 0
20 | 0.99101 | -0.062394 | 0.002759 | 0.00069147
21 | 0.98409 | -0.111 | 0 | 0
22 | 0.98593 | -0.098031 | 0 | 0
23 | 0.98249 | -0.1223 | 0.0039291 | 0.00098473
24 | 0.99553 | -0.0309 | 0.0072342 | 0.0018131
25 | 0.98796 | -0.083789 | 0 | 0
26 | 0.98524 | -0.10296 | 0.0031137 | 0.00078037
27 | 0.98205 | -0.12542 | 0.0013714 | 0.00034371
28 | 0.9881 | -0.082849 | 0 | 0
29 | 0.99657 | -0.023667 | 0.0073361 | 0.0018386
30 | 0.98742 | -0.087593 | 0.0015954 | 0.00039984
31 | 0.98744 | -0.087442 | 0 | 0
32 | 0.98773 | -0.085423 | 0.0012824 | 0.00032139
33 | 0.9874 | -0.087759 | 0.0014403 | 0.00036097
34 | 0.98741 | -0.087708 | 0.0015958 | 0.00039994
35 | 0.98773 | -0.085375 | 0.0011876 | 0.00029765
36 | 0.98739 | -0.087852 | 0.0013451 | 0.00033713
37 | 0.98773 | -0.085373 | 0.0011876 | 0.00029765
38 | 0.98497 | -0.10489 | 0.0028648 | 0.000718
39 | 0.98486 | -0.10566 | 0.0020188 | 0.00050595
40 | 0.9847 | -0.10682 | 0.0023066 | 0.0005781
41 | 0.98464 | -0.1072 | 0.0035546 | 0.00089086
42 | 0.98657 | -0.093729 | 0.0074592 | 0.0018695
43 | 0.98612 | -0.096875 | 0.0098443 | 0.0024672
44 | 0.98714 | -0.089674 | 0.0021775 | 0.00054574
45 | 0.98602 | -0.097627 | 0.0080803 | 0.0020251
46 | 0.988 | -0.083613 | 0.0044598 | 0.0011177
47 | 0.97834 | -0.15207 | 0.0081049 | 0.0020313
48 | 0.97827 | -0.15257 | 0.0072899 | 0.001827
49 | 0.97896 | -0.14762 | 0.002575 | 0.00064536
50 | 0.97913 | -0.14643 | 0.002217 | 0.00055562
51 | 0.98133 | -0.13054 | 0.0017315 | 0.00043394
52 | 0.98005 | -0.1396 | 0.0023551 | 0.00059024
53 | 0.97982 | -0.14119 | 0 | 0
54 | 0.9785 | -0.15058 | 0.0048728 | 0.0012212
55 | 0.97637 | -0.16576 | 0 | 0
56 | 0.97134 | -0.20191 | 0.0021716 | 0.00054425
57 | 0.97165 | -0.19969 | 0.01847 | 0.0046289
58 | 0.97188 | -0.19797 | 0.0015451 | 0.00038724
59 | 0.97443 | -0.1797 | 0 | 0
60 | 0.97344 | -0.18674 | 0.0058059 | 0.0014551
61 | 0.97259 | -0.19286 | 0.0016575 | 0.00041542
62 | 0.97233 | -0.19478 | 0.0015371 | 0.00038522
63 | 0.9721 | -0.1964 | 0.0015419 | 0.00038644
64 | 0.97209 | -0.19647 | 0.0014585 | 0.00036554
65 | 0.99884 | -0.0079914 | 0.0079753 | 0.0019988
66 | 1 | 0 | -0.23854 | -0.060097
67 | 0.97189 | -0.19795 | 0.0015082 | 0.00037799
68 | 0.99998 | 149.9947 | 0 | 0

## res_line
| p_from_mw | q_from_mvar | p_to_mw | q_to_mvar | pl_mw | ql_mvar | i_from_ka | i_to_ka | i_ka | vm_from_pu | va_from_degree | vm_to_pu | va_to_degree | loading_percent
0 | 0.023447 | 0.0058795 | -0.023427 | -0.0058723 | 1.9651e-05 | 7.2446e-06 | 0.035577 | 0.035578 | 0.035578 | 0.98069 | -0.13526 | 0.97984 | -0.14131 | 13.1769
1 | -0.040562 | -0.010169 | 0.040657 | 0.010205 | 9.4769e-05 | 3.5943e-05 | 0.061546 | 0.061546 | 0.061546 | 0.98069 | -0.13526 | 0.98306 | -0.11843 | 22.795
2 | 0.015461 | 0.0038757 | -0.015449 | -0.0038717 | 1.1406e-05 | 3.9697e-06 | 0.023479 | 0.02348 | 0.02348 | 0.97984 | -0.14131 | 0.9791 | -0.14664 | 8.6961
3 | 0.045412 | 0.011401 | -0.045331 | -0.011371 | 8.0254e-05 | 3.0522e-05 | 0.068745 | 0.068745 | 0.068745 | 0.98306 | -0.11843 | 0.98126 | -0.13117 | 25.4611
4 | -0.086068 | -0.021606 | 0.086377 | 0.021725 | 0.0003082 | 0.00011817 | 0.13029 | 0.13029 | 0.13029 | 0.98306 | -0.11843 | 0.98669 | -0.092742 | 48.256
5 | 0.0074748 | 0.0018731 | -0.0074717 | -0.0018724 | 3.1099e-06 | 7.1064e-07 | 0.01136 | 0.01136 | 0.01136 | 0.9791 | -0.14664 | 0.97868 | -0.14965 | 4.2075
6 | 0.042865 | 0.010753 | -0.042849 | -0.010747 | 1.6123e-05 | 6.124e-06 | 0.065005 | 0.065005 | 0.065005 | 0.98126 | -0.13117 | 0.98088 | -0.13389 | 24.076
7 | -0.094534 | -0.023769 | 0.09482 | 0.023879 | 0.00028519 | 0.0001094 | 0.14259 | 0.14259 | 0.14259 | 0.98669 | -0.092742 | 0.98976 | -0.071158 | 52.8126
8 | 0.0021327 | 0.00053432 | -0.0021326 | -0.00053448 | 1.0528e-07 | -1.6113e-07 | 0.0032426 | 0.0032426 | 0.0032426 | 0.97868 | -0.14965 | 0.97863 | -0.15 | 1.201
9 | 0.033218 | 0.008333 | -0.033199 | -0.0083259 | 1.8931e-05 | 7.1305e-06 | 0.050395 | 0.050395 | 0.050395 | 0.98088 | -0.13389 | 0.98031 | -0.138 | 18.6648
10 | 0.075581 | 0.019039 | -0.075494 | -0.019007 | 8.6548e-05 | 3.2047e-05 | 0.11366 | 0.11366 | 0.11366 | 0.98976 | -0.071158 | 0.98859 | -0.079355 | 14.0326
11 | -0.20535 | -0.05169 | 0.20562 | 0.051794 | 0.00027143 | 0.00010387 | 0.30881 | 0.30881 | 0.30881 | 0.98976 | -0.071158 | 0.99111 | -0.061705 | 38.1245
12 | 0.034951 | 0.008772 | -0.034924 | -0.0087618 | 2.7073e-05 | 1.0211e-05 | 0.052551 | 0.052551 | 0.052551 | 0.98976 | -0.071158 | 0.98897 | -0.076742 | 19.4632
13 | 0.031065 | 0.007791 | -0.031055 | -0.0077872 | 1.0102e-05 | 3.7935e-06 | 0.047155 | 0.047155 | 0.047155 | 0.98031 | -0.138 | 0.97998 | -0.14034 | 17.465
14 | 0.074211 | 0.018685 | -0.074165 | -0.018668 | 4.5949e-05 | 1.6993e-05 | 0.11173 | 0.11173 | 0.11173 | 0.98859 | -0.079355 | 0.98796 | -0.083789 | 13.7941
15 | -0.21328 | -0.053711 | 0.2142 | 0.054064 | 0.00092245 | 0.00035311 | 0.3203 | 0.3203 | 0.3203 | 0.99111 | -0.061705 | 0.99553 | -0.0309 | 39.5433
16 | 0.0076552 | 0.0019176 | -0.0076545 | -0.0019174 | 7.2903e-07 | 1.6642e-07 | 0.011493 | 0.011493 | 0.011493 | 0.99111 | -0.061705 | 0.99101 | -0.062394 | 4.2567
17 | 0.032098 | 0.0080535 | -0.032071 | -0.0080432 | 2.7178e-05 | 1.0214e-05 | 0.048298 | 0.048298 | 0.048298 | 0.98897 | -0.076742 | 0.9881 | -0.082849 | 17.8882
18 | 0.028584 | 0.0071679 | -0.028563 | -0.0071602 | 2.064e-05 | 7.7175e-06 | 0.043403 | 0.043403 | 0.043403 | 0.97998 | -0.14034 | 0.97925 | -0.14556 | 16.0753
19 | 0.027029 | 0.0067757 | -0.027026 | -0.0067746 | 3.0413e-06 | 1.1334e-06 | 0.041072 | 0.041072 | 0.041072 | 0.97925 | -0.14556 | 0.97913 | -0.14637 | 15.212
20 | 0.0202 | 0.0050638 | -0.0202 | -0.0050638 | 1.8109e-07 | 6.5775e-08 | 0.030699 | 0.030699 | 0.030699 | 0.97913 | -0.14637 | 0.97913 | -0.14643 | 11.3699
21 | 0.0023477 | 0.00058784 | -0.0023474 | -0.0005883 | 3.6075e-07 | -4.598e-07 | 0.0035261 | 0.0035263 | 0.0035263 | 0.99067 | -0.064772 | 0.99052 | -0.065883 | 1.3061
22 | -0.0048939 | -0.001226 | 0.0048951 | 0.001226 | 1.2743e-06 | 3.3116e-09 | 0.0073505 | 0.0073503 | 0.0073505 | 0.99067 | -0.064772 | 0.99094 | -0.06289 | 2.7224
23 | -0.0048951 | -0.001226 | 0.0048955 | 0.001226 | 3.3548e-07 | 8.2455e-10 | 0.0073503 | 0.0073503 | 0.0073503 | 0.99094 | -0.06289 | 0.99101 | -0.062394 | 2.7223
24 | -0.050434 | -0.012697 | 0.050525 | 0.012729 | 9.154e-05 | 3.2319e-05 | 0.07628 | 0.076279 | 0.07628 | 0.98409 | -0.111 | 0.98593 | -0.098031 | 9.4173
25 | 0.050434 | 0.012697 | -0.050354 | -0.012669 | 7.9455e-05 | 2.8062e-05 | 0.07628 | 0.076281 | 0.076281 | 0.98409 | -0.111 | 0.98249 | -0.1223 | 9.4174
26 | -0.064398 | -0.016207 | 0.064526 | 0.016253 | 0.00012827 | 4.6834e-05 | 0.097217 | 0.097216 | 0.097217 | 0.98593 | -0.098031 | 0.98796 | -0.083789 | 12.0021
27 | 0.013873 | 0.0034776 | -0.013863 | -0.0034744 | 9.4703e-06 | 3.2013e-06 | 0.020938 | 0.020938 | 0.020938 | 0.98593 | -0.098031 | 0.98524 | -0.10296 | 7.7548
28 | 0.046425 | 0.011684 | -0.046405 | -0.011677 | 2.0246e-05 | 7.0395e-06 | 0.07033 | 0.07033 | 0.07033 | 0.98249 | -0.1223 | 0.98205 | -0.12542 | 8.6828
29 | -0.22144 | -0.055877 | 0.22166 | 0.055964 | 0.00022503 | 8.6165e-05 | 0.33111 | 0.33111 | 0.33111 | 0.99553 | -0.0309 | 0.99657 | -0.023667 | 40.8782
30 | 0.0096383 | 0.0024149 | -0.0096362 | -0.0024143 | 2.1134e-06 | 6.0708e-07 | 0.014516 | 0.014517 | 0.014517 | 0.98796 | -0.083789 | 0.98773 | -0.085373 | 5.3765
31 | 0.01075 | 0.002694 | -0.010747 | -0.0026932 | 2.8609e-06 | 8.789e-07 | 0.016235 | 0.016235 | 0.016235 | 0.98524 | -0.10296 | 0.98497 | -0.10489 | 6.0131
32 | 0.045034 | 0.011333 | -0.045001 | -0.011321 | 3.2145e-05 | 1.1804e-05 | 0.068252 | 0.068253 | 0.068253 | 0.98205 | -0.12542 | 0.98133 | -0.13054 | 12.6394
33 | 0.0044603 | 0.0011177 | -0.0044598 | -0.0011177 | 4.715e-07 | -3.3154e-08 | 0.0067169 | 0.0067169 | 0.0067169 | 0.9881 | -0.082849 | 0.988 | -0.083613 | 2.4878
34 | 0.02761 | 0.0069255 | -0.027584 | -0.0069158 | 2.6103e-05 | 9.7301e-06 | 0.041581 | 0.041581 | 0.041581 | 0.9881 | -0.082849 | 0.98714 | -0.089674 | 15.4005
35 | -0.229 | -0.057802 | 0.2295 | 0.057996 | 0.00050523 | 0.00019351 | 0.34207 | 0.34207 | 0.34207 | 0.99657 | -0.023667 | 0.99884 | -0.0079914 | 42.2305
36 | -0.0015954 | -0.00039984 | 0.0015954 | 0.00039973 | 3.3405e-08 | -1.0563e-07 | 0.0024042 | 0.0024041 | 0.0024042 | 0.98742 | -0.087593 | 0.98744 | -0.087442 | 0.89044
37 | -0.0059768 | -0.0014974 | 0.0059785 | 0.0014976 | 1.6696e-06 | 2.2009e-07 | 0.0090065 | 0.0090064 | 0.0090065 | 0.98744 | -0.087442 | 0.98773 | -0.085423 | 3.3357
38 | 0.0027856 | 0.00069792 | -0.0027855 | -0.00069802 | 1.222e-07 | -9.5167e-08 | 0.0041976 | 0.0041977 | 0.0041977 | 0.98744 | -0.087442 | 0.9874 | -0.087759 | 1.5547
39 | 0.0015958 | 0.00039975 | -0.0015958 | -0.00039994 | 5.8725e-08 | -1.8558e-07 | 0.0024048 | 0.0024048 | 0.0024048 | 0.98744 | -0.087442 | 0.98741 | -0.087708 | 0.89068
40 | -0.0072609 | -0.001819 | 0.0072609 | 0.001819 | 4.8298e-08 | 1.0296e-08 | 0.010938 | 0.010938 | 0.010938 | 0.98773 | -0.085423 | 0.98773 | -0.085375 | 4.0512
41 | 0.0013452 | 0.00033705 | -0.0013451 | -0.00033713 | 1.7285e-08 | -7.9568e-08 | 0.0020271 | 0.0020272 | 0.0020272 | 0.9874 | -0.087759 | 0.98739 | -0.087852 | 0.75081
42 | -0.0084485 | -0.0021167 | 0.0084485 | 0.0021167 | 1.6462e-09 | 4.2486e-10 | 0.012727 | 0.012727 | 0.012727 | 0.98773 | -0.085375 | 0.98773 | -0.085373 | 4.7139
43 | 0.0078819 | 0.0019752 | -0.0078811 | -0.001975 | 8.4416e-07 | 2.0325e-07 | 0.011907 | 0.011907 | 0.011907 | 0.98497 | -0.10489 | 0.98486 | -0.10566 | 4.4101
44 | 0.0058623 | 0.001469 | -0.0058614 | -0.0014689 | 9.4137e-07 | 1.1741e-07 | 0.0088573 | 0.0088573 | 0.0088573 | 0.98486 | -0.10566 | 0.9847 | -0.10682 | 3.2805
45 | 0.0035547 | 0.0008908 | -0.0035546 | -0.00089086 | 1.8495e-07 | -5.9522e-08 | 0.0053717 | 0.0053717 | 0.0053717 | 0.9847 | -0.10682 | 0.98464 | -0.1072 | 1.9895
46 | 0.017933 | 0.0044953 | -0.017925 | -0.0044925 | 7.8107e-06 | 2.7857e-06 | 0.027049 | 0.027049 | 0.027049 | 0.98657 | -0.093729 | 0.98612 | -0.096875 | 10.018
47 | -0.025392 | -0.0063648 | 0.025407 | 0.0063701 | 1.4268e-05 | 5.2883e-06 | 0.038299 | 0.038299 | 0.038299 | 0.98657 | -0.093729 | 0.98714 | -0.089674 | 14.1848
48 | 0.0080811 | 0.0020253 | -0.0080803 | -0.0020251 | 8.4093e-07 | 2.0782e-07 | 0.012194 | 0.012194 | 0.012194 | 0.98612 | -0.096875 | 0.98602 | -0.097627 | 4.5163
49 | 0.0072904 | 0.0018271 | -0.0072899 | -0.001827 | 5.065e-07 | 1.1192e-07 | 0.011088 | 0.011088 | 0.011088 | 0.97834 | -0.15207 | 0.97827 | -0.15257 | 4.1068
50 | -0.015395 | -0.0038584 | 0.015405 | 0.0038617 | 9.492e-06 | 3.3022e-06 | 0.023416 | 0.023416 | 0.023416 | 0.97834 | -0.15207 | 0.97896 | -0.14762 | 8.6725
51 | -0.01798 | -0.0045071 | 0.017983 | 0.0045081 | 2.9558e-06 | 1.0571e-06 | 0.02733 | 0.02733 | 0.02733 | 0.97896 | -0.14762 | 0.97913 | -0.14643 | 10.1221
52 | 0.04327 | 0.010887 | -0.043215 | -0.010867 | 5.4637e-05 | 2.0758e-05 | 0.065627 | 0.065627 | 0.065627 | 0.98133 | -0.13054 | 0.98005 | -0.1396 | 24.3064
53 | 0.04086 | 0.010276 | -0.040851 | -0.010273 | 9.0264e-06 | 3.4243e-06 | 0.062051 | 0.062052 | 0.062052 | 0.98005 | -0.1396 | 0.97982 | -0.14119 | 22.982
54 | 0.040851 | 0.010273 | -0.040798 | -0.010253 | 5.3398e-05 | 2.0258e-05 | 0.062052 | 0.062052 | 0.062052 | 0.97982 | -0.14119 | 0.9785 | -0.15058 | 22.9821
55 | 0.035925 | 0.0090315 | -0.035849 | -0.0090028 | 7.5804e-05 | 2.8645e-05 | 0.054642 | 0.054642 | 0.054642 | 0.9785 | -0.15058 | 0.97637 | -0.16576 | 20.2377
56 | 0.035849 | 0.0090028 | -0.03578 | -0.0089766 | 6.9344e-05 | 2.6206e-05 | 0.054642 | 0.054642 | 0.054642 | 0.97637 | -0.16576 | 0.97443 | -0.1797 | 20.2377
57 | -0.0021716 | -0.00054425 | 0.0021722 | 0.00054331 | 6.6482e-07 | -9.3648e-07 | 0.0033267 | 0.0033263 | 0.0033267 | 0.97134 | -0.20191 | 0.97165 | -0.19969 | 1.2321
58 | -0.020642 | -0.0051722 | 0.020647 | 0.005174 | 4.909e-06 | 1.7905e-06 | 0.031611 | 0.031611 | 0.031611 | 0.97165 | -0.19969 | 0.97188 | -0.19797 | 11.7079
59 | -0.022192 | -0.0055613 | 0.022192 | 0.0055613 | 8.5441e-08 | 3.1392e-08 | 0.033977 | 0.033977 | 0.033977 | 0.97188 | -0.19797 | 0.97189 | -0.19795 | 12.5841
60 | 0.03578 | 0.0089766 | -0.035745 | -0.0089634 | 3.4921e-05 | 1.3198e-05 | 0.054642 | 0.054642 | 0.054642 | 0.97443 | -0.1797 | 0.97344 | -0.18674 | 20.2378
61 | 0.029939 | 0.0075083 | -0.029914 | -0.0074988 | 2.5367e-05 | 9.5154e-06 | 0.045767 | 0.045767 | 0.045767 | 0.97344 | -0.18674 | 0.97259 | -0.19286 | 16.9508
62 | 0.028256 | 0.0070834 | -0.028249 | -0.0070806 | 7.5124e-06 | 2.8095e-06 | 0.043231 | 0.043231 | 0.043231 | 0.97259 | -0.19286 | 0.97233 | -0.19478 | 16.0115
63 | 0.026712 | 0.0066954 | -0.026706 | -0.0066931 | 5.9943e-06 | 2.2342e-06 | 0.040879 | 0.040879 | 0.040879 | 0.97233 | -0.19478 | 0.9721 | -0.1964 | 15.1403
64 | 0.025164 | 0.0063067 | -0.025164 | -0.0063066 | 2.347e-07 | 8.7126e-08 | 0.038519 | 0.038519 | 0.038519 | 0.9721 | -0.1964 | 0.97209 | -0.19647 | 14.2662
65 | 0.023705 | 0.0059411 | -0.0237 | -0.0059393 | 4.8421e-06 | 1.7893e-06 | 0.036286 | 0.036286 | 0.036286 | 0.97209 | -0.19647 | 0.97189 | -0.19795 | 13.4393
66 | -0.23748 | -0.059994 | 0.23774 | 0.060097 | 0.00026729 | 0.0001024 | 0.35395 | 0.35395 | 0.35395 | 0.99884 | -0.0079914 | 1 | 0 | 43.6973

## res_trafo
| p_hv_mw | q_hv_mvar | p_lv_mw | q_lv_mvar | pl_mw | ql_mvar | i_hv_ka | i_lv_ka | vm_hv_pu | va_hv_degree | vm_lv_pu | va_lv_degree | loading_percent
0 | 2.5187e-16 | 8.8016e-16 | 0.00079998 | 7.4552e-08 | 0.00079998 | 7.4552e-08 | 2.6429e-17 | 0.0011547 | 0.99998 | 149.9947 | 1 | 0 | 0.31999

## res_ext_grid
| p_mw | q_mvar
0 | 0.24002 | 0.060467

## res_load
| p_mw | q_mvar
0 | 0.017115 | 0.0042895
1 | 0.0079665 | 0.0019966
2 | 0.0079746 | 0.0019986
3 | 0.0024664 | 0.00061813
4 | 0.0081579 | 0.0020446
5 | 0.005339 | 0.0013381
6 | 0.0096309 | 0.0024137
7 | 0.0021326 | 0.00053448
8 | 0.0021342 | 0.00053488
9 | 0.0012836 | 0.00032171
10 | 0.0028263 | 0.00070834
11 | 0.0024711 | 0.0006193
12 | 0.001534 | 0.00038445
13 | 0.0068261 | 0.0017108
14 | 0.0025461 | 0.00063812
15 | 0.0023474 | 0.0005883
16 | 0.002759 | 0.00069147
17 | 0.0039291 | 0.00098473
18 | 0.0072342 | 0.0018131
19 | 0.0031137 | 0.00078037
20 | 0.0013714 | 0.00034371
21 | 0.0073361 | 0.0018386
22 | 0.0015954 | 0.00039984
23 | 0.0012824 | 0.00032139
24 | 0.0014403 | 0.00036097
25 | 0.0015958 | 0.00039994
26 | 0.0011876 | 0.00029765
27 | 0.0013451 | 0.00033713
28 | 0.0011876 | 0.00029765
29 | 0.0028648 | 0.000718
30 | 0.0020188 | 0.00050595
31 | 0.0023066 | 0.0005781
32 | 0.0035546 | 0.00089086
33 | 0.0074592 | 0.0018695
34 | 0.0098443 | 0.0024672
35 | 0.0021775 | 0.00054574
36 | 0.0080803 | 0.0020251
37 | 0.0044598 | 0.0011177
38 | 0.0081049 | 0.0020313
39 | 0.0072899 | 0.001827
40 | 0.002575 | 0.00064536
41 | 0.002217 | 0.00055562
42 | 0.0017315 | 0.00043394
43 | 0.0023551 | 0.00059024
44 | 0.0048728 | 0.0012212
45 | 0.0021716 | 0.00054425
46 | 0.01847 | 0.0046289
47 | 0.0015451 | 0.00038724
48 | 0.0058059 | 0.0014551
49 | 0.0016575 | 0.00041542
50 | 0.0015371 | 0.00038522
51 | 0.0015419 | 0.00038644
52 | 0.0014585 | 0.00036554
53 | 0.0079753 | 0.0019988
54 | 0.0014778 | 0.00037037
55 | 0.0015082 | 0.00037799

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object
62 | res_bus | vm_pu | float64
63 | res_bus | va_degree | float64
64 | res_bus | p_mw | float64
65 | res_bus | q_mvar | float64
66 | res_line | p_from_mw | float64
67 | res_line | q_from_mvar | float64
68 | res_line | p_to_mw | float64
69 | res_line | q_to_mvar | float64
70 | res_line | pl_mw | float64
71 | res_line | ql_mvar | float64
72 | res_line | i_from_ka | float64
73 | res_line | i_to_ka | float64
74 | res_line | i_ka | float64
75 | res_line | vm_from_pu | float64
76 | res_line | va_from_degree | float64
77 | res_line | vm_to_pu | float64
78 | res_line | va_to_degree | float64
79 | res_line | loading_percent | float64
80 | res_trafo | p_hv_mw | float64
81 | res_trafo | q_hv_mvar | float64
82 | res_trafo | p_lv_mw | float64
83 | res_trafo | q_lv_mvar | float64
84 | res_trafo | pl_mw | float64
85 | res_trafo | ql_mvar | float64
86 | res_trafo | i_hv_ka | float64
87 | res_trafo | i_lv_ka | float64
88 | res_trafo | vm_hv_pu | float64
89 | res_trafo | va_hv_degree | float64
90 | res_trafo | vm_lv_pu | float64
91 | res_trafo | va_lv_degree | float64
92 | res_trafo | loading_percent | float64
93 | res_ext_grid | p_mw | float64
94 | res_ext_grid | q_mvar | float64
95 | res_load | p_mw | float64
96 | res_load | q_mvar | float64

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | TRUE | FALSE |  | 50 | 1