## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_1031-53_0_4_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_1031-53_0_4_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_1031-53_0_4_node_2 | 0.4 | n |  | TRUE
3 | bus_LV_1031-53_0_4_node_3 | 0.4 | n |  | TRUE
4 | bus_LV_1031-53_0_4_node_4 | 0.4 | n |  | TRUE
5 | bus_LV_1031-53_0_4_node_53 | 0.4 | n |  | TRUE
6 | bus_LV_1031-53_0_4_node_54 | 0.4 | n |  | TRUE
7 | bus_LV_1031-53_0_4_node_34 | 0.4 | n |  | TRUE
8 | bus_LV_1031-53_0_4_node_31 | 0.4 | n |  | TRUE
9 | bus_LV_1031-53_0_4_node_69 | 0.4 | n |  | TRUE
10 | bus_LV_1031-53_0_4_node_55 | 0.4 | n |  | TRUE
11 | bus_LV_1031-53_0_4_node_66 | 0.4 | n |  | TRUE
12 | bus_LV_1031-53_0_4_node_38 | 0.4 | n |  | TRUE
13 | bus_LV_1031-53_0_4_node_5 | 0.4 | n |  | TRUE
14 | bus_LV_1031-53_0_4_node_6 | 0.4 | n |  | TRUE
15 | bus_LV_1031-53_0_4_node_7 | 0.4 | n |  | TRUE
16 | bus_LV_1031-53_0_4_node_8 | 0.4 | n |  | TRUE
17 | bus_LV_1031-53_0_4_node_9 | 0.4 | n |  | TRUE
18 | bus_LV_1031-53_0_4_node_36 | 0.4 | n |  | TRUE
19 | bus_LV_1031-53_0_4_node_75 | 0.4 | n |  | TRUE
20 | bus_LV_1031-53_0_4_node_50 | 0.4 | n |  | TRUE
21 | bus_LV_1031-53_0_4_node_72 | 0.4 | n |  | TRUE
22 | bus_LV_1031-53_0_4_node_73 | 0.4 | n |  | TRUE
23 | bus_LV_1031-53_0_4_node_74 | 0.4 | n |  | TRUE
24 | bus_LV_1031-53_0_4_node_10 | 0.4 | n |  | TRUE
25 | bus_LV_1031-53_0_4_node_11 | 0.4 | n |  | TRUE
26 | bus_LV_1031-53_0_4_node_12 | 0.4 | n |  | TRUE
27 | bus_LV_1031-53_0_4_node_13 | 0.4 | n |  | TRUE
28 | bus_LV_1031-53_0_4_node_14 | 0.4 | n |  | TRUE
29 | bus_LV_1031-53_0_4_node_35 | 0.4 | n |  | TRUE
30 | bus_LV_1031-53_0_4_node_40 | 0.4 | n |  | TRUE
31 | bus_LV_1031-53_0_4_node_41 | 0.4 | n |  | TRUE
32 | bus_LV_1031-53_0_4_node_15 | 0.4 | n |  | TRUE
33 | bus_LV_1031-53_0_4_node_16 | 0.4 | n |  | TRUE
34 | bus_LV_1031-53_0_4_node_17 | 0.4 | n |  | TRUE
35 | bus_LV_1031-53_0_4_node_18 | 0.4 | n |  | TRUE
36 | bus_LV_1031-53_0_4_node_19 | 0.4 | n |  | TRUE
37 | bus_LV_1031-53_0_4_node_25 | 0.4 | n |  | TRUE
38 | bus_LV_1031-53_0_4_node_77 | 0.4 | n |  | TRUE
39 | bus_LV_1031-53_0_4_node_79 | 0.4 | n |  | TRUE
40 | bus_LV_1031-53_0_4_node_80 | 0.4 | n |  | TRUE
41 | bus_LV_1031-53_0_4_node_81 | 0.4 | n |  | TRUE
42 | bus_LV_1031-53_0_4_node_76 | 0.4 | n |  | TRUE
43 | bus_LV_1031-53_0_4_node_78 | 0.4 | n |  | TRUE
44 | bus_LV_1031-53_0_4_node_22 | 0.4 | n |  | TRUE
45 | bus_LV_1031-53_0_4_node_29 | 0.4 | n |  | TRUE
46 | bus_LV_1031-53_0_4_node_20 | 0.4 | n |  | TRUE
47 | bus_LV_1031-53_0_4_node_21 | 0.4 | n |  | TRUE
48 | bus_LV_1031-53_0_4_node_57 | 0.4 | n |  | TRUE
49 | bus_LV_1031-53_0_4_node_24 | 0.4 | n |  | TRUE
50 | bus_LV_1031-53_0_4_node_84 | 0.4 | n |  | TRUE
51 | bus_LV_1031-53_0_4_node_85 | 0.4 | n |  | TRUE
52 | bus_LV_1031-53_0_4_node_82 | 0.4 | n |  | TRUE
53 | bus_LV_1031-53_0_4_node_83 | 0.4 | n |  | TRUE
54 | bus_LV_1031-53_0_4_node_26 | 0.4 | n |  | TRUE
55 | bus_LV_1031-53_0_4_node_27 | 0.4 | n |  | TRUE
56 | bus_LV_1031-53_0_4_node_28 | 0.4 | n |  | TRUE
57 | bus_LV_1031-53_0_4_node_30 | 0.4 | n |  | TRUE
58 | bus_LV_1031-53_0_4_node_33 | 0.4 | n |  | TRUE
59 | bus_LV_1031-53_0_4_node_32 | 0.4 | n |  | TRUE
60 | bus_LV_1031-53_0_4_node_56 | 0.4 | n |  | TRUE
61 | bus_LV_1031-53_0_4_node_48 | 0.4 | n |  | TRUE
62 | bus_LV_1031-53_0_4_node_52 | 0.4 | n |  | TRUE
63 | bus_LV_1031-53_0_4_node_47 | 0.4 | n |  | TRUE
64 | bus_LV_1031-53_0_4_node_37 | 0.4 | n |  | TRUE
65 | bus_LV_1031-53_0_4_node_51 | 0.4 | n |  | TRUE
66 | bus_LV_1031-53_0_4_node_39 | 0.4 | n |  | TRUE
67 | bus_LV_1031-53_0_4_node_62 | 0.4 | n |  | TRUE
68 | bus_LV_1031-53_0_4_node_60 | 0.4 | n |  | TRUE
69 | bus_LV_1031-53_0_4_node_59 | 0.4 | n |  | TRUE
70 | bus_LV_1031-53_0_4_node_71 | 0.4 | n |  | TRUE
71 | bus_LV_1031-53_0_4_node_63 | 0.4 | n |  | TRUE
72 | bus_LV_1031-53_0_4_node_61 | 0.4 | n |  | TRUE
73 | bus_LV_1031-53_0_4_node_42 | 0.4 | n |  | TRUE
74 | bus_LV_1031-53_0_4_node_43 | 0.4 | n |  | TRUE
75 | bus_LV_1031-53_0_4_node_44 | 0.4 | n |  | TRUE
76 | bus_LV_1031-53_0_4_node_45 | 0.4 | n |  | TRUE
77 | bus_LV_1031-53_0_4_node_46 | 0.4 | n |  | TRUE
78 | bus_LV_1031-53_0_4_node_49 | 0.4 | n |  | TRUE
79 | bus_LV_1031-53_0_4_node_70 | 0.4 | n |  | TRUE
80 | bus_LV_1031-53_0_4_node_64 | 0.4 | n |  | TRUE
81 | bus_LV_1031-53_0_4_node_65 | 0.4 | n |  | TRUE
82 | bus_LV_1031-53_0_4_node_68 | 0.4 | n |  | TRUE
83 | bus_MV_353_1_node_281 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_1031-53_0_4_load_0 | 0 | 0.054935 | 0.013768 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_1031-53_0_4_load_1 | 1 | 0.0038689 | 0.00096963 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_1031-53_0_4_load_2 | 2 | 0.0029491 | 0.00073912 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_1031-53_0_4_load_53 | 5 | 0.0020199 | 0.00050624 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_1031-53_0_4_load_69 | 9 | 0.00070582 | 0.0001769 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_1031-53_0_4_load_66 | 11 | 0.0040954 | 0.0010264 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_1031-53_0_4_load_38 | 12 | 0.002537 | 0.00063584 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_1031-53_0_4_load_5 | 13 | 0.0015635 | 0.00039186 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_1031-53_0_4_load_6 | 14 | 0.0023355 | 0.00058534 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_1031-53_0_4_load_7 | 15 | 0.0015628 | 0.00039168 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_1031-53_0_4_load_8 | 16 | 0.0016033 | 0.00040182 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_1031-53_0_4_load_9 | 17 | 0.0021492 | 0.00053863 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_1031-53_0_4_load_36 | 18 | 0.0016029 | 0.00040173 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_1031-53_0_4_load_75 | 19 | 0.0059994 | 0.0015036 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_1031-53_0_4_load_72 | 21 | 0.0060466 | 0.0015154 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_1031-53_0_4_load_10 | 24 | 0.00082112 | 0.00020579 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_1031-53_0_4_load_11 | 25 | 0.0013597 | 0.00034077 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_1031-53_0_4_load_12 | 26 | 0.0016252 | 0.0004073 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_1031-53_0_4_load_13 | 27 | 0.0008217 | 0.00020594 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_1031-53_0_4_load_14 | 28 | 0.0012739 | 0.00031927 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_1031-53_0_4_load_35 | 29 | 0.0041298 | 0.001035 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_1031-53_0_4_load_40 | 30 | 0.0012408 | 0.00031098 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_1031-53_0_4_load_15 | 32 | 0.0013153 | 0.00032965 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_1031-53_0_4_load_16 | 33 | 0.0043708 | 0.0010954 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_1031-53_0_4_load_17 | 34 | 0.0037266 | 0.00093398 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_1031-53_0_4_load_18 | 35 | 0.0010199 | 0.0002556 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_1031-53_0_4_load_19 | 36 | 0.0037437 | 0.00093826 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_1031-53_0_4_load_25 | 37 | 0.0013895 | 0.00034823 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_1031-53_0_4_load_79 | 39 | 0.006046 | 0.0015153 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_1031-53_0_4_load_80 | 40 | 0.0061675 | 0.0015457 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_1031-53_0_4_load_76 | 42 | 0.0064481 | 0.001616 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_1031-53_0_4_load_78 | 43 | 0.0060928 | 0.001527 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_1031-53_0_4_load_22 | 44 | 0.0049664 | 0.0012447 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_1031-53_0_4_load_29 | 45 | 0.0014028 | 0.00035158 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_1031-53_0_4_load_20 | 46 | 0.0030692 | 0.00076921 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_1031-53_0_4_load_21 | 47 | 0.0010069 | 0.00025235 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_1031-53_0_4_load_57 | 48 | 0.0014489 | 0.00036313 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_1031-53_0_4_load_84 | 50 | 0.0056737 | 0.001422 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_1031-53_0_4_load_85 | 51 | 0.0051383 | 0.0012878 | 0 | 0 |  | 1 | TRUE | wye
39 | LV_1031-53_0_4_load_82 | 52 | 0.0055166 | 0.0013826 | 0 | 0 |  | 1 | TRUE | wye
40 | LV_1031-53_0_4_load_83 | 53 | 0.0053051 | 0.0013296 | 0 | 0 |  | 1 | TRUE | wye
41 | LV_1031-53_0_4_load_26 | 54 | 0.0058578 | 0.0014681 | 0 | 0 |  | 1 | TRUE | wye
42 | LV_1031-53_0_4_load_27 | 55 | 0.0014147 | 0.00035455 | 0 | 0 |  | 1 | TRUE | wye
43 | LV_1031-53_0_4_load_56 | 60 | 0.0023726 | 0.00059464 | 0 | 0 |  | 1 | TRUE | wye
44 | LV_1031-53_0_4_load_48 | 61 | 0.0014357 | 0.00035983 | 0 | 0 |  | 1 | TRUE | wye
45 | LV_1031-53_0_4_load_52 | 62 | 0.0014372 | 0.0003602 | 0 | 0 |  | 1 | TRUE | wye
46 | LV_1031-53_0_4_load_47 | 63 | 0.0015416 | 0.00038635 | 0 | 0 |  | 1 | TRUE | wye
47 | LV_1031-53_0_4_load_37 | 64 | 0.0028959 | 0.00072579 | 0 | 0 |  | 1 | TRUE | wye
48 | LV_1031-53_0_4_load_51 | 65 | 0.0017286 | 0.00043323 | 0 | 0 |  | 1 | TRUE | wye
49 | LV_1031-53_0_4_load_39 | 66 | 0.0031969 | 0.00080123 | 0 | 0 |  | 1 | TRUE | wye
50 | LV_1031-53_0_4_load_62 | 67 | 0.013131 | 0.003291 | 0 | 0 |  | 1 | TRUE | wye
51 | LV_1031-53_0_4_load_60 | 68 | 0.0013321 | 0.00033386 | 0 | 0 |  | 1 | TRUE | wye
52 | LV_1031-53_0_4_load_59 | 69 | 0.00040818 | 0.0001023 | 0 | 0 |  | 1 | TRUE | wye
53 | LV_1031-53_0_4_load_71 | 70 | 0.0011299 | 0.00028317 | 0 | 0 |  | 1 | TRUE | wye
54 | LV_1031-53_0_4_load_42 | 73 | 0.0016063 | 0.00040258 | 0 | 0 |  | 1 | TRUE | wye
55 | LV_1031-53_0_4_load_43 | 74 | 0.001607 | 0.00040276 | 0 | 0 |  | 1 | TRUE | wye
56 | LV_1031-53_0_4_load_45 | 76 | 0.0016246 | 0.00040717 | 0 | 0 |  | 1 | TRUE | wye
57 | LV_1031-53_0_4_load_49 | 78 | 0.0016219 | 0.00040648 | 0 | 0 |  | 1 | TRUE | wye
58 | LV_1031-53_0_4_load_70 | 79 | 0.0031385 | 0.00078657 | 0 | 0 |  | 1 | TRUE | wye
59 | LV_1031-53_0_4_load_64 | 80 | 0.0017302 | 0.00043362 | 0 | 0 |  | 1 | TRUE | wye
60 | LV_1031-53_0_4_load_65 | 81 | 0.0015416 | 0.00038635 | 0 | 0 |  | 1 | TRUE | wye
61 | LV_1031-53_0_4_load_68 | 82 | 0.00067527 | 0.00016924 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 31 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_1031-53_0_4_line_0 | NAYY 4x150 SE | 0 | 1 | 0.020791 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
1 | LV_1031-53_0_4_line_1 | NAYY 4x150 SE | 0 | 2 | 0.0082271 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
2 | LV_1031-53_0_4_line_2 | NAYY 4x150 SE | 1 | 3 | 0.021594 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
3 | LV_1031-53_0_4_line_3 | NAYY 4x150 SE | 2 | 4 | 0.045517 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
4 | LV_1031-53_0_4_line_4 | NAYY 4x150 SE | 3 | 5 | 0.021978 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
5 | LV_1031-53_0_4_line_5 | NAYY 4x150 SE | 3 | 6 | 0.012496 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
6 | LV_1031-53_0_4_line_6 | NAYY 4x150 SE | 4 | 7 | 0.032099 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
7 | LV_1031-53_0_4_line_7 | NAYY 4x150 SE | 5 | 8 | 0.0051865 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
8 | LV_1031-53_0_4_line_8 | NAYY 4x150 SE | 6 | 9 | 0.0073316 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
9 | LV_1031-53_0_4_line_9 | NAYY 4x150 SE | 7 | 12 | 0.020742 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
10 | LV_1031-53_0_4_line_10 | NAYY 4x150 SE | 8 | 10 | 0.003237 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
11 | LV_1031-53_0_4_line_11 | NAYY 4x150 SE | 9 | 82 | 0.00019279 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
12 | LV_1031-53_0_4_line_12 | NAYY 4x150 SE | 10 | 11 | 0.024437 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
13 | LV_1031-53_0_4_line_13 | NAYY 4x150 SE | 11 | 57 | 0.016035 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
14 | LV_1031-53_0_4_line_14 | NAYY 4x150 SE | 12 | 64 | 0.023237 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
15 | LV_1031-53_0_4_line_15 | NAYY 4x150 SE | 13 | 14 | 0.0080356 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
16 | LV_1031-53_0_4_line_16 | NAYY 4x150 SE | 13 | 15 | 0.0062723 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
17 | LV_1031-53_0_4_line_17 | NAYY 4x150 SE | 14 | 16 | 0.0017353 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
18 | LV_1031-53_0_4_line_18 | NAYY 4x150 SE | 15 | 17 | 0.0020749 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
19 | LV_1031-53_0_4_line_19 | NAYY 4x150 SE | 16 | 18 | 0.0064198 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
20 | LV_1031-53_0_4_line_20 | NAYY 4x150 SE | 17 | 19 | 0.036166 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
21 | LV_1031-53_0_4_line_21 | NAYY 4x150 SE | 18 | 20 | 0.0066586 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
22 | LV_1031-53_0_4_line_22 | NAYY 4x150 SE | 19 | 22 | 0.001305 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
23 | LV_1031-53_0_4_line_23 | NAYY 4x150 SE | 20 | 65 | 0.0044968 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
24 | LV_1031-53_0_4_line_24 | NAYY 4x150 SE | 20 | 62 | 0.018837 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
25 | LV_1031-53_0_4_line_25 | NAYY 4x150 SE | 21 | 22 | 0.004898 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
26 | LV_1031-53_0_4_line_26 | NAYY 4x150 SE | 22 | 23 | 0.032707 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
27 | LV_1031-53_0_4_line_27 | NAYY 4x150 SE | 23 | 42 | 0.002088 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
28 | LV_1031-53_0_4_line_28 | NAYY 4x150 SE | 23 | 43 | 0.00236 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
29 | LV_1031-53_0_4_line_29 | NAYY 4x150 SE | 23 | 38 | 0.033714 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
30 | LV_1031-53_0_4_line_30 | NAYY 4x150 SE | 24 | 25 | 0.016227 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
31 | LV_1031-53_0_4_line_31 | NAYY 4x150 SE | 24 | 26 | 0.026692 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
32 | LV_1031-53_0_4_line_32 | NAYY 4x150 SE | 25 | 27 | 0.0032571 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
33 | LV_1031-53_0_4_line_33 | NAYY 4x150 SE | 26 | 28 | 0.026875 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
34 | LV_1031-53_0_4_line_34 | NAYY 4x150 SE | 27 | 29 | 0.0002925 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
35 | LV_1031-53_0_4_line_35 | NAYY 4x150 SE | 28 | 30 | 0.00034318 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
36 | LV_1031-53_0_4_line_36 | NAYY 4x150 SE | 30 | 31 | 0.025534 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
37 | LV_1031-53_0_4_line_37 | NAYY 4x150 SE | 31 | 45 | 0.010023 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
38 | LV_1031-53_0_4_line_38 | NAYY 4x150 SE | 31 | 36 | 0.02342 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
39 | LV_1031-53_0_4_line_39 | NAYY 4x150 SE | 32 | 33 | 0.011868 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
40 | LV_1031-53_0_4_line_40 | NAYY 4x150 SE | 32 | 34 | 0.019226 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
41 | LV_1031-53_0_4_line_41 | NAYY 4x150 SE | 33 | 35 | 0.018143 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
42 | LV_1031-53_0_4_line_42 | NAYY 4x150 SE | 34 | 36 | 0.026258 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
43 | LV_1031-53_0_4_line_43 | NAYY 4x150 SE | 35 | 37 | 0.0016512 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
44 | LV_1031-53_0_4_line_44 | NAYY 4x150 SE | 37 | 44 | 0.0064222 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
45 | LV_1031-53_0_4_line_45 | NAYY 4x150 SE | 38 | 39 | 0.001957 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
46 | LV_1031-53_0_4_line_46 | NAYY 4x150 SE | 38 | 40 | 0.001852 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
47 | LV_1031-53_0_4_line_47 | NAYY 4x150 SE | 38 | 41 | 0.033351 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
48 | LV_1031-53_0_4_line_48 | NAYY 4x150 SE | 41 | 52 | 0.00131 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
49 | LV_1031-53_0_4_line_49 | NAYY 4x150 SE | 41 | 53 | 0.002603 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
50 | LV_1031-53_0_4_line_50 | NAYY 4x150 SE | 41 | 49 | 0.03403 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
51 | LV_1031-53_0_4_line_51 | NAYY 4x150 SE | 44 | 47 | 0.017727 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
52 | LV_1031-53_0_4_line_52 | NAYY 4x150 SE | 45 | 55 | 0.0067198 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
53 | LV_1031-53_0_4_line_53 | NAYY 4x150 SE | 46 | 47 | 0.0068384 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
54 | LV_1031-53_0_4_line_54 | NAYY 4x150 SE | 46 | 48 | 0.063096 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
55 | LV_1031-53_0_4_line_55 | NAYY 4x150 SE | 49 | 50 | 0.001946 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
56 | LV_1031-53_0_4_line_56 | NAYY 4x150 SE | 49 | 51 | 0.002384 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
57 | LV_1031-53_0_4_line_57 | NAYY 4x150 SE | 54 | 55 | 0.023112 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
58 | LV_1031-53_0_4_line_58 | NAYY 4x150 SE | 54 | 56 | 0.0080198 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
59 | LV_1031-53_0_4_line_59 | NAYY 4x150 SE | 56 | 57 | 0.019848 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
60 | LV_1031-53_0_4_line_60 | NAYY 4x150 SE | 56 | 58 | 0.020659 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
61 | LV_1031-53_0_4_line_61 | NAYY 4x150 SE | 58 | 59 | 0.024026 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
62 | LV_1031-53_0_4_line_62 | NAYY 4x150 SE | 59 | 60 | 0.012613 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
63 | LV_1031-53_0_4_line_63 | NAYY 4x150 SE | 59 | 61 | 0.01967 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
64 | LV_1031-53_0_4_line_64 | NAYY 4x150 SE | 60 | 62 | 0.0045072 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
65 | LV_1031-53_0_4_line_65 | NAYY 4x150 SE | 61 | 63 | 0.017885 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
66 | LV_1031-53_0_4_line_66 | NAYY 4x150 SE | 63 | 78 | 0.011752 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
67 | LV_1031-53_0_4_line_67 | NAYY 4x150 SE | 64 | 66 | 0.020262 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
68 | LV_1031-53_0_4_line_68 | NAYY 4x150 SE | 65 | 80 | 0.0094015 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
69 | LV_1031-53_0_4_line_69 | NAYY 4x150 SE | 66 | 67 | 0.075472 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
70 | LV_1031-53_0_4_line_70 | NAYY 4x150 SE | 67 | 68 | 0.003804 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
71 | LV_1031-53_0_4_line_71 | NAYY 4x150 SE | 68 | 69 | 0.020153 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
72 | LV_1031-53_0_4_line_72 | NAYY 4x150 SE | 69 | 72 | 0.019299 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
73 | LV_1031-53_0_4_line_73 | NAYY 4x150 SE | 70 | 71 | 0.036514 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
74 | LV_1031-53_0_4_line_74 | NAYY 4x150 SE | 71 | 72 | 0.036098 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
75 | LV_1031-53_0_4_line_75 | NAYY 4x150 SE | 73 | 74 | 0.0060118 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
76 | LV_1031-53_0_4_line_76 | NAYY 4x150 SE | 73 | 75 | 0.022354 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
77 | LV_1031-53_0_4_line_77 | NAYY 4x150 SE | 74 | 76 | 0.011258 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
78 | LV_1031-53_0_4_line_78 | NAYY 4x150 SE | 75 | 77 | 0.03164 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
79 | LV_1031-53_0_4_line_79 | NAYY 4x150 SE | 76 | 78 | 0.0062732 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
80 | LV_1031-53_0_4_line_80 | NAYY 4x150 SE | 77 | 79 | 0.042273 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
81 | LV_1031-53_0_4_line_81 | NAYY 4x150 SE | 80 | 81 | 0.01757 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_1031-53_0_4_trafo_41 | 0.25 MVA 20/0.4 kV | 83 | 31 | 0.25 | 20 | 0.4 | 6 | 1.44 | 0.8 | 0.32 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5
0 | 2664523.8758 | 1223921.1638 | 2664503.534 | 1223916.8645
1 | 2664523.8758 | 1223921.1638 | 2664531.9251 | 1223922.865
2 | 2664482.4071 | 1223912.3994 | 2664503.534 | 1223916.8645
3 | 2664576.6333 | 1223931.2658 | 2664562.9207 | 1223929.4159 | 2664531.9251 | 1223922.865
4 | 2664482.4071 | 1223912.3994 | 2664460.8775 | 1223907.9833
5 | 2664482.4071 | 1223912.3994 | 2664482.9991 | 1223909.5484 | 2664484.9435 | 1223900.1635
6 | 2664573.1273 | 1223899.3629 | 2664576.6333 | 1223931.2658
7 | 2664455.7968 | 1223906.9411 | 2664460.8775 | 1223907.9833
8 | 2664484.9435 | 1223900.1635 | 2664486.3394 | 1223892.966
9 | 2664573.1273 | 1223899.3629 | 2664568.9285 | 1223899.1617 | 2664552.6816 | 1223896.073
10 | 2664455.7968 | 1223906.9411 | 2664456.4378 | 1223903.7683
11 | 2664486.3761 | 1223892.7767 | 2664486.3394 | 1223892.966
12 | 2664456.4378 | 1223903.7683 | 2664454.3147 | 1223903.056 | 2664446.0524 | 1223898.5637 | 2664433.5323 | 1223895.9365
13 | 2664417.8394 | 1223892.6435 | 2664433.5323 | 1223895.9365
14 | 2664529.8539 | 1223891.7331 | 2664552.6816 | 1223896.073
15 | 2664348.2219 | 1223881.4058 | 2664350.7226 | 1223873.7692
16 | 2664348.2219 | 1223881.4058 | 2664346.27 | 1223887.3666
17 | 2664350.7226 | 1223873.7692 | 2664351.2626 | 1223872.1201
18 | 2664345.6242 | 1223889.3385 | 2664346.27 | 1223887.3666
19 | 2664353.2605 | 1223866.019 | 2664351.2626 | 1223872.1201
20 | 2664345.6242 | 1223889.3385 | 2664351.7451 | 1223924.9829
21 | 2664355.3326 | 1223859.6911 | 2664353.2605 | 1223866.019
22 | 2664351.7451 | 1223924.9829 | 2664352.8754 | 1223925.64
23 | 2664355.3326 | 1223859.6911 | 2664356.3979 | 1223855.3223
24 | 2664355.3326 | 1223859.6911 | 2664374.1634 | 1223859.2191
25 | 2664356.3708 | 1223924.9662 | 2664353.127 | 1223924.1084 | 2664352.8754 | 1223925.64
26 | 2664352.8754 | 1223925.64 | 2664348.665 | 1223958.0708
27 | 2664348.665 | 1223958.0708 | 2664350.7584 | 1223958.0267
28 | 2664346.3001 | 1223957.9785 | 2664348.665 | 1223958.0708
29 | 2664348.665 | 1223958.0708 | 2664342.8312 | 1223991.2734
30 | 2664464.1218 | 1224021.3383 | 2664457.4151 | 1224006.5619
31 | 2664445.801 | 1223982.5454 | 2664450.2111 | 1223990.6898 | 2664457.4151 | 1224006.5619
32 | 2664465.4679 | 1224024.3042 | 2664464.1218 | 1224021.3383
33 | 2664433.0042 | 1223958.9131 | 2664445.801 | 1223982.5454
34 | 2664465.4679 | 1224024.3042 | 2664465.5888 | 1224024.5705
35 | 2664432.8408 | 1223958.6113 | 2664433.0042 | 1223958.9131
36 | 2664420.6822 | 1223936.1576 | 2664432.8408 | 1223958.6113
37 | 2664420.6822 | 1223936.1576 | 2664415.9098 | 1223927.3439
38 | 2664420.6822 | 1223936.1576 | 2664400.6449 | 1223944.8576 | 2664400.2924 | 1223946.3933
39 | 2664390.9405 | 1224002.9711 | 2664392.8328 | 1223991.2551
40 | 2664395.8983 | 1223972.2749 | 2664392.8328 | 1223991.2551
41 | 2664390.9405 | 1224002.9711 | 2664388.0477 | 1224020.8821
42 | 2664395.8983 | 1223972.2749 | 2664399.5705 | 1223949.5378 | 2664400.2924 | 1223946.3933
43 | 2664388.0477 | 1224020.8821 | 2664387.7844 | 1224022.5122
44 | 2664386.7605 | 1224028.8522 | 2664387.7844 | 1224022.5122
45 | 2664342.8312 | 1223991.2734 | 2664340.9332 | 1223990.7748
46 | 2664342.8312 | 1223991.2734 | 2664344.6711 | 1223991.5268
47 | 2664342.8312 | 1223991.2734 | 2664337.9703 | 1224024.2642
48 | 2664337.9703 | 1224024.2642 | 2664339.2691 | 1224024.067
49 | 2664335.4209 | 1224023.703 | 2664337.9703 | 1224024.2642
50 | 2664337.9703 | 1224024.2642 | 2664332.0801 | 1224057.7775
51 | 2664386.7605 | 1224028.8522 | 2664383.934 | 1224046.3526
52 | 2664412.7102 | 1223921.4347 | 2664415.9098 | 1223927.3439
53 | 2664382.8436 | 1224053.1035 | 2664383.934 | 1224046.3526
54 | 2664382.8436 | 1224053.1035 | 2664435.3943 | 1224088.025
55 | 2664332.0801 | 1224057.7775 | 2664334.0189 | 1224057.9986
56 | 2664329.8056 | 1224057.0414 | 2664332.0801 | 1224057.7775
57 | 2664412.7102 | 1223921.4347 | 2664405.531 | 1223908.1759 | 2664403.2256 | 1223900.4794
58 | 2664404.9029 | 1223892.6369 | 2664403.2256 | 1223900.4794
59 | 2664404.9029 | 1223892.6369 | 2664409.2683 | 1223895.6639 | 2664412.7965 | 1223897.5699 | 2664416.5801 | 1223899.0006 | 2664417.8394 | 1223892.6435
60 | 2664398.0481 | 1223877.8978 | 2664394.7677 | 1223879.0186 | 2664396.1279 | 1223882.2576 | 2664398.1332 | 1223885.448 | 2664400.9304 | 1223889.0361 | 2664404.9029 | 1223892.6369
61 | 2664391.2784 | 1223858.7902 | 2664391.9978 | 1223865.191 | 2664393.1604 | 1223872.6861 | 2664394.7677 | 1223879.0186 | 2664398.0481 | 1223877.8978
62 | 2664391.2784 | 1223858.7902 | 2664378.6693 | 1223859.1062
63 | 2664391.2784 | 1223858.7902 | 2664390.1012 | 1223839.1551
64 | 2664378.6693 | 1223859.1062 | 2664374.1634 | 1223859.2191
65 | 2664389.0307 | 1223821.3021 | 2664390.1012 | 1223839.1551
66 | 2664389.0307 | 1223821.3021 | 2664388.3274 | 1223809.5716
67 | 2664509.9481 | 1223887.9487 | 2664529.8539 | 1223891.7331
68 | 2664358.0099 | 1223846.1302 | 2664358.1178 | 1223848.2695 | 2664356.3979 | 1223855.3223
69 | 2664509.9481 | 1223887.9487 | 2664532.6813 | 1223815.9823
70 | 2664532.6813 | 1223815.9823 | 2664536.4679 | 1223815.6191
71 | 2664556.4425 | 1223815.3089 | 2664551.1123 | 1223814.2143 | 2664536.4679 | 1223815.6191
72 | 2664575.347 | 1223819.1913 | 2664556.4425 | 1223815.3089
73 | 2664580.512 | 1223783.4689 | 2664544.439 | 1223777.1738
74 | 2664575.347 | 1223819.1913 | 2664580.512 | 1223783.4689
75 | 2664386.9183 | 1223786.0706 | 2664387.2781 | 1223792.0717
76 | 2664385.5804 | 1223763.7568 | 2664386.9183 | 1223786.0706
77 | 2664387.9519 | 1223803.3097 | 2664387.2781 | 1223792.0717
78 | 2664385.5804 | 1223763.7568 | 2664385.3185 | 1223743.8079 | 2664390.6138 | 1223743.5983 | 2664391.0453 | 1223749.9737
79 | 2664387.9519 | 1223803.3097 | 2664388.3274 | 1223809.5716
80 | 2664391.0453 | 1223749.9737 | 2664392.5732 | 1223780.4764 | 2664393.8578 | 1223792.1381
81 | 2664358.0099 | 1223846.1302 | 2664357.6994 | 1223839.9707 | 2664357.522 | 1223828.5691

## bus_geodata
| x | y | coords
0 | 2664523.8758 | 1223921.1638
1 | 2664503.534 | 1223916.8645
2 | 2664531.9251 | 1223922.865
3 | 2664482.4071 | 1223912.3994
4 | 2664576.6333 | 1223931.2658
5 | 2664460.8775 | 1223907.9833
6 | 2664484.9435 | 1223900.1635
7 | 2664573.1273 | 1223899.3629
8 | 2664455.7968 | 1223906.9411
9 | 2664486.3394 | 1223892.966
10 | 2664456.4378 | 1223903.7683
11 | 2664433.5323 | 1223895.9365
12 | 2664552.6816 | 1223896.073
13 | 2664348.2219 | 1223881.4058
14 | 2664350.7226 | 1223873.7692
15 | 2664346.27 | 1223887.3666
16 | 2664351.2626 | 1223872.1201
17 | 2664345.6242 | 1223889.3385
18 | 2664353.2605 | 1223866.019
19 | 2664351.7451 | 1223924.9829
20 | 2664355.3326 | 1223859.6911
21 | 2664356.3708 | 1223924.9662
22 | 2664352.8754 | 1223925.64
23 | 2664348.665 | 1223958.0708
24 | 2664457.4151 | 1224006.5619
25 | 2664464.1218 | 1224021.3383
26 | 2664445.801 | 1223982.5454
27 | 2664465.4679 | 1224024.3042
28 | 2664433.0042 | 1223958.9131
29 | 2664465.5888 | 1224024.5705
30 | 2664432.8408 | 1223958.6113
31 | 2664420.6822 | 1223936.1576
32 | 2664392.8328 | 1223991.2551
33 | 2664390.9405 | 1224002.9711
34 | 2664395.8983 | 1223972.2749
35 | 2664388.0477 | 1224020.8821
36 | 2664400.2924 | 1223946.3933
37 | 2664387.7844 | 1224022.5122
38 | 2664342.8312 | 1223991.2734
39 | 2664340.9332 | 1223990.7748
40 | 2664344.6711 | 1223991.5268
41 | 2664337.9703 | 1224024.2642
42 | 2664350.7584 | 1223958.0267
43 | 2664346.3001 | 1223957.9785
44 | 2664386.7605 | 1224028.8522
45 | 2664415.9098 | 1223927.3439
46 | 2664382.8436 | 1224053.1035
47 | 2664383.934 | 1224046.3526
48 | 2664435.3943 | 1224088.025
49 | 2664332.0801 | 1224057.7775
50 | 2664334.0189 | 1224057.9986
51 | 2664329.8056 | 1224057.0414
52 | 2664339.2691 | 1224024.067
53 | 2664335.4209 | 1224023.703
54 | 2664403.2256 | 1223900.4794
55 | 2664412.7102 | 1223921.4347
56 | 2664404.9029 | 1223892.6369
57 | 2664417.8394 | 1223892.6435
58 | 2664398.0481 | 1223877.8978
59 | 2664391.2784 | 1223858.7902
60 | 2664378.6693 | 1223859.1062
61 | 2664390.1012 | 1223839.1551
62 | 2664374.1634 | 1223859.2191
63 | 2664389.0307 | 1223821.3021
64 | 2664529.8539 | 1223891.7331
65 | 2664356.3979 | 1223855.3223
66 | 2664509.9481 | 1223887.9487
67 | 2664532.6813 | 1223815.9823
68 | 2664536.4679 | 1223815.6191
69 | 2664556.4425 | 1223815.3089
70 | 2664544.439 | 1223777.1738
71 | 2664580.512 | 1223783.4689
72 | 2664575.347 | 1223819.1913
73 | 2664386.9183 | 1223786.0706
74 | 2664387.2781 | 1223792.0717
75 | 2664385.5804 | 1223763.7568
76 | 2664387.9519 | 1223803.3097
77 | 2664391.0453 | 1223749.9737
78 | 2664388.3274 | 1223809.5716
79 | 2664393.8578 | 1223792.1381
80 | 2664358.0099 | 1223846.1302
81 | 2664357.522 | 1223828.5691
82 | 2664486.3761 | 1223892.7767
83 | 2664404.9029 | 1223892.6369

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## res_bus
| vm_pu | va_degree | p_mw | q_mvar
0 | 0.97745 | -0.15782 | 0.054935 | 0.013768
1 | 0.97995 | -0.13994 | 0.0038689 | 0.00096963
2 | 0.97711 | -0.1602 | 0.0029491 | 0.00073912
3 | 0.98268 | -0.1206 | 0 | 0
4 | 0.97547 | -0.17195 | 0 | 0
5 | 0.9855 | -0.10071 | 0.0020199 | 0.00050624
6 | 0.98265 | -0.12078 | 0 | 0
7 | 0.97431 | -0.18026 | 0 | 0
8 | 0.98618 | -0.095928 | 0 | 0
9 | 0.98264 | -0.12088 | 0.00070582 | 0.0001769
10 | 0.9866 | -0.092946 | 0 | 0
11 | 0.9898 | -0.070512 | 0.0040954 | 0.0010264
12 | 0.97356 | -0.18564 | 0.002537 | 0.00063584
13 | 0.98125 | -0.13074 | 0.0015635 | 0.00039186
14 | 0.982 | -0.12544 | 0.0023355 | 0.00058534
15 | 0.98068 | -0.13479 | 0.0015628 | 0.00039168
16 | 0.98217 | -0.12425 | 0.0016033 | 0.00040182
17 | 0.9805 | -0.13609 | 0.0021492 | 0.00053863
18 | 0.9828 | -0.11976 | 0.0016029 | 0.00040173
19 | 0.9774 | -0.15811 | 0.0059994 | 0.0015036
20 | 0.98348 | -0.115 | 0 | 0
21 | 0.97726 | -0.15913 | 0.0060466 | 0.0015154
22 | 0.9773 | -0.15882 | 0 | 0
23 | 0.97508 | -0.17472 | 0 | 0
24 | 0.99898 | -0.0071678 | 0.00082112 | 0.00020579
25 | 0.99883 | -0.0081924 | 0.0013597 | 0.00034077
26 | 0.99925 | -0.0052636 | 0.0016252 | 0.0004073
27 | 0.99881 | -0.0083537 | 0.0008217 | 0.00020594
28 | 0.99958 | -0.0029103 | 0.0012739 | 0.00031927
29 | 0.99881 | -0.0083658 | 0.0041298 | 0.001035
30 | 0.99959 | -0.0028759 | 0.0012408 | 0.00031098
31 | 1 | 0 | -0.23561 | -0.059405
32 | 0.99778 | -0.01555 | 0.0013153 | 0.00032965
33 | 0.99749 | -0.017607 | 0.0043708 | 0.0010954
34 | 0.99829 | -0.011967 | 0.0037266 | 0.00093398
35 | 0.99715 | -0.019957 | 0.0010199 | 0.0002556
36 | 0.99913 | -0.0061001 | 0.0037437 | 0.00093826
37 | 0.99712 | -0.020154 | 0.0013895 | 0.00034823
38 | 0.97341 | -0.18672 | 0 | 0
39 | 0.97339 | -0.18684 | 0.006046 | 0.0015153
40 | 0.97339 | -0.18684 | 0.0061675 | 0.0015457
41 | 0.97235 | -0.19433 | 0 | 0
42 | 0.97506 | -0.17486 | 0.0064481 | 0.001616
43 | 0.97506 | -0.17487 | 0.0060928 | 0.001527
44 | 0.99703 | -0.020831 | 0.0049664 | 0.0012447
45 | 0.99859 | -0.0096815 | 0.0014028 | 0.00035158
46 | 0.99684 | -0.022127 | 0.0030692 | 0.00076921
47 | 0.99689 | -0.021816 | 0.0010069 | 0.00025235
48 | 0.99671 | -0.023047 | 0.0014489 | 0.00036313
49 | 0.97181 | -0.19822 | 0 | 0
50 | 0.9718 | -0.19833 | 0.0056737 | 0.001422
51 | 0.97179 | -0.19835 | 0.0051383 | 0.0012878
52 | 0.97234 | -0.19441 | 0.0055166 | 0.0013826
53 | 0.97233 | -0.19447 | 0.0053051 | 0.0013296
54 | 0.99444 | -0.038284 | 0.0058578 | 0.0014681
55 | 0.99765 | -0.016141 | 0.0014147 | 0.00035455
56 | 0.99336 | -0.045763 | 0 | 0
57 | 0.992 | -0.055204 | 0 | 0
58 | 0.99063 | -0.064763 | 0 | 0
59 | 0.98746 | -0.086992 | 0 | 0
60 | 0.98602 | -0.097088 | 0.0023726 | 0.00059464
61 | 0.9871 | -0.089528 | 0.0014357 | 0.00035983
62 | 0.98552 | -0.10059 | 0.0014372 | 0.0003602
63 | 0.98681 | -0.091571 | 0.0015416 | 0.00038635
64 | 0.9728 | -0.19106 | 0.0028959 | 0.00072579
65 | 0.98344 | -0.11523 | 0.0017286 | 0.00043323
66 | 0.97223 | -0.19517 | 0.0031969 | 0.00080123
67 | 0.97046 | -0.20795 | 0.013131 | 0.003291
68 | 0.97044 | -0.20807 | 0.0013321 | 0.00033386
69 | 0.9704 | -0.2084 | 0.00040818 | 0.0001023
70 | 0.97025 | -0.2095 | 0.0011299 | 0.00028317
71 | 0.97031 | -0.20906 | 0 | 0
72 | 0.97037 | -0.20863 | 0 | 0
73 | 0.98643 | -0.094271 | 0.0016063 | 0.00040258
74 | 0.98647 | -0.093977 | 0.001607 | 0.00040276
75 | 0.98633 | -0.094992 | 0 | 0
76 | 0.98658 | -0.093243 | 0.0016246 | 0.00040717
77 | 0.98619 | -0.096013 | 0 | 0
78 | 0.98665 | -0.092729 | 0.0016219 | 0.00040648
79 | 0.98599 | -0.097375 | 0.0031385 | 0.00078657
80 | 0.9834 | -0.11555 | 0.0017302 | 0.00043362
81 | 0.98336 | -0.11583 | 0.0015416 | 0.00038635
82 | 0.98264 | -0.12088 | 0.00067527 | 0.00016924
83 | 0.99998 | 149.9947 | 0 | 0

## res_line
| p_from_mw | q_from_mvar | p_to_mw | q_to_mvar | pl_mw | ql_mvar | i_from_ka | i_to_ka | i_ka | vm_from_pu | va_from_degree | vm_to_pu | va_to_degree | loading_percent
0 | -0.082669 | -0.020735 | 0.082874 | 0.020814 | 0.0002055 | 7.8778e-05 | 0.12586 | 0.12586 | 0.12586 | 0.97745 | -0.15782 | 0.97995 | -0.13994 | 46.6136
1 | 0.027733 | 0.0069669 | -0.027724 | -0.0069634 | 9.1535e-06 | 3.4175e-06 | 0.042226 | 0.042226 | 0.042226 | 0.97745 | -0.15782 | 0.97711 | -0.1602 | 15.6392
2 | -0.086743 | -0.021783 | 0.086977 | 0.021873 | 0.00023382 | 8.9659e-05 | 0.13173 | 0.13173 | 0.13173 | 0.97995 | -0.13994 | 0.98268 | -0.1206 | 48.7894
3 | 0.024775 | 0.0062243 | -0.024735 | -0.0062093 | 4.0443e-05 | 1.4986e-05 | 0.037735 | 0.037735 | 0.037735 | 0.97711 | -0.1602 | 0.97547 | -0.17195 | 13.9759
4 | -0.088358 | -0.022219 | 0.088604 | 0.022313 | 0.0002456 | 9.4182e-05 | 0.13382 | 0.13382 | 0.13382 | 0.98268 | -0.1206 | 0.9855 | -0.10071 | 49.5639
5 | 0.0013811 | 0.0003459 | -0.0013811 | -0.00034605 | 3.4104e-08 | -1.4519e-07 | 0.0020913 | 0.0020914 | 0.0020914 | 0.98268 | -0.1206 | 0.98265 | -0.12078 | 0.77458
6 | 0.024735 | 0.0062093 | -0.024706 | -0.0061988 | 2.8521e-05 | 1.0569e-05 | 0.037735 | 0.037735 | 0.037735 | 0.97547 | -0.17195 | 0.97431 | -0.18026 | 13.9759
7 | -0.090624 | -0.022819 | 0.090684 | 0.022843 | 6.063e-05 | 2.3253e-05 | 0.13687 | 0.13687 | 0.13687 | 0.9855 | -0.10071 | 0.98618 | -0.095928 | 50.6934
8 | 0.0013811 | 0.00034605 | -0.0013811 | -0.00034613 | 2.001e-08 | -8.518e-08 | 0.0020914 | 0.0020914 | 0.0020914 | 0.98265 | -0.12078 | 0.98264 | -0.12088 | 0.77459
9 | 0.024706 | 0.0061988 | -0.024688 | -0.0061919 | 1.843e-05 | 6.8302e-06 | 0.037735 | 0.037735 | 0.037735 | 0.97431 | -0.18026 | 0.97356 | -0.18564 | 13.9759
10 | -0.090684 | -0.022843 | 0.090722 | 0.022857 | 3.7841e-05 | 1.4513e-05 | 0.13687 | 0.13687 | 0.13687 | 0.98618 | -0.095928 | 0.9866 | -0.092946 | 50.6934
11 | 0.00067527 | 0.00016924 | -0.00067527 | -0.00016924 | 1.251e-10 | -2.3939e-09 | 0.0010226 | 0.0010226 | 0.0010226 | 0.98264 | -0.12088 | 0.98264 | -0.12088 | 0.37873
12 | -0.090722 | -0.022857 | 0.091008 | 0.022967 | 0.00028567 | 0.00010956 | 0.13687 | 0.13687 | 0.13687 | 0.9866 | -0.092946 | 0.9898 | -0.070512 | 50.6934
13 | -0.095103 | -0.023993 | 0.095308 | 0.024072 | 0.00020469 | 7.852e-05 | 0.14303 | 0.14303 | 0.14303 | 0.9898 | -0.070512 | 0.992 | -0.055204 | 52.9737
14 | 0.022151 | 0.0055561 | -0.022134 | -0.00555 | 1.6621e-05 | 6.1041e-06 | 0.033857 | 0.033858 | 0.033858 | 0.97356 | -0.18564 | 0.9728 | -0.19106 | 12.5398
15 | -0.06413 | -0.016126 | 0.064177 | 0.016144 | 4.744e-05 | 1.8145e-05 | 0.097269 | 0.097268 | 0.097269 | 0.98125 | -0.13074 | 0.982 | -0.12544 | 36.0254
16 | 0.062566 | 0.015734 | -0.062531 | -0.015721 | 3.5247e-05 | 1.3477e-05 | 0.094898 | 0.094898 | 0.094898 | 0.98125 | -0.13074 | 0.98068 | -0.13479 | 35.1472
17 | -0.066513 | -0.01673 | 0.066524 | 0.016734 | 1.1004e-05 | 4.2103e-06 | 0.10081 | 0.10081 | 0.10081 | 0.982 | -0.12544 | 0.98217 | -0.12425 | 37.3361
18 | 0.060968 | 0.015329 | -0.060957 | -0.015325 | 1.1085e-05 | 4.2371e-06 | 0.092526 | 0.092526 | 0.092526 | 0.98068 | -0.13479 | 0.9805 | -0.13609 | 34.269
19 | -0.068127 | -0.017136 | 0.06817 | 0.017152 | 4.2695e-05 | 1.634e-05 | 0.10324 | 0.10324 | 0.10324 | 0.98217 | -0.12425 | 0.9828 | -0.11976 | 38.2357
20 | 0.058808 | 0.014786 | -0.058628 | -0.014718 | 0.00017982 | 6.8708e-05 | 0.089265 | 0.089265 | 0.089265 | 0.9805 | -0.13609 | 0.9774 | -0.15811 | 33.061
21 | -0.069773 | -0.017554 | 0.069819 | 0.017572 | 4.6389e-05 | 1.7757e-05 | 0.10566 | 0.10566 | 0.10566 | 0.9828 | -0.11976 | 0.98348 | -0.115 | 39.1346
22 | 0.052629 | 0.013214 | -0.052623 | -0.013212 | 5.2288e-06 | 1.9947e-06 | 0.080131 | 0.080131 | 0.080131 | 0.9774 | -0.15811 | 0.9773 | -0.15882 | 29.6782
23 | 0.0050007 | 0.0012529 | -0.0050005 | -0.0012529 | 1.6063e-07 | 4.721e-09 | 0.007566 | 0.007566 | 0.007566 | 0.98348 | -0.115 | 0.98344 | -0.11523 | 2.8022
24 | -0.07482 | -0.018824 | 0.07497 | 0.018882 | 0.0001507 | 5.7721e-05 | 0.11323 | 0.11323 | 0.11323 | 0.98348 | -0.115 | 0.98552 | -0.10059 | 41.9368
25 | -0.0060466 | -0.0015154 | 0.0060469 | 0.0015155 | 2.5907e-07 | 3.8271e-08 | 0.0092068 | 0.0092068 | 0.0092068 | 0.97726 | -0.15913 | 0.9773 | -0.15882 | 3.4099
26 | 0.046576 | 0.011697 | -0.046474 | -0.011657 | 0.00010266 | 3.9077e-05 | 0.070924 | 0.070925 | 0.070925 | 0.9773 | -0.15882 | 0.97508 | -0.17472 | 26.2684
27 | 0.0064482 | 0.0016161 | -0.0064481 | -0.001616 | 1.2616e-07 | 2.2479e-08 | 0.0098402 | 0.0098402 | 0.0098402 | 0.97508 | -0.17472 | 0.97506 | -0.17486 | 3.6445
28 | 0.0060929 | 0.001527 | -0.0060928 | -0.001527 | 1.2731e-07 | 1.953e-08 | 0.009298 | 0.009298 | 0.009298 | 0.97508 | -0.17472 | 0.97506 | -0.17487 | 3.4437
29 | 0.033933 | 0.0085144 | -0.033876 | -0.0084931 | 5.6419e-05 | 2.128e-05 | 0.051786 | 0.051787 | 0.051787 | 0.97508 | -0.17472 | 0.97341 | -0.18672 | 19.1802
30 | 0.0063122 | 0.0015819 | -0.0063113 | -0.0015817 | 8.9514e-07 | 1.3186e-07 | 0.0094022 | 0.0094023 | 0.0094023 | 0.99898 | -0.0071678 | 0.99883 | -0.0081924 | 3.4823
31 | -0.0071333 | -0.0017877 | 0.0071352 | 0.001788 | 1.8804e-06 | 3.7366e-07 | 0.010625 | 0.010625 | 0.010625 | 0.99898 | -0.0071678 | 0.99925 | -0.0052636 | 3.9353
32 | 0.0049516 | 0.001241 | -0.0049515 | -0.001241 | 1.1059e-07 | -9.326e-11 | 0.0073767 | 0.0073767 | 0.0073767 | 0.99883 | -0.0081924 | 0.99881 | -0.0083537 | 2.7321
33 | -0.0087604 | -0.0021953 | 0.0087632 | 0.0021961 | 2.8538e-06 | 7.4547e-07 | 0.013045 | 0.013045 | 0.013045 | 0.99925 | -0.0052636 | 0.99958 | -0.0029103 | 4.8316
34 | 0.0041298 | 0.001035 | -0.0041298 | -0.001035 | 6.9095e-09 | -1.1709e-09 | 0.0061525 | 0.0061525 | 0.0061525 | 0.99881 | -0.0083537 | 0.99881 | -0.0083658 | 2.2787
35 | -0.010037 | -0.0025153 | 0.010037 | 0.0025154 | 4.7807e-08 | 1.3889e-08 | 0.014942 | 0.014942 | 0.014942 | 0.99958 | -0.0029103 | 0.99959 | -0.0028759 | 5.5339
36 | -0.011278 | -0.0028263 | 0.011282 | 0.0028277 | 4.4909e-06 | 1.3924e-06 | 0.016789 | 0.016788 | 0.016789 | 0.99959 | -0.0028759 | 1 | 0 | 6.218
37 | 0.19741 | 0.050026 | -0.19714 | -0.049922 | 0.00027019 | 0.00010366 | 0.29394 | 0.29394 | 0.29394 | 1 | 0 | 0.99859 | -0.0096815 | 54.4336
38 | 0.026118 | 0.0065515 | -0.026096 | -0.0065433 | 2.2076e-05 | 8.1838e-06 | 0.038866 | 0.038866 | 0.038866 | 1 | 0 | 0.99913 | -0.0061001 | 14.395
39 | 0.017283 | 0.0043315 | -0.017278 | -0.0043297 | 4.9198e-06 | 1.7373e-06 | 0.025775 | 0.025775 | 0.025775 | 0.99778 | -0.01555 | 0.99749 | -0.017607 | 9.5462
40 | -0.018598 | -0.0046611 | 0.018608 | 0.0046644 | 9.2293e-06 | 3.2985e-06 | 0.027736 | 0.027736 | 0.027736 | 0.99778 | -0.01555 | 0.99829 | -0.011967 | 10.2727
41 | 0.012907 | 0.0032343 | -0.012903 | -0.0032329 | 4.1972e-06 | 1.3776e-06 | 0.019255 | 0.019255 | 0.019255 | 0.99749 | -0.017607 | 0.99715 | -0.019957 | 7.1313
42 | -0.022334 | -0.0055984 | 0.022352 | 0.005605 | 1.8159e-05 | 6.6407e-06 | 0.033291 | 0.033291 | 0.033291 | 0.99829 | -0.011967 | 0.99913 | -0.0061001 | 12.33
43 | 0.011883 | 0.0029773 | -0.011883 | -0.0029772 | 3.24e-07 | 1.0308e-07 | 0.017733 | 0.017733 | 0.017733 | 0.99715 | -0.019957 | 0.99712 | -0.020154 | 6.5677
44 | 0.010494 | 0.002629 | -0.010493 | -0.0026287 | 9.8267e-07 | 2.9419e-07 | 0.015659 | 0.015659 | 0.015659 | 0.99712 | -0.020154 | 0.99703 | -0.020831 | 5.7997
45 | 0.0060461 | 0.0015153 | -0.006046 | -0.0015153 | 1.0431e-07 | 1.5794e-08 | 0.0092424 | 0.0092424 | 0.0092424 | 0.97341 | -0.18672 | 0.97339 | -0.18684 | 3.4231
46 | 0.0061676 | 0.0015457 | -0.0061675 | -0.0015457 | 1.0273e-07 | 1.6488e-08 | 0.0094281 | 0.0094282 | 0.0094282 | 0.97341 | -0.18672 | 0.97339 | -0.18684 | 3.4919
47 | 0.021663 | 0.0054321 | -0.02164 | -0.0054238 | 2.2823e-05 | 8.3639e-06 | 0.033116 | 0.033116 | 0.033116 | 0.97341 | -0.18672 | 0.97235 | -0.19433 | 12.2652
48 | 0.0055167 | 0.0013826 | -0.0055166 | -0.0013826 | 5.8261e-08 | 6.1591e-09 | 0.0084423 | 0.0084423 | 0.0084423 | 0.97235 | -0.19433 | 0.97234 | -0.19441 | 3.1268
49 | 0.0053052 | 0.0013296 | -0.0053051 | -0.0013296 | 1.0706e-07 | 8.8905e-09 | 0.0081187 | 0.0081187 | 0.0081187 | 0.97235 | -0.19433 | 0.97233 | -0.19447 | 3.0069
50 | 0.010818 | 0.0027116 | -0.010812 | -0.0027098 | 5.8199e-06 | 1.8166e-06 | 0.016555 | 0.016555 | 0.016555 | 0.97235 | -0.19433 | 0.97181 | -0.19822 | 6.1316
51 | 0.0055261 | 0.001384 | -0.0055254 | -0.0013839 | 7.5237e-07 | 5.8219e-08 | 0.0082471 | 0.0082472 | 0.0082472 | 0.99703 | -0.020831 | 0.99689 | -0.021816 | 3.0545
52 | 0.19574 | 0.049571 | -0.19556 | -0.049502 | 0.00017858 | 6.8509e-05 | 0.29185 | 0.29185 | 0.29185 | 0.99859 | -0.0096815 | 0.99765 | -0.016141 | 54.0465
53 | -0.0045183 | -0.0011316 | 0.0045185 | 0.0011316 | 1.9409e-07 | -1.4503e-08 | 0.0067443 | 0.0067442 | 0.0067443 | 0.99684 | -0.022127 | 0.99689 | -0.021816 | 2.4979
54 | 0.0014491 | 0.00036238 | -0.0014489 | -0.00036313 | 1.842e-07 | -7.516e-07 | 0.0021628 | 0.0021631 | 0.0021631 | 0.99684 | -0.022127 | 0.99671 | -0.023047 | 0.80116
55 | 0.0056738 | 0.001422 | -0.0056737 | -0.001422 | 9.1648e-08 | 1.1139e-08 | 0.0086876 | 0.0086876 | 0.0086876 | 0.97181 | -0.19822 | 0.9718 | -0.19833 | 3.2176
56 | 0.0051384 | 0.0012878 | -0.0051383 | -0.0012878 | 9.2086e-08 | 5.8801e-09 | 0.0078677 | 0.0078678 | 0.0078678 | 0.97181 | -0.19822 | 0.97179 | -0.19835 | 2.914
57 | -0.19354 | -0.048915 | 0.19414 | 0.049148 | 0.00060536 | 0.00023223 | 0.28974 | 0.28974 | 0.28974 | 0.99444 | -0.038284 | 0.99765 | -0.016141 | 53.6558
58 | 0.18768 | 0.047447 | -0.18748 | -0.047372 | 0.00019754 | 7.5769e-05 | 0.28098 | 0.28098 | 0.28098 | 0.99444 | -0.038284 | 0.99336 | -0.045763 | 52.0326
59 | 0.095435 | 0.02412 | -0.095308 | -0.024072 | 0.00012668 | 4.8211e-05 | 0.14303 | 0.14303 | 0.14303 | 0.99336 | -0.045763 | 0.992 | -0.055204 | 26.4868
60 | 0.092047 | 0.023252 | -0.091802 | -0.023158 | 0.00024531 | 9.4085e-05 | 0.13795 | 0.13795 | 0.13795 | 0.99336 | -0.045763 | 0.99063 | -0.064763 | 51.0917
61 | 0.091802 | 0.023158 | -0.091516 | -0.023048 | 0.00028529 | 0.00010942 | 0.13795 | 0.13795 | 0.13795 | 0.99063 | -0.064763 | 0.98746 | -0.086992 | 51.0918
62 | 0.078929 | 0.019894 | -0.078818 | -0.019851 | 0.00011142 | 4.2692e-05 | 0.11898 | 0.11898 | 0.11898 | 0.98746 | -0.086992 | 0.98602 | -0.097088 | 44.0666
63 | 0.012587 | 0.0031541 | -0.012583 | -0.0031527 | 4.4161e-06 | 1.447e-06 | 0.018968 | 0.018968 | 0.018968 | 0.98746 | -0.086992 | 0.9871 | -0.089528 | 7.0252
64 | 0.076445 | 0.019257 | -0.076408 | -0.019242 | 3.7454e-05 | 1.4348e-05 | 0.1154 | 0.1154 | 0.1154 | 0.98602 | -0.097088 | 0.98552 | -0.10059 | 42.7405
65 | 0.011147 | 0.0027929 | -0.011144 | -0.0027919 | 3.1513e-06 | 9.8349e-07 | 0.016804 | 0.016804 | 0.016804 | 0.9871 | -0.089528 | 0.98681 | -0.091571 | 6.2237
66 | 0.0096026 | 0.0024055 | -0.009601 | -0.0024051 | 1.5374e-06 | 4.4119e-07 | 0.014479 | 0.014479 | 0.014479 | 0.98681 | -0.091571 | 0.98665 | -0.092729 | 5.3627
67 | 0.019238 | 0.0048242 | -0.019227 | -0.0048203 | 1.0949e-05 | 3.9599e-06 | 0.029428 | 0.029428 | 0.029428 | 0.9728 | -0.19106 | 0.97223 | -0.19517 | 10.8992
68 | 0.0032719 | 0.00081971 | -0.0032718 | -0.00081977 | 1.4378e-07 | -6.3987e-08 | 0.0049505 | 0.0049506 | 0.0049506 | 0.98344 | -0.11523 | 0.9834 | -0.11555 | 1.8335
69 | 0.01603 | 0.004019 | -0.016002 | -0.0040091 | 2.835e-05 | 9.9695e-06 | 0.024535 | 0.024535 | 0.024535 | 0.97223 | -0.19517 | 0.97046 | -0.20795 | 9.0872
70 | 0.0028705 | 0.00071801 | -0.0028704 | -0.00071804 | 4.5971e-08 | -2.9318e-08 | 0.0044008 | 0.0044008 | 0.0044008 | 0.97046 | -0.20795 | 0.97044 | -0.20807 | 1.6299
71 | 0.0015383 | 0.00038418 | -0.0015382 | -0.0003844 | 6.9937e-08 | -2.2209e-07 | 0.0023582 | 0.0023583 | 0.0023583 | 0.97044 | -0.20807 | 0.9704 | -0.2084 | 0.87345
72 | 0.00113 | 0.0002821 | -0.00113 | -0.00028233 | 3.6144e-08 | -2.2451e-07 | 0.0017324 | 0.0017325 | 0.0017325 | 0.9704 | -0.2084 | 0.97037 | -0.20863 | 0.64166
73 | -0.0011299 | -0.00028317 | 0.0011299 | 0.00028275 | 6.8408e-08 | -4.2467e-07 | 0.0017328 | 0.0017326 | 0.0017328 | 0.97025 | -0.2095 | 0.97031 | -0.20906 | 0.64178
74 | -0.0011299 | -0.00028275 | 0.00113 | 0.00028233 | 6.7616e-08 | -4.1989e-07 | 0.0017326 | 0.0017325 | 0.0017326 | 0.97031 | -0.20906 | 0.97037 | -0.20863 | 0.64172
75 | -0.0047461 | -0.0011884 | 0.0047463 | 0.0011884 | 1.9227e-07 | -2.7994e-09 | 0.0071591 | 0.0071591 | 0.0071591 | 0.98643 | -0.094271 | 0.98647 | -0.093977 | 2.6515
76 | 0.0031398 | 0.00078586 | -0.0031395 | -0.00078603 | 3.1287e-07 | -1.65e-07 | 0.004736 | 0.0047361 | 0.0047361 | 0.98643 | -0.094271 | 0.98633 | -0.094992 | 1.7541
77 | -0.0063533 | -0.0015912 | 0.006354 | 0.0015913 | 6.4515e-07 | 1.0439e-07 | 0.0095831 | 0.0095831 | 0.0095831 | 0.98647 | -0.093977 | 0.98658 | -0.093243 | 3.5493
78 | 0.0031395 | 0.00078603 | -0.0031391 | -0.00078626 | 4.4287e-07 | -2.3343e-07 | 0.0047361 | 0.0047362 | 0.0047362 | 0.98633 | -0.094992 | 0.98619 | -0.096013 | 1.7542
79 | -0.0079786 | -0.0019985 | 0.0079792 | 0.0019986 | 5.6683e-07 | 1.379e-07 | 0.012033 | 0.012033 | 0.012033 | 0.98658 | -0.093243 | 0.98665 | -0.092729 | 4.4568
80 | 0.0031391 | 0.00078626 | -0.0031385 | -0.00078657 | 5.9174e-07 | -3.1168e-07 | 0.0047362 | 0.0047364 | 0.0047364 | 0.98619 | -0.096013 | 0.98599 | -0.097375 | 1.7542
81 | 0.0015416 | 0.00038615 | -0.0015416 | -0.00038635 | 5.9656e-08 | -1.9997e-07 | 0.0023326 | 0.0023327 | 0.0023327 | 0.9834 | -0.11555 | 0.98336 | -0.11583 | 0.86395

## res_trafo
| p_hv_mw | q_hv_mvar | p_lv_mw | q_lv_mvar | pl_mw | ql_mvar | i_hv_ka | i_lv_ka | vm_hv_pu | va_hv_degree | vm_lv_pu | va_lv_degree | loading_percent
0 | 2.5187e-16 | 8.8016e-16 | 0.00079998 | 7.4552e-08 | 0.00079998 | 7.4552e-08 | 2.6429e-17 | 0.0011547 | 0.99998 | 149.9947 | 1 | 0 | 0.31999

## res_ext_grid
| p_mw | q_mvar
0 | 0.23561 | 0.059405

## res_load
| p_mw | q_mvar
0 | 0.054935 | 0.013768
1 | 0.0038689 | 0.00096963
2 | 0.0029491 | 0.00073912
3 | 0.0020199 | 0.00050624
4 | 0.00070582 | 0.0001769
5 | 0.0040954 | 0.0010264
6 | 0.002537 | 0.00063584
7 | 0.0015635 | 0.00039186
8 | 0.0023355 | 0.00058534
9 | 0.0015628 | 0.00039168
10 | 0.0016033 | 0.00040182
11 | 0.0021492 | 0.00053863
12 | 0.0016029 | 0.00040173
13 | 0.0059994 | 0.0015036
14 | 0.0060466 | 0.0015154
15 | 0.00082112 | 0.00020579
16 | 0.0013597 | 0.00034077
17 | 0.0016252 | 0.0004073
18 | 0.0008217 | 0.00020594
19 | 0.0012739 | 0.00031927
20 | 0.0041298 | 0.001035
21 | 0.0012408 | 0.00031098
22 | 0.0013153 | 0.00032965
23 | 0.0043708 | 0.0010954
24 | 0.0037266 | 0.00093398
25 | 0.0010199 | 0.0002556
26 | 0.0037437 | 0.00093826
27 | 0.0013895 | 0.00034823
28 | 0.006046 | 0.0015153
29 | 0.0061675 | 0.0015457
30 | 0.0064481 | 0.001616
31 | 0.0060928 | 0.001527
32 | 0.0049664 | 0.0012447
33 | 0.0014028 | 0.00035158
34 | 0.0030692 | 0.00076921
35 | 0.0010069 | 0.00025235
36 | 0.0014489 | 0.00036313
37 | 0.0056737 | 0.001422
38 | 0.0051383 | 0.0012878
39 | 0.0055166 | 0.0013826
40 | 0.0053051 | 0.0013296
41 | 0.0058578 | 0.0014681
42 | 0.0014147 | 0.00035455
43 | 0.0023726 | 0.00059464
44 | 0.0014357 | 0.00035983
45 | 0.0014372 | 0.0003602
46 | 0.0015416 | 0.00038635
47 | 0.0028959 | 0.00072579
48 | 0.0017286 | 0.00043323
49 | 0.0031969 | 0.00080123
50 | 0.013131 | 0.003291
51 | 0.0013321 | 0.00033386
52 | 0.00040818 | 0.0001023
53 | 0.0011299 | 0.00028317
54 | 0.0016063 | 0.00040258
55 | 0.001607 | 0.00040276
56 | 0.0016246 | 0.00040717
57 | 0.0016219 | 0.00040648
58 | 0.0031385 | 0.00078657
59 | 0.0017302 | 0.00043362
60 | 0.0015416 | 0.00038635
61 | 0.00067527 | 0.00016924

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object
62 | res_bus | vm_pu | float64
63 | res_bus | va_degree | float64
64 | res_bus | p_mw | float64
65 | res_bus | q_mvar | float64
66 | res_line | p_from_mw | float64
67 | res_line | q_from_mvar | float64
68 | res_line | p_to_mw | float64
69 | res_line | q_to_mvar | float64
70 | res_line | pl_mw | float64
71 | res_line | ql_mvar | float64
72 | res_line | i_from_ka | float64
73 | res_line | i_to_ka | float64
74 | res_line | i_ka | float64
75 | res_line | vm_from_pu | float64
76 | res_line | va_from_degree | float64
77 | res_line | vm_to_pu | float64
78 | res_line | va_to_degree | float64
79 | res_line | loading_percent | float64
80 | res_trafo | p_hv_mw | float64
81 | res_trafo | q_hv_mvar | float64
82 | res_trafo | p_lv_mw | float64
83 | res_trafo | q_lv_mvar | float64
84 | res_trafo | pl_mw | float64
85 | res_trafo | ql_mvar | float64
86 | res_trafo | i_hv_ka | float64
87 | res_trafo | i_lv_ka | float64
88 | res_trafo | vm_hv_pu | float64
89 | res_trafo | va_hv_degree | float64
90 | res_trafo | vm_lv_pu | float64
91 | res_trafo | va_lv_degree | float64
92 | res_trafo | loading_percent | float64
93 | res_ext_grid | p_mw | float64
94 | res_ext_grid | q_mvar | float64
95 | res_load | p_mw | float64
96 | res_load | q_mvar | float64

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | TRUE | FALSE |  | 50 | 1