## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_1031-55_0_4_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_1031-55_0_4_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_1031-55_0_4_node_2 | 0.4 | n |  | TRUE
3 | bus_LV_1031-55_0_4_node_3 | 0.4 | n |  | TRUE
4 | bus_LV_1031-55_0_4_node_4 | 0.4 | n |  | TRUE
5 | bus_LV_1031-55_0_4_node_15 | 0.4 | n |  | TRUE
6 | bus_LV_1031-55_0_4_node_25 | 0.4 | n |  | TRUE
7 | bus_LV_1031-55_0_4_node_9 | 0.4 | n |  | TRUE
8 | bus_LV_1031-55_0_4_node_41 | 0.4 | n |  | TRUE
9 | bus_LV_1031-55_0_4_node_35 | 0.4 | n |  | TRUE
10 | bus_LV_1031-55_0_4_node_7 | 0.4 | n |  | TRUE
11 | bus_LV_1031-55_0_4_node_5 | 0.4 | n |  | TRUE
12 | bus_LV_1031-55_0_4_node_43 | 0.4 | n |  | TRUE
13 | bus_LV_1031-55_0_4_node_33 | 0.4 | n |  | TRUE
14 | bus_LV_1031-55_0_4_node_6 | 0.4 | n |  | TRUE
15 | bus_LV_1031-55_0_4_node_8 | 0.4 | n |  | TRUE
16 | bus_LV_1031-55_0_4_node_44 | 0.4 | n |  | TRUE
17 | bus_LV_1031-55_0_4_node_42 | 0.4 | n |  | TRUE
18 | bus_LV_1031-55_0_4_node_28 | 0.4 | n |  | TRUE
19 | bus_LV_1031-55_0_4_node_13 | 0.4 | n |  | TRUE
20 | bus_LV_1031-55_0_4_node_27 | 0.4 | n |  | TRUE
21 | bus_LV_1031-55_0_4_node_46 | 0.4 | n |  | TRUE
22 | bus_LV_1031-55_0_4_node_11 | 0.4 | n |  | TRUE
23 | bus_LV_1031-55_0_4_node_34 | 0.4 | n |  | TRUE
24 | bus_LV_1031-55_0_4_node_10 | 0.4 | n |  | TRUE
25 | bus_LV_1031-55_0_4_node_12 | 0.4 | n |  | TRUE
26 | bus_LV_1031-55_0_4_node_14 | 0.4 | n |  | TRUE
27 | bus_LV_1031-55_0_4_node_23 | 0.4 | n |  | TRUE
28 | bus_LV_1031-55_0_4_node_21 | 0.4 | n |  | TRUE
29 | bus_LV_1031-55_0_4_node_22 | 0.4 | n |  | TRUE
30 | bus_LV_1031-55_0_4_node_16 | 0.4 | n |  | TRUE
31 | bus_LV_1031-55_0_4_node_17 | 0.4 | n |  | TRUE
32 | bus_LV_1031-55_0_4_node_18 | 0.4 | n |  | TRUE
33 | bus_LV_1031-55_0_4_node_19 | 0.4 | n |  | TRUE
34 | bus_LV_1031-55_0_4_node_20 | 0.4 | n |  | TRUE
35 | bus_LV_1031-55_0_4_node_38 | 0.4 | n |  | TRUE
36 | bus_LV_1031-55_0_4_node_39 | 0.4 | n |  | TRUE
37 | bus_LV_1031-55_0_4_node_37 | 0.4 | n |  | TRUE
38 | bus_LV_1031-55_0_4_node_29 | 0.4 | n |  | TRUE
39 | bus_LV_1031-55_0_4_node_36 | 0.4 | n |  | TRUE
40 | bus_LV_1031-55_0_4_node_31 | 0.4 | n |  | TRUE
41 | bus_LV_1031-55_0_4_node_30 | 0.4 | n |  | TRUE
42 | bus_LV_1031-55_0_4_node_26 | 0.4 | n |  | TRUE
43 | bus_LV_1031-55_0_4_node_24 | 0.4 | n |  | TRUE
44 | bus_LV_1031-55_0_4_node_32 | 0.4 | n |  | TRUE
45 | bus_LV_1031-55_0_4_node_40 | 0.4 | n |  | TRUE
46 | bus_MV_353_1_node_156 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_1031-55_0_4_load_0 | 0 | 0.0039566 | 0.00099161 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_1031-55_0_4_load_1 | 1 | 0.0034032 | 0.00085292 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_1031-55_0_4_load_2 | 2 | 0.0023644 | 0.00059257 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_1031-55_0_4_load_15 | 5 | 0.0064571 | 0.0016183 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_1031-55_0_4_load_25 | 6 | 0.0043036 | 0.0010786 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_1031-55_0_4_load_9 | 7 | 0.0038593 | 0.00096723 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_1031-55_0_4_load_41 | 8 | 0.018358 | 0.004601 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_1031-55_0_4_load_35 | 9 | 0.0030094 | 0.00075424 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_1031-55_0_4_load_7 | 10 | 0.0028671 | 0.00071857 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_1031-55_0_4_load_5 | 11 | 0.0053161 | 0.0013323 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_1031-55_0_4_load_33 | 13 | 0.0030117 | 0.00075481 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_1031-55_0_4_load_6 | 14 | 0.0049239 | 0.0012341 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_1031-55_0_4_load_8 | 15 | 0.004476 | 0.0011218 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_1031-55_0_4_load_44 | 16 | 0.024843 | 0.0062262 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_1031-55_0_4_load_42 | 17 | 0.023248 | 0.0058264 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_1031-55_0_4_load_28 | 18 | 0.0033685 | 0.00084423 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_1031-55_0_4_load_13 | 19 | 0.0068961 | 0.0017283 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_1031-55_0_4_load_27 | 20 | 0.0043159 | 0.0010817 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_1031-55_0_4_load_46 | 21 | 0.0098568 | 0.0024703 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_1031-55_0_4_load_11 | 22 | 0.0040538 | 0.001016 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_1031-55_0_4_load_34 | 23 | 0.0035574 | 0.00089156 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_1031-55_0_4_load_10 | 24 | 0.0019605 | 0.00049134 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_1031-55_0_4_load_12 | 25 | 0.0097242 | 0.0024371 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_1031-55_0_4_load_23 | 27 | 0.0029154 | 0.00073066 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_1031-55_0_4_load_21 | 28 | 0.0020775 | 0.00052068 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_1031-55_0_4_load_16 | 30 | 0.0012206 | 0.00030592 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_1031-55_0_4_load_17 | 31 | 0.0032914 | 0.00082491 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_1031-55_0_4_load_18 | 32 | 0.0032866 | 0.0008237 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_1031-55_0_4_load_19 | 33 | 0.0040711 | 0.0010203 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_1031-55_0_4_load_20 | 34 | 0.0012903 | 0.00032337 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_1031-55_0_4_load_38 | 35 | 0.018032 | 0.0045192 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_1031-55_0_4_load_39 | 36 | 0.0042675 | 0.0010695 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_1031-55_0_4_load_37 | 37 | 0.0029644 | 0.00074296 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_1031-55_0_4_load_29 | 38 | 0.0036909 | 0.00092502 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_1031-55_0_4_load_36 | 39 | 0.0029644 | 0.00074296 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_1031-55_0_4_load_31 | 40 | 0.003691 | 0.00092506 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_1031-55_0_4_load_26 | 42 | 0.0014325 | 0.00035901 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_1031-55_0_4_load_24 | 43 | 0.0023405 | 0.00058658 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_1031-55_0_4_load_32 | 44 | 0.0029456 | 0.00073825 | 0 | 0 |  | 1 | TRUE | wye
39 | LV_1031-55_0_4_load_40 | 45 | 0.0011794 | 0.00029558 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 15 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_1031-55_0_4_line_0 | NAYY 4x150 SE | 0 | 1 | 0.021855 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
1 | LV_1031-55_0_4_line_1 | NAYY 4x150 SE | 0 | 2 | 0.0078419 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
2 | LV_1031-55_0_4_line_2 | NAYY 4x150 SE | 1 | 3 | 0.020522 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
3 | LV_1031-55_0_4_line_3 | NAYY 4x150 SE | 2 | 4 | 0.0077706 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
4 | LV_1031-55_0_4_line_4 | NAYY 4x150 SE | 3 | 8 | 0.015242 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
5 | LV_1031-55_0_4_line_5 | NAYY 4x150 SE | 3 | 9 | 0.00010056 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
6 | LV_1031-55_0_4_line_6 | NAYY 4x150 SE | 4 | 12 | 0.025965 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
7 | LV_1031-55_0_4_line_7 | NAYY 4x150 SE | 5 | 6 | 0.002884 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
8 | LV_1031-55_0_4_line_8 | NAYY 4x150 SE | 5 | 7 | 0.018145 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
9 | LV_1031-55_0_4_line_9 | NAYY 4x150 SE | 7 | 10 | 0.0034573 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
10 | LV_1031-55_0_4_line_10 | NAYY 4x150 SE | 9 | 13 | 0.0079302 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
11 | LV_1031-55_0_4_line_11 | NAYY 4x150 SE | 10 | 11 | 0.019117 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
12 | LV_1031-55_0_4_line_12 | NAYY 4x150 SE | 11 | 14 | 0.0014918 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
13 | LV_1031-55_0_4_line_13 | NAYY 4x150 SE | 12 | 16 | 0.004709 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
14 | LV_1031-55_0_4_line_14 | NAYY 4x150 SE | 12 | 17 | 0.029004 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
15 | LV_1031-55_0_4_line_15 | NAYY 4x150 SE | 13 | 23 | 0.021428 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
16 | LV_1031-55_0_4_line_16 | NAYY 4x150 SE | 14 | 15 | 0.020362 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
17 | LV_1031-55_0_4_line_17 | NAYY 4x150 SE | 15 | 18 | 0.0018588 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
18 | LV_1031-55_0_4_line_18 | NAYY 4x150 SE | 15 | 19 | 0.049999 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
19 | LV_1031-55_0_4_line_19 | NAYY 4x150 SE | 18 | 20 | 0.019615 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
20 | LV_1031-55_0_4_line_20 | NAYY 4x150 SE | 19 | 21 | 0.053936 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
21 | LV_1031-55_0_4_line_21 | NAYY 4x150 SE | 19 | 22 | 0.0057256 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
22 | LV_1031-55_0_4_line_22 | NAYY 4x150 SE | 20 | 38 | 0.0018512 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
23 | LV_1031-55_0_4_line_23 | NAYY 4x150 SE | 22 | 24 | 0.020923 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
24 | LV_1031-55_0_4_line_24 | NAYY 4x150 SE | 23 | 39 | 0.020774 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
25 | LV_1031-55_0_4_line_25 | NAYY 4x150 SE | 24 | 25 | 0.0050639 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
26 | LV_1031-55_0_4_line_26 | NAYY 4x150 SE | 25 | 26 | 0.020327 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
27 | LV_1031-55_0_4_line_27 | NAYY 4x150 SE | 26 | 27 | 0.015185 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
28 | LV_1031-55_0_4_line_28 | NAYY 4x150 SE | 26 | 28 | 0.036915 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
29 | LV_1031-55_0_4_line_29 | NAYY 4x150 SE | 28 | 29 | 0.026363 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
30 | LV_1031-55_0_4_line_30 | NAYY 4x150 SE | 29 | 43 | 0.015304 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
31 | LV_1031-55_0_4_line_31 | NAYY 4x150 SE | 30 | 31 | 0.019452 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
32 | LV_1031-55_0_4_line_32 | NAYY 4x150 SE | 30 | 32 | 0.002137 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
33 | LV_1031-55_0_4_line_33 | NAYY 4x150 SE | 31 | 33 | 0.004615 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
34 | LV_1031-55_0_4_line_34 | NAYY 4x150 SE | 32 | 34 | 0.019716 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
35 | LV_1031-55_0_4_line_35 | NAYY 4x150 SE | 33 | 38 | 0.016246 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
36 | LV_1031-55_0_4_line_36 | NAYY 4x150 SE | 33 | 39 | 0.055147 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
37 | LV_1031-55_0_4_line_37 | NAYY 4x150 SE | 34 | 42 | 0.00030609 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
38 | LV_1031-55_0_4_line_38 | NAYY 4x150 SE | 35 | 36 | 0.016469 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
39 | LV_1031-55_0_4_line_39 | NAYY 4x150 SE | 35 | 37 | 0.0093745 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
40 | LV_1031-55_0_4_line_40 | NAYY 4x150 SE | 36 | 45 | 0.020765 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
41 | LV_1031-55_0_4_line_41 | NAYY 4x150 SE | 37 | 39 | 0.0072301 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
42 | LV_1031-55_0_4_line_42 | NAYY 4x150 SE | 40 | 41 | 0.01707 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
43 | LV_1031-55_0_4_line_43 | NAYY 4x150 SE | 41 | 44 | 0.008142 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
44 | LV_1031-55_0_4_line_44 | NAYY 4x150 SE | 41 | 43 | 0.011609 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_1031-55_0_4_trafo_8 | 0.25 MVA 20/0.4 kV | 46 | 15 | 0.25 | 20 | 0.4 | 6 | 1.44 | 0.8 | 0.32 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3
0 | 2665213.1969 | 1224723.0319 | 2665223.2452 | 1224703.6237
1 | 2665213.1969 | 1224723.0319 | 2665209.5914 | 1224729.9958
2 | 2665232.6804 | 1224685.3997 | 2665223.2452 | 1224703.6237
3 | 2665206.0187 | 1224736.8963 | 2665209.5914 | 1224729.9958
4 | 2665232.6804 | 1224685.3997 | 2665239.0853 | 1224689.7171 | 2665244.2465 | 1224695.1835
5 | 2665232.7265 | 1224685.3104 | 2665232.6804 | 1224685.3997
6 | 2665206.0187 | 1224736.8963 | 2665214.0214 | 1224740.7086 | 2665222.9501 | 1224745.1204 | 2665228.3625 | 1224740.3766
7 | 2665159.6541 | 1224704.885 | 2665158.3101 | 1224707.4367
8 | 2665168.1104 | 1224688.8304 | 2665159.6541 | 1224704.885
9 | 2665168.1104 | 1224688.8304 | 2665169.7216 | 1224685.7716
10 | 2665236.368 | 1224678.2657 | 2665232.7265 | 1224685.3104
11 | 2665178.6305 | 1224668.8577 | 2665169.7216 | 1224685.7716
12 | 2665178.6305 | 1224668.8577 | 2665179.3258 | 1224667.5378
13 | 2665229.7538 | 1224735.8779 | 2665228.3625 | 1224740.3766
14 | 2665228.3625 | 1224740.3766 | 2665234.8463 | 1224747.8747 | 2665242.0906 | 1224751.701 | 2665247.392 | 1224742.1783
15 | 2665236.368 | 1224678.2657 | 2665246.2073 | 1224659.2305
16 | 2665188.815 | 1224649.5222 | 2665179.3258 | 1224667.5378
17 | 2665188.815 | 1224649.5222 | 2665189.6813 | 1224647.8776
18 | 2665188.815 | 1224649.5222 | 2665144.4336 | 1224626.4958
19 | 2665189.6813 | 1224647.8776 | 2665198.8226 | 1224630.5225
20 | 2665144.4336 | 1224626.4958 | 2665113.38 | 1224670.5955
21 | 2665144.4336 | 1224626.4958 | 2665144.4963 | 1224620.7706
22 | 2665199.6854 | 1224628.8846 | 2665198.8226 | 1224630.5225
23 | 2665144.4963 | 1224620.7706 | 2665130.0553 | 1224608.7271 | 2665128.129 | 1224607.8445
24 | 2665246.2073 | 1224659.2305 | 2665255.7464 | 1224640.776
25 | 2665123.5252 | 1224605.7352 | 2665128.129 | 1224607.8445
26 | 2665105.0459 | 1224597.2685 | 2665123.5252 | 1224605.7352
27 | 2665105.0459 | 1224597.2685 | 2665092.6227 | 1224588.5361
28 | 2665105.0459 | 1224597.2685 | 2665128.0006 | 1224568.3581
29 | 2665144.3938 | 1224547.7114 | 2665128.0006 | 1224568.3581
30 | 2665144.3938 | 1224547.7114 | 2665157.9624 | 1224554.7893
31 | 2665209.407 | 1224610.4277 | 2665218.472 | 1224593.2176
32 | 2665219.4679 | 1224591.3268 | 2665218.472 | 1224593.2176
33 | 2665209.407 | 1224610.4277 | 2665207.2563 | 1224614.5109
34 | 2665219.4679 | 1224591.3268 | 2665223.6771 | 1224583.3356 | 2665228.7575 | 1224573.9365
35 | 2665207.2563 | 1224614.5109 | 2665199.6854 | 1224628.8846
36 | 2665207.2563 | 1224614.5109 | 2665255.7464 | 1224640.776
37 | 2665228.7575 | 1224573.9365 | 2665228.9031 | 1224573.6672
38 | 2665271.871 | 1224611.9027 | 2665263.7732 | 1224626.2429
39 | 2665259.1636 | 1224634.4058 | 2665263.7732 | 1224626.2429
40 | 2665271.871 | 1224611.9027 | 2665282.0812 | 1224593.8218
41 | 2665259.1636 | 1224634.4058 | 2665257.6934 | 1224637.0094 | 2665255.7464 | 1224640.776
42 | 2665168.2552 | 1224560.1583 | 2665161.3134 | 1224575.759
43 | 2665168.2552 | 1224560.1583 | 2665175.4927 | 1224563.9288
44 | 2665168.2552 | 1224560.1583 | 2665157.9624 | 1224554.7893

## bus_geodata
| x | y | coords
0 | 2665213.1969 | 1224723.0319
1 | 2665223.2452 | 1224703.6237
2 | 2665209.5914 | 1224729.9958
3 | 2665232.6804 | 1224685.3997
4 | 2665206.0187 | 1224736.8963
5 | 2665159.6541 | 1224704.885
6 | 2665158.3101 | 1224707.4367
7 | 2665168.1104 | 1224688.8304
8 | 2665244.2465 | 1224695.1835
9 | 2665232.7265 | 1224685.3104
10 | 2665169.7216 | 1224685.7716
11 | 2665178.6305 | 1224668.8577
12 | 2665228.3625 | 1224740.3766
13 | 2665236.368 | 1224678.2657
14 | 2665179.3258 | 1224667.5378
15 | 2665188.815 | 1224649.5222
16 | 2665229.7538 | 1224735.8779
17 | 2665247.392 | 1224742.1783
18 | 2665189.6813 | 1224647.8776
19 | 2665144.4336 | 1224626.4958
20 | 2665198.8226 | 1224630.5225
21 | 2665113.38 | 1224670.5955
22 | 2665144.4963 | 1224620.7706
23 | 2665246.2073 | 1224659.2305
24 | 2665128.129 | 1224607.8445
25 | 2665123.5252 | 1224605.7352
26 | 2665105.0459 | 1224597.2685
27 | 2665092.6227 | 1224588.5361
28 | 2665128.0006 | 1224568.3581
29 | 2665144.3938 | 1224547.7114
30 | 2665218.472 | 1224593.2176
31 | 2665209.407 | 1224610.4277
32 | 2665219.4679 | 1224591.3268
33 | 2665207.2563 | 1224614.5109
34 | 2665228.7575 | 1224573.9365
35 | 2665263.7732 | 1224626.2429
36 | 2665271.871 | 1224611.9027
37 | 2665259.1636 | 1224634.4058
38 | 2665199.6854 | 1224628.8846
39 | 2665255.7464 | 1224640.776
40 | 2665161.3134 | 1224575.759
41 | 2665168.2551 | 1224560.1583
42 | 2665228.9031 | 1224573.6672
43 | 2665157.9624 | 1224554.7893
44 | 2665175.4927 | 1224563.9288
45 | 2665282.0812 | 1224593.8218
46 | 2665155.9248 | 1224711.9653

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## res_bus
| vm_pu | va_degree | p_mw | q_mvar
0 | 0.98202 | -0.12593 | 0.0039566 | 0.00099161
1 | 0.98375 | -0.11365 | 0.0034032 | 0.00085292
2 | 0.98145 | -0.13003 | 0.0023644 | 0.00059257
3 | 0.98548 | -0.10143 | 0 | 0
4 | 0.9809 | -0.13391 | 0 | 0
5 | 0.99832 | -0.011786 | 0.0064571 | 0.0016183
6 | 0.9983 | -0.01191 | 0.0043036 | 0.0010786
7 | 0.9986 | -0.0098307 | 0.0038593 | 0.00096723
8 | 0.98508 | -0.10431 | 0.018358 | 0.004601
9 | 0.98549 | -0.10135 | 0.0030094 | 0.00075424
10 | 0.99867 | -0.0093248 | 0.0028671 | 0.00071857
11 | 0.99915 | -0.0059805 | 0.0053161 | 0.0013323
12 | 0.97908 | -0.14688 | 0 | 0
13 | 0.9864 | -0.094904 | 0.0030117 | 0.00075481
14 | 0.99919 | -0.0056403 | 0.0049239 | 0.0012341
15 | 1 | 0 | -0.21827 | -0.054782
16 | 0.97891 | -0.1481 | 0.024843 | 0.0062262
17 | 0.9781 | -0.15391 | 0.023248 | 0.0058264
18 | 0.99981 | -0.0013097 | 0.0033685 | 0.00084423
19 | 0.99667 | -0.023275 | 0.0068961 | 0.0017283
20 | 0.99786 | -0.01483 | 0.0043159 | 0.0010817
21 | 0.99591 | -0.028622 | 0.0098568 | 0.0024703
22 | 0.99643 | -0.024985 | 0.0040538 | 0.001016
23 | 0.98896 | -0.076882 | 0.0035574 | 0.00089156
24 | 0.99566 | -0.030388 | 0.0019605 | 0.00049134
25 | 0.99549 | -0.031597 | 0.0097242 | 0.0024371
26 | 0.99508 | -0.034461 | 0 | 0
27 | 0.99502 | -0.034907 | 0.0029154 | 0.00073066
28 | 0.9945 | -0.03858 | 0.0020775 | 0.00052068
29 | 0.99416 | -0.040971 | 0 | 0
30 | 0.99588 | -0.02856 | 0.0012206 | 0.00030592
31 | 0.99608 | -0.027144 | 0.0032914 | 0.00082491
32 | 0.99586 | -0.028689 | 0.0032866 | 0.0008237
33 | 0.99615 | -0.026656 | 0.0040711 | 0.0010203
34 | 0.99579 | -0.029229 | 0.0012903 | 0.00032337
35 | 0.99096 | -0.062926 | 0.018032 | 0.0045192
36 | 0.99083 | -0.063838 | 0.0042675 | 0.0010695
37 | 0.99128 | -0.060689 | 0.0029644 | 0.00074296
38 | 0.99768 | -0.016068 | 0.0036909 | 0.00092502
39 | 0.99155 | -0.058748 | 0.0029644 | 0.00074296
40 | 0.99376 | -0.043774 | 0.003691 | 0.00092506
41 | 0.99385 | -0.043138 | 0 | 0
42 | 0.99579 | -0.029234 | 0.0014325 | 0.00035901
43 | 0.99396 | -0.042359 | 0.0023405 | 0.00058658
44 | 0.99382 | -0.04338 | 0.0029456 | 0.00073825
45 | 0.9908 | -0.064087 | 0.0011794 | 0.00029558
46 | 0.99998 | 149.9947 | 0 | 0

## res_line
| p_from_mw | q_from_mvar | p_to_mw | q_to_mvar | pl_mw | ql_mvar | i_from_ka | i_to_ka | i_ka | vm_from_pu | va_from_degree | vm_to_pu | va_to_degree | loading_percent
0 | -0.05458 | -0.013701 | 0.054673 | 0.013736 | 9.3294e-05 | 3.5605e-05 | 0.08271 | 0.08271 | 0.08271 | 0.98202 | -0.12593 | 0.98375 | -0.11365 | 30.6334
1 | 0.050623 | 0.012709 | -0.050594 | -0.012698 | 2.8798e-05 | 1.0977e-05 | 0.076715 | 0.076715 | 0.076715 | 0.98202 | -0.12593 | 0.98145 | -0.13003 | 28.413
2 | -0.058076 | -0.014589 | 0.058175 | 0.014627 | 9.8845e-05 | 3.7756e-05 | 0.087858 | 0.087858 | 0.087858 | 0.98375 | -0.11365 | 0.98548 | -0.10143 | 32.5399
3 | 0.04823 | 0.012105 | -0.048204 | -0.012096 | 2.5932e-05 | 9.8756e-06 | 0.07313 | 0.07313 | 0.07313 | 0.98145 | -0.13003 | 0.9809 | -0.13391 | 27.0853
4 | 0.018366 | 0.0046037 | -0.018358 | -0.004601 | 7.3143e-06 | 2.6191e-06 | 0.027731 | 0.027731 | 0.027731 | 0.98548 | -0.10143 | 0.98508 | -0.10431 | 10.2709
5 | -0.076541 | -0.019231 | 0.076542 | 0.019231 | 8.3835e-07 | 3.2116e-07 | 0.11559 | 0.11559 | 0.11559 | 0.98548 | -0.10143 | 0.98549 | -0.10135 | 42.8107
6 | 0.048204 | 0.012096 | -0.048117 | -0.012063 | 8.665e-05 | 3.3e-05 | 0.07313 | 0.07313 | 0.07313 | 0.9809 | -0.13391 | 0.97908 | -0.14688 | 27.0853
7 | 0.0043037 | 0.0010786 | -0.0043036 | -0.0010786 | 7.4052e-08 | -9.227e-09 | 0.0064147 | 0.0064147 | 0.0064147 | 0.99832 | -0.011786 | 0.9983 | -0.01191 | 2.3758
8 | -0.010761 | -0.0026969 | 0.010764 | 0.0026978 | 2.9128e-06 | 8.83e-07 | 0.016039 | 0.016039 | 0.016039 | 0.99832 | -0.011786 | 0.9986 | -0.0098307 | 5.9404
9 | -0.014623 | -0.003665 | 0.014624 | 0.0036653 | 1.0243e-06 | 3.4873e-07 | 0.02179 | 0.02179 | 0.02179 | 0.9986 | -0.0098307 | 0.99867 | -0.0093248 | 8.0703
10 | -0.079551 | -0.019985 | 0.079623 | 0.020012 | 7.1416e-05 | 2.7367e-05 | 0.12013 | 0.12013 | 0.12013 | 0.98549 | -0.10135 | 0.9864 | -0.094904 | 44.4937
11 | -0.017491 | -0.0043839 | 0.017499 | 0.0043868 | 8.1023e-06 | 2.866e-06 | 0.026062 | 0.026062 | 0.026062 | 0.99867 | -0.0093248 | 0.99915 | -0.0059805 | 9.6525
12 | -0.022815 | -0.0057191 | 0.022816 | 0.0057195 | 1.0748e-06 | 3.9383e-07 | 0.033979 | 0.033979 | 0.033979 | 0.99915 | -0.0059805 | 0.99919 | -0.0056403 | 12.5848
13 | 0.024847 | 0.0062278 | -0.024843 | -0.0062262 | 4.1903e-06 | 1.5524e-06 | 0.037763 | 0.037763 | 0.037763 | 0.97908 | -0.14688 | 0.97891 | -0.1481 | 13.9863
14 | 0.02327 | 0.0058348 | -0.023248 | -0.0058264 | 2.2639e-05 | 8.3428e-06 | 0.035367 | 0.035367 | 0.035367 | 0.97908 | -0.14688 | 0.9781 | -0.15391 | 13.0991
15 | -0.082634 | -0.020767 | 0.082842 | 0.020847 | 0.00020784 | 7.9664e-05 | 0.12468 | 0.12468 | 0.12468 | 0.9864 | -0.094904 | 0.98896 | -0.076882 | 46.1764
16 | -0.02774 | -0.0069536 | 0.027762 | 0.0069616 | 2.1685e-05 | 8.0733e-06 | 0.041312 | 0.041312 | 0.041312 | 0.99919 | -0.0056403 | 1 | 0 | 15.3007
17 | 0.14304 | 0.0361 | -0.14302 | -0.03609 | 2.6297e-05 | 1.0065e-05 | 0.21294 | 0.21294 | 0.21294 | 1 | 0 | 0.99981 | -0.0013097 | 39.4329
18 | 0.046667 | 0.01172 | -0.046517 | -0.011663 | 0.00015049 | 5.7225e-05 | 0.06945 | 0.06945 | 0.06945 | 1 | 0 | 0.99667 | -0.023275 | 25.7223
19 | 0.13965 | 0.035246 | -0.13938 | -0.035145 | 0.00026458 | 0.00010125 | 0.20792 | 0.20792 | 0.20792 | 0.99981 | -0.0013097 | 0.99786 | -0.01483 | 38.5046
20 | 0.0098641 | 0.0024725 | -0.0098568 | -0.0024703 | 7.2997e-06 | 2.1052e-06 | 0.014727 | 0.014727 | 0.014727 | 0.99667 | -0.023275 | 0.99591 | -0.028622 | 5.4545
21 | 0.029757 | 0.0074618 | -0.02975 | -0.0074592 | 7.0519e-06 | 2.6377e-06 | 0.044428 | 0.044428 | 0.044428 | 0.99667 | -0.023275 | 0.99643 | -0.024985 | 16.4547
22 | 0.13507 | 0.034063 | -0.13504 | -0.034054 | 2.3448e-05 | 8.9703e-06 | 0.20149 | 0.20149 | 0.20149 | 0.99786 | -0.01483 | 0.99768 | -0.016068 | 37.3127
23 | 0.025696 | 0.0064432 | -0.025677 | -0.006436 | 1.9225e-05 | 7.122e-06 | 0.038374 | 0.038374 | 0.038374 | 0.99643 | -0.024985 | 0.99566 | -0.030388 | 14.2125
24 | -0.086399 | -0.021738 | 0.086619 | 0.021823 | 0.00021917 | 8.403e-05 | 0.13003 | 0.13003 | 0.13003 | 0.98896 | -0.076882 | 0.99155 | -0.058748 | 48.1587
25 | 0.023716 | 0.0059447 | -0.023712 | -0.0059432 | 3.9697e-06 | 1.461e-06 | 0.035444 | 0.035444 | 0.035444 | 0.99566 | -0.030388 | 0.99549 | -0.031597 | 13.1274
26 | 0.013988 | 0.0035061 | -0.013982 | -0.0035043 | 5.545e-06 | 1.8685e-06 | 0.020909 | 0.020909 | 0.020909 | 0.99549 | -0.031597 | 0.99508 | -0.034461 | 7.744
27 | 0.0029156 | 0.00073053 | -0.0029154 | -0.00073066 | 1.8011e-07 | -1.2798e-07 | 0.0043598 | 0.0043598 | 0.0043598 | 0.99508 | -0.034461 | 0.99502 | -0.034907 | 1.6148
28 | 0.011067 | 0.0027737 | -0.01106 | -0.0027718 | 6.3087e-06 | 1.9471e-06 | 0.016549 | 0.016549 | 0.016549 | 0.99508 | -0.034461 | 0.9945 | -0.03858 | 6.1293
29 | 0.0089829 | 0.0022511 | -0.00898 | -0.0022503 | 2.9719e-06 | 8.0107e-07 | 0.013441 | 0.013441 | 0.013441 | 0.9945 | -0.03858 | 0.99416 | -0.040971 | 4.9781
30 | 0.00898 | 0.0022503 | -0.0089783 | -0.0022498 | 1.7252e-06 | 4.6513e-07 | 0.013441 | 0.013441 | 0.013441 | 0.99416 | -0.040971 | 0.99396 | -0.042359 | 4.9781
31 | -0.0072303 | -0.0018118 | 0.0072317 | 0.0018121 | 1.4166e-06 | 2.9169e-07 | 0.010803 | 0.010803 | 0.010803 | 0.99588 | -0.02856 | 0.99608 | -0.027144 | 4.0012
32 | 0.0060097 | 0.0015059 | -0.0060096 | -0.0015059 | 1.0752e-07 | 1.3548e-08 | 0.0089794 | 0.0089794 | 0.0089794 | 0.99588 | -0.02856 | 0.99586 | -0.028689 | 3.3257
33 | -0.010523 | -0.002637 | 0.010524 | 0.0026372 | 7.1164e-07 | 2.1363e-07 | 0.01572 | 0.01572 | 0.01572 | 0.99608 | -0.027144 | 0.99615 | -0.026656 | 5.8222
34 | 0.0027229 | 0.0006822 | -0.0027227 | -0.00068238 | 2.0366e-07 | -1.7818e-07 | 0.0040685 | 0.0040686 | 0.0040686 | 0.99586 | -0.028689 | 0.99579 | -0.029229 | 1.5069
35 | -0.13116 | -0.033055 | 0.13135 | 0.033129 | 0.00019468 | 7.4455e-05 | 0.19598 | 0.19598 | 0.19598 | 0.99615 | -0.026656 | 0.99768 | -0.016068 | 36.2933
36 | 0.11656 | 0.029397 | -0.11604 | -0.029198 | 0.00052202 | 0.00019935 | 0.17418 | 0.17418 | 0.17418 | 0.99615 | -0.026656 | 0.99155 | -0.058748 | 32.2562
37 | 0.0014325 | 0.00035901 | -0.0014325 | -0.00035901 | 8.7494e-10 | -3.6453e-09 | 0.0021406 | 0.0021406 | 0.0021406 | 0.99579 | -0.029229 | 0.99579 | -0.029234 | 0.7928
38 | 0.0054476 | 0.0013649 | -0.0054469 | -0.0013649 | 6.8762e-07 | 5.2328e-08 | 0.00818 | 0.00818 | 0.00818 | 0.99096 | -0.062926 | 0.99083 | -0.063838 | 3.0296
39 | -0.023479 | -0.0058841 | 0.023487 | 0.0058868 | 7.2712e-06 | 2.6758e-06 | 0.035256 | 0.035256 | 0.035256 | 0.99096 | -0.062926 | 0.99128 | -0.060689 | 13.0579
40 | 0.0011794 | 0.00029533 | -0.0011794 | -0.00029558 | 4.0649e-08 | -2.518e-07 | 0.0017712 | 0.0017713 | 0.0017713 | 0.99083 | -0.063838 | 0.9908 | -0.064087 | 0.65602
41 | -0.026451 | -0.0066297 | 0.026458 | 0.0066324 | 7.1128e-06 | 2.6425e-06 | 0.039706 | 0.039706 | 0.039706 | 0.99128 | -0.060689 | 0.99155 | -0.058748 | 14.706
42 | -0.003691 | -0.00092506 | 0.0036913 | 0.00092496 | 3.2535e-07 | -9.6044e-08 | 0.0055268 | 0.0055267 | 0.0055268 | 0.99376 | -0.043774 | 0.99385 | -0.043138 | 2.047
43 | 0.0029457 | 0.00073818 | -0.0029456 | -0.00073825 | 9.8827e-08 | -6.7494e-08 | 0.0044104 | 0.0044104 | 0.0044104 | 0.99385 | -0.043138 | 0.99382 | -0.04338 | 1.6335
44 | -0.0066371 | -0.0016631 | 0.0066378 | 0.0016633 | 7.1531e-07 | 1.2467e-07 | 0.0099371 | 0.009937 | 0.0099371 | 0.99385 | -0.043138 | 0.99396 | -0.042359 | 3.6804

## res_trafo
| p_hv_mw | q_hv_mvar | p_lv_mw | q_lv_mvar | pl_mw | ql_mvar | i_hv_ka | i_lv_ka | vm_hv_pu | va_hv_degree | vm_lv_pu | va_lv_degree | loading_percent
0 | 2.5187e-16 | 8.8016e-16 | 0.00079998 | 7.4552e-08 | 0.00079998 | 7.4552e-08 | 2.6429e-17 | 0.0011547 | 0.99998 | 149.9947 | 1 | 0 | 0.31999

## res_ext_grid
| p_mw | q_mvar
0 | 0.22275 | 0.055904

## res_load
| p_mw | q_mvar
0 | 0.0039566 | 0.00099161
1 | 0.0034032 | 0.00085292
2 | 0.0023644 | 0.00059257
3 | 0.0064571 | 0.0016183
4 | 0.0043036 | 0.0010786
5 | 0.0038593 | 0.00096723
6 | 0.018358 | 0.004601
7 | 0.0030094 | 0.00075424
8 | 0.0028671 | 0.00071857
9 | 0.0053161 | 0.0013323
10 | 0.0030117 | 0.00075481
11 | 0.0049239 | 0.0012341
12 | 0.004476 | 0.0011218
13 | 0.024843 | 0.0062262
14 | 0.023248 | 0.0058264
15 | 0.0033685 | 0.00084423
16 | 0.0068961 | 0.0017283
17 | 0.0043159 | 0.0010817
18 | 0.0098568 | 0.0024703
19 | 0.0040538 | 0.001016
20 | 0.0035574 | 0.00089156
21 | 0.0019605 | 0.00049134
22 | 0.0097242 | 0.0024371
23 | 0.0029154 | 0.00073066
24 | 0.0020775 | 0.00052068
25 | 0.0012206 | 0.00030592
26 | 0.0032914 | 0.00082491
27 | 0.0032866 | 0.0008237
28 | 0.0040711 | 0.0010203
29 | 0.0012903 | 0.00032337
30 | 0.018032 | 0.0045192
31 | 0.0042675 | 0.0010695
32 | 0.0029644 | 0.00074296
33 | 0.0036909 | 0.00092502
34 | 0.0029644 | 0.00074296
35 | 0.003691 | 0.00092506
36 | 0.0014325 | 0.00035901
37 | 0.0023405 | 0.00058658
38 | 0.0029456 | 0.00073825
39 | 0.0011794 | 0.00029558

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object
62 | res_bus | vm_pu | float64
63 | res_bus | va_degree | float64
64 | res_bus | p_mw | float64
65 | res_bus | q_mvar | float64
66 | res_line | p_from_mw | float64
67 | res_line | q_from_mvar | float64
68 | res_line | p_to_mw | float64
69 | res_line | q_to_mvar | float64
70 | res_line | pl_mw | float64
71 | res_line | ql_mvar | float64
72 | res_line | i_from_ka | float64
73 | res_line | i_to_ka | float64
74 | res_line | i_ka | float64
75 | res_line | vm_from_pu | float64
76 | res_line | va_from_degree | float64
77 | res_line | vm_to_pu | float64
78 | res_line | va_to_degree | float64
79 | res_line | loading_percent | float64
80 | res_trafo | p_hv_mw | float64
81 | res_trafo | q_hv_mvar | float64
82 | res_trafo | p_lv_mw | float64
83 | res_trafo | q_lv_mvar | float64
84 | res_trafo | pl_mw | float64
85 | res_trafo | ql_mvar | float64
86 | res_trafo | i_hv_ka | float64
87 | res_trafo | i_lv_ka | float64
88 | res_trafo | vm_hv_pu | float64
89 | res_trafo | va_hv_degree | float64
90 | res_trafo | vm_lv_pu | float64
91 | res_trafo | va_lv_degree | float64
92 | res_trafo | loading_percent | float64
93 | res_ext_grid | p_mw | float64
94 | res_ext_grid | q_mvar | float64
95 | res_load | p_mw | float64
96 | res_load | q_mvar | float64

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | TRUE | FALSE |  | 50 | 1