## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_1031-58_0_3_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_1031-58_0_3_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_1031-58_0_3_node_2 | 0.4 | n |  | TRUE
3 | bus_LV_1031-58_0_3_node_3 | 0.4 | n |  | TRUE
4 | bus_LV_1031-58_0_3_node_4 | 0.4 | n |  | TRUE
5 | bus_LV_1031-58_0_3_node_5 | 0.4 | n |  | TRUE
6 | bus_LV_1031-58_0_3_node_6 | 0.4 | n |  | TRUE
7 | bus_LV_1031-58_0_3_node_10 | 0.4 | n |  | TRUE
8 | bus_LV_1031-58_0_3_node_7 | 0.4 | n |  | TRUE
9 | bus_LV_1031-58_0_3_node_16 | 0.4 | n |  | TRUE
10 | bus_LV_1031-58_0_3_node_8 | 0.4 | n |  | TRUE
11 | bus_LV_1031-58_0_3_node_25 | 0.4 | n |  | TRUE
12 | bus_LV_1031-58_0_3_node_22 | 0.4 | n |  | TRUE
13 | bus_LV_1031-58_0_3_node_31 | 0.4 | n |  | TRUE
14 | bus_LV_1031-58_0_3_node_23 | 0.4 | n |  | TRUE
15 | bus_LV_1031-58_0_3_node_11 | 0.4 | n |  | TRUE
16 | bus_LV_1031-58_0_3_node_26 | 0.4 | n |  | TRUE
17 | bus_LV_1031-58_0_3_node_12 | 0.4 | n |  | TRUE
18 | bus_LV_1031-58_0_3_node_34 | 0.4 | n |  | TRUE
19 | bus_LV_1031-58_0_3_node_35 | 0.4 | n |  | TRUE
20 | bus_LV_1031-58_0_3_node_14 | 0.4 | n |  | TRUE
21 | bus_LV_1031-58_0_3_node_29 | 0.4 | n |  | TRUE
22 | bus_LV_1031-58_0_3_node_28 | 0.4 | n |  | TRUE
23 | bus_LV_1031-58_0_3_node_27 | 0.4 | n |  | TRUE
24 | bus_LV_1031-58_0_3_node_36 | 0.4 | n |  | TRUE
25 | bus_LV_1031-58_0_3_node_20 | 0.4 | n |  | TRUE
26 | bus_LV_1031-58_0_3_node_17 | 0.4 | n |  | TRUE
27 | bus_LV_1031-58_0_3_node_18 | 0.4 | n |  | TRUE
28 | bus_LV_1031-58_0_3_node_19 | 0.4 | n |  | TRUE
29 | bus_LV_1031-58_0_3_node_21 | 0.4 | n |  | TRUE
30 | bus_LV_1031-58_0_3_node_24 | 0.4 | n |  | TRUE
31 | bus_LV_1031-58_0_3_node_32 | 0.4 | n |  | TRUE
32 | bus_LV_1031-58_0_3_node_33 | 0.4 | n |  | TRUE
33 | bus_LV_1031-58_0_3_node_38 | 0.4 | n |  | TRUE
34 | bus_LV_1031-58_0_3_node_37 | 0.4 | n |  | TRUE
35 | bus_MV_353_1_node_269 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_1031-58_0_3_load_0 | 0 | 0.0025075 | 0.00062844 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_1031-58_0_3_load_1 | 1 | 0.0023859 | 0.00059797 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_1031-58_0_3_load_3 | 3 | 0.026042 | 0.0065266 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_1031-58_0_3_load_4 | 4 | 0.0011375 | 0.00028508 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_1031-58_0_3_load_5 | 5 | 0.0021742 | 0.00054489 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_1031-58_0_3_load_6 | 6 | 0.0016489 | 0.00041324 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_1031-58_0_3_load_16 | 9 | 0.0031041 | 0.00077797 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_1031-58_0_3_load_8 | 10 | 0.0030135 | 0.00075526 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_1031-58_0_3_load_25 | 11 | 0.0011368 | 0.00028492 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_1031-58_0_3_load_22 | 12 | 0.0013959 | 0.00034985 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_1031-58_0_3_load_31 | 13 | 0.001322 | 0.00033131 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_1031-58_0_3_load_23 | 14 | 0.0014079 | 0.00035284 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_1031-58_0_3_load_26 | 16 | 0.0030285 | 0.00075902 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_1031-58_0_3_load_34 | 18 | 0.011102 | 0.0027823 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_1031-58_0_3_load_29 | 21 | 0.023449 | 0.0058768 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_1031-58_0_3_load_28 | 22 | 0.0070038 | 0.0017553 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_1031-58_0_3_load_36 | 24 | 0.022944 | 0.0057503 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_1031-58_0_3_load_20 | 25 | 0.01109 | 0.0027794 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_1031-58_0_3_load_17 | 26 | 0.01139 | 0.0028545 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_1031-58_0_3_load_18 | 27 | 0.010837 | 0.0027159 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_1031-58_0_3_load_19 | 28 | 0.010848 | 0.0027187 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_1031-58_0_3_load_21 | 29 | 0.01139 | 0.0028545 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_1031-58_0_3_load_24 | 30 | 0.0013099 | 0.00032828 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_1031-58_0_3_load_32 | 31 | 0.0074122 | 0.0018577 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_1031-58_0_3_load_33 | 32 | 0.0014895 | 0.00037331 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_1031-58_0_3_load_38 | 33 | 0.0071068 | 0.0017811 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_1031-58_0_3_load_37 | 34 | 0.0011794 | 0.00029558 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 18 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_1031-58_0_3_line_0 | NAYY 4x150 SE | 0 | 1 | 0.014319 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
1 | LV_1031-58_0_3_line_1 | NAYY 4x150 SE | 0 | 2 | 0.018805 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
2 | LV_1031-58_0_3_line_2 | NAYY 4x150 SE | 1 | 3 | 6.4159e-05 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
3 | LV_1031-58_0_3_line_3 | NAYY 4x150 SE | 2 | 4 | 0.016394 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
4 | LV_1031-58_0_3_line_4 | NAYY 4x150 SE | 2 | 5 | 0.01813 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
5 | LV_1031-58_0_3_line_5 | NAYY 4x150 SE | 4 | 6 | 0.01079 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
6 | LV_1031-58_0_3_line_6 | NAYY 4x150 SE | 5 | 7 | 0.018919 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
7 | LV_1031-58_0_3_line_7 | NAYY 4x150 SE | 6 | 8 | 0.008658 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
8 | LV_1031-58_0_3_line_8 | NAYY 4x150 SE | 7 | 9 | 0.035564 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
9 | LV_1031-58_0_3_line_9 | NAYY 4x150 SE | 7 | 10 | 0.012522 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
10 | LV_1031-58_0_3_line_10 | NAYY 4x150 SE | 8 | 11 | 0.016731 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
11 | LV_1031-58_0_3_line_11 | NAYY 4x150 SE | 8 | 12 | 0.015672 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
12 | LV_1031-58_0_3_line_12 | NAYY 4x150 SE | 9 | 15 | 0.040751 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
13 | LV_1031-58_0_3_line_13 | NAYY 4x150 SE | 11 | 13 | 0.0017099 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
14 | LV_1031-58_0_3_line_14 | NAYY 4x150 SE | 12 | 14 | 0.018315 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
15 | LV_1031-58_0_3_line_15 | NAYY 4x150 SE | 13 | 31 | 0.029755 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
16 | LV_1031-58_0_3_line_16 | NAYY 4x150 SE | 14 | 30 | 0.0031941 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
17 | LV_1031-58_0_3_line_17 | NAYY 4x150 SE | 15 | 16 | 0.061882 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
18 | LV_1031-58_0_3_line_18 | NAYY 4x150 SE | 16 | 18 | 0.048223 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
19 | LV_1031-58_0_3_line_19 | NAYY 4x150 SE | 17 | 18 | 0.003819 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
20 | LV_1031-58_0_3_line_20 | NAYY 4x150 SE | 17 | 19 | 0.004075 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
21 | LV_1031-58_0_3_line_21 | NAYY 4x150 SE | 18 | 25 | 0.0065092 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
22 | LV_1031-58_0_3_line_22 | NAYY 4x150 SE | 19 | 21 | 0.022892 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
23 | LV_1031-58_0_3_line_23 | NAYY 4x150 SE | 19 | 23 | 0.005181 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
24 | LV_1031-58_0_3_line_24 | NAYY 4x150 SE | 20 | 21 | 0.077665 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
25 | LV_1031-58_0_3_line_25 | NAYY 4x150 SE | 20 | 22 | 0.03188 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
26 | LV_1031-58_0_3_line_26 | NAYY 4x150 SE | 23 | 24 | 0.042559 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
27 | LV_1031-58_0_3_line_27 | NAYY 4x150 SE | 25 | 27 | 0.014327 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
28 | LV_1031-58_0_3_line_28 | NAYY 4x150 SE | 26 | 27 | 0.0025276 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
29 | LV_1031-58_0_3_line_29 | NAYY 4x150 SE | 26 | 28 | 0.0036185 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
30 | LV_1031-58_0_3_line_30 | NAYY 4x150 SE | 28 | 29 | 0.0029891 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
31 | LV_1031-58_0_3_line_31 | NAYY 4x150 SE | 31 | 32 | 0.021903 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
32 | LV_1031-58_0_3_line_32 | NAYY 4x150 SE | 32 | 33 | 0.016903 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
33 | LV_1031-58_0_3_line_33 | NAYY 4x150 SE | 33 | 34 | 0.0046027 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_1031-58_0_3_trafo_34 | 0.25 MVA 20/0.4 kV | 35 | 18 | 0.25 | 20 | 0.4 | 6 | 1.44 | 0.8 | 0.32 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6
0 | 2665273.4702 | 1224482.4974 | 2665274.9491 | 1224480.209 | 2665278.4837 | 1224478.7134 | 2665286.2071 | 1224478.0042
1 | 2665259.9523 | 1224490.4957 | 2665268.3731 | 1224491.4664 | 2665271.1465 | 1224486.0933 | 2665273.4702 | 1224482.4974
2 | 2665286.271 | 1224477.9984 | 2665286.2071 | 1224478.0042
3 | 2665259.9523 | 1224490.4957 | 2665261.8926 | 1224505.7712 | 2665261.5651 | 1224506.7111
4 | 2665259.9523 | 1224490.4957 | 2665241.9669 | 1224488.2092
5 | 2665261.5651 | 1224506.7111 | 2665258.0148 | 1224516.9
6 | 2665223.1991 | 1224485.8233 | 2665241.9669 | 1224488.2092
7 | 2665255.1677 | 1224525.0765 | 2665256.1229 | 1224522.3297 | 2665258.0148 | 1224516.9
8 | 2665223.1991 | 1224485.8233 | 2665226.4332 | 1224477.1532 | 2665229.836 | 1224467.6177 | 2665234.4493 | 1224452.1027
9 | 2665223.1991 | 1224485.8233 | 2665210.6992 | 1224485.0824
10 | 2665255.1677 | 1224525.0765 | 2665267.56 | 1224531.7277 | 2665269.8975 | 1224533.01
11 | 2665255.1677 | 1224525.0765 | 2665247.7155 | 1224538.8634
12 | 2665213.7777 | 1224418.3991 | 2665213.4366 | 1224421.1638 | 2665217.383 | 1224427.0663 | 2665222.0496 | 1224432.9768 | 2665228.1522 | 1224438.6139 | 2665232.3713 | 1224445.2311 | 2665234.4493 | 1224452.1027
13 | 2665271.3967 | 1224533.8323 | 2665269.8975 | 1224533.01
14 | 2665239.0064 | 1224554.9756 | 2665247.7155 | 1224538.8634
15 | 2665271.3967 | 1224533.8323 | 2665287.9321 | 1224542.9027 | 2665297.5199 | 1224548.0778
16 | 2665239.0064 | 1224554.9756 | 2665237.4876 | 1224557.7855
17 | 2665213.7777 | 1224418.3991 | 2665272.6414 | 1224437.4911
18 | 2665318.5116 | 1224452.3688 | 2665272.6414 | 1224437.4911
19 | 2665319.6133 | 1224448.7119 | 2665318.5116 | 1224452.3688
20 | 2665319.6133 | 1224448.7119 | 2665320.7935 | 1224444.8112
21 | 2665318.5116 | 1224452.3688 | 2665324.7033 | 1224454.3771
22 | 2665320.7935 | 1224444.8112 | 2665299.0122 | 1224437.7685
23 | 2665325.8139 | 1224446.1116 | 2665323.3624 | 1224445.6399 | 2665320.7935 | 1224444.8112
24 | 2665225.2196 | 1224413.5546 | 2665250.2473 | 1224422.0009 | 2665299.0122 | 1224437.7685
25 | 2665225.2196 | 1224413.5546 | 2665235.3557 | 1224410.9195 | 2665244.2722 | 1224407.5039 | 2665245.3186 | 1224395.6913
26 | 2665325.8139 | 1224446.1116 | 2665330.6852 | 1224444.4084 | 2665333.0308 | 1224442.7886 | 2665335.7378 | 1224438.6379 | 2665343.2511 | 1224410.0148
27 | 2665338.3313 | 1224458.7974 | 2665324.7033 | 1224454.3771
28 | 2665338.3313 | 1224458.7974 | 2665340.7357 | 1224459.5773
29 | 2665344.1776 | 1224460.6937 | 2665340.7357 | 1224459.5773
30 | 2665344.1776 | 1224460.6937 | 2665347.0209 | 1224461.6159
31 | 2665296.4213 | 1224568.4275 | 2665296.9041 | 1224567.5725 | 2665300.4705 | 1224560.407 | 2665300.1421 | 1224553.7213 | 2665297.5199 | 1224548.0778 | 2665297.5199 | 1224548.0778
32 | 2665296.4213 | 1224568.4275 | 2665288.11 | 1224583.1457
33 | 2665285.8468 | 1224587.1535 | 2665288.11 | 1224583.1457

## bus_geodata
| x | y | coords
0 | 2665273.4702 | 1224482.4974
1 | 2665286.2071 | 1224478.0042
2 | 2665259.9522 | 1224490.4957
3 | 2665286.271 | 1224477.9984
4 | 2665261.5651 | 1224506.7111
5 | 2665241.9669 | 1224488.2092
6 | 2665258.0148 | 1224516.9
7 | 2665223.1991 | 1224485.8233
8 | 2665255.1677 | 1224525.0765
9 | 2665234.4493 | 1224452.1027
10 | 2665210.6992 | 1224485.0824
11 | 2665269.8975 | 1224533.01
12 | 2665247.7155 | 1224538.8634
13 | 2665271.3967 | 1224533.8323
14 | 2665239.0064 | 1224554.9756
15 | 2665213.7778 | 1224418.3991
16 | 2665272.6414 | 1224437.4911
17 | 2665319.6133 | 1224448.7119
18 | 2665318.5116 | 1224452.3688
19 | 2665320.7935 | 1224444.8112
20 | 2665225.2196 | 1224413.5546
21 | 2665299.0122 | 1224437.7685
22 | 2665245.3186 | 1224395.6913
23 | 2665325.8139 | 1224446.1116
24 | 2665343.2511 | 1224410.0148
25 | 2665324.7033 | 1224454.3771
26 | 2665340.7357 | 1224459.5773
27 | 2665338.3313 | 1224458.7974
28 | 2665344.1776 | 1224460.6937
29 | 2665347.0209 | 1224461.6159
30 | 2665237.4876 | 1224557.7855
31 | 2665297.5199 | 1224548.0778
32 | 2665296.4213 | 1224568.4275
33 | 2665288.11 | 1224583.1457
34 | 2665285.8468 | 1224587.1535
35 | 2665319.6133 | 1224448.7119

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## res_bus
| vm_pu | va_degree | p_mw | q_mvar
0 | 0.97806 | -0.15364 | 0.0025075 | 0.00062844
1 | 0.97747 | -0.15789 | 0.0023859 | 0.00059797
2 | 0.97891 | -0.14757 | 0 | 0
3 | 0.97746 | -0.1579 | 0.026042 | 0.0065266
4 | 0.97827 | -0.15211 | 0.0011375 | 0.00028508
5 | 0.98043 | -0.13673 | 0.0021742 | 0.00054489
6 | 0.97787 | -0.15497 | 0.0016489 | 0.00041324
7 | 0.98207 | -0.12503 | 0 | 0
8 | 0.97757 | -0.15712 | 0 | 0
9 | 0.98532 | -0.10203 | 0.0031041 | 0.00077797
10 | 0.98202 | -0.12542 | 0.0030135 | 0.00075526
11 | 0.97709 | -0.16056 | 0.0011368 | 0.00028492
12 | 0.97748 | -0.1578 | 0.0013959 | 0.00034985
13 | 0.97705 | -0.16089 | 0.001322 | 0.00033131
14 | 0.97741 | -0.15832 | 0.0014079 | 0.00035284
15 | 0.98923 | -0.074577 | 0 | 0
16 | 0.99517 | -0.033292 | 0.0030285 | 0.00075902
17 | 0.99971 | -0.0020365 | 0 | 0
18 | 1 | 0 | -0.18019 | -0.045171
19 | 0.9994 | -0.0042107 | 0 | 0
20 | 0.99763 | -0.016642 | 0 | 0
21 | 0.9984 | -0.011186 | 0.023449 | 0.0058768
22 | 0.99731 | -0.018882 | 0.0070038 | 0.0017553
23 | 0.99923 | -0.005399 | 0 | 0
24 | 0.99783 | -0.015174 | 0.022944 | 0.0057503
25 | 0.99948 | -0.003611 | 0.01109 | 0.0027794
26 | 0.99845 | -0.010832 | 0.01139 | 0.0028545
27 | 0.99857 | -0.0099814 | 0.010837 | 0.0027159
28 | 0.99834 | -0.011638 | 0.010848 | 0.0027187
29 | 0.99829 | -0.011979 | 0.01139 | 0.0028545
30 | 0.9774 | -0.15836 | 0.0013099 | 0.00032828
31 | 0.9763 | -0.16624 | 0.0074122 | 0.0018577
32 | 0.97599 | -0.16849 | 0.0014895 | 0.00037331
33 | 0.97578 | -0.16995 | 0.0071068 | 0.0017811
34 | 0.97577 | -0.17001 | 0.0011794 | 0.00029558
35 | 0.99998 | 149.9947 | 0 | 0

## res_line
| p_from_mw | q_from_mvar | p_to_mw | q_to_mvar | pl_mw | ql_mvar | i_from_ka | i_to_ka | i_ka | vm_from_pu | va_from_degree | vm_to_pu | va_to_degree | loading_percent
0 | 0.028444 | 0.0071309 | -0.028428 | -0.0071246 | 1.6733e-05 | 6.2562e-06 | 0.043276 | 0.043276 | 0.043276 | 0.97806 | -0.15364 | 0.97747 | -0.15789 | 16.0281
1 | -0.030952 | -0.0077593 | 0.030978 | 0.0077691 | 2.6021e-05 | 9.7717e-06 | 0.047091 | 0.047091 | 0.047091 | 0.97806 | -0.15364 | 0.97891 | -0.14757 | 17.441
2 | 0.026042 | 0.0065267 | -0.026042 | -0.0065266 | 6.2921e-08 | 2.3396e-08 | 0.039644 | 0.039644 | 0.039644 | 0.97747 | -0.15789 | 0.97746 | -0.1579 | 14.6829
3 | 0.026609 | 0.0066751 | -0.026592 | -0.0066688 | 1.6738e-05 | 6.2316e-06 | 0.04045 | 0.04045 | 0.04045 | 0.97891 | -0.14757 | 0.97827 | -0.15211 | 14.9814
4 | -0.057587 | -0.014444 | 0.057673 | 0.014477 | 8.6696e-05 | 3.3116e-05 | 0.08754 | 0.08754 | 0.08754 | 0.97891 | -0.14757 | 0.98043 | -0.13673 | 32.4224
5 | 0.025455 | 0.0063838 | -0.025445 | -0.00638 | 1.0094e-05 | 3.7468e-06 | 0.03872 | 0.03872 | 0.03872 | 0.97827 | -0.15211 | 0.97787 | -0.15497 | 14.3406
6 | -0.059848 | -0.015022 | 0.059945 | 0.015059 | 9.7417e-05 | 3.7229e-05 | 0.09084 | 0.09084 | 0.09084 | 0.98043 | -0.13673 | 0.98207 | -0.12503 | 33.6445
7 | 0.023796 | 0.0059668 | -0.023789 | -0.0059642 | 7.084e-06 | 2.616e-06 | 0.036211 | 0.036211 | 0.036211 | 0.97787 | -0.15497 | 0.97757 | -0.15712 | 13.4114
8 | -0.062959 | -0.015815 | 0.063161 | 0.015892 | 0.000202 | 7.7241e-05 | 0.095406 | 0.095406 | 0.095406 | 0.98207 | -0.12503 | 0.98532 | -0.10203 | 35.3356
9 | 0.0030137 | 0.00075517 | -0.0030135 | -0.00075526 | 1.6292e-07 | -9.577e-08 | 0.0045662 | 0.0045663 | 0.0045663 | 0.98207 | -0.12503 | 0.98202 | -0.12542 | 1.6912
10 | 0.019674 | 0.0049334 | -0.019665 | -0.00493 | 9.3636e-06 | 3.3917e-06 | 0.029948 | 0.029949 | 0.029949 | 0.97757 | -0.15712 | 0.97709 | -0.16056 | 11.092
11 | 0.0041142 | 0.0010307 | -0.0041138 | -0.0010308 | 3.8352e-07 | -4.8961e-08 | 0.0062623 | 0.0062624 | 0.0062624 | 0.97757 | -0.15712 | 0.97748 | -0.1578 | 2.3194
12 | -0.066265 | -0.01667 | 0.06652 | 0.016767 | 0.00025476 | 9.7465e-05 | 0.10009 | 0.10009 | 0.10009 | 0.98532 | -0.10203 | 0.98923 | -0.074577 | 37.0718
13 | 0.018528 | 0.0046451 | -0.018527 | -0.0046448 | 8.4954e-07 | 3.0533e-07 | 0.028217 | 0.028217 | 0.028217 | 0.97709 | -0.16056 | 0.97705 | -0.16089 | 10.4508
14 | 0.0027179 | 0.00068093 | -0.0027177 | -0.00068109 | 1.9564e-07 | -1.5432e-07 | 0.0041374 | 0.0041375 | 0.0041375 | 0.97748 | -0.1578 | 0.97741 | -0.15832 | 1.5324
15 | 0.017205 | 0.0043135 | -0.017193 | -0.004309 | 1.2749e-05 | 4.5311e-06 | 0.026204 | 0.026204 | 0.026204 | 0.97705 | -0.16089 | 0.9763 | -0.16624 | 9.7052
16 | 0.0013099 | 0.00032824 | -0.0013099 | -0.00032828 | 7.9259e-09 | -3.6983e-08 | 0.0019941 | 0.0019942 | 0.0019942 | 0.97741 | -0.15832 | 0.9774 | -0.15836 | 0.73858
17 | -0.06652 | -0.016767 | 0.066906 | 0.016915 | 0.00038687 | 0.000148 | 0.10009 | 0.10009 | 0.10009 | 0.98923 | -0.074577 | 0.99517 | -0.033292 | 37.0717
18 | -0.069935 | -0.017674 | 0.070264 | 0.0178 | 0.00032937 | 0.00012605 | 0.10462 | 0.10462 | 0.10462 | 0.99517 | -0.033292 | 1 | 0 | 38.7488
19 | -0.053484 | -0.013414 | 0.053499 | 0.01342 | 1.5104e-05 | 5.7591e-06 | 0.079612 | 0.079612 | 0.079612 | 0.99971 | -0.0020365 | 1 | 0 | 29.4858
20 | 0.053484 | 0.013414 | -0.053468 | -0.013408 | 1.6116e-05 | 6.1452e-06 | 0.079612 | 0.079612 | 0.079612 | 0.99971 | -0.0020365 | 0.9994 | -0.0042107 | 29.4858
21 | 0.055628 | 0.013951 | -0.0556 | -0.013941 | 2.7832e-05 | 1.0619e-05 | 0.082779 | 0.082779 | 0.082779 | 1 | 0 | 0.99948 | -0.003611 | 30.6588
22 | 0.030489 | 0.0076445 | -0.03046 | -0.0076335 | 2.9438e-05 | 1.1023e-05 | 0.045397 | 0.045397 | 0.045397 | 0.9994 | -0.0042107 | 0.9984 | -0.011186 | 16.8137
23 | 0.022979 | 0.0057631 | -0.022975 | -0.0057617 | 3.7846e-06 | 1.3878e-06 | 0.034215 | 0.034215 | 0.034215 | 0.9994 | -0.0042107 | 0.99923 | -0.005399 | 12.6721
24 | -0.007006 | -0.0017557 | 0.0070113 | 0.0017568 | 5.2919e-06 | 1.0205e-06 | 0.01045 | 0.010449 | 0.01045 | 0.99763 | -0.016642 | 0.9984 | -0.011186 | 3.8703
25 | 0.007006 | 0.0017557 | -0.0070038 | -0.0017553 | 2.1723e-06 | 4.1939e-07 | 0.01045 | 0.01045 | 0.01045 | 0.99763 | -0.016642 | 0.99731 | -0.018882 | 3.8703
26 | 0.022975 | 0.0057617 | -0.022944 | -0.0057503 | 3.1089e-05 | 1.1401e-05 | 0.034215 | 0.034215 | 0.034215 | 0.99923 | -0.005399 | 0.99783 | -0.015174 | 12.6722
27 | 0.04451 | 0.011161 | -0.044471 | -0.011146 | 3.926e-05 | 1.4912e-05 | 0.066268 | 0.066268 | 0.066268 | 0.99948 | -0.003611 | 0.99857 | -0.0099814 | 24.5438
28 | -0.03363 | -0.0084289 | 0.033634 | 0.0084304 | 3.9621e-06 | 1.4908e-06 | 0.05012 | 0.05012 | 0.05012 | 0.99845 | -0.010832 | 0.99857 | -0.0099814 | 18.563
29 | 0.022241 | 0.0055744 | -0.022238 | -0.0055734 | 2.4807e-06 | 9.068e-07 | 0.033146 | 0.033146 | 0.033146 | 0.99845 | -0.010832 | 0.99834 | -0.011638 | 12.2762
30 | 0.01139 | 0.0028547 | -0.01139 | -0.0028545 | 5.3759e-07 | 1.6768e-07 | 0.016977 | 0.016977 | 0.016977 | 0.99834 | -0.011638 | 0.99829 | -0.011979 | 6.2878
31 | 0.0097805 | 0.0024513 | -0.0097774 | -0.0024504 | 3.0371e-06 | 8.943e-07 | 0.014907 | 0.014907 | 0.014907 | 0.9763 | -0.16624 | 0.97599 | -0.16849 | 5.5211
32 | 0.0082879 | 0.0020771 | -0.0082862 | -0.0020767 | 1.6841e-06 | 4.3653e-07 | 0.012636 | 0.012636 | 0.012636 | 0.97599 | -0.16849 | 0.97578 | -0.16995 | 4.68
33 | 0.0011794 | 0.00029553 | -0.0011794 | -0.00029558 | 9.2904e-09 | -5.3922e-08 | 0.0017985 | 0.0017985 | 0.0017985 | 0.97578 | -0.16995 | 0.97577 | -0.17001 | 0.66612

## res_trafo
| p_hv_mw | q_hv_mvar | p_lv_mw | q_lv_mvar | pl_mw | ql_mvar | i_hv_ka | i_lv_ka | vm_hv_pu | va_hv_degree | vm_lv_pu | va_lv_degree | loading_percent
0 | 2.5187e-16 | 8.8016e-16 | 0.00079998 | 7.4552e-08 | 0.00079998 | 7.4552e-08 | 2.6429e-17 | 0.0011547 | 0.99998 | 149.9947 | 1 | 0 | 0.31999

## res_ext_grid
| p_mw | q_mvar
0 | 0.19129 | 0.047953

## res_load
| p_mw | q_mvar
0 | 0.0025075 | 0.00062844
1 | 0.0023859 | 0.00059797
2 | 0.026042 | 0.0065266
3 | 0.0011375 | 0.00028508
4 | 0.0021742 | 0.00054489
5 | 0.0016489 | 0.00041324
6 | 0.0031041 | 0.00077797
7 | 0.0030135 | 0.00075526
8 | 0.0011368 | 0.00028492
9 | 0.0013959 | 0.00034985
10 | 0.001322 | 0.00033131
11 | 0.0014079 | 0.00035284
12 | 0.0030285 | 0.00075902
13 | 0.011102 | 0.0027823
14 | 0.023449 | 0.0058768
15 | 0.0070038 | 0.0017553
16 | 0.022944 | 0.0057503
17 | 0.01109 | 0.0027794
18 | 0.01139 | 0.0028545
19 | 0.010837 | 0.0027159
20 | 0.010848 | 0.0027187
21 | 0.01139 | 0.0028545
22 | 0.0013099 | 0.00032828
23 | 0.0074122 | 0.0018577
24 | 0.0014895 | 0.00037331
25 | 0.0071068 | 0.0017811
26 | 0.0011794 | 0.00029558

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object
62 | res_bus | vm_pu | float64
63 | res_bus | va_degree | float64
64 | res_bus | p_mw | float64
65 | res_bus | q_mvar | float64
66 | res_line | p_from_mw | float64
67 | res_line | q_from_mvar | float64
68 | res_line | p_to_mw | float64
69 | res_line | q_to_mvar | float64
70 | res_line | pl_mw | float64
71 | res_line | ql_mvar | float64
72 | res_line | i_from_ka | float64
73 | res_line | i_to_ka | float64
74 | res_line | i_ka | float64
75 | res_line | vm_from_pu | float64
76 | res_line | va_from_degree | float64
77 | res_line | vm_to_pu | float64
78 | res_line | va_to_degree | float64
79 | res_line | loading_percent | float64
80 | res_trafo | p_hv_mw | float64
81 | res_trafo | q_hv_mvar | float64
82 | res_trafo | p_lv_mw | float64
83 | res_trafo | q_lv_mvar | float64
84 | res_trafo | pl_mw | float64
85 | res_trafo | ql_mvar | float64
86 | res_trafo | i_hv_ka | float64
87 | res_trafo | i_lv_ka | float64
88 | res_trafo | vm_hv_pu | float64
89 | res_trafo | va_hv_degree | float64
90 | res_trafo | vm_lv_pu | float64
91 | res_trafo | va_lv_degree | float64
92 | res_trafo | loading_percent | float64
93 | res_ext_grid | p_mw | float64
94 | res_ext_grid | q_mvar | float64
95 | res_load | p_mw | float64
96 | res_load | q_mvar | float64

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | TRUE | FALSE |  | 50 | 1