## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_1031-9_0_3_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_1031-9_0_3_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_1031-9_0_3_node_2 | 0.4 | n |  | TRUE
3 | bus_LV_1031-9_0_3_node_4 | 0.4 | n |  | TRUE
4 | bus_LV_1031-9_0_3_node_6 | 0.4 | n |  | TRUE
5 | bus_LV_1031-9_0_3_node_9 | 0.4 | n |  | TRUE
6 | bus_LV_1031-9_0_3_node_49 | 0.4 | n |  | TRUE
7 | bus_LV_1031-9_0_3_node_55 | 0.4 | n |  | TRUE
8 | bus_LV_1031-9_0_3_node_7 | 0.4 | n |  | TRUE
9 | bus_LV_1031-9_0_3_node_8 | 0.4 | n |  | TRUE
10 | bus_LV_1031-9_0_3_node_41 | 0.4 | n |  | TRUE
11 | bus_LV_1031-9_0_3_node_31 | 0.4 | n |  | TRUE
12 | bus_LV_1031-9_0_3_node_35 | 0.4 | n |  | TRUE
13 | bus_LV_1031-9_0_3_node_58 | 0.4 | n |  | TRUE
14 | bus_LV_1031-9_0_3_node_30 | 0.4 | n |  | TRUE
15 | bus_LV_1031-9_0_3_node_34 | 0.4 | n |  | TRUE
16 | bus_LV_1031-9_0_3_node_56 | 0.4 | n |  | TRUE
17 | bus_LV_1031-9_0_3_node_48 | 0.4 | n |  | TRUE
18 | bus_LV_1031-9_0_3_node_10 | 0.4 | n |  | TRUE
19 | bus_LV_1031-9_0_3_node_11 | 0.4 | n |  | TRUE
20 | bus_LV_1031-9_0_3_node_12 | 0.4 | n |  | TRUE
21 | bus_LV_1031-9_0_3_node_15 | 0.4 | n |  | TRUE
22 | bus_LV_1031-9_0_3_node_13 | 0.4 | n |  | TRUE
23 | bus_LV_1031-9_0_3_node_20 | 0.4 | n |  | TRUE
24 | bus_LV_1031-9_0_3_node_18 | 0.4 | n |  | TRUE
25 | bus_LV_1031-9_0_3_node_14 | 0.4 | n |  | TRUE
26 | bus_LV_1031-9_0_3_node_16 | 0.4 | n |  | TRUE
27 | bus_LV_1031-9_0_3_node_17 | 0.4 | n |  | TRUE
28 | bus_LV_1031-9_0_3_node_32 | 0.4 | n |  | TRUE
29 | bus_LV_1031-9_0_3_node_45 | 0.4 | n |  | TRUE
30 | bus_LV_1031-9_0_3_node_61 | 0.4 | n |  | TRUE
31 | bus_LV_1031-9_0_3_node_21 | 0.4 | n |  | TRUE
32 | bus_LV_1031-9_0_3_node_60 | 0.4 | n |  | TRUE
33 | bus_LV_1031-9_0_3_node_46 | 0.4 | n |  | TRUE
34 | bus_LV_1031-9_0_3_node_22 | 0.4 | n |  | TRUE
35 | bus_LV_1031-9_0_3_node_25 | 0.4 | n |  | TRUE
36 | bus_LV_1031-9_0_3_node_27 | 0.4 | n |  | TRUE
37 | bus_LV_1031-9_0_3_node_23 | 0.4 | n |  | TRUE
38 | bus_LV_1031-9_0_3_node_24 | 0.4 | n |  | TRUE
39 | bus_LV_1031-9_0_3_node_26 | 0.4 | n |  | TRUE
40 | bus_LV_1031-9_0_3_node_29 | 0.4 | n |  | TRUE
41 | bus_LV_1031-9_0_3_node_28 | 0.4 | n |  | TRUE
42 | bus_LV_1031-9_0_3_node_57 | 0.4 | n |  | TRUE
43 | bus_LV_1031-9_0_3_node_40 | 0.4 | n |  | TRUE
44 | bus_LV_1031-9_0_3_node_39 | 0.4 | n |  | TRUE
45 | bus_LV_1031-9_0_3_node_36 | 0.4 | n |  | TRUE
46 | bus_LV_1031-9_0_3_node_37 | 0.4 | n |  | TRUE
47 | bus_LV_1031-9_0_3_node_38 | 0.4 | n |  | TRUE
48 | bus_LV_1031-9_0_3_node_42 | 0.4 | n |  | TRUE
49 | bus_LV_1031-9_0_3_node_47 | 0.4 | n |  | TRUE
50 | bus_LV_1031-9_0_3_node_59 | 0.4 | n |  | TRUE
51 | bus_LV_1031-9_0_3_node_50 | 0.4 | n |  | TRUE
52 | bus_LV_1031-9_0_3_node_51 | 0.4 | n |  | TRUE
53 | bus_LV_1031-9_0_3_node_52 | 0.4 | n |  | TRUE
54 | bus_LV_1031-9_0_3_node_53 | 0.4 | n |  | TRUE
55 | bus_LV_1031-9_0_3_node_54 | 0.4 | n |  | TRUE
56 | bus_MV_353_1_node_115 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_1031-9_0_3_load_0 | 0 | 0.0013116 | 0.00032872 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_1031-9_0_3_load_1 | 1 | 0.0036001 | 0.00090227 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_1031-9_0_3_load_4 | 3 | 0.0022878 | 0.00057337 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_1031-9_0_3_load_49 | 6 | 0.0030437 | 0.00076283 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_1031-9_0_3_load_55 | 7 | 0.0035664 | 0.00089382 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_1031-9_0_3_load_7 | 8 | 0.0018958 | 0.00047513 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_1031-9_0_3_load_41 | 10 | 0.002633 | 0.00065989 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_1031-9_0_3_load_35 | 12 | 0.015361 | 0.0038499 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_1031-9_0_3_load_58 | 13 | 0.011737 | 0.0029416 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_1031-9_0_3_load_30 | 14 | 0.011502 | 0.0028827 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_1031-9_0_3_load_34 | 15 | 0.0026571 | 0.00066592 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_1031-9_0_3_load_48 | 17 | 0.0057901 | 0.0014511 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_1031-9_0_3_load_10 | 18 | 0.0079147 | 0.0019836 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_1031-9_0_3_load_11 | 19 | 0.0031831 | 0.00079777 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_1031-9_0_3_load_13 | 22 | 0.0051502 | 0.0012908 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_1031-9_0_3_load_20 | 23 | 0.0054628 | 0.0013691 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_1031-9_0_3_load_18 | 24 | 0.0037739 | 0.00094582 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_1031-9_0_3_load_17 | 27 | 0.0025758 | 0.00064555 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_1031-9_0_3_load_45 | 29 | 0.0026564 | 0.00066576 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_1031-9_0_3_load_61 | 30 | 0.0024506 | 0.00061417 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_1031-9_0_3_load_21 | 31 | 0.0027819 | 0.0006972 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_1031-9_0_3_load_60 | 32 | 0.011092 | 0.0027799 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_1031-9_0_3_load_46 | 33 | 0.0048201 | 0.001208 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_1031-9_0_3_load_22 | 34 | 0.0038941 | 0.00097595 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_1031-9_0_3_load_23 | 37 | 0.003922 | 0.00098294 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_1031-9_0_3_load_24 | 38 | 0.002563 | 0.00064236 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_1031-9_0_3_load_26 | 39 | 0.0023776 | 0.00059589 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_1031-9_0_3_load_29 | 40 | 0.001134 | 0.0002842 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_1031-9_0_3_load_28 | 41 | 0.0015919 | 0.00039896 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_1031-9_0_3_load_57 | 42 | 0.0026706 | 0.00066931 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_1031-9_0_3_load_40 | 43 | 0.014921 | 0.0037396 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_1031-9_0_3_load_39 | 44 | 0.011016 | 0.0027609 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_1031-9_0_3_load_37 | 46 | 0.0094487 | 0.0023681 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_1031-9_0_3_load_38 | 47 | 0.01565 | 0.0039223 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_1031-9_0_3_load_42 | 48 | 0.0094904 | 0.0023785 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_1031-9_0_3_load_47 | 49 | 0.0027357 | 0.00068562 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_1031-9_0_3_load_59 | 50 | 0.0055708 | 0.0013962 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_1031-9_0_3_load_51 | 52 | 0.0075761 | 0.0018988 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_1031-9_0_3_load_52 | 53 | 0.0051404 | 0.0012883 | 0 | 0 |  | 1 | TRUE | wye
39 | LV_1031-9_0_3_load_54 | 55 | 0.010105 | 0.0025325 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 32 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_1031-9_0_3_line_0 | NAYY 4x150 SE | 0 | 1 | 0.023195 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
1 | LV_1031-9_0_3_line_1 | NAYY 4x150 SE | 0 | 2 | 0.012376 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
2 | LV_1031-9_0_3_line_2 | NAYY 4x150 SE | 2 | 3 | 0.024833 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
3 | LV_1031-9_0_3_line_3 | NAYY 4x150 SE | 3 | 4 | 0.042019 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
4 | LV_1031-9_0_3_line_4 | NAYY 4x150 SE | 4 | 8 | 0.032695 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
5 | LV_1031-9_0_3_line_5 | NAYY 4x150 SE | 4 | 9 | 0.013305 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
6 | LV_1031-9_0_3_line_6 | NAYY 4x150 SE | 5 | 6 | 0.019111 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
7 | LV_1031-9_0_3_line_7 | NAYY 4x150 SE | 5 | 7 | 0.002809 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
8 | LV_1031-9_0_3_line_8 | NAYY 4x150 SE | 6 | 17 | 0.026654 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
9 | LV_1031-9_0_3_line_9 | NAYY 4x150 SE | 7 | 16 | 0.031017 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
10 | LV_1031-9_0_3_line_10 | NAYY 4x150 SE | 8 | 10 | 0.0078352 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
11 | LV_1031-9_0_3_line_11 | NAYY 4x150 SE | 9 | 11 | 0.02257 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
12 | LV_1031-9_0_3_line_12 | NAYY 4x150 SE | 9 | 12 | 0.022796 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
13 | LV_1031-9_0_3_line_13 | NAYY 4x150 SE | 9 | 13 | 0.027158 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
14 | LV_1031-9_0_3_line_14 | NAYY 4x150 SE | 11 | 14 | 0.017193 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
15 | LV_1031-9_0_3_line_15 | NAYY 4x150 SE | 12 | 15 | 0.0040289 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
16 | LV_1031-9_0_3_line_16 | NAYY 4x150 SE | 13 | 16 | 0.032558 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
17 | LV_1031-9_0_3_line_17 | NAYY 4x150 SE | 15 | 45 | 0.0051101 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
18 | LV_1031-9_0_3_line_18 | NAYY 4x150 SE | 16 | 42 | 0.0069376 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
19 | LV_1031-9_0_3_line_19 | NAYY 4x150 SE | 17 | 51 | 0.013863 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
20 | LV_1031-9_0_3_line_20 | NAYY 4x150 SE | 18 | 19 | 0.0068028 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
21 | LV_1031-9_0_3_line_21 | NAYY 4x150 SE | 19 | 20 | 0.03292 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
22 | LV_1031-9_0_3_line_22 | NAYY 4x150 SE | 20 | 21 | 0.008607 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
23 | LV_1031-9_0_3_line_23 | NAYY 4x150 SE | 20 | 22 | 0.017202 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
24 | LV_1031-9_0_3_line_24 | NAYY 4x150 SE | 21 | 23 | 0.011804 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
25 | LV_1031-9_0_3_line_25 | NAYY 4x150 SE | 21 | 24 | 0.014504 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
26 | LV_1031-9_0_3_line_26 | NAYY 4x150 SE | 22 | 25 | 0.050802 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
27 | LV_1031-9_0_3_line_27 | NAYY 4x150 SE | 23 | 31 | 0.019696 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
28 | LV_1031-9_0_3_line_28 | NAYY 4x150 SE | 25 | 26 | 0.043986 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
29 | LV_1031-9_0_3_line_29 | NAYY 4x150 SE | 25 | 27 | 0.051697 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
30 | LV_1031-9_0_3_line_30 | NAYY 4x150 SE | 26 | 28 | 0.063229 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
31 | LV_1031-9_0_3_line_31 | NAYY 4x150 SE | 26 | 29 | 0.021846 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
32 | LV_1031-9_0_3_line_32 | NAYY 4x150 SE | 27 | 30 | 0.0065019 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
33 | LV_1031-9_0_3_line_33 | NAYY 4x150 SE | 28 | 32 | 0.0373 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
34 | LV_1031-9_0_3_line_34 | NAYY 4x150 SE | 29 | 33 | 0.01562 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
35 | LV_1031-9_0_3_line_35 | NAYY 4x150 SE | 31 | 34 | 0.0029343 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
36 | LV_1031-9_0_3_line_36 | NAYY 4x150 SE | 32 | 42 | 0.02815 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
37 | LV_1031-9_0_3_line_37 | NAYY 4x150 SE | 33 | 49 | 0.002018 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
38 | LV_1031-9_0_3_line_38 | NAYY 4x150 SE | 34 | 35 | 0.036668 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
39 | LV_1031-9_0_3_line_39 | NAYY 4x150 SE | 35 | 36 | 0.052557 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
40 | LV_1031-9_0_3_line_40 | NAYY 4x150 SE | 35 | 37 | 0.018482 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
41 | LV_1031-9_0_3_line_41 | NAYY 4x150 SE | 36 | 40 | 0.018041 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
42 | LV_1031-9_0_3_line_42 | NAYY 4x150 SE | 37 | 38 | 0.014888 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
43 | LV_1031-9_0_3_line_43 | NAYY 4x150 SE | 38 | 39 | 0.0013163 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
44 | LV_1031-9_0_3_line_44 | NAYY 4x150 SE | 40 | 41 | 0.01801 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
45 | LV_1031-9_0_3_line_45 | NAYY 4x150 SE | 43 | 44 | 0.0088363 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
46 | LV_1031-9_0_3_line_46 | NAYY 4x150 SE | 44 | 46 | 0.0075299 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
47 | LV_1031-9_0_3_line_47 | NAYY 4x150 SE | 45 | 46 | 0.01706 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
48 | LV_1031-9_0_3_line_48 | NAYY 4x150 SE | 45 | 47 | 0.012011 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
49 | LV_1031-9_0_3_line_49 | NAYY 4x150 SE | 47 | 48 | 0.012865 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
50 | LV_1031-9_0_3_line_50 | NAYY 4x150 SE | 49 | 50 | 0.0077486 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
51 | LV_1031-9_0_3_line_51 | NAYY 4x150 SE | 51 | 52 | 0.014328 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
52 | LV_1031-9_0_3_line_52 | NAYY 4x150 SE | 52 | 53 | 0.01115 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
53 | LV_1031-9_0_3_line_53 | NAYY 4x150 SE | 53 | 54 | 0.025132 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
54 | LV_1031-9_0_3_line_54 | NAYY 4x150 SE | 54 | 55 | 0.015118 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_1031-9_0_3_trafo_60 | 0.25 MVA 20/0.4 kV | 56 | 32 | 0.25 | 20 | 0.4 | 6 | 1.44 | 0.8 | 0.32 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4
0 | 2664781.5237 | 1224320.6941 | 2664784.7295 | 1224317.451 | 2664791.6631 | 1224312.2898 | 2664797.6738 | 1224304.3086
1 | 2664772.8229 | 1224329.4959 | 2664781.5237 | 1224320.6941
2 | 2664772.8229 | 1224329.4959 | 2664768.1164 | 1224326.4983 | 2664749.5845 | 1224330.0212 | 2664749.2526 | 1224330.2244
3 | 2664713.7174 | 1224317.6568 | 2664724.2756 | 1224325.71 | 2664733.2013 | 1224330.4879 | 2664741.3405 | 1224335.0682 | 2664749.2526 | 1224330.2244
4 | 2664713.7174 | 1224317.6568 | 2664722.8546 | 1224342.0272 | 2664726.2539 | 1224347.7638
5 | 2664704.3499 | 1224308.1822 | 2664713.7174 | 1224317.6568
6 | 2664784.2478 | 1224261.4099 | 2664801.6375 | 1224253.4829 | 2664801.6375 | 1224253.4829
7 | 2664784.2478 | 1224261.4099 | 2664781.8511 | 1224262.8749
8 | 2664827.1788 | 1224245.9651 | 2664820.8359 | 1224247.2768 | 2664801.6375 | 1224253.4829
9 | 2664755.3862 | 1224279.0517 | 2664781.8511 | 1224262.8749
10 | 2664726.2539 | 1224347.7638 | 2664730.2483 | 1224354.5045
11 | 2664682.9095 | 1224300.9447 | 2664693.1677 | 1224304.5139 | 2664704.3499 | 1224308.1822
12 | 2664704.3499 | 1224308.1822 | 2664703.2221 | 1224319.8552 | 2664697.8423 | 1224329.5285
13 | 2664704.3499 | 1224308.1822 | 2664712.2154 | 1224307.256 | 2664721.3241 | 1224303.5748 | 2664728.9635 | 1224298.0748
14 | 2664682.9095 | 1224300.9447 | 2664688.9938 | 1224284.8639
15 | 2664695.8841 | 1224333.0495 | 2664697.8423 | 1224329.5285
16 | 2664755.3862 | 1224279.0517 | 2664728.9635 | 1224298.0748
17 | 2664693.4004 | 1224337.5154 | 2664695.8841 | 1224333.0495
18 | 2664755.3862 | 1224279.0517 | 2664754.6234 | 1224278.0761 | 2664752.8133 | 1224275.7883 | 2664751.3101 | 1224273.8707 | 2664750.9801 | 1224273.7686
19 | 2664840.7547 | 1224243.1576 | 2664827.1788 | 1224245.9651
20 | 2664810.7224 | 1224102.065 | 2664803.9731 | 1224102.9163
21 | 2664771.4607 | 1224104.2257 | 2664779.1753 | 1224106.0441 | 2664803.9731 | 1224102.9163
22 | 2664771.4607 | 1224104.2257 | 2664774.0448 | 1224096.0152
23 | 2664771.4607 | 1224104.2257 | 2664764.9665 | 1224120.1552
24 | 2664774.0448 | 1224096.0152 | 2664768.0141 | 1224094.1484 | 2664762.6411 | 1224095.2795
25 | 2664774.0448 | 1224096.0152 | 2664778.008 | 1224082.0629
26 | 2664752.9663 | 1224168.3434 | 2664752.8724 | 1224165.1292 | 2664751.7748 | 1224155.1998 | 2664751.984 | 1224152 | 2664764.9665 | 1224120.1552
27 | 2664743.368 | 1224099.3369 | 2664762.6411 | 1224095.2795
28 | 2664729.3596 | 1224205.466 | 2664750.1788 | 1224173.6498 | 2664752.9663 | 1224168.3434
29 | 2664752.9663 | 1224168.3434 | 2664759.4826 | 1224169.4816 | 2664803.9597 | 1224162.1222
30 | 2664729.3596 | 1224205.466 | 2664711.6478 | 1224232.5464 | 2664705.5503 | 1224241.0189 | 2664698.2902 | 1224246.9216 | 2664689.0924 | 1224253.2146
31 | 2664729.3596 | 1224205.466 | 2664732.5989 | 1224206.7132 | 2664750.7524 | 1224203.8669
32 | 2664803.9597 | 1224162.1222 | 2664810.3744 | 1224161.0608
33 | 2664689.0924 | 1224253.2146 | 2664692.0017 | 1224255.5255 | 2664724.0869 | 1224265.45
34 | 2664750.7524 | 1224203.8669 | 2664766.1843 | 1224201.4473
35 | 2664740.4966 | 1224099.9414 | 2664743.368 | 1224099.3369
36 | 2664750.9801 | 1224273.7686 | 2664724.0869 | 1224265.45
37 | 2664768.1779 | 1224201.1347 | 2664766.1843 | 1224201.4473
38 | 2664704.8238 | 1224108.3817 | 2664723.3707 | 1224103.5468 | 2664740.4966 | 1224099.9414
39 | 2664653.7216 | 1224121.1348 | 2664658.5059 | 1224120.4752 | 2664704.8238 | 1224108.3817
40 | 2664704.8238 | 1224108.3817 | 2664709.5789 | 1224126.2412
41 | 2664653.7216 | 1224121.1348 | 2664659.852 | 1224134.0652 | 2664660.7147 | 1224137.6947
42 | 2664709.5789 | 1224126.2412 | 2664713.4095 | 1224140.6282
43 | 2664713.7482 | 1224141.9001 | 2664713.4095 | 1224140.6282
44 | 2664660.7147 | 1224137.6947 | 2664664.8793 | 1224155.2163
45 | 2664670.9365 | 1224327.5128 | 2664662.8541 | 1224323.9416
46 | 2664670.9365 | 1224327.5128 | 2664677.2749 | 1224330.3134 | 2664677.8231 | 1224330.5582
47 | 2664693.4004 | 1224337.5154 | 2664677.8231 | 1224330.5582
48 | 2664693.4004 | 1224337.5154 | 2664687.786 | 1224348.1339
49 | 2664681.7725 | 1224359.5072 | 2664687.786 | 1224348.1339
50 | 2664775.833 | 1224199.9345 | 2664768.1779 | 1224201.1347
51 | 2664840.7547 | 1224243.1576 | 2664836.7344 | 1224229.4056
52 | 2664837.4951 | 1224219.0454 | 2664837.1226 | 1224219.4918 | 2664835.1332 | 1224223.9286 | 2664836.7344 | 1224229.4056
53 | 2664853.5949 | 1224199.7474 | 2664837.4951 | 1224219.0454
54 | 2664853.5949 | 1224199.7474 | 2664848.3165 | 1224185.5811

## bus_geodata
| x | y | coords
0 | 2664781.5237 | 1224320.6941
1 | 2664797.6738 | 1224304.3086
2 | 2664772.8229 | 1224329.4959
3 | 2664749.2526 | 1224330.2244
4 | 2664713.7174 | 1224317.6568
5 | 2664784.2478 | 1224261.4099
6 | 2664801.6375 | 1224253.4829
7 | 2664781.8511 | 1224262.8749
8 | 2664726.2539 | 1224347.7638
9 | 2664704.3499 | 1224308.1822
10 | 2664730.2483 | 1224354.5045
11 | 2664682.9095 | 1224300.9447
12 | 2664697.8423 | 1224329.5285
13 | 2664728.9635 | 1224298.0748
14 | 2664688.9938 | 1224284.8639
15 | 2664695.8841 | 1224333.0495
16 | 2664755.3862 | 1224279.0517
17 | 2664827.1788 | 1224245.9651
18 | 2664810.7224 | 1224102.065
19 | 2664803.9731 | 1224102.9163
20 | 2664771.4607 | 1224104.2257
21 | 2664774.0448 | 1224096.0152
22 | 2664764.9665 | 1224120.1552
23 | 2664762.6411 | 1224095.2795
24 | 2664778.008 | 1224082.0629
25 | 2664752.9663 | 1224168.3434
26 | 2664729.3596 | 1224205.466
27 | 2664803.9597 | 1224162.1222
28 | 2664689.0924 | 1224253.2146
29 | 2664750.7524 | 1224203.8669
30 | 2664810.3744 | 1224161.0608
31 | 2664743.368 | 1224099.3369
32 | 2664724.0869 | 1224265.45
33 | 2664766.1843 | 1224201.4473
34 | 2664740.4966 | 1224099.9414
35 | 2664704.8238 | 1224108.3817
36 | 2664653.7216 | 1224121.1348
37 | 2664709.5789 | 1224126.2412
38 | 2664713.4095 | 1224140.6282
39 | 2664713.7482 | 1224141.9001
40 | 2664660.7147 | 1224137.6947
41 | 2664664.8793 | 1224155.2163
42 | 2664750.9801 | 1224273.7686
43 | 2664662.8541 | 1224323.9416
44 | 2664670.9365 | 1224327.5128
45 | 2664693.4004 | 1224337.5154
46 | 2664677.8231 | 1224330.5582
47 | 2664687.786 | 1224348.1339
48 | 2664681.7725 | 1224359.5072
49 | 2664768.1779 | 1224201.1347
50 | 2664775.833 | 1224199.9345
51 | 2664840.7547 | 1224243.1576
52 | 2664836.7344 | 1224229.4056
53 | 2664837.4951 | 1224219.0454
54 | 2664853.5949 | 1224199.7474
55 | 2664848.3165 | 1224185.5811
56 | 2664755.3862 | 1224279.0517

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## res_bus
| vm_pu | va_degree | p_mw | q_mvar
0 | 0.98859 | -0.079785 | 0.0013116 | 0.00032872
1 | 0.98847 | -0.080638 | 0.0036001 | 0.00090227
2 | 0.98868 | -0.079164 | 0 | 0
3 | 0.98886 | -0.077918 | 0.0022878 | 0.00057337
4 | 0.98929 | -0.074828 | 0 | 0
5 | 0.99448 | -0.038435 | 0 | 0
6 | 0.99362 | -0.044547 | 0.0030437 | 0.00076283
7 | 0.99461 | -0.037537 | 0.0035664 | 0.00089382
8 | 0.98908 | -0.076339 | 0.0018958 | 0.00047513
9 | 0.98952 | -0.073235 | 0 | 0
10 | 0.98905 | -0.07655 | 0.002633 | 0.00065989
11 | 0.98915 | -0.075883 | 0 | 0
12 | 0.98693 | -0.091535 | 0.015361 | 0.0038499
13 | 0.99351 | -0.045168 | 0.011737 | 0.0029416
14 | 0.98886 | -0.077901 | 0.011502 | 0.0028827
15 | 0.98656 | -0.094145 | 0.0026571 | 0.00066592
16 | 0.99618 | -0.026529 | 0 | 0
17 | 0.99252 | -0.052267 | 0.0057901 | 0.0014511
18 | 0.9827 | -0.12136 | 0.0079147 | 0.0019836
19 | 0.98277 | -0.12081 | 0.0031831 | 0.00079777
20 | 0.9833 | -0.11703 | 0 | 0
21 | 0.98296 | -0.11948 | 0 | 0
22 | 0.98427 | -0.11018 | 0.0051502 | 0.0012908
23 | 0.98255 | -0.12237 | 0.0054628 | 0.0013691
24 | 0.98288 | -0.12004 | 0.0037739 | 0.00094582
25 | 0.98749 | -0.087344 | 0 | 0
26 | 0.9906 | -0.065437 | 0 | 0
27 | 0.98712 | -0.090006 | 0.0025758 | 0.00064555
28 | 0.99651 | -0.024137 | 0 | 0
29 | 0.99011 | -0.068947 | 0.0026564 | 0.00066576
30 | 0.98709 | -0.090169 | 0.0024506 | 0.00061417
31 | 0.98203 | -0.1261 | 0.0027819 | 0.0006972
32 | 1 | 0 | -0.21947 | -0.055152
33 | 0.98981 | -0.071035 | 0.0048201 | 0.001208
34 | 0.98196 | -0.12657 | 0.0038941 | 0.00097595
35 | 0.98135 | -0.13097 | 0 | 0
36 | 0.98114 | -0.13246 | 0 | 0
37 | 0.98111 | -0.13267 | 0.003922 | 0.00098294
38 | 0.981 | -0.13344 | 0.002563 | 0.00064236
39 | 0.981 | -0.13347 | 0.0023776 | 0.00059589
40 | 0.98107 | -0.13297 | 0.001134 | 0.0002842
41 | 0.98103 | -0.13327 | 0.0015919 | 0.00039896
42 | 0.99693 | -0.021342 | 0.0026706 | 0.00066931
43 | 0.98477 | -0.10689 | 0.014921 | 0.0037396
44 | 0.98496 | -0.10553 | 0.011016 | 0.0027609
45 | 0.98611 | -0.097318 | 0 | 0
46 | 0.98524 | -0.10352 | 0.0094487 | 0.0023681
47 | 0.98568 | -0.10042 | 0.01565 | 0.0039223
48 | 0.9855 | -0.10167 | 0.0094904 | 0.0023785
49 | 0.98979 | -0.071206 | 0.0027357 | 0.00068562
50 | 0.98973 | -0.071646 | 0.0055708 | 0.0013962
51 | 0.99206 | -0.055475 | 0 | 0
52 | 0.99159 | -0.058793 | 0.0075761 | 0.0018988
53 | 0.99135 | -0.060519 | 0.0051404 | 0.0012883
54 | 0.99098 | -0.0631 | 0 | 0
55 | 0.99076 | -0.064653 | 0.010105 | 0.0025325
56 | 0.99998 | 149.9947 | 0 | 0

## res_line
| p_from_mw | q_from_mvar | p_to_mw | q_to_mvar | pl_mw | ql_mvar | i_from_ka | i_to_ka | i_ka | vm_from_pu | va_from_degree | vm_to_pu | va_to_degree | loading_percent
0 | 0.0036005 | 0.00090213 | -0.0036001 | -0.00090227 | 4.2509e-07 | -1.3387e-07 | 0.0054193 | 0.0054194 | 0.0054194 | 0.98859 | -0.079785 | 0.98847 | -0.080638 | 2.0072
1 | -0.0049121 | -0.0012309 | 0.0049125 | 0.0012309 | 4.2216e-07 | 3.6693e-09 | 0.0073935 | 0.0073935 | 0.0073935 | 0.98859 | -0.079785 | 0.98868 | -0.079164 | 2.7383
2 | -0.0049125 | -0.0012309 | 0.0049134 | 0.0012309 | 8.4704e-07 | 7.27e-09 | 0.0073935 | 0.0073934 | 0.0073935 | 0.98868 | -0.079164 | 0.98886 | -0.077918 | 2.7383
3 | -0.0072012 | -0.0018042 | 0.0072042 | 0.0018049 | 3.0787e-06 | 6.4482e-07 | 0.010836 | 0.010836 | 0.010836 | 0.98886 | -0.077918 | 0.98929 | -0.074828 | 4.0133
4 | 0.0045298 | 0.0011349 | -0.0045289 | -0.001135 | 9.4708e-07 | -5.5451e-08 | 0.0068132 | 0.0068134 | 0.0068134 | 0.98929 | -0.074828 | 0.98908 | -0.076339 | 2.5235
5 | -0.011734 | -0.0029398 | 0.011737 | 0.0029406 | 2.5861e-06 | 8.2377e-07 | 0.017649 | 0.017649 | 0.017649 | 0.98929 | -0.074828 | 0.98952 | -0.073235 | 6.5367
6 | 0.031743 | 0.0079656 | -0.031716 | -0.0079555 | 2.6906e-05 | 1.0101e-05 | 0.047499 | 0.047499 | 0.047499 | 0.99448 | -0.038435 | 0.99362 | -0.044547 | 17.5923
7 | -0.031743 | -0.0079656 | 0.031747 | 0.0079671 | 3.9546e-06 | 1.4846e-06 | 0.047499 | 0.047499 | 0.047499 | 0.99448 | -0.038435 | 0.99461 | -0.037537 | 17.5923
8 | 0.028672 | 0.0071927 | -0.028641 | -0.0071812 | 3.0668e-05 | 1.1451e-05 | 0.042941 | 0.042941 | 0.042941 | 0.99362 | -0.044547 | 0.99252 | -0.052267 | 15.9042
9 | -0.035313 | -0.0088609 | 0.035367 | 0.0088813 | 5.4029e-05 | 2.0377e-05 | 0.052835 | 0.052835 | 0.052835 | 0.99461 | -0.037537 | 0.99618 | -0.026529 | 19.5684
10 | 0.0026331 | 0.00065982 | -0.002633 | -0.00065989 | 7.6721e-08 | -7.1049e-08 | 0.0039613 | 0.0039613 | 0.0039613 | 0.98908 | -0.076339 | 0.98905 | -0.07655 | 1.4672
11 | 0.011509 | 0.002885 | -0.011505 | -0.0028837 | 4.2189e-06 | 1.3328e-06 | 0.017308 | 0.017308 | 0.017308 | 0.98952 | -0.073235 | 0.98915 | -0.075883 | 6.4103
12 | 0.078847 | 0.0198 | -0.078647 | -0.019724 | 0.00020003 | 7.6641e-05 | 0.11858 | 0.11858 | 0.11858 | 0.98952 | -0.073235 | 0.98693 | -0.091535 | 43.9197
13 | -0.10209 | -0.025626 | 0.10249 | 0.025779 | 0.0003995 | 0.0001533 | 0.15354 | 0.15354 | 0.15354 | 0.98952 | -0.073235 | 0.99351 | -0.045168 | 56.8665
14 | 0.011505 | 0.0028837 | -0.011502 | -0.0028827 | 3.2139e-06 | 1.0155e-06 | 0.017308 | 0.017308 | 0.017308 | 0.98915 | -0.075883 | 0.98886 | -0.077901 | 6.4103
15 | 0.063286 | 0.015874 | -0.063263 | -0.015865 | 2.2892e-05 | 8.753e-06 | 0.095422 | 0.095423 | 0.095423 | 0.98693 | -0.091535 | 0.98656 | -0.094145 | 35.3417
16 | -0.11423 | -0.028721 | 0.11453 | 0.028834 | 0.00029745 | 0.00011356 | 0.17112 | 0.17112 | 0.17112 | 0.99351 | -0.045168 | 0.99618 | -0.026529 | 31.6886
17 | 0.060606 | 0.015199 | -0.06058 | -0.015189 | 2.6647e-05 | 1.0184e-05 | 0.091415 | 0.091415 | 0.091415 | 0.98656 | -0.094145 | 0.98611 | -0.097318 | 33.8574
18 | -0.14989 | -0.037716 | 0.15 | 0.037757 | 0.00010856 | 4.1574e-05 | 0.22395 | 0.22395 | 0.22395 | 0.99618 | -0.026529 | 0.99693 | -0.021342 | 41.4727
19 | 0.022851 | 0.0057301 | -0.022841 | -0.0057264 | 1.0154e-05 | 3.7263e-06 | 0.034261 | 0.034261 | 0.034261 | 0.99252 | -0.052267 | 0.99206 | -0.055475 | 12.6891
20 | -0.0079147 | -0.0019836 | 0.0079153 | 0.0019838 | 6.097e-07 | 1.4831e-07 | 0.011985 | 0.011985 | 0.011985 | 0.9827 | -0.12136 | 0.98277 | -0.12081 | 4.4387
21 | -0.011098 | -0.0027815 | 0.011104 | 0.0027833 | 5.8006e-06 | 1.8137e-06 | 0.016804 | 0.016804 | 0.016804 | 0.98277 | -0.12081 | 0.9833 | -0.11703 | 6.2238
22 | 0.027541 | 0.0069051 | -0.027532 | -0.0069016 | 9.3296e-06 | 3.4792e-06 | 0.041679 | 0.041679 | 0.041679 | 0.9833 | -0.11703 | 0.98296 | -0.11948 | 15.4365
23 | -0.038645 | -0.0096884 | 0.038682 | 0.0097023 | 3.6714e-05 | 1.3902e-05 | 0.058483 | 0.058482 | 0.058483 | 0.9833 | -0.11703 | 0.98427 | -0.11018 | 21.6602
24 | 0.023758 | 0.0059559 | -0.023748 | -0.0059523 | 9.5273e-06 | 3.5148e-06 | 0.035965 | 0.035965 | 0.035965 | 0.98296 | -0.11948 | 0.98255 | -0.12237 | 13.3205
25 | 0.0037742 | 0.00094575 | -0.0037739 | -0.00094582 | 2.9544e-07 | -7.0211e-08 | 0.0057133 | 0.0057134 | 0.0057134 | 0.98296 | -0.11948 | 0.98288 | -0.12004 | 2.1161
26 | -0.043832 | -0.010993 | 0.043971 | 0.011046 | 0.00013921 | 5.2895e-05 | 0.066268 | 0.066268 | 0.066268 | 0.98427 | -0.11018 | 0.98749 | -0.087344 | 24.5439
27 | 0.018285 | 0.0045832 | -0.018276 | -0.0045799 | 9.4248e-06 | 3.3756e-06 | 0.027692 | 0.027692 | 0.027692 | 0.98255 | -0.12237 | 0.98203 | -0.1261 | 10.2564
28 | -0.049 | -0.012306 | 0.049149 | 0.012363 | 0.00014967 | 5.7001e-05 | 0.073845 | 0.073845 | 0.073845 | 0.98749 | -0.087344 | 0.9906 | -0.065437 | 27.35
29 | 0.0050282 | 0.0012597 | -0.0050264 | -0.0012597 | 1.8519e-06 | 5.1163e-08 | 0.0075767 | 0.0075769 | 0.0075769 | 0.98749 | -0.087344 | 0.98712 | -0.090006 | 2.8063
30 | -0.064944 | -0.016322 | 0.06532 | 0.016466 | 0.00037561 | 0.00014365 | 0.097571 | 0.097571 | 0.097571 | 0.9906 | -0.065437 | 0.99651 | -0.024137 | 36.1375
31 | 0.015795 | 0.0039596 | -0.015787 | -0.0039569 | 7.6742e-06 | 2.6705e-06 | 0.023726 | 0.023727 | 0.023727 | 0.9906 | -0.065437 | 0.99011 | -0.068947 | 8.7876
32 | 0.0024506 | 0.00061411 | -0.0024506 | -0.00061417 | 5.5368e-08 | -6.182e-08 | 0.0036941 | 0.0036942 | 0.0036942 | 0.98712 | -0.090006 | 0.98709 | -0.090169 | 1.3682
33 | -0.06532 | -0.016466 | 0.065542 | 0.016551 | 0.00022158 | 8.4737e-05 | 0.097571 | 0.097571 | 0.097571 | 0.99651 | -0.024137 | 1 | 0 | 36.1374
34 | 0.013131 | 0.0032912 | -0.013127 | -0.0032899 | 3.796e-06 | 1.2592e-06 | 0.019734 | 0.019734 | 0.019734 | 0.99011 | -0.068947 | 0.98981 | -0.071035 | 7.309
35 | 0.015494 | 0.0038827 | -0.015493 | -0.0038823 | 1.0092e-06 | 3.5104e-07 | 0.023477 | 0.023477 | 0.023477 | 0.98203 | -0.1261 | 0.98196 | -0.12657 | 8.6952
36 | 0.15313 | 0.038601 | -0.15267 | -0.038427 | 0.00045633 | 0.00017477 | 0.22794 | 0.22794 | 0.22794 | 1 | 0 | 0.99693 | -0.021342 | 42.2109
37 | 0.008307 | 0.0020819 | -0.0083068 | -0.0020818 | 1.9638e-07 | 4.9593e-08 | 0.012488 | 0.012488 | 0.012488 | 0.98981 | -0.071035 | 0.98979 | -0.071206 | 4.6252
38 | 0.011599 | 0.0029064 | -0.011592 | -0.0029041 | 7.0686e-06 | 2.2551e-06 | 0.017576 | 0.017576 | 0.017576 | 0.98196 | -0.12657 | 0.98135 | -0.13097 | 6.5098
39 | 0.0027267 | 0.00068236 | -0.0027261 | -0.00068281 | 5.6053e-07 | -4.483e-07 | 0.0041341 | 0.0041343 | 0.0041343 | 0.98135 | -0.13097 | 0.98114 | -0.13246 | 1.5312
40 | 0.0088653 | 0.0022218 | -0.0088632 | -0.0022212 | 2.0839e-06 | 5.6806e-07 | 0.013442 | 0.013442 | 0.013442 | 0.98135 | -0.13097 | 0.98111 | -0.13267 | 4.9787
41 | 0.0027261 | 0.00068281 | -0.0027259 | -0.00068296 | 1.9242e-07 | -1.5381e-07 | 0.0041343 | 0.0041344 | 0.0041344 | 0.98114 | -0.13246 | 0.98107 | -0.13297 | 1.5313
42 | 0.0049412 | 0.0012383 | -0.0049407 | -0.0012382 | 5.2176e-07 | 1.2685e-08 | 0.0074941 | 0.0074942 | 0.0074942 | 0.98111 | -0.13267 | 0.981 | -0.13344 | 2.7756
43 | 0.0023777 | 0.00059588 | -0.0023776 | -0.00059589 | 1.0683e-08 | -1.251e-08 | 0.0036065 | 0.0036065 | 0.0036065 | 0.981 | -0.13344 | 0.981 | -0.13347 | 1.3357
44 | 0.001592 | 0.00039876 | -0.0015919 | -0.00039896 | 6.5517e-08 | -2.022e-07 | 0.0024145 | 0.0024146 | 0.0024146 | 0.98107 | -0.13297 | 0.98103 | -0.13327 | 0.89428
45 | -0.014921 | -0.0037396 | 0.014924 | 0.0037406 | 2.8029e-06 | 9.656e-07 | 0.022546 | 0.022546 | 0.022546 | 0.98477 | -0.10689 | 0.98496 | -0.10553 | 8.3505
46 | -0.02594 | -0.0065015 | 0.025948 | 0.0065042 | 7.2162e-06 | 2.6796e-06 | 0.039189 | 0.039189 | 0.039189 | 0.98496 | -0.10553 | 0.98524 | -0.10352 | 14.5145
47 | 0.035427 | 0.0088838 | -0.035396 | -0.0088723 | 3.0424e-05 | 1.1484e-05 | 0.05346 | 0.05346 | 0.05346 | 0.98611 | -0.097318 | 0.98524 | -0.10352 | 19.7999
48 | 0.025153 | 0.0063053 | -0.025142 | -0.0063013 | 1.0798e-05 | 3.9998e-06 | 0.037955 | 0.037955 | 0.037955 | 0.98611 | -0.097318 | 0.98568 | -0.10042 | 14.0576
49 | 0.009492 | 0.002379 | -0.0094904 | -0.0023785 | 1.6484e-06 | 4.7005e-07 | 0.01433 | 0.01433 | 0.01433 | 0.98568 | -0.10042 | 0.9855 | -0.10167 | 5.3073
50 | 0.0055711 | 0.0013962 | -0.0055708 | -0.0013962 | 3.3917e-07 | 3.0868e-08 | 0.0083754 | 0.0083755 | 0.0083755 | 0.98979 | -0.071206 | 0.98973 | -0.071646 | 3.102
51 | 0.022841 | 0.0057264 | -0.022831 | -0.0057225 | 1.0494e-05 | 3.8513e-06 | 0.034261 | 0.034261 | 0.034261 | 0.99206 | -0.055475 | 0.99159 | -0.058793 | 12.6891
52 | 0.015255 | 0.0038238 | -0.015251 | -0.0038225 | 3.646e-06 | 1.2585e-06 | 0.022892 | 0.022892 | 0.022892 | 0.99159 | -0.058793 | 0.99135 | -0.060519 | 8.4784
53 | 0.01011 | 0.0025342 | -0.010107 | -0.0025331 | 3.6118e-06 | 1.0653e-06 | 0.015176 | 0.015176 | 0.015176 | 0.99135 | -0.060519 | 0.99098 | -0.0631 | 5.6208
54 | 0.010107 | 0.0025331 | -0.010105 | -0.0025325 | 2.1727e-06 | 6.4091e-07 | 0.015176 | 0.015176 | 0.015176 | 0.99098 | -0.0631 | 0.99076 | -0.064653 | 5.6208

## res_trafo
| p_hv_mw | q_hv_mvar | p_lv_mw | q_lv_mvar | pl_mw | ql_mvar | i_hv_ka | i_lv_ka | vm_hv_pu | va_hv_degree | vm_lv_pu | va_lv_degree | loading_percent
0 | 2.5187e-16 | 8.8016e-16 | 0.00079998 | 7.4552e-08 | 0.00079998 | 7.4552e-08 | 2.6429e-17 | 0.0011547 | 0.99998 | 149.9947 | 1 | 0 | 0.31999

## res_ext_grid
| p_mw | q_mvar
0 | 0.23056 | 0.057932

## res_load
| p_mw | q_mvar
0 | 0.0013116 | 0.00032872
1 | 0.0036001 | 0.00090227
2 | 0.0022878 | 0.00057337
3 | 0.0030437 | 0.00076283
4 | 0.0035664 | 0.00089382
5 | 0.0018958 | 0.00047513
6 | 0.002633 | 0.00065989
7 | 0.015361 | 0.0038499
8 | 0.011737 | 0.0029416
9 | 0.011502 | 0.0028827
10 | 0.0026571 | 0.00066592
11 | 0.0057901 | 0.0014511
12 | 0.0079147 | 0.0019836
13 | 0.0031831 | 0.00079777
14 | 0.0051502 | 0.0012908
15 | 0.0054628 | 0.0013691
16 | 0.0037739 | 0.00094582
17 | 0.0025758 | 0.00064555
18 | 0.0026564 | 0.00066576
19 | 0.0024506 | 0.00061417
20 | 0.0027819 | 0.0006972
21 | 0.011092 | 0.0027799
22 | 0.0048201 | 0.001208
23 | 0.0038941 | 0.00097595
24 | 0.003922 | 0.00098294
25 | 0.002563 | 0.00064236
26 | 0.0023776 | 0.00059589
27 | 0.001134 | 0.0002842
28 | 0.0015919 | 0.00039896
29 | 0.0026706 | 0.00066931
30 | 0.014921 | 0.0037396
31 | 0.011016 | 0.0027609
32 | 0.0094487 | 0.0023681
33 | 0.01565 | 0.0039223
34 | 0.0094904 | 0.0023785
35 | 0.0027357 | 0.00068562
36 | 0.0055708 | 0.0013962
37 | 0.0075761 | 0.0018988
38 | 0.0051404 | 0.0012883
39 | 0.010105 | 0.0025325

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object
62 | res_bus | vm_pu | float64
63 | res_bus | va_degree | float64
64 | res_bus | p_mw | float64
65 | res_bus | q_mvar | float64
66 | res_line | p_from_mw | float64
67 | res_line | q_from_mvar | float64
68 | res_line | p_to_mw | float64
69 | res_line | q_to_mvar | float64
70 | res_line | pl_mw | float64
71 | res_line | ql_mvar | float64
72 | res_line | i_from_ka | float64
73 | res_line | i_to_ka | float64
74 | res_line | i_ka | float64
75 | res_line | vm_from_pu | float64
76 | res_line | va_from_degree | float64
77 | res_line | vm_to_pu | float64
78 | res_line | va_to_degree | float64
79 | res_line | loading_percent | float64
80 | res_trafo | p_hv_mw | float64
81 | res_trafo | q_hv_mvar | float64
82 | res_trafo | p_lv_mw | float64
83 | res_trafo | q_lv_mvar | float64
84 | res_trafo | pl_mw | float64
85 | res_trafo | ql_mvar | float64
86 | res_trafo | i_hv_ka | float64
87 | res_trafo | i_lv_ka | float64
88 | res_trafo | vm_hv_pu | float64
89 | res_trafo | va_hv_degree | float64
90 | res_trafo | vm_lv_pu | float64
91 | res_trafo | va_lv_degree | float64
92 | res_trafo | loading_percent | float64
93 | res_ext_grid | p_mw | float64
94 | res_ext_grid | q_mvar | float64
95 | res_load | p_mw | float64
96 | res_load | q_mvar | float64

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | TRUE | FALSE |  | 50 | 1