## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_1032-10_0_6_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_1032-10_0_6_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_1032-10_0_6_node_2 | 0.4 | n |  | TRUE
3 | bus_LV_1032-10_0_6_node_3 | 0.4 | n |  | TRUE
4 | bus_LV_1032-10_0_6_node_66 | 0.4 | n |  | TRUE
5 | bus_LV_1032-10_0_6_node_64 | 0.4 | n |  | TRUE
6 | bus_LV_1032-10_0_6_node_29 | 0.4 | n |  | TRUE
7 | bus_LV_1032-10_0_6_node_30 | 0.4 | n |  | TRUE
8 | bus_LV_1032-10_0_6_node_28 | 0.4 | n |  | TRUE
9 | bus_LV_1032-10_0_6_node_72 | 0.4 | n |  | TRUE
10 | bus_LV_1032-10_0_6_node_24 | 0.4 | n |  | TRUE
11 | bus_LV_1032-10_0_6_node_4 | 0.4 | n |  | TRUE
12 | bus_LV_1032-10_0_6_node_5 | 0.4 | n |  | TRUE
13 | bus_LV_1032-10_0_6_node_6 | 0.4 | n |  | TRUE
14 | bus_LV_1032-10_0_6_node_7 | 0.4 | n |  | TRUE
15 | bus_LV_1032-10_0_6_node_9 | 0.4 | n |  | TRUE
16 | bus_LV_1032-10_0_6_node_11 | 0.4 | n |  | TRUE
17 | bus_LV_1032-10_0_6_node_15 | 0.4 | n |  | TRUE
18 | bus_LV_1032-10_0_6_node_33 | 0.4 | n |  | TRUE
19 | bus_LV_1032-10_0_6_node_10 | 0.4 | n |  | TRUE
20 | bus_LV_1032-10_0_6_node_8 | 0.4 | n |  | TRUE
21 | bus_LV_1032-10_0_6_node_12 | 0.4 | n |  | TRUE
22 | bus_LV_1032-10_0_6_node_20 | 0.4 | n |  | TRUE
23 | bus_LV_1032-10_0_6_node_25 | 0.4 | n |  | TRUE
24 | bus_LV_1032-10_0_6_node_14 | 0.4 | n |  | TRUE
25 | bus_LV_1032-10_0_6_node_32 | 0.4 | n |  | TRUE
26 | bus_LV_1032-10_0_6_node_21 | 0.4 | n |  | TRUE
27 | bus_LV_1032-10_0_6_node_19 | 0.4 | n |  | TRUE
28 | bus_LV_1032-10_0_6_node_26 | 0.4 | n |  | TRUE
29 | bus_LV_1032-10_0_6_node_13 | 0.4 | n |  | TRUE
30 | bus_LV_1032-10_0_6_node_16 | 0.4 | n |  | TRUE
31 | bus_LV_1032-10_0_6_node_17 | 0.4 | n |  | TRUE
32 | bus_LV_1032-10_0_6_node_18 | 0.4 | n |  | TRUE
33 | bus_LV_1032-10_0_6_node_73 | 0.4 | n |  | TRUE
34 | bus_LV_1032-10_0_6_node_34 | 0.4 | n |  | TRUE
35 | bus_LV_1032-10_0_6_node_48 | 0.4 | n |  | TRUE
36 | bus_LV_1032-10_0_6_node_31 | 0.4 | n |  | TRUE
37 | bus_LV_1032-10_0_6_node_22 | 0.4 | n |  | TRUE
38 | bus_LV_1032-10_0_6_node_23 | 0.4 | n |  | TRUE
39 | bus_LV_1032-10_0_6_node_49 | 0.4 | n |  | TRUE
40 | bus_LV_1032-10_0_6_node_50 | 0.4 | n |  | TRUE
41 | bus_LV_1032-10_0_6_node_62 | 0.4 | n |  | TRUE
42 | bus_LV_1032-10_0_6_node_27 | 0.4 | n |  | TRUE
43 | bus_LV_1032-10_0_6_node_61 | 0.4 | n |  | TRUE
44 | bus_LV_1032-10_0_6_node_68 | 0.4 | n |  | TRUE
45 | bus_LV_1032-10_0_6_node_59 | 0.4 | n |  | TRUE
46 | bus_LV_1032-10_0_6_node_69 | 0.4 | n |  | TRUE
47 | bus_LV_1032-10_0_6_node_71 | 0.4 | n |  | TRUE
48 | bus_LV_1032-10_0_6_node_35 | 0.4 | n |  | TRUE
49 | bus_LV_1032-10_0_6_node_36 | 0.4 | n |  | TRUE
50 | bus_LV_1032-10_0_6_node_37 | 0.4 | n |  | TRUE
51 | bus_LV_1032-10_0_6_node_38 | 0.4 | n |  | TRUE
52 | bus_LV_1032-10_0_6_node_39 | 0.4 | n |  | TRUE
53 | bus_LV_1032-10_0_6_node_40 | 0.4 | n |  | TRUE
54 | bus_LV_1032-10_0_6_node_42 | 0.4 | n |  | TRUE
55 | bus_LV_1032-10_0_6_node_43 | 0.4 | n |  | TRUE
56 | bus_LV_1032-10_0_6_node_57 | 0.4 | n |  | TRUE
57 | bus_LV_1032-10_0_6_node_51 | 0.4 | n |  | TRUE
58 | bus_LV_1032-10_0_6_node_58 | 0.4 | n |  | TRUE
59 | bus_LV_1032-10_0_6_node_55 | 0.4 | n |  | TRUE
60 | bus_LV_1032-10_0_6_node_52 | 0.4 | n |  | TRUE
61 | bus_LV_1032-10_0_6_node_74 | 0.4 | n |  | TRUE
62 | bus_LV_1032-10_0_6_node_44 | 0.4 | n |  | TRUE
63 | bus_LV_1032-10_0_6_node_45 | 0.4 | n |  | TRUE
64 | bus_LV_1032-10_0_6_node_46 | 0.4 | n |  | TRUE
65 | bus_LV_1032-10_0_6_node_47 | 0.4 | n |  | TRUE
66 | bus_LV_1032-10_0_6_node_53 | 0.4 | n |  | TRUE
67 | bus_LV_1032-10_0_6_node_54 | 0.4 | n |  | TRUE
68 | bus_LV_1032-10_0_6_node_60 | 0.4 | n |  | TRUE
69 | bus_LV_1032-10_0_6_node_56 | 0.4 | n |  | TRUE
70 | bus_LV_1032-10_0_6_node_67 | 0.4 | n |  | TRUE
71 | bus_LV_1032-10_0_6_node_65 | 0.4 | n |  | TRUE
72 | bus_LV_1032-10_0_6_node_63 | 0.4 | n |  | TRUE
73 | bus_MV_353_1_node_270 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_1032-10_0_6_load_0 | 0 | 0.0065042 | 0.0016301 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_1032-10_0_6_load_1 | 1 | 0.0025657 | 0.00064303 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_1032-10_0_6_load_2 | 2 | 0.0075954 | 0.0019036 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_1032-10_0_6_load_66 | 4 | 0.0005662 | 0.0001419 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_1032-10_0_6_load_64 | 5 | 0.0008437 | 0.00021145 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_1032-10_0_6_load_29 | 6 | 0.0032606 | 0.00081717 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_1032-10_0_6_load_28 | 8 | 0.0027899 | 0.00069921 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_1032-10_0_6_load_72 | 9 | 0.0018279 | 0.00045812 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_1032-10_0_6_load_24 | 10 | 0.015399 | 0.0038595 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_1032-10_0_6_load_4 | 11 | 0.001403 | 0.00035163 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_1032-10_0_6_load_5 | 12 | 0.0017309 | 0.0004338 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_1032-10_0_6_load_6 | 13 | 0.0013401 | 0.00033586 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_1032-10_0_6_load_15 | 17 | 0.00077913 | 0.00019527 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_1032-10_0_6_load_33 | 18 | 0.0018762 | 0.00047022 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_1032-10_0_6_load_8 | 20 | 0.00015918 | 3.9893e-05 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_1032-10_0_6_load_25 | 23 | 0.0004509 | 0.00011301 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_1032-10_0_6_load_32 | 25 | 0.00054203 | 0.00013584 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_1032-10_0_6_load_19 | 27 | 0.00027305 | 6.8433e-05 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_1032-10_0_6_load_26 | 28 | 0.0013484 | 0.00033793 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_1032-10_0_6_load_13 | 29 | 0.0024157 | 0.00060542 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_1032-10_0_6_load_16 | 30 | 0.0047269 | 0.0011847 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_1032-10_0_6_load_17 | 31 | 0.0075647 | 0.0018959 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_1032-10_0_6_load_18 | 32 | 0.0011968 | 0.00029993 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_1032-10_0_6_load_34 | 34 | 0.0035645 | 0.00089334 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_1032-10_0_6_load_48 | 35 | 0.00038219 | 9.5786e-05 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_1032-10_0_6_load_23 | 38 | 0.025774 | 0.0064597 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_1032-10_0_6_load_49 | 39 | 0.0007349 | 0.00018418 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_1032-10_0_6_load_62 | 41 | 0.0088443 | 0.0022166 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_1032-10_0_6_load_61 | 43 | 0.00044851 | 0.00011241 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_1032-10_0_6_load_68 | 44 | 0.00023012 | 5.7674e-05 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_1032-10_0_6_load_59 | 45 | 0.00026718 | 6.6962e-05 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_1032-10_0_6_load_69 | 46 | 0.00030505 | 7.6453e-05 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_1032-10_0_6_load_71 | 47 | 0.010676 | 0.0026756 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_1032-10_0_6_load_35 | 48 | 0.014327 | 0.0035907 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_1032-10_0_6_load_36 | 49 | 0.013742 | 0.003444 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_1032-10_0_6_load_37 | 50 | 0.029242 | 0.0073288 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_1032-10_0_6_load_38 | 51 | 0.031729 | 0.0079521 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_1032-10_0_6_load_39 | 52 | 0.0035515 | 0.00089008 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_1032-10_0_6_load_42 | 54 | 0.0004617 | 0.00011571 | 0 | 0 |  | 1 | TRUE | wye
39 | LV_1032-10_0_6_load_43 | 55 | 0.0015382 | 0.00038552 | 0 | 0 |  | 1 | TRUE | wye
40 | LV_1032-10_0_6_load_58 | 58 | 0.0042346 | 0.0010613 | 0 | 0 |  | 1 | TRUE | wye
41 | LV_1032-10_0_6_load_55 | 59 | 0.00098082 | 0.00024582 | 0 | 0 |  | 1 | TRUE | wye
42 | LV_1032-10_0_6_load_74 | 61 | 0.00092995 | 0.00023307 | 0 | 0 |  | 1 | TRUE | wye
43 | LV_1032-10_0_6_load_44 | 62 | 0.0014848 | 0.00037212 | 0 | 0 |  | 1 | TRUE | wye
44 | LV_1032-10_0_6_load_45 | 63 | 0.00048877 | 0.0001225 | 0 | 0 |  | 1 | TRUE | wye
45 | LV_1032-10_0_6_load_53 | 66 | 0.00054532 | 0.00013667 | 0 | 0 |  | 1 | TRUE | wye
46 | LV_1032-10_0_6_load_54 | 67 | 0.00020359 | 5.1025e-05 | 0 | 0 |  | 1 | TRUE | wye
47 | LV_1032-10_0_6_load_60 | 68 | 0.00010027 | 2.513e-05 | 0 | 0 |  | 1 | TRUE | wye
48 | LV_1032-10_0_6_load_56 | 69 | 0.00052028 | 0.0001304 | 0 | 0 |  | 1 | TRUE | wye
49 | LV_1032-10_0_6_load_67 | 70 | 0.0035974 | 0.00090159 | 0 | 0 |  | 1 | TRUE | wye
50 | LV_1032-10_0_6_load_65 | 71 | 0.0044283 | 0.0011098 | 0 | 0 |  | 1 | TRUE | wye
51 | LV_1032-10_0_6_load_63 | 72 | 0.00055976 | 0.00014029 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 37 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_1032-10_0_6_line_0 | NAYY 4x150 SE | 0 | 1 | 0.05782 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
1 | LV_1032-10_0_6_line_1 | NAYY 4x150 SE | 0 | 2 | 0.055199 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
2 | LV_1032-10_0_6_line_2 | NAYY 4x150 SE | 1 | 3 | 0.020861 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
3 | LV_1032-10_0_6_line_3 | NAYY 4x150 SE | 2 | 4 | 0.33494 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
4 | LV_1032-10_0_6_line_4 | NAYY 4x150 SE | 3 | 6 | 0.044903 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
5 | LV_1032-10_0_6_line_5 | NAYY 4x150 SE | 3 | 7 | 0.17504 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
6 | LV_1032-10_0_6_line_6 | NAYY 4x150 SE | 3 | 8 | 0.027542 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
7 | LV_1032-10_0_6_line_7 | NAYY 4x150 SE | 4 | 5 | 0.015207 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
8 | LV_1032-10_0_6_line_8 | NAYY 4x150 SE | 5 | 72 | 0.023476 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
9 | LV_1032-10_0_6_line_9 | NAYY 4x150 SE | 7 | 9 | 0.025145 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
10 | LV_1032-10_0_6_line_10 | NAYY 4x150 SE | 7 | 10 | 0.062289 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
11 | LV_1032-10_0_6_line_11 | NAYY 4x150 SE | 9 | 47 | 0.0030851 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
12 | LV_1032-10_0_6_line_12 | NAYY 4x150 SE | 10 | 37 | 0.058346 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
13 | LV_1032-10_0_6_line_13 | NAYY 4x150 SE | 11 | 12 | 0.053406 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
14 | LV_1032-10_0_6_line_14 | NAYY 4x150 SE | 11 | 13 | 0.038039 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
15 | LV_1032-10_0_6_line_15 | NAYY 4x150 SE | 13 | 14 | 0.021457 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
16 | LV_1032-10_0_6_line_16 | NAYY 4x150 SE | 14 | 15 | 0.003902 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
17 | LV_1032-10_0_6_line_17 | NAYY 4x150 SE | 15 | 20 | 0.14588 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
18 | LV_1032-10_0_6_line_18 | NAYY 4x150 SE | 16 | 17 | 0.034286 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
19 | LV_1032-10_0_6_line_19 | NAYY 4x150 SE | 16 | 18 | 0.030489 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
20 | LV_1032-10_0_6_line_20 | NAYY 4x150 SE | 16 | 19 | 0.004314 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
21 | LV_1032-10_0_6_line_21 | NAYY 4x150 SE | 17 | 24 | 0.00542 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
22 | LV_1032-10_0_6_line_22 | NAYY 4x150 SE | 18 | 25 | 0.12924 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
23 | LV_1032-10_0_6_line_23 | NAYY 4x150 SE | 19 | 21 | 0.053494 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
24 | LV_1032-10_0_6_line_24 | NAYY 4x150 SE | 19 | 20 | 0.019944 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
25 | LV_1032-10_0_6_line_25 | NAYY 4x150 SE | 21 | 22 | 0.10248 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
26 | LV_1032-10_0_6_line_26 | NAYY 4x150 SE | 21 | 23 | 0.039894 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
27 | LV_1032-10_0_6_line_27 | NAYY 4x150 SE | 22 | 26 | 0.20924 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
28 | LV_1032-10_0_6_line_28 | NAYY 4x150 SE | 22 | 27 | 0.01871 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
29 | LV_1032-10_0_6_line_29 | NAYY 4x150 SE | 23 | 28 | 0.053776 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
30 | LV_1032-10_0_6_line_30 | NAYY 4x150 SE | 24 | 29 | 0.005474 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
31 | LV_1032-10_0_6_line_31 | NAYY 4x150 SE | 26 | 39 | 0.04953 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
32 | LV_1032-10_0_6_line_32 | NAYY 4x150 SE | 28 | 42 | 0.01138 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
33 | LV_1032-10_0_6_line_33 | NAYY 4x150 SE | 30 | 31 | 0.0041958 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
34 | LV_1032-10_0_6_line_34 | NAYY 4x150 SE | 31 | 32 | 0.035405 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
35 | LV_1032-10_0_6_line_35 | NAYY 4x150 SE | 32 | 36 | 0.051531 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
36 | LV_1032-10_0_6_line_36 | NAYY 4x150 SE | 33 | 34 | 0.70983 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
37 | LV_1032-10_0_6_line_37 | NAYY 4x150 SE | 33 | 35 | 0.055507 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
38 | LV_1032-10_0_6_line_38 | NAYY 4x150 SE | 34 | 36 | 0.03676 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
39 | LV_1032-10_0_6_line_39 | NAYY 4x150 SE | 35 | 64 | 0.14817 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
40 | LV_1032-10_0_6_line_40 | NAYY 4x150 SE | 37 | 38 | 0.087989 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
41 | LV_1032-10_0_6_line_41 | NAYY 4x150 SE | 38 | 41 | 0.025994 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
42 | LV_1032-10_0_6_line_42 | NAYY 4x150 SE | 39 | 40 | 0.15893 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
43 | LV_1032-10_0_6_line_43 | NAYY 4x150 SE | 40 | 41 | 0.16008 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
44 | LV_1032-10_0_6_line_44 | NAYY 4x150 SE | 42 | 43 | 0.016672 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
45 | LV_1032-10_0_6_line_45 | NAYY 4x150 SE | 42 | 44 | 0.014397 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
46 | LV_1032-10_0_6_line_46 | NAYY 4x150 SE | 43 | 45 | 0.018068 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
47 | LV_1032-10_0_6_line_47 | NAYY 4x150 SE | 44 | 46 | 0.008562 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
48 | LV_1032-10_0_6_line_48 | NAYY 4x150 SE | 45 | 68 | 0.066968 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
49 | LV_1032-10_0_6_line_49 | NAYY 4x150 SE | 47 | 51 | 0.048014 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
50 | LV_1032-10_0_6_line_50 | NAYY 4x150 SE | 48 | 49 | 0.024312 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
51 | LV_1032-10_0_6_line_51 | NAYY 4x150 SE | 48 | 50 | 0.0274 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
52 | LV_1032-10_0_6_line_52 | NAYY 4x150 SE | 50 | 51 | 0.011371 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
53 | LV_1032-10_0_6_line_53 | NAYY 4x150 SE | 52 | 53 | 0.01851 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
54 | LV_1032-10_0_6_line_54 | NAYY 4x150 SE | 52 | 54 | 0.21902 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
55 | LV_1032-10_0_6_line_55 | NAYY 4x150 SE | 53 | 55 | 0.029978 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
56 | LV_1032-10_0_6_line_56 | NAYY 4x150 SE | 54 | 56 | 0.0071798 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
57 | LV_1032-10_0_6_line_57 | NAYY 4x150 SE | 55 | 57 | 0.32984 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
58 | LV_1032-10_0_6_line_58 | NAYY 4x150 SE | 56 | 58 | 0.026405 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
59 | LV_1032-10_0_6_line_59 | NAYY 4x150 SE | 56 | 59 | 0.038359 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
60 | LV_1032-10_0_6_line_60 | NAYY 4x150 SE | 57 | 60 | 0.086422 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
61 | LV_1032-10_0_6_line_61 | NAYY 4x150 SE | 58 | 70 | 0.025928 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
62 | LV_1032-10_0_6_line_62 | NAYY 4x150 SE | 59 | 69 | 0.014293 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
63 | LV_1032-10_0_6_line_63 | NAYY 4x150 SE | 60 | 61 | 0.10474 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
64 | LV_1032-10_0_6_line_64 | NAYY 4x150 SE | 62 | 63 | 0.01124 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
65 | LV_1032-10_0_6_line_65 | NAYY 4x150 SE | 62 | 64 | 0.070529 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
66 | LV_1032-10_0_6_line_66 | NAYY 4x150 SE | 63 | 65 | 0.027205 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
67 | LV_1032-10_0_6_line_67 | NAYY 4x150 SE | 65 | 66 | 0.019728 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
68 | LV_1032-10_0_6_line_68 | NAYY 4x150 SE | 65 | 67 | 0.079286 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
69 | LV_1032-10_0_6_line_69 | NAYY 4x150 SE | 66 | 68 | 0.033703 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
70 | LV_1032-10_0_6_line_70 | NAYY 4x150 SE | 70 | 71 | 0.14821 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
71 | LV_1032-10_0_6_line_71 | NAYY 4x150 SE | 71 | 72 | 0.025235 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_1032-10_0_6_trafo_22 | 0.25 MVA 20/0.4 kV | 73 | 37 | 0.25 | 20 | 0.4 | 6 | 1.44 | 0.8 | 0.32 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6 | x7 | y7 | x8 | y8
0 | 2665468.3759 | 1224543.0126 | 2665431.6003 | 1224531.1388 | 2665437.5241 | 1224512.9017
1 | 2665520.9047 | 1224559.9726 | 2665468.3759 | 1224543.0126
2 | 2665443.9686 | 1224493.0614 | 2665437.5241 | 1224512.9017
3 | 2665441.0638 | 1224885.2619 | 2665520.9047 | 1224559.9726
4 | 2665443.9686 | 1224493.0614 | 2665463.8683 | 1224499.6065 | 2665486.6723 | 1224506.9419
5 | 2665607.6923 | 1224541.2385 | 2665590.3145 | 1224535.6768 | 2665556.8897 | 1224524.8795 | 2665525.7541 | 1224514.8192 | 2665445.3419 | 1224488.8404 | 2665443.9686 | 1224493.0614
6 | 2665443.9686 | 1224493.0614 | 2665417.7701 | 1224484.5637
7 | 2665455.7844 | 1224889.077 | 2665441.0638 | 1224885.2619
8 | 2665477.9932 | 1224896.5725 | 2665464.2603 | 1224891.2737 | 2665455.7844 | 1224889.077
9 | 2665607.6923 | 1224541.2385 | 2665615.1184 | 1224517.215
10 | 2665607.6923 | 1224541.2385 | 2665666.8279 | 1224560.807
11 | 2665616.0295 | 1224514.2675 | 2665615.1184 | 1224517.215
12 | 2665722.2202 | 1224579.1369 | 2665666.8279 | 1224560.807
13 | 2666066.7409 | 1225003.7029 | 2666033.5752 | 1225045.5622
14 | 2666066.7409 | 1225003.7029 | 2666090.3639 | 1224973.8878
15 | 2666103.6891 | 1224957.0697 | 2666090.3639 | 1224973.8878
16 | 2666106.1113 | 1224954.0057 | 2666103.6891 | 1224957.0697
17 | 2666106.1113 | 1224954.0057 | 2666083.3794 | 1224930.9719 | 2666058.7593 | 1224901.1239 | 2666041.7778 | 1224875.0187 | 2666028.9652 | 1224850.3607 | 2666023.2111 | 1224835.5424
18 | 2666013.3082 | 1224820.3344 | 2665991.9947 | 1224847.1909
19 | 2666013.3082 | 1224820.3344 | 2666011.1726 | 1224814.6404 | 2666003.2114 | 1224791.5673
20 | 2666015.9918 | 1224816.9509 | 2666013.3082 | 1224820.3344
21 | 2665988.6255 | 1224851.4364 | 2665991.9947 | 1224847.1909
22 | 2665940.9467 | 1224680.2457 | 2665947.925 | 1224687.3576 | 2665963.0485 | 1224706.0705 | 2665974.0837 | 1224720.8134 | 2665979.7838 | 1224729.8379 | 2665985.0042 | 1224739.7355 | 2665989.732 | 1224752.3404 | 2666000.7711 | 1224784.4946 | 2666003.2114 | 1224791.5673
23 | 2666015.9918 | 1224816.9509 | 2666014.7166 | 1224813.668 | 2665998.8502 | 1224766.2727
24 | 2666015.9918 | 1224816.9509 | 2666023.2111 | 1224835.5424
25 | 2665946.9487 | 1224678.9859 | 2665968.9202 | 1224705.7798 | 2665976.0294 | 1224715.5983 | 2665979.3227 | 1224720.827 | 2665984.8416 | 1224730.4722 | 2665988.8892 | 1224738.7779 | 2665993.1274 | 1224749.7319 | 2665998.8502 | 1224766.2727
26 | 2665998.8502 | 1224766.2727 | 2666001.7803 | 1224765.9605 | 2666019.3682 | 1224764.1099 | 2666038.6053 | 1224763.1154
27 | 2665946.9487 | 1224678.9859 | 2665958.3274 | 1224657.9651 | 2665978.0214 | 1224602.959 | 2665986.4868 | 1224553.3876 | 2665991.6198 | 1224526.0602 | 2665994.9623 | 1224510.4428 | 2665997.6831 | 1224500.989 | 2666001.6432 | 1224490.5373 | 2666006.8113 | 1224479.8767
28 | 2665946.9487 | 1224678.9859 | 2665932.0059 | 1224667.7267
29 | 2666089.0507 | 1224747.3125 | 2666079.6194 | 1224753.4158 | 2666068.6566 | 1224758.1305 | 2666058.8746 | 1224760.9794 | 2666050.1762 | 1224762.5172 | 2666038.6053 | 1224763.1154
30 | 2665988.6255 | 1224851.4364 | 2665987.1828 | 1224856.7168
31 | 2666006.8113 | 1224479.8767 | 2666001.288 | 1224476.7579 | 2665990.6377 | 1224464.8766 | 2665984.5761 | 1224461.763 | 2665964.263 | 1224459.7144
32 | 2666098.6046 | 1224741.1297 | 2666089.0507 | 1224747.3125
33 | 2667000.3767 | 1224484.684 | 2666996.6256 | 1224486.5638
34 | 2667000.3767 | 1224484.684 | 2667022.763 | 1224473.4658 | 2667029.4114 | 1224465.5133 | 2667029.4114 | 1224465.5133
35 | 2667012.4743 | 1224418.2144 | 2667030.713 | 1224456.3109 | 2667029.4114 | 1224465.5133
36 | 2666273.9753 | 1224358.5773 | 2666979.6951 | 1224434.8516
37 | 2666273.9753 | 1224358.5773 | 2666258.0051 | 1224352.5846 | 2666241.5244 | 1224353.6241 | 2666228.4189 | 1224361.3833 | 2666223.5654 | 1224366.0099
38 | 2667012.4743 | 1224418.2144 | 2666979.6951 | 1224434.8516
39 | 2666146.6058 | 1224490.835 | 2666150.409 | 1224484.2953 | 2666167.0845 | 1224445.2443 | 2666200.6685 | 1224387.8362 | 2666223.5654 | 1224366.0099
40 | 2665722.2202 | 1224579.1369 | 2665748.4355 | 1224495.1435
41 | 2665756.1801 | 1224470.3298 | 2665748.4355 | 1224495.1435
42 | 2665857.5217 | 1224346.4156 | 2665889.9154 | 1224377.7941 | 2665915.148 | 1224413.5519 | 2665931.5523 | 1224437.8603 | 2665945.0076 | 1224453.2192 | 2665964.263 | 1224459.7144
43 | 2665857.5217 | 1224346.4156 | 2665756.1801 | 1224470.3298
44 | 2666098.6046 | 1224741.1297 | 2666093.8691 | 1224725.1446
45 | 2666098.6046 | 1224741.1297 | 2666105.768 | 1224736.4952 | 2666110.6926 | 1224733.31
46 | 2666093.574 | 1224707.0795 | 2666093.6025 | 1224709.5539 | 2666093.8691 | 1224725.1446
47 | 2666110.6926 | 1224733.31 | 2666117.8819 | 1224728.66
48 | 2666093.574 | 1224707.0795 | 2666092.8021 | 1224640.1156
49 | 2665630.2093 | 1224468.3956 | 2665616.0295 | 1224514.2675
50 | 2665641.6596 | 1224431.3533 | 2665641.6596 | 1224431.3533 | 2665618.189 | 1224425.0125
51 | 2665641.6596 | 1224431.3533 | 2665633.5676 | 1224457.5314
52 | 2665630.2093 | 1224468.3956 | 2665633.5676 | 1224457.5314
53 | 2665609.0105 | 1225221.3905 | 2665616.9337 | 1225210.3263 | 2665619.2946 | 1225206.0311
54 | 2665687.2018 | 1224997.8021 | 2665619.2946 | 1225206.0311
55 | 2665609.0105 | 1225221.3905 | 2665601.249 | 1225234.9804 | 2665599.5629 | 1225249.2092
56 | 2665680.6996 | 1224994.7572 | 2665687.2018 | 1224997.8021
57 | 2665599.5629 | 1225249.2092 | 2665561.1374 | 1225576.8033
58 | 2665680.6996 | 1224994.7572 | 2665669.8815 | 1224989.8681 | 2665656.3519 | 1224984.5615
59 | 2665680.6996 | 1224994.7572 | 2665695.2431 | 1224959.2623
60 | 2665483.4404 | 1225603.6988 | 2665496.1862 | 1225595.2225 | 2665509.3982 | 1225582.9599 | 2665528.6665 | 1225575.6006 | 2665544.9242 | 1225574.5233 | 2665561.1374 | 1225576.8033
61 | 2665656.3519 | 1224984.5615 | 2665632.2137 | 1224975.094
62 | 2665695.2431 | 1224959.2623 | 2665700.6622 | 1224946.0365
63 | 2665483.4404 | 1225603.6988 | 2665476.6642 | 1225606.3594 | 2665458.9059 | 1225610.1554 | 2665449.2314 | 1225607.5251 | 2665389.6932 | 1225572.1188
64 | 2666110.9166 | 1224550.2633 | 2666108.3937 | 1224561.2167
65 | 2666146.6058 | 1224490.835 | 2666138.7696 | 1224504.1343 | 2666122.3019 | 1224521.785 | 2666113.9505 | 1224537.091 | 2666110.9166 | 1224550.2633
66 | 2666102.2876 | 1224587.7274 | 2666108.3937 | 1224561.2167
67 | 2666102.2876 | 1224587.7274 | 2666097.8596 | 1224606.9525
68 | 2666102.2876 | 1224587.7274 | 2666115.1167 | 1224591.1387 | 2666133.0671 | 1224589.4703 | 2666178.0475 | 1224576.2505 | 2666179.1463 | 1224576.1846
69 | 2666092.8021 | 1224640.1156 | 2666092.7028 | 1224631.5048 | 2666095.5162 | 1224617.1267 | 2666097.8596 | 1224606.9525
70 | 2665632.2137 | 1224975.094 | 2665591.7719 | 1224959.2318 | 2665571.8772 | 1224950.3181 | 2665500.3193 | 1224908.3221
71 | 2665477.9932 | 1224896.5725 | 2665477.9932 | 1224896.5725 | 2665496.1552 | 1224905.8783 | 2665500.3193 | 1224908.3221

## bus_geodata
| x | y | coords
0 | 2665468.3759 | 1224543.0126
1 | 2665437.5241 | 1224512.9017
2 | 2665520.9047 | 1224559.9727
3 | 2665443.9686 | 1224493.0614
4 | 2665441.0638 | 1224885.2619
5 | 2665455.7844 | 1224889.077
6 | 2665486.6723 | 1224506.9419
7 | 2665607.6923 | 1224541.2385
8 | 2665417.7701 | 1224484.5637
9 | 2665615.1184 | 1224517.2151
10 | 2665666.8278 | 1224560.807
11 | 2666066.7409 | 1225003.7029
12 | 2666033.5752 | 1225045.5622
13 | 2666090.3639 | 1224973.8878
14 | 2666103.6891 | 1224957.0697
15 | 2666106.1113 | 1224954.0057
16 | 2666013.3082 | 1224820.3344
17 | 2665991.9947 | 1224847.1909
18 | 2666003.2114 | 1224791.5673
19 | 2666015.9918 | 1224816.9509
20 | 2666023.2111 | 1224835.5424
21 | 2665998.8502 | 1224766.2727
22 | 2665946.9487 | 1224678.9859
23 | 2666038.6053 | 1224763.1154
24 | 2665988.6255 | 1224851.4364
25 | 2665940.9467 | 1224680.2457
26 | 2666006.8113 | 1224479.8767
27 | 2665932.0059 | 1224667.7267
28 | 2666089.0507 | 1224747.3125
29 | 2665987.1828 | 1224856.7168
30 | 2666996.6256 | 1224486.5638
31 | 2667000.3767 | 1224484.684
32 | 2667029.4114 | 1224465.5133
33 | 2666273.9753 | 1224358.5773
34 | 2666979.6951 | 1224434.8516
35 | 2666223.5654 | 1224366.0099
36 | 2667012.4743 | 1224418.2144
37 | 2665722.2202 | 1224579.1369
38 | 2665748.4355 | 1224495.1435
39 | 2665964.263 | 1224459.7144
40 | 2665857.5217 | 1224346.4156
41 | 2665756.1801 | 1224470.3298
42 | 2666098.6046 | 1224741.1297
43 | 2666093.8691 | 1224725.1446
44 | 2666110.6926 | 1224733.31
45 | 2666093.574 | 1224707.0795
46 | 2666117.8819 | 1224728.66
47 | 2665616.0295 | 1224514.2675
48 | 2665641.6596 | 1224431.3533
49 | 2665618.189 | 1224425.0125
50 | 2665633.5676 | 1224457.5314
51 | 2665630.2093 | 1224468.3956
52 | 2665619.2946 | 1225206.0311
53 | 2665609.0105 | 1225221.3905
54 | 2665687.2018 | 1224997.8021
55 | 2665599.5629 | 1225249.2092
56 | 2665680.6996 | 1224994.7572
57 | 2665561.1374 | 1225576.8033
58 | 2665656.3519 | 1224984.5615
59 | 2665695.2431 | 1224959.2623
60 | 2665483.4404 | 1225603.6988
61 | 2665389.6932 | 1225572.1188
62 | 2666110.9166 | 1224550.2633
63 | 2666108.3937 | 1224561.2167
64 | 2666146.6058 | 1224490.835
65 | 2666102.2876 | 1224587.7274
66 | 2666097.8596 | 1224606.9525
67 | 2666179.1463 | 1224576.1846
68 | 2666092.8021 | 1224640.1156
69 | 2665700.6622 | 1224946.0365
70 | 2665632.2137 | 1224975.094
71 | 2665500.3193 | 1224908.3221
72 | 2665477.9932 | 1224896.5725
73 | 2665757.1757 | 1224467.1398

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## res_bus
| vm_pu | va_degree | p_mw | q_mvar
0 | 0.98578 | -0.099336 | 0.0065042 | 0.0016301
1 | 0.9868 | -0.092118 | 0.0025657 | 0.00064303
2 | 0.98498 | -0.10501 | 0.0075954 | 0.0019036
3 | 0.9872 | -0.089334 | 0 | 0
4 | 0.97954 | -0.14372 | 0.0005662 | 0.0001419
5 | 0.97906 | -0.14716 | 0.0008437 | 0.00021145
6 | 0.98698 | -0.090834 | 0.0032606 | 0.00081717
7 | 0.99101 | -0.062451 | 0 | 0
8 | 0.98708 | -0.090121 | 0.0027899 | 0.00069921
9 | 0.98729 | -0.0885 | 0.0018279 | 0.00045812
10 | 0.99543 | -0.031623 | 0.015399 | 0.0038595
11 | 0.98304 | -0.12002 | 0.001403 | 0.00035163
12 | 0.98291 | -0.12098 | 0.0017309 | 0.0004338
13 | 0.98321 | -0.11879 | 0.0013401 | 0.00033586
14 | 0.98335 | -0.11779 | 0 | 0
15 | 0.98338 | -0.11761 | 0 | 0
16 | 0.98442 | -0.11015 | 0 | 0
17 | 0.98426 | -0.11128 | 0.00077913 | 0.00019527
18 | 0.98432 | -0.11091 | 0.0018762 | 0.00047022
19 | 0.98446 | -0.1099 | 0 | 0
20 | 0.98432 | -0.11086 | 0.00015918 | 3.9893e-05
21 | 0.98525 | -0.10423 | 0 | 0
22 | 0.98692 | -0.092311 | 0 | 0
23 | 0.9848 | -0.10747 | 0.0004509 | 0.00011301
24 | 0.98425 | -0.11141 | 0 | 0
25 | 0.98421 | -0.11164 | 0.00054203 | 0.00013584
26 | 0.99036 | -0.067867 | 0 | 0
27 | 0.98691 | -0.092363 | 0.00027305 | 6.8433e-05
28 | 0.9842 | -0.11176 | 0.0013484 | 0.00033793
29 | 0.98423 | -0.11155 | 0.0024157 | 0.00060542
30 | 0.97153 | -0.20272 | 0.0047269 | 0.0011847
31 | 0.97156 | -0.20251 | 0.0075647 | 0.0018959
32 | 0.9722 | -0.19791 | 0.0011968 | 0.00029993
33 | 0.97986 | -0.14289 | 0 | 0
34 | 0.97395 | -0.18536 | 0.0035645 | 0.00089334
35 | 0.98032 | -0.13957 | 0.00038219 | 9.5786e-05
36 | 0.97322 | -0.19058 | 0 | 0
37 | 1 | 0 | -0.23562 | -0.059224
38 | 0.99707 | -0.020502 | 0.025774 | 0.0064597
39 | 0.99117 | -0.0621 | 0.0007349 | 0.00018418
40 | 0.99384 | -0.043247 | 0 | 0
41 | 0.99653 | -0.024335 | 0.0088443 | 0.0022166
42 | 0.98408 | -0.11261 | 0 | 0
43 | 0.98391 | -0.11383 | 0.00044851 | 0.00011241
44 | 0.98407 | -0.11269 | 0.00023012 | 5.7674e-05
45 | 0.98373 | -0.11513 | 0.00026718 | 6.6962e-05
46 | 0.98407 | -0.11272 | 0.00030505 | 7.6453e-05
47 | 0.98685 | -0.091651 | 0.010676 | 0.0026756
48 | 0.97856 | -0.15052 | 0.014327 | 0.0035907
49 | 0.97807 | -0.15401 | 0.013742 | 0.003444
50 | 0.97968 | -0.14252 | 0.029242 | 0.0073288
51 | 0.98063 | -0.13575 | 0.031729 | 0.0079521
52 | 0.97139 | -0.20249 | 0.0035515 | 0.00089008
53 | 0.97132 | -0.20298 | 0 | 0
54 | 0.97332 | -0.18843 | 0.0004617 | 0.00011571
55 | 0.97121 | -0.20378 | 0.0015382 | 0.00038552
56 | 0.97339 | -0.18793 | 0 | 0
57 | 0.97076 | -0.20714 | 0 | 0
58 | 0.9737 | -0.18569 | 0.0042346 | 0.0010613
59 | 0.97331 | -0.18854 | 0.00098082 | 0.00024582
60 | 0.97065 | -0.208 | 0 | 0
61 | 0.9705 | -0.20904 | 0.00092995 | 0.00023307
62 | 0.98219 | -0.1262 | 0.0014848 | 0.00037212
63 | 0.98229 | -0.12545 | 0.00048877 | 0.0001225
64 | 0.98159 | -0.13051 | 0 | 0
65 | 0.98255 | -0.1236 | 0 | 0
66 | 0.98274 | -0.12225 | 0.00054532 | 0.00013667
67 | 0.98252 | -0.12377 | 0.00020359 | 5.1025e-05
68 | 0.98307 | -0.11987 | 0.00010027 | 2.513e-05
69 | 0.9733 | -0.18862 | 0.00052028 | 0.0001304
70 | 0.97416 | -0.18233 | 0.0035974 | 0.00090159
71 | 0.9776 | -0.15763 | 0.0044283 | 0.0011098
72 | 0.97835 | -0.15227 | 0.00055976 | 0.00014029
73 | 0.99998 | 149.9947 | 0 | 0

## res_line
| p_from_mw | q_from_mvar | p_to_mw | q_to_mvar | pl_mw | ql_mvar | i_from_ka | i_to_ka | i_ka | vm_from_pu | va_from_degree | vm_to_pu | va_to_degree | loading_percent
0 | -0.036572 | -0.0091761 | 0.036608 | 0.009188 | 3.6655e-05 | 1.1884e-05 | 0.055208 | 0.055207 | 0.055208 | 0.98578 | -0.099336 | 0.9868 | -0.092118 | 6.8158
1 | 0.030067 | 0.007546 | -0.030044 | -0.007539 | 2.3655e-05 | 6.9885e-06 | 0.04539 | 0.04539 | 0.04539 | 0.98578 | -0.099336 | 0.98498 | -0.10501 | 5.6038
2 | -0.039174 | -0.009831 | 0.039189 | 0.009836 | 1.5143e-05 | 5.0244e-06 | 0.059076 | 0.059076 | 0.059076 | 0.9868 | -0.092118 | 0.9872 | -0.089334 | 7.2933
3 | 0.022448 | 0.0056354 | -0.022328 | -0.0055976 | 0.00012022 | 3.7759e-05 | 0.033916 | 0.033919 | 0.033919 | 0.98498 | -0.10501 | 0.97954 | -0.14372 | 6.2813
4 | 0.0032612 | 0.00081686 | -0.0032606 | -0.00081717 | 6.7705e-07 | -3.1358e-07 | 0.0049155 | 0.0049157 | 0.0049157 | 0.9872 | -0.089334 | 0.98698 | -0.090834 | 1.8206
5 | -0.045241 | -0.011352 | 0.04541 | 0.01141 | 0.00016932 | 5.8382e-05 | 0.068197 | 0.068194 | 0.068197 | 0.9872 | -0.089334 | 0.99101 | -0.062451 | 8.4193
6 | 0.0027902 | 0.00069898 | -0.0027899 | -0.00069921 | 3.0399e-07 | -2.3518e-07 | 0.0042056 | 0.0042057 | 0.0042057 | 0.9872 | -0.089334 | 0.98708 | -0.090121 | 1.5577
7 | 0.021762 | 0.0054557 | -0.021751 | -0.0054519 | 1.0371e-05 | 3.7974e-06 | 0.033059 | 0.033059 | 0.033059 | 0.97954 | -0.14372 | 0.97906 | -0.14716 | 12.2441
8 | 0.020908 | 0.0052405 | -0.020893 | -0.0052351 | 1.4792e-05 | 5.3941e-06 | 0.031777 | 0.031777 | 0.031777 | 0.97906 | -0.14716 | 0.97835 | -0.15227 | 11.7692
9 | 0.1026 | 0.025854 | -0.10223 | -0.025711 | 0.00037263 | 0.000143 | 0.15411 | 0.15411 | 0.15411 | 0.99101 | -0.062451 | 0.98729 | -0.0885 | 57.0766
10 | -0.14801 | -0.037264 | 0.14865 | 0.037508 | 0.00064026 | 0.00024384 | 0.2223 | 0.2223 | 0.2223 | 0.99101 | -0.062451 | 0.99543 | -0.031623 | 27.4446
11 | 0.1004 | 0.025253 | -0.10036 | -0.025236 | 4.4099e-05 | 1.6922e-05 | 0.15135 | 0.15135 | 0.15135 | 0.98729 | -0.0885 | 0.98685 | -0.091651 | 56.0562
12 | -0.16405 | -0.041368 | 0.16478 | 0.041646 | 0.00073037 | 0.00027862 | 0.24532 | 0.24532 | 0.24532 | 0.99543 | -0.031623 | 1 | 0 | 30.2864
13 | 0.0017311 | 0.00043321 | -0.0017309 | -0.0004338 | 2.288e-07 | -5.8899e-07 | 0.0026201 | 0.0026204 | 0.0026204 | 0.98304 | -0.12002 | 0.98291 | -0.12098 | 0.9705
14 | -0.0031341 | -0.00078484 | 0.0031347 | 0.00078457 | 5.3416e-07 | -2.769e-07 | 0.0047439 | 0.0047437 | 0.0047439 | 0.98304 | -0.12002 | 0.98321 | -0.11879 | 1.757
15 | -0.0044748 | -0.0011204 | 0.0044754 | 0.0011204 | 6.1399e-07 | -3.6018e-08 | 0.0067718 | 0.0067717 | 0.0067718 | 0.98321 | -0.11879 | 0.98335 | -0.11779 | 2.5081
16 | -0.0044754 | -0.0011204 | 0.0044755 | 0.0011204 | 1.1165e-07 | -6.5589e-09 | 0.0067717 | 0.0067717 | 0.0067717 | 0.98335 | -0.11779 | 0.98338 | -0.11761 | 2.5081
17 | -0.0044755 | -0.0011204 | 0.0044797 | 0.0011201 | 4.1739e-06 | -2.472e-07 | 0.0067717 | 0.0067711 | 0.0067717 | 0.98338 | -0.11761 | 0.98432 | -0.11086 | 2.508
18 | 0.0031954 | 0.00080034 | -0.0031949 | -0.00080059 | 4.991e-07 | -2.4387e-07 | 0.0048299 | 0.00483 | 0.00483 | 0.98442 | -0.11015 | 0.98426 | -0.11128 | 1.7889
19 | 0.0024185 | 0.00060416 | -0.0024183 | -0.00060445 | 2.5418e-07 | -2.8983e-07 | 0.0036551 | 0.0036552 | 0.0036552 | 0.98442 | -0.11015 | 0.98432 | -0.11091 | 1.3538
20 | -0.0056139 | -0.0014045 | 0.0056141 | 0.0014045 | 1.938e-07 | 1.969e-08 | 0.0084849 | 0.0084849 | 0.0084849 | 0.98442 | -0.11015 | 0.98446 | -0.1099 | 3.1426
21 | 0.0024158 | 0.00060532 | -0.0024157 | -0.00060537 | 4.511e-08 | -5.1535e-08 | 0.0036521 | 0.0036521 | 0.0036521 | 0.98426 | -0.11128 | 0.98425 | -0.11141 | 1.3526
22 | 0.00054208 | 0.00013422 | -0.00054203 | -0.00013584 | 5.4121e-08 | -1.6218e-06 | 0.0008189 | 0.00081948 | 0.00081948 | 0.98432 | -0.11091 | 0.98421 | -0.11164 | 0.30351
23 | -0.010254 | -0.0025645 | 0.010262 | 0.0025669 | 8.0159e-06 | 2.4023e-06 | 0.015497 | 0.015496 | 0.015497 | 0.98446 | -0.1099 | 0.98525 | -0.10423 | 5.7394
24 | 0.0046395 | 0.00116 | -0.0046388 | -0.00116 | 6.1184e-07 | -1.8224e-08 | 0.0070116 | 0.0070117 | 0.0070117 | 0.98446 | -0.1099 | 0.98432 | -0.11086 | 2.5969
25 | -0.033806 | -0.0084482 | 0.033862 | 0.0084656 | 5.5547e-05 | 1.7442e-05 | 0.051048 | 0.051047 | 0.051048 | 0.98525 | -0.10423 | 0.98692 | -0.092311 | 6.3023
26 | 0.023545 | 0.0058812 | -0.023534 | -0.0058787 | 1.0488e-05 | 2.5105e-06 | 0.035552 | 0.035553 | 0.035553 | 0.98525 | -0.10423 | 0.9848 | -0.10747 | 4.3892
27 | -0.034135 | -0.0085338 | 0.03425 | 0.0085701 | 0.00011524 | 3.6273e-05 | 0.051459 | 0.051456 | 0.051459 | 0.98692 | -0.092311 | 0.99036 | -0.067867 | 6.3529
28 | 0.00027305 | 6.8194e-05 | -0.00027305 | -6.8433e-05 | 1.9784e-09 | -2.3832e-07 | 0.00041161 | 0.00041169 | 0.00041169 | 0.98692 | -0.092311 | 0.98691 | -0.092363 | 0.15248
29 | 0.023083 | 0.0057657 | -0.02307 | -0.0057625 | 1.3602e-05 | 3.1801e-06 | 0.034871 | 0.034872 | 0.034872 | 0.9848 | -0.10747 | 0.9842 | -0.11176 | 4.3052
30 | 0.0024157 | 0.00060537 | -0.0024157 | -0.00060542 | 4.556e-08 | -5.2045e-08 | 0.0036521 | 0.0036522 | 0.0036522 | 0.98425 | -0.11141 | 0.98423 | -0.11155 | 1.3527
31 | -0.03425 | -0.0085701 | 0.034277 | 0.0085787 | 2.7277e-05 | 8.5775e-06 | 0.051456 | 0.051455 | 0.051456 | 0.99036 | -0.067867 | 0.99117 | -0.0621 | 6.3526
32 | 0.021721 | 0.0054246 | -0.021719 | -0.0054241 | 2.5518e-06 | 5.4765e-07 | 0.032833 | 0.032834 | 0.032834 | 0.9842 | -0.11176 | 0.98408 | -0.11261 | 4.0535
33 | -0.0047269 | -0.0011847 | 0.004727 | 0.0011847 | 1.3723e-07 | 8.22e-10 | 0.0072397 | 0.0072397 | 0.0072397 | 0.97153 | -0.20272 | 0.97156 | -0.20251 | 2.6814
34 | -0.012292 | -0.0030805 | 0.012299 | 0.0030831 | 7.8297e-06 | 2.5727e-06 | 0.018826 | 0.018825 | 0.018826 | 0.97156 | -0.20251 | 0.9722 | -0.19791 | 6.9724
35 | -0.013496 | -0.0033831 | 0.01351 | 0.0033877 | 1.3721e-05 | 4.6377e-06 | 0.020657 | 0.020657 | 0.020657 | 0.9722 | -0.19791 | 0.97322 | -0.19058 | 7.6508
36 | 0.017185 | 0.0042964 | -0.017084 | -0.0042843 | 0.00010056 | 1.2015e-05 | 0.026093 | 0.026103 | 0.026103 | 0.97986 | -0.14289 | 0.97395 | -0.18536 | 3.2225
37 | -0.017185 | -0.0042964 | 0.017193 | 0.0042973 | 7.8604e-06 | 9.247e-07 | 0.026093 | 0.026092 | 0.026093 | 0.97986 | -0.14289 | 0.98032 | -0.13957 | 3.2214
38 | 0.01352 | 0.003391 | -0.01351 | -0.0033877 | 9.7877e-06 | 3.3074e-06 | 0.020657 | 0.020657 | 0.020657 | 0.97395 | -0.18536 | 0.97322 | -0.19058 | 7.6507
39 | -0.017575 | -0.0043931 | 0.017597 | 0.0043959 | 2.1924e-05 | 2.8205e-06 | 0.026672 | 0.02667 | 0.026672 | 0.98032 | -0.13957 | 0.98159 | -0.13051 | 3.2929
40 | 0.070036 | 0.017578 | -0.069838 | -0.017505 | 0.00019881 | 7.3012e-05 | 0.10422 | 0.10423 | 0.10423 | 1 | 0 | 0.99707 | -0.020502 | 12.8673
41 | 0.044063 | 0.011046 | -0.04404 | -0.011038 | 2.3381e-05 | 7.9762e-06 | 0.06576 | 0.06576 | 0.06576 | 0.99707 | -0.020502 | 0.99653 | -0.024335 | 8.1186
42 | -0.035012 | -0.0087628 | 0.035103 | 0.0087918 | 9.1313e-05 | 2.8959e-05 | 0.052558 | 0.052556 | 0.052558 | 0.99117 | -0.0621 | 0.99384 | -0.043247 | 6.4887
43 | -0.035103 | -0.0087918 | 0.035195 | 0.0088209 | 9.1965e-05 | 2.9131e-05 | 0.052556 | 0.052554 | 0.052556 | 0.99384 | -0.043247 | 0.99653 | -0.024335 | 6.4884
44 | 0.021183 | 0.0052902 | -0.02118 | -0.0052895 | 3.5564e-06 | 7.3252e-07 | 0.032024 | 0.032025 | 0.032025 | 0.98408 | -0.11261 | 0.98391 | -0.11383 | 3.9537
45 | 0.00053518 | 0.00013384 | -0.00053517 | -0.00013402 | 5.882e-09 | -1.8065e-07 | 0.00080913 | 0.0008092 | 0.0008092 | 0.98408 | -0.11261 | 0.98407 | -0.11269 | 0.2997
46 | 0.020731 | 0.0051771 | -0.020728 | -0.0051763 | 3.6927e-06 | 7.3199e-07 | 0.031346 | 0.031347 | 0.031347 | 0.98391 | -0.11383 | 0.98373 | -0.11513 | 3.87
47 | 0.00030505 | 7.6345e-05 | -0.00030505 | -7.6453e-05 | 1.1367e-09 | -1.0834e-07 | 0.00046123 | 0.00046127 | 0.00046127 | 0.98407 | -0.11269 | 0.98407 | -0.11272 | 0.17084
48 | 0.020461 | 0.0051094 | -0.020447 | -0.0051068 | 1.3337e-05 | 2.5807e-06 | 0.030943 | 0.030943 | 0.030943 | 0.98373 | -0.11513 | 0.98307 | -0.11987 | 3.8202
49 | 0.08968 | 0.02256 | -0.089132 | -0.02235 | 0.00054809 | 0.00021019 | 0.13525 | 0.13525 | 0.13525 | 0.98685 | -0.091651 | 0.98063 | -0.13575 | 50.0943
50 | 0.013748 | 0.0034463 | -0.013742 | -0.003444 | 6.6309e-06 | 2.2451e-06 | 0.020906 | 0.020907 | 0.020907 | 0.97856 | -0.15052 | 0.97807 | -0.15401 | 7.7432
51 | -0.028076 | -0.007037 | 0.028107 | 0.0070487 | 3.1164e-05 | 1.1641e-05 | 0.042693 | 0.042693 | 0.042693 | 0.97856 | -0.15052 | 0.97968 | -0.14252 | 15.8122
52 | -0.057349 | -0.014377 | 0.057403 | 0.014398 | 5.3842e-05 | 2.0565e-05 | 0.087108 | 0.087108 | 0.087108 | 0.97968 | -0.14252 | 0.98063 | -0.13575 | 32.2623
53 | 0.0024693 | 0.00061196 | -0.0024691 | -0.00061213 | 1.6504e-07 | -1.6565e-07 | 0.0037801 | 0.0037801 | 0.0037801 | 0.97139 | -0.20249 | 0.97132 | -0.20298 | 1.4001
54 | -0.0060207 | -0.001502 | 0.0060324 | 0.0015038 | 1.1618e-05 | 1.7516e-06 | 0.0092203 | 0.0092194 | 0.0092203 | 0.97139 | -0.20249 | 0.97332 | -0.18843 | 3.4149
55 | 0.0024691 | 0.00061213 | -0.0024688 | -0.0006124 | 2.6732e-07 | -2.6821e-07 | 0.0037801 | 0.0037803 | 0.0037803 | 0.97132 | -0.20298 | 0.97121 | -0.20378 | 1.4001
56 | -0.006494 | -0.0016195 | 0.0064945 | 0.0016196 | 4.4134e-07 | 8.0504e-08 | 0.0099252 | 0.0099252 | 0.0099252 | 0.97332 | -0.18843 | 0.97339 | -0.18793 | 3.676
57 | 0.00093061 | 0.00022688 | -0.00093019 | -0.0002308 | 4.1751e-07 | -3.9193e-06 | 0.0014235 | 0.001425 | 0.001425 | 0.97121 | -0.20378 | 0.97076 | -0.20714 | 0.52777
58 | -0.0079957 | -0.0019952 | 0.0079982 | 0.0019958 | 2.4603e-06 | 6.1796e-07 | 0.01222 | 0.01222 | 0.01222 | 0.97339 | -0.18793 | 0.9737 | -0.18569 | 4.5259
59 | 0.0015012 | 0.00037561 | -0.0015011 | -0.00037604 | 1.2605e-07 | -4.283e-07 | 0.0022947 | 0.0022949 | 0.0022949 | 0.97339 | -0.18793 | 0.97331 | -0.18854 | 0.84995
60 | 0.00093019 | 0.0002308 | -0.00093008 | -0.00023182 | 1.0953e-07 | -1.0262e-06 | 0.001425 | 0.0014254 | 0.0014254 | 0.97076 | -0.20714 | 0.97065 | -0.208 | 0.52792
61 | -0.012233 | -0.0030571 | 0.012238 | 0.0030589 | 5.6523e-06 | 1.8513e-06 | 0.018691 | 0.018691 | 0.018691 | 0.9737 | -0.18569 | 0.97416 | -0.18233 | 6.9226
62 | 0.00052029 | 0.00013022 | -0.00052028 | -0.0001304 | 5.6426e-09 | -1.7546e-07 | 0.00079537 | 0.00079543 | 0.00079543 | 0.97331 | -0.18854 | 0.9733 | -0.18862 | 0.2946
63 | 0.00093008 | 0.00023182 | -0.00092995 | -0.00023307 | 1.3282e-07 | -1.2433e-06 | 0.0014254 | 0.0014258 | 0.0014258 | 0.97065 | -0.208 | 0.9705 | -0.20904 | 0.52809
64 | -0.019092 | -0.0047693 | 0.019094 | 0.0047697 | 1.9552e-06 | 3.2519e-07 | 0.028919 | 0.028919 | 0.028919 | 0.98219 | -0.1262 | 0.98229 | -0.12545 | 3.5702
65 | 0.017607 | 0.0043972 | -0.017597 | -0.0043959 | 1.0435e-05 | 1.3371e-06 | 0.026669 | 0.02667 | 0.02667 | 0.98219 | -0.1262 | 0.98159 | -0.13051 | 3.2926
66 | -0.019583 | -0.0048922 | 0.019588 | 0.004893 | 4.9776e-06 | 8.8105e-07 | 0.029659 | 0.029659 | 0.029659 | 0.98229 | -0.12545 | 0.98255 | -0.1236 | 3.6616
67 | -0.019791 | -0.0049431 | 0.019795 | 0.0049437 | 3.6849e-06 | 6.6753e-07 | 0.029967 | 0.029966 | 0.029967 | 0.98255 | -0.1236 | 0.98274 | -0.12225 | 3.6996
68 | 0.0002036 | 5.0023e-05 | -0.00020359 | -5.1025e-05 | 4.6982e-09 | -1.0024e-06 | 0.00030798 | 0.00030834 | 0.00030834 | 0.98255 | -0.1236 | 0.98252 | -0.12377 | 0.1142
69 | -0.02034 | -0.0050804 | 0.020347 | 0.0050817 | 6.6466e-06 | 1.2749e-06 | 0.030792 | 0.030792 | 0.030792 | 0.98274 | -0.12225 | 0.98307 | -0.11987 | 3.8015
70 | -0.015836 | -0.0039605 | 0.01589 | 0.0039795 | 5.4098e-05 | 1.8955e-05 | 0.024186 | 0.024185 | 0.024186 | 0.97416 | -0.18233 | 0.9776 | -0.15763 | 8.9577
71 | -0.020318 | -0.0050893 | 0.020333 | 0.0050948 | 1.506e-05 | 5.4757e-06 | 0.030926 | 0.030925 | 0.030926 | 0.9776 | -0.15763 | 0.97835 | -0.15227 | 11.4539

## res_trafo
| p_hv_mw | q_hv_mvar | p_lv_mw | q_lv_mvar | pl_mw | ql_mvar | i_hv_ka | i_lv_ka | vm_hv_pu | va_hv_degree | vm_lv_pu | va_lv_degree | loading_percent
0 | 2.5187e-16 | 8.8016e-16 | 0.00079998 | 7.4552e-08 | 0.00079998 | 7.4552e-08 | 2.6429e-17 | 0.0011547 | 0.99998 | 149.9947 | 1 | 0 | 0.31999

## res_ext_grid
| p_mw | q_mvar
0 | 0.23562 | 0.059224

## res_load
| p_mw | q_mvar
0 | 0.0065042 | 0.0016301
1 | 0.0025657 | 0.00064303
2 | 0.0075954 | 0.0019036
3 | 0.0005662 | 0.0001419
4 | 0.0008437 | 0.00021145
5 | 0.0032606 | 0.00081717
6 | 0.0027899 | 0.00069921
7 | 0.0018279 | 0.00045812
8 | 0.015399 | 0.0038595
9 | 0.001403 | 0.00035163
10 | 0.0017309 | 0.0004338
11 | 0.0013401 | 0.00033586
12 | 0.00077913 | 0.00019527
13 | 0.0018762 | 0.00047022
14 | 0.00015918 | 3.9893e-05
15 | 0.0004509 | 0.00011301
16 | 0.00054203 | 0.00013584
17 | 0.00027305 | 6.8433e-05
18 | 0.0013484 | 0.00033793
19 | 0.0024157 | 0.00060542
20 | 0.0047269 | 0.0011847
21 | 0.0075647 | 0.0018959
22 | 0.0011968 | 0.00029993
23 | 0.0035645 | 0.00089334
24 | 0.00038219 | 9.5786e-05
25 | 0.025774 | 0.0064597
26 | 0.0007349 | 0.00018418
27 | 0.0088443 | 0.0022166
28 | 0.00044851 | 0.00011241
29 | 0.00023012 | 5.7674e-05
30 | 0.00026718 | 6.6962e-05
31 | 0.00030505 | 7.6453e-05
32 | 0.010676 | 0.0026756
33 | 0.014327 | 0.0035907
34 | 0.013742 | 0.003444
35 | 0.029242 | 0.0073288
36 | 0.031729 | 0.0079521
37 | 0.0035515 | 0.00089008
38 | 0.0004617 | 0.00011571
39 | 0.0015382 | 0.00038552
40 | 0.0042346 | 0.0010613
41 | 0.00098082 | 0.00024582
42 | 0.00092995 | 0.00023307
43 | 0.0014848 | 0.00037212
44 | 0.00048877 | 0.0001225
45 | 0.00054532 | 0.00013667
46 | 0.00020359 | 5.1025e-05
47 | 0.00010027 | 2.513e-05
48 | 0.00052028 | 0.0001304
49 | 0.0035974 | 0.00090159
50 | 0.0044283 | 0.0011098
51 | 0.00055976 | 0.00014029

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object
62 | res_bus | vm_pu | float64
63 | res_bus | va_degree | float64
64 | res_bus | p_mw | float64
65 | res_bus | q_mvar | float64
66 | res_line | p_from_mw | float64
67 | res_line | q_from_mvar | float64
68 | res_line | p_to_mw | float64
69 | res_line | q_to_mvar | float64
70 | res_line | pl_mw | float64
71 | res_line | ql_mvar | float64
72 | res_line | i_from_ka | float64
73 | res_line | i_to_ka | float64
74 | res_line | i_ka | float64
75 | res_line | vm_from_pu | float64
76 | res_line | va_from_degree | float64
77 | res_line | vm_to_pu | float64
78 | res_line | va_to_degree | float64
79 | res_line | loading_percent | float64
80 | res_trafo | p_hv_mw | float64
81 | res_trafo | q_hv_mvar | float64
82 | res_trafo | p_lv_mw | float64
83 | res_trafo | q_lv_mvar | float64
84 | res_trafo | pl_mw | float64
85 | res_trafo | ql_mvar | float64
86 | res_trafo | i_hv_ka | float64
87 | res_trafo | i_lv_ka | float64
88 | res_trafo | vm_hv_pu | float64
89 | res_trafo | va_hv_degree | float64
90 | res_trafo | vm_lv_pu | float64
91 | res_trafo | va_lv_degree | float64
92 | res_trafo | loading_percent | float64
93 | res_ext_grid | p_mw | float64
94 | res_ext_grid | q_mvar | float64
95 | res_load | p_mw | float64
96 | res_load | q_mvar | float64

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | TRUE | FALSE |  | 50 | 1