## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_1032-12_0_2_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_1032-12_0_2_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_1032-12_0_2_node_2 | 0.4 | n |  | TRUE
3 | bus_LV_1032-12_0_2_node_63 | 0.4 | n |  | TRUE
4 | bus_LV_1032-12_0_2_node_62 | 0.4 | n |  | TRUE
5 | bus_LV_1032-12_0_2_node_3 | 0.4 | n |  | TRUE
6 | bus_LV_1032-12_0_2_node_4 | 0.4 | n |  | TRUE
7 | bus_LV_1032-12_0_2_node_6 | 0.4 | n |  | TRUE
8 | bus_LV_1032-12_0_2_node_5 | 0.4 | n |  | TRUE
9 | bus_LV_1032-12_0_2_node_7 | 0.4 | n |  | TRUE
10 | bus_LV_1032-12_0_2_node_8 | 0.4 | n |  | TRUE
11 | bus_LV_1032-12_0_2_node_9 | 0.4 | n |  | TRUE
12 | bus_LV_1032-12_0_2_node_10 | 0.4 | n |  | TRUE
13 | bus_LV_1032-12_0_2_node_11 | 0.4 | n |  | TRUE
14 | bus_LV_1032-12_0_2_node_31 | 0.4 | n |  | TRUE
15 | bus_LV_1032-12_0_2_node_64 | 0.4 | n |  | TRUE
16 | bus_LV_1032-12_0_2_node_32 | 0.4 | n |  | TRUE
17 | bus_LV_1032-12_0_2_node_23 | 0.4 | n |  | TRUE
18 | bus_LV_1032-12_0_2_node_12 | 0.4 | n |  | TRUE
19 | bus_LV_1032-12_0_2_node_13 | 0.4 | n |  | TRUE
20 | bus_LV_1032-12_0_2_node_14 | 0.4 | n |  | TRUE
21 | bus_LV_1032-12_0_2_node_15 | 0.4 | n |  | TRUE
22 | bus_LV_1032-12_0_2_node_16 | 0.4 | n |  | TRUE
23 | bus_LV_1032-12_0_2_node_20 | 0.4 | n |  | TRUE
24 | bus_LV_1032-12_0_2_node_21 | 0.4 | n |  | TRUE
25 | bus_LV_1032-12_0_2_node_22 | 0.4 | n |  | TRUE
26 | bus_LV_1032-12_0_2_node_26 | 0.4 | n |  | TRUE
27 | bus_LV_1032-12_0_2_node_24 | 0.4 | n |  | TRUE
28 | bus_LV_1032-12_0_2_node_38 | 0.4 | n |  | TRUE
29 | bus_LV_1032-12_0_2_node_39 | 0.4 | n |  | TRUE
30 | bus_LV_1032-12_0_2_node_35 | 0.4 | n |  | TRUE
31 | bus_LV_1032-12_0_2_node_17 | 0.4 | n |  | TRUE
32 | bus_LV_1032-12_0_2_node_18 | 0.4 | n |  | TRUE
33 | bus_LV_1032-12_0_2_node_19 | 0.4 | n |  | TRUE
34 | bus_LV_1032-12_0_2_node_53 | 0.4 | n |  | TRUE
35 | bus_LV_1032-12_0_2_node_29 | 0.4 | n |  | TRUE
36 | bus_LV_1032-12_0_2_node_30 | 0.4 | n |  | TRUE
37 | bus_LV_1032-12_0_2_node_54 | 0.4 | n |  | TRUE
38 | bus_LV_1032-12_0_2_node_28 | 0.4 | n |  | TRUE
39 | bus_LV_1032-12_0_2_node_52 | 0.4 | n |  | TRUE
40 | bus_LV_1032-12_0_2_node_55 | 0.4 | n |  | TRUE
41 | bus_LV_1032-12_0_2_node_27 | 0.4 | n |  | TRUE
42 | bus_LV_1032-12_0_2_node_25 | 0.4 | n |  | TRUE
43 | bus_LV_1032-12_0_2_node_41 | 0.4 | n |  | TRUE
44 | bus_LV_1032-12_0_2_node_36 | 0.4 | n |  | TRUE
45 | bus_LV_1032-12_0_2_node_51 | 0.4 | n |  | TRUE
46 | bus_LV_1032-12_0_2_node_49 | 0.4 | n |  | TRUE
47 | bus_LV_1032-12_0_2_node_33 | 0.4 | n |  | TRUE
48 | bus_LV_1032-12_0_2_node_34 | 0.4 | n |  | TRUE
49 | bus_LV_1032-12_0_2_node_66 | 0.4 | n |  | TRUE
50 | bus_LV_1032-12_0_2_node_61 | 0.4 | n |  | TRUE
51 | bus_LV_1032-12_0_2_node_67 | 0.4 | n |  | TRUE
52 | bus_LV_1032-12_0_2_node_60 | 0.4 | n |  | TRUE
53 | bus_LV_1032-12_0_2_node_37 | 0.4 | n |  | TRUE
54 | bus_LV_1032-12_0_2_node_40 | 0.4 | n |  | TRUE
55 | bus_LV_1032-12_0_2_node_47 | 0.4 | n |  | TRUE
56 | bus_LV_1032-12_0_2_node_59 | 0.4 | n |  | TRUE
57 | bus_LV_1032-12_0_2_node_56 | 0.4 | n |  | TRUE
58 | bus_LV_1032-12_0_2_node_46 | 0.4 | n |  | TRUE
59 | bus_LV_1032-12_0_2_node_42 | 0.4 | n |  | TRUE
60 | bus_LV_1032-12_0_2_node_43 | 0.4 | n |  | TRUE
61 | bus_LV_1032-12_0_2_node_44 | 0.4 | n |  | TRUE
62 | bus_LV_1032-12_0_2_node_45 | 0.4 | n |  | TRUE
63 | bus_LV_1032-12_0_2_node_57 | 0.4 | n |  | TRUE
64 | bus_LV_1032-12_0_2_node_48 | 0.4 | n |  | TRUE
65 | bus_LV_1032-12_0_2_node_50 | 0.4 | n |  | TRUE
66 | bus_LV_1032-12_0_2_node_58 | 0.4 | n |  | TRUE
67 | bus_LV_1032-12_0_2_node_65 | 0.4 | n |  | TRUE
68 | bus_MV_353_0_node_170 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_1032-12_0_2_load_0 | 0 | 0.0011995 | 0.00030062 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_1032-12_0_2_load_63 | 3 | 0.00097866 | 0.00024528 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_1032-12_0_2_load_62 | 4 | 0.00093601 | 0.00023459 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_1032-12_0_2_load_3 | 5 | 0.0031434 | 0.0007878 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_1032-12_0_2_load_4 | 6 | 0.001785 | 0.00044736 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_1032-12_0_2_load_5 | 8 | 0.010293 | 0.0025796 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_1032-12_0_2_load_8 | 10 | 0.00089681 | 0.00022476 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_1032-12_0_2_load_9 | 11 | 0.0008657 | 0.00021696 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_1032-12_0_2_load_10 | 12 | 0.0010973 | 0.00027501 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_1032-12_0_2_load_11 | 13 | 0.00091288 | 0.00022879 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_1032-12_0_2_load_31 | 14 | 0.00097591 | 0.00024459 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_1032-12_0_2_load_64 | 15 | 0.00072498 | 0.0001817 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_1032-12_0_2_load_23 | 17 | 0.0026841 | 0.0006727 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_1032-12_0_2_load_12 | 18 | 0.00289 | 0.00072431 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_1032-12_0_2_load_13 | 19 | 0.0027129 | 0.00067991 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_1032-12_0_2_load_20 | 23 | 0.0040176 | 0.0010069 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_1032-12_0_2_load_21 | 24 | 0.001799 | 0.00045087 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_1032-12_0_2_load_26 | 26 | 0.0029447 | 0.00073802 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_1032-12_0_2_load_24 | 27 | 0.0067993 | 0.0017041 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_1032-12_0_2_load_38 | 28 | 0.0024758 | 0.00062049 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_1032-12_0_2_load_39 | 29 | 0.0025846 | 0.00064776 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_1032-12_0_2_load_35 | 30 | 0.0073198 | 0.0018345 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_1032-12_0_2_load_18 | 32 | 0.0073361 | 0.0018386 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_1032-12_0_2_load_19 | 33 | 0.00073895 | 0.0001852 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_1032-12_0_2_load_53 | 34 | 0.00099971 | 0.00025055 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_1032-12_0_2_load_29 | 35 | 0.0016804 | 0.00042114 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_1032-12_0_2_load_30 | 36 | 0.00073777 | 0.0001849 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_1032-12_0_2_load_54 | 37 | 0.00057156 | 0.00014325 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_1032-12_0_2_load_28 | 38 | 0.0015558 | 0.00038991 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_1032-12_0_2_load_52 | 39 | 0.00043186 | 0.00010823 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_1032-12_0_2_load_55 | 40 | 0.00085511 | 0.00021431 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_1032-12_0_2_load_25 | 42 | 0.0050135 | 0.0012565 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_1032-12_0_2_load_41 | 43 | 0.0016532 | 0.00041434 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_1032-12_0_2_load_36 | 44 | 0.0025862 | 0.00064816 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_1032-12_0_2_load_51 | 45 | 0.0017956 | 0.00045002 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_1032-12_0_2_load_49 | 46 | 0.0011952 | 0.00029954 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_1032-12_0_2_load_33 | 47 | 0.0021919 | 0.00054933 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_1032-12_0_2_load_34 | 48 | 0.0010014 | 0.00025097 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_1032-12_0_2_load_66 | 49 | 0.0021919 | 0.00054933 | 0 | 0 |  | 1 | TRUE | wye
39 | LV_1032-12_0_2_load_61 | 50 | 0.0032772 | 0.00082135 | 0 | 0 |  | 1 | TRUE | wye
40 | LV_1032-12_0_2_load_67 | 51 | 0.0035322 | 0.00088526 | 0 | 0 |  | 1 | TRUE | wye
41 | LV_1032-12_0_2_load_60 | 52 | 0.0019381 | 0.00048573 | 0 | 0 |  | 1 | TRUE | wye
42 | LV_1032-12_0_2_load_37 | 53 | 0.0021225 | 0.00053194 | 0 | 0 |  | 1 | TRUE | wye
43 | LV_1032-12_0_2_load_47 | 55 | 0.002592 | 0.00064963 | 0 | 0 |  | 1 | TRUE | wye
44 | LV_1032-12_0_2_load_59 | 56 | 0.0028374 | 0.00071113 | 0 | 0 |  | 1 | TRUE | wye
45 | LV_1032-12_0_2_load_46 | 58 | 0.0016532 | 0.00041434 | 0 | 0 |  | 1 | TRUE | wye
46 | LV_1032-12_0_2_load_42 | 59 | 0.0032222 | 0.00080757 | 0 | 0 |  | 1 | TRUE | wye
47 | LV_1032-12_0_2_load_43 | 60 | 0.0042592 | 0.0010675 | 0 | 0 |  | 1 | TRUE | wye
48 | LV_1032-12_0_2_load_45 | 62 | 0.0027264 | 0.0006833 | 0 | 0 |  | 1 | TRUE | wye
49 | LV_1032-12_0_2_load_57 | 63 | 0.0022468 | 0.00056311 | 0 | 0 |  | 1 | TRUE | wye
50 | LV_1032-12_0_2_load_48 | 64 | 0.0009052 | 0.00022686 | 0 | 0 |  | 1 | TRUE | wye
51 | LV_1032-12_0_2_load_50 | 65 | 0.0028234 | 0.00070761 | 0 | 0 |  | 1 | TRUE | wye
52 | LV_1032-12_0_2_load_58 | 66 | 0.0009468 | 0.00023729 | 0 | 0 |  | 1 | TRUE | wye
53 | LV_1032-12_0_2_load_65 | 67 | 0.00085645 | 0.00021465 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 17 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_1032-12_0_2_line_0 | NAYY 4x150 SE | 0 | 1 | 0.036374 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
1 | LV_1032-12_0_2_line_1 | NAYY 4x150 SE | 1 | 2 | 0.003872 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
2 | LV_1032-12_0_2_line_2 | NAYY 4x150 SE | 2 | 5 | 0.027468 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
3 | LV_1032-12_0_2_line_3 | NAYY 4x150 SE | 2 | 6 | 0.014794 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
4 | LV_1032-12_0_2_line_4 | NAYY 4x150 SE | 3 | 4 | 0.0075579 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
5 | LV_1032-12_0_2_line_5 | NAYY 4x150 SE | 4 | 52 | 0.0053278 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
6 | LV_1032-12_0_2_line_6 | NAYY 4x150 SE | 6 | 7 | 0.017711 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
7 | LV_1032-12_0_2_line_7 | NAYY 4x150 SE | 7 | 8 | 0.057806 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
8 | LV_1032-12_0_2_line_8 | NAYY 4x150 SE | 8 | 9 | 0.099262 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
9 | LV_1032-12_0_2_line_9 | NAYY 4x150 SE | 9 | 10 | 0.017293 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
10 | LV_1032-12_0_2_line_10 | NAYY 4x150 SE | 9 | 11 | 0.021691 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
11 | LV_1032-12_0_2_line_11 | NAYY 4x150 SE | 10 | 12 | 0.0062734 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
12 | LV_1032-12_0_2_line_12 | NAYY 4x150 SE | 11 | 13 | 0.0074402 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
13 | LV_1032-12_0_2_line_13 | NAYY 4x150 SE | 12 | 14 | 0.0084654 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
14 | LV_1032-12_0_2_line_14 | NAYY 4x150 SE | 13 | 15 | 0.0058241 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
15 | LV_1032-12_0_2_line_15 | NAYY 4x150 SE | 14 | 16 | 0.01421 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
16 | LV_1032-12_0_2_line_16 | NAYY 4x150 SE | 15 | 17 | 0.021989 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
17 | LV_1032-12_0_2_line_17 | NAYY 4x150 SE | 16 | 47 | 0.012221 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
18 | LV_1032-12_0_2_line_18 | NAYY 4x150 SE | 16 | 48 | 0.009977 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
19 | LV_1032-12_0_2_line_19 | NAYY 4x150 SE | 17 | 22 | 0.018068 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
20 | LV_1032-12_0_2_line_20 | NAYY 4x150 SE | 18 | 19 | 0.024807 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
21 | LV_1032-12_0_2_line_21 | NAYY 4x150 SE | 18 | 20 | 0.0051511 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
22 | LV_1032-12_0_2_line_22 | NAYY 4x150 SE | 20 | 21 | 0.008188 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
23 | LV_1032-12_0_2_line_23 | NAYY 4x150 SE | 20 | 22 | 0.010391 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
24 | LV_1032-12_0_2_line_24 | NAYY 4x150 SE | 21 | 23 | 0.022777 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
25 | LV_1032-12_0_2_line_25 | NAYY 4x150 SE | 21 | 24 | 0.025092 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
26 | LV_1032-12_0_2_line_26 | NAYY 4x150 SE | 22 | 25 | 0.02296 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
27 | LV_1032-12_0_2_line_27 | NAYY 4x150 SE | 23 | 26 | 0.016081 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
28 | LV_1032-12_0_2_line_28 | NAYY 4x150 SE | 24 | 27 | 0.0034498 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
29 | LV_1032-12_0_2_line_29 | NAYY 4x150 SE | 25 | 28 | 0.028157 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
30 | LV_1032-12_0_2_line_30 | NAYY 4x150 SE | 25 | 29 | 0.025649 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
31 | LV_1032-12_0_2_line_31 | NAYY 4x150 SE | 25 | 30 | 0.023627 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
32 | LV_1032-12_0_2_line_32 | NAYY 4x150 SE | 26 | 41 | 0.0011029 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
33 | LV_1032-12_0_2_line_33 | NAYY 4x150 SE | 27 | 42 | 0.016356 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
34 | LV_1032-12_0_2_line_34 | NAYY 4x150 SE | 28 | 43 | 0.014509 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
35 | LV_1032-12_0_2_line_35 | NAYY 4x150 SE | 30 | 44 | 0.0089902 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
36 | LV_1032-12_0_2_line_36 | NAYY 4x150 SE | 31 | 32 | 0.017419 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
37 | LV_1032-12_0_2_line_37 | NAYY 4x150 SE | 31 | 33 | 0.038457 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
38 | LV_1032-12_0_2_line_38 | NAYY 4x150 SE | 31 | 34 | 0.047014 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
39 | LV_1032-12_0_2_line_39 | NAYY 4x150 SE | 32 | 35 | 0.031428 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
40 | LV_1032-12_0_2_line_40 | NAYY 4x150 SE | 33 | 36 | 0.024526 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
41 | LV_1032-12_0_2_line_41 | NAYY 4x150 SE | 34 | 37 | 0.039864 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
42 | LV_1032-12_0_2_line_42 | NAYY 4x150 SE | 34 | 38 | 0.010695 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
43 | LV_1032-12_0_2_line_43 | NAYY 4x150 SE | 36 | 39 | 0.0056931 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
44 | LV_1032-12_0_2_line_44 | NAYY 4x150 SE | 37 | 40 | 0.022401 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
45 | LV_1032-12_0_2_line_45 | NAYY 4x150 SE | 38 | 45 | 0.052442 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
46 | LV_1032-12_0_2_line_46 | NAYY 4x150 SE | 38 | 41 | 0.028937 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
47 | LV_1032-12_0_2_line_47 | NAYY 4x150 SE | 43 | 56 | 0.0043905 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
48 | LV_1032-12_0_2_line_48 | NAYY 4x150 SE | 44 | 53 | 0.011038 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
49 | LV_1032-12_0_2_line_49 | NAYY 4x150 SE | 45 | 46 | 0.10382 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
50 | LV_1032-12_0_2_line_50 | NAYY 4x150 SE | 46 | 64 | 0.017443 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
51 | LV_1032-12_0_2_line_51 | NAYY 4x150 SE | 47 | 49 | 0.0077056 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
52 | LV_1032-12_0_2_line_52 | NAYY 4x150 SE | 48 | 50 | 0.0006645 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
53 | LV_1032-12_0_2_line_53 | NAYY 4x150 SE | 49 | 51 | 0.01717 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
54 | LV_1032-12_0_2_line_54 | NAYY 4x150 SE | 50 | 52 | 0.0017908 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
55 | LV_1032-12_0_2_line_55 | NAYY 4x150 SE | 53 | 54 | 0.023241 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
56 | LV_1032-12_0_2_line_56 | NAYY 4x150 SE | 54 | 55 | 0.017796 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
57 | LV_1032-12_0_2_line_57 | NAYY 4x150 SE | 55 | 57 | 0.024781 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
58 | LV_1032-12_0_2_line_58 | NAYY 4x150 SE | 56 | 58 | 0.0018457 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
59 | LV_1032-12_0_2_line_59 | NAYY 4x150 SE | 57 | 63 | 0.013762 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
60 | LV_1032-12_0_2_line_60 | NAYY 4x150 SE | 58 | 62 | 0.0080502 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
61 | LV_1032-12_0_2_line_61 | NAYY 4x150 SE | 59 | 60 | 0.038556 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
62 | LV_1032-12_0_2_line_62 | NAYY 4x150 SE | 59 | 61 | 0.038525 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
63 | LV_1032-12_0_2_line_63 | NAYY 4x150 SE | 61 | 62 | 0.029804 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
64 | LV_1032-12_0_2_line_64 | NAYY 4x150 SE | 63 | 66 | 0.023762 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
65 | LV_1032-12_0_2_line_65 | NAYY 4x150 SE | 64 | 65 | 0.023094 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
66 | LV_1032-12_0_2_line_66 | NAYY 4x150 SE | 66 | 67 | 0.00054199 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_1032-12_0_2_trafo_23 | 0.25 MVA 20/0.4 kV | 68 | 17 | 0.25 | 20 | 0.4 | 6 | 1.44 | 0.8 | 0.32 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3
0 | 2667222.5549 | 1223988.4275 | 2667209.1028 | 1223987.0748 | 2667186.5879 | 1223983.1531
1 | 2667222.6552 | 1223992.2978 | 2667222.5549 | 1223988.4275
2 | 2667222.6552 | 1223992.2978 | 2667242.6845 | 1223992.7353 | 2667249.4124 | 1223989.5741
3 | 2667222.6552 | 1223992.2978 | 2667220.8603 | 1224006.9829
4 | 2667371.0259 | 1224053.7141 | 2667378.5595 | 1224054.3205
5 | 2667383.87 | 1224054.7479 | 2667378.5595 | 1224054.3205
6 | 2667218.7116 | 1224024.5629 | 2667220.8603 | 1224006.9829
7 | 2667218.7116 | 1224024.5629 | 2667269.4946 | 1224052.1791
8 | 2667356.5742 | 1224099.8248 | 2667269.4946 | 1224052.1791
9 | 2667356.5742 | 1224099.8248 | 2667366.4335 | 1224085.6182
10 | 2667356.5742 | 1224099.8248 | 2667375.5332 | 1224110.3624
11 | 2667366.4335 | 1224085.6182 | 2667370.0103 | 1224080.4643
12 | 2667382.0364 | 1224113.9769 | 2667375.5332 | 1224110.3624
13 | 2667377.471 | 1224077.2931 | 2667375.6118 | 1224079.3159 | 2667370.0103 | 1224080.4643 | 2667370.0103 | 1224080.4643
14 | 2667382.0364 | 1224113.9769 | 2667387.127 | 1224116.8063
15 | 2667385.3299 | 1224065.528 | 2667380.0417 | 1224074.4962 | 2667377.471 | 1224077.2931
16 | 2667387.127 | 1224116.8063 | 2667406.3469 | 1224127.4888
17 | 2667385.3299 | 1224065.528 | 2667392.0319 | 1224066.3155 | 2667396.5182 | 1224069.4496
18 | 2667385.3299 | 1224065.528 | 2667385.6348 | 1224055.5557
19 | 2667419.4894 | 1224139.2734 | 2667413.9336 | 1224131.7056 | 2667406.3469 | 1224127.4888
20 | 2667406.1606 | 1224147.3084 | 2667392.8764 | 1224155.1157 | 2667384.775 | 1224159.8798
21 | 2667410.6016 | 1224144.6985 | 2667406.1606 | 1224147.3084
22 | 2667410.6016 | 1224144.6985 | 2667413.2588 | 1224152.4447
23 | 2667419.4894 | 1224139.2734 | 2667410.6016 | 1224144.6985
24 | 2667413.2588 | 1224152.4447 | 2667404.2767 | 1224166.1963 | 2667401.175 | 1224171.7393
25 | 2667413.2588 | 1224152.4447 | 2667435.5761 | 1224163.9131
26 | 2667419.4894 | 1224139.2734 | 2667427.9873 | 1224134.8 | 2667440.0719 | 1224128.9887
27 | 2667393.3223 | 1224185.7726 | 2667401.175 | 1224171.7393
28 | 2667435.5761 | 1224163.9131 | 2667438.6445 | 1224165.4899
29 | 2667440.0719 | 1224128.9887 | 2667443.3277 | 1224137.4421 | 2667450.2931 | 1224143.7473 | 2667459.551 | 1224146.651
30 | 2667440.0719 | 1224128.9887 | 2667449.1814 | 1224124.7447 | 2667460.2697 | 1224120.5343 | 2667463.8585 | 1224119.485
31 | 2667440.0719 | 1224128.9887 | 2667436.3281 | 1224120.1072 | 2667436.672 | 1224111.172 | 2667437.9432 | 1224106.2876
32 | 2667392.7837 | 1224186.735 | 2667393.3223 | 1224185.7726
33 | 2667453.1921 | 1224172.9657 | 2667438.6445 | 1224165.4899
34 | 2667459.551 | 1224146.651 | 2667463.9012 | 1224148.0153 | 2667473.7533 | 1224149.4035
35 | 2667437.9432 | 1224106.2876 | 2667440.2076 | 1224097.5873
36 | 2667331.921 | 1224193.1062 | 2667319.3948 | 1224181.0012
37 | 2667331.921 | 1224193.1062 | 2667311.6812 | 1224212.6789 | 2667304.296 | 1224219.8605
38 | 2667370.7196 | 1224219.6574 | 2667331.921 | 1224193.1062
39 | 2667290.03 | 1224170.153 | 2667306.5669 | 1224174.7855 | 2667319.3948 | 1224181.0012
40 | 2667304.296 | 1224219.8605 | 2667286.713 | 1224236.959
41 | 2667370.7196 | 1224219.6574 | 2667348.5264 | 1224252.7723
42 | 2667370.7196 | 1224219.6574 | 2667376.6738 | 1224210.7729
43 | 2667286.713 | 1224236.959 | 2667282.6315 | 1224240.928
44 | 2667336.055 | 1224271.3812 | 2667348.5264 | 1224252.7723
45 | 2667376.6738 | 1224210.7729 | 2667425.7246 | 1224229.3249
46 | 2667392.7837 | 1224186.735 | 2667376.6738 | 1224210.7729
47 | 2667478.1009 | 1224150.016 | 2667473.7533 | 1224149.4035
48 | 2667440.2076 | 1224097.5873 | 2667442.9878 | 1224086.9048
49 | 2667425.7246 | 1224229.3249 | 2667439.1394 | 1224332.2787
50 | 2667443.1944 | 1224349.244 | 2667443.1944 | 1224349.244 | 2667439.1394 | 1224332.2787
51 | 2667396.5182 | 1224069.4496 | 2667402.8351 | 1224073.8625
52 | 2667385.6551 | 1224054.8915 | 2667385.6348 | 1224055.5557
53 | 2667415.2263 | 1224074.4833 | 2667411.5098 | 1224079.9225 | 2667402.8351 | 1224073.8625
54 | 2667383.87 | 1224054.7479 | 2667385.6551 | 1224054.8915 | 2667385.6551 | 1224054.8915
55 | 2667448.8416 | 1224064.413 | 2667442.9878 | 1224086.9048
56 | 2667448.8416 | 1224064.413 | 2667450.9825 | 1224046.7462
57 | 2667450.5314 | 1224022.3717 | 2667452.8486 | 1224031.3482 | 2667450.9825 | 1224046.7462
58 | 2667479.9285 | 1224150.2735 | 2667478.1009 | 1224150.016
59 | 2667450.5314 | 1224022.3717 | 2667442.6549 | 1224011.0872
60 | 2667479.9285 | 1224150.2735 | 2667487.8999 | 1224151.3966
61 | 2667509.0875 | 1224189.7372 | 2667499.4128 | 1224227.0595
62 | 2667517.6834 | 1224152.2388 | 2667516.609 | 1224160.7209 | 2667509.0875 | 1224189.7372
63 | 2667517.6834 | 1224152.2388 | 2667489.2176 | 1224151.5823 | 2667487.8999 | 1224151.3966
64 | 2667442.6549 | 1224011.0872 | 2667436.9285 | 1224002.8829 | 2667431.4906 | 1223990.2465
65 | 2667443.1944 | 1224349.244 | 2667441.0047 | 1224372.2341
66 | 2667431.3708 | 1223989.7179 | 2667431.4906 | 1223990.2465 | 2667431.4906 | 1223990.2465

## bus_geodata
| x | y | coords
0 | 2667186.5879 | 1223983.1531
1 | 2667222.5549 | 1223988.4275
2 | 2667222.6552 | 1223992.2978
3 | 2667371.0259 | 1224053.7141
4 | 2667378.5595 | 1224054.3205
5 | 2667249.4124 | 1223989.5741
6 | 2667220.8603 | 1224006.9829
7 | 2667218.7116 | 1224024.5629
8 | 2667269.4946 | 1224052.1791
9 | 2667356.5742 | 1224099.8248
10 | 2667366.4335 | 1224085.6182
11 | 2667375.5332 | 1224110.3624
12 | 2667370.0103 | 1224080.4643
13 | 2667382.0364 | 1224113.9769
14 | 2667377.471 | 1224077.2931
15 | 2667387.127 | 1224116.8063
16 | 2667385.3299 | 1224065.528
17 | 2667406.3469 | 1224127.4888
18 | 2667406.1606 | 1224147.3084
19 | 2667384.775 | 1224159.8798
20 | 2667410.6016 | 1224144.6985
21 | 2667413.2588 | 1224152.4447
22 | 2667419.4894 | 1224139.2734
23 | 2667401.175 | 1224171.7393
24 | 2667435.5761 | 1224163.9131
25 | 2667440.0719 | 1224128.9887
26 | 2667393.3223 | 1224185.7726
27 | 2667438.6445 | 1224165.4899
28 | 2667459.551 | 1224146.651
29 | 2667463.8585 | 1224119.485
30 | 2667437.9432 | 1224106.2876
31 | 2667331.921 | 1224193.1062
32 | 2667319.3948 | 1224181.0012
33 | 2667304.296 | 1224219.8605
34 | 2667370.7196 | 1224219.6574
35 | 2667290.03 | 1224170.153
36 | 2667286.713 | 1224236.959
37 | 2667348.5264 | 1224252.7723
38 | 2667376.6738 | 1224210.7729
39 | 2667282.6315 | 1224240.928
40 | 2667336.055 | 1224271.3812
41 | 2667392.7837 | 1224186.735
42 | 2667453.1921 | 1224172.9657
43 | 2667473.7533 | 1224149.4035
44 | 2667440.2076 | 1224097.5873
45 | 2667425.7246 | 1224229.3249
46 | 2667439.1394 | 1224332.2787
47 | 2667396.5182 | 1224069.4496
48 | 2667385.6348 | 1224055.5557
49 | 2667402.8351 | 1224073.8625
50 | 2667385.6551 | 1224054.8915
51 | 2667415.2263 | 1224074.4833
52 | 2667383.87 | 1224054.7479
53 | 2667442.9878 | 1224086.9048
54 | 2667448.8416 | 1224064.413
55 | 2667450.9825 | 1224046.7462
56 | 2667478.1009 | 1224150.016
57 | 2667450.5314 | 1224022.3717
58 | 2667479.9285 | 1224150.2735
59 | 2667509.0875 | 1224189.7372
60 | 2667499.4128 | 1224227.0595
61 | 2667517.6834 | 1224152.2388
62 | 2667487.8999 | 1224151.3966
63 | 2667442.6549 | 1224011.0872
64 | 2667443.1944 | 1224349.244
65 | 2667441.0047 | 1224372.2341
66 | 2667431.4906 | 1223990.2465
67 | 2667431.3708 | 1223989.7179
68 | 2667419.4894 | 1224139.2734

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## res_bus
| vm_pu | va_degree | p_mw | q_mvar
0 | 0.99385 | -0.043184 | 0.0011995 | 0.00030062
1 | 0.99391 | -0.042742 | 0 | 0
2 | 0.99392 | -0.042695 | 0 | 0
3 | 0.99568 | -0.030246 | 0.00097866 | 0.00024528
4 | 0.99569 | -0.030171 | 0.00093601 | 0.00023459
5 | 0.99379 | -0.043568 | 0.0031434 | 0.0007878
6 | 0.99401 | -0.042045 | 0.001785 | 0.00044736
7 | 0.99416 | -0.040947 | 0 | 0
8 | 0.99467 | -0.037365 | 0.010293 | 0.0025796
9 | 0.99701 | -0.020941 | 0 | 0
10 | 0.99654 | -0.024247 | 0.00089681 | 0.00022476
11 | 0.99811 | -0.013224 | 0.0008657 | 0.00021696
12 | 0.99637 | -0.02539 | 0.0010973 | 0.00027501
13 | 0.99849 | -0.010517 | 0.00091288 | 0.00022879
14 | 0.99617 | -0.026839 | 0.00097591 | 0.00024459
15 | 0.99881 | -0.0083452 | 0.00072498 | 0.0001817
16 | 0.99584 | -0.029134 | 0 | 0
17 | 1 | 0 | -0.12723 | -0.031751
18 | 0.99697 | -0.021181 | 0.00289 | 0.00072431
19 | 0.99688 | -0.021857 | 0.0027129 | 0.00067991
20 | 0.99701 | -0.020891 | 0 | 0
21 | 0.99652 | -0.024366 | 0 | 0
22 | 0.99773 | -0.015901 | 0 | 0
23 | 0.99558 | -0.030928 | 0.0040176 | 0.0010069
24 | 0.99603 | -0.027801 | 0.001799 | 0.00045087
25 | 0.99641 | -0.025148 | 0 | 0
26 | 0.99502 | -0.034916 | 0.0029447 | 0.00073802
27 | 0.99597 | -0.028211 | 0.0067993 | 0.0017041
28 | 0.99565 | -0.030485 | 0.0024758 | 0.00062049
29 | 0.99631 | -0.025815 | 0.0025846 | 0.00064776
30 | 0.99578 | -0.029588 | 0.0073198 | 0.0018345
31 | 0.99314 | -0.048129 | 0 | 0
32 | 0.99292 | -0.049719 | 0.0073361 | 0.0018386
33 | 0.99304 | -0.048873 | 0.00073895 | 0.0001852
34 | 0.99388 | -0.042929 | 0.00099971 | 0.00025055
35 | 0.99284 | -0.050254 | 0.0016804 | 0.00042114
36 | 0.993 | -0.049164 | 0.00073777 | 0.0001849
37 | 0.9938 | -0.043505 | 0.00057156 | 0.00014325
38 | 0.99408 | -0.041484 | 0.0015558 | 0.00038991
39 | 0.99299 | -0.049189 | 0.00043186 | 0.00010823
40 | 0.99377 | -0.043699 | 0.00085511 | 0.00021431
41 | 0.99498 | -0.035157 | 0 | 0
42 | 0.99585 | -0.029036 | 0.0050135 | 0.0012565
43 | 0.99531 | -0.032876 | 0.0016532 | 0.00041434
44 | 0.99563 | -0.030617 | 0.0025862 | 0.00064816
45 | 0.99358 | -0.045053 | 0.0017956 | 0.00045002
46 | 0.99285 | -0.050235 | 0.0011952 | 0.00029954
47 | 0.9957 | -0.030109 | 0.0021919 | 0.00054933
48 | 0.99572 | -0.029951 | 0.0010014 | 0.00025097
49 | 0.99564 | -0.030553 | 0.0021919 | 0.00054933
50 | 0.99572 | -0.029999 | 0.0032772 | 0.00082135
51 | 0.99555 | -0.031164 | 0.0035322 | 0.00088526
52 | 0.99571 | -0.030068 | 0.0019381 | 0.00048573
53 | 0.99549 | -0.031592 | 0.0021225 | 0.00053194
54 | 0.99527 | -0.033149 | 0 | 0
55 | 0.9951 | -0.034341 | 0.002592 | 0.00064963
56 | 0.99522 | -0.033527 | 0.0028374 | 0.00071113
57 | 0.99496 | -0.035354 | 0 | 0
58 | 0.99518 | -0.033748 | 0.0016532 | 0.00041434
59 | 0.99433 | -0.039738 | 0.0032222 | 0.00080757
60 | 0.9941 | -0.041397 | 0.0042592 | 0.0010675
61 | 0.99475 | -0.036828 | 0 | 0
62 | 0.99507 | -0.034577 | 0.0027264 | 0.0006833
63 | 0.99488 | -0.035917 | 0.0022468 | 0.00056311
64 | 0.99275 | -0.050894 | 0.0009052 | 0.00022686
65 | 0.99266 | -0.051554 | 0.0028234 | 0.00070761
66 | 0.99482 | -0.036349 | 0.0009468 | 0.00023729
67 | 0.99481 | -0.036354 | 0.00085645 | 0.00021465
68 | 0.99998 | 149.9947 | 0 | 0

## res_line
| p_from_mw | q_from_mvar | p_to_mw | q_to_mvar | pl_mw | ql_mvar | i_from_ka | i_to_ka | i_ka | vm_from_pu | va_from_degree | vm_to_pu | va_to_degree | loading_percent
0 | -0.0011995 | -0.00030062 | 0.0011995 | 0.00030017 | 7.3197e-08 | -4.4322e-07 | 0.0017959 | 0.0017957 | 0.0017959 | 0.99385 | -0.043184 | 0.99391 | -0.042742 | 0.66514
1 | -0.0011995 | -0.00030017 | 0.0011996 | 0.00030013 | 7.791e-09 | -4.7185e-08 | 0.0017957 | 0.0017957 | 0.0017957 | 0.99391 | -0.042742 | 0.99392 | -0.042695 | 0.66508
2 | 0.0031437 | 0.00078759 | -0.0031434 | -0.0007878 | 3.7967e-07 | -2.0991e-07 | 0.0047065 | 0.0047066 | 0.0047066 | 0.99392 | -0.042695 | 0.99379 | -0.043568 | 1.7432
3 | -0.0043433 | -0.0010877 | 0.0043437 | 0.0010877 | 3.903e-07 | -4.1641e-08 | 0.0065022 | 0.0065021 | 0.0065022 | 0.99392 | -0.042695 | 0.99401 | -0.042045 | 2.4082
4 | -0.00097866 | -0.00024528 | 0.00097867 | 0.00024518 | 1.0088e-08 | -9.4422e-08 | 0.0014626 | 0.0014625 | 0.0014626 | 0.99568 | -0.030246 | 0.99569 | -0.030171 | 0.5417
5 | -0.0019147 | -0.00047977 | 0.0019147 | 0.00047971 | 2.7219e-08 | -5.8828e-08 | 0.0028614 | 0.0028613 | 0.0028614 | 0.99569 | -0.030171 | 0.99571 | -0.030068 | 1.0598
6 | -0.0061287 | -0.001535 | 0.0061296 | 0.0015352 | 9.3016e-07 | 1.2814e-07 | 0.0091742 | 0.0091741 | 0.0091742 | 0.99401 | -0.042045 | 0.99416 | -0.040947 | 3.3978
7 | -0.0061296 | -0.0015352 | 0.0061326 | 0.0015356 | 3.0358e-06 | 4.1769e-07 | 0.0091741 | 0.0091738 | 0.0091741 | 0.99416 | -0.040947 | 0.99467 | -0.037365 | 3.3978
8 | -0.016425 | -0.0041152 | 0.016463 | 0.0041282 | 3.7396e-05 | 1.3092e-05 | 0.024571 | 0.024571 | 0.024571 | 0.99467 | -0.037365 | 0.99701 | -0.020941 | 9.1006
9 | 0.01904 | 0.0047736 | -0.019031 | -0.0047704 | 8.7141e-06 | 3.1262e-06 | 0.028418 | 0.028418 | 0.028418 | 0.99701 | -0.020941 | 0.99654 | -0.024247 | 10.5251
10 | -0.035503 | -0.0089018 | 0.035541 | 0.0089161 | 3.8004e-05 | 1.4334e-05 | 0.052989 | 0.052989 | 0.052989 | 0.99701 | -0.020941 | 0.99811 | -0.013224 | 19.6255
11 | 0.018135 | 0.0045457 | -0.018132 | -0.0045447 | 2.8704e-06 | 1.0223e-06 | 0.027079 | 0.027079 | 0.027079 | 0.99654 | -0.024247 | 0.99637 | -0.02539 | 10.0292
12 | -0.036407 | -0.0091331 | 0.03642 | 0.0091383 | 1.3678e-05 | 5.1637e-06 | 0.054279 | 0.054279 | 0.054279 | 0.99811 | -0.013224 | 0.99849 | -0.010517 | 20.1034
13 | 0.017034 | 0.0042696 | -0.017031 | -0.0042684 | 3.4187e-06 | 1.2047e-06 | 0.02544 | 0.02544 | 0.02544 | 0.99637 | -0.02539 | 0.99617 | -0.026839 | 9.4222
14 | -0.037333 | -0.0093671 | 0.037344 | 0.0093713 | 1.1251e-05 | 4.251e-06 | 0.05564 | 0.05564 | 0.05564 | 0.99849 | -0.010517 | 0.99881 | -0.0083452 | 20.6073
15 | 0.016055 | 0.0040238 | -0.01605 | -0.0040221 | 5.0999e-06 | 1.7766e-06 | 0.023982 | 0.023982 | 0.023982 | 0.99617 | -0.026839 | 0.99584 | -0.029134 | 8.8823
16 | -0.038069 | -0.009553 | 0.038113 | 0.0095697 | 4.4143e-05 | 1.669e-05 | 0.05672 | 0.05672 | 0.05672 | 0.99881 | -0.0083452 | 1 | 0 | 21.0073
17 | 0.0079176 | 0.0019841 | -0.0079166 | -0.0019838 | 1.0673e-06 | 2.5154e-07 | 0.011831 | 0.011831 | 0.011831 | 0.99584 | -0.029134 | 0.9957 | -0.030109 | 4.3818
18 | 0.0081324 | 0.002038 | -0.0081315 | -0.0020378 | 9.1929e-07 | 2.2378e-07 | 0.012152 | 0.012152 | 0.012152 | 0.99584 | -0.029134 | 0.99572 | -0.029951 | 4.5006
19 | 0.088321 | 0.022181 | -0.088126 | -0.022106 | 0.00019478 | 7.4678e-05 | 0.13144 | 0.13144 | 0.13144 | 1 | 0 | 0.99773 | -0.015901 | 48.6809
20 | 0.0027131 | 0.00067969 | -0.0027129 | -0.00067991 | 2.5383e-07 | -2.2582e-07 | 0.0040493 | 0.0040495 | 0.0040495 | 0.99697 | -0.021181 | 0.99688 | -0.021857 | 1.4998
21 | -0.0056032 | -0.001404 | 0.0056034 | 0.001404 | 2.248e-07 | 1.9287e-08 | 0.0083628 | 0.0083628 | 0.0083628 | 0.99697 | -0.021181 | 0.99701 | -0.020891 | 3.0973
22 | 0.042309 | 0.010611 | -0.042288 | -0.010603 | 2.0374e-05 | 7.7293e-06 | 0.063147 | 0.063147 | 0.063147 | 0.99701 | -0.020891 | 0.99652 | -0.024366 | 23.3878
23 | -0.047912 | -0.012015 | 0.047945 | 0.012027 | 3.3157e-05 | 1.2617e-05 | 0.07151 | 0.07151 | 0.07151 | 0.99701 | -0.020891 | 0.99773 | -0.015901 | 26.4851
24 | 0.028669 | 0.0071892 | -0.028643 | -0.0071795 | 2.6048e-05 | 9.7219e-06 | 0.04281 | 0.04281 | 0.04281 | 0.99652 | -0.024366 | 0.99558 | -0.030928 | 15.8556
25 | 0.013619 | 0.0034138 | -0.013613 | -0.0034116 | 6.4757e-06 | 2.1639e-06 | 0.020337 | 0.020337 | 0.020337 | 0.99652 | -0.024366 | 0.99603 | -0.027801 | 7.5322
26 | 0.040181 | 0.010079 | -0.040129 | -0.010059 | 5.1455e-05 | 1.9491e-05 | 0.059929 | 0.059929 | 0.059929 | 0.99773 | -0.015901 | 0.99641 | -0.025148 | 22.1959
27 | 0.024625 | 0.0061726 | -0.024611 | -0.0061676 | 1.3593e-05 | 5.0192e-06 | 0.036805 | 0.036805 | 0.036805 | 0.99558 | -0.030928 | 0.99502 | -0.034916 | 13.6317
28 | 0.011814 | 0.0029608 | -0.011813 | -0.0029606 | 6.7057e-07 | 2.1301e-07 | 0.017649 | 0.017649 | 0.017649 | 0.99603 | -0.027801 | 0.99597 | -0.028211 | 6.5368
29 | 0.018856 | 0.0047275 | -0.018842 | -0.0047225 | 1.3933e-05 | 4.9922e-06 | 0.02816 | 0.02816 | 0.02816 | 0.99641 | -0.025148 | 0.99565 | -0.030485 | 10.4296
30 | 0.0025848 | 0.00064752 | -0.0025846 | -0.00064776 | 2.3848e-07 | -2.4233e-07 | 0.00386 | 0.0038601 | 0.0038601 | 0.99641 | -0.025148 | 0.99631 | -0.025815 | 1.4297
31 | 0.018688 | 0.0046842 | -0.018677 | -0.0046801 | 1.1484e-05 | 4.1093e-06 | 0.027909 | 0.027909 | 0.027909 | 0.99641 | -0.025148 | 0.99578 | -0.029588 | 10.3367
32 | 0.021667 | 0.0054296 | -0.021666 | -0.0054293 | 7.225e-07 | 2.6356e-07 | 0.032402 | 0.032402 | 0.032402 | 0.99502 | -0.034916 | 0.99498 | -0.035157 | 12.0006
33 | 0.0050141 | 0.0012565 | -0.0050135 | -0.0012565 | 5.7275e-07 | 7.4597e-09 | 0.0074912 | 0.0074912 | 0.0074912 | 0.99597 | -0.028211 | 0.99585 | -0.029036 | 2.7745
34 | 0.016366 | 0.004102 | -0.016361 | -0.0041001 | 5.4165e-06 | 1.8946e-06 | 0.02446 | 0.02446 | 0.02446 | 0.99565 | -0.030485 | 0.99531 | -0.032876 | 9.0593
35 | 0.011357 | 0.0028456 | -0.011355 | -0.0028451 | 1.6157e-06 | 5.045e-07 | 0.016971 | 0.016971 | 0.016971 | 0.99578 | -0.029588 | 0.99563 | -0.030617 | 6.2856
36 | 0.0090186 | 0.0022599 | -0.0090166 | -0.0022594 | 1.9846e-06 | 5.3797e-07 | 0.013512 | 0.013512 | 0.013512 | 0.99314 | -0.048129 | 0.99292 | -0.049719 | 5.0046
37 | 0.0019088 | 0.00047754 | -0.0019086 | -0.00047796 | 1.9625e-07 | -4.221e-07 | 0.0028597 | 0.0028599 | 0.0028599 | 0.99314 | -0.048129 | 0.99304 | -0.048873 | 1.0592
38 | -0.010927 | -0.0027375 | 0.010935 | 0.0027399 | 7.8634e-06 | 2.4156e-06 | 0.016372 | 0.016372 | 0.016372 | 0.99314 | -0.048129 | 0.99388 | -0.042929 | 6.0637
39 | 0.0016805 | 0.00042078 | -0.0016804 | -0.00042114 | 1.2438e-07 | -3.5862e-07 | 0.0025183 | 0.0025184 | 0.0025184 | 0.99292 | -0.049719 | 0.99284 | -0.050254 | 0.93276
40 | 0.0011697 | 0.00029277 | -0.0011696 | -0.00029306 | 4.701e-08 | -2.992e-07 | 0.0017526 | 0.0017527 | 0.0017527 | 0.99304 | -0.048873 | 0.993 | -0.049164 | 0.64914
41 | 0.0014268 | 0.0003568 | -0.0014267 | -0.00035728 | 1.1349e-07 | -4.7291e-07 | 0.0021359 | 0.0021361 | 0.0021361 | 0.99388 | -0.042929 | 0.9938 | -0.043505 | 0.79115
42 | -0.013362 | -0.0033472 | 0.013364 | 0.0033481 | 2.6707e-06 | 8.8856e-07 | 0.020004 | 0.020004 | 0.020004 | 0.99388 | -0.042929 | 0.99408 | -0.041484 | 7.4091
43 | 0.00043186 | 0.00010816 | -0.00043186 | -0.00010823 | 1.4877e-09 | -7.3074e-08 | 0.00064713 | 0.00064715 | 0.00064715 | 0.993 | -0.049164 | 0.99299 | -0.049189 | 0.23969
44 | 0.00085513 | 0.00021403 | -0.00085511 | -0.00021431 | 2.2915e-08 | -2.8144e-07 | 0.0012803 | 0.0012804 | 0.0012804 | 0.9938 | -0.043505 | 0.99377 | -0.043699 | 0.47422
45 | 0.0067268 | 0.0016843 | -0.0067235 | -0.0016838 | 3.3175e-06 | 5.9643e-07 | 0.010069 | 0.010069 | 0.010069 | 0.99408 | -0.041484 | 0.99358 | -0.045053 | 3.7292
46 | -0.021647 | -0.0054224 | 0.021666 | 0.0054293 | 1.8957e-05 | 6.9158e-06 | 0.032402 | 0.032402 | 0.032402 | 0.99408 | -0.041484 | 0.99498 | -0.035157 | 12.0007
47 | 0.014708 | 0.0036857 | -0.014706 | -0.0036853 | 1.3246e-06 | 4.5241e-07 | 0.021988 | 0.021988 | 0.021988 | 0.99531 | -0.032876 | 0.99522 | -0.033527 | 8.1438
48 | 0.0087693 | 0.0021969 | -0.0087681 | -0.0021966 | 1.1831e-06 | 3.1151e-07 | 0.013106 | 0.013106 | 0.013106 | 0.99563 | -0.030617 | 0.99549 | -0.031592 | 4.854
49 | 0.0049279 | 0.0012337 | -0.0049244 | -0.0012337 | 3.5285e-06 | 1.3447e-08 | 0.0073797 | 0.0073802 | 0.0073802 | 0.99358 | -0.045053 | 0.99285 | -0.050235 | 2.7334
50 | 0.0037292 | 0.00093418 | -0.0037288 | -0.00093427 | 3.3999e-07 | -9.4791e-08 | 0.0055889 | 0.005589 | 0.005589 | 0.99285 | -0.050235 | 0.99275 | -0.050894 | 2.07
51 | 0.0057247 | 0.0014345 | -0.0057244 | -0.0014345 | 3.5193e-07 | 3.5137e-08 | 0.0085552 | 0.0085552 | 0.0085552 | 0.9957 | -0.030109 | 0.99564 | -0.030553 | 3.1686
52 | 0.0071301 | 0.0017868 | -0.00713 | -0.0017868 | 4.7076e-08 | 9.4629e-09 | 0.010655 | 0.010655 | 0.010655 | 0.99572 | -0.029951 | 0.99572 | -0.029999 | 3.9464
53 | 0.0035325 | 0.00088515 | -0.0035322 | -0.00088526 | 2.9862e-07 | -1.0842e-07 | 0.0052794 | 0.0052795 | 0.0052795 | 0.99564 | -0.030553 | 0.99555 | -0.031164 | 1.9554
54 | 0.0038528 | 0.00096542 | -0.0038528 | -0.00096543 | 3.7045e-08 | -9.0454e-09 | 0.0057576 | 0.0057576 | 0.0057576 | 0.99572 | -0.029999 | 0.99571 | -0.030068 | 2.1325
55 | 0.0066457 | 0.0016647 | -0.0066442 | -0.0016644 | 1.431e-06 | 2.4828e-07 | 0.0099333 | 0.0099334 | 0.0099334 | 0.99549 | -0.031592 | 0.99527 | -0.033149 | 3.6791
56 | 0.0066442 | 0.0016644 | -0.0066431 | -0.0016642 | 1.0957e-06 | 1.9021e-07 | 0.0099334 | 0.0099335 | 0.0099335 | 0.99527 | -0.033149 | 0.9951 | -0.034341 | 3.6791
57 | 0.0040511 | 0.0010146 | -0.0040505 | -0.0010147 | 5.6743e-07 | -1.0365e-07 | 0.0060575 | 0.0060576 | 0.0060576 | 0.9951 | -0.034341 | 0.99496 | -0.035354 | 2.2436
58 | 0.011869 | 0.0029742 | -0.011869 | -0.0029741 | 3.6269e-07 | 1.1551e-07 | 0.017746 | 0.017746 | 0.017746 | 0.99522 | -0.033527 | 0.99518 | -0.033748 | 6.5726
59 | 0.0040505 | 0.0010147 | -0.0040502 | -0.0010148 | 3.1511e-07 | -5.7514e-08 | 0.0060576 | 0.0060577 | 0.0060577 | 0.99496 | -0.035354 | 0.99488 | -0.035917 | 2.2436
60 | 0.010215 | 0.0025597 | -0.010214 | -0.0025594 | 1.1719e-06 | 3.4615e-07 | 0.015274 | 0.015274 | 0.015274 | 0.99518 | -0.033748 | 0.99507 | -0.034577 | 5.657
61 | 0.0042602 | 0.0010673 | -0.0042592 | -0.0010675 | 9.7786e-07 | -1.2389e-07 | 0.0063752 | 0.0063754 | 0.0063754 | 0.99433 | -0.039738 | 0.9941 | -0.041397 | 2.3613
62 | -0.0074824 | -0.0018749 | 0.0074854 | 0.0018756 | 3.014e-06 | 6.5932e-07 | 0.011197 | 0.011197 | 0.011197 | 0.99433 | -0.039738 | 0.99475 | -0.036828 | 4.1471
63 | -0.0074854 | -0.0018756 | 0.0074878 | 0.0018761 | 2.3317e-06 | 5.0976e-07 | 0.011197 | 0.011197 | 0.011197 | 0.99475 | -0.036828 | 0.99507 | -0.034577 | 4.1471
64 | 0.0018034 | 0.00045166 | -0.0018033 | -0.00045193 | 1.0787e-07 | -2.6705e-07 | 0.0026971 | 0.0026973 | 0.0026973 | 0.99488 | -0.035917 | 0.99482 | -0.036349 | 0.99898
65 | 0.0028236 | 0.00070741 | -0.0028234 | -0.00070761 | 2.5813e-07 | -1.993e-07 | 0.0042322 | 0.0042323 | 0.0042323 | 0.99275 | -0.050894 | 0.99266 | -0.051554 | 1.5675
66 | 0.00085645 | 0.00021464 | -0.00085645 | -0.00021465 | 5.5508e-10 | -6.8236e-09 | 0.0012811 | 0.0012811 | 0.0012811 | 0.99482 | -0.036349 | 0.99481 | -0.036354 | 0.47447

## res_trafo
| p_hv_mw | q_hv_mvar | p_lv_mw | q_lv_mvar | pl_mw | ql_mvar | i_hv_ka | i_lv_ka | vm_hv_pu | va_hv_degree | vm_lv_pu | va_lv_degree | loading_percent
0 | -4.4415e-16 | -7.6913e-16 | 0.00079998 | 7.4552e-08 | 0.00079998 | 7.4552e-08 | 2.564e-17 | 0.0011547 | 0.99998 | 149.9947 | 1 | 0 | 0.31999

## res_ext_grid
| p_mw | q_mvar
0 | 0.12992 | 0.032423

## res_load
| p_mw | q_mvar
0 | 0.0011995 | 0.00030062
1 | 0.00097866 | 0.00024528
2 | 0.00093601 | 0.00023459
3 | 0.0031434 | 0.0007878
4 | 0.001785 | 0.00044736
5 | 0.010293 | 0.0025796
6 | 0.00089681 | 0.00022476
7 | 0.0008657 | 0.00021696
8 | 0.0010973 | 0.00027501
9 | 0.00091288 | 0.00022879
10 | 0.00097591 | 0.00024459
11 | 0.00072498 | 0.0001817
12 | 0.0026841 | 0.0006727
13 | 0.00289 | 0.00072431
14 | 0.0027129 | 0.00067991
15 | 0.0040176 | 0.0010069
16 | 0.001799 | 0.00045087
17 | 0.0029447 | 0.00073802
18 | 0.0067993 | 0.0017041
19 | 0.0024758 | 0.00062049
20 | 0.0025846 | 0.00064776
21 | 0.0073198 | 0.0018345
22 | 0.0073361 | 0.0018386
23 | 0.00073895 | 0.0001852
24 | 0.00099971 | 0.00025055
25 | 0.0016804 | 0.00042114
26 | 0.00073777 | 0.0001849
27 | 0.00057156 | 0.00014325
28 | 0.0015558 | 0.00038991
29 | 0.00043186 | 0.00010823
30 | 0.00085511 | 0.00021431
31 | 0.0050135 | 0.0012565
32 | 0.0016532 | 0.00041434
33 | 0.0025862 | 0.00064816
34 | 0.0017956 | 0.00045002
35 | 0.0011952 | 0.00029954
36 | 0.0021919 | 0.00054933
37 | 0.0010014 | 0.00025097
38 | 0.0021919 | 0.00054933
39 | 0.0032772 | 0.00082135
40 | 0.0035322 | 0.00088526
41 | 0.0019381 | 0.00048573
42 | 0.0021225 | 0.00053194
43 | 0.002592 | 0.00064963
44 | 0.0028374 | 0.00071113
45 | 0.0016532 | 0.00041434
46 | 0.0032222 | 0.00080757
47 | 0.0042592 | 0.0010675
48 | 0.0027264 | 0.0006833
49 | 0.0022468 | 0.00056311
50 | 0.0009052 | 0.00022686
51 | 0.0028234 | 0.00070761
52 | 0.0009468 | 0.00023729
53 | 0.00085645 | 0.00021465

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object
62 | res_bus | vm_pu | float64
63 | res_bus | va_degree | float64
64 | res_bus | p_mw | float64
65 | res_bus | q_mvar | float64
66 | res_line | p_from_mw | float64
67 | res_line | q_from_mvar | float64
68 | res_line | p_to_mw | float64
69 | res_line | q_to_mvar | float64
70 | res_line | pl_mw | float64
71 | res_line | ql_mvar | float64
72 | res_line | i_from_ka | float64
73 | res_line | i_to_ka | float64
74 | res_line | i_ka | float64
75 | res_line | vm_from_pu | float64
76 | res_line | va_from_degree | float64
77 | res_line | vm_to_pu | float64
78 | res_line | va_to_degree | float64
79 | res_line | loading_percent | float64
80 | res_trafo | p_hv_mw | float64
81 | res_trafo | q_hv_mvar | float64
82 | res_trafo | p_lv_mw | float64
83 | res_trafo | q_lv_mvar | float64
84 | res_trafo | pl_mw | float64
85 | res_trafo | ql_mvar | float64
86 | res_trafo | i_hv_ka | float64
87 | res_trafo | i_lv_ka | float64
88 | res_trafo | vm_hv_pu | float64
89 | res_trafo | va_hv_degree | float64
90 | res_trafo | vm_lv_pu | float64
91 | res_trafo | va_lv_degree | float64
92 | res_trafo | loading_percent | float64
93 | res_ext_grid | p_mw | float64
94 | res_ext_grid | q_mvar | float64
95 | res_load | p_mw | float64
96 | res_load | q_mvar | float64

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | TRUE | FALSE |  | 50 | 1