## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_1032-13_0_2_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_1032-13_0_2_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_1032-13_0_2_node_2 | 0.4 | n |  | TRUE
3 | bus_LV_1032-13_0_2_node_4 | 0.4 | n |  | TRUE
4 | bus_LV_1032-13_0_2_node_5 | 0.4 | n |  | TRUE
5 | bus_LV_1032-13_0_2_node_6 | 0.4 | n |  | TRUE
6 | bus_LV_1032-13_0_2_node_87 | 0.4 | n |  | TRUE
7 | bus_LV_1032-13_0_2_node_63 | 0.4 | n |  | TRUE
8 | bus_LV_1032-13_0_2_node_47 | 0.4 | n |  | TRUE
9 | bus_LV_1032-13_0_2_node_46 | 0.4 | n |  | TRUE
10 | bus_LV_1032-13_0_2_node_88 | 0.4 | n |  | TRUE
11 | bus_LV_1032-13_0_2_node_52 | 0.4 | n |  | TRUE
12 | bus_LV_1032-13_0_2_node_11 | 0.4 | n |  | TRUE
13 | bus_LV_1032-13_0_2_node_83 | 0.4 | n |  | TRUE
14 | bus_LV_1032-13_0_2_node_24 | 0.4 | n |  | TRUE
15 | bus_LV_1032-13_0_2_node_13 | 0.4 | n |  | TRUE
16 | bus_LV_1032-13_0_2_node_25 | 0.4 | n |  | TRUE
17 | bus_LV_1032-13_0_2_node_22 | 0.4 | n |  | TRUE
18 | bus_LV_1032-13_0_2_node_45 | 0.4 | n |  | TRUE
19 | bus_LV_1032-13_0_2_node_23 | 0.4 | n |  | TRUE
20 | bus_LV_1032-13_0_2_node_20 | 0.4 | n |  | TRUE
21 | bus_LV_1032-13_0_2_node_17 | 0.4 | n |  | TRUE
22 | bus_LV_1032-13_0_2_node_18 | 0.4 | n |  | TRUE
23 | bus_LV_1032-13_0_2_node_21 | 0.4 | n |  | TRUE
24 | bus_LV_1032-13_0_2_node_31 | 0.4 | n |  | TRUE
25 | bus_LV_1032-13_0_2_node_32 | 0.4 | n |  | TRUE
26 | bus_LV_1032-13_0_2_node_33 | 0.4 | n |  | TRUE
27 | bus_LV_1032-13_0_2_node_34 | 0.4 | n |  | TRUE
28 | bus_LV_1032-13_0_2_node_35 | 0.4 | n |  | TRUE
29 | bus_LV_1032-13_0_2_node_36 | 0.4 | n |  | TRUE
30 | bus_LV_1032-13_0_2_node_42 | 0.4 | n |  | TRUE
31 | bus_LV_1032-13_0_2_node_40 | 0.4 | n |  | TRUE
32 | bus_LV_1032-13_0_2_node_43 | 0.4 | n |  | TRUE
33 | bus_LV_1032-13_0_2_node_62 | 0.4 | n |  | TRUE
34 | bus_LV_1032-13_0_2_node_61 | 0.4 | n |  | TRUE
35 | bus_LV_1032-13_0_2_node_48 | 0.4 | n |  | TRUE
36 | bus_LV_1032-13_0_2_node_38 | 0.4 | n |  | TRUE
37 | bus_LV_1032-13_0_2_node_37 | 0.4 | n |  | TRUE
38 | bus_LV_1032-13_0_2_node_39 | 0.4 | n |  | TRUE
39 | bus_LV_1032-13_0_2_node_41 | 0.4 | n |  | TRUE
40 | bus_LV_1032-13_0_2_node_86 | 0.4 | n |  | TRUE
41 | bus_LV_1032-13_0_2_node_97 | 0.4 | n |  | TRUE
42 | bus_LV_1032-13_0_2_node_92 | 0.4 | n |  | TRUE
43 | bus_LV_1032-13_0_2_node_93 | 0.4 | n |  | TRUE
44 | bus_LV_1032-13_0_2_node_94 | 0.4 | n |  | TRUE
45 | bus_LV_1032-13_0_2_node_95 | 0.4 | n |  | TRUE
46 | bus_LV_1032-13_0_2_node_96 | 0.4 | n |  | TRUE
47 | bus_LV_1032-13_0_2_node_44 | 0.4 | n |  | TRUE
48 | bus_LV_1032-13_0_2_node_49 | 0.4 | n |  | TRUE
49 | bus_LV_1032-13_0_2_node_50 | 0.4 | n |  | TRUE
50 | bus_LV_1032-13_0_2_node_51 | 0.4 | n |  | TRUE
51 | bus_LV_1032-13_0_2_node_60 | 0.4 | n |  | TRUE
52 | bus_LV_1032-13_0_2_node_89 | 0.4 | n |  | TRUE
53 | bus_LV_1032-13_0_2_node_91 | 0.4 | n |  | TRUE
54 | bus_MV_0_node_23 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_1032-13_0_2_load_0 | 0 | 0.00075117 | 0.00018826 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_1032-13_0_2_load_4 | 3 | 0.00021517 | 5.3927e-05 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_1032-13_0_2_load_5 | 4 | 0.00030685 | 7.6903e-05 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_1032-13_0_2_load_6 | 5 | 0.00013712 | 3.4367e-05 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_1032-13_0_2_load_87 | 6 | 0.00065906 | 0.00016518 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_1032-13_0_2_load_63 | 7 | 0.00065929 | 0.00016523 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_1032-13_0_2_load_47 | 8 | 0.0016812 | 0.00042136 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_1032-13_0_2_load_46 | 9 | 0.00022038 | 5.5234e-05 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_1032-13_0_2_load_88 | 10 | 0.0015932 | 0.0003993 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_1032-13_0_2_load_83 | 13 | 0.00019462 | 4.8776e-05 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_1032-13_0_2_load_24 | 14 | 0.00079761 | 0.0001999 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_1032-13_0_2_load_25 | 16 | 0.0050379 | 0.0012626 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_1032-13_0_2_load_22 | 17 | 0.00058364 | 0.00014627 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_1032-13_0_2_load_23 | 19 | 0.00028765 | 7.2091e-05 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_1032-13_0_2_load_20 | 20 | 0.013605 | 0.0034096 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_1032-13_0_2_load_17 | 21 | 0.00026765 | 6.7078e-05 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_1032-13_0_2_load_21 | 23 | 0.022265 | 0.0055801 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_1032-13_0_2_load_31 | 24 | 0.00039649 | 9.937e-05 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_1032-13_0_2_load_32 | 25 | 0.00025955 | 6.505e-05 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_1032-13_0_2_load_34 | 27 | 0.00027752 | 6.9552e-05 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_1032-13_0_2_load_35 | 28 | 0.001038 | 0.00026014 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_1032-13_0_2_load_36 | 29 | 0.00018037 | 4.5204e-05 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_1032-13_0_2_load_42 | 30 | 0.0002888 | 7.238e-05 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_1032-13_0_2_load_62 | 33 | 0.00032905 | 8.2468e-05 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_1032-13_0_2_load_61 | 34 | 0.00028075 | 7.0363e-05 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_1032-13_0_2_load_48 | 35 | 0.00016145 | 4.0463e-05 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_1032-13_0_2_load_38 | 36 | 0.00025428 | 6.3728e-05 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_1032-13_0_2_load_37 | 37 | 0.00055074 | 0.00013803 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_1032-13_0_2_load_39 | 38 | 0.0014493 | 0.00036323 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_1032-13_0_2_load_41 | 39 | 0.0035018 | 0.00087764 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_1032-13_0_2_load_86 | 40 | 0.0008482 | 0.00021258 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_1032-13_0_2_load_97 | 41 | 0.00014375 | 3.6028e-05 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_1032-13_0_2_load_92 | 42 | 0.00063316 | 0.00015869 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_1032-13_0_2_load_93 | 43 | 0.0013188 | 0.00033052 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_1032-13_0_2_load_94 | 44 | 0.00038562 | 9.6647e-05 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_1032-13_0_2_load_96 | 46 | 0.00015294 | 3.8329e-05 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_1032-13_0_2_load_44 | 47 | 0.00014728 | 3.6912e-05 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_1032-13_0_2_load_49 | 48 | 0.0001204 | 3.0175e-05 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_1032-13_0_2_load_51 | 50 | 0.0001358 | 3.4035e-05 | 0 | 0 |  | 1 | TRUE | wye
39 | LV_1032-13_0_2_load_60 | 51 | 0.00016237 | 4.0694e-05 | 0 | 0 |  | 1 | TRUE | wye
40 | LV_1032-13_0_2_load_89 | 52 | 0.0027302 | 0.00068424 | 0 | 0 |  | 1 | TRUE | wye
41 | LV_1032-13_0_2_load_91 | 53 | 0.00023935 | 5.9988e-05 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 19 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_1032-13_0_2_line_0 | NAYY 4x150 SE | 0 | 1 | 0.027557 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
1 | LV_1032-13_0_2_line_1 | NAYY 4x150 SE | 0 | 2 | 0.022204 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
2 | LV_1032-13_0_2_line_2 | NAYY 4x150 SE | 1 | 3 | 0.044099 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
3 | LV_1032-13_0_2_line_3 | NAYY 4x150 SE | 2 | 4 | 0.09796 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
4 | LV_1032-13_0_2_line_4 | NAYY 4x150 SE | 2 | 5 | 0.0028086 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
5 | LV_1032-13_0_2_line_5 | NAYY 4x150 SE | 3 | 6 | 0.0091503 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
6 | LV_1032-13_0_2_line_6 | NAYY 4x150 SE | 4 | 7 | 0.014297 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
7 | LV_1032-13_0_2_line_7 | NAYY 4x150 SE | 5 | 8 | 0.031951 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
8 | LV_1032-13_0_2_line_8 | NAYY 4x150 SE | 6 | 10 | 0.0078372 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
9 | LV_1032-13_0_2_line_9 | NAYY 4x150 SE | 7 | 11 | 0.023705 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
10 | LV_1032-13_0_2_line_10 | NAYY 4x150 SE | 8 | 9 | 0.00012906 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
11 | LV_1032-13_0_2_line_11 | NAYY 4x150 SE | 10 | 52 | 0.010611 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
12 | LV_1032-13_0_2_line_12 | NAYY 4x150 SE | 11 | 18 | 0.015958 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
13 | LV_1032-13_0_2_line_13 | NAYY 4x150 SE | 12 | 13 | 0.048729 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
14 | LV_1032-13_0_2_line_14 | NAYY 4x150 SE | 12 | 14 | 0.060631 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
15 | LV_1032-13_0_2_line_15 | NAYY 4x150 SE | 13 | 18 | 0.013255 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
16 | LV_1032-13_0_2_line_16 | NAYY 4x150 SE | 14 | 19 | 0.030832 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
17 | LV_1032-13_0_2_line_17 | NAYY 4x150 SE | 15 | 16 | 0.083436 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
18 | LV_1032-13_0_2_line_18 | NAYY 4x150 SE | 15 | 17 | 0.050318 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
19 | LV_1032-13_0_2_line_19 | NAYY 4x150 SE | 16 | 20 | 0.035036 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
20 | LV_1032-13_0_2_line_20 | NAYY 4x150 SE | 17 | 19 | 0.00079176 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
21 | LV_1032-13_0_2_line_21 | NAYY 4x150 SE | 18 | 32 | 0.004978 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
22 | LV_1032-13_0_2_line_22 | NAYY 4x150 SE | 20 | 22 | 0.14825 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
23 | LV_1032-13_0_2_line_23 | NAYY 4x150 SE | 21 | 22 | 0.045295 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
24 | LV_1032-13_0_2_line_24 | NAYY 4x150 SE | 22 | 23 | 0.12939 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
25 | LV_1032-13_0_2_line_25 | NAYY 4x150 SE | 24 | 25 | 0.034267 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
26 | LV_1032-13_0_2_line_26 | NAYY 4x150 SE | 24 | 26 | 0.0065019 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
27 | LV_1032-13_0_2_line_27 | NAYY 4x150 SE | 25 | 27 | 0.010932 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
28 | LV_1032-13_0_2_line_28 | NAYY 4x150 SE | 26 | 28 | 0.018927 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
29 | LV_1032-13_0_2_line_29 | NAYY 4x150 SE | 26 | 29 | 0.31889 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
30 | LV_1032-13_0_2_line_30 | NAYY 4x150 SE | 27 | 30 | 0.0157 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
31 | LV_1032-13_0_2_line_31 | NAYY 4x150 SE | 29 | 31 | 0.040427 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
32 | LV_1032-13_0_2_line_32 | NAYY 4x150 SE | 30 | 32 | 0.031358 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
33 | LV_1032-13_0_2_line_33 | NAYY 4x150 SE | 31 | 35 | 0.031942 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
34 | LV_1032-13_0_2_line_34 | NAYY 4x150 SE | 31 | 36 | 0.012678 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
35 | LV_1032-13_0_2_line_35 | NAYY 4x150 SE | 32 | 47 | 0.0094444 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
36 | LV_1032-13_0_2_line_36 | NAYY 4x150 SE | 33 | 34 | 0.025213 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
37 | LV_1032-13_0_2_line_37 | NAYY 4x150 SE | 34 | 51 | 0.016244 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
38 | LV_1032-13_0_2_line_38 | NAYY 4x150 SE | 36 | 37 | 0.021827 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
39 | LV_1032-13_0_2_line_39 | NAYY 4x150 SE | 37 | 38 | 0.032159 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
40 | LV_1032-13_0_2_line_40 | NAYY 4x150 SE | 38 | 39 | 0.018205 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
41 | LV_1032-13_0_2_line_41 | NAYY 4x150 SE | 39 | 40 | 0.043434 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
42 | LV_1032-13_0_2_line_42 | NAYY 4x150 SE | 39 | 41 | 0.23845 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
43 | LV_1032-13_0_2_line_43 | NAYY 4x150 SE | 41 | 45 | 0.094762 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
44 | LV_1032-13_0_2_line_44 | NAYY 4x150 SE | 42 | 43 | 0.050391 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
45 | LV_1032-13_0_2_line_45 | NAYY 4x150 SE | 43 | 44 | 0.043018 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
46 | LV_1032-13_0_2_line_46 | NAYY 4x150 SE | 44 | 45 | 0.059615 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
47 | LV_1032-13_0_2_line_47 | NAYY 4x150 SE | 45 | 46 | 0.02256 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
48 | LV_1032-13_0_2_line_48 | NAYY 4x150 SE | 47 | 48 | 0.0031937 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
49 | LV_1032-13_0_2_line_49 | NAYY 4x150 SE | 48 | 49 | 0.012818 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
50 | LV_1032-13_0_2_line_50 | NAYY 4x150 SE | 49 | 50 | 0.010106 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
51 | LV_1032-13_0_2_line_51 | NAYY 4x150 SE | 50 | 51 | 0.02222 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
52 | LV_1032-13_0_2_line_52 | NAYY 4x150 SE | 52 | 53 | 0.022956 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_1032-13_0_2_trafo_23 | 0.25 MVA 20/0.4 kV | 54 | 19 | 0.25 | 20 | 0.4 | 6 | 1.44 | 0.8 | 0.32 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6 | x7 | y7 | x8 | y8 | x9 | y9 | x10 | y10 | x11 | y11 | x12 | y12 | x13 | y13
0 | 2666479.7636 | 1226612.4278 | 2666504.3887 | 1226624.7973
1 | 2666524.882 | 1226632.3448 | 2666518.6559 | 1226631.9639 | 2666504.3887 | 1226624.7973
2 | 2666479.7636 | 1226612.4278 | 2666440.0612 | 1226593.2335
3 | 2666524.882 | 1226632.3448 | 2666534.7589 | 1226626.8628 | 2666589.0908 | 1226575.2813 | 2666599.5785 | 1226569.9921
4 | 2666524.882 | 1226632.3448 | 2666523.4488 | 1226634.7602
5 | 2666440.0612 | 1226593.2335 | 2666431.8232 | 1226589.2507
6 | 2666599.5785 | 1226569.9921 | 2666600.845 | 1226569.3534 | 2666613.102 | 1226565.4001
7 | 2666523.4488 | 1226634.7602 | 2666516.8402 | 1226645.8971 | 2666507.5221 | 1226662.4567
8 | 2666431.8232 | 1226589.2507 | 2666431.4091 | 1226589.0506 | 2666424.9386 | 1226585.507
9 | 2666635.7434 | 1226558.3813 | 2666622.2667 | 1226562.4442 | 2666613.102 | 1226565.4001
10 | 2666507.5221 | 1226662.4567 | 2666507.4588 | 1226662.5692
11 | 2666424.9386 | 1226585.507 | 2666415.6322 | 1226580.4103
12 | 2666651.3294 | 1226555.4762 | 2666645.0904 | 1226555.5619 | 2666635.7434 | 1226558.3813
13 | 2666665.2848 | 1226496.5275 | 2666666.2106 | 1226509.2795 | 2666666.2007 | 1226515.5724 | 2666663.2049 | 1226530.6152 | 2666659.9654 | 1226538.3173 | 2666657.2212 | 1226543.6038
14 | 2666665.2848 | 1226496.5275 | 2666711.4316 | 1226476.1424 | 2666721.0586 | 1226472.8248
15 | 2666651.3294 | 1226555.4762 | 2666654.7208 | 1226548.4207 | 2666657.2212 | 1226543.6038
16 | 2666721.0586 | 1226472.8248 | 2666750.2081 | 1226462.7796 | 2666750.2081 | 1226462.7796
17 | 2666746.0181 | 1226411.9663 | 2666759.6266 | 1226411.7299 | 2666775.6083 | 1226412.1094 | 2666796.6341 | 1226413.524 | 2666807.67 | 1226414.2372 | 2666825.7334 | 1226416.2079 | 2666829.135 | 1226417.1736
18 | 2666746.0181 | 1226411.9663 | 2666746.0662 | 1226434.0256 | 2666750.0952 | 1226461.9959
19 | 2666829.135 | 1226417.1736 | 2666845.469 | 1226421.8109 | 2666860.7271 | 1226427.2191 | 2666862.4165 | 1226428.0163
20 | 2666750.0952 | 1226461.9959 | 2666750.2081 | 1226462.7796
21 | 2666651.3294 | 1226555.4762 | 2666656.1113 | 1226556.9084
22 | 2667000.138 | 1226482.2001 | 2666980.4561 | 1226475.8968 | 2666943.3685 | 1226463.7494 | 2666930.4042 | 1226459.2785 | 2666916.4619 | 1226453.4847 | 2666891.4746 | 1226441.7295 | 2666862.4165 | 1226428.0163
23 | 2667000.138 | 1226482.2001 | 2667024.0537 | 1226496.8678 | 2667038.3103 | 1226505.7008 | 2667038.7115 | 1226505.9429
24 | 2667000.138 | 1226482.2001 | 2666997.2945 | 1226470.1826 | 2666967.1763 | 1226357.0835
25 | 2666725.2121 | 1226610.6512 | 2666724.5731 | 1226609.4207 | 2666715.7198 | 1226588.4967 | 2666711.0009 | 1226583.485 | 2666708.0987 | 1226581.963
26 | 2666728.2086 | 1226616.4215 | 2666725.2121 | 1226610.6512
27 | 2666698.4176 | 1226576.8855 | 2666708.0987 | 1226581.963
28 | 2666728.2086 | 1226616.4215 | 2666713.7081 | 1226628.5852
29 | 2666728.2086 | 1226616.4215 | 2666743.6646 | 1226629.8257 | 2666747.3509 | 1226634.9927 | 2666751.2829 | 1226645.2879 | 2666751.69 | 1226650.885 | 2666753.6741 | 1226668.6076 | 2666757.1587 | 1226676.8854 | 2666764.4036 | 1226684.416 | 2666783.7991 | 1226699.3099 | 2666801.1915 | 1226707.6327 | 2666893.8506 | 1226769.6581 | 2666901.0399 | 1226778.7337 | 2666908.6044 | 1226790.8377 | 2666933.8387 | 1226842.0554
30 | 2666698.4176 | 1226576.8855 | 2666697.6784 | 1226576.4979 | 2666685.0485 | 1226568.6575
31 | 2666958.5255 | 1226874.0421 | 2666934.3176 | 1226843.0274 | 2666933.8387 | 1226842.0554
32 | 2666656.1113 | 1226556.9084 | 2666665.9245 | 1226559.8313 | 2666680.3506 | 1226565.7412 | 2666685.0485 | 1226568.6575
33 | 2666958.5255 | 1226874.0421 | 2666980.455 | 1226850.8169
34 | 2666958.5255 | 1226874.0421 | 2666954.2663 | 1226882.0883 | 2666951.4456 | 1226884.2825
35 | 2666656.1113 | 1226556.9084 | 2666655.1164 | 1226566.3003
36 | 2666673.6689 | 1226637.6599 | 2666664.3942 | 1226636.186 | 2666656.0715 | 1226632.1568 | 2666651.7077 | 1226627.2381
37 | 2666654.7066 | 1226611.458 | 2666651.6121 | 1226621.5667 | 2666651.7077 | 1226627.2381 | 2666651.7077 | 1226627.2381
38 | 2666951.4456 | 1226884.2825 | 2666934.2174 | 1226897.6844
39 | 2666916.8158 | 1226922.9466 | 2666917.9706 | 1226914.301 | 2666925.356 | 1226904.5778 | 2666934.2174 | 1226897.6844
40 | 2666906.3673 | 1226937.8415 | 2666906.3673 | 1226937.8415 | 2666916.8036 | 1226923.0381 | 2666916.8158 | 1226922.9466
41 | 2666937.5948 | 1226963.3749 | 2666911.1708 | 1226948.7692 | 2666905.8757 | 1226943.8065 | 2666906.3673 | 1226937.8415
42 | 2666906.3673 | 1226937.8415 | 2666768.4704 | 1227132.375
43 | 2666697.1789 | 1227194.227 | 2666743.2901 | 1227158.9877 | 2666763.014 | 1227139.763 | 2666768.4704 | 1227132.375
44 | 2666568.0121 | 1227212.7351 | 2666568.9843 | 1227210.9916 | 2666579.3503 | 1227192.8735 | 2666590.032 | 1227182.4418 | 2666596.3686 | 1227179.6776 | 2666601.8682 | 1227178.2686
45 | 2666601.8682 | 1227178.2686 | 2666606.9716 | 1227176.9611 | 2666627.2592 | 1227180.4349 | 2666644.1508 | 1227177.3718
46 | 2666697.1789 | 1227194.227 | 2666686.5845 | 1227183.3345 | 2666678.5034 | 1227178.7855 | 2666666.3537 | 1227174.7912 | 2666646.1995 | 1227177.0003 | 2666644.1508 | 1227177.3718
47 | 2666697.1789 | 1227194.227 | 2666689.9778 | 1227199.7388 | 2666679.3986 | 1227208.1122
48 | 2666654.78 | 1226569.4762 | 2666655.1164 | 1226566.3003
49 | 2666649.3842 | 1226580.9376 | 2666654.5432 | 1226571.7116 | 2666654.78 | 1226569.4762
50 | 2666649.3842 | 1226580.9376 | 2666653.9463 | 1226589.9552
51 | 2666654.7066 | 1226611.458 | 2666656.3641 | 1226606.0431 | 2666655.8726 | 1226593.763 | 2666653.9463 | 1226589.9552
52 | 2666415.6322 | 1226580.4103 | 2666409.1098 | 1226576.8383 | 2666395.4353 | 1226569.4987

## bus_geodata
| x | y | coords
0 | 2666504.3887 | 1226624.7973
1 | 2666479.7636 | 1226612.4278
2 | 2666524.882 | 1226632.3448
3 | 2666440.0612 | 1226593.2335
4 | 2666599.5785 | 1226569.9921
5 | 2666523.4488 | 1226634.7602
6 | 2666431.8232 | 1226589.2507
7 | 2666613.102 | 1226565.4001
8 | 2666507.5221 | 1226662.4567
9 | 2666507.4588 | 1226662.5692
10 | 2666424.9386 | 1226585.507
11 | 2666635.7434 | 1226558.3813
12 | 2666665.2848 | 1226496.5275
13 | 2666657.2212 | 1226543.6038
14 | 2666721.0586 | 1226472.8248
15 | 2666746.0181 | 1226411.9663
16 | 2666829.135 | 1226417.1736
17 | 2666750.0952 | 1226461.9959
18 | 2666651.3294 | 1226555.4762
19 | 2666750.2081 | 1226462.7796
20 | 2666862.4165 | 1226428.0163
21 | 2667038.7115 | 1226505.9429
22 | 2667000.138 | 1226482.2001
23 | 2666967.1763 | 1226357.0835
24 | 2666725.2121 | 1226610.6512
25 | 2666708.0987 | 1226581.963
26 | 2666728.2086 | 1226616.4215
27 | 2666698.4176 | 1226576.8855
28 | 2666713.7081 | 1226628.5852
29 | 2666933.8387 | 1226842.0554
30 | 2666685.0485 | 1226568.6575
31 | 2666958.5255 | 1226874.0421
32 | 2666656.1113 | 1226556.9084
33 | 2666673.6689 | 1226637.6599
34 | 2666651.7077 | 1226627.2381
35 | 2666980.455 | 1226850.8169
36 | 2666951.4456 | 1226884.2825
37 | 2666934.2174 | 1226897.6844
38 | 2666916.8158 | 1226922.9466
39 | 2666906.3673 | 1226937.8415
40 | 2666937.5948 | 1226963.3749
41 | 2666768.4704 | 1227132.375
42 | 2666568.0121 | 1227212.7351
43 | 2666601.8682 | 1227178.2686
44 | 2666644.1508 | 1227177.3718
45 | 2666697.1789 | 1227194.227
46 | 2666679.3986 | 1227208.1122
47 | 2666655.1164 | 1226566.3003
48 | 2666654.78 | 1226569.4762
49 | 2666649.3842 | 1226580.9376
50 | 2666653.9463 | 1226589.9552
51 | 2666654.7066 | 1226611.458
52 | 2666415.6322 | 1226580.4103
53 | 2666395.4353 | 1226569.4987
54 | 2666750.2081 | 1226462.7796

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## res_bus
| vm_pu | va_degree | p_mw | q_mvar
0 | 0.99297 | -0.049433 | 0.00075117 | 0.00018826
1 | 0.99275 | -0.050953 | 0 | 0
2 | 0.99317 | -0.04804 | 0 | 0
3 | 0.99241 | -0.053385 | 0.00021517 | 5.3927e-05
4 | 0.99432 | -0.039873 | 0.00030685 | 7.6903e-05
5 | 0.99316 | -0.048098 | 0.00013712 | 3.4367e-05
6 | 0.99234 | -0.05387 | 0.00065906 | 0.00016518
7 | 0.9945 | -0.038638 | 0.00065929 | 0.00016523
8 | 0.99307 | -0.048713 | 0.0016812 | 0.00042136
9 | 0.99307 | -0.048713 | 0.00022038 | 5.5234e-05
10 | 0.99229 | -0.054232 | 0.0015932 | 0.0003993
11 | 0.99481 | -0.036432 | 0 | 0
12 | 0.99702 | -0.020907 | 0 | 0
13 | 0.99545 | -0.031962 | 0.00019462 | 4.8776e-05
14 | 0.99897 | -0.0071977 | 0.00079761 | 0.0001999
15 | 0.99696 | -0.021095 | 0 | 0
16 | 0.99199 | -0.055796 | 0.0050379 | 0.0012626
17 | 0.99995 | -0.00033037 | 0.00058364 | 0.00014627
18 | 0.99502 | -0.034948 | 0 | 0
19 | 1 | 0 | -0.066559 | -0.016559
20 | 0.99015 | -0.068673 | 0.013605 | 0.0034096
21 | 0.98528 | -0.10301 | 0.00026765 | 6.7078e-05
22 | 0.9853 | -0.10288 | 0 | 0
23 | 0.98111 | -0.13263 | 0.022265 | 0.0055801
24 | 0.99341 | -0.046342 | 0.00039649 | 9.937e-05
25 | 0.99395 | -0.042492 | 0.00025955 | 6.505e-05
26 | 0.99331 | -0.047047 | 0 | 0
27 | 0.99413 | -0.041235 | 0.00027752 | 6.9552e-05
28 | 0.99328 | -0.047246 | 0.001038 | 0.00026014
29 | 0.9889 | -0.078356 | 0.00018037 | 4.5204e-05
30 | 0.99439 | -0.039387 | 0.0002888 | 7.238e-05
31 | 0.98835 | -0.082264 | 0 | 0
32 | 0.99493 | -0.035608 | 0 | 0
33 | 0.99483 | -0.036324 | 0.00032905 | 8.2468e-05
34 | 0.99484 | -0.03624 | 0.00028075 | 7.0363e-05
35 | 0.98834 | -0.082317 | 0.00016145 | 4.0463e-05
36 | 0.98818 | -0.083469 | 0.00025428 | 6.3728e-05
37 | 0.9879 | -0.085487 | 0.00055074 | 0.00013803
38 | 0.98751 | -0.08828 | 0.0014493 | 0.00036323
39 | 0.98732 | -0.089591 | 0.0035018 | 0.00087764
40 | 0.98727 | -0.089969 | 0.0008482 | 0.00021258
41 | 0.98642 | -0.096119 | 0.00014375 | 3.6028e-05
42 | 0.98571 | -0.10119 | 0.00063316 | 0.00015869
43 | 0.98575 | -0.10086 | 0.0013188 | 0.00033052
44 | 0.98587 | -0.099999 | 0.00038562 | 9.6647e-05
45 | 0.98608 | -0.098561 | 0 | 0
46 | 0.98607 | -0.098596 | 0.00015294 | 3.8329e-05
47 | 0.99491 | -0.03572 | 0.00014728 | 3.6912e-05
48 | 0.99491 | -0.035754 | 0.0001204 | 3.0175e-05
49 | 0.99489 | -0.035872 | 0 | 0
50 | 0.99488 | -0.035965 | 0.0001358 | 3.4035e-05
51 | 0.99485 | -0.036139 | 0.00016237 | 4.0694e-05
52 | 0.99224 | -0.054552 | 0.0027302 | 0.00068424
53 | 0.99224 | -0.054608 | 0.00023935 | 5.9988e-05
54 | 0.99998 | 149.9947 | 0 | 0

## res_line
| p_from_mw | q_from_mvar | p_to_mw | q_to_mvar | pl_mw | ql_mvar | i_from_ka | i_to_ka | i_ka | vm_from_pu | va_from_degree | vm_to_pu | va_to_degree | loading_percent
0 | 0.0054407 | 0.0013625 | -0.0054395 | -0.0013624 | 1.143e-06 | 8.3215e-08 | 0.0081527 | 0.0081529 | 0.0081529 | 0.99297 | -0.049433 | 0.99275 | -0.050953 | 3.0196
1 | -0.0061918 | -0.0015507 | 0.006193 | 0.0015509 | 1.1928e-06 | 1.7148e-07 | 0.0092784 | 0.0092783 | 0.0092784 | 0.99297 | -0.049433 | 0.99317 | -0.04804 | 3.4364
2 | 0.0054395 | 0.0013624 | -0.0054377 | -0.0013623 | 1.8291e-06 | 1.3352e-07 | 0.0081529 | 0.0081531 | 0.0081531 | 0.99275 | -0.050953 | 0.99241 | -0.053385 | 3.0197
3 | -0.008232 | -0.0020615 | 0.0082413 | 0.0020638 | 9.2972e-06 | 2.3067e-06 | 0.012333 | 0.012333 | 0.012333 | 0.99317 | -0.04804 | 0.99432 | -0.039873 | 4.5678
4 | 0.0020389 | 0.00051058 | -0.0020389 | -0.00051061 | 1.6354e-08 | -3.0055e-08 | 0.0030547 | 0.0030547 | 0.0030547 | 0.99317 | -0.04804 | 0.99316 | -0.048098 | 1.1314
5 | 0.0052225 | 0.0013083 | -0.0052222 | -0.0013083 | 3.501e-07 | 1.6433e-08 | 0.0078305 | 0.0078305 | 0.0078305 | 0.99241 | -0.053385 | 0.99234 | -0.05387 | 2.9002
6 | -0.0085481 | -0.0021407 | 0.0085496 | 0.0021411 | 1.4598e-06 | 3.7598e-07 | 0.012792 | 0.012792 | 0.012792 | 0.99432 | -0.039873 | 0.9945 | -0.038638 | 4.7377
7 | 0.0019018 | 0.00047624 | -0.0019016 | -0.00047659 | 1.6187e-07 | -3.5117e-07 | 0.0028493 | 0.0028494 | 0.0028494 | 0.99316 | -0.048098 | 0.99307 | -0.048713 | 1.0553
8 | 0.0045631 | 0.0011431 | -0.0045629 | -0.0011432 | 2.2895e-07 | -1.3186e-08 | 0.0068422 | 0.0068423 | 0.0068423 | 0.99234 | -0.05387 | 0.99229 | -0.054232 | 2.5342
9 | -0.0092089 | -0.0023063 | 0.0092117 | 0.0023071 | 2.8081e-06 | 7.7235e-07 | 0.013778 | 0.013778 | 0.013778 | 0.9945 | -0.038638 | 0.99481 | -0.036432 | 5.103
10 | 0.00022038 | 5.5232e-05 | -0.00022038 | -5.5234e-05 | 9.1686e-12 | -1.6662e-09 | 0.00033022 | 0.00033022 | 0.00033022 | 0.99307 | -0.048713 | 0.99307 | -0.048713 | 0.12231
11 | 0.0029696 | 0.00074385 | -0.0029695 | -0.00074393 | 1.313e-07 | -8.6562e-08 | 0.0044531 | 0.0044531 | 0.0044531 | 0.99229 | -0.054232 | 0.99224 | -0.054552 | 1.6493
12 | -0.0092117 | -0.0023071 | 0.0092136 | 0.0023076 | 1.8903e-06 | 5.1981e-07 | 0.013778 | 0.013778 | 0.013778 | 0.99481 | -0.036432 | 0.99502 | -0.034948 | 5.103
13 | 0.022547 | 0.0056487 | -0.022512 | -0.0056361 | 3.4429e-05 | 1.2608e-05 | 0.033649 | 0.03365 | 0.03365 | 0.99702 | -0.020907 | 0.99545 | -0.031962 | 12.4628
14 | -0.022547 | -0.0056487 | 0.022589 | 0.0056644 | 4.2839e-05 | 1.5684e-05 | 0.033649 | 0.033649 | 0.033649 | 0.99702 | -0.020907 | 0.99897 | -0.0071977 | 12.4628
15 | 0.022318 | 0.0055873 | -0.022308 | -0.0055839 | 9.2045e-06 | 3.3679e-06 | 0.033359 | 0.033359 | 0.033359 | 0.99545 | -0.031962 | 0.99502 | -0.034948 | 12.3551
16 | -0.023387 | -0.0058643 | 0.02341 | 0.0058728 | 2.3349e-05 | 8.5763e-06 | 0.034837 | 0.034837 | 0.034837 | 0.99897 | -0.0071977 | 1 | 0 | 12.9027
17 | 0.041642 | 0.010493 | -0.04144 | -0.010417 | 0.00020125 | 7.6322e-05 | 0.062173 | 0.062173 | 0.062173 | 0.99696 | -0.021095 | 0.99199 | -0.055796 | 23.0271
18 | -0.041642 | -0.010493 | 0.041763 | 0.010539 | 0.00012137 | 4.6022e-05 | 0.062173 | 0.062173 | 0.062173 | 0.99696 | -0.021095 | 0.99995 | -0.00033037 | 23.0269
19 | 0.036402 | 0.0091543 | -0.036337 | -0.0091297 | 6.5214e-05 | 2.4631e-05 | 0.054616 | 0.054616 | 0.054616 | 0.99199 | -0.055796 | 0.99015 | -0.068673 | 20.2282
20 | -0.042347 | -0.010686 | 0.042349 | 0.010686 | 1.9635e-06 | 7.448e-07 | 0.063041 | 0.063041 | 0.063041 | 0.99995 | -0.00033037 | 1 | 0 | 23.3485
21 | 0.013095 | 0.0032763 | -0.013094 | -0.0032759 | 1.191e-06 | 3.9341e-07 | 0.019581 | 0.019581 | 0.019581 | 0.99502 | -0.034948 | 0.99493 | -0.035608 | 7.2522
22 | 0.022733 | 0.00572 | -0.022625 | -0.0056804 | 0.00010802 | 3.9649e-05 | 0.034171 | 0.034172 | 0.034172 | 0.99015 | -0.068673 | 0.9853 | -0.10288 | 12.6562
23 | -0.00026765 | -6.7078e-05 | 0.00026765 | 6.6503e-05 | 4.6156e-09 | -5.7511e-07 | 0.00040421 | 0.00040401 | 0.00040421 | 0.98528 | -0.10301 | 0.9853 | -0.10288 | 0.14971
24 | 0.022357 | 0.0056139 | -0.022265 | -0.0055801 | 9.2065e-05 | 3.3769e-05 | 0.033768 | 0.033768 | 0.033768 | 0.9853 | -0.10288 | 0.98111 | -0.13263 | 12.5068
25 | -0.011075 | -0.0027702 | 0.011081 | 0.002772 | 5.8831e-06 | 1.8188e-06 | 0.016587 | 0.016587 | 0.016587 | 0.99341 | -0.046342 | 0.99395 | -0.042492 | 6.1434
26 | 0.010679 | 0.0026708 | -0.010677 | -0.0026705 | 1.0378e-06 | 3.1497e-07 | 0.015993 | 0.015993 | 0.015993 | 0.99341 | -0.046342 | 0.99331 | -0.047047 | 5.9234
27 | -0.01134 | -0.0028371 | 0.011342 | 0.0028377 | 1.9657e-06 | 6.1434e-07 | 0.016976 | 0.016976 | 0.016976 | 0.99395 | -0.042492 | 0.99413 | -0.041235 | 6.2872
28 | 0.001038 | 0.00025991 | -0.001038 | -0.00026014 | 2.8555e-08 | -2.34e-07 | 0.0015549 | 0.001555 | 0.001555 | 0.99331 | -0.047047 | 0.99328 | -0.047246 | 0.57591
29 | 0.0096395 | 0.0024106 | -0.009598 | -0.0023988 | 4.1487e-05 | 1.1847e-05 | 0.014438 | 0.01444 | 0.01444 | 0.99331 | -0.047047 | 0.9889 | -0.078356 | 5.3481
30 | -0.01162 | -0.0029072 | 0.011623 | 0.0029082 | 2.963e-06 | 9.36e-07 | 0.017391 | 0.017391 | 0.017391 | 0.99413 | -0.041235 | 0.99439 | -0.039387 | 6.4411
31 | 0.0094176 | 0.0023536 | -0.0094125 | -0.0023521 | 5.0642e-06 | 1.4294e-06 | 0.014168 | 0.014169 | 0.014169 | 0.9889 | -0.078356 | 0.98835 | -0.082264 | 5.2476
32 | -0.011912 | -0.0029806 | 0.011918 | 0.0029825 | 6.2158e-06 | 1.9837e-06 | 0.017823 | 0.017823 | 0.017823 | 0.99439 | -0.039387 | 0.99493 | -0.035608 | 6.6011
33 | 0.00016145 | 4.0054e-05 | -0.00016145 | -4.0463e-05 | 1.177e-09 | -4.089e-07 | 0.00024293 | 0.00024307 | 0.00024307 | 0.98835 | -0.082264 | 0.98834 | -0.082317 | 0.090027
34 | 0.0092511 | 0.0023121 | -0.0092496 | -0.0023117 | 1.5341e-06 | 4.276e-07 | 0.013926 | 0.013926 | 0.013926 | 0.98835 | -0.082264 | 0.98818 | -0.083469 | 5.1577
35 | 0.0011757 | 0.00029339 | -0.0011757 | -0.00029351 | 1.8214e-08 | -1.1564e-07 | 0.001758 | 0.001758 | 0.001758 | 0.99493 | -0.035608 | 0.99491 | -0.03572 | 0.65112
36 | -0.00032905 | -8.2468e-05 | 0.00032906 | 8.2142e-05 | 3.8103e-09 | -3.259e-07 | 0.00049218 | 0.00049206 | 0.00049218 | 0.99483 | -0.036324 | 0.99484 | -0.03624 | 0.18229
37 | -0.00060981 | -0.00015251 | 0.00060982 | 0.0001523 | 8.43e-09 | -2.0768e-07 | 0.000912 | 0.00091192 | 0.000912 | 0.99484 | -0.03624 | 0.99485 | -0.036139 | 0.33778
38 | 0.0089953 | 0.0022479 | -0.0089928 | -0.0022472 | 2.4981e-06 | 6.8125e-07 | 0.013543 | 0.013543 | 0.013543 | 0.98818 | -0.083469 | 0.9879 | -0.085487 | 5.0159
39 | 0.008442 | 0.0021092 | -0.0084388 | -0.0021084 | 3.2436e-06 | 8.3593e-07 | 0.012713 | 0.012714 | 0.012714 | 0.9879 | -0.085487 | 0.98751 | -0.08828 | 4.7087
40 | 0.0069895 | 0.0017452 | -0.0069882 | -0.0017449 | 1.2595e-06 | 2.5157e-07 | 0.01053 | 0.01053 | 0.01053 | 0.98751 | -0.08828 | 0.98732 | -0.089591 | 3.8999
41 | 0.00084825 | 0.00021204 | -0.0008482 | -0.00021258 | 4.4288e-08 | -5.3841e-07 | 0.0012782 | 0.0012784 | 0.0012784 | 0.98732 | -0.089591 | 0.98727 | -0.089969 | 0.47348
42 | 0.0026382 | 0.00065521 | -0.0026358 | -0.00065736 | 2.3504e-06 | -2.1427e-06 | 0.0039739 | 0.003975 | 0.003975 | 0.98732 | -0.089591 | 0.98642 | -0.096119 | 1.4722
43 | 0.0024921 | 0.00062133 | -0.0024912 | -0.00062222 | 8.3524e-07 | -8.8801e-07 | 0.0037581 | 0.0037586 | 0.0037586 | 0.98642 | -0.096119 | 0.98608 | -0.098561 | 1.3921
44 | -0.00063316 | -0.00015869 | 0.00063319 | 0.00015805 | 2.872e-08 | -6.3132e-07 | 0.00095582 | 0.00095559 | 0.00095582 | 0.98571 | -0.10119 | 0.98575 | -0.10086 | 0.35401
45 | -0.001952 | -0.00048857 | 0.0019522 | 0.00048811 | 2.33e-07 | -4.5885e-07 | 0.0029463 | 0.0029461 | 0.0029463 | 0.98575 | -0.10086 | 0.98587 | -0.099999 | 1.0912
46 | -0.0023378 | -0.00058476 | 0.0023383 | 0.00058417 | 4.6302e-07 | -5.8224e-07 | 0.0035281 | 0.0035279 | 0.0035281 | 0.98587 | -0.099999 | 0.98608 | -0.098561 | 1.3067
47 | 0.00015294 | 3.8042e-05 | -0.00015294 | -3.8329e-05 | 7.4947e-10 | -2.875e-07 | 0.00023068 | 0.00023078 | 0.00023078 | 0.98608 | -0.098561 | 0.98607 | -0.098596 | 0.085476
48 | 0.0010284 | 0.00025659 | -0.0010284 | -0.00025663 | 4.7125e-09 | -3.9661e-08 | 0.0015378 | 0.0015378 | 0.0015378 | 0.99491 | -0.03572 | 0.99491 | -0.035754 | 0.56954
49 | 0.00090803 | 0.00022646 | -0.00090802 | -0.00022662 | 1.4745e-08 | -1.6079e-07 | 0.0013577 | 0.0013577 | 0.0013577 | 0.99491 | -0.035754 | 0.99489 | -0.035872 | 0.50287
50 | 0.00090802 | 0.00022662 | -0.00090801 | -0.00022675 | 1.1626e-08 | -1.2676e-07 | 0.0013577 | 0.0013578 | 0.0013578 | 0.99489 | -0.035872 | 0.99488 | -0.035965 | 0.50289
51 | 0.00077221 | 0.00019271 | -0.00077219 | -0.00019299 | 1.8488e-08 | -2.8142e-07 | 0.0011547 | 0.0011548 | 0.0011548 | 0.99488 | -0.035965 | 0.99485 | -0.036139 | 0.4277
52 | 0.00023935 | 5.9692e-05 | -0.00023935 | -5.9988e-05 | 1.8451e-09 | -2.958e-07 | 0.00035884 | 0.00035895 | 0.00035895 | 0.99224 | -0.054552 | 0.99224 | -0.054608 | 0.13294

## res_trafo
| p_hv_mw | q_hv_mvar | p_lv_mw | q_lv_mvar | pl_mw | ql_mvar | i_hv_ka | i_lv_ka | vm_hv_pu | va_hv_degree | vm_lv_pu | va_lv_degree | loading_percent
0 | 2.5187e-16 | 8.8016e-16 | 0.00079998 | 7.4552e-08 | 0.00079998 | 7.4552e-08 | 2.6429e-17 | 0.0011547 | 0.99998 | 149.9947 | 1 | 0 | 0.31999

## res_ext_grid
| p_mw | q_mvar
0 | 0.066847 | 0.016631

## res_load
| p_mw | q_mvar
0 | 0.00075117 | 0.00018826
1 | 0.00021517 | 5.3927e-05
2 | 0.00030685 | 7.6903e-05
3 | 0.00013712 | 3.4367e-05
4 | 0.00065906 | 0.00016518
5 | 0.00065929 | 0.00016523
6 | 0.0016812 | 0.00042136
7 | 0.00022038 | 5.5234e-05
8 | 0.0015932 | 0.0003993
9 | 0.00019462 | 4.8776e-05
10 | 0.00079761 | 0.0001999
11 | 0.0050379 | 0.0012626
12 | 0.00058364 | 0.00014627
13 | 0.00028765 | 7.2091e-05
14 | 0.013605 | 0.0034096
15 | 0.00026765 | 6.7078e-05
16 | 0.022265 | 0.0055801
17 | 0.00039649 | 9.937e-05
18 | 0.00025955 | 6.505e-05
19 | 0.00027752 | 6.9552e-05
20 | 0.001038 | 0.00026014
21 | 0.00018037 | 4.5204e-05
22 | 0.0002888 | 7.238e-05
23 | 0.00032905 | 8.2468e-05
24 | 0.00028075 | 7.0363e-05
25 | 0.00016145 | 4.0463e-05
26 | 0.00025428 | 6.3728e-05
27 | 0.00055074 | 0.00013803
28 | 0.0014493 | 0.00036323
29 | 0.0035018 | 0.00087764
30 | 0.0008482 | 0.00021258
31 | 0.00014375 | 3.6028e-05
32 | 0.00063316 | 0.00015869
33 | 0.0013188 | 0.00033052
34 | 0.00038562 | 9.6647e-05
35 | 0.00015294 | 3.8329e-05
36 | 0.00014728 | 3.6912e-05
37 | 0.0001204 | 3.0175e-05
38 | 0.0001358 | 3.4035e-05
39 | 0.00016237 | 4.0694e-05
40 | 0.0027302 | 0.00068424
41 | 0.00023935 | 5.9988e-05

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object
62 | res_bus | vm_pu | float64
63 | res_bus | va_degree | float64
64 | res_bus | p_mw | float64
65 | res_bus | q_mvar | float64
66 | res_line | p_from_mw | float64
67 | res_line | q_from_mvar | float64
68 | res_line | p_to_mw | float64
69 | res_line | q_to_mvar | float64
70 | res_line | pl_mw | float64
71 | res_line | ql_mvar | float64
72 | res_line | i_from_ka | float64
73 | res_line | i_to_ka | float64
74 | res_line | i_ka | float64
75 | res_line | vm_from_pu | float64
76 | res_line | va_from_degree | float64
77 | res_line | vm_to_pu | float64
78 | res_line | va_to_degree | float64
79 | res_line | loading_percent | float64
80 | res_trafo | p_hv_mw | float64
81 | res_trafo | q_hv_mvar | float64
82 | res_trafo | p_lv_mw | float64
83 | res_trafo | q_lv_mvar | float64
84 | res_trafo | pl_mw | float64
85 | res_trafo | ql_mvar | float64
86 | res_trafo | i_hv_ka | float64
87 | res_trafo | i_lv_ka | float64
88 | res_trafo | vm_hv_pu | float64
89 | res_trafo | va_hv_degree | float64
90 | res_trafo | vm_lv_pu | float64
91 | res_trafo | va_lv_degree | float64
92 | res_trafo | loading_percent | float64
93 | res_ext_grid | p_mw | float64
94 | res_ext_grid | q_mvar | float64
95 | res_load | p_mw | float64
96 | res_load | q_mvar | float64

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | TRUE | FALSE |  | 50 | 1