## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_1032-1_0_3_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_1032-1_0_3_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_1032-1_0_3_node_2 | 0.4 | n |  | TRUE
3 | bus_LV_1032-1_0_3_node_3 | 0.4 | n |  | TRUE
4 | bus_LV_1032-1_0_3_node_4 | 0.4 | n |  | TRUE
5 | bus_LV_1032-1_0_3_node_5 | 0.4 | n |  | TRUE
6 | bus_LV_1032-1_0_3_node_6 | 0.4 | n |  | TRUE
7 | bus_LV_1032-1_0_3_node_7 | 0.4 | n |  | TRUE
8 | bus_LV_1032-1_0_3_node_16 | 0.4 | n |  | TRUE
9 | bus_LV_1032-1_0_3_node_15 | 0.4 | n |  | TRUE
10 | bus_LV_1032-1_0_3_node_17 | 0.4 | n |  | TRUE
11 | bus_LV_1032-1_0_3_node_20 | 0.4 | n |  | TRUE
12 | bus_LV_1032-1_0_3_node_19 | 0.4 | n |  | TRUE
13 | bus_LV_1032-1_0_3_node_8 | 0.4 | n |  | TRUE
14 | bus_LV_1032-1_0_3_node_9 | 0.4 | n |  | TRUE
15 | bus_LV_1032-1_0_3_node_10 | 0.4 | n |  | TRUE
16 | bus_LV_1032-1_0_3_node_11 | 0.4 | n |  | TRUE
17 | bus_LV_1032-1_0_3_node_12 | 0.4 | n |  | TRUE
18 | bus_LV_1032-1_0_3_node_13 | 0.4 | n |  | TRUE
19 | bus_LV_1032-1_0_3_node_14 | 0.4 | n |  | TRUE
20 | bus_LV_1032-1_0_3_node_39 | 0.4 | n |  | TRUE
21 | bus_LV_1032-1_0_3_node_41 | 0.4 | n |  | TRUE
22 | bus_LV_1032-1_0_3_node_40 | 0.4 | n |  | TRUE
23 | bus_LV_1032-1_0_3_node_42 | 0.4 | n |  | TRUE
24 | bus_LV_1032-1_0_3_node_21 | 0.4 | n |  | TRUE
25 | bus_LV_1032-1_0_3_node_18 | 0.4 | n |  | TRUE
26 | bus_LV_1032-1_0_3_node_29 | 0.4 | n |  | TRUE
27 | bus_LV_1032-1_0_3_node_51 | 0.4 | n |  | TRUE
28 | bus_LV_1032-1_0_3_node_22 | 0.4 | n |  | TRUE
29 | bus_LV_1032-1_0_3_node_23 | 0.4 | n |  | TRUE
30 | bus_LV_1032-1_0_3_node_24 | 0.4 | n |  | TRUE
31 | bus_LV_1032-1_0_3_node_25 | 0.4 | n |  | TRUE
32 | bus_LV_1032-1_0_3_node_26 | 0.4 | n |  | TRUE
33 | bus_LV_1032-1_0_3_node_27 | 0.4 | n |  | TRUE
34 | bus_LV_1032-1_0_3_node_28 | 0.4 | n |  | TRUE
35 | bus_LV_1032-1_0_3_node_30 | 0.4 | n |  | TRUE
36 | bus_LV_1032-1_0_3_node_52 | 0.4 | n |  | TRUE
37 | bus_LV_1032-1_0_3_node_31 | 0.4 | n |  | TRUE
38 | bus_LV_1032-1_0_3_node_32 | 0.4 | n |  | TRUE
39 | bus_LV_1032-1_0_3_node_33 | 0.4 | n |  | TRUE
40 | bus_LV_1032-1_0_3_node_34 | 0.4 | n |  | TRUE
41 | bus_LV_1032-1_0_3_node_35 | 0.4 | n |  | TRUE
42 | bus_LV_1032-1_0_3_node_36 | 0.4 | n |  | TRUE
43 | bus_LV_1032-1_0_3_node_37 | 0.4 | n |  | TRUE
44 | bus_LV_1032-1_0_3_node_38 | 0.4 | n |  | TRUE
45 | bus_LV_1032-1_0_3_node_45 | 0.4 | n |  | TRUE
46 | bus_LV_1032-1_0_3_node_50 | 0.4 | n |  | TRUE
47 | bus_LV_1032-1_0_3_node_49 | 0.4 | n |  | TRUE
48 | bus_LV_1032-1_0_3_node_47 | 0.4 | n |  | TRUE
49 | bus_LV_1032-1_0_3_node_43 | 0.4 | n |  | TRUE
50 | bus_LV_1032-1_0_3_node_44 | 0.4 | n |  | TRUE
51 | bus_LV_1032-1_0_3_node_46 | 0.4 | n |  | TRUE
52 | bus_LV_1032-1_0_3_node_48 | 0.4 | n |  | TRUE
53 | bus_MV_353_0_node_172 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_1032-1_0_3_load_0 | 0 | 0.001665 | 0.0004173 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_1032-1_0_3_load_1 | 1 | 0.0021029 | 0.00052703 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_1032-1_0_3_load_2 | 2 | 0.0023217 | 0.00058186 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_1032-1_0_3_load_3 | 3 | 0.0021967 | 0.00055056 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_1032-1_0_3_load_5 | 5 | 0.0038342 | 0.00096095 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_1032-1_0_3_load_6 | 6 | 0.0010214 | 0.00025599 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_1032-1_0_3_load_7 | 7 | 0.0013914 | 0.00034872 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_1032-1_0_3_load_17 | 10 | 0.001178 | 0.00029523 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_1032-1_0_3_load_20 | 11 | 0.0014172 | 0.00035519 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_1032-1_0_3_load_19 | 12 | 0.0014508 | 0.0003636 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_1032-1_0_3_load_8 | 13 | 0.0039531 | 0.00099073 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_1032-1_0_3_load_10 | 15 | 0.0025595 | 0.00064146 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_1032-1_0_3_load_11 | 16 | 0.0076519 | 0.0019177 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_1032-1_0_3_load_12 | 17 | 0.0031689 | 0.00079419 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_1032-1_0_3_load_13 | 18 | 0.0028766 | 0.00072096 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_1032-1_0_3_load_14 | 19 | 0.0031681 | 0.00079399 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_1032-1_0_3_load_39 | 20 | 0.0014145 | 0.0003545 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_1032-1_0_3_load_41 | 21 | 0.0031718 | 0.00079492 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_1032-1_0_3_load_42 | 23 | 0.0017727 | 0.00044428 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_1032-1_0_3_load_21 | 24 | 0.00096557 | 0.00024199 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_1032-1_0_3_load_18 | 25 | 0.00089228 | 0.00022363 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_1032-1_0_3_load_29 | 26 | 0.0014901 | 0.00037346 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_1032-1_0_3_load_22 | 28 | 0.0010779 | 0.00027014 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_1032-1_0_3_load_23 | 29 | 0.0018323 | 0.00045921 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_1032-1_0_3_load_24 | 30 | 0.0060289 | 0.001511 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_1032-1_0_3_load_25 | 31 | 0.0015804 | 0.00039609 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_1032-1_0_3_load_27 | 33 | 0.0032564 | 0.00081612 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_1032-1_0_3_load_28 | 34 | 0.0031298 | 0.00078439 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_1032-1_0_3_load_30 | 35 | 0.0087008 | 0.0021806 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_1032-1_0_3_load_52 | 36 | 0.0014147 | 0.00035456 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_1032-1_0_3_load_31 | 37 | 0.0071847 | 0.0018007 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_1032-1_0_3_load_32 | 38 | 0.0026584 | 0.00066625 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_1032-1_0_3_load_33 | 39 | 0.0016943 | 0.00042464 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_1032-1_0_3_load_35 | 41 | 0.0018079 | 0.00045309 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_1032-1_0_3_load_36 | 42 | 0.00086566 | 0.00021696 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_1032-1_0_3_load_37 | 43 | 0.002335 | 0.00058521 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_1032-1_0_3_load_45 | 45 | 0.0061904 | 0.0015515 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_1032-1_0_3_load_50 | 46 | 0.0063987 | 0.0016037 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_1032-1_0_3_load_49 | 47 | 0.001882 | 0.00047166 | 0 | 0 |  | 1 | TRUE | wye
39 | LV_1032-1_0_3_load_47 | 48 | 0.0050924 | 0.0012763 | 0 | 0 |  | 1 | TRUE | wye
40 | LV_1032-1_0_3_load_43 | 49 | 0.0018422 | 0.0004617 | 0 | 0 |  | 1 | TRUE | wye
41 | LV_1032-1_0_3_load_44 | 50 | 0.0018432 | 0.00046196 | 0 | 0 |  | 1 | TRUE | wye
42 | LV_1032-1_0_3_load_46 | 51 | 0.0012483 | 0.00031285 | 0 | 0 |  | 1 | TRUE | wye
43 | LV_1032-1_0_3_load_48 | 52 | 0.0024013 | 0.00060182 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 14 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_1032-1_0_3_line_0 | NAYY 4x150 SE | 0 | 1 | 0.019896 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
1 | LV_1032-1_0_3_line_1 | NAYY 4x150 SE | 0 | 2 | 0.0582 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
2 | LV_1032-1_0_3_line_2 | NAYY 4x150 SE | 1 | 3 | 0.018769 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
3 | LV_1032-1_0_3_line_3 | NAYY 4x150 SE | 2 | 4 | 0.0052125 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
4 | LV_1032-1_0_3_line_4 | NAYY 4x150 SE | 3 | 5 | 0.030678 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
5 | LV_1032-1_0_3_line_5 | NAYY 4x150 SE | 4 | 6 | 0.021071 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
6 | LV_1032-1_0_3_line_6 | NAYY 4x150 SE | 4 | 7 | 0.047245 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
7 | LV_1032-1_0_3_line_7 | NAYY 4x150 SE | 5 | 8 | 0.015624 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
8 | LV_1032-1_0_3_line_8 | NAYY 4x150 SE | 6 | 9 | 0.013143 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
9 | LV_1032-1_0_3_line_9 | NAYY 4x150 SE | 8 | 10 | 0.01018 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
10 | LV_1032-1_0_3_line_10 | NAYY 4x150 SE | 9 | 11 | 0.013057 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
11 | LV_1032-1_0_3_line_11 | NAYY 4x150 SE | 9 | 12 | 0.022332 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
12 | LV_1032-1_0_3_line_12 | NAYY 4x150 SE | 10 | 26 | 0.00092768 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
13 | LV_1032-1_0_3_line_13 | NAYY 4x150 SE | 11 | 24 | 0.0086708 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
14 | LV_1032-1_0_3_line_14 | NAYY 4x150 SE | 12 | 25 | 0.0013391 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
15 | LV_1032-1_0_3_line_15 | NAYY 4x150 SE | 13 | 14 | 0.06386 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
16 | LV_1032-1_0_3_line_16 | NAYY 4x150 SE | 13 | 15 | 0.0902 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
17 | LV_1032-1_0_3_line_17 | NAYY 4x150 SE | 14 | 16 | 0.020636 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
18 | LV_1032-1_0_3_line_18 | NAYY 4x150 SE | 14 | 17 | 0.023097 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
19 | LV_1032-1_0_3_line_19 | NAYY 4x150 SE | 16 | 18 | 0.034968 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
20 | LV_1032-1_0_3_line_20 | NAYY 4x150 SE | 17 | 19 | 0.0035976 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
21 | LV_1032-1_0_3_line_21 | NAYY 4x150 SE | 18 | 20 | 0.0069924 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
22 | LV_1032-1_0_3_line_22 | NAYY 4x150 SE | 19 | 21 | 0.016419 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
23 | LV_1032-1_0_3_line_23 | NAYY 4x150 SE | 20 | 22 | 0.012569 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
24 | LV_1032-1_0_3_line_24 | NAYY 4x150 SE | 21 | 23 | 0.0076693 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
25 | LV_1032-1_0_3_line_25 | NAYY 4x150 SE | 22 | 36 | 0.014812 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
26 | LV_1032-1_0_3_line_26 | NAYY 4x150 SE | 22 | 46 | 0.020192 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
27 | LV_1032-1_0_3_line_27 | NAYY 4x150 SE | 23 | 49 | 0.01839 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
28 | LV_1032-1_0_3_line_28 | NAYY 4x150 SE | 24 | 28 | 0.013529 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
29 | LV_1032-1_0_3_line_29 | NAYY 4x150 SE | 26 | 27 | 0.075648 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
30 | LV_1032-1_0_3_line_30 | NAYY 4x150 SE | 27 | 36 | 0.052085 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
31 | LV_1032-1_0_3_line_31 | NAYY 4x150 SE | 27 | 33 | 0.046816 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
32 | LV_1032-1_0_3_line_32 | NAYY 4x150 SE | 28 | 29 | 0.005114 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
33 | LV_1032-1_0_3_line_33 | NAYY 4x150 SE | 30 | 31 | 0.06709 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
34 | LV_1032-1_0_3_line_34 | NAYY 4x150 SE | 31 | 32 | 0.006404 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
35 | LV_1032-1_0_3_line_35 | NAYY 4x150 SE | 32 | 33 | 0.014748 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
36 | LV_1032-1_0_3_line_36 | NAYY 4x150 SE | 32 | 34 | 0.0070279 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
37 | LV_1032-1_0_3_line_37 | NAYY 4x150 SE | 34 | 35 | 0.03759 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
38 | LV_1032-1_0_3_line_38 | NAYY 4x150 SE | 35 | 37 | 0.0025887 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
39 | LV_1032-1_0_3_line_39 | NAYY 4x150 SE | 38 | 39 | 0.030513 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
40 | LV_1032-1_0_3_line_40 | NAYY 4x150 SE | 38 | 40 | 0.028655 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
41 | LV_1032-1_0_3_line_41 | NAYY 4x150 SE | 40 | 41 | 0.049572 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
42 | LV_1032-1_0_3_line_42 | NAYY 4x150 SE | 40 | 42 | 0.022676 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
43 | LV_1032-1_0_3_line_43 | NAYY 4x150 SE | 41 | 43 | 0.020815 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
44 | LV_1032-1_0_3_line_44 | NAYY 4x150 SE | 42 | 44 | 0.040941 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
45 | LV_1032-1_0_3_line_45 | NAYY 4x150 SE | 43 | 45 | 0.0026373 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
46 | LV_1032-1_0_3_line_46 | NAYY 4x150 SE | 44 | 46 | 0.022386 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
47 | LV_1032-1_0_3_line_47 | NAYY 4x150 SE | 44 | 47 | 0.014452 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
48 | LV_1032-1_0_3_line_48 | NAYY 4x150 SE | 47 | 48 | 0.01687 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
49 | LV_1032-1_0_3_line_49 | NAYY 4x150 SE | 48 | 51 | 0.0071011 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
50 | LV_1032-1_0_3_line_50 | NAYY 4x150 SE | 49 | 50 | 0.0066726 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
51 | LV_1032-1_0_3_line_51 | NAYY 4x150 SE | 51 | 52 | 0.011614 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_1032-1_0_3_trafo_9 | 0.25 MVA 20/0.4 kV | 53 | 14 | 0.25 | 20 | 0.4 | 6 | 1.44 | 0.8 | 0.32 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5
0 | 2667601.0498 | 1224137.014 | 2667596.3371 | 1224139.1004 | 2667581.9152 | 1224142.1548
1 | 2667601.0498 | 1224137.014 | 2667614.1629 | 1224131.2088 | 2667628.8436 | 1224126.5058 | 2667657.0809 | 1224129.9288
2 | 2667581.9152 | 1224142.1548 | 2667563.5537 | 1224146.0437
3 | 2667662.174 | 1224128.8193 | 2667657.0809 | 1224129.9288
4 | 2667533.1848 | 1224150.2853 | 2667558.7194 | 1224147.0675 | 2667563.5537 | 1224146.0437
5 | 2667662.174 | 1224128.8193 | 2667666.7338 | 1224124.6017 | 2667666.847 | 1224114.641 | 2667666.2889 | 1224109.7748
6 | 2667662.174 | 1224128.8193 | 2667666.6781 | 1224129.4931 | 2667691.1822 | 1224127.8039 | 2667707.2352 | 1224136.2277
7 | 2667517.6834 | 1224152.2388 | 2667533.1848 | 1224150.2853
8 | 2667664.7911 | 1224096.7172 | 2667666.2889 | 1224109.7748
9 | 2667517.6834 | 1224152.2388 | 2667507.5063 | 1224152.0041
10 | 2667664.7911 | 1224096.7172 | 2667651.7395 | 1224097.0938
11 | 2667664.7911 | 1224096.7172 | 2667687.0088 | 1224094.4651
12 | 2667507.5063 | 1224152.0041 | 2667506.5789 | 1224151.9827
13 | 2667643.0723 | 1224097.344 | 2667651.7395 | 1224097.0938
14 | 2667688.3411 | 1224094.33 | 2667687.0088 | 1224094.4651
15 | 2667522.0359 | 1224049.3217 | 2667580.3738 | 1224030.3935 | 2667582.7616 | 1224029.5636
16 | 2667582.7616 | 1224029.5636 | 2667668.5569 | 1224001.7199
17 | 2667522.0359 | 1224049.3217 | 2667506.6438 | 1224054.5728 | 2667502.296 | 1224055.0407
18 | 2667522.0359 | 1224049.3217 | 2667522.0401 | 1224034.2565 | 2667523.2322 | 1224028.7665 | 2667525.1186 | 1224027.2612
19 | 2667502.296 | 1224055.0407 | 2667494.8683 | 1224055.8401 | 2667477.8275 | 1224056.692 | 2667467.744 | 1224059.378
20 | 2667525.1186 | 1224027.2612 | 2667527.9307 | 1224025.0173
21 | 2667467.744 | 1224059.378 | 2667460.9872 | 1224061.1778
22 | 2667543.0528 | 1224018.6228 | 2667527.9307 | 1224025.0173 | 2667527.9307 | 1224025.0173
23 | 2667448.8416 | 1224064.413 | 2667460.9872 | 1224061.1778
24 | 2667543.0528 | 1224018.6228 | 2667550.1165 | 1224015.6358
25 | 2667448.8416 | 1224064.413 | 2667445.1109 | 1224078.7475
26 | 2667448.8416 | 1224064.413 | 2667451.2708 | 1224044.368
27 | 2667567.0547 | 1224008.4733 | 2667550.1165 | 1224015.6358
28 | 2667643.0723 | 1224097.344 | 2667629.549 | 1224097.7342
29 | 2667440.0719 | 1224128.9887 | 2667443.3277 | 1224137.4421 | 2667450.2931 | 1224143.7473 | 2667463.9012 | 1224148.0153 | 2667489.2176 | 1224151.5823 | 2667506.5789 | 1224151.9827
30 | 2667440.0719 | 1224128.9887 | 2667436.3281 | 1224120.1072 | 2667436.672 | 1224111.172 | 2667445.1109 | 1224078.7475
31 | 2667440.0719 | 1224128.9887 | 2667449.1814 | 1224124.7447 | 2667460.2697 | 1224120.5343 | 2667479.9289 | 1224114.7866 | 2667484.185 | 1224113.5831
32 | 2667624.4372 | 1224097.8817 | 2667629.549 | 1224097.7342
33 | 2667568.5054 | 1224087.6301 | 2667564.0475 | 1224089.1906 | 2667522.9944 | 1224102.5225 | 2667504.533 | 1224107.8076
34 | 2667498.3764 | 1224109.5701 | 2667504.533 | 1224107.8076
35 | 2667498.3764 | 1224109.5701 | 2667484.185 | 1224113.5831
36 | 2667498.3764 | 1224109.5701 | 2667499.2593 | 1224102.5979
37 | 2667522.152 | 1224073.0223 | 2667517.4442 | 1224079.0888 | 2667510.9561 | 1224090.2002 | 2667499.2593 | 1224102.5979 | 2667499.2593 | 1224102.5979
38 | 2667523.739 | 1224070.9772 | 2667522.152 | 1224073.0223
39 | 2667418.4564 | 1223937.0791 | 2667416.1908 | 1223928.4334 | 2667415.2076 | 1223908.1203 | 2667415.2903 | 1223906.8843
40 | 2667425.7202 | 1223964.7981 | 2667418.4564 | 1223937.0791
41 | 2667425.7202 | 1223964.7981 | 2667466.6686 | 1223950.0635 | 2667471.9316 | 1223947.0739
42 | 2667425.7202 | 1223964.7981 | 2667430.7348 | 1223986.913
43 | 2667471.9316 | 1223947.0739 | 2667490.0303 | 1223936.7929
44 | 2667450.5314 | 1224022.3717 | 2667436.9285 | 1224002.8829 | 2667431.4906 | 1223990.2465 | 2667430.7348 | 1223986.913
45 | 2667492.3234 | 1223935.4903 | 2667490.0303 | 1223936.7929
46 | 2667450.5314 | 1224022.3717 | 2667452.8486 | 1224031.3482 | 2667451.2708 | 1224044.368
47 | 2667450.5314 | 1224022.3717 | 2667460.7936 | 1224012.1961
48 | 2667472.773 | 1224000.3179 | 2667460.7936 | 1224012.1961
49 | 2667477.8155 | 1223995.318 | 2667472.773 | 1224000.3179
50 | 2667573.2004 | 1224005.8745 | 2667567.0547 | 1224008.4733
51 | 2667486.0626 | 1223987.1405 | 2667477.8155 | 1223995.318

## bus_geodata
| x | y | coords
0 | 2667601.0498 | 1224137.014
1 | 2667581.9152 | 1224142.1548
2 | 2667657.0809 | 1224129.9288
3 | 2667563.5537 | 1224146.0437
4 | 2667662.174 | 1224128.8193
5 | 2667533.1848 | 1224150.2853
6 | 2667666.2889 | 1224109.7748
7 | 2667707.2352 | 1224136.2277
8 | 2667517.6834 | 1224152.2388
9 | 2667664.7911 | 1224096.7172
10 | 2667507.5063 | 1224152.0041
11 | 2667651.7395 | 1224097.0938
12 | 2667687.0088 | 1224094.4651
13 | 2667582.7616 | 1224029.5636
14 | 2667522.036 | 1224049.3217
15 | 2667668.5569 | 1224001.7199
16 | 2667502.296 | 1224055.0407
17 | 2667525.1186 | 1224027.2612
18 | 2667467.744 | 1224059.378
19 | 2667527.9307 | 1224025.0173
20 | 2667460.9872 | 1224061.1778
21 | 2667543.0528 | 1224018.6228
22 | 2667448.8416 | 1224064.413
23 | 2667550.1165 | 1224015.6358
24 | 2667643.0723 | 1224097.344
25 | 2667688.3411 | 1224094.33
26 | 2667506.5789 | 1224151.9827
27 | 2667440.0719 | 1224128.9887
28 | 2667629.549 | 1224097.7342
29 | 2667624.4372 | 1224097.8817
30 | 2667568.5054 | 1224087.6301
31 | 2667504.533 | 1224107.8076
32 | 2667498.3764 | 1224109.5701
33 | 2667484.185 | 1224113.5831
34 | 2667499.2593 | 1224102.5979
35 | 2667522.152 | 1224073.0223
36 | 2667445.1109 | 1224078.7475
37 | 2667523.739 | 1224070.9772
38 | 2667418.4564 | 1223937.0791
39 | 2667415.2903 | 1223906.8843
40 | 2667425.7202 | 1223964.7981
41 | 2667471.9316 | 1223947.0739
42 | 2667430.7348 | 1223986.913
43 | 2667490.0303 | 1223936.7929
44 | 2667450.5314 | 1224022.3717
45 | 2667492.3234 | 1223935.4903
46 | 2667451.2708 | 1224044.368
47 | 2667460.7936 | 1224012.1961
48 | 2667472.773 | 1224000.3179
49 | 2667567.0547 | 1224008.4733
50 | 2667573.2004 | 1224005.8745
51 | 2667477.8155 | 1223995.318
52 | 2667486.0626 | 1223987.1405
53 | 2667448.8416 | 1224064.413

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## res_bus
| vm_pu | va_degree | p_mw | q_mvar
0 | 0.97912 | -0.14666 | 0.001665 | 0.0004173
1 | 0.97953 | -0.14375 | 0.0021029 | 0.00052703
2 | 0.97807 | -0.15417 | 0.0023217 | 0.00058186
3 | 0.97997 | -0.14059 | 0.0021967 | 0.00055056
4 | 0.978 | -0.15472 | 0 | 0
5 | 0.98079 | -0.13474 | 0.0038342 | 0.00096095
6 | 0.97773 | -0.15662 | 0.0010214 | 0.00025599
7 | 0.9779 | -0.1554 | 0.0013914 | 0.00034872
8 | 0.9813 | -0.13115 | 0 | 0
9 | 0.97759 | -0.15767 | 0 | 0
10 | 0.98163 | -0.12881 | 0.001178 | 0.00029523
11 | 0.97749 | -0.15839 | 0.0014172 | 0.00035519
12 | 0.97751 | -0.15822 | 0.0014508 | 0.0003636
13 | 0.99941 | -0.0041608 | 0.0039531 | 0.00099073
14 | 1 | 0 | -0.12451 | -0.031199
15 | 0.99908 | -0.0064723 | 0.0025595 | 0.00064146
16 | 0.99699 | -0.020811 | 0.0076519 | 0.0019177
17 | 0.99951 | -0.0034532 | 0.0031689 | 0.00079419
18 | 0.99228 | -0.05365 | 0.0028766 | 0.00072096
19 | 0.99945 | -0.0038774 | 0.0031681 | 0.00079399
20 | 0.99136 | -0.06005 | 0.0014145 | 0.0003545
21 | 0.99924 | -0.005294 | 0.0031718 | 0.00079492
22 | 0.98975 | -0.071402 | 0 | 0
23 | 0.99918 | -0.0057127 | 0.0017727 | 0.00044428
24 | 0.97744 | -0.15874 | 0.00096557 | 0.00024199
25 | 0.97751 | -0.15823 | 0.00089228 | 0.00022363
26 | 0.98166 | -0.12858 | 0.0014901 | 0.00037346
27 | 0.98439 | -0.10915 | 0 | 0
28 | 0.97738 | -0.15916 | 0.0010779 | 0.00027014
29 | 0.97737 | -0.15925 | 0.0018323 | 0.00045921
30 | 0.98113 | -0.13236 | 0.0060289 | 0.001511
31 | 0.98172 | -0.12817 | 0.0015804 | 0.00039609
32 | 0.98179 | -0.12766 | 0 | 0
33 | 0.98236 | -0.1236 | 0.0032564 | 0.00081612
34 | 0.9816 | -0.12905 | 0.0031298 | 0.00078439
35 | 0.98073 | -0.13524 | 0.0087008 | 0.0021806
36 | 0.98854 | -0.079892 | 0.0014147 | 0.00035456
37 | 0.9807 | -0.13543 | 0.0071847 | 0.0018007
38 | 0.98637 | -0.095327 | 0.0026584 | 0.00066625
39 | 0.98629 | -0.095858 | 0.0016943 | 0.00042464
40 | 0.98655 | -0.094047 | 0 | 0
41 | 0.98581 | -0.099306 | 0.0018079 | 0.00045309
42 | 0.98703 | -0.09063 | 0.00086566 | 0.00021696
43 | 0.98555 | -0.10113 | 0.002335 | 0.00058521
44 | 0.98795 | -0.084107 | 0 | 0
45 | 0.98553 | -0.1013 | 0.0061904 | 0.0015515
46 | 0.9888 | -0.078115 | 0.0063987 | 0.0016037
47 | 0.98773 | -0.085678 | 0.001882 | 0.00047166
48 | 0.98752 | -0.087187 | 0.0050924 | 0.0012763
49 | 0.99909 | -0.0063905 | 0.0018422 | 0.0004617
50 | 0.99907 | -0.0065135 | 0.0018432 | 0.00046196
51 | 0.98748 | -0.087453 | 0.0012483 | 0.00031285
52 | 0.98744 | -0.087738 | 0.0024013 | 0.00060182
53 | 0.99998 | 149.9947 | 0 | 0

## res_line
| p_from_mw | q_from_mvar | p_to_mw | q_to_mvar | pl_mw | ql_mvar | i_from_ka | i_to_ka | i_ka | vm_from_pu | va_from_degree | vm_to_pu | va_to_degree | loading_percent
0 | -0.014054 | -0.003522 | 0.014059 | 0.003524 | 5.6632e-06 | 1.9278e-06 | 0.021358 | 0.021358 | 0.021358 | 0.97912 | -0.14666 | 0.97953 | -0.14375 | 7.9104
1 | 0.012389 | 0.0031047 | -0.012376 | -0.0031005 | 1.2874e-05 | 4.2202e-06 | 0.018828 | 0.018828 | 0.018828 | 0.97912 | -0.14666 | 0.97807 | -0.15417 | 6.9733
2 | -0.016162 | -0.004051 | 0.016169 | 0.0040535 | 7.0601e-06 | 2.4791e-06 | 0.024552 | 0.024552 | 0.024552 | 0.97953 | -0.14375 | 0.97997 | -0.14059 | 9.0935
3 | 0.010054 | 0.0025187 | -0.010053 | -0.0025184 | 7.6099e-07 | 2.2727e-07 | 0.015296 | 0.015296 | 0.015296 | 0.97807 | -0.15417 | 0.978 | -0.15472 | 5.6651
4 | -0.018366 | -0.004604 | 0.018381 | 0.0046094 | 1.4888e-05 | 5.3394e-06 | 0.027888 | 0.027888 | 0.027888 | 0.97997 | -0.14059 | 0.98079 | -0.13474 | 10.3289
5 | 0.0086619 | 0.0021702 | -0.0086596 | -0.0021696 | 2.2836e-06 | 6.1397e-07 | 0.013179 | 0.013179 | 0.013179 | 0.978 | -0.15472 | 0.97773 | -0.15662 | 4.8811
6 | 0.0013915 | 0.00034818 | -0.0013914 | -0.00034872 | 1.3214e-07 | -5.4197e-07 | 0.002117 | 0.0021172 | 0.0021172 | 0.978 | -0.15472 | 0.9779 | -0.1554 | 0.78416
7 | -0.022215 | -0.0055703 | 0.022226 | 0.0055744 | 1.1075e-05 | 4.0625e-06 | 0.033705 | 0.033705 | 0.033705 | 0.98079 | -0.13474 | 0.9813 | -0.13115 | 12.4833
8 | 0.0076382 | 0.0019136 | -0.0076371 | -0.0019134 | 1.1082e-06 | 2.6143e-07 | 0.011624 | 0.011624 | 0.011624 | 0.97773 | -0.15662 | 0.97759 | -0.15767 | 4.3053
9 | -0.022226 | -0.0055744 | 0.022234 | 0.005577 | 7.2162e-06 | 2.6468e-06 | 0.033705 | 0.033705 | 0.033705 | 0.9813 | -0.13115 | 0.98163 | -0.12881 | 12.4833
10 | 0.0052939 | 0.0013264 | -0.0052933 | -0.0013263 | 5.2901e-07 | 3.9777e-08 | 0.0080578 | 0.0080579 | 0.0080579 | 0.97759 | -0.15767 | 0.97749 | -0.15839 | 2.9844
11 | 0.0023432 | 0.000587 | -0.0023431 | -0.00058721 | 1.7727e-07 | -2.1179e-07 | 0.0035666 | 0.0035667 | 0.0035667 | 0.97759 | -0.15767 | 0.97751 | -0.15822 | 1.321
12 | -0.023412 | -0.0058723 | 0.023412 | 0.0058725 | 7.2913e-07 | 2.6871e-07 | 0.03549 | 0.03549 | 0.03549 | 0.98163 | -0.12881 | 0.98166 | -0.12858 | 13.1446
13 | 0.0038761 | 0.00097115 | -0.0038759 | -0.00097119 | 1.8837e-07 | -3.6234e-08 | 0.0059004 | 0.0059005 | 0.0059005 | 0.97749 | -0.15839 | 0.97744 | -0.15874 | 2.1854
14 | 0.00089228 | 0.00022361 | -0.00089228 | -0.00022363 | 1.5416e-09 | -1.6194e-08 | 0.0013583 | 0.0013583 | 0.0013583 | 0.97751 | -0.15822 | 0.97751 | -0.15823 | 0.50307
15 | -0.0065133 | -0.0016313 | 0.0065171 | 0.0016319 | 3.7472e-06 | 6.0392e-07 | 0.0096973 | 0.009697 | 0.0096973 | 0.99941 | -0.0041608 | 1 | 0 | 3.5916
16 | 0.0025603 | 0.00064059 | -0.0025595 | -0.00064146 | 8.1782e-07 | -8.6702e-07 | 0.0038116 | 0.003812 | 0.003812 | 0.99941 | -0.0041608 | 0.99908 | -0.0064723 | 1.4119
17 | 0.10221 | 0.025813 | -0.10191 | -0.025699 | 0.00029814 | 0.0001144 | 0.15216 | 0.15216 | 0.15216 | 1 | 0 | 0.99699 | -0.020811 | 56.3563
18 | 0.014977 | 0.003754 | -0.01497 | -0.0037515 | 7.1583e-06 | 2.4503e-06 | 0.022286 | 0.022286 | 0.022286 | 1 | 0 | 0.99951 | -0.0034532 | 8.2542
19 | 0.094262 | 0.023781 | -0.093829 | -0.023615 | 0.00043221 | 0.00016578 | 0.14074 | 0.14074 | 0.14074 | 0.99699 | -0.020811 | 0.99228 | -0.05365 | 52.1266
20 | 0.011801 | 0.0029573 | -0.0118 | -0.0029571 | 6.9291e-07 | 2.1935e-07 | 0.017569 | 0.017569 | 0.017569 | 0.99951 | -0.0034532 | 0.99945 | -0.0038774 | 6.5069
21 | 0.090953 | 0.022894 | -0.090872 | -0.022863 | 8.1211e-05 | 3.1145e-05 | 0.13643 | 0.13643 | 0.13643 | 0.99228 | -0.05365 | 0.99136 | -0.06005 | 50.5289
22 | 0.0086323 | 0.0021631 | -0.0086306 | -0.0021627 | 1.6922e-06 | 4.3574e-07 | 0.012852 | 0.012852 | 0.012852 | 0.99945 | -0.0038774 | 0.99924 | -0.005294 | 4.76
23 | 0.089457 | 0.022509 | -0.089316 | -0.022454 | 0.00014147 | 5.4251e-05 | 0.1343 | 0.1343 | 0.1343 | 0.99136 | -0.06005 | 0.98975 | -0.071402 | 49.7426
24 | 0.0054588 | 0.0013678 | -0.0054585 | -0.0013678 | 3.1622e-07 | 2.1168e-08 | 0.0081288 | 0.0081289 | 0.0081289 | 0.99924 | -0.005294 | 0.99918 | -0.0057127 | 3.0107
25 | 0.056653 | 0.01426 | -0.056586 | -0.014235 | 6.7087e-05 | 2.5612e-05 | 0.085196 | 0.085196 | 0.085196 | 0.98975 | -0.071402 | 0.98854 | -0.079892 | 31.5541
26 | 0.032663 | 0.0081941 | -0.032632 | -0.0081827 | 3.0386e-05 | 1.1428e-05 | 0.049109 | 0.049109 | 0.049109 | 0.98975 | -0.071402 | 0.9888 | -0.078115 | 18.1885
27 | 0.0036858 | 0.00092347 | -0.0036855 | -0.00092358 | 3.4574e-07 | -1.0787e-07 | 0.0054889 | 0.005489 | 0.005489 | 0.99918 | -0.0057127 | 0.99909 | -0.0063905 | 2.033
28 | 0.0029103 | 0.00072919 | -0.0029102 | -0.0007293 | 1.6572e-07 | -1.0582e-07 | 0.0044305 | 0.0044306 | 0.0044306 | 0.97744 | -0.15874 | 0.97738 | -0.15916 | 1.641
29 | -0.024902 | -0.006246 | 0.02497 | 0.0062709 | 6.7266e-05 | 2.4912e-05 | 0.037749 | 0.037749 | 0.037749 | 0.98166 | -0.12858 | 0.98439 | -0.10915 | 13.9812
30 | -0.054947 | -0.013795 | 0.055171 | 0.01388 | 0.00022426 | 8.5589e-05 | 0.083067 | 0.083067 | 0.083067 | 0.98439 | -0.10915 | 0.98854 | -0.079892 | 30.7655
31 | 0.029978 | 0.0075237 | -0.029918 | -0.0075012 | 5.9995e-05 | 2.2481e-05 | 0.045318 | 0.045318 | 0.045318 | 0.98439 | -0.10915 | 0.98236 | -0.1236 | 16.7845
32 | 0.0018323 | 0.00045915 | -0.0018323 | -0.00045921 | 2.4832e-08 | -5.4539e-08 | 0.0027896 | 0.0027896 | 0.0027896 | 0.97738 | -0.15916 | 0.97737 | -0.15925 | 1.0332
33 | -0.0060289 | -0.001511 | 0.0060324 | 0.0015115 | 3.5e-06 | 4.9837e-07 | 0.0091436 | 0.0091433 | 0.0091436 | 0.98113 | -0.13236 | 0.98172 | -0.12817 | 3.3865
34 | -0.0076128 | -0.0019076 | 0.0076133 | 0.0019077 | 5.3205e-07 | 1.2366e-07 | 0.011539 | 0.011539 | 0.011539 | 0.98172 | -0.12817 | 0.98179 | -0.12766 | 4.2736
35 | -0.026646 | -0.0066795 | 0.026661 | 0.0066851 | 1.501e-05 | 5.5863e-06 | 0.040386 | 0.040386 | 0.040386 | 0.98179 | -0.12766 | 0.98236 | -0.1236 | 14.9577
36 | 0.019033 | 0.0047718 | -0.019029 | -0.0047705 | 3.6493e-06 | 1.3147e-06 | 0.028847 | 0.028847 | 0.028847 | 0.98179 | -0.12766 | 0.9816 | -0.12905 | 10.6841
37 | 0.015899 | 0.0039861 | -0.015886 | -0.0039813 | 1.3627e-05 | 4.7663e-06 | 0.024103 | 0.024103 | 0.024103 | 0.9816 | -0.12905 | 0.98073 | -0.13524 | 8.9269
38 | 0.0071849 | 0.0018007 | -0.0071847 | -0.0018007 | 1.9197e-07 | 4.1169e-08 | 0.010901 | 0.010901 | 0.010901 | 0.98073 | -0.13524 | 0.9807 | -0.13543 | 4.0375
39 | 0.0016945 | 0.0004243 | -0.0016943 | -0.00042464 | 1.2441e-07 | -3.4159e-07 | 0.0025561 | 0.0025562 | 0.0025562 | 0.98637 | -0.095327 | 0.98629 | -0.095858 | 0.94676
40 | -0.0043528 | -0.0010905 | 0.0043536 | 0.0010905 | 7.7097e-07 | -6.9293e-08 | 0.0065665 | 0.0065663 | 0.0065665 | 0.98637 | -0.095327 | 0.98655 | -0.094047 | 2.432
41 | 0.010343 | 0.0025926 | -0.010336 | -0.0025903 | 7.5286e-06 | 2.2631e-06 | 0.015601 | 0.015601 | 0.015601 | 0.98655 | -0.094047 | 0.98581 | -0.099306 | 5.7781
42 | -0.014697 | -0.0036831 | 0.014704 | 0.0036855 | 6.953e-06 | 2.3845e-06 | 0.022167 | 0.022167 | 0.022167 | 0.98655 | -0.094047 | 0.98703 | -0.09063 | 8.21
43 | 0.0085277 | 0.0021373 | -0.0085256 | -0.0021367 | 2.1521e-06 | 5.6242e-07 | 0.012872 | 0.012872 | 0.012872 | 0.98581 | -0.099306 | 0.98555 | -0.10113 | 4.7675
44 | -0.015569 | -0.0039024 | 0.015583 | 0.0039073 | 1.4075e-05 | 4.8896e-06 | 0.023472 | 0.023472 | 0.023472 | 0.98703 | -0.09063 | 0.98795 | -0.084107 | 8.6933
45 | 0.0061906 | 0.0015515 | -0.0061904 | -0.0015515 | 1.4377e-07 | 2.1689e-08 | 0.0093467 | 0.0093467 | 0.0093467 | 0.98555 | -0.10113 | 0.98553 | -0.1013 | 3.4618
46 | -0.026212 | -0.006571 | 0.026233 | 0.006579 | 2.1772e-05 | 8.0871e-06 | 0.03948 | 0.03948 | 0.03948 | 0.98795 | -0.084107 | 0.9888 | -0.078115 | 14.6221
47 | 0.010628 | 0.0026636 | -0.010626 | -0.0026629 | 2.3109e-06 | 7.038e-07 | 0.016008 | 0.016008 | 0.016008 | 0.98795 | -0.084107 | 0.98773 | -0.085678 | 5.9289
48 | 0.008744 | 0.0021913 | -0.0087422 | -0.0021908 | 1.8267e-06 | 4.8669e-07 | 0.013173 | 0.013173 | 0.013173 | 0.98773 | -0.085678 | 0.98752 | -0.087187 | 4.8789
49 | 0.0036498 | 0.00091453 | -0.0036497 | -0.00091457 | 1.3402e-07 | -3.9299e-08 | 0.0054996 | 0.0054996 | 0.0054996 | 0.98752 | -0.087187 | 0.98748 | -0.087453 | 2.0369
50 | 0.0018433 | 0.00046188 | -0.0018432 | -0.00046196 | 3.138e-08 | -7.5309e-08 | 0.0027453 | 0.0027453 | 0.0027453 | 0.99909 | -0.0063905 | 0.99907 | -0.0065135 | 1.0168
51 | 0.0024014 | 0.00060171 | -0.0024013 | -0.00060182 | 9.4898e-08 | -1.1207e-07 | 0.0036186 | 0.0036186 | 0.0036186 | 0.98748 | -0.087453 | 0.98744 | -0.087738 | 1.3402

## res_trafo
| p_hv_mw | q_hv_mvar | p_lv_mw | q_lv_mvar | pl_mw | ql_mvar | i_hv_ka | i_lv_ka | vm_hv_pu | va_hv_degree | vm_lv_pu | va_lv_degree | loading_percent
0 | 2.5187e-16 | 8.8016e-16 | 0.00079998 | 7.4552e-08 | 0.00079998 | 7.4552e-08 | 2.6429e-17 | 0.0011547 | 0.99998 | 149.9947 | 1 | 0 | 0.31999

## res_ext_grid
| p_mw | q_mvar
0 | 0.12451 | 0.031199

## res_load
| p_mw | q_mvar
0 | 0.001665 | 0.0004173
1 | 0.0021029 | 0.00052703
2 | 0.0023217 | 0.00058186
3 | 0.0021967 | 0.00055056
4 | 0.0038342 | 0.00096095
5 | 0.0010214 | 0.00025599
6 | 0.0013914 | 0.00034872
7 | 0.001178 | 0.00029523
8 | 0.0014172 | 0.00035519
9 | 0.0014508 | 0.0003636
10 | 0.0039531 | 0.00099073
11 | 0.0025595 | 0.00064146
12 | 0.0076519 | 0.0019177
13 | 0.0031689 | 0.00079419
14 | 0.0028766 | 0.00072096
15 | 0.0031681 | 0.00079399
16 | 0.0014145 | 0.0003545
17 | 0.0031718 | 0.00079492
18 | 0.0017727 | 0.00044428
19 | 0.00096557 | 0.00024199
20 | 0.00089228 | 0.00022363
21 | 0.0014901 | 0.00037346
22 | 0.0010779 | 0.00027014
23 | 0.0018323 | 0.00045921
24 | 0.0060289 | 0.001511
25 | 0.0015804 | 0.00039609
26 | 0.0032564 | 0.00081612
27 | 0.0031298 | 0.00078439
28 | 0.0087008 | 0.0021806
29 | 0.0014147 | 0.00035456
30 | 0.0071847 | 0.0018007
31 | 0.0026584 | 0.00066625
32 | 0.0016943 | 0.00042464
33 | 0.0018079 | 0.00045309
34 | 0.00086566 | 0.00021696
35 | 0.002335 | 0.00058521
36 | 0.0061904 | 0.0015515
37 | 0.0063987 | 0.0016037
38 | 0.001882 | 0.00047166
39 | 0.0050924 | 0.0012763
40 | 0.0018422 | 0.0004617
41 | 0.0018432 | 0.00046196
42 | 0.0012483 | 0.00031285
43 | 0.0024013 | 0.00060182

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object
62 | res_bus | vm_pu | float64
63 | res_bus | va_degree | float64
64 | res_bus | p_mw | float64
65 | res_bus | q_mvar | float64
66 | res_line | p_from_mw | float64
67 | res_line | q_from_mvar | float64
68 | res_line | p_to_mw | float64
69 | res_line | q_to_mvar | float64
70 | res_line | pl_mw | float64
71 | res_line | ql_mvar | float64
72 | res_line | i_from_ka | float64
73 | res_line | i_to_ka | float64
74 | res_line | i_ka | float64
75 | res_line | vm_from_pu | float64
76 | res_line | va_from_degree | float64
77 | res_line | vm_to_pu | float64
78 | res_line | va_to_degree | float64
79 | res_line | loading_percent | float64
80 | res_trafo | p_hv_mw | float64
81 | res_trafo | q_hv_mvar | float64
82 | res_trafo | p_lv_mw | float64
83 | res_trafo | q_lv_mvar | float64
84 | res_trafo | pl_mw | float64
85 | res_trafo | ql_mvar | float64
86 | res_trafo | i_hv_ka | float64
87 | res_trafo | i_lv_ka | float64
88 | res_trafo | vm_hv_pu | float64
89 | res_trafo | va_hv_degree | float64
90 | res_trafo | vm_lv_pu | float64
91 | res_trafo | va_lv_degree | float64
92 | res_trafo | loading_percent | float64
93 | res_ext_grid | p_mw | float64
94 | res_ext_grid | q_mvar | float64
95 | res_load | p_mw | float64
96 | res_load | q_mvar | float64

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | TRUE | FALSE |  | 50 | 1