## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_1032-2_1_2_node_131 | 0.4 | n |  | TRUE
1 | bus_LV_1032-2_1_2_node_132 | 0.4 | n |  | TRUE
2 | bus_LV_1032-2_1_2_node_133 | 0.4 | n |  | TRUE
3 | bus_LV_1032-2_1_2_node_79 | 0.4 | n |  | TRUE
4 | bus_LV_1032-2_1_2_node_162 | 0.4 | n |  | TRUE
5 | bus_LV_1032-2_1_2_node_149 | 0.4 | n |  | TRUE
6 | bus_LV_1032-2_1_2_node_150 | 0.4 | n |  | TRUE
7 | bus_LV_1032-2_1_2_node_151 | 0.4 | n |  | TRUE
8 | bus_LV_1032-2_1_2_node_152 | 0.4 | n |  | TRUE
9 | bus_LV_1032-2_1_2_node_160 | 0.4 | n |  | TRUE
10 | bus_LV_1032-2_1_2_node_153 | 0.4 | n |  | TRUE
11 | bus_LV_1032-2_1_2_node_154 | 0.4 | n |  | TRUE
12 | bus_LV_1032-2_1_2_node_155 | 0.4 | n |  | TRUE
13 | bus_LV_1032-2_1_2_node_156 | 0.4 | n |  | TRUE
14 | bus_LV_1032-2_1_2_node_157 | 0.4 | n |  | TRUE
15 | bus_LV_1032-2_1_2_node_158 | 0.4 | n |  | TRUE
16 | bus_LV_1032-2_1_2_node_163 | 0.4 | n |  | TRUE
17 | bus_LV_1032-2_1_2_node_175 | 0.4 | n |  | TRUE
18 | bus_LV_1032-2_1_2_node_159 | 0.4 | n |  | TRUE
19 | bus_LV_1032-2_1_2_node_161 | 0.4 | n |  | TRUE
20 | bus_LV_1032-2_1_2_node_172 | 0.4 | n |  | TRUE
21 | bus_LV_1032-2_1_2_node_171 | 0.4 | n |  | TRUE
22 | bus_LV_1032-2_1_2_node_173 | 0.4 | n |  | TRUE
23 | bus_LV_1032-2_1_2_node_174 | 0.4 | n |  | TRUE
24 | bus_LV_1032-2_1_2_node_58 | 0.4 | n |  | TRUE
25 | bus_LV_1032-2_1_2_node_59 | 0.4 | n |  | TRUE
26 | bus_LV_1032-2_1_2_node_60 | 0.4 | n |  | TRUE
27 | bus_LV_1032-2_1_2_node_61 | 0.4 | n |  | TRUE
28 | bus_LV_1032-2_1_2_node_62 | 0.4 | n |  | TRUE
29 | bus_LV_1032-2_1_2_node_64 | 0.4 | n |  | TRUE
30 | bus_LV_1032-2_1_2_node_78 | 0.4 | n |  | TRUE
31 | bus_LV_1032-2_1_2_node_90 | 0.4 | n |  | TRUE
32 | bus_LV_1032-2_1_2_node_118 | 0.4 | n |  | TRUE
33 | bus_LV_1032-2_1_2_node_73 | 0.4 | n |  | TRUE
34 | bus_LV_1032-2_1_2_node_74 | 0.4 | n |  | TRUE
35 | bus_LV_1032-2_1_2_node_75 | 0.4 | n |  | TRUE
36 | bus_LV_1032-2_1_2_node_76 | 0.4 | n |  | TRUE
37 | bus_LV_1032-2_1_2_node_77 | 0.4 | n |  | TRUE
38 | bus_LV_1032-2_1_2_node_89 | 0.4 | n |  | TRUE
39 | bus_MV_353_1_node_266 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_1032-2_1_2_load_131 | 0 | 0.017052 | 0.0042737 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_1032-2_1_2_load_149 | 5 | 0.025171 | 0.0063084 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_1032-2_1_2_load_150 | 6 | 0.0056179 | 0.001408 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_1032-2_1_2_load_152 | 8 | 0.0047347 | 0.0011866 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_1032-2_1_2_load_160 | 9 | 0.001827 | 0.00045788 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_1032-2_1_2_load_153 | 10 | 0.00056075 | 0.00014054 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_1032-2_1_2_load_154 | 11 | 0.0012952 | 0.0003246 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_1032-2_1_2_load_155 | 12 | 0.0002107 | 5.2806e-05 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_1032-2_1_2_load_156 | 13 | 0.00061131 | 0.00015321 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_1032-2_1_2_load_157 | 14 | 0.00011331 | 2.8397e-05 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_1032-2_1_2_load_163 | 16 | 0.00011943 | 2.9933e-05 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_1032-2_1_2_load_175 | 17 | 0.00077024 | 0.00019304 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_1032-2_1_2_load_161 | 19 | 0.00073164 | 0.00018337 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_1032-2_1_2_load_171 | 21 | 0.00026603 | 6.6674e-05 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_1032-2_1_2_load_173 | 22 | 0.00084945 | 0.00021289 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_1032-2_1_2_load_58 | 24 | 0.00053835 | 0.00013492 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_1032-2_1_2_load_59 | 25 | 0.00064514 | 0.00016169 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_1032-2_1_2_load_61 | 27 | 0.00054093 | 0.00013557 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_1032-2_1_2_load_64 | 29 | 0.00067846 | 0.00017004 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_1032-2_1_2_load_78 | 30 | 0.0028584 | 0.00071637 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_1032-2_1_2_load_90 | 31 | 0.0025295 | 0.00063395 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_1032-2_1_2_load_118 | 32 | 0.010779 | 0.0027015 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_1032-2_1_2_load_73 | 33 | 0.00034602 | 8.672e-05 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_1032-2_1_2_load_74 | 34 | 0.00026598 | 6.666e-05 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_1032-2_1_2_load_75 | 35 | 0.00018105 | 4.5375e-05 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_1032-2_1_2_load_76 | 36 | 0.00021475 | 5.3821e-05 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_1032-2_1_2_load_77 | 37 | 0.00018105 | 4.5375e-05 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_1032-2_1_2_load_89 | 38 | 0.00013577 | 3.4027e-05 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 1 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_1032-2_1_2_line_0 | NAYY 4x150 SE | 0 | 1 | 0.02587 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
1 | LV_1032-2_1_2_line_1 | NAYY 4x150 SE | 0 | 2 | 0.069638 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
2 | LV_1032-2_1_2_line_2 | NAYY 4x150 SE | 2 | 3 | 0.00611 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
3 | LV_1032-2_1_2_line_3 | NAYY 4x150 SE | 2 | 4 | 0.43986 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
4 | LV_1032-2_1_2_line_4 | NAYY 4x150 SE | 3 | 37 | 0.050312 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
5 | LV_1032-2_1_2_line_5 | NAYY 4x150 SE | 4 | 8 | 0.011848 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
6 | LV_1032-2_1_2_line_6 | NAYY 4x150 SE | 5 | 6 | 0.0075404 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
7 | LV_1032-2_1_2_line_7 | NAYY 4x150 SE | 6 | 7 | 0.031968 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
8 | LV_1032-2_1_2_line_8 | NAYY 4x150 SE | 7 | 8 | 0.016424 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
9 | LV_1032-2_1_2_line_9 | NAYY 4x150 SE | 7 | 9 | 0.43818 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
10 | LV_1032-2_1_2_line_10 | NAYY 4x150 SE | 9 | 20 | 0.45986 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
11 | LV_1032-2_1_2_line_11 | NAYY 4x150 SE | 9 | 18 | 0.018039 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
12 | LV_1032-2_1_2_line_12 | NAYY 4x150 SE | 10 | 11 | 0.0031927 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
13 | LV_1032-2_1_2_line_13 | NAYY 4x150 SE | 10 | 12 | 0.02 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
14 | LV_1032-2_1_2_line_14 | NAYY 4x150 SE | 11 | 13 | 0.0035419 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
15 | LV_1032-2_1_2_line_15 | NAYY 4x150 SE | 12 | 14 | 0.0033797 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
16 | LV_1032-2_1_2_line_16 | NAYY 4x150 SE | 13 | 15 | 0.07991 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
17 | LV_1032-2_1_2_line_17 | NAYY 4x150 SE | 14 | 16 | 0.00019527 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
18 | LV_1032-2_1_2_line_18 | NAYY 4x150 SE | 15 | 17 | 0.50254 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
19 | LV_1032-2_1_2_line_19 | NAYY 4x150 SE | 16 | 19 | 0.013004 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
20 | LV_1032-2_1_2_line_20 | NAYY 4x150 SE | 17 | 23 | 0.014822 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
21 | LV_1032-2_1_2_line_21 | NAYY 4x150 SE | 18 | 19 | 0.016197 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
22 | LV_1032-2_1_2_line_22 | NAYY 4x150 SE | 20 | 21 | 0.10348 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
23 | LV_1032-2_1_2_line_23 | NAYY 4x150 SE | 22 | 23 | 0.054824 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
24 | LV_1032-2_1_2_line_24 | NAYY 4x150 SE | 24 | 25 | 0.023268 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
25 | LV_1032-2_1_2_line_25 | NAYY 4x150 SE | 24 | 26 | 0.053563 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
26 | LV_1032-2_1_2_line_26 | NAYY 4x150 SE | 25 | 27 | 0.010963 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
27 | LV_1032-2_1_2_line_27 | NAYY 4x150 SE | 26 | 28 | 0.32071 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
28 | LV_1032-2_1_2_line_28 | NAYY 4x150 SE | 27 | 29 | 0.021165 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
29 | LV_1032-2_1_2_line_29 | NAYY 4x150 SE | 28 | 30 | 0.01973 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
30 | LV_1032-2_1_2_line_30 | NAYY 4x150 SE | 28 | 31 | 0.026816 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
31 | LV_1032-2_1_2_line_31 | NAYY 4x150 SE | 29 | 32 | 0.051827 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
32 | LV_1032-2_1_2_line_32 | NAYY 4x150 SE | 30 | 36 | 0.066001 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
33 | LV_1032-2_1_2_line_33 | NAYY 4x150 SE | 31 | 38 | 0.033282 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
34 | LV_1032-2_1_2_line_34 | NAYY 4x150 SE | 33 | 34 | 0.020416 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
35 | LV_1032-2_1_2_line_35 | NAYY 4x150 SE | 33 | 35 | 0.0095681 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
36 | LV_1032-2_1_2_line_36 | NAYY 4x150 SE | 34 | 36 | 0.0046423 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
37 | LV_1032-2_1_2_line_37 | NAYY 4x150 SE | 35 | 37 | 0.0030967 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_1032-2_1_2_trafo_132 | 0.25 MVA 20/0.4 kV | 39 | 1 | 0.25 | 20 | 0.4 | 6 | 1.44 | 0.8 | 0.32 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6 | x7 | y7 | x8 | y8 | x9 | y9 | x10 | y10 | x11 | y11 | x12 | y12 | x13 | y13 | x14 | y14
0 | 2666132.8103 | 1227986.2999 | 2666149.8182 | 1227981.9194 | 2666158.0057 | 1227980.5127
1 | 2666226.6379 | 1227968.7208 | 2666158.0057 | 1227980.5127
2 | 2666226.6379 | 1227968.7208 | 2666224.4374 | 1227974.4222
3 | 2666226.6379 | 1227968.7208 | 2666151.1625 | 1227535.3882
4 | 2666224.4374 | 1227974.4222 | 2666206.3464 | 1228021.3686
5 | 2666151.1625 | 1227535.3882 | 2666143.3346 | 1227526.4952
6 | 2666146.4452 | 1227477.8882 | 2666145.0342 | 1227482.6859 | 2666143.5994 | 1227484.7812
7 | 2666132.4828 | 1227514.1668 | 2666136.7682 | 1227494.7574 | 2666143.5994 | 1227484.7812
8 | 2666132.4828 | 1227514.1668 | 2666143.3346 | 1227526.4952
9 | 2665696.0954 | 1227553.8039 | 2666132.4828 | 1227514.1668
10 | 2665527.0085 | 1227981.4509 | 2665696.0954 | 1227553.8039
11 | 2665680.0986 | 1227545.4664 | 2665696.0954 | 1227553.8039
12 | 2665649.8671 | 1227503.0164 | 2665649.8671 | 1227503.0164 | 2665647.2028 | 1227501.2572
13 | 2665663.7633 | 1227517.3588 | 2665661.5853 | 1227514.5086 | 2665649.8671 | 1227503.0164
14 | 2665644.2471 | 1227499.3057 | 2665647.2028 | 1227501.2572
15 | 2665663.7633 | 1227517.3588 | 2665665.8153 | 1227520.0442
16 | 2665571.8652 | 1227466.3104 | 2665626.0623 | 1227487.2992 | 2665644.2471 | 1227499.3057
17 | 2665665.8153 | 1227520.0442 | 2665665.9339 | 1227520.1994
18 | 2665571.8652 | 1227466.3104 | 2665731.7842 | 1226989.8987
19 | 2665665.9339 | 1227520.1994 | 2665673.8295 | 1227530.5319 | 2665673.8295 | 1227530.5319
20 | 2665741.4132 | 1226978.6089 | 2665731.7842 | 1226989.8987
21 | 2665680.0986 | 1227545.4664 | 2665673.8295 | 1227530.5319
22 | 2665527.0085 | 1227981.4509 | 2665520.3452 | 1227982.3559 | 2665514.4458 | 1227984.081 | 2665502.7174 | 1227988.0211 | 2665492.4812 | 1227990.6435 | 2665487.4439 | 1227991.1551 | 2665481.3283 | 1227991.1878 | 2665475.3287 | 1227990.3101 | 2665461.9502 | 1227987.2053 | 2665436.682 | 1227980.6565 | 2665426.3672 | 1227978.2775
23 | 2665741.4132 | 1226978.6089 | 2665734.5018 | 1226973.0512 | 2665730.5034 | 1226967.9481 | 2665725.0392 | 1226962.4287 | 2665718.3431 | 1226957.9629 | 2665708.5164 | 1226952.8511 | 2665700.2879 | 1226945.0775 | 2665699.5408 | 1226944.0622
24 | 2666022.9282 | 1228384.3393 | 2666016.9362 | 1228378.9247 | 2666005.6861 | 1228368.7151
25 | 2665966.0213 | 1228332.7188 | 2666005.6861 | 1228368.7151
26 | 2666022.9282 | 1228384.3393 | 2666031.0625 | 1228391.6897 | 2666031.0625 | 1228391.6897
27 | 2665966.0213 | 1228332.7188 | 2666000.1269 | 1228305.4348 | 2666005.5095 | 1228285.4036 | 2666010.6081 | 1228268.4269 | 2666027.7854 | 1228249.394 | 2666058.6966 | 1228232.1035 | 2666082.6412 | 1228218.505 | 2666106.9542 | 1228201.7641 | 2666127.3995 | 1228197.5774 | 2666143.7001 | 1228190.6541 | 2666154.8879 | 1228178.7818 | 2666162.3303 | 1228169.136 | 2666170.1037 | 1228157.6706 | 2666179.4103 | 1228143.9318 | 2666195.835 | 1228127.9262
28 | 2666031.0625 | 1228391.6897 | 2666033.6597 | 1228400.0462 | 2666034.8713 | 1228412.4011 | 2666034.8713 | 1228412.4011
29 | 2666195.835 | 1228127.9262 | 2666208.8547 | 1228113.1022
30 | 2666195.835 | 1228127.9262 | 2666190.2094 | 1228128.1861 | 2666169.4577 | 1228132.4471
31 | 2666034.8713 | 1228412.4011 | 2666031.7837 | 1228423.6408 | 2666010.2695 | 1228457.5647
32 | 2666211.6894 | 1228054.5556 | 2666221.4111 | 1228071.9855 | 2666224.3882 | 1228083.6373 | 2666218.5221 | 1228102.0952 | 2666208.8547 | 1228113.1022
33 | 2666136.8556 | 1228139.1413 | 2666169.4577 | 1228132.4471
34 | 2666201.7923 | 1228033.1863 | 2666200.643 | 1228039.0885 | 2666209.4051 | 1228050.4601 | 2666209.4281 | 1228050.5013
35 | 2666201.7923 | 1228033.1863 | 2666201.7923 | 1228033.1863 | 2666205.2328 | 1228024.2582
36 | 2666209.4281 | 1228050.5013 | 2666211.6894 | 1228054.5556
37 | 2666205.2328 | 1228024.2582 | 2666206.3464 | 1228021.3686

## bus_geodata
| x | y | coords
0 | 2666158.0057 | 1227980.5127
1 | 2666132.8103 | 1227986.2999
2 | 2666226.6379 | 1227968.7208
3 | 2666224.4374 | 1227974.4222
4 | 2666151.1625 | 1227535.3882
5 | 2666146.4452 | 1227477.8882
6 | 2666143.5994 | 1227484.7812
7 | 2666132.4828 | 1227514.1668
8 | 2666143.3346 | 1227526.4952
9 | 2665696.0954 | 1227553.8039
10 | 2665649.8671 | 1227503.0164
11 | 2665647.2028 | 1227501.2572
12 | 2665663.7633 | 1227517.3588
13 | 2665644.2471 | 1227499.3057
14 | 2665665.8153 | 1227520.0442
15 | 2665571.8652 | 1227466.3104
16 | 2665665.9339 | 1227520.1994
17 | 2665731.7842 | 1226989.8987
18 | 2665680.0986 | 1227545.4664
19 | 2665673.8295 | 1227530.5319
20 | 2665527.0085 | 1227981.4509
21 | 2665426.3672 | 1227978.2775
22 | 2665699.5408 | 1226944.0622
23 | 2665741.4132 | 1226978.6089
24 | 2666005.6861 | 1228368.7151
25 | 2666022.9282 | 1228384.3393
26 | 2665966.0213 | 1228332.7188
27 | 2666031.0625 | 1228391.6897
28 | 2666195.835 | 1228127.9262
29 | 2666034.8713 | 1228412.4011
30 | 2666208.8547 | 1228113.1022
31 | 2666169.4577 | 1228132.4471
32 | 2666010.2695 | 1228457.5647
33 | 2666201.7923 | 1228033.1863
34 | 2666209.4281 | 1228050.5013
35 | 2666205.2328 | 1228024.2582
36 | 2666211.6894 | 1228054.5556
37 | 2666206.3464 | 1228021.3686
38 | 2666136.8556 | 1228139.1413
39 | 2666226.6379 | 1227968.7208

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## res_bus
| vm_pu | va_degree | p_mw | q_mvar
0 | 0.9985 | -0.010364 | 0.017052 | 0.0042737
1 | 1 | 0 | -0.081886 | -0.020445
2 | 0.99533 | -0.032428 | 0 | 0
3 | 0.99515 | -0.033657 | 0 | 0
4 | 0.98158 | -0.12923 | 0 | 0
5 | 0.97822 | -0.15327 | 0.025171 | 0.0063084
6 | 0.97849 | -0.1513 | 0.0056179 | 0.001408
7 | 0.97993 | -0.14105 | 0 | 0
8 | 0.98084 | -0.13452 | 0.0047347 | 0.0011866
9 | 0.97522 | -0.17535 | 0.001827 | 0.00045788
10 | 0.97473 | -0.17893 | 0.00056075 | 0.00014054
11 | 0.97471 | -0.17905 | 0.0012952 | 0.0003246
12 | 0.97485 | -0.17806 | 0.0002107 | 5.2806e-05
13 | 0.9747 | -0.17913 | 0.00061131 | 0.00015321
14 | 0.97487 | -0.1779 | 0.00011331 | 2.8397e-05
15 | 0.97451 | -0.18054 | 0 | 0
16 | 0.97487 | -0.17789 | 0.00011943 | 2.9933e-05
17 | 0.97332 | -0.18926 | 0.00077024 | 0.00019304
18 | 0.97508 | -0.17636 | 0 | 0
19 | 0.97496 | -0.17727 | 0.00073164 | 0.00018337
20 | 0.97504 | -0.17679 | 0 | 0
21 | 0.975 | -0.17708 | 0.00026603 | 6.6674e-05
22 | 0.97323 | -0.18989 | 0.00084945 | 0.00021289
23 | 0.9733 | -0.1894 | 0 | 0
24 | 0.98324 | -0.1176 | 0.00053835 | 0.00013492
25 | 0.98282 | -0.12064 | 0.00064514 | 0.00016169
26 | 0.98427 | -0.11031 | 0 | 0
27 | 0.98263 | -0.122 | 0.00054093 | 0.00013557
28 | 0.99041 | -0.066932 | 0 | 0
29 | 0.98227 | -0.12451 | 0.00067846 | 0.00017004
30 | 0.99086 | -0.063741 | 0.0028584 | 0.00071637
31 | 0.9903 | -0.06766 | 0.0025295 | 0.00063395
32 | 0.98146 | -0.1303 | 0.010779 | 0.0027015
33 | 0.99334 | -0.046307 | 0.00034602 | 8.672e-05
34 | 0.99278 | -0.050284 | 0.00026598 | 6.666e-05
35 | 0.99361 | -0.044411 | 0.00018105 | 4.5375e-05
36 | 0.99265 | -0.051176 | 0.00021475 | 5.3821e-05
37 | 0.9937 | -0.043792 | 0.00018105 | 4.5375e-05
38 | 0.9903 | -0.067707 | 0.00013577 | 3.4027e-05
39 | 0.99998 | 149.9947 | 0 | 0

## res_line
| p_from_mw | q_from_mvar | p_to_mw | q_to_mvar | pl_mw | ql_mvar | i_from_ka | i_to_ka | i_ka | vm_from_pu | va_from_degree | vm_to_pu | va_to_degree | loading_percent
0 | -0.080968 | -0.020401 | 0.081086 | 0.020445 | 0.00011759 | 4.4549e-05 | 0.1207 | 0.1207 | 0.1207 | 0.9985 | -0.010364 | 1 | 0 | 22.3519
1 | 0.063916 | 0.016127 | -0.063718 | -0.016053 | 0.00019728 | 7.406e-05 | 0.095288 | 0.095289 | 0.095289 | 0.9985 | -0.010364 | 0.99533 | -0.032428 | 17.646
2 | 0.0201 | 0.0050558 | -0.020096 | -0.0050545 | 3.4442e-06 | 1.2453e-06 | 0.030056 | 0.030056 | 0.030056 | 0.99533 | -0.032428 | 0.99515 | -0.033657 | 11.1318
3 | 0.043618 | 0.010997 | -0.043034 | -0.010784 | 0.00058402 | 0.00021334 | 0.065233 | 0.065237 | 0.065237 | 0.99533 | -0.032428 | 0.98158 | -0.12923 | 12.0809
4 | 0.020096 | 0.0050545 | -0.020068 | -0.0050443 | 2.836e-05 | 1.0255e-05 | 0.030056 | 0.030056 | 0.030056 | 0.99515 | -0.033657 | 0.9937 | -0.043792 | 11.1319
5 | 0.043034 | 0.010784 | -0.043003 | -0.010772 | 3.1463e-05 | 1.1951e-05 | 0.065237 | 0.065237 | 0.065237 | 0.98158 | -0.12923 | 0.98084 | -0.13452 | 24.1618
6 | -0.025171 | -0.0063084 | 0.025178 | 0.006311 | 6.8979e-06 | 2.5584e-06 | 0.038289 | 0.038289 | 0.038289 | 0.97822 | -0.15327 | 0.97849 | -0.1513 | 14.181
7 | -0.030796 | -0.007719 | 0.030839 | 0.0077354 | 4.375e-05 | 1.6425e-05 | 0.046832 | 0.046832 | 0.046832 | 0.97849 | -0.1513 | 0.97993 | -0.14105 | 17.3452
8 | -0.038234 | -0.0095722 | 0.038268 | 0.0095853 | 3.454e-05 | 1.3078e-05 | 0.058054 | 0.058054 | 0.058054 | 0.97993 | -0.14105 | 0.98084 | -0.13452 | 21.5015
9 | 0.0073942 | 0.0018368 | -0.0073598 | -0.0018291 | 3.4441e-05 | 7.7529e-06 | 0.011222 | 0.011224 | 0.011224 | 0.97993 | -0.14105 | 0.97522 | -0.17535 | 4.1571
10 | 0.00026609 | 5.9669e-05 | -0.00026604 | -6.5387e-05 | 4.6964e-08 | -5.7186e-06 | 0.00040361 | 0.00040555 | 0.00040555 | 0.97522 | -0.17535 | 0.97504 | -0.17679 | 0.1502
11 | 0.0052667 | 0.0013115 | -0.005266 | -0.0013115 | 7.264e-07 | 5.4338e-08 | 0.0080331 | 0.0080332 | 0.0080332 | 0.97522 | -0.17535 | 0.97508 | -0.17636 | 2.9753
12 | 0.0035286 | 0.00087646 | -0.0035285 | -0.00087648 | 5.7747e-08 | -1.7584e-08 | 0.0053839 | 0.0053839 | 0.0053839 | 0.97473 | -0.17893 | 0.97471 | -0.17905 | 1.994
13 | -0.0040893 | -0.001017 | 0.0040898 | 0.0010169 | 4.8593e-07 | -6.2429e-08 | 0.0062399 | 0.0062398 | 0.0062399 | 0.97473 | -0.17893 | 0.97485 | -0.17806 | 2.3111
14 | 0.0022333 | 0.00055188 | -0.0022333 | -0.00055191 | 2.5649e-08 | -3.4281e-08 | 0.0034066 | 0.0034067 | 0.0034067 | 0.97471 | -0.17905 | 0.9747 | -0.17913 | 1.2617
15 | -0.0043005 | -0.0010697 | 0.0043006 | 0.0010697 | 9.0794e-08 | -7.2167e-09 | 0.0065614 | 0.0065614 | 0.0065614 | 0.97485 | -0.17806 | 0.97487 | -0.1779 | 2.4302
16 | 0.001622 | 0.0003987 | -0.0016217 | -0.00039958 | 3.051e-07 | -8.7845e-07 | 0.0024734 | 0.0024738 | 0.0024738 | 0.9747 | -0.17913 | 0.97451 | -0.18054 | 0.91621
17 | -0.0044139 | -0.0010981 | 0.0044139 | 0.0010981 | 5.5266e-09 | -3.0927e-10 | 0.0067344 | 0.0067344 | 0.0067344 | 0.97487 | -0.1779 | 0.97487 | -0.17789 | 2.4942
18 | 0.0016217 | 0.00039958 | -0.0016198 | -0.0004051 | 1.9207e-06 | -5.5147e-06 | 0.0024738 | 0.002476 | 0.002476 | 0.97451 | -0.18054 | 0.97332 | -0.18926 | 0.91704
19 | -0.0045333 | -0.0011281 | 0.0045337 | 0.0011281 | 3.8819e-07 | -1.2844e-08 | 0.0069167 | 0.0069166 | 0.0069167 | 0.97487 | -0.17789 | 0.97496 | -0.17727 | 2.5617
20 | 0.00084953 | 0.00021206 | -0.00084951 | -0.00021223 | 1.5594e-08 | -1.7821e-07 | 0.0012985 | 0.0012985 | 0.0012985 | 0.97332 | -0.18926 | 0.9733 | -0.1894 | 0.48093
21 | 0.005266 | 0.0013115 | -0.0052654 | -0.0013114 | 6.5222e-07 | 4.8848e-08 | 0.0080332 | 0.0080333 | 0.0080333 | 0.97508 | -0.17636 | 0.97496 | -0.17727 | 2.9753
22 | 0.00026604 | 6.5387e-05 | -0.00026603 | -6.6674e-05 | 1.0632e-08 | -1.2865e-06 | 0.00040555 | 0.00040601 | 0.00040601 | 0.97504 | -0.17679 | 0.975 | -0.17708 | 0.15037
23 | -0.00084945 | -0.00021289 | 0.00084951 | 0.00021223 | 5.7695e-08 | -6.5912e-07 | 0.0012988 | 0.0012985 | 0.0012988 | 0.97323 | -0.18989 | 0.9733 | -0.1894 | 0.48102
24 | 0.012664 | 0.0031752 | -0.012658 | -0.0031734 | 5.3332e-06 | 1.7562e-06 | 0.019165 | 0.019166 | 0.019166 | 0.98324 | -0.1176 | 0.98282 | -0.12064 | 7.0984
25 | -0.013202 | -0.0033101 | 0.013215 | 0.0033146 | 1.3343e-05 | 4.4518e-06 | 0.01998 | 0.01998 | 0.01998 | 0.98324 | -0.1176 | 0.98427 | -0.11031 | 7.4001
26 | 0.012013 | 0.0030117 | -0.012011 | -0.003011 | 2.2633e-06 | 7.3159e-07 | 0.018189 | 0.018189 | 0.018189 | 0.98282 | -0.12064 | 0.98263 | -0.122 | 6.7366
27 | -0.013215 | -0.0033146 | 0.013295 | 0.0033412 | 7.9883e-05 | 2.6623e-05 | 0.01998 | 0.019978 | 0.01998 | 0.98427 | -0.11031 | 0.99041 | -0.066932 | 7.4
28 | 0.01147 | 0.0028754 | -0.011466 | -0.0028742 | 3.9846e-06 | 1.2645e-06 | 0.01737 | 0.01737 | 0.01737 | 0.98263 | -0.122 | 0.98227 | -0.12451 | 6.4333
29 | -0.015961 | -0.0040085 | 0.015968 | 0.004011 | 7.0813e-06 | 2.4696e-06 | 0.023983 | 0.023983 | 0.023983 | 0.99041 | -0.066932 | 0.99086 | -0.063741 | 8.8826
30 | 0.0026655 | 0.00066731 | -0.0026653 | -0.00066755 | 2.6834e-07 | -2.4185e-07 | 0.0040045 | 0.0040046 | 0.0040046 | 0.99041 | -0.066932 | 0.9903 | -0.06766 | 1.4832
31 | 0.010788 | 0.0027041 | -0.010779 | -0.0027015 | 8.6369e-06 | 2.6664e-06 | 0.016342 | 0.016342 | 0.016342 | 0.98227 | -0.12451 | 0.98146 | -0.1303 | 6.0527
32 | -0.018826 | -0.0047273 | 0.018859 | 0.0047391 | 3.2927e-05 | 1.1812e-05 | 0.028275 | 0.028275 | 0.028275 | 0.99086 | -0.063741 | 0.99265 | -0.051176 | 10.4724
33 | 0.00013577 | 3.3599e-05 | -0.00013577 | -3.4027e-05 | 8.6372e-10 | -4.2788e-07 | 0.00020386 | 0.00020401 | 0.00020401 | 0.9903 | -0.06766 | 0.9903 | -0.067707 | 0.075558
34 | 0.019353 | 0.0048643 | -0.019342 | -0.0048605 | 1.0711e-05 | 3.8554e-06 | 0.028996 | 0.028996 | 0.028996 | 0.99334 | -0.046307 | 0.99278 | -0.050284 | 10.7391
35 | -0.019699 | -0.004951 | 0.019704 | 0.0049529 | 5.2007e-06 | 1.8764e-06 | 0.029514 | 0.029514 | 0.029514 | 0.99334 | -0.046307 | 0.99361 | -0.044411 | 10.9311
36 | 0.019076 | 0.0047938 | -0.019074 | -0.004793 | 2.369e-06 | 8.5112e-07 | 0.028597 | 0.028597 | 0.028597 | 0.99278 | -0.050284 | 0.99265 | -0.051176 | 10.5915
37 | -0.019885 | -0.0049983 | 0.019887 | 0.0049989 | 1.7143e-06 | 6.1921e-07 | 0.029785 | 0.029785 | 0.029785 | 0.99361 | -0.044411 | 0.9937 | -0.043792 | 11.0315

## res_trafo
| p_hv_mw | q_hv_mvar | p_lv_mw | q_lv_mvar | pl_mw | ql_mvar | i_hv_ka | i_lv_ka | vm_hv_pu | va_hv_degree | vm_lv_pu | va_lv_degree | loading_percent
0 | 2.5187e-16 | 8.8016e-16 | 0.00079998 | 7.4552e-08 | 0.00079998 | 7.4552e-08 | 2.6429e-17 | 0.0011547 | 0.99998 | 149.9947 | 1 | 0 | 0.31999

## res_ext_grid
| p_mw | q_mvar
0 | 0.081886 | 0.020445

## res_load
| p_mw | q_mvar
0 | 0.017052 | 0.0042737
1 | 0.025171 | 0.0063084
2 | 0.0056179 | 0.001408
3 | 0.0047347 | 0.0011866
4 | 0.001827 | 0.00045788
5 | 0.00056075 | 0.00014054
6 | 0.0012952 | 0.0003246
7 | 0.0002107 | 5.2806e-05
8 | 0.00061131 | 0.00015321
9 | 0.00011331 | 2.8397e-05
10 | 0.00011943 | 2.9933e-05
11 | 0.00077024 | 0.00019304
12 | 0.00073164 | 0.00018337
13 | 0.00026603 | 6.6674e-05
14 | 0.00084945 | 0.00021289
15 | 0.00053835 | 0.00013492
16 | 0.00064514 | 0.00016169
17 | 0.00054093 | 0.00013557
18 | 0.00067846 | 0.00017004
19 | 0.0028584 | 0.00071637
20 | 0.0025295 | 0.00063395
21 | 0.010779 | 0.0027015
22 | 0.00034602 | 8.672e-05
23 | 0.00026598 | 6.666e-05
24 | 0.00018105 | 4.5375e-05
25 | 0.00021475 | 5.3821e-05
26 | 0.00018105 | 4.5375e-05
27 | 0.00013577 | 3.4027e-05

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object
62 | res_bus | vm_pu | float64
63 | res_bus | va_degree | float64
64 | res_bus | p_mw | float64
65 | res_bus | q_mvar | float64
66 | res_line | p_from_mw | float64
67 | res_line | q_from_mvar | float64
68 | res_line | p_to_mw | float64
69 | res_line | q_to_mvar | float64
70 | res_line | pl_mw | float64
71 | res_line | ql_mvar | float64
72 | res_line | i_from_ka | float64
73 | res_line | i_to_ka | float64
74 | res_line | i_ka | float64
75 | res_line | vm_from_pu | float64
76 | res_line | va_from_degree | float64
77 | res_line | vm_to_pu | float64
78 | res_line | va_to_degree | float64
79 | res_line | loading_percent | float64
80 | res_trafo | p_hv_mw | float64
81 | res_trafo | q_hv_mvar | float64
82 | res_trafo | p_lv_mw | float64
83 | res_trafo | q_lv_mvar | float64
84 | res_trafo | pl_mw | float64
85 | res_trafo | ql_mvar | float64
86 | res_trafo | i_hv_ka | float64
87 | res_trafo | i_lv_ka | float64
88 | res_trafo | vm_hv_pu | float64
89 | res_trafo | va_hv_degree | float64
90 | res_trafo | vm_lv_pu | float64
91 | res_trafo | va_lv_degree | float64
92 | res_trafo | loading_percent | float64
93 | res_ext_grid | p_mw | float64
94 | res_ext_grid | q_mvar | float64
95 | res_load | p_mw | float64
96 | res_load | q_mvar | float64

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | TRUE | FALSE |  | 50 | 1