## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_1032-5_0_2_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_1032-5_0_2_node_2 | 0.4 | n |  | TRUE
2 | bus_LV_1032-5_0_2_node_7 | 0.4 | n |  | TRUE
3 | bus_LV_1032-5_0_2_node_8 | 0.4 | n |  | TRUE
4 | bus_LV_1032-5_0_2_node_4 | 0.4 | n |  | TRUE
5 | bus_LV_1032-5_0_2_node_5 | 0.4 | n |  | TRUE
6 | bus_LV_1032-5_0_2_node_30 | 0.4 | n |  | TRUE
7 | bus_LV_1032-5_0_2_node_27 | 0.4 | n |  | TRUE
8 | bus_LV_1032-5_0_2_node_26 | 0.4 | n |  | TRUE
9 | bus_LV_1032-5_0_2_node_9 | 0.4 | n |  | TRUE
10 | bus_LV_1032-5_0_2_node_10 | 0.4 | n |  | TRUE
11 | bus_LV_1032-5_0_2_node_31 | 0.4 | n |  | TRUE
12 | bus_LV_1032-5_0_2_node_11 | 0.4 | n |  | TRUE
13 | bus_LV_1032-5_0_2_node_28 | 0.4 | n |  | TRUE
14 | bus_LV_1032-5_0_2_node_12 | 0.4 | n |  | TRUE
15 | bus_LV_1032-5_0_2_node_21 | 0.4 | n |  | TRUE
16 | bus_LV_1032-5_0_2_node_19 | 0.4 | n |  | TRUE
17 | bus_LV_1032-5_0_2_node_14 | 0.4 | n |  | TRUE
18 | bus_LV_1032-5_0_2_node_22 | 0.4 | n |  | TRUE
19 | bus_LV_1032-5_0_2_node_25 | 0.4 | n |  | TRUE
20 | bus_LV_1032-5_0_2_node_29 | 0.4 | n |  | TRUE
21 | bus_LV_1032-5_0_2_node_24 | 0.4 | n |  | TRUE
22 | bus_LV_1032-5_0_2_node_23 | 0.4 | n |  | TRUE
23 | bus_LV_1032-5_0_2_node_20 | 0.4 | n |  | TRUE
24 | bus_LV_1032-5_0_2_node_18 | 0.4 | n |  | TRUE
25 | bus_LV_1032-5_0_2_node_15 | 0.4 | n |  | TRUE
26 | bus_LV_1032-5_0_2_node_16 | 0.4 | n |  | TRUE
27 | bus_LV_1032-5_0_2_node_17 | 0.4 | n |  | TRUE
28 | bus_MV_353_1_node_289 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_1032-5_0_2_load_0 | 0 | 0.035181 | 0.0088172 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_1032-5_0_2_load_7 | 2 | 0.0010677 | 0.0002676 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_1032-5_0_2_load_30 | 6 | 0.0038684 | 0.0009695 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_1032-5_0_2_load_26 | 8 | 0.019433 | 0.0048705 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_1032-5_0_2_load_31 | 11 | 0.065104 | 0.016317 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_1032-5_0_2_load_28 | 13 | 0.0052689 | 0.0013205 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_1032-5_0_2_load_21 | 15 | 0.0028207 | 0.00070693 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_1032-5_0_2_load_19 | 16 | 0.0038546 | 0.00096606 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_1032-5_0_2_load_25 | 19 | 0.0022838 | 0.00057238 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_1032-5_0_2_load_29 | 20 | 0.076244 | 0.019109 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_1032-5_0_2_load_24 | 21 | 0.0021923 | 0.00054945 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_1032-5_0_2_load_20 | 23 | 0.0027358 | 0.00068566 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_1032-5_0_2_load_18 | 24 | 0.0023556 | 0.00059038 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_1032-5_0_2_load_15 | 25 | 0.0037302 | 0.00093487 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_1032-5_0_2_load_16 | 26 | 0.0026364 | 0.00066076 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_1032-5_0_2_load_17 | 27 | 0.0022961 | 0.00057546 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 20 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_1032-5_0_2_line_0 | NAYY 4x150 SE | 0 | 1 | 0.02748 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
1 | LV_1032-5_0_2_line_1 | NAYY 4x150 SE | 1 | 2 | 0.0096354 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
2 | LV_1032-5_0_2_line_2 | NAYY 4x150 SE | 1 | 3 | 0.0557 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
3 | LV_1032-5_0_2_line_3 | NAYY 4x150 SE | 2 | 4 | 0.05062 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
4 | LV_1032-5_0_2_line_4 | NAYY 4x150 SE | 3 | 7 | 0.003824 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
5 | LV_1032-5_0_2_line_5 | NAYY 4x150 SE | 3 | 8 | 0.017262 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
6 | LV_1032-5_0_2_line_6 | NAYY 4x150 SE | 4 | 5 | 0.042944 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
7 | LV_1032-5_0_2_line_7 | NAYY 4x150 SE | 5 | 6 | 0.033809 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
8 | LV_1032-5_0_2_line_8 | NAYY 4x150 SE | 7 | 20 | 0.006282 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
9 | LV_1032-5_0_2_line_9 | NAYY 4x150 SE | 7 | 13 | 0.033374 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
10 | LV_1032-5_0_2_line_10 | NAYY 4x150 SE | 9 | 10 | 0.01473 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
11 | LV_1032-5_0_2_line_11 | NAYY 4x150 SE | 9 | 11 | 0.057176 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
12 | LV_1032-5_0_2_line_12 | NAYY 4x150 SE | 10 | 12 | 0.0093025 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
13 | LV_1032-5_0_2_line_13 | NAYY 4x150 SE | 10 | 13 | 0.052438 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
14 | LV_1032-5_0_2_line_14 | NAYY 4x150 SE | 12 | 14 | 0.03037 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
15 | LV_1032-5_0_2_line_15 | NAYY 4x150 SE | 14 | 15 | 0.0042743 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
16 | LV_1032-5_0_2_line_16 | NAYY 4x150 SE | 14 | 16 | 0.028173 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
17 | LV_1032-5_0_2_line_17 | NAYY 4x150 SE | 15 | 19 | 0.057674 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
18 | LV_1032-5_0_2_line_18 | NAYY 4x150 SE | 16 | 23 | 0.03264 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
19 | LV_1032-5_0_2_line_19 | NAYY 4x150 SE | 17 | 18 | 0.050329 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
20 | LV_1032-5_0_2_line_20 | NAYY 4x150 SE | 17 | 19 | 0.038872 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
21 | LV_1032-5_0_2_line_21 | NAYY 4x150 SE | 18 | 22 | 0.20829 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
22 | LV_1032-5_0_2_line_22 | NAYY 4x150 SE | 18 | 24 | 0.040839 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
23 | LV_1032-5_0_2_line_23 | NAYY 4x150 SE | 21 | 22 | 0.043116 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
24 | LV_1032-5_0_2_line_24 | NAYY 4x150 SE | 24 | 26 | 0.022786 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
25 | LV_1032-5_0_2_line_25 | NAYY 4x150 SE | 25 | 26 | 0.00064414 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
26 | LV_1032-5_0_2_line_26 | NAYY 4x150 SE | 25 | 27 | 0.021156 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_1032-5_0_2_trafo_29 | 0.25 MVA 20/0.4 kV | 28 | 20 | 0.25 | 20 | 0.4 | 6 | 1.44 | 0.8 | 0.32 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6 | x7 | y7 | x8 | y8 | x9 | y9 | x10 | y10 | x11 | y11 | x12 | y12
0 | 2666640.2499 | 1225918.5615 | 2666639.32 | 1225916.3163 | 2666638.1201 | 1225909.743 | 2666637.8679 | 1225905.1817 | 2666640.0245 | 1225894.0208 | 2666640.6632 | 1225891.6737
1 | 2666640.2499 | 1225918.5615 | 2666642.5792 | 1225923.1127 | 2666645.2585 | 1225926.7565
2 | 2666635.4067 | 1225898.8723 | 2666629.0648 | 1225923.6507 | 2666627.7514 | 1225929.9178 | 2666637.5677 | 1225931.9846 | 2666640.2499 | 1225918.5615
3 | 2666676.7388 | 1225964.8778 | 2666656.0668 | 1225936.4724 | 2666652.0097 | 1225935.9377 | 2666645.2585 | 1225926.7565
4 | 2666635.4067 | 1225898.8723 | 2666631.6557 | 1225898.0742
5 | 2666635.4067 | 1225898.8723 | 2666635.7475 | 1225897.553 | 2666639.8846 | 1225882.201
6 | 2666705.8975 | 1225951.6404 | 2666704.2514 | 1225966.6205 | 2666680.605 | 1225963.5091 | 2666676.7388 | 1225964.8778
7 | 2666705.8975 | 1225951.6404 | 2666706.1761 | 1225949.1085 | 2666702.2104 | 1225931.6305 | 2666703.2898 | 1225918.3351
8 | 2666625.4922 | 1225896.7711 | 2666631.6557 | 1225898.0742
9 | 2666631.6557 | 1225898.0742 | 2666626.5172 | 1225919.6418 | 2666623.2911 | 1225930.3696
10 | 2666586.1194 | 1225930.5969 | 2666585.5181 | 1225928.1108 | 2666584.3118 | 1225916.0006
11 | 2666584.3118 | 1225916.0006 | 2666585.6967 | 1225915.538 | 2666598.2134 | 1225901.202 | 2666609.9332 | 1225882.888 | 2666617.7755 | 1225870.1693
12 | 2666578.4183 | 1225933.2458 | 2666578.3126 | 1225931.8548 | 2666582.1629 | 1225931.2308 | 2666586.1194 | 1225930.5969
13 | 2666586.1194 | 1225930.5969 | 2666586.7425 | 1225933.1722 | 2666589.2416 | 1225938.1367 | 2666592.5967 | 1225941.7877 | 2666596.6321 | 1225944.2678 | 2666601.4605 | 1225945.656 | 2666606.4687 | 1225945.8789 | 2666611.7653 | 1225944.7152 | 2666615.7433 | 1225942.158 | 2666619.2894 | 1225938.9178 | 2666621.8953 | 1225935.0111 | 2666623.2911 | 1225930.3696
14 | 2666576.1951 | 1225902.9569 | 2666578.3126 | 1225931.8548 | 2666578.4183 | 1225933.2458
15 | 2666576.1951 | 1225902.9569 | 2666575.8626 | 1225898.6956
16 | 2666576.1951 | 1225902.9569 | 2666572.5194 | 1225913.0445 | 2666564.4996 | 1225928.5276
17 | 2666571.3768 | 1225841.1965 | 2666575.8626 | 1225898.6956
18 | 2666564.4996 | 1225928.5276 | 2666557.7985 | 1225941.465 | 2666545.848 | 1225955.0193
19 | 2666531.1566 | 1225839.4789 | 2666538.5653 | 1225829.0884 | 2666557.3391 | 1225807.7066 | 2666565.1704 | 1225802.9244
20 | 2666565.1704 | 1225802.9244 | 2666567.6343 | 1225812.3914 | 2666570.1953 | 1225826.0511 | 2666571.3768 | 1225841.1965
21 | 2666428.9312 | 1225940.7362 | 2666428.9646 | 1225932.9982 | 2666428.0843 | 1225931.7209 | 2666437.6381 | 1225926.0795 | 2666450.1885 | 1225904.6168 | 2666457.4637 | 1225889.8773 | 2666460.574 | 1225880.8506 | 2666462.1292 | 1225861.0663 | 2666463.8191 | 1225855.0035 | 2666481.5352 | 1225811.5621 | 2666506.3698 | 1225825.7598 | 2666509.2745 | 1225820.222 | 2666531.1566 | 1225839.4789
22 | 2666531.1566 | 1225839.4789 | 2666527.2288 | 1225844.9942 | 2666521.9654 | 1225856.0647 | 2666517.2731 | 1225877.3643
23 | 2666428.9312 | 1225940.7362 | 2666437.0018 | 1225943.6837 | 2666448.913 | 1225951.6218 | 2666463.2432 | 1225965.8722
24 | 2666512.3709 | 1225899.6167 | 2666517.2731 | 1225877.3643
25 | 2666512.2323 | 1225900.2458 | 2666512.3709 | 1225899.6167
26 | 2666507.6807 | 1225920.9063 | 2666512.2323 | 1225900.2458

## bus_geodata
| x | y | coords
0 | 2666640.6632 | 1225891.6737
1 | 2666640.2499 | 1225918.5615
2 | 2666645.2585 | 1225926.7565
3 | 2666635.4067 | 1225898.8723
4 | 2666676.7388 | 1225964.8778
5 | 2666705.8975 | 1225951.6404
6 | 2666703.2898 | 1225918.3351
7 | 2666631.6557 | 1225898.0742
8 | 2666639.8846 | 1225882.201
9 | 2666584.3118 | 1225916.0006
10 | 2666586.1194 | 1225930.5969
11 | 2666617.7755 | 1225870.1693
12 | 2666578.4183 | 1225933.2458
13 | 2666623.2911 | 1225930.3696
14 | 2666576.1951 | 1225902.9569
15 | 2666575.8626 | 1225898.6956
16 | 2666564.4996 | 1225928.5276
17 | 2666565.1704 | 1225802.9244
18 | 2666531.1566 | 1225839.4789
19 | 2666571.3768 | 1225841.1965
20 | 2666625.4922 | 1225896.7711
21 | 2666463.2432 | 1225965.8722
22 | 2666428.9312 | 1225940.7362
23 | 2666545.848 | 1225955.0193
24 | 2666517.2731 | 1225877.3643
25 | 2666512.2323 | 1225900.2458
26 | 2666512.3709 | 1225899.6167
27 | 2666507.6807 | 1225920.9063
28 | 2666631.6557 | 1225898.0742

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## res_bus
| vm_pu | va_degree | p_mw | q_mvar
0 | 0.99438 | -0.039312 | 0.035181 | 0.0088172
1 | 0.99577 | -0.029567 | 0 | 0
2 | 0.9957 | -0.030047 | 0.0010677 | 0.0002676
3 | 0.99897 | -0.0071376 | 0 | 0
4 | 0.99542 | -0.032024 | 0 | 0
5 | 0.99518 | -0.0337 | 0 | 0
6 | 0.995 | -0.035019 | 0.0038684 | 0.0009695
7 | 0.9993 | -0.00486 | 0 | 0
8 | 0.99849 | -0.010494 | 0.019433 | 0.0048705
9 | 0.98644 | -0.09461 | 0 | 0
10 | 0.98783 | -0.084787 | 0 | 0
11 | 0.98103 | -0.133 | 0.065104 | 0.016317
12 | 0.9875 | -0.087162 | 0 | 0
13 | 0.99468 | -0.036811 | 0.0052689 | 0.0013205
14 | 0.9864 | -0.094929 | 0 | 0
15 | 0.98629 | -0.095734 | 0.0028207 | 0.00070693
16 | 0.98613 | -0.096835 | 0.0038546 | 0.00096606
17 | 0.98425 | -0.11024 | 0 | 0
18 | 0.98328 | -0.11712 | 0 | 0
19 | 0.98499 | -0.10494 | 0.0022838 | 0.00057238
20 | 1 | 0 | -0.15751 | -0.039515
21 | 0.98248 | -0.12284 | 0.0021923 | 0.00054945
22 | 0.98262 | -0.12186 | 0 | 0
23 | 0.986 | -0.097753 | 0.0027358 | 0.00068566
24 | 0.98263 | -0.12177 | 0.0023556 | 0.00059038
25 | 0.98234 | -0.12385 | 0.0037302 | 0.00093487
26 | 0.98234 | -0.12381 | 0.0026364 | 0.00066076
27 | 0.98227 | -0.12435 | 0.0022961 | 0.00057546
28 | 0.99998 | 149.9947 | 0 | 0

## res_line
| p_from_mw | q_from_mvar | p_to_mw | q_to_mvar | pl_mw | ql_mvar | i_from_ka | i_to_ka | i_ka | vm_from_pu | va_from_degree | vm_to_pu | va_to_degree | loading_percent
0 | -0.035181 | -0.0088172 | 0.035229 | 0.0088351 | 4.7526e-05 | 1.7922e-05 | 0.052646 | 0.052646 | 0.052646 | 0.99438 | -0.039312 | 0.99577 | -0.029567 | 19.4984
1 | 0.0049391 | 0.0012365 | -0.0049388 | -0.0012365 | 3.2749e-07 | 6.2242e-10 | 0.0073802 | 0.0073802 | 0.0073802 | 0.99577 | -0.029567 | 0.9957 | -0.030047 | 2.7334
2 | -0.040168 | -0.010072 | 0.040293 | 0.010119 | 0.00012523 | 4.7439e-05 | 0.060026 | 0.060025 | 0.060026 | 0.99577 | -0.029567 | 0.99897 | -0.0071376 | 22.2318
3 | 0.003871 | 0.00096887 | -0.00387 | -0.00096912 | 1.057e-06 | -2.5168e-07 | 0.0057846 | 0.0057848 | 0.0057848 | 0.9957 | -0.030047 | 0.99542 | -0.032024 | 2.1425
4 | -0.059735 | -0.014993 | 0.059754 | 0.015 | 1.8895e-05 | 7.2173e-06 | 0.088986 | 0.088986 | 0.088986 | 0.99897 | -0.0071376 | 0.9993 | -0.00486 | 32.9579
5 | 0.019442 | 0.0048737 | -0.019433 | -0.0048705 | 9.0345e-06 | 3.2489e-06 | 0.028961 | 0.028961 | 0.028961 | 0.99897 | -0.0071376 | 0.99849 | -0.010494 | 10.7263
6 | 0.00387 | 0.00096912 | -0.0038691 | -0.00096934 | 8.9676e-07 | -2.132e-07 | 0.0057848 | 0.005785 | 0.005785 | 0.99542 | -0.032024 | 0.99518 | -0.0337 | 2.1426
7 | 0.0038691 | 0.00096934 | -0.0038684 | -0.0009695 | 7.0604e-07 | -1.6765e-07 | 0.005785 | 0.0057851 | 0.0057851 | 0.99518 | -0.0337 | 0.995 | -0.035019 | 2.1426
8 | -0.15661 | -0.039474 | 0.15671 | 0.039515 | 0.00010666 | 4.0857e-05 | 0.23327 | 0.23327 | 0.23327 | 0.9993 | -0.00486 | 1 | 0 | 43.199
9 | 0.096851 | 0.024474 | -0.096418 | -0.024308 | 0.00043356 | 0.00016632 | 0.14429 | 0.14429 | 0.14429 | 0.9993 | -0.00486 | 0.99468 | -0.036811 | 53.4402
10 | -0.065452 | -0.01645 | 0.065542 | 0.016484 | 8.9629e-05 | 3.4285e-05 | 0.098749 | 0.098749 | 0.098749 | 0.98644 | -0.09461 | 0.98783 | -0.084787 | 36.5736
11 | 0.065452 | 0.01645 | -0.065104 | -0.016317 | 0.00034791 | 0.00013309 | 0.098749 | 0.098749 | 0.098749 | 0.98644 | -0.09461 | 0.98103 | -0.133 | 36.5737
12 | 0.024998 | 0.0062702 | -0.02499 | -0.0062671 | 8.2319e-06 | 3.0471e-06 | 0.037658 | 0.037658 | 0.037658 | 0.98783 | -0.084787 | 0.9875 | -0.087162 | 13.9474
13 | -0.09054 | -0.022754 | 0.091149 | 0.022988 | 0.00060884 | 0.00023349 | 0.13641 | 0.13641 | 0.13641 | 0.98783 | -0.084787 | 0.99468 | -0.036811 | 50.521
14 | 0.02499 | 0.0062671 | -0.024963 | -0.0062572 | 2.6875e-05 | 9.9485e-06 | 0.037658 | 0.037658 | 0.037658 | 0.9875 | -0.087162 | 0.9864 | -0.094929 | 13.9475
15 | 0.018371 | 0.0046054 | -0.018369 | -0.0046047 | 2.0485e-06 | 7.3331e-07 | 0.027713 | 0.027713 | 0.027713 | 0.9864 | -0.094929 | 0.98629 | -0.095734 | 10.2642
16 | 0.0065925 | 0.0016517 | -0.0065908 | -0.0016514 | 1.7387e-06 | 3.092e-07 | 0.0099448 | 0.009945 | 0.009945 | 0.9864 | -0.094929 | 0.98613 | -0.096835 | 3.6833
17 | 0.015548 | 0.0038978 | -0.015528 | -0.0038909 | 1.9804e-05 | 6.8817e-06 | 0.023458 | 0.023458 | 0.023458 | 0.98629 | -0.095734 | 0.98499 | -0.10494 | 8.6882
18 | 0.0027362 | 0.00068538 | -0.0027358 | -0.00068566 | 3.4718e-07 | -2.8284e-07 | 0.0041286 | 0.0041287 | 0.0041287 | 0.98613 | -0.096835 | 0.986 | -0.097753 | 1.5292
19 | 0.013235 | 0.0033153 | -0.013222 | -0.0033111 | 1.2572e-05 | 4.1965e-06 | 0.020008 | 0.020008 | 0.020008 | 0.98425 | -0.11024 | 0.98328 | -0.11712 | 7.4105
20 | -0.013235 | -0.0033153 | 0.013244 | 0.0033185 | 9.7101e-06 | 3.2403e-06 | 0.020008 | 0.020008 | 0.020008 | 0.98425 | -0.11024 | 0.98499 | -0.10494 | 7.4104
21 | 0.002194 | 0.00054692 | -0.0021926 | -0.00054901 | 1.4324e-06 | -2.0894e-06 | 0.0033192 | 0.0033202 | 0.0033202 | 0.98328 | -0.11712 | 0.98262 | -0.12186 | 1.2297
22 | 0.011028 | 0.0027641 | -0.011021 | -0.0027619 | 7.098e-06 | 2.2123e-06 | 0.016689 | 0.016689 | 0.016689 | 0.98328 | -0.11712 | 0.98263 | -0.12177 | 6.1812
23 | -0.0021923 | -0.00054945 | 0.0021926 | 0.00054901 | 2.9659e-07 | -4.32e-07 | 0.0033204 | 0.0033202 | 0.0033204 | 0.98248 | -0.12284 | 0.98262 | -0.12186 | 1.2298
24 | 0.0086654 | 0.0021715 | -0.0086629 | -0.0021709 | 2.4483e-06 | 6.5309e-07 | 0.013122 | 0.013122 | 0.013122 | 0.98263 | -0.12177 | 0.98234 | -0.12381 | 4.8601
25 | -0.0060265 | -0.0015101 | 0.0060265 | 0.0015101 | 3.3495e-08 | 4.7277e-09 | 0.0091286 | 0.0091286 | 0.0091286 | 0.98234 | -0.12385 | 0.98234 | -0.12381 | 3.381
26 | 0.0022963 | 0.00057526 | -0.0022961 | -0.00057546 | 1.5972e-07 | -2.0638e-07 | 0.0034783 | 0.0034784 | 0.0034784 | 0.98234 | -0.12385 | 0.98227 | -0.12435 | 1.2883

## res_trafo
| p_hv_mw | q_hv_mvar | p_lv_mw | q_lv_mvar | pl_mw | ql_mvar | i_hv_ka | i_lv_ka | vm_hv_pu | va_hv_degree | vm_lv_pu | va_lv_degree | loading_percent
0 | 2.5187e-16 | 8.8016e-16 | 0.00079998 | 7.4552e-08 | 0.00079998 | 7.4552e-08 | 2.6429e-17 | 0.0011547 | 0.99998 | 149.9947 | 1 | 0 | 0.31999

## res_ext_grid
| p_mw | q_mvar
0 | 0.23376 | 0.058624

## res_load
| p_mw | q_mvar
0 | 0.035181 | 0.0088172
1 | 0.0010677 | 0.0002676
2 | 0.0038684 | 0.0009695
3 | 0.019433 | 0.0048705
4 | 0.065104 | 0.016317
5 | 0.0052689 | 0.0013205
6 | 0.0028207 | 0.00070693
7 | 0.0038546 | 0.00096606
8 | 0.0022838 | 0.00057238
9 | 0.076244 | 0.019109
10 | 0.0021923 | 0.00054945
11 | 0.0027358 | 0.00068566
12 | 0.0023556 | 0.00059038
13 | 0.0037302 | 0.00093487
14 | 0.0026364 | 0.00066076
15 | 0.0022961 | 0.00057546

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object
62 | res_bus | vm_pu | float64
63 | res_bus | va_degree | float64
64 | res_bus | p_mw | float64
65 | res_bus | q_mvar | float64
66 | res_line | p_from_mw | float64
67 | res_line | q_from_mvar | float64
68 | res_line | p_to_mw | float64
69 | res_line | q_to_mvar | float64
70 | res_line | pl_mw | float64
71 | res_line | ql_mvar | float64
72 | res_line | i_from_ka | float64
73 | res_line | i_to_ka | float64
74 | res_line | i_ka | float64
75 | res_line | vm_from_pu | float64
76 | res_line | va_from_degree | float64
77 | res_line | vm_to_pu | float64
78 | res_line | va_to_degree | float64
79 | res_line | loading_percent | float64
80 | res_trafo | p_hv_mw | float64
81 | res_trafo | q_hv_mvar | float64
82 | res_trafo | p_lv_mw | float64
83 | res_trafo | q_lv_mvar | float64
84 | res_trafo | pl_mw | float64
85 | res_trafo | ql_mvar | float64
86 | res_trafo | i_hv_ka | float64
87 | res_trafo | i_lv_ka | float64
88 | res_trafo | vm_hv_pu | float64
89 | res_trafo | va_hv_degree | float64
90 | res_trafo | vm_lv_pu | float64
91 | res_trafo | va_lv_degree | float64
92 | res_trafo | loading_percent | float64
93 | res_ext_grid | p_mw | float64
94 | res_ext_grid | q_mvar | float64
95 | res_load | p_mw | float64
96 | res_load | q_mvar | float64

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | TRUE | FALSE |  | 50 | 1