## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_1032-8_1_2_node_141 | 0.4 | n |  | TRUE
1 | bus_LV_1032-8_1_2_node_92 | 0.4 | n |  | TRUE
2 | bus_LV_1032-8_1_2_node_151 | 0.4 | n |  | TRUE
3 | bus_LV_1032-8_1_2_node_152 | 0.4 | n |  | TRUE
4 | bus_LV_1032-8_1_2_node_153 | 0.4 | n |  | TRUE
5 | bus_LV_1032-8_1_2_node_70 | 0.4 | n |  | TRUE
6 | bus_LV_1032-8_1_2_node_160 | 0.4 | n |  | TRUE
7 | bus_LV_1032-8_1_2_node_87 | 0.4 | n |  | TRUE
8 | bus_LV_1032-8_1_2_node_56 | 0.4 | n |  | TRUE
9 | bus_LV_1032-8_1_2_node_57 | 0.4 | n |  | TRUE
10 | bus_LV_1032-8_1_2_node_58 | 0.4 | n |  | TRUE
11 | bus_LV_1032-8_1_2_node_59 | 0.4 | n |  | TRUE
12 | bus_LV_1032-8_1_2_node_60 | 0.4 | n |  | TRUE
13 | bus_LV_1032-8_1_2_node_61 | 0.4 | n |  | TRUE
14 | bus_LV_1032-8_1_2_node_62 | 0.4 | n |  | TRUE
15 | bus_LV_1032-8_1_2_node_63 | 0.4 | n |  | TRUE
16 | bus_LV_1032-8_1_2_node_64 | 0.4 | n |  | TRUE
17 | bus_LV_1032-8_1_2_node_65 | 0.4 | n |  | TRUE
18 | bus_LV_1032-8_1_2_node_66 | 0.4 | n |  | TRUE
19 | bus_LV_1032-8_1_2_node_90 | 0.4 | n |  | TRUE
20 | bus_LV_1032-8_1_2_node_69 | 0.4 | n |  | TRUE
21 | bus_LV_1032-8_1_2_node_71 | 0.4 | n |  | TRUE
22 | bus_LV_1032-8_1_2_node_72 | 0.4 | n |  | TRUE
23 | bus_LV_1032-8_1_2_node_73 | 0.4 | n |  | TRUE
24 | bus_LV_1032-8_1_2_node_74 | 0.4 | n |  | TRUE
25 | bus_LV_1032-8_1_2_node_76 | 0.4 | n |  | TRUE
26 | bus_LV_1032-8_1_2_node_75 | 0.4 | n |  | TRUE
27 | bus_LV_1032-8_1_2_node_77 | 0.4 | n |  | TRUE
28 | bus_LV_1032-8_1_2_node_78 | 0.4 | n |  | TRUE
29 | bus_LV_1032-8_1_2_node_79 | 0.4 | n |  | TRUE
30 | bus_LV_1032-8_1_2_node_82 | 0.4 | n |  | TRUE
31 | bus_LV_1032-8_1_2_node_84 | 0.4 | n |  | TRUE
32 | bus_LV_1032-8_1_2_node_80 | 0.4 | n |  | TRUE
33 | bus_LV_1032-8_1_2_node_81 | 0.4 | n |  | TRUE
34 | bus_LV_1032-8_1_2_node_83 | 0.4 | n |  | TRUE
35 | bus_LV_1032-8_1_2_node_85 | 0.4 | n |  | TRUE
36 | bus_LV_1032-8_1_2_node_86 | 0.4 | n |  | TRUE
37 | bus_LV_1032-8_1_2_node_93 | 0.4 | n |  | TRUE
38 | bus_LV_1032-8_1_2_node_88 | 0.4 | n |  | TRUE
39 | bus_LV_1032-8_1_2_node_89 | 0.4 | n |  | TRUE
40 | bus_LV_1032-8_1_2_node_94 | 0.4 | n |  | TRUE
41 | bus_LV_1032-8_1_2_node_91 | 0.4 | n |  | TRUE
42 | bus_MV_0_node_60 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_1032-8_1_2_load_141 | 0 | 0.00046213 | 0.00011582 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_1032-8_1_2_load_92 | 1 | 0.00027705 | 6.9437e-05 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_1032-8_1_2_load_151 | 2 | 0.00085986 | 0.0002155 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_1032-8_1_2_load_152 | 3 | 0.0014907 | 0.0003736 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_1032-8_1_2_load_70 | 5 | 0.0018144 | 0.00045473 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_1032-8_1_2_load_160 | 6 | 0.0006057 | 0.0001518 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_1032-8_1_2_load_56 | 8 | 0.0046387 | 0.0011626 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_1032-8_1_2_load_57 | 9 | 0.0031608 | 0.00079217 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_1032-8_1_2_load_60 | 12 | 0.0054012 | 0.0013537 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_1032-8_1_2_load_61 | 13 | 0.0036673 | 0.0009191 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_1032-8_1_2_load_62 | 14 | 0.0010177 | 0.00025506 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_1032-8_1_2_load_63 | 15 | 0.0017497 | 0.00043853 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_1032-8_1_2_load_64 | 16 | 0.0016761 | 0.00042008 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_1032-8_1_2_load_65 | 17 | 0.0013094 | 0.00032816 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_1032-8_1_2_load_66 | 18 | 0.0013689 | 0.00034307 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_1032-8_1_2_load_90 | 19 | 0.0013507 | 0.00033852 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_1032-8_1_2_load_69 | 20 | 0.0016096 | 0.00040339 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_1032-8_1_2_load_71 | 21 | 0.001295 | 0.00032456 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_1032-8_1_2_load_72 | 22 | 0.00062408 | 0.00015641 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_1032-8_1_2_load_73 | 23 | 0.0010506 | 0.00026329 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_1032-8_1_2_load_74 | 24 | 0.00105 | 0.00026315 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_1032-8_1_2_load_76 | 25 | 0.0023749 | 0.0005952 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_1032-8_1_2_load_75 | 26 | 0.0033477 | 0.00083902 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_1032-8_1_2_load_77 | 27 | 0.00098279 | 0.00024631 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_1032-8_1_2_load_78 | 28 | 0.00058324 | 0.00014617 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_1032-8_1_2_load_80 | 32 | 0.00038418 | 9.6285e-05 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_1032-8_1_2_load_81 | 33 | 0.00099863 | 0.00025028 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_1032-8_1_2_load_93 | 37 | 0.010213 | 0.0025596 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_1032-8_1_2_load_88 | 38 | 0.00032175 | 8.0639e-05 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_1032-8_1_2_load_91 | 41 | 0.0022201 | 0.00055641 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 12 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_1032-8_1_2_line_0 | NAYY 4x150 SE | 0 | 1 | 0.060061 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
1 | LV_1032-8_1_2_line_1 | NAYY 4x150 SE | 1 | 36 | 0.026663 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
2 | LV_1032-8_1_2_line_2 | NAYY 4x150 SE | 2 | 3 | 0.0040799 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
3 | LV_1032-8_1_2_line_3 | NAYY 4x150 SE | 2 | 4 | 0.013834 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
4 | LV_1032-8_1_2_line_4 | NAYY 4x150 SE | 4 | 5 | 0.37406 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
5 | LV_1032-8_1_2_line_5 | NAYY 4x150 SE | 5 | 21 | 0.15291 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
6 | LV_1032-8_1_2_line_6 | NAYY 4x150 SE | 6 | 7 | 0.010727 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
7 | LV_1032-8_1_2_line_7 | NAYY 4x150 SE | 7 | 36 | 0.064184 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
8 | LV_1032-8_1_2_line_8 | NAYY 4x150 SE | 8 | 9 | 0.032613 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
9 | LV_1032-8_1_2_line_9 | NAYY 4x150 SE | 8 | 10 | 0.02446 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
10 | LV_1032-8_1_2_line_10 | NAYY 4x150 SE | 9 | 11 | 0.019912 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
11 | LV_1032-8_1_2_line_11 | NAYY 4x150 SE | 10 | 12 | 0.049463 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
12 | LV_1032-8_1_2_line_12 | NAYY 4x150 SE | 10 | 13 | 0.035187 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
13 | LV_1032-8_1_2_line_13 | NAYY 4x150 SE | 11 | 14 | 0.041669 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
14 | LV_1032-8_1_2_line_14 | NAYY 4x150 SE | 11 | 15 | 0.032311 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
15 | LV_1032-8_1_2_line_15 | NAYY 4x150 SE | 13 | 16 | 0.018874 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
16 | LV_1032-8_1_2_line_16 | NAYY 4x150 SE | 14 | 17 | 0.022801 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
17 | LV_1032-8_1_2_line_17 | NAYY 4x150 SE | 15 | 18 | 0.031356 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
18 | LV_1032-8_1_2_line_18 | NAYY 4x150 SE | 16 | 19 | 0.01371 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
19 | LV_1032-8_1_2_line_19 | NAYY 4x150 SE | 18 | 20 | 0.018866 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
20 | LV_1032-8_1_2_line_20 | NAYY 4x150 SE | 19 | 41 | 0.03926 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
21 | LV_1032-8_1_2_line_21 | NAYY 4x150 SE | 21 | 22 | 0.0059526 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
22 | LV_1032-8_1_2_line_22 | NAYY 4x150 SE | 22 | 23 | 0.0065313 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
23 | LV_1032-8_1_2_line_23 | NAYY 4x150 SE | 23 | 24 | 0.008195 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
24 | LV_1032-8_1_2_line_24 | NAYY 4x150 SE | 24 | 25 | 0.037817 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
25 | LV_1032-8_1_2_line_25 | NAYY 4x150 SE | 25 | 26 | 0.0027003 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
26 | LV_1032-8_1_2_line_26 | NAYY 4x150 SE | 26 | 27 | 0.0080612 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
27 | LV_1032-8_1_2_line_27 | NAYY 4x150 SE | 27 | 28 | 0.0018936 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
28 | LV_1032-8_1_2_line_28 | NAYY 4x150 SE | 28 | 29 | 0.087653 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
29 | LV_1032-8_1_2_line_29 | NAYY 4x150 SE | 29 | 30 | 0.0089512 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
30 | LV_1032-8_1_2_line_30 | NAYY 4x150 SE | 29 | 31 | 0.029822 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
31 | LV_1032-8_1_2_line_31 | NAYY 4x150 SE | 30 | 35 | 0.017818 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
32 | LV_1032-8_1_2_line_32 | NAYY 4x150 SE | 30 | 32 | 0.014846 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
33 | LV_1032-8_1_2_line_33 | NAYY 4x150 SE | 31 | 37 | 0.016897 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
34 | LV_1032-8_1_2_line_34 | NAYY 4x150 SE | 32 | 33 | 0.0458 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
35 | LV_1032-8_1_2_line_35 | NAYY 4x150 SE | 33 | 34 | 0.02684 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
36 | LV_1032-8_1_2_line_36 | NAYY 4x150 SE | 34 | 36 | 0.003847 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
37 | LV_1032-8_1_2_line_37 | NAYY 4x150 SE | 35 | 38 | 0.23771 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
38 | LV_1032-8_1_2_line_38 | NAYY 4x150 SE | 38 | 39 | 0.14266 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
39 | LV_1032-8_1_2_line_39 | NAYY 4x150 SE | 39 | 40 | 0.14901 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
40 | LV_1032-8_1_2_line_40 | NAYY 4x150 SE | 40 | 41 | 0.21934 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_1032-8_1_2_trafo_60 | 0.25 MVA 20/0.4 kV | 42 | 12 | 0.25 | 20 | 0.4 | 6 | 1.44 | 0.8 | 0.32 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6 | x7 | y7 | x8 | y8 | x9 | y9
0 | 2665385.3568 | 1228030.8314 | 2665384.3002 | 1228027.1888 | 2665378.1681 | 1228006.6636 | 2665372.319 | 1227989.3437 | 2665365.4226 | 1227974.282
1 | 2665355.4865 | 1227949.544 | 2665363.9789 | 1227971.1291 | 2665365.4226 | 1227974.282
2 | 2664813.7843 | 1227953.8317 | 2664813.6057 | 1227957.9077
3 | 2664814.2965 | 1227940.008 | 2664814.0638 | 1227947.4547 | 2664813.7843 | 1227953.8317
4 | 2665070.868 | 1227667.8121 | 2664814.2965 | 1227940.008
5 | 2665070.868 | 1227667.8121 | 2665079.5469 | 1227676.6318 | 2665091.0333 | 1227689.2879 | 2665103.16 | 1227704.3748 | 2665123.827 | 1227729.8619 | 2665138.7694 | 1227748.0038 | 2665149.3127 | 1227759.5712 | 2665156.9323 | 1227767.5376 | 2665171.2501 | 1227780.4249 | 2665172.611 | 1227781.6497
6 | 2665414.685 | 1227974.3217 | 2665413.9308 | 1227985.0203
7 | 2665355.4865 | 1227949.544 | 2665397.1361 | 1227967.3131 | 2665407.6583 | 1227971.7539 | 2665414.685 | 1227974.3217
8 | 2665102.2321 | 1227697.9863 | 2665081.0767 | 1227673.1665
9 | 2665118.0991 | 1227716.6017 | 2665102.2321 | 1227697.9863
10 | 2665067.5127 | 1227658.6219 | 2665073.9996 | 1227664.8636 | 2665081.0767 | 1227673.1665
11 | 2665118.0991 | 1227716.6017 | 2665142.7133 | 1227747.013 | 2665149.777 | 1227754.5631
12 | 2665118.0991 | 1227716.6017 | 2665136.0698 | 1227699.0425 | 2665143.0543 | 1227691.8002
13 | 2665067.5127 | 1227658.6219 | 2665037.4658 | 1227629.7511
14 | 2665067.5127 | 1227658.6219 | 2665083.3789 | 1227642.2403 | 2665084.5952 | 1227637.7396 | 2665081.9058 | 1227633.7112
15 | 2665143.0543 | 1227691.8002 | 2665156.156 | 1227678.2149
16 | 2665021.0245 | 1227613.9534 | 2665037.4658 | 1227629.7511
17 | 2665063.9441 | 1227608.0226 | 2665071.3607 | 1227617.9154 | 2665081.9058 | 1227633.7112
18 | 2665165.673 | 1227668.3467 | 2665156.156 | 1227678.2149
19 | 2665052.6276 | 1227592.9277 | 2665063.9441 | 1227608.0226
20 | 2665174.0096 | 1227630.2577 | 2665170.4077 | 1227639.4576 | 2665167.7765 | 1227651.3587 | 2665167.2926 | 1227661.6267 | 2665165.673 | 1227668.3467 | 2665165.673 | 1227668.3467
21 | 2665177.0355 | 1227785.6319 | 2665172.611 | 1227781.6497
22 | 2665177.0355 | 1227785.6319 | 2665181.8901 | 1227790.0012
23 | 2665181.8901 | 1227790.0012 | 2665187.9813 | 1227795.4834
24 | 2665216.3894 | 1227820.4421 | 2665201.6264 | 1227807.7643 | 2665187.9813 | 1227795.4834
25 | 2665218.438 | 1227822.2013 | 2665216.3894 | 1227820.4421
26 | 2665224.7688 | 1227827.1892 | 2665219.5014 | 1227823.1146 | 2665218.438 | 1227822.2013
27 | 2665224.7688 | 1227827.1892 | 2665226.2666 | 1227828.3479
28 | 2665286.353 | 1227887.4782 | 2665286.5262 | 1227884.8117 | 2665286.0902 | 1227881.0378 | 2665285.1542 | 1227877.2585 | 2665282.8074 | 1227872.2072 | 2665281.4793 | 1227870.3136 | 2665276.2972 | 1227865.3647 | 2665266.2454 | 1227858.083 | 2665235.8449 | 1227835.7574 | 2665226.2666 | 1227828.3479
29 | 2665286.353 | 1227887.4782 | 2665291.4295 | 1227888.9238 | 2665294.965 | 1227889.9188
30 | 2665286.353 | 1227887.4782 | 2665286.2806 | 1227888.5448 | 2665285.5715 | 1227891.7057 | 2665282.6476 | 1227899.1896 | 2665274.6791 | 1227914.7568
31 | 2665297.7595 | 1227876.2739 | 2665291.4295 | 1227888.9238 | 2665294.965 | 1227889.9188
32 | 2665294.965 | 1227889.9188 | 2665294.1401 | 1227892.5781 | 2665293.982 | 1227894.5554 | 2665294.194 | 1227896.648 | 2665294.5846 | 1227898.3423 | 2665296.1736 | 1227901.3172 | 2665297.8193 | 1227903.6607
33 | 2665274.6791 | 1227914.7568 | 2665270.0017 | 1227912.8487 | 2665265.8131 | 1227912.6693 | 2665258.2124 | 1227913.5657
34 | 2665297.8193 | 1227903.6607 | 2665298.7701 | 1227905.0148 | 2665304.9863 | 1227911.0202 | 2665321.7997 | 1227924.3022 | 2665333.2564 | 1227932.48
35 | 2665356.4897 | 1227945.8304 | 2665350.1113 | 1227942.8696 | 2665335.6421 | 1227934.1828 | 2665333.2564 | 1227932.48
36 | 2665355.4865 | 1227949.544 | 2665356.4897 | 1227945.8304
37 | 2665297.7595 | 1227876.2739 | 2665418.8346 | 1227671.708
38 | 2665509.4235 | 1227561.4957 | 2665418.8346 | 1227671.708
39 | 2665509.4235 | 1227561.4957 | 2665503.5145 | 1227558.5509 | 2665482.4142 | 1227552.5482 | 2665441.8662 | 1227542.5512 | 2665377.9241 | 1227526.3046 | 2665365.2456 | 1227522.8409
40 | 2665174.0096 | 1227630.2577 | 2665365.2456 | 1227522.8409

## bus_geodata
| x | y | coords
0 | 2665385.3568 | 1228030.8314
1 | 2665365.4226 | 1227974.282
2 | 2664813.7843 | 1227953.8317
3 | 2664813.6057 | 1227957.9077
4 | 2664814.2965 | 1227940.008
5 | 2665070.868 | 1227667.8121
6 | 2665413.9308 | 1227985.0203
7 | 2665414.685 | 1227974.3217
8 | 2665102.2321 | 1227697.9863
9 | 2665081.0767 | 1227673.1665
10 | 2665118.0991 | 1227716.6017
11 | 2665067.5127 | 1227658.6219
12 | 2665149.777 | 1227754.5631
13 | 2665143.0543 | 1227691.8002
14 | 2665037.4658 | 1227629.7511
15 | 2665081.9058 | 1227633.7112
16 | 2665156.156 | 1227678.2149
17 | 2665021.0245 | 1227613.9534
18 | 2665063.9441 | 1227608.0226
19 | 2665165.673 | 1227668.3467
20 | 2665052.6276 | 1227592.9277
21 | 2665172.611 | 1227781.6497
22 | 2665177.0355 | 1227785.6319
23 | 2665181.8901 | 1227790.0012
24 | 2665187.9813 | 1227795.4834
25 | 2665216.3894 | 1227820.4421
26 | 2665218.438 | 1227822.2013
27 | 2665224.7688 | 1227827.1892
28 | 2665226.2666 | 1227828.3479
29 | 2665286.353 | 1227887.4782
30 | 2665294.965 | 1227889.9188
31 | 2665274.6791 | 1227914.7568
32 | 2665297.8193 | 1227903.6607
33 | 2665333.2564 | 1227932.48
34 | 2665356.4897 | 1227945.8304
35 | 2665297.7595 | 1227876.2739
36 | 2665355.4865 | 1227949.5441
37 | 2665258.2124 | 1227913.5657
38 | 2665418.8346 | 1227671.708
39 | 2665509.4235 | 1227561.4957
40 | 2665365.2456 | 1227522.8409
41 | 2665174.0096 | 1227630.2577
42 | 2665149.777 | 1227754.5631

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## res_bus
| vm_pu | va_degree | p_mw | q_mvar
0 | 0.97877 | -0.14948 | 0.00046213 | 0.00011582
1 | 0.97881 | -0.14919 | 0.00027705 | 6.9437e-05
2 | 0.97364 | -0.18643 | 0.00085986 | 0.0002155
3 | 0.97363 | -0.1865 | 0.0014907 | 0.0003736
4 | 0.97369 | -0.18609 | 0 | 0
5 | 0.97497 | -0.17677 | 0.0018144 | 0.00045473
6 | 0.97877 | -0.14945 | 0.0006057 | 0.0001518
7 | 0.97878 | -0.14939 | 0 | 0
8 | 0.9976 | -0.016702 | 0.0046387 | 0.0011626
9 | 0.99713 | -0.020051 | 0.0031608 | 0.00079217
10 | 0.99812 | -0.013055 | 0 | 0
11 | 0.99693 | -0.021464 | 0 | 0
12 | 1 | 0 | -0.054033 | -0.0134
13 | 0.99716 | -0.019742 | 0.0036673 | 0.0009191
14 | 0.99679 | -0.02244 | 0.0010177 | 0.00025506
15 | 0.99671 | -0.023001 | 0.0017497 | 0.00043853
16 | 0.99669 | -0.022986 | 0.0016761 | 0.00042008
17 | 0.99674 | -0.02274 | 0.0013094 | 0.00032816
18 | 0.99657 | -0.02394 | 0.0013689 | 0.00034307
19 | 0.99637 | -0.025229 | 0.0013507 | 0.00033852
20 | 0.99653 | -0.024245 | 0.0016096 | 0.00040339
21 | 0.97591 | -0.17002 | 0.001295 | 0.00032456
22 | 0.97595 | -0.16968 | 0.00062408 | 0.00015641
23 | 0.97601 | -0.16926 | 0.0010506 | 0.00026329
24 | 0.9761 | -0.16864 | 0.00105 | 0.00026315
25 | 0.97655 | -0.16538 | 0.0023749 | 0.0005952
26 | 0.97659 | -0.16508 | 0.0033477 | 0.00083902
27 | 0.97675 | -0.1639 | 0.00098279 | 0.00024631
28 | 0.9768 | -0.16361 | 0.00058324 | 0.00014617
29 | 0.97878 | -0.14939 | 0 | 0
30 | 0.97911 | -0.14699 | 0 | 0
31 | 0.97833 | -0.15257 | 0 | 0
32 | 0.97905 | -0.14742 | 0.00038418 | 9.6285e-05
33 | 0.9789 | -0.14854 | 0.00099863 | 0.00025028
34 | 0.97884 | -0.14893 | 0 | 0
35 | 0.97985 | -0.14171 | 0 | 0
36 | 0.97884 | -0.14898 | 0 | 0
37 | 0.97808 | -0.15437 | 0.010213 | 0.0025596
38 | 0.98478 | -0.10663 | 0.00032175 | 8.0639e-05
39 | 0.98777 | -0.085488 | 0 | 0
40 | 0.99089 | -0.063518 | 0 | 0
41 | 0.99549 | -0.031392 | 0.0022201 | 0.00055641
42 | 0.99998 | 149.9947 | 0 | 0

## res_line
| p_from_mw | q_from_mvar | p_to_mw | q_to_mvar | pl_mw | ql_mvar | i_from_ka | i_to_ka | i_ka | vm_from_pu | va_from_degree | vm_to_pu | va_to_degree | loading_percent
0 | -0.00046213 | -0.00011582 | 0.00046215 | 0.00011507 | 1.8492e-08 | -7.4777e-07 | 0.00070257 | 0.0007023 | 0.00070257 | 0.97877 | -0.14948 | 0.97881 | -0.14919 | 0.26021
1 | -0.0007392 | -0.00018451 | 0.00073922 | 0.00018418 | 2.0999e-08 | -3.2707e-07 | 0.0011235 | 0.0011234 | 0.0011235 | 0.97881 | -0.14919 | 0.97884 | -0.14898 | 0.41611
2 | 0.0014907 | 0.00037356 | -0.0014907 | -0.0003736 | 1.3214e-08 | -4.5658e-08 | 0.0022782 | 0.0022783 | 0.0022783 | 0.97364 | -0.18643 | 0.97363 | -0.1865 | 0.8438
3 | -0.0023506 | -0.00058906 | 0.0023507 | 0.00058893 | 1.114e-07 | -1.2921e-07 | 0.0035924 | 0.0035923 | 0.0035924 | 0.97364 | -0.18643 | 0.97369 | -0.18609 | 1.3305
4 | -0.0023507 | -0.00058893 | 0.0023537 | 0.00058543 | 3.0107e-06 | -3.5007e-06 | 0.0035923 | 0.0035906 | 0.0035923 | 0.97369 | -0.18609 | 0.97497 | -0.17677 | 1.3305
5 | -0.0041681 | -0.0010402 | 0.004172 | 0.0010397 | 3.8588e-06 | -4.2456e-07 | 0.0063598 | 0.0063591 | 0.0063598 | 0.97497 | -0.17677 | 0.97591 | -0.17002 | 2.3555
6 | -0.0006057 | -0.0001518 | 0.00060571 | 0.00015167 | 5.6756e-09 | -1.3264e-07 | 0.00092084 | 0.00092079 | 0.00092084 | 0.97877 | -0.14945 | 0.97878 | -0.14939 | 0.34105
7 | -0.00060571 | -0.00015167 | 0.00060574 | 0.00015088 | 3.3947e-08 | -7.9368e-07 | 0.00092079 | 0.00092051 | 0.00092079 | 0.97878 | -0.14939 | 0.97884 | -0.14898 | 0.34103
8 | 0.010224 | 0.0025608 | -0.010219 | -0.0025594 | 4.7324e-06 | 1.3946e-06 | 0.015249 | 0.01525 | 0.01525 | 0.9976 | -0.016702 | 0.99713 | -0.020051 | 5.648
9 | -0.014863 | -0.0037234 | 0.01487 | 0.003726 | 7.5009e-06 | 2.5654e-06 | 0.022169 | 0.022168 | 0.022169 | 0.9976 | -0.016702 | 0.99812 | -0.013055 | 8.2106
10 | 0.0070585 | 0.0017673 | -0.0070571 | -0.001767 | 1.3784e-06 | 2.7049e-07 | 0.010533 | 0.010533 | 0.010533 | 0.99713 | -0.020051 | 0.99693 | -0.021464 | 3.9011
11 | -0.053136 | -0.013364 | 0.053233 | 0.0134 | 9.6881e-05 | 3.5967e-05 | 0.079232 | 0.079232 | 0.079232 | 0.99812 | -0.013055 | 1 | 0 | 14.6726
12 | 0.038266 | 0.0096379 | -0.03823 | -0.0096251 | 3.5748e-05 | 1.283e-05 | 0.057064 | 0.057064 | 0.057064 | 0.99812 | -0.013055 | 0.99716 | -0.019742 | 10.5674
13 | 0.0023275 | 0.00058253 | -0.0023271 | -0.00058295 | 3.1377e-07 | -4.2256e-07 | 0.0034737 | 0.0034739 | 0.0034739 | 0.99693 | -0.021464 | 0.99679 | -0.02244 | 1.2866
14 | 0.0047296 | 0.0011845 | -0.0047286 | -0.0011845 | 1.0047e-06 | -3.4769e-08 | 0.0070592 | 0.0070593 | 0.0070593 | 0.99693 | -0.021464 | 0.99671 | -0.023001 | 2.6146
15 | 0.034563 | 0.008706 | -0.034547 | -0.0087005 | 1.5674e-05 | 5.5361e-06 | 0.051592 | 0.051592 | 0.051592 | 0.99716 | -0.019742 | 0.99669 | -0.022986 | 9.554
16 | 0.0013094 | 0.00032789 | -0.0013094 | -0.00032816 | 5.4363e-08 | -2.7629e-07 | 0.0019547 | 0.0019548 | 0.0019548 | 0.99679 | -0.02244 | 0.99674 | -0.02274 | 0.72398
17 | 0.0029789 | 0.00074598 | -0.0029785 | -0.00074624 | 3.8696e-07 | -2.5978e-07 | 0.004447 | 0.0044472 | 0.0044472 | 0.99671 | -0.023001 | 0.99657 | -0.02394 | 1.6471
18 | 0.032871 | 0.0082804 | -0.03286 | -0.0082768 | 1.0308e-05 | 3.6072e-06 | 0.049089 | 0.049089 | 0.049089 | 0.99669 | -0.022986 | 0.99637 | -0.025229 | 9.0906
19 | 0.0016096 | 0.00040317 | -0.0016096 | -0.00040339 | 6.7997e-08 | -2.1965e-07 | 0.0024033 | 0.0024034 | 0.0024034 | 0.99657 | -0.02394 | 0.99653 | -0.024245 | 0.89014
20 | 0.03151 | 0.0079382 | -0.031483 | -0.0079288 | 2.7142e-05 | 9.4174e-06 | 0.047072 | 0.047073 | 0.047073 | 0.99637 | -0.025229 | 0.99549 | -0.031392 | 8.7171
21 | -0.005467 | -0.0013643 | 0.0054672 | 0.0013643 | 2.5797e-07 | 2.4838e-08 | 0.0083337 | 0.0083336 | 0.0083337 | 0.97591 | -0.17002 | 0.97595 | -0.16968 | 3.0865
22 | -0.0060913 | -0.0015207 | 0.0060916 | 0.0015208 | 3.5137e-07 | 5.3522e-08 | 0.0092852 | 0.0092851 | 0.0092852 | 0.97595 | -0.16968 | 0.97601 | -0.16926 | 3.4389
23 | -0.0071422 | -0.0017841 | 0.0071428 | 0.0017842 | 6.0608e-07 | 1.3068e-07 | 0.010887 | 0.010887 | 0.010887 | 0.97601 | -0.16926 | 0.9761 | -0.16864 | 4.0321
24 | -0.0081928 | -0.0020474 | 0.0081965 | 0.0020483 | 3.6797e-06 | 9.4235e-07 | 0.012487 | 0.012487 | 0.012487 | 0.9761 | -0.16864 | 0.97655 | -0.16538 | 4.625
25 | -0.010571 | -0.0026435 | 0.010572 | 0.0026436 | 4.3709e-07 | 1.3433e-07 | 0.016106 | 0.016106 | 0.016106 | 0.97655 | -0.16538 | 0.97659 | -0.16508 | 5.9652
26 | -0.013919 | -0.0034827 | 0.013922 | 0.0034834 | 2.2622e-06 | 7.692e-07 | 0.021207 | 0.021207 | 0.021207 | 0.97659 | -0.16508 | 0.97675 | -0.1639 | 7.8544
27 | -0.014905 | -0.0037297 | 0.014905 | 0.0037299 | 6.091e-07 | 2.1057e-07 | 0.022704 | 0.022704 | 0.022704 | 0.97675 | -0.1639 | 0.9768 | -0.16361 | 8.4089
28 | -0.015488 | -0.0038761 | 0.015519 | 0.0038867 | 3.0443e-05 | 1.0609e-05 | 0.023592 | 0.023592 | 0.023592 | 0.9768 | -0.16361 | 0.97878 | -0.14939 | 8.7379
29 | -0.025739 | -0.0064485 | 0.025747 | 0.0064516 | 8.5521e-06 | 3.1767e-06 | 0.039129 | 0.039129 | 0.039129 | 0.97878 | -0.14939 | 0.97911 | -0.14699 | 14.4924
30 | 0.01022 | 0.0025617 | -0.010215 | -0.0025604 | 4.4924e-06 | 1.3532e-06 | 0.015537 | 0.015538 | 0.015538 | 0.97878 | -0.14939 | 0.97833 | -0.15257 | 5.7546
31 | -0.028476 | -0.0071323 | 0.028497 | 0.0071401 | 2.0822e-05 | 7.7841e-06 | 0.043275 | 0.043275 | 0.043275 | 0.97911 | -0.14699 | 0.97985 | -0.14171 | 16.0277
32 | 0.0027284 | 0.00068071 | -0.0027282 | -0.00068083 | 1.592e-07 | -1.2548e-07 | 0.0041454 | 0.0041454 | 0.0041454 | 0.97911 | -0.14699 | 0.97905 | -0.14742 | 1.5354
33 | 0.010215 | 0.0025604 | -0.010213 | -0.0025596 | 2.5455e-06 | 7.6691e-07 | 0.015538 | 0.015538 | 0.015538 | 0.97833 | -0.15257 | 0.97808 | -0.15437 | 5.7547
34 | 0.002344 | 0.00058455 | -0.0023437 | -0.00058498 | 3.6254e-07 | -4.3643e-07 | 0.0035615 | 0.0035618 | 0.0035618 | 0.97905 | -0.14742 | 0.9789 | -0.14854 | 1.3192
35 | 0.001345 | 0.0003347 | -0.001345 | -0.00033501 | 6.9958e-08 | -3.1049e-07 | 0.0020437 | 0.0020439 | 0.0020439 | 0.9789 | -0.14854 | 0.97884 | -0.14893 | 0.75698
36 | 0.001345 | 0.00033501 | -0.001345 | -0.00033506 | 1.0028e-08 | -4.45e-08 | 0.0020439 | 0.0020439 | 0.0020439 | 0.97884 | -0.14893 | 0.97884 | -0.14898 | 0.75699
37 | -0.028497 | -0.0071401 | 0.028635 | 0.0071875 | 0.00013888 | 4.7398e-05 | 0.043275 | 0.043273 | 0.043275 | 0.97985 | -0.14171 | 0.98478 | -0.10663 | 8.0138
38 | -0.028957 | -0.0072682 | 0.029042 | 0.0072973 | 8.5229e-05 | 2.9139e-05 | 0.043759 | 0.043757 | 0.043759 | 0.98478 | -0.10663 | 0.98777 | -0.085488 | 8.1035
39 | -0.029042 | -0.0072973 | 0.029131 | 0.0073277 | 8.9014e-05 | 3.041e-05 | 0.043757 | 0.043756 | 0.043757 | 0.98777 | -0.085488 | 0.99089 | -0.063518 | 8.1032
40 | -0.029131 | -0.0073277 | 0.029262 | 0.0073724 | 0.00013102 | 4.4714e-05 | 0.043756 | 0.043754 | 0.043756 | 0.99089 | -0.063518 | 0.99549 | -0.031392 | 8.103

## res_trafo
| p_hv_mw | q_hv_mvar | p_lv_mw | q_lv_mvar | pl_mw | ql_mvar | i_hv_ka | i_lv_ka | vm_hv_pu | va_hv_degree | vm_lv_pu | va_lv_degree | loading_percent
0 | 2.5187e-16 | 8.8016e-16 | 0.00079998 | 7.4552e-08 | 0.00079998 | 7.4552e-08 | 2.6429e-17 | 0.0011547 | 0.99998 | 149.9947 | 1 | 0 | 0.31999

## res_ext_grid
| p_mw | q_mvar
0 | 0.059434 | 0.014754

## res_load
| p_mw | q_mvar
0 | 0.00046213 | 0.00011582
1 | 0.00027705 | 6.9437e-05
2 | 0.00085986 | 0.0002155
3 | 0.0014907 | 0.0003736
4 | 0.0018144 | 0.00045473
5 | 0.0006057 | 0.0001518
6 | 0.0046387 | 0.0011626
7 | 0.0031608 | 0.00079217
8 | 0.0054012 | 0.0013537
9 | 0.0036673 | 0.0009191
10 | 0.0010177 | 0.00025506
11 | 0.0017497 | 0.00043853
12 | 0.0016761 | 0.00042008
13 | 0.0013094 | 0.00032816
14 | 0.0013689 | 0.00034307
15 | 0.0013507 | 0.00033852
16 | 0.0016096 | 0.00040339
17 | 0.001295 | 0.00032456
18 | 0.00062408 | 0.00015641
19 | 0.0010506 | 0.00026329
20 | 0.00105 | 0.00026315
21 | 0.0023749 | 0.0005952
22 | 0.0033477 | 0.00083902
23 | 0.00098279 | 0.00024631
24 | 0.00058324 | 0.00014617
25 | 0.00038418 | 9.6285e-05
26 | 0.00099863 | 0.00025028
27 | 0.010213 | 0.0025596
28 | 0.00032175 | 8.0639e-05
29 | 0.0022201 | 0.00055641

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object
62 | res_bus | vm_pu | float64
63 | res_bus | va_degree | float64
64 | res_bus | p_mw | float64
65 | res_bus | q_mvar | float64
66 | res_line | p_from_mw | float64
67 | res_line | q_from_mvar | float64
68 | res_line | p_to_mw | float64
69 | res_line | q_to_mvar | float64
70 | res_line | pl_mw | float64
71 | res_line | ql_mvar | float64
72 | res_line | i_from_ka | float64
73 | res_line | i_to_ka | float64
74 | res_line | i_ka | float64
75 | res_line | vm_from_pu | float64
76 | res_line | va_from_degree | float64
77 | res_line | vm_to_pu | float64
78 | res_line | va_to_degree | float64
79 | res_line | loading_percent | float64
80 | res_trafo | p_hv_mw | float64
81 | res_trafo | q_hv_mvar | float64
82 | res_trafo | p_lv_mw | float64
83 | res_trafo | q_lv_mvar | float64
84 | res_trafo | pl_mw | float64
85 | res_trafo | ql_mvar | float64
86 | res_trafo | i_hv_ka | float64
87 | res_trafo | i_lv_ka | float64
88 | res_trafo | vm_hv_pu | float64
89 | res_trafo | va_hv_degree | float64
90 | res_trafo | vm_lv_pu | float64
91 | res_trafo | va_lv_degree | float64
92 | res_trafo | loading_percent | float64
93 | res_ext_grid | p_mw | float64
94 | res_ext_grid | q_mvar | float64
95 | res_load | p_mw | float64
96 | res_load | q_mvar | float64

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | TRUE | FALSE |  | 50 | 1