## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_1039-3_0_3_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_1039-3_0_3_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_1039-3_0_3_node_2 | 0.4 | n |  | TRUE
3 | bus_LV_1039-3_0_3_node_3 | 0.4 | n |  | TRUE
4 | bus_LV_1039-3_0_3_node_4 | 0.4 | n |  | TRUE
5 | bus_LV_1039-3_0_3_node_5 | 0.4 | n |  | TRUE
6 | bus_LV_1039-3_0_3_node_6 | 0.4 | n |  | TRUE
7 | bus_LV_1039-3_0_3_node_49 | 0.4 | n |  | TRUE
8 | bus_LV_1039-3_0_3_node_52 | 0.4 | n |  | TRUE
9 | bus_LV_1039-3_0_3_node_7 | 0.4 | n |  | TRUE
10 | bus_LV_1039-3_0_3_node_56 | 0.4 | n |  | TRUE
11 | bus_LV_1039-3_0_3_node_50 | 0.4 | n |  | TRUE
12 | bus_LV_1039-3_0_3_node_18 | 0.4 | n |  | TRUE
13 | bus_LV_1039-3_0_3_node_8 | 0.4 | n |  | TRUE
14 | bus_LV_1039-3_0_3_node_57 | 0.4 | n |  | TRUE
15 | bus_LV_1039-3_0_3_node_9 | 0.4 | n |  | TRUE
16 | bus_LV_1039-3_0_3_node_31 | 0.4 | n |  | TRUE
17 | bus_LV_1039-3_0_3_node_42 | 0.4 | n |  | TRUE
18 | bus_LV_1039-3_0_3_node_29 | 0.4 | n |  | TRUE
19 | bus_LV_1039-3_0_3_node_14 | 0.4 | n |  | TRUE
20 | bus_LV_1039-3_0_3_node_10 | 0.4 | n |  | TRUE
21 | bus_LV_1039-3_0_3_node_11 | 0.4 | n |  | TRUE
22 | bus_LV_1039-3_0_3_node_12 | 0.4 | n |  | TRUE
23 | bus_LV_1039-3_0_3_node_13 | 0.4 | n |  | TRUE
24 | bus_LV_1039-3_0_3_node_26 | 0.4 | n |  | TRUE
25 | bus_LV_1039-3_0_3_node_27 | 0.4 | n |  | TRUE
26 | bus_LV_1039-3_0_3_node_15 | 0.4 | n |  | TRUE
27 | bus_LV_1039-3_0_3_node_16 | 0.4 | n |  | TRUE
28 | bus_LV_1039-3_0_3_node_17 | 0.4 | n |  | TRUE
29 | bus_LV_1039-3_0_3_node_19 | 0.4 | n |  | TRUE
30 | bus_LV_1039-3_0_3_node_20 | 0.4 | n |  | TRUE
31 | bus_LV_1039-3_0_3_node_23 | 0.4 | n |  | TRUE
32 | bus_LV_1039-3_0_3_node_43 | 0.4 | n |  | TRUE
33 | bus_LV_1039-3_0_3_node_44 | 0.4 | n |  | TRUE
34 | bus_LV_1039-3_0_3_node_22 | 0.4 | n |  | TRUE
35 | bus_LV_1039-3_0_3_node_45 | 0.4 | n |  | TRUE
36 | bus_LV_1039-3_0_3_node_21 | 0.4 | n |  | TRUE
37 | bus_LV_1039-3_0_3_node_41 | 0.4 | n |  | TRUE
38 | bus_LV_1039-3_0_3_node_40 | 0.4 | n |  | TRUE
39 | bus_LV_1039-3_0_3_node_37 | 0.4 | n |  | TRUE
40 | bus_LV_1039-3_0_3_node_35 | 0.4 | n |  | TRUE
41 | bus_LV_1039-3_0_3_node_28 | 0.4 | n |  | TRUE
42 | bus_LV_1039-3_0_3_node_30 | 0.4 | n |  | TRUE
43 | bus_LV_1039-3_0_3_node_33 | 0.4 | n |  | TRUE
44 | bus_LV_1039-3_0_3_node_32 | 0.4 | n |  | TRUE
45 | bus_LV_1039-3_0_3_node_53 | 0.4 | n |  | TRUE
46 | bus_LV_1039-3_0_3_node_51 | 0.4 | n |  | TRUE
47 | bus_LV_1039-3_0_3_node_54 | 0.4 | n |  | TRUE
48 | bus_LV_1039-3_0_3_node_55 | 0.4 | n |  | TRUE
49 | bus_LV_1039-3_0_3_node_48 | 0.4 | n |  | TRUE
50 | bus_LV_1039-3_0_3_node_34 | 0.4 | n |  | TRUE
51 | bus_LV_1039-3_0_3_node_36 | 0.4 | n |  | TRUE
52 | bus_LV_1039-3_0_3_node_38 | 0.4 | n |  | TRUE
53 | bus_LV_1039-3_0_3_node_39 | 0.4 | n |  | TRUE
54 | bus_LV_1039-3_0_3_node_46 | 0.4 | n |  | TRUE
55 | bus_LV_1039-3_0_3_node_47 | 0.4 | n |  | TRUE
56 | bus_LV_1039-3_0_3_node_58 | 0.4 | n |  | TRUE
57 | bus_MV_353_1_node_196 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_1039-3_0_3_load_0 | 0 | 0.0057504 | 0.0014412 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_1039-3_0_3_load_3 | 3 | 0.0036799 | 0.00092227 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_1039-3_0_3_load_4 | 4 | 0.0032316 | 0.00080991 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_1039-3_0_3_load_52 | 8 | 0.0038216 | 0.00095779 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_1039-3_0_3_load_7 | 9 | 0.01094 | 0.0027419 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_1039-3_0_3_load_56 | 10 | 0.0058132 | 0.0014569 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_1039-3_0_3_load_50 | 11 | 0.0023727 | 0.00059466 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_1039-3_0_3_load_18 | 12 | 0.0027432 | 0.0006875 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_1039-3_0_3_load_57 | 14 | 0.0039707 | 0.00099515 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_1039-3_0_3_load_42 | 17 | 0.0073281 | 0.0018366 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_1039-3_0_3_load_29 | 18 | 0.010453 | 0.0026198 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_1039-3_0_3_load_14 | 19 | 0.0020315 | 0.00050914 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_1039-3_0_3_load_10 | 20 | 0.0089791 | 0.0022504 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_1039-3_0_3_load_11 | 21 | 0.0090639 | 0.0022716 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_1039-3_0_3_load_12 | 22 | 0.0023485 | 0.00058859 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_1039-3_0_3_load_13 | 23 | 0.0046742 | 0.0011715 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_1039-3_0_3_load_26 | 24 | 0.0040373 | 0.0010118 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_1039-3_0_3_load_27 | 25 | 0.0051278 | 0.0012852 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_1039-3_0_3_load_15 | 26 | 0.0050413 | 0.0012635 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_1039-3_0_3_load_16 | 27 | 0.010267 | 0.0025733 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_1039-3_0_3_load_20 | 30 | 0.006217 | 0.0015581 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_1039-3_0_3_load_23 | 31 | 0.0030973 | 0.00077626 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_1039-3_0_3_load_43 | 32 | 0.0014791 | 0.0003707 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_1039-3_0_3_load_44 | 33 | 0.0022849 | 0.00057265 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_1039-3_0_3_load_22 | 34 | 0.0022612 | 0.0005667 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_1039-3_0_3_load_45 | 35 | 0.0033765 | 0.00084624 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_1039-3_0_3_load_21 | 36 | 0.0073134 | 0.0018329 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_1039-3_0_3_load_41 | 37 | 0.0026715 | 0.00066954 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_1039-3_0_3_load_40 | 38 | 0.0029328 | 0.00073504 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_1039-3_0_3_load_37 | 39 | 0.0048099 | 0.0012055 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_1039-3_0_3_load_35 | 40 | 0.013575 | 0.0034023 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_1039-3_0_3_load_28 | 41 | 0.0024784 | 0.00062114 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_1039-3_0_3_load_33 | 43 | 0.00097803 | 0.00024512 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_1039-3_0_3_load_32 | 44 | 0.020608 | 0.0051648 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_1039-3_0_3_load_53 | 45 | 0.0088079 | 0.0022075 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_1039-3_0_3_load_55 | 48 | 0.00084108 | 0.00021079 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_1039-3_0_3_load_48 | 49 | 0.001252 | 0.00031378 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_1039-3_0_3_load_34 | 50 | 0.0026372 | 0.00066096 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_1039-3_0_3_load_36 | 51 | 0.0023365 | 0.00058559 | 0 | 0 |  | 1 | TRUE | wye
39 | LV_1039-3_0_3_load_38 | 52 | 0.0017622 | 0.00044165 | 0 | 0 |  | 1 | TRUE | wye
40 | LV_1039-3_0_3_load_39 | 53 | 0.0015697 | 0.00039341 | 0 | 0 |  | 1 | TRUE | wye
41 | LV_1039-3_0_3_load_46 | 54 | 0.0035922 | 0.0009003 | 0 | 0 |  | 1 | TRUE | wye
42 | LV_1039-3_0_3_load_47 | 55 | 0.00048367 | 0.00012122 | 0 | 0 |  | 1 | TRUE | wye
43 | LV_1039-3_0_3_load_58 | 56 | 0.0061385 | 0.0015385 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 23 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_1039-3_0_3_line_0 | NAYY 4x150 SE | 0 | 1 | 0.032636 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
1 | LV_1039-3_0_3_line_1 | NAYY 4x150 SE | 0 | 2 | 0.0074732 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
2 | LV_1039-3_0_3_line_2 | NAYY 4x150 SE | 1 | 3 | 0.018595 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
3 | LV_1039-3_0_3_line_3 | NAYY 4x150 SE | 1 | 4 | 0.0079816 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
4 | LV_1039-3_0_3_line_4 | NAYY 4x150 SE | 2 | 5 | 0.015056 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
5 | LV_1039-3_0_3_line_5 | NAYY 4x150 SE | 2 | 6 | 0.045025 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
6 | LV_1039-3_0_3_line_6 | NAYY 4x150 SE | 3 | 7 | 0.0065035 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
7 | LV_1039-3_0_3_line_7 | NAYY 4x150 SE | 4 | 8 | 0.024723 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
8 | LV_1039-3_0_3_line_8 | NAYY 4x150 SE | 5 | 9 | 0.00098729 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
9 | LV_1039-3_0_3_line_9 | NAYY 4x150 SE | 6 | 10 | 0.015956 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
10 | LV_1039-3_0_3_line_10 | NAYY 4x150 SE | 7 | 11 | 0.029973 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
11 | LV_1039-3_0_3_line_11 | NAYY 4x150 SE | 8 | 12 | 0.017541 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
12 | LV_1039-3_0_3_line_12 | NAYY 4x150 SE | 9 | 13 | 0.02937 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
13 | LV_1039-3_0_3_line_13 | NAYY 4x150 SE | 10 | 14 | 0.05124 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
14 | LV_1039-3_0_3_line_14 | NAYY 4x150 SE | 12 | 27 | 0.020113 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
15 | LV_1039-3_0_3_line_15 | NAYY 4x150 SE | 13 | 15 | 0.010141 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
16 | LV_1039-3_0_3_line_16 | NAYY 4x150 SE | 15 | 16 | 0.024016 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
17 | LV_1039-3_0_3_line_17 | NAYY 4x150 SE | 15 | 17 | 0.019385 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
18 | LV_1039-3_0_3_line_18 | NAYY 4x150 SE | 16 | 18 | 0.022118 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
19 | LV_1039-3_0_3_line_19 | NAYY 4x150 SE | 17 | 19 | 0.03026 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
20 | LV_1039-3_0_3_line_20 | NAYY 4x150 SE | 18 | 41 | 0.061593 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
21 | LV_1039-3_0_3_line_21 | NAYY 4x150 SE | 19 | 22 | 0.026005 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
22 | LV_1039-3_0_3_line_22 | NAYY 4x150 SE | 20 | 21 | 0.0071 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
23 | LV_1039-3_0_3_line_23 | NAYY 4x150 SE | 20 | 22 | 0.016208 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
24 | LV_1039-3_0_3_line_24 | NAYY 4x150 SE | 21 | 23 | 0.01241 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
25 | LV_1039-3_0_3_line_25 | NAYY 4x150 SE | 23 | 24 | 0.02941 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
26 | LV_1039-3_0_3_line_26 | NAYY 4x150 SE | 24 | 25 | 0.00089156 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
27 | LV_1039-3_0_3_line_27 | NAYY 4x150 SE | 25 | 39 | 0.026464 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
28 | LV_1039-3_0_3_line_28 | NAYY 4x150 SE | 26 | 27 | 0.02911 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
29 | LV_1039-3_0_3_line_29 | NAYY 4x150 SE | 26 | 28 | 0.017604 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
30 | LV_1039-3_0_3_line_30 | NAYY 4x150 SE | 28 | 29 | 0.031972 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
31 | LV_1039-3_0_3_line_31 | NAYY 4x150 SE | 28 | 30 | 0.020969 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
32 | LV_1039-3_0_3_line_32 | NAYY 4x150 SE | 29 | 31 | 0.013068 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
33 | LV_1039-3_0_3_line_33 | NAYY 4x150 SE | 29 | 32 | 0.032464 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
34 | LV_1039-3_0_3_line_34 | NAYY 4x150 SE | 30 | 33 | 0.015035 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
35 | LV_1039-3_0_3_line_35 | NAYY 4x150 SE | 31 | 34 | 0.05296 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
36 | LV_1039-3_0_3_line_36 | NAYY 4x150 SE | 33 | 35 | 0.021877 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
37 | LV_1039-3_0_3_line_37 | NAYY 4x150 SE | 34 | 36 | 0.0080274 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
38 | LV_1039-3_0_3_line_38 | NAYY 4x150 SE | 37 | 38 | 0.0036405 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
39 | LV_1039-3_0_3_line_39 | NAYY 4x150 SE | 38 | 53 | 0.014072 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
40 | LV_1039-3_0_3_line_40 | NAYY 4x150 SE | 39 | 40 | 0.014102 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
41 | LV_1039-3_0_3_line_41 | NAYY 4x150 SE | 40 | 50 | 0.017061 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
42 | LV_1039-3_0_3_line_42 | NAYY 4x150 SE | 41 | 42 | 0.0090665 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
43 | LV_1039-3_0_3_line_43 | NAYY 4x150 SE | 42 | 43 | 0.024693 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
44 | LV_1039-3_0_3_line_44 | NAYY 4x150 SE | 43 | 46 | 0.010573 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
45 | LV_1039-3_0_3_line_45 | NAYY 4x150 SE | 44 | 45 | 0.014852 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
46 | LV_1039-3_0_3_line_46 | NAYY 4x150 SE | 45 | 47 | 0.040941 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
47 | LV_1039-3_0_3_line_47 | NAYY 4x150 SE | 46 | 48 | 0.039005 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
48 | LV_1039-3_0_3_line_48 | NAYY 4x150 SE | 46 | 49 | 0.017459 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
49 | LV_1039-3_0_3_line_49 | NAYY 4x150 SE | 47 | 56 | 0.078586 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
50 | LV_1039-3_0_3_line_50 | NAYY 4x150 SE | 47 | 48 | 0.053474 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
51 | LV_1039-3_0_3_line_51 | NAYY 4x150 SE | 49 | 55 | 0.0034051 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
52 | LV_1039-3_0_3_line_52 | NAYY 4x150 SE | 50 | 51 | 0.02084 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
53 | LV_1039-3_0_3_line_53 | NAYY 4x150 SE | 51 | 52 | 0.017678 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
54 | LV_1039-3_0_3_line_54 | NAYY 4x150 SE | 52 | 53 | 0.0042497 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
55 | LV_1039-3_0_3_line_55 | NAYY 4x150 SE | 54 | 55 | 0.0081941 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_1039-3_0_3_trafo_13 | 0.25 MVA 20/0.4 kV | 57 | 23 | 0.25 | 20 | 0.4 | 6 | 1.44 | 0.8 | 0.32 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4
0 | 2661148.0523 | 1224458.3199 | 2661143.9067 | 1224477.3227 | 2661142.6056 | 1224490.4448
1 | 2661141.8682 | 1224497.8815 | 2661142.6056 | 1224490.4448
2 | 2661148.0523 | 1224458.3199 | 2661143.303 | 1224448.9985 | 2661139.3397 | 1224441.8963
3 | 2661148.0523 | 1224458.3199 | 2661152.6839 | 1224451.8196
4 | 2661141.8682 | 1224497.8815 | 2661143.6404 | 1224512.8314
5 | 2661141.8682 | 1224497.8815 | 2661096.7123 | 1224497.5511
6 | 2661136.1706 | 1224436.2172 | 2661139.3397 | 1224441.8963
7 | 2661165.4065 | 1224430.6252 | 2661153.3529 | 1224450.8807 | 2661152.6839 | 1224451.8196
8 | 2661143.6404 | 1224512.8314 | 2661143.7559 | 1224513.8119
9 | 2661096.7123 | 1224497.5511 | 2661097.3891 | 1224481.6091
10 | 2661136.1706 | 1224436.2172 | 2661132.6568 | 1224431.3558 | 2661124.9655 | 1224423.5274 | 2661115.0952 | 1224416.6996 | 2661114.1594 | 1224416.3519
11 | 2661165.4065 | 1224430.6252 | 2661168.7144 | 1224425.0665 | 2661172.7568 | 1224414.7585
12 | 2661152.1884 | 1224541.3261 | 2661147.6244 | 1224534.6417 | 2661145.3909 | 1224527.6921 | 2661143.7559 | 1224513.8119
13 | 2661099.5625 | 1224430.4156 | 2661097.3891 | 1224481.6091
14 | 2661172.7568 | 1224414.7585 | 2661175.1848 | 1224408.567 | 2661178.327 | 1224395.4759
15 | 2661161.2936 | 1224545.8447 | 2661152.1884 | 1224541.3261
16 | 2661156.0398 | 1224564.2247 | 2661151.4381 | 1224561.9537 | 2661161.2936 | 1224545.8447
17 | 2661161.2936 | 1224545.8447 | 2661172.6958 | 1224530.1679
18 | 2661156.0398 | 1224564.2247 | 2661177.6733 | 1224559.6217 | 2661177.6733 | 1224559.6217
19 | 2661190.4907 | 1224505.6936 | 2661174.714 | 1224527.3931 | 2661172.6958 | 1224530.1679
20 | 2661177.6733 | 1224559.6217 | 2661194.6872 | 1224555.2271 | 2661214.0113 | 1224548.1101 | 2661233.1789 | 1224534.6401
21 | 2661190.4907 | 1224505.6936 | 2661194.9333 | 1224499.5832 | 2661205.7861 | 1224484.6621
22 | 2661215.3198 | 1224471.5551 | 2661219.4971 | 1224465.814
23 | 2661215.3198 | 1224471.5551 | 2661214.2375 | 1224473.0425 | 2661205.7861 | 1224484.6621
24 | 2661219.4971 | 1224465.814 | 2661226.7989 | 1224455.7789
25 | 2661244.1004 | 1224431.9959 | 2661235.9337 | 1224443.2245 | 2661226.7989 | 1224455.7789
26 | 2661244.6248 | 1224431.2749 | 2661244.1004 | 1224431.9959
27 | 2661260.1909 | 1224409.8726 | 2661244.6248 | 1224431.2749
28 | 2661178.327 | 1224395.4759 | 2661185.1211 | 1224367.17
29 | 2661189.2298 | 1224350.0519 | 2661185.1211 | 1224367.17
30 | 2661197.902 | 1224319.2771 | 2661189.2298 | 1224350.0519
31 | 2661189.2298 | 1224350.0519 | 2661195.8095 | 1224351.6984 | 2661208.3702 | 1224358.2921
32 | 2661197.902 | 1224319.2771 | 2661209.4021 | 1224325.4837
33 | 2661197.902 | 1224319.2771 | 2661206.5392 | 1224287.9837
34 | 2661221.6822 | 1224365.2803 | 2661208.3702 | 1224358.2921
35 | 2661209.4021 | 1224325.4837 | 2661248.3253 | 1224346.4905 | 2661253.7719 | 1224339.6677
36 | 2661221.6822 | 1224365.2803 | 2661241.0525 | 1224375.4488
37 | 2661253.7719 | 1224339.6677 | 2661258.7801 | 1224333.3942
38 | 2661314.0945 | 1224335.7591 | 2661311.9531 | 1224338.7033
39 | 2661311.9531 | 1224338.7033 | 2661303.6763 | 1224350.0834
40 | 2661268.4854 | 1224398.4682 | 2661260.1909 | 1224409.8726
41 | 2661268.4854 | 1224398.4682 | 2661278.5204 | 1224384.6709
42 | 2661240.5968 | 1224529.4271 | 2661233.1789 | 1224534.6401
43 | 2661240.5968 | 1224529.4271 | 2661257.9541 | 1224535.8764 | 2661263.0149 | 1224539.4177
44 | 2661271.6774 | 1224545.4793 | 2661263.0149 | 1224539.4177
45 | 2661290.2259 | 1224480.2888 | 2661287.5943 | 1224481.2245 | 2661279.1757 | 1224489.859
46 | 2661329.965 | 1224479.6152 | 2661311.0383 | 1224475.351 | 2661301.2087 | 1224476.3838 | 2661290.2259 | 1224480.2888
47 | 2661271.6774 | 1224545.4793 | 2661289.8917 | 1224539.385 | 2661305.4475 | 1224527.1374
48 | 2661271.6774 | 1224545.4793 | 2661285.9786 | 1224555.4935
49 | 2661329.965 | 1224479.6152 | 2661406.8586 | 1224495.8377
50 | 2661329.965 | 1224479.6152 | 2661305.4475 | 1224527.1374
51 | 2661288.7679 | 1224557.4467 | 2661285.9786 | 1224555.4935
52 | 2661290.7784 | 1224367.8169 | 2661278.5204 | 1224384.6709
53 | 2661290.7784 | 1224367.8169 | 2661301.1766 | 1224353.5202
54 | 2661301.1766 | 1224353.5202 | 2661303.6763 | 1224350.0834
55 | 2661294.6602 | 1224563.0858 | 2661290.6927 | 1224558.7945 | 2661288.7679 | 1224557.4467

## bus_geodata
| x | y | coords
0 | 2661142.6056 | 1224490.4448
1 | 2661148.0523 | 1224458.3199
2 | 2661141.8682 | 1224497.8815
3 | 2661139.3397 | 1224441.8963
4 | 2661152.6839 | 1224451.8196
5 | 2661143.6404 | 1224512.8314
6 | 2661096.7123 | 1224497.5511
7 | 2661136.1706 | 1224436.2172
8 | 2661165.4065 | 1224430.6252
9 | 2661143.7559 | 1224513.8119
10 | 2661097.3891 | 1224481.6091
11 | 2661114.1594 | 1224416.3519
12 | 2661172.7568 | 1224414.7585
13 | 2661152.1884 | 1224541.3261
14 | 2661099.5625 | 1224430.4156
15 | 2661161.2936 | 1224545.8447
16 | 2661156.0398 | 1224564.2247
17 | 2661172.6958 | 1224530.1679
18 | 2661177.6733 | 1224559.6217
19 | 2661190.4907 | 1224505.6936
20 | 2661215.3198 | 1224471.5551
21 | 2661219.4971 | 1224465.814
22 | 2661205.7861 | 1224484.6621
23 | 2661226.7989 | 1224455.7789
24 | 2661244.1004 | 1224431.9959
25 | 2661244.6248 | 1224431.2749
26 | 2661185.1211 | 1224367.17
27 | 2661178.327 | 1224395.4759
28 | 2661189.2298 | 1224350.0519
29 | 2661197.902 | 1224319.2771
30 | 2661208.3702 | 1224358.2921
31 | 2661209.4021 | 1224325.4837
32 | 2661206.5392 | 1224287.9837
33 | 2661221.6822 | 1224365.2803
34 | 2661253.7719 | 1224339.6677
35 | 2661241.0525 | 1224375.4488
36 | 2661258.7801 | 1224333.3942
37 | 2661314.0945 | 1224335.7591
38 | 2661311.9531 | 1224338.7033
39 | 2661260.1909 | 1224409.8726
40 | 2661268.4854 | 1224398.4682
41 | 2661233.1789 | 1224534.6401
42 | 2661240.5968 | 1224529.4271
43 | 2661263.0149 | 1224539.4177
44 | 2661279.1757 | 1224489.859
45 | 2661290.2259 | 1224480.2888
46 | 2661271.6774 | 1224545.4793
47 | 2661329.965 | 1224479.6152
48 | 2661305.4475 | 1224527.1374
49 | 2661285.9786 | 1224555.4935
50 | 2661278.5204 | 1224384.6709
51 | 2661290.7784 | 1224367.8169
52 | 2661301.1766 | 1224353.5202
53 | 2661303.6763 | 1224350.0834
54 | 2661294.6602 | 1224563.0858
55 | 2661288.7679 | 1224557.4467
56 | 2661406.8586 | 1224495.8377
57 | 2661161.2936 | 1224545.8447

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## res_bus
| vm_pu | va_degree | p_mw | q_mvar
0 | 0.98122 | -0.13089 | 0.0057504 | 0.0014412
1 | 0.97849 | -0.15031 | 0 | 0
2 | 0.98191 | -0.12602 | 0 | 0
3 | 0.97832 | -0.15148 | 0.0036799 | 0.00092227
4 | 0.97789 | -0.15457 | 0.0032316 | 0.00080991
5 | 0.98351 | -0.1147 | 0 | 0
6 | 0.98127 | -0.13059 | 0 | 0
7 | 0.9783 | -0.15164 | 0 | 0
8 | 0.97615 | -0.16696 | 0.0038216 | 0.00095779
9 | 0.98361 | -0.11395 | 0.01094 | 0.0027419
10 | 0.98104 | -0.13221 | 0.0058132 | 0.0014569
11 | 0.9782 | -0.15238 | 0.0023727 | 0.00059466
12 | 0.97502 | -0.17507 | 0.0027432 | 0.0006875
13 | 0.9872 | -0.088684 | 0 | 0
14 | 0.98074 | -0.13432 | 0.0039707 | 0.00099515
15 | 0.98782 | -0.08434 | 0 | 0
16 | 0.98587 | -0.098042 | 0 | 0
17 | 0.98979 | -0.070549 | 0.0073281 | 0.0018366
18 | 0.98407 | -0.11071 | 0.010453 | 0.0026198
19 | 0.99303 | -0.048009 | 0.0020315 | 0.00050914
20 | 0.99764 | -0.016186 | 0.0089791 | 0.0022504
21 | 0.99847 | -0.010492 | 0.0090639 | 0.0022716
22 | 0.99586 | -0.028488 | 0.0023485 | 0.00058859
23 | 1 | 0 | -0.21499 | -0.054157
24 | 0.99826 | -0.012195 | 0.0040373 | 0.0010118
25 | 0.99821 | -0.012529 | 0.0051278 | 0.0012852
26 | 0.97247 | -0.19335 | 0.0050413 | 0.0012635
27 | 0.9738 | -0.18381 | 0.010267 | 0.0025733
28 | 0.9718 | -0.19819 | 0 | 0
29 | 0.97113 | -0.20298 | 0 | 0
30 | 0.97143 | -0.20083 | 0.006217 | 0.0015581
31 | 0.97089 | -0.20474 | 0.0030973 | 0.00077626
32 | 0.97106 | -0.20349 | 0.0014791 | 0.0003707
33 | 0.97131 | -0.20173 | 0.0022849 | 0.00057265
34 | 0.97014 | -0.21011 | 0.0022612 | 0.0005667
35 | 0.9712 | -0.20251 | 0.0033765 | 0.00084624
36 | 0.97006 | -0.21073 | 0.0073134 | 0.0018329
37 | 0.99536 | -0.032541 | 0.0026715 | 0.00066954
38 | 0.99537 | -0.032443 | 0.0029328 | 0.00073504
39 | 0.99699 | -0.021103 | 0.0048099 | 0.0012055
40 | 0.99643 | -0.024998 | 0.013575 | 0.0034023
41 | 0.97999 | -0.13953 | 0.0024784 | 0.00062114
42 | 0.97942 | -0.14355 | 0 | 0
43 | 0.97787 | -0.15455 | 0.00097803 | 0.00024512
44 | 0.97013 | -0.21004 | 0.020608 | 0.0051648
45 | 0.97058 | -0.20679 | 0.0088079 | 0.0022075
46 | 0.97722 | -0.15916 | 0 | 0
47 | 0.97235 | -0.19405 | 0 | 0
48 | 0.97514 | -0.17403 | 0.00084108 | 0.00021079
49 | 0.97709 | -0.16013 | 0.001252 | 0.00031378
50 | 0.99609 | -0.027385 | 0.0026372 | 0.00066096
51 | 0.99575 | -0.02975 | 0.0023365 | 0.00058559
52 | 0.99553 | -0.031341 | 0.0017622 | 0.00044165
53 | 0.99548 | -0.031648 | 0.0015697 | 0.00039341
54 | 0.97702 | -0.16058 | 0.0035922 | 0.0009003
55 | 0.97707 | -0.16028 | 0.00048367 | 0.00012122
56 | 0.97164 | -0.19915 | 0.0061385 | 0.0015385
57 | 0.99998 | 149.9947 | 0 | 0

## res_line
| p_from_mw | q_from_mvar | p_to_mw | q_to_mvar | pl_mw | ql_mvar | i_from_ka | i_to_ka | i_ka | vm_from_pu | va_from_degree | vm_to_pu | va_to_degree | loading_percent
0 | 0.057642 | 0.014502 | -0.057486 | -0.014443 | 0.00015569 | 5.9468e-05 | 0.087434 | 0.087434 | 0.087434 | 0.98122 | -0.13089 | 0.97849 | -0.15031 | 32.3831
1 | -0.063392 | -0.015944 | 0.063436 | 0.01596 | 4.3115e-05 | 1.6488e-05 | 0.096155 | 0.096155 | 0.096155 | 0.98122 | -0.13089 | 0.98191 | -0.12602 | 35.6128
2 | 0.0060539 | 0.0015167 | -0.0060529 | -0.0015166 | 9.8341e-07 | 1.4471e-07 | 0.0092061 | 0.0092062 | 0.0092062 | 0.97849 | -0.15031 | 0.97832 | -0.15148 | 3.4097
3 | 0.051433 | 0.012926 | -0.051402 | -0.012915 | 3.0479e-05 | 1.1622e-05 | 0.078228 | 0.078228 | 0.078228 | 0.97849 | -0.15031 | 0.97789 | -0.15457 | 28.9734
4 | -0.073229 | -0.018414 | 0.073345 | 0.018459 | 0.00011575 | 4.4327e-05 | 0.111 | 0.111 | 0.111 | 0.98191 | -0.12602 | 0.98351 | -0.1147 | 41.1096
5 | 0.0097934 | 0.0024543 | -0.0097872 | -0.0024525 | 6.1885e-06 | 1.811e-06 | 0.014841 | 0.014841 | 0.014841 | 0.98191 | -0.12602 | 0.98127 | -0.13059 | 5.4968
6 | 0.002373 | 0.00059431 | -0.002373 | -0.00059437 | 5.2863e-08 | -6.1328e-08 | 0.0036092 | 0.0036092 | 0.0036092 | 0.97832 | -0.15148 | 0.9783 | -0.15164 | 1.3367
7 | 0.04817 | 0.012105 | -0.048088 | -0.012073 | 8.2915e-05 | 3.1581e-05 | 0.073311 | 0.073311 | 0.073311 | 0.97789 | -0.15457 | 0.97615 | -0.16696 | 27.1522
8 | -0.073345 | -0.018459 | 0.073352 | 0.018462 | 7.59e-06 | 2.9067e-06 | 0.111 | 0.111 | 0.111 | 0.98351 | -0.1147 | 0.98361 | -0.11395 | 41.1095
9 | 0.0097872 | 0.0024525 | -0.009785 | -0.0024519 | 2.1932e-06 | 6.4201e-07 | 0.014841 | 0.014842 | 0.014842 | 0.98127 | -0.13059 | 0.98104 | -0.13221 | 5.4969
10 | 0.002373 | 0.00059437 | -0.0023727 | -0.00059466 | 2.4364e-07 | -2.8259e-07 | 0.0036092 | 0.0036093 | 0.0036093 | 0.9783 | -0.15164 | 0.9782 | -0.15238 | 1.3368
11 | 0.044266 | 0.011115 | -0.044216 | -0.011096 | 4.9849e-05 | 1.8954e-05 | 0.067485 | 0.067485 | 0.067485 | 0.97615 | -0.16696 | 0.97502 | -0.17507 | 24.9946
12 | -0.084293 | -0.021204 | 0.084591 | 0.021318 | 0.00029814 | 0.0001143 | 0.12755 | 0.12755 | 0.12755 | 0.98361 | -0.11395 | 0.9872 | -0.088684 | 47.2395
13 | 0.0039719 | 0.00099495 | -0.0039707 | -0.00099515 | 1.1604e-06 | -2.0047e-07 | 0.0060243 | 0.0060245 | 0.0060245 | 0.98104 | -0.13221 | 0.98074 | -0.13432 | 2.2313
14 | 0.041473 | 0.010409 | -0.041423 | -0.01039 | 5.0288e-05 | 1.9091e-05 | 0.063299 | 0.063299 | 0.063299 | 0.97502 | -0.17507 | 0.9738 | -0.18381 | 23.4441
15 | -0.084591 | -0.021318 | 0.084642 | 0.021337 | 5.1472e-05 | 1.9537e-05 | 0.12755 | 0.12755 | 0.12755 | 0.9872 | -0.088684 | 0.98782 | -0.08434 | 23.6197
16 | 0.056383 | 0.014226 | -0.056275 | -0.014185 | 0.00010819 | 4.1305e-05 | 0.084967 | 0.084968 | 0.084968 | 0.98782 | -0.08434 | 0.98587 | -0.098042 | 31.4694
17 | -0.14103 | -0.035564 | 0.1413 | 0.035668 | 0.00027314 | 0.00010456 | 0.21251 | 0.21251 | 0.21251 | 0.98782 | -0.08434 | 0.98979 | -0.070549 | 39.3544
18 | 0.056275 | 0.014185 | -0.056175 | -0.014147 | 9.9639e-05 | 3.8041e-05 | 0.084968 | 0.084968 | 0.084968 | 0.98587 | -0.098042 | 0.98407 | -0.11071 | 31.4695
19 | -0.14863 | -0.037505 | 0.1491 | 0.037686 | 0.00047173 | 0.00018065 | 0.22353 | 0.22353 | 0.22353 | 0.98979 | -0.070549 | 0.99303 | -0.048009 | 41.3945
20 | 0.045722 | 0.011527 | -0.045538 | -0.011457 | 0.00018384 | 6.9928e-05 | 0.069161 | 0.069161 | 0.069161 | 0.98407 | -0.11071 | 0.97999 | -0.13953 | 25.6153
21 | -0.15113 | -0.038195 | 0.15155 | 0.038354 | 0.00041652 | 0.00015953 | 0.22657 | 0.22657 | 0.22657 | 0.99303 | -0.048009 | 0.99586 | -0.028488 | 41.9582
22 | -0.16314 | -0.041296 | 0.16327 | 0.041346 | 0.00013132 | 5.0322e-05 | 0.24348 | 0.24348 | 0.24348 | 0.99764 | -0.016186 | 0.99847 | -0.010492 | 45.088
23 | 0.15416 | 0.039045 | -0.1539 | -0.038943 | 0.00026769 | 0.00010254 | 0.23008 | 0.23008 | 0.23008 | 0.99764 | -0.016186 | 0.99586 | -0.028488 | 42.608
24 | -0.17234 | -0.043618 | 0.17259 | 0.043716 | 0.00025571 | 9.8025e-05 | 0.25698 | 0.25698 | 0.25698 | 0.99847 | -0.010492 | 1 | 0 | 47.5895
25 | 0.041597 | 0.010442 | -0.041527 | -0.010415 | 7.0324e-05 | 2.6663e-05 | 0.061903 | 0.061903 | 0.061903 | 1 | 0 | 0.99826 | -0.012195 | 22.9269
26 | 0.037489 | 0.009403 | -0.037488 | -0.0094024 | 1.7375e-06 | 6.5661e-07 | 0.055885 | 0.055885 | 0.055885 | 0.99826 | -0.012195 | 0.99821 | -0.012529 | 20.698
27 | 0.03236 | 0.0081172 | -0.032321 | -0.0081028 | 3.843e-05 | 1.4435e-05 | 0.048241 | 0.048241 | 0.048241 | 0.99821 | -0.012529 | 0.99699 | -0.021103 | 17.867
28 | -0.031114 | -0.0078011 | 0.031155 | 0.0078165 | 4.1174e-05 | 1.5474e-05 | 0.04761 | 0.04761 | 0.04761 | 0.97247 | -0.19335 | 0.9738 | -0.18381 | 17.6334
29 | 0.026073 | 0.0065376 | -0.026055 | -0.0065311 | 1.7485e-05 | 6.5067e-06 | 0.039896 | 0.039896 | 0.039896 | 0.97247 | -0.19335 | 0.9718 | -0.19819 | 14.7764
30 | 0.014171 | 0.0035527 | -0.014162 | -0.0035495 | 9.3942e-06 | 3.2173e-06 | 0.0217 | 0.0217 | 0.0217 | 0.9718 | -0.19819 | 0.97113 | -0.20298 | 8.0369
31 | 0.011884 | 0.0029784 | -0.01188 | -0.002977 | 4.3325e-06 | 1.4067e-06 | 0.018197 | 0.018197 | 0.018197 | 0.9718 | -0.19819 | 0.97143 | -0.20083 | 6.7395
32 | 0.012683 | 0.0031791 | -0.01268 | -0.0031781 | 3.0796e-06 | 1.0228e-06 | 0.019433 | 0.019433 | 0.019433 | 0.97113 | -0.20298 | 0.97089 | -0.20474 | 7.1976
33 | 0.0014792 | 0.00037034 | -0.0014791 | -0.0003707 | 1.0406e-07 | -3.6161e-07 | 0.0022664 | 0.0022665 | 0.0022665 | 0.97113 | -0.20298 | 0.97106 | -0.20349 | 0.83946
34 | 0.0056625 | 0.0014188 | -0.0056618 | -0.0014188 | 7.058e-07 | 8.535e-08 | 0.0086736 | 0.0086737 | 0.0086737 | 0.97143 | -0.20083 | 0.97131 | -0.20173 | 3.2125
35 | 0.0095824 | 0.0024019 | -0.0095752 | -0.0023998 | 7.128e-06 | 2.0871e-06 | 0.014686 | 0.014687 | 0.014687 | 0.97089 | -0.20474 | 0.97014 | -0.21011 | 5.4395
36 | 0.0033769 | 0.00084611 | -0.0033765 | -0.00084624 | 3.6535e-07 | -1.3023e-07 | 0.0051732 | 0.0051733 | 0.0051733 | 0.97131 | -0.20173 | 0.9712 | -0.20251 | 1.916
37 | 0.0073141 | 0.0018331 | -0.0073134 | -0.0018329 | 6.3041e-07 | 1.4335e-07 | 0.011218 | 0.011218 | 0.011218 | 0.97014 | -0.21011 | 0.97006 | -0.21073 | 4.155
38 | -0.0026715 | -0.00066954 | 0.0026716 | 0.00066951 | 3.6234e-08 | -3.3383e-08 | 0.0039938 | 0.0039938 | 0.0039938 | 0.99536 | -0.032541 | 0.99537 | -0.032443 | 1.4792
39 | -0.0056044 | -0.0014045 | 0.005605 | 0.0014046 | 6.1635e-07 | 5.413e-08 | 0.0083782 | 0.0083781 | 0.0083782 | 0.99537 | -0.032443 | 0.99548 | -0.031648 | 3.103
40 | 0.027511 | 0.0068973 | -0.027497 | -0.0068918 | 1.4837e-05 | 5.5227e-06 | 0.041062 | 0.041062 | 0.041062 | 0.99699 | -0.021103 | 0.99643 | -0.024998 | 15.2082
41 | 0.013921 | 0.0034895 | -0.013917 | -0.0034879 | 4.6011e-06 | 1.5475e-06 | 0.020789 | 0.020789 | 0.020789 | 0.99643 | -0.024998 | 0.99609 | -0.027385 | 7.6998
42 | 0.04306 | 0.010836 | -0.043036 | -0.010827 | 2.4197e-05 | 9.1922e-06 | 0.065398 | 0.065398 | 0.065398 | 0.97999 | -0.13953 | 0.97942 | -0.14355 | 24.2215
43 | 0.043036 | 0.010827 | -0.04297 | -0.010802 | 6.5902e-05 | 2.5037e-05 | 0.065398 | 0.065398 | 0.065398 | 0.97942 | -0.14355 | 0.97787 | -0.15455 | 24.2216
44 | 0.041992 | 0.010557 | -0.041965 | -0.010547 | 2.6947e-05 | 1.0232e-05 | 0.06391 | 0.06391 | 0.06391 | 0.97787 | -0.15455 | 0.97722 | -0.15916 | 23.6704
45 | -0.020608 | -0.0051648 | 0.020617 | 0.0051682 | 9.2598e-06 | 3.378e-06 | 0.031609 | 0.031609 | 0.031609 | 0.97013 | -0.21004 | 0.97058 | -0.20679 | 11.7071
46 | -0.029425 | -0.0073757 | 0.029477 | 0.0073952 | 5.1992e-05 | 1.949e-05 | 0.045113 | 0.045112 | 0.045113 | 0.97058 | -0.20679 | 0.97235 | -0.19405 | 16.7084
47 | 0.036636 | 0.0092112 | -0.03656 | -0.0091826 | 7.5773e-05 | 2.8656e-05 | 0.055796 | 0.055796 | 0.055796 | 0.97722 | -0.15916 | 0.97514 | -0.17403 | 20.6652
48 | 0.0053288 | 0.0013353 | -0.0053281 | -0.0013352 | 7.1728e-07 | 5.7175e-08 | 0.0081141 | 0.0081142 | 0.0081142 | 0.97722 | -0.15916 | 0.97709 | -0.16013 | 3.0053
49 | 0.0061428 | 0.0015391 | -0.0061385 | -0.0015385 | 4.3336e-06 | 6.927e-07 | 0.0094004 | 0.0094008 | 0.0094008 | 0.97235 | -0.19405 | 0.97164 | -0.19915 | 3.4818
50 | -0.03562 | -0.0089343 | 0.035719 | 0.0089718 | 9.9157e-05 | 3.7472e-05 | 0.054513 | 0.054513 | 0.054513 | 0.97235 | -0.19405 | 0.97514 | -0.17403 | 20.19
51 | 0.0040761 | 0.0010215 | -0.004076 | -0.0010215 | 8.1877e-08 | -1.1157e-08 | 0.0062075 | 0.0062076 | 0.0062076 | 0.97709 | -0.16013 | 0.97707 | -0.16028 | 2.2991
52 | 0.011279 | 0.002827 | -0.011276 | -0.0028258 | 3.6922e-06 | 1.1489e-06 | 0.01685 | 0.01685 | 0.01685 | 0.99609 | -0.027385 | 0.99575 | -0.02975 | 6.2407
53 | 0.0089392 | 0.0022402 | -0.0089372 | -0.0022397 | 1.9685e-06 | 5.272e-07 | 0.013358 | 0.013358 | 0.013358 | 0.99575 | -0.02975 | 0.99553 | -0.031341 | 4.9476
54 | 0.007175 | 0.0017981 | -0.0071747 | -0.001798 | 3.0499e-07 | 6.2052e-08 | 0.010724 | 0.010724 | 0.010724 | 0.99553 | -0.031341 | 0.99548 | -0.031648 | 3.972
55 | -0.0035922 | -0.0009003 | 0.0035924 | 0.00090025 | 1.5304e-07 | -4.3759e-08 | 0.005471 | 0.005471 | 0.005471 | 0.97702 | -0.16058 | 0.97707 | -0.16028 | 2.0263

## res_trafo
| p_hv_mw | q_hv_mvar | p_lv_mw | q_lv_mvar | pl_mw | ql_mvar | i_hv_ka | i_lv_ka | vm_hv_pu | va_hv_degree | vm_lv_pu | va_lv_degree | loading_percent
0 | 2.5187e-16 | 8.8016e-16 | 0.00079998 | 7.4552e-08 | 0.00079998 | 7.4552e-08 | 2.6429e-17 | 0.0011547 | 0.99998 | 149.9947 | 1 | 0 | 0.31999

## res_ext_grid
| p_mw | q_mvar
0 | 0.21966 | 0.055329

## res_load
| p_mw | q_mvar
0 | 0.0057504 | 0.0014412
1 | 0.0036799 | 0.00092227
2 | 0.0032316 | 0.00080991
3 | 0.0038216 | 0.00095779
4 | 0.01094 | 0.0027419
5 | 0.0058132 | 0.0014569
6 | 0.0023727 | 0.00059466
7 | 0.0027432 | 0.0006875
8 | 0.0039707 | 0.00099515
9 | 0.0073281 | 0.0018366
10 | 0.010453 | 0.0026198
11 | 0.0020315 | 0.00050914
12 | 0.0089791 | 0.0022504
13 | 0.0090639 | 0.0022716
14 | 0.0023485 | 0.00058859
15 | 0.0046742 | 0.0011715
16 | 0.0040373 | 0.0010118
17 | 0.0051278 | 0.0012852
18 | 0.0050413 | 0.0012635
19 | 0.010267 | 0.0025733
20 | 0.006217 | 0.0015581
21 | 0.0030973 | 0.00077626
22 | 0.0014791 | 0.0003707
23 | 0.0022849 | 0.00057265
24 | 0.0022612 | 0.0005667
25 | 0.0033765 | 0.00084624
26 | 0.0073134 | 0.0018329
27 | 0.0026715 | 0.00066954
28 | 0.0029328 | 0.00073504
29 | 0.0048099 | 0.0012055
30 | 0.013575 | 0.0034023
31 | 0.0024784 | 0.00062114
32 | 0.00097803 | 0.00024512
33 | 0.020608 | 0.0051648
34 | 0.0088079 | 0.0022075
35 | 0.00084108 | 0.00021079
36 | 0.001252 | 0.00031378
37 | 0.0026372 | 0.00066096
38 | 0.0023365 | 0.00058559
39 | 0.0017622 | 0.00044165
40 | 0.0015697 | 0.00039341
41 | 0.0035922 | 0.0009003
42 | 0.00048367 | 0.00012122
43 | 0.0061385 | 0.0015385

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object
62 | res_bus | vm_pu | float64
63 | res_bus | va_degree | float64
64 | res_bus | p_mw | float64
65 | res_bus | q_mvar | float64
66 | res_line | p_from_mw | float64
67 | res_line | q_from_mvar | float64
68 | res_line | p_to_mw | float64
69 | res_line | q_to_mvar | float64
70 | res_line | pl_mw | float64
71 | res_line | ql_mvar | float64
72 | res_line | i_from_ka | float64
73 | res_line | i_to_ka | float64
74 | res_line | i_ka | float64
75 | res_line | vm_from_pu | float64
76 | res_line | va_from_degree | float64
77 | res_line | vm_to_pu | float64
78 | res_line | va_to_degree | float64
79 | res_line | loading_percent | float64
80 | res_trafo | p_hv_mw | float64
81 | res_trafo | q_hv_mvar | float64
82 | res_trafo | p_lv_mw | float64
83 | res_trafo | q_lv_mvar | float64
84 | res_trafo | pl_mw | float64
85 | res_trafo | ql_mvar | float64
86 | res_trafo | i_hv_ka | float64
87 | res_trafo | i_lv_ka | float64
88 | res_trafo | vm_hv_pu | float64
89 | res_trafo | va_hv_degree | float64
90 | res_trafo | vm_lv_pu | float64
91 | res_trafo | va_lv_degree | float64
92 | res_trafo | loading_percent | float64
93 | res_ext_grid | p_mw | float64
94 | res_ext_grid | q_mvar | float64
95 | res_load | p_mw | float64
96 | res_load | q_mvar | float64

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | TRUE | FALSE |  | 50 | 1