## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_1039-6_0_3_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_1039-6_0_3_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_1039-6_0_3_node_2 | 0.4 | n |  | TRUE
3 | bus_LV_1039-6_0_3_node_3 | 0.4 | n |  | TRUE
4 | bus_LV_1039-6_0_3_node_4 | 0.4 | n |  | TRUE
5 | bus_LV_1039-6_0_3_node_24 | 0.4 | n |  | TRUE
6 | bus_LV_1039-6_0_3_node_188 | 0.4 | n |  | TRUE
7 | bus_LV_1039-6_0_3_node_5 | 0.4 | n |  | TRUE
8 | bus_LV_1039-6_0_3_node_10 | 0.4 | n |  | TRUE
9 | bus_LV_1039-6_0_3_node_7 | 0.4 | n |  | TRUE
10 | bus_LV_1039-6_0_3_node_8 | 0.4 | n |  | TRUE
11 | bus_LV_1039-6_0_3_node_9 | 0.4 | n |  | TRUE
12 | bus_LV_1039-6_0_3_node_13 | 0.4 | n |  | TRUE
13 | bus_LV_1039-6_0_3_node_11 | 0.4 | n |  | TRUE
14 | bus_LV_1039-6_0_3_node_28 | 0.4 | n |  | TRUE
15 | bus_LV_1039-6_0_3_node_20 | 0.4 | n |  | TRUE
16 | bus_LV_1039-6_0_3_node_29 | 0.4 | n |  | TRUE
17 | bus_LV_1039-6_0_3_node_12 | 0.4 | n |  | TRUE
18 | bus_LV_1039-6_0_3_node_14 | 0.4 | n |  | TRUE
19 | bus_LV_1039-6_0_3_node_15 | 0.4 | n |  | TRUE
20 | bus_LV_1039-6_0_3_node_22 | 0.4 | n |  | TRUE
21 | bus_LV_1039-6_0_3_node_25 | 0.4 | n |  | TRUE
22 | bus_LV_1039-6_0_3_node_54 | 0.4 | n |  | TRUE
23 | bus_LV_1039-6_0_3_node_16 | 0.4 | n |  | TRUE
24 | bus_LV_1039-6_0_3_node_17 | 0.4 | n |  | TRUE
25 | bus_LV_1039-6_0_3_node_18 | 0.4 | n |  | TRUE
26 | bus_LV_1039-6_0_3_node_19 | 0.4 | n |  | TRUE
27 | bus_LV_1039-6_0_3_node_21 | 0.4 | n |  | TRUE
28 | bus_LV_1039-6_0_3_node_27 | 0.4 | n |  | TRUE
29 | bus_LV_1039-6_0_3_node_189 | 0.4 | n |  | TRUE
30 | bus_LV_1039-6_0_3_node_23 | 0.4 | n |  | TRUE
31 | bus_LV_1039-6_0_3_node_26 | 0.4 | n |  | TRUE
32 | bus_LV_1039-6_0_3_node_186 | 0.4 | n |  | TRUE
33 | bus_LV_1039-6_0_3_node_30 | 0.4 | n |  | TRUE
34 | bus_LV_1039-6_0_3_node_55 | 0.4 | n |  | TRUE
35 | bus_LV_1039-6_0_3_node_56 | 0.4 | n |  | TRUE
36 | bus_LV_1039-6_0_3_node_116 | 0.4 | n |  | TRUE
37 | bus_LV_1039-6_0_3_node_184 | 0.4 | n |  | TRUE
38 | bus_LV_1039-6_0_3_node_185 | 0.4 | n |  | TRUE
39 | bus_LV_1039-6_0_3_node_187 | 0.4 | n |  | TRUE
40 | bus_MV_0_node_10 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_1039-6_0_3_load_0 | 0 | 0.00018691 | 4.6843e-05 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_1039-6_0_3_load_1 | 1 | 0.00048412 | 0.00012133 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_1039-6_0_3_load_3 | 3 | 0.00010068 | 2.5234e-05 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_1039-6_0_3_load_188 | 6 | 0.00041847 | 0.00010488 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_1039-6_0_3_load_5 | 7 | 0.021329 | 0.0053456 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_1039-6_0_3_load_13 | 12 | 0.00017286 | 4.3323e-05 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_1039-6_0_3_load_11 | 13 | 0.0011591 | 0.00029051 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_1039-6_0_3_load_28 | 14 | 0.00058931 | 0.00014769 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_1039-6_0_3_load_20 | 15 | 0.00021317 | 5.3424e-05 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_1039-6_0_3_load_14 | 18 | 0.00050742 | 0.00012717 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_1039-6_0_3_load_15 | 19 | 0.00021335 | 5.347e-05 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_1039-6_0_3_load_22 | 20 | 0.00028001 | 7.0177e-05 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_1039-6_0_3_load_25 | 21 | 0.00083028 | 0.00020809 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_1039-6_0_3_load_54 | 22 | 0.00011584 | 2.9032e-05 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_1039-6_0_3_load_16 | 23 | 0.00013012 | 3.2611e-05 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_1039-6_0_3_load_17 | 24 | 0.00020899 | 5.2377e-05 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_1039-6_0_3_load_21 | 27 | 0.00024744 | 6.2015e-05 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_1039-6_0_3_load_189 | 29 | 0.0011454 | 0.00028705 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_1039-6_0_3_load_23 | 30 | 0.00011702 | 2.9328e-05 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_1039-6_0_3_load_26 | 31 | 0.00083697 | 0.00020977 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_1039-6_0_3_load_186 | 32 | 0.00066553 | 0.0001668 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_1039-6_0_3_load_30 | 33 | 0.0002056 | 5.1529e-05 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_1039-6_0_3_load_55 | 34 | 0.0005319 | 0.00013331 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_1039-6_0_3_load_56 | 35 | 0.0011078 | 0.00027763 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_1039-6_0_3_load_116 | 36 | 0.00033541 | 8.4062e-05 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_1039-6_0_3_load_184 | 37 | 0.00051372 | 0.00012875 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_1039-6_0_3_load_185 | 38 | 0.00018682 | 4.6821e-05 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_1039-6_0_3_load_187 | 39 | 0.0011149 | 0.00027942 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 8 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_1039-6_0_3_line_0 | NAYY 4x150 SE | 0 | 1 | 0.043096 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
1 | LV_1039-6_0_3_line_1 | NAYY 4x150 SE | 0 | 2 | 0.035326 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
2 | LV_1039-6_0_3_line_2 | NAYY 4x150 SE | 1 | 3 | 0.0061592 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
3 | LV_1039-6_0_3_line_3 | NAYY 4x150 SE | 2 | 4 | 0.11221 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
4 | LV_1039-6_0_3_line_4 | NAYY 4x150 SE | 3 | 5 | 0.014122 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
5 | LV_1039-6_0_3_line_5 | NAYY 4x150 SE | 4 | 6 | 0.062219 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
6 | LV_1039-6_0_3_line_6 | NAYY 4x150 SE | 5 | 11 | 0.026015 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
7 | LV_1039-6_0_3_line_7 | NAYY 4x150 SE | 6 | 39 | 0.29275 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
8 | LV_1039-6_0_3_line_8 | NAYY 4x150 SE | 7 | 8 | 0.30163 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
9 | LV_1039-6_0_3_line_9 | NAYY 4x150 SE | 8 | 15 | 0.013751 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
10 | LV_1039-6_0_3_line_10 | NAYY 4x150 SE | 8 | 16 | 0.012612 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
11 | LV_1039-6_0_3_line_11 | NAYY 4x150 SE | 9 | 10 | 0.036227 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
12 | LV_1039-6_0_3_line_12 | NAYY 4x150 SE | 9 | 11 | 0.01246 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
13 | LV_1039-6_0_3_line_13 | NAYY 4x150 SE | 10 | 12 | 0.018348 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
14 | LV_1039-6_0_3_line_14 | NAYY 4x150 SE | 10 | 13 | 0.024199 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
15 | LV_1039-6_0_3_line_15 | NAYY 4x150 SE | 11 | 14 | 0.019646 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
16 | LV_1039-6_0_3_line_16 | NAYY 4x150 SE | 12 | 20 | 0.027947 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
17 | LV_1039-6_0_3_line_17 | NAYY 4x150 SE | 13 | 17 | 0.027666 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
18 | LV_1039-6_0_3_line_18 | NAYY 4x150 SE | 14 | 16 | 0.0058876 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
19 | LV_1039-6_0_3_line_19 | NAYY 4x150 SE | 15 | 25 | 0.094713 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
20 | LV_1039-6_0_3_line_20 | NAYY 4x150 SE | 16 | 33 | 0.026651 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
21 | LV_1039-6_0_3_line_21 | NAYY 4x150 SE | 17 | 18 | 0.015794 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
22 | LV_1039-6_0_3_line_22 | NAYY 4x150 SE | 17 | 19 | 0.051035 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
23 | LV_1039-6_0_3_line_23 | NAYY 4x150 SE | 18 | 21 | 0.068194 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
24 | LV_1039-6_0_3_line_24 | NAYY 4x150 SE | 19 | 22 | 0.048733 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
25 | LV_1039-6_0_3_line_25 | NAYY 4x150 SE | 20 | 30 | 0.013514 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
26 | LV_1039-6_0_3_line_26 | NAYY 4x150 SE | 21 | 31 | 0.024734 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
27 | LV_1039-6_0_3_line_27 | NAYY 4x150 SE | 22 | 34 | 0.11249 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
28 | LV_1039-6_0_3_line_28 | NAYY 4x150 SE | 23 | 24 | 0.022142 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
29 | LV_1039-6_0_3_line_29 | NAYY 4x150 SE | 23 | 25 | 0.080383 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
30 | LV_1039-6_0_3_line_30 | NAYY 4x150 SE | 24 | 26 | 0.03753 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
31 | LV_1039-6_0_3_line_31 | NAYY 4x150 SE | 25 | 27 | 0.16536 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
32 | LV_1039-6_0_3_line_32 | NAYY 4x150 SE | 26 | 28 | 0.16823 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
33 | LV_1039-6_0_3_line_33 | NAYY 4x150 SE | 27 | 29 | 0.28313 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
34 | LV_1039-6_0_3_line_34 | NAYY 4x150 SE | 28 | 32 | 0.019226 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
35 | LV_1039-6_0_3_line_35 | NAYY 4x150 SE | 32 | 37 | 0.018015 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
36 | LV_1039-6_0_3_line_36 | NAYY 4x150 SE | 34 | 35 | 0.029046 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
37 | LV_1039-6_0_3_line_37 | NAYY 4x150 SE | 35 | 36 | 0.011888 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
38 | LV_1039-6_0_3_line_38 | NAYY 4x150 SE | 37 | 38 | 0.009611 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_1039-6_0_3_trafo_10 | 0.25 MVA 20/0.4 kV | 40 | 8 | 0.25 | 20 | 0.4 | 6 | 1.44 | 0.8 | 0.32 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6 | x7 | y7 | x8 | y8 | x9 | y9
0 | 2663344.3299 | 1224482.6745 | 2663352.2996 | 1224480.977 | 2663359.4054 | 1224478.0062 | 2663368.642 | 1224470.0439 | 2663376.1339 | 1224456.9905
1 | 2663309.4791 | 1224488.4485 | 2663343.9478 | 1224482.7559 | 2663344.3299 | 1224482.6745
2 | 2663376.1339 | 1224456.9905 | 2663377.1092 | 1224455.2912 | 2663380.3445 | 1224452.6131
3 | 2663309.4791 | 1224488.4485 | 2663277.3151 | 1224494.1659 | 2663263.249 | 1224502.833 | 2663251.9516 | 1224519.2346 | 2663242.3768 | 1224524.0805 | 2663231.9468 | 1224519.5112 | 2663228.0562 | 1224503.9044 | 2663228.8906 | 1224498.8767
4 | 2663392.9223 | 1224448.5108 | 2663385.5163 | 1224448.3318 | 2663380.3445 | 1224452.6131
5 | 2663172.8064 | 1224471.5974 | 2663228.8906 | 1224498.8767
6 | 2663414.528 | 1224463.0946 | 2663397.6353 | 1224451.6518 | 2663392.9223 | 1224448.5108
7 | 2663172.8064 | 1224471.5974 | 2662916.0269 | 1224331.0076
8 | 2663415.3073 | 1224490.9985 | 2663692.121 | 1224610.8025
9 | 2663415.3073 | 1224490.9985 | 2663409.5881 | 1224503.504
10 | 2663415.3073 | 1224490.9985 | 2663403.6215 | 1224486.171
11 | 2663442.9638 | 1224438.693 | 2663424.8638 | 1224470.098
12 | 2663414.528 | 1224463.0946 | 2663424.8638 | 1224470.098
13 | 2663442.9638 | 1224438.693 | 2663431.9383 | 1224432.3715 | 2663427.3333 | 1224429.1177
14 | 2663442.9638 | 1224438.693 | 2663446.0462 | 1224433.3447 | 2663455.0667 | 1224417.7384
15 | 2663414.528 | 1224463.0946 | 2663409.9136 | 1224472.04 | 2663406.0164 | 1224480.7924
16 | 2663407.7104 | 1224409.8428 | 2663411.9548 | 1224412.1235 | 2663417.108 | 1224417.3706 | 2663423.3591 | 1224426.3096 | 2663427.3333 | 1224429.1177
17 | 2663468.9117 | 1224393.7853 | 2663455.0667 | 1224417.7384
18 | 2663403.6215 | 1224486.171 | 2663406.0164 | 1224480.7924
19 | 2663370.1966 | 1224589.6368 | 2663409.5881 | 1224503.504
20 | 2663390.6223 | 1224509.2473 | 2663397.0575 | 1224500.9105 | 2663403.6215 | 1224486.171
21 | 2663468.9117 | 1224393.7853 | 2663476.7657 | 1224380.0824
22 | 2663468.9117 | 1224393.7853 | 2663453.6417 | 1224386.5957 | 2663421.5712 | 1224374.8415
23 | 2663510.6771 | 1224320.9175 | 2663476.7657 | 1224380.0824
24 | 2663410.0387 | 1224335.0686 | 2663410.843 | 1224339.2763 | 2663407.2579 | 1224363.3424 | 2663408.0737 | 1224367.9095 | 2663411.1191 | 1224371.0106 | 2663421.5712 | 1224374.8415
25 | 2663395.8059 | 1224403.446 | 2663407.7104 | 1224409.8428
26 | 2663521.7765 | 1224298.8204 | 2663512.248 | 1224318.1769 | 2663510.6771 | 1224320.9175
27 | 2663410.0387 | 1224335.0686 | 2663402.8206 | 1224297.3086 | 2663396.5812 | 1224263.0536 | 2663388.0188 | 1224224.7714
28 | 2663327.9303 | 1224683.0449 | 2663337.0586 | 1224662.8716
29 | 2663370.1966 | 1224589.6368 | 2663337.0586 | 1224662.8716
30 | 2663312.4585 | 1224717.2374 | 2663327.9303 | 1224683.0449
31 | 2663370.1966 | 1224589.6368 | 2663332.3836 | 1224576.9152 | 2663312.041 | 1224571.1953 | 2663297.2177 | 1224569.7923 | 2663279.9633 | 1224572.4106 | 2663264.8244 | 1224576.4523 | 2663252.0961 | 1224584.0998 | 2663243.0704 | 1224590.8082 | 2663233.8015 | 1224600.4159 | 2663224.3481 | 1224614.395
32 | 2663242.3242 | 1224870.0453 | 2663254.0329 | 1224849.1229 | 2663277.506 | 1224795.6493 | 2663294.4683 | 1224756.9938 | 2663312.4585 | 1224717.2374
33 | 2663224.3481 | 1224614.395 | 2662951.6661 | 1224690.6174
34 | 2663242.3242 | 1224870.0453 | 2663225.301 | 1224861.6925 | 2663225.0549 | 1224861.5975
35 | 2663207.8586 | 1224857.8159 | 2663213.9521 | 1224857.3136 | 2663225.0549 | 1224861.5975
36 | 2663388.0188 | 1224224.7714 | 2663388.0188 | 1224224.7714 | 2663374.4922 | 1224199.0669
37 | 2663366.998 | 1224189.9347 | 2663373.1917 | 1224196.5956 | 2663374.4922 | 1224199.0669
38 | 2663207.8586 | 1224857.8159 | 2663204.8421 | 1224857.0056 | 2663202.63 | 1224854.7029 | 2663201.9363 | 1224851.4824

## bus_geodata
| x | y | coords
0 | 2663344.3299 | 1224482.6745
1 | 2663376.1339 | 1224456.9905
2 | 2663309.4791 | 1224488.4485
3 | 2663380.3445 | 1224452.6131
4 | 2663228.8906 | 1224498.8767
5 | 2663392.9223 | 1224448.5108
6 | 2663172.8064 | 1224471.5974
7 | 2663692.121 | 1224610.8025
8 | 2663415.3073 | 1224490.9985
9 | 2663424.8638 | 1224470.098
10 | 2663442.9638 | 1224438.693
11 | 2663414.528 | 1224463.0946
12 | 2663427.3333 | 1224429.1177
13 | 2663455.0667 | 1224417.7384
14 | 2663406.0164 | 1224480.7924
15 | 2663409.5881 | 1224503.504
16 | 2663403.6215 | 1224486.171
17 | 2663468.9117 | 1224393.7853
18 | 2663476.7657 | 1224380.0824
19 | 2663421.5712 | 1224374.8415
20 | 2663407.7104 | 1224409.8428
21 | 2663510.6771 | 1224320.9175
22 | 2663410.0387 | 1224335.0686
23 | 2663337.0586 | 1224662.8716
24 | 2663327.9303 | 1224683.0449
25 | 2663370.1966 | 1224589.6368
26 | 2663312.4585 | 1224717.2374
27 | 2663224.3481 | 1224614.395
28 | 2663242.3242 | 1224870.0453
29 | 2662951.6661 | 1224690.6174
30 | 2663395.8059 | 1224403.446
31 | 2663521.7765 | 1224298.8204
32 | 2663225.0549 | 1224861.5975
33 | 2663390.6223 | 1224509.2473
34 | 2663388.0188 | 1224224.7714
35 | 2663374.4922 | 1224199.0669
36 | 2663366.998 | 1224189.9347
37 | 2663207.8586 | 1224857.8159
38 | 2663201.9363 | 1224851.4824
39 | 2662916.0269 | 1224331.0076
40 | 2663415.3073 | 1224490.9985

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## res_bus
| vm_pu | va_degree | p_mw | q_mvar
0 | 0.99926 | -0.0052685 | 0.00018691 | 4.6843e-05
1 | 0.99937 | -0.0045056 | 0.00048412 | 0.00012133
2 | 0.99918 | -0.0058267 | 0 | 0
3 | 0.99939 | -0.0043666 | 0.00010068 | 2.5234e-05
4 | 0.99894 | -0.0075922 | 0 | 0
5 | 0.99943 | -0.0040336 | 0 | 0
6 | 0.9988 | -0.0085662 | 0.00041847 | 0.00010488
7 | 0.99074 | -0.064852 | 0.021329 | 0.0053456
8 | 1 | 0 | -0.034957 | -0.0085573
9 | 0.99941 | -0.0041989 | 0 | 0
10 | 0.99909 | -0.0064642 | 0 | 0
11 | 0.99952 | -0.0034198 | 0 | 0
12 | 0.99907 | -0.0065696 | 0.00017286 | 4.3323e-05
13 | 0.99889 | -0.0078381 | 0.0011591 | 0.00029051
14 | 0.99976 | -0.0017278 | 0.00058931 | 0.00014769
15 | 0.99994 | -0.0004666 | 0.00021317 | 5.3424e-05
16 | 0.99983 | -0.0011862 | 0 | 0
17 | 0.99871 | -0.0090879 | 0 | 0
18 | 0.99867 | -0.0094332 | 0.00050742 | 0.00012717
19 | 0.99855 | -0.010276 | 0.00021335 | 5.347e-05
20 | 0.99906 | -0.0066813 | 0.00028001 | 7.0177e-05
21 | 0.9985 | -0.010575 | 0.00083028 | 0.00020809
22 | 0.9984 | -0.011305 | 0.00011584 | 2.9032e-05
23 | 0.99932 | -0.0048696 | 0.00013012 | 3.2611e-05
24 | 0.99927 | -0.0052238 | 0.00020899 | 5.2377e-05
25 | 0.99952 | -0.0034753 | 0 | 0
26 | 0.9992 | -0.0057449 | 0 | 0
27 | 0.99919 | -0.0058359 | 0.00024744 | 6.2015e-05
28 | 0.99887 | -0.0080644 | 0 | 0
29 | 0.99873 | -0.0091183 | 0.0011454 | 0.00028705
30 | 0.99905 | -0.0066972 | 0.00011702 | 2.9328e-05
31 | 0.99847 | -0.010783 | 0.00083697 | 0.00020977
32 | 0.99883 | -0.0083278 | 0.00066553 | 0.0001668
33 | 0.99982 | -0.0012413 | 0.0002056 | 5.1529e-05
34 | 0.99808 | -0.013541 | 0.0005319 | 0.00013331
35 | 0.99802 | -0.013961 | 0.0011078 | 0.00027763
36 | 0.99802 | -0.014001 | 0.00033541 | 8.4062e-05
37 | 0.99882 | -0.0084544 | 0.00051372 | 0.00012875
38 | 0.99881 | -0.0084724 | 0.00018682 | 4.6821e-05
39 | 0.99834 | -0.011875 | 0.0011149 | 0.00027942
40 | 0.99998 | 149.9947 | 0 | 0

## res_line
| p_from_mw | q_from_mvar | p_to_mw | q_to_mvar | pl_mw | ql_mvar | i_from_ka | i_to_ka | i_ka | vm_from_pu | va_from_degree | vm_to_pu | va_to_degree | loading_percent
0 | -0.0017215 | -0.00042503 | 0.0017217 | 0.00042453 | 1.7639e-07 | -4.9676e-07 | 0.0025612 | 0.002561 | 0.0025612 | 0.99926 | -0.0052685 | 0.99937 | -0.0045056 | 0.94861
1 | 0.0015346 | 0.00037818 | -0.0015345 | -0.0003786 | 1.1489e-07 | -4.1855e-07 | 0.0022829 | 0.0022831 | 0.0022831 | 0.99926 | -0.0052685 | 0.99918 | -0.0058267 | 0.84558
2 | -0.0022058 | -0.00054586 | 0.0022058 | 0.0005458 | 4.1396e-08 | -6.4783e-08 | 0.0032819 | 0.0032819 | 0.0032819 | 0.99937 | -0.0045056 | 0.99939 | -0.0043666 | 1.2155
3 | 0.0015345 | 0.0003786 | -0.0015341 | -0.00037993 | 3.6506e-07 | -1.329e-06 | 0.0022831 | 0.0022836 | 0.0022836 | 0.99918 | -0.0058267 | 0.99894 | -0.0075922 | 0.84577
4 | -0.0023065 | -0.00057103 | 0.0023066 | 0.00057089 | 1.0378e-07 | -1.4514e-07 | 0.0034318 | 0.0034317 | 0.0034318 | 0.99939 | -0.0043666 | 0.99943 | -0.0040336 | 1.271
5 | 0.0015341 | 0.00037993 | -0.0015339 | -0.00038067 | 2.0249e-07 | -7.3655e-07 | 0.0022836 | 0.0022839 | 0.0022839 | 0.99894 | -0.0075922 | 0.9988 | -0.0085662 | 0.84588
6 | -0.0023066 | -0.00057089 | 0.0023068 | 0.00057062 | 1.9117e-07 | -2.6741e-07 | 0.0034317 | 0.0034316 | 0.0034317 | 0.99943 | -0.0040336 | 0.99952 | -0.0034198 | 1.271
7 | 0.0011154 | 0.00027579 | -0.0011149 | -0.00027942 | 5.0405e-07 | -3.6358e-06 | 0.0016604 | 0.0016618 | 0.0016618 | 0.9988 | -0.0085662 | 0.99834 | -0.011875 | 0.61547
8 | -0.021329 | -0.0053456 | 0.021522 | 0.005416 | 0.00019314 | 7.0366e-05 | 0.032035 | 0.032034 | 0.032035 | 0.99074 | -0.064852 | 1 | 0 | 11.8648
9 | 0.0033146 | 0.00081922 | -0.0033143 | -0.00081932 | 2.084e-07 | -1.0024e-07 | 0.0049281 | 0.0049282 | 0.0049282 | 1 | 0 | 0.99994 | -0.0004666 | 1.8252
10 | 0.00932 | 0.002322 | -0.0093185 | -0.0023216 | 1.5126e-06 | 4.1633e-07 | 0.013864 | 0.013864 | 0.013864 | 1 | 0 | 0.99983 | -0.0011862 | 5.1347
11 | 0.0062135 | 0.0015513 | -0.0062116 | -0.0015511 | 1.9339e-06 | 2.6925e-07 | 0.0092492 | 0.0092493 | 0.0092493 | 0.99941 | -0.0041989 | 0.99909 | -0.0064642 | 3.4257
12 | -0.0062135 | -0.0015513 | 0.0062142 | 0.0015514 | 6.6513e-07 | 9.2529e-08 | 0.0092492 | 0.0092491 | 0.0092492 | 0.99941 | -0.0041989 | 0.99952 | -0.0034198 | 3.4256
13 | 0.00056991 | 0.00014205 | -0.0005699 | -0.00014229 | 8.2441e-09 | -2.3709e-07 | 0.00084853 | 0.00084862 | 0.00084862 | 0.99909 | -0.0064642 | 0.99907 | -0.0065696 | 0.3143
14 | 0.0056417 | 0.001409 | -0.0056406 | -0.0014089 | 1.0657e-06 | 9.3047e-08 | 0.0084008 | 0.0084009 | 0.0084009 | 0.99909 | -0.0064642 | 0.99889 | -0.0078381 | 3.1115
15 | -0.008521 | -0.002122 | 0.0085229 | 0.0021225 | 1.9713e-06 | 5.0063e-07 | 0.012681 | 0.012681 | 0.012681 | 0.99952 | -0.0034198 | 0.99976 | -0.0017278 | 4.6966
16 | 0.00039704 | 9.8964e-05 | -0.00039703 | -9.9328e-05 | 6.0956e-09 | -3.6361e-07 | 0.00059115 | 0.00059128 | 0.00059128 | 0.99907 | -0.0065696 | 0.99906 | -0.0066813 | 0.21899
17 | 0.0044815 | 0.0011184 | -0.0044807 | -0.0011185 | 7.6904e-07 | -6.6313e-08 | 0.0066742 | 0.0066743 | 0.0066743 | 0.99889 | -0.0078381 | 0.99871 | -0.0090879 | 2.472
18 | -0.0091122 | -0.0022702 | 0.0091129 | 0.0022704 | 6.753e-07 | 1.8252e-07 | 0.013558 | 0.013558 | 0.013558 | 0.99976 | -0.0017278 | 0.99983 | -0.0011862 | 5.0214
19 | 0.0031012 | 0.00076589 | -0.0030999 | -0.00076665 | 1.2567e-06 | -7.5856e-07 | 0.004611 | 0.0046114 | 0.0046114 | 0.99994 | -0.0004666 | 0.99952 | -0.0034753 | 1.7079
20 | 0.0002056 | 5.118e-05 | -0.0002056 | -5.1529e-05 | 1.5565e-09 | -3.4892e-07 | 0.00030587 | 0.00030599 | 0.00030599 | 0.99983 | -0.0011862 | 0.99982 | -0.0012413 | 0.11333
21 | 0.0021751 | 0.00054375 | -0.002175 | -0.00054392 | 1.0348e-07 | -1.6687e-07 | 0.0032402 | 0.0032403 | 0.0032403 | 0.99871 | -0.0090879 | 0.99867 | -0.0094332 | 1.2001
22 | 0.0023056 | 0.00057472 | -0.0023053 | -0.00057524 | 3.7559e-07 | -5.2325e-07 | 0.0034341 | 0.0034344 | 0.0034344 | 0.99871 | -0.0090879 | 0.99855 | -0.010276 | 1.272
23 | 0.0016675 | 0.00041675 | -0.0016673 | -0.00041754 | 2.6265e-07 | -7.9111e-07 | 0.0024842 | 0.0024845 | 0.0024845 | 0.99867 | -0.0094332 | 0.9985 | -0.010575 | 0.9202
24 | 0.0020919 | 0.00052177 | -0.0020916 | -0.00052229 | 2.9536e-07 | -5.238e-07 | 0.0031164 | 0.0031167 | 0.0031167 | 0.99855 | -0.010276 | 0.9984 | -0.011305 | 1.1543
25 | 0.00011702 | 2.9151e-05 | -0.00011702 | -2.9328e-05 | 2.5608e-10 | -1.7686e-07 | 0.00017423 | 0.00017429 | 0.00017429 | 0.99906 | -0.0066813 | 0.99905 | -0.0066972 | 0.064552
26 | 0.000837 | 0.00020945 | -0.00083697 | -0.00020977 | 2.401e-08 | -3.1427e-07 | 0.0012472 | 0.0012473 | 0.0012473 | 0.9985 | -0.010575 | 0.99847 | -0.010783 | 0.46198
27 | 0.0019758 | 0.00049326 | -0.0019752 | -0.0004945 | 6.0849e-07 | -1.2366e-06 | 0.002944 | 0.0029445 | 0.0029445 | 0.9984 | -0.011305 | 0.99808 | -0.013541 | 1.0906
28 | 0.0015757 | 0.00039141 | -0.0015756 | -0.00039167 | 7.5987e-08 | -2.6086e-07 | 0.0023451 | 0.0023452 | 0.0023452 | 0.99932 | -0.0048696 | 0.99927 | -0.0052238 | 0.86858
29 | -0.0017058 | -0.00042402 | 0.0017062 | 0.00042309 | 3.2326e-07 | -9.2902e-07 | 0.0025388 | 0.0025385 | 0.0025388 | 0.99932 | -0.0048696 | 0.99952 | -0.0034753 | 0.9403
30 | 0.0013667 | 0.00033929 | -0.0013666 | -0.00033974 | 9.6892e-08 | -4.5435e-07 | 0.002034 | 0.0020341 | 0.0020341 | 0.99927 | -0.0052238 | 0.9992 | -0.0057449 | 0.75338
31 | 0.0013938 | 0.00034356 | -0.0013933 | -0.00034556 | 4.4355e-07 | -1.996e-06 | 0.0020729 | 0.0020737 | 0.0020737 | 0.99952 | -0.0034753 | 0.99919 | -0.0058359 | 0.76803
32 | 0.0013666 | 0.00033974 | -0.0013661 | -0.00034178 | 4.3451e-07 | -2.0356e-06 | 0.0020341 | 0.0020349 | 0.0020349 | 0.9992 | -0.0057449 | 0.99887 | -0.0080644 | 0.75367
33 | 0.0011459 | 0.00028355 | -0.0011454 | -0.00028705 | 5.1411e-07 | -3.5091e-06 | 0.0017052 | 0.0017065 | 0.0017065 | 0.99919 | -0.0058359 | 0.99873 | -0.0091183 | 0.63203
34 | 0.0013661 | 0.00034178 | -0.0013661 | -0.00034201 | 4.9679e-08 | -2.3254e-07 | 0.0020349 | 0.002035 | 0.002035 | 0.99887 | -0.0080644 | 0.99883 | -0.0083278 | 0.7537
35 | 0.00070055 | 0.00017521 | -0.00070054 | -0.00017545 | 1.2242e-08 | -2.3108e-07 | 0.0010435 | 0.0010436 | 0.0010436 | 0.99883 | -0.0083278 | 0.99882 | -0.0084544 | 0.38652
36 | 0.0014433 | 0.00036119 | -0.0014432 | -0.00036154 | 8.3907e-08 | -3.4731e-07 | 0.0021515 | 0.0021517 | 0.0021517 | 0.99808 | -0.013541 | 0.99802 | -0.013961 | 0.79691
37 | 0.00033541 | 8.3907e-05 | -0.00033541 | -8.4062e-05 | 1.855e-09 | -1.5463e-07 | 0.00050003 | 0.00050009 | 0.00050009 | 0.99802 | -0.013961 | 0.99802 | -0.014001 | 0.18522
38 | 0.00018682 | 4.6695e-05 | -0.00018682 | -4.6821e-05 | 4.6448e-10 | -1.2561e-07 | 0.00027827 | 0.00027832 | 0.00027832 | 0.99882 | -0.0084544 | 0.99881 | -0.0084724 | 0.10308

## res_trafo
| p_hv_mw | q_hv_mvar | p_lv_mw | q_lv_mvar | pl_mw | ql_mvar | i_hv_ka | i_lv_ka | vm_hv_pu | va_hv_degree | vm_lv_pu | va_lv_degree | loading_percent
0 | 2.5187e-16 | 8.8016e-16 | 0.00079998 | 7.4552e-08 | 0.00079998 | 7.4552e-08 | 2.6429e-17 | 0.0011547 | 0.99998 | 149.9947 | 1 | 0 | 0.31999

## res_ext_grid
| p_mw | q_mvar
0 | 0.034957 | 0.0085573

## res_load
| p_mw | q_mvar
0 | 0.00018691 | 4.6843e-05
1 | 0.00048412 | 0.00012133
2 | 0.00010068 | 2.5234e-05
3 | 0.00041847 | 0.00010488
4 | 0.021329 | 0.0053456
5 | 0.00017286 | 4.3323e-05
6 | 0.0011591 | 0.00029051
7 | 0.00058931 | 0.00014769
8 | 0.00021317 | 5.3424e-05
9 | 0.00050742 | 0.00012717
10 | 0.00021335 | 5.347e-05
11 | 0.00028001 | 7.0177e-05
12 | 0.00083028 | 0.00020809
13 | 0.00011584 | 2.9032e-05
14 | 0.00013012 | 3.2611e-05
15 | 0.00020899 | 5.2377e-05
16 | 0.00024744 | 6.2015e-05
17 | 0.0011454 | 0.00028705
18 | 0.00011702 | 2.9328e-05
19 | 0.00083697 | 0.00020977
20 | 0.00066553 | 0.0001668
21 | 0.0002056 | 5.1529e-05
22 | 0.0005319 | 0.00013331
23 | 0.0011078 | 0.00027763
24 | 0.00033541 | 8.4062e-05
25 | 0.00051372 | 0.00012875
26 | 0.00018682 | 4.6821e-05
27 | 0.0011149 | 0.00027942

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object
62 | res_bus | vm_pu | float64
63 | res_bus | va_degree | float64
64 | res_bus | p_mw | float64
65 | res_bus | q_mvar | float64
66 | res_line | p_from_mw | float64
67 | res_line | q_from_mvar | float64
68 | res_line | p_to_mw | float64
69 | res_line | q_to_mvar | float64
70 | res_line | pl_mw | float64
71 | res_line | ql_mvar | float64
72 | res_line | i_from_ka | float64
73 | res_line | i_to_ka | float64
74 | res_line | i_ka | float64
75 | res_line | vm_from_pu | float64
76 | res_line | va_from_degree | float64
77 | res_line | vm_to_pu | float64
78 | res_line | va_to_degree | float64
79 | res_line | loading_percent | float64
80 | res_trafo | p_hv_mw | float64
81 | res_trafo | q_hv_mvar | float64
82 | res_trafo | p_lv_mw | float64
83 | res_trafo | q_lv_mvar | float64
84 | res_trafo | pl_mw | float64
85 | res_trafo | ql_mvar | float64
86 | res_trafo | i_hv_ka | float64
87 | res_trafo | i_lv_ka | float64
88 | res_trafo | vm_hv_pu | float64
89 | res_trafo | va_hv_degree | float64
90 | res_trafo | vm_lv_pu | float64
91 | res_trafo | va_lv_degree | float64
92 | res_trafo | loading_percent | float64
93 | res_ext_grid | p_mw | float64
94 | res_ext_grid | q_mvar | float64
95 | res_load | p_mw | float64
96 | res_load | q_mvar | float64

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | TRUE | FALSE |  | 50 | 1