## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_1039-6_1_2_node_31 | 0.4 | n |  | TRUE
1 | bus_LV_1039-6_1_2_node_32 | 0.4 | n |  | TRUE
2 | bus_LV_1039-6_1_2_node_33 | 0.4 | n |  | TRUE
3 | bus_LV_1039-6_1_2_node_34 | 0.4 | n |  | TRUE
4 | bus_LV_1039-6_1_2_node_36 | 0.4 | n |  | TRUE
5 | bus_LV_1039-6_1_2_node_35 | 0.4 | n |  | TRUE
6 | bus_LV_1039-6_1_2_node_37 | 0.4 | n |  | TRUE
7 | bus_LV_1039-6_1_2_node_38 | 0.4 | n |  | TRUE
8 | bus_LV_1039-6_1_2_node_57 | 0.4 | n |  | TRUE
9 | bus_LV_1039-6_1_2_node_39 | 0.4 | n |  | TRUE
10 | bus_LV_1039-6_1_2_node_96 | 0.4 | n |  | TRUE
11 | bus_LV_1039-6_1_2_node_40 | 0.4 | n |  | TRUE
12 | bus_LV_1039-6_1_2_node_41 | 0.4 | n |  | TRUE
13 | bus_LV_1039-6_1_2_node_42 | 0.4 | n |  | TRUE
14 | bus_LV_1039-6_1_2_node_46 | 0.4 | n |  | TRUE
15 | bus_LV_1039-6_1_2_node_43 | 0.4 | n |  | TRUE
16 | bus_LV_1039-6_1_2_node_44 | 0.4 | n |  | TRUE
17 | bus_LV_1039-6_1_2_node_45 | 0.4 | n |  | TRUE
18 | bus_LV_1039-6_1_2_node_53 | 0.4 | n |  | TRUE
19 | bus_LV_1039-6_1_2_node_52 | 0.4 | n |  | TRUE
20 | bus_LV_1039-6_1_2_node_59 | 0.4 | n |  | TRUE
21 | bus_LV_1039-6_1_2_node_47 | 0.4 | n |  | TRUE
22 | bus_LV_1039-6_1_2_node_48 | 0.4 | n |  | TRUE
23 | bus_LV_1039-6_1_2_node_49 | 0.4 | n |  | TRUE
24 | bus_LV_1039-6_1_2_node_50 | 0.4 | n |  | TRUE
25 | bus_LV_1039-6_1_2_node_72 | 0.4 | n |  | TRUE
26 | bus_LV_1039-6_1_2_node_51 | 0.4 | n |  | TRUE
27 | bus_LV_1039-6_1_2_node_65 | 0.4 | n |  | TRUE
28 | bus_LV_1039-6_1_2_node_63 | 0.4 | n |  | TRUE
29 | bus_LV_1039-6_1_2_node_58 | 0.4 | n |  | TRUE
30 | bus_LV_1039-6_1_2_node_85 | 0.4 | n |  | TRUE
31 | bus_LV_1039-6_1_2_node_60 | 0.4 | n |  | TRUE
32 | bus_LV_1039-6_1_2_node_61 | 0.4 | n |  | TRUE
33 | bus_LV_1039-6_1_2_node_62 | 0.4 | n |  | TRUE
34 | bus_LV_1039-6_1_2_node_91 | 0.4 | n |  | TRUE
35 | bus_LV_1039-6_1_2_node_64 | 0.4 | n |  | TRUE
36 | bus_LV_1039-6_1_2_node_66 | 0.4 | n |  | TRUE
37 | bus_LV_1039-6_1_2_node_67 | 0.4 | n |  | TRUE
38 | bus_LV_1039-6_1_2_node_68 | 0.4 | n |  | TRUE
39 | bus_LV_1039-6_1_2_node_70 | 0.4 | n |  | TRUE
40 | bus_LV_1039-6_1_2_node_71 | 0.4 | n |  | TRUE
41 | bus_LV_1039-6_1_2_node_69 | 0.4 | n |  | TRUE
42 | bus_LV_1039-6_1_2_node_76 | 0.4 | n |  | TRUE
43 | bus_LV_1039-6_1_2_node_73 | 0.4 | n |  | TRUE
44 | bus_LV_1039-6_1_2_node_75 | 0.4 | n |  | TRUE
45 | bus_LV_1039-6_1_2_node_74 | 0.4 | n |  | TRUE
46 | bus_LV_1039-6_1_2_node_79 | 0.4 | n |  | TRUE
47 | bus_LV_1039-6_1_2_node_83 | 0.4 | n |  | TRUE
48 | bus_LV_1039-6_1_2_node_77 | 0.4 | n |  | TRUE
49 | bus_LV_1039-6_1_2_node_78 | 0.4 | n |  | TRUE
50 | bus_LV_1039-6_1_2_node_80 | 0.4 | n |  | TRUE
51 | bus_LV_1039-6_1_2_node_81 | 0.4 | n |  | TRUE
52 | bus_LV_1039-6_1_2_node_82 | 0.4 | n |  | TRUE
53 | bus_LV_1039-6_1_2_node_84 | 0.4 | n |  | TRUE
54 | bus_LV_1039-6_1_2_node_92 | 0.4 | n |  | TRUE
55 | bus_LV_1039-6_1_2_node_93 | 0.4 | n |  | TRUE
56 | bus_LV_1039-6_1_2_node_95 | 0.4 | n |  | TRUE
57 | bus_LV_1039-6_1_2_node_97 | 0.4 | n |  | TRUE
58 | bus_LV_1039-6_1_2_node_98 | 0.4 | n |  | TRUE
59 | bus_LV_1039-6_1_2_node_100 | 0.4 | n |  | TRUE
60 | bus_LV_1039-6_1_2_node_101 | 0.4 | n |  | TRUE
61 | bus_MV_0_node_51 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_1039-6_1_2_load_31 | 0 | 0.0073123 | 0.0018326 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_1039-6_1_2_load_36 | 4 | 0.0010559 | 0.00026465 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_1039-6_1_2_load_35 | 5 | 0.00089787 | 0.00022503 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_1039-6_1_2_load_37 | 6 | 0.0014111 | 0.00035366 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_1039-6_1_2_load_57 | 8 | 4.6354e-05 | 1.1617e-05 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_1039-6_1_2_load_39 | 9 | 0.0017832 | 0.00044691 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_1039-6_1_2_load_96 | 10 | 9.7854e-05 | 2.4525e-05 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_1039-6_1_2_load_40 | 11 | 6.5148e-05 | 1.6328e-05 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_1039-6_1_2_load_41 | 12 | 5.7486e-05 | 1.4407e-05 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_1039-6_1_2_load_46 | 14 | 0.00080726 | 0.00020232 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_1039-6_1_2_load_43 | 15 | 0.00015993 | 4.0082e-05 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_1039-6_1_2_load_44 | 16 | 0.00027066 | 6.7833e-05 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_1039-6_1_2_load_53 | 18 | 0.00040536 | 0.00010159 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_1039-6_1_2_load_52 | 19 | 0.0016684 | 0.00041814 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_1039-6_1_2_load_47 | 21 | 6.2302e-05 | 1.5614e-05 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_1039-6_1_2_load_48 | 22 | 0.00078102 | 0.00019574 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_1039-6_1_2_load_49 | 23 | 0.0011399 | 0.00028568 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_1039-6_1_2_load_72 | 25 | 0.00018362 | 4.602e-05 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_1039-6_1_2_load_51 | 26 | 0.00043567 | 0.00010919 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_1039-6_1_2_load_63 | 28 | 0.00016093 | 4.0332e-05 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_1039-6_1_2_load_60 | 31 | 0.00086656 | 0.00021718 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_1039-6_1_2_load_61 | 32 | 0.00055474 | 0.00013903 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_1039-6_1_2_load_62 | 33 | 0.0003192 | 7.9999e-05 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_1039-6_1_2_load_91 | 34 | 0.00015381 | 3.8549e-05 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_1039-6_1_2_load_64 | 35 | 0.00082649 | 0.00020714 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_1039-6_1_2_load_66 | 36 | 0.00068371 | 0.00017135 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_1039-6_1_2_load_71 | 40 | 0.00025265 | 6.332e-05 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_1039-6_1_2_load_73 | 43 | 0.00027636 | 6.9263e-05 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_1039-6_1_2_load_75 | 44 | 0.000215 | 5.3884e-05 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_1039-6_1_2_load_74 | 45 | 0.00012336 | 3.0918e-05 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_1039-6_1_2_load_83 | 47 | 0.00013416 | 3.3624e-05 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_1039-6_1_2_load_77 | 48 | 0.00018418 | 4.6159e-05 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_1039-6_1_2_load_78 | 49 | 0.00083491 | 0.00020925 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_1039-6_1_2_load_80 | 50 | 0.00031954 | 8.0085e-05 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_1039-6_1_2_load_82 | 52 | 0.00057989 | 0.00014533 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_1039-6_1_2_load_84 | 53 | 0.00029828 | 7.4757e-05 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_1039-6_1_2_load_93 | 55 | 0.00061709 | 0.00015466 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_1039-6_1_2_load_95 | 56 | 0.000171 | 4.2857e-05 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_1039-6_1_2_load_97 | 57 | 0.0007579 | 0.00018995 | 0 | 0 |  | 1 | TRUE | wye
39 | LV_1039-6_1_2_load_100 | 59 | 0.000245 | 6.1404e-05 | 0 | 0 |  | 1 | TRUE | wye
40 | LV_1039-6_1_2_load_101 | 60 | 0.00012267 | 3.0745e-05 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 26 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_1039-6_1_2_line_0 | NAYY 4x150 SE | 0 | 1 | 0.10097 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
1 | LV_1039-6_1_2_line_1 | NAYY 4x150 SE | 0 | 2 | 0.13483 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
2 | LV_1039-6_1_2_line_2 | NAYY 4x150 SE | 1 | 3 | 0.010501 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
3 | LV_1039-6_1_2_line_3 | NAYY 4x150 SE | 2 | 4 | 0.41062 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
4 | LV_1039-6_1_2_line_4 | NAYY 4x150 SE | 3 | 5 | 0.088941 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
5 | LV_1039-6_1_2_line_5 | NAYY 4x150 SE | 4 | 6 | 0.065019 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
6 | LV_1039-6_1_2_line_6 | NAYY 4x150 SE | 4 | 7 | 0.039368 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
7 | LV_1039-6_1_2_line_7 | NAYY 4x150 SE | 6 | 8 | 0.18716 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
8 | LV_1039-6_1_2_line_8 | NAYY 4x150 SE | 7 | 9 | 0.016509 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
9 | LV_1039-6_1_2_line_9 | NAYY 4x150 SE | 7 | 10 | 0.55848 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
10 | LV_1039-6_1_2_line_10 | NAYY 4x150 SE | 8 | 29 | 0.030929 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
11 | LV_1039-6_1_2_line_11 | NAYY 4x150 SE | 10 | 57 | 0.12798 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
12 | LV_1039-6_1_2_line_12 | NAYY 4x150 SE | 11 | 12 | 0.040194 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
13 | LV_1039-6_1_2_line_13 | NAYY 4x150 SE | 12 | 13 | 0.01696 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
14 | LV_1039-6_1_2_line_14 | NAYY 4x150 SE | 13 | 14 | 0.0362 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
15 | LV_1039-6_1_2_line_15 | NAYY 4x150 SE | 13 | 15 | 0.0025331 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
16 | LV_1039-6_1_2_line_16 | NAYY 4x150 SE | 14 | 20 | 0.045006 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
17 | LV_1039-6_1_2_line_17 | NAYY 4x150 SE | 15 | 16 | 0.0055233 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
18 | LV_1039-6_1_2_line_18 | NAYY 4x150 SE | 16 | 17 | 0.049193 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
19 | LV_1039-6_1_2_line_19 | NAYY 4x150 SE | 17 | 18 | 0.0018776 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
20 | LV_1039-6_1_2_line_20 | NAYY 4x150 SE | 17 | 19 | 0.053791 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
21 | LV_1039-6_1_2_line_21 | NAYY 4x150 SE | 18 | 28 | 0.023757 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
22 | LV_1039-6_1_2_line_22 | NAYY 4x150 SE | 20 | 31 | 0.03353 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
23 | LV_1039-6_1_2_line_23 | NAYY 4x150 SE | 20 | 32 | 0.1185 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
24 | LV_1039-6_1_2_line_24 | NAYY 4x150 SE | 21 | 22 | 0.013576 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
25 | LV_1039-6_1_2_line_25 | NAYY 4x150 SE | 21 | 23 | 0.012871 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
26 | LV_1039-6_1_2_line_26 | NAYY 4x150 SE | 22 | 24 | 0.18681 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
27 | LV_1039-6_1_2_line_27 | NAYY 4x150 SE | 22 | 25 | 0.17127 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
28 | LV_1039-6_1_2_line_28 | NAYY 4x150 SE | 23 | 26 | 0.004396 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
29 | LV_1039-6_1_2_line_29 | NAYY 4x150 SE | 24 | 27 | 0.24643 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
30 | LV_1039-6_1_2_line_30 | NAYY 4x150 SE | 25 | 38 | 0.0099576 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
31 | LV_1039-6_1_2_line_31 | NAYY 4x150 SE | 27 | 35 | 0.11094 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
32 | LV_1039-6_1_2_line_32 | NAYY 4x150 SE | 28 | 35 | 0.043125 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
33 | LV_1039-6_1_2_line_33 | NAYY 4x150 SE | 29 | 30 | 0.13305 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
34 | LV_1039-6_1_2_line_34 | NAYY 4x150 SE | 30 | 53 | 0.1017 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
35 | LV_1039-6_1_2_line_35 | NAYY 4x150 SE | 31 | 33 | 0.030853 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
36 | LV_1039-6_1_2_line_36 | NAYY 4x150 SE | 32 | 34 | 0.0015201 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
37 | LV_1039-6_1_2_line_37 | NAYY 4x150 SE | 34 | 54 | 0.020036 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
38 | LV_1039-6_1_2_line_38 | NAYY 4x150 SE | 36 | 37 | 0.03959 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
39 | LV_1039-6_1_2_line_39 | NAYY 4x150 SE | 36 | 38 | 0.019349 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
40 | LV_1039-6_1_2_line_40 | NAYY 4x150 SE | 37 | 39 | 0.012129 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
41 | LV_1039-6_1_2_line_41 | NAYY 4x150 SE | 38 | 40 | 0.054215 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
42 | LV_1039-6_1_2_line_42 | NAYY 4x150 SE | 39 | 44 | 0.051464 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
43 | LV_1039-6_1_2_line_43 | NAYY 4x150 SE | 41 | 42 | 0.066412 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
44 | LV_1039-6_1_2_line_44 | NAYY 4x150 SE | 41 | 43 | 0.062979 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
45 | LV_1039-6_1_2_line_45 | NAYY 4x150 SE | 42 | 46 | 0.015214 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
46 | LV_1039-6_1_2_line_46 | NAYY 4x150 SE | 42 | 47 | 0.065261 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
47 | LV_1039-6_1_2_line_47 | NAYY 4x150 SE | 43 | 45 | 0.011035 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
48 | LV_1039-6_1_2_line_48 | NAYY 4x150 SE | 44 | 45 | 0.020423 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
49 | LV_1039-6_1_2_line_49 | NAYY 4x150 SE | 46 | 48 | 0.0098818 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
50 | LV_1039-6_1_2_line_50 | NAYY 4x150 SE | 47 | 51 | 0.011796 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
51 | LV_1039-6_1_2_line_51 | NAYY 4x150 SE | 48 | 49 | 0.043072 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
52 | LV_1039-6_1_2_line_52 | NAYY 4x150 SE | 50 | 51 | 0.051025 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
53 | LV_1039-6_1_2_line_53 | NAYY 4x150 SE | 51 | 52 | 0.020569 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
54 | LV_1039-6_1_2_line_54 | NAYY 4x150 SE | 52 | 53 | 0.027079 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
55 | LV_1039-6_1_2_line_55 | NAYY 4x150 SE | 54 | 55 | 0.03048 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
56 | LV_1039-6_1_2_line_56 | NAYY 4x150 SE | 55 | 56 | 0.037317 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
57 | LV_1039-6_1_2_line_57 | NAYY 4x150 SE | 57 | 58 | 0.020718 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
58 | LV_1039-6_1_2_line_58 | NAYY 4x150 SE | 58 | 59 | 0.02441 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
59 | LV_1039-6_1_2_line_59 | NAYY 4x150 SE | 59 | 60 | 0.0059445 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_1039-6_1_2_trafo_51 | 0.25 MVA 20/0.4 kV | 61 | 26 | 0.25 | 20 | 0.4 | 6 | 1.44 | 0.8 | 0.32 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6 | x7 | y7 | x8 | y8 | x9 | y9 | x10 | y10 | x11 | y11 | x12 | y12 | x13 | y13
0 | 2662091.5409 | 1221919.9975 | 2662099.28 | 1221924.9035 | 2662104.1766 | 1221939.0634 | 2662099.4097 | 1221967.0091 | 2662134.3552 | 1221971.4208 | 2662147.0105 | 1221967.5058
1 | 2662129.7788 | 1222090.8484 | 2662124.3514 | 1222072.3245 | 2662155.4483 | 1221978.1339 | 2662155.1192 | 1221970.4256 | 2662147.0105 | 1221967.5058
2 | 2662096.7856 | 1221910.9687 | 2662095.4452 | 1221914.3902 | 2662091.5409 | 1221919.9975
3 | 2662265.5019 | 1222478.3865 | 2662129.7788 | 1222090.8484
4 | 2662096.7856 | 1221910.9687 | 2662102.7265 | 1221913.7323 | 2662117.2649 | 1221911.8383 | 2662169.2666 | 1221906.444 | 2662184.6927 | 1221907.2452
5 | 2662265.5019 | 1222478.3865 | 2662254.8731 | 1222478.3324 | 2662249.3932 | 1222485.2129 | 2662243.6672 | 1222496.0488 | 2662233.5046 | 1222517.7229 | 2662228.7061 | 1222524.7328 | 2662228.1196 | 1222525.4219
6 | 2662291.165 | 1222500.915 | 2662280.2386 | 1222495.5307 | 2662279.5171 | 1222486.195 | 2662273.5003 | 1222478.4272 | 2662265.5019 | 1222478.3865
7 | 2662197.3635 | 1222710.0368 | 2662228.1196 | 1222525.4219
8 | 2662291.165 | 1222500.915 | 2662284.0802 | 1222515.8259
9 | 2662833.486 | 1222367.5394 | 2662291.165 | 1222500.915
10 | 2662209.3988 | 1222738.5108 | 2662201.9653 | 1222719.7101 | 2662197.3635 | 1222710.0368
11 | 2662833.486 | 1222367.5394 | 2662842.9123 | 1222370.5611 | 2662855.217 | 1222371.0913 | 2662867.156 | 1222367.4706 | 2662878.8602 | 1222357.3544 | 2662887.1468 | 1222343.3441 | 2662891.795 | 1222326.9606 | 2662889.0924 | 1222322.8739 | 2662888.1339 | 1222317.3936 | 2662891.1408 | 1222302.0156 | 2662909.4789 | 1222303.1919
12 | 2661640.0789 | 1223130.8805 | 2661651.035 | 1223120.6692 | 2661665.9002 | 1223100.2995
13 | 2661678.2386 | 1223089.1865 | 2661670.8448 | 1223093.5238 | 2661665.9002 | 1223100.2995
14 | 2661678.2386 | 1223089.1865 | 2661680.3388 | 1223097.2911 | 2661685.9617 | 1223124.5447
15 | 2661678.2386 | 1223089.1865 | 2661677.4879 | 1223086.7672
16 | 2661695.0556 | 1223168.622 | 2661685.9617 | 1223124.5447
17 | 2661677.4879 | 1223086.7672 | 2661675.8509 | 1223081.492
18 | 2661661.2709 | 1223034.5096 | 2661675.8509 | 1223081.492
19 | 2661661.2709 | 1223034.5096 | 2661660.5893 | 1223032.7601
20 | 2661661.2709 | 1223034.5096 | 2661671.9681 | 1223023.1687 | 2661681.9077 | 1223006.639 | 2661700.238 | 1223001.9811
21 | 2661651.9651 | 1223010.6238 | 2661660.5893 | 1223032.7601
22 | 2661695.0556 | 1223168.622 | 2661703.8019 | 1223170.6139 | 2661721.6684 | 1223173.6454 | 2661728.068 | 1223172.9401
23 | 2661695.0556 | 1223168.622 | 2661700.9957 | 1223224.0408 | 2661707.1043 | 1223286.5079
24 | 2661938.8578 | 1222603.5673 | 2661937.6255 | 1222603.7267 | 2661925.6499 | 1222606.6769
25 | 2661938.8578 | 1222603.5673 | 2661951.6228 | 1222601.9156
26 | 2661757.6906 | 1222681.0518 | 2661766.8351 | 1222682.0139 | 2661773.0415 | 1222681.7892 | 2661779.058 | 1222680.8621 | 2661804.0458 | 1222672.3938 | 2661822.3312 | 1222664.4452 | 2661846.6743 | 1222652.3347 | 2661863.7946 | 1222643.3846 | 2661874.9014 | 1222635.0613 | 2661891.1722 | 1222622.478 | 2661902.6627 | 1222615.9266 | 2661908.1478 | 1222613.5932 | 2661922.7292 | 1222607.3964 | 2661925.6499 | 1222606.6769
27 | 2661937.6678 | 1222777.5259 | 2661925.6499 | 1222606.6769
28 | 2661956.0168 | 1222601.7841 | 2661951.6228 | 1222601.9156 | 2661951.6228 | 1222601.9156
29 | 2661596.0442 | 1222867.0622 | 2661757.6906 | 1222681.0518
30 | 2661936.9577 | 1222787.4581 | 2661937.6678 | 1222777.5259
31 | 2661596.0442 | 1222867.0622 | 2661636.3116 | 1222970.4405
32 | 2661651.9651 | 1223010.6238 | 2661644.9442 | 1222992.603 | 2661636.3116 | 1222970.4405
33 | 2662200.9677 | 1222868.8941 | 2662212.2285 | 1222842.9508 | 2662214.6168 | 1222808.9098 | 2662210.943 | 1222770.7362 | 2662209.1915 | 1222746.0133 | 2662209.3988 | 1222738.5108
34 | 2662200.9677 | 1222868.8941 | 2662193.1703 | 1222875.5057 | 2662165.4192 | 1222883.5211 | 2662138.1792 | 1222881.8247 | 2662109.4041 | 1222870.9733 | 2662105.7099 | 1222868.3201
35 | 2661758.7352 | 1223169.5603 | 2661728.068 | 1223172.9401
36 | 2661707.2315 | 1223288.0219 | 2661707.2286 | 1223287.7791 | 2661707.1043 | 1223286.5079
37 | 2661706.6697 | 1223308.0417 | 2661707.3139 | 1223294.9067 | 2661707.2315 | 1223288.0219
38 | 2661939.1879 | 1222845.7293 | 2661941.1811 | 1222831.2964 | 2661941.9903 | 1222811.837 | 2661940.8696 | 1222806.408
39 | 2661936.9577 | 1222787.4581 | 2661940.8696 | 1222806.408
40 | 2661927.3475 | 1222842.9489 | 2661939.1879 | 1222845.7293
41 | 2661936.9577 | 1222787.4581 | 2661913.3283 | 1222790.0475 | 2661914.9566 | 1222820.4483
42 | 2661927.3475 | 1222842.9489 | 2661935.2232 | 1222856.4837 | 2661944.579 | 1222856.7923 | 2661948.1899 | 1222861.0882 | 2661951.2892 | 1222875.9187 | 2661953.7389 | 1222881.0447
43 | 2662067.2423 | 1222940.1553 | 2662015.7294 | 1222898.0588
44 | 2662015.7294 | 1222898.0588 | 2662013.008 | 1222907.3919 | 2661959.88 | 1222911.0969
45 | 2662067.2423 | 1222940.1553 | 2662071.8444 | 1222943.939 | 2662079.0183 | 1222949.8286
46 | 2662067.2423 | 1222940.1553 | 2662066.3099 | 1222926.2924 | 2662063.5447 | 1222899.0908 | 2662061.4747 | 1222875.1552
47 | 2661959.88 | 1222911.0969 | 2661955.4988 | 1222902.1235 | 2661955.4974 | 1222901.0741
48 | 2661955.4974 | 1222901.0741 | 2661955.4756 | 1222884.6789 | 2661953.7389 | 1222881.0447
49 | 2662079.0183 | 1222949.8286 | 2662080.1227 | 1222959.6485
50 | 2662060.4584 | 1222863.4028 | 2662061.4747 | 1222875.1552
51 | 2662094.4449 | 1222996.9995 | 2662090.8189 | 1222976.0349 | 2662081.3156 | 1222970.2544 | 2662080.1227 | 1222959.6485
52 | 2662060.4584 | 1222863.4028 | 2662059.734 | 1222855.0455 | 2662058.8407 | 1222823.6052 | 2662060.7809 | 1222812.5915
53 | 2662060.4584 | 1222863.4028 | 2662078.8011 | 1222860.114 | 2662080.723 | 1222860.3257
54 | 2662080.723 | 1222860.3257 | 2662097.0885 | 1222862.1282 | 2662105.7099 | 1222868.3201
55 | 2661706.6697 | 1223308.0417 | 2661723.1313 | 1223310.4804 | 2661736.3828 | 1223314.4686
56 | 2661736.3828 | 1223314.4686 | 2661748.2686 | 1223318.0458 | 2661754.9359 | 1223342.0412
57 | 2662930.1543 | 1222304.5181 | 2662909.4789 | 1222303.1919
58 | 2662930.1543 | 1222304.5181 | 2662928.2015 | 1222285.4743 | 2662927.7071 | 1222280.2313
59 | 2662927.7071 | 1222280.2313 | 2662927.1491 | 1222274.3131

## bus_geodata
| x | y | coords
0 | 2662147.0105 | 1221967.5058
1 | 2662091.5409 | 1221919.9975
2 | 2662129.7788 | 1222090.8484
3 | 2662096.7856 | 1221910.9687
4 | 2662265.5019 | 1222478.3865
5 | 2662184.6927 | 1221907.2452
6 | 2662228.1196 | 1222525.4219
7 | 2662291.165 | 1222500.915
8 | 2662197.3635 | 1222710.0368
9 | 2662284.0802 | 1222515.8259
10 | 2662833.486 | 1222367.5394
11 | 2661640.0789 | 1223130.8805
12 | 2661665.9002 | 1223100.2995
13 | 2661678.2386 | 1223089.1865
14 | 2661685.9617 | 1223124.5447
15 | 2661677.4879 | 1223086.7672
16 | 2661675.8509 | 1223081.492
17 | 2661661.2709 | 1223034.5096
18 | 2661660.5893 | 1223032.7601
19 | 2661700.238 | 1223001.9811
20 | 2661695.0556 | 1223168.622
21 | 2661938.8578 | 1222603.5673
22 | 2661925.6499 | 1222606.6769
23 | 2661951.6228 | 1222601.9156
24 | 2661757.6906 | 1222681.0518
25 | 2661937.6678 | 1222777.5259
26 | 2661956.0168 | 1222601.7841
27 | 2661596.0442 | 1222867.0622
28 | 2661651.9651 | 1223010.6238
29 | 2662209.3988 | 1222738.5108
30 | 2662200.9677 | 1222868.8941
31 | 2661728.068 | 1223172.9401
32 | 2661707.1043 | 1223286.5079
33 | 2661758.7352 | 1223169.5603
34 | 2661707.2315 | 1223288.0219
35 | 2661636.3116 | 1222970.4405
36 | 2661940.8696 | 1222806.408
37 | 2661939.1879 | 1222845.7293
38 | 2661936.9577 | 1222787.4581
39 | 2661927.3475 | 1222842.9489
40 | 2661914.9566 | 1222820.4483
41 | 2662015.7294 | 1222898.0588
42 | 2662067.2423 | 1222940.1553
43 | 2661959.88 | 1222911.0969
44 | 2661953.7389 | 1222881.0447
45 | 2661955.4974 | 1222901.0741
46 | 2662079.0183 | 1222949.8286
47 | 2662061.4747 | 1222875.1552
48 | 2662080.1227 | 1222959.6485
49 | 2662094.4449 | 1222996.9995
50 | 2662060.7809 | 1222812.5915
51 | 2662060.4584 | 1222863.4028
52 | 2662080.723 | 1222860.3257
53 | 2662105.7099 | 1222868.3201
54 | 2661706.6697 | 1223308.0417
55 | 2661736.3828 | 1223314.4686
56 | 2661754.9359 | 1223342.0412
57 | 2662909.4789 | 1222303.1919
58 | 2662930.1543 | 1222304.5181
59 | 2662927.7071 | 1222280.2313
60 | 2662927.1491 | 1222274.3131
61 | 2661956.0168 | 1222601.7841

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## res_bus
| vm_pu | va_degree | p_mw | q_mvar
0 | 0.97062 | -0.20886 | 0.0073123 | 0.0018326
1 | 0.97049 | -0.20983 | 0 | 0
2 | 0.97224 | -0.19712 | 0 | 0
3 | 0.97047 | -0.20993 | 0 | 0
4 | 0.97719 | -0.16149 | 0.0010559 | 0.00026465
5 | 0.97035 | -0.21078 | 0.00089787 | 0.00022503
6 | 0.97836 | -0.15306 | 0.0014111 | 0.00035366
7 | 0.97702 | -0.16275 | 0 | 0
8 | 0.98211 | -0.12615 | 4.6354e-05 | 1.1617e-05
9 | 0.97698 | -0.16306 | 0.0017832 | 0.00044691
10 | 0.97602 | -0.17015 | 9.7854e-05 | 2.4525e-05
11 | 0.99293 | -0.05009 | 6.5148e-05 | 1.6328e-05
12 | 0.99293 | -0.050063 | 5.7486e-05 | 1.4407e-05
13 | 0.99293 | -0.050041 | 0 | 0
14 | 0.99275 | -0.051332 | 0.00080726 | 0.00020232
15 | 0.99295 | -0.049947 | 0.00015993 | 4.0082e-05
16 | 0.99298 | -0.049734 | 0.00027066 | 6.7833e-05
17 | 0.99326 | -0.0477 | 0 | 0
18 | 0.99328 | -0.047591 | 0.00040536 | 0.00010159
19 | 0.99313 | -0.04861 | 0.0016684 | 0.00041814
20 | 0.99258 | -0.052568 | 0 | 0
21 | 0.99967 | -0.0022799 | 6.2302e-05 | 1.5614e-05
22 | 0.99942 | -0.0040493 | 0.00078102 | 0.00019574
23 | 0.99991 | -0.00059896 | 0.0011399 | 0.00028568
24 | 0.99752 | -0.017523 | 0 | 0
25 | 0.9972 | -0.019556 | 0.00018362 | 4.602e-05
26 | 1 | 0 | -0.028152 | -0.0068619
27 | 0.995 | -0.035325 | 0 | 0
28 | 0.99349 | -0.046109 | 0.00016093 | 4.0332e-05
29 | 0.98273 | -0.1217 | 0 | 0
30 | 0.98541 | -0.10263 | 0 | 0
31 | 0.99252 | -0.052972 | 0.00086656 | 0.00021718
32 | 0.99232 | -0.054382 | 0.00055474 | 0.00013903
33 | 0.99251 | -0.053072 | 0.0003192 | 7.9999e-05
34 | 0.99232 | -0.054396 | 0.00015381 | 3.8549e-05
35 | 0.99387 | -0.043349 | 0.00082649 | 0.00020714
36 | 0.99645 | -0.024769 | 0.00068371 | 0.00017135
37 | 0.99549 | -0.031514 | 0 | 0
38 | 0.99694 | -0.021343 | 0 | 0
39 | 0.99519 | -0.033583 | 0 | 0
40 | 0.99692 | -0.021482 | 0.00025265 | 6.332e-05
41 | 0.9917 | -0.058081 | 0 | 0
42 | 0.99014 | -0.069084 | 0 | 0
43 | 0.99318 | -0.047675 | 0.00027636 | 6.9263e-05
44 | 0.99394 | -0.042374 | 0.000215 | 5.3884e-05
45 | 0.99344 | -0.045824 | 0.00012336 | 3.0918e-05
46 | 0.99012 | -0.069242 | 0 | 0
47 | 0.9887 | -0.079242 | 0.00013416 | 3.3624e-05
48 | 0.9901 | -0.069345 | 0.00018418 | 4.6159e-05
49 | 0.99005 | -0.069712 | 0.00083491 | 0.00020925
50 | 0.98842 | -0.081232 | 0.00031954 | 8.0085e-05
51 | 0.98845 | -0.081064 | 0 | 0
52 | 0.98801 | -0.084176 | 0.00057989 | 0.00014533
53 | 0.98745 | -0.088116 | 0.00029828 | 7.4757e-05
54 | 0.9923 | -0.054558 | 0 | 0
55 | 0.99226 | -0.054803 | 0.00061709 | 0.00015466
56 | 0.99226 | -0.054868 | 0.000171 | 4.2857e-05
57 | 0.97581 | -0.17168 | 0.0007579 | 0.00018995
58 | 0.9758 | -0.17176 | 0 | 0
59 | 0.97579 | -0.17185 | 0.000245 | 6.1404e-05
60 | 0.97579 | -0.17186 | 0.00012267 | 3.0745e-05
61 | 0.99998 | 149.9947 | 0 | 0

## res_line
| p_from_mw | q_from_mvar | p_to_mw | q_to_mvar | pl_mw | ql_mvar | i_from_ka | i_to_ka | i_ka | vm_from_pu | va_from_degree | vm_to_pu | va_to_degree | loading_percent
0 | 0.00089811 | 0.00022264 | -0.00089799 | -0.00022384 | 1.1932e-07 | -1.2018e-06 | 0.001376 | 0.0013764 | 0.0013764 | 0.97062 | -0.20886 | 0.97049 | -0.20983 | 0.50979
1 | -0.0082105 | -0.0020553 | 0.0082238 | 0.0020587 | 1.3327e-05 | 3.4566e-06 | 0.012586 | 0.012586 | 0.012586 | 0.97062 | -0.20886 | 0.97224 | -0.19712 | 4.6616
2 | 0.00089799 | 0.00022384 | -0.00089798 | -0.00022397 | 1.2415e-08 | -1.2498e-07 | 0.0013764 | 0.0013765 | 0.0013765 | 0.97049 | -0.20983 | 0.97047 | -0.20993 | 0.5098
3 | -0.0082238 | -0.0020587 | 0.0082644 | 0.0020692 | 4.058e-05 | 1.0489e-05 | 0.012586 | 0.012584 | 0.012586 | 0.97224 | -0.19712 | 0.97719 | -0.16149 | 4.6613
4 | 0.00089798 | 0.00022397 | -0.00089787 | -0.00022503 | 1.0518e-07 | -1.0584e-06 | 0.0013765 | 0.0013769 | 0.0013769 | 0.97047 | -0.20993 | 0.97035 | -0.21078 | 0.50995
5 | -0.012329 | -0.0030783 | 0.012343 | 0.003083 | 1.4293e-05 | 4.6819e-06 | 0.01877 | 0.018769 | 0.01877 | 0.97719 | -0.16149 | 0.97836 | -0.15306 | 6.9517
6 | 0.0030087 | 0.0007444 | -0.0030082 | -0.00074469 | 5.1487e-07 | -2.9508e-07 | 0.004578 | 0.0045782 | 0.0045782 | 0.97719 | -0.16149 | 0.97702 | -0.16275 | 1.6956
7 | -0.013754 | -0.0034366 | 0.013805 | 0.0034539 | 5.1088e-05 | 1.729e-05 | 0.020916 | 0.020915 | 0.020916 | 0.97836 | -0.15306 | 0.98211 | -0.12615 | 7.7465
8 | 0.0017833 | 0.00044673 | -0.0017832 | -0.00044691 | 7.5985e-08 | -1.7751e-07 | 0.0027159 | 0.002716 | 0.002716 | 0.97702 | -0.16275 | 0.97698 | -0.16306 | 1.0059
9 | 0.0012249 | 0.00029796 | -0.0012237 | -0.00030448 | 1.2102e-06 | -6.5214e-06 | 0.0018623 | 0.0018648 | 0.0018648 | 0.97702 | -0.16275 | 0.97602 | -0.17015 | 0.69066
10 | -0.013852 | -0.0034655 | 0.01386 | 0.0034684 | 8.499e-06 | 2.8772e-06 | 0.020985 | 0.020985 | 0.020985 | 0.98211 | -0.12615 | 0.98273 | -0.1217 | 7.7722
11 | 0.0011258 | 0.00027995 | -0.0011256 | -0.00028146 | 2.3512e-07 | -1.5086e-06 | 0.0017156 | 0.0017162 | 0.0017162 | 0.97602 | -0.17015 | 0.97581 | -0.17168 | 0.63562
12 | -6.5148e-05 | -1.6328e-05 | 6.5148e-05 | 1.5808e-05 | 2.3863e-10 | -5.1979e-07 | 9.7632e-05 | 9.7451e-05 | 9.7632e-05 | 0.99293 | -0.05009 | 0.99293 | -0.050063 | 0.03616
13 | -0.00012263 | -3.0215e-05 | 0.00012263 | 2.9996e-05 | 3.5661e-10 | -2.1923e-07 | 0.0001836 | 0.00018352 | 0.0001836 | 0.99293 | -0.050063 | 0.99293 | -0.050041 | 0.068
14 | 0.0034912 | 0.00087062 | -0.0034906 | -0.00087085 | 6.1799e-07 | -2.3046e-07 | 0.0052304 | 0.0052306 | 0.0052306 | 0.99293 | -0.050041 | 0.99275 | -0.051332 | 1.9373
15 | -0.0036139 | -0.00090062 | 0.0036139 | 0.00090061 | 4.6331e-08 | -1.4946e-08 | 0.005414 | 0.0054139 | 0.005414 | 0.99293 | -0.050041 | 0.99295 | -0.049947 | 2.0052
16 | 0.0026833 | 0.00066854 | -0.0026829 | -0.00066894 | 4.54e-07 | -4.072e-07 | 0.0040206 | 0.0040208 | 0.0040208 | 0.99275 | -0.051332 | 0.99258 | -0.052568 | 1.4892
17 | -0.0037738 | -0.00094069 | 0.0037739 | 0.00094066 | 1.1016e-07 | -2.9075e-08 | 0.0056536 | 0.0056536 | 0.0056536 | 0.99295 | -0.049947 | 0.99298 | -0.049734 | 2.0939
18 | -0.0040446 | -0.0010085 | 0.0040457 | 0.0010083 | 1.1269e-06 | -2.0309e-07 | 0.0060592 | 0.006059 | 0.0060592 | 0.99298 | -0.049734 | 0.99326 | -0.0477 | 2.2441
19 | -0.0057144 | -0.0014258 | 0.0057144 | 0.0014258 | 8.5819e-08 | 8.7049e-09 | 0.0085585 | 0.0085585 | 0.0085585 | 0.99326 | -0.0477 | 0.99328 | -0.047591 | 3.1698
20 | 0.0016686 | 0.00041753 | -0.0016684 | -0.00041814 | 2.0973e-07 | -6.1546e-07 | 0.0024996 | 0.0024998 | 0.0024998 | 0.99326 | -0.0477 | 0.99313 | -0.04861 | 0.92585
21 | -0.0061198 | -0.0015274 | 0.006121 | 0.0015276 | 1.2454e-06 | 1.7144e-07 | 0.0091658 | 0.0091656 | 0.0091658 | 0.99328 | -0.047591 | 0.99349 | -0.046109 | 3.3947
22 | 0.0011858 | 0.00029637 | -0.0011858 | -0.00029678 | 6.6107e-08 | -4.0794e-07 | 0.0017774 | 0.0017776 | 0.0017776 | 0.99258 | -0.052568 | 0.99252 | -0.052972 | 0.65836
23 | 0.0014971 | 0.00037257 | -0.0014967 | -0.00037396 | 3.7224e-07 | -1.3881e-06 | 0.0022434 | 0.0022439 | 0.0022439 | 0.99258 | -0.052568 | 0.99232 | -0.054382 | 0.83108
24 | 0.026142 | 0.0065578 | -0.026135 | -0.0065557 | 6.4142e-06 | 2.1111e-06 | 0.038914 | 0.038914 | 0.038914 | 0.99967 | -0.0022799 | 0.99942 | -0.0040493 | 7.2063
25 | -0.026204 | -0.0065734 | 0.02621 | 0.0065754 | 6.1102e-06 | 2.0125e-06 | 0.039007 | 0.039007 | 0.039007 | 0.99967 | -0.0022799 | 0.99991 | -0.00059896 | 7.2235
26 | 0.0071493 | 0.0017831 | -0.0071361 | -0.0017805 | 1.3201e-05 | 2.6341e-06 | 0.010641 | 0.010642 | 0.010642 | 0.99942 | -0.0040493 | 0.99752 | -0.017523 | 3.9416
27 | 0.018205 | 0.0045768 | -0.018166 | -0.0045662 | 3.9275e-05 | 1.0627e-05 | 0.02711 | 0.027111 | 0.027111 | 0.99942 | -0.0040493 | 0.9972 | -0.019556 | 5.0206
28 | -0.02735 | -0.0068611 | 0.027352 | 0.0068618 | 2.2723e-06 | 7.5862e-07 | 0.040703 | 0.040703 | 0.040703 | 0.99991 | -0.00059896 | 1 | 0 | 7.5376
29 | 0.0071361 | 0.0017805 | -0.0071187 | -0.001777 | 1.7418e-05 | 3.4903e-06 | 0.010642 | 0.010643 | 0.010643 | 0.99752 | -0.017523 | 0.995 | -0.035325 | 3.942
30 | 0.017982 | 0.0045202 | -0.017977 | -0.0045186 | 4.4753e-06 | 1.5914e-06 | 0.026837 | 0.026837 | 0.026837 | 0.9972 | -0.019556 | 0.99694 | -0.021343 | 9.9398
31 | 0.0071187 | 0.001777 | -0.0071108 | -0.0017754 | 7.8427e-06 | 1.5771e-06 | 0.010643 | 0.010644 | 0.010644 | 0.995 | -0.035325 | 0.99387 | -0.043349 | 3.9422
32 | -0.006282 | -0.0015679 | 0.0062844 | 0.0015683 | 2.3811e-06 | 3.5716e-07 | 0.0094067 | 0.0094065 | 0.0094067 | 0.99349 | -0.046109 | 0.99387 | -0.043349 | 3.484
33 | -0.01386 | -0.0034684 | 0.013897 | 0.0034808 | 3.6561e-05 | 1.2371e-05 | 0.020985 | 0.020984 | 0.020985 | 0.98273 | -0.1217 | 0.98541 | -0.10263 | 7.7722
34 | -0.013897 | -0.0034808 | 0.013925 | 0.0034902 | 2.7944e-05 | 9.4496e-06 | 0.020984 | 0.020984 | 0.020984 | 0.98541 | -0.10263 | 0.98745 | -0.088116 | 7.772
35 | 0.0003192 | 7.9602e-05 | -0.0003192 | -7.9999e-05 | 4.4078e-09 | -3.9703e-07 | 0.00047842 | 0.00047856 | 0.00047856 | 0.99252 | -0.052972 | 0.99251 | -0.053072 | 0.17724
36 | 0.00094195 | 0.00023493 | -0.00094195 | -0.00023495 | 1.8914e-09 | -1.8911e-08 | 0.0014121 | 0.0014121 | 0.0014121 | 0.99232 | -0.054382 | 0.99232 | -0.054396 | 0.52299
37 | 0.00078814 | 0.0001964 | -0.00078812 | -0.00019665 | 1.7452e-08 | -2.5212e-07 | 0.0011814 | 0.0011815 | 0.0011815 | 0.99232 | -0.054396 | 0.9923 | -0.054558 | 0.4376
38 | 0.017033 | 0.0042816 | -0.017017 | -0.004276 | 1.5988e-05 | 5.634e-06 | 0.02544 | 0.02544 | 0.02544 | 0.99645 | -0.024769 | 0.99549 | -0.031514 | 9.4222
39 | -0.017716 | -0.004453 | 0.017725 | 0.004456 | 8.4538e-06 | 2.9993e-06 | 0.026461 | 0.026461 | 0.026461 | 0.99645 | -0.024769 | 0.99694 | -0.021343 | 9.8002
40 | 0.017017 | 0.004276 | -0.017012 | -0.0042742 | 4.8982e-06 | 1.7263e-06 | 0.02544 | 0.02544 | 0.02544 | 0.99549 | -0.031514 | 0.99519 | -0.033583 | 9.4222
41 | 0.00025265 | 6.2615e-05 | -0.00025265 | -6.332e-05 | 4.8079e-09 | -7.0506e-07 | 0.00037686 | 0.00037711 | 0.00037711 | 0.99694 | -0.021343 | 0.99692 | -0.021482 | 0.13967
42 | 0.017012 | 0.0042742 | -0.016991 | -0.0042669 | 2.0784e-05 | 7.3259e-06 | 0.02544 | 0.02544 | 0.02544 | 0.99519 | -0.033583 | 0.99394 | -0.042374 | 9.4223
43 | 0.01634 | 0.0041002 | -0.016315 | -0.0040915 | 2.4916e-05 | 8.7274e-06 | 0.02452 | 0.02452 | 0.02452 | 0.9917 | -0.058081 | 0.99014 | -0.069084 | 9.0815
44 | -0.01634 | -0.0041002 | 0.016364 | 0.0041085 | 2.3627e-05 | 8.2735e-06 | 0.02452 | 0.02452 | 0.02452 | 0.9917 | -0.058081 | 0.99318 | -0.047675 | 9.0814
45 | 0.0010192 | 0.00025456 | -0.0010191 | -0.00025475 | 2.2263e-08 | -1.8711e-07 | 0.0015313 | 0.0015314 | 0.0015314 | 0.99014 | -0.069084 | 0.99012 | -0.069242 | 0.56718
46 | 0.015296 | 0.003837 | -0.015275 | -0.0038295 | 2.1522e-05 | 7.4394e-06 | 0.022989 | 0.022989 | 0.022989 | 0.99014 | -0.069084 | 0.9887 | -0.079242 | 8.5145
47 | -0.01664 | -0.0041778 | 0.016645 | 0.0041793 | 4.2809e-06 | 1.5037e-06 | 0.024934 | 0.024934 | 0.024934 | 0.99318 | -0.047675 | 0.99344 | -0.045824 | 9.2347
48 | 0.016776 | 0.004213 | -0.016768 | -0.0042102 | 8.0405e-06 | 2.8279e-06 | 0.025118 | 0.025118 | 0.025118 | 0.99394 | -0.042374 | 0.99344 | -0.045824 | 9.3031
49 | 0.0010191 | 0.00025475 | -0.0010191 | -0.00025487 | 1.4461e-08 | -1.2153e-07 | 0.0015314 | 0.0015314 | 0.0015314 | 0.99012 | -0.069242 | 0.9901 | -0.069345 | 0.5672
50 | 0.015141 | 0.0037959 | -0.015137 | -0.0037946 | 3.8222e-06 | 1.3188e-06 | 0.022787 | 0.022787 | 0.022787 | 0.9887 | -0.079242 | 0.98845 | -0.081064 | 8.4397
51 | 0.00083495 | 0.00020871 | -0.00083491 | -0.00020925 | 4.2314e-08 | -5.3764e-07 | 0.0012546 | 0.0012548 | 0.0012548 | 0.9901 | -0.069345 | 0.99005 | -0.069712 | 0.46475
52 | -0.00031954 | -8.0085e-05 | 0.00031955 | 7.9434e-05 | 7.3646e-09 | -6.5118e-07 | 0.00048106 | 0.00048082 | 0.00048106 | 0.98842 | -0.081232 | 0.98845 | -0.081064 | 0.17817
53 | 0.014817 | 0.0037151 | -0.014811 | -0.003713 | 6.3864e-06 | 2.1928e-06 | 0.022306 | 0.022307 | 0.022307 | 0.98845 | -0.081064 | 0.98801 | -0.084176 | 8.2617
54 | 0.014231 | 0.0035676 | -0.014223 | -0.003565 | 7.7624e-06 | 2.6389e-06 | 0.021433 | 0.021433 | 0.021433 | 0.98801 | -0.084176 | 0.98745 | -0.088116 | 7.9383
55 | 0.00078812 | 0.00019665 | -0.0007881 | -0.00019703 | 2.6555e-08 | -3.8351e-07 | 0.0011815 | 0.0011817 | 0.0011817 | 0.9923 | -0.054558 | 0.99226 | -0.054803 | 0.43766
56 | 0.000171 | 4.2375e-05 | -0.000171 | -4.2857e-05 | 1.5303e-09 | -4.8143e-07 | 0.00025627 | 0.00025644 | 0.00025644 | 0.99226 | -0.054803 | 0.99226 | -0.054868 | 0.094977
57 | 0.00036769 | 9.1514e-05 | -0.00036768 | -9.1771e-05 | 4.0615e-09 | -2.5725e-07 | 0.00056045 | 0.00056055 | 0.00056055 | 0.97581 | -0.17168 | 0.9758 | -0.17176 | 0.20761
58 | 0.00036768 | 9.1771e-05 | -0.00036768 | -9.2074e-05 | 4.787e-09 | -3.0309e-07 | 0.00056055 | 0.00056066 | 0.00056066 | 0.9758 | -0.17176 | 0.97579 | -0.17185 | 0.20765
59 | 0.00012267 | 3.0671e-05 | -0.00012267 | -3.0745e-05 | 1.2979e-10 | -7.4207e-08 | 0.00018704 | 0.00018707 | 0.00018707 | 0.97579 | -0.17185 | 0.97579 | -0.17186 | 0.069285

## res_trafo
| p_hv_mw | q_hv_mvar | p_lv_mw | q_lv_mvar | pl_mw | ql_mvar | i_hv_ka | i_lv_ka | vm_hv_pu | va_hv_degree | vm_lv_pu | va_lv_degree | loading_percent
0 | 2.5187e-16 | 8.8016e-16 | 0.00079998 | 7.4552e-08 | 0.00079998 | 7.4552e-08 | 2.6429e-17 | 0.0011547 | 0.99998 | 149.9947 | 1 | 0 | 0.31999

## res_ext_grid
| p_mw | q_mvar
0 | 0.028588 | 0.0069711

## res_load
| p_mw | q_mvar
0 | 0.0073123 | 0.0018326
1 | 0.0010559 | 0.00026465
2 | 0.00089787 | 0.00022503
3 | 0.0014111 | 0.00035366
4 | 4.6354e-05 | 1.1617e-05
5 | 0.0017832 | 0.00044691
6 | 9.7854e-05 | 2.4525e-05
7 | 6.5148e-05 | 1.6328e-05
8 | 5.7486e-05 | 1.4407e-05
9 | 0.00080726 | 0.00020232
10 | 0.00015993 | 4.0082e-05
11 | 0.00027066 | 6.7833e-05
12 | 0.00040536 | 0.00010159
13 | 0.0016684 | 0.00041814
14 | 6.2302e-05 | 1.5614e-05
15 | 0.00078102 | 0.00019574
16 | 0.0011399 | 0.00028568
17 | 0.00018362 | 4.602e-05
18 | 0.00043567 | 0.00010919
19 | 0.00016093 | 4.0332e-05
20 | 0.00086656 | 0.00021718
21 | 0.00055474 | 0.00013903
22 | 0.0003192 | 7.9999e-05
23 | 0.00015381 | 3.8549e-05
24 | 0.00082649 | 0.00020714
25 | 0.00068371 | 0.00017135
26 | 0.00025265 | 6.332e-05
27 | 0.00027636 | 6.9263e-05
28 | 0.000215 | 5.3884e-05
29 | 0.00012336 | 3.0918e-05
30 | 0.00013416 | 3.3624e-05
31 | 0.00018418 | 4.6159e-05
32 | 0.00083491 | 0.00020925
33 | 0.00031954 | 8.0085e-05
34 | 0.00057989 | 0.00014533
35 | 0.00029828 | 7.4757e-05
36 | 0.00061709 | 0.00015466
37 | 0.000171 | 4.2857e-05
38 | 0.0007579 | 0.00018995
39 | 0.000245 | 6.1404e-05
40 | 0.00012267 | 3.0745e-05

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object
62 | res_bus | vm_pu | float64
63 | res_bus | va_degree | float64
64 | res_bus | p_mw | float64
65 | res_bus | q_mvar | float64
66 | res_line | p_from_mw | float64
67 | res_line | q_from_mvar | float64
68 | res_line | p_to_mw | float64
69 | res_line | q_to_mvar | float64
70 | res_line | pl_mw | float64
71 | res_line | ql_mvar | float64
72 | res_line | i_from_ka | float64
73 | res_line | i_to_ka | float64
74 | res_line | i_ka | float64
75 | res_line | vm_from_pu | float64
76 | res_line | va_from_degree | float64
77 | res_line | vm_to_pu | float64
78 | res_line | va_to_degree | float64
79 | res_line | loading_percent | float64
80 | res_trafo | p_hv_mw | float64
81 | res_trafo | q_hv_mvar | float64
82 | res_trafo | p_lv_mw | float64
83 | res_trafo | q_lv_mvar | float64
84 | res_trafo | pl_mw | float64
85 | res_trafo | ql_mvar | float64
86 | res_trafo | i_hv_ka | float64
87 | res_trafo | i_lv_ka | float64
88 | res_trafo | vm_hv_pu | float64
89 | res_trafo | va_hv_degree | float64
90 | res_trafo | vm_lv_pu | float64
91 | res_trafo | va_lv_degree | float64
92 | res_trafo | loading_percent | float64
93 | res_ext_grid | p_mw | float64
94 | res_ext_grid | q_mvar | float64
95 | res_load | p_mw | float64
96 | res_load | q_mvar | float64

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | TRUE | FALSE |  | 50 | 1