## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_1039-6_3_3_node_129 | 0.4 | n |  | TRUE
1 | bus_LV_1039-6_3_3_node_130 | 0.4 | n |  | TRUE
2 | bus_LV_1039-6_3_3_node_131 | 0.4 | n |  | TRUE
3 | bus_LV_1039-6_3_3_node_132 | 0.4 | n |  | TRUE
4 | bus_LV_1039-6_3_3_node_133 | 0.4 | n |  | TRUE
5 | bus_LV_1039-6_3_3_node_169 | 0.4 | n |  | TRUE
6 | bus_LV_1039-6_3_3_node_168 | 0.4 | n |  | TRUE
7 | bus_LV_1039-6_3_3_node_164 | 0.4 | n |  | TRUE
8 | bus_LV_1039-6_3_3_node_165 | 0.4 | n |  | TRUE
9 | bus_LV_1039-6_3_3_node_166 | 0.4 | n |  | TRUE
10 | bus_LV_1039-6_3_3_node_108 | 0.4 | n |  | TRUE
11 | bus_LV_1039-6_3_3_node_167 | 0.4 | n |  | TRUE
12 | bus_LV_1039-6_3_3_node_172 | 0.4 | n |  | TRUE
13 | bus_LV_1039-6_3_3_node_170 | 0.4 | n |  | TRUE
14 | bus_LV_1039-6_3_3_node_171 | 0.4 | n |  | TRUE
15 | bus_LV_1039-6_3_3_node_173 | 0.4 | n |  | TRUE
16 | bus_LV_1039-6_3_3_node_174 | 0.4 | n |  | TRUE
17 | bus_LV_1039-6_3_3_node_175 | 0.4 | n |  | TRUE
18 | bus_LV_1039-6_3_3_node_176 | 0.4 | n |  | TRUE
19 | bus_LV_1039-6_3_3_node_105 | 0.4 | n |  | TRUE
20 | bus_LV_1039-6_3_3_node_177 | 0.4 | n |  | TRUE
21 | bus_LV_1039-6_3_3_node_178 | 0.4 | n |  | TRUE
22 | bus_LV_1039-6_3_3_node_179 | 0.4 | n |  | TRUE
23 | bus_LV_1039-6_3_3_node_111 | 0.4 | n |  | TRUE
24 | bus_LV_1039-6_3_3_node_181 | 0.4 | n |  | TRUE
25 | bus_LV_1039-6_3_3_node_180 | 0.4 | n |  | TRUE
26 | bus_LV_1039-6_3_3_node_182 | 0.4 | n |  | TRUE
27 | bus_LV_1039-6_3_3_node_183 | 0.4 | n |  | TRUE
28 | bus_LV_1039-6_3_3_node_102 | 0.4 | n |  | TRUE
29 | bus_LV_1039-6_3_3_node_103 | 0.4 | n |  | TRUE
30 | bus_LV_1039-6_3_3_node_104 | 0.4 | n |  | TRUE
31 | bus_LV_1039-6_3_3_node_106 | 0.4 | n |  | TRUE
32 | bus_LV_1039-6_3_3_node_107 | 0.4 | n |  | TRUE
33 | bus_LV_1039-6_3_3_node_109 | 0.4 | n |  | TRUE
34 | bus_LV_1039-6_3_3_node_110 | 0.4 | n |  | TRUE
35 | bus_LV_1039-6_3_3_node_112 | 0.4 | n |  | TRUE
36 | bus_LV_1039-6_3_3_node_115 | 0.4 | n |  | TRUE
37 | bus_LV_1039-6_3_3_node_114 | 0.4 | n |  | TRUE
38 | bus_LV_1039-6_3_3_node_113 | 0.4 | n |  | TRUE
39 | bus_MV_353_1_node_201 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_1039-6_3_3_load_129 | 0 | 0.0044407 | 0.0011129 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_1039-6_3_3_load_130 | 1 | 0.015984 | 0.0040059 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_1039-6_3_3_load_131 | 2 | 0.013486 | 0.00338 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_1039-6_3_3_load_168 | 6 | 0.010754 | 0.0026952 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_1039-6_3_3_load_164 | 7 | 0.0037479 | 0.00093931 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_1039-6_3_3_load_165 | 8 | 0.0078866 | 0.0019766 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_1039-6_3_3_load_167 | 11 | 0.0012383 | 0.00031036 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_1039-6_3_3_load_172 | 12 | 0.00017666 | 4.4276e-05 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_1039-6_3_3_load_170 | 13 | 0.0054035 | 0.0013542 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_1039-6_3_3_load_171 | 14 | 0.0051439 | 0.0012892 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_1039-6_3_3_load_173 | 15 | 9.3304e-05 | 2.3384e-05 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_1039-6_3_3_load_174 | 16 | 0.00023045 | 5.7756e-05 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_1039-6_3_3_load_175 | 17 | 0.00052106 | 0.00013059 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_1039-6_3_3_load_105 | 19 | 0.00022771 | 5.7069e-05 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_1039-6_3_3_load_177 | 20 | 0.0017496 | 0.00043848 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_1039-6_3_3_load_179 | 22 | 0.00062791 | 0.00015737 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_1039-6_3_3_load_181 | 24 | 0.00028231 | 7.0754e-05 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_1039-6_3_3_load_182 | 26 | 0.00021045 | 5.2745e-05 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_1039-6_3_3_load_183 | 27 | 0.00092942 | 0.00023294 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_1039-6_3_3_load_102 | 28 | 9.7236e-05 | 2.437e-05 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_1039-6_3_3_load_103 | 29 | 0.00034238 | 8.5808e-05 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_1039-6_3_3_load_104 | 30 | 0.00026329 | 6.5988e-05 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_1039-6_3_3_load_106 | 31 | 0.014751 | 0.0036971 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_1039-6_3_3_load_107 | 32 | 0.0058719 | 0.0014716 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_1039-6_3_3_load_109 | 33 | 0.00022449 | 5.6263e-05 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_1039-6_3_3_load_115 | 36 | 0.00028511 | 7.1456e-05 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_1039-6_3_3_load_114 | 37 | 0.00037825 | 9.4798e-05 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_1039-6_3_3_load_113 | 38 | 0.0011 | 0.00027568 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 6 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_1039-6_3_3_line_0 | NAYY 4x150 SE | 0 | 1 | 0.015132 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
1 | LV_1039-6_3_3_line_1 | NAYY 4x150 SE | 1 | 2 | 0.018147 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
2 | LV_1039-6_3_3_line_2 | NAYY 4x150 SE | 2 | 3 | 0.023277 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
3 | LV_1039-6_3_3_line_3 | NAYY 4x150 SE | 3 | 4 | 0.14903 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
4 | LV_1039-6_3_3_line_4 | NAYY 4x150 SE | 4 | 5 | 0.010504 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
5 | LV_1039-6_3_3_line_5 | NAYY 4x150 SE | 4 | 6 | 0.13452 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
6 | LV_1039-6_3_3_line_6 | NAYY 4x150 SE | 5 | 13 | 0.011313 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
7 | LV_1039-6_3_3_line_7 | NAYY 4x150 SE | 6 | 11 | 0.028574 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
8 | LV_1039-6_3_3_line_8 | NAYY 4x150 SE | 7 | 8 | 0.027141 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
9 | LV_1039-6_3_3_line_9 | NAYY 4x150 SE | 8 | 9 | 0.041011 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
10 | LV_1039-6_3_3_line_10 | NAYY 4x150 SE | 9 | 10 | 0.30484 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
11 | LV_1039-6_3_3_line_11 | NAYY 4x150 SE | 9 | 11 | 0.20341 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
12 | LV_1039-6_3_3_line_12 | NAYY 4x150 SE | 10 | 31 | 0.0035672 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
13 | LV_1039-6_3_3_line_13 | NAYY 4x150 SE | 11 | 12 | 0.28272 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
14 | LV_1039-6_3_3_line_14 | NAYY 4x150 SE | 12 | 15 | 0.061228 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
15 | LV_1039-6_3_3_line_15 | NAYY 4x150 SE | 13 | 14 | 0.029564 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
16 | LV_1039-6_3_3_line_16 | NAYY 4x150 SE | 15 | 16 | 0.0038121 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
17 | LV_1039-6_3_3_line_17 | NAYY 4x150 SE | 16 | 17 | 0.030459 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
18 | LV_1039-6_3_3_line_18 | NAYY 4x150 SE | 18 | 19 | 0.04778 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
19 | LV_1039-6_3_3_line_19 | NAYY 4x150 SE | 18 | 20 | 0.0095462 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
20 | LV_1039-6_3_3_line_20 | NAYY 4x150 SE | 19 | 29 | 0.17476 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
21 | LV_1039-6_3_3_line_21 | NAYY 4x150 SE | 20 | 21 | 0.065972 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
22 | LV_1039-6_3_3_line_22 | NAYY 4x150 SE | 21 | 22 | 0.01442 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
23 | LV_1039-6_3_3_line_23 | NAYY 4x150 SE | 21 | 23 | 0.21537 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
24 | LV_1039-6_3_3_line_24 | NAYY 4x150 SE | 22 | 24 | 0.01034 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
25 | LV_1039-6_3_3_line_25 | NAYY 4x150 SE | 23 | 36 | 0.021416 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
26 | LV_1039-6_3_3_line_26 | NAYY 4x150 SE | 24 | 25 | 0.037158 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
27 | LV_1039-6_3_3_line_27 | NAYY 4x150 SE | 25 | 26 | 0.034394 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
28 | LV_1039-6_3_3_line_28 | NAYY 4x150 SE | 26 | 27 | 0.041471 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
29 | LV_1039-6_3_3_line_29 | NAYY 4x150 SE | 28 | 29 | 0.02757 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
30 | LV_1039-6_3_3_line_30 | NAYY 4x150 SE | 28 | 30 | 0.0057541 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
31 | LV_1039-6_3_3_line_31 | NAYY 4x150 SE | 31 | 32 | 0.040665 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
32 | LV_1039-6_3_3_line_32 | NAYY 4x150 SE | 32 | 33 | 0.028578 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
33 | LV_1039-6_3_3_line_33 | NAYY 4x150 SE | 33 | 34 | 0.019594 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
34 | LV_1039-6_3_3_line_34 | NAYY 4x150 SE | 34 | 35 | 0.086601 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
35 | LV_1039-6_3_3_line_35 | NAYY 4x150 SE | 35 | 37 | 0.021322 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
36 | LV_1039-6_3_3_line_36 | NAYY 4x150 SE | 35 | 38 | 0.026705 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
37 | LV_1039-6_3_3_line_37 | NAYY 4x150 SE | 36 | 37 | 0.0057945 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_1039-6_3_3_trafo_168 | 0.25 MVA 20/0.4 kV | 39 | 6 | 0.25 | 20 | 0.4 | 6 | 1.44 | 0.8 | 0.32 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6 | x7 | y7
0 | 2662871.442 | 1223540.2301 | 2662859.0559 | 1223531.5382
1 | 2662855.5342 | 1223514.8794 | 2662855.0359 | 1223517.3051 | 2662856.4444 | 1223529.7057 | 2662859.0559 | 1223531.5382
2 | 2662855.5598 | 1223492.1169 | 2662857.9779 | 1223502.9826 | 2662855.5342 | 1223514.8794
3 | 2662855.5598 | 1223492.1169 | 2662894.2956 | 1223477.8167 | 2662913.4202 | 1223469.3022 | 2662930.6947 | 1223457.177 | 2662943.184 | 1223443.6337 | 2662974.0599 | 1223407.4816
4 | 2662974.0599 | 1223407.4816 | 2662967.4195 | 1223399.3284
5 | 2662974.0599 | 1223407.4816 | 2662979.7575 | 1223400.8154 | 2662991.7287 | 1223386.7886 | 2663010.7517 | 1223362.1297 | 2663024.7079 | 1223339.7076 | 2663034.5412 | 1223317.7644 | 2663039.3326 | 1223301.4381 | 2663041.7778 | 1223293.0977
6 | 2662967.4195 | 1223399.3284 | 2662956.608 | 1223402.6607
7 | 2663050.1872 | 1223265.7978 | 2663047.8851 | 1223272.2656 | 2663041.7778 | 1223293.0977
8 | 2663293.8194 | 1223348.7088 | 2663277.2244 | 1223327.2327
9 | 2663251.4302 | 1223295.4163 | 2663256.556 | 1223300.485 | 2663277.2244 | 1223327.2327
10 | 2663251.4302 | 1223295.4163 | 2663230.1574 | 1222991.3194
11 | 2663050.1872 | 1223265.7978 | 2663251.4302 | 1223295.4163
12 | 2663230.1574 | 1222991.3194 | 2663229.1133 | 1222987.9085
13 | 2663050.1872 | 1223265.7978 | 2662819.7175 | 1223102.0422
14 | 2662819.7175 | 1223102.0422 | 2662789.1019 | 1223084.1458 | 2662782.7495 | 1223069.4806 | 2662785.7729 | 1223060.1756
15 | 2662942.9142 | 1223428.2655 | 2662946.0869 | 1223416.5361 | 2662956.608 | 1223402.6607
16 | 2662785.7729 | 1223060.1756 | 2662786.9509 | 1223056.5501 | 2662786.9509 | 1223056.5501
17 | 2662786.9509 | 1223056.5501 | 2662796.7502 | 1223053.6071 | 2662813.0279 | 1223053.3786 | 2662816.9268 | 1223053.9966
18 | 2663010.6558 | 1222553.7047 | 2663004.4498 | 1222533.8042 | 2662995.9874 | 1222508.2339
19 | 2663010.6558 | 1222553.7047 | 2663013.4967 | 1222562.8184
20 | 2662995.9874 | 1222508.2339 | 2662992.7347 | 1222333.509
21 | 2663032.8199 | 1222625.8961 | 2663025.1728 | 1222600.2767 | 2663013.4967 | 1222562.8184
22 | 2663032.8199 | 1222625.8961 | 2663018.4828 | 1222627.4411
23 | 2663032.8199 | 1222625.8961 | 2663148.1558 | 1222807.7775
24 | 2663008.293 | 1222629.0455 | 2663011.5892 | 1222628.184 | 2663018.4828 | 1222627.4411
25 | 2663148.1558 | 1222807.7775 | 2663157.8806 | 1222801.8991 | 2663163.8168 | 1222801.4061 | 2663167.8197 | 1222802.2738
26 | 2662978.0374 | 1222645.8737 | 2662980.3497 | 1222638.8048 | 2662992.2101 | 1222633.2489 | 2663008.293 | 1222629.0455
27 | 2662978.0374 | 1222645.8737 | 2662973.9318 | 1222649.6883 | 2662958.4214 | 1222653.9826 | 2662945.8172 | 1222655.5073
28 | 2662922.3583 | 1222640.215 | 2662919.7856 | 1222652.5623 | 2662922.1804 | 1222657.046 | 2662929.0924 | 1222657.5305 | 2662945.8172 | 1222655.5073
29 | 2663019.6523 | 1222327.9124 | 2663019.6523 | 1222327.9124 | 2663009.4692 | 1222329.0165 | 2662992.7347 | 1222333.509
30 | 2663019.6523 | 1222327.9124 | 2663025.3182 | 1222328.9163
31 | 2663229.1133 | 1222987.9085 | 2663227.4087 | 1222982.3401 | 2663225.0962 | 1222975.8559 | 2663215.6084 | 1222953.0073 | 2663214.4833 | 1222949.9934
32 | 2663214.4833 | 1222949.9934 | 2663204.4892 | 1222923.2203
33 | 2663197.6369 | 1222904.8639 | 2663204.4892 | 1222923.2203
34 | 2663197.6369 | 1222904.8639 | 2663198.3219 | 1222898.9229 | 2663198.1407 | 1222893.1284 | 2663192.9457 | 1222829.5218 | 2663190.9971 | 1222823.0415 | 2663188.0104 | 1222820.0412
35 | 2663188.0104 | 1222820.0412 | 2663174.2246 | 1222806.2196 | 2663172.7468 | 1222805.1912
36 | 2663188.0104 | 1222820.0412 | 2663196.3765 | 1222817.1281 | 2663214.1043 | 1222815.0759
37 | 2663167.8197 | 1222802.2738 | 2663168.8867 | 1222802.505 | 2663172.7468 | 1222805.1912

## bus_geodata
| x | y | coords
0 | 2662871.442 | 1223540.2301
1 | 2662859.0559 | 1223531.5382
2 | 2662855.5342 | 1223514.8794
3 | 2662855.5598 | 1223492.1169
4 | 2662974.0599 | 1223407.4816
5 | 2662967.4195 | 1223399.3284
6 | 2663041.7778 | 1223293.0977
7 | 2663293.8194 | 1223348.7088
8 | 2663277.2244 | 1223327.2327
9 | 2663251.4302 | 1223295.4163
10 | 2663230.1574 | 1222991.3194
11 | 2663050.1872 | 1223265.7978
12 | 2662819.7175 | 1223102.0422
13 | 2662956.608 | 1223402.6607
14 | 2662942.9142 | 1223428.2655
15 | 2662785.7729 | 1223060.1756
16 | 2662786.9509 | 1223056.5501
17 | 2662816.9268 | 1223053.9966
18 | 2663010.6558 | 1222553.7047
19 | 2662995.9874 | 1222508.2339
20 | 2663013.4967 | 1222562.8184
21 | 2663032.8199 | 1222625.8961
22 | 2663018.4828 | 1222627.4411
23 | 2663148.1558 | 1222807.7775
24 | 2663008.293 | 1222629.0455
25 | 2662978.0374 | 1222645.8737
26 | 2662945.8172 | 1222655.5073
27 | 2662922.3583 | 1222640.215
28 | 2663019.6523 | 1222327.9124
29 | 2662992.7347 | 1222333.509
30 | 2663025.3182 | 1222328.9163
31 | 2663229.1133 | 1222987.9085
32 | 2663214.4833 | 1222949.9934
33 | 2663204.4892 | 1222923.2203
34 | 2663197.6369 | 1222904.8639
35 | 2663188.0104 | 1222820.0412
36 | 2663167.8197 | 1222802.2738
37 | 2663172.7468 | 1222805.1912
38 | 2663214.1043 | 1222815.0759
39 | 2662974.0599 | 1223407.4816

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## res_bus
| vm_pu | va_degree | p_mw | q_mvar
0 | 0.98223 | -0.12464 | 0.0044407 | 0.0011129
1 | 0.98233 | -0.12395 | 0.015984 | 0.0040059
2 | 0.98286 | -0.12012 | 0.013486 | 0.00338
3 | 0.98401 | -0.11197 | 0 | 0
4 | 0.99134 | -0.060249 | 0 | 0
5 | 0.99118 | -0.061375 | 0 | 0
6 | 1 | 0 | -0.088026 | -0.022036
7 | 0.98675 | -0.092301 | 0.0037479 | 0.00093931
8 | 0.9869 | -0.091258 | 0.0078866 | 0.0019766
9 | 0.98759 | -0.08637 | 0 | 0
10 | 0.97539 | -0.17304 | 0 | 0
11 | 0.99914 | -0.0059107 | 0.0012383 | 0.00031036
12 | 0.99873 | -0.0088646 | 0.00017666 | 4.4276e-05
13 | 0.99101 | -0.062588 | 0.0054035 | 0.0013542
14 | 0.99079 | -0.064134 | 0.0051439 | 0.0012892
15 | 0.99866 | -0.009386 | 9.3304e-05 | 2.3384e-05
16 | 0.99865 | -0.0094148 | 0.00023045 | 5.7756e-05
17 | 0.99863 | -0.0095741 | 0.00052106 | 0.00013059
18 | 0.97108 | -0.20436 | 0 | 0
19 | 0.97102 | -0.20484 | 0.00022771 | 5.7069e-05
20 | 0.97109 | -0.20426 | 0.0017496 | 0.00043848
21 | 0.97135 | -0.20237 | 0 | 0
22 | 0.97131 | -0.20268 | 0.00062791 | 0.00015737
23 | 0.97285 | -0.19149 | 0 | 0
24 | 0.97129 | -0.20284 | 0.00028231 | 7.0754e-05
25 | 0.97123 | -0.20329 | 0 | 0
26 | 0.97117 | -0.20371 | 0.00021045 | 5.2745e-05
27 | 0.97111 | -0.20412 | 0.00092942 | 0.00023294
28 | 0.97082 | -0.20626 | 9.7236e-05 | 2.437e-05
29 | 0.97084 | -0.20616 | 0.00034238 | 8.5808e-05
30 | 0.97082 | -0.20628 | 0.00026329 | 6.5988e-05
31 | 0.97525 | -0.17407 | 0.014751 | 0.0036971
32 | 0.9745 | -0.17948 | 0.0058719 | 0.0014716
33 | 0.97422 | -0.18153 | 0.00022449 | 5.6263e-05
34 | 0.97403 | -0.18288 | 0 | 0
35 | 0.97321 | -0.18887 | 0 | 0
36 | 0.973 | -0.19041 | 0.00028511 | 7.1456e-05
37 | 0.97304 | -0.1901 | 0.00037825 | 9.4798e-05
38 | 0.97317 | -0.18918 | 0.0011 | 0.00027568
39 | 0.99998 | 149.9947 | 0 | 0

## res_line
| p_from_mw | q_from_mvar | p_to_mw | q_to_mvar | pl_mw | ql_mvar | i_from_ka | i_to_ka | i_ka | vm_from_pu | va_from_degree | vm_to_pu | va_to_degree | loading_percent
0 | -0.0044407 | -0.0011129 | 0.0044411 | 0.0011129 | 4.2732e-07 | -2.7189e-08 | 0.0067273 | 0.0067273 | 0.0067273 | 0.98223 | -0.12464 | 0.98233 | -0.12395 | 2.4916
1 | -0.020425 | -0.0051188 | 0.020436 | 0.0051227 | 1.0839e-05 | 3.9391e-06 | 0.030939 | 0.030939 | 0.030939 | 0.98233 | -0.12395 | 0.98286 | -0.12012 | 11.459
2 | -0.033922 | -0.0085027 | 0.03396 | 0.0085172 | 3.8309e-05 | 1.4439e-05 | 0.051357 | 0.051357 | 0.051357 | 0.98286 | -0.12012 | 0.98401 | -0.11197 | 19.0211
3 | -0.03396 | -0.0085172 | 0.034206 | 0.0086096 | 0.00024527 | 9.2425e-05 | 0.051357 | 0.051356 | 0.051357 | 0.98401 | -0.11197 | 0.99134 | -0.060249 | 19.021
4 | 0.010552 | 0.0026445 | -0.01055 | -0.002644 | 1.6443e-06 | 4.97e-07 | 0.015839 | 0.015839 | 0.015839 | 0.99134 | -0.060249 | 0.99118 | -0.061375 | 5.8661
5 | -0.044757 | -0.011254 | 0.045136 | 0.011398 | 0.00037899 | 0.00014401 | 0.067195 | 0.067194 | 0.067195 | 0.99134 | -0.060249 | 1 | 0 | 24.8869
6 | 0.01055 | 0.002644 | -0.010549 | -0.0026435 | 1.771e-06 | 5.3535e-07 | 0.015839 | 0.015839 | 0.015839 | 0.99118 | -0.061375 | 0.99101 | -0.062588 | 5.8662
7 | 0.042089 | 0.010638 | -0.042054 | -0.010626 | 3.5005e-05 | 1.2714e-05 | 0.062661 | 0.062662 | 0.062662 | 1 | 0 | 0.99914 | -0.0059107 | 11.604
8 | -0.0037479 | -0.00093931 | 0.0037484 | 0.00093917 | 5.4097e-07 | -1.3868e-07 | 0.0056518 | 0.0056517 | 0.0056518 | 0.98675 | -0.092301 | 0.9869 | -0.091258 | 2.0933
9 | -0.011635 | -0.0029157 | 0.011643 | 0.0029182 | 7.8756e-06 | 2.5047e-06 | 0.017543 | 0.017543 | 0.017543 | 0.9869 | -0.091258 | 0.98759 | -0.08637 | 6.4974
10 | 0.027705 | 0.0069767 | -0.027373 | -0.006853 | 0.00033166 | 0.00012371 | 0.041755 | 0.041757 | 0.041757 | 0.98759 | -0.08637 | 0.97539 | -0.17304 | 15.4655
11 | -0.039348 | -0.009895 | 0.039794 | 0.010064 | 0.00044631 | 0.00016902 | 0.059298 | 0.059297 | 0.059298 | 0.98759 | -0.08637 | 0.99914 | -0.0059107 | 21.9623
12 | 0.027373 | 0.006853 | -0.027369 | -0.0068516 | 3.8812e-06 | 1.4483e-06 | 0.041757 | 0.041757 | 0.041757 | 0.97539 | -0.17304 | 0.97525 | -0.17407 | 15.4655
13 | 0.001022 | 0.00025124 | -0.0010216 | -0.00025479 | 4.0811e-07 | -3.5443e-06 | 0.0015203 | 0.0015216 | 0.0015216 | 0.99914 | -0.0059107 | 0.99873 | -0.0088646 | 0.56355
14 | 0.00084489 | 0.00021051 | -0.00084483 | -0.00021129 | 6.0514e-08 | -7.779e-07 | 0.0012584 | 0.0012587 | 0.0012587 | 0.99873 | -0.0088646 | 0.99866 | -0.009386 | 0.46617
15 | 0.005145 | 0.0012892 | -0.0051439 | -0.0012892 | 1.101e-06 | 4.2621e-08 | 0.0077252 | 0.0077254 | 0.0077254 | 0.99101 | -0.062588 | 0.99079 | -0.064134 | 2.8612
16 | 0.00075153 | 0.0001879 | -0.00075152 | -0.00018795 | 2.982e-09 | -4.873e-08 | 0.0011196 | 0.0011197 | 0.0011197 | 0.99866 | -0.009386 | 0.99865 | -0.0094148 | 0.41469
17 | 0.00052107 | 0.0001302 | -0.00052106 | -0.00013059 | 1.1455e-08 | -3.941e-07 | 0.00077627 | 0.00077641 | 0.00077641 | 0.99865 | -0.0094148 | 0.99863 | -0.0095741 | 0.28756
18 | 0.00093081 | 0.00023014 | -0.00093075 | -0.00023071 | 6.0567e-08 | -5.6777e-07 | 0.0014252 | 0.0014254 | 0.0014254 | 0.97108 | -0.20436 | 0.97102 | -0.20484 | 0.52792
19 | -0.00093081 | -0.00023014 | 0.00093082 | 0.00023003 | 1.2099e-08 | -1.1345e-07 | 0.0014252 | 0.0014251 | 0.0014252 | 0.97108 | -0.20436 | 0.97109 | -0.20426 | 0.52785
20 | 0.00070304 | 0.00017364 | -0.00070292 | -0.00017576 | 1.2645e-07 | -2.1127e-06 | 0.0010764 | 0.0010772 | 0.0010772 | 0.97102 | -0.20484 | 0.97084 | -0.20616 | 0.39897
21 | -0.0026804 | -0.00066851 | 0.0026811 | 0.00066797 | 6.9399e-07 | -5.4949e-07 | 0.004106 | 0.0041057 | 0.004106 | 0.97109 | -0.20426 | 0.97135 | -0.20237 | 1.5207
22 | 0.0020504 | 0.00051222 | -0.0020503 | -0.00051236 | 8.8744e-08 | -1.4436e-07 | 0.0031404 | 0.0031405 | 0.0031405 | 0.97135 | -0.20237 | 0.97131 | -0.20268 | 1.1631
23 | -0.0047315 | -0.0011802 | 0.0047385 | 0.0011802 | 7.0554e-06 | 4.359e-08 | 0.0072461 | 0.0072452 | 0.0072461 | 0.97135 | -0.20237 | 0.97285 | -0.19149 | 2.6838
24 | 0.0014224 | 0.00035499 | -0.0014224 | -0.00035511 | 3.0624e-08 | -1.162e-07 | 0.0021785 | 0.0021786 | 0.0021786 | 0.97131 | -0.20268 | 0.97129 | -0.20284 | 0.80689
25 | -0.0047385 | -0.0011802 | 0.0047393 | 0.0011802 | 7.0148e-07 | 3.8465e-09 | 0.0072452 | 0.0072451 | 0.0072452 | 0.97285 | -0.19149 | 0.973 | -0.19041 | 2.6834
26 | 0.0011401 | 0.00028435 | -0.00114 | -0.00028479 | 7.0698e-08 | -4.3267e-07 | 0.0017461 | 0.0017463 | 0.0017463 | 0.97129 | -0.20284 | 0.97123 | -0.20329 | 0.64676
27 | 0.00114 | 0.00028479 | -0.0011399 | -0.00028519 | 6.5452e-08 | -4.0044e-07 | 0.0017463 | 0.0017464 | 0.0017464 | 0.97123 | -0.20329 | 0.97117 | -0.20371 | 0.64682
28 | 0.00092947 | 0.00023244 | -0.00092942 | -0.00023294 | 5.2478e-08 | -4.9294e-07 | 0.0014239 | 0.0014241 | 0.0014241 | 0.97117 | -0.20371 | 0.97111 | -0.20412 | 0.52746
29 | -0.00036053 | -9.0286e-05 | 0.00036054 | 8.9948e-05 | 5.2517e-09 | -3.3888e-07 | 0.00055257 | 0.00055245 | 0.00055257 | 0.97082 | -0.20626 | 0.97084 | -0.20616 | 0.20466
30 | 0.00026329 | 6.5917e-05 | -0.00026329 | -6.5988e-05 | 5.8473e-10 | -7.0924e-08 | 0.00040354 | 0.00040356 | 0.00040356 | 0.97082 | -0.20626 | 0.97082 | -0.20628 | 0.14947
31 | 0.012618 | 0.0031545 | -0.012609 | -0.0031514 | 9.4025e-06 | 3.1093e-06 | 0.019249 | 0.01925 | 0.01925 | 0.97525 | -0.17407 | 0.9745 | -0.17948 | 7.1295
32 | 0.0067367 | 0.0016798 | -0.0067348 | -0.0016794 | 1.8858e-06 | 3.6937e-07 | 0.010283 | 0.010284 | 0.010284 | 0.9745 | -0.17948 | 0.97422 | -0.18153 | 3.8087
33 | 0.0065103 | 0.0016231 | -0.0065091 | -0.0016229 | 1.2082e-06 | 2.2077e-07 | 0.0099407 | 0.0099408 | 0.0099408 | 0.97422 | -0.18153 | 0.97403 | -0.18288 | 3.6818
34 | 0.0065091 | 0.0016229 | -0.0065037 | -0.0016219 | 5.3403e-06 | 9.7698e-07 | 0.0099408 | 0.0099412 | 0.0099412 | 0.97403 | -0.18288 | 0.97321 | -0.18887 | 3.6819
35 | 0.0054037 | 0.0013466 | -0.0054028 | -0.0013465 | 9.0764e-07 | 8.4198e-08 | 0.0082594 | 0.0082595 | 0.0082595 | 0.97321 | -0.18887 | 0.97304 | -0.1901 | 3.0591
36 | 0.0011 | 0.00027536 | -0.0011 | -0.00027568 | 4.7135e-08 | -3.1369e-07 | 0.0016818 | 0.0016819 | 0.0016819 | 0.97321 | -0.18887 | 0.97317 | -0.18918 | 0.62292
37 | -0.0050244 | -0.0012517 | 0.0050246 | 0.0012517 | 2.1333e-07 | 1.0076e-08 | 0.0076811 | 0.0076811 | 0.0076811 | 0.973 | -0.19041 | 0.97304 | -0.1901 | 2.8449

## res_trafo
| p_hv_mw | q_hv_mvar | p_lv_mw | q_lv_mvar | pl_mw | ql_mvar | i_hv_ka | i_lv_ka | vm_hv_pu | va_hv_degree | vm_lv_pu | va_lv_degree | loading_percent
0 | 2.5187e-16 | 8.8016e-16 | 0.00079998 | 7.4552e-08 | 0.00079998 | 7.4552e-08 | 2.6429e-17 | 0.0011547 | 0.99998 | 149.9947 | 1 | 0 | 0.31999

## res_ext_grid
| p_mw | q_mvar
0 | 0.09878 | 0.024732

## res_load
| p_mw | q_mvar
0 | 0.0044407 | 0.0011129
1 | 0.015984 | 0.0040059
2 | 0.013486 | 0.00338
3 | 0.010754 | 0.0026952
4 | 0.0037479 | 0.00093931
5 | 0.0078866 | 0.0019766
6 | 0.0012383 | 0.00031036
7 | 0.00017666 | 4.4276e-05
8 | 0.0054035 | 0.0013542
9 | 0.0051439 | 0.0012892
10 | 9.3304e-05 | 2.3384e-05
11 | 0.00023045 | 5.7756e-05
12 | 0.00052106 | 0.00013059
13 | 0.00022771 | 5.7069e-05
14 | 0.0017496 | 0.00043848
15 | 0.00062791 | 0.00015737
16 | 0.00028231 | 7.0754e-05
17 | 0.00021045 | 5.2745e-05
18 | 0.00092942 | 0.00023294
19 | 9.7236e-05 | 2.437e-05
20 | 0.00034238 | 8.5808e-05
21 | 0.00026329 | 6.5988e-05
22 | 0.014751 | 0.0036971
23 | 0.0058719 | 0.0014716
24 | 0.00022449 | 5.6263e-05
25 | 0.00028511 | 7.1456e-05
26 | 0.00037825 | 9.4798e-05
27 | 0.0011 | 0.00027568

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object
62 | res_bus | vm_pu | float64
63 | res_bus | va_degree | float64
64 | res_bus | p_mw | float64
65 | res_bus | q_mvar | float64
66 | res_line | p_from_mw | float64
67 | res_line | q_from_mvar | float64
68 | res_line | p_to_mw | float64
69 | res_line | q_to_mvar | float64
70 | res_line | pl_mw | float64
71 | res_line | ql_mvar | float64
72 | res_line | i_from_ka | float64
73 | res_line | i_to_ka | float64
74 | res_line | i_ka | float64
75 | res_line | vm_from_pu | float64
76 | res_line | va_from_degree | float64
77 | res_line | vm_to_pu | float64
78 | res_line | va_to_degree | float64
79 | res_line | loading_percent | float64
80 | res_trafo | p_hv_mw | float64
81 | res_trafo | q_hv_mvar | float64
82 | res_trafo | p_lv_mw | float64
83 | res_trafo | q_lv_mvar | float64
84 | res_trafo | pl_mw | float64
85 | res_trafo | ql_mvar | float64
86 | res_trafo | i_hv_ka | float64
87 | res_trafo | i_lv_ka | float64
88 | res_trafo | vm_hv_pu | float64
89 | res_trafo | va_hv_degree | float64
90 | res_trafo | vm_lv_pu | float64
91 | res_trafo | va_lv_degree | float64
92 | res_trafo | loading_percent | float64
93 | res_ext_grid | p_mw | float64
94 | res_ext_grid | q_mvar | float64
95 | res_load | p_mw | float64
96 | res_load | q_mvar | float64

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | TRUE | FALSE |  | 50 | 1