## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_1041-2_1_3_node_128 | 0.4 | n |  | TRUE
1 | bus_LV_1041-2_1_3_node_127 | 0.4 | n |  | TRUE
2 | bus_LV_1041-2_1_3_node_129 | 0.4 | n |  | TRUE
3 | bus_LV_1041-2_1_3_node_123 | 0.4 | n |  | TRUE
4 | bus_LV_1041-2_1_3_node_173 | 0.4 | n |  | TRUE
5 | bus_LV_1041-2_1_3_node_172 | 0.4 | n |  | TRUE
6 | bus_LV_1041-2_1_3_node_130 | 0.4 | n |  | TRUE
7 | bus_LV_1041-2_1_3_node_161 | 0.4 | n |  | TRUE
8 | bus_LV_1041-2_1_3_node_140 | 0.4 | n |  | TRUE
9 | bus_LV_1041-2_1_3_node_135 | 0.4 | n |  | TRUE
10 | bus_LV_1041-2_1_3_node_131 | 0.4 | n |  | TRUE
11 | bus_LV_1041-2_1_3_node_132 | 0.4 | n |  | TRUE
12 | bus_LV_1041-2_1_3_node_133 | 0.4 | n |  | TRUE
13 | bus_LV_1041-2_1_3_node_134 | 0.4 | n |  | TRUE
14 | bus_LV_1041-2_1_3_node_156 | 0.4 | n |  | TRUE
15 | bus_LV_1041-2_1_3_node_138 | 0.4 | n |  | TRUE
16 | bus_LV_1041-2_1_3_node_139 | 0.4 | n |  | TRUE
17 | bus_LV_1041-2_1_3_node_155 | 0.4 | n |  | TRUE
18 | bus_LV_1041-2_1_3_node_157 | 0.4 | n |  | TRUE
19 | bus_LV_1041-2_1_3_node_158 | 0.4 | n |  | TRUE
20 | bus_LV_1041-2_1_3_node_163 | 0.4 | n |  | TRUE
21 | bus_LV_1041-2_1_3_node_162 | 0.4 | n |  | TRUE
22 | bus_LV_1041-2_1_3_node_164 | 0.4 | n |  | TRUE
23 | bus_LV_1041-2_1_3_node_165 | 0.4 | n |  | TRUE
24 | bus_LV_1041-2_1_3_node_177 | 0.4 | n |  | TRUE
25 | bus_LV_1041-2_1_3_node_182 | 0.4 | n |  | TRUE
26 | bus_LV_1041-2_1_3_node_166 | 0.4 | n |  | TRUE
27 | bus_LV_1041-2_1_3_node_167 | 0.4 | n |  | TRUE
28 | bus_LV_1041-2_1_3_node_168 | 0.4 | n |  | TRUE
29 | bus_LV_1041-2_1_3_node_169 | 0.4 | n |  | TRUE
30 | bus_LV_1041-2_1_3_node_170 | 0.4 | n |  | TRUE
31 | bus_LV_1041-2_1_3_node_171 | 0.4 | n |  | TRUE
32 | bus_LV_1041-2_1_3_node_185 | 0.4 | n |  | TRUE
33 | bus_LV_1041-2_1_3_node_184 | 0.4 | n |  | TRUE
34 | bus_LV_1041-2_1_3_node_189 | 0.4 | n |  | TRUE
35 | bus_LV_1041-2_1_3_node_179 | 0.4 | n |  | TRUE
36 | bus_LV_1041-2_1_3_node_174 | 0.4 | n |  | TRUE
37 | bus_LV_1041-2_1_3_node_175 | 0.4 | n |  | TRUE
38 | bus_LV_1041-2_1_3_node_176 | 0.4 | n |  | TRUE
39 | bus_LV_1041-2_1_3_node_178 | 0.4 | n |  | TRUE
40 | bus_LV_1041-2_1_3_node_181 | 0.4 | n |  | TRUE
41 | bus_LV_1041-2_1_3_node_180 | 0.4 | n |  | TRUE
42 | bus_LV_1041-2_1_3_node_193 | 0.4 | n |  | TRUE
43 | bus_LV_1041-2_1_3_node_183 | 0.4 | n |  | TRUE
44 | bus_LV_1041-2_1_3_node_93 | 0.4 | n |  | TRUE
45 | bus_LV_1041-2_1_3_node_57 | 0.4 | n |  | TRUE
46 | bus_LV_1041-2_1_3_node_58 | 0.4 | n |  | TRUE
47 | bus_LV_1041-2_1_3_node_190 | 0.4 | n |  | TRUE
48 | bus_LV_1041-2_1_3_node_186 | 0.4 | n |  | TRUE
49 | bus_LV_1041-2_1_3_node_187 | 0.4 | n |  | TRUE
50 | bus_LV_1041-2_1_3_node_188 | 0.4 | n |  | TRUE
51 | bus_LV_1041-2_1_3_node_191 | 0.4 | n |  | TRUE
52 | bus_LV_1041-2_1_3_node_64 | 0.4 | n |  | TRUE
53 | bus_LV_1041-2_1_3_node_65 | 0.4 | n |  | TRUE
54 | bus_LV_1041-2_1_3_node_66 | 0.4 | n |  | TRUE
55 | bus_LV_1041-2_1_3_node_67 | 0.4 | n |  | TRUE
56 | bus_LV_1041-2_1_3_node_68 | 0.4 | n |  | TRUE
57 | bus_LV_1041-2_1_3_node_83 | 0.4 | n |  | TRUE
58 | bus_LV_1041-2_1_3_node_192 | 0.4 | n |  | TRUE
59 | bus_LV_1041-2_1_3_node_195 | 0.4 | n |  | TRUE
60 | bus_LV_1041-2_1_3_node_84 | 0.4 | n |  | TRUE
61 | bus_LV_1041-2_1_3_node_120 | 0.4 | n |  | TRUE
62 | bus_LV_1041-2_1_3_node_121 | 0.4 | n |  | TRUE
63 | bus_LV_1041-2_1_3_node_122 | 0.4 | n |  | TRUE
64 | bus_LV_1041-2_1_3_node_124 | 0.4 | n |  | TRUE
65 | bus_LV_1041-2_1_3_node_126 | 0.4 | n |  | TRUE
66 | bus_LV_1041-2_1_3_node_125 | 0.4 | n |  | TRUE
67 | bus_MV_350_1_node_67 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_1041-2_1_3_load_128 | 0 | 0.00098719 | 0.00024741 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_1041-2_1_3_load_172 | 5 | 0.0040591 | 0.0010173 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_1041-2_1_3_load_140 | 8 | 0.0026725 | 0.00066978 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_1041-2_1_3_load_131 | 10 | 0.00014656 | 3.6732e-05 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_1041-2_1_3_load_132 | 11 | 0.00018587 | 4.6584e-05 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_1041-2_1_3_load_134 | 13 | 0.00021455 | 5.3771e-05 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_1041-2_1_3_load_156 | 14 | 8.3865e-05 | 2.1019e-05 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_1041-2_1_3_load_138 | 15 | 0.0019387 | 0.00048588 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_1041-2_1_3_load_139 | 16 | 0.0018605 | 0.0004663 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_1041-2_1_3_load_155 | 17 | 0.00015034 | 3.7679e-05 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_1041-2_1_3_load_157 | 18 | 0.00050881 | 0.00012752 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_1041-2_1_3_load_158 | 19 | 5.9144e-05 | 1.4823e-05 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_1041-2_1_3_load_163 | 20 | 0.0030995 | 0.00077682 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_1041-2_1_3_load_162 | 21 | 0.0029672 | 0.00074365 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_1041-2_1_3_load_164 | 22 | 0.0020852 | 0.0005226 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_1041-2_1_3_load_165 | 23 | 0.00030964 | 7.7603e-05 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_1041-2_1_3_load_177 | 24 | 0.0025483 | 0.00063867 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_1041-2_1_3_load_182 | 25 | 0.0019635 | 0.00049209 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_1041-2_1_3_load_166 | 26 | 0.00051497 | 0.00012906 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_1041-2_1_3_load_167 | 27 | 0.0011221 | 0.00028121 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_1041-2_1_3_load_169 | 29 | 0.0013276 | 0.00033273 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_1041-2_1_3_load_170 | 30 | 0.00059645 | 0.00014948 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_1041-2_1_3_load_171 | 31 | 0.0019156 | 0.00048009 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_1041-2_1_3_load_185 | 32 | 0.0030522 | 0.00076496 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_1041-2_1_3_load_184 | 33 | 0.00079262 | 0.00019865 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_1041-2_1_3_load_179 | 35 | 0.0027554 | 0.00069056 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_1041-2_1_3_load_174 | 36 | 0.0014053 | 0.00035221 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_1041-2_1_3_load_175 | 37 | 0.0012322 | 0.00030882 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_1041-2_1_3_load_176 | 38 | 0.0027459 | 0.00068819 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_1041-2_1_3_load_178 | 39 | 0.0018654 | 0.00046752 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_1041-2_1_3_load_180 | 41 | 0.0018581 | 0.00046569 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_1041-2_1_3_load_183 | 43 | 0.0010172 | 0.00025492 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_1041-2_1_3_load_57 | 45 | 0.0066868 | 0.0016759 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_1041-2_1_3_load_58 | 46 | 0.0018055 | 0.0004525 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_1041-2_1_3_load_190 | 47 | 0.00090883 | 0.00022777 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_1041-2_1_3_load_186 | 48 | 0.0034888 | 0.00087438 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_1041-2_1_3_load_187 | 49 | 0.0029638 | 0.00074281 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_1041-2_1_3_load_191 | 51 | 0.0010977 | 0.00027511 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_1041-2_1_3_load_64 | 52 | 0.0002902 | 7.2731e-05 | 0 | 0 |  | 1 | TRUE | wye
39 | LV_1041-2_1_3_load_65 | 53 | 0.00041528 | 0.00010408 | 0 | 0 |  | 1 | TRUE | wye
40 | LV_1041-2_1_3_load_67 | 55 | 0.00048802 | 0.00012231 | 0 | 0 |  | 1 | TRUE | wye
41 | LV_1041-2_1_3_load_68 | 56 | 0.00014891 | 3.732e-05 | 0 | 0 |  | 1 | TRUE | wye
42 | LV_1041-2_1_3_load_83 | 57 | 0.00067356 | 0.00016881 | 0 | 0 |  | 1 | TRUE | wye
43 | LV_1041-2_1_3_load_192 | 58 | 0.0054873 | 0.0013752 | 0 | 0 |  | 1 | TRUE | wye
44 | LV_1041-2_1_3_load_195 | 59 | 0.0038739 | 0.0009709 | 0 | 0 |  | 1 | TRUE | wye
45 | LV_1041-2_1_3_load_120 | 61 | 0.0017302 | 0.00043364 | 0 | 0 |  | 1 | TRUE | wye
46 | LV_1041-2_1_3_load_121 | 62 | 0.0001812 | 4.5413e-05 | 0 | 0 |  | 1 | TRUE | wye
47 | LV_1041-2_1_3_load_122 | 63 | 0.0005834 | 0.00014621 | 0 | 0 |  | 1 | TRUE | wye
48 | LV_1041-2_1_3_load_124 | 64 | 0.0028622 | 0.00071734 | 0 | 0 |  | 1 | TRUE | wye
49 | LV_1041-2_1_3_load_126 | 65 | 0.00055666 | 0.00013951 | 0 | 0 |  | 1 | TRUE | wye
50 | LV_1041-2_1_3_load_125 | 66 | 0.00048234 | 0.00012089 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 23 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_1041-2_1_3_line_0 | NAYY 4x150 SE | 0 | 1 | 0.013676 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
1 | LV_1041-2_1_3_line_1 | NAYY 4x150 SE | 1 | 66 | 0.011998 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
2 | LV_1041-2_1_3_line_2 | NAYY 4x150 SE | 2 | 3 | 0.0089448 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
3 | LV_1041-2_1_3_line_3 | NAYY 4x150 SE | 2 | 4 | 0.005555 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
4 | LV_1041-2_1_3_line_4 | NAYY 4x150 SE | 2 | 5 | 0.024402 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
5 | LV_1041-2_1_3_line_5 | NAYY 4x150 SE | 3 | 62 | 0.10801 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
6 | LV_1041-2_1_3_line_6 | NAYY 4x150 SE | 4 | 35 | 0.035214 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
7 | LV_1041-2_1_3_line_7 | NAYY 4x150 SE | 5 | 7 | 0.026273 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
8 | LV_1041-2_1_3_line_8 | NAYY 4x150 SE | 6 | 7 | 0.034168 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
9 | LV_1041-2_1_3_line_9 | NAYY 4x150 SE | 6 | 8 | 0.029855 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
10 | LV_1041-2_1_3_line_10 | NAYY 4x150 SE | 6 | 9 | 0.28169 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
11 | LV_1041-2_1_3_line_11 | NAYY 4x150 SE | 7 | 20 | 0.018685 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
12 | LV_1041-2_1_3_line_12 | NAYY 4x150 SE | 8 | 16 | 0.04274 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
13 | LV_1041-2_1_3_line_13 | NAYY 4x150 SE | 9 | 12 | 0.004898 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
14 | LV_1041-2_1_3_line_14 | NAYY 4x150 SE | 10 | 11 | 0.027268 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
15 | LV_1041-2_1_3_line_15 | NAYY 4x150 SE | 10 | 12 | 0.018036 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
16 | LV_1041-2_1_3_line_16 | NAYY 4x150 SE | 11 | 13 | 0.004774 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
17 | LV_1041-2_1_3_line_17 | NAYY 4x150 SE | 13 | 14 | 0.0084182 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
18 | LV_1041-2_1_3_line_18 | NAYY 4x150 SE | 14 | 17 | 0.010592 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
19 | LV_1041-2_1_3_line_19 | NAYY 4x150 SE | 15 | 16 | 0.053064 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
20 | LV_1041-2_1_3_line_20 | NAYY 4x150 SE | 17 | 18 | 0.00021609 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
21 | LV_1041-2_1_3_line_21 | NAYY 4x150 SE | 18 | 19 | 0.008066 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
22 | LV_1041-2_1_3_line_22 | NAYY 4x150 SE | 20 | 21 | 0.029557 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
23 | LV_1041-2_1_3_line_23 | NAYY 4x150 SE | 22 | 23 | 0.01869 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
24 | LV_1041-2_1_3_line_24 | NAYY 4x150 SE | 22 | 24 | 0.061888 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
25 | LV_1041-2_1_3_line_25 | NAYY 4x150 SE | 23 | 25 | 0.017753 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
26 | LV_1041-2_1_3_line_26 | NAYY 4x150 SE | 24 | 37 | 0.0068363 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
27 | LV_1041-2_1_3_line_27 | NAYY 4x150 SE | 25 | 43 | 0.03367 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
28 | LV_1041-2_1_3_line_28 | NAYY 4x150 SE | 26 | 27 | 0.014588 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
29 | LV_1041-2_1_3_line_29 | NAYY 4x150 SE | 26 | 28 | 0.02566 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
30 | LV_1041-2_1_3_line_30 | NAYY 4x150 SE | 27 | 29 | 0.027276 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
31 | LV_1041-2_1_3_line_31 | NAYY 4x150 SE | 28 | 30 | 0.024468 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
32 | LV_1041-2_1_3_line_32 | NAYY 4x150 SE | 28 | 31 | 0.025997 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
33 | LV_1041-2_1_3_line_33 | NAYY 4x150 SE | 29 | 32 | 0.032885 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
34 | LV_1041-2_1_3_line_34 | NAYY 4x150 SE | 30 | 33 | 0.010217 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
35 | LV_1041-2_1_3_line_35 | NAYY 4x150 SE | 31 | 34 | 0.014156 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
36 | LV_1041-2_1_3_line_36 | NAYY 4x150 SE | 32 | 48 | 0.0305 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
37 | LV_1041-2_1_3_line_37 | NAYY 4x150 SE | 34 | 47 | 0.031738 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
38 | LV_1041-2_1_3_line_38 | NAYY 4x150 SE | 35 | 41 | 0.021104 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
39 | LV_1041-2_1_3_line_39 | NAYY 4x150 SE | 36 | 37 | 0.023584 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
40 | LV_1041-2_1_3_line_40 | NAYY 4x150 SE | 36 | 38 | 0.022697 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
41 | LV_1041-2_1_3_line_41 | NAYY 4x150 SE | 38 | 39 | 0.0070186 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
42 | LV_1041-2_1_3_line_42 | NAYY 4x150 SE | 39 | 40 | 0.011223 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
43 | LV_1041-2_1_3_line_43 | NAYY 4x150 SE | 40 | 42 | 0.089174 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
44 | LV_1041-2_1_3_line_44 | NAYY 4x150 SE | 40 | 41 | 0.03795 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
45 | LV_1041-2_1_3_line_45 | NAYY 4x150 SE | 42 | 59 | 0.023956 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
46 | LV_1041-2_1_3_line_46 | NAYY 4x150 SE | 42 | 50 | 0.055861 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
47 | LV_1041-2_1_3_line_47 | NAYY 4x150 SE | 43 | 44 | 0.50163 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
48 | LV_1041-2_1_3_line_48 | NAYY 4x150 SE | 44 | 60 | 0.004612 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
49 | LV_1041-2_1_3_line_49 | NAYY 4x150 SE | 45 | 46 | 0.0076832 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
50 | LV_1041-2_1_3_line_50 | NAYY 4x150 SE | 46 | 47 | 0.27183 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
51 | LV_1041-2_1_3_line_51 | NAYY 4x150 SE | 48 | 49 | 0.033041 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
52 | LV_1041-2_1_3_line_52 | NAYY 4x150 SE | 49 | 50 | 0.041055 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
53 | LV_1041-2_1_3_line_53 | NAYY 4x150 SE | 50 | 51 | 0.016313 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
54 | LV_1041-2_1_3_line_54 | NAYY 4x150 SE | 51 | 58 | 0.0041124 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
55 | LV_1041-2_1_3_line_55 | NAYY 4x150 SE | 52 | 53 | 0.011523 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
56 | LV_1041-2_1_3_line_56 | NAYY 4x150 SE | 52 | 54 | 0.0010246 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
57 | LV_1041-2_1_3_line_57 | NAYY 4x150 SE | 54 | 55 | 0.02779 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
58 | LV_1041-2_1_3_line_58 | NAYY 4x150 SE | 54 | 56 | 0.041966 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
59 | LV_1041-2_1_3_line_59 | NAYY 4x150 SE | 56 | 57 | 0.0092708 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
60 | LV_1041-2_1_3_line_60 | NAYY 4x150 SE | 57 | 60 | 0.064235 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
61 | LV_1041-2_1_3_line_61 | NAYY 4x150 SE | 61 | 62 | 0.0053635 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
62 | LV_1041-2_1_3_line_62 | NAYY 4x150 SE | 61 | 63 | 0.0045383 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
63 | LV_1041-2_1_3_line_63 | NAYY 4x150 SE | 63 | 64 | 0.0068072 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
64 | LV_1041-2_1_3_line_64 | NAYY 4x150 SE | 64 | 65 | 0.012646 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
65 | LV_1041-2_1_3_line_65 | NAYY 4x150 SE | 65 | 66 | 0.011292 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_1041-2_1_3_trafo_165 | 0.25 MVA 20/0.4 kV | 67 | 23 | 0.25 | 20 | 0.4 | 6 | 1.44 | 0.8 | 0.32 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5
0 | 2663849.5373 | 1235786.4831 | 2663845.8279 | 1235787.9998 | 2663837.939 | 1235793.5902
1 | 2663849.5373 | 1235786.4831 | 2663843.7336 | 1235776.5474 | 2663843.6299 | 1235776.0669
2 | 2663846.199 | 1235623.2275 | 2663850.954 | 1235625.1243 | 2663850.6104 | 1235628.9342
3 | 2663849.1783 | 1235618.5341 | 2663846.199 | 1235623.2275
4 | 2663846.199 | 1235623.2275 | 2663828.1562 | 1235616.2401 | 2663823.3012 | 1235614.8374
5 | 2663850.6104 | 1235628.9342 | 2663848.3634 | 1235653.5042 | 2663843.8462 | 1235704.1116 | 2663838.3711 | 1235728.38 | 2663837.7703 | 1235736.0066
6 | 2663849.1783 | 1235618.5341 | 2663862.221 | 1235599.9508 | 2663869.2758 | 1235589.6193
7 | 2663798.0607 | 1235607.5446 | 2663823.3012 | 1235614.8374
8 | 2663766.7087 | 1235603.0829 | 2663768.2399 | 1235600.0307 | 2663798.0607 | 1235607.5446
9 | 2663766.7087 | 1235603.0829 | 2663759.8741 | 1235632.145
10 | 2663766.7087 | 1235603.0829 | 2663490.4419 | 1235548.0889
11 | 2663798.0607 | 1235607.5446 | 2663802.4207 | 1235597.607 | 2663806.2237 | 1235590.7588
12 | 2663750.0896 | 1235673.7503 | 2663759.8741 | 1235632.145
13 | 2663490.4419 | 1235548.0889 | 2663491.1899 | 1235543.2492
14 | 2663494.1984 | 1235525.4656 | 2663498.7468 | 1235498.5801
15 | 2663491.1899 | 1235543.2492 | 2663494.1984 | 1235525.4656
16 | 2663499.5431 | 1235493.873 | 2663498.7468 | 1235498.5801
17 | 2663499.5431 | 1235493.873 | 2663500.9474 | 1235485.5727
18 | 2663500.9474 | 1235485.5727 | 2663502.7142 | 1235475.1288
19 | 2663737.9418 | 1235725.4053 | 2663750.0896 | 1235673.7503
20 | 2663502.7503 | 1235474.9157 | 2663502.7142 | 1235475.1288
21 | 2663504.0957 | 1235466.9627 | 2663502.7503 | 1235474.9157
22 | 2663817.7295 | 1235563.6783 | 2663812.677 | 1235579.1381 | 2663806.2237 | 1235590.7588
23 | 2663854.9448 | 1235422.8548 | 2663854.9448 | 1235422.8548 | 2663853.2442 | 1235441.4675
24 | 2663906.8911 | 1235472.3238 | 2663853.2442 | 1235441.4675
25 | 2663854.9448 | 1235422.8548 | 2663858.105 | 1235405.3851
26 | 2663906.8911 | 1235472.3238 | 2663904.9367 | 1235478.8748
27 | 2663858.105 | 1235405.3851 | 2663861.5912 | 1235386.1129 | 2663863.4064 | 1235372.1454
28 | 2663965.8252 | 1235233.9143 | 2663964.8444 | 1235238.6808 | 2663965.6593 | 1235248.3682
29 | 2663979.5305 | 1235213.0885 | 2663967.3122 | 1235226.6883 | 2663965.8252 | 1235233.9143
30 | 2663967.4683 | 1235275.5742 | 2663967.2867 | 1235267.7152 | 2663965.6593 | 1235248.3682
31 | 2663979.5305 | 1235213.0885 | 2663969.848 | 1235197.8408 | 2663964.2891 | 1235194.6567 | 2663964.2891 | 1235194.6567
32 | 2663979.5305 | 1235213.0885 | 2664000.8886 | 1235198.2663
33 | 2663968.2284 | 1235308.45 | 2663967.4683 | 1235275.5742
34 | 2663954.1224 | 1235193.6461 | 2663964.2891 | 1235194.6567
35 | 2664012.5188 | 1235190.1951 | 2664000.8886 | 1235198.2663
36 | 2663968.2284 | 1235308.45 | 2663968.7324 | 1235330.2501 | 2663969.085 | 1235338.9371
37 | 2664012.5188 | 1235190.1951 | 2664013.2413 | 1235184.2545 | 2664011.9102 | 1235177.1466 | 2664007.9479 | 1235171.8893 | 2664003.2019 | 1235169.1252 | 2663996.8484 | 1235168.0339
38 | 2663869.2758 | 1235589.6193 | 2663871.7325 | 1235586.0215 | 2663881.0497 | 1235572.1052
39 | 2663899.121 | 1235501.7304 | 2663900.9627 | 1235494.3636 | 2663904.8576 | 1235479.1398 | 2663904.9367 | 1235478.8748
40 | 2663899.121 | 1235501.7304 | 2663893.6163 | 1235523.7493
41 | 2663893.6163 | 1235523.7493 | 2663893.1175 | 1235525.7446 | 2663893.2458 | 1235530.7048
42 | 2663900.3038 | 1235539.4309 | 2663893.2458 | 1235530.7048 | 2663893.2458 | 1235530.7048
43 | 2663940.4661 | 1235460.1546 | 2663930.9749 | 1235473.5725 | 2663922.3051 | 1235489.4343 | 2663913.2728 | 1235513.6644 | 2663900.3038 | 1235539.4309
44 | 2663900.3038 | 1235539.4309 | 2663887.0389 | 1235563.1597 | 2663881.0497 | 1235572.1052
45 | 2663940.4661 | 1235460.1546 | 2663938.2958 | 1235455.7728 | 2663941.5481 | 1235436.9841
46 | 2663940.4661 | 1235460.1546 | 2663955.3953 | 1235439.3458 | 2663964.3142 | 1235423.5646 | 2663969.3448 | 1235412.5337
47 | 2663863.4064 | 1235372.1454 | 2663373.5951 | 1235263.8754
48 | 2663369.9087 | 1235261.0898 | 2663373.5951 | 1235263.8754
49 | 2663902.3209 | 1234910.5202 | 2663910.0038 | 1234910.453
50 | 2663996.8484 | 1235168.0339 | 2663910.0038 | 1234910.453
51 | 2663969.085 | 1235338.9371 | 2663970.0603 | 1235362.964 | 2663970.7341 | 1235371.9326
52 | 2663969.3448 | 1235412.5337 | 2663971.738 | 1235405.3546 | 2663972.2315 | 1235391.8621 | 2663970.7341 | 1235371.9326
53 | 2663969.3448 | 1235412.5337 | 2663964.0804 | 1235407.318 | 2663955.7164 | 1235404.2695
54 | 2663951.8526 | 1235402.8612 | 2663955.7164 | 1235404.2695
55 | 2663243.4269 | 1235258.6038 | 2663244.1041 | 1235258.3592 | 2663254.8699 | 1235257.4685
56 | 2663255.8911 | 1235257.384 | 2663254.8699 | 1235257.4685
57 | 2663255.8911 | 1235257.384 | 2663265.6166 | 1235231.3511
58 | 2663255.8911 | 1235257.384 | 2663290.1495 | 1235258.4828 | 2663297.6085 | 1235260.3525
59 | 2663297.6085 | 1235260.3525 | 2663306.6011 | 1235262.6066
60 | 2663369.9087 | 1235261.0898 | 2663355.7211 | 1235259.3597 | 2663341.6757 | 1235260.6108 | 2663324.967 | 1235264.6355 | 2663315.8138 | 1235264.9159 | 2663306.6011 | 1235262.6066
61 | 2663837.6986 | 1235741.3682 | 2663837.7226 | 1235736.6119 | 2663837.7703 | 1235736.0066
62 | 2663837.6986 | 1235741.3682 | 2663837.6757 | 1235745.9064
63 | 2663838.9287 | 1235752.5973 | 2663837.6757 | 1235745.9064 | 2663837.6757 | 1235745.9064
64 | 2663838.9287 | 1235752.5973 | 2663841.2567 | 1235765.0276
65 | 2663843.6299 | 1235776.0669 | 2663841.3186 | 1235765.3585 | 2663841.2567 | 1235765.0276

## bus_geodata
| x | y | coords
0 | 2663837.939 | 1235793.5902
1 | 2663849.5373 | 1235786.4831
2 | 2663846.199 | 1235623.2275
3 | 2663850.6104 | 1235628.9342
4 | 2663849.1783 | 1235618.5341
5 | 2663823.3012 | 1235614.8374
6 | 2663766.7087 | 1235603.0829
7 | 2663798.0607 | 1235607.5446
8 | 2663759.8741 | 1235632.145
9 | 2663490.4419 | 1235548.0889
10 | 2663494.1984 | 1235525.4656
11 | 2663498.7468 | 1235498.5801
12 | 2663491.1899 | 1235543.2492
13 | 2663499.5431 | 1235493.873
14 | 2663500.9474 | 1235485.5727
15 | 2663737.9418 | 1235725.4053
16 | 2663750.0896 | 1235673.7503
17 | 2663502.7142 | 1235475.1288
18 | 2663502.7503 | 1235474.9157
19 | 2663504.0957 | 1235466.9627
20 | 2663806.2237 | 1235590.7588
21 | 2663817.7295 | 1235563.6783
22 | 2663853.2442 | 1235441.4675
23 | 2663854.9448 | 1235422.8548
24 | 2663906.8911 | 1235472.3238
25 | 2663858.105 | 1235405.3851
26 | 2663965.8252 | 1235233.9143
27 | 2663965.6593 | 1235248.3682
28 | 2663979.5305 | 1235213.0885
29 | 2663967.4683 | 1235275.5742
30 | 2663964.2891 | 1235194.6567
31 | 2664000.8886 | 1235198.2663
32 | 2663968.2284 | 1235308.45
33 | 2663954.1224 | 1235193.6461
34 | 2664012.5188 | 1235190.1951
35 | 2663869.2758 | 1235589.6193
36 | 2663899.121 | 1235501.7304
37 | 2663904.9367 | 1235478.8748
38 | 2663893.6163 | 1235523.7493
39 | 2663893.2458 | 1235530.7048
40 | 2663900.3038 | 1235539.4309
41 | 2663881.0497 | 1235572.1052
42 | 2663940.4661 | 1235460.1546
43 | 2663863.4064 | 1235372.1454
44 | 2663373.5951 | 1235263.8754
45 | 2663902.3209 | 1234910.5202
46 | 2663910.0038 | 1234910.453
47 | 2663996.8484 | 1235168.0339
48 | 2663969.085 | 1235338.9371
49 | 2663970.7341 | 1235371.9326
50 | 2663969.3448 | 1235412.5337
51 | 2663955.7164 | 1235404.2695
52 | 2663254.8699 | 1235257.4685
53 | 2663243.4269 | 1235258.6038
54 | 2663255.8911 | 1235257.384
55 | 2663265.6166 | 1235231.3511
56 | 2663297.6085 | 1235260.3525
57 | 2663306.6011 | 1235262.6066
58 | 2663951.8526 | 1235402.8612
59 | 2663941.5481 | 1235436.9841
60 | 2663369.9087 | 1235261.0898
61 | 2663837.6986 | 1235741.3682
62 | 2663837.7703 | 1235736.0066
63 | 2663837.6757 | 1235745.9064
64 | 2663838.9287 | 1235752.5973
65 | 2663841.2567 | 1235765.0276
66 | 2663843.6299 | 1235776.0669
67 | 2663732.9007 | 1235335.1867

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## res_bus
| vm_pu | va_degree | p_mw | q_mvar
0 | 0.98282 | -0.12047 | 0.00098719 | 0.00024741
1 | 0.98284 | -0.12033 | 0 | 0
2 | 0.98431 | -0.10985 | 0 | 0
3 | 0.98421 | -0.11053 | 0 | 0
4 | 0.98451 | -0.10839 | 0 | 0
5 | 0.98367 | -0.11437 | 0.0040591 | 0.0010173
6 | 0.98275 | -0.12093 | 0 | 0
7 | 0.98314 | -0.11815 | 0 | 0
8 | 0.98247 | -0.12293 | 0.0026725 | 0.00066978
9 | 0.9822 | -0.12492 | 0 | 0
10 | 0.98216 | -0.12524 | 0.00014656 | 3.6732e-05
11 | 0.98211 | -0.12558 | 0.00018587 | 4.6584e-05
12 | 0.98219 | -0.12499 | 0 | 0
13 | 0.9821 | -0.12563 | 0.00021455 | 5.3771e-05
14 | 0.98209 | -0.1257 | 8.3865e-05 | 2.1019e-05
15 | 0.98209 | -0.12568 | 0.0019387 | 0.00048588
16 | 0.98224 | -0.12461 | 0.0018605 | 0.0004663
17 | 0.98208 | -0.12578 | 0.00015034 | 3.7679e-05
18 | 0.98208 | -0.12579 | 0.00050881 | 0.00012752
19 | 0.98208 | -0.12579 | 5.9144e-05 | 1.4823e-05
20 | 0.98298 | -0.11933 | 0.0030995 | 0.00077682
21 | 0.98285 | -0.12023 | 0.0029672 | 0.00074365
22 | 0.99895 | -0.0072488 | 0.0020852 | 0.0005226
23 | 1 | 0 | -0.084636 | -0.021162
24 | 0.99556 | -0.030708 | 0.0025483 | 0.00063867
25 | 0.99987 | -0.00089762 | 0.0019635 | 0.00049209
26 | 0.97606 | -0.16841 | 0.00051497 | 0.00012906
27 | 0.97634 | -0.16639 | 0.0011221 | 0.00028121
28 | 0.97558 | -0.17184 | 0 | 0
29 | 0.97691 | -0.16228 | 0.0013276 | 0.00033273
30 | 0.97553 | -0.1722 | 0.00059645 | 0.00014948
31 | 0.97515 | -0.17494 | 0.0019156 | 0.00048009
32 | 0.97767 | -0.15688 | 0.0030522 | 0.00076496
33 | 0.97552 | -0.17228 | 0.00079262 | 0.00019865
34 | 0.97495 | -0.17634 | 0 | 0
35 | 0.9858 | -0.099191 | 0.0027554 | 0.00069056
36 | 0.99238 | -0.052845 | 0.0014053 | 0.00035221
37 | 0.99484 | -0.035737 | 0.0012322 | 0.00030882
38 | 0.99007 | -0.069064 | 0.0027459 | 0.00068819
39 | 0.98938 | -0.073898 | 0.0018654 | 0.00046752
40 | 0.98831 | -0.081429 | 0 | 0
41 | 0.98666 | -0.093092 | 0.0018581 | 0.00046569
42 | 0.98368 | -0.11411 | 0 | 0
43 | 0.99973 | -0.0019396 | 0.0010172 | 0.00025492
44 | 0.99829 | -0.012254 | 0 | 0
45 | 0.97105 | -0.20441 | 0.0066868 | 0.0016759
46 | 0.97112 | -0.20386 | 0.0018055 | 0.0004525
47 | 0.97451 | -0.17948 | 0.00090883 | 0.00022777
48 | 0.9785 | -0.15091 | 0.0034888 | 0.00087438
49 | 0.97957 | -0.14325 | 0.0029638 | 0.00074281
50 | 0.98109 | -0.1325 | 0 | 0
51 | 0.98093 | -0.13361 | 0.0010977 | 0.00027511
52 | 0.998 | -0.01429 | 0.0002902 | 7.2731e-05
53 | 0.99799 | -0.014338 | 0.00041528 | 0.00010408
54 | 0.998 | -0.014282 | 0 | 0
55 | 0.99798 | -0.014419 | 0.00048802 | 0.00012231
56 | 0.99807 | -0.013778 | 0.00014891 | 3.732e-05
57 | 0.99809 | -0.013653 | 0.00067356 | 0.00016881
58 | 0.9809 | -0.13384 | 0.0054873 | 0.0013752
59 | 0.98354 | -0.11507 | 0.0038739 | 0.0009709
60 | 0.99827 | -0.012348 | 0 | 0
61 | 0.983 | -0.11917 | 0.0017302 | 0.00043364
62 | 0.98305 | -0.11877 | 0.0001812 | 4.5413e-05
63 | 0.98296 | -0.11942 | 0.0005834 | 0.00014621
64 | 0.98291 | -0.11977 | 0.0028622 | 0.00071734
65 | 0.98288 | -0.12003 | 0.00055666 | 0.00013951
66 | 0.98285 | -0.1202 | 0.00048234 | 0.00012089
67 | 0.99998 | 149.9947 | 0 | 0

## res_line
| p_from_mw | q_from_mvar | p_to_mw | q_to_mvar | pl_mw | ql_mvar | i_from_ka | i_to_ka | i_ka | vm_from_pu | va_from_degree | vm_to_pu | va_to_degree | loading_percent
0 | -0.00098719 | -0.00024741 | 0.00098721 | 0.00024725 | 1.9064e-08 | -1.6598e-07 | 0.0014946 | 0.0014946 | 0.0014946 | 0.98282 | -0.12047 | 0.98284 | -0.12033 | 0.55357
1 | -0.00098721 | -0.00024725 | 0.00098722 | 0.0002471 | 1.6723e-08 | -1.4562e-07 | 0.0014946 | 0.0014945 | 0.0014946 | 0.98284 | -0.12033 | 0.98285 | -0.1202 | 0.55354
2 | 0.0073933 | 0.001852 | -0.0073926 | -0.0018518 | 6.9721e-07 | 1.5447e-07 | 0.011176 | 0.011176 | 0.011176 | 0.98431 | -0.10985 | 0.98421 | -0.11053 | 4.1394
3 | -0.025367 | -0.0063522 | 0.025372 | 0.0063541 | 5.0969e-06 | 1.8897e-06 | 0.038346 | 0.038346 | 0.038346 | 0.98431 | -0.10985 | 0.98451 | -0.10839 | 14.2022
4 | 0.017973 | 0.0045002 | -0.017962 | -0.0044962 | 1.124e-05 | 4.0132e-06 | 0.02717 | 0.02717 | 0.02717 | 0.98431 | -0.10985 | 0.98367 | -0.11437 | 10.0628
5 | 0.0073926 | 0.0018518 | -0.0073842 | -0.0018499 | 8.4193e-06 | 1.8672e-06 | 0.011176 | 0.011177 | 0.011177 | 0.98421 | -0.11053 | 0.98305 | -0.11877 | 4.1396
6 | -0.025372 | -0.0063541 | 0.025404 | 0.0063661 | 3.231e-05 | 1.1979e-05 | 0.038346 | 0.038346 | 0.038346 | 0.98451 | -0.10839 | 0.9858 | -0.099191 | 14.2022
7 | 0.013903 | 0.0034789 | -0.013896 | -0.0034765 | 7.2502e-06 | 2.4552e-06 | 0.021029 | 0.02103 | 0.02103 | 0.98367 | -0.11437 | 0.98314 | -0.11815 | 7.7887
8 | -0.0078247 | -0.0019554 | 0.0078277 | 0.0019561 | 2.9916e-06 | 7.1752e-07 | 0.011846 | 0.011845 | 0.011846 | 0.98275 | -0.12093 | 0.98314 | -0.11815 | 4.3872
9 | 0.0064747 | 0.0016215 | -0.0064729 | -0.0016212 | 1.7903e-06 | 3.1041e-07 | 0.0098031 | 0.0098032 | 0.0098032 | 0.98275 | -0.12093 | 0.98247 | -0.12293 | 3.6308
10 | 0.00135 | 0.00033385 | -0.0013493 | -0.00033714 | 7.3375e-07 | -3.285e-06 | 0.0020425 | 0.0020438 | 0.0020438 | 0.98275 | -0.12093 | 0.9822 | -0.12492 | 0.75695
11 | 0.0060681 | 0.0015204 | -0.0060671 | -0.0015202 | 9.8348e-07 | 1.4136e-07 | 0.0091841 | 0.0091842 | 0.0091842 | 0.98314 | -0.11815 | 0.98298 | -0.11933 | 3.4016
12 | 0.0038004 | 0.00095142 | -0.0037995 | -0.00095162 | 8.8352e-07 | -2.013e-07 | 0.0057556 | 0.0057558 | 0.0057558 | 0.98247 | -0.12293 | 0.98224 | -0.12461 | 2.1318
13 | 0.0013493 | 0.00033714 | -0.0013493 | -0.0003372 | 1.2766e-08 | -5.7081e-08 | 0.0020438 | 0.0020438 | 0.0020438 | 0.9822 | -0.12492 | 0.98219 | -0.12499 | 0.75696
14 | 0.0012027 | 0.00030068 | -0.0012026 | -0.000301 | 5.6477e-08 | -3.2334e-07 | 0.0018218 | 0.0018219 | 0.0018219 | 0.98216 | -0.12524 | 0.98211 | -0.12558 | 0.6748
15 | -0.0013492 | -0.00033741 | 0.0013493 | 0.0003372 | 4.7013e-08 | -2.1018e-07 | 0.0020439 | 0.0020438 | 0.0020439 | 0.98216 | -0.12524 | 0.98219 | -0.12499 | 0.75699
16 | 0.0010167 | 0.00025441 | -0.0010167 | -0.00025447 | 7.068e-09 | -5.7692e-08 | 0.0015403 | 0.0015403 | 0.0015403 | 0.98211 | -0.12558 | 0.9821 | -0.12563 | 0.5705
17 | 0.00080218 | 0.0002007 | -0.00080217 | -0.0002008 | 7.7584e-09 | -1.0354e-07 | 0.0012153 | 0.0012153 | 0.0012153 | 0.9821 | -0.12563 | 0.98209 | -0.1257 | 0.45012
18 | 0.0007183 | 0.00017979 | -0.0007183 | -0.00017992 | 7.828e-09 | -1.3102e-07 | 0.0010883 | 0.0010883 | 0.0010883 | 0.98209 | -0.1257 | 0.98208 | -0.12578 | 0.40307
19 | -0.0019387 | -0.00048588 | 0.001939 | 0.00048532 | 2.8568e-07 | -5.6167e-07 | 0.0029374 | 0.0029372 | 0.0029374 | 0.98209 | -0.12568 | 0.98224 | -0.12461 | 1.0879
20 | 0.00056795 | 0.00014224 | -0.00056795 | -0.00014224 | 9.9646e-11 | -2.6959e-09 | 0.00086051 | 0.00086051 | 0.00086051 | 0.98208 | -0.12578 | 0.98208 | -0.12579 | 0.31871
21 | 5.9144e-05 | 1.4721e-05 | -5.9144e-05 | -1.4823e-05 | 4.04e-11 | -1.0205e-07 | 8.9576e-05 | 8.9612e-05 | 8.9612e-05 | 0.98208 | -0.12579 | 0.98208 | -0.12579 | 0.03319
22 | 0.0029676 | 0.00074342 | -0.0029672 | -0.00074365 | 3.7219e-07 | -2.3148e-07 | 0.0044922 | 0.0044923 | 0.0044923 | 0.98298 | -0.11933 | 0.98285 | -0.12023 | 1.6638
23 | -0.078754 | -0.019887 | 0.078835 | 0.019918 | 8.0322e-05 | 3.0403e-05 | 0.11736 | 0.11736 | 0.11736 | 0.99895 | -0.0072488 | 1 | 0 | 21.7341
24 | 0.076669 | 0.019365 | -0.076417 | -0.019269 | 0.00025208 | 9.5338e-05 | 0.11426 | 0.11426 | 0.11426 | 0.99895 | -0.0072488 | 0.99556 | -0.030708 | 21.159
25 | 0.005001 | 0.0012446 | -0.0050004 | -0.0012446 | 6.1297e-07 | 2.8751e-09 | 0.0074385 | 0.0074386 | 0.0074386 | 1 | 0 | 0.99987 | -0.00089762 | 2.755
26 | 0.073869 | 0.018631 | -0.073817 | -0.018611 | 5.204e-05 | 1.9927e-05 | 0.11045 | 0.11045 | 0.11045 | 0.99556 | -0.030708 | 0.99484 | -0.035737 | 40.9073
27 | 0.0030369 | 0.00075251 | -0.0030365 | -0.00075279 | 4.286e-07 | -2.7671e-07 | 0.0045165 | 0.0045167 | 0.0045167 | 0.99987 | -0.00089762 | 0.99973 | -0.0019396 | 1.6728
28 | -0.013267 | -0.0033261 | 0.013271 | 0.0033273 | 3.724e-06 | 1.2499e-06 | 0.020226 | 0.020226 | 0.020226 | 0.97606 | -0.16841 | 0.97634 | -0.16639 | 7.4912
29 | 0.012752 | 0.003197 | -0.012746 | -0.003195 | 6.0517e-06 | 2.007e-06 | 0.019441 | 0.019441 | 0.019441 | 0.97606 | -0.16841 | 0.97558 | -0.17184 | 7.2004
30 | -0.014393 | -0.0036085 | 0.014401 | 0.0036114 | 8.1902e-06 | 2.8087e-06 | 0.021936 | 0.021936 | 0.021936 | 0.97634 | -0.16639 | 0.97691 | -0.16228 | 8.1245
31 | 0.0013892 | 0.00034773 | -0.0013891 | -0.00034801 | 6.854e-08 | -2.7914e-07 | 0.0021187 | 0.0021188 | 0.0021188 | 0.97558 | -0.17184 | 0.97553 | -0.1722 | 0.78474
32 | 0.011357 | 0.0028473 | -0.011352 | -0.0028457 | 4.8679e-06 | 1.5478e-06 | 0.017323 | 0.017323 | 0.017323 | 0.97558 | -0.17184 | 0.97515 | -0.17494 | 6.4158
33 | -0.015729 | -0.0039441 | 0.01574 | 0.0039482 | 1.1778e-05 | 4.1181e-06 | 0.023958 | 0.023958 | 0.023958 | 0.97691 | -0.16228 | 0.97767 | -0.15688 | 8.8734
34 | 0.00079263 | 0.00019853 | -0.00079262 | -0.00019865 | 9.3189e-09 | -1.2397e-07 | 0.001209 | 0.001209 | 0.001209 | 0.97553 | -0.1722 | 0.97552 | -0.17228 | 0.44779
35 | 0.0094363 | 0.0023656 | -0.0094345 | -0.0023651 | 1.8316e-06 | 5.279e-07 | 0.0144 | 0.0144 | 0.0144 | 0.97515 | -0.17494 | 0.97495 | -0.17634 | 5.3332
36 | -0.018793 | -0.0047132 | 0.018808 | 0.0047188 | 1.5571e-05 | 5.6062e-06 | 0.028604 | 0.028604 | 0.028604 | 0.97767 | -0.15688 | 0.9785 | -0.15091 | 10.5939
37 | 0.0094345 | 0.0023651 | -0.0094304 | -0.0023639 | 4.1065e-06 | 1.1838e-06 | 0.0144 | 0.0144 | 0.0144 | 0.97495 | -0.17634 | 0.97451 | -0.17948 | 5.3332
38 | -0.028159 | -0.0070566 | 0.028183 | 0.0070655 | 2.3792e-05 | 8.8813e-06 | 0.042505 | 0.042505 | 0.042505 | 0.9858 | -0.099191 | 0.98666 | -0.093092 | 15.7425
39 | -0.072411 | -0.018236 | 0.072585 | 0.018302 | 0.00017359 | 6.6459e-05 | 0.10861 | 0.10861 | 0.10861 | 0.99238 | -0.052845 | 0.99484 | -0.035737 | 40.2247
40 | 0.071006 | 0.017883 | -0.070845 | -0.017822 | 0.00016064 | 6.149e-05 | 0.1065 | 0.1065 | 0.1065 | 0.99238 | -0.052845 | 0.99007 | -0.069064 | 39.4443
41 | 0.068099 | 0.017134 | -0.068053 | -0.017116 | 4.5899e-05 | 1.7563e-05 | 0.10237 | 0.10237 | 0.10237 | 0.99007 | -0.069064 | 0.98938 | -0.073898 | 37.9158
42 | 0.066188 | 0.016649 | -0.066118 | -0.016622 | 6.9428e-05 | 2.6559e-05 | 0.099567 | 0.099567 | 0.099567 | 0.98938 | -0.073898 | 0.98831 | -0.081429 | 36.8767
43 | 0.036028 | 0.0090726 | -0.035865 | -0.0090107 | 0.00016383 | 6.1874e-05 | 0.05426 | 0.054261 | 0.054261 | 0.98831 | -0.081429 | 0.98368 | -0.11411 | 20.0966
44 | 0.03009 | 0.0075494 | -0.030041 | -0.0075312 | 4.861e-05 | 1.8211e-05 | 0.045307 | 0.045307 | 0.045307 | 0.98831 | -0.081429 | 0.98666 | -0.093092 | 16.7804
45 | 0.0038745 | 0.0009708 | -0.0038739 | -0.0009709 | 5.1349e-07 | -1.0657e-07 | 0.0058609 | 0.005861 | 0.005861 | 0.98368 | -0.11411 | 0.98354 | -0.11507 | 2.1707
46 | 0.03199 | 0.0080399 | -0.031908 | -0.0080092 | 8.1656e-05 | 3.0699e-05 | 0.0484 | 0.0484 | 0.0484 | 0.98368 | -0.11411 | 0.98109 | -0.1325 | 17.926
47 | 0.0020193 | 0.00049787 | -0.0020165 | -0.00050335 | 2.8244e-06 | -5.4817e-06 | 0.0030027 | 0.003005 | 0.003005 | 0.99973 | -0.0019396 | 0.99829 | -0.012254 | 1.113
48 | 0.0020165 | 0.00050335 | -0.0020164 | -0.0005034 | 2.5987e-08 | -5.0303e-08 | 0.003005 | 0.003005 | 0.003005 | 0.99829 | -0.012254 | 0.99827 | -0.012348 | 1.113
49 | -0.0066868 | -0.0016759 | 0.0066873 | 0.001676 | 5.0338e-07 | 9.8554e-08 | 0.010247 | 0.010247 | 0.010247 | 0.97105 | -0.20441 | 0.97112 | -0.20386 | 3.7951
50 | -0.0084928 | -0.0021285 | 0.0085216 | 0.0021361 | 2.8721e-05 | 7.6718e-06 | 0.013013 | 0.013012 | 0.013013 | 0.97112 | -0.20386 | 0.97451 | -0.17948 | 4.8197
51 | -0.022297 | -0.0055932 | 0.022321 | 0.0056019 | 2.3706e-05 | 8.7022e-06 | 0.033909 | 0.033909 | 0.033909 | 0.9785 | -0.15091 | 0.97957 | -0.14325 | 12.5589
52 | -0.025284 | -0.0063447 | 0.025322 | 0.0063587 | 3.7797e-05 | 1.402e-05 | 0.038411 | 0.038411 | 0.038411 | 0.97957 | -0.14325 | 0.98109 | -0.1325 | 14.2263
53 | 0.0065862 | 0.0016506 | -0.0065852 | -0.0016504 | 1.0157e-06 | 1.8471e-07 | 0.0099893 | 0.0099893 | 0.0099893 | 0.98109 | -0.1325 | 0.98093 | -0.13361 | 3.6998
54 | 0.0054875 | 0.0013753 | -0.0054873 | -0.0013752 | 1.7782e-07 | 1.6478e-08 | 0.0083242 | 0.0083242 | 0.0083242 | 0.98093 | -0.13361 | 0.9809 | -0.13384 | 3.083
55 | 0.00041528 | 0.00010393 | -0.00041528 | -0.00010408 | 2.7564e-09 | -1.495e-07 | 0.00061913 | 0.00061919 | 0.00061919 | 0.998 | -0.01429 | 0.99799 | -0.014338 | 0.22933
56 | -0.00070548 | -0.00017666 | 0.00070548 | 0.00017665 | 7.074e-10 | -1.3116e-08 | 0.0010518 | 0.0010518 | 0.0010518 | 0.998 | -0.01429 | 0.998 | -0.014282 | 0.38956
57 | 0.00048803 | 0.00012195 | -0.00048802 | -0.00012231 | 9.1802e-09 | -3.5959e-07 | 0.00072753 | 0.00072765 | 0.00072765 | 0.998 | -0.014282 | 0.99798 | -0.014419 | 0.2695
58 | -0.0011935 | -0.0002986 | 0.0011936 | 0.00029808 | 8.29e-08 | -5.1651e-07 | 0.0017793 | 0.0017792 | 0.0017793 | 0.998 | -0.014282 | 0.99807 | -0.013778 | 0.65902
59 | -0.0013425 | -0.0003354 | 0.0013425 | 0.00033529 | 2.3166e-08 | -1.1225e-07 | 0.0020012 | 0.0020011 | 0.0020012 | 0.99807 | -0.013778 | 0.99809 | -0.013653 | 0.74117
60 | -0.0020161 | -0.0005041 | 0.0020164 | 0.0005034 | 3.6199e-07 | -7.0043e-07 | 0.0030053 | 0.003005 | 0.0030053 | 0.99809 | -0.013653 | 0.99827 | -0.012348 | 1.1131
61 | -0.0072026 | -0.0018044 | 0.007203 | 0.0018045 | 3.9783e-07 | 8.5016e-08 | 0.010903 | 0.010903 | 0.010903 | 0.983 | -0.11917 | 0.98305 | -0.11877 | 4.038
62 | 0.0054724 | 0.0013708 | -0.0054722 | -0.0013708 | 1.9432e-07 | 1.7207e-08 | 0.0082835 | 0.0082836 | 0.0082836 | 0.983 | -0.11917 | 0.98296 | -0.11942 | 3.068
63 | 0.0048888 | 0.0012246 | -0.0048885 | -0.0012246 | 2.3263e-07 | 3.189e-09 | 0.0074004 | 0.0074004 | 0.0074004 | 0.98296 | -0.11942 | 0.98291 | -0.11977 | 2.7409
64 | 0.0020263 | 0.00050724 | -0.0020263 | -0.00050737 | 7.4251e-08 | -1.3173e-07 | 0.0030674 | 0.0030675 | 0.0030675 | 0.98291 | -0.11977 | 0.98288 | -0.12003 | 1.1361
65 | 0.0014696 | 0.00036786 | -0.0014696 | -0.00036799 | 3.4874e-08 | -1.2969e-07 | 0.0022247 | 0.0022248 | 0.0022248 | 0.98288 | -0.12003 | 0.98285 | -0.1202 | 0.82399

## res_trafo
| p_hv_mw | q_hv_mvar | p_lv_mw | q_lv_mvar | pl_mw | ql_mvar | i_hv_ka | i_lv_ka | vm_hv_pu | va_hv_degree | vm_lv_pu | va_lv_degree | loading_percent
0 | 2.5187e-16 | 8.8016e-16 | 0.00079998 | 7.4552e-08 | 0.00079998 | 7.4552e-08 | 2.6429e-17 | 0.0011547 | 0.99998 | 149.9947 | 1 | 0 | 0.31999

## res_ext_grid
| p_mw | q_mvar
0 | 0.084945 | 0.02124

## res_load
| p_mw | q_mvar
0 | 0.00098719 | 0.00024741
1 | 0.0040591 | 0.0010173
2 | 0.0026725 | 0.00066978
3 | 0.00014656 | 3.6732e-05
4 | 0.00018587 | 4.6584e-05
5 | 0.00021455 | 5.3771e-05
6 | 8.3865e-05 | 2.1019e-05
7 | 0.0019387 | 0.00048588
8 | 0.0018605 | 0.0004663
9 | 0.00015034 | 3.7679e-05
10 | 0.00050881 | 0.00012752
11 | 5.9144e-05 | 1.4823e-05
12 | 0.0030995 | 0.00077682
13 | 0.0029672 | 0.00074365
14 | 0.0020852 | 0.0005226
15 | 0.00030964 | 7.7603e-05
16 | 0.0025483 | 0.00063867
17 | 0.0019635 | 0.00049209
18 | 0.00051497 | 0.00012906
19 | 0.0011221 | 0.00028121
20 | 0.0013276 | 0.00033273
21 | 0.00059645 | 0.00014948
22 | 0.0019156 | 0.00048009
23 | 0.0030522 | 0.00076496
24 | 0.00079262 | 0.00019865
25 | 0.0027554 | 0.00069056
26 | 0.0014053 | 0.00035221
27 | 0.0012322 | 0.00030882
28 | 0.0027459 | 0.00068819
29 | 0.0018654 | 0.00046752
30 | 0.0018581 | 0.00046569
31 | 0.0010172 | 0.00025492
32 | 0.0066868 | 0.0016759
33 | 0.0018055 | 0.0004525
34 | 0.00090883 | 0.00022777
35 | 0.0034888 | 0.00087438
36 | 0.0029638 | 0.00074281
37 | 0.0010977 | 0.00027511
38 | 0.0002902 | 7.2731e-05
39 | 0.00041528 | 0.00010408
40 | 0.00048802 | 0.00012231
41 | 0.00014891 | 3.732e-05
42 | 0.00067356 | 0.00016881
43 | 0.0054873 | 0.0013752
44 | 0.0038739 | 0.0009709
45 | 0.0017302 | 0.00043364
46 | 0.0001812 | 4.5413e-05
47 | 0.0005834 | 0.00014621
48 | 0.0028622 | 0.00071734
49 | 0.00055666 | 0.00013951
50 | 0.00048234 | 0.00012089

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object
62 | res_bus | vm_pu | float64
63 | res_bus | va_degree | float64
64 | res_bus | p_mw | float64
65 | res_bus | q_mvar | float64
66 | res_line | p_from_mw | float64
67 | res_line | q_from_mvar | float64
68 | res_line | p_to_mw | float64
69 | res_line | q_to_mvar | float64
70 | res_line | pl_mw | float64
71 | res_line | ql_mvar | float64
72 | res_line | i_from_ka | float64
73 | res_line | i_to_ka | float64
74 | res_line | i_ka | float64
75 | res_line | vm_from_pu | float64
76 | res_line | va_from_degree | float64
77 | res_line | vm_to_pu | float64
78 | res_line | va_to_degree | float64
79 | res_line | loading_percent | float64
80 | res_trafo | p_hv_mw | float64
81 | res_trafo | q_hv_mvar | float64
82 | res_trafo | p_lv_mw | float64
83 | res_trafo | q_lv_mvar | float64
84 | res_trafo | pl_mw | float64
85 | res_trafo | ql_mvar | float64
86 | res_trafo | i_hv_ka | float64
87 | res_trafo | i_lv_ka | float64
88 | res_trafo | vm_hv_pu | float64
89 | res_trafo | va_hv_degree | float64
90 | res_trafo | vm_lv_pu | float64
91 | res_trafo | va_lv_degree | float64
92 | res_trafo | loading_percent | float64
93 | res_ext_grid | p_mw | float64
94 | res_ext_grid | q_mvar | float64
95 | res_load | p_mw | float64
96 | res_load | q_mvar | float64

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | TRUE | FALSE |  | 50 | 1