## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_1041-4_0_3_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_1041-4_0_3_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_1041-4_0_3_node_2 | 0.4 | n |  | TRUE
3 | bus_LV_1041-4_0_3_node_3 | 0.4 | n |  | TRUE
4 | bus_LV_1041-4_0_3_node_4 | 0.4 | n |  | TRUE
5 | bus_LV_1041-4_0_3_node_5 | 0.4 | n |  | TRUE
6 | bus_LV_1041-4_0_3_node_23 | 0.4 | n |  | TRUE
7 | bus_LV_1041-4_0_3_node_16 | 0.4 | n |  | TRUE
8 | bus_LV_1041-4_0_3_node_32 | 0.4 | n |  | TRUE
9 | bus_LV_1041-4_0_3_node_24 | 0.4 | n |  | TRUE
10 | bus_LV_1041-4_0_3_node_30 | 0.4 | n |  | TRUE
11 | bus_LV_1041-4_0_3_node_28 | 0.4 | n |  | TRUE
12 | bus_LV_1041-4_0_3_node_19 | 0.4 | n |  | TRUE
13 | bus_LV_1041-4_0_3_node_14 | 0.4 | n |  | TRUE
14 | bus_LV_1041-4_0_3_node_29 | 0.4 | n |  | TRUE
15 | bus_LV_1041-4_0_3_node_31 | 0.4 | n |  | TRUE
16 | bus_LV_1041-4_0_3_node_60 | 0.4 | n |  | TRUE
17 | bus_LV_1041-4_0_3_node_61 | 0.4 | n |  | TRUE
18 | bus_LV_1041-4_0_3_node_70 | 0.4 | n |  | TRUE
19 | bus_LV_1041-4_0_3_node_6 | 0.4 | n |  | TRUE
20 | bus_LV_1041-4_0_3_node_7 | 0.4 | n |  | TRUE
21 | bus_LV_1041-4_0_3_node_8 | 0.4 | n |  | TRUE
22 | bus_LV_1041-4_0_3_node_9 | 0.4 | n |  | TRUE
23 | bus_LV_1041-4_0_3_node_10 | 0.4 | n |  | TRUE
24 | bus_LV_1041-4_0_3_node_11 | 0.4 | n |  | TRUE
25 | bus_LV_1041-4_0_3_node_56 | 0.4 | n |  | TRUE
26 | bus_LV_1041-4_0_3_node_42 | 0.4 | n |  | TRUE
27 | bus_LV_1041-4_0_3_node_67 | 0.4 | n |  | TRUE
28 | bus_LV_1041-4_0_3_node_57 | 0.4 | n |  | TRUE
29 | bus_LV_1041-4_0_3_node_43 | 0.4 | n |  | TRUE
30 | bus_LV_1041-4_0_3_node_66 | 0.4 | n |  | TRUE
31 | bus_LV_1041-4_0_3_node_12 | 0.4 | n |  | TRUE
32 | bus_LV_1041-4_0_3_node_13 | 0.4 | n |  | TRUE
33 | bus_LV_1041-4_0_3_node_15 | 0.4 | n |  | TRUE
34 | bus_LV_1041-4_0_3_node_17 | 0.4 | n |  | TRUE
35 | bus_LV_1041-4_0_3_node_71 | 0.4 | n |  | TRUE
36 | bus_LV_1041-4_0_3_node_58 | 0.4 | n |  | TRUE
37 | bus_LV_1041-4_0_3_node_72 | 0.4 | n |  | TRUE
38 | bus_LV_1041-4_0_3_node_44 | 0.4 | n |  | TRUE
39 | bus_LV_1041-4_0_3_node_18 | 0.4 | n |  | TRUE
40 | bus_LV_1041-4_0_3_node_20 | 0.4 | n |  | TRUE
41 | bus_LV_1041-4_0_3_node_21 | 0.4 | n |  | TRUE
42 | bus_LV_1041-4_0_3_node_22 | 0.4 | n |  | TRUE
43 | bus_LV_1041-4_0_3_node_59 | 0.4 | n |  | TRUE
44 | bus_LV_1041-4_0_3_node_36 | 0.4 | n |  | TRUE
45 | bus_LV_1041-4_0_3_node_27 | 0.4 | n |  | TRUE
46 | bus_LV_1041-4_0_3_node_34 | 0.4 | n |  | TRUE
47 | bus_LV_1041-4_0_3_node_25 | 0.4 | n |  | TRUE
48 | bus_LV_1041-4_0_3_node_26 | 0.4 | n |  | TRUE
49 | bus_LV_1041-4_0_3_node_33 | 0.4 | n |  | TRUE
50 | bus_LV_1041-4_0_3_node_35 | 0.4 | n |  | TRUE
51 | bus_LV_1041-4_0_3_node_37 | 0.4 | n |  | TRUE
52 | bus_LV_1041-4_0_3_node_38 | 0.4 | n |  | TRUE
53 | bus_LV_1041-4_0_3_node_54 | 0.4 | n |  | TRUE
54 | bus_LV_1041-4_0_3_node_69 | 0.4 | n |  | TRUE
55 | bus_LV_1041-4_0_3_node_55 | 0.4 | n |  | TRUE
56 | bus_LV_1041-4_0_3_node_49 | 0.4 | n |  | TRUE
57 | bus_LV_1041-4_0_3_node_48 | 0.4 | n |  | TRUE
58 | bus_LV_1041-4_0_3_node_39 | 0.4 | n |  | TRUE
59 | bus_LV_1041-4_0_3_node_40 | 0.4 | n |  | TRUE
60 | bus_LV_1041-4_0_3_node_41 | 0.4 | n |  | TRUE
61 | bus_LV_1041-4_0_3_node_45 | 0.4 | n |  | TRUE
62 | bus_LV_1041-4_0_3_node_46 | 0.4 | n |  | TRUE
63 | bus_LV_1041-4_0_3_node_47 | 0.4 | n |  | TRUE
64 | bus_LV_1041-4_0_3_node_51 | 0.4 | n |  | TRUE
65 | bus_LV_1041-4_0_3_node_50 | 0.4 | n |  | TRUE
66 | bus_LV_1041-4_0_3_node_73 | 0.4 | n |  | TRUE
67 | bus_LV_1041-4_0_3_node_52 | 0.4 | n |  | TRUE
68 | bus_LV_1041-4_0_3_node_53 | 0.4 | n |  | TRUE
69 | bus_LV_1041-4_0_3_node_62 | 0.4 | n |  | TRUE
70 | bus_LV_1041-4_0_3_node_63 | 0.4 | n |  | TRUE
71 | bus_LV_1041-4_0_3_node_65 | 0.4 | n |  | TRUE
72 | bus_LV_1041-4_0_3_node_64 | 0.4 | n |  | TRUE
73 | bus_MV_470_0_node_99 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_1041-4_0_3_load_0 | 0 | 0.0020628 | 0.00051699 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_1041-4_0_3_load_1 | 1 | 0.00053407 | 0.00013385 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_1041-4_0_3_load_3 | 3 | 0.0073799 | 0.0018496 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_1041-4_0_3_load_4 | 4 | 0.0011927 | 0.00029892 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_1041-4_0_3_load_5 | 5 | 0.0011932 | 0.00029905 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_1041-4_0_3_load_23 | 6 | 0.0046964 | 0.001177 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_1041-4_0_3_load_28 | 11 | 0.00079843 | 0.0002001 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_1041-4_0_3_load_19 | 12 | 0.003105 | 0.00077819 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_1041-4_0_3_load_29 | 14 | 0.0035904 | 0.00089985 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_1041-4_0_3_load_31 | 15 | 0.00076316 | 0.00019127 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_1041-4_0_3_load_61 | 17 | 0.00028854 | 7.2316e-05 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_1041-4_0_3_load_70 | 18 | 0.00030195 | 7.5675e-05 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_1041-4_0_3_load_6 | 19 | 0.00076806 | 0.00019249 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_1041-4_0_3_load_7 | 20 | 0.00016215 | 4.0639e-05 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_1041-4_0_3_load_9 | 22 | 0.00026943 | 6.7526e-05 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_1041-4_0_3_load_10 | 23 | 0.00027244 | 6.828e-05 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_1041-4_0_3_load_11 | 24 | 0.00012969 | 3.2503e-05 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_1041-4_0_3_load_42 | 26 | 0.00076452 | 0.00019161 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_1041-4_0_3_load_67 | 27 | 0.0010061 | 0.00025216 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_1041-4_0_3_load_57 | 28 | 0.0007664 | 0.00019208 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_1041-4_0_3_load_43 | 29 | 0.00089076 | 0.00022325 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_1041-4_0_3_load_66 | 30 | 0.00043935 | 0.00011011 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_1041-4_0_3_load_12 | 31 | 0.056754 | 0.014224 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_1041-4_0_3_load_13 | 32 | 0.0028288 | 0.00070897 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_1041-4_0_3_load_15 | 33 | 0.00039451 | 9.8873e-05 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_1041-4_0_3_load_17 | 34 | 0.0007466 | 0.00018712 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_1041-4_0_3_load_71 | 35 | 0.0076466 | 0.0019164 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_1041-4_0_3_load_58 | 36 | 0.0014006 | 0.00035102 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_1041-4_0_3_load_72 | 37 | 0.0032049 | 0.00080322 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_1041-4_0_3_load_44 | 38 | 0.011591 | 0.0029049 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_1041-4_0_3_load_18 | 39 | 0.0014156 | 0.00035477 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_1041-4_0_3_load_21 | 41 | 0.003053 | 0.00076516 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_1041-4_0_3_load_22 | 42 | 0.0053639 | 0.0013443 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_1041-4_0_3_load_59 | 43 | 0.0015428 | 0.00038666 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_1041-4_0_3_load_27 | 45 | 0.0023006 | 0.00057659 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_1041-4_0_3_load_34 | 46 | 0.00078071 | 0.00019566 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_1041-4_0_3_load_25 | 47 | 0.0011364 | 0.00028482 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_1041-4_0_3_load_33 | 49 | 0.00097533 | 0.00024444 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_1041-4_0_3_load_37 | 51 | 0.0015925 | 0.00039913 | 0 | 0 |  | 1 | TRUE | wye
39 | LV_1041-4_0_3_load_38 | 52 | 0.0010592 | 0.00026547 | 0 | 0 |  | 1 | TRUE | wye
40 | LV_1041-4_0_3_load_54 | 53 | 0.0013278 | 0.00033279 | 0 | 0 |  | 1 | TRUE | wye
41 | LV_1041-4_0_3_load_69 | 54 | 0.003852 | 0.0009654 | 0 | 0 |  | 1 | TRUE | wye
42 | LV_1041-4_0_3_load_55 | 55 | 0.0019693 | 0.00049355 | 0 | 0 |  | 1 | TRUE | wye
43 | LV_1041-4_0_3_load_39 | 58 | 0.05528 | 0.013854 | 0 | 0 |  | 1 | TRUE | wye
44 | LV_1041-4_0_3_load_40 | 59 | 0.011587 | 0.0029039 | 0 | 0 |  | 1 | TRUE | wye
45 | LV_1041-4_0_3_load_45 | 61 | 0.0031444 | 0.00078806 | 0 | 0 |  | 1 | TRUE | wye
46 | LV_1041-4_0_3_load_46 | 62 | 0.0028931 | 0.00072508 | 0 | 0 |  | 1 | TRUE | wye
47 | LV_1041-4_0_3_load_51 | 64 | 0.0011346 | 0.00028437 | 0 | 0 |  | 1 | TRUE | wye
48 | LV_1041-4_0_3_load_73 | 66 | 0.0030065 | 0.0007535 | 0 | 0 |  | 1 | TRUE | wye
49 | LV_1041-4_0_3_load_52 | 67 | 0.0023956 | 0.00060038 | 0 | 0 |  | 1 | TRUE | wye
50 | LV_1041-4_0_3_load_53 | 68 | 0.0017923 | 0.00044919 | 0 | 0 |  | 1 | TRUE | wye
51 | LV_1041-4_0_3_load_62 | 69 | 0.0012363 | 0.00030985 | 0 | 0 |  | 1 | TRUE | wye
52 | LV_1041-4_0_3_load_63 | 70 | 0.0014586 | 0.00036557 | 0 | 0 |  | 1 | TRUE | wye
53 | LV_1041-4_0_3_load_65 | 71 | 0.0040628 | 0.0010182 | 0 | 0 |  | 1 | TRUE | wye
54 | LV_1041-4_0_3_load_64 | 72 | 0.00044382 | 0.00011123 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 31 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_1041-4_0_3_line_0 | NAYY 4x150 SE | 0 | 1 | 0.02058 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
1 | LV_1041-4_0_3_line_1 | NAYY 4x150 SE | 0 | 2 | 0.023165 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
2 | LV_1041-4_0_3_line_2 | NAYY 4x150 SE | 1 | 3 | 0.017137 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
3 | LV_1041-4_0_3_line_3 | NAYY 4x150 SE | 2 | 4 | 0.0030986 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
4 | LV_1041-4_0_3_line_4 | NAYY 4x150 SE | 2 | 5 | 0.0029333 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
5 | LV_1041-4_0_3_line_5 | NAYY 4x150 SE | 3 | 6 | 0.028901 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
6 | LV_1041-4_0_3_line_6 | NAYY 4x150 SE | 4 | 7 | 0.037262 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
7 | LV_1041-4_0_3_line_7 | NAYY 4x150 SE | 5 | 8 | 0.08817 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
8 | LV_1041-4_0_3_line_8 | NAYY 4x150 SE | 6 | 9 | 0.020347 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
9 | LV_1041-4_0_3_line_9 | NAYY 4x150 SE | 7 | 12 | 0.012426 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
10 | LV_1041-4_0_3_line_10 | NAYY 4x150 SE | 7 | 13 | 0.022692 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
11 | LV_1041-4_0_3_line_11 | NAYY 4x150 SE | 8 | 10 | 0.032432 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
12 | LV_1041-4_0_3_line_12 | NAYY 4x150 SE | 9 | 47 | 0.0083949 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
13 | LV_1041-4_0_3_line_13 | NAYY 4x150 SE | 10 | 11 | 0.02105 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
14 | LV_1041-4_0_3_line_14 | NAYY 4x150 SE | 11 | 14 | 0.0016554 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
15 | LV_1041-4_0_3_line_15 | NAYY 4x150 SE | 13 | 34 | 0.0023605 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
16 | LV_1041-4_0_3_line_16 | NAYY 4x150 SE | 13 | 31 | 0.026764 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
17 | LV_1041-4_0_3_line_17 | NAYY 4x150 SE | 14 | 15 | 0.019801 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
18 | LV_1041-4_0_3_line_18 | NAYY 4x150 SE | 15 | 16 | 0.033663 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
19 | LV_1041-4_0_3_line_19 | NAYY 4x150 SE | 16 | 17 | 0.032952 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
20 | LV_1041-4_0_3_line_20 | NAYY 4x150 SE | 17 | 18 | 0.0045444 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
21 | LV_1041-4_0_3_line_21 | NAYY 4x150 SE | 19 | 20 | 0.0066365 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
22 | LV_1041-4_0_3_line_22 | NAYY 4x150 SE | 19 | 21 | 0.04377 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
23 | LV_1041-4_0_3_line_23 | NAYY 4x150 SE | 20 | 22 | 0.018141 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
24 | LV_1041-4_0_3_line_24 | NAYY 4x150 SE | 21 | 23 | 0.0129 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
25 | LV_1041-4_0_3_line_25 | NAYY 4x150 SE | 21 | 24 | 0.028673 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
26 | LV_1041-4_0_3_line_26 | NAYY 4x150 SE | 22 | 25 | 0.057152 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
27 | LV_1041-4_0_3_line_27 | NAYY 4x150 SE | 23 | 26 | 0.010676 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
28 | LV_1041-4_0_3_line_28 | NAYY 4x150 SE | 24 | 27 | 0.020926 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
29 | LV_1041-4_0_3_line_29 | NAYY 4x150 SE | 25 | 28 | 0.011424 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
30 | LV_1041-4_0_3_line_30 | NAYY 4x150 SE | 26 | 29 | 0.0077432 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
31 | LV_1041-4_0_3_line_31 | NAYY 4x150 SE | 27 | 30 | 0.051997 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
32 | LV_1041-4_0_3_line_32 | NAYY 4x150 SE | 28 | 71 | 0.018689 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
33 | LV_1041-4_0_3_line_33 | NAYY 4x150 SE | 29 | 60 | 0.024201 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
34 | LV_1041-4_0_3_line_34 | NAYY 4x150 SE | 31 | 32 | 0.023072 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
35 | LV_1041-4_0_3_line_35 | NAYY 4x150 SE | 32 | 33 | 0.0010231 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
36 | LV_1041-4_0_3_line_36 | NAYY 4x150 SE | 33 | 35 | 0.017537 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
37 | LV_1041-4_0_3_line_37 | NAYY 4x150 SE | 34 | 36 | 0.045932 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
38 | LV_1041-4_0_3_line_38 | NAYY 4x150 SE | 35 | 37 | 0.011547 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
39 | LV_1041-4_0_3_line_39 | NAYY 4x150 SE | 36 | 38 | 0.012735 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
40 | LV_1041-4_0_3_line_40 | NAYY 4x150 SE | 38 | 60 | 0.035983 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
41 | LV_1041-4_0_3_line_41 | NAYY 4x150 SE | 39 | 40 | 0.002671 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
42 | LV_1041-4_0_3_line_42 | NAYY 4x150 SE | 40 | 41 | 0.014319 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
43 | LV_1041-4_0_3_line_43 | NAYY 4x150 SE | 40 | 42 | 0.059536 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
44 | LV_1041-4_0_3_line_44 | NAYY 4x150 SE | 41 | 43 | 0.022058 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
45 | LV_1041-4_0_3_line_45 | NAYY 4x150 SE | 42 | 44 | 0.0025246 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
46 | LV_1041-4_0_3_line_46 | NAYY 4x150 SE | 43 | 45 | 0.038353 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
47 | LV_1041-4_0_3_line_47 | NAYY 4x150 SE | 44 | 46 | 0.018283 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
48 | LV_1041-4_0_3_line_48 | NAYY 4x150 SE | 45 | 48 | 0.0051885 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
49 | LV_1041-4_0_3_line_49 | NAYY 4x150 SE | 46 | 49 | 0.00017201 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
50 | LV_1041-4_0_3_line_50 | NAYY 4x150 SE | 47 | 48 | 0.041002 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
51 | LV_1041-4_0_3_line_51 | NAYY 4x150 SE | 49 | 50 | 0.014955 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
52 | LV_1041-4_0_3_line_52 | NAYY 4x150 SE | 50 | 51 | 0.015604 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
53 | LV_1041-4_0_3_line_53 | NAYY 4x150 SE | 50 | 52 | 0.018182 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
54 | LV_1041-4_0_3_line_54 | NAYY 4x150 SE | 51 | 53 | 0.039524 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
55 | LV_1041-4_0_3_line_55 | NAYY 4x150 SE | 52 | 54 | 0.02125 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
56 | LV_1041-4_0_3_line_56 | NAYY 4x150 SE | 53 | 57 | 0.018726 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
57 | LV_1041-4_0_3_line_57 | NAYY 4x150 SE | 55 | 56 | 0.0093621 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
58 | LV_1041-4_0_3_line_58 | NAYY 4x150 SE | 56 | 65 | 0.004805 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
59 | LV_1041-4_0_3_line_59 | NAYY 4x150 SE | 56 | 63 | 0.032729 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
60 | LV_1041-4_0_3_line_60 | NAYY 4x150 SE | 57 | 64 | 0.026286 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
61 | LV_1041-4_0_3_line_61 | NAYY 4x150 SE | 57 | 62 | 0.0082173 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
62 | LV_1041-4_0_3_line_62 | NAYY 4x150 SE | 58 | 59 | 0.03333 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
63 | LV_1041-4_0_3_line_63 | NAYY 4x150 SE | 59 | 60 | 0.025191 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
64 | LV_1041-4_0_3_line_64 | NAYY 4x150 SE | 61 | 62 | 0.0087472 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
65 | LV_1041-4_0_3_line_65 | NAYY 4x150 SE | 61 | 63 | 0.019705 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
66 | LV_1041-4_0_3_line_66 | NAYY 4x150 SE | 64 | 67 | 0.0010368 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
67 | LV_1041-4_0_3_line_67 | NAYY 4x150 SE | 65 | 66 | 0.023018 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
68 | LV_1041-4_0_3_line_68 | NAYY 4x150 SE | 67 | 68 | 0.034096 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
69 | LV_1041-4_0_3_line_69 | NAYY 4x150 SE | 68 | 69 | 0.011099 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
70 | LV_1041-4_0_3_line_70 | NAYY 4x150 SE | 69 | 70 | 0.0018435 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
71 | LV_1041-4_0_3_line_71 | NAYY 4x150 SE | 71 | 72 | 0.015735 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_1041-4_0_3_trafo_12 | 0.25 MVA 20/0.4 kV | 73 | 31 | 0.25 | 20 | 0.4 | 6 | 1.44 | 0.8 | 0.32 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6
0 | 2661741.4117 | 1236458.9887 | 2661737.7752 | 1236456.0271 | 2661724.595 | 1236447.151 | 2661724.595 | 1236447.151
1 | 2661755.5594 | 1236476.9368 | 2661749.9429 | 1236466.9274 | 2661746.5841 | 1236463.2011 | 2661741.4117 | 1236458.9887
2 | 2661724.595 | 1236447.151 | 2661719.1154 | 1236445.8043 | 2661707.7332 | 1236447.4094
3 | 2661755.5594 | 1236476.9368 | 2661757.8501 | 1236474.8501
4 | 2661755.5594 | 1236476.9368 | 2661753.3912 | 1236478.9125
5 | 2661707.7332 | 1236447.4094 | 2661707.7332 | 1236447.4094 | 2661687.7726 | 1236437.8513 | 2661681.3706 | 1236435.6497
6 | 2661777.6337 | 1236444.7671 | 2661776.9952 | 1236450.1418 | 2661774.5768 | 1236457.1213 | 2661767.9885 | 1236465.6141 | 2661757.8501 | 1236474.8501
7 | 2661753.3912 | 1236478.9125 | 2661704.4044 | 1236552.2221
8 | 2661661.4825 | 1236431.541 | 2661666.0964 | 1236432.4561 | 2661677.8047 | 1236434.4234 | 2661681.3706 | 1236435.6497
9 | 2661777.6337 | 1236444.7671 | 2661776.982 | 1236439.7682 | 2661774.043 | 1236433.5112 | 2661773.7391 | 1236433.1502
10 | 2661777.6337 | 1236444.7671 | 2661783.7466 | 1236445.609 | 2661790.6051 | 1236448.2487 | 2661798.2238 | 1236453.4536
11 | 2661673.2424 | 1236542.9369 | 2661684.2531 | 1236546.4869 | 2661704.4044 | 1236552.2221
12 | 2661661.4825 | 1236431.541 | 2661656.6774 | 1236427.8998 | 2661655.869 | 1236425.6761
13 | 2661673.2424 | 1236542.9369 | 2661665.9301 | 1236562.676
14 | 2661665.3551 | 1236564.2283 | 2661665.9301 | 1236562.676
15 | 2661798.2238 | 1236453.4536 | 2661800.173 | 1236454.7849
16 | 2661798.2238 | 1236453.4536 | 2661812.9561 | 1236431.1096
17 | 2661663.7883 | 1236582.5985 | 2661661.6438 | 1236579.2518 | 2661661.1056 | 1236575.6994 | 2661665.3551 | 1236564.2283
18 | 2661696.7577 | 1236586.8657 | 2661690.8618 | 1236587.0046 | 2661682.4846 | 1236586.3506 | 2661676.6163 | 1236586.7455 | 2661663.7883 | 1236582.5985
19 | 2661696.7577 | 1236586.8657 | 2661691.1181 | 1236619.332
20 | 2661690.3404 | 1236623.8093 | 2661691.1181 | 1236619.332
21 | 2661934.0269 | 1236569.6117 | 2661940.5716 | 1236570.7114
22 | 2661890.6637 | 1236566.5018 | 2661901.0287 | 1236565.1866 | 2661914.1987 | 1236566.2801 | 2661934.0269 | 1236569.6117
23 | 2661958.5924 | 1236571.8178 | 2661948.8392 | 1236572.1005 | 2661940.5716 | 1236570.7114
24 | 2661890.6637 | 1236566.5018 | 2661886.8978 | 1236557.5566 | 2661885.8975 | 1236554.5223
25 | 2661890.6637 | 1236566.5018 | 2661883.6812 | 1236573.6004 | 2661873.2362 | 1236583.3204 | 2661870.2425 | 1236586.61
26 | 2662008.4877 | 1236546.0497 | 2661984.2633 | 1236563.0194 | 2661974.2528 | 1236568.7855 | 2661962.6603 | 1236571.6999 | 2661958.5924 | 1236571.8178
27 | 2661885.8975 | 1236554.5223 | 2661882.555 | 1236544.3833
28 | 2661857.6219 | 1236603.1522 | 2661861.7393 | 1236595.9535 | 2661870.2425 | 1236586.61
29 | 2662008.4877 | 1236546.0497 | 2662009.2478 | 1236541.3768 | 2662012.4014 | 1236535.4766
30 | 2661880.1306 | 1236537.0293 | 2661882.555 | 1236544.3833
31 | 2661844.7203 | 1236653.0385 | 2661847.6327 | 1236645.573 | 2661850.6439 | 1236629.627 | 2661853.6854 | 1236610.0346 | 2661857.6219 | 1236603.1522
32 | 2662012.4014 | 1236535.4766 | 2662014.4957 | 1236531.5584 | 2662023.7185 | 1236524.4277 | 2662025.7939 | 1236522.8808
33 | 2661872.3986 | 1236514.099 | 2661874.1129 | 1236518.7755 | 2661880.1306 | 1236537.0293
34 | 2661812.9561 | 1236431.1096 | 2661814.4384 | 1236428.8615 | 2661827.4822 | 1236413.2037
35 | 2661827.4822 | 1236413.2037 | 2661828.1371 | 1236412.4176
36 | 2661839.3617 | 1236398.9435 | 2661828.1371 | 1236412.4176
37 | 2661800.173 | 1236454.7849 | 2661838.1024 | 1236480.6902
38 | 2661846.7522 | 1236390.072 | 2661839.3617 | 1236398.9435
39 | 2661848.564 | 1236487.9451 | 2661847.8503 | 1236487.3479 | 2661838.1024 | 1236480.6902
40 | 2661872.3986 | 1236514.099 | 2661870.7577 | 1236509.6345 | 2661864.7512 | 1236501.4888 | 2661848.564 | 1236487.9451
41 | 2661742.1893 | 1236393.1757 | 2661743.3089 | 1236395.6007
42 | 2661742.1893 | 1236393.1757 | 2661734.35 | 1236393.8947 | 2661727.9036 | 1236393.8277
43 | 2661742.1893 | 1236393.1757 | 2661740.6943 | 1236387.7677 | 2661740.9815 | 1236378.3422 | 2661742.9207 | 1236372.3139 | 2661746.6647 | 1236365.9263 | 2661756.1793 | 1236353.2835 | 2661766.2366 | 1236342.2413
44 | 2661705.8469 | 1236393.5985 | 2661727.9036 | 1236393.8277
45 | 2661767.9366 | 1236340.3749 | 2661766.2366 | 1236342.2413
46 | 2661668.1546 | 1236387.0169 | 2661690.5262 | 1236392.0273 | 2661701.4749 | 1236393.5531 | 2661705.8469 | 1236393.5985
47 | 2661767.9366 | 1236340.3749 | 2661756.5596 | 1236327.626 | 2661755.7149 | 1236326.78
48 | 2661663.0915 | 1236385.883 | 2661668.1546 | 1236387.0169
49 | 2661755.5933 | 1236326.6583 | 2661755.7149 | 1236326.78
50 | 2661663.0915 | 1236385.883 | 2661654.9653 | 1236417.1527 | 2661654.9044 | 1236423.0227 | 2661655.869 | 1236425.6761
51 | 2661745.0264 | 1236316.0762 | 2661755.5933 | 1236326.6583
52 | 2661745.0264 | 1236316.0762 | 2661754.0746 | 1236303.3638
53 | 2661745.0264 | 1236316.0762 | 2661730.2552 | 1236305.4745
54 | 2661754.0746 | 1236303.3638 | 2661772.7487 | 1236277.1274 | 2661777.1609 | 1236271.2859
55 | 2661712.9916 | 1236293.0838 | 2661730.2552 | 1236305.4745
56 | 2661788.4473 | 1236256.3435 | 2661777.1609 | 1236271.2859
57 | 2661800.9727 | 1236301.2701 | 2661794.9309 | 1236308.4218
58 | 2661800.9727 | 1236301.2701 | 2661804.7402 | 1236304.2669
59 | 2661820.1743 | 1236274.73 | 2661800.9727 | 1236301.2701
60 | 2661788.4473 | 1236256.3435 | 2661766.3795 | 1236242.0616
61 | 2661788.4473 | 1236256.3435 | 2661795.557 | 1236260.4637
62 | 2661911.3714 | 1236475.7324 | 2661900.4523 | 1236499.9818 | 2661895.3705 | 1236504.4023
63 | 2661872.3986 | 1236514.099 | 2661892.1289 | 1236507.2221 | 2661895.3705 | 1236504.4023
64 | 2661803.1251 | 1236264.8496 | 2661795.557 | 1236260.4637
65 | 2661820.1743 | 1236274.73 | 2661803.1251 | 1236264.8496
66 | 2661766.3795 | 1236242.0616 | 2661765.5091 | 1236241.4983
67 | 2661804.7402 | 1236304.2669 | 2661823.94 | 1236316.9625
68 | 2661738.2978 | 1236221.0358 | 2661754.8707 | 1236234.6134 | 2661765.5091 | 1236241.4983
69 | 2661738.2978 | 1236221.0358 | 2661729.7125 | 1236214.0022
70 | 2661728.2865 | 1236212.8339 | 2661729.7125 | 1236214.0022
71 | 2662038.5559 | 1236513.6962 | 2662036.3856 | 1236514.9869 | 2662025.7939 | 1236522.8808

## bus_geodata
| x | y | coords
0 | 2661741.4117 | 1236458.9887
1 | 2661724.595 | 1236447.151
2 | 2661755.5594 | 1236476.9368
3 | 2661707.7332 | 1236447.4094
4 | 2661757.8501 | 1236474.8501
5 | 2661753.3912 | 1236478.9125
6 | 2661681.3706 | 1236435.6497
7 | 2661777.6337 | 1236444.7671
8 | 2661704.4044 | 1236552.2221
9 | 2661661.4824 | 1236431.541
10 | 2661673.2424 | 1236542.9369
11 | 2661665.9301 | 1236562.676
12 | 2661773.7391 | 1236433.1502
13 | 2661798.2238 | 1236453.4536
14 | 2661665.3551 | 1236564.2283
15 | 2661663.7883 | 1236582.5985
16 | 2661696.7577 | 1236586.8657
17 | 2661691.1181 | 1236619.332
18 | 2661690.3404 | 1236623.8093
19 | 2661934.0269 | 1236569.6117
20 | 2661940.5716 | 1236570.7114
21 | 2661890.6637 | 1236566.5018
22 | 2661958.5924 | 1236571.8178
23 | 2661885.8975 | 1236554.5223
24 | 2661870.2425 | 1236586.61
25 | 2662008.4877 | 1236546.0497
26 | 2661882.555 | 1236544.3833
27 | 2661857.6219 | 1236603.1522
28 | 2662012.4014 | 1236535.4766
29 | 2661880.1306 | 1236537.0293
30 | 2661844.7203 | 1236653.0385
31 | 2661812.9561 | 1236431.1096
32 | 2661827.4822 | 1236413.2037
33 | 2661828.1371 | 1236412.4176
34 | 2661800.173 | 1236454.7849
35 | 2661839.3617 | 1236398.9435
36 | 2661838.1024 | 1236480.6902
37 | 2661846.7522 | 1236390.072
38 | 2661848.564 | 1236487.9451
39 | 2661743.3089 | 1236395.6007
40 | 2661742.1893 | 1236393.1757
41 | 2661727.9036 | 1236393.8277
42 | 2661766.2366 | 1236342.2413
43 | 2661705.8469 | 1236393.5985
44 | 2661767.9366 | 1236340.3749
45 | 2661668.1546 | 1236387.0169
46 | 2661755.7149 | 1236326.78
47 | 2661655.869 | 1236425.6761
48 | 2661663.0915 | 1236385.883
49 | 2661755.5933 | 1236326.6583
50 | 2661745.0264 | 1236316.0762
51 | 2661754.0746 | 1236303.3638
52 | 2661730.2552 | 1236305.4745
53 | 2661777.1609 | 1236271.2859
54 | 2661712.9916 | 1236293.0838
55 | 2661794.9309 | 1236308.4218
56 | 2661800.9727 | 1236301.2702
57 | 2661788.4473 | 1236256.3435
58 | 2661911.3714 | 1236475.7324
59 | 2661895.3705 | 1236504.4023
60 | 2661872.3986 | 1236514.099
61 | 2661803.1251 | 1236264.8496
62 | 2661795.557 | 1236260.4637
63 | 2661820.1743 | 1236274.73
64 | 2661766.3795 | 1236242.0616
65 | 2661804.7402 | 1236304.2669
66 | 2661823.94 | 1236316.9625
67 | 2661765.5091 | 1236241.4983
68 | 2661738.2978 | 1236221.0358
69 | 2661729.7125 | 1236214.0022
70 | 2661728.2865 | 1236212.8339
71 | 2662025.794 | 1236522.8808
72 | 2662038.5559 | 1236513.6962
73 | 2661798.2238 | 1236453.4536

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## res_bus
| vm_pu | va_degree | p_mw | q_mvar
0 | 0.99169 | -0.057508 | 0.0020628 | 0.00051699
1 | 0.99001 | -0.069244 | 0.00053407 | 0.00013385
2 | 0.99366 | -0.043863 | 0 | 0
3 | 0.98862 | -0.078954 | 0.0073799 | 0.0018496
4 | 0.99395 | -0.041824 | 0.0011927 | 0.00029892
5 | 0.99363 | -0.044069 | 0.0011932 | 0.00029905
6 | 0.98659 | -0.093202 | 0.0046964 | 0.001177
7 | 0.99575 | -0.029364 | 0 | 0
8 | 0.9929 | -0.049207 | 0 | 0
9 | 0.98529 | -0.10228 | 0 | 0
10 | 0.99263 | -0.051097 | 0 | 0
11 | 0.99246 | -0.052324 | 0.00079843 | 0.0002001
12 | 0.99569 | -0.029752 | 0.003105 | 0.00077819
13 | 0.99689 | -0.021444 | 0 | 0
14 | 0.99245 | -0.052407 | 0.0035904 | 0.00089985
15 | 0.99241 | -0.05268 | 0.00076316 | 0.00019127
16 | 0.99238 | -0.052884 | 0 | 0
17 | 0.99235 | -0.053081 | 0.00028854 | 7.2316e-05
18 | 0.99235 | -0.053095 | 0.00030195 | 7.5675e-05
19 | 0.98379 | -0.11329 | 0.00076806 | 0.00019249
20 | 0.98374 | -0.11368 | 0.00016215 | 4.0639e-05
21 | 0.9842 | -0.11036 | 0 | 0
22 | 0.98359 | -0.11472 | 0.00026943 | 6.7526e-05
23 | 0.98436 | -0.10929 | 0.00027244 | 6.828e-05
24 | 0.98414 | -0.11083 | 0.00012969 | 3.2503e-05
25 | 0.98316 | -0.11783 | 0 | 0
26 | 0.98448 | -0.10837 | 0.00076452 | 0.00019161
27 | 0.9841 | -0.11114 | 0.0010061 | 0.00025216
28 | 0.98307 | -0.11845 | 0.0007664 | 0.00019208
29 | 0.98459 | -0.10764 | 0.00089076 | 0.00022325
30 | 0.98406 | -0.11138 | 0.00043935 | 0.00011011
31 | 1 | 0 | -0.17778 | -0.044737
32 | 0.99954 | -0.0032434 | 0.0028288 | 0.00070897
33 | 0.99952 | -0.0033584 | 0.00039451 | 9.8873e-05
34 | 0.99658 | -0.023593 | 0.0007466 | 0.00018712
35 | 0.99925 | -0.0052603 | 0.0076466 | 0.0019164
36 | 0.99059 | -0.065328 | 0.0014006 | 0.00035102
37 | 0.9992 | -0.0056303 | 0.0032049 | 0.00080322
38 | 0.98895 | -0.076806 | 0.011591 | 0.0029049
39 | 0.97766 | -0.15633 | 0.0014156 | 0.00035477
40 | 0.97767 | -0.15629 | 0 | 0
41 | 0.97841 | -0.151 | 0.003053 | 0.00076516
42 | 0.9747 | -0.1775 | 0.0053639 | 0.0013443
43 | 0.97965 | -0.14216 | 0.0015428 | 0.00038666
44 | 0.97459 | -0.17826 | 0 | 0
45 | 0.9819 | -0.12623 | 0.0023006 | 0.00057659
46 | 0.97382 | -0.18377 | 0.00078071 | 0.00019566
47 | 0.98476 | -0.10604 | 0.0011364 | 0.00028482
48 | 0.98222 | -0.12395 | 0 | 0
49 | 0.97382 | -0.18382 | 0.00097533 | 0.00024444
50 | 0.97323 | -0.18805 | 0 | 0
51 | 0.97273 | -0.19167 | 0.0015925 | 0.00039913
52 | 0.9731 | -0.18899 | 0.0010592 | 0.00026547
53 | 0.97154 | -0.20017 | 0.0013278 | 0.00033279
54 | 0.97298 | -0.18986 | 0.003852 | 0.0009654
55 | 0.97037 | -0.20862 | 0.0019693 | 0.00049355
56 | 0.9704 | -0.20843 | 0 | 0
57 | 0.97102 | -0.20395 | 0 | 0
58 | 0.97981 | -0.14163 | 0.05528 | 0.013854
59 | 0.98249 | -0.12252 | 0.011587 | 0.0029039
60 | 0.98494 | -0.10515 | 0 | 0
61 | 0.97078 | -0.20566 | 0.0031444 | 0.00078806
62 | 0.97089 | -0.20491 | 0.0028931 | 0.00072508
63 | 0.97064 | -0.2067 | 0 | 0
64 | 0.97071 | -0.20618 | 0.0011346 | 0.00028437
65 | 0.97038 | -0.20858 | 0 | 0
66 | 0.97028 | -0.20931 | 0.0030065 | 0.0007535
67 | 0.9707 | -0.20626 | 0.0023956 | 0.00060038
68 | 0.97048 | -0.20788 | 0.0017923 | 0.00044919
69 | 0.97043 | -0.20819 | 0.0012363 | 0.00030985
70 | 0.97043 | -0.20822 | 0.0014586 | 0.00036557
71 | 0.98295 | -0.11932 | 0.0040628 | 0.0010182
72 | 0.98294 | -0.1194 | 0.00044382 | 0.00011123
73 | 0.99998 | 149.9947 | 0 | 0

## res_line
| p_from_mw | q_from_mvar | p_to_mw | q_to_mvar | pl_mw | ql_mvar | i_from_ka | i_to_ka | i_ka | vm_from_pu | va_from_degree | vm_to_pu | va_to_degree | loading_percent
0 | 0.056867 | 0.014355 | -0.056774 | -0.01432 | 9.3582e-05 | 3.5728e-05 | 0.085365 | 0.085365 | 0.085365 | 0.99169 | -0.057508 | 0.99001 | -0.069244 | 31.6166
1 | -0.05893 | -0.014872 | 0.059043 | 0.014916 | 0.00011311 | 4.3205e-05 | 0.08846 | 0.08846 | 0.08846 | 0.99169 | -0.057508 | 0.99366 | -0.043863 | 32.763
2 | 0.05624 | 0.014186 | -0.056163 | -0.014157 | 7.6469e-05 | 2.9191e-05 | 0.084562 | 0.084562 | 0.084562 | 0.99001 | -0.069244 | 0.98862 | -0.078954 | 31.3194
3 | -0.065986 | -0.016653 | 0.066005 | 0.016661 | 1.8896e-05 | 7.2274e-06 | 0.098856 | 0.098856 | 0.098856 | 0.99366 | -0.043863 | 0.99395 | -0.041824 | 36.6133
4 | 0.0069426 | 0.0017378 | -0.0069424 | -0.0017378 | 1.9782e-07 | 3.8089e-08 | 0.010396 | 0.010396 | 0.010396 | 0.99366 | -0.043863 | 0.99363 | -0.044069 | 3.8504
5 | 0.048783 | 0.012307 | -0.048686 | -0.01227 | 9.7305e-05 | 3.7055e-05 | 0.073454 | 0.073455 | 0.073455 | 0.98862 | -0.078954 | 0.98659 | -0.093202 | 27.2054
6 | -0.067197 | -0.01696 | 0.067315 | 0.017004 | 0.00011775 | 4.4322e-05 | 0.10064 | 0.10064 | 0.10064 | 0.99395 | -0.041824 | 0.99575 | -0.029364 | 18.6373
7 | 0.0057492 | 0.0014388 | -0.0057451 | -0.0014383 | 4.0779e-06 | 4.2722e-07 | 0.008609 | 0.0086094 | 0.0086094 | 0.99363 | -0.044069 | 0.9929 | -0.049207 | 3.1887
8 | 0.043989 | 0.011093 | -0.043934 | -0.011072 | 5.593e-05 | 2.1252e-05 | 0.066371 | 0.066371 | 0.066371 | 0.98659 | -0.093202 | 0.98529 | -0.10228 | 24.582
9 | 0.0031052 | 0.00077809 | -0.003105 | -0.00077819 | 1.6696e-07 | -9.7413e-08 | 0.0046403 | 0.0046403 | 0.0046403 | 0.99575 | -0.029364 | 0.99569 | -0.029752 | 1.7186
10 | -0.07042 | -0.017782 | 0.070499 | 0.017812 | 7.8475e-05 | 2.9592e-05 | 0.10528 | 0.10528 | 0.10528 | 0.99575 | -0.029364 | 0.99689 | -0.021444 | 19.4965
11 | 0.0057451 | 0.0014383 | -0.0057436 | -0.0014382 | 1.5001e-06 | 1.576e-07 | 0.0086094 | 0.0086096 | 0.0086096 | 0.9929 | -0.049207 | 0.99263 | -0.051097 | 3.1887
12 | 0.043934 | 0.011072 | -0.04391 | -0.011063 | 2.3076e-05 | 8.7685e-06 | 0.066371 | 0.066371 | 0.066371 | 0.98529 | -0.10228 | 0.98476 | -0.10604 | 24.582
13 | 0.0057436 | 0.0014382 | -0.0057427 | -0.0014381 | 9.7365e-07 | 1.0242e-07 | 0.0086096 | 0.0086097 | 0.0086097 | 0.99263 | -0.051097 | 0.99246 | -0.052324 | 3.1888
14 | 0.0049442 | 0.001238 | -0.0049442 | -0.001238 | 5.6759e-08 | 4.3887e-10 | 0.0074126 | 0.0074126 | 0.0074126 | 0.99246 | -0.052324 | 0.99245 | -0.052407 | 2.7454
15 | 0.091909 | 0.023207 | -0.091882 | -0.023196 | 2.7746e-05 | 1.0641e-05 | 0.13725 | 0.13725 | 0.13725 | 0.99689 | -0.021444 | 0.99658 | -0.023593 | 50.8333
16 | -0.16241 | -0.041018 | 0.1629 | 0.041206 | 0.00049117 | 0.00018821 | 0.24253 | 0.24253 | 0.24253 | 0.99689 | -0.021444 | 1 | 0 | 44.9132
17 | 0.0013537 | 0.00033811 | -0.0013537 | -0.00033835 | 5.0883e-08 | -2.3628e-07 | 0.0020293 | 0.0020294 | 0.0020294 | 0.99245 | -0.052407 | 0.99241 | -0.05268 | 0.75163
18 | 0.00059052 | 0.00014708 | -0.00059051 | -0.00014751 | 1.6459e-08 | -4.2862e-07 | 0.00088511 | 0.00088526 | 0.00088526 | 0.99241 | -0.05268 | 0.99238 | -0.052884 | 0.32787
19 | 0.00059051 | 0.00014751 | -0.00059049 | -0.00014793 | 1.6117e-08 | -4.1954e-07 | 0.00088526 | 0.00088541 | 0.00088541 | 0.99238 | -0.052884 | 0.99235 | -0.053081 | 0.32793
20 | 0.00030195 | 7.5616e-05 | -0.00030195 | -7.5675e-05 | 5.8129e-10 | -5.8487e-08 | 0.00045274 | 0.00045276 | 0.00045276 | 0.99235 | -0.053081 | 0.99235 | -0.053095 | 0.16769
21 | 0.0057089 | 0.0014298 | -0.0057086 | -0.0014297 | 3.0875e-07 | 3.4487e-08 | 0.0086346 | 0.0086346 | 0.0086346 | 0.98379 | -0.11329 | 0.98374 | -0.11368 | 3.198
22 | -0.006477 | -0.0016223 | 0.0064796 | 0.0016227 | 2.621e-06 | 4.5209e-07 | 0.0097963 | 0.0097961 | 0.0097963 | 0.98379 | -0.11329 | 0.9842 | -0.11036 | 3.6283
23 | 0.0055465 | 0.0013891 | -0.0055457 | -0.001389 | 7.9671e-07 | 7.6143e-08 | 0.0083893 | 0.0083894 | 0.0083894 | 0.98374 | -0.11368 | 0.98359 | -0.11472 | 3.1072
24 | -0.008055 | -0.0020163 | 0.0080562 | 0.0020166 | 1.1937e-06 | 2.9515e-07 | 0.012177 | 0.012177 | 0.012177 | 0.9842 | -0.11036 | 0.98436 | -0.10929 | 4.5102
25 | 0.0015754 | 0.00039356 | -0.0015753 | -0.00039388 | 1.0147e-07 | -3.2533e-07 | 0.0023813 | 0.0023815 | 0.0023815 | 0.9842 | -0.11036 | 0.98414 | -0.11083 | 0.88202
26 | 0.0052763 | 0.0013215 | -0.005274 | -0.0013213 | 2.2721e-06 | 1.4882e-07 | 0.0079818 | 0.0079821 | 0.0079821 | 0.98359 | -0.11472 | 0.98316 | -0.11783 | 2.9563
27 | -0.0083286 | -0.0020848 | 0.0083297 | 0.0020851 | 1.0558e-06 | 2.7035e-07 | 0.012589 | 0.012589 | 0.012589 | 0.98436 | -0.10929 | 0.98448 | -0.10837 | 4.6627
28 | 0.0014456 | 0.00036138 | -0.0014455 | -0.00036162 | 6.2366e-08 | -2.419e-07 | 0.0021854 | 0.0021855 | 0.0021855 | 0.98414 | -0.11083 | 0.9841 | -0.11114 | 0.80943
29 | 0.005274 | 0.0013213 | -0.0052735 | -0.0013213 | 4.5421e-07 | 2.9833e-08 | 0.0079821 | 0.0079821 | 0.0079821 | 0.98316 | -0.11783 | 0.98307 | -0.11845 | 2.9563
30 | -0.0090942 | -0.0022767 | 0.0090951 | 0.002277 | 9.128e-07 | 2.5261e-07 | 0.013745 | 0.013745 | 0.013745 | 0.98448 | -0.10837 | 0.98459 | -0.10764 | 5.0906
31 | 0.00043937 | 0.00010946 | -0.00043935 | -0.00011011 | 1.4316e-08 | -6.5511e-07 | 0.00066412 | 0.00066436 | 0.00066436 | 0.9841 | -0.11114 | 0.98406 | -0.11138 | 0.24606
32 | 0.0045071 | 0.0011292 | -0.0045066 | -0.0011293 | 5.4276e-07 | -2.8172e-08 | 0.0068221 | 0.0068221 | 0.0068221 | 0.98307 | -0.11845 | 0.98295 | -0.11932 | 2.5267
33 | -0.0099859 | -0.0025002 | 0.0099893 | 0.0025012 | 3.4391e-06 | 1.0148e-06 | 0.015091 | 0.015091 | 0.015091 | 0.98459 | -0.10764 | 0.98494 | -0.10515 | 5.5892
34 | 0.014084 | 0.0035305 | -0.014078 | -0.0035283 | 6.3237e-06 | 2.1296e-06 | 0.020958 | 0.020958 | 0.020958 | 1 | 0 | 0.99954 | -0.0032434 | 7.7623
35 | 0.011249 | 0.0028194 | -0.011249 | -0.0028193 | 1.7905e-07 | 5.5457e-08 | 0.016747 | 0.016747 | 0.016747 | 0.99954 | -0.0032434 | 0.99952 | -0.0033584 | 6.2025
36 | 0.010855 | 0.0027204 | -0.010852 | -0.0027196 | 2.8576e-06 | 8.6928e-07 | 0.01616 | 0.01616 | 0.01616 | 0.99952 | -0.0033584 | 0.99925 | -0.0052603 | 5.985
37 | 0.091135 | 0.023009 | -0.090604 | -0.022805 | 0.00053118 | 0.0002037 | 0.13614 | 0.13614 | 0.13614 | 0.99658 | -0.023593 | 0.99059 | -0.065328 | 50.4205
38 | 0.0032051 | 0.00080313 | -0.0032049 | -0.00080322 | 1.6412e-07 | -8.8122e-08 | 0.0047727 | 0.0047728 | 0.0047728 | 0.99925 | -0.0052603 | 0.9992 | -0.0056303 | 1.7677
39 | 0.089203 | 0.022454 | -0.089061 | -0.022399 | 0.00014276 | 5.4743e-05 | 0.13403 | 0.13403 | 0.13403 | 0.99059 | -0.065328 | 0.98895 | -0.076806 | 49.6413
40 | 0.07747 | 0.019494 | -0.077164 | -0.019378 | 0.00030522 | 0.00011693 | 0.11659 | 0.11659 | 0.11659 | 0.98895 | -0.076806 | 0.98494 | -0.10515 | 43.1821
41 | -0.0014156 | -0.00035477 | 0.0014156 | 0.00035474 | 7.7366e-09 | -3.0518e-08 | 0.0021545 | 0.0021545 | 0.0021545 | 0.97766 | -0.15633 | 0.97767 | -0.15629 | 0.79797
42 | -0.035594 | -0.008942 | 0.03562 | 0.0089519 | 2.623e-05 | 9.9088e-06 | 0.054182 | 0.054182 | 0.054182 | 0.97767 | -0.15629 | 0.97841 | -0.151 | 20.0673
43 | 0.034178 | 0.0085873 | -0.034078 | -0.0085493 | 0.00010056 | 3.7933e-05 | 0.052027 | 0.052027 | 0.052027 | 0.97767 | -0.15629 | 0.9747 | -0.1775 | 19.2694
44 | -0.038673 | -0.0097171 | 0.038721 | 0.0097351 | 4.7629e-05 | 1.8041e-05 | 0.058825 | 0.058825 | 0.058825 | 0.97841 | -0.151 | 0.97965 | -0.14216 | 21.787
45 | 0.028714 | 0.007205 | -0.028711 | -0.0072039 | 3.0276e-06 | 1.133e-06 | 0.043839 | 0.043839 | 0.043839 | 0.9747 | -0.1775 | 0.97459 | -0.17826 | 16.2366
46 | -0.040263 | -0.010122 | 0.040353 | 0.010156 | 8.9542e-05 | 3.3955e-05 | 0.061168 | 0.061168 | 0.061168 | 0.97965 | -0.14216 | 0.9819 | -0.12623 | 22.6548
47 | 0.028711 | 0.0072039 | -0.028689 | -0.0071957 | 2.1925e-05 | 8.2051e-06 | 0.043839 | 0.043839 | 0.043839 | 0.97459 | -0.17826 | 0.97382 | -0.18377 | 16.2366
48 | -0.042654 | -0.010732 | 0.042667 | 0.010737 | 1.3534e-05 | 5.1397e-06 | 0.064654 | 0.064654 | 0.064654 | 0.9819 | -0.12623 | 0.98222 | -0.12395 | 23.946
49 | 0.027908 | 0.007 | -0.027908 | -0.0069999 | 1.952e-07 | 7.2937e-08 | 0.042646 | 0.042646 | 0.042646 | 0.97382 | -0.18377 | 0.97382 | -0.18382 | 15.7948
50 | 0.042774 | 0.010778 | -0.042667 | -0.010737 | 0.00010695 | 4.0615e-05 | 0.064654 | 0.064654 | 0.064654 | 0.98476 | -0.10604 | 0.98222 | -0.12395 | 23.946
51 | 0.026933 | 0.0067555 | -0.026917 | -0.0067496 | 1.5806e-05 | 5.8932e-06 | 0.041156 | 0.041156 | 0.041156 | 0.97382 | -0.18382 | 0.97323 | -0.18805 | 15.2428
52 | 0.022004 | 0.0055188 | -0.021993 | -0.0055148 | 1.1022e-05 | 4.0454e-06 | 0.033645 | 0.033645 | 0.033645 | 0.97323 | -0.18805 | 0.97273 | -0.19167 | 12.4611
53 | 0.0049123 | 0.0012308 | -0.0049117 | -0.0012308 | 6.4e-07 | 2.0251e-08 | 0.0075106 | 0.0075107 | 0.0075107 | 0.97323 | -0.18805 | 0.9731 | -0.18899 | 2.7817
54 | 0.020401 | 0.0051156 | -0.020377 | -0.0051069 | 2.4022e-05 | 8.7491e-06 | 0.031209 | 0.031209 | 0.031209 | 0.97273 | -0.19167 | 0.97154 | -0.20017 | 11.5589
55 | 0.0038525 | 0.00096532 | -0.003852 | -0.0009654 | 4.6017e-07 | -8.6965e-08 | 0.0058909 | 0.005891 | 0.005891 | 0.9731 | -0.18899 | 0.97298 | -0.18986 | 2.1819
56 | 0.019049 | 0.0047741 | -0.019039 | -0.0047705 | 9.9463e-06 | 3.5937e-06 | 0.029175 | 0.029175 | 0.029175 | 0.97154 | -0.20017 | 0.97102 | -0.20395 | 10.8057
57 | -0.0019693 | -0.00049355 | 0.0019693 | 0.00049346 | 5.3273e-08 | -9.5168e-08 | 0.0030198 | 0.0030198 | 0.0030198 | 0.97037 | -0.20862 | 0.9704 | -0.20843 | 1.1184
58 | 0.0030069 | 0.00075329 | -0.0030068 | -0.00075333 | 6.3738e-08 | -3.4846e-08 | 0.0046106 | 0.0046106 | 0.0046106 | 0.9704 | -0.20843 | 0.97038 | -0.20858 | 1.7076
59 | -0.0049762 | -0.0012467 | 0.0049774 | 0.0012468 | 1.1891e-06 | 5.289e-08 | 0.0076304 | 0.0076302 | 0.0076304 | 0.9704 | -0.20843 | 0.97064 | -0.2067 | 2.8261
60 | 0.0080211 | 0.0020099 | -0.0080186 | -0.0020092 | 2.4782e-06 | 6.2809e-07 | 0.012292 | 0.012292 | 0.012292 | 0.97102 | -0.20395 | 0.97071 | -0.20618 | 4.5525
61 | 0.011018 | 0.0027606 | -0.011016 | -0.0027602 | 1.4617e-06 | 4.6056e-07 | 0.016884 | 0.016884 | 0.016884 | 0.97102 | -0.20395 | 0.97089 | -0.20491 | 6.2533
62 | -0.05528 | -0.013854 | 0.055427 | 0.01391 | 0.00014658 | 5.5957e-05 | 0.083953 | 0.083953 | 0.083953 | 0.97981 | -0.14163 | 0.98249 | -0.12252 | 31.0936
63 | -0.067013 | -0.016814 | 0.067175 | 0.016876 | 0.00016195 | 6.1967e-05 | 0.1015 | 0.1015 | 0.1015 | 0.98249 | -0.12252 | 0.98494 | -0.10515 | 37.593
64 | -0.0081225 | -0.0020349 | 0.0081233 | 0.0020351 | 8.4602e-07 | 2.1723e-07 | 0.01245 | 0.01245 | 0.01245 | 0.97078 | -0.20566 | 0.97089 | -0.20491 | 4.6111
65 | 0.0049781 | 0.0012468 | -0.0049774 | -0.0012468 | 7.1587e-07 | 3.1739e-08 | 0.0076301 | 0.0076302 | 0.0076302 | 0.97078 | -0.20566 | 0.97064 | -0.2067 | 2.826
66 | 0.006884 | 0.0017249 | -0.0068839 | -0.0017248 | 7.2038e-08 | 1.4891e-08 | 0.010552 | 0.010552 | 0.010552 | 0.97071 | -0.20618 | 0.9707 | -0.20626 | 3.9083
67 | 0.0030068 | 0.00075333 | -0.0030065 | -0.0007535 | 3.0534e-07 | -1.6688e-07 | 0.0046106 | 0.0046107 | 0.0046107 | 0.97038 | -0.20858 | 0.97028 | -0.20931 | 1.7077
68 | 0.0044884 | 0.0011245 | -0.0044873 | -0.0011245 | 1.0072e-06 | -3.4022e-08 | 0.0068802 | 0.0068803 | 0.0068803 | 0.9707 | -0.20626 | 0.97048 | -0.20788 | 2.5483
69 | 0.0026951 | 0.0006753 | -0.0026949 | -0.0006754 | 1.1826e-07 | -9.1645e-08 | 0.0041323 | 0.0041323 | 0.0041323 | 0.97048 | -0.20788 | 0.97043 | -0.20819 | 1.5305
70 | 0.0014586 | 0.00036555 | -0.0014586 | -0.00036557 | 5.7545e-09 | -2.0562e-08 | 0.0022366 | 0.0022366 | 0.0022366 | 0.97043 | -0.20819 | 0.97043 | -0.20822 | 0.82838
71 | 0.00044382 | 0.00011103 | -0.00044382 | -0.00011123 | 4.4318e-09 | -1.9774e-07 | 0.00067181 | 0.00067188 | 0.00067188 | 0.98295 | -0.11932 | 0.98294 | -0.1194 | 0.24884

## res_trafo
| p_hv_mw | q_hv_mvar | p_lv_mw | q_lv_mvar | pl_mw | ql_mvar | i_hv_ka | i_lv_ka | vm_hv_pu | va_hv_degree | vm_lv_pu | va_lv_degree | loading_percent
0 | 2.5187e-16 | 8.8016e-16 | 0.00079998 | 7.4552e-08 | 0.00079998 | 7.4552e-08 | 2.6429e-17 | 0.0011547 | 0.99998 | 149.9947 | 1 | 0 | 0.31999

## res_ext_grid
| p_mw | q_mvar
0 | 0.23454 | 0.058961

## res_load
| p_mw | q_mvar
0 | 0.0020628 | 0.00051699
1 | 0.00053407 | 0.00013385
2 | 0.0073799 | 0.0018496
3 | 0.0011927 | 0.00029892
4 | 0.0011932 | 0.00029905
5 | 0.0046964 | 0.001177
6 | 0.00079843 | 0.0002001
7 | 0.003105 | 0.00077819
8 | 0.0035904 | 0.00089985
9 | 0.00076316 | 0.00019127
10 | 0.00028854 | 7.2316e-05
11 | 0.00030195 | 7.5675e-05
12 | 0.00076806 | 0.00019249
13 | 0.00016215 | 4.0639e-05
14 | 0.00026943 | 6.7526e-05
15 | 0.00027244 | 6.828e-05
16 | 0.00012969 | 3.2503e-05
17 | 0.00076452 | 0.00019161
18 | 0.0010061 | 0.00025216
19 | 0.0007664 | 0.00019208
20 | 0.00089076 | 0.00022325
21 | 0.00043935 | 0.00011011
22 | 0.056754 | 0.014224
23 | 0.0028288 | 0.00070897
24 | 0.00039451 | 9.8873e-05
25 | 0.0007466 | 0.00018712
26 | 0.0076466 | 0.0019164
27 | 0.0014006 | 0.00035102
28 | 0.0032049 | 0.00080322
29 | 0.011591 | 0.0029049
30 | 0.0014156 | 0.00035477
31 | 0.003053 | 0.00076516
32 | 0.0053639 | 0.0013443
33 | 0.0015428 | 0.00038666
34 | 0.0023006 | 0.00057659
35 | 0.00078071 | 0.00019566
36 | 0.0011364 | 0.00028482
37 | 0.00097533 | 0.00024444
38 | 0.0015925 | 0.00039913
39 | 0.0010592 | 0.00026547
40 | 0.0013278 | 0.00033279
41 | 0.003852 | 0.0009654
42 | 0.0019693 | 0.00049355
43 | 0.05528 | 0.013854
44 | 0.011587 | 0.0029039
45 | 0.0031444 | 0.00078806
46 | 0.0028931 | 0.00072508
47 | 0.0011346 | 0.00028437
48 | 0.0030065 | 0.0007535
49 | 0.0023956 | 0.00060038
50 | 0.0017923 | 0.00044919
51 | 0.0012363 | 0.00030985
52 | 0.0014586 | 0.00036557
53 | 0.0040628 | 0.0010182
54 | 0.00044382 | 0.00011123

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object
62 | res_bus | vm_pu | float64
63 | res_bus | va_degree | float64
64 | res_bus | p_mw | float64
65 | res_bus | q_mvar | float64
66 | res_line | p_from_mw | float64
67 | res_line | q_from_mvar | float64
68 | res_line | p_to_mw | float64
69 | res_line | q_to_mvar | float64
70 | res_line | pl_mw | float64
71 | res_line | ql_mvar | float64
72 | res_line | i_from_ka | float64
73 | res_line | i_to_ka | float64
74 | res_line | i_ka | float64
75 | res_line | vm_from_pu | float64
76 | res_line | va_from_degree | float64
77 | res_line | vm_to_pu | float64
78 | res_line | va_to_degree | float64
79 | res_line | loading_percent | float64
80 | res_trafo | p_hv_mw | float64
81 | res_trafo | q_hv_mvar | float64
82 | res_trafo | p_lv_mw | float64
83 | res_trafo | q_lv_mvar | float64
84 | res_trafo | pl_mw | float64
85 | res_trafo | ql_mvar | float64
86 | res_trafo | i_hv_ka | float64
87 | res_trafo | i_lv_ka | float64
88 | res_trafo | vm_hv_pu | float64
89 | res_trafo | va_hv_degree | float64
90 | res_trafo | vm_lv_pu | float64
91 | res_trafo | va_lv_degree | float64
92 | res_trafo | loading_percent | float64
93 | res_ext_grid | p_mw | float64
94 | res_ext_grid | q_mvar | float64
95 | res_load | p_mw | float64
96 | res_load | q_mvar | float64

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | TRUE | FALSE |  | 50 | 1