## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_1081-12_0_4_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_1081-12_0_4_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_1081-12_0_4_node_2 | 0.4 | n |  | TRUE
3 | bus_LV_1081-12_0_4_node_3 | 0.4 | n |  | TRUE
4 | bus_LV_1081-12_0_4_node_4 | 0.4 | n |  | TRUE
5 | bus_LV_1081-12_0_4_node_27 | 0.4 | n |  | TRUE
6 | bus_LV_1081-12_0_4_node_13 | 0.4 | n |  | TRUE
7 | bus_LV_1081-12_0_4_node_9 | 0.4 | n |  | TRUE
8 | bus_LV_1081-12_0_4_node_39 | 0.4 | n |  | TRUE
9 | bus_LV_1081-12_0_4_node_14 | 0.4 | n |  | TRUE
10 | bus_LV_1081-12_0_4_node_28 | 0.4 | n |  | TRUE
11 | bus_LV_1081-12_0_4_node_7 | 0.4 | n |  | TRUE
12 | bus_LV_1081-12_0_4_node_5 | 0.4 | n |  | TRUE
13 | bus_LV_1081-12_0_4_node_6 | 0.4 | n |  | TRUE
14 | bus_LV_1081-12_0_4_node_8 | 0.4 | n |  | TRUE
15 | bus_LV_1081-12_0_4_node_11 | 0.4 | n |  | TRUE
16 | bus_LV_1081-12_0_4_node_10 | 0.4 | n |  | TRUE
17 | bus_LV_1081-12_0_4_node_12 | 0.4 | n |  | TRUE
18 | bus_LV_1081-12_0_4_node_43 | 0.4 | n |  | TRUE
19 | bus_LV_1081-12_0_4_node_15 | 0.4 | n |  | TRUE
20 | bus_LV_1081-12_0_4_node_19 | 0.4 | n |  | TRUE
21 | bus_LV_1081-12_0_4_node_37 | 0.4 | n |  | TRUE
22 | bus_LV_1081-12_0_4_node_18 | 0.4 | n |  | TRUE
23 | bus_LV_1081-12_0_4_node_16 | 0.4 | n |  | TRUE
24 | bus_LV_1081-12_0_4_node_17 | 0.4 | n |  | TRUE
25 | bus_LV_1081-12_0_4_node_45 | 0.4 | n |  | TRUE
26 | bus_LV_1081-12_0_4_node_44 | 0.4 | n |  | TRUE
27 | bus_LV_1081-12_0_4_node_20 | 0.4 | n |  | TRUE
28 | bus_LV_1081-12_0_4_node_21 | 0.4 | n |  | TRUE
29 | bus_LV_1081-12_0_4_node_22 | 0.4 | n |  | TRUE
30 | bus_LV_1081-12_0_4_node_23 | 0.4 | n |  | TRUE
31 | bus_LV_1081-12_0_4_node_41 | 0.4 | n |  | TRUE
32 | bus_LV_1081-12_0_4_node_24 | 0.4 | n |  | TRUE
33 | bus_LV_1081-12_0_4_node_40 | 0.4 | n |  | TRUE
34 | bus_LV_1081-12_0_4_node_25 | 0.4 | n |  | TRUE
35 | bus_LV_1081-12_0_4_node_26 | 0.4 | n |  | TRUE
36 | bus_LV_1081-12_0_4_node_29 | 0.4 | n |  | TRUE
37 | bus_LV_1081-12_0_4_node_30 | 0.4 | n |  | TRUE
38 | bus_LV_1081-12_0_4_node_31 | 0.4 | n |  | TRUE
39 | bus_LV_1081-12_0_4_node_32 | 0.4 | n |  | TRUE
40 | bus_LV_1081-12_0_4_node_33 | 0.4 | n |  | TRUE
41 | bus_LV_1081-12_0_4_node_35 | 0.4 | n |  | TRUE
42 | bus_LV_1081-12_0_4_node_38 | 0.4 | n |  | TRUE
43 | bus_LV_1081-12_0_4_node_34 | 0.4 | n |  | TRUE
44 | bus_LV_1081-12_0_4_node_46 | 0.4 | n |  | TRUE
45 | bus_LV_1081-12_0_4_node_36 | 0.4 | n |  | TRUE
46 | bus_MV_470_2_node_107 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_1081-12_0_4_load_0 | 0 | 0.0050004 | 0.0012532 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_1081-12_0_4_load_1 | 1 | 0.0020268 | 0.00050795 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_1081-12_0_4_load_2 | 2 | 0.017923 | 0.004492 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_1081-12_0_4_load_4 | 4 | 0.00059251 | 0.0001485 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_1081-12_0_4_load_27 | 5 | 0.00052773 | 0.00013226 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_1081-12_0_4_load_13 | 6 | 0.016776 | 0.0042044 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_1081-12_0_4_load_9 | 7 | 0.0028319 | 0.00070974 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_1081-12_0_4_load_39 | 8 | 0.00010787 | 2.7035e-05 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_1081-12_0_4_load_28 | 10 | 0.0025488 | 0.0006388 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_1081-12_0_4_load_5 | 12 | 0.0040048 | 0.0010037 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_1081-12_0_4_load_6 | 13 | 0.0034461 | 0.00086367 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_1081-12_0_4_load_8 | 14 | 0.0042475 | 0.0010645 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_1081-12_0_4_load_11 | 15 | 0.026332 | 0.0065995 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_1081-12_0_4_load_10 | 16 | 0.080311 | 0.020128 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_1081-12_0_4_load_12 | 17 | 0.0039421 | 0.00098799 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_1081-12_0_4_load_43 | 18 | 0.0082558 | 0.0020691 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_1081-12_0_4_load_15 | 19 | 0.00011862 | 2.9729e-05 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_1081-12_0_4_load_19 | 20 | 0.0010908 | 0.00027337 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_1081-12_0_4_load_37 | 21 | 0.0086101 | 0.0021579 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_1081-12_0_4_load_16 | 23 | 0.0055086 | 0.0013806 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_1081-12_0_4_load_17 | 24 | 0.00066256 | 0.00016605 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_1081-12_0_4_load_45 | 25 | 0.017587 | 0.0044076 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_1081-12_0_4_load_20 | 27 | 0.0043918 | 0.0011007 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_1081-12_0_4_load_21 | 28 | 0.00042391 | 0.00010624 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_1081-12_0_4_load_22 | 29 | 0.00055707 | 0.00013962 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_1081-12_0_4_load_23 | 30 | 0.0025636 | 0.00064249 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_1081-12_0_4_load_41 | 31 | 0.003284 | 0.00082305 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_1081-12_0_4_load_24 | 32 | 0.00077269 | 0.00019365 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_1081-12_0_4_load_25 | 34 | 0.00088917 | 0.00022285 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_1081-12_0_4_load_26 | 35 | 0.0010853 | 0.00027201 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_1081-12_0_4_load_29 | 36 | 0.00064525 | 0.00016171 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_1081-12_0_4_load_30 | 37 | 0.0015194 | 0.0003808 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_1081-12_0_4_load_32 | 39 | 0.0019826 | 0.00049689 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_1081-12_0_4_load_33 | 40 | 0.0012002 | 0.00030079 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_1081-12_0_4_load_35 | 41 | 0.00044754 | 0.00011216 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_1081-12_0_4_load_38 | 42 | 0.0036405 | 0.00091239 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_1081-12_0_4_load_34 | 43 | 0.0006989 | 0.00017516 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_1081-12_0_4_load_46 | 44 | 0.00036514 | 9.1512e-05 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 1 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_1081-12_0_4_line_0 | NAYY 4x150 SE | 0 | 1 | 0.040415 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
1 | LV_1081-12_0_4_line_1 | NAYY 4x150 SE | 0 | 2 | 0.0053809 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
2 | LV_1081-12_0_4_line_2 | NAYY 4x150 SE | 1 | 3 | 0.031181 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
3 | LV_1081-12_0_4_line_3 | NAYY 4x150 SE | 2 | 4 | 0.029705 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
4 | LV_1081-12_0_4_line_4 | NAYY 4x150 SE | 3 | 5 | 0.062843 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
5 | LV_1081-12_0_4_line_5 | NAYY 4x150 SE | 3 | 6 | 0.10874 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
6 | LV_1081-12_0_4_line_6 | NAYY 4x150 SE | 4 | 7 | 0.025019 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
7 | LV_1081-12_0_4_line_7 | NAYY 4x150 SE | 5 | 8 | 0.00062103 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
8 | LV_1081-12_0_4_line_8 | NAYY 4x150 SE | 6 | 9 | 0.10144 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
9 | LV_1081-12_0_4_line_9 | NAYY 4x150 SE | 6 | 10 | 0.12347 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
10 | LV_1081-12_0_4_line_10 | NAYY 4x150 SE | 7 | 11 | 0.036664 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
11 | LV_1081-12_0_4_line_11 | NAYY 4x150 SE | 8 | 33 | 0.049595 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
12 | LV_1081-12_0_4_line_12 | NAYY 4x150 SE | 9 | 19 | 0.024531 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
13 | LV_1081-12_0_4_line_13 | NAYY 4x150 SE | 11 | 14 | 0.024108 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
14 | LV_1081-12_0_4_line_14 | NAYY 4x150 SE | 11 | 12 | 0.045164 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
15 | LV_1081-12_0_4_line_15 | NAYY 4x150 SE | 12 | 13 | 0.023513 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
16 | LV_1081-12_0_4_line_16 | NAYY 4x150 SE | 14 | 15 | 0.03099 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
17 | LV_1081-12_0_4_line_17 | NAYY 4x150 SE | 15 | 16 | 0.026394 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
18 | LV_1081-12_0_4_line_18 | NAYY 4x150 SE | 16 | 17 | 0.11028 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
19 | LV_1081-12_0_4_line_19 | NAYY 4x150 SE | 17 | 18 | 0.056718 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
20 | LV_1081-12_0_4_line_20 | NAYY 4x150 SE | 19 | 20 | 0.081222 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
21 | LV_1081-12_0_4_line_21 | NAYY 4x150 SE | 20 | 21 | 0.044346 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
22 | LV_1081-12_0_4_line_22 | NAYY 4x150 SE | 20 | 22 | 0.040663 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
23 | LV_1081-12_0_4_line_23 | NAYY 4x150 SE | 22 | 23 | 0.026796 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
24 | LV_1081-12_0_4_line_24 | NAYY 4x150 SE | 23 | 24 | 0.041702 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
25 | LV_1081-12_0_4_line_25 | NAYY 4x150 SE | 24 | 25 | 0.092289 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
26 | LV_1081-12_0_4_line_26 | NAYY 4x150 SE | 25 | 26 | 0.039418 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
27 | LV_1081-12_0_4_line_27 | NAYY 4x150 SE | 26 | 45 | 0.11623 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
28 | LV_1081-12_0_4_line_28 | NAYY 4x150 SE | 27 | 28 | 0.01397 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
29 | LV_1081-12_0_4_line_29 | NAYY 4x150 SE | 27 | 29 | 0.023344 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
30 | LV_1081-12_0_4_line_30 | NAYY 4x150 SE | 28 | 30 | 0.014208 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
31 | LV_1081-12_0_4_line_31 | NAYY 4x150 SE | 30 | 32 | 0.0033469 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
32 | LV_1081-12_0_4_line_32 | NAYY 4x150 SE | 31 | 32 | 0.17671 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
33 | LV_1081-12_0_4_line_33 | NAYY 4x150 SE | 31 | 33 | 0.079793 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
34 | LV_1081-12_0_4_line_34 | NAYY 4x150 SE | 32 | 34 | 0.0068385 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
35 | LV_1081-12_0_4_line_35 | NAYY 4x150 SE | 34 | 35 | 0.0092307 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
36 | LV_1081-12_0_4_line_36 | NAYY 4x150 SE | 36 | 37 | 0.03354 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
37 | LV_1081-12_0_4_line_37 | NAYY 4x150 SE | 36 | 38 | 0.02696 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
38 | LV_1081-12_0_4_line_38 | NAYY 4x150 SE | 38 | 39 | 0.051287 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
39 | LV_1081-12_0_4_line_39 | NAYY 4x150 SE | 38 | 40 | 0.01922 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
40 | LV_1081-12_0_4_line_40 | NAYY 4x150 SE | 39 | 41 | 0.036963 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
41 | LV_1081-12_0_4_line_41 | NAYY 4x150 SE | 40 | 42 | 0.03337 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
42 | LV_1081-12_0_4_line_42 | NAYY 4x150 SE | 41 | 43 | 0.0057701 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
43 | LV_1081-12_0_4_line_43 | NAYY 4x150 SE | 42 | 44 | 0.42226 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
44 | LV_1081-12_0_4_line_44 | NAYY 4x150 SE | 43 | 45 | 0.073499 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_1081-12_0_4_trafo_1 | 0.25 MVA 20/0.4 kV | 46 | 1 | 0.25 | 20 | 0.4 | 6 | 1.44 | 0.8 | 0.32 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4
0 | 2658007.9515 | 1228153.0204 | 2658009.9708 | 1228135.3308 | 2658004.2361 | 1228114.9842 | 2658004.1866 | 1228113.5141
1 | 2658007.9515 | 1228153.0204 | 2658007.6343 | 1228155.7989 | 2658007.1503 | 1228158.3375
2 | 2658003.8572 | 1228082.3486 | 2658003.5251 | 1228093.8749 | 2658004.1866 | 1228113.5141
3 | 2658001.5866 | 1228187.5172 | 2658007.1503 | 1228158.3375
4 | 2658003.8572 | 1228082.3486 | 2657942.9433 | 1228066.8992
5 | 2658003.8572 | 1228082.3486 | 2658112.0355 | 1228071.359
6 | 2657996.9006 | 1228212.0937 | 2658001.5866 | 1228187.5172
7 | 2657942.3413 | 1228066.7466 | 2657942.9433 | 1228066.8992
8 | 2658115.5527 | 1227982.7636 | 2658132.9821 | 1227992.7513 | 2658112.0355 | 1228071.359
9 | 2658112.0355 | 1228071.359 | 2658220.6132 | 1228130.1406
10 | 2657990.0337 | 1228248.1084 | 2657996.9006 | 1228212.0937
11 | 2657894.2692 | 1228054.5527 | 2657910.2184 | 1228058.5994 | 2657942.3413 | 1228066.7466
12 | 2658115.5527 | 1227982.7636 | 2658117.0437 | 1227977.5193 | 2658133.108 | 1227967.2272
13 | 2657990.0337 | 1228248.1084 | 2657966.4006 | 1228243.3461
14 | 2657990.0337 | 1228248.1084 | 2658034.9494 | 1228252.8387
15 | 2658034.9494 | 1228252.8387 | 2658058.3327 | 1228255.3012
16 | 2657966.4006 | 1228243.3461 | 2657952.2896 | 1228240.5026 | 2657936.1101 | 1228236.8094
17 | 2657923.2069 | 1228216.7434 | 2657930.0379 | 1228218.4274 | 2657936.1101 | 1228236.8094 | 2657936.1101 | 1228236.8094
18 | 2657923.2069 | 1228216.7434 | 2657882.7552 | 1228206.7711 | 2657869.7762 | 1228209.7801 | 2657856.6626 | 1228263.4924
19 | 2657856.6626 | 1228263.4924 | 2657905.8342 | 1228291.7609
20 | 2658127.5863 | 1227886.1929 | 2658133.108 | 1227967.2272
21 | 2658138.0442 | 1227843.0981 | 2658127.5863 | 1227886.1929
22 | 2658091.606 | 1227883.5888 | 2658126.3901 | 1227891.1221 | 2658127.5863 | 1227886.1929
23 | 2658091.606 | 1227883.5888 | 2658098.0231 | 1227857.5727
24 | 2658108.0099 | 1227817.0844 | 2658098.0231 | 1227857.5727
25 | 2658108.0099 | 1227817.0844 | 2658016.8687 | 1227802.5749
26 | 2657978.4407 | 1227793.3168 | 2658016.8687 | 1227802.5749
27 | 2657925.615 | 1227896.8462 | 2657978.4407 | 1227793.3168
28 | 2657696.697 | 1228117.3742 | 2657696.697 | 1228117.3742 | 2657695.2444 | 1228131.2022 | 2657695.2344 | 1228131.267
29 | 2657691.6628 | 1228154.3363 | 2657695.2344 | 1228131.267
30 | 2657696.697 | 1228117.3742 | 2657699.4476 | 1228103.435
31 | 2657700.0956 | 1228100.1514 | 2657699.4476 | 1228103.435
32 | 2657873.9653 | 1228131.6814 | 2657700.0956 | 1228100.1514
33 | 2657894.2692 | 1228054.5527 | 2657886.3175 | 1228087.5409 | 2657882.022 | 1228105.3549 | 2657874.4265 | 1228129.7966 | 2657873.9653 | 1228131.6814
34 | 2657700.0956 | 1228100.1514 | 2657701.4195 | 1228093.4423
35 | 2657701.4195 | 1228093.4423 | 2657703.2066 | 1228084.3862
36 | 2657766.0745 | 1227858.7899 | 2657775.1211 | 1227826.4935
37 | 2657758.8026 | 1227884.7507 | 2657766.0745 | 1227858.7899
38 | 2657758.8026 | 1227884.7507 | 2657802.0809 | 1227890.808 | 2657809.6542 | 1227891.2653
39 | 2657758.8026 | 1227884.7507 | 2657739.8231 | 1227881.7171
40 | 2657809.6542 | 1227891.2653 | 2657838.2888 | 1227892.9945 | 2657846.5643 | 1227892.8805
41 | 2657739.8231 | 1227881.7171 | 2657706.8712 | 1227876.4502
42 | 2657852.3338 | 1227892.8011 | 2657846.5643 | 1227892.8805
43 | 2657706.8712 | 1227876.4502 | 2657419.9962 | 1227566.6036
44 | 2657925.615 | 1227896.8462 | 2657906.4091 | 1227894.1353 | 2657863.8443 | 1227892.6426 | 2657852.3338 | 1227892.8011

## bus_geodata
| x | y | coords
0 | 2658007.9515 | 1228153.0204
1 | 2658004.1866 | 1228113.5141
2 | 2658007.1503 | 1228158.3375
3 | 2658003.8572 | 1228082.3486
4 | 2658001.5866 | 1228187.5172
5 | 2657942.9433 | 1228066.8992
6 | 2658112.0355 | 1228071.359
7 | 2657996.9006 | 1228212.0937
8 | 2657942.3413 | 1228066.7466
9 | 2658115.5527 | 1227982.7636
10 | 2658220.6132 | 1228130.1406
11 | 2657990.0337 | 1228248.1084
12 | 2658034.9494 | 1228252.8387
13 | 2658058.3327 | 1228255.3012
14 | 2657966.4006 | 1228243.3461
15 | 2657936.1101 | 1228236.8094
16 | 2657923.2069 | 1228216.7434
17 | 2657856.6626 | 1228263.4924
18 | 2657905.8342 | 1228291.7609
19 | 2658133.108 | 1227967.2272
20 | 2658127.5863 | 1227886.1929
21 | 2658138.0442 | 1227843.0981
22 | 2658091.606 | 1227883.5889
23 | 2658098.0231 | 1227857.5727
24 | 2658108.0099 | 1227817.0844
25 | 2658016.8687 | 1227802.5749
26 | 2657978.4407 | 1227793.3168
27 | 2657695.2344 | 1228131.267
28 | 2657696.697 | 1228117.3742
29 | 2657691.6628 | 1228154.3363
30 | 2657699.4477 | 1228103.435
31 | 2657873.9653 | 1228131.6814
32 | 2657700.0956 | 1228100.1514
33 | 2657894.2692 | 1228054.5527
34 | 2657701.4195 | 1228093.4423
35 | 2657703.2066 | 1228084.3862
36 | 2657766.0745 | 1227858.7899
37 | 2657775.1211 | 1227826.4935
38 | 2657758.8026 | 1227884.7507
39 | 2657809.6542 | 1227891.2653
40 | 2657739.8231 | 1227881.7171
41 | 2657846.5643 | 1227892.8805
42 | 2657706.8712 | 1227876.4502
43 | 2657852.3338 | 1227892.8011
44 | 2657419.9962 | 1227566.6036
45 | 2657925.615 | 1227896.8462
46 | 2658003.8572 | 1228082.3486

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## res_bus
| vm_pu | va_degree | p_mw | q_mvar
0 | 0.99539 | -0.031799 | 0.0050004 | 0.0012532
1 | 1 | 0 | -0.23974 | -0.060386
2 | 0.9948 | -0.035919 | 0.017923 | 0.004492
3 | 0.99824 | -0.012193 | 0 | 0
4 | 0.9919 | -0.056051 | 0.00059251 | 0.0001485
5 | 0.99692 | -0.021422 | 0.00052773 | 0.00013226
6 | 0.99324 | -0.046981 | 0.016776 | 0.0042044
7 | 0.98947 | -0.073022 | 0.0028319 | 0.00070974
8 | 0.99691 | -0.02151 | 0.00010787 | 2.7035e-05
9 | 0.98999 | -0.06974 | 0 | 0
10 | 0.99279 | -0.050173 | 0.0025488 | 0.0006388
11 | 0.98599 | -0.09751 | 0 | 0
12 | 0.9855 | -0.10097 | 0.0040048 | 0.0010037
13 | 0.98538 | -0.1018 | 0.0034461 | 0.00086367
14 | 0.98383 | -0.11278 | 0.0042475 | 0.0010645
15 | 0.98114 | -0.13182 | 0.026332 | 0.0065995
16 | 0.97758 | -0.15723 | 0.080311 | 0.020128
17 | 0.97562 | -0.17132 | 0.0039421 | 0.00098799
18 | 0.97493 | -0.17624 | 0.0082558 | 0.0020691
19 | 0.9892 | -0.075264 | 0.00011862 | 2.9729e-05
20 | 0.9866 | -0.093566 | 0.0010908 | 0.00027337
21 | 0.98605 | -0.097484 | 0.0086101 | 0.0021579
22 | 0.98457 | -0.10792 | 0 | 0
23 | 0.98323 | -0.11741 | 0.0055086 | 0.0013806
24 | 0.98148 | -0.12985 | 0.00066256 | 0.00016605
25 | 0.9777 | -0.15688 | 0.017587 | 0.0044076
26 | 0.97709 | -0.16124 | 0 | 0
27 | 0.99135 | -0.06063 | 0.0043918 | 0.0011007
28 | 0.99145 | -0.059928 | 0.00042391 | 0.00010624
29 | 0.99133 | -0.060762 | 0.00055707 | 0.00013962
30 | 0.99156 | -0.059152 | 0.0025636 | 0.00064249
31 | 0.99431 | -0.039745 | 0.003284 | 0.00082305
32 | 0.9916 | -0.058882 | 0.00077269 | 0.00019365
33 | 0.99591 | -0.02849 | 0 | 0
34 | 0.99158 | -0.059019 | 0.00088917 | 0.00022285
35 | 0.99157 | -0.059121 | 0.0010853 | 0.00027201
36 | 0.97295 | -0.19115 | 0.00064525 | 0.00016171
37 | 0.97287 | -0.19168 | 0.0015194 | 0.0003808
38 | 0.97303 | -0.19053 | 0 | 0
39 | 0.97359 | -0.18652 | 0.0019826 | 0.00049689
40 | 0.97289 | -0.19159 | 0.0012002 | 0.00030079
41 | 0.97409 | -0.18286 | 0.00044754 | 0.00011216
42 | 0.97269 | -0.19302 | 0.0036405 | 0.00091239
43 | 0.97418 | -0.18226 | 0.0006989 | 0.00017516
44 | 0.97246 | -0.19473 | 0.00036514 | 9.1512e-05
45 | 0.97531 | -0.17411 | 0 | 0
46 | 0.99998 | 149.9947 | 0 | 0

## res_line
| p_from_mw | q_from_mvar | p_to_mw | q_to_mvar | pl_mw | ql_mvar | i_from_ka | i_to_ka | i_ka | vm_from_pu | va_from_degree | vm_to_pu | va_to_degree | loading_percent
0 | -0.15907 | -0.040153 | 0.15979 | 0.040426 | 0.00071363 | 0.00027342 | 0.2379 | 0.2379 | 0.2379 | 0.99539 | -0.031799 | 1 | 0 | 44.0552
1 | 0.15407 | 0.0389 | -0.15398 | -0.038865 | 8.9137e-05 | 3.4144e-05 | 0.23042 | 0.23042 | 0.23042 | 0.99539 | -0.031799 | 0.9948 | -0.035919 | 42.6709
2 | 0.07915 | 0.01996 | -0.079014 | -0.019909 | 0.00013505 | 5.1124e-05 | 0.11782 | 0.11782 | 0.11782 | 1 | 0 | 0.99824 | -0.012193 | 21.8184
3 | 0.13606 | 0.034373 | -0.13568 | -0.034226 | 0.00038424 | 0.00014702 | 0.20361 | 0.20361 | 0.20361 | 0.9948 | -0.035919 | 0.9919 | -0.056051 | 37.7063
4 | 0.014687 | 0.0036866 | -0.014669 | -0.0036802 | 1.88e-05 | 6.4102e-06 | 0.021896 | 0.021896 | 0.021896 | 0.99824 | -0.012193 | 0.99692 | -0.021422 | 8.1096
5 | 0.064327 | 0.016222 | -0.064015 | -0.016105 | 0.00031216 | 0.00011723 | 0.095924 | 0.095925 | 0.095925 | 0.99824 | -0.012193 | 0.99324 | -0.046981 | 17.7639
6 | 0.13508 | 0.034078 | -0.13476 | -0.033955 | 0.00032081 | 0.00012274 | 0.20273 | 0.20273 | 0.20273 | 0.9919 | -0.056051 | 0.98947 | -0.073022 | 37.5417
7 | 0.014141 | 0.0035479 | -0.014141 | -0.0035478 | 1.7266e-07 | 5.8311e-08 | 0.021108 | 0.021108 | 0.021108 | 0.99692 | -0.021422 | 0.99691 | -0.02151 | 7.8178
8 | 0.044689 | 0.011263 | -0.044547 | -0.011211 | 0.00014196 | 5.1983e-05 | 0.066973 | 0.066974 | 0.066974 | 0.99324 | -0.046981 | 0.98999 | -0.06974 | 12.4026
9 | 0.00255 | 0.00063763 | -0.0025488 | -0.0006388 | 1.1242e-06 | -1.1649e-06 | 0.0038197 | 0.0038202 | 0.0038202 | 0.99324 | -0.046981 | 0.99279 | -0.050173 | 1.4149
10 | 0.13193 | 0.033245 | -0.13148 | -0.033073 | 0.00045057 | 0.00017236 | 0.19847 | 0.19847 | 0.19847 | 0.98947 | -0.073022 | 0.98599 | -0.09751 | 36.7531
11 | 0.014033 | 0.0035208 | -0.014019 | -0.0035162 | 1.3579e-05 | 4.5767e-06 | 0.020947 | 0.020947 | 0.020947 | 0.99691 | -0.02151 | 0.99591 | -0.02849 | 7.7583
12 | 0.044547 | 0.011211 | -0.044513 | -0.011199 | 3.433e-05 | 1.2574e-05 | 0.066974 | 0.066974 | 0.066974 | 0.98999 | -0.06974 | 0.9892 | -0.075264 | 12.4026
13 | 0.12402 | 0.031205 | -0.12376 | -0.031104 | 0.00026364 | 0.00010079 | 0.18722 | 0.18722 | 0.18722 | 0.98599 | -0.09751 | 0.98383 | -0.11278 | 34.6698
14 | 0.0074548 | 0.001868 | -0.0074513 | -0.0018672 | 3.5672e-06 | 7.9624e-07 | 0.01125 | 0.011251 | 0.011251 | 0.98599 | -0.09751 | 0.9855 | -0.10097 | 4.1669
15 | 0.0034465 | 0.00086353 | -0.0034461 | -0.00086367 | 3.9732e-07 | -1.4674e-07 | 0.0052038 | 0.0052039 | 0.0052039 | 0.9855 | -0.10097 | 0.98538 | -0.1018 | 1.9274
16 | 0.11951 | 0.03004 | -0.1192 | -0.029919 | 0.00031604 | 0.00012077 | 0.18079 | 0.18079 | 0.18079 | 0.98383 | -0.11278 | 0.98114 | -0.13182 | 33.4802
17 | 0.092865 | 0.02332 | -0.092538 | -0.023194 | 0.00032678 | 0.00012535 | 0.14086 | 0.14086 | 0.14086 | 0.98114 | -0.13182 | 0.97758 | -0.15723 | 52.1694
18 | 0.012227 | 0.0030663 | -0.012204 | -0.0030586 | 2.3839e-05 | 7.789e-06 | 0.018613 | 0.018613 | 0.018613 | 0.97758 | -0.15723 | 0.97562 | -0.17132 | 6.8937
19 | 0.0082615 | 0.0020706 | -0.0082558 | -0.0020691 | 5.6194e-06 | 1.4535e-06 | 0.0126 | 0.012601 | 0.012601 | 0.97562 | -0.17132 | 0.97493 | -0.17624 | 4.6669
20 | 0.044394 | 0.011169 | -0.044281 | -0.011127 | 0.00011307 | 4.1407e-05 | 0.066796 | 0.066796 | 0.066796 | 0.9892 | -0.075264 | 0.9866 | -0.093566 | 12.3697
21 | 0.0086148 | 0.0021591 | -0.0086101 | -0.0021579 | 4.6716e-06 | 1.2308e-06 | 0.012993 | 0.012993 | 0.012993 | 0.9866 | -0.093566 | 0.98605 | -0.097484 | 4.8123
22 | 0.034576 | 0.0086949 | -0.034507 | -0.0086689 | 6.9028e-05 | 2.6031e-05 | 0.052158 | 0.052158 | 0.052158 | 0.9866 | -0.093566 | 0.98457 | -0.10792 | 19.3179
23 | 0.034507 | 0.0086689 | -0.034461 | -0.0086517 | 4.5489e-05 | 1.7155e-05 | 0.052158 | 0.052159 | 0.052159 | 0.98457 | -0.10792 | 0.98323 | -0.11741 | 19.318
24 | 0.028953 | 0.0072711 | -0.028903 | -0.0072525 | 4.9971e-05 | 1.8692e-05 | 0.043822 | 0.043822 | 0.043822 | 0.98323 | -0.11741 | 0.98148 | -0.12985 | 16.2304
25 | 0.02824 | 0.0070864 | -0.028134 | -0.007047 | 0.00010558 | 3.9446e-05 | 0.042818 | 0.042818 | 0.042818 | 0.98148 | -0.12985 | 0.9777 | -0.15688 | 15.8585
26 | 0.010548 | 0.0026394 | -0.010542 | -0.0026374 | 6.3378e-06 | 1.9436e-06 | 0.016052 | 0.016052 | 0.016052 | 0.9777 | -0.15688 | 0.97709 | -0.16124 | 5.9452
27 | 0.010542 | 0.0026374 | -0.010523 | -0.0026317 | 1.8688e-05 | 5.7348e-06 | 0.016052 | 0.016053 | 0.016053 | 0.97709 | -0.16124 | 0.97531 | -0.17411 | 5.9454
28 | -0.0049489 | -0.00124 | 0.0049494 | 0.00124 | 4.8099e-07 | 4.8601e-09 | 0.0074282 | 0.0074281 | 0.0074282 | 0.99135 | -0.06063 | 0.99145 | -0.059928 | 2.7512
29 | 0.00055708 | 0.00013932 | -0.00055707 | -0.00013962 | 1.0184e-08 | -2.9706e-07 | 0.00083607 | 0.00083618 | 0.00083618 | 0.99135 | -0.06063 | 0.99133 | -0.060762 | 0.3097
30 | -0.0053733 | -0.0013463 | 0.0053739 | 0.0013463 | 5.7657e-07 | 3.8512e-08 | 0.0080643 | 0.0080643 | 0.0080643 | 0.99145 | -0.059928 | 0.99156 | -0.059152 | 2.9868
31 | -0.0079374 | -0.0019888 | 0.0079377 | 0.0019889 | 2.9631e-07 | 7.0794e-08 | 0.011911 | 0.011911 | 0.011911 | 0.99156 | -0.059152 | 0.9916 | -0.058882 | 4.4116
32 | 0.010713 | 0.0026858 | -0.010685 | -0.0026772 | 2.8346e-05 | 8.6165e-06 | 0.016033 | 0.016034 | 0.016034 | 0.99431 | -0.039745 | 0.9916 | -0.058882 | 5.9385
33 | -0.013997 | -0.0035089 | 0.014019 | 0.0035162 | 2.1848e-05 | 7.3665e-06 | 0.020948 | 0.020947 | 0.020948 | 0.99431 | -0.039745 | 0.99591 | -0.02849 | 7.7584
34 | 0.0019746 | 0.00049467 | -0.0019745 | -0.00049474 | 3.7464e-08 | -7.3805e-08 | 0.002963 | 0.002963 | 0.002963 | 0.9916 | -0.058882 | 0.99158 | -0.059019 | 1.0974
35 | 0.0010853 | 0.0002719 | -0.0010853 | -0.00027201 | 1.5279e-08 | -1.1319e-07 | 0.0016287 | 0.0016287 | 0.0016287 | 0.99158 | -0.059019 | 0.99157 | -0.059121 | 0.60323
36 | 0.0015195 | 0.00038043 | -0.0015194 | -0.0003808 | 1.1303e-07 | -3.7303e-07 | 0.0023238 | 0.002324 | 0.002324 | 0.97295 | -0.19115 | 0.97287 | -0.19168 | 0.86073
37 | -0.0021648 | -0.00054215 | 0.002165 | 0.00054188 | 1.8438e-07 | -2.6393e-07 | 0.0033107 | 0.0033105 | 0.0033107 | 0.97295 | -0.19115 | 0.97303 | -0.19053 | 1.2262
38 | -0.0073724 | -0.0018413 | 0.0073765 | 0.0018422 | 4.0662e-06 | 9.265e-07 | 0.011272 | 0.011272 | 0.011272 | 0.97303 | -0.19053 | 0.97359 | -0.18652 | 4.1748
39 | 0.0052074 | 0.0012994 | -0.0052067 | -0.0012994 | 7.6021e-07 | 5.3684e-08 | 0.0079614 | 0.0079615 | 0.0079615 | 0.97303 | -0.19053 | 0.97289 | -0.19159 | 2.9487
40 | -0.0093591 | -0.0023391 | 0.0093638 | 0.0023405 | 4.7178e-06 | 1.3546e-06 | 0.014302 | 0.014302 | 0.014302 | 0.97359 | -0.18652 | 0.97409 | -0.18286 | 5.297
41 | 0.0040065 | 0.00099858 | -0.0040057 | -0.00099869 | 7.8143e-07 | -1.1374e-07 | 0.0061259 | 0.006126 | 0.006126 | 0.97289 | -0.19159 | 0.97269 | -0.19302 | 2.2689
42 | -0.0098113 | -0.0024526 | 0.0098121 | 0.0024529 | 8.0855e-07 | 2.3915e-07 | 0.014985 | 0.014985 | 0.014985 | 0.97409 | -0.18286 | 0.97418 | -0.18226 | 5.5502
43 | 0.00036522 | 8.6304e-05 | -0.00036514 | -9.1512e-05 | 8.1978e-08 | -5.2085e-06 | 0.00055688 | 0.00055872 | 0.00055872 | 0.97269 | -0.19302 | 0.97246 | -0.19473 | 0.20693
44 | -0.010511 | -0.002628 | 0.010523 | 0.0026317 | 1.1819e-05 | 3.6295e-06 | 0.016053 | 0.016053 | 0.016053 | 0.97418 | -0.18226 | 0.97531 | -0.17411 | 5.9455

## res_trafo
| p_hv_mw | q_hv_mvar | p_lv_mw | q_lv_mvar | pl_mw | ql_mvar | i_hv_ka | i_lv_ka | vm_hv_pu | va_hv_degree | vm_lv_pu | va_lv_degree | loading_percent
0 | 2.5187e-16 | 8.8016e-16 | 0.00079998 | 7.4552e-08 | 0.00079998 | 7.4552e-08 | 2.6429e-17 | 0.0011547 | 0.99998 | 149.9947 | 1 | 0 | 0.31999

## res_ext_grid
| p_mw | q_mvar
0 | 0.24176 | 0.060894

## res_load
| p_mw | q_mvar
0 | 0.0050004 | 0.0012532
1 | 0.0020268 | 0.00050795
2 | 0.017923 | 0.004492
3 | 0.00059251 | 0.0001485
4 | 0.00052773 | 0.00013226
5 | 0.016776 | 0.0042044
6 | 0.0028319 | 0.00070974
7 | 0.00010787 | 2.7035e-05
8 | 0.0025488 | 0.0006388
9 | 0.0040048 | 0.0010037
10 | 0.0034461 | 0.00086367
11 | 0.0042475 | 0.0010645
12 | 0.026332 | 0.0065995
13 | 0.080311 | 0.020128
14 | 0.0039421 | 0.00098799
15 | 0.0082558 | 0.0020691
16 | 0.00011862 | 2.9729e-05
17 | 0.0010908 | 0.00027337
18 | 0.0086101 | 0.0021579
19 | 0.0055086 | 0.0013806
20 | 0.00066256 | 0.00016605
21 | 0.017587 | 0.0044076
22 | 0.0043918 | 0.0011007
23 | 0.00042391 | 0.00010624
24 | 0.00055707 | 0.00013962
25 | 0.0025636 | 0.00064249
26 | 0.003284 | 0.00082305
27 | 0.00077269 | 0.00019365
28 | 0.00088917 | 0.00022285
29 | 0.0010853 | 0.00027201
30 | 0.00064525 | 0.00016171
31 | 0.0015194 | 0.0003808
32 | 0.0019826 | 0.00049689
33 | 0.0012002 | 0.00030079
34 | 0.00044754 | 0.00011216
35 | 0.0036405 | 0.00091239
36 | 0.0006989 | 0.00017516
37 | 0.00036514 | 9.1512e-05

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object
62 | res_bus | vm_pu | float64
63 | res_bus | va_degree | float64
64 | res_bus | p_mw | float64
65 | res_bus | q_mvar | float64
66 | res_line | p_from_mw | float64
67 | res_line | q_from_mvar | float64
68 | res_line | p_to_mw | float64
69 | res_line | q_to_mvar | float64
70 | res_line | pl_mw | float64
71 | res_line | ql_mvar | float64
72 | res_line | i_from_ka | float64
73 | res_line | i_to_ka | float64
74 | res_line | i_ka | float64
75 | res_line | vm_from_pu | float64
76 | res_line | va_from_degree | float64
77 | res_line | vm_to_pu | float64
78 | res_line | va_to_degree | float64
79 | res_line | loading_percent | float64
80 | res_trafo | p_hv_mw | float64
81 | res_trafo | q_hv_mvar | float64
82 | res_trafo | p_lv_mw | float64
83 | res_trafo | q_lv_mvar | float64
84 | res_trafo | pl_mw | float64
85 | res_trafo | ql_mvar | float64
86 | res_trafo | i_hv_ka | float64
87 | res_trafo | i_lv_ka | float64
88 | res_trafo | vm_hv_pu | float64
89 | res_trafo | va_hv_degree | float64
90 | res_trafo | vm_lv_pu | float64
91 | res_trafo | va_lv_degree | float64
92 | res_trafo | loading_percent | float64
93 | res_ext_grid | p_mw | float64
94 | res_ext_grid | q_mvar | float64
95 | res_load | p_mw | float64
96 | res_load | q_mvar | float64

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | TRUE | FALSE |  | 50 | 1