## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_1081-14_0_1_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_1081-14_0_1_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_1081-14_0_1_node_2 | 0.4 | n |  | TRUE
3 | bus_LV_1081-14_0_1_node_4 | 0.4 | n |  | TRUE
4 | bus_LV_1081-14_0_1_node_6 | 0.4 | n |  | TRUE
5 | bus_LV_1081-14_0_1_node_3 | 0.4 | n |  | TRUE
6 | bus_LV_1081-14_0_1_node_57 | 0.4 | n |  | TRUE
7 | bus_LV_1081-14_0_1_node_55 | 0.4 | n |  | TRUE
8 | bus_LV_1081-14_0_1_node_162 | 0.4 | n |  | TRUE
9 | bus_LV_1081-14_0_1_node_5 | 0.4 | n |  | TRUE
10 | bus_LV_1081-14_0_1_node_10 | 0.4 | n |  | TRUE
11 | bus_LV_1081-14_0_1_node_8 | 0.4 | n |  | TRUE
12 | bus_LV_1081-14_0_1_node_7 | 0.4 | n |  | TRUE
13 | bus_LV_1081-14_0_1_node_9 | 0.4 | n |  | TRUE
14 | bus_LV_1081-14_0_1_node_23 | 0.4 | n |  | TRUE
15 | bus_LV_1081-14_0_1_node_62 | 0.4 | n |  | TRUE
16 | bus_LV_1081-14_0_1_node_11 | 0.4 | n |  | TRUE
17 | bus_LV_1081-14_0_1_node_12 | 0.4 | n |  | TRUE
18 | bus_LV_1081-14_0_1_node_13 | 0.4 | n |  | TRUE
19 | bus_LV_1081-14_0_1_node_14 | 0.4 | n |  | TRUE
20 | bus_LV_1081-14_0_1_node_15 | 0.4 | n |  | TRUE
21 | bus_LV_1081-14_0_1_node_16 | 0.4 | n |  | TRUE
22 | bus_LV_1081-14_0_1_node_17 | 0.4 | n |  | TRUE
23 | bus_LV_1081-14_0_1_node_34 | 0.4 | n |  | TRUE
24 | bus_LV_1081-14_0_1_node_35 | 0.4 | n |  | TRUE
25 | bus_LV_1081-14_0_1_node_44 | 0.4 | n |  | TRUE
26 | bus_LV_1081-14_0_1_node_18 | 0.4 | n |  | TRUE
27 | bus_LV_1081-14_0_1_node_19 | 0.4 | n |  | TRUE
28 | bus_LV_1081-14_0_1_node_20 | 0.4 | n |  | TRUE
29 | bus_LV_1081-14_0_1_node_21 | 0.4 | n |  | TRUE
30 | bus_LV_1081-14_0_1_node_22 | 0.4 | n |  | TRUE
31 | bus_LV_1081-14_0_1_node_32 | 0.4 | n |  | TRUE
32 | bus_LV_1081-14_0_1_node_56 | 0.4 | n |  | TRUE
33 | bus_LV_1081-14_0_1_node_24 | 0.4 | n |  | TRUE
34 | bus_LV_1081-14_0_1_node_25 | 0.4 | n |  | TRUE
35 | bus_LV_1081-14_0_1_node_27 | 0.4 | n |  | TRUE
36 | bus_LV_1081-14_0_1_node_29 | 0.4 | n |  | TRUE
37 | bus_LV_1081-14_0_1_node_33 | 0.4 | n |  | TRUE
38 | bus_LV_1081-14_0_1_node_36 | 0.4 | n |  | TRUE
39 | bus_LV_1081-14_0_1_node_37 | 0.4 | n |  | TRUE
40 | bus_LV_1081-14_0_1_node_38 | 0.4 | n |  | TRUE
41 | bus_LV_1081-14_0_1_node_45 | 0.4 | n |  | TRUE
42 | bus_LV_1081-14_0_1_node_67 | 0.4 | n |  | TRUE
43 | bus_LV_1081-14_0_1_node_40 | 0.4 | n |  | TRUE
44 | bus_LV_1081-14_0_1_node_39 | 0.4 | n |  | TRUE
45 | bus_LV_1081-14_0_1_node_41 | 0.4 | n |  | TRUE
46 | bus_LV_1081-14_0_1_node_42 | 0.4 | n |  | TRUE
47 | bus_LV_1081-14_0_1_node_43 | 0.4 | n |  | TRUE
48 | bus_LV_1081-14_0_1_node_63 | 0.4 | n |  | TRUE
49 | bus_LV_1081-14_0_1_node_61 | 0.4 | n |  | TRUE
50 | bus_LV_1081-14_0_1_node_46 | 0.4 | n |  | TRUE
51 | bus_LV_1081-14_0_1_node_47 | 0.4 | n |  | TRUE
52 | bus_LV_1081-14_0_1_node_49 | 0.4 | n |  | TRUE
53 | bus_LV_1081-14_0_1_node_51 | 0.4 | n |  | TRUE
54 | bus_LV_1081-14_0_1_node_68 | 0.4 | n |  | TRUE
55 | bus_LV_1081-14_0_1_node_52 | 0.4 | n |  | TRUE
56 | bus_LV_1081-14_0_1_node_59 | 0.4 | n |  | TRUE
57 | bus_LV_1081-14_0_1_node_53 | 0.4 | n |  | TRUE
58 | bus_LV_1081-14_0_1_node_54 | 0.4 | n |  | TRUE
59 | bus_LV_1081-14_0_1_node_60 | 0.4 | n |  | TRUE
60 | bus_LV_1081-14_0_1_node_65 | 0.4 | n |  | TRUE
61 | bus_LV_1081-14_0_1_node_69 | 0.4 | n |  | TRUE
62 | bus_LV_1081-14_0_1_node_64 | 0.4 | n |  | TRUE
63 | bus_LV_1081-14_0_1_node_66 | 0.4 | n |  | TRUE
64 | bus_LV_1081-14_0_1_node_160 | 0.4 | n |  | TRUE
65 | bus_LV_1081-14_0_1_node_161 | 0.4 | n |  | TRUE
66 | bus_MV_0_node_64 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_1081-14_0_1_load_0 | 0 | 0.00013539 | 3.3933e-05 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_1081-14_0_1_load_57 | 6 | 0.00014856 | 3.7234e-05 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_1081-14_0_1_load_55 | 7 | 6.0782e-05 | 1.5233e-05 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_1081-14_0_1_load_162 | 8 | 6.4182e-05 | 1.6085e-05 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_1081-14_0_1_load_8 | 11 | 0.0013376 | 0.00033523 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_1081-14_0_1_load_7 | 12 | 0.00011485 | 2.8784e-05 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_1081-14_0_1_load_62 | 15 | 0.00029379 | 7.3631e-05 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_1081-14_0_1_load_11 | 16 | 0.00060835 | 0.00015247 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_1081-14_0_1_load_12 | 17 | 0.00060393 | 0.00015136 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_1081-14_0_1_load_13 | 18 | 0.00037982 | 9.5191e-05 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_1081-14_0_1_load_14 | 19 | 0.001164 | 0.00029173 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_1081-14_0_1_load_15 | 20 | 0.00049995 | 0.0001253 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_1081-14_0_1_load_44 | 25 | 0.00090719 | 0.00022736 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_1081-14_0_1_load_18 | 26 | 0.00019539 | 4.8968e-05 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_1081-14_0_1_load_19 | 27 | 0.00056605 | 0.00014187 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_1081-14_0_1_load_21 | 29 | 0.00046445 | 0.0001164 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_1081-14_0_1_load_56 | 32 | 0.00095762 | 0.00024 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_1081-14_0_1_load_24 | 33 | 0.00090143 | 0.00022592 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_1081-14_0_1_load_25 | 34 | 0.00049516 | 0.0001241 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_1081-14_0_1_load_27 | 35 | 0.0004256 | 0.00010667 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_1081-14_0_1_load_33 | 37 | 0.00015088 | 3.7813e-05 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_1081-14_0_1_load_37 | 39 | 0.00044643 | 0.00011189 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_1081-14_0_1_load_38 | 40 | 0.00034133 | 8.5546e-05 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_1081-14_0_1_load_45 | 41 | 0.00021047 | 5.2748e-05 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_1081-14_0_1_load_67 | 42 | 0.00031409 | 7.872e-05 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_1081-14_0_1_load_40 | 43 | 0.0004276 | 0.00010717 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_1081-14_0_1_load_39 | 44 | 0.0015717 | 0.00039391 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_1081-14_0_1_load_41 | 45 | 0.0014996 | 0.00037584 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_1081-14_0_1_load_42 | 46 | 0.00022967 | 5.7562e-05 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_1081-14_0_1_load_43 | 47 | 0.00018287 | 4.5832e-05 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_1081-14_0_1_load_63 | 48 | 0.00011775 | 2.9511e-05 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_1081-14_0_1_load_46 | 50 | 0.0002524 | 6.3258e-05 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_1081-14_0_1_load_47 | 51 | 0.00046103 | 0.00011555 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_1081-14_0_1_load_49 | 52 | 0.00020329 | 5.095e-05 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_1081-14_0_1_load_51 | 53 | 0.00015578 | 3.9041e-05 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_1081-14_0_1_load_68 | 54 | 0.00030108 | 7.5458e-05 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_1081-14_0_1_load_52 | 55 | 0.0012693 | 0.00031812 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_1081-14_0_1_load_59 | 56 | 0.0010837 | 0.0002716 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_1081-14_0_1_load_53 | 57 | 0.00044805 | 0.00011229 | 0 | 0 |  | 1 | TRUE | wye
39 | LV_1081-14_0_1_load_54 | 58 | 5.3667e-05 | 1.345e-05 | 0 | 0 |  | 1 | TRUE | wye
40 | LV_1081-14_0_1_load_60 | 59 | 0.00014737 | 3.6933e-05 | 0 | 0 |  | 1 | TRUE | wye
41 | LV_1081-14_0_1_load_65 | 60 | 0.0016629 | 0.00041676 | 0 | 0 |  | 1 | TRUE | wye
42 | LV_1081-14_0_1_load_69 | 61 | 0.00018295 | 4.5851e-05 | 0 | 0 |  | 1 | TRUE | wye
43 | LV_1081-14_0_1_load_66 | 63 | 0.000269 | 6.7417e-05 | 0 | 0 |  | 1 | TRUE | wye
44 | LV_1081-14_0_1_load_160 | 64 | 8.9988e-05 | 2.2553e-05 | 0 | 0 |  | 1 | TRUE | wye
45 | LV_1081-14_0_1_load_161 | 65 | 0.00044553 | 0.00011166 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 62 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_1081-14_0_1_line_0 | NAYY 4x150 SE | 0 | 1 | 0.0059735 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
1 | LV_1081-14_0_1_line_1 | NAYY 4x150 SE | 0 | 2 | 0.017958 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
2 | LV_1081-14_0_1_line_2 | NAYY 4x150 SE | 1 | 3 | 0.37285 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
3 | LV_1081-14_0_1_line_3 | NAYY 4x150 SE | 2 | 4 | 0.040016 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
4 | LV_1081-14_0_1_line_4 | NAYY 4x150 SE | 3 | 8 | 0.013005 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
5 | LV_1081-14_0_1_line_5 | NAYY 4x150 SE | 3 | 5 | 0.13537 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
6 | LV_1081-14_0_1_line_6 | NAYY 4x150 SE | 4 | 11 | 0.049995 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
7 | LV_1081-14_0_1_line_7 | NAYY 4x150 SE | 5 | 6 | 0.054908 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
8 | LV_1081-14_0_1_line_8 | NAYY 4x150 SE | 5 | 7 | 0.083928 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
9 | LV_1081-14_0_1_line_9 | NAYY 4x150 SE | 7 | 57 | 0.040012 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
10 | LV_1081-14_0_1_line_10 | NAYY 4x150 SE | 8 | 65 | 0.0232 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
11 | LV_1081-14_0_1_line_11 | NAYY 4x150 SE | 9 | 10 | 0.37202 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
12 | LV_1081-14_0_1_line_12 | NAYY 4x150 SE | 9 | 11 | 0.027062 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
13 | LV_1081-14_0_1_line_13 | NAYY 4x150 SE | 10 | 15 | 0.052726 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
14 | LV_1081-14_0_1_line_14 | NAYY 4x150 SE | 12 | 13 | 0.020174 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
15 | LV_1081-14_0_1_line_15 | NAYY 4x150 SE | 13 | 14 | 0.01152 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
16 | LV_1081-14_0_1_line_16 | NAYY 4x150 SE | 14 | 32 | 0.033961 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
17 | LV_1081-14_0_1_line_17 | NAYY 4x150 SE | 14 | 28 | 0.079507 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
18 | LV_1081-14_0_1_line_18 | NAYY 4x150 SE | 15 | 61 | 0.0088274 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
19 | LV_1081-14_0_1_line_19 | NAYY 4x150 SE | 16 | 17 | 0.012431 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
20 | LV_1081-14_0_1_line_20 | NAYY 4x150 SE | 16 | 18 | 0.018327 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
21 | LV_1081-14_0_1_line_21 | NAYY 4x150 SE | 17 | 19 | 0.043932 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
22 | LV_1081-14_0_1_line_22 | NAYY 4x150 SE | 18 | 20 | 0.022494 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
23 | LV_1081-14_0_1_line_23 | NAYY 4x150 SE | 19 | 21 | 0.012774 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
24 | LV_1081-14_0_1_line_24 | NAYY 4x150 SE | 20 | 22 | 0.0074839 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
25 | LV_1081-14_0_1_line_25 | NAYY 4x150 SE | 21 | 23 | 0.03139 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
26 | LV_1081-14_0_1_line_26 | NAYY 4x150 SE | 21 | 24 | 0.01624 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
27 | LV_1081-14_0_1_line_27 | NAYY 4x150 SE | 22 | 25 | 0.019557 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
28 | LV_1081-14_0_1_line_28 | NAYY 4x150 SE | 23 | 38 | 0.025543 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
29 | LV_1081-14_0_1_line_29 | NAYY 4x150 SE | 23 | 39 | 0.0056902 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
30 | LV_1081-14_0_1_line_30 | NAYY 4x150 SE | 24 | 40 | 0.0053461 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
31 | LV_1081-14_0_1_line_31 | NAYY 4x150 SE | 26 | 27 | 0.0037886 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
32 | LV_1081-14_0_1_line_32 | NAYY 4x150 SE | 26 | 28 | 0.022658 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
33 | LV_1081-14_0_1_line_33 | NAYY 4x150 SE | 27 | 29 | 0.031264 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
34 | LV_1081-14_0_1_line_34 | NAYY 4x150 SE | 29 | 30 | 0.088291 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
35 | LV_1081-14_0_1_line_35 | NAYY 4x150 SE | 30 | 31 | 0.04395 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
36 | LV_1081-14_0_1_line_36 | NAYY 4x150 SE | 31 | 37 | 0.13922 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
37 | LV_1081-14_0_1_line_37 | NAYY 4x150 SE | 31 | 36 | 0.006622 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
38 | LV_1081-14_0_1_line_38 | NAYY 4x150 SE | 32 | 58 | 0.053521 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
39 | LV_1081-14_0_1_line_39 | NAYY 4x150 SE | 33 | 34 | 0.023478 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
40 | LV_1081-14_0_1_line_40 | NAYY 4x150 SE | 34 | 35 | 0.010492 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
41 | LV_1081-14_0_1_line_41 | NAYY 4x150 SE | 35 | 36 | 0.064614 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
42 | LV_1081-14_0_1_line_42 | NAYY 4x150 SE | 38 | 41 | 0.028071 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
43 | LV_1081-14_0_1_line_43 | NAYY 4x150 SE | 39 | 42 | 0.0062034 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
44 | LV_1081-14_0_1_line_44 | NAYY 4x150 SE | 40 | 43 | 0.022543 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
45 | LV_1081-14_0_1_line_45 | NAYY 4x150 SE | 41 | 49 | 0.046988 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
46 | LV_1081-14_0_1_line_46 | NAYY 4x150 SE | 42 | 54 | 0.0023777 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
47 | LV_1081-14_0_1_line_47 | NAYY 4x150 SE | 43 | 44 | 0.030728 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
48 | LV_1081-14_0_1_line_48 | NAYY 4x150 SE | 44 | 45 | 0.01658 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
49 | LV_1081-14_0_1_line_49 | NAYY 4x150 SE | 45 | 46 | 0.0044472 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
50 | LV_1081-14_0_1_line_50 | NAYY 4x150 SE | 46 | 47 | 0.011374 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
51 | LV_1081-14_0_1_line_51 | NAYY 4x150 SE | 47 | 48 | 0.018816 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
52 | LV_1081-14_0_1_line_52 | NAYY 4x150 SE | 48 | 62 | 0.18004 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
53 | LV_1081-14_0_1_line_53 | NAYY 4x150 SE | 49 | 60 | 0.018756 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
54 | LV_1081-14_0_1_line_54 | NAYY 4x150 SE | 49 | 59 | 0.030406 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
55 | LV_1081-14_0_1_line_55 | NAYY 4x150 SE | 50 | 51 | 0.068895 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
56 | LV_1081-14_0_1_line_56 | NAYY 4x150 SE | 51 | 52 | 0.0090384 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
57 | LV_1081-14_0_1_line_57 | NAYY 4x150 SE | 52 | 53 | 0.01108 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
58 | LV_1081-14_0_1_line_58 | NAYY 4x150 SE | 53 | 54 | 0.015591 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
59 | LV_1081-14_0_1_line_59 | NAYY 4x150 SE | 55 | 56 | 0.038914 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
60 | LV_1081-14_0_1_line_60 | NAYY 4x150 SE | 56 | 59 | 0.017762 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
61 | LV_1081-14_0_1_line_61 | NAYY 4x150 SE | 57 | 58 | 0.012459 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
62 | LV_1081-14_0_1_line_62 | NAYY 4x150 SE | 60 | 63 | 0.0030728 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
63 | LV_1081-14_0_1_line_63 | NAYY 4x150 SE | 61 | 63 | 0.036299 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
64 | LV_1081-14_0_1_line_64 | NAYY 4x150 SE | 64 | 65 | 0.00044972 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_1081-14_0_1_trafo_64 | 0.25 MVA 20/0.4 kV | 66 | 62 | 0.25 | 20 | 0.4 | 6 | 1.44 | 0.8 | 0.32 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6 | x7 | y7 | x8 | y8 | x9 | y9
0 | 2657603.9363 | 1230146.0055 | 2657603.5968 | 1230151.9693
1 | 2657601.4032 | 1230169.7851 | 2657603.4251 | 1230154.9841 | 2657603.5968 | 1230151.9693
2 | 2657472.1096 | 1229804.4562 | 2657474.1965 | 1229816.6175 | 2657483.2992 | 1229829.4358 | 2657494.5715 | 1229846.6447 | 2657514.0578 | 1229876.8968 | 2657555.9179 | 1229943.4665 | 2657574.3429 | 1229982.3474 | 2657581.6203 | 1230006.0442 | 2657601.0993 | 1230118.2713 | 2657603.9363 | 1230146.0055
3 | 2657593.2746 | 1230208.9649 | 2657601.4032 | 1230169.7851
4 | 2657472.1096 | 1229804.4562 | 2657477.6095 | 1229792.6719
5 | 2657429.3337 | 1229926.6325 | 2657459.9779 | 1229880.8769 | 2657465.2844 | 1229866.3632 | 2657466.7074 | 1229860.2175 | 2657467.1701 | 1229853.0952 | 2657465.3579 | 1229836.0334 | 2657466.9056 | 1229827.1649 | 2657469.1993 | 1229822.6286 | 2657474.1965 | 1229816.6175 | 2657472.1096 | 1229804.4562
6 | 2657593.2746 | 1230208.9649 | 2657584.8381 | 1230210.3508 | 2657575.6449 | 1230220.2459 | 2657570.8227 | 1230247.7659
7 | 2657390.5387 | 1229887.6666 | 2657401.6274 | 1229898.8029 | 2657429.3337 | 1229926.6325
8 | 2657429.3337 | 1229926.6325 | 2657403.6961 | 1229959.9287 | 2657375.1848 | 1229990.6391
9 | 2657375.1848 | 1229990.6391 | 2657371.3782 | 1229994.7393 | 2657352.2437 | 1230020.6492 | 2657351.2077 | 1230022.5992
10 | 2657477.6095 | 1229792.6719 | 2657481.2685 | 1229784.8321 | 2657483.9037 | 1229777.097 | 2657484.5784 | 1229770.7558
11 | 2657509.0821 | 1230634.0678 | 2657535.6314 | 1230499.2824 | 2657571.1225 | 1230320.4109 | 2657581.4054 | 1230269.1442
12 | 2657581.4054 | 1230269.1442 | 2657571.4294 | 1230261.3315 | 2657569.0944 | 1230257.6287 | 2657570.8227 | 1230247.7659
13 | 2657509.0821 | 1230634.0678 | 2657500.451 | 1230636.8417 | 2657473.333 | 1230659.005 | 2657468.4368 | 1230666.1205
14 | 2657281.2397 | 1230088.631 | 2657290.5329 | 1230098.1932 | 2657296.0592 | 1230102.2237
15 | 2657281.2397 | 1230088.631 | 2657280.5287 | 1230083.7988 | 2657278.7344 | 1230077.4108
16 | 2657278.7344 | 1230077.4108 | 2657287.7335 | 1230078.1868 | 2657297.0211 | 1230077.3312 | 2657311.6644 | 1230071.9483
17 | 2657224.69 | 1230074.7668 | 2657239.3066 | 1230055.4061 | 2657242.2607 | 1230051.4876 | 2657244.9215 | 1230048.1332 | 2657247.0245 | 1230049.2097 | 2657254.1964 | 1230053.3147 | 2657261.9784 | 1230057.7702 | 2657268.7736 | 1230061.6603 | 2657278.7344 | 1230077.4108
18 | 2657463.4327 | 1230673.3926 | 2657468.4368 | 1230666.1205
19 | 2657260.2528 | 1230795.9401 | 2657269.7205 | 1230787.884
20 | 2657260.2528 | 1230795.9401 | 2657246.2946 | 1230807.8171
21 | 2657269.7205 | 1230787.884 | 2657272.3741 | 1230785.6261 | 2657285.758 | 1230774.559 | 2657301.1892 | 1230757.3944
22 | 2657231.1173 | 1230824.3451 | 2657235.7064 | 1230818.8501 | 2657242.1408 | 1230811.3517 | 2657246.2946 | 1230807.8171
23 | 2657309.7294 | 1230747.895 | 2657301.1892 | 1230757.3944
24 | 2657226.3201 | 1230830.0893 | 2657231.1173 | 1230824.3451
25 | 2657309.7294 | 1230747.895 | 2657339.9954 | 1230756.5366
26 | 2657309.7294 | 1230747.895 | 2657312.1573 | 1230741.959 | 2657311.6081 | 1230732.1474
27 | 2657226.3201 | 1230830.0893 | 2657219.3889 | 1230848.3764
28 | 2657339.9954 | 1230756.5366 | 2657353.6553 | 1230734.9322
29 | 2657339.9954 | 1230756.5366 | 2657345.0295 | 1230759.1893
30 | 2657311.6081 | 1230732.1474 | 2657306.6088 | 1230730.2529
31 | 2657200.1073 | 1230082.2496 | 2657203.8679 | 1230081.79
32 | 2657224.69 | 1230074.7668 | 2657217.1691 | 1230080.1646 | 2657203.8679 | 1230081.79
33 | 2657200.1073 | 1230082.2496 | 2657169.0738 | 1230086.042
34 | 2657081.2707 | 1230089.2762 | 2657096.4125 | 1230086.1639 | 2657151.2125 | 1230088.2247 | 2657169.0738 | 1230086.042
35 | 2657059.4253 | 1230127.0909 | 2657063.4798 | 1230122.9493 | 2657067.2808 | 1230117.5824 | 2657073.2981 | 1230103.8757 | 2657081.2707 | 1230089.2762
36 | 2657059.4253 | 1230127.0909 | 2657060.3177 | 1230116.1925 | 2657059.8071 | 1230098.365 | 2657058.9168 | 1230069.5714 | 2657056.2485 | 1230012.1424 | 2657054.9869 | 1229988.0222
37 | 2657053.319 | 1230129.5672 | 2657056.8965 | 1230128.5453 | 2657059.4253 | 1230127.0909
38 | 2657345.3501 | 1230033.595 | 2657330.2347 | 1230061.0963 | 2657325.0492 | 1230067.0279 | 2657311.6644 | 1230071.9483
39 | 2657021.3139 | 1230067.0658 | 2657015.3808 | 1230044.3496
40 | 2657021.3139 | 1230067.0658 | 2657023.9652 | 1230077.2172
41 | 2657053.319 | 1230129.5672 | 2657046.2372 | 1230127.9094 | 2657040.31 | 1230124.3392 | 2657035.6103 | 1230118.3681 | 2657031.6217 | 1230107.7564 | 2657028.4838 | 1230094.5178 | 2657023.9652 | 1230077.2172
42 | 2657353.6553 | 1230734.9322 | 2657360.5517 | 1230735.31 | 2657381.6969 | 1230734.4155
43 | 2657350.5176 | 1230762.0812 | 2657345.0295 | 1230759.1893
44 | 2657288.426 | 1230717.7593 | 2657297.579 | 1230726.8311 | 2657306.6088 | 1230730.2529
45 | 2657424.7204 | 1230716.3947 | 2657415.598 | 1230722.2104 | 2657398.1006 | 1230730.18 | 2657381.7375 | 1230734.4137 | 2657381.6969 | 1230734.4155
46 | 2657350.5176 | 1230762.0812 | 2657352.6211 | 1230763.1897
47 | 2657288.426 | 1230717.7593 | 2657288.426 | 1230717.7593 | 2657269.4842 | 1230708.2152 | 2657263.603 | 1230700.7316
48 | 2657266.4292 | 1230684.3943 | 2657263.603 | 1230700.7316 | 2657263.603 | 1230700.7316
49 | 2657267.1872 | 1230680.0122 | 2657266.4292 | 1230684.3943
50 | 2657267.1872 | 1230680.0122 | 2657269.126 | 1230668.8047
51 | 2657272.3333 | 1230650.2642 | 2657269.126 | 1230668.8047
52 | 2657315.9557 | 1230476.0026 | 2657300.884 | 1230522.2204 | 2657282.6383 | 1230585.8077 | 2657275.2332 | 1230633.5004 | 2657272.3333 | 1230650.2642
53 | 2657424.7204 | 1230716.3947 | 2657427.1363 | 1230714.8503 | 2657438.1791 | 1230703.4266
54 | 2657424.7204 | 1230716.3947 | 2657441.9198 | 1230720.4633 | 2657454.592 | 1230721.6895
55 | 2657441.015 | 1230818.3385 | 2657418.8116 | 1230799.6245 | 2657384.1991 | 1230779.8624
56 | 2657384.1991 | 1230779.8624 | 2657383.454 | 1230779.437 | 2657376.2169 | 1230775.6234
57 | 2657366.4143 | 1230770.4579 | 2657376.2169 | 1230775.6234
58 | 2657366.4143 | 1230770.4579 | 2657352.6211 | 1230763.1897
59 | 2657497.7508 | 1230745.3075 | 2657495.4258 | 1230733.533 | 2657488.7977 | 1230725.7751 | 2657479.0664 | 1230724.0578 | 2657472.271 | 1230723.4002
60 | 2657472.271 | 1230723.4002 | 2657454.592 | 1230721.6895
61 | 2657351.2077 | 1230022.5992 | 2657345.8325 | 1230032.7173 | 2657345.3501 | 1230033.595
62 | 2657438.1791 | 1230703.4266 | 2657440.3148 | 1230701.2172
63 | 2657463.4327 | 1230673.3926 | 2657454.0971 | 1230686.9594 | 2657440.3148 | 1230701.2172
64 | 2657484.626 | 1229770.3086 | 2657484.5784 | 1229770.7558

## bus_geodata
| x | y | coords
0 | 2657603.5968 | 1230151.9693
1 | 2657603.9363 | 1230146.0055
2 | 2657601.4032 | 1230169.7851
3 | 2657472.1096 | 1229804.4562
4 | 2657593.2746 | 1230208.9649
5 | 2657429.3337 | 1229926.6325
6 | 2657390.5387 | 1229887.6666
7 | 2657375.1848 | 1229990.6391
8 | 2657477.6095 | 1229792.6719
9 | 2657581.4054 | 1230269.1442
10 | 2657509.0821 | 1230634.0678
11 | 2657570.8227 | 1230247.7659
12 | 2657296.0592 | 1230102.2237
13 | 2657281.2397 | 1230088.631
14 | 2657278.7344 | 1230077.4108
15 | 2657468.4368 | 1230666.1205
16 | 2657260.2528 | 1230795.9401
17 | 2657269.7205 | 1230787.884
18 | 2657246.2946 | 1230807.8171
19 | 2657301.1892 | 1230757.3944
20 | 2657231.1173 | 1230824.3451
21 | 2657309.7294 | 1230747.895
22 | 2657226.3201 | 1230830.0893
23 | 2657339.9954 | 1230756.5366
24 | 2657311.6081 | 1230732.1474
25 | 2657219.3889 | 1230848.3764
26 | 2657203.8679 | 1230081.79
27 | 2657200.1073 | 1230082.2496
28 | 2657224.69 | 1230074.7668
29 | 2657169.0738 | 1230086.042
30 | 2657081.2707 | 1230089.2762
31 | 2657059.4253 | 1230127.0909
32 | 2657311.6644 | 1230071.9483
33 | 2657015.3808 | 1230044.3496
34 | 2657021.3139 | 1230067.0658
35 | 2657023.9652 | 1230077.2172
36 | 2657053.319 | 1230129.5672
37 | 2657054.9869 | 1229988.0222
38 | 2657353.6553 | 1230734.9322
39 | 2657345.0295 | 1230759.1893
40 | 2657306.6089 | 1230730.2529
41 | 2657381.6969 | 1230734.4155
42 | 2657350.5176 | 1230762.0812
43 | 2657288.426 | 1230717.7593
44 | 2657263.603 | 1230700.7316
45 | 2657266.4292 | 1230684.3943
46 | 2657267.1872 | 1230680.0122
47 | 2657269.126 | 1230668.8047
48 | 2657272.3333 | 1230650.2642
49 | 2657424.7204 | 1230716.3947
50 | 2657441.015 | 1230818.3385
51 | 2657384.1991 | 1230779.8624
52 | 2657376.2169 | 1230775.6234
53 | 2657366.4143 | 1230770.4579
54 | 2657352.6211 | 1230763.1897
55 | 2657497.7508 | 1230745.3075
56 | 2657472.271 | 1230723.4002
57 | 2657351.2077 | 1230022.5992
58 | 2657345.3501 | 1230033.595
59 | 2657454.592 | 1230721.6895
60 | 2657438.1791 | 1230703.4266
61 | 2657463.4327 | 1230673.3926
62 | 2657315.9557 | 1230476.0026
63 | 2657440.3148 | 1230701.2172
64 | 2657484.626 | 1229770.3086
65 | 2657484.5784 | 1229770.7558
66 | 2657315.9557 | 1230476.0026

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## res_bus
| vm_pu | va_degree | p_mw | q_mvar
0 | 0.98164 | -0.13081 | 0.00013539 | 3.3933e-05
1 | 0.98159 | -0.13116 | 0 | 0
2 | 0.98179 | -0.12972 | 0 | 0
3 | 0.97855 | -0.15322 | 0 | 0
4 | 0.98212 | -0.1273 | 0 | 0
5 | 0.97757 | -0.16037 | 0 | 0
6 | 0.97755 | -0.16046 | 0.00014856 | 3.7234e-05
7 | 0.97697 | -0.16467 | 6.0782e-05 | 1.5233e-05
8 | 0.97854 | -0.1533 | 6.4182e-05 | 1.6085e-05
9 | 0.98281 | -0.12226 | 0 | 0
10 | 0.98664 | -0.094639 | 0 | 0
11 | 0.98254 | -0.12427 | 0.0013376 | 0.00033523
12 | 0.97611 | -0.17093 | 0.00011485 | 2.8784e-05
13 | 0.97612 | -0.1709 | 0 | 0
14 | 0.97612 | -0.17089 | 0 | 0
15 | 0.98718 | -0.090731 | 0.00029379 | 7.3631e-05
16 | 0.99007 | -0.070023 | 0.00060835 | 0.00015247
17 | 0.99011 | -0.069719 | 0.00060393 | 0.00015136
18 | 0.99002 | -0.070358 | 0.00037982 | 9.5191e-05
19 | 0.9903 | -0.068374 | 0.001164 | 0.00029173
20 | 0.98998 | -0.070681 | 0.00049995 | 0.0001253
21 | 0.99038 | -0.067831 | 0 | 0
22 | 0.98997 | -0.07075 | 0 | 0
23 | 0.98973 | -0.072474 | 0 | 0
24 | 0.99081 | -0.064741 | 0 | 0
25 | 0.98994 | -0.070931 | 0.00090719 | 0.00022736
26 | 0.97564 | -0.17436 | 0.00019539 | 4.8968e-05
27 | 0.97562 | -0.17448 | 0.00056605 | 0.00014187
28 | 0.97575 | -0.17359 | 0 | 0
29 | 0.97551 | -0.17529 | 0.00046445 | 0.0001164
30 | 0.97526 | -0.17715 | 0 | 0
31 | 0.97513 | -0.17807 | 0 | 0
32 | 0.97628 | -0.16969 | 0.00095762 | 0.00024
33 | 0.97489 | -0.17981 | 0.00090143 | 0.00022592
34 | 0.97492 | -0.17959 | 0.00049516 | 0.0001241
35 | 0.97494 | -0.17944 | 0.0004256 | 0.00010667
36 | 0.97511 | -0.1782 | 0 | 0
37 | 0.9751 | -0.1783 | 0.00015088 | 3.7813e-05
38 | 0.98928 | -0.075697 | 0 | 0
39 | 0.98971 | -0.072598 | 0.00044643 | 0.00011189
40 | 0.99096 | -0.063724 | 0.00034133 | 8.5546e-05
41 | 0.98878 | -0.079242 | 0.00021047 | 5.2748e-05
42 | 0.9897 | -0.072706 | 0.00031409 | 7.872e-05
43 | 0.99157 | -0.059362 | 0.0004276 | 0.00010717
44 | 0.99243 | -0.053291 | 0.0015717 | 0.00039391
45 | 0.99293 | -0.049756 | 0.0014996 | 0.00037584
46 | 0.99307 | -0.048741 | 0.00022967 | 5.7562e-05
47 | 0.99344 | -0.046119 | 0.00018287 | 4.5832e-05
48 | 0.99406 | -0.041751 | 0.00011775 | 2.9511e-05
49 | 0.98797 | -0.085081 | 0 | 0
50 | 0.98962 | -0.073261 | 0.0002524 | 6.3258e-05
51 | 0.98964 | -0.073082 | 0.00046103 | 0.00011555
52 | 0.98965 | -0.073015 | 0.00020329 | 5.095e-05
53 | 0.98967 | -0.072911 | 0.00015578 | 3.9041e-05
54 | 0.98969 | -0.072739 | 0.00030108 | 7.5458e-05
55 | 0.98773 | -0.086795 | 0.0012693 | 0.00031812
56 | 0.9878 | -0.086289 | 0.0010837 | 0.0002716
57 | 0.97669 | -0.1667 | 0.00044805 | 0.00011229
58 | 0.97662 | -0.16727 | 5.3667e-05 | 1.345e-05
59 | 0.98786 | -0.08586 | 0.00014737 | 3.6933e-05
60 | 0.98771 | -0.086932 | 0.0016629 | 0.00041676
61 | 0.98728 | -0.09005 | 0.00018295 | 4.5851e-05
62 | 1 | 0 | -0.023957 | -0.0058105
63 | 0.98767 | -0.087183 | 0.000269 | 6.7417e-05
64 | 0.97852 | -0.15343 | 8.9988e-05 | 2.2553e-05
65 | 0.97852 | -0.15343 | 0.00044553 | 0.00011166
66 | 0.99998 | 149.9947 | 0 | 0

## res_line
| p_from_mw | q_from_mvar | p_to_mw | q_to_mvar | pl_mw | ql_mvar | i_from_ka | i_to_ka | i_ka | vm_from_pu | va_from_degree | vm_to_pu | va_to_degree | loading_percent
0 | 0.0056136 | 0.0013939 | -0.0056134 | -0.0013939 | 2.6962e-07 | 2.8186e-08 | 0.0085048 | 0.0085048 | 0.0085048 | 0.98164 | -0.13081 | 0.98159 | -0.13116 | 3.1499
1 | -0.005749 | -0.0014278 | 0.0057499 | 0.0014279 | 8.5012e-07 | 9.9912e-08 | 0.00871 | 0.00871 | 0.00871 | 0.98164 | -0.13081 | 0.98179 | -0.12972 | 3.2259
2 | 0.0056134 | 0.0013939 | -0.0055965 | -0.0013921 | 1.6832e-05 | 1.7754e-06 | 0.0085048 | 0.0085065 | 0.0085065 | 0.98159 | -0.13116 | 0.97855 | -0.15322 | 3.1506
3 | -0.0057499 | -0.0014279 | 0.0057518 | 0.0014281 | 1.8943e-06 | 2.2236e-07 | 0.00871 | 0.0087098 | 0.00871 | 0.98179 | -0.12972 | 0.98212 | -0.1273 | 3.2259
4 | 0.00059971 | 0.00014984 | -0.00059971 | -0.00015001 | 6.7467e-09 | -1.6077e-07 | 0.00091178 | 0.00091184 | 0.00091184 | 0.97855 | -0.15322 | 0.97854 | -0.1533 | 0.33772
5 | 0.0049968 | 0.0012422 | -0.0049919 | -0.0012421 | 4.8726e-06 | 1.7522e-07 | 0.0075947 | 0.0075953 | 0.0075953 | 0.97855 | -0.15322 | 0.97757 | -0.16037 | 2.8131
6 | -0.0057518 | -0.0014281 | 0.0057541 | 0.0014284 | 2.3666e-06 | 2.7729e-07 | 0.0087098 | 0.0087096 | 0.0087098 | 0.98212 | -0.1273 | 0.98254 | -0.12427 | 3.2258
7 | 0.00014857 | 3.6546e-05 | -0.00014856 | -3.7234e-05 | 1.7503e-09 | -6.8771e-07 | 0.0002259 | 0.00022614 | 0.00022614 | 0.97757 | -0.16037 | 0.97755 | -0.16046 | 0.083756
8 | 0.0048434 | 0.0012055 | -0.0048405 | -0.0012055 | 2.8443e-06 | 4.2387e-08 | 0.0073694 | 0.0073698 | 0.0073698 | 0.97757 | -0.16037 | 0.97697 | -0.16467 | 2.7296
9 | 0.0047798 | 0.0011902 | -0.0047784 | -0.0011902 | 1.3223e-06 | 7.6726e-09 | 0.0072772 | 0.0072774 | 0.0072774 | 0.97697 | -0.16467 | 0.97669 | -0.1667 | 2.6953
10 | 0.00053553 | 0.00013392 | -0.00053552 | -0.00013421 | 9.5993e-09 | -2.8775e-07 | 0.00081424 | 0.00081435 | 0.00081435 | 0.97854 | -0.1533 | 0.97852 | -0.15343 | 0.30161
11 | -0.0070937 | -0.0017641 | 0.0071204 | 0.0017696 | 2.6749e-05 | 5.5553e-06 | 0.010735 | 0.010734 | 0.010735 | 0.98281 | -0.12226 | 0.98664 | -0.094639 | 3.976
12 | 0.0070937 | 0.0017641 | -0.0070917 | -0.0017637 | 1.9461e-06 | 4.0566e-07 | 0.010735 | 0.010735 | 0.010735 | 0.98281 | -0.12226 | 0.98254 | -0.12427 | 3.976
13 | -0.0071204 | -0.0017696 | 0.0071242 | 0.0017704 | 3.7904e-06 | 7.841e-07 | 0.010734 | 0.010733 | 0.010734 | 0.98664 | -0.094639 | 0.98718 | -0.090731 | 3.9754
14 | -0.00011485 | -2.8784e-05 | 0.00011485 | 2.8532e-05 | 3.8568e-10 | -2.5203e-07 | 0.00017508 | 0.00017499 | 0.00017508 | 0.97611 | -0.17093 | 0.97612 | -0.1709 | 0.064844
15 | -0.00011485 | -2.8532e-05 | 0.00011485 | 2.8388e-05 | 2.2006e-10 | -1.4392e-07 | 0.00017499 | 0.00017494 | 0.00017499 | 0.97612 | -0.1709 | 0.97612 | -0.17089 | 0.064811
16 | -0.0033168 | -0.00082486 | 0.0033173 | 0.00082464 | 5.4126e-07 | -2.1641e-07 | 0.0050539 | 0.0050538 | 0.0050539 | 0.97612 | -0.17089 | 0.97628 | -0.16969 | 1.8718
17 | 0.0032019 | 0.00079647 | -0.0032008 | -0.00079701 | 1.1811e-06 | -5.3921e-07 | 0.004879 | 0.0048793 | 0.0048793 | 0.97612 | -0.17089 | 0.97575 | -0.17359 | 1.8072
18 | -0.007418 | -0.001844 | 0.0074187 | 0.0018442 | 6.8802e-07 | 1.5175e-07 | 0.011176 | 0.011176 | 0.011176 | 0.98718 | -0.090731 | 0.98728 | -0.09005 | 4.1393
19 | -0.0023955 | -0.00059952 | 0.0023956 | 0.0005994 | 1.0053e-07 | -1.2121e-07 | 0.0036 | 0.0035999 | 0.0036 | 0.99007 | -0.070023 | 0.99011 | -0.069719 | 1.3333
20 | 0.0017871 | 0.00044705 | -0.001787 | -0.00044725 | 8.2489e-08 | -2.0395e-07 | 0.0026856 | 0.0026857 | 0.0026857 | 0.99007 | -0.070023 | 0.99002 | -0.070358 | 0.99472
21 | -0.0029995 | -0.00075075 | 0.0030001 | 0.0007504 | 5.5697e-07 | -3.5091e-07 | 0.0045075 | 0.0045073 | 0.0045075 | 0.99011 | -0.069719 | 0.9903 | -0.068374 | 1.6695
22 | 0.0014072 | 0.00035206 | -0.0014072 | -0.00035233 | 6.2783e-08 | -2.6509e-07 | 0.0021149 | 0.002115 | 0.002115 | 0.99002 | -0.070358 | 0.98998 | -0.070681 | 0.78332
23 | -0.0041641 | -0.0010421 | 0.0041644 | 0.0010421 | 3.12e-07 | -4.4364e-08 | 0.0062564 | 0.0062563 | 0.0062564 | 0.9903 | -0.068374 | 0.99038 | -0.067831 | 2.3172
24 | 0.00090722 | 0.00022703 | -0.00090722 | -0.00022712 | 8.6824e-09 | -9.2885e-08 | 0.0013635 | 0.0013635 | 0.0013635 | 0.98998 | -0.070681 | 0.98997 | -0.07075 | 0.50502
25 | 0.014415 | 0.0035974 | -0.014406 | -0.0035943 | 9.1833e-06 | 3.1284e-06 | 0.021653 | 0.021653 | 0.021653 | 0.99038 | -0.067831 | 0.98973 | -0.072474 | 8.0195
26 | -0.018579 | -0.0046395 | 0.018587 | 0.0046423 | 7.8933e-06 | 2.8268e-06 | 0.027909 | 0.027909 | 0.027909 | 0.99038 | -0.067831 | 0.99081 | -0.064741 | 10.3366
27 | 0.00090722 | 0.00022712 | -0.00090719 | -0.00022736 | 2.2691e-08 | -2.4271e-07 | 0.0013635 | 0.0013636 | 0.0013636 | 0.98997 | -0.07075 | 0.98994 | -0.070931 | 0.50505
28 | 0.012272 | 0.0030609 | -0.012266 | -0.0030592 | 5.4225e-06 | 1.7575e-06 | 0.018445 | 0.018445 | 0.018445 | 0.98973 | -0.072474 | 0.98928 | -0.075697 | 6.8314
29 | 0.0021342 | 0.00053338 | -0.0021342 | -0.00053344 | 3.6546e-08 | -5.9069e-08 | 0.0032082 | 0.0032082 | 0.0032082 | 0.98973 | -0.072474 | 0.98971 | -0.072598 | 1.1882
30 | -0.018587 | -0.0046423 | 0.01859 | 0.0046433 | 2.5984e-06 | 9.3052e-07 | 0.027909 | 0.027909 | 0.027909 | 0.99081 | -0.064741 | 0.99096 | -0.063724 | 10.3366
31 | 0.003005 | 0.0007482 | -0.003005 | -0.00074822 | 4.962e-08 | -2.8226e-08 | 0.0045814 | 0.0045814 | 0.0045814 | 0.97564 | -0.17436 | 0.97562 | -0.17448 | 1.6968
32 | -0.0032004 | -0.00079716 | 0.0032008 | 0.00079701 | 3.3661e-07 | -1.5351e-07 | 0.0048794 | 0.0048793 | 0.0048794 | 0.97564 | -0.17436 | 0.97575 | -0.17359 | 1.8072
33 | 0.0024389 | 0.00060636 | -0.0024387 | -0.00060664 | 2.6971e-07 | -2.8663e-07 | 0.0037181 | 0.0037182 | 0.0037182 | 0.97562 | -0.17448 | 0.97551 | -0.17529 | 1.3771
34 | 0.0019742 | 0.00049024 | -0.0019737 | -0.00049115 | 4.9915e-07 | -9.1002e-07 | 0.0030098 | 0.0030102 | 0.0030102 | 0.97551 | -0.17529 | 0.97526 | -0.17715 | 1.1149
35 | 0.0019737 | 0.00049115 | -0.0019735 | -0.0004916 | 2.4852e-07 | -4.5276e-07 | 0.0030102 | 0.0030104 | 0.0030104 | 0.97526 | -0.17715 | 0.97513 | -0.17807 | 1.115
36 | 0.00015088 | 3.6078e-05 | -0.00015088 | -3.7813e-05 | 4.5928e-09 | -1.7349e-06 | 0.00022963 | 0.00023024 | 0.00023024 | 0.97513 | -0.17807 | 0.9751 | -0.1783 | 0.085274
37 | 0.0018226 | 0.00045553 | -0.0018226 | -0.0004556 | 3.1952e-08 | -7.0318e-08 | 0.0027808 | 0.0027808 | 0.0027808 | 0.97513 | -0.17807 | 0.97511 | -0.1782 | 1.0299
38 | -0.004275 | -0.0010646 | 0.0042764 | 0.0010645 | 1.4168e-06 | -1.2456e-07 | 0.0065133 | 0.0065131 | 0.0065133 | 0.97628 | -0.16969 | 0.97662 | -0.16727 | 2.4123
39 | -0.00090143 | -0.00022592 | 0.00090146 | 0.00022564 | 2.7732e-08 | -2.8209e-07 | 0.0013759 | 0.0013758 | 0.0013759 | 0.97489 | -0.17981 | 0.97492 | -0.17959 | 0.50959
40 | -0.0013966 | -0.00034974 | 0.0013966 | 0.00034962 | 2.9745e-08 | -1.1939e-07 | 0.0021315 | 0.0021315 | 0.0021315 | 0.97492 | -0.17959 | 0.97494 | -0.17944 | 0.78946
41 | -0.0018222 | -0.00045628 | 0.0018226 | 0.0004556 | 3.1181e-07 | -6.8596e-07 | 0.0027811 | 0.0027808 | 0.0027811 | 0.97494 | -0.17944 | 0.97511 | -0.1782 | 1.03
42 | 0.012266 | 0.0030592 | -0.01226 | -0.0030572 | 5.9592e-06 | 1.9318e-06 | 0.018445 | 0.018445 | 0.018445 | 0.98928 | -0.075697 | 0.98878 | -0.079242 | 6.8314
43 | 0.0016878 | 0.00042155 | -0.0016877 | -0.00042162 | 2.4915e-08 | -7.0135e-08 | 0.002537 | 0.002537 | 0.002537 | 0.98971 | -0.072598 | 0.9897 | -0.072706 | 0.93964
44 | -0.018931 | -0.0047288 | 0.018943 | 0.0047329 | 1.1363e-05 | 4.0798e-06 | 0.028421 | 0.028421 | 0.028421 | 0.99096 | -0.063724 | 0.99157 | -0.059362 | 10.5264
45 | 0.01205 | 0.0030045 | -0.01204 | -0.0030014 | 9.6357e-06 | 3.1038e-06 | 0.018128 | 0.018128 | 0.018128 | 0.98878 | -0.079242 | 0.98797 | -0.085081 | 6.7142
46 | 0.0013736 | 0.0003429 | -0.0013736 | -0.00034293 | 6.3255e-09 | -2.8121e-08 | 0.0020648 | 0.0020648 | 0.0020648 | 0.9897 | -0.072706 | 0.98969 | -0.072739 | 0.76474
47 | -0.01937 | -0.0048401 | 0.019386 | 0.0048459 | 1.6196e-05 | 5.8325e-06 | 0.029063 | 0.029063 | 0.029063 | 0.99157 | -0.059362 | 0.99243 | -0.053291 | 10.7641
48 | -0.020958 | -0.0052398 | 0.020968 | 0.0052435 | 1.0213e-05 | 3.7138e-06 | 0.031419 | 0.031419 | 0.031419 | 0.99243 | -0.053291 | 0.99293 | -0.049756 | 11.6368
49 | -0.022468 | -0.0056194 | 0.022471 | 0.0056205 | 3.1454e-06 | 1.1522e-06 | 0.033667 | 0.033667 | 0.033667 | 0.99293 | -0.049756 | 0.99307 | -0.048741 | 12.4691
50 | -0.022701 | -0.0056781 | 0.022709 | 0.0056811 | 8.2098e-06 | 3.0104e-06 | 0.034011 | 0.034011 | 0.034011 | 0.99307 | -0.048741 | 0.99344 | -0.046119 | 12.5966
51 | -0.022892 | -0.0057269 | 0.022906 | 0.005732 | 1.3801e-05 | 5.0643e-06 | 0.034285 | 0.034285 | 0.034285 | 0.99344 | -0.046119 | 0.99406 | -0.041751 | 12.698
52 | -0.023023 | -0.0057615 | 0.023157 | 0.0058104 | 0.00013341 | 4.8965e-05 | 0.034461 | 0.03446 | 0.034461 | 0.99406 | -0.041751 | 1 | 0 | 12.7633
53 | 0.0095392 | 0.0023756 | -0.0095368 | -0.002375 | 2.4141e-06 | 6.8839e-07 | 0.014362 | 0.014362 | 0.014362 | 0.98797 | -0.085081 | 0.98771 | -0.086932 | 5.3193
54 | 0.0025009 | 0.00062573 | -0.0025006 | -0.00062601 | 2.6914e-07 | -2.858e-07 | 0.0037663 | 0.0037664 | 0.0037664 | 0.98797 | -0.085081 | 0.98786 | -0.08586 | 1.395
55 | -0.0002524 | -6.3258e-05 | 0.00025241 | 6.2375e-05 | 6.187e-09 | -8.8283e-07 | 0.00037952 | 0.00037921 | 0.00037952 | 0.98962 | -0.073261 | 0.98964 | -0.073082 | 0.14056
56 | -0.00071344 | -0.00017792 | 0.00071345 | 0.00017781 | 6.4861e-09 | -1.1364e-07 | 0.0010724 | 0.0010724 | 0.0010724 | 0.98964 | -0.073082 | 0.98965 | -0.073015 | 0.39719
57 | -0.00091674 | -0.00022876 | 0.00091675 | 0.00022862 | 1.3129e-08 | -1.3733e-07 | 0.001378 | 0.001378 | 0.001378 | 0.98965 | -0.073015 | 0.98967 | -0.072911 | 0.51038
58 | -0.0010725 | -0.00026766 | 0.0010726 | 0.00026747 | 2.5286e-08 | -1.9062e-07 | 0.0016122 | 0.0016121 | 0.0016122 | 0.98967 | -0.072911 | 0.98969 | -0.072739 | 0.59711
59 | -0.0012693 | -0.00031812 | 0.0012694 | 0.00031765 | 8.8782e-08 | -4.6396e-07 | 0.0019122 | 0.001912 | 0.0019122 | 0.98773 | -0.086795 | 0.9878 | -0.086289 | 0.70823
60 | -0.0023531 | -0.00058925 | 0.0023532 | 0.00058908 | 1.3924e-07 | -1.7383e-07 | 0.0035445 | 0.0035444 | 0.0035445 | 0.9878 | -0.086289 | 0.98786 | -0.08586 | 1.3128
61 | 0.0043304 | 0.0010779 | -0.00433 | -0.001078 | 3.3812e-07 | -2.5863e-08 | 0.0065948 | 0.0065948 | 0.0065948 | 0.97669 | -0.1667 | 0.97662 | -0.16727 | 2.4425
62 | 0.0078739 | 0.0019582 | -0.0078736 | -0.0019581 | 2.6957e-07 | 6.4352e-08 | 0.011857 | 0.011857 | 0.011857 | 0.98771 | -0.086932 | 0.98767 | -0.087183 | 4.3914
63 | -0.0076016 | -0.00189 | 0.0076046 | 0.0018907 | 2.9704e-06 | 6.7811e-07 | 0.011452 | 0.011452 | 0.011452 | 0.98728 | -0.09005 | 0.98767 | -0.087183 | 4.2414
64 | -8.9988e-05 | -2.2553e-05 | 8.9988e-05 | 2.2547e-05 | 5.256e-12 | -5.6474e-09 | 0.00013684 | 0.00013684 | 0.00013684 | 0.97852 | -0.15343 | 0.97852 | -0.15343 | 0.050683

## res_trafo
| p_hv_mw | q_hv_mvar | p_lv_mw | q_lv_mvar | pl_mw | ql_mvar | i_hv_ka | i_lv_ka | vm_hv_pu | va_hv_degree | vm_lv_pu | va_lv_degree | loading_percent
0 | 2.5187e-16 | 8.8016e-16 | 0.00079998 | 7.4552e-08 | 0.00079998 | 7.4552e-08 | 2.6429e-17 | 0.0011547 | 0.99998 | 149.9947 | 1 | 0 | 0.31999

## res_ext_grid
| p_mw | q_mvar
0 | 0.023957 | 0.0058105

## res_load
| p_mw | q_mvar
0 | 0.00013539 | 3.3933e-05
1 | 0.00014856 | 3.7234e-05
2 | 6.0782e-05 | 1.5233e-05
3 | 6.4182e-05 | 1.6085e-05
4 | 0.0013376 | 0.00033523
5 | 0.00011485 | 2.8784e-05
6 | 0.00029379 | 7.3631e-05
7 | 0.00060835 | 0.00015247
8 | 0.00060393 | 0.00015136
9 | 0.00037982 | 9.5191e-05
10 | 0.001164 | 0.00029173
11 | 0.00049995 | 0.0001253
12 | 0.00090719 | 0.00022736
13 | 0.00019539 | 4.8968e-05
14 | 0.00056605 | 0.00014187
15 | 0.00046445 | 0.0001164
16 | 0.00095762 | 0.00024
17 | 0.00090143 | 0.00022592
18 | 0.00049516 | 0.0001241
19 | 0.0004256 | 0.00010667
20 | 0.00015088 | 3.7813e-05
21 | 0.00044643 | 0.00011189
22 | 0.00034133 | 8.5546e-05
23 | 0.00021047 | 5.2748e-05
24 | 0.00031409 | 7.872e-05
25 | 0.0004276 | 0.00010717
26 | 0.0015717 | 0.00039391
27 | 0.0014996 | 0.00037584
28 | 0.00022967 | 5.7562e-05
29 | 0.00018287 | 4.5832e-05
30 | 0.00011775 | 2.9511e-05
31 | 0.0002524 | 6.3258e-05
32 | 0.00046103 | 0.00011555
33 | 0.00020329 | 5.095e-05
34 | 0.00015578 | 3.9041e-05
35 | 0.00030108 | 7.5458e-05
36 | 0.0012693 | 0.00031812
37 | 0.0010837 | 0.0002716
38 | 0.00044805 | 0.00011229
39 | 5.3667e-05 | 1.345e-05
40 | 0.00014737 | 3.6933e-05
41 | 0.0016629 | 0.00041676
42 | 0.00018295 | 4.5851e-05
43 | 0.000269 | 6.7417e-05
44 | 8.9988e-05 | 2.2553e-05
45 | 0.00044553 | 0.00011166

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object
62 | res_bus | vm_pu | float64
63 | res_bus | va_degree | float64
64 | res_bus | p_mw | float64
65 | res_bus | q_mvar | float64
66 | res_line | p_from_mw | float64
67 | res_line | q_from_mvar | float64
68 | res_line | p_to_mw | float64
69 | res_line | q_to_mvar | float64
70 | res_line | pl_mw | float64
71 | res_line | ql_mvar | float64
72 | res_line | i_from_ka | float64
73 | res_line | i_to_ka | float64
74 | res_line | i_ka | float64
75 | res_line | vm_from_pu | float64
76 | res_line | va_from_degree | float64
77 | res_line | vm_to_pu | float64
78 | res_line | va_to_degree | float64
79 | res_line | loading_percent | float64
80 | res_trafo | p_hv_mw | float64
81 | res_trafo | q_hv_mvar | float64
82 | res_trafo | p_lv_mw | float64
83 | res_trafo | q_lv_mvar | float64
84 | res_trafo | pl_mw | float64
85 | res_trafo | ql_mvar | float64
86 | res_trafo | i_hv_ka | float64
87 | res_trafo | i_lv_ka | float64
88 | res_trafo | vm_hv_pu | float64
89 | res_trafo | va_hv_degree | float64
90 | res_trafo | vm_lv_pu | float64
91 | res_trafo | va_lv_degree | float64
92 | res_trafo | loading_percent | float64
93 | res_ext_grid | p_mw | float64
94 | res_ext_grid | q_mvar | float64
95 | res_load | p_mw | float64
96 | res_load | q_mvar | float64

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | TRUE | FALSE |  | 50 | 1