## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_1081-23_0_3_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_1081-23_0_3_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_1081-23_0_3_node_2 | 0.4 | n |  | TRUE
3 | bus_LV_1081-23_0_3_node_3 | 0.4 | n |  | TRUE
4 | bus_LV_1081-23_0_3_node_36 | 0.4 | n |  | TRUE
5 | bus_LV_1081-23_0_3_node_28 | 0.4 | n |  | TRUE
6 | bus_LV_1081-23_0_3_node_37 | 0.4 | n |  | TRUE
7 | bus_LV_1081-23_0_3_node_38 | 0.4 | n |  | TRUE
8 | bus_LV_1081-23_0_3_node_27 | 0.4 | n |  | TRUE
9 | bus_LV_1081-23_0_3_node_4 | 0.4 | n |  | TRUE
10 | bus_LV_1081-23_0_3_node_5 | 0.4 | n |  | TRUE
11 | bus_LV_1081-23_0_3_node_7 | 0.4 | n |  | TRUE
12 | bus_LV_1081-23_0_3_node_19 | 0.4 | n |  | TRUE
13 | bus_LV_1081-23_0_3_node_16 | 0.4 | n |  | TRUE
14 | bus_LV_1081-23_0_3_node_8 | 0.4 | n |  | TRUE
15 | bus_LV_1081-23_0_3_node_9 | 0.4 | n |  | TRUE
16 | bus_LV_1081-23_0_3_node_10 | 0.4 | n |  | TRUE
17 | bus_LV_1081-23_0_3_node_11 | 0.4 | n |  | TRUE
18 | bus_LV_1081-23_0_3_node_12 | 0.4 | n |  | TRUE
19 | bus_LV_1081-23_0_3_node_13 | 0.4 | n |  | TRUE
20 | bus_LV_1081-23_0_3_node_23 | 0.4 | n |  | TRUE
21 | bus_LV_1081-23_0_3_node_21 | 0.4 | n |  | TRUE
22 | bus_LV_1081-23_0_3_node_26 | 0.4 | n |  | TRUE
23 | bus_LV_1081-23_0_3_node_46 | 0.4 | n |  | TRUE
24 | bus_LV_1081-23_0_3_node_22 | 0.4 | n |  | TRUE
25 | bus_LV_1081-23_0_3_node_20 | 0.4 | n |  | TRUE
26 | bus_LV_1081-23_0_3_node_17 | 0.4 | n |  | TRUE
27 | bus_LV_1081-23_0_3_node_47 | 0.4 | n |  | TRUE
28 | bus_LV_1081-23_0_3_node_14 | 0.4 | n |  | TRUE
29 | bus_LV_1081-23_0_3_node_15 | 0.4 | n |  | TRUE
30 | bus_LV_1081-23_0_3_node_18 | 0.4 | n |  | TRUE
31 | bus_LV_1081-23_0_3_node_59 | 0.4 | n |  | TRUE
32 | bus_LV_1081-23_0_3_node_24 | 0.4 | n |  | TRUE
33 | bus_LV_1081-23_0_3_node_25 | 0.4 | n |  | TRUE
34 | bus_LV_1081-23_0_3_node_56 | 0.4 | n |  | TRUE
35 | bus_LV_1081-23_0_3_node_29 | 0.4 | n |  | TRUE
36 | bus_LV_1081-23_0_3_node_30 | 0.4 | n |  | TRUE
37 | bus_LV_1081-23_0_3_node_31 | 0.4 | n |  | TRUE
38 | bus_LV_1081-23_0_3_node_32 | 0.4 | n |  | TRUE
39 | bus_LV_1081-23_0_3_node_33 | 0.4 | n |  | TRUE
40 | bus_LV_1081-23_0_3_node_34 | 0.4 | n |  | TRUE
41 | bus_LV_1081-23_0_3_node_35 | 0.4 | n |  | TRUE
42 | bus_LV_1081-23_0_3_node_44 | 0.4 | n |  | TRUE
43 | bus_LV_1081-23_0_3_node_45 | 0.4 | n |  | TRUE
44 | bus_LV_1081-23_0_3_node_39 | 0.4 | n |  | TRUE
45 | bus_LV_1081-23_0_3_node_40 | 0.4 | n |  | TRUE
46 | bus_LV_1081-23_0_3_node_41 | 0.4 | n |  | TRUE
47 | bus_LV_1081-23_0_3_node_42 | 0.4 | n |  | TRUE
48 | bus_LV_1081-23_0_3_node_43 | 0.4 | n |  | TRUE
49 | bus_LV_1081-23_0_3_node_53 | 0.4 | n |  | TRUE
50 | bus_LV_1081-23_0_3_node_54 | 0.4 | n |  | TRUE
51 | bus_LV_1081-23_0_3_node_57 | 0.4 | n |  | TRUE
52 | bus_LV_1081-23_0_3_node_51 | 0.4 | n |  | TRUE
53 | bus_LV_1081-23_0_3_node_48 | 0.4 | n |  | TRUE
54 | bus_LV_1081-23_0_3_node_49 | 0.4 | n |  | TRUE
55 | bus_LV_1081-23_0_3_node_50 | 0.4 | n |  | TRUE
56 | bus_LV_1081-23_0_3_node_52 | 0.4 | n |  | TRUE
57 | bus_LV_1081-23_0_3_node_58 | 0.4 | n |  | TRUE
58 | bus_MV_470_2_node_135 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_1081-23_0_3_load_0 | 0 | 0.00097261 | 0.00024376 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_1081-23_0_3_load_2 | 2 | 0.0034334 | 0.00086049 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_1081-23_0_3_load_3 | 3 | 0.0035591 | 0.000892 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_1081-23_0_3_load_28 | 5 | 0.00064779 | 0.00016235 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_1081-23_0_3_load_37 | 6 | 0.0019024 | 0.00047679 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_1081-23_0_3_load_38 | 7 | 0.0014966 | 0.00037509 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_1081-23_0_3_load_27 | 8 | 0.0004547 | 0.00011396 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_1081-23_0_3_load_4 | 9 | 0.00078973 | 0.00019793 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_1081-23_0_3_load_19 | 12 | 0.0005945 | 0.000149 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_1081-23_0_3_load_8 | 14 | 0.015668 | 0.0039267 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_1081-23_0_3_load_9 | 15 | 0.001572 | 0.00039399 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_1081-23_0_3_load_11 | 17 | 0.0028325 | 0.00070988 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_1081-23_0_3_load_13 | 19 | 0.0088235 | 0.0022114 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_1081-23_0_3_load_23 | 20 | 0.0019725 | 0.00049436 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_1081-23_0_3_load_21 | 21 | 0.010534 | 0.0026401 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_1081-23_0_3_load_26 | 22 | 0.0041643 | 0.0010437 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_1081-23_0_3_load_46 | 23 | 0.0055112 | 0.0013812 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_1081-23_0_3_load_22 | 24 | 0.029707 | 0.0074453 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_1081-23_0_3_load_20 | 25 | 0.021996 | 0.0055127 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_1081-23_0_3_load_17 | 26 | 0.012455 | 0.0031216 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_1081-23_0_3_load_47 | 27 | 0.0028144 | 0.00070535 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_1081-23_0_3_load_14 | 28 | 0.0077673 | 0.0019467 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_1081-23_0_3_load_59 | 31 | 0.0020991 | 0.00052609 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_1081-23_0_3_load_56 | 34 | 0.0071014 | 0.0017798 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_1081-23_0_3_load_29 | 35 | 0.0014244 | 0.000357 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_1081-23_0_3_load_30 | 36 | 0.0010816 | 0.00027106 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_1081-23_0_3_load_31 | 37 | 0.0020486 | 0.00051342 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_1081-23_0_3_load_32 | 38 | 0.0018082 | 0.00045318 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_1081-23_0_3_load_33 | 39 | 0.00072008 | 0.00018047 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_1081-23_0_3_load_34 | 40 | 0.0035572 | 0.00089151 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_1081-23_0_3_load_35 | 41 | 0.0018542 | 0.0004647 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_1081-23_0_3_load_44 | 42 | 0.0018537 | 0.00046459 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_1081-23_0_3_load_45 | 43 | 0.0018471 | 0.00046292 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_1081-23_0_3_load_39 | 44 | 0.0067825 | 0.0016999 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_1081-23_0_3_load_40 | 45 | 0.0032523 | 0.00081511 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_1081-23_0_3_load_41 | 46 | 0.0017429 | 0.00043682 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_1081-23_0_3_load_43 | 48 | 0.0036327 | 0.00091045 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_1081-23_0_3_load_54 | 50 | 0.0040353 | 0.0010113 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_1081-23_0_3_load_57 | 51 | 0.0037045 | 0.00092844 | 0 | 0 |  | 1 | TRUE | wye
39 | LV_1081-23_0_3_load_48 | 53 | 0.00098191 | 0.00024609 | 0 | 0 |  | 1 | TRUE | wye
40 | LV_1081-23_0_3_load_49 | 54 | 0.0027039 | 0.00067765 | 0 | 0 |  | 1 | TRUE | wye
41 | LV_1081-23_0_3_load_50 | 55 | 0.0020581 | 0.00051581 | 0 | 0 |  | 1 | TRUE | wye
42 | LV_1081-23_0_3_load_52 | 56 | 0.0017898 | 0.00044857 | 0 | 0 |  | 1 | TRUE | wye
43 | LV_1081-23_0_3_load_58 | 57 | 0.0095011 | 0.0023812 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 19 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_1081-23_0_3_line_0 | NAYY 4x150 SE | 0 | 1 | 0.06173 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
1 | LV_1081-23_0_3_line_1 | NAYY 4x150 SE | 1 | 2 | 0.031691 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
2 | LV_1081-23_0_3_line_2 | NAYY 4x150 SE | 1 | 3 | 0.020932 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
3 | LV_1081-23_0_3_line_3 | NAYY 4x150 SE | 2 | 4 | 0.018107 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
4 | LV_1081-23_0_3_line_4 | NAYY 4x150 SE | 3 | 5 | 0.023759 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
5 | LV_1081-23_0_3_line_5 | NAYY 4x150 SE | 4 | 6 | 0.014334 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
6 | LV_1081-23_0_3_line_6 | NAYY 4x150 SE | 4 | 7 | 0.026413 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
7 | LV_1081-23_0_3_line_7 | NAYY 4x150 SE | 5 | 8 | 0.023169 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
8 | LV_1081-23_0_3_line_8 | NAYY 4x150 SE | 6 | 43 | 0.008781 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
9 | LV_1081-23_0_3_line_9 | NAYY 4x150 SE | 7 | 31 | 0.016765 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
10 | LV_1081-23_0_3_line_10 | NAYY 4x150 SE | 8 | 35 | 0.011524 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
11 | LV_1081-23_0_3_line_11 | NAYY 4x150 SE | 9 | 10 | 0.017572 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
12 | LV_1081-23_0_3_line_12 | NAYY 4x150 SE | 10 | 11 | 0.005289 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
13 | LV_1081-23_0_3_line_13 | NAYY 4x150 SE | 11 | 12 | 0.068518 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
14 | LV_1081-23_0_3_line_14 | NAYY 4x150 SE | 12 | 13 | 0.021201 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
15 | LV_1081-23_0_3_line_15 | NAYY 4x150 SE | 13 | 30 | 0.03605 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
16 | LV_1081-23_0_3_line_16 | NAYY 4x150 SE | 14 | 15 | 0.017295 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
17 | LV_1081-23_0_3_line_17 | NAYY 4x150 SE | 14 | 16 | 0.036265 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
18 | LV_1081-23_0_3_line_18 | NAYY 4x150 SE | 15 | 17 | 0.010202 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
19 | LV_1081-23_0_3_line_19 | NAYY 4x150 SE | 16 | 18 | 0.010089 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
20 | LV_1081-23_0_3_line_20 | NAYY 4x150 SE | 16 | 19 | 0.023615 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
21 | LV_1081-23_0_3_line_21 | NAYY 4x150 SE | 17 | 20 | 0.0050652 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
22 | LV_1081-23_0_3_line_22 | NAYY 4x150 SE | 18 | 21 | 0.024505 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
23 | LV_1081-23_0_3_line_23 | NAYY 4x150 SE | 18 | 22 | 0.043112 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
24 | LV_1081-23_0_3_line_24 | NAYY 4x150 SE | 19 | 23 | 0.011061 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
25 | LV_1081-23_0_3_line_25 | NAYY 4x150 SE | 20 | 24 | 0.0050001 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
26 | LV_1081-23_0_3_line_26 | NAYY 4x150 SE | 21 | 25 | 0.020735 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
27 | LV_1081-23_0_3_line_27 | NAYY 4x150 SE | 22 | 26 | 0.0028766 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
28 | LV_1081-23_0_3_line_28 | NAYY 4x150 SE | 23 | 27 | 0.013587 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
29 | LV_1081-23_0_3_line_29 | NAYY 4x150 SE | 24 | 32 | 0.02862 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
30 | LV_1081-23_0_3_line_30 | NAYY 4x150 SE | 26 | 29 | 0.025173 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
31 | LV_1081-23_0_3_line_31 | NAYY 4x150 SE | 27 | 48 | 0.013163 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
32 | LV_1081-23_0_3_line_32 | NAYY 4x150 SE | 28 | 29 | 0.0086352 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
33 | LV_1081-23_0_3_line_33 | NAYY 4x150 SE | 29 | 30 | 0.004843 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
34 | LV_1081-23_0_3_line_34 | NAYY 4x150 SE | 30 | 31 | 0.048963 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
35 | LV_1081-23_0_3_line_35 | NAYY 4x150 SE | 32 | 33 | 0.0119 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
36 | LV_1081-23_0_3_line_36 | NAYY 4x150 SE | 33 | 34 | 0.03948 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
37 | LV_1081-23_0_3_line_37 | NAYY 4x150 SE | 36 | 37 | 0.017869 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
38 | LV_1081-23_0_3_line_38 | NAYY 4x150 SE | 36 | 38 | 0.022688 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
39 | LV_1081-23_0_3_line_39 | NAYY 4x150 SE | 37 | 39 | 0.0057439 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
40 | LV_1081-23_0_3_line_40 | NAYY 4x150 SE | 39 | 40 | 0.022353 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
41 | LV_1081-23_0_3_line_41 | NAYY 4x150 SE | 40 | 41 | 0.0023953 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
42 | LV_1081-23_0_3_line_42 | NAYY 4x150 SE | 41 | 42 | 0.0080602 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
43 | LV_1081-23_0_3_line_43 | NAYY 4x150 SE | 42 | 43 | 0.013431 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
44 | LV_1081-23_0_3_line_44 | NAYY 4x150 SE | 44 | 45 | 0.0058265 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
45 | LV_1081-23_0_3_line_45 | NAYY 4x150 SE | 44 | 46 | 0.0049279 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
46 | LV_1081-23_0_3_line_46 | NAYY 4x150 SE | 45 | 47 | 0.013463 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
47 | LV_1081-23_0_3_line_47 | NAYY 4x150 SE | 46 | 48 | 0.013133 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
48 | LV_1081-23_0_3_line_48 | NAYY 4x150 SE | 47 | 49 | 0.041339 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
49 | LV_1081-23_0_3_line_49 | NAYY 4x150 SE | 47 | 50 | 0.014954 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
50 | LV_1081-23_0_3_line_50 | NAYY 4x150 SE | 49 | 51 | 0.015744 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
51 | LV_1081-23_0_3_line_51 | NAYY 4x150 SE | 49 | 52 | 0.025241 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
52 | LV_1081-23_0_3_line_52 | NAYY 4x150 SE | 51 | 57 | 0.024259 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
53 | LV_1081-23_0_3_line_53 | NAYY 4x150 SE | 52 | 56 | 0.026794 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
54 | LV_1081-23_0_3_line_54 | NAYY 4x150 SE | 52 | 54 | 0.04146 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
55 | LV_1081-23_0_3_line_55 | NAYY 4x150 SE | 53 | 54 | 0.022228 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
56 | LV_1081-23_0_3_line_56 | NAYY 4x150 SE | 53 | 55 | 0.014764 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_1081-23_0_3_trafo_13 | 0.25 MVA 20/0.4 kV | 58 | 19 | 0.25 | 20 | 0.4 | 6 | 1.44 | 0.8 | 0.32 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4
0 | 2655918.7171 | 1229387.0999 | 2655871.6646 | 1229427.0583
1 | 2655918.7171 | 1229387.0999 | 2655926.5976 | 1229378.8687 | 2655938.3807 | 1229362.3441
2 | 2655918.7171 | 1229387.0999 | 2655933.6795 | 1229401.7385
3 | 2655947.167 | 1229346.5414 | 2655940.3319 | 1229359.6077 | 2655938.3807 | 1229362.3441
4 | 2655933.6795 | 1229401.7385 | 2655950.6622 | 1229418.3537
5 | 2655947.167 | 1229346.5414 | 2655958.998 | 1229354.6344
6 | 2655947.167 | 1229346.5414 | 2655952.3665 | 1229330.9804 | 2655954.0625 | 1229321.1192
7 | 2655950.6622 | 1229418.3537 | 2655952.6699 | 1229420.318 | 2655967.5941 | 1229434.1679
8 | 2655958.998 | 1229354.6344 | 2655966.2456 | 1229359.592
9 | 2655954.0625 | 1229321.1192 | 2655955.484 | 1229312.8537 | 2655956.0566 | 1229304.4953
10 | 2655976.0414 | 1229442.0071 | 2655967.5941 | 1229434.1679
11 | 2655829.5252 | 1229266.2855 | 2655812.362 | 1229262.5168
12 | 2655830.0141 | 1229261.02 | 2655829.5252 | 1229266.2855
13 | 2655898.3913 | 1229265.4027 | 2655830.0141 | 1229261.02
14 | 2655919.253 | 1229261.625 | 2655898.3913 | 1229265.4027
15 | 2655953.6429 | 1229255.7111 | 2655935.0125 | 1229263.074 | 2655923.131 | 1229260.9165 | 2655919.253 | 1229261.625
16 | 2656066.3521 | 1229209.2848 | 2656082.4186 | 1229202.8831
17 | 2656031.9817 | 1229220.7705 | 2656045.316 | 1229216.6934 | 2656055.7706 | 1229213.501 | 2656066.3521 | 1229209.2848
18 | 2656082.4186 | 1229202.8831 | 2656091.896 | 1229199.1068
19 | 2656031.9817 | 1229220.7705 | 2656022.3316 | 1229223.8038
20 | 2656031.9817 | 1229220.7705 | 2656036.6 | 1229229.9309 | 2656037.3809 | 1229231.4837 | 2656041.4674 | 1229235.9806 | 2656046.4963 | 1229238.3102
21 | 2656096.6014 | 1229197.2319 | 2656091.896 | 1229199.1068
22 | 2656022.3316 | 1229223.8038 | 2656017.8483 | 1229213.9664 | 2656012.1732 | 1229201.5032
23 | 2656022.3316 | 1229223.8038 | 2656002.5584 | 1229230.2217 | 2655987.1547 | 1229236.8365 | 2655982.3105 | 1229239.5644
24 | 2656046.4963 | 1229238.3102 | 2656056.5331 | 1229242.9598
25 | 2656096.6014 | 1229197.2319 | 2656101.2463 | 1229195.3812
26 | 2656003.5802 | 1229182.6323 | 2656012.1732 | 1229201.5032
27 | 2655979.804 | 1229240.9759 | 2655982.3105 | 1229239.5644
28 | 2656068.8613 | 1229248.6708 | 2656056.5331 | 1229242.9598
29 | 2656127.832 | 1229184.7842 | 2656125.1703 | 1229185.8486 | 2656101.2463 | 1229195.3812
30 | 2655957.8699 | 1229253.3272 | 2655979.804 | 1229240.9759
31 | 2656080.8051 | 1229254.2038 | 2656068.8613 | 1229248.6708
32 | 2655957.8699 | 1229253.3272 | 2655952.5321 | 1229246.5393
33 | 2655953.6429 | 1229255.7111 | 2655957.8699 | 1229253.3272
34 | 2655953.6429 | 1229255.7111 | 2655955.6351 | 1229271.0285 | 2655956.7399 | 1229294.5205 | 2655956.0566 | 1229304.4953
35 | 2656127.832 | 1229184.7842 | 2656138.912 | 1229180.3636
36 | 2656138.912 | 1229180.3636 | 2656141.3137 | 1229188.3803 | 2656146.0954 | 1229204.3022 | 2656149.441 | 1229218.3973
37 | 2656023.9004 | 1229399.0303 | 2656009.1519 | 1229388.9418
38 | 2656023.9004 | 1229399.0303 | 2656042.6264 | 1229411.8397
39 | 2656004.4111 | 1229385.6989 | 2656009.1519 | 1229388.9418
40 | 2656004.4111 | 1229385.6989 | 2655985.9613 | 1229373.0784
41 | 2655983.9842 | 1229371.726 | 2655985.9613 | 1229373.0784
42 | 2655983.9842 | 1229371.726 | 2655977.3315 | 1229367.1753
43 | 2655966.2456 | 1229359.592 | 2655977.3315 | 1229367.1753
44 | 2656097.1928 | 1229261.7954 | 2656102.4795 | 1229264.2445
45 | 2656097.1928 | 1229261.7954 | 2656092.7213 | 1229259.724
46 | 2656114.695 | 1229269.9034 | 2656102.4795 | 1229264.2445
47 | 2656080.8051 | 1229254.2038 | 2656092.7213 | 1229259.724
48 | 2656114.695 | 1229269.9034 | 2656100.8574 | 1229308.8644
49 | 2656114.695 | 1229269.9034 | 2656127.7945 | 1229277.1166
50 | 2656100.8574 | 1229308.8644 | 2656089.4869 | 1229306.3556 | 2656085.7717 | 1229304.6216
51 | 2656096.6698 | 1229333.5629 | 2656098.048 | 1229316.7652 | 2656100.8574 | 1229308.8644
52 | 2656063.7889 | 1229294.3614 | 2656085.7717 | 1229304.6216
53 | 2656096.6698 | 1229333.5629 | 2656100.99 | 1229349.4137 | 2656106.8321 | 1229357.9753
54 | 2656096.6698 | 1229333.5629 | 2656091.5921 | 1229334.5712 | 2656055.4091 | 1229337.2626
55 | 2656033.4893 | 1229335.7468 | 2656037.8613 | 1229337.2778 | 2656042.0157 | 1229337.7839 | 2656049.5393 | 1229337.6992 | 2656055.4091 | 1229337.2626
56 | 2656020.9412 | 1229327.9681 | 2656033.4893 | 1229335.7468

## bus_geodata
| x | y | coords
0 | 2655871.6646 | 1229427.0583
1 | 2655918.7171 | 1229387.0999
2 | 2655938.3807 | 1229362.3441
3 | 2655933.6795 | 1229401.7385
4 | 2655947.167 | 1229346.5414
5 | 2655950.6622 | 1229418.3537
6 | 2655958.998 | 1229354.6344
7 | 2655954.0625 | 1229321.1192
8 | 2655967.5941 | 1229434.1679
9 | 2655812.362 | 1229262.5168
10 | 2655829.5252 | 1229266.2855
11 | 2655830.0141 | 1229261.02
12 | 2655898.3913 | 1229265.4027
13 | 2655919.253 | 1229261.625
14 | 2656066.3521 | 1229209.2848
15 | 2656082.4186 | 1229202.8831
16 | 2656031.9817 | 1229220.7705
17 | 2656091.896 | 1229199.1068
18 | 2656022.3316 | 1229223.8038
19 | 2656046.4963 | 1229238.3102
20 | 2656096.6014 | 1229197.2319
21 | 2656012.1732 | 1229201.5032
22 | 2655982.3105 | 1229239.5644
23 | 2656056.5331 | 1229242.9598
24 | 2656101.2463 | 1229195.3812
25 | 2656003.5802 | 1229182.6323
26 | 2655979.804 | 1229240.9759
27 | 2656068.8613 | 1229248.6708
28 | 2655952.5321 | 1229246.5393
29 | 2655957.8699 | 1229253.3272
30 | 2655953.6429 | 1229255.7111
31 | 2655956.0566 | 1229304.4953
32 | 2656127.832 | 1229184.7842
33 | 2656138.912 | 1229180.3636
34 | 2656149.441 | 1229218.3973
35 | 2655976.0414 | 1229442.0071
36 | 2656023.9004 | 1229399.0303
37 | 2656009.1519 | 1229388.9418
38 | 2656042.6264 | 1229411.8397
39 | 2656004.4111 | 1229385.6989
40 | 2655985.9613 | 1229373.0784
41 | 2655983.9842 | 1229371.726
42 | 2655977.3315 | 1229367.1753
43 | 2655966.2456 | 1229359.592
44 | 2656097.1928 | 1229261.7954
45 | 2656102.4795 | 1229264.2446
46 | 2656092.7213 | 1229259.724
47 | 2656114.695 | 1229269.9034
48 | 2656080.8051 | 1229254.2038
49 | 2656100.8574 | 1229308.8644
50 | 2656127.7945 | 1229277.1166
51 | 2656085.7717 | 1229304.6216
52 | 2656096.6698 | 1229333.5629
53 | 2656033.4893 | 1229335.7468
54 | 2656055.4091 | 1229337.2626
55 | 2656020.9412 | 1229327.9681
56 | 2656106.8321 | 1229357.9753
57 | 2656063.7889 | 1229294.3614
58 | 2656031.9817 | 1229220.7705

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## res_bus
| vm_pu | va_degree | p_mw | q_mvar
0 | 0.9862 | -0.09696 | 0.00097261 | 0.00024376
1 | 0.98629 | -0.096342 | 0 | 0
2 | 0.98661 | -0.094043 | 0.0034334 | 0.00086049
3 | 0.9861 | -0.097651 | 0.0035591 | 0.000892
4 | 0.98688 | -0.092092 | 0 | 0
5 | 0.98602 | -0.098268 | 0.00064779 | 0.00016235
6 | 0.98654 | -0.094544 | 0.0019024 | 0.00047679
7 | 0.98792 | -0.084739 | 0.0014966 | 0.00037509
8 | 0.98595 | -0.098715 | 0.0004547 | 0.00011396
9 | 0.99057 | -0.06601 | 0.00078973 | 0.00019793
10 | 0.99059 | -0.065869 | 0 | 0
11 | 0.9906 | -0.065826 | 0 | 0
12 | 0.99068 | -0.065272 | 0.0005945 | 0.000149
13 | 0.99072 | -0.064972 | 0 | 0
14 | 0.99443 | -0.038964 | 0.015668 | 0.0039267
15 | 0.99335 | -0.046512 | 0.001572 | 0.00039399
16 | 0.99749 | -0.017485 | 0 | 0
17 | 0.99274 | -0.05081 | 0.0028325 | 0.00070988
18 | 0.9962 | -0.026516 | 0 | 0
19 | 1 | 0 | -0.19862 | -0.049749
20 | 0.99246 | -0.0528 | 0.0019725 | 0.00049436
21 | 0.99505 | -0.034543 | 0.010534 | 0.0026401
22 | 0.99268 | -0.051138 | 0.0041643 | 0.0010437
23 | 0.99923 | -0.0053627 | 0.0055112 | 0.0013812
24 | 0.9922 | -0.054666 | 0.029707 | 0.0074453
25 | 0.9944 | -0.039143 | 0.021996 | 0.0055127
26 | 0.99247 | -0.052666 | 0.012455 | 0.0031216
27 | 0.9984 | -0.011211 | 0.0028144 | 0.00070535
28 | 0.99092 | -0.063556 | 0.0077673 | 0.0019467
29 | 0.99102 | -0.062875 | 0 | 0
30 | 0.99079 | -0.06446 | 0 | 0
31 | 0.98862 | -0.079824 | 0.0020991 | 0.00052609
32 | 0.9919 | -0.056729 | 0 | 0
33 | 0.99178 | -0.057586 | 0 | 0
34 | 0.99138 | -0.060433 | 0.0071014 | 0.0017798
35 | 0.98593 | -0.098884 | 0.0014244 | 0.000357
36 | 0.98564 | -0.10092 | 0.0010816 | 0.00027106
37 | 0.98572 | -0.10039 | 0.0020486 | 0.00051342
38 | 0.98558 | -0.10134 | 0.0018082 | 0.00045318
39 | 0.98576 | -0.1001 | 0.00072008 | 0.00018047
40 | 0.98594 | -0.0988 | 0.0035572 | 0.00089151
41 | 0.98597 | -0.098573 | 0.0018542 | 0.0004647
42 | 0.9861 | -0.097657 | 0.0018537 | 0.00046459
43 | 0.98635 | -0.095875 | 0.0018471 | 0.00046292
44 | 0.99671 | -0.023059 | 0.0067825 | 0.0016999
45 | 0.99647 | -0.024701 | 0.0032523 | 0.00081511
46 | 0.99695 | -0.021335 | 0.0017429 | 0.00043682
47 | 0.99599 | -0.028058 | 0 | 0
48 | 0.99764 | -0.016515 | 0.0036327 | 0.00091045
49 | 0.99476 | -0.036702 | 0 | 0
50 | 0.99591 | -0.028666 | 0.0040353 | 0.0010113
51 | 0.99447 | -0.0388 | 0.0037045 | 0.00092844
52 | 0.99449 | -0.038624 | 0 | 0
53 | 0.99405 | -0.041713 | 0.00098191 | 0.00024609
54 | 0.99415 | -0.04103 | 0.0027039 | 0.00067765
55 | 0.99401 | -0.04202 | 0.0020581 | 0.00051581
56 | 0.99442 | -0.039108 | 0.0017898 | 0.00044857
57 | 0.99414 | -0.041127 | 0.0095011 | 0.0023812
58 | 0.99998 | 149.9947 | 0 | 0

## res_line
| p_from_mw | q_from_mvar | p_to_mw | q_to_mvar | pl_mw | ql_mvar | i_from_ka | i_to_ka | i_ka | vm_from_pu | va_from_degree | vm_to_pu | va_to_degree | loading_percent
0 | -0.00097261 | -0.00024376 | 0.0009727 | 0.000243 | 8.294e-08 | -7.5583e-07 | 0.0014675 | 0.0014672 | 0.0014675 | 0.9862 | -0.09696 | 0.98629 | -0.096342 | 0.54353
1 | -0.0070602 | -0.0017679 | 0.0070624 | 0.0017683 | 2.2434e-06 | 4.5828e-07 | 0.010651 | 0.010651 | 0.010651 | 0.98629 | -0.096342 | 0.98661 | -0.094043 | 3.9449
2 | 0.0060875 | 0.0015249 | -0.0060864 | -0.0015247 | 1.1017e-06 | 1.5665e-07 | 0.009184 | 0.0091841 | 0.0091841 | 0.98629 | -0.096342 | 0.9861 | -0.097651 | 3.4015
3 | -0.010496 | -0.0026288 | 0.010499 | 0.0026297 | 2.8311e-06 | 8.5758e-07 | 0.015829 | 0.015829 | 0.015829 | 0.98661 | -0.094043 | 0.98688 | -0.092092 | 5.8627
4 | 0.0025273 | 0.0006327 | -0.0025271 | -0.00063292 | 2.156e-07 | -2.2014e-07 | 0.0038134 | 0.0038135 | 0.0038135 | 0.9861 | -0.097651 | 0.98602 | -0.098268 | 1.4124
5 | 0.016688 | 0.0041829 | -0.016682 | -0.0041809 | 5.663e-06 | 1.995e-06 | 0.025162 | 0.025162 | 0.025162 | 0.98688 | -0.092092 | 0.98654 | -0.094544 | 9.3192
6 | -0.027186 | -0.0068125 | 0.027214 | 0.0068228 | 2.7693e-05 | 1.0313e-05 | 0.040991 | 0.040991 | 0.040991 | 0.98688 | -0.092092 | 0.98792 | -0.084739 | 15.1819
7 | 0.0018793 | 0.00047057 | -0.0018792 | -0.00047082 | 1.1628e-07 | -2.5078e-07 | 0.0028359 | 0.002836 | 0.002836 | 0.98602 | -0.098268 | 0.98595 | -0.098715 | 1.0504
8 | 0.01478 | 0.0037041 | -0.014777 | -0.0037031 | 2.723e-06 | 9.3521e-07 | 0.022292 | 0.022293 | 0.022293 | 0.98654 | -0.094544 | 0.98635 | -0.095875 | 8.2565
9 | -0.028711 | -0.0071979 | 0.02873 | 0.0072052 | 1.9564e-05 | 7.3098e-06 | 0.043245 | 0.043245 | 0.043245 | 0.98792 | -0.084739 | 0.98862 | -0.079824 | 16.0168
10 | 0.0014245 | 0.00035686 | -0.0014244 | -0.000357 | 3.3236e-08 | -1.3419e-07 | 0.0021498 | 0.0021498 | 0.0021498 | 0.98595 | -0.098715 | 0.98593 | -0.098884 | 0.79623
11 | -0.00078973 | -0.00019793 | 0.00078975 | 0.0001977 | 1.543e-08 | -2.2028e-07 | 0.0011863 | 0.0011862 | 0.0011863 | 0.99057 | -0.06601 | 0.99059 | -0.065869 | 0.43938
12 | -0.00078975 | -0.0001977 | 0.00078975 | 0.00019764 | 4.644e-09 | -6.6303e-08 | 0.0011862 | 0.0011862 | 0.0011862 | 0.99059 | -0.065869 | 0.9906 | -0.065826 | 0.43935
13 | -0.00078975 | -0.00019764 | 0.00078981 | 0.00019678 | 6.0145e-08 | -8.5902e-07 | 0.0011862 | 0.0011859 | 0.0011862 | 0.9906 | -0.065826 | 0.99068 | -0.065272 | 0.43934
14 | -0.0013843 | -0.00034578 | 0.0013844 | 0.00034552 | 5.717e-08 | -2.51e-07 | 0.0020788 | 0.0020788 | 0.0020788 | 0.99068 | -0.065272 | 0.99072 | -0.064972 | 0.76994
15 | -0.0013844 | -0.00034552 | 0.0013845 | 0.0003451 | 9.72e-08 | -4.2687e-07 | 0.0020788 | 0.0020786 | 0.0020788 | 0.99072 | -0.064972 | 0.99079 | -0.06446 | 0.76991
16 | 0.043282 | 0.010859 | -0.043236 | -0.010842 | 4.5273e-05 | 1.7188e-05 | 0.064769 | 0.064769 | 0.064769 | 0.99443 | -0.038964 | 0.99335 | -0.046512 | 23.9884
17 | -0.058949 | -0.014785 | 0.059125 | 0.014853 | 0.00017609 | 6.7256e-05 | 0.088213 | 0.088213 | 0.088213 | 0.99443 | -0.038964 | 0.99749 | -0.017485 | 32.6715
18 | 0.041664 | 0.010448 | -0.041639 | -0.010438 | 2.4799e-05 | 9.406e-06 | 0.062414 | 0.062414 | 0.062414 | 0.99335 | -0.046512 | 0.99274 | -0.05081 | 23.1163
19 | 0.08963 | 0.022531 | -0.089517 | -0.022487 | 0.00011259 | 4.3172e-05 | 0.13373 | 0.13373 | 0.13373 | 0.99749 | -0.017485 | 0.9962 | -0.026516 | 49.5297
20 | -0.14876 | -0.037383 | 0.14912 | 0.037522 | 0.00036294 | 0.00013897 | 0.22194 | 0.22194 | 0.22194 | 0.99749 | -0.017485 | 1 | 0 | 41.1006
21 | 0.038807 | 0.0097282 | -0.038796 | -0.0097242 | 1.0694e-05 | 4.0478e-06 | 0.058168 | 0.058168 | 0.058168 | 0.99274 | -0.05081 | 0.99246 | -0.0528 | 21.5439
22 | 0.03258 | 0.0081715 | -0.032544 | -0.0081579 | 3.6217e-05 | 1.3611e-05 | 0.048667 | 0.048667 | 0.048667 | 0.9962 | -0.026516 | 0.99505 | -0.034543 | 18.0249
23 | 0.056937 | 0.014316 | -0.056742 | -0.014242 | 0.00019466 | 7.4308e-05 | 0.085063 | 0.085063 | 0.085063 | 0.9962 | -0.026516 | 0.99268 | -0.051138 | 31.5049
24 | 0.048699 | 0.012226 | -0.048663 | -0.012213 | 3.6252e-05 | 1.3798e-05 | 0.072472 | 0.072472 | 0.072472 | 1 | 0 | 0.99923 | -0.0053627 | 26.8415
25 | 0.036824 | 0.0092298 | -0.036814 | -0.0092263 | 9.5107e-06 | 3.5933e-06 | 0.055211 | 0.055211 | 0.055211 | 0.99246 | -0.0528 | 0.9922 | -0.054666 | 20.4485
26 | 0.02201 | 0.0055178 | -0.021996 | -0.0055127 | 1.4017e-05 | 5.1221e-06 | 0.032914 | 0.032915 | 0.032915 | 0.99505 | -0.034543 | 0.9944 | -0.039143 | 12.1906
27 | 0.052578 | 0.013198 | -0.052567 | -0.013194 | 1.1152e-05 | 4.252e-06 | 0.078821 | 0.078821 | 0.078821 | 0.99268 | -0.051138 | 0.99247 | -0.052666 | 29.193
28 | 0.043151 | 0.010831 | -0.043116 | -0.010818 | 3.5015e-05 | 1.3289e-05 | 0.064265 | 0.064265 | 0.064265 | 0.99923 | -0.0053627 | 0.9984 | -0.011211 | 23.8019
29 | 0.007107 | 0.0017809 | -0.007105 | -0.0017805 | 2.0288e-06 | 4.1079e-07 | 0.010658 | 0.010659 | 0.010659 | 0.9922 | -0.054666 | 0.9919 | -0.056729 | 3.9476
30 | 0.040112 | 0.010072 | -0.040055 | -0.010051 | 5.6824e-05 | 2.1531e-05 | 0.060147 | 0.060147 | 0.060147 | 0.99247 | -0.052666 | 0.99102 | -0.062875 | 22.2765
31 | 0.040302 | 0.010113 | -0.040272 | -0.010101 | 2.964e-05 | 1.1228e-05 | 0.060071 | 0.060071 | 0.060071 | 0.9984 | -0.011211 | 0.99764 | -0.016515 | 22.2484
32 | -0.0077673 | -0.0019467 | 0.007768 | 0.0019468 | 7.3304e-07 | 1.7069e-07 | 0.011664 | 0.011664 | 0.011664 | 0.99092 | -0.063556 | 0.99102 | -0.062875 | 4.3199
33 | 0.032287 | 0.0081038 | -0.03228 | -0.0081011 | 7.1036e-06 | 2.6698e-06 | 0.048483 | 0.048483 | 0.048483 | 0.99102 | -0.062875 | 0.99079 | -0.06446 | 17.9567
34 | 0.030895 | 0.007756 | -0.030829 | -0.0077313 | 6.5791e-05 | 2.4675e-05 | 0.046404 | 0.046405 | 0.046405 | 0.99079 | -0.06446 | 0.98862 | -0.079824 | 17.1869
35 | 0.007105 | 0.0017805 | -0.0071042 | -0.0017803 | 8.4359e-07 | 1.7088e-07 | 0.010659 | 0.010659 | 0.010659 | 0.9919 | -0.056729 | 0.99178 | -0.057586 | 3.9476
36 | 0.0071042 | 0.0017803 | -0.0071014 | -0.0017798 | 2.7988e-06 | 5.672e-07 | 0.010659 | 0.010659 | 0.010659 | 0.99178 | -0.057586 | 0.99138 | -0.060433 | 3.9477
37 | -0.0028899 | -0.000724 | 0.0028901 | 0.00072385 | 2.1222e-07 | -1.4614e-07 | 0.0043627 | 0.0043626 | 0.0043627 | 0.98564 | -0.10092 | 0.98572 | -0.10039 | 1.6158
38 | 0.0018083 | 0.00045293 | -0.0018082 | -0.00045318 | 1.0551e-07 | -2.4856e-07 | 0.0027299 | 0.00273 | 0.00273 | 0.98564 | -0.10092 | 0.98558 | -0.10134 | 1.0111
39 | -0.0049386 | -0.0012373 | 0.0049388 | 0.0012373 | 1.992e-07 | 3.3954e-09 | 0.0074551 | 0.0074551 | 0.0074551 | 0.98572 | -0.10039 | 0.98576 | -0.1001 | 2.7612
40 | -0.0056589 | -0.0014177 | 0.0056599 | 0.0014178 | 1.0178e-06 | 1.0643e-07 | 0.0085421 | 0.008542 | 0.0085421 | 0.98576 | -0.1001 | 0.98594 | -0.0988 | 3.1637
41 | -0.0092171 | -0.0023094 | 0.0092174 | 0.0023094 | 2.8923e-07 | 8.0693e-08 | 0.013911 | 0.013911 | 0.013911 | 0.98594 | -0.0988 | 0.98597 | -0.098573 | 5.1521
42 | -0.011072 | -0.0027741 | 0.011073 | 0.0027746 | 1.4042e-06 | 4.3726e-07 | 0.016709 | 0.016709 | 0.016709 | 0.98597 | -0.098573 | 0.9861 | -0.097657 | 6.1885
43 | -0.012927 | -0.0032392 | 0.01293 | 0.0032402 | 3.1889e-06 | 1.0551e-06 | 0.019506 | 0.019506 | 0.019506 | 0.9861 | -0.097657 | 0.98635 | -0.095875 | 7.2245
44 | 0.028081 | 0.007042 | -0.028075 | -0.0070396 | 6.3906e-06 | 2.382e-06 | 0.041925 | 0.041925 | 0.041925 | 0.99671 | -0.023059 | 0.99647 | -0.024701 | 15.5278
45 | -0.034864 | -0.0087418 | 0.034872 | 0.008745 | 8.3312e-06 | 3.1401e-06 | 0.052051 | 0.052051 | 0.052051 | 0.99671 | -0.023059 | 0.99695 | -0.021335 | 19.2781
46 | 0.024823 | 0.0062245 | -0.024811 | -0.0062202 | 1.1543e-05 | 4.2643e-06 | 0.037068 | 0.037069 | 0.037069 | 0.99647 | -0.024701 | 0.99599 | -0.028058 | 13.7291
47 | -0.036615 | -0.0091818 | 0.03664 | 0.009191 | 2.4477e-05 | 9.2428e-06 | 0.054652 | 0.054652 | 0.054652 | 0.99695 | -0.021335 | 0.99764 | -0.016515 | 20.2416
48 | 0.020775 | 0.0052089 | -0.020751 | -0.0051999 | 2.4853e-05 | 9.0214e-06 | 0.031039 | 0.03104 | 0.03104 | 0.99599 | -0.028058 | 0.99476 | -0.036702 | 11.4961
49 | 0.0040356 | 0.0010113 | -0.0040353 | -0.0010113 | 3.3921e-07 | -6.4136e-08 | 0.0060292 | 0.0060293 | 0.0060293 | 0.99599 | -0.028058 | 0.99591 | -0.028666 | 2.2331
50 | 0.013213 | 0.0033118 | -0.013209 | -0.0033105 | 3.8375e-06 | 1.2716e-06 | 0.019764 | 0.019764 | 0.019764 | 0.99476 | -0.036702 | 0.99447 | -0.0388 | 7.32
51 | 0.0075381 | 0.0018881 | -0.0075361 | -0.0018877 | 2.0025e-06 | 4.4258e-07 | 0.011275 | 0.011276 | 0.011276 | 0.99476 | -0.036702 | 0.99449 | -0.038624 | 4.1761
52 | 0.0095041 | 0.0023821 | -0.0095011 | -0.0023812 | 3.0615e-06 | 8.6284e-07 | 0.014221 | 0.014221 | 0.014221 | 0.99447 | -0.0388 | 0.99414 | -0.041127 | 5.2671
53 | 0.0017899 | 0.00044827 | -0.0017898 | -0.00044857 | 1.1992e-07 | -3.0151e-07 | 0.0026781 | 0.0026782 | 0.0026782 | 0.99449 | -0.038624 | 0.99442 | -0.039108 | 0.99193
54 | 0.0057462 | 0.0014394 | -0.0057442 | -0.0014392 | 1.9123e-06 | 1.9775e-07 | 0.0085975 | 0.0085977 | 0.0085977 | 0.99449 | -0.038624 | 0.99415 | -0.04103 | 3.1843
55 | -0.0030401 | -0.00076174 | 0.0030404 | 0.00076156 | 2.8723e-07 | -1.7771e-07 | 0.0045507 | 0.0045506 | 0.0045507 | 0.99405 | -0.041713 | 0.99415 | -0.04103 | 1.6855
56 | 0.0020582 | 0.00051565 | -0.0020581 | -0.00051581 | 8.7445e-08 | -1.5775e-07 | 0.0030809 | 0.0030809 | 0.0030809 | 0.99405 | -0.041713 | 0.99401 | -0.04202 | 1.1411

## res_trafo
| p_hv_mw | q_hv_mvar | p_lv_mw | q_lv_mvar | pl_mw | ql_mvar | i_hv_ka | i_lv_ka | vm_hv_pu | va_hv_degree | vm_lv_pu | va_lv_degree | loading_percent
0 | 2.5187e-16 | 8.8016e-16 | 0.00079998 | 7.4552e-08 | 0.00079998 | 7.4552e-08 | 2.6429e-17 | 0.0011547 | 0.99998 | 149.9947 | 1 | 0 | 0.31999

## res_ext_grid
| p_mw | q_mvar
0 | 0.20744 | 0.05196

## res_load
| p_mw | q_mvar
0 | 0.00097261 | 0.00024376
1 | 0.0034334 | 0.00086049
2 | 0.0035591 | 0.000892
3 | 0.00064779 | 0.00016235
4 | 0.0019024 | 0.00047679
5 | 0.0014966 | 0.00037509
6 | 0.0004547 | 0.00011396
7 | 0.00078973 | 0.00019793
8 | 0.0005945 | 0.000149
9 | 0.015668 | 0.0039267
10 | 0.001572 | 0.00039399
11 | 0.0028325 | 0.00070988
12 | 0.0088235 | 0.0022114
13 | 0.0019725 | 0.00049436
14 | 0.010534 | 0.0026401
15 | 0.0041643 | 0.0010437
16 | 0.0055112 | 0.0013812
17 | 0.029707 | 0.0074453
18 | 0.021996 | 0.0055127
19 | 0.012455 | 0.0031216
20 | 0.0028144 | 0.00070535
21 | 0.0077673 | 0.0019467
22 | 0.0020991 | 0.00052609
23 | 0.0071014 | 0.0017798
24 | 0.0014244 | 0.000357
25 | 0.0010816 | 0.00027106
26 | 0.0020486 | 0.00051342
27 | 0.0018082 | 0.00045318
28 | 0.00072008 | 0.00018047
29 | 0.0035572 | 0.00089151
30 | 0.0018542 | 0.0004647
31 | 0.0018537 | 0.00046459
32 | 0.0018471 | 0.00046292
33 | 0.0067825 | 0.0016999
34 | 0.0032523 | 0.00081511
35 | 0.0017429 | 0.00043682
36 | 0.0036327 | 0.00091045
37 | 0.0040353 | 0.0010113
38 | 0.0037045 | 0.00092844
39 | 0.00098191 | 0.00024609
40 | 0.0027039 | 0.00067765
41 | 0.0020581 | 0.00051581
42 | 0.0017898 | 0.00044857
43 | 0.0095011 | 0.0023812

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object
62 | res_bus | vm_pu | float64
63 | res_bus | va_degree | float64
64 | res_bus | p_mw | float64
65 | res_bus | q_mvar | float64
66 | res_line | p_from_mw | float64
67 | res_line | q_from_mvar | float64
68 | res_line | p_to_mw | float64
69 | res_line | q_to_mvar | float64
70 | res_line | pl_mw | float64
71 | res_line | ql_mvar | float64
72 | res_line | i_from_ka | float64
73 | res_line | i_to_ka | float64
74 | res_line | i_ka | float64
75 | res_line | vm_from_pu | float64
76 | res_line | va_from_degree | float64
77 | res_line | vm_to_pu | float64
78 | res_line | va_to_degree | float64
79 | res_line | loading_percent | float64
80 | res_trafo | p_hv_mw | float64
81 | res_trafo | q_hv_mvar | float64
82 | res_trafo | p_lv_mw | float64
83 | res_trafo | q_lv_mvar | float64
84 | res_trafo | pl_mw | float64
85 | res_trafo | ql_mvar | float64
86 | res_trafo | i_hv_ka | float64
87 | res_trafo | i_lv_ka | float64
88 | res_trafo | vm_hv_pu | float64
89 | res_trafo | va_hv_degree | float64
90 | res_trafo | vm_lv_pu | float64
91 | res_trafo | va_lv_degree | float64
92 | res_trafo | loading_percent | float64
93 | res_ext_grid | p_mw | float64
94 | res_ext_grid | q_mvar | float64
95 | res_load | p_mw | float64
96 | res_load | q_mvar | float64

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | TRUE | FALSE |  | 50 | 1