## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_1081-29_0_2_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_1081-29_0_2_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_1081-29_0_2_node_2 | 0.4 | n |  | TRUE
3 | bus_LV_1081-29_0_2_node_3 | 0.4 | n |  | TRUE
4 | bus_LV_1081-29_0_2_node_4 | 0.4 | n |  | TRUE
5 | bus_LV_1081-29_0_2_node_5 | 0.4 | n |  | TRUE
6 | bus_LV_1081-29_0_2_node_27 | 0.4 | n |  | TRUE
7 | bus_LV_1081-29_0_2_node_34 | 0.4 | n |  | TRUE
8 | bus_LV_1081-29_0_2_node_24 | 0.4 | n |  | TRUE
9 | bus_LV_1081-29_0_2_node_32 | 0.4 | n |  | TRUE
10 | bus_LV_1081-29_0_2_node_35 | 0.4 | n |  | TRUE
11 | bus_LV_1081-29_0_2_node_23 | 0.4 | n |  | TRUE
12 | bus_LV_1081-29_0_2_node_6 | 0.4 | n |  | TRUE
13 | bus_LV_1081-29_0_2_node_7 | 0.4 | n |  | TRUE
14 | bus_LV_1081-29_0_2_node_8 | 0.4 | n |  | TRUE
15 | bus_LV_1081-29_0_2_node_9 | 0.4 | n |  | TRUE
16 | bus_LV_1081-29_0_2_node_69 | 0.4 | n |  | TRUE
17 | bus_LV_1081-29_0_2_node_30 | 0.4 | n |  | TRUE
18 | bus_LV_1081-29_0_2_node_29 | 0.4 | n |  | TRUE
19 | bus_LV_1081-29_0_2_node_10 | 0.4 | n |  | TRUE
20 | bus_LV_1081-29_0_2_node_11 | 0.4 | n |  | TRUE
21 | bus_LV_1081-29_0_2_node_12 | 0.4 | n |  | TRUE
22 | bus_LV_1081-29_0_2_node_13 | 0.4 | n |  | TRUE
23 | bus_LV_1081-29_0_2_node_25 | 0.4 | n |  | TRUE
24 | bus_LV_1081-29_0_2_node_28 | 0.4 | n |  | TRUE
25 | bus_LV_1081-29_0_2_node_26 | 0.4 | n |  | TRUE
26 | bus_LV_1081-29_0_2_node_18 | 0.4 | n |  | TRUE
27 | bus_LV_1081-29_0_2_node_14 | 0.4 | n |  | TRUE
28 | bus_LV_1081-29_0_2_node_15 | 0.4 | n |  | TRUE
29 | bus_LV_1081-29_0_2_node_16 | 0.4 | n |  | TRUE
30 | bus_LV_1081-29_0_2_node_17 | 0.4 | n |  | TRUE
31 | bus_LV_1081-29_0_2_node_19 | 0.4 | n |  | TRUE
32 | bus_LV_1081-29_0_2_node_47 | 0.4 | n |  | TRUE
33 | bus_LV_1081-29_0_2_node_45 | 0.4 | n |  | TRUE
34 | bus_LV_1081-29_0_2_node_59 | 0.4 | n |  | TRUE
35 | bus_LV_1081-29_0_2_node_51 | 0.4 | n |  | TRUE
36 | bus_LV_1081-29_0_2_node_46 | 0.4 | n |  | TRUE
37 | bus_LV_1081-29_0_2_node_20 | 0.4 | n |  | TRUE
38 | bus_LV_1081-29_0_2_node_21 | 0.4 | n |  | TRUE
39 | bus_LV_1081-29_0_2_node_22 | 0.4 | n |  | TRUE
40 | bus_LV_1081-29_0_2_node_44 | 0.4 | n |  | TRUE
41 | bus_LV_1081-29_0_2_node_31 | 0.4 | n |  | TRUE
42 | bus_LV_1081-29_0_2_node_33 | 0.4 | n |  | TRUE
43 | bus_LV_1081-29_0_2_node_40 | 0.4 | n |  | TRUE
44 | bus_LV_1081-29_0_2_node_43 | 0.4 | n |  | TRUE
45 | bus_LV_1081-29_0_2_node_38 | 0.4 | n |  | TRUE
46 | bus_LV_1081-29_0_2_node_36 | 0.4 | n |  | TRUE
47 | bus_LV_1081-29_0_2_node_37 | 0.4 | n |  | TRUE
48 | bus_LV_1081-29_0_2_node_39 | 0.4 | n |  | TRUE
49 | bus_LV_1081-29_0_2_node_41 | 0.4 | n |  | TRUE
50 | bus_LV_1081-29_0_2_node_42 | 0.4 | n |  | TRUE
51 | bus_LV_1081-29_0_2_node_58 | 0.4 | n |  | TRUE
52 | bus_LV_1081-29_0_2_node_56 | 0.4 | n |  | TRUE
53 | bus_LV_1081-29_0_2_node_57 | 0.4 | n |  | TRUE
54 | bus_LV_1081-29_0_2_node_49 | 0.4 | n |  | TRUE
55 | bus_LV_1081-29_0_2_node_48 | 0.4 | n |  | TRUE
56 | bus_LV_1081-29_0_2_node_50 | 0.4 | n |  | TRUE
57 | bus_LV_1081-29_0_2_node_54 | 0.4 | n |  | TRUE
58 | bus_LV_1081-29_0_2_node_52 | 0.4 | n |  | TRUE
59 | bus_LV_1081-29_0_2_node_53 | 0.4 | n |  | TRUE
60 | bus_LV_1081-29_0_2_node_55 | 0.4 | n |  | TRUE
61 | bus_LV_1081-29_0_2_node_62 | 0.4 | n |  | TRUE
62 | bus_LV_1081-29_0_2_node_67 | 0.4 | n |  | TRUE
63 | bus_LV_1081-29_0_2_node_64 | 0.4 | n |  | TRUE
64 | bus_LV_1081-29_0_2_node_60 | 0.4 | n |  | TRUE
65 | bus_LV_1081-29_0_2_node_68 | 0.4 | n |  | TRUE
66 | bus_LV_1081-29_0_2_node_61 | 0.4 | n |  | TRUE
67 | bus_LV_1081-29_0_2_node_65 | 0.4 | n |  | TRUE
68 | bus_LV_1081-29_0_2_node_66 | 0.4 | n |  | TRUE
69 | bus_MV_470_2_node_346 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_1081-29_0_2_load_0 | 0 | 0.00037145 | 9.3095e-05 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_1081-29_0_2_load_1 | 1 | 0.00051362 | 0.00012873 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_1081-29_0_2_load_3 | 3 | 0.00029024 | 7.2741e-05 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_1081-29_0_2_load_4 | 4 | 0.00018459 | 4.6264e-05 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_1081-29_0_2_load_5 | 5 | 0.00040392 | 0.00010123 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_1081-29_0_2_load_27 | 6 | 0.0011646 | 0.00029188 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_1081-29_0_2_load_34 | 7 | 0.00019776 | 4.9563e-05 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_1081-29_0_2_load_35 | 10 | 0.00054758 | 0.00013724 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_1081-29_0_2_load_6 | 12 | 0.00028637 | 7.1771e-05 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_1081-29_0_2_load_7 | 13 | 0.00044988 | 0.00011275 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_1081-29_0_2_load_8 | 14 | 0.00071711 | 0.00017973 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_1081-29_0_2_load_9 | 15 | 0.00039165 | 9.8156e-05 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_1081-29_0_2_load_69 | 16 | 0.0015716 | 0.00039389 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_1081-29_0_2_load_30 | 17 | 0.00067666 | 0.00016959 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_1081-29_0_2_load_29 | 18 | 0.0026507 | 0.00066433 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_1081-29_0_2_load_10 | 19 | 0.0020322 | 0.00050931 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_1081-29_0_2_load_12 | 21 | 0.0026802 | 0.00067172 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_1081-29_0_2_load_13 | 22 | 0.0013624 | 0.00034145 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_1081-29_0_2_load_25 | 23 | 0.0037256 | 0.00093371 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_1081-29_0_2_load_28 | 24 | 0.001729 | 0.00043333 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_1081-29_0_2_load_26 | 25 | 0.0050767 | 0.0012723 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_1081-29_0_2_load_18 | 26 | 0.0017475 | 0.00043796 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_1081-29_0_2_load_14 | 27 | 0.0024689 | 0.00061877 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_1081-29_0_2_load_19 | 31 | 0.0042931 | 0.001076 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_1081-29_0_2_load_47 | 32 | 0.0029832 | 0.00074767 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_1081-29_0_2_load_45 | 33 | 0.0033148 | 0.00083077 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_1081-29_0_2_load_59 | 34 | 0.0073766 | 0.0018488 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_1081-29_0_2_load_46 | 36 | 0.0056986 | 0.0014282 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_1081-29_0_2_load_20 | 37 | 0.002434 | 0.00061001 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_1081-29_0_2_load_22 | 39 | 0.00086192 | 0.00021602 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_1081-29_0_2_load_44 | 40 | 0.0013687 | 0.00034302 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_1081-29_0_2_load_33 | 42 | 0.0017505 | 0.00043872 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_1081-29_0_2_load_40 | 43 | 0.0018298 | 0.00045858 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_1081-29_0_2_load_43 | 44 | 0.0018625 | 0.00046679 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_1081-29_0_2_load_38 | 45 | 0.0022408 | 0.00056161 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_1081-29_0_2_load_36 | 46 | 0.0016265 | 0.00040764 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_1081-29_0_2_load_37 | 47 | 0.0018363 | 0.00046023 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_1081-29_0_2_load_41 | 49 | 0.0012904 | 0.00032342 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_1081-29_0_2_load_42 | 50 | 0.0018032 | 0.00045193 | 0 | 0 |  | 1 | TRUE | wye
39 | LV_1081-29_0_2_load_58 | 51 | 0.011192 | 0.002805 | 0 | 0 |  | 1 | TRUE | wye
40 | LV_1081-29_0_2_load_56 | 52 | 0.011478 | 0.0028767 | 0 | 0 |  | 1 | TRUE | wye
41 | LV_1081-29_0_2_load_57 | 53 | 0.0045717 | 0.0011458 | 0 | 0 |  | 1 | TRUE | wye
42 | LV_1081-29_0_2_load_49 | 54 | 0.0025591 | 0.00064136 | 0 | 0 |  | 1 | TRUE | wye
43 | LV_1081-29_0_2_load_48 | 55 | 0.006111 | 0.0015316 | 0 | 0 |  | 1 | TRUE | wye
44 | LV_1081-29_0_2_load_50 | 56 | 0.018425 | 0.0046177 | 0 | 0 |  | 1 | TRUE | wye
45 | LV_1081-29_0_2_load_52 | 58 | 0.011642 | 0.0029177 | 0 | 0 |  | 1 | TRUE | wye
46 | LV_1081-29_0_2_load_67 | 62 | 0.0030141 | 0.00075539 | 0 | 0 |  | 1 | TRUE | wye
47 | LV_1081-29_0_2_load_64 | 63 | 0.0024301 | 0.00060904 | 0 | 0 |  | 1 | TRUE | wye
48 | LV_1081-29_0_2_load_60 | 64 | 0.0013685 | 0.00034298 | 0 | 0 |  | 1 | TRUE | wye
49 | LV_1081-29_0_2_load_68 | 65 | 0.0079781 | 0.0019995 | 0 | 0 |  | 1 | TRUE | wye
50 | LV_1081-29_0_2_load_61 | 66 | 0.0013948 | 0.00034957 | 0 | 0 |  | 1 | TRUE | wye
51 | LV_1081-29_0_2_load_65 | 67 | 0.0014577 | 0.00036534 | 0 | 0 |  | 1 | TRUE | wye
52 | LV_1081-29_0_2_load_66 | 68 | 0.0035708 | 0.00089493 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 56 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_1081-29_0_2_line_0 | NAYY 4x150 SE | 0 | 1 | 0.0060356 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
1 | LV_1081-29_0_2_line_1 | NAYY 4x150 SE | 0 | 2 | 0.016612 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
2 | LV_1081-29_0_2_line_2 | NAYY 4x150 SE | 1 | 3 | 0.025476 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
3 | LV_1081-29_0_2_line_3 | NAYY 4x150 SE | 2 | 4 | 0.051174 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
4 | LV_1081-29_0_2_line_4 | NAYY 4x150 SE | 2 | 5 | 0.011569 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
5 | LV_1081-29_0_2_line_5 | NAYY 4x150 SE | 3 | 6 | 0.0091102 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
6 | LV_1081-29_0_2_line_6 | NAYY 4x150 SE | 4 | 7 | 0.011478 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
7 | LV_1081-29_0_2_line_7 | NAYY 4x150 SE | 5 | 8 | 0.034072 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
8 | LV_1081-29_0_2_line_8 | NAYY 4x150 SE | 6 | 9 | 0.016104 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
9 | LV_1081-29_0_2_line_9 | NAYY 4x150 SE | 7 | 10 | 0.00034876 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
10 | LV_1081-29_0_2_line_10 | NAYY 4x150 SE | 8 | 11 | 0.087789 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
11 | LV_1081-29_0_2_line_11 | NAYY 4x150 SE | 9 | 40 | 0.012748 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
12 | LV_1081-29_0_2_line_12 | NAYY 4x150 SE | 10 | 46 | 0.019297 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
13 | LV_1081-29_0_2_line_13 | NAYY 4x150 SE | 11 | 39 | 0.25757 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
14 | LV_1081-29_0_2_line_14 | NAYY 4x150 SE | 12 | 13 | 0.0093097 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
15 | LV_1081-29_0_2_line_15 | NAYY 4x150 SE | 12 | 14 | 0.013052 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
16 | LV_1081-29_0_2_line_16 | NAYY 4x150 SE | 13 | 15 | 0.023345 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
17 | LV_1081-29_0_2_line_17 | NAYY 4x150 SE | 13 | 16 | 0.050581 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
18 | LV_1081-29_0_2_line_18 | NAYY 4x150 SE | 15 | 17 | 0.0041452 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
19 | LV_1081-29_0_2_line_19 | NAYY 4x150 SE | 17 | 18 | 0.017842 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
20 | LV_1081-29_0_2_line_20 | NAYY 4x150 SE | 18 | 41 | 0.010038 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
21 | LV_1081-29_0_2_line_21 | NAYY 4x150 SE | 19 | 20 | 0.022593 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
22 | LV_1081-29_0_2_line_22 | NAYY 4x150 SE | 20 | 21 | 0.017694 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
23 | LV_1081-29_0_2_line_23 | NAYY 4x150 SE | 20 | 22 | 0.01543 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
24 | LV_1081-29_0_2_line_24 | NAYY 4x150 SE | 21 | 23 | 0.0084164 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
25 | LV_1081-29_0_2_line_25 | NAYY 4x150 SE | 22 | 24 | 0.015057 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
26 | LV_1081-29_0_2_line_26 | NAYY 4x150 SE | 23 | 25 | 0.0055422 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
27 | LV_1081-29_0_2_line_27 | NAYY 4x150 SE | 24 | 26 | 0.0047754 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
28 | LV_1081-29_0_2_line_28 | NAYY 4x150 SE | 26 | 28 | 0.014582 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
29 | LV_1081-29_0_2_line_29 | NAYY 4x150 SE | 27 | 28 | 0.026772 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
30 | LV_1081-29_0_2_line_30 | NAYY 4x150 SE | 27 | 29 | 0.014586 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
31 | LV_1081-29_0_2_line_31 | NAYY 4x150 SE | 28 | 30 | 0.021091 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
32 | LV_1081-29_0_2_line_32 | NAYY 4x150 SE | 29 | 31 | 0.047349 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
33 | LV_1081-29_0_2_line_33 | NAYY 4x150 SE | 30 | 32 | 0.015462 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
34 | LV_1081-29_0_2_line_34 | NAYY 4x150 SE | 30 | 33 | 0.014898 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
35 | LV_1081-29_0_2_line_35 | NAYY 4x150 SE | 31 | 34 | 0.0045959 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
36 | LV_1081-29_0_2_line_36 | NAYY 4x150 SE | 32 | 35 | 0.034854 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
37 | LV_1081-29_0_2_line_37 | NAYY 4x150 SE | 33 | 36 | 0.020815 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
38 | LV_1081-29_0_2_line_38 | NAYY 4x150 SE | 35 | 53 | 0.019703 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
39 | LV_1081-29_0_2_line_39 | NAYY 4x150 SE | 35 | 54 | 0.013898 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
40 | LV_1081-29_0_2_line_40 | NAYY 4x150 SE | 37 | 38 | 0.017851 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
41 | LV_1081-29_0_2_line_41 | NAYY 4x150 SE | 38 | 39 | 0.042066 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
42 | LV_1081-29_0_2_line_42 | NAYY 4x150 SE | 40 | 44 | 0.0011281 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
43 | LV_1081-29_0_2_line_43 | NAYY 4x150 SE | 41 | 42 | 0.019308 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
44 | LV_1081-29_0_2_line_44 | NAYY 4x150 SE | 42 | 43 | 0.0056643 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
45 | LV_1081-29_0_2_line_45 | NAYY 4x150 SE | 43 | 45 | 0.02137 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
46 | LV_1081-29_0_2_line_46 | NAYY 4x150 SE | 44 | 49 | 0.03575 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
47 | LV_1081-29_0_2_line_47 | NAYY 4x150 SE | 45 | 47 | 0.011024 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
48 | LV_1081-29_0_2_line_48 | NAYY 4x150 SE | 47 | 48 | 0.018988 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
49 | LV_1081-29_0_2_line_49 | NAYY 4x150 SE | 48 | 49 | 0.038849 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
50 | LV_1081-29_0_2_line_50 | NAYY 4x150 SE | 48 | 50 | 0.0078082 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
51 | LV_1081-29_0_2_line_51 | NAYY 4x150 SE | 50 | 51 | 0.056635 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
52 | LV_1081-29_0_2_line_52 | NAYY 4x150 SE | 51 | 52 | 0.028716 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
53 | LV_1081-29_0_2_line_53 | NAYY 4x150 SE | 52 | 59 | 0.031549 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
54 | LV_1081-29_0_2_line_54 | NAYY 4x150 SE | 53 | 57 | 0.0052442 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
55 | LV_1081-29_0_2_line_55 | NAYY 4x150 SE | 54 | 55 | 0.00072192 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
56 | LV_1081-29_0_2_line_56 | NAYY 4x150 SE | 55 | 56 | 0.020159 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
57 | LV_1081-29_0_2_line_57 | NAYY 4x150 SE | 57 | 58 | 0.018359 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
58 | LV_1081-29_0_2_line_58 | NAYY 4x150 SE | 58 | 59 | 0.015224 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
59 | LV_1081-29_0_2_line_59 | NAYY 4x150 SE | 59 | 60 | 0.044014 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
60 | LV_1081-29_0_2_line_60 | NAYY 4x150 SE | 60 | 61 | 0.021257 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
61 | LV_1081-29_0_2_line_61 | NAYY 4x150 SE | 60 | 62 | 0.011801 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
62 | LV_1081-29_0_2_line_62 | NAYY 4x150 SE | 61 | 63 | 0.012202 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
63 | LV_1081-29_0_2_line_63 | NAYY 4x150 SE | 61 | 64 | 0.032513 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
64 | LV_1081-29_0_2_line_64 | NAYY 4x150 SE | 62 | 65 | 0.020549 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
65 | LV_1081-29_0_2_line_65 | NAYY 4x150 SE | 63 | 67 | 0.0011195 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
66 | LV_1081-29_0_2_line_66 | NAYY 4x150 SE | 64 | 66 | 0.0067358 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
67 | LV_1081-29_0_2_line_67 | NAYY 4x150 SE | 67 | 68 | 0.019451 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_1081-29_0_2_trafo_50 | 0.25 MVA 20/0.4 kV | 69 | 56 | 0.25 | 20 | 0.4 | 6 | 1.44 | 0.8 | 0.32 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5
0 | 2655960.0022 | 1228926.9192 | 2655965.9818 | 1228927.7396
1 | 2655943.5444 | 1228924.6611 | 2655960.0022 | 1228926.9192
2 | 2655991.2216 | 1228931.2025 | 2655965.9818 | 1228927.7396
3 | 2655943.5444 | 1228924.6611 | 2655976.5499 | 1228885.5535
4 | 2655943.5444 | 1228924.6611 | 2655931.9994 | 1228923.9167
5 | 2656000.3313 | 1228931.2883 | 2655991.2216 | 1228931.2025 | 2655991.2216 | 1228931.2025
6 | 2655976.5499 | 1228885.5535 | 2655983.953 | 1228876.7817
7 | 2655900.0889 | 1228930.8345 | 2655906.2125 | 1228925.7999 | 2655917.9063 | 1228923.008 | 2655931.9994 | 1228923.9167
8 | 2656016.2722 | 1228929.2593 | 2656003.373 | 1228931.3169 | 2656000.3313 | 1228931.2883
9 | 2655984.1779 | 1228876.5152 | 2655983.953 | 1228876.7817
10 | 2655829.5743 | 1228878.517 | 2655837.4302 | 1228885.8732 | 2655865.2656 | 1228904.4685 | 2655891.5521 | 1228923.394 | 2655900.0889 | 1228930.8345
11 | 2656016.2722 | 1228929.2593 | 2656026.5131 | 1228925.4866 | 2656028.1665 | 1228924.6933
12 | 2655984.1779 | 1228876.5152 | 2655986.7495 | 1228873.4682 | 2655994.5694 | 1228860.3057
13 | 2655829.5743 | 1228878.517 | 2655768.24 | 1228628.3596
14 | 2655958.1384 | 1228970.9947 | 2655967.39 | 1228972.0335
15 | 2655945.1679 | 1228969.5382 | 2655958.1384 | 1228970.9947
16 | 2655967.39 | 1228972.0335 | 2655990.5889 | 1228974.6385
17 | 2655967.39 | 1228972.0335 | 2655959.0624 | 1229021.9244
18 | 2655990.5889 | 1228974.6385 | 2655994.7083 | 1228975.1011
19 | 2655994.7083 | 1228975.1011 | 2655999.3116 | 1228975.618 | 2656012.4394 | 1228975.019 | 2656012.5071 | 1228975.0081
20 | 2656022.4174 | 1228973.4119 | 2656012.5071 | 1228975.0081
21 | 2656022.9579 | 1229051.9558 | 2656021.5402 | 1229074.5044
22 | 2656022.9579 | 1229051.9558 | 2656024.0687 | 1229034.2967
23 | 2656022.9579 | 1229051.9558 | 2656038.3309 | 1229053.2812
24 | 2656024.5971 | 1229025.8968 | 2656024.0687 | 1229034.2967
25 | 2656053.332 | 1229054.5746 | 2656038.3309 | 1229053.2812
26 | 2656024.945 | 1229020.3655 | 2656024.5971 | 1229025.8968
27 | 2656053.332 | 1229054.5746 | 2656058.0898 | 1229054.9848
28 | 2656072.6176 | 1229056.2374 | 2656058.0898 | 1229054.9848
29 | 2656072.6176 | 1229056.2374 | 2656072.0615 | 1229063.7814 | 2656073.8138 | 1229071.5917 | 2656078.6387 | 1229081.7027
30 | 2656084.9207 | 1229094.8668 | 2656078.6387 | 1229081.7027
31 | 2656072.6176 | 1229056.2374 | 2656075.1594 | 1229051.0135 | 2656081.8376 | 1229045.006 | 2656087.5233 | 1229042.2245
32 | 2656084.9207 | 1229094.8668 | 2656111.5158 | 1229081.7202 | 2656113.9761 | 1229079.5198 | 2656114.4062 | 1229077.3002 | 2656109.7932 | 1229066.0915
33 | 2656087.5233 | 1229042.2245 | 2656101.4146 | 1229035.4334
34 | 2656087.5233 | 1229042.2245 | 2656081.6284 | 1229028.5422
35 | 2656108.0441 | 1229061.8415 | 2656109.7932 | 1229066.0915
36 | 2656132.7271 | 1229020.1255 | 2656101.4146 | 1229035.4334
37 | 2656073.3923 | 1229009.426 | 2656081.6284 | 1229028.5422
38 | 2656132.7271 | 1229020.1255 | 2656150.4307 | 1229011.4765
39 | 2656132.7271 | 1229020.1255 | 2656126.8758 | 1229007.519
40 | 2655743.2962 | 1228594.5279 | 2655725.447 | 1228594.2683
41 | 2655743.2962 | 1228594.5279 | 2655749.674 | 1228604.4272 | 2655768.24 | 1228628.3596
42 | 2656029.1836 | 1228924.2053 | 2656028.1665 | 1228924.6933
43 | 2656022.4174 | 1228973.4119 | 2656033.8711 | 1228970.3733 | 2656040.5803 | 1228967.1161
44 | 2656045.6759 | 1228964.6424 | 2656040.5803 | 1228967.1161
45 | 2656045.6759 | 1228964.6424 | 2656064.9005 | 1228955.3091
46 | 2656029.1836 | 1228924.2053 | 2656042.8763 | 1228917.6357 | 2656049.2332 | 1228913.5819 | 2656053.7654 | 1228914.2249 | 2656060.5753 | 1228919.2211
47 | 2656074.8176 | 1228950.4946 | 2656064.9005 | 1228955.3091
48 | 2656091.8987 | 1228942.202 | 2656074.8176 | 1228950.4946
49 | 2656091.8987 | 1228942.202 | 2656060.5753 | 1228919.2211
50 | 2656091.8987 | 1228942.202 | 2656098.1937 | 1228946.8217
51 | 2656098.1937 | 1228946.8217 | 2656113.9072 | 1228958.3531 | 2656117.4498 | 1228958.6868 | 2656140.4943 | 1228955.7578 | 2656150.7722 | 1228954.4873 | 2656150.7722 | 1228954.4873
52 | 2656150.7722 | 1228954.4873 | 2656164.2167 | 1228951.6568 | 2656170.8233 | 1228965.0972
53 | 2656184.7405 | 1228993.4104 | 2656170.8233 | 1228965.0972
54 | 2656155.1426 | 1229009.1744 | 2656150.4307 | 1229011.4765
55 | 2656126.5718 | 1229006.8642 | 2656126.8758 | 1229007.519
56 | 2656118.0844 | 1228988.5784 | 2656126.5718 | 1229006.8642
57 | 2656155.1426 | 1229009.1744 | 2656171.6355 | 1229001.1101
58 | 2656184.7405 | 1228993.4104 | 2656176.4242 | 1228998.7687 | 2656171.6355 | 1229001.1101
59 | 2656184.7405 | 1228993.4104 | 2656191.8145 | 1228988.841 | 2656218.9294 | 1228965.6712
60 | 2656218.9294 | 1228965.6712 | 2656235.1144 | 1228951.8376
61 | 2656218.9294 | 1228965.6712 | 2656215.375 | 1228961.7796 | 2656212.5017 | 1228955.9156
62 | 2656235.1144 | 1228951.8376 | 2656232.2659 | 1228948.6197 | 2656229.0047 | 1228941.4194
63 | 2656235.1144 | 1228951.8376 | 2656259.8315 | 1228930.7155
64 | 2656203.4599 | 1228937.4627 | 2656212.5017 | 1228955.9156
65 | 2656229.0047 | 1228941.4194 | 2656228.5428 | 1228940.3996
66 | 2656259.8315 | 1228930.7155 | 2656264.9523 | 1228926.3395
67 | 2656220.5177 | 1228922.6811 | 2656228.5428 | 1228940.3996

## bus_geodata
| x | y | coords
0 | 2655960.0022 | 1228926.9192
1 | 2655965.9818 | 1228927.7396
2 | 2655943.5444 | 1228924.6611
3 | 2655991.2216 | 1228931.2025
4 | 2655976.5499 | 1228885.5535
5 | 2655931.9994 | 1228923.9167
6 | 2656000.3313 | 1228931.2883
7 | 2655983.953 | 1228876.7817
8 | 2655900.0889 | 1228930.8345
9 | 2656016.2722 | 1228929.2593
10 | 2655984.1779 | 1228876.5152
11 | 2655829.5743 | 1228878.517
12 | 2655958.1384 | 1228970.9947
13 | 2655967.39 | 1228972.0335
14 | 2655945.1679 | 1228969.5382
15 | 2655990.5889 | 1228974.6385
16 | 2655959.0624 | 1229021.9244
17 | 2655994.7083 | 1228975.1011
18 | 2656012.5071 | 1228975.0081
19 | 2656021.5402 | 1229074.5044
20 | 2656022.9579 | 1229051.9558
21 | 2656024.0687 | 1229034.2967
22 | 2656038.3309 | 1229053.2812
23 | 2656024.5971 | 1229025.8968
24 | 2656053.332 | 1229054.5746
25 | 2656024.945 | 1229020.3655
26 | 2656058.0898 | 1229054.9848
27 | 2656078.6387 | 1229081.7027
28 | 2656072.6176 | 1229056.2374
29 | 2656084.9207 | 1229094.8668
30 | 2656087.5233 | 1229042.2245
31 | 2656109.7932 | 1229066.0915
32 | 2656101.4146 | 1229035.4334
33 | 2656081.6284 | 1229028.5422
34 | 2656108.0441 | 1229061.8415
35 | 2656132.7271 | 1229020.1255
36 | 2656073.3923 | 1229009.426
37 | 2655725.447 | 1228594.2683
38 | 2655743.2962 | 1228594.5279
39 | 2655768.24 | 1228628.3596
40 | 2656028.1665 | 1228924.6933
41 | 2656022.4174 | 1228973.4119
42 | 2656040.5803 | 1228967.1161
43 | 2656045.6759 | 1228964.6424
44 | 2656029.1836 | 1228924.2053
45 | 2656064.9005 | 1228955.3091
46 | 2655994.5694 | 1228860.3057
47 | 2656074.8176 | 1228950.4946
48 | 2656091.8987 | 1228942.202
49 | 2656060.5753 | 1228919.2211
50 | 2656098.1937 | 1228946.8217
51 | 2656150.7722 | 1228954.4873
52 | 2656170.8233 | 1228965.0972
53 | 2656150.4307 | 1229011.4765
54 | 2656126.8758 | 1229007.519
55 | 2656126.5718 | 1229006.8642
56 | 2656118.0844 | 1228988.5784
57 | 2656155.1426 | 1229009.1744
58 | 2656171.6355 | 1229001.1101
59 | 2656184.7405 | 1228993.4104
60 | 2656218.9294 | 1228965.6712
61 | 2656235.1144 | 1228951.8376
62 | 2656212.5017 | 1228955.9156
63 | 2656229.0047 | 1228941.4194
64 | 2656259.8315 | 1228930.7155
65 | 2656203.4599 | 1228937.4627
66 | 2656264.9523 | 1228926.3395
67 | 2656228.5428 | 1228940.3996
68 | 2656220.5177 | 1228922.6811
69 | 2656132.7271 | 1229020.1255

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## res_bus
| vm_pu | va_degree | p_mw | q_mvar
0 | 0.98051 | -0.13726 | 0.00037145 | 9.3095e-05
1 | 0.98057 | -0.13685 | 0.00051362 | 0.00012873
2 | 0.98036 | -0.13835 | 0 | 0
3 | 0.98083 | -0.13494 | 0.00029024 | 7.2741e-05
4 | 0.98017 | -0.13971 | 0.00018459 | 4.6264e-05
5 | 0.9803 | -0.1388 | 0.00040392 | 0.00010123
6 | 0.98093 | -0.13424 | 0.0011646 | 0.00029188
7 | 0.98013 | -0.14 | 0.00019776 | 4.9563e-05
8 | 0.98013 | -0.13998 | 0 | 0
9 | 0.98113 | -0.13279 | 0 | 0
10 | 0.98013 | -0.14001 | 0.00054758 | 0.00013724
11 | 0.97971 | -0.14302 | 0 | 0
12 | 0.98115 | -0.13268 | 0.00028637 | 7.1771e-05
13 | 0.98116 | -0.13258 | 0.00044988 | 0.00011275
14 | 0.98113 | -0.13277 | 0.00071711 | 0.00017973
15 | 0.98126 | -0.13185 | 0.00039165 | 9.8156e-05
16 | 0.98105 | -0.1334 | 0.0015716 | 0.00039389
17 | 0.98128 | -0.1317 | 0.00067666 | 0.00016959
18 | 0.98139 | -0.13094 | 0.0026507 | 0.00066433
19 | 0.99119 | -0.061671 | 0.0020322 | 0.00050931
20 | 0.99126 | -0.061205 | 0 | 0
21 | 0.99096 | -0.063269 | 0.0026802 | 0.00067172
22 | 0.99156 | -0.059086 | 0.0013624 | 0.00034145
23 | 0.99086 | -0.064023 | 0.0037256 | 0.00093371
24 | 0.99188 | -0.056812 | 0.001729 | 0.00043333
25 | 0.99082 | -0.064309 | 0.0050767 | 0.0012723
26 | 0.99199 | -0.056007 | 0.0017475 | 0.00043796
27 | 0.99183 | -0.057133 | 0.0024689 | 0.00061877
28 | 0.99238 | -0.053293 | 0 | 0
29 | 0.99159 | -0.058861 | 0 | 0
30 | 0.99336 | -0.04635 | 0 | 0
31 | 0.99079 | -0.064476 | 0.0042931 | 0.001076
32 | 0.99428 | -0.039862 | 0.0029832 | 0.00074767
33 | 0.99317 | -0.047709 | 0.0033148 | 0.00083077
34 | 0.99074 | -0.06482 | 0.0073766 | 0.0018488
35 | 0.99651 | -0.024233 | 0 | 0
36 | 0.993 | -0.04891 | 0.0056986 | 0.0014282
37 | 0.97826 | -0.15343 | 0.002434 | 0.00061001
38 | 0.97833 | -0.15298 | 0 | 0
39 | 0.97848 | -0.15191 | 0.00086192 | 0.00021602
40 | 0.98129 | -0.13165 | 0.0013687 | 0.00034302
41 | 0.98149 | -0.13024 | 0 | 0
42 | 0.98168 | -0.12889 | 0.0017505 | 0.00043872
43 | 0.98175 | -0.12839 | 0.0018298 | 0.00045858
44 | 0.98131 | -0.13153 | 0.0018625 | 0.00046679
45 | 0.98207 | -0.1261 | 0.0022408 | 0.00056161
46 | 0.98008 | -0.14033 | 0.0016265 | 0.00040764
47 | 0.98227 | -0.12466 | 0.0018363 | 0.00046023
48 | 0.98267 | -0.12183 | 0 | 0
49 | 0.98193 | -0.12713 | 0.0012904 | 0.00032342
50 | 0.98298 | -0.11961 | 0.0018032 | 0.00045193
51 | 0.98539 | -0.10244 | 0.011192 | 0.002805
52 | 0.98708 | -0.090479 | 0.011478 | 0.0028767
53 | 0.99397 | -0.042009 | 0.0045717 | 0.0011458
54 | 0.99786 | -0.014883 | 0.0025591 | 0.00064136
55 | 0.99793 | -0.014388 | 0.006111 | 0.0015316
56 | 1 | 0 | -0.145 | -0.036335
57 | 0.99332 | -0.046513 | 0 | 0
58 | 0.99107 | -0.062326 | 0.011642 | 0.0029177
59 | 0.98946 | -0.073686 | 0 | 0
60 | 0.98811 | -0.083224 | 0 | 0
61 | 0.9878 | -0.085448 | 0 | 0
62 | 0.98792 | -0.084551 | 0.0030141 | 0.00075539
63 | 0.98766 | -0.086379 | 0.0024301 | 0.00060904
64 | 0.98767 | -0.086367 | 0.0013685 | 0.00034298
65 | 0.98769 | -0.086228 | 0.0079781 | 0.0019995
66 | 0.98765 | -0.086464 | 0.0013948 | 0.00034957
67 | 0.98766 | -0.086437 | 0.0014577 | 0.00036534
68 | 0.98756 | -0.087148 | 0.0035708 | 0.00089493
69 | 0.99998 | 149.9947 | 0 | 0

## res_line
| p_from_mw | q_from_mvar | p_to_mw | q_to_mvar | pl_mw | ql_mvar | i_from_ka | i_to_ka | i_ka | vm_from_pu | va_from_degree | vm_to_pu | va_to_degree | loading_percent
0 | -0.006636 | -0.0016573 | 0.0066364 | 0.0016574 | 3.818e-07 | 7.0717e-08 | 0.010069 | 0.010069 | 0.010069 | 0.98051 | -0.13726 | 0.98057 | -0.13685 | 3.7291
1 | 0.0062645 | 0.0015642 | -0.0062636 | -0.0015641 | 9.3649e-07 | 1.507e-07 | 0.0095049 | 0.009505 | 0.009505 | 0.98051 | -0.13726 | 0.98036 | -0.13835 | 3.5204
2 | -0.00715 | -0.0017861 | 0.0071518 | 0.0017865 | 1.8708e-06 | 3.9806e-07 | 0.010848 | 0.010848 | 0.010848 | 0.98057 | -0.13685 | 0.98083 | -0.13494 | 4.0178
3 | 0.0025571 | 0.00063991 | -0.0025566 | -0.00064037 | 4.8097e-07 | -4.6014e-07 | 0.0038809 | 0.0038811 | 0.0038811 | 0.98036 | -0.13835 | 0.98017 | -0.13971 | 1.4374
4 | 0.0037065 | 0.00092416 | -0.0037063 | -0.00092422 | 2.2834e-07 | -5.8039e-08 | 0.0056241 | 0.0056242 | 0.0056242 | 0.98036 | -0.13835 | 0.9803 | -0.1388 | 2.083
5 | -0.0074421 | -0.0018593 | 0.0074428 | 0.0018594 | 7.2437e-07 | 1.6361e-07 | 0.011288 | 0.011288 | 0.011288 | 0.98083 | -0.13494 | 0.98093 | -0.13424 | 4.1808
6 | 0.002372 | 0.00059411 | -0.0023719 | -0.00059422 | 9.287e-08 | -1.0895e-07 | 0.0036009 | 0.0036009 | 0.0036009 | 0.98017 | -0.13971 | 0.98013 | -0.14 | 1.3337
7 | 0.0033024 | 0.00082299 | -0.0033018 | -0.00082321 | 5.339e-07 | -2.2415e-07 | 0.005011 | 0.0050112 | 0.0050112 | 0.9803 | -0.1388 | 0.98013 | -0.13998 | 1.856
8 | -0.0086074 | -0.0021513 | 0.0086091 | 0.0021518 | 1.7126e-06 | 4.5536e-07 | 0.013055 | 0.013055 | 0.013055 | 0.98093 | -0.13424 | 0.98113 | -0.13279 | 4.8351
9 | 0.0021742 | 0.00054466 | -0.0021741 | -0.00054466 | 2.3709e-09 | -3.4835e-09 | 0.0033007 | 0.0033007 | 0.0033007 | 0.98013 | -0.14 | 0.98013 | -0.14001 | 1.2225
10 | 0.0033018 | 0.00082321 | -0.0033004 | -0.00082379 | 1.3758e-06 | -5.7681e-07 | 0.0050112 | 0.0050116 | 0.0050116 | 0.98013 | -0.13998 | 0.97971 | -0.14302 | 1.8561
11 | -0.0086091 | -0.0021518 | 0.0086105 | 0.0021521 | 1.3557e-06 | 3.6039e-07 | 0.013055 | 0.013055 | 0.013055 | 0.98113 | -0.13279 | 0.98129 | -0.13165 | 4.8351
12 | 0.0016266 | 0.00040742 | -0.0016265 | -0.00040764 | 7.3428e-08 | -2.1495e-07 | 0.0024693 | 0.0024694 | 0.0024694 | 0.98013 | -0.14001 | 0.98008 | -0.14033 | 0.9146
13 | 0.0033004 | 0.00082379 | -0.0032964 | -0.00082547 | 4.0376e-06 | -1.6864e-06 | 0.0050116 | 0.0050128 | 0.0050128 | 0.97971 | -0.14302 | 0.97848 | -0.15191 | 1.8566
14 | -0.0010035 | -0.00025134 | 0.0010035 | 0.00025122 | 1.3454e-08 | -1.124e-07 | 0.0015218 | 0.0015218 | 0.0015218 | 0.98115 | -0.13268 | 0.98116 | -0.13258 | 0.56365
15 | 0.00071712 | 0.00017956 | -0.00071711 | -0.00017973 | 9.6333e-09 | -1.6113e-07 | 0.0010875 | 0.0010876 | 0.0010876 | 0.98115 | -0.13268 | 0.98113 | -0.13277 | 0.40281
16 | -0.0030252 | -0.00075729 | 0.0030255 | 0.00075712 | 3.0658e-07 | -1.7695e-07 | 0.0045877 | 0.0045876 | 0.0045877 | 0.98116 | -0.13258 | 0.98126 | -0.13185 | 1.6991
17 | 0.0015718 | 0.00039332 | -0.0015716 | -0.00039389 | 1.7934e-07 | -5.6977e-07 | 0.0023836 | 0.0023838 | 0.0023838 | 0.98116 | -0.13258 | 0.98105 | -0.1334 | 0.88289
18 | -0.0034172 | -0.00085527 | 0.0034172 | 0.00085525 | 6.9444e-08 | -2.5655e-08 | 0.0051815 | 0.0051814 | 0.0051815 | 0.98126 | -0.13185 | 0.98128 | -0.1317 | 1.9191
19 | -0.0040939 | -0.0010248 | 0.0040943 | 0.0010248 | 4.2901e-07 | -6.0419e-08 | 0.0062075 | 0.0062074 | 0.0062075 | 0.98128 | -0.1317 | 0.98139 | -0.13094 | 2.2991
20 | -0.006745 | -0.0016891 | 0.0067457 | 0.0016892 | 6.5507e-07 | 1.251e-07 | 0.010227 | 0.010226 | 0.010227 | 0.98139 | -0.13094 | 0.98149 | -0.13024 | 3.7876
21 | -0.0020322 | -0.00050931 | 0.0020323 | 0.00050906 | 1.3121e-07 | -2.4076e-07 | 0.0030508 | 0.0030507 | 0.0030508 | 0.99119 | -0.061671 | 0.99126 | -0.061205 | 1.1299
22 | 0.011487 | 0.0028791 | -0.011484 | -0.002878 | 3.2829e-06 | 1.0346e-06 | 0.017243 | 0.017244 | 0.017244 | 0.99126 | -0.061205 | 0.99096 | -0.063269 | 6.3865
23 | -0.013519 | -0.0033881 | 0.013523 | 0.0033895 | 3.9654e-06 | 1.3262e-06 | 0.020294 | 0.020294 | 0.020294 | 0.99126 | -0.061205 | 0.99156 | -0.059086 | 7.5163
24 | 0.0088034 | 0.0022063 | -0.0088025 | -0.0022061 | 9.1773e-07 | 2.4455e-07 | 0.013219 | 0.013219 | 0.013219 | 0.99096 | -0.063269 | 0.99086 | -0.064023 | 4.8959
25 | -0.014886 | -0.0037309 | 0.01489 | 0.0037325 | 4.6884e-06 | 1.609e-06 | 0.022339 | 0.022339 | 0.022339 | 0.99156 | -0.059086 | 0.99188 | -0.056812 | 8.2736
26 | 0.0050769 | 0.0012723 | -0.0050767 | -0.0012723 | 2.0103e-07 | 5.9354e-09 | 0.0076242 | 0.0076242 | 0.0076242 | 0.99086 | -0.064023 | 0.99082 | -0.064309 | 2.8238
27 | -0.016619 | -0.0041658 | 0.016621 | 0.0041665 | 1.8524e-06 | 6.508e-07 | 0.024932 | 0.024932 | 0.024932 | 0.99188 | -0.056812 | 0.99199 | -0.056007 | 9.2342
28 | -0.018369 | -0.0046045 | 0.018375 | 0.0046069 | 6.908e-06 | 2.4686e-06 | 0.027554 | 0.027554 | 0.027554 | 0.99199 | -0.056007 | 0.99238 | -0.053293 | 10.2051
29 | -0.014151 | -0.0035473 | 0.014158 | 0.0035499 | 7.5298e-06 | 2.5504e-06 | 0.02123 | 0.02123 | 0.02123 | 0.99183 | -0.057133 | 0.99238 | -0.053293 | 7.8631
30 | 0.011682 | 0.0029286 | -0.011679 | -0.0029277 | 2.7958e-06 | 8.8712e-07 | 0.017526 | 0.017526 | 0.017526 | 0.99183 | -0.057133 | 0.99159 | -0.058861 | 6.4913
31 | -0.032534 | -0.0081568 | 0.032565 | 0.0081686 | 3.1321e-05 | 1.1774e-05 | 0.048784 | 0.048784 | 0.048784 | 0.99238 | -0.053293 | 0.99336 | -0.04635 | 18.0681
32 | 0.011679 | 0.0029277 | -0.01167 | -0.0029248 | 9.0759e-06 | 2.8805e-06 | 0.017526 | 0.017527 | 0.017527 | 0.99159 | -0.058861 | 0.99079 | -0.064476 | 6.4913
33 | -0.041581 | -0.010428 | 0.041619 | 0.010442 | 3.7436e-05 | 1.4198e-05 | 0.062289 | 0.062289 | 0.062289 | 0.99336 | -0.04635 | 0.99428 | -0.039862 | 23.0701
34 | 0.009016 | 0.0022595 | -0.0090143 | -0.0022591 | 1.6957e-06 | 4.5936e-07 | 0.013506 | 0.013506 | 0.013506 | 0.99336 | -0.04635 | 0.99317 | -0.047709 | 5.0021
35 | 0.007377 | 0.0018488 | -0.0073766 | -0.0018488 | 3.5201e-07 | 7.6203e-08 | 0.011079 | 0.011079 | 0.011079 | 0.99079 | -0.064476 | 0.99074 | -0.06482 | 4.1034
36 | -0.044602 | -0.01119 | 0.044699 | 0.011227 | 9.6915e-05 | 3.6822e-05 | 0.066754 | 0.066754 | 0.066754 | 0.99428 | -0.039862 | 0.99651 | -0.024233 | 24.7237
37 | 0.0056995 | 0.0014283 | -0.0056986 | -0.0014282 | 9.4712e-07 | 9.4961e-08 | 0.0085392 | 0.0085393 | 0.0085393 | 0.99317 | -0.047709 | 0.993 | -0.04891 | 3.1627
38 | 0.090353 | 0.022754 | -0.090129 | -0.022668 | 0.00022393 | 8.5869e-05 | 0.13496 | 0.13496 | 0.13496 | 0.99651 | -0.024233 | 0.99397 | -0.042009 | 49.9834
39 | -0.13505 | -0.03398 | 0.13523 | 0.034048 | 0.00017643 | 6.7494e-05 | 0.20171 | 0.20171 | 0.20171 | 0.99651 | -0.024233 | 0.99786 | -0.014883 | 37.3535
40 | -0.002434 | -0.00061001 | 0.0024341 | 0.00060985 | 1.5268e-07 | -1.6542e-07 | 0.0037023 | 0.0037022 | 0.0037023 | 0.97826 | -0.15343 | 0.97833 | -0.15298 | 1.3712
41 | -0.0024341 | -0.00060985 | 0.0024345 | 0.00060946 | 3.5975e-07 | -3.8992e-07 | 0.0037022 | 0.003702 | 0.0037022 | 0.97833 | -0.15298 | 0.97848 | -0.15191 | 1.3712
42 | -0.0099792 | -0.0024951 | 0.0099793 | 0.0024952 | 1.6115e-07 | 4.7729e-08 | 0.01513 | 0.01513 | 0.01513 | 0.98129 | -0.13165 | 0.98131 | -0.13153 | 5.6037
43 | -0.0067457 | -0.0016892 | 0.0067469 | 0.0016895 | 1.26e-06 | 2.4055e-07 | 0.010226 | 0.010226 | 0.010226 | 0.98149 | -0.13024 | 0.98168 | -0.12889 | 3.7876
44 | -0.0084974 | -0.0021282 | 0.008498 | 0.0021283 | 5.8634e-07 | 1.539e-07 | 0.01288 | 0.01288 | 0.01288 | 0.98168 | -0.12889 | 0.98175 | -0.12839 | 4.7703
45 | -0.010328 | -0.0025869 | 0.010331 | 0.0025879 | 3.2674e-06 | 9.8637e-07 | 0.015653 | 0.015653 | 0.015653 | 0.98175 | -0.12839 | 0.98207 | -0.1261 | 5.7974
46 | -0.011842 | -0.002962 | 0.011849 | 0.0029643 | 7.1912e-06 | 2.3139e-06 | 0.017954 | 0.017954 | 0.017954 | 0.98131 | -0.13153 | 0.98193 | -0.12713 | 6.6498
47 | -0.012572 | -0.0031495 | 0.012574 | 0.0031503 | 2.4959e-06 | 8.2046e-07 | 0.019048 | 0.019048 | 0.019048 | 0.98207 | -0.1261 | 0.98227 | -0.12466 | 7.0549
48 | -0.014411 | -0.0036106 | 0.014416 | 0.0036125 | 5.6463e-06 | 1.9312e-06 | 0.02183 | 0.02183 | 0.02183 | 0.98227 | -0.12466 | 0.98267 | -0.12183 | 8.0852
49 | 0.013149 | 0.0032909 | -0.013139 | -0.0032877 | 9.6094e-06 | 3.2041e-06 | 0.01991 | 0.01991 | 0.01991 | 0.98267 | -0.12183 | 0.98193 | -0.12713 | 7.374
50 | -0.027565 | -0.0069034 | 0.027574 | 0.0069066 | 8.4884e-06 | 3.1658e-06 | 0.041739 | 0.041739 | 0.041739 | 0.98267 | -0.12183 | 0.98298 | -0.11961 | 15.4591
51 | -0.029377 | -0.0073585 | 0.029447 | 0.0073846 | 6.9885e-05 | 2.6159e-05 | 0.044469 | 0.044469 | 0.044469 | 0.98298 | -0.11961 | 0.98539 | -0.10244 | 16.47
52 | -0.040639 | -0.01019 | 0.040706 | 0.010215 | 6.7485e-05 | 2.5589e-05 | 0.06137 | 0.06137 | 0.06137 | 0.98539 | -0.10244 | 0.98708 | -0.090479 | 22.7295
53 | -0.052185 | -0.013092 | 0.052307 | 0.013138 | 0.00012185 | 4.646e-05 | 0.078673 | 0.078673 | 0.078673 | 0.98708 | -0.090479 | 0.98946 | -0.073686 | 29.1381
54 | 0.085557 | 0.021522 | -0.085503 | -0.021501 | 5.3708e-05 | 2.0589e-05 | 0.12811 | 0.12811 | 0.12811 | 0.99397 | -0.042009 | 0.99332 | -0.046513 | 47.4486
55 | -0.13779 | -0.034689 | 0.1378 | 0.034693 | 9.5142e-06 | 3.6404e-06 | 0.20552 | 0.20552 | 0.20552 | 0.99786 | -0.014883 | 0.99793 | -0.014388 | 38.0602
56 | -0.14391 | -0.036224 | 0.1442 | 0.036335 | 0.00028976 | 0.00011092 | 0.21464 | 0.21464 | 0.21464 | 0.99793 | -0.014388 | 1 | 0 | 39.7476
57 | 0.085503 | 0.021501 | -0.085315 | -0.021429 | 0.00018802 | 7.2078e-05 | 0.12811 | 0.12811 | 0.12811 | 0.99332 | -0.046513 | 0.99107 | -0.062326 | 47.4486
58 | 0.073674 | 0.018512 | -0.073557 | -0.018467 | 0.00011627 | 4.4523e-05 | 0.11063 | 0.11063 | 0.11063 | 0.99107 | -0.062326 | 0.98946 | -0.073686 | 40.975
59 | 0.021251 | 0.0053287 | -0.021223 | -0.0053185 | 2.8053e-05 | 1.0225e-05 | 0.03196 | 0.03196 | 0.03196 | 0.98946 | -0.073686 | 0.98811 | -0.083224 | 11.8369
60 | 0.010227 | 0.0025625 | -0.010224 | -0.0025616 | 3.146e-06 | 9.3781e-07 | 0.015401 | 0.015401 | 0.015401 | 0.98811 | -0.083224 | 0.9878 | -0.085448 | 5.7039
61 | 0.010996 | 0.002756 | -0.010994 | -0.0027553 | 2.0191e-06 | 6.2547e-07 | 0.016559 | 0.016559 | 0.016559 | 0.98811 | -0.083224 | 0.98792 | -0.084551 | 6.133
62 | 0.00746 | 0.0018694 | -0.007459 | -0.0018692 | 9.6153e-07 | 2.1364e-07 | 0.011238 | 0.011238 | 0.011238 | 0.9878 | -0.085448 | 0.98766 | -0.086379 | 4.1621
63 | 0.0027637 | 0.00069219 | -0.0027633 | -0.00069247 | 3.5162e-07 | -2.809e-07 | 0.004163 | 0.0041632 | 0.0041632 | 0.9878 | -0.085448 | 0.98767 | -0.086367 | 1.5419
64 | 0.0079799 | 0.0019999 | -0.0079781 | -0.0019995 | 1.8525e-06 | 4.4943e-07 | 0.012019 | 0.01202 | 0.01202 | 0.98792 | -0.084551 | 0.98769 | -0.086228 | 4.4517
65 | 0.0050289 | 0.0012602 | -0.0050289 | -0.0012602 | 4.0101e-08 | 1.0964e-09 | 0.0075765 | 0.0075765 | 0.0075765 | 0.98766 | -0.086379 | 0.98766 | -0.086437 | 2.8061
66 | 0.0013948 | 0.00034949 | -0.0013948 | -0.00034957 | 1.8561e-08 | -7.9063e-08 | 0.0021014 | 0.0021014 | 0.0021014 | 0.98767 | -0.086367 | 0.98765 | -0.086464 | 0.7783
67 | 0.0035712 | 0.00089481 | -0.0035708 | -0.00089493 | 3.5136e-07 | -1.1376e-07 | 0.0053803 | 0.0053804 | 0.0053804 | 0.98766 | -0.086437 | 0.98756 | -0.087148 | 1.9927

## res_trafo
| p_hv_mw | q_hv_mvar | p_lv_mw | q_lv_mvar | pl_mw | ql_mvar | i_hv_ka | i_lv_ka | vm_hv_pu | va_hv_degree | vm_lv_pu | va_lv_degree | loading_percent
0 | 2.5187e-16 | 8.8016e-16 | 0.00079998 | 7.4552e-08 | 0.00079998 | 7.4552e-08 | 2.6429e-17 | 0.0011547 | 0.99998 | 149.9947 | 1 | 0 | 0.31999

## res_ext_grid
| p_mw | q_mvar
0 | 0.16342 | 0.040953

## res_load
| p_mw | q_mvar
0 | 0.00037145 | 9.3095e-05
1 | 0.00051362 | 0.00012873
2 | 0.00029024 | 7.2741e-05
3 | 0.00018459 | 4.6264e-05
4 | 0.00040392 | 0.00010123
5 | 0.0011646 | 0.00029188
6 | 0.00019776 | 4.9563e-05
7 | 0.00054758 | 0.00013724
8 | 0.00028637 | 7.1771e-05
9 | 0.00044988 | 0.00011275
10 | 0.00071711 | 0.00017973
11 | 0.00039165 | 9.8156e-05
12 | 0.0015716 | 0.00039389
13 | 0.00067666 | 0.00016959
14 | 0.0026507 | 0.00066433
15 | 0.0020322 | 0.00050931
16 | 0.0026802 | 0.00067172
17 | 0.0013624 | 0.00034145
18 | 0.0037256 | 0.00093371
19 | 0.001729 | 0.00043333
20 | 0.0050767 | 0.0012723
21 | 0.0017475 | 0.00043796
22 | 0.0024689 | 0.00061877
23 | 0.0042931 | 0.001076
24 | 0.0029832 | 0.00074767
25 | 0.0033148 | 0.00083077
26 | 0.0073766 | 0.0018488
27 | 0.0056986 | 0.0014282
28 | 0.002434 | 0.00061001
29 | 0.00086192 | 0.00021602
30 | 0.0013687 | 0.00034302
31 | 0.0017505 | 0.00043872
32 | 0.0018298 | 0.00045858
33 | 0.0018625 | 0.00046679
34 | 0.0022408 | 0.00056161
35 | 0.0016265 | 0.00040764
36 | 0.0018363 | 0.00046023
37 | 0.0012904 | 0.00032342
38 | 0.0018032 | 0.00045193
39 | 0.011192 | 0.002805
40 | 0.011478 | 0.0028767
41 | 0.0045717 | 0.0011458
42 | 0.0025591 | 0.00064136
43 | 0.006111 | 0.0015316
44 | 0.018425 | 0.0046177
45 | 0.011642 | 0.0029177
46 | 0.0030141 | 0.00075539
47 | 0.0024301 | 0.00060904
48 | 0.0013685 | 0.00034298
49 | 0.0079781 | 0.0019995
50 | 0.0013948 | 0.00034957
51 | 0.0014577 | 0.00036534
52 | 0.0035708 | 0.00089493

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object
62 | res_bus | vm_pu | float64
63 | res_bus | va_degree | float64
64 | res_bus | p_mw | float64
65 | res_bus | q_mvar | float64
66 | res_line | p_from_mw | float64
67 | res_line | q_from_mvar | float64
68 | res_line | p_to_mw | float64
69 | res_line | q_to_mvar | float64
70 | res_line | pl_mw | float64
71 | res_line | ql_mvar | float64
72 | res_line | i_from_ka | float64
73 | res_line | i_to_ka | float64
74 | res_line | i_ka | float64
75 | res_line | vm_from_pu | float64
76 | res_line | va_from_degree | float64
77 | res_line | vm_to_pu | float64
78 | res_line | va_to_degree | float64
79 | res_line | loading_percent | float64
80 | res_trafo | p_hv_mw | float64
81 | res_trafo | q_hv_mvar | float64
82 | res_trafo | p_lv_mw | float64
83 | res_trafo | q_lv_mvar | float64
84 | res_trafo | pl_mw | float64
85 | res_trafo | ql_mvar | float64
86 | res_trafo | i_hv_ka | float64
87 | res_trafo | i_lv_ka | float64
88 | res_trafo | vm_hv_pu | float64
89 | res_trafo | va_hv_degree | float64
90 | res_trafo | vm_lv_pu | float64
91 | res_trafo | va_lv_degree | float64
92 | res_trafo | loading_percent | float64
93 | res_ext_grid | p_mw | float64
94 | res_ext_grid | q_mvar | float64
95 | res_load | p_mw | float64
96 | res_load | q_mvar | float64

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | TRUE | FALSE |  | 50 | 1