## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_1081-32_0_2_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_1081-32_0_2_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_1081-32_0_2_node_2 | 0.4 | n |  | TRUE
3 | bus_LV_1081-32_0_2_node_3 | 0.4 | n |  | TRUE
4 | bus_LV_1081-32_0_2_node_4 | 0.4 | n |  | TRUE
5 | bus_LV_1081-32_0_2_node_9 | 0.4 | n |  | TRUE
6 | bus_LV_1081-32_0_2_node_14 | 0.4 | n |  | TRUE
7 | bus_LV_1081-32_0_2_node_15 | 0.4 | n |  | TRUE
8 | bus_LV_1081-32_0_2_node_16 | 0.4 | n |  | TRUE
9 | bus_LV_1081-32_0_2_node_12 | 0.4 | n |  | TRUE
10 | bus_LV_1081-32_0_2_node_5 | 0.4 | n |  | TRUE
11 | bus_LV_1081-32_0_2_node_6 | 0.4 | n |  | TRUE
12 | bus_LV_1081-32_0_2_node_7 | 0.4 | n |  | TRUE
13 | bus_LV_1081-32_0_2_node_8 | 0.4 | n |  | TRUE
14 | bus_LV_1081-32_0_2_node_10 | 0.4 | n |  | TRUE
15 | bus_LV_1081-32_0_2_node_11 | 0.4 | n |  | TRUE
16 | bus_LV_1081-32_0_2_node_13 | 0.4 | n |  | TRUE
17 | bus_LV_1081-32_0_2_node_28 | 0.4 | n |  | TRUE
18 | bus_LV_1081-32_0_2_node_26 | 0.4 | n |  | TRUE
19 | bus_LV_1081-32_0_2_node_29 | 0.4 | n |  | TRUE
20 | bus_LV_1081-32_0_2_node_24 | 0.4 | n |  | TRUE
21 | bus_LV_1081-32_0_2_node_25 | 0.4 | n |  | TRUE
22 | bus_LV_1081-32_0_2_node_17 | 0.4 | n |  | TRUE
23 | bus_LV_1081-32_0_2_node_18 | 0.4 | n |  | TRUE
24 | bus_LV_1081-32_0_2_node_19 | 0.4 | n |  | TRUE
25 | bus_LV_1081-32_0_2_node_20 | 0.4 | n |  | TRUE
26 | bus_LV_1081-32_0_2_node_21 | 0.4 | n |  | TRUE
27 | bus_LV_1081-32_0_2_node_22 | 0.4 | n |  | TRUE
28 | bus_LV_1081-32_0_2_node_23 | 0.4 | n |  | TRUE
29 | bus_MV_470_2_node_149 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_1081-32_0_2_load_0 | 0 | 0.00031213 | 7.8226e-05 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_1081-32_0_2_load_1 | 1 | 0.00035508 | 8.8992e-05 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_1081-32_0_2_load_2 | 2 | 0.00036313 | 9.1008e-05 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_1081-32_0_2_load_4 | 4 | 0.00052523 | 0.00013164 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_1081-32_0_2_load_15 | 7 | 0.00035727 | 8.954e-05 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_1081-32_0_2_load_5 | 10 | 0.0092454 | 0.0023171 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_1081-32_0_2_load_6 | 11 | 0.015332 | 0.0038426 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_1081-32_0_2_load_8 | 13 | 0.072363 | 0.018136 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_1081-32_0_2_load_10 | 14 | 0.01392 | 0.0034888 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_1081-32_0_2_load_28 | 17 | 0.0042456 | 0.001064 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_1081-32_0_2_load_29 | 19 | 0.0044178 | 0.0011072 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_1081-32_0_2_load_24 | 20 | 0.0012563 | 0.00031485 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_1081-32_0_2_load_25 | 21 | 0.00030105 | 7.5451e-05 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_1081-32_0_2_load_17 | 22 | 0.0016402 | 0.00041106 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_1081-32_0_2_load_18 | 23 | 0.00020904 | 5.239e-05 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_1081-32_0_2_load_19 | 24 | 0.0015586 | 0.00039063 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_1081-32_0_2_load_21 | 26 | 0.0001639 | 4.1077e-05 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_1081-32_0_2_load_22 | 27 | 0.0058336 | 0.001462 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 13 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_1081-32_0_2_line_0 | NAYY 4x150 SE | 0 | 1 | 0.023108 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
1 | LV_1081-32_0_2_line_1 | NAYY 4x150 SE | 0 | 2 | 0.023492 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
2 | LV_1081-32_0_2_line_2 | NAYY 4x150 SE | 1 | 3 | 0.018146 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
3 | LV_1081-32_0_2_line_3 | NAYY 4x150 SE | 2 | 4 | 0.027653 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
4 | LV_1081-32_0_2_line_4 | NAYY 4x150 SE | 3 | 5 | 0.010021 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
5 | LV_1081-32_0_2_line_5 | NAYY 4x150 SE | 4 | 6 | 0.048644 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
6 | LV_1081-32_0_2_line_6 | NAYY 4x150 SE | 5 | 7 | 0.019273 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
7 | LV_1081-32_0_2_line_7 | NAYY 4x150 SE | 6 | 8 | 0.028854 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
8 | LV_1081-32_0_2_line_8 | NAYY 4x150 SE | 6 | 9 | 0.083049 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
9 | LV_1081-32_0_2_line_9 | NAYY 4x150 SE | 8 | 22 | 0.021558 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
10 | LV_1081-32_0_2_line_10 | NAYY 4x150 SE | 9 | 17 | 0.02526 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
11 | LV_1081-32_0_2_line_11 | NAYY 4x150 SE | 9 | 15 | 0.013386 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
12 | LV_1081-32_0_2_line_12 | NAYY 4x150 SE | 10 | 11 | 0.0018397 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
13 | LV_1081-32_0_2_line_13 | NAYY 4x150 SE | 11 | 12 | 0.051219 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
14 | LV_1081-32_0_2_line_14 | NAYY 4x150 SE | 12 | 13 | 0.017215 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
15 | LV_1081-32_0_2_line_15 | NAYY 4x150 SE | 13 | 14 | 0.00060154 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
16 | LV_1081-32_0_2_line_16 | NAYY 4x150 SE | 14 | 15 | 0.043622 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
17 | LV_1081-32_0_2_line_17 | NAYY 4x150 SE | 15 | 16 | 0.059747 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
18 | LV_1081-32_0_2_line_18 | NAYY 4x150 SE | 16 | 18 | 0.032746 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
19 | LV_1081-32_0_2_line_19 | NAYY 4x150 SE | 16 | 19 | 0.037372 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
20 | LV_1081-32_0_2_line_20 | NAYY 4x150 SE | 18 | 20 | 0.079496 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
21 | LV_1081-32_0_2_line_21 | NAYY 4x150 SE | 18 | 21 | 0.016859 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
22 | LV_1081-32_0_2_line_22 | NAYY 4x150 SE | 20 | 28 | 0.026063 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
23 | LV_1081-32_0_2_line_23 | NAYY 4x150 SE | 23 | 24 | 0.013343 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
24 | LV_1081-32_0_2_line_24 | NAYY 4x150 SE | 23 | 25 | 0.027178 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
25 | LV_1081-32_0_2_line_25 | NAYY 4x150 SE | 24 | 26 | 0.010023 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
26 | LV_1081-32_0_2_line_26 | NAYY 4x150 SE | 25 | 27 | 0.0069244 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
27 | LV_1081-32_0_2_line_27 | NAYY 4x150 SE | 27 | 28 | 0.022548 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_1081-32_0_2_trafo_8 | 0.25 MVA 20/0.4 kV | 29 | 13 | 0.25 | 20 | 0.4 | 6 | 1.44 | 0.8 | 0.32 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6
0 | 2656465.1926 | 1228894.9024 | 2656464.9121 | 1228918.0083
1 | 2656465.1926 | 1228894.9024 | 2656465.4776 | 1228871.4118
2 | 2656467.3374 | 1228935.8597 | 2656466.7254 | 1228933.2856 | 2656464.8242 | 1228925.2513 | 2656464.9121 | 1228918.0083
3 | 2656465.4776 | 1228871.4118 | 2656465.6247 | 1228859.2947 | 2656465.339 | 1228843.7628
4 | 2656467.3374 | 1228935.8597 | 2656476.7946 | 1228932.4695
5 | 2656464.2943 | 1228795.1301 | 2656464.7202 | 1228810.1215 | 2656465.339 | 1228843.7628
6 | 2656476.7946 | 1228932.4695 | 2656478.5607 | 1228937.167 | 2656479.9597 | 1228951.3525
7 | 2656435.5755 | 1228797.915 | 2656450.8942 | 1228796.426 | 2656464.2943 | 1228795.1301
8 | 2656464.2943 | 1228795.1301 | 2656463.2195 | 1228757.5071 | 2656463.106 | 1228753.5034 | 2656463.6855 | 1228738.7551 | 2656464.8814 | 1228726.9034 | 2656467.247 | 1228712.361
9 | 2656435.5755 | 1228797.915 | 2656428.7199 | 1228798.5838 | 2656424.6455 | 1228798.4006 | 2656414.2163 | 1228796.5546
10 | 2656467.247 | 1228712.361 | 2656478.233 | 1228716.3678 | 2656480.9604 | 1228716.3937 | 2656483.4498 | 1228715.9393 | 2656485.6019 | 1228714.3142 | 2656488.2552 | 1228709.3696
11 | 2656469.403 | 1228699.1508 | 2656467.247 | 1228712.361
12 | 2656375.4025 | 1228657.2563 | 2656377.2346 | 1228657.4232
13 | 2656408.2215 | 1228693.5448 | 2656395.276 | 1228666.0491 | 2656389.841 | 1228660.7275 | 2656383.9718 | 1228658.0369 | 2656377.2346 | 1228657.4232
14 | 2656408.2215 | 1228693.5448 | 2656425.3643 | 1228695.1156
15 | 2656425.9633 | 1228695.1705 | 2656425.3643 | 1228695.1156
16 | 2656469.403 | 1228699.1508 | 2656425.9633 | 1228695.1705
17 | 2656469.403 | 1228699.1508 | 2656474.0731 | 1228673.312 | 2656475.032 | 1228666.4835 | 2656475.7795 | 1228658.7857 | 2656476.5417 | 1228639.9476
18 | 2656476.5417 | 1228639.9476 | 2656477.2025 | 1228623.8214 | 2656477.8753 | 1228607.2283
19 | 2656476.5417 | 1228639.9476 | 2656512.629 | 1228649.6623
20 | 2656477.8753 | 1228607.2283 | 2656466.4441 | 1228608.5985 | 2656461.0609 | 1228608.981 | 2656453.2116 | 1228608.9509 | 2656440.066 | 1228608.148 | 2656416.1823 | 1228605.9201 | 2656398.6482 | 1228604.6521
21 | 2656477.8753 | 1228607.2283 | 2656478.9887 | 1228590.4062
22 | 2656372.6532 | 1228602.7723 | 2656398.6482 | 1228604.6521
23 | 2656382.7299 | 1228533.9608 | 2656382.2658 | 1228538.2779 | 2656380.1601 | 1228547.0296
24 | 2656373.8024 | 1228573.4534 | 2656380.1601 | 1228547.0296
25 | 2656383.8012 | 1228523.9953 | 2656382.7299 | 1228533.9608
26 | 2656373.8024 | 1228573.4534 | 2656374.4716 | 1228580.3454
27 | 2656372.6532 | 1228602.7723 | 2656374.7274 | 1228582.9794 | 2656374.4716 | 1228580.3454

## bus_geodata
| x | y | coords
0 | 2656465.1926 | 1228894.9024
1 | 2656464.9121 | 1228918.0083
2 | 2656465.4776 | 1228871.4118
3 | 2656467.3374 | 1228935.8597
4 | 2656465.339 | 1228843.7628
5 | 2656476.7946 | 1228932.4695
6 | 2656464.2943 | 1228795.1301
7 | 2656479.9597 | 1228951.3525
8 | 2656435.5755 | 1228797.915
9 | 2656467.247 | 1228712.361
10 | 2656375.4025 | 1228657.2563
11 | 2656377.2346 | 1228657.4232
12 | 2656408.2215 | 1228693.5448
13 | 2656425.3643 | 1228695.1156
14 | 2656425.9633 | 1228695.1705
15 | 2656469.403 | 1228699.1508
16 | 2656476.5417 | 1228639.9476
17 | 2656488.2552 | 1228709.3696
18 | 2656477.8753 | 1228607.2283
19 | 2656512.629 | 1228649.6623
20 | 2656398.6482 | 1228604.6521
21 | 2656478.9887 | 1228590.4062
22 | 2656414.2163 | 1228796.5546
23 | 2656380.1601 | 1228547.0296
24 | 2656382.7299 | 1228533.9608
25 | 2656373.8024 | 1228573.4534
26 | 2656383.8012 | 1228523.9953
27 | 2656374.4716 | 1228580.3454
28 | 2656372.6532 | 1228602.7723
29 | 2656408.2215 | 1228693.5448

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## res_bus
| vm_pu | va_degree | p_mw | q_mvar
0 | 0.99783 | -0.015229 | 0.00031213 | 7.8226e-05
1 | 0.99781 | -0.015395 | 0.00035508 | 8.8992e-05
2 | 0.99787 | -0.014986 | 0.00036313 | 9.1008e-05
3 | 0.9978 | -0.015461 | 0 | 0
4 | 0.99792 | -0.014598 | 0.00052523 | 0.00013164
5 | 0.9978 | -0.015497 | 0 | 0
6 | 0.99806 | -0.013659 | 0 | 0
7 | 0.99779 | -0.015566 | 0.00035727 | 8.954e-05
8 | 0.99799 | -0.014134 | 0 | 0
9 | 0.99848 | -0.010683 | 0 | 0
10 | 0.99757 | -0.017 | 0.0092454 | 0.0023171
11 | 0.9976 | -0.016829 | 0.015332 | 0.0038426
12 | 0.9994 | -0.0042262 | 0 | 0
13 | 1 | 0 | -0.060961 | -0.015084
14 | 0.99997 | -0.00021331 | 0.01392 | 0.0034888
15 | 0.99863 | -0.0096332 | 0 | 0
16 | 0.99745 | -0.017876 | 0 | 0
17 | 0.99832 | -0.011757 | 0.0042456 | 0.001064
18 | 0.99701 | -0.020947 | 0 | 0
19 | 0.99722 | -0.019534 | 0.0044178 | 0.0011072
20 | 0.99599 | -0.028166 | 0.0012563 | 0.00031485
21 | 0.99701 | -0.020998 | 0.00030105 | 7.5451e-05
22 | 0.99794 | -0.014489 | 0.0016402 | 0.00041106
23 | 0.99535 | -0.032635 | 0.00020904 | 5.239e-05
24 | 0.99532 | -0.032867 | 0.0015586 | 0.00039063
25 | 0.99543 | -0.032105 | 0 | 0
26 | 0.99532 | -0.032883 | 0.0001639 | 4.1077e-05
27 | 0.99545 | -0.03197 | 0.0058336 | 0.001462
28 | 0.9957 | -0.030205 | 0 | 0
29 | 0.99998 | 149.9947 | 0 | 0

## res_line
| p_from_mw | q_from_mvar | p_to_mw | q_to_mvar | pl_mw | ql_mvar | i_from_ka | i_to_ka | i_ka | vm_from_pu | va_from_degree | vm_to_pu | va_to_degree | loading_percent
0 | 0.00071238 | 0.00017762 | -0.00071236 | -0.00017792 | 1.6264e-08 | -2.9558e-07 | 0.001062 | 0.0010621 | 0.0010621 | 0.99783 | -0.015229 | 0.99781 | -0.015395 | 0.39337
1 | -0.0010245 | -0.00025585 | 0.0010245 | 0.00025555 | 3.42e-08 | -2.9373e-07 | 0.0015275 | 0.0015274 | 0.0015275 | 0.99783 | -0.015229 | 0.99787 | -0.014986 | 0.56573
2 | 0.00035728 | 8.8923e-05 | -0.00035727 | -8.9159e-05 | 3.2122e-09 | -2.3578e-07 | 0.00053258 | 0.00053267 | 0.00053267 | 0.99781 | -0.015395 | 0.9978 | -0.015461 | 0.19728
3 | -0.0013877 | -0.00034656 | 0.0013877 | 0.00034623 | 7.385e-08 | -3.3285e-07 | 0.0020688 | 0.0020687 | 0.0020688 | 0.99787 | -0.014986 | 0.99792 | -0.014598 | 0.76624
4 | 0.00035727 | 8.9159e-05 | -0.00035727 | -8.9289e-05 | 1.7744e-09 | -1.3021e-07 | 0.00053267 | 0.00053271 | 0.00053271 | 0.9978 | -0.015461 | 0.9978 | -0.015497 | 0.1973
5 | -0.001913 | -0.00047786 | 0.0019132 | 0.00047732 | 2.4686e-07 | -5.4067e-07 | 0.0028519 | 0.0028517 | 0.0028519 | 0.99792 | -0.014598 | 0.99806 | -0.013659 | 1.0563
6 | 0.00035727 | 8.9289e-05 | -0.00035727 | -8.954e-05 | 3.4134e-09 | -2.5042e-07 | 0.00053271 | 0.0005328 | 0.0005328 | 0.9978 | -0.015497 | 0.99779 | -0.015566 | 0.19733
7 | 0.0016403 | 0.00041048 | -0.0016402 | -0.00041081 | 1.0767e-07 | -3.3563e-07 | 0.0024454 | 0.0024455 | 0.0024455 | 0.99806 | -0.013659 | 0.99799 | -0.014134 | 0.90575
8 | -0.0035536 | -0.0008878 | 0.003555 | 0.00088727 | 1.454e-06 | -5.2655e-07 | 0.0052971 | 0.0052967 | 0.0052971 | 0.99806 | -0.013659 | 0.99848 | -0.010683 | 1.9619
9 | 0.0016402 | 0.00041081 | -0.0016402 | -0.00041106 | 8.0455e-08 | -2.5073e-07 | 0.0024455 | 0.0024456 | 0.0024456 | 0.99799 | -0.014134 | 0.99794 | -0.014489 | 0.90579
10 | 0.0042462 | 0.001064 | -0.0042456 | -0.001064 | 6.312e-07 | -8.7569e-08 | 0.006328 | 0.0063281 | 0.0063281 | 0.99848 | -0.010683 | 0.99832 | -0.011757 | 2.3438
11 | -0.0078012 | -0.0019512 | 0.0078024 | 0.0019515 | 1.1287e-06 | 2.5903e-07 | 0.011625 | 0.011625 | 0.011625 | 0.99848 | -0.010683 | 0.99863 | -0.0096332 | 4.3054
12 | -0.0092454 | -0.0023171 | 0.0092456 | 0.0023172 | 2.1833e-07 | 5.9953e-08 | 0.013791 | 0.013791 | 0.013791 | 0.99757 | -0.017 | 0.9976 | -0.016829 | 5.1077
13 | -0.024578 | -0.0061598 | 0.024621 | 0.0061756 | 4.2954e-05 | 1.5851e-05 | 0.03666 | 0.03666 | 0.03666 | 0.9976 | -0.016829 | 0.9994 | -0.0042262 | 13.5778
14 | -0.024621 | -0.0061756 | 0.024635 | 0.0061809 | 1.4437e-05 | 5.3268e-06 | 0.03666 | 0.03666 | 0.03666 | 0.9994 | -0.0042262 | 1 | 0 | 13.5778
15 | 0.035526 | 0.0089033 | -0.035525 | -0.0089029 | 1.049e-06 | 3.9556e-07 | 0.052864 | 0.052864 | 0.052864 | 1 | 0 | 0.99997 | -0.00021331 | 19.5791
16 | 0.021605 | 0.0054142 | -0.021577 | -0.0054039 | 2.8134e-05 | 1.0249e-05 | 0.032149 | 0.032149 | 0.032149 | 0.99997 | -0.00021331 | 0.99863 | -0.0096332 | 11.9072
17 | 0.013774 | 0.0034524 | -0.013759 | -0.0034472 | 1.5706e-05 | 5.26e-06 | 0.020525 | 0.020525 | 0.020525 | 0.99863 | -0.0096332 | 0.99745 | -0.017876 | 7.6019
18 | 0.0093398 | 0.00234 | -0.0093359 | -0.0023389 | 3.9669e-06 | 1.0985e-06 | 0.013933 | 0.013933 | 0.013933 | 0.99745 | -0.017876 | 0.99701 | -0.020947 | 5.1605
19 | 0.0044189 | 0.0011071 | -0.0044178 | -0.0011072 | 1.0134e-06 | -9.7917e-08 | 0.006592 | 0.0065922 | 0.0065922 | 0.99745 | -0.017876 | 0.99722 | -0.019534 | 2.4415
20 | 0.0090348 | 0.0022637 | -0.0090258 | -0.0022613 | 9.0195e-06 | 2.4334e-06 | 0.013484 | 0.013484 | 0.013484 | 0.99701 | -0.020947 | 0.99599 | -0.028166 | 4.9942
21 | 0.00030105 | 7.5232e-05 | -0.00030105 | -7.5451e-05 | 2.1234e-09 | -2.1904e-07 | 0.00044924 | 0.00044931 | 0.00044931 | 0.99701 | -0.020947 | 0.99701 | -0.020998 | 0.16641
22 | 0.0077695 | 0.0019464 | -0.0077673 | -0.0019459 | 2.1912e-06 | 5.0369e-07 | 0.011607 | 0.011608 | 0.011608 | 0.99599 | -0.028166 | 0.9957 | -0.030205 | 4.2991
23 | 0.0017226 | 0.00043143 | -0.0017225 | -0.00043158 | 5.5215e-08 | -1.5219e-07 | 0.0025751 | 0.0025752 | 0.0025752 | 0.99535 | -0.032635 | 0.99532 | -0.032867 | 0.95377
24 | -0.0019316 | -0.00048382 | 0.0019318 | 0.00048352 | 1.414e-07 | -2.9889e-07 | 0.0028876 | 0.0028875 | 0.0028876 | 0.99535 | -0.032635 | 0.99543 | -0.032105 | 1.0695
25 | 0.0001639 | 4.0947e-05 | -0.0001639 | -4.1077e-05 | 3.7545e-10 | -1.3012e-07 | 0.00024499 | 0.00024503 | 0.00024503 | 0.99532 | -0.032867 | 0.99532 | -0.032883 | 0.090753
26 | -0.0019318 | -0.00048352 | 0.0019318 | 0.00048344 | 3.6025e-08 | -7.616e-08 | 0.0028875 | 0.0028875 | 0.0028875 | 0.99543 | -0.032105 | 0.99545 | -0.03197 | 1.0694
27 | -0.0077654 | -0.0019455 | 0.0077673 | 0.0019459 | 1.8957e-06 | 4.3593e-07 | 0.011608 | 0.011608 | 0.011608 | 0.99545 | -0.03197 | 0.9957 | -0.030205 | 4.2991

## res_trafo
| p_hv_mw | q_hv_mvar | p_lv_mw | q_lv_mvar | pl_mw | ql_mvar | i_hv_ka | i_lv_ka | vm_hv_pu | va_hv_degree | vm_lv_pu | va_lv_degree | loading_percent
0 | -4.4415e-16 | -7.6913e-16 | 0.00079998 | 7.4552e-08 | 0.00079998 | 7.4552e-08 | 2.564e-17 | 0.0011547 | 0.99998 | 149.9947 | 1 | 0 | 0.31999

## res_ext_grid
| p_mw | q_mvar
0 | 0.13332 | 0.03322

## res_load
| p_mw | q_mvar
0 | 0.00031213 | 7.8226e-05
1 | 0.00035508 | 8.8992e-05
2 | 0.00036313 | 9.1008e-05
3 | 0.00052523 | 0.00013164
4 | 0.00035727 | 8.954e-05
5 | 0.0092454 | 0.0023171
6 | 0.015332 | 0.0038426
7 | 0.072363 | 0.018136
8 | 0.01392 | 0.0034888
9 | 0.0042456 | 0.001064
10 | 0.0044178 | 0.0011072
11 | 0.0012563 | 0.00031485
12 | 0.00030105 | 7.5451e-05
13 | 0.0016402 | 0.00041106
14 | 0.00020904 | 5.239e-05
15 | 0.0015586 | 0.00039063
16 | 0.0001639 | 4.1077e-05
17 | 0.0058336 | 0.001462

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object
62 | res_bus | vm_pu | float64
63 | res_bus | va_degree | float64
64 | res_bus | p_mw | float64
65 | res_bus | q_mvar | float64
66 | res_line | p_from_mw | float64
67 | res_line | q_from_mvar | float64
68 | res_line | p_to_mw | float64
69 | res_line | q_to_mvar | float64
70 | res_line | pl_mw | float64
71 | res_line | ql_mvar | float64
72 | res_line | i_from_ka | float64
73 | res_line | i_to_ka | float64
74 | res_line | i_ka | float64
75 | res_line | vm_from_pu | float64
76 | res_line | va_from_degree | float64
77 | res_line | vm_to_pu | float64
78 | res_line | va_to_degree | float64
79 | res_line | loading_percent | float64
80 | res_trafo | p_hv_mw | float64
81 | res_trafo | q_hv_mvar | float64
82 | res_trafo | p_lv_mw | float64
83 | res_trafo | q_lv_mvar | float64
84 | res_trafo | pl_mw | float64
85 | res_trafo | ql_mvar | float64
86 | res_trafo | i_hv_ka | float64
87 | res_trafo | i_lv_ka | float64
88 | res_trafo | vm_hv_pu | float64
89 | res_trafo | va_hv_degree | float64
90 | res_trafo | vm_lv_pu | float64
91 | res_trafo | va_lv_degree | float64
92 | res_trafo | loading_percent | float64
93 | res_ext_grid | p_mw | float64
94 | res_ext_grid | q_mvar | float64
95 | res_load | p_mw | float64
96 | res_load | q_mvar | float64

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | TRUE | FALSE |  | 50 | 1