## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_1082-3_0_2_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_1082-3_0_2_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_1082-3_0_2_node_2 | 0.4 | n |  | TRUE
3 | bus_LV_1082-3_0_2_node_3 | 0.4 | n |  | TRUE
4 | bus_LV_1082-3_0_2_node_7 | 0.4 | n |  | TRUE
5 | bus_LV_1082-3_0_2_node_4 | 0.4 | n |  | TRUE
6 | bus_LV_1082-3_0_2_node_8 | 0.4 | n |  | TRUE
7 | bus_LV_1082-3_0_2_node_5 | 0.4 | n |  | TRUE
8 | bus_LV_1082-3_0_2_node_6 | 0.4 | n |  | TRUE
9 | bus_LV_1082-3_0_2_node_38 | 0.4 | n |  | TRUE
10 | bus_LV_1082-3_0_2_node_53 | 0.4 | n |  | TRUE
11 | bus_LV_1082-3_0_2_node_50 | 0.4 | n |  | TRUE
12 | bus_LV_1082-3_0_2_node_32 | 0.4 | n |  | TRUE
13 | bus_LV_1082-3_0_2_node_9 | 0.4 | n |  | TRUE
14 | bus_LV_1082-3_0_2_node_10 | 0.4 | n |  | TRUE
15 | bus_LV_1082-3_0_2_node_12 | 0.4 | n |  | TRUE
16 | bus_LV_1082-3_0_2_node_13 | 0.4 | n |  | TRUE
17 | bus_LV_1082-3_0_2_node_11 | 0.4 | n |  | TRUE
18 | bus_LV_1082-3_0_2_node_17 | 0.4 | n |  | TRUE
19 | bus_LV_1082-3_0_2_node_44 | 0.4 | n |  | TRUE
20 | bus_LV_1082-3_0_2_node_18 | 0.4 | n |  | TRUE
21 | bus_LV_1082-3_0_2_node_16 | 0.4 | n |  | TRUE
22 | bus_LV_1082-3_0_2_node_43 | 0.4 | n |  | TRUE
23 | bus_LV_1082-3_0_2_node_14 | 0.4 | n |  | TRUE
24 | bus_LV_1082-3_0_2_node_15 | 0.4 | n |  | TRUE
25 | bus_LV_1082-3_0_2_node_19 | 0.4 | n |  | TRUE
26 | bus_LV_1082-3_0_2_node_20 | 0.4 | n |  | TRUE
27 | bus_LV_1082-3_0_2_node_21 | 0.4 | n |  | TRUE
28 | bus_LV_1082-3_0_2_node_22 | 0.4 | n |  | TRUE
29 | bus_LV_1082-3_0_2_node_25 | 0.4 | n |  | TRUE
30 | bus_LV_1082-3_0_2_node_27 | 0.4 | n |  | TRUE
31 | bus_LV_1082-3_0_2_node_23 | 0.4 | n |  | TRUE
32 | bus_LV_1082-3_0_2_node_24 | 0.4 | n |  | TRUE
33 | bus_LV_1082-3_0_2_node_26 | 0.4 | n |  | TRUE
34 | bus_LV_1082-3_0_2_node_36 | 0.4 | n |  | TRUE
35 | bus_LV_1082-3_0_2_node_33 | 0.4 | n |  | TRUE
36 | bus_LV_1082-3_0_2_node_37 | 0.4 | n |  | TRUE
37 | bus_LV_1082-3_0_2_node_34 | 0.4 | n |  | TRUE
38 | bus_LV_1082-3_0_2_node_28 | 0.4 | n |  | TRUE
39 | bus_LV_1082-3_0_2_node_29 | 0.4 | n |  | TRUE
40 | bus_LV_1082-3_0_2_node_30 | 0.4 | n |  | TRUE
41 | bus_LV_1082-3_0_2_node_31 | 0.4 | n |  | TRUE
42 | bus_LV_1082-3_0_2_node_41 | 0.4 | n |  | TRUE
43 | bus_LV_1082-3_0_2_node_42 | 0.4 | n |  | TRUE
44 | bus_LV_1082-3_0_2_node_52 | 0.4 | n |  | TRUE
45 | bus_LV_1082-3_0_2_node_35 | 0.4 | n |  | TRUE
46 | bus_LV_1082-3_0_2_node_39 | 0.4 | n |  | TRUE
47 | bus_LV_1082-3_0_2_node_40 | 0.4 | n |  | TRUE
48 | bus_LV_1082-3_0_2_node_48 | 0.4 | n |  | TRUE
49 | bus_LV_1082-3_0_2_node_51 | 0.4 | n |  | TRUE
50 | bus_LV_1082-3_0_2_node_46 | 0.4 | n |  | TRUE
51 | bus_LV_1082-3_0_2_node_47 | 0.4 | n |  | TRUE
52 | bus_MV_472_0_node_14 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_1082-3_0_2_load_0 | 0 | 0.00090696 | 0.0002273 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_1082-3_0_2_load_1 | 1 | 0.0049888 | 0.0012503 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_1082-3_0_2_load_2 | 2 | 0.0024694 | 0.00061888 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_1082-3_0_2_load_7 | 4 | 0.0057709 | 0.0014463 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_1082-3_0_2_load_4 | 5 | 0.0058268 | 0.0014603 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_1082-3_0_2_load_5 | 7 | 0.014127 | 0.0035406 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_1082-3_0_2_load_6 | 8 | 0.0020193 | 0.00050609 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_1082-3_0_2_load_53 | 10 | 0.0033083 | 0.00082913 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_1082-3_0_2_load_50 | 11 | 0.0018528 | 0.00046434 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_1082-3_0_2_load_32 | 12 | 0.0023745 | 0.00059511 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_1082-3_0_2_load_9 | 13 | 0.0035985 | 0.00090187 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_1082-3_0_2_load_10 | 14 | 0.0048762 | 0.0012221 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_1082-3_0_2_load_11 | 17 | 0.0088755 | 0.0022244 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_1082-3_0_2_load_44 | 19 | 0.0020559 | 0.00051526 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_1082-3_0_2_load_16 | 21 | 0.0045247 | 0.001134 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_1082-3_0_2_load_43 | 22 | 0.0042895 | 0.001075 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_1082-3_0_2_load_14 | 23 | 0.010418 | 0.0026111 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_1082-3_0_2_load_15 | 24 | 0.0021061 | 0.00052785 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_1082-3_0_2_load_19 | 25 | 0.0016112 | 0.00040381 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_1082-3_0_2_load_21 | 27 | 0.0035925 | 0.00090036 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_1082-3_0_2_load_22 | 28 | 0.011169 | 0.0027991 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_1082-3_0_2_load_27 | 30 | 0.0010339 | 0.00025912 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_1082-3_0_2_load_23 | 31 | 0.013396 | 0.0033574 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_1082-3_0_2_load_26 | 33 | 0.0010028 | 0.00025132 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_1082-3_0_2_load_36 | 34 | 0.0010688 | 0.00026787 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_1082-3_0_2_load_33 | 35 | 0.00096554 | 0.00024199 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_1082-3_0_2_load_37 | 36 | 0.00075828 | 0.00019004 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_1082-3_0_2_load_34 | 37 | 0.0012451 | 0.00031206 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_1082-3_0_2_load_28 | 38 | 0.0021468 | 0.00053804 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_1082-3_0_2_load_29 | 39 | 0.0027694 | 0.00069409 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_1082-3_0_2_load_30 | 40 | 0.0015643 | 0.00039206 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_1082-3_0_2_load_41 | 42 | 0.0019944 | 0.00049984 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_1082-3_0_2_load_42 | 43 | 0.0038813 | 0.00097276 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_1082-3_0_2_load_35 | 45 | 0.0010624 | 0.00026626 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_1082-3_0_2_load_39 | 46 | 0.0010609 | 0.00026588 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_1082-3_0_2_load_40 | 47 | 0.00075828 | 0.00019004 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_1082-3_0_2_load_48 | 48 | 0.003336 | 0.00083607 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_1082-3_0_2_load_51 | 49 | 0.011518 | 0.0028867 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_1082-3_0_2_load_46 | 50 | 0.0041537 | 0.001041 | 0 | 0 |  | 1 | TRUE | wye
39 | LV_1082-3_0_2_load_47 | 51 | 0.0030215 | 0.00075727 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 17 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_1082-3_0_2_line_0 | NAYY 4x150 SE | 0 | 1 | 0.010295 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
1 | LV_1082-3_0_2_line_1 | NAYY 4x150 SE | 0 | 2 | 0.021708 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
2 | LV_1082-3_0_2_line_2 | NAYY 4x150 SE | 2 | 3 | 0.014129 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
3 | LV_1082-3_0_2_line_3 | NAYY 4x150 SE | 3 | 4 | 0.025371 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
4 | LV_1082-3_0_2_line_4 | NAYY 4x150 SE | 3 | 5 | 0.014474 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
5 | LV_1082-3_0_2_line_5 | NAYY 4x150 SE | 4 | 6 | 0.013416 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
6 | LV_1082-3_0_2_line_6 | NAYY 4x150 SE | 5 | 7 | 0.026602 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
7 | LV_1082-3_0_2_line_7 | NAYY 4x150 SE | 6 | 13 | 0.016399 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
8 | LV_1082-3_0_2_line_8 | NAYY 4x150 SE | 6 | 14 | 0.020468 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
9 | LV_1082-3_0_2_line_9 | NAYY 4x150 SE | 7 | 8 | 0.0043378 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
10 | LV_1082-3_0_2_line_10 | NAYY 4x150 SE | 8 | 9 | 0.019494 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
11 | LV_1082-3_0_2_line_11 | NAYY 4x150 SE | 9 | 10 | 0.058334 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
12 | LV_1082-3_0_2_line_12 | NAYY 4x150 SE | 9 | 11 | 0.019839 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
13 | LV_1082-3_0_2_line_13 | NAYY 4x150 SE | 9 | 12 | 0.015595 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
14 | LV_1082-3_0_2_line_14 | NAYY 4x150 SE | 11 | 48 | 0.012499 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
15 | LV_1082-3_0_2_line_15 | NAYY 4x150 SE | 12 | 40 | 0.00090365 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
16 | LV_1082-3_0_2_line_16 | NAYY 4x150 SE | 14 | 15 | 0.023693 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
17 | LV_1082-3_0_2_line_17 | NAYY 4x150 SE | 15 | 16 | 0.012122 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
18 | LV_1082-3_0_2_line_18 | NAYY 4x150 SE | 15 | 17 | 0.023242 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
19 | LV_1082-3_0_2_line_19 | NAYY 4x150 SE | 16 | 18 | 0.000717 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
20 | LV_1082-3_0_2_line_20 | NAYY 4x150 SE | 16 | 19 | 0.012912 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
21 | LV_1082-3_0_2_line_21 | NAYY 4x150 SE | 18 | 20 | 0.022785 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
22 | LV_1082-3_0_2_line_22 | NAYY 4x150 SE | 18 | 21 | 0.017162 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
23 | LV_1082-3_0_2_line_23 | NAYY 4x150 SE | 19 | 22 | 0.023115 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
24 | LV_1082-3_0_2_line_24 | NAYY 4x150 SE | 20 | 25 | 0.021602 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
25 | LV_1082-3_0_2_line_25 | NAYY 4x150 SE | 21 | 24 | 0.0065021 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
26 | LV_1082-3_0_2_line_26 | NAYY 4x150 SE | 23 | 24 | 0.018877 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
27 | LV_1082-3_0_2_line_27 | NAYY 4x150 SE | 25 | 26 | 0.011138 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
28 | LV_1082-3_0_2_line_28 | NAYY 4x150 SE | 26 | 27 | 0.032647 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
29 | LV_1082-3_0_2_line_29 | NAYY 4x150 SE | 26 | 28 | 0.032528 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
30 | LV_1082-3_0_2_line_30 | NAYY 4x150 SE | 27 | 29 | 0.019416 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
31 | LV_1082-3_0_2_line_31 | NAYY 4x150 SE | 29 | 30 | 0.017892 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
32 | LV_1082-3_0_2_line_32 | NAYY 4x150 SE | 29 | 31 | 0.020238 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
33 | LV_1082-3_0_2_line_33 | NAYY 4x150 SE | 30 | 35 | 0.0077606 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
34 | LV_1082-3_0_2_line_34 | NAYY 4x150 SE | 31 | 32 | 0.0071795 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
35 | LV_1082-3_0_2_line_35 | NAYY 4x150 SE | 32 | 33 | 0.013573 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
36 | LV_1082-3_0_2_line_36 | NAYY 4x150 SE | 33 | 34 | 0.019499 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
37 | LV_1082-3_0_2_line_37 | NAYY 4x150 SE | 34 | 36 | 0.018039 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
38 | LV_1082-3_0_2_line_38 | NAYY 4x150 SE | 35 | 37 | 0.0027559 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
39 | LV_1082-3_0_2_line_39 | NAYY 4x150 SE | 36 | 47 | 0.0065234 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
40 | LV_1082-3_0_2_line_40 | NAYY 4x150 SE | 37 | 45 | 0.017011 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
41 | LV_1082-3_0_2_line_41 | NAYY 4x150 SE | 38 | 39 | 0.019799 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
42 | LV_1082-3_0_2_line_42 | NAYY 4x150 SE | 38 | 40 | 0.0013236 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
43 | LV_1082-3_0_2_line_43 | NAYY 4x150 SE | 39 | 41 | 0.0080386 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
44 | LV_1082-3_0_2_line_44 | NAYY 4x150 SE | 41 | 42 | 0.036109 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
45 | LV_1082-3_0_2_line_45 | NAYY 4x150 SE | 41 | 43 | 0.019356 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
46 | LV_1082-3_0_2_line_46 | NAYY 4x150 SE | 43 | 44 | 0.038376 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
47 | LV_1082-3_0_2_line_47 | NAYY 4x150 SE | 44 | 49 | 0.03801 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
48 | LV_1082-3_0_2_line_48 | NAYY 4x150 SE | 45 | 46 | 0.0080525 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
49 | LV_1082-3_0_2_line_49 | NAYY 4x150 SE | 48 | 50 | 0.0061613 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
50 | LV_1082-3_0_2_line_50 | NAYY 4x150 SE | 50 | 51 | 0.010526 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_1082-3_0_2_trafo_11 | 0.25 MVA 20/0.4 kV | 52 | 17 | 0.25 | 20 | 0.4 | 6 | 1.44 | 0.8 | 0.32 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5
0 | 2649419.8261 | 1229115.7217 | 2649412.9696 | 1229123.4012
1 | 2649419.8261 | 1229115.7217 | 2649434.284 | 1229099.5284
2 | 2649444.5082 | 1229089.8342 | 2649438.497 | 1229094.8097 | 2649434.284 | 1229099.5284
3 | 2649444.5082 | 1229089.8342 | 2649430.7004 | 1229068.5492
4 | 2649444.5082 | 1229089.8342 | 2649451.6219 | 1229100.8002 | 2649452.3484 | 1229101.9999
5 | 2649423.3991 | 1229057.2941 | 2649430.7004 | 1229068.5492
6 | 2649452.3484 | 1229101.9999 | 2649466.1284 | 1229124.7546
7 | 2649423.3991 | 1229057.2941 | 2649413.0346 | 1229044.5861
8 | 2649423.3991 | 1229057.2941 | 2649429.4735 | 1229051.1073 | 2649437.0185 | 1229042.0376
9 | 2649466.1284 | 1229124.7546 | 2649468.3754 | 1229128.4651
10 | 2649478.4736 | 1229145.1401 | 2649468.3754 | 1229128.4651
11 | 2649478.4736 | 1229145.1401 | 2649472.0702 | 1229149.9009 | 2649436.8616 | 1229185.9005
12 | 2649478.4736 | 1229145.1401 | 2649484.9477 | 1229163.8927
13 | 2649478.4736 | 1229145.1401 | 2649485.494 | 1229140.8847 | 2649491.5726 | 1229136.6892
14 | 2649484.9477 | 1229163.8927 | 2649486.6998 | 1229168.9678 | 2649488.6846 | 1229175.816
15 | 2649491.5726 | 1229136.6892 | 2649492.3163 | 1229136.1759
16 | 2649452.1709 | 1229023.8232 | 2649437.0185 | 1229042.0376
17 | 2649452.1709 | 1229023.8232 | 2649459.9307 | 1229014.4929
18 | 2649452.1709 | 1229023.8232 | 2649462.3619 | 1229034.6258 | 2649467.0113 | 1229041.6104
19 | 2649459.9307 | 1229014.4929 | 2649460.3748 | 1229013.9296
20 | 2649459.9307 | 1229014.4929 | 2649468.5571 | 1229024.101
21 | 2649473.7713 | 1228995.4738 | 2649460.3748 | 1229013.9296
22 | 2649460.3748 | 1229013.9296 | 2649448.1129 | 1229001.9214
23 | 2649482.663 | 1229042.3933 | 2649478.6471 | 1229036.8514 | 2649471.3557 | 1229027.2181 | 2649468.5571 | 1229024.101
24 | 2649473.7713 | 1228995.4738 | 2649487.7052 | 1228978.967
25 | 2649443.4673 | 1228997.372 | 2649448.1129 | 1229001.9214
26 | 2649443.4673 | 1228997.372 | 2649435.6882 | 1228989.7538 | 2649430.0927 | 1228984.0518
27 | 2649494.8896 | 1228970.456 | 2649487.7052 | 1228978.967
28 | 2649494.8896 | 1228970.456 | 2649491.8998 | 1228961.9258 | 2649477.8524 | 1228942.9515
29 | 2649494.8896 | 1228970.456 | 2649498.8004 | 1228975.7474 | 2649518.7827 | 1228992.3013
30 | 2649466.2996 | 1228927.3468 | 2649477.8524 | 1228942.9515
31 | 2649466.2996 | 1228927.3468 | 2649453.4844 | 1228939.8331
32 | 2649466.2996 | 1228927.3468 | 2649454.2604 | 1228911.0796
33 | 2649447.926 | 1228945.2489 | 2649453.4844 | 1228939.8331
34 | 2649449.9894 | 1228905.3086 | 2649454.2604 | 1228911.0796
35 | 2649449.9894 | 1228905.3086 | 2649440.157 | 1228914.6662
36 | 2649440.157 | 1228914.6662 | 2649426.0321 | 1228928.1092
37 | 2649426.0321 | 1228928.1092 | 2649412.9653 | 1228940.5451
38 | 2649447.926 | 1228945.2489 | 2649445.9521 | 1228947.1721
39 | 2649408.2399 | 1228945.0423 | 2649412.9653 | 1228940.5451
40 | 2649445.9521 | 1228947.1721 | 2649433.7681 | 1228959.0434
41 | 2649493.4056 | 1229135.4241 | 2649498.9276 | 1229131.6128 | 2649509.2826 | 1229123.6055
42 | 2649493.4056 | 1229135.4241 | 2649492.3163 | 1229136.1759
43 | 2649515.6417 | 1229118.6881 | 2649509.2826 | 1229123.6055
44 | 2649515.6417 | 1229118.6881 | 2649520.3274 | 1229129.1559 | 2649523.8106 | 1229138.4685 | 2649527.227 | 1229143.0665 | 2649531.6212 | 1229146.6831 | 2649534.365 | 1229148.477
45 | 2649515.6417 | 1229118.6881 | 2649528.0013 | 1229103.7921
46 | 2649546.251 | 1229072.0247 | 2649547.6987 | 1229075.5835 | 2649539.4802 | 1229089.9574 | 2649528.0013 | 1229103.7921
47 | 2649546.251 | 1229072.0247 | 2649541.8898 | 1229070.7988 | 2649539.0334 | 1229068.1066 | 2649536.5512 | 1229062.3157 | 2649533.8667 | 1229053.5323 | 2649524.724 | 1229042.8379
48 | 2649428.0006 | 1228964.6629 | 2649433.7681 | 1228959.0434
49 | 2649490.3997 | 1229181.7337 | 2649488.6846 | 1229175.816
50 | 2649490.3997 | 1229181.7337 | 2649493.3299 | 1229191.8438

## bus_geodata
| x | y | coords
0 | 2649419.8261 | 1229115.7217
1 | 2649412.9696 | 1229123.4012
2 | 2649434.284 | 1229099.5284
3 | 2649444.5082 | 1229089.8342
4 | 2649430.7004 | 1229068.5492
5 | 2649452.3484 | 1229101.9999
6 | 2649423.3991 | 1229057.2941
7 | 2649466.1284 | 1229124.7546
8 | 2649468.3754 | 1229128.4651
9 | 2649478.4736 | 1229145.1401
10 | 2649436.8616 | 1229185.9005
11 | 2649484.9477 | 1229163.8927
12 | 2649491.5726 | 1229136.6892
13 | 2649413.0346 | 1229044.5861
14 | 2649437.0185 | 1229042.0376
15 | 2649452.1709 | 1229023.8232
16 | 2649459.9307 | 1229014.4929
17 | 2649467.0113 | 1229041.6104
18 | 2649460.3748 | 1229013.9296
19 | 2649468.5571 | 1229024.101
20 | 2649473.7713 | 1228995.4738
21 | 2649448.1129 | 1229001.9214
22 | 2649482.663 | 1229042.3933
23 | 2649430.0927 | 1228984.0518
24 | 2649443.4673 | 1228997.372
25 | 2649487.7052 | 1228978.967
26 | 2649494.8896 | 1228970.456
27 | 2649477.8524 | 1228942.9515
28 | 2649518.7827 | 1228992.3013
29 | 2649466.2996 | 1228927.3468
30 | 2649453.4844 | 1228939.8331
31 | 2649454.2604 | 1228911.0796
32 | 2649449.9894 | 1228905.3086
33 | 2649440.157 | 1228914.6662
34 | 2649426.0321 | 1228928.1092
35 | 2649447.926 | 1228945.2489
36 | 2649412.9653 | 1228940.5451
37 | 2649445.9521 | 1228947.1721
38 | 2649493.4056 | 1229135.4241
39 | 2649509.2826 | 1229123.6055
40 | 2649492.3163 | 1229136.1759
41 | 2649515.6417 | 1229118.6881
42 | 2649534.365 | 1229148.477
43 | 2649528.0013 | 1229103.7921
44 | 2649546.251 | 1229072.0247
45 | 2649433.7681 | 1228959.0434
46 | 2649428.0006 | 1228964.6629
47 | 2649408.2399 | 1228945.0423
48 | 2649488.6846 | 1229175.816
49 | 2649524.724 | 1229042.8379
50 | 2649490.3997 | 1229181.7337
51 | 2649493.3299 | 1229191.8438
52 | 2649471.992 | 1229049.0926

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## res_bus
| vm_pu | va_degree | p_mw | q_mvar
0 | 0.98759 | -0.08669 | 0.00090696 | 0.0002273
1 | 0.98752 | -0.087216 | 0.0049888 | 0.0012503
2 | 0.98778 | -0.085381 | 0.0024694 | 0.00061888
3 | 0.98795 | -0.084171 | 0 | 0
4 | 0.9906 | -0.065465 | 0.0057709 | 0.0014463
5 | 0.98661 | -0.093645 | 0.0058268 | 0.0014603
6 | 0.99212 | -0.054829 | 0 | 0
7 | 0.98436 | -0.10953 | 0.014127 | 0.0035406
8 | 0.98409 | -0.11149 | 0.0020193 | 0.00050609
9 | 0.9829 | -0.11993 | 0 | 0
10 | 0.98262 | -0.12193 | 0.0033083 | 0.00082913
11 | 0.98254 | -0.12247 | 0.0018528 | 0.00046434
12 | 0.98231 | -0.12416 | 0.0023745 | 0.00059511
13 | 0.99204 | -0.055427 | 0.0035985 | 0.00090187
14 | 0.99454 | -0.03792 | 0.0048762 | 0.0012221
15 | 0.99751 | -0.01729 | 0 | 0
16 | 0.99643 | -0.024856 | 0 | 0
17 | 1 | 0 | -0.15114 | -0.037895
18 | 0.99637 | -0.025258 | 0 | 0
19 | 0.99631 | -0.02568 | 0.0020559 | 0.00051526
20 | 0.9951 | -0.034145 | 0 | 0
21 | 0.99595 | -0.028201 | 0.0045247 | 0.001134
22 | 0.99617 | -0.026677 | 0.0042895 | 0.001075
23 | 0.99555 | -0.031001 | 0.010418 | 0.0026111
24 | 0.99584 | -0.029021 | 0.0021061 | 0.00052785
25 | 0.9939 | -0.042592 | 0.0016112 | 0.00040381
26 | 0.99331 | -0.046773 | 0 | 0
27 | 0.99209 | -0.055357 | 0.0035925 | 0.00090036
28 | 0.99278 | -0.05045 | 0.011169 | 0.0027991
29 | 0.99146 | -0.059763 | 0 | 0
30 | 0.99133 | -0.060739 | 0.0010339 | 0.00025912
31 | 0.99097 | -0.063256 | 0.013396 | 0.0033574
32 | 0.99093 | -0.063518 | 0 | 0
33 | 0.99086 | -0.064014 | 0.0010028 | 0.00025132
34 | 0.99079 | -0.064527 | 0.0010688 | 0.00026787
35 | 0.99128 | -0.061081 | 0.00096554 | 0.00024199
36 | 0.99075 | -0.064806 | 0.00075828 | 0.00019004
37 | 0.99126 | -0.061175 | 0.0012451 | 0.00031206
38 | 0.98223 | -0.12469 | 0.0021468 | 0.00053804
39 | 0.98165 | -0.12883 | 0.0027694 | 0.00069409
40 | 0.98227 | -0.12439 | 0.0015643 | 0.00039206
41 | 0.98145 | -0.13028 | 0 | 0
42 | 0.98134 | -0.13103 | 0.0019944 | 0.00049984
43 | 0.98101 | -0.13337 | 0.0038813 | 0.00097276
44 | 0.98037 | -0.13796 | 0 | 0
45 | 0.99121 | -0.061543 | 0.0010624 | 0.00026626
46 | 0.9912 | -0.061629 | 0.0010609 | 0.00026588
47 | 0.99074 | -0.064856 | 0.00075828 | 0.00019004
48 | 0.98235 | -0.12383 | 0.003336 | 0.00083607
49 | 0.97973 | -0.14251 | 0.011518 | 0.0028867
50 | 0.98229 | -0.12428 | 0.0041537 | 0.001041
51 | 0.98224 | -0.12461 | 0.0030215 | 0.00075727
52 | 0.99998 | 149.9947 | 0 | 0

## res_line
| p_from_mw | q_from_mvar | p_to_mw | q_to_mvar | pl_mw | ql_mvar | i_from_ka | i_to_ka | i_ka | vm_from_pu | va_from_degree | vm_to_pu | va_to_degree | loading_percent
0 | 0.0049892 | 0.0012503 | -0.0049888 | -0.0012503 | 3.6302e-07 | 7.9018e-09 | 0.0075173 | 0.0075173 | 0.0075173 | 0.98759 | -0.08669 | 0.98752 | -0.087216 | 2.7842
1 | -0.0058962 | -0.0014776 | 0.0058972 | 0.0014778 | 1.0691e-06 | 1.3335e-07 | 0.0088838 | 0.0088837 | 0.0088838 | 0.98759 | -0.08669 | 0.98778 | -0.085381 | 3.2903
2 | -0.0083666 | -0.0020966 | 0.008368 | 0.002097 | 1.4005e-06 | 3.5777e-07 | 0.012604 | 0.012604 | 0.012604 | 0.98778 | -0.085381 | 0.98795 | -0.084171 | 4.668
3 | -0.072598 | -0.018235 | 0.072787 | 0.018308 | 0.00018934 | 7.2497e-05 | 0.10936 | 0.10936 | 0.10936 | 0.98795 | -0.084171 | 0.9906 | -0.065465 | 40.5035
4 | 0.06423 | 0.016138 | -0.064146 | -0.016106 | 8.4551e-05 | 3.2335e-05 | 0.096756 | 0.096756 | 0.096756 | 0.98795 | -0.084171 | 0.98661 | -0.093645 | 35.8355
5 | -0.078558 | -0.019754 | 0.078675 | 0.019799 | 0.00011662 | 4.4681e-05 | 0.11803 | 0.11803 | 0.11803 | 0.9906 | -0.065465 | 0.99212 | -0.054829 | 43.714
6 | 0.058319 | 0.014645 | -0.05819 | -0.014596 | 0.00012845 | 4.9067e-05 | 0.087968 | 0.087968 | 0.087968 | 0.98661 | -0.093645 | 0.98436 | -0.10953 | 32.5807
7 | 0.0035988 | 0.00090177 | -0.0035985 | -0.00090187 | 2.9812e-07 | -9.7082e-08 | 0.0053975 | 0.0053976 | 0.0053976 | 0.99212 | -0.054829 | 0.99204 | -0.055427 | 1.9991
8 | -0.082274 | -0.0207 | 0.082468 | 0.020775 | 0.00019457 | 7.4569e-05 | 0.12343 | 0.12343 | 0.12343 | 0.99212 | -0.054829 | 0.99454 | -0.03792 | 45.7131
9 | 0.044063 | 0.011056 | -0.044051 | -0.011051 | 1.2011e-05 | 4.5643e-06 | 0.066613 | 0.066613 | 0.066613 | 0.98436 | -0.10953 | 0.98409 | -0.11149 | 24.6714
10 | 0.042032 | 0.010545 | -0.041983 | -0.010526 | 4.9142e-05 | 1.8653e-05 | 0.063559 | 0.063559 | 0.063559 | 0.98409 | -0.11149 | 0.9829 | -0.11993 | 23.5405
11 | 0.0033092 | 0.00082875 | -0.0033083 | -0.00082913 | 9.1355e-07 | -3.8778e-07 | 0.0050096 | 0.0050099 | 0.0050099 | 0.9829 | -0.11993 | 0.98262 | -0.12193 | 1.8555
12 | 0.012371 | 0.0031007 | -0.012367 | -0.0030993 | 4.3421e-06 | 1.4187e-06 | 0.018728 | 0.018728 | 0.018728 | 0.9829 | -0.11993 | 0.98254 | -0.12247 | 6.9365
13 | 0.026303 | 0.006597 | -0.026287 | -0.0065913 | 1.5432e-05 | 5.7377e-06 | 0.039821 | 0.039822 | 0.039822 | 0.9829 | -0.11993 | 0.98231 | -0.12416 | 14.7487
14 | 0.010514 | 0.002635 | -0.010512 | -0.0026344 | 1.9774e-06 | 6.0225e-07 | 0.015923 | 0.015923 | 0.015923 | 0.98254 | -0.12247 | 0.98235 | -0.12383 | 5.8973
15 | 0.023913 | 0.0059962 | -0.023912 | -0.0059959 | 7.3993e-07 | 2.7315e-07 | 0.036225 | 0.036225 | 0.036225 | 0.98231 | -0.12416 | 0.98227 | -0.12439 | 13.4165
16 | -0.087345 | -0.021997 | 0.087597 | 0.022094 | 0.00025264 | 9.6859e-05 | 0.13072 | 0.13072 | 0.13072 | 0.99454 | -0.03792 | 0.99751 | -0.01729 | 48.4152
17 | 0.062375 | 0.015662 | -0.06231 | -0.015637 | 6.5504e-05 | 2.5036e-05 | 0.093058 | 0.093058 | 0.093058 | 0.99751 | -0.01729 | 0.99643 | -0.024856 | 34.4659
18 | -0.14997 | -0.037756 | 0.15034 | 0.037895 | 0.00036313 | 0.00013906 | 0.22378 | 0.22378 | 0.22378 | 0.99751 | -0.01729 | 1 | 0 | 41.4405
19 | 0.055963 | 0.014047 | -0.05596 | -0.014046 | 3.1254e-06 | 1.1928e-06 | 0.08358 | 0.08358 | 0.08358 | 0.99643 | -0.024856 | 0.99637 | -0.025258 | 30.9557
20 | 0.0063467 | 0.0015903 | -0.0063459 | -0.0015902 | 7.2377e-07 | 1.102e-07 | 0.0094777 | 0.0094778 | 0.0094778 | 0.99643 | -0.024856 | 0.99631 | -0.02568 | 3.5103
21 | 0.0389 | 0.0097691 | -0.038852 | -0.0097509 | 4.7996e-05 | 1.8164e-05 | 0.058101 | 0.058101 | 0.058101 | 0.99637 | -0.025258 | 0.9951 | -0.034145 | 21.519
22 | 0.01706 | 0.0042767 | -0.017053 | -0.0042742 | 6.9523e-06 | 2.4505e-06 | 0.025479 | 0.025479 | 0.025479 | 0.99637 | -0.025258 | 0.99595 | -0.028201 | 9.4367
23 | 0.00429 | 0.001075 | -0.0042895 | -0.001075 | 5.9213e-07 | -7.3229e-08 | 0.0064072 | 0.0064073 | 0.0064073 | 0.99631 | -0.02568 | 0.99617 | -0.026677 | 2.3731
24 | 0.038852 | 0.0097509 | -0.038806 | -0.0097337 | 4.5503e-05 | 1.7221e-05 | 0.058101 | 0.058102 | 0.058102 | 0.9951 | -0.034145 | 0.9939 | -0.042592 | 21.5191
25 | 0.012529 | 0.0031403 | -0.012527 | -0.0031398 | 1.4217e-06 | 4.622e-07 | 0.018719 | 0.018719 | 0.018719 | 0.99595 | -0.028201 | 0.99584 | -0.029021 | 6.933
26 | -0.010418 | -0.0026111 | 0.010421 | 0.0026119 | 2.8563e-06 | 8.5305e-07 | 0.015572 | 0.015572 | 0.015572 | 0.99555 | -0.031001 | 0.99584 | -0.029021 | 5.7674
27 | 0.037195 | 0.0093299 | -0.037173 | -0.0093217 | 2.1554e-05 | 8.1459e-06 | 0.055689 | 0.055689 | 0.055689 | 0.9939 | -0.042592 | 0.99331 | -0.046773 | 20.6257
28 | 0.025999 | 0.0065209 | -0.025968 | -0.0065094 | 3.0906e-05 | 1.1465e-05 | 0.03895 | 0.03895 | 0.03895 | 0.99331 | -0.046773 | 0.99209 | -0.055357 | 14.4259
29 | 0.011174 | 0.0028009 | -0.011169 | -0.0027991 | 5.6877e-06 | 1.7668e-06 | 0.01674 | 0.01674 | 0.01674 | 0.99331 | -0.046773 | 0.99278 | -0.05045 | 6.1999
30 | 0.022376 | 0.0056091 | -0.022362 | -0.0056041 | 1.3647e-05 | 4.9982e-06 | 0.033562 | 0.033562 | 0.033562 | 0.99209 | -0.055357 | 0.99146 | -0.059763 | 12.4303
31 | 0.0053689 | 0.001345 | -0.0053682 | -0.001345 | 7.2489e-07 | 4.8091e-08 | 0.0080576 | 0.0080577 | 0.0080577 | 0.99146 | -0.059763 | 0.99133 | -0.060739 | 2.9843
32 | 0.016993 | 0.004259 | -0.016985 | -0.0042561 | 8.2142e-06 | 2.8985e-06 | 0.025504 | 0.025504 | 0.025504 | 0.99146 | -0.059763 | 0.99097 | -0.063256 | 9.446
33 | 0.0043343 | 0.0010859 | -0.0043341 | -0.0010859 | 2.0497e-07 | -2.1216e-08 | 0.0065058 | 0.0065059 | 0.0065059 | 0.99133 | -0.060739 | 0.99128 | -0.061081 | 2.4096
34 | 0.0035888 | 0.00089868 | -0.0035886 | -0.00089872 | 1.3009e-07 | -4.2461e-08 | 0.0053886 | 0.0053886 | 0.0053886 | 0.99097 | -0.063256 | 0.99093 | -0.063518 | 1.9958
35 | 0.0035886 | 0.00089872 | -0.0035884 | -0.0008988 | 2.4594e-07 | -8.0255e-08 | 0.0053886 | 0.0053886 | 0.0053886 | 0.99093 | -0.063518 | 0.99086 | -0.064014 | 1.9958
36 | 0.0025856 | 0.00064748 | -0.0025854 | -0.00064766 | 1.8344e-07 | -1.8059e-07 | 0.0038827 | 0.0038828 | 0.0038828 | 0.99086 | -0.064014 | 0.99079 | -0.064527 | 1.4381
37 | 0.0015166 | 0.00037979 | -0.0015166 | -0.00038 | 5.8394e-08 | -2.0985e-07 | 0.0022776 | 0.0022777 | 0.0022777 | 0.99079 | -0.064527 | 0.99075 | -0.064806 | 0.84359
38 | 0.0033686 | 0.00084391 | -0.0033685 | -0.00084392 | 4.3969e-08 | -1.8616e-08 | 0.0050565 | 0.0050565 | 0.0050565 | 0.99128 | -0.061081 | 0.99126 | -0.061175 | 1.8728
39 | 0.00075828 | 0.00018996 | -0.00075828 | -0.00019004 | 5.2795e-09 | -8.1975e-08 | 0.0011388 | 0.0011389 | 0.0011389 | 0.99075 | -0.064806 | 0.99074 | -0.064856 | 0.4218
40 | 0.0021234 | 0.00053187 | -0.0021233 | -0.00053205 | 1.0784e-07 | -1.778e-07 | 0.0031874 | 0.0031875 | 0.0031875 | 0.99126 | -0.061175 | 0.99121 | -0.061543 | 1.1805
41 | 0.0202 | 0.0050654 | -0.020188 | -0.0050612 | 1.157e-05 | 4.1997e-06 | 0.030603 | 0.030603 | 0.030603 | 0.98223 | -0.12469 | 0.98165 | -0.12883 | 11.3343
42 | -0.022347 | -0.0056035 | 0.022348 | 0.0056038 | 9.4663e-07 | 3.4733e-07 | 0.033855 | 0.033855 | 0.033855 | 0.98223 | -0.12469 | 0.98227 | -0.12439 | 12.5388
43 | 0.017419 | 0.0043671 | -0.017415 | -0.0043659 | 3.4972e-06 | 1.2435e-06 | 0.026405 | 0.026405 | 0.026405 | 0.98165 | -0.12883 | 0.98145 | -0.13028 | 9.7795
44 | 0.0019946 | 0.00049946 | -0.0019944 | -0.00049984 | 2.0605e-07 | -3.7701e-07 | 0.0030239 | 0.0030241 | 0.0030241 | 0.98145 | -0.13028 | 0.98134 | -0.13103 | 1.12
45 | 0.015421 | 0.0038664 | -0.015414 | -0.0038641 | 6.6026e-06 | 2.295e-06 | 0.023381 | 0.023381 | 0.023381 | 0.98145 | -0.13028 | 0.98101 | -0.13337 | 8.6596
46 | 0.011533 | 0.0028914 | -0.011526 | -0.0028891 | 7.3284e-06 | 2.3344e-06 | 0.017494 | 0.017494 | 0.017494 | 0.98101 | -0.13337 | 0.98037 | -0.13796 | 6.4792
47 | 0.011526 | 0.0028891 | -0.011518 | -0.0028867 | 7.2586e-06 | 2.3128e-06 | 0.017494 | 0.017494 | 0.017494 | 0.98037 | -0.13796 | 0.97973 | -0.14251 | 6.4792
48 | 0.0010609 | 0.00026578 | -0.0010609 | -0.00026588 | 1.2745e-08 | -9.8892e-08 | 0.0015926 | 0.0015926 | 0.0015926 | 0.99121 | -0.061543 | 0.9912 | -0.061629 | 0.58986
49 | 0.0071758 | 0.0017983 | -0.0071753 | -0.0017982 | 4.5423e-07 | 9.6704e-08 | 0.010869 | 0.01087 | 0.01087 | 0.98235 | -0.12383 | 0.98229 | -0.12428 | 4.0257
50 | 0.0030217 | 0.00075719 | -0.0030215 | -0.00075727 | 1.3762e-07 | -8.0311e-08 | 0.0045773 | 0.0045774 | 0.0045774 | 0.98229 | -0.12428 | 0.98224 | -0.12461 | 1.6953

## res_trafo
| p_hv_mw | q_hv_mvar | p_lv_mw | q_lv_mvar | pl_mw | ql_mvar | i_hv_ka | i_lv_ka | vm_hv_pu | va_hv_degree | vm_lv_pu | va_lv_degree | loading_percent
0 | 2.5187e-16 | 8.8016e-16 | 0.00079998 | 7.4552e-08 | 0.00079998 | 7.4552e-08 | 2.6429e-17 | 0.0011547 | 0.99998 | 149.9947 | 1 | 0 | 0.31999

## res_ext_grid
| p_mw | q_mvar
0 | 0.16001 | 0.04012

## res_load
| p_mw | q_mvar
0 | 0.00090696 | 0.0002273
1 | 0.0049888 | 0.0012503
2 | 0.0024694 | 0.00061888
3 | 0.0057709 | 0.0014463
4 | 0.0058268 | 0.0014603
5 | 0.014127 | 0.0035406
6 | 0.0020193 | 0.00050609
7 | 0.0033083 | 0.00082913
8 | 0.0018528 | 0.00046434
9 | 0.0023745 | 0.00059511
10 | 0.0035985 | 0.00090187
11 | 0.0048762 | 0.0012221
12 | 0.0088755 | 0.0022244
13 | 0.0020559 | 0.00051526
14 | 0.0045247 | 0.001134
15 | 0.0042895 | 0.001075
16 | 0.010418 | 0.0026111
17 | 0.0021061 | 0.00052785
18 | 0.0016112 | 0.00040381
19 | 0.0035925 | 0.00090036
20 | 0.011169 | 0.0027991
21 | 0.0010339 | 0.00025912
22 | 0.013396 | 0.0033574
23 | 0.0010028 | 0.00025132
24 | 0.0010688 | 0.00026787
25 | 0.00096554 | 0.00024199
26 | 0.00075828 | 0.00019004
27 | 0.0012451 | 0.00031206
28 | 0.0021468 | 0.00053804
29 | 0.0027694 | 0.00069409
30 | 0.0015643 | 0.00039206
31 | 0.0019944 | 0.00049984
32 | 0.0038813 | 0.00097276
33 | 0.0010624 | 0.00026626
34 | 0.0010609 | 0.00026588
35 | 0.00075828 | 0.00019004
36 | 0.003336 | 0.00083607
37 | 0.011518 | 0.0028867
38 | 0.0041537 | 0.001041
39 | 0.0030215 | 0.00075727

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object
62 | res_bus | vm_pu | float64
63 | res_bus | va_degree | float64
64 | res_bus | p_mw | float64
65 | res_bus | q_mvar | float64
66 | res_line | p_from_mw | float64
67 | res_line | q_from_mvar | float64
68 | res_line | p_to_mw | float64
69 | res_line | q_to_mvar | float64
70 | res_line | pl_mw | float64
71 | res_line | ql_mvar | float64
72 | res_line | i_from_ka | float64
73 | res_line | i_to_ka | float64
74 | res_line | i_ka | float64
75 | res_line | vm_from_pu | float64
76 | res_line | va_from_degree | float64
77 | res_line | vm_to_pu | float64
78 | res_line | va_to_degree | float64
79 | res_line | loading_percent | float64
80 | res_trafo | p_hv_mw | float64
81 | res_trafo | q_hv_mvar | float64
82 | res_trafo | p_lv_mw | float64
83 | res_trafo | q_lv_mvar | float64
84 | res_trafo | pl_mw | float64
85 | res_trafo | ql_mvar | float64
86 | res_trafo | i_hv_ka | float64
87 | res_trafo | i_lv_ka | float64
88 | res_trafo | vm_hv_pu | float64
89 | res_trafo | va_hv_degree | float64
90 | res_trafo | vm_lv_pu | float64
91 | res_trafo | va_lv_degree | float64
92 | res_trafo | loading_percent | float64
93 | res_ext_grid | p_mw | float64
94 | res_ext_grid | q_mvar | float64
95 | res_load | p_mw | float64
96 | res_load | q_mvar | float64

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | TRUE | FALSE |  | 50 | 1