## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_1082-6_0_3_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_1082-6_0_3_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_1082-6_0_3_node_2 | 0.4 | n |  | TRUE
3 | bus_LV_1082-6_0_3_node_3 | 0.4 | n |  | TRUE
4 | bus_LV_1082-6_0_3_node_28 | 0.4 | n |  | TRUE
5 | bus_LV_1082-6_0_3_node_60 | 0.4 | n |  | TRUE
6 | bus_LV_1082-6_0_3_node_16 | 0.4 | n |  | TRUE
7 | bus_LV_1082-6_0_3_node_20 | 0.4 | n |  | TRUE
8 | bus_LV_1082-6_0_3_node_15 | 0.4 | n |  | TRUE
9 | bus_LV_1082-6_0_3_node_4 | 0.4 | n |  | TRUE
10 | bus_LV_1082-6_0_3_node_5 | 0.4 | n |  | TRUE
11 | bus_LV_1082-6_0_3_node_6 | 0.4 | n |  | TRUE
12 | bus_LV_1082-6_0_3_node_7 | 0.4 | n |  | TRUE
13 | bus_LV_1082-6_0_3_node_62 | 0.4 | n |  | TRUE
14 | bus_LV_1082-6_0_3_node_8 | 0.4 | n |  | TRUE
15 | bus_LV_1082-6_0_3_node_9 | 0.4 | n |  | TRUE
16 | bus_LV_1082-6_0_3_node_12 | 0.4 | n |  | TRUE
17 | bus_LV_1082-6_0_3_node_10 | 0.4 | n |  | TRUE
18 | bus_LV_1082-6_0_3_node_11 | 0.4 | n |  | TRUE
19 | bus_LV_1082-6_0_3_node_13 | 0.4 | n |  | TRUE
20 | bus_LV_1082-6_0_3_node_17 | 0.4 | n |  | TRUE
21 | bus_LV_1082-6_0_3_node_21 | 0.4 | n |  | TRUE
22 | bus_LV_1082-6_0_3_node_18 | 0.4 | n |  | TRUE
23 | bus_LV_1082-6_0_3_node_22 | 0.4 | n |  | TRUE
24 | bus_LV_1082-6_0_3_node_23 | 0.4 | n |  | TRUE
25 | bus_LV_1082-6_0_3_node_25 | 0.4 | n |  | TRUE
26 | bus_LV_1082-6_0_3_node_26 | 0.4 | n |  | TRUE
27 | bus_LV_1082-6_0_3_node_24 | 0.4 | n |  | TRUE
28 | bus_LV_1082-6_0_3_node_29 | 0.4 | n |  | TRUE
29 | bus_LV_1082-6_0_3_node_31 | 0.4 | n |  | TRUE
30 | bus_LV_1082-6_0_3_node_36 | 0.4 | n |  | TRUE
31 | bus_LV_1082-6_0_3_node_27 | 0.4 | n |  | TRUE
32 | bus_LV_1082-6_0_3_node_34 | 0.4 | n |  | TRUE
33 | bus_LV_1082-6_0_3_node_35 | 0.4 | n |  | TRUE
34 | bus_LV_1082-6_0_3_node_53 | 0.4 | n |  | TRUE
35 | bus_LV_1082-6_0_3_node_59 | 0.4 | n |  | TRUE
36 | bus_LV_1082-6_0_3_node_47 | 0.4 | n |  | TRUE
37 | bus_LV_1082-6_0_3_node_32 | 0.4 | n |  | TRUE
38 | bus_LV_1082-6_0_3_node_33 | 0.4 | n |  | TRUE
39 | bus_LV_1082-6_0_3_node_52 | 0.4 | n |  | TRUE
40 | bus_LV_1082-6_0_3_node_50 | 0.4 | n |  | TRUE
41 | bus_LV_1082-6_0_3_node_51 | 0.4 | n |  | TRUE
42 | bus_LV_1082-6_0_3_node_55 | 0.4 | n |  | TRUE
43 | bus_LV_1082-6_0_3_node_49 | 0.4 | n |  | TRUE
44 | bus_LV_1082-6_0_3_node_41 | 0.4 | n |  | TRUE
45 | bus_LV_1082-6_0_3_node_54 | 0.4 | n |  | TRUE
46 | bus_LV_1082-6_0_3_node_37 | 0.4 | n |  | TRUE
47 | bus_LV_1082-6_0_3_node_38 | 0.4 | n |  | TRUE
48 | bus_LV_1082-6_0_3_node_39 | 0.4 | n |  | TRUE
49 | bus_LV_1082-6_0_3_node_40 | 0.4 | n |  | TRUE
50 | bus_LV_1082-6_0_3_node_42 | 0.4 | n |  | TRUE
51 | bus_LV_1082-6_0_3_node_43 | 0.4 | n |  | TRUE
52 | bus_LV_1082-6_0_3_node_63 | 0.4 | n |  | TRUE
53 | bus_LV_1082-6_0_3_node_58 | 0.4 | n |  | TRUE
54 | bus_LV_1082-6_0_3_node_56 | 0.4 | n |  | TRUE
55 | bus_LV_1082-6_0_3_node_44 | 0.4 | n |  | TRUE
56 | bus_LV_1082-6_0_3_node_45 | 0.4 | n |  | TRUE
57 | bus_LV_1082-6_0_3_node_46 | 0.4 | n |  | TRUE
58 | bus_LV_1082-6_0_3_node_48 | 0.4 | n |  | TRUE
59 | bus_LV_1082-6_0_3_node_57 | 0.4 | n |  | TRUE
60 | bus_MV_472_0_node_22 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_1082-6_0_3_load_0 | 0 | 0.00084283 | 0.00021123 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_1082-6_0_3_load_1 | 1 | 0.00086581 | 0.00021699 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_1082-6_0_3_load_2 | 2 | 0.00086581 | 0.00021699 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_1082-6_0_3_load_3 | 3 | 0.0008662 | 0.00021709 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_1082-6_0_3_load_16 | 6 | 0.00086704 | 0.0002173 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_1082-6_0_3_load_15 | 8 | 0.0010002 | 0.00025067 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_1082-6_0_3_load_4 | 9 | 0.00086306 | 0.0002163 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_1082-6_0_3_load_5 | 10 | 0.002575 | 0.00064535 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_1082-6_0_3_load_6 | 11 | 0.00080483 | 0.00020171 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_1082-6_0_3_load_7 | 12 | 0.0040093 | 0.0010048 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_1082-6_0_3_load_62 | 13 | 0.0022028 | 0.00055207 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_1082-6_0_3_load_8 | 14 | 0.0016287 | 0.00040819 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_1082-6_0_3_load_9 | 15 | 0.0011799 | 0.00029572 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_1082-6_0_3_load_10 | 17 | 0.0010246 | 0.00025679 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_1082-6_0_3_load_11 | 18 | 0.0028405 | 0.00071189 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_1082-6_0_3_load_21 | 21 | 0.001446 | 0.00036239 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_1082-6_0_3_load_18 | 22 | 0.0011151 | 0.00027948 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_1082-6_0_3_load_22 | 23 | 0.0028953 | 0.00072564 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_1082-6_0_3_load_23 | 24 | 0.0015198 | 0.0003809 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_1082-6_0_3_load_25 | 25 | 0.00095827 | 0.00024016 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_1082-6_0_3_load_26 | 26 | 0.0011971 | 0.00030003 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_1082-6_0_3_load_24 | 27 | 0.00067591 | 0.0001694 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_1082-6_0_3_load_29 | 28 | 0.0019702 | 0.00049378 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_1082-6_0_3_load_36 | 30 | 0.0042974 | 0.001077 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_1082-6_0_3_load_34 | 32 | 0.0024944 | 0.00062515 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_1082-6_0_3_load_35 | 33 | 0.0004179 | 0.00010474 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_1082-6_0_3_load_53 | 34 | 0.00059164 | 0.00014828 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_1082-6_0_3_load_59 | 35 | 0.00055367 | 0.00013876 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_1082-6_0_3_load_47 | 36 | 0.0011639 | 0.0002917 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_1082-6_0_3_load_33 | 38 | 0.036189 | 0.0090698 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_1082-6_0_3_load_52 | 39 | 0.0095784 | 0.0024006 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_1082-6_0_3_load_50 | 40 | 0.0046612 | 0.0011682 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_1082-6_0_3_load_51 | 41 | 0.0080419 | 0.0020155 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_1082-6_0_3_load_49 | 43 | 0.0063621 | 0.0015945 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_1082-6_0_3_load_41 | 44 | 0.0043403 | 0.0010878 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_1082-6_0_3_load_54 | 45 | 0.0011715 | 0.00029359 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_1082-6_0_3_load_37 | 46 | 0.0042993 | 0.0010775 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_1082-6_0_3_load_42 | 50 | 0.00086956 | 0.00021793 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_1082-6_0_3_load_43 | 51 | 0.0029546 | 0.0007405 | 0 | 0 |  | 1 | TRUE | wye
39 | LV_1082-6_0_3_load_63 | 52 | 0.0012748 | 0.0003195 | 0 | 0 |  | 1 | TRUE | wye
40 | LV_1082-6_0_3_load_58 | 53 | 0.0020604 | 0.00051638 | 0 | 0 |  | 1 | TRUE | wye
41 | LV_1082-6_0_3_load_56 | 54 | 0.0019225 | 0.00048183 | 0 | 0 |  | 1 | TRUE | wye
42 | LV_1082-6_0_3_load_44 | 55 | 0.0077404 | 0.0019399 | 0 | 0 |  | 1 | TRUE | wye
43 | LV_1082-6_0_3_load_48 | 58 | 0.025832 | 0.0064742 | 0 | 0 |  | 1 | TRUE | wye
44 | LV_1082-6_0_3_load_57 | 59 | 0.0098461 | 0.0024677 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 57 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_1082-6_0_3_line_0 | NAYY 4x150 SE | 0 | 1 | 0.0010804 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
1 | LV_1082-6_0_3_line_1 | NAYY 4x150 SE | 0 | 2 | 0.0095224 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
2 | LV_1082-6_0_3_line_2 | NAYY 4x150 SE | 2 | 3 | 0.015293 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
3 | LV_1082-6_0_3_line_3 | NAYY 4x150 SE | 3 | 8 | 0.0012131 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
4 | LV_1082-6_0_3_line_4 | NAYY 4x150 SE | 4 | 5 | 0.026651 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
5 | LV_1082-6_0_3_line_5 | NAYY 4x150 SE | 4 | 6 | 0.04134 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
6 | LV_1082-6_0_3_line_6 | NAYY 4x150 SE | 4 | 7 | 0.051461 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
7 | LV_1082-6_0_3_line_7 | NAYY 4x150 SE | 5 | 36 | 0.024618 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
8 | LV_1082-6_0_3_line_8 | NAYY 4x150 SE | 6 | 8 | 0.0081809 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
9 | LV_1082-6_0_3_line_9 | NAYY 4x150 SE | 6 | 20 | 0.054691 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
10 | LV_1082-6_0_3_line_10 | NAYY 4x150 SE | 7 | 25 | 0.033581 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
11 | LV_1082-6_0_3_line_11 | NAYY 4x150 SE | 9 | 10 | 0.0097939 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
12 | LV_1082-6_0_3_line_12 | NAYY 4x150 SE | 9 | 11 | 0.0064585 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
13 | LV_1082-6_0_3_line_13 | NAYY 4x150 SE | 10 | 12 | 0.019156 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
14 | LV_1082-6_0_3_line_14 | NAYY 4x150 SE | 10 | 13 | 0.045457 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
15 | LV_1082-6_0_3_line_15 | NAYY 4x150 SE | 11 | 14 | 0.0049922 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
16 | LV_1082-6_0_3_line_16 | NAYY 4x150 SE | 12 | 15 | 0.020028 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
17 | LV_1082-6_0_3_line_17 | NAYY 4x150 SE | 15 | 16 | 0.015359 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
18 | LV_1082-6_0_3_line_18 | NAYY 4x150 SE | 16 | 17 | 0.036531 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
19 | LV_1082-6_0_3_line_19 | NAYY 4x150 SE | 17 | 18 | 0.031921 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
20 | LV_1082-6_0_3_line_20 | NAYY 4x150 SE | 18 | 19 | 0.0063775 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
21 | LV_1082-6_0_3_line_21 | NAYY 4x150 SE | 19 | 20 | 0.023238 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
22 | LV_1082-6_0_3_line_22 | NAYY 4x150 SE | 19 | 21 | 0.015659 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
23 | LV_1082-6_0_3_line_23 | NAYY 4x150 SE | 20 | 22 | 0.014508 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
24 | LV_1082-6_0_3_line_24 | NAYY 4x150 SE | 23 | 24 | 0.017241 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
25 | LV_1082-6_0_3_line_25 | NAYY 4x150 SE | 24 | 27 | 0.0041549 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
26 | LV_1082-6_0_3_line_26 | NAYY 4x150 SE | 25 | 26 | 0.086688 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
27 | LV_1082-6_0_3_line_27 | NAYY 4x150 SE | 26 | 31 | 0.0035088 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
28 | LV_1082-6_0_3_line_28 | NAYY 4x150 SE | 27 | 30 | 0.026811 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
29 | LV_1082-6_0_3_line_29 | NAYY 4x150 SE | 28 | 29 | 0.063771 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
30 | LV_1082-6_0_3_line_30 | NAYY 4x150 SE | 28 | 30 | 0.045989 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
31 | LV_1082-6_0_3_line_31 | NAYY 4x150 SE | 29 | 37 | 0.085724 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
32 | LV_1082-6_0_3_line_32 | NAYY 4x150 SE | 29 | 38 | 0.010317 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
33 | LV_1082-6_0_3_line_33 | NAYY 4x150 SE | 31 | 32 | 0.025676 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
34 | LV_1082-6_0_3_line_34 | NAYY 4x150 SE | 31 | 33 | 0.050193 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
35 | LV_1082-6_0_3_line_35 | NAYY 4x150 SE | 32 | 34 | 0.032486 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
36 | LV_1082-6_0_3_line_36 | NAYY 4x150 SE | 33 | 35 | 0.010744 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
37 | LV_1082-6_0_3_line_37 | NAYY 4x150 SE | 34 | 45 | 0.048755 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
38 | LV_1082-6_0_3_line_38 | NAYY 4x150 SE | 36 | 56 | 0.091582 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
39 | LV_1082-6_0_3_line_39 | NAYY 4x150 SE | 37 | 39 | 0.026877 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
40 | LV_1082-6_0_3_line_40 | NAYY 4x150 SE | 37 | 40 | 0.034287 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
41 | LV_1082-6_0_3_line_41 | NAYY 4x150 SE | 39 | 43 | 0.0044627 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
42 | LV_1082-6_0_3_line_42 | NAYY 4x150 SE | 40 | 44 | 0.030632 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
43 | LV_1082-6_0_3_line_43 | NAYY 4x150 SE | 41 | 42 | 0.040372 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
44 | LV_1082-6_0_3_line_44 | NAYY 4x150 SE | 42 | 54 | 0.056812 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
45 | LV_1082-6_0_3_line_45 | NAYY 4x150 SE | 43 | 57 | 0.018476 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
46 | LV_1082-6_0_3_line_46 | NAYY 4x150 SE | 44 | 48 | 0.031032 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
47 | LV_1082-6_0_3_line_47 | NAYY 4x150 SE | 46 | 47 | 0.02659 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
48 | LV_1082-6_0_3_line_48 | NAYY 4x150 SE | 46 | 48 | 0.020653 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
49 | LV_1082-6_0_3_line_49 | NAYY 4x150 SE | 47 | 49 | 0.047245 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
50 | LV_1082-6_0_3_line_50 | NAYY 4x150 SE | 48 | 50 | 0.035224 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
51 | LV_1082-6_0_3_line_51 | NAYY 4x150 SE | 48 | 51 | 0.013299 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
52 | LV_1082-6_0_3_line_52 | NAYY 4x150 SE | 49 | 52 | 0.038359 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
53 | LV_1082-6_0_3_line_53 | NAYY 4x150 SE | 50 | 53 | 0.00079584 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
54 | LV_1082-6_0_3_line_54 | NAYY 4x150 SE | 53 | 54 | 0.017439 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
55 | LV_1082-6_0_3_line_55 | NAYY 4x150 SE | 55 | 56 | 0.020148 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
56 | LV_1082-6_0_3_line_56 | NAYY 4x150 SE | 55 | 57 | 0.054671 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
57 | LV_1082-6_0_3_line_57 | NAYY 4x150 SE | 57 | 58 | 0.039364 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
58 | LV_1082-6_0_3_line_58 | NAYY 4x150 SE | 58 | 59 | 0.026174 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_1082-6_0_3_trafo_46 | 0.25 MVA 20/0.4 kV | 60 | 57 | 0.25 | 20 | 0.4 | 6 | 1.44 | 0.8 | 0.32 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6 | x7 | y7
0 | 2649463.3672 | 1229647.8959 | 2649463.8249 | 1229646.9172
1 | 2649463.3672 | 1229647.8959 | 2649459.3336 | 1229656.5218
2 | 2649459.3336 | 1229656.5218 | 2649452.8555 | 1229670.375
3 | 2649452.3416 | 1229671.4739 | 2649452.8555 | 1229670.375
4 | 2649476.0287 | 1229736.8467 | 2649472.8649 | 1229736.5202 | 2649470.4753 | 1229735.1105 | 2649468.4132 | 1229731.669 | 2649468.2389 | 1229728.0319 | 2649469.6686 | 1229720.9949 | 2649465.6974 | 1229716.6481
5 | 2649465.6974 | 1229716.6481 | 2649448.8763 | 1229678.8846
6 | 2649465.6974 | 1229716.6481 | 2649449.0533 | 1229747.796 | 2649442.9746 | 1229762.7771
7 | 2649476.0287 | 1229736.8467 | 2649479.072 | 1229737.0721 | 2649482.8704 | 1229734.869 | 2649497.3121 | 1229725.5716
8 | 2649448.8763 | 1229678.8846 | 2649452.3416 | 1229671.4739
9 | 2649399.2083 | 1229663.9183 | 2649439.3069 | 1229681.8403 | 2649443.3635 | 1229682.2854 | 2649446.2183 | 1229681.4975 | 2649448.8763 | 1229678.8846 | 2649448.8763 | 1229678.8846
10 | 2649442.9746 | 1229762.7771 | 2649430.3617 | 1229793.8997
11 | 2649481.0005 | 1229610.6148 | 2649484.7799 | 1229601.5795
12 | 2649481.0005 | 1229610.6148 | 2649478.5083 | 1229616.5731
13 | 2649484.7799 | 1229601.5795 | 2649486.1195 | 1229598.3769 | 2649485.7366 | 1229596.139 | 2649473.588 | 1229590.4514
14 | 2649484.7799 | 1229601.5795 | 2649530.1456 | 1229598.7071
15 | 2649476.5818 | 1229621.1786 | 2649478.5083 | 1229616.5731
16 | 2649473.588 | 1229590.4514 | 2649455.4494 | 1229581.9596
17 | 2649441.5397 | 1229575.4476 | 2649455.4494 | 1229581.9596
18 | 2649441.5397 | 1229575.4476 | 2649425.7333 | 1229608.3823
19 | 2649411.922 | 1229637.1603 | 2649425.7333 | 1229608.3823
20 | 2649409.1626 | 1229642.9099 | 2649411.922 | 1229637.1603
21 | 2649409.1626 | 1229642.9099 | 2649399.2083 | 1229663.9183
22 | 2649409.1626 | 1229642.9099 | 2649394.7141 | 1229636.8732
23 | 2649399.2083 | 1229663.9183 | 2649392.9566 | 1229677.0107
24 | 2649507.423 | 1229504.9674 | 2649516.5043 | 1229511.9309 | 2649521.3156 | 1229515.1655
25 | 2649521.3156 | 1229515.1655 | 2649524.7638 | 1229517.4836
26 | 2649430.3617 | 1229793.8997 | 2649430.1134 | 1229794.5125 | 2649392.9323 | 1229872.0889
27 | 2649391.4158 | 1229875.253 | 2649392.9323 | 1229872.0889
28 | 2649547.0142 | 1229532.4422 | 2649524.7638 | 1229517.4836
29 | 2649621.7425 | 1229545.5841 | 2649619.4525 | 1229534.0467 | 2649602.3948 | 1229520.1513 | 2649590.3125 | 1229513.7244 | 2649592.3146 | 1229510.7392 | 2649582.2741 | 1229502.9173
30 | 2649582.2741 | 1229502.9173 | 2649547.0142 | 1229532.4422
31 | 2649621.7425 | 1229545.5841 | 2649620.0277 | 1229555.8985 | 2649620.0869 | 1229573.3211 | 2649624.4986 | 1229580.2511 | 2649652.3649 | 1229601.5413 | 2649660.8787 | 1229613.4532
32 | 2649621.7425 | 1229545.5841 | 2649627.4396 | 1229536.9831
33 | 2649391.4158 | 1229875.253 | 2649380.0847 | 1229898.2931
34 | 2649391.4158 | 1229875.253 | 2649400.0941 | 1229877.3931 | 2649403.7501 | 1229876.8119 | 2649406.1638 | 1229874.4082 | 2649407.2342 | 1229867.7352 | 2649408.1265 | 1229864.2848 | 2649419.2652 | 1229843.2248
35 | 2649365.7478 | 1229927.4448 | 2649380.0847 | 1229898.2931
36 | 2649425.6438 | 1229834.6561 | 2649420.9248 | 1229840.087 | 2649419.2652 | 1229843.2248
37 | 2649365.7478 | 1229927.4448 | 2649354.0695 | 1229951.1909 | 2649344.9717 | 1229971.5425
38 | 2649577.1026 | 1229701.6323 | 2649574.6602 | 1229702.0122 | 2649571.6076 | 1229701.9868 | 2649552.3764 | 1229693.5213 | 2649547.7078 | 1229692.882 | 2649543.2286 | 1229694.0566 | 2649512.5195 | 1229715.7814 | 2649497.3121 | 1229725.5716
39 | 2649660.8787 | 1229613.4532 | 2649655.9441 | 1229612.9117 | 2649651.5549 | 1229614.187 | 2649647.9016 | 1229617.1472 | 2649639.9929 | 1229627.0075
40 | 2649660.8787 | 1229613.4532 | 2649669.7989 | 1229615.6957 | 2649678.8385 | 1229616.3382 | 2649694.0324 | 1229615.698 | 2649694.8511 | 1229615.7355
41 | 2649637.2007 | 1229630.4888 | 2649639.9929 | 1229627.0075
42 | 2649694.8511 | 1229615.7355 | 2649725.4506 | 1229617.1377
43 | 2649702.9283 | 1229528.3841 | 2649695.9582 | 1229542.9684 | 2649692.4531 | 1229558.1042 | 2649691.4423 | 1229566.7166
44 | 2649702.9283 | 1229528.3841 | 2649715.6966 | 1229551.5053 | 2649728.7131 | 1229573.0276 | 2649730.9739 | 1229577.7624
45 | 2649625.6409 | 1229644.9012 | 2649637.2007 | 1229630.4888
46 | 2649754.5513 | 1229625.7322 | 2649742.7734 | 1229619.1852 | 2649737.9526 | 1229617.7106 | 2649725.4506 | 1229617.1377
47 | 2649786.8657 | 1229659.457 | 2649774.8453 | 1229651.1179 | 2649766.8914 | 1229642.1864
48 | 2649754.5513 | 1229625.7322 | 2649759.483 | 1229633.8674 | 2649766.8914 | 1229642.1864
49 | 2649785.0828 | 1229697.7884 | 2649798.8181 | 1229672.2873 | 2649787.6651 | 1229663.4995 | 2649786.8657 | 1229659.457
50 | 2649754.5513 | 1229625.7322 | 2649749.476 | 1229614.8385 | 2649738.883 | 1229594.3259 | 2649738.8314 | 1229594.2178
51 | 2649754.5513 | 1229625.7322 | 2649766.3351 | 1229619.5683
52 | 2649785.0828 | 1229697.7884 | 2649779.9357 | 1229689.151 | 2649774.1431 | 1229683.4212 | 2649757.3674 | 1229672.1405
53 | 2649738.4884 | 1229593.4997 | 2649738.8314 | 1229594.2178
54 | 2649730.9739 | 1229577.7624 | 2649738.4884 | 1229593.4997
55 | 2649577.1026 | 1229701.6323 | 2649580.5887 | 1229697.8145 | 2649588.1974 | 1229686.5375 | 2649589.1477 | 1229685.5444
56 | 2649625.6409 | 1229644.9012 | 2649613.2016 | 1229660.4073 | 2649589.1477 | 1229685.5444
57 | 2649625.6409 | 1229644.9012 | 2649647.7409 | 1229660.8956 | 2649649.3473 | 1229662.6546 | 2649650.2311 | 1229664.7744 | 2649649.6534 | 1229666.8264 | 2649647.0839 | 1229671.4308
58 | 2649635.0662 | 1229694.6222 | 2649636.7337 | 1229689.9776 | 2649647.0839 | 1229671.4308

## bus_geodata
| x | y | coords
0 | 2649463.3672 | 1229647.8959
1 | 2649463.8249 | 1229646.9172
2 | 2649459.3336 | 1229656.5218
3 | 2649452.8555 | 1229670.375
4 | 2649465.6974 | 1229716.6481
5 | 2649476.0287 | 1229736.8467
6 | 2649448.8763 | 1229678.8846
7 | 2649442.9746 | 1229762.7771
8 | 2649452.3416 | 1229671.4739
9 | 2649481.0005 | 1229610.6148
10 | 2649484.7799 | 1229601.5795
11 | 2649478.5083 | 1229616.5731
12 | 2649473.588 | 1229590.4514
13 | 2649530.1456 | 1229598.7071
14 | 2649476.5818 | 1229621.1786
15 | 2649455.4494 | 1229581.9596
16 | 2649441.5397 | 1229575.4476
17 | 2649425.7333 | 1229608.3823
18 | 2649411.922 | 1229637.1603
19 | 2649409.1626 | 1229642.9099
20 | 2649399.2083 | 1229663.9183
21 | 2649394.7141 | 1229636.8732
22 | 2649392.9566 | 1229677.0107
23 | 2649507.423 | 1229504.9674
24 | 2649521.3156 | 1229515.1655
25 | 2649430.3617 | 1229793.8997
26 | 2649392.9323 | 1229872.0889
27 | 2649524.7638 | 1229517.4836
28 | 2649582.2741 | 1229502.9173
29 | 2649621.7425 | 1229545.5841
30 | 2649547.0142 | 1229532.4422
31 | 2649391.4158 | 1229875.253
32 | 2649380.0847 | 1229898.2931
33 | 2649419.2652 | 1229843.2248
34 | 2649365.7478 | 1229927.4448
35 | 2649425.6438 | 1229834.6561
36 | 2649497.3121 | 1229725.5716
37 | 2649660.8787 | 1229613.4532
38 | 2649627.4396 | 1229536.9831
39 | 2649639.9929 | 1229627.0075
40 | 2649694.8511 | 1229615.7355
41 | 2649691.4423 | 1229566.7166
42 | 2649702.9283 | 1229528.3841
43 | 2649637.2007 | 1229630.4888
44 | 2649725.4506 | 1229617.1377
45 | 2649344.9717 | 1229971.5425
46 | 2649766.8914 | 1229642.1864
47 | 2649786.8657 | 1229659.457
48 | 2649754.5513 | 1229625.7322
49 | 2649785.0828 | 1229697.7884
50 | 2649738.8314 | 1229594.2178
51 | 2649766.3351 | 1229619.5683
52 | 2649757.3674 | 1229672.1405
53 | 2649738.4884 | 1229593.4997
54 | 2649730.9739 | 1229577.7624
55 | 2649589.1477 | 1229685.5444
56 | 2649577.1026 | 1229701.6323
57 | 2649625.6409 | 1229644.9012
58 | 2649647.0839 | 1229671.4308
59 | 2649635.0662 | 1229694.6222
60 | 2649660.8787 | 1229613.4532

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## res_bus
| vm_pu | va_degree | p_mw | q_mvar
0 | 0.98728 | -0.089097 | 0.00084283 | 0.00021123
1 | 0.98728 | -0.089106 | 0.00086581 | 0.00021699
2 | 0.98731 | -0.08893 | 0.00086581 | 0.00021699
3 | 0.98736 | -0.088527 | 0.0008662 | 0.00021709
4 | 0.98892 | -0.077535 | 0 | 0
5 | 0.99017 | -0.06872 | 0 | 0
6 | 0.98742 | -0.088112 | 0.00086704 | 0.0002173
7 | 0.98837 | -0.081431 | 0 | 0
8 | 0.98737 | -0.088484 | 0.0010002 | 0.00025067
9 | 0.9828 | -0.12097 | 0.00086306 | 0.0002163
10 | 0.98284 | -0.12063 | 0.002575 | 0.00064535
11 | 0.98277 | -0.12113 | 0.00080483 | 0.00020171
12 | 0.98307 | -0.11903 | 0.0040093 | 0.0010048
13 | 0.9827 | -0.12167 | 0.0022028 | 0.00055207
14 | 0.98276 | -0.12121 | 0.0016287 | 0.00040819
15 | 0.98342 | -0.11653 | 0.0011799 | 0.00029572
16 | 0.98371 | -0.11443 | 0 | 0
17 | 0.98442 | -0.10943 | 0.0010246 | 0.00025679
18 | 0.98508 | -0.10473 | 0.0028405 | 0.00071189
19 | 0.98524 | -0.10361 | 0 | 0
20 | 0.98586 | -0.099167 | 0 | 0
21 | 0.9852 | -0.10384 | 0.001446 | 0.00036239
22 | 0.98584 | -0.099333 | 0.0011151 | 0.00027948
23 | 0.98606 | -0.097817 | 0.0028953 | 0.00072564
24 | 0.98614 | -0.097304 | 0.0015198 | 0.0003809
25 | 0.98801 | -0.083975 | 0.00095827 | 0.00024016
26 | 0.98721 | -0.089693 | 0.0011971 | 0.00030003
27 | 0.98616 | -0.097116 | 0.00067591 | 0.0001694
28 | 0.98698 | -0.091285 | 0.0019702 | 0.00049378
29 | 0.98803 | -0.083864 | 0 | 0
30 | 0.98636 | -0.095714 | 0.0042974 | 0.001077
31 | 0.98718 | -0.089882 | 0 | 0
32 | 0.98702 | -0.091004 | 0.0024944 | 0.00062515
33 | 0.98711 | -0.090383 | 0.0004179 | 0.00010474
34 | 0.98694 | -0.091593 | 0.00059164 | 0.00014828
35 | 0.9871 | -0.090444 | 0.00055367 | 0.00013876
36 | 0.99132 | -0.060596 | 0.0011639 | 0.0002917
37 | 0.99392 | -0.042422 | 0 | 0
38 | 0.98749 | -0.087683 | 0.036189 | 0.0090698
39 | 0.99694 | -0.021296 | 0.0095784 | 0.0024006
40 | 0.99241 | -0.052989 | 0.0046612 | 0.0011682
41 | 0.98827 | -0.082256 | 0.0080419 | 0.0020155
42 | 0.98874 | -0.078939 | 0 | 0
43 | 0.9975 | -0.017372 | 0.0063621 | 0.0015945
44 | 0.99128 | -0.061006 | 0.0043403 | 0.0010878
45 | 0.98686 | -0.092179 | 0.0011715 | 0.00029359
46 | 0.99015 | -0.068948 | 0.0042993 | 0.0010775
47 | 0.99011 | -0.069296 | 0 | 0
48 | 0.99032 | -0.067774 | 0 | 0
49 | 0.99002 | -0.069912 | 0 | 0
50 | 0.98967 | -0.072404 | 0.00086956 | 0.00021793
51 | 0.99026 | -0.068174 | 0.0029546 | 0.0007405
52 | 0.98995 | -0.07041 | 0.0012748 | 0.0003195
53 | 0.98965 | -0.072501 | 0.0020604 | 0.00051638
54 | 0.9894 | -0.074274 | 0.0019225 | 0.00048183
55 | 0.99674 | -0.022649 | 0.0077404 | 0.0019399
56 | 0.99576 | -0.029462 | 0 | 0
57 | 1 | 0 | -0.1732 | -0.043389
58 | 0.99799 | -0.014047 | 0.025832 | 0.0064742
59 | 0.99763 | -0.01663 | 0.0098461 | 0.0024677
60 | 0.99998 | 149.9947 | 0 | 0

## res_line
| p_from_mw | q_from_mvar | p_to_mw | q_to_mvar | pl_mw | ql_mvar | i_from_ka | i_to_ka | i_ka | vm_from_pu | va_from_degree | vm_to_pu | va_to_degree | loading_percent
0 | 0.00086581 | 0.00021698 | -0.00086581 | -0.00021699 | 1.148e-09 | -1.3375e-08 | 0.0013049 | 0.0013049 | 0.0013049 | 0.98728 | -0.089097 | 0.98728 | -0.089106 | 0.48331
1 | -0.0017086 | -0.00042821 | 0.0017087 | 0.00042811 | 3.9406e-08 | -1.0662e-07 | 0.0025752 | 0.0025752 | 0.0025752 | 0.98728 | -0.089097 | 0.98731 | -0.08893 | 0.95379
2 | -0.0025745 | -0.0006451 | 0.0025746 | 0.00064496 | 1.4367e-07 | -1.4033e-07 | 0.0038801 | 0.00388 | 0.0038801 | 0.98731 | -0.08893 | 0.98736 | -0.088527 | 1.4371
3 | -0.0034408 | -0.00086205 | 0.0034409 | 0.00086204 | 2.0354e-08 | -7.687e-09 | 0.0051854 | 0.0051854 | 0.0051854 | 0.98736 | -0.088527 | 0.98737 | -0.088484 | 1.9205
4 | -0.032505 | -0.0081539 | 0.032545 | 0.0081689 | 3.9788e-05 | 1.4961e-05 | 0.048913 | 0.048913 | 0.048913 | 0.98892 | -0.077535 | 0.99017 | -0.06872 | 18.116
5 | 0.025108 | 0.0063027 | -0.025071 | -0.0062891 | 3.6828e-05 | 1.3635e-05 | 0.037784 | 0.037784 | 0.037784 | 0.98892 | -0.077535 | 0.98742 | -0.088112 | 13.9941
6 | 0.0073972 | 0.0018512 | -0.0073932 | -0.0018504 | 3.9776e-06 | 8.6997e-07 | 0.01113 | 0.01113 | 0.01113 | 0.98892 | -0.077535 | 0.98837 | -0.081431 | 4.1221
7 | -0.032545 | -0.0081689 | 0.032582 | 0.0081827 | 3.6753e-05 | 1.3819e-05 | 0.048913 | 0.048913 | 0.048913 | 0.99017 | -0.06872 | 0.99132 | -0.060596 | 18.116
8 | 0.0044413 | 0.0011127 | -0.004441 | -0.0011127 | 2.2866e-07 | -1.6692e-08 | 0.0066927 | 0.0066928 | 0.0066928 | 0.98742 | -0.088112 | 0.98737 | -0.088484 | 2.4788
9 | 0.019763 | 0.0049591 | -0.019733 | -0.0049481 | 3.0275e-05 | 1.0946e-05 | 0.029785 | 0.029785 | 0.029785 | 0.98742 | -0.088112 | 0.98586 | -0.099167 | 11.0314
10 | 0.0073932 | 0.0018504 | -0.0073906 | -0.0018498 | 2.5957e-06 | 5.6814e-07 | 0.01113 | 0.01113 | 0.01113 | 0.98837 | -0.081431 | 0.98801 | -0.083975 | 4.1222
11 | -0.0032967 | -0.00082609 | 0.0032968 | 0.00082602 | 1.5225e-07 | -6.5553e-08 | 0.0049913 | 0.0049913 | 0.0049913 | 0.9828 | -0.12097 | 0.98284 | -0.12063 | 1.8486
12 | 0.0024336 | 0.00060978 | -0.0024336 | -0.00060985 | 5.4714e-08 | -6.0795e-08 | 0.0036846 | 0.0036846 | 0.0036846 | 0.9828 | -0.12097 | 0.98277 | -0.12113 | 1.3647
13 | -0.0080749 | -0.002023 | 0.0080767 | 0.0020234 | 1.7864e-06 | 4.4427e-07 | 0.012225 | 0.012225 | 0.012225 | 0.98284 | -0.12063 | 0.98307 | -0.11903 | 4.5278
14 | 0.0022031 | 0.00055161 | -0.0022028 | -0.00055207 | 3.1555e-07 | -4.5462e-07 | 0.0033353 | 0.0033355 | 0.0033355 | 0.98284 | -0.12063 | 0.9827 | -0.12167 | 1.2354
15 | 0.0016287 | 0.00040814 | -0.0016287 | -0.00040819 | 1.8944e-08 | -5.597e-08 | 0.002466 | 0.002466 | 0.002466 | 0.98277 | -0.12113 | 0.98276 | -0.12121 | 0.91335
16 | -0.012086 | -0.0030283 | 0.01209 | 0.0030296 | 4.1824e-06 | 1.3546e-06 | 0.018294 | 0.018294 | 0.018294 | 0.98307 | -0.11903 | 0.98342 | -0.11653 | 6.7754
17 | -0.01327 | -0.0033253 | 0.013274 | 0.0033266 | 3.8638e-06 | 1.2912e-06 | 0.020079 | 0.020079 | 0.020079 | 0.98342 | -0.11653 | 0.98371 | -0.11443 | 7.4366
18 | -0.013274 | -0.0033266 | 0.013283 | 0.0033297 | 9.1902e-06 | 3.0706e-06 | 0.020079 | 0.020079 | 0.020079 | 0.98371 | -0.11443 | 0.98442 | -0.10943 | 7.4366
19 | -0.014308 | -0.0035865 | 0.014317 | 0.0035897 | 9.3167e-06 | 3.1773e-06 | 0.021627 | 0.021627 | 0.021627 | 0.98442 | -0.10943 | 0.98508 | -0.10473 | 8.0102
20 | -0.017158 | -0.0043016 | 0.01716 | 0.0043025 | 2.6732e-06 | 9.4696e-07 | 0.025918 | 0.025918 | 0.025918 | 0.98508 | -0.10473 | 0.98524 | -0.10361 | 9.5993
21 | -0.018606 | -0.0046647 | 0.018618 | 0.0046688 | 1.1451e-05 | 4.1082e-06 | 0.028102 | 0.028102 | 0.028102 | 0.98524 | -0.10361 | 0.98586 | -0.099167 | 10.4081
22 | 0.001446 | 0.00036221 | -0.001446 | -0.00036239 | 4.6603e-08 | -1.8148e-07 | 0.0021839 | 0.0021839 | 0.0021839 | 0.98524 | -0.10361 | 0.9852 | -0.10384 | 0.80886
23 | 0.0011152 | 0.0002793 | -0.0011151 | -0.00027948 | 2.5648e-08 | -1.7513e-07 | 0.0016831 | 0.0016832 | 0.0016832 | 0.98586 | -0.099167 | 0.98584 | -0.099333 | 0.6234
24 | -0.0028953 | -0.00072564 | 0.0028955 | 0.0007255 | 2.0538e-07 | -1.4096e-07 | 0.0043692 | 0.0043691 | 0.0043692 | 0.98606 | -0.097817 | 0.98614 | -0.097304 | 1.6182
25 | -0.0044154 | -0.0011064 | 0.0044155 | 0.0011064 | 1.1508e-07 | -8.7474e-09 | 0.0066624 | 0.0066624 | 0.0066624 | 0.98614 | -0.097304 | 0.98616 | -0.097116 | 2.4676
26 | 0.0064323 | 0.0016096 | -0.0064273 | -0.0016088 | 5.0759e-06 | 8.4298e-07 | 0.0096867 | 0.0096871 | 0.0096871 | 0.98801 | -0.083975 | 0.98721 | -0.089693 | 3.5878
27 | 0.0052301 | 0.0013088 | -0.00523 | -0.0013087 | 1.3605e-07 | 7.4643e-09 | 0.0078827 | 0.0078827 | 0.0078827 | 0.98721 | -0.089693 | 0.98718 | -0.089882 | 2.9195
28 | -0.0050914 | -0.0012758 | 0.0050924 | 0.0012758 | 9.8736e-07 | 3.7609e-08 | 0.0076823 | 0.0076822 | 0.0076823 | 0.98616 | -0.097116 | 0.98636 | -0.095714 | 2.8453
29 | -0.011366 | -0.0028483 | 0.011377 | 0.0028519 | 1.1684e-05 | 3.6779e-06 | 0.017135 | 0.017135 | 0.017135 | 0.98698 | -0.091285 | 0.98803 | -0.083864 | 6.3464
30 | 0.0093955 | 0.0023545 | -0.0093898 | -0.0023529 | 5.758e-06 | 1.6273e-06 | 0.014165 | 0.014165 | 0.014165 | 0.98698 | -0.091285 | 0.98636 | -0.095714 | 5.2464
31 | -0.047586 | -0.011929 | 0.04786 | 0.012034 | 0.00027474 | 0.00010457 | 0.071667 | 0.071667 | 0.071667 | 0.98803 | -0.083864 | 0.99392 | -0.042422 | 26.5433
32 | 0.036208 | 0.0090771 | -0.036189 | -0.0090698 | 1.9144e-05 | 7.231e-06 | 0.054532 | 0.054532 | 0.054532 | 0.98803 | -0.083864 | 0.98749 | -0.087683 | 20.1971
33 | 0.0042584 | 0.001066 | -0.0042577 | -0.0010661 | 6.6003e-07 | -7.4356e-08 | 0.0064184 | 0.0064185 | 0.0064185 | 0.98718 | -0.089882 | 0.98702 | -0.091004 | 2.3772
34 | 0.00097164 | 0.00024275 | -0.00097157 | -0.00024336 | 6.7168e-08 | -6.1584e-07 | 0.0014643 | 0.0014645 | 0.0014645 | 0.98718 | -0.089882 | 0.98711 | -0.090383 | 0.54242
35 | 0.0017633 | 0.00044093 | -0.0017632 | -0.00044129 | 1.4323e-07 | -3.6009e-07 | 0.002658 | 0.0026582 | 0.0026582 | 0.98702 | -0.091004 | 0.98694 | -0.091593 | 0.9845
36 | 0.00055367 | 0.00013863 | -0.00055367 | -0.00013876 | 4.6701e-09 | -1.3555e-07 | 0.00083458 | 0.00083463 | 0.00083463 | 0.98711 | -0.090383 | 0.9871 | -0.090444 | 0.30912
37 | 0.0011716 | 0.00029301 | -0.0011715 | -0.00029359 | 9.4909e-08 | -5.8648e-07 | 0.0017661 | 0.0017664 | 0.0017664 | 0.98694 | -0.091593 | 0.98686 | -0.092179 | 0.65421
38 | -0.033746 | -0.0084744 | 0.033893 | 0.0085296 | 0.00014666 | 5.5223e-05 | 0.05066 | 0.05066 | 0.05066 | 0.99132 | -0.060596 | 0.99576 | -0.029462 | 18.763
39 | -0.0784 | -0.019698 | 0.078631 | 0.019786 | 0.00023112 | 8.8543e-05 | 0.11739 | 0.11739 | 0.11739 | 0.99392 | -0.042422 | 0.99694 | -0.021296 | 43.4783
40 | 0.030539 | 0.0076642 | -0.030495 | -0.0076474 | 4.4732e-05 | 1.6761e-05 | 0.045725 | 0.045725 | 0.045725 | 0.99392 | -0.042422 | 0.99241 | -0.052989 | 16.9351
41 | -0.088209 | -0.022187 | 0.088257 | 0.022205 | 4.8292e-05 | 1.8516e-05 | 0.13169 | 0.13169 | 0.13169 | 0.99694 | -0.021296 | 0.9975 | -0.017372 | 48.7733
42 | 0.025833 | 0.0064792 | -0.025805 | -0.0064686 | 2.868e-05 | 1.0636e-05 | 0.038736 | 0.038736 | 0.038736 | 0.99241 | -0.052989 | 0.99128 | -0.061006 | 14.3467
43 | -0.0080419 | -0.0020155 | 0.0080456 | 0.0020164 | 3.6935e-06 | 9.0303e-07 | 0.012108 | 0.012108 | 0.012108 | 0.98827 | -0.082256 | 0.98874 | -0.078939 | 4.4846
44 | -0.0080456 | -0.0020164 | 0.0080508 | 0.0020177 | 5.1973e-06 | 1.2698e-06 | 0.012108 | 0.012108 | 0.012108 | 0.98874 | -0.078939 | 0.9894 | -0.074274 | 4.4846
45 | -0.09462 | -0.0238 | 0.094849 | 0.023888 | 0.00022978 | 8.8136e-05 | 0.14118 | 0.14118 | 0.14118 | 0.9975 | -0.017372 | 1 | 0 | 52.2883
46 | 0.021464 | 0.0053808 | -0.021444 | -0.0053734 | 2.0103e-05 | 7.3323e-06 | 0.032221 | 0.032221 | 0.032221 | 0.99128 | -0.061006 | 0.99032 | -0.067774 | 11.9337
47 | 0.0012751 | 0.00031816 | -0.001275 | -0.00031847 | 6.0894e-08 | -3.1856e-07 | 0.0019157 | 0.0019158 | 0.0019158 | 0.99015 | -0.068948 | 0.99011 | -0.069296 | 0.70956
48 | -0.0055744 | -0.0013957 | 0.0055753 | 0.0013957 | 9.043e-07 | 8.2122e-08 | 0.0083768 | 0.0083767 | 0.0083768 | 0.99015 | -0.068948 | 0.99032 | -0.067774 | 3.1025
49 | 0.001275 | 0.00031847 | -0.0012749 | -0.00031904 | 1.0822e-07 | -5.6594e-07 | 0.0019158 | 0.001916 | 0.001916 | 0.99011 | -0.069296 | 0.99002 | -0.069912 | 0.70964
50 | 0.012914 | 0.0032373 | -0.012906 | -0.0032346 | 8.2762e-06 | 2.7303e-06 | 0.019405 | 0.019405 | 0.019405 | 0.99032 | -0.067774 | 0.98967 | -0.072404 | 7.1869
51 | 0.0029548 | 0.00074039 | -0.0029546 | -0.0007405 | 1.6357e-07 | -1.0818e-07 | 0.0044397 | 0.0044398 | 0.0044398 | 0.99032 | -0.067774 | 0.99026 | -0.068174 | 1.6444
52 | 0.0012749 | 0.00031904 | -0.0012748 | -0.0003195 | 8.7881e-08 | -4.5941e-07 | 0.001916 | 0.0019162 | 0.0019162 | 0.99002 | -0.069912 | 0.98995 | -0.07041 | 0.70971
53 | 0.012036 | 0.0030166 | -0.012036 | -0.0030166 | 1.6264e-07 | 5.2329e-08 | 0.018097 | 0.018097 | 0.018097 | 0.98967 | -0.072404 | 0.98965 | -0.072501 | 6.7027
54 | 0.0099758 | 0.0025002 | -0.0099733 | -0.0024995 | 2.4483e-06 | 7.1762e-07 | 0.014999 | 0.014999 | 0.014999 | 0.98965 | -0.072501 | 0.9894 | -0.074274 | 5.5553
55 | 0.033925 | 0.0085418 | -0.033893 | -0.0085296 | 3.2266e-05 | 1.2148e-05 | 0.05066 | 0.05066 | 0.05066 | 0.99674 | -0.022649 | 0.99576 | -0.029462 | 18.7628
56 | -0.041665 | -0.010482 | 0.041797 | 0.010532 | 0.00013205 | 5.0072e-05 | 0.062215 | 0.062215 | 0.062215 | 0.99674 | -0.022649 | 1 | 0 | 23.0426
57 | 0.035751 | 0.0089691 | -0.035682 | -0.0089428 | 6.9525e-05 | 2.6225e-05 | 0.053202 | 0.053202 | 0.053202 | 1 | 0 | 0.99799 | -0.014047 | 19.7044
58 | 0.0098496 | 0.0024687 | -0.0098461 | -0.0024677 | 3.5226e-06 | 1.013e-06 | 0.014686 | 0.014686 | 0.014686 | 0.99799 | -0.014047 | 0.99763 | -0.01663 | 5.4393

## res_trafo
| p_hv_mw | q_hv_mvar | p_lv_mw | q_lv_mvar | pl_mw | ql_mvar | i_hv_ka | i_lv_ka | vm_hv_pu | va_hv_degree | vm_lv_pu | va_lv_degree | loading_percent
0 | 2.5187e-16 | 8.8016e-16 | 0.00079998 | 7.4552e-08 | 0.00079998 | 7.4552e-08 | 2.6429e-17 | 0.0011547 | 0.99998 | 149.9947 | 1 | 0 | 0.31999

## res_ext_grid
| p_mw | q_mvar
0 | 0.1732 | 0.043389

## res_load
| p_mw | q_mvar
0 | 0.00084283 | 0.00021123
1 | 0.00086581 | 0.00021699
2 | 0.00086581 | 0.00021699
3 | 0.0008662 | 0.00021709
4 | 0.00086704 | 0.0002173
5 | 0.0010002 | 0.00025067
6 | 0.00086306 | 0.0002163
7 | 0.002575 | 0.00064535
8 | 0.00080483 | 0.00020171
9 | 0.0040093 | 0.0010048
10 | 0.0022028 | 0.00055207
11 | 0.0016287 | 0.00040819
12 | 0.0011799 | 0.00029572
13 | 0.0010246 | 0.00025679
14 | 0.0028405 | 0.00071189
15 | 0.001446 | 0.00036239
16 | 0.0011151 | 0.00027948
17 | 0.0028953 | 0.00072564
18 | 0.0015198 | 0.0003809
19 | 0.00095827 | 0.00024016
20 | 0.0011971 | 0.00030003
21 | 0.00067591 | 0.0001694
22 | 0.0019702 | 0.00049378
23 | 0.0042974 | 0.001077
24 | 0.0024944 | 0.00062515
25 | 0.0004179 | 0.00010474
26 | 0.00059164 | 0.00014828
27 | 0.00055367 | 0.00013876
28 | 0.0011639 | 0.0002917
29 | 0.036189 | 0.0090698
30 | 0.0095784 | 0.0024006
31 | 0.0046612 | 0.0011682
32 | 0.0080419 | 0.0020155
33 | 0.0063621 | 0.0015945
34 | 0.0043403 | 0.0010878
35 | 0.0011715 | 0.00029359
36 | 0.0042993 | 0.0010775
37 | 0.00086956 | 0.00021793
38 | 0.0029546 | 0.0007405
39 | 0.0012748 | 0.0003195
40 | 0.0020604 | 0.00051638
41 | 0.0019225 | 0.00048183
42 | 0.0077404 | 0.0019399
43 | 0.025832 | 0.0064742
44 | 0.0098461 | 0.0024677

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object
62 | res_bus | vm_pu | float64
63 | res_bus | va_degree | float64
64 | res_bus | p_mw | float64
65 | res_bus | q_mvar | float64
66 | res_line | p_from_mw | float64
67 | res_line | q_from_mvar | float64
68 | res_line | p_to_mw | float64
69 | res_line | q_to_mvar | float64
70 | res_line | pl_mw | float64
71 | res_line | ql_mvar | float64
72 | res_line | i_from_ka | float64
73 | res_line | i_to_ka | float64
74 | res_line | i_ka | float64
75 | res_line | vm_from_pu | float64
76 | res_line | va_from_degree | float64
77 | res_line | vm_to_pu | float64
78 | res_line | va_to_degree | float64
79 | res_line | loading_percent | float64
80 | res_trafo | p_hv_mw | float64
81 | res_trafo | q_hv_mvar | float64
82 | res_trafo | p_lv_mw | float64
83 | res_trafo | q_lv_mvar | float64
84 | res_trafo | pl_mw | float64
85 | res_trafo | ql_mvar | float64
86 | res_trafo | i_hv_ka | float64
87 | res_trafo | i_lv_ka | float64
88 | res_trafo | vm_hv_pu | float64
89 | res_trafo | va_hv_degree | float64
90 | res_trafo | vm_lv_pu | float64
91 | res_trafo | va_lv_degree | float64
92 | res_trafo | loading_percent | float64
93 | res_ext_grid | p_mw | float64
94 | res_ext_grid | q_mvar | float64
95 | res_load | p_mw | float64
96 | res_load | q_mvar | float64

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | TRUE | FALSE |  | 50 | 1