## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_1084-3_1_1_node_67 | 0.4 | n |  | TRUE
1 | bus_LV_1084-3_1_1_node_68 | 0.4 | n |  | TRUE
2 | bus_LV_1084-3_1_1_node_69 | 0.4 | n |  | TRUE
3 | bus_LV_1084-3_1_1_node_70 | 0.4 | n |  | TRUE
4 | bus_LV_1084-3_1_1_node_71 | 0.4 | n |  | TRUE
5 | bus_LV_1084-3_1_1_node_72 | 0.4 | n |  | TRUE
6 | bus_LV_1084-3_1_1_node_76 | 0.4 | n |  | TRUE
7 | bus_LV_1084-3_1_1_node_79 | 0.4 | n |  | TRUE
8 | bus_LV_1084-3_1_1_node_73 | 0.4 | n |  | TRUE
9 | bus_LV_1084-3_1_1_node_74 | 0.4 | n |  | TRUE
10 | bus_LV_1084-3_1_1_node_77 | 0.4 | n |  | TRUE
11 | bus_LV_1084-3_1_1_node_78 | 0.4 | n |  | TRUE
12 | bus_LV_1084-3_1_1_node_83 | 0.4 | n |  | TRUE
13 | bus_LV_1084-3_1_1_node_82 | 0.4 | n |  | TRUE
14 | bus_LV_1084-3_1_1_node_84 | 0.4 | n |  | TRUE
15 | bus_LV_1084-3_1_1_node_85 | 0.4 | n |  | TRUE
16 | bus_LV_1084-3_1_1_node_88 | 0.4 | n |  | TRUE
17 | bus_LV_1084-3_1_1_node_86 | 0.4 | n |  | TRUE
18 | bus_LV_1084-3_1_1_node_87 | 0.4 | n |  | TRUE
19 | bus_LV_1084-3_1_1_node_91 | 0.4 | n |  | TRUE
20 | bus_LV_1084-3_1_1_node_89 | 0.4 | n |  | TRUE
21 | bus_LV_1084-3_1_1_node_90 | 0.4 | n |  | TRUE
22 | bus_LV_1084-3_1_1_node_92 | 0.4 | n |  | TRUE
23 | bus_LV_1084-3_1_1_node_93 | 0.4 | n |  | TRUE
24 | bus_LV_1084-3_1_1_node_95 | 0.4 | n |  | TRUE
25 | bus_LV_1084-3_1_1_node_94 | 0.4 | n |  | TRUE
26 | bus_LV_1084-3_1_1_node_96 | 0.4 | n |  | TRUE
27 | bus_LV_1084-3_1_1_node_97 | 0.4 | n |  | TRUE
28 | bus_MV_0_node_67 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_1084-3_1_1_load_67 | 0 | 0.00041633 | 0.00010434 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_1084-3_1_1_load_68 | 1 | 0.0015604 | 0.00039108 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_1084-3_1_1_load_70 | 3 | 0.00028971 | 7.2607e-05 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_1084-3_1_1_load_72 | 5 | 0.00051825 | 0.00012988 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_1084-3_1_1_load_76 | 6 | 0.00077034 | 0.00019307 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_1084-3_1_1_load_79 | 7 | 0.0016807 | 0.00042123 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_1084-3_1_1_load_73 | 8 | 0.00060195 | 0.00015086 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_1084-3_1_1_load_74 | 9 | 0.0023604 | 0.00059157 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_1084-3_1_1_load_77 | 10 | 0.00036258 | 9.087e-05 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_1084-3_1_1_load_83 | 12 | 0.0002727 | 6.8345e-05 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_1084-3_1_1_load_82 | 13 | 0.00039427 | 9.8813e-05 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_1084-3_1_1_load_84 | 14 | 0.00048514 | 0.00012159 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_1084-3_1_1_load_86 | 17 | 0.00032807 | 8.2221e-05 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_1084-3_1_1_load_87 | 18 | 0.00021127 | 5.2949e-05 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_1084-3_1_1_load_91 | 19 | 0.001954 | 0.00048973 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_1084-3_1_1_load_89 | 20 | 0.00081366 | 0.00020392 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_1084-3_1_1_load_93 | 23 | 0.00024489 | 6.1376e-05 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_1084-3_1_1_load_95 | 24 | 0.00077952 | 0.00019537 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_1084-3_1_1_load_94 | 25 | 0.00032777 | 8.2148e-05 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_1084-3_1_1_load_96 | 26 | 0.0014921 | 0.00037396 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_1084-3_1_1_load_97 | 27 | 0.00060389 | 0.00015135 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 0 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_1084-3_1_1_line_0 | NAYY 4x150 SE | 0 | 1 | 0.041465 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
1 | LV_1084-3_1_1_line_1 | NAYY 4x150 SE | 1 | 2 | 0.017807 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
2 | LV_1084-3_1_1_line_2 | NAYY 4x150 SE | 2 | 3 | 0.043895 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
3 | LV_1084-3_1_1_line_3 | NAYY 4x150 SE | 2 | 4 | 0.036119 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
4 | LV_1084-3_1_1_line_4 | NAYY 4x150 SE | 3 | 5 | 0.024654 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
5 | LV_1084-3_1_1_line_5 | NAYY 4x150 SE | 4 | 6 | 0.063541 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
6 | LV_1084-3_1_1_line_6 | NAYY 4x150 SE | 5 | 7 | 0.33581 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
7 | LV_1084-3_1_1_line_7 | NAYY 4x150 SE | 6 | 9 | 0.057277 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
8 | LV_1084-3_1_1_line_8 | NAYY 4x150 SE | 7 | 12 | 0.75959 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
9 | LV_1084-3_1_1_line_9 | NAYY 4x150 SE | 7 | 11 | 0.060661 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
10 | LV_1084-3_1_1_line_10 | NAYY 4x150 SE | 8 | 9 | 0.022314 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
11 | LV_1084-3_1_1_line_11 | NAYY 4x150 SE | 10 | 11 | 0.027686 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
12 | LV_1084-3_1_1_line_12 | NAYY 4x150 SE | 12 | 13 | 0.02016 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
13 | LV_1084-3_1_1_line_13 | NAYY 4x150 SE | 13 | 14 | 0.033419 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
14 | LV_1084-3_1_1_line_14 | NAYY 4x150 SE | 14 | 15 | 0.021887 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
15 | LV_1084-3_1_1_line_15 | NAYY 4x150 SE | 15 | 16 | 0.002886 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
16 | LV_1084-3_1_1_line_16 | NAYY 4x150 SE | 15 | 17 | 0.0137 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
17 | LV_1084-3_1_1_line_17 | NAYY 4x150 SE | 16 | 19 | 0.078794 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
18 | LV_1084-3_1_1_line_18 | NAYY 4x150 SE | 16 | 20 | 0.016704 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
19 | LV_1084-3_1_1_line_19 | NAYY 4x150 SE | 17 | 18 | 0.03722 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
20 | LV_1084-3_1_1_line_20 | NAYY 4x150 SE | 20 | 21 | 0.015018 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
21 | LV_1084-3_1_1_line_21 | NAYY 4x150 SE | 21 | 22 | 0.032709 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
22 | LV_1084-3_1_1_line_22 | NAYY 4x150 SE | 21 | 23 | 0.013827 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
23 | LV_1084-3_1_1_line_23 | NAYY 4x150 SE | 22 | 24 | 0.010935 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
24 | LV_1084-3_1_1_line_24 | NAYY 4x150 SE | 23 | 25 | 0.021271 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
25 | LV_1084-3_1_1_line_25 | NAYY 4x150 SE | 24 | 26 | 0.016635 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
26 | LV_1084-3_1_1_line_26 | NAYY 4x150 SE | 26 | 27 | 0.012465 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_1084-3_1_1_trafo_67 | 0.25 MVA 20/0.4 kV | 28 | 0 | 0.25 | 20 | 0.4 | 6 | 1.44 | 0.8 | 0.32 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6
0 | 2654349.3577 | 1223587.9732 | 2654350.0949 | 1223581.1535 | 2654349.3214 | 1223576.9994 | 2654355.4293 | 1223569.973 | 2654358.8504 | 1223562.3773 | 2654361.2245 | 1223552.3594 | 2654362.4848 | 1223550.2655
1 | 2654371.7261 | 1223535.0445 | 2654364.9051 | 1223546.2447 | 2654362.4848 | 1223550.2655
2 | 2654371.7261 | 1223535.0445 | 2654370.0922 | 1223536.2525 | 2654337.4362 | 1223562.4464
3 | 2654371.7261 | 1223535.0445 | 2654400.7773 | 1223513.4741
4 | 2654337.4362 | 1223562.4464 | 2654335.6244 | 1223563.8997 | 2654318.0613 | 1223577.6914
5 | 2654400.7773 | 1223513.4741 | 2654390.0537 | 1223500.2902 | 2654377.5978 | 1223484.9781 | 2654370.7834 | 1223480.502 | 2654362.8372 | 1223479.5511 | 2654352.2135 | 1223480.3324
6 | 2654318.0613 | 1223577.6914 | 2654101.432 | 1223834.2817
7 | 2654305.4045 | 1223475.0578 | 2654313.9073 | 1223488.1434 | 2654318.2979 | 1223491.4855 | 2654325.145 | 1223491.548 | 2654336.9085 | 1223486.3632 | 2654352.2135 | 1223480.3324 | 2654352.2135 | 1223480.3324
8 | 2654736.0357 | 1224251.7162 | 2654101.432 | 1223834.2817
9 | 2654056.6424 | 1223873.387 | 2654059.6098 | 1223873.9476 | 2654101.432 | 1223834.2817
10 | 2654285.2812 | 1223475.0973 | 2654285.2857 | 1223475.0966 | 2654294.1572 | 1223471.8755 | 2654300.3623 | 1223470.8314 | 2654305.4045 | 1223475.0578 | 2654305.4045 | 1223475.0578
11 | 2654056.6424 | 1223873.387 | 2654076.68 | 1223854.2824
12 | 2654755.7234 | 1224247.6258 | 2654739.672 | 1224251.5274 | 2654736.0357 | 1224251.7162
13 | 2654755.7234 | 1224247.6258 | 2654760.1217 | 1224246.5567 | 2654767.2667 | 1224247.1116 | 2654778.9629 | 1224253.2341 | 2654785.0203 | 1224254.1571 | 2654787.3625 | 1224253.648
14 | 2654806.6509 | 1224243.6384 | 2654791.0071 | 1224252.8558 | 2654787.3625 | 1224253.648
15 | 2654806.6509 | 1224243.6384 | 2654809.5134 | 1224243.2089
16 | 2654806.6509 | 1224243.6384 | 2654800.0257 | 1224231.6472
17 | 2654809.5134 | 1224243.2089 | 2654808.0933 | 1224259.9174 | 2654820.8214 | 1224290.6537 | 2654830.1099 | 1224298.0327 | 2654841.7619 | 1224291.6582 | 2654841.3861 | 1224288.0081
18 | 2654809.5134 | 1224243.2089 | 2654822.9374 | 1224241.1979 | 2654825.9753 | 1224240.4449
19 | 2654800.0257 | 1224231.6472 | 2654794.0617 | 1224220.8528 | 2654792.6123 | 1224211.9228 | 2654793.1498 | 1224204.601 | 2654797.1386 | 1224197.0955
20 | 2654839.7457 | 1224234.8042 | 2654832.7106 | 1224238.7752 | 2654825.9753 | 1224240.4449
21 | 2654839.7457 | 1224234.8042 | 2654851.9744 | 1224247.3246 | 2654859.18 | 1224251.9939 | 2654865.3124 | 1224254.6409
22 | 2654839.7457 | 1224234.8042 | 2654849.9103 | 1224225.4302
23 | 2654865.3124 | 1224254.6409 | 2654869.587 | 1224256.4926 | 2654875.8586 | 1224256.7353
24 | 2654849.9103 | 1224225.4302 | 2654851.2167 | 1224224.2255 | 2654868.377 | 1224214.9765
25 | 2654875.8586 | 1224256.7353 | 2654885.0493 | 1224257.091 | 2654892.4258 | 1224256.1386
26 | 2654904.7884 | 1224254.5426 | 2654892.4258 | 1224256.1386

## bus_geodata
| x | y | coords
0 | 2654349.3577 | 1223587.9732
1 | 2654362.4848 | 1223550.2655
2 | 2654371.7261 | 1223535.0445
3 | 2654337.4362 | 1223562.4464
4 | 2654400.7773 | 1223513.4741
5 | 2654318.0613 | 1223577.6914
6 | 2654352.2135 | 1223480.3324
7 | 2654101.432 | 1223834.2817
8 | 2654285.2812 | 1223475.0973
9 | 2654305.4045 | 1223475.0578
10 | 2654076.68 | 1223854.2824
11 | 2654056.6424 | 1223873.387
12 | 2654736.0357 | 1224251.7162
13 | 2654755.7234 | 1224247.6258
14 | 2654787.3625 | 1224253.648
15 | 2654806.6509 | 1224243.6384
16 | 2654809.5134 | 1224243.2089
17 | 2654800.0257 | 1224231.6472
18 | 2654797.1386 | 1224197.0955
19 | 2654841.3861 | 1224288.0081
20 | 2654825.9753 | 1224240.4449
21 | 2654839.7457 | 1224234.8042
22 | 2654865.3124 | 1224254.6409
23 | 2654849.9103 | 1224225.4302
24 | 2654875.8586 | 1224256.7353
25 | 2654868.377 | 1224214.9765
26 | 2654892.4258 | 1224256.1386
27 | 2654904.7884 | 1224254.5426
28 | 2654349.3577 | 1223587.9732

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## res_bus
| vm_pu | va_degree | p_mw | q_mvar
0 | 1 | 0 | -0.017008 | -0.0040596
1 | 0.99904 | -0.0067214 | 0.0015604 | 0.00039108
2 | 0.99867 | -0.0093333 | 0 | 0
3 | 0.99799 | -0.014129 | 0.00028971 | 7.2607e-05
4 | 0.99848 | -0.010688 | 0 | 0
5 | 0.99762 | -0.016753 | 0.00051825 | 0.00012988
6 | 0.99814 | -0.01307 | 0.00077034 | 0.00019307
7 | 0.99278 | -0.050865 | 0.0016807 | 0.00042123
8 | 0.99788 | -0.014908 | 0.00060195 | 0.00015086
9 | 0.9979 | -0.014773 | 0.0023604 | 0.00059157
10 | 0.99274 | -0.051194 | 0.00036258 | 9.087e-05
11 | 0.99275 | -0.051092 | 0 | 0
12 | 0.98408 | -0.11276 | 0.0002727 | 6.8345e-05
13 | 0.98385 | -0.11435 | 0.00039427 | 9.8813e-05
14 | 0.9835 | -0.11686 | 0.00048514 | 0.00012159
15 | 0.98329 | -0.11839 | 0 | 0
16 | 0.98326 | -0.11857 | 0 | 0
17 | 0.98328 | -0.11847 | 0.00032807 | 8.2221e-05
18 | 0.98327 | -0.11855 | 0.00021127 | 5.2949e-05
19 | 0.98304 | -0.12017 | 0.001954 | 0.00048973
20 | 0.98316 | -0.11931 | 0.00081366 | 0.00020392
21 | 0.98308 | -0.11985 | 0 | 0
22 | 0.98295 | -0.12082 | 0 | 0
23 | 0.98307 | -0.11993 | 0.00024489 | 6.1376e-05
24 | 0.9829 | -0.12115 | 0.00077952 | 0.00019537
25 | 0.98306 | -0.12 | 0.00032777 | 8.2148e-05
26 | 0.98285 | -0.12151 | 0.0014921 | 0.00037396
27 | 0.98284 | -0.12159 | 0.00060389 | 0.00015135
28 | 0.99998 | 149.9947 | 0 | 0

## res_line
| p_from_mw | q_from_mvar | p_to_mw | q_to_mvar | pl_mw | ql_mvar | i_from_ka | i_to_ka | i_ka | vm_from_pu | va_from_degree | vm_to_pu | va_to_degree | loading_percent
0 | 0.016208 | 0.0040596 | -0.016193 | -0.0040543 | 1.505e-05 | 5.2449e-06 | 0.024117 | 0.024118 | 0.024118 | 1 | 0 | 0.99904 | -0.0067214 | 8.9325
1 | 0.014633 | 0.0036632 | -0.014628 | -0.0036614 | 5.2775e-06 | 1.7967e-06 | 0.021794 | 0.021794 | 0.021794 | 0.99904 | -0.0067214 | 0.99867 | -0.0093333 | 8.0717
2 | 0.010892 | 0.0027273 | -0.010885 | -0.0027251 | 7.214e-06 | 2.2007e-06 | 0.016229 | 0.016229 | 0.016229 | 0.99867 | -0.0093333 | 0.99799 | -0.014129 | 6.0107
3 | 0.0037353 | 0.00093417 | -0.0037346 | -0.00093437 | 6.9799e-07 | -2.0405e-07 | 0.0055649 | 0.0055651 | 0.0055651 | 0.99867 | -0.0093333 | 0.99848 | -0.010688 | 2.0611
4 | 0.010595 | 0.0026525 | -0.010592 | -0.0026513 | 3.839e-06 | 1.1545e-06 | 0.015797 | 0.015797 | 0.015797 | 0.99799 | -0.014129 | 0.99762 | -0.016753 | 5.8508
5 | 0.0037346 | 0.00093437 | -0.0037334 | -0.00093473 | 1.228e-06 | -3.5848e-07 | 0.0055651 | 0.0055654 | 0.0055654 | 0.99848 | -0.010688 | 0.99814 | -0.01307 | 2.0612
6 | 0.010073 | 0.0025214 | -0.010026 | -0.0025076 | 4.7304e-05 | 1.383e-05 | 0.015024 | 0.015026 | 0.015026 | 0.99762 | -0.016753 | 0.99278 | -0.050865 | 5.565
7 | 0.0029631 | 0.00074167 | -0.0029624 | -0.00074215 | 6.9732e-07 | -4.8025e-07 | 0.004417 | 0.0044172 | 0.0044172 | 0.99814 | -0.01307 | 0.9979 | -0.014773 | 1.636
8 | 0.0079827 | 0.0019966 | -0.0079149 | -0.0019803 | 6.7857e-05 | 1.6363e-05 | 0.011963 | 0.011967 | 0.011967 | 0.99278 | -0.050865 | 0.98408 | -0.11276 | 4.4322
9 | 0.00036259 | 8.9734e-05 | -0.00036258 | -9.0514e-05 | 1.1169e-08 | -7.8006e-07 | 0.00054307 | 0.00054334 | 0.00054334 | 0.99278 | -0.050865 | 0.99275 | -0.051092 | 0.20124
10 | -0.00060195 | -0.00015086 | 0.00060197 | 0.00015058 | 1.1218e-08 | -2.872e-07 | 0.00089762 | 0.00089752 | 0.00089762 | 0.99788 | -0.014908 | 0.9979 | -0.014773 | 0.33245
11 | -0.00036258 | -9.087e-05 | 0.00036258 | 9.0514e-05 | 5.1013e-09 | -3.56e-07 | 0.00054347 | 0.00054334 | 0.00054347 | 0.99274 | -0.051194 | 0.99275 | -0.051092 | 0.20128
12 | 0.0076422 | 0.0019119 | -0.0076405 | -0.0019115 | 1.6795e-06 | 3.8989e-07 | 0.011554 | 0.011555 | 0.011555 | 0.98408 | -0.11276 | 0.98385 | -0.11435 | 4.2795
13 | 0.0072462 | 0.0018127 | -0.0072437 | -0.0018122 | 2.5042e-06 | 5.3891e-07 | 0.010958 | 0.010958 | 0.010958 | 0.98385 | -0.11435 | 0.9835 | -0.11686 | 4.0587
14 | 0.0067586 | 0.0016906 | -0.0067572 | -0.0016903 | 1.4277e-06 | 2.7145e-07 | 0.010224 | 0.010225 | 0.010225 | 0.9835 | -0.11686 | 0.98329 | -0.11839 | 3.7869
15 | 0.0062178 | 0.0015558 | -0.0062177 | -0.0015558 | 1.5941e-07 | 2.4707e-08 | 0.0094085 | 0.0094086 | 0.0094086 | 0.98329 | -0.11839 | 0.98326 | -0.11857 | 3.4847
16 | 0.00053934 | 0.00013453 | -0.00053934 | -0.0001347 | 5.692e-09 | -1.7158e-07 | 0.00081596 | 0.00081602 | 0.00081602 | 0.98329 | -0.11839 | 0.98328 | -0.11847 | 0.30223
17 | 0.0019545 | 0.00048889 | -0.001954 | -0.00048973 | 4.3009e-07 | -8.3376e-07 | 0.0029574 | 0.0029578 | 0.0029578 | 0.98326 | -0.11857 | 0.98304 | -0.12017 | 1.0955
18 | 0.0042632 | 0.0010669 | -0.0042628 | -0.0010669 | 4.3378e-07 | -4.5004e-08 | 0.0064511 | 0.0064512 | 0.0064512 | 0.98326 | -0.11857 | 0.98316 | -0.11931 | 2.3893
19 | 0.00021127 | 5.2478e-05 | -0.00021127 | -5.2949e-05 | 2.3729e-09 | -4.7119e-07 | 0.00031955 | 0.00031972 | 0.00031972 | 0.98328 | -0.11847 | 0.98327 | -0.11855 | 0.11841
20 | 0.0034491 | 0.00086299 | -0.0034489 | -0.00086308 | 2.5532e-07 | -9.2226e-08 | 0.0052197 | 0.0052198 | 0.0052198 | 0.98316 | -0.11931 | 0.98308 | -0.11985 | 1.9333
21 | 0.0028762 | 0.00072 | -0.0028758 | -0.00072027 | 3.8679e-07 | -2.659e-07 | 0.0043531 | 0.0043533 | 0.0043533 | 0.98308 | -0.11985 | 0.98295 | -0.12082 | 1.6123
22 | 0.00057268 | 0.00014308 | -0.00057267 | -0.00014326 | 6.481e-09 | -1.7282e-07 | 0.00086666 | 0.00086672 | 0.00086672 | 0.98308 | -0.11985 | 0.98307 | -0.11993 | 0.32101
23 | 0.0028758 | 0.00072027 | -0.0028757 | -0.00072035 | 1.2931e-07 | -8.8864e-08 | 0.0043533 | 0.0043533 | 0.0043533 | 0.98295 | -0.12082 | 0.9829 | -0.12115 | 1.6123
24 | 0.00032778 | 8.188e-05 | -0.00032777 | -8.2148e-05 | 3.2666e-09 | -2.6844e-07 | 0.00049604 | 0.00049614 | 0.00049614 | 0.98307 | -0.11993 | 0.98306 | -0.12 | 0.18375
25 | 0.0020961 | 0.00052499 | -0.002096 | -0.00052516 | 1.0453e-07 | -1.7063e-07 | 0.0031732 | 0.0031733 | 0.0031733 | 0.9829 | -0.12115 | 0.98285 | -0.12151 | 1.1753
26 | 0.0006039 | 0.00015119 | -0.00060389 | -0.00015135 | 6.5016e-09 | -1.5547e-07 | 0.00091423 | 0.00091429 | 0.00091429 | 0.98285 | -0.12151 | 0.98284 | -0.12159 | 0.33863

## res_trafo
| p_hv_mw | q_hv_mvar | p_lv_mw | q_lv_mvar | pl_mw | ql_mvar | i_hv_ka | i_lv_ka | vm_hv_pu | va_hv_degree | vm_lv_pu | va_lv_degree | loading_percent
0 | 2.5187e-16 | 8.8016e-16 | 0.00079998 | 7.4552e-08 | 0.00079998 | 7.4552e-08 | 2.6429e-17 | 0.0011547 | 0.99998 | 149.9947 | 1 | 0 | 0.31999

## res_ext_grid
| p_mw | q_mvar
0 | 0.017425 | 0.004164

## res_load
| p_mw | q_mvar
0 | 0.00041633 | 0.00010434
1 | 0.0015604 | 0.00039108
2 | 0.00028971 | 7.2607e-05
3 | 0.00051825 | 0.00012988
4 | 0.00077034 | 0.00019307
5 | 0.0016807 | 0.00042123
6 | 0.00060195 | 0.00015086
7 | 0.0023604 | 0.00059157
8 | 0.00036258 | 9.087e-05
9 | 0.0002727 | 6.8345e-05
10 | 0.00039427 | 9.8813e-05
11 | 0.00048514 | 0.00012159
12 | 0.00032807 | 8.2221e-05
13 | 0.00021127 | 5.2949e-05
14 | 0.001954 | 0.00048973
15 | 0.00081366 | 0.00020392
16 | 0.00024489 | 6.1376e-05
17 | 0.00077952 | 0.00019537
18 | 0.00032777 | 8.2148e-05
19 | 0.0014921 | 0.00037396
20 | 0.00060389 | 0.00015135

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object
62 | res_bus | vm_pu | float64
63 | res_bus | va_degree | float64
64 | res_bus | p_mw | float64
65 | res_bus | q_mvar | float64
66 | res_line | p_from_mw | float64
67 | res_line | q_from_mvar | float64
68 | res_line | p_to_mw | float64
69 | res_line | q_to_mvar | float64
70 | res_line | pl_mw | float64
71 | res_line | ql_mvar | float64
72 | res_line | i_from_ka | float64
73 | res_line | i_to_ka | float64
74 | res_line | i_ka | float64
75 | res_line | vm_from_pu | float64
76 | res_line | va_from_degree | float64
77 | res_line | vm_to_pu | float64
78 | res_line | va_to_degree | float64
79 | res_line | loading_percent | float64
80 | res_trafo | p_hv_mw | float64
81 | res_trafo | q_hv_mvar | float64
82 | res_trafo | p_lv_mw | float64
83 | res_trafo | q_lv_mvar | float64
84 | res_trafo | pl_mw | float64
85 | res_trafo | ql_mvar | float64
86 | res_trafo | i_hv_ka | float64
87 | res_trafo | i_lv_ka | float64
88 | res_trafo | vm_hv_pu | float64
89 | res_trafo | va_hv_degree | float64
90 | res_trafo | vm_lv_pu | float64
91 | res_trafo | va_lv_degree | float64
92 | res_trafo | loading_percent | float64
93 | res_ext_grid | p_mw | float64
94 | res_ext_grid | q_mvar | float64
95 | res_load | p_mw | float64
96 | res_load | q_mvar | float64

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | TRUE | FALSE |  | 50 | 1