## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_1084-7_0_3_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_1084-7_0_3_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_1084-7_0_3_node_3 | 0.4 | n |  | TRUE
3 | bus_LV_1084-7_0_3_node_31 | 0.4 | n |  | TRUE
4 | bus_LV_1084-7_0_3_node_32 | 0.4 | n |  | TRUE
5 | bus_LV_1084-7_0_3_node_29 | 0.4 | n |  | TRUE
6 | bus_LV_1084-7_0_3_node_4 | 0.4 | n |  | TRUE
7 | bus_LV_1084-7_0_3_node_5 | 0.4 | n |  | TRUE
8 | bus_LV_1084-7_0_3_node_7 | 0.4 | n |  | TRUE
9 | bus_LV_1084-7_0_3_node_38 | 0.4 | n |  | TRUE
10 | bus_LV_1084-7_0_3_node_39 | 0.4 | n |  | TRUE
11 | bus_LV_1084-7_0_3_node_37 | 0.4 | n |  | TRUE
12 | bus_LV_1084-7_0_3_node_8 | 0.4 | n |  | TRUE
13 | bus_LV_1084-7_0_3_node_9 | 0.4 | n |  | TRUE
14 | bus_LV_1084-7_0_3_node_10 | 0.4 | n |  | TRUE
15 | bus_LV_1084-7_0_3_node_11 | 0.4 | n |  | TRUE
16 | bus_LV_1084-7_0_3_node_12 | 0.4 | n |  | TRUE
17 | bus_LV_1084-7_0_3_node_25 | 0.4 | n |  | TRUE
18 | bus_LV_1084-7_0_3_node_24 | 0.4 | n |  | TRUE
19 | bus_LV_1084-7_0_3_node_13 | 0.4 | n |  | TRUE
20 | bus_LV_1084-7_0_3_node_14 | 0.4 | n |  | TRUE
21 | bus_LV_1084-7_0_3_node_15 | 0.4 | n |  | TRUE
22 | bus_LV_1084-7_0_3_node_16 | 0.4 | n |  | TRUE
23 | bus_LV_1084-7_0_3_node_17 | 0.4 | n |  | TRUE
24 | bus_LV_1084-7_0_3_node_23 | 0.4 | n |  | TRUE
25 | bus_LV_1084-7_0_3_node_21 | 0.4 | n |  | TRUE
26 | bus_LV_1084-7_0_3_node_18 | 0.4 | n |  | TRUE
27 | bus_LV_1084-7_0_3_node_19 | 0.4 | n |  | TRUE
28 | bus_LV_1084-7_0_3_node_20 | 0.4 | n |  | TRUE
29 | bus_LV_1084-7_0_3_node_22 | 0.4 | n |  | TRUE
30 | bus_LV_1084-7_0_3_node_41 | 0.4 | n |  | TRUE
31 | bus_LV_1084-7_0_3_node_26 | 0.4 | n |  | TRUE
32 | bus_LV_1084-7_0_3_node_27 | 0.4 | n |  | TRUE
33 | bus_LV_1084-7_0_3_node_28 | 0.4 | n |  | TRUE
34 | bus_LV_1084-7_0_3_node_30 | 0.4 | n |  | TRUE
35 | bus_LV_1084-7_0_3_node_40 | 0.4 | n |  | TRUE
36 | bus_LV_1084-7_0_3_node_34 | 0.4 | n |  | TRUE
37 | bus_LV_1084-7_0_3_node_33 | 0.4 | n |  | TRUE
38 | bus_LV_1084-7_0_3_node_35 | 0.4 | n |  | TRUE
39 | bus_LV_1084-7_0_3_node_36 | 0.4 | n |  | TRUE
40 | bus_MV_354_0_node_51 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_1084-7_0_3_load_0 | 0 | 0.0064051 | 0.0016053 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_1084-7_0_3_load_1 | 1 | 0.0050213 | 0.0012585 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_1084-7_0_3_load_3 | 2 | 0.0043149 | 0.0010814 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_1084-7_0_3_load_29 | 5 | 0.0032033 | 0.00080282 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_1084-7_0_3_load_4 | 6 | 0.0078037 | 0.0019558 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_1084-7_0_3_load_5 | 7 | 0.0028704 | 0.00071938 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_1084-7_0_3_load_39 | 10 | 0.0037876 | 0.00094926 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_1084-7_0_3_load_37 | 11 | 0.0084545 | 0.0021189 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_1084-7_0_3_load_8 | 12 | 0.0030971 | 0.0007762 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_1084-7_0_3_load_9 | 13 | 0.0074349 | 0.0018634 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_1084-7_0_3_load_10 | 14 | 0.001562 | 0.00039148 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_1084-7_0_3_load_11 | 15 | 0.0033316 | 0.00083498 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_1084-7_0_3_load_12 | 16 | 0.0015609 | 0.0003912 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_1084-7_0_3_load_25 | 17 | 0.0070586 | 0.0017691 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_1084-7_0_3_load_24 | 18 | 0.001562 | 0.00039147 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_1084-7_0_3_load_13 | 19 | 0.011358 | 0.0028467 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_1084-7_0_3_load_15 | 21 | 0.0077383 | 0.0019394 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_1084-7_0_3_load_16 | 22 | 0.010895 | 0.0027305 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_1084-7_0_3_load_17 | 23 | 0.0015615 | 0.00039134 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_1084-7_0_3_load_23 | 24 | 0.010746 | 0.0026933 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_1084-7_0_3_load_18 | 26 | 0.01287 | 0.0032255 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_1084-7_0_3_load_22 | 29 | 0.021389 | 0.0053606 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_1084-7_0_3_load_41 | 30 | 0.046752 | 0.011717 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_1084-7_0_3_load_26 | 31 | 0.0019348 | 0.00048491 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_1084-7_0_3_load_27 | 32 | 0.0032027 | 0.00080268 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_1084-7_0_3_load_28 | 33 | 0.003228 | 0.00080901 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_1084-7_0_3_load_30 | 34 | 0.0037876 | 0.00094926 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_1084-7_0_3_load_34 | 36 | 0.0014005 | 0.00035099 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_1084-7_0_3_load_33 | 37 | 0.0012632 | 0.00031658 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_1084-7_0_3_load_35 | 38 | 0.0012403 | 0.00031086 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_1084-7_0_3_load_36 | 39 | 0.0003281 | 8.223e-05 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 18 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_1084-7_0_3_line_0 | NAYY 4x150 SE | 0 | 1 | 0.027768 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
1 | LV_1084-7_0_3_line_1 | NAYY 4x150 SE | 1 | 2 | 0.022542 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
2 | LV_1084-7_0_3_line_2 | NAYY 4x150 SE | 2 | 3 | 0.018605 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
3 | LV_1084-7_0_3_line_3 | NAYY 4x150 SE | 3 | 4 | 0.040694 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
4 | LV_1084-7_0_3_line_4 | NAYY 4x150 SE | 3 | 5 | 0.013721 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
5 | LV_1084-7_0_3_line_5 | NAYY 4x150 SE | 4 | 36 | 0.01672 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
6 | LV_1084-7_0_3_line_6 | NAYY 4x150 SE | 5 | 32 | 0.0084215 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
7 | LV_1084-7_0_3_line_7 | NAYY 4x150 SE | 6 | 7 | 0.0063516 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
8 | LV_1084-7_0_3_line_8 | NAYY 4x150 SE | 7 | 8 | 0.049224 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
9 | LV_1084-7_0_3_line_9 | NAYY 4x150 SE | 8 | 9 | 0.011346 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
10 | LV_1084-7_0_3_line_10 | NAYY 4x150 SE | 9 | 10 | 0.043855 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
11 | LV_1084-7_0_3_line_11 | NAYY 4x150 SE | 9 | 11 | 0.035952 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
12 | LV_1084-7_0_3_line_12 | NAYY 4x150 SE | 10 | 35 | 0.01665 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
13 | LV_1084-7_0_3_line_13 | NAYY 4x150 SE | 11 | 15 | 0.023794 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
14 | LV_1084-7_0_3_line_14 | NAYY 4x150 SE | 12 | 13 | 0.0074648 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
15 | LV_1084-7_0_3_line_15 | NAYY 4x150 SE | 12 | 14 | 0.017294 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
16 | LV_1084-7_0_3_line_16 | NAYY 4x150 SE | 13 | 15 | 0.0062965 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
17 | LV_1084-7_0_3_line_17 | NAYY 4x150 SE | 14 | 16 | 0.0056804 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
18 | LV_1084-7_0_3_line_18 | NAYY 4x150 SE | 16 | 17 | 0.001593 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
19 | LV_1084-7_0_3_line_19 | NAYY 4x150 SE | 17 | 18 | 0.0040874 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
20 | LV_1084-7_0_3_line_20 | NAYY 4x150 SE | 18 | 23 | 0.024766 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
21 | LV_1084-7_0_3_line_21 | NAYY 4x150 SE | 19 | 20 | 0.014635 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
22 | LV_1084-7_0_3_line_22 | NAYY 4x150 SE | 19 | 21 | 0.012643 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
23 | LV_1084-7_0_3_line_23 | NAYY 4x150 SE | 20 | 22 | 0.013697 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
24 | LV_1084-7_0_3_line_24 | NAYY 4x150 SE | 20 | 23 | 0.013278 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
25 | LV_1084-7_0_3_line_25 | NAYY 4x150 SE | 22 | 24 | 0.0055374 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
26 | LV_1084-7_0_3_line_26 | NAYY 4x150 SE | 24 | 25 | 0.022399 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
27 | LV_1084-7_0_3_line_27 | NAYY 4x150 SE | 25 | 27 | 0.035014 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
28 | LV_1084-7_0_3_line_28 | NAYY 4x150 SE | 26 | 27 | 0.024617 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
29 | LV_1084-7_0_3_line_29 | NAYY 4x150 SE | 26 | 28 | 0.025508 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
30 | LV_1084-7_0_3_line_30 | NAYY 4x150 SE | 28 | 29 | 0.030877 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
31 | LV_1084-7_0_3_line_31 | NAYY 4x150 SE | 29 | 30 | 0.019881 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
32 | LV_1084-7_0_3_line_32 | NAYY 4x150 SE | 31 | 32 | 0.015842 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
33 | LV_1084-7_0_3_line_33 | NAYY 4x150 SE | 31 | 33 | 0.0085068 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
34 | LV_1084-7_0_3_line_34 | NAYY 4x150 SE | 33 | 34 | 0.016349 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
35 | LV_1084-7_0_3_line_35 | NAYY 4x150 SE | 34 | 35 | 0.018709 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
36 | LV_1084-7_0_3_line_36 | NAYY 4x150 SE | 36 | 37 | 0.028354 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
37 | LV_1084-7_0_3_line_37 | NAYY 4x150 SE | 37 | 38 | 0.029586 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
38 | LV_1084-7_0_3_line_38 | NAYY 4x150 SE | 38 | 39 | 0.01982 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_1084-7_0_3_trafo_24 | 0.25 MVA 20/0.4 kV | 40 | 18 | 0.25 | 20 | 0.4 | 6 | 1.44 | 0.8 | 0.32 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6 | x7 | y7 | x8 | y8 | x9 | y9
0 | 2655444.4113 | 1222532.763 | 2655458.3487 | 1222515.0166 | 2655462.1395 | 1222511.453
1 | 2655479.5728 | 1222497.2696 | 2655471.0197 | 1222503.105 | 2655462.1395 | 1222511.453
2 | 2655495.8597 | 1222488.3939 | 2655485.408 | 1222493.2884 | 2655479.5728 | 1222497.2696
3 | 2655534.8415 | 1222477.3169 | 2655525.7776 | 1222478.1663 | 2655517.0137 | 1222480.1859 | 2655507.1447 | 1222483.596 | 2655495.8597 | 1222488.3939
4 | 2655495.8597 | 1222488.3939 | 2655493.7212 | 1222483.4709 | 2655493.5108 | 1222480.8228 | 2655494.6348 | 1222477.409 | 2655495.7314 | 1222475.6145
5 | 2655534.8415 | 1222477.3169 | 2655534.2877 | 1222490.3421 | 2655532.3891 | 1222493.4978
6 | 2655495.7314 | 1222475.6145 | 2655497.3305 | 1222472.998 | 2655500.6971 | 1222468.8335
7 | 2655448.6203 | 1222385.3534 | 2655449.9718 | 1222386.7257 | 2655453.5362 | 1222389.3488
8 | 2655496.952 | 1222380.1591 | 2655489.701 | 1222387.485 | 2655485.456 | 1222390.4806 | 2655479.4991 | 1222393.2268 | 2655473.5485 | 1222394.4944 | 2655466.603 | 1222394.2741 | 2655461.3877 | 1222393.1359 | 2655455.8626 | 1222391.061 | 2655453.5362 | 1222389.3488
9 | 2655496.952 | 1222380.1591 | 2655497.2216 | 1222384.5977 | 2655492.6453 | 1222389.7694
10 | 2655492.6453 | 1222389.7694 | 2655495.6452 | 1222392.5991 | 2655495.6188 | 1222395.4339 | 2655499.3511 | 1222398.6151 | 2655503.4257 | 1222398.4418 | 2655506.9552 | 1222401.421 | 2655512.4479 | 1222402.0837 | 2655519.0044 | 1222407.4148 | 2655521.3442 | 1222407.8368 | 2655526.6881 | 1222412.2561
11 | 2655492.6453 | 1222389.7694 | 2655480.6291 | 1222403.0101 | 2655469.1305 | 1222416.9519
12 | 2655538.0441 | 1222422.635 | 2655532.3288 | 1222418.1901 | 2655531.6586 | 1222414.426 | 2655529.3312 | 1222412.681 | 2655526.6881 | 1222412.2561
13 | 2655469.1305 | 1222416.9519 | 2655455.705 | 1222433.2301 | 2655453.8123 | 1222435.1461
14 | 2655443.4507 | 1222444.1808 | 2655449.2093 | 1222439.4307
15 | 2655443.4507 | 1222444.1808 | 2655442.1607 | 1222445.2449 | 2655433.0298 | 1222452.4755 | 2655429.8721 | 1222454.8896
16 | 2655449.2093 | 1222439.4307 | 2655451.2104 | 1222437.78 | 2655453.8123 | 1222435.1461
17 | 2655429.8721 | 1222454.8896 | 2655425.3595 | 1222458.3397
18 | 2655424.0939 | 1222459.3073 | 2655425.3595 | 1222458.3397
19 | 2655424.0939 | 1222459.3073 | 2655420.8468 | 1222461.7899
20 | 2655420.8468 | 1222461.7899 | 2655413.749 | 1222467.2164 | 2655410.7198 | 1222468.3445 | 2655407.9907 | 1222468.1968 | 2655405.8153 | 1222467.2426 | 2655400.1518 | 1222462.3408
21 | 2655389.1972 | 1222455.8477 | 2655390.2923 | 1222447.386 | 2655394.719 | 1222443.1852
22 | 2655403.8902 | 1222434.4822 | 2655394.719 | 1222443.1852
23 | 2655389.1972 | 1222455.8477 | 2655377.1459 | 1222462.3571
24 | 2655389.1972 | 1222455.8477 | 2655391.83 | 1222455.7499 | 2655394.2584 | 1222457.2401 | 2655400.1518 | 1222462.3408
25 | 2655377.1459 | 1222462.3571 | 2655375.9029 | 1222463.0286 | 2655372.2559 | 1222464.9552
26 | 2655351.3509 | 1222472.0727 | 2655354.6973 | 1222471.0809 | 2655360.5493 | 1222470.6239 | 2655363.0597 | 1222469.8134 | 2655372.2559 | 1222464.9552
27 | 2655320.9758 | 1222489.0789 | 2655324.5071 | 1222485.3316 | 2655351.3509 | 1222472.0727
28 | 2655320.9758 | 1222489.0789 | 2655331.0757 | 1222499.9906 | 2655338.0843 | 1222506.7666
29 | 2655356.4229 | 1222524.4968 | 2655338.0843 | 1222506.7666
30 | 2655356.4229 | 1222524.4968 | 2655364.9129 | 1222507.0649 | 2655369.2259 | 1222501.6349 | 2655373.3846 | 1222499.782
31 | 2655373.3846 | 1222499.782 | 2655385.6767 | 1222494.3055 | 2655391.2671 | 1222491.1405
32 | 2655510.6563 | 1222456.5138 | 2655500.6971 | 1222468.8335
33 | 2655510.6563 | 1222456.5138 | 2655516.0044 | 1222449.8983
34 | 2655516.0044 | 1222449.8983 | 2655526.2825 | 1222437.1842
35 | 2655538.0441 | 1222422.635 | 2655526.2825 | 1222437.1842
36 | 2655517.7716 | 1222517.7934 | 2655532.3891 | 1222493.4978
37 | 2655517.7716 | 1222517.7934 | 2655502.5191 | 1222543.1446
38 | 2655492.3014 | 1222560.1275 | 2655502.5191 | 1222543.1446

## bus_geodata
| x | y | coords
0 | 2655444.4113 | 1222532.763
1 | 2655462.1395 | 1222511.453
2 | 2655479.5728 | 1222497.2696
3 | 2655495.8597 | 1222488.3939
4 | 2655534.8415 | 1222477.3169
5 | 2655495.7314 | 1222475.6145
6 | 2655448.6203 | 1222385.3534
7 | 2655453.5362 | 1222389.3488
8 | 2655496.952 | 1222380.1591
9 | 2655492.6453 | 1222389.7694
10 | 2655526.6881 | 1222412.2561
11 | 2655469.1305 | 1222416.9519
12 | 2655443.4507 | 1222444.1808
13 | 2655449.2093 | 1222439.4307
14 | 2655429.8721 | 1222454.8896
15 | 2655453.8123 | 1222435.1461
16 | 2655425.3595 | 1222458.3397
17 | 2655424.0939 | 1222459.3073
18 | 2655420.8468 | 1222461.7899
19 | 2655394.719 | 1222443.1852
20 | 2655389.1972 | 1222455.8477
21 | 2655403.8902 | 1222434.4822
22 | 2655377.1459 | 1222462.3571
23 | 2655400.1518 | 1222462.3408
24 | 2655372.2559 | 1222464.9552
25 | 2655351.3509 | 1222472.0727
26 | 2655338.0843 | 1222506.7666
27 | 2655320.9758 | 1222489.0789
28 | 2655356.4229 | 1222524.4968
29 | 2655373.3846 | 1222499.782
30 | 2655391.2671 | 1222491.1405
31 | 2655510.6563 | 1222456.5138
32 | 2655500.6971 | 1222468.8335
33 | 2655516.0044 | 1222449.8983
34 | 2655526.2825 | 1222437.1842
35 | 2655538.0441 | 1222422.635
36 | 2655532.3891 | 1222493.4978
37 | 2655517.7716 | 1222517.7934
38 | 2655502.5191 | 1222543.1446
39 | 2655492.3014 | 1222560.1275
40 | 2655389.1972 | 1222455.8477

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## res_bus
| vm_pu | va_degree | p_mw | q_mvar
0 | 0.98332 | -0.11718 | 0.0064051 | 0.0016053
1 | 0.98358 | -0.11535 | 0.0050213 | 0.0012585
2 | 0.98395 | -0.11269 | 0.0043149 | 0.0010814
3 | 0.98438 | -0.10967 | 0 | 0
4 | 0.98413 | -0.11145 | 0 | 0
5 | 0.98478 | -0.10685 | 0.0032033 | 0.00080282
6 | 0.99005 | -0.069571 | 0.0078037 | 0.0019558
7 | 0.99012 | -0.069066 | 0.0028704 | 0.00071938
8 | 0.99088 | -0.06372 | 0 | 0
9 | 0.99105 | -0.062488 | 0 | 0
10 | 0.98857 | -0.079978 | 0.0037876 | 0.00094926
11 | 0.99364 | -0.044331 | 0.0084545 | 0.0021189
12 | 0.99694 | -0.021255 | 0.0030971 | 0.0007762
13 | 0.9962 | -0.026435 | 0.0074349 | 0.0018634
14 | 0.99874 | -0.0087462 | 0.001562 | 0.00039148
15 | 0.99564 | -0.030339 | 0.0033316 | 0.00083498
16 | 0.99934 | -0.0045588 | 0.0015609 | 0.0003912
17 | 0.99952 | -0.0033606 | 0.0070586 | 0.0017691
18 | 1 | 0 | -0.2091 | -0.052558
19 | 0.99622 | -0.026199 | 0.011358 | 0.0028467
20 | 0.99662 | -0.02339 | 0 | 0
21 | 0.99608 | -0.027184 | 0.0077383 | 0.0019394
22 | 0.99458 | -0.037549 | 0.010895 | 0.0027305
23 | 0.99779 | -0.015276 | 0.0015615 | 0.00039134
24 | 0.99384 | -0.04268 | 0.010746 | 0.0026933
25 | 0.99119 | -0.061067 | 0 | 0
26 | 0.98416 | -0.1105 | 0.01287 | 0.0032255
27 | 0.98706 | -0.090006 | 0 | 0
28 | 0.98162 | -0.12846 | 0 | 0
29 | 0.97856 | -0.15032 | 0.021389 | 0.0053606
30 | 0.9772 | -0.16002 | 0.046752 | 0.011717
31 | 0.98566 | -0.10054 | 0.0019348 | 0.00048491
32 | 0.98506 | -0.10484 | 0.0032027 | 0.00080268
33 | 0.98601 | -0.098062 | 0.003228 | 0.00080901
34 | 0.98676 | -0.092768 | 0.0037876 | 0.00094926
35 | 0.98772 | -0.085995 | 0 | 0
36 | 0.98403 | -0.11218 | 0.0014005 | 0.00035099
37 | 0.98391 | -0.11301 | 0.0012632 | 0.00031658
38 | 0.98384 | -0.11349 | 0.0012403 | 0.00031086
39 | 0.98383 | -0.11356 | 0.0003281 | 8.223e-05
40 | 0.99998 | 149.9947 | 0 | 0

## res_line
| p_from_mw | q_from_mvar | p_to_mw | q_to_mvar | pl_mw | ql_mvar | i_from_ka | i_to_ka | i_ka | vm_from_pu | va_from_degree | vm_to_pu | va_to_degree | loading_percent
0 | -0.0064051 | -0.0016053 | 0.0064068 | 0.0016056 | 1.6278e-06 | 2.7374e-07 | 0.0096926 | 0.0096925 | 0.0096926 | 0.98332 | -0.11718 | 0.98358 | -0.11535 | 3.5898
1 | -0.011428 | -0.002864 | 0.011432 | 0.0028653 | 4.2045e-06 | 1.3309e-06 | 0.017289 | 0.017289 | 0.017289 | 0.98358 | -0.11535 | 0.98395 | -0.11269 | 6.4033
2 | -0.015747 | -0.0039468 | 0.015754 | 0.0039491 | 6.5839e-06 | 2.2959e-06 | 0.023814 | 0.023814 | 0.023814 | 0.98395 | -0.11269 | 0.98438 | -0.10967 | 8.8201
3 | 0.004234 | 0.0010597 | -0.004233 | -0.0010598 | 1.04e-06 | -1.1718e-07 | 0.0063997 | 0.0063999 | 0.0063999 | 0.98438 | -0.10967 | 0.98413 | -0.11145 | 2.3703
4 | -0.019988 | -0.0050087 | 0.019996 | 0.0050116 | 7.8159e-06 | 2.8316e-06 | 0.030214 | 0.030214 | 0.030214 | 0.98438 | -0.10967 | 0.98478 | -0.10685 | 11.1903
5 | 0.004233 | 0.0010598 | -0.0042325 | -0.0010598 | 4.2733e-07 | -4.8063e-08 | 0.0063999 | 0.0064 | 0.0064 | 0.98413 | -0.11145 | 0.98403 | -0.11218 | 2.3704
6 | -0.023199 | -0.0058144 | 0.023205 | 0.0058168 | 6.4573e-06 | 2.3764e-06 | 0.035054 | 0.035054 | 0.035054 | 0.98478 | -0.10685 | 0.98506 | -0.10484 | 12.983
7 | -0.0078037 | -0.0019558 | 0.0078042 | 0.0019559 | 5.4522e-07 | 1.2801e-07 | 0.011729 | 0.011729 | 0.011729 | 0.99005 | -0.069571 | 0.99012 | -0.069066 | 4.344
8 | -0.010675 | -0.0026753 | 0.010682 | 0.0026777 | 7.9049e-06 | 2.4068e-06 | 0.016042 | 0.016042 | 0.016042 | 0.99012 | -0.069066 | 0.99088 | -0.06372 | 5.9416
9 | -0.010682 | -0.0026777 | 0.010684 | 0.0026783 | 1.822e-06 | 5.546e-07 | 0.016042 | 0.016042 | 0.016042 | 0.99088 | -0.06372 | 0.99105 | -0.062488 | 5.9416
10 | 0.039353 | 0.00989 | -0.039258 | -0.0098538 | 9.5572e-05 | 3.6195e-05 | 0.059097 | 0.059097 | 0.059097 | 0.99105 | -0.062488 | 0.98857 | -0.079978 | 21.8877
11 | -0.050037 | -0.012568 | 0.050164 | 0.012617 | 0.00012666 | 4.8251e-05 | 0.075139 | 0.075139 | 0.075139 | 0.99105 | -0.062488 | 0.99364 | -0.044331 | 27.8292
12 | 0.03547 | 0.0089046 | -0.03544 | -0.0088934 | 2.9621e-05 | 1.1179e-05 | 0.053396 | 0.053396 | 0.053396 | 0.98857 | -0.079978 | 0.98772 | -0.085995 | 19.7762
13 | -0.058619 | -0.014735 | 0.058733 | 0.014779 | 0.00011445 | 4.3712e-05 | 0.0878 | 0.087799 | 0.0878 | 0.99364 | -0.044331 | 0.99564 | -0.030339 | 32.5184
14 | 0.069584 | 0.01751 | -0.069533 | -0.01749 | 5.0269e-05 | 1.9237e-05 | 0.10388 | 0.10388 | 0.10388 | 0.99694 | -0.021255 | 0.9962 | -0.026435 | 38.4756
15 | -0.072681 | -0.018286 | 0.072808 | 0.018334 | 0.00012706 | 4.8642e-05 | 0.10851 | 0.10851 | 0.10851 | 0.99694 | -0.021255 | 0.99874 | -0.0087462 | 40.1877
16 | 0.062099 | 0.015627 | -0.062065 | -0.015614 | 3.382e-05 | 1.2926e-05 | 0.092779 | 0.092779 | 0.092779 | 0.9962 | -0.026435 | 0.99564 | -0.030339 | 34.3625
17 | -0.07437 | -0.018726 | 0.074413 | 0.018743 | 4.3542e-05 | 1.6673e-05 | 0.11083 | 0.11083 | 0.11083 | 0.99874 | -0.0087462 | 0.99934 | -0.0045588 | 41.0496
18 | -0.075974 | -0.019134 | 0.075987 | 0.019139 | 1.2729e-05 | 4.8748e-06 | 0.11316 | 0.11316 | 0.11316 | 0.99934 | -0.0045588 | 0.99952 | -0.0033606 | 41.9104
19 | -0.083046 | -0.020908 | 0.083085 | 0.020923 | 3.9006e-05 | 1.4949e-05 | 0.12367 | 0.12367 | 0.12367 | 0.99952 | -0.0033606 | 1 | 0 | 45.8024
20 | 0.12522 | 0.031635 | -0.12495 | -0.031533 | 0.00026852 | 0.00010263 | 0.18642 | 0.18642 | 0.18642 | 1 | 0 | 0.99779 | -0.015276 | 34.5218
21 | -0.019098 | -0.0047863 | 0.019105 | 0.004789 | 7.4309e-06 | 2.6674e-06 | 0.028526 | 0.028525 | 0.028526 | 0.99622 | -0.026199 | 0.99662 | -0.02339 | 10.565
22 | 0.0077394 | 0.0019396 | -0.0077383 | -0.0019394 | 1.0543e-06 | 2.4091e-07 | 0.01156 | 0.01156 | 0.01156 | 0.99622 | -0.026199 | 0.99608 | -0.027184 | 4.2815
23 | 0.10414 | 0.026299 | -0.10394 | -0.026219 | 0.00020684 | 7.9374e-05 | 0.15556 | 0.15556 | 0.15556 | 0.99662 | -0.02339 | 0.99458 | -0.037549 | 57.6162
24 | -0.12325 | -0.031088 | 0.12339 | 0.031141 | 0.00014039 | 5.365e-05 | 0.18409 | 0.18409 | 0.18409 | 0.99662 | -0.02339 | 0.99779 | -0.015276 | 34.0906
25 | 0.093042 | 0.023489 | -0.092975 | -0.023463 | 6.7015e-05 | 2.5703e-05 | 0.13926 | 0.13926 | 0.13926 | 0.99458 | -0.037549 | 0.99384 | -0.04268 | 51.5792
26 | 0.082229 | 0.02077 | -0.082017 | -0.020688 | 0.00021205 | 8.127e-05 | 0.12317 | 0.12317 | 0.12317 | 0.99384 | -0.04268 | 0.99119 | -0.061067 | 45.6201
27 | 0.082017 | 0.020688 | -0.081686 | -0.020561 | 0.00033149 | 0.00012705 | 0.12317 | 0.12317 | 0.12317 | 0.99119 | -0.061067 | 0.98706 | -0.090006 | 45.6202
28 | -0.081453 | -0.020472 | 0.081686 | 0.020561 | 0.00023306 | 8.9324e-05 | 0.12317 | 0.12317 | 0.12317 | 0.98416 | -0.1105 | 0.98706 | -0.090006 | 45.6202
29 | 0.068583 | 0.017247 | -0.068411 | -0.017181 | 0.00017122 | 6.553e-05 | 0.10372 | 0.10372 | 0.10372 | 0.98416 | -0.1105 | 0.98162 | -0.12846 | 38.4133
30 | 0.068411 | 0.017181 | -0.068204 | -0.017102 | 0.00020726 | 7.9325e-05 | 0.10372 | 0.10372 | 0.10372 | 0.98162 | -0.12846 | 0.97856 | -0.15032 | 38.4133
31 | 0.046815 | 0.011741 | -0.046752 | -0.011717 | 6.2875e-05 | 2.3933e-05 | 0.071191 | 0.071191 | 0.071191 | 0.97856 | -0.15032 | 0.9772 | -0.16002 | 26.3671
32 | 0.026424 | 0.0066253 | -0.026408 | -0.0066194 | 1.5731e-05 | 5.8486e-06 | 0.039892 | 0.039892 | 0.039892 | 0.98566 | -0.10054 | 0.98506 | -0.10484 | 14.7748
33 | -0.028359 | -0.0071102 | 0.028368 | 0.0071138 | 9.7297e-06 | 3.6337e-06 | 0.042813 | 0.042813 | 0.042813 | 0.98566 | -0.10054 | 0.98601 | -0.098062 | 15.8566
34 | -0.031596 | -0.0079228 | 0.03162 | 0.0079316 | 2.3197e-05 | 8.7131e-06 | 0.047684 | 0.047684 | 0.047684 | 0.98601 | -0.098062 | 0.98676 | -0.092768 | 17.6608
35 | -0.035407 | -0.0088808 | 0.03544 | 0.0088934 | 3.3284e-05 | 1.2562e-05 | 0.053396 | 0.053396 | 0.053396 | 0.98676 | -0.092768 | 0.98772 | -0.085995 | 19.7762
36 | 0.0028321 | 0.00070885 | -0.0028317 | -0.00070909 | 3.2445e-07 | -2.3536e-07 | 0.0042822 | 0.0042824 | 0.0042824 | 0.98403 | -0.11218 | 0.98391 | -0.11301 | 1.5861
37 | 0.0015685 | 0.0003925 | -0.0015684 | -0.00039284 | 1.0388e-07 | -3.3578e-07 | 0.002372 | 0.0023721 | 0.0023721 | 0.98391 | -0.11301 | 0.98384 | -0.11349 | 0.87856
38 | 0.00032811 | 8.198e-05 | -0.0003281 | -8.223e-05 | 3.045e-09 | -2.5051e-07 | 0.00049615 | 0.00049624 | 0.00049624 | 0.98384 | -0.11349 | 0.98383 | -0.11356 | 0.18379

## res_trafo
| p_hv_mw | q_hv_mvar | p_lv_mw | q_lv_mvar | pl_mw | ql_mvar | i_hv_ka | i_lv_ka | vm_hv_pu | va_hv_degree | vm_lv_pu | va_lv_degree | loading_percent
0 | 2.5187e-16 | 8.8016e-16 | 0.00079998 | 7.4552e-08 | 0.00079998 | 7.4552e-08 | 2.6429e-17 | 0.0011547 | 0.99998 | 149.9947 | 1 | 0 | 0.31999

## res_ext_grid
| p_mw | q_mvar
0 | 0.21067 | 0.052949

## res_load
| p_mw | q_mvar
0 | 0.0064051 | 0.0016053
1 | 0.0050213 | 0.0012585
2 | 0.0043149 | 0.0010814
3 | 0.0032033 | 0.00080282
4 | 0.0078037 | 0.0019558
5 | 0.0028704 | 0.00071938
6 | 0.0037876 | 0.00094926
7 | 0.0084545 | 0.0021189
8 | 0.0030971 | 0.0007762
9 | 0.0074349 | 0.0018634
10 | 0.001562 | 0.00039148
11 | 0.0033316 | 0.00083498
12 | 0.0015609 | 0.0003912
13 | 0.0070586 | 0.0017691
14 | 0.001562 | 0.00039147
15 | 0.011358 | 0.0028467
16 | 0.0077383 | 0.0019394
17 | 0.010895 | 0.0027305
18 | 0.0015615 | 0.00039134
19 | 0.010746 | 0.0026933
20 | 0.01287 | 0.0032255
21 | 0.021389 | 0.0053606
22 | 0.046752 | 0.011717
23 | 0.0019348 | 0.00048491
24 | 0.0032027 | 0.00080268
25 | 0.003228 | 0.00080901
26 | 0.0037876 | 0.00094926
27 | 0.0014005 | 0.00035099
28 | 0.0012632 | 0.00031658
29 | 0.0012403 | 0.00031086
30 | 0.0003281 | 8.223e-05

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object
62 | res_bus | vm_pu | float64
63 | res_bus | va_degree | float64
64 | res_bus | p_mw | float64
65 | res_bus | q_mvar | float64
66 | res_line | p_from_mw | float64
67 | res_line | q_from_mvar | float64
68 | res_line | p_to_mw | float64
69 | res_line | q_to_mvar | float64
70 | res_line | pl_mw | float64
71 | res_line | ql_mvar | float64
72 | res_line | i_from_ka | float64
73 | res_line | i_to_ka | float64
74 | res_line | i_ka | float64
75 | res_line | vm_from_pu | float64
76 | res_line | va_from_degree | float64
77 | res_line | vm_to_pu | float64
78 | res_line | va_to_degree | float64
79 | res_line | loading_percent | float64
80 | res_trafo | p_hv_mw | float64
81 | res_trafo | q_hv_mvar | float64
82 | res_trafo | p_lv_mw | float64
83 | res_trafo | q_lv_mvar | float64
84 | res_trafo | pl_mw | float64
85 | res_trafo | ql_mvar | float64
86 | res_trafo | i_hv_ka | float64
87 | res_trafo | i_lv_ka | float64
88 | res_trafo | vm_hv_pu | float64
89 | res_trafo | va_hv_degree | float64
90 | res_trafo | vm_lv_pu | float64
91 | res_trafo | va_lv_degree | float64
92 | res_trafo | loading_percent | float64
93 | res_ext_grid | p_mw | float64
94 | res_ext_grid | q_mvar | float64
95 | res_load | p_mw | float64
96 | res_load | q_mvar | float64

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | TRUE | FALSE |  | 50 | 1