## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_1084-8_0_2_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_1084-8_0_2_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_1084-8_0_2_node_6 | 0.4 | n |  | TRUE
3 | bus_LV_1084-8_0_2_node_3 | 0.4 | n |  | TRUE
4 | bus_LV_1084-8_0_2_node_4 | 0.4 | n |  | TRUE
5 | bus_LV_1084-8_0_2_node_5 | 0.4 | n |  | TRUE
6 | bus_LV_1084-8_0_2_node_72 | 0.4 | n |  | TRUE
7 | bus_LV_1084-8_0_2_node_73 | 0.4 | n |  | TRUE
8 | bus_LV_1084-8_0_2_node_69 | 0.4 | n |  | TRUE
9 | bus_LV_1084-8_0_2_node_7 | 0.4 | n |  | TRUE
10 | bus_LV_1084-8_0_2_node_89 | 0.4 | n |  | TRUE
11 | bus_LV_1084-8_0_2_node_86 | 0.4 | n |  | TRUE
12 | bus_LV_1084-8_0_2_node_48 | 0.4 | n |  | TRUE
13 | bus_LV_1084-8_0_2_node_50 | 0.4 | n |  | TRUE
14 | bus_LV_1084-8_0_2_node_53 | 0.4 | n |  | TRUE
15 | bus_LV_1084-8_0_2_node_57 | 0.4 | n |  | TRUE
16 | bus_LV_1084-8_0_2_node_63 | 0.4 | n |  | TRUE
17 | bus_LV_1084-8_0_2_node_64 | 0.4 | n |  | TRUE
18 | bus_LV_1084-8_0_2_node_65 | 0.4 | n |  | TRUE
19 | bus_LV_1084-8_0_2_node_66 | 0.4 | n |  | TRUE
20 | bus_LV_1084-8_0_2_node_68 | 0.4 | n |  | TRUE
21 | bus_LV_1084-8_0_2_node_76 | 0.4 | n |  | TRUE
22 | bus_LV_1084-8_0_2_node_77 | 0.4 | n |  | TRUE
23 | bus_LV_1084-8_0_2_node_75 | 0.4 | n |  | TRUE
24 | bus_LV_1084-8_0_2_node_71 | 0.4 | n |  | TRUE
25 | bus_LV_1084-8_0_2_node_85 | 0.4 | n |  | TRUE
26 | bus_LV_1084-8_0_2_node_74 | 0.4 | n |  | TRUE
27 | bus_LV_1084-8_0_2_node_78 | 0.4 | n |  | TRUE
28 | bus_LV_1084-8_0_2_node_80 | 0.4 | n |  | TRUE
29 | bus_LV_1084-8_0_2_node_81 | 0.4 | n |  | TRUE
30 | bus_LV_1084-8_0_2_node_82 | 0.4 | n |  | TRUE
31 | bus_LV_1084-8_0_2_node_84 | 0.4 | n |  | TRUE
32 | bus_LV_1084-8_0_2_node_87 | 0.4 | n |  | TRUE
33 | bus_LV_1084-8_0_2_node_88 | 0.4 | n |  | TRUE
34 | bus_LV_1084-8_0_2_node_90 | 0.4 | n |  | TRUE
35 | bus_LV_1084-8_0_2_node_91 | 0.4 | n |  | TRUE
36 | bus_LV_1084-8_0_2_node_92 | 0.4 | n |  | TRUE
37 | bus_MV_0_node_69 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_1084-8_0_2_load_0 | 0 | 0.0032316 | 0.00080991 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_1084-8_0_2_load_6 | 2 | 0.001214 | 0.00030425 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_1084-8_0_2_load_5 | 5 | 0.00062681 | 0.00015709 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_1084-8_0_2_load_72 | 6 | 0.0045722 | 0.0011459 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_1084-8_0_2_load_73 | 7 | 0.0004526 | 0.00011343 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_1084-8_0_2_load_69 | 8 | 0.00065728 | 0.00016473 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_1084-8_0_2_load_89 | 10 | 0.00091719 | 0.00022987 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_1084-8_0_2_load_86 | 11 | 0.0027726 | 0.00069487 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_1084-8_0_2_load_48 | 12 | 0.00048184 | 0.00012076 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_1084-8_0_2_load_53 | 14 | 0.0013401 | 0.00033587 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_1084-8_0_2_load_57 | 15 | 0.0010201 | 0.00025565 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_1084-8_0_2_load_63 | 16 | 0.00069835 | 0.00017502 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_1084-8_0_2_load_64 | 17 | 0.0013935 | 0.00034923 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_1084-8_0_2_load_76 | 21 | 0.00092296 | 0.00023132 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_1084-8_0_2_load_75 | 23 | 0.0029425 | 0.00073747 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_1084-8_0_2_load_71 | 24 | 0.0010552 | 0.00026446 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_1084-8_0_2_load_74 | 26 | 0.0011095 | 0.00027807 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_1084-8_0_2_load_78 | 27 | 0.00060939 | 0.00015273 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_1084-8_0_2_load_80 | 28 | 0.00088994 | 0.00022304 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_1084-8_0_2_load_81 | 29 | 0.00022715 | 5.693e-05 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_1084-8_0_2_load_82 | 30 | 0.0012077 | 0.00030269 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_1084-8_0_2_load_84 | 31 | 0.00062249 | 0.00015601 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_1084-8_0_2_load_87 | 32 | 0.0011235 | 0.00028157 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_1084-8_0_2_load_88 | 33 | 0.00026775 | 6.7104e-05 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_1084-8_0_2_load_90 | 34 | 0.00096922 | 0.00024291 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_1084-8_0_2_load_91 | 35 | 0.0028981 | 0.00072632 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_1084-8_0_2_load_92 | 36 | 0.0032759 | 0.00082101 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 8 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_1084-8_0_2_line_0 | NAYY 4x150 SE | 0 | 1 | 0.064861 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
1 | LV_1084-8_0_2_line_1 | NAYY 4x150 SE | 0 | 2 | 0.18268 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
2 | LV_1084-8_0_2_line_2 | NAYY 4x150 SE | 1 | 3 | 0.10541 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
3 | LV_1084-8_0_2_line_3 | NAYY 4x150 SE | 2 | 9 | 0.0092941 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
4 | LV_1084-8_0_2_line_4 | NAYY 4x150 SE | 3 | 4 | 0.007285 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
5 | LV_1084-8_0_2_line_5 | NAYY 4x150 SE | 3 | 5 | 0.019887 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
6 | LV_1084-8_0_2_line_6 | NAYY 4x150 SE | 4 | 6 | 0.025117 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
7 | LV_1084-8_0_2_line_7 | NAYY 4x150 SE | 4 | 7 | 0.052975 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
8 | LV_1084-8_0_2_line_8 | NAYY 4x150 SE | 5 | 8 | 0.018304 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
9 | LV_1084-8_0_2_line_9 | NAYY 4x150 SE | 6 | 15 | 0.0046347 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
10 | LV_1084-8_0_2_line_10 | NAYY 4x150 SE | 8 | 18 | 0.4259 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
11 | LV_1084-8_0_2_line_11 | NAYY 4x150 SE | 9 | 10 | 0.0071237 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
12 | LV_1084-8_0_2_line_12 | NAYY 4x150 SE | 9 | 11 | 0.028992 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
13 | LV_1084-8_0_2_line_13 | NAYY 4x150 SE | 10 | 35 | 0.029915 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
14 | LV_1084-8_0_2_line_14 | NAYY 4x150 SE | 11 | 32 | 0.028869 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
15 | LV_1084-8_0_2_line_15 | NAYY 4x150 SE | 12 | 13 | 0.16796 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
16 | LV_1084-8_0_2_line_16 | NAYY 4x150 SE | 13 | 14 | 0.021835 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
17 | LV_1084-8_0_2_line_17 | NAYY 4x150 SE | 14 | 15 | 0.048941 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
18 | LV_1084-8_0_2_line_18 | NAYY 4x150 SE | 16 | 17 | 0.056858 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
19 | LV_1084-8_0_2_line_19 | NAYY 4x150 SE | 16 | 18 | 0.1701 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
20 | LV_1084-8_0_2_line_20 | NAYY 4x150 SE | 17 | 19 | 0.020254 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
21 | LV_1084-8_0_2_line_21 | NAYY 4x150 SE | 19 | 20 | 0.024852 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
22 | LV_1084-8_0_2_line_22 | NAYY 4x150 SE | 20 | 21 | 0.026191 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
23 | LV_1084-8_0_2_line_23 | NAYY 4x150 SE | 20 | 22 | 0.036859 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
24 | LV_1084-8_0_2_line_24 | NAYY 4x150 SE | 20 | 23 | 0.049166 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
25 | LV_1084-8_0_2_line_25 | NAYY 4x150 SE | 21 | 27 | 0.0071541 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
26 | LV_1084-8_0_2_line_26 | NAYY 4x150 SE | 22 | 28 | 0.016572 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
27 | LV_1084-8_0_2_line_27 | NAYY 4x150 SE | 23 | 26 | 0.029627 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
28 | LV_1084-8_0_2_line_28 | NAYY 4x150 SE | 24 | 25 | 0.021123 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
29 | LV_1084-8_0_2_line_29 | NAYY 4x150 SE | 25 | 28 | 0.034919 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
30 | LV_1084-8_0_2_line_30 | NAYY 4x150 SE | 25 | 31 | 0.024781 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
31 | LV_1084-8_0_2_line_31 | NAYY 4x150 SE | 27 | 29 | 0.022253 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
32 | LV_1084-8_0_2_line_32 | NAYY 4x150 SE | 29 | 30 | 0.021121 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
33 | LV_1084-8_0_2_line_33 | NAYY 4x150 SE | 32 | 33 | 0.023154 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
34 | LV_1084-8_0_2_line_34 | NAYY 4x150 SE | 33 | 34 | 0.024893 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
35 | LV_1084-8_0_2_line_35 | NAYY 4x150 SE | 34 | 36 | 0.032758 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_1084-8_0_2_trafo_69 | 0.25 MVA 20/0.4 kV | 37 | 8 | 0.25 | 20 | 0.4 | 6 | 1.44 | 0.8 | 0.32 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4
0 | 2655991.2425 | 1222883.9752 | 2655989.2496 | 1222884.6013 | 2655981.5657 | 1222884.7292 | 2655977.1819 | 1222883.1426 | 2655928.4376 | 1222870.233
1 | 2655928.4376 | 1222870.233 | 2655895.4463 | 1223049.9096
2 | 2656083.5113 | 1222833.9676 | 2656076.1823 | 1222841.5033 | 2656066.0968 | 1222846.9896 | 2656037.443 | 1222858.3715 | 2655991.2425 | 1222883.9752
3 | 2655895.9121 | 1223059.1001 | 2655896.3584 | 1223055.1796 | 2655895.4463 | 1223049.9096
4 | 2656083.5113 | 1222833.9676 | 2656078.0738 | 1222829.1023
5 | 2656083.5113 | 1222833.9676 | 2656099.4683 | 1222845.8365
6 | 2656078.0738 | 1222829.1023 | 2656067.187 | 1222823.0405 | 2656055.5711 | 1222818.0158
7 | 2656078.0738 | 1222829.1023 | 2656084.4997 | 1222820.8243 | 2656114.954 | 1222791.1858
8 | 2656114.419 | 1222856.3338 | 2656111.8066 | 1222855.0138 | 2656099.4683 | 1222845.8365
9 | 2656051.3173 | 1222816.1757 | 2656051.3173 | 1222816.1757 | 2656055.5711 | 1222818.0158
10 | 2656114.419 | 1222856.3338 | 2656432.2587 | 1223139.8296
11 | 2655895.9121 | 1223059.1001 | 2655899.9298 | 1223064.9415 | 2655899.9445 | 1223064.9722
12 | 2655895.9121 | 1223059.1001 | 2655893.2891 | 1223062.2219 | 2655870.3728 | 1223071.9984
13 | 2655915.4069 | 1223090.1357 | 2655909.0567 | 1223083.9389 | 2655899.9445 | 1223064.9722
14 | 2655870.3728 | 1223071.9984 | 2655843.8194 | 1223083.3266
15 | 2656005.6874 | 1222762.5354 | 2655938.5605 | 1222680.8872 | 2655899.5282 | 1222632.3873
16 | 2656005.6874 | 1222762.5354 | 2656018.7224 | 1222780.0528
17 | 2656051.3173 | 1222816.1757 | 2656045.333 | 1222812.1836 | 2656027.0325 | 1222791.2206 | 2656018.7224 | 1222780.0528
18 | 2656586.3998 | 1223070.2286 | 2656590.7821 | 1223068.0331 | 2656636.0579 | 1223042.5462
19 | 2656432.2587 | 1223139.8296 | 2656438.7997 | 1223140.2251 | 2656450.1989 | 1223136.9422 | 2656476.0009 | 1223125.5352 | 2656586.3998 | 1223070.2286
20 | 2656652.3256 | 1223030.5281 | 2656638.833 | 1223040.9841 | 2656636.0579 | 1223042.5462
21 | 2656675.2099 | 1223023.7749 | 2656666.4793 | 1223023.1359 | 2656657.8495 | 1223026.2557 | 2656652.3256 | 1223030.5281
22 | 2656675.2099 | 1223023.7749 | 2656687.9144 | 1223015.6574 | 2656697.7022 | 1223010.391
23 | 2656709.7594 | 1223036.0113 | 2656686.0338 | 1223029.9706 | 2656675.2099 | 1223023.7749
24 | 2656675.2099 | 1223023.7749 | 2656674.1946 | 1223002.9633 | 2656670.6921 | 1222986.0973 | 2656663.2784 | 1222977.8307
25 | 2656697.7022 | 1223010.391 | 2656704.0022 | 1223007.0013
26 | 2656709.7594 | 1223036.0113 | 2656716.1075 | 1223043.9323 | 2656718.8261 | 1223049.749
27 | 2656641.2768 | 1222972.0684 | 2656651.9763 | 1222965.2284 | 2656663.2784 | 1222977.8307
28 | 2656736.4825 | 1223079.2594 | 2656731.8924 | 1223099.8773
29 | 2656736.4825 | 1223079.2594 | 2656729.7979 | 1223073.2253 | 2656718.8261 | 1223049.749
30 | 2656736.4825 | 1223079.2594 | 2656741.8792 | 1223055.0731
31 | 2656704.0022 | 1223007.0013 | 2656709.457 | 1223004.0663 | 2656724.5539 | 1222998.5917
32 | 2656744.4093 | 1222991.3915 | 2656724.5539 | 1222998.5917
33 | 2655843.8194 | 1223083.3266 | 2655822.5227 | 1223092.4122
34 | 2655799.6263 | 1223102.1802 | 2655822.5227 | 1223092.4122
35 | 2655799.6263 | 1223102.1802 | 2655769.4953 | 1223115.0346

## bus_geodata
| x | y | coords
0 | 2655928.4376 | 1222870.233
1 | 2655991.2425 | 1222883.9752
2 | 2655895.4463 | 1223049.9096
3 | 2656083.5113 | 1222833.9676
4 | 2656078.0738 | 1222829.1023
5 | 2656099.4683 | 1222845.8365
6 | 2656055.5711 | 1222818.0158
7 | 2656114.954 | 1222791.1858
8 | 2656114.419 | 1222856.3338
9 | 2655895.9121 | 1223059.1001
10 | 2655899.9445 | 1223064.9722
11 | 2655870.3728 | 1223071.9984
12 | 2655899.5282 | 1222632.3873
13 | 2656005.6874 | 1222762.5354
14 | 2656018.7224 | 1222780.0528
15 | 2656051.3173 | 1222816.1757
16 | 2656586.3998 | 1223070.2286
17 | 2656636.0579 | 1223042.5462
18 | 2656432.2587 | 1223139.8296
19 | 2656652.3256 | 1223030.5281
20 | 2656675.2099 | 1223023.7749
21 | 2656697.7022 | 1223010.391
22 | 2656709.7594 | 1223036.0113
23 | 2656663.2784 | 1222977.8307
24 | 2656731.8924 | 1223099.8773
25 | 2656736.4825 | 1223079.2594
26 | 2656641.2768 | 1222972.0684
27 | 2656704.0022 | 1223007.0013
28 | 2656718.8261 | 1223049.749
29 | 2656724.5539 | 1222998.5917
30 | 2656744.4093 | 1222991.3915
31 | 2656741.8792 | 1223055.0731
32 | 2655843.8194 | 1223083.3266
33 | 2655822.5227 | 1223092.4122
34 | 2655799.6263 | 1223102.1802
35 | 2655915.4069 | 1223090.1357
36 | 2655769.4953 | 1223115.0346
37 | 2656114.419 | 1222856.3338

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## res_bus
| vm_pu | va_degree | p_mw | q_mvar
0 | 0.99456 | -0.03811 | 0.0032316 | 0.00080991
1 | 0.99611 | -0.027192 | 0 | 0
2 | 0.99103 | -0.063017 | 0.001214 | 0.00030425
3 | 0.99864 | -0.0095125 | 0 | 0
4 | 0.99856 | -0.010088 | 0 | 0
5 | 0.99934 | -0.0046158 | 0.00062681 | 0.00015709
6 | 0.99829 | -0.011959 | 0.0045722 | 0.0011459
7 | 0.99852 | -0.01033 | 0.0004526 | 0.00011343
8 | 1 | 0 | -0.037932 | -0.0093206
9 | 0.99086 | -0.064173 | 0 | 0
10 | 0.99082 | -0.064449 | 0.00091719 | 0.00022987
11 | 0.99051 | -0.066656 | 0.0027726 | 0.00069487
12 | 0.99802 | -0.013929 | 0.00048184 | 0.00012076
13 | 0.99813 | -0.013105 | 0 | 0
14 | 0.99815 | -0.012996 | 0.0013401 | 0.00033587
15 | 0.99827 | -0.012092 | 0.0010201 | 0.00025565
16 | 0.98996 | -0.070571 | 0.00069835 | 0.00017502
17 | 0.98906 | -0.076954 | 0.0013935 | 0.00034923
18 | 0.99283 | -0.050319 | 0 | 0
19 | 0.98878 | -0.078942 | 0 | 0
20 | 0.98844 | -0.081383 | 0 | 0
21 | 0.98833 | -0.082178 | 0.00092296 | 0.00023132
22 | 0.9883 | -0.082354 | 0 | 0
23 | 0.98815 | -0.083421 | 0.0029425 | 0.00073747
24 | 0.98813 | -0.083619 | 0.0010552 | 0.00026446
25 | 0.98816 | -0.083391 | 0 | 0
26 | 0.98811 | -0.083758 | 0.0011095 | 0.00027807
27 | 0.98831 | -0.082328 | 0.00060939 | 0.00015273
28 | 0.98824 | -0.08279 | 0.00088994 | 0.00022304
29 | 0.98826 | -0.082655 | 0.00022715 | 5.693e-05
30 | 0.98822 | -0.082916 | 0.0012077 | 0.00030269
31 | 0.98814 | -0.083549 | 0.00062249 | 0.00015601
32 | 0.99028 | -0.068314 | 0.0011235 | 0.00028157
33 | 0.99013 | -0.069379 | 0.00026775 | 6.7104e-05
34 | 0.98997 | -0.070456 | 0.00096922 | 0.00024291
35 | 0.9907 | -0.065331 | 0.0028981 | 0.00072632
36 | 0.98982 | -0.07155 | 0.0032759 | 0.00082101
37 | 0.99998 | 149.9947 | 0 | 0

## res_line
| p_from_mw | q_from_mvar | p_to_mw | q_to_mvar | pl_mw | ql_mvar | i_from_ka | i_to_ka | i_ka | vm_from_pu | va_from_degree | vm_to_pu | va_to_degree | loading_percent
0 | -0.016725 | -0.0041942 | 0.01675 | 0.0042031 | 2.5343e-05 | 8.9044e-06 | 0.025024 | 0.025023 | 0.025024 | 0.99456 | -0.03811 | 0.99611 | -0.027192 | 9.268
1 | 0.013493 | 0.0033843 | -0.013447 | -0.0033688 | 4.6463e-05 | 1.5508e-05 | 0.020189 | 0.020189 | 0.020189 | 0.99456 | -0.03811 | 0.99103 | -0.063017 | 7.4776
2 | -0.01675 | -0.0042031 | 0.016791 | 0.0042176 | 4.1188e-05 | 1.4466e-05 | 0.025023 | 0.025023 | 0.025023 | 0.99611 | -0.027192 | 0.99864 | -0.0095125 | 9.2679
3 | 0.012233 | 0.0030645 | -0.012231 | -0.0030639 | 1.9564e-06 | 6.3272e-07 | 0.018367 | 0.018367 | 0.018367 | 0.99103 | -0.063017 | 0.99086 | -0.064173 | 6.8025
4 | 0.0078697 | 0.0019684 | -0.0078691 | -0.0019683 | 6.2493e-07 | 1.4505e-07 | 0.011725 | 0.011725 | 0.011725 | 0.99864 | -0.0095125 | 0.99856 | -0.010088 | 4.3426
5 | -0.024661 | -0.006186 | 0.024678 | 0.0061922 | 1.6758e-05 | 6.1849e-06 | 0.036748 | 0.036748 | 0.036748 | 0.99864 | -0.0095125 | 0.99934 | -0.0046158 | 13.6103
6 | 0.0074165 | 0.0018555 | -0.0074146 | -0.0018551 | 1.914e-06 | 4.0766e-07 | 0.011051 | 0.011051 | 0.011051 | 0.99856 | -0.010088 | 0.99829 | -0.011959 | 4.0929
7 | 0.00045262 | 0.00011275 | -0.0004526 | -0.00011343 | 1.5033e-08 | -6.8719e-07 | 0.00067423 | 0.00067448 | 0.00067448 | 0.99856 | -0.010088 | 0.99852 | -0.01033 | 0.24981
8 | -0.025304 | -0.0063493 | 0.025321 | 0.0063553 | 1.6217e-05 | 5.9974e-06 | 0.037681 | 0.037681 | 0.037681 | 0.99934 | -0.0046158 | 1 | 0 | 13.9559
9 | 0.0028424 | 0.00070923 | -0.0028423 | -0.00070927 | 5.1886e-08 | -4.064e-08 | 0.0042356 | 0.0042357 | 0.0042357 | 0.99829 | -0.011959 | 0.99827 | -0.012092 | 1.5688
10 | 0.011812 | 0.0029653 | -0.011729 | -0.0029392 | 8.2122e-05 | 2.6038e-05 | 0.017578 | 0.017579 | 0.017579 | 1 | 0 | 0.99283 | -0.050319 | 6.5109
11 | 0.0038157 | 0.0009559 | -0.0038156 | -0.00095594 | 1.4596e-07 | -3.5618e-08 | 0.0057301 | 0.0057301 | 0.0057301 | 0.99086 | -0.064173 | 0.99082 | -0.064449 | 2.1223
12 | 0.0084149 | 0.002108 | -0.008412 | -0.0021072 | 2.8889e-06 | 7.378e-07 | 0.012637 | 0.012637 | 0.012637 | 0.99086 | -0.064173 | 0.99051 | -0.066656 | 4.6803
13 | 0.0028984 | 0.00072607 | -0.0028981 | -0.00072632 | 3.5368e-07 | -2.4921e-07 | 0.0043527 | 0.0043529 | 0.0043529 | 0.99082 | -0.064449 | 0.9907 | -0.065331 | 1.6122
14 | 0.0056394 | 0.0014124 | -0.0056381 | -0.0014122 | 1.2929e-06 | 1.2575e-07 | 0.0084716 | 0.0084717 | 0.0084717 | 0.99051 | -0.066656 | 0.99028 | -0.068314 | 3.1377
15 | -0.00048184 | -0.00012076 | 0.0004819 | 0.00011859 | 5.4033e-08 | -2.1742e-06 | 0.00071841 | 0.00071765 | 0.00071841 | 0.99802 | -0.013929 | 0.99813 | -0.013105 | 0.26608
16 | -0.0004819 | -0.00011859 | 0.0004819 | 0.0001183 | 7.0162e-09 | -2.827e-07 | 0.00071765 | 0.00071755 | 0.00071765 | 0.99813 | -0.013105 | 0.99815 | -0.012996 | 0.2658
17 | -0.001822 | -0.00045417 | 0.0018223 | 0.00045362 | 2.2516e-07 | -5.5318e-07 | 0.0027154 | 0.0027152 | 0.0027154 | 0.99815 | -0.012996 | 0.99827 | -0.012092 | 1.0057
18 | 0.010998 | 0.0027538 | -0.010989 | -0.0027508 | 9.6953e-06 | 2.9986e-06 | 0.016531 | 0.016531 | 0.016531 | 0.98996 | -0.070571 | 0.98906 | -0.076954 | 6.1225
19 | -0.011697 | -0.0029288 | 0.011729 | 0.0029392 | 3.2804e-05 | 1.0424e-05 | 0.01758 | 0.017579 | 0.01758 | 0.98996 | -0.070571 | 0.99283 | -0.050319 | 6.5112
20 | 0.0095951 | 0.0024016 | -0.0095925 | -0.0024008 | 2.6333e-06 | 7.5295e-07 | 0.014434 | 0.014435 | 0.014435 | 0.98906 | -0.076954 | 0.98878 | -0.078942 | 5.3461
21 | 0.0095925 | 0.0024008 | -0.0095893 | -0.0023999 | 3.2311e-06 | 9.2408e-07 | 0.014435 | 0.014435 | 0.014435 | 0.98878 | -0.078942 | 0.98844 | -0.081383 | 5.3462
22 | 0.0029677 | 0.00074285 | -0.0029674 | -0.00074306 | 3.2617e-07 | -2.1022e-07 | 0.0044673 | 0.0044674 | 0.0044674 | 0.98844 | -0.081383 | 0.98833 | -0.082178 | 1.6546
23 | 0.0025683 | 0.00064205 | -0.002568 | -0.00064239 | 3.4374e-07 | -3.4018e-07 | 0.0038658 | 0.003866 | 0.003866 | 0.98844 | -0.081383 | 0.9883 | -0.082354 | 1.4318
24 | 0.0040532 | 0.001015 | -0.0040521 | -0.0010152 | 1.1422e-06 | -1.9071e-07 | 0.0061015 | 0.0061017 | 0.0061017 | 0.98844 | -0.081383 | 0.98815 | -0.083421 | 2.2599
25 | 0.0020444 | 0.00051175 | -0.0020444 | -0.00051183 | 4.229e-08 | -7.5411e-08 | 0.0030778 | 0.0030779 | 0.0030779 | 0.98833 | -0.082178 | 0.98831 | -0.082328 | 1.14
26 | 0.002568 | 0.00064239 | -0.0025678 | -0.00064254 | 1.5455e-07 | -1.5289e-07 | 0.003866 | 0.0038661 | 0.0038661 | 0.9883 | -0.082354 | 0.98824 | -0.08279 | 1.4319
27 | 0.0011096 | 0.00027771 | -0.0011095 | -0.00027806 | 5.1606e-08 | -3.5966e-07 | 0.0016707 | 0.0016708 | 0.0016708 | 0.98815 | -0.083421 | 0.98811 | -0.083758 | 0.61882
28 | -0.0010552 | -0.00026446 | 0.0010552 | 0.0002642 | 3.3279e-08 | -2.5778e-07 | 0.001589 | 0.0015889 | 0.001589 | 0.98813 | -0.083619 | 0.98816 | -0.083391 | 0.58853
29 | -0.0016777 | -0.0004199 | 0.0016779 | 0.0004195 | 1.3905e-07 | -3.9388e-07 | 0.0025262 | 0.0025261 | 0.0025262 | 0.98816 | -0.083391 | 0.98824 | -0.08279 | 0.93564
30 | 0.00062251 | 0.0001557 | -0.00062249 | -0.00015601 | 1.3586e-08 | -3.1222e-07 | 0.00093729 | 0.0009374 | 0.0009374 | 0.98816 | -0.083391 | 0.98814 | -0.083549 | 0.34719
31 | 0.001435 | 0.0003591 | -0.0014349 | -0.00035936 | 6.4811e-08 | -2.6022e-07 | 0.0021604 | 0.0021605 | 0.0021605 | 0.98831 | -0.082328 | 0.98826 | -0.082655 | 0.80017
32 | 0.0012078 | 0.00030243 | -0.0012077 | -0.00030268 | 4.3583e-08 | -2.5385e-07 | 0.0018184 | 0.0018185 | 0.0018185 | 0.98826 | -0.082655 | 0.98822 | -0.082916 | 0.67353
33 | 0.0045146 | 0.0011307 | -0.004514 | -0.0011307 | 6.6485e-07 | -4.2125e-08 | 0.0067835 | 0.0067836 | 0.0067836 | 0.99028 | -0.068314 | 0.99013 | -0.069379 | 2.5125
34 | 0.0042462 | 0.0010636 | -0.0042456 | -0.0010637 | 6.3253e-07 | -7.6831e-08 | 0.0063813 | 0.0063814 | 0.0063814 | 0.99013 | -0.069379 | 0.98997 | -0.070456 | 2.3635
35 | 0.0032764 | 0.00082078 | -0.0032759 | -0.00082101 | 4.9574e-07 | -2.3046e-07 | 0.0049246 | 0.0049247 | 0.0049247 | 0.98997 | -0.070456 | 0.98982 | -0.07155 | 1.824

## res_trafo
| p_hv_mw | q_hv_mvar | p_lv_mw | q_lv_mvar | pl_mw | ql_mvar | i_hv_ka | i_lv_ka | vm_hv_pu | va_hv_degree | vm_lv_pu | va_lv_degree | loading_percent
0 | -4.4415e-16 | -7.6913e-16 | 0.00079998 | 7.4552e-08 | 0.00079998 | 7.4552e-08 | 2.564e-17 | 0.0011547 | 0.99998 | 149.9947 | 1 | 0 | 0.31999

## res_ext_grid
| p_mw | q_mvar
0 | 0.038589 | 0.0094854

## res_load
| p_mw | q_mvar
0 | 0.0032316 | 0.00080991
1 | 0.001214 | 0.00030425
2 | 0.00062681 | 0.00015709
3 | 0.0045722 | 0.0011459
4 | 0.0004526 | 0.00011343
5 | 0.00065728 | 0.00016473
6 | 0.00091719 | 0.00022987
7 | 0.0027726 | 0.00069487
8 | 0.00048184 | 0.00012076
9 | 0.0013401 | 0.00033587
10 | 0.0010201 | 0.00025565
11 | 0.00069835 | 0.00017502
12 | 0.0013935 | 0.00034923
13 | 0.00092296 | 0.00023132
14 | 0.0029425 | 0.00073747
15 | 0.0010552 | 0.00026446
16 | 0.0011095 | 0.00027807
17 | 0.00060939 | 0.00015273
18 | 0.00088994 | 0.00022304
19 | 0.00022715 | 5.693e-05
20 | 0.0012077 | 0.00030269
21 | 0.00062249 | 0.00015601
22 | 0.0011235 | 0.00028157
23 | 0.00026775 | 6.7104e-05
24 | 0.00096922 | 0.00024291
25 | 0.0028981 | 0.00072632
26 | 0.0032759 | 0.00082101

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object
62 | res_bus | vm_pu | float64
63 | res_bus | va_degree | float64
64 | res_bus | p_mw | float64
65 | res_bus | q_mvar | float64
66 | res_line | p_from_mw | float64
67 | res_line | q_from_mvar | float64
68 | res_line | p_to_mw | float64
69 | res_line | q_to_mvar | float64
70 | res_line | pl_mw | float64
71 | res_line | ql_mvar | float64
72 | res_line | i_from_ka | float64
73 | res_line | i_to_ka | float64
74 | res_line | i_ka | float64
75 | res_line | vm_from_pu | float64
76 | res_line | va_from_degree | float64
77 | res_line | vm_to_pu | float64
78 | res_line | va_to_degree | float64
79 | res_line | loading_percent | float64
80 | res_trafo | p_hv_mw | float64
81 | res_trafo | q_hv_mvar | float64
82 | res_trafo | p_lv_mw | float64
83 | res_trafo | q_lv_mvar | float64
84 | res_trafo | pl_mw | float64
85 | res_trafo | ql_mvar | float64
86 | res_trafo | i_hv_ka | float64
87 | res_trafo | i_lv_ka | float64
88 | res_trafo | vm_hv_pu | float64
89 | res_trafo | va_hv_degree | float64
90 | res_trafo | vm_lv_pu | float64
91 | res_trafo | va_lv_degree | float64
92 | res_trafo | loading_percent | float64
93 | res_ext_grid | p_mw | float64
94 | res_ext_grid | q_mvar | float64
95 | res_load | p_mw | float64
96 | res_load | q_mvar | float64

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | TRUE | FALSE |  | 50 | 1