## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_1084-9_0_2_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_1084-9_0_2_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_1084-9_0_2_node_33 | 0.4 | n |  | TRUE
3 | bus_LV_1084-9_0_2_node_34 | 0.4 | n |  | TRUE
4 | bus_LV_1084-9_0_2_node_2 | 0.4 | n |  | TRUE
5 | bus_LV_1084-9_0_2_node_3 | 0.4 | n |  | TRUE
6 | bus_LV_1084-9_0_2_node_4 | 0.4 | n |  | TRUE
7 | bus_LV_1084-9_0_2_node_5 | 0.4 | n |  | TRUE
8 | bus_LV_1084-9_0_2_node_6 | 0.4 | n |  | TRUE
9 | bus_LV_1084-9_0_2_node_7 | 0.4 | n |  | TRUE
10 | bus_LV_1084-9_0_2_node_8 | 0.4 | n |  | TRUE
11 | bus_LV_1084-9_0_2_node_13 | 0.4 | n |  | TRUE
12 | bus_LV_1084-9_0_2_node_10 | 0.4 | n |  | TRUE
13 | bus_LV_1084-9_0_2_node_14 | 0.4 | n |  | TRUE
14 | bus_LV_1084-9_0_2_node_9 | 0.4 | n |  | TRUE
15 | bus_LV_1084-9_0_2_node_11 | 0.4 | n |  | TRUE
16 | bus_LV_1084-9_0_2_node_12 | 0.4 | n |  | TRUE
17 | bus_LV_1084-9_0_2_node_28 | 0.4 | n |  | TRUE
18 | bus_LV_1084-9_0_2_node_21 | 0.4 | n |  | TRUE
19 | bus_LV_1084-9_0_2_node_29 | 0.4 | n |  | TRUE
20 | bus_LV_1084-9_0_2_node_19 | 0.4 | n |  | TRUE
21 | bus_LV_1084-9_0_2_node_30 | 0.4 | n |  | TRUE
22 | bus_LV_1084-9_0_2_node_31 | 0.4 | n |  | TRUE
23 | bus_LV_1084-9_0_2_node_32 | 0.4 | n |  | TRUE
24 | bus_LV_1084-9_0_2_node_22 | 0.4 | n |  | TRUE
25 | bus_LV_1084-9_0_2_node_15 | 0.4 | n |  | TRUE
26 | bus_LV_1084-9_0_2_node_16 | 0.4 | n |  | TRUE
27 | bus_LV_1084-9_0_2_node_17 | 0.4 | n |  | TRUE
28 | bus_LV_1084-9_0_2_node_20 | 0.4 | n |  | TRUE
29 | bus_LV_1084-9_0_2_node_18 | 0.4 | n |  | TRUE
30 | bus_LV_1084-9_0_2_node_23 | 0.4 | n |  | TRUE
31 | bus_LV_1084-9_0_2_node_24 | 0.4 | n |  | TRUE
32 | bus_LV_1084-9_0_2_node_25 | 0.4 | n |  | TRUE
33 | bus_LV_1084-9_0_2_node_26 | 0.4 | n |  | TRUE
34 | bus_LV_1084-9_0_2_node_27 | 0.4 | n |  | TRUE
35 | bus_MV_354_0_node_54 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_1084-9_0_2_load_0 | 0 | 0.0016856 | 0.00042245 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_1084-9_0_2_load_1 | 1 | 0.0094201 | 0.0023609 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_1084-9_0_2_load_34 | 3 | 0.01708 | 0.0042806 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_1084-9_0_2_load_2 | 4 | 0.009709 | 0.0024333 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_1084-9_0_2_load_5 | 7 | 0.005916 | 0.0014827 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_1084-9_0_2_load_7 | 9 | 0.0032272 | 0.00080881 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_1084-9_0_2_load_8 | 10 | 0.0028942 | 0.00072535 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_1084-9_0_2_load_13 | 11 | 0.0069614 | 0.0017447 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_1084-9_0_2_load_10 | 12 | 0.0083702 | 0.0020978 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_1084-9_0_2_load_9 | 14 | 0.0068074 | 0.0017061 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_1084-9_0_2_load_12 | 16 | 0.00055267 | 0.00013851 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_1084-9_0_2_load_28 | 17 | 0.00033536 | 8.4048e-05 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_1084-9_0_2_load_21 | 18 | 0.0038796 | 0.00097231 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_1084-9_0_2_load_29 | 19 | 0.00042355 | 0.00010615 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_1084-9_0_2_load_19 | 20 | 0.00047144 | 0.00011815 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_1084-9_0_2_load_30 | 21 | 0.00026832 | 6.7248e-05 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_1084-9_0_2_load_32 | 23 | 0.0006099 | 0.00015286 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_1084-9_0_2_load_22 | 24 | 0.002187 | 0.00054811 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_1084-9_0_2_load_15 | 25 | 0.0032228 | 0.00080771 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_1084-9_0_2_load_16 | 26 | 0.014791 | 0.003707 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_1084-9_0_2_load_20 | 28 | 0.0029397 | 0.00073677 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_1084-9_0_2_load_18 | 29 | 0.00073908 | 0.00018523 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_1084-9_0_2_load_23 | 30 | 0.00076578 | 0.00019192 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_1084-9_0_2_load_24 | 31 | 0.0019785 | 0.00049586 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_1084-9_0_2_load_25 | 32 | 0.0027055 | 0.00067807 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_1084-9_0_2_load_27 | 34 | 0.0057859 | 0.0014501 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 11 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_1084-9_0_2_line_0 | NAYY 4x150 SE | 0 | 1 | 0.0015935 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
1 | LV_1084-9_0_2_line_1 | NAYY 4x150 SE | 0 | 2 | 0.18387 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
2 | LV_1084-9_0_2_line_2 | NAYY 4x150 SE | 2 | 3 | 0.030254 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
3 | LV_1084-9_0_2_line_3 | NAYY 4x150 SE | 3 | 9 | 0.042104 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
4 | LV_1084-9_0_2_line_4 | NAYY 4x150 SE | 4 | 5 | 0.01543 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
5 | LV_1084-9_0_2_line_5 | NAYY 4x150 SE | 4 | 6 | 0.044777 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
6 | LV_1084-9_0_2_line_6 | NAYY 4x150 SE | 5 | 7 | 0.0086588 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
7 | LV_1084-9_0_2_line_7 | NAYY 4x150 SE | 5 | 8 | 0.012045 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
8 | LV_1084-9_0_2_line_8 | NAYY 4x150 SE | 6 | 9 | 0.010669 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
9 | LV_1084-9_0_2_line_9 | NAYY 4x150 SE | 7 | 10 | 0.011148 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
10 | LV_1084-9_0_2_line_10 | NAYY 4x150 SE | 8 | 11 | 0.021462 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
11 | LV_1084-9_0_2_line_11 | NAYY 4x150 SE | 8 | 12 | 0.031949 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
12 | LV_1084-9_0_2_line_12 | NAYY 4x150 SE | 11 | 13 | 0.019536 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
13 | LV_1084-9_0_2_line_13 | NAYY 4x150 SE | 12 | 14 | 0.024948 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
14 | LV_1084-9_0_2_line_14 | NAYY 4x150 SE | 13 | 25 | 0.02829 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
15 | LV_1084-9_0_2_line_15 | NAYY 4x150 SE | 13 | 26 | 0.038399 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
16 | LV_1084-9_0_2_line_16 | NAYY 4x150 SE | 15 | 16 | 0.035371 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
17 | LV_1084-9_0_2_line_17 | NAYY 4x150 SE | 15 | 17 | 0.16274 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
18 | LV_1084-9_0_2_line_18 | NAYY 4x150 SE | 16 | 18 | 0.01016 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
19 | LV_1084-9_0_2_line_19 | NAYY 4x150 SE | 17 | 19 | 0.0078082 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
20 | LV_1084-9_0_2_line_20 | NAYY 4x150 SE | 17 | 20 | 0.030943 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
21 | LV_1084-9_0_2_line_21 | NAYY 4x150 SE | 18 | 24 | 0.011872 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
22 | LV_1084-9_0_2_line_22 | NAYY 4x150 SE | 19 | 21 | 0.021754 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
23 | LV_1084-9_0_2_line_23 | NAYY 4x150 SE | 20 | 27 | 0.018219 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
24 | LV_1084-9_0_2_line_24 | NAYY 4x150 SE | 21 | 22 | 0.030332 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
25 | LV_1084-9_0_2_line_25 | NAYY 4x150 SE | 22 | 23 | 0.020165 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
26 | LV_1084-9_0_2_line_26 | NAYY 4x150 SE | 24 | 30 | 0.0010395 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
27 | LV_1084-9_0_2_line_27 | NAYY 4x150 SE | 25 | 27 | 0.12447 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
28 | LV_1084-9_0_2_line_28 | NAYY 4x150 SE | 26 | 28 | 0.021747 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
29 | LV_1084-9_0_2_line_29 | NAYY 4x150 SE | 27 | 29 | 0.029536 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
30 | LV_1084-9_0_2_line_30 | NAYY 4x150 SE | 30 | 31 | 0.032076 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
31 | LV_1084-9_0_2_line_31 | NAYY 4x150 SE | 31 | 32 | 0.034847 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
32 | LV_1084-9_0_2_line_32 | NAYY 4x150 SE | 32 | 33 | 0.021795 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
33 | LV_1084-9_0_2_line_33 | NAYY 4x150 SE | 33 | 34 | 0.027353 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_1084-9_0_2_trafo_13 | 0.25 MVA 20/0.4 kV | 35 | 11 | 0.25 | 20 | 0.4 | 6 | 1.44 | 0.8 | 0.32 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4
0 | 2656246.8097 | 1223521.4026 | 2656246.573 | 1223522.9784
1 | 2656077.27 | 1223594.7053 | 2656246.573 | 1223522.9784
2 | 2656051.7638 | 1223603.1817 | 2656054.8882 | 1223595.9177 | 2656077.27 | 1223594.7053
3 | 2656020.1308 | 1223630.9681 | 2656051.7638 | 1223603.1817
4 | 2655961.5863 | 1223630.4508 | 2655967.1036 | 1223633.2154 | 2655973.2979 | 1223634.9414 | 2655976.0958 | 1223635.3543
5 | 2656020.4247 | 1223641.6331 | 2656015.2956 | 1223641.1401 | 2655976.0958 | 1223635.3543
6 | 2655961.5863 | 1223630.4508 | 2655959.7231 | 1223634.2467 | 2655959.9014 | 1223638.6734
7 | 2655961.5863 | 1223630.4508 | 2655957.0724 | 1223627.4287 | 2655951.8252 | 1223623.3658
8 | 2656020.4247 | 1223641.6331 | 2656020.1308 | 1223630.9681
9 | 2655969.1094 | 1223644.0539 | 2655962.4185 | 1223641.9547 | 2655959.9014 | 1223638.6734
10 | 2655951.8252 | 1223623.3658 | 2655957.1188 | 1223616.8447 | 2655958.9011 | 1223612.7812 | 2655960.3194 | 1223609.5369 | 2655961.3795 | 1223604.5643
11 | 2655951.8252 | 1223623.3658 | 2655944.281 | 1223627.2862 | 2655937.2386 | 1223628.6543 | 2655922.882 | 1223627.2186 | 2655921.0374 | 1223627.2631
12 | 2655959.348 | 1223585.4127 | 2655961.0293 | 1223591.2878 | 2655961.668 | 1223596.7527 | 2655962.1598 | 1223600.9044 | 2655961.3795 | 1223604.5643
13 | 2655896.0972 | 1223627.866 | 2655913.9319 | 1223627.4347 | 2655921.0374 | 1223627.2631
14 | 2655959.348 | 1223585.4127 | 2655955.6927 | 1223579.786 | 2655943.4963 | 1223568.7757 | 2655939.6746 | 1223565.3246
15 | 2655959.348 | 1223585.4127 | 2655961.6918 | 1223572.4489 | 2655966.8256 | 1223547.7524
16 | 2655818.3599 | 1223636.5217 | 2655817.9929 | 1223671.8912
17 | 2655818.3599 | 1223636.5217 | 2655791.9789 | 1223475.9327
18 | 2655817.9929 | 1223671.8912 | 2655817.8881 | 1223681.9901 | 2655817.8666 | 1223682.0469
19 | 2655784.7111 | 1223473.0785 | 2655791.9789 | 1223475.9327
20 | 2655820.7801 | 1223487.2436 | 2655791.9789 | 1223475.9327
21 | 2655813.661 | 1223693.1493 | 2655817.8666 | 1223682.0469
22 | 2655764.4628 | 1223465.1266 | 2655784.7111 | 1223473.0785
23 | 2655837.738 | 1223493.9033 | 2655820.7801 | 1223487.2436
24 | 2655736.2296 | 1223454.0388 | 2655764.4628 | 1223465.1266
25 | 2655736.2296 | 1223454.0388 | 2655732.4354 | 1223464.0318 | 2655727.6571 | 1223472.2144
26 | 2655813.661 | 1223693.1493 | 2655813.2927 | 1223694.1213
27 | 2655939.6746 | 1223565.3246 | 2655837.738 | 1223493.9033
28 | 2655966.8256 | 1223547.7524 | 2655968.2681 | 1223540.8132 | 2655974.3763 | 1223533.1658 | 2655977.8549 | 1223529.7542
29 | 2655837.738 | 1223493.9033 | 2655834.8449 | 1223467.6264 | 2655834.617 | 1223464.5347
30 | 2655813.2927 | 1223694.1213 | 2655813.2927 | 1223694.1213 | 2655799.7884 | 1223702.9114 | 2655784.5534 | 1223698.1464
31 | 2655753.4373 | 1223683.6499 | 2655763.6927 | 1223691.6218 | 2655784.5534 | 1223698.1464
32 | 2655736.2297 | 1223670.2737 | 2655753.4373 | 1223683.6499
33 | 2655736.2297 | 1223670.2737 | 2655762.444 | 1223662.214

## bus_geodata
| x | y | coords
0 | 2656246.573 | 1223522.9784
1 | 2656246.8097 | 1223521.4026
2 | 2656077.27 | 1223594.7053
3 | 2656051.7638 | 1223603.1817
4 | 2655976.0958 | 1223635.3543
5 | 2655961.5863 | 1223630.4508
6 | 2656020.4247 | 1223641.6331
7 | 2655959.9014 | 1223638.6734
8 | 2655951.8252 | 1223623.3658
9 | 2656020.1308 | 1223630.9681
10 | 2655969.1094 | 1223644.0539
11 | 2655961.3795 | 1223604.5643
12 | 2655921.0374 | 1223627.2631
13 | 2655959.348 | 1223585.4127
14 | 2655896.0972 | 1223627.866
15 | 2655818.3599 | 1223636.5217
16 | 2655817.9929 | 1223671.8912
17 | 2655791.9789 | 1223475.9327
18 | 2655817.8666 | 1223682.0469
19 | 2655784.7111 | 1223473.0785
20 | 2655820.7801 | 1223487.2436
21 | 2655764.4628 | 1223465.1266
22 | 2655736.2296 | 1223454.0388
23 | 2655727.6571 | 1223472.2144
24 | 2655813.661 | 1223693.1493
25 | 2655939.6746 | 1223565.3246
26 | 2655966.8256 | 1223547.7524
27 | 2655837.738 | 1223493.9033
28 | 2655977.8549 | 1223529.7542
29 | 2655834.617 | 1223464.5347
30 | 2655813.2927 | 1223694.1213
31 | 2655784.5534 | 1223698.1464
32 | 2655753.4373 | 1223683.6499
33 | 2655736.2297 | 1223670.2737
34 | 2655762.444 | 1223662.214
35 | 2655959.348 | 1223585.4127

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## res_bus
| vm_pu | va_degree | p_mw | q_mvar
0 | 0.98858 | -0.080221 | 0.0016856 | 0.00042245
1 | 0.98856 | -0.080374 | 0.0094201 | 0.0023609
2 | 0.99152 | -0.059412 | 0 | 0
3 | 0.99201 | -0.055997 | 0.01708 | 0.0042806
4 | 0.99622 | -0.026398 | 0.009709 | 0.0024333
5 | 0.99713 | -0.020019 | 0 | 0
6 | 0.9942 | -0.040584 | 0 | 0
7 | 0.99702 | -0.020785 | 0.005916 | 0.0014827
8 | 0.998 | -0.013983 | 0 | 0
9 | 0.99372 | -0.043973 | 0.0032272 | 0.00080881
10 | 0.99698 | -0.021109 | 0.0028942 | 0.00072535
11 | 1 | 0 | -0.10824 | -0.027004
12 | 0.9973 | -0.018847 | 0.0083702 | 0.0020978
13 | 0.99883 | -0.0081449 | 0 | 0
14 | 0.99706 | -0.020551 | 0.0068074 | 0.0017061
15 | 0.98854 | -0.080321 | 0 | 0
16 | 0.98763 | -0.086782 | 0.00055267 | 0.00013851
17 | 0.99274 | -0.05073 | 0.00033536 | 8.4048e-05
18 | 0.98738 | -0.088583 | 0.0038796 | 0.00097231
19 | 0.99273 | -0.050833 | 0.00042355 | 0.00010615
20 | 0.99361 | -0.044614 | 0.00047144 | 0.00011815
21 | 0.9927 | -0.051028 | 0.00026832 | 6.7248e-05
22 | 0.99267 | -0.051216 | 0 | 0
23 | 0.99265 | -0.051341 | 0.0006099 | 0.00015286
24 | 0.98715 | -0.090216 | 0.002187 | 0.00054811
25 | 0.99786 | -0.01494 | 0.0032228 | 0.00080771
26 | 0.99786 | -0.014964 | 0.014791 | 0.003707
27 | 0.99414 | -0.040931 | 0 | 0
28 | 0.99777 | -0.015605 | 0.0029397 | 0.00073677
29 | 0.99411 | -0.041152 | 0.00073908 | 0.00018523
30 | 0.98713 | -0.090336 | 0.00076578 | 0.00019192
31 | 0.98664 | -0.09378 | 0.0019785 | 0.00049586
32 | 0.98622 | -0.096817 | 0.0027055 | 0.00067807
33 | 0.98603 | -0.098112 | 0 | 0
34 | 0.9858 | -0.099738 | 0.0057859 | 0.0014501
35 | 0.99998 | 149.9947 | 0 | 0

## res_line
| p_from_mw | q_from_mvar | p_to_mw | q_to_mvar | pl_mw | ql_mvar | i_from_ka | i_to_ka | i_ka | vm_from_pu | va_from_degree | vm_to_pu | va_to_degree | loading_percent
0 | 0.0094203 | 0.002361 | -0.0094201 | -0.0023609 | 1.9992e-07 | 5.6463e-08 | 0.01418 | 0.01418 | 0.01418 | 0.98858 | -0.080221 | 0.98856 | -0.080374 | 5.2517
1 | -0.011106 | -0.0027834 | 0.011138 | 0.0027934 | 3.2061e-05 | 9.9666e-06 | 0.016717 | 0.016716 | 0.016717 | 0.98858 | -0.080221 | 0.99152 | -0.059412 | 6.1914
2 | -0.011138 | -0.0027934 | 0.011143 | 0.002795 | 5.275e-06 | 1.6384e-06 | 0.016716 | 0.016716 | 0.016716 | 0.99152 | -0.059412 | 0.99201 | -0.055997 | 6.1911
3 | -0.028223 | -0.0070756 | 0.02827 | 0.0070932 | 4.7088e-05 | 1.7566e-05 | 0.042335 | 0.042335 | 0.042335 | 0.99201 | -0.055997 | 0.99372 | -0.043973 | 15.6797
4 | -0.041283 | -0.010364 | 0.04132 | 0.010378 | 3.6617e-05 | 1.3882e-05 | 0.061669 | 0.061669 | 0.061669 | 0.99622 | -0.026398 | 0.99713 | -0.020019 | 22.8405
5 | 0.031574 | 0.0079309 | -0.031512 | -0.0079075 | 6.2162e-05 | 2.3327e-05 | 0.047167 | 0.047168 | 0.047168 | 0.99622 | -0.026398 | 0.9942 | -0.040584 | 17.4695
6 | 0.0088112 | 0.0022082 | -0.0088103 | -0.0022079 | 9.3417e-07 | 2.4636e-07 | 0.013149 | 0.013149 | 0.013149 | 0.99713 | -0.020019 | 0.99702 | -0.020785 | 4.87
7 | -0.050131 | -0.012586 | 0.050173 | 0.012602 | 4.2073e-05 | 1.6025e-05 | 0.074818 | 0.074818 | 0.074818 | 0.99713 | -0.020019 | 0.998 | -0.013983 | 27.7104
8 | 0.031512 | 0.0079075 | -0.031497 | -0.007902 | 1.4811e-05 | 5.5584e-06 | 0.047168 | 0.047168 | 0.047168 | 0.9942 | -0.040584 | 0.99372 | -0.043973 | 17.4695
9 | 0.0028943 | 0.00072525 | -0.0028942 | -0.00072535 | 1.298e-07 | -9.5456e-08 | 0.0043196 | 0.0043196 | 0.0043196 | 0.99702 | -0.020785 | 0.99698 | -0.021109 | 1.5999
10 | -0.065362 | -0.01641 | 0.06549 | 0.016459 | 0.00012722 | 4.8649e-05 | 0.097466 | 0.097466 | 0.097466 | 0.998 | -0.013983 | 1 | 0 | 36.0984
11 | 0.015189 | 0.0038077 | -0.015179 | -0.0038041 | 1.0226e-05 | 3.5158e-06 | 0.022648 | 0.022648 | 0.022648 | 0.998 | -0.013983 | 0.9973 | -0.018847 | 8.3881
12 | 0.041954 | 0.010545 | -0.041907 | -0.010527 | 4.7526e-05 | 1.8023e-05 | 0.062439 | 0.062439 | 0.062439 | 1 | 0 | 0.99883 | -0.0081449 | 23.1257
13 | 0.006809 | 0.0017064 | -0.0068074 | -0.0017061 | 1.6067e-06 | 2.9251e-07 | 0.010159 | 0.010159 | 0.010159 | 0.9973 | -0.018847 | 0.99706 | -0.020551 | 3.7627
14 | 0.024159 | 0.0060777 | -0.024136 | -0.0060693 | 2.2877e-05 | 8.429e-06 | 0.035999 | 0.035999 | 0.035999 | 0.99883 | -0.0081449 | 0.99786 | -0.01494 | 13.333
15 | 0.017748 | 0.0044495 | -0.017731 | -0.0044435 | 1.6751e-05 | 5.9405e-06 | 0.02644 | 0.02644 | 0.02644 | 0.99883 | -0.0081449 | 0.99786 | -0.014964 | 9.7928
16 | 0.017889 | 0.0044859 | -0.017873 | -0.0044802 | 1.6006e-05 | 5.7031e-06 | 0.026929 | 0.026929 | 0.026929 | 0.98854 | -0.080321 | 0.98763 | -0.086782 | 9.9738
17 | -0.017889 | -0.0044859 | 0.017963 | 0.0045121 | 7.364e-05 | 2.6228e-05 | 0.026929 | 0.026928 | 0.026929 | 0.98854 | -0.080321 | 0.99274 | -0.05073 | 9.9737
18 | 0.017321 | 0.0043417 | -0.017316 | -0.0043401 | 4.3177e-06 | 1.5307e-06 | 0.026096 | 0.026097 | 0.026097 | 0.98763 | -0.086782 | 0.98738 | -0.088583 | 9.6654
19 | 0.0013018 | 0.00032525 | -0.0013018 | -0.00032534 | 1.8546e-08 | -9.3822e-08 | 0.001951 | 0.001951 | 0.001951 | 0.99274 | -0.05073 | 0.99273 | -0.050833 | 0.72259
20 | -0.0196 | -0.0049214 | 0.019617 | 0.0049274 | 1.6669e-05 | 6.0106e-06 | 0.029382 | 0.029382 | 0.029382 | 0.99274 | -0.05073 | 0.99361 | -0.044614 | 10.8822
21 | 0.013437 | 0.0033678 | -0.013434 | -0.0033668 | 3.0378e-06 | 1.0166e-06 | 0.02025 | 0.02025 | 0.02025 | 0.98738 | -0.088583 | 0.98715 | -0.090216 | 7.5
22 | 0.00087827 | 0.00021919 | -0.00087825 | -0.00021946 | 2.3515e-08 | -2.722e-07 | 0.0013161 | 0.0013162 | 0.0013162 | 0.99273 | -0.050833 | 0.9927 | -0.051028 | 0.48749
23 | -0.020088 | -0.0050456 | 0.020099 | 0.0050493 | 1.0292e-05 | 3.7222e-06 | 0.030088 | 0.030088 | 0.030088 | 0.99361 | -0.044614 | 0.99414 | -0.040931 | 11.1436
24 | 0.00060993 | 0.00015221 | -0.00060991 | -0.0001526 | 1.5815e-08 | -3.8606e-07 | 0.00091403 | 0.00091417 | 0.00091417 | 0.9927 | -0.051028 | 0.99267 | -0.051216 | 0.33858
25 | 0.00060991 | 0.0001526 | -0.0006099 | -0.00015286 | 1.0516e-08 | -2.5663e-07 | 0.00091417 | 0.00091426 | 0.00091426 | 0.99267 | -0.051216 | 0.99265 | -0.051341 | 0.33861
26 | 0.011247 | 0.0028187 | -0.011247 | -0.0028186 | 1.8642e-07 | 5.8413e-08 | 0.016953 | 0.016953 | 0.016953 | 0.98715 | -0.090216 | 0.98713 | -0.090336 | 6.279
27 | 0.020913 | 0.0052616 | -0.020838 | -0.0052341 | 7.5574e-05 | 2.7447e-05 | 0.031193 | 0.031194 | 0.031194 | 0.99786 | -0.01494 | 0.99414 | -0.040931 | 11.5533
28 | 0.00294 | 0.00073658 | -0.0029397 | -0.00073677 | 2.6083e-07 | -1.8374e-07 | 0.0043841 | 0.0043842 | 0.0043842 | 0.99786 | -0.014964 | 0.99777 | -0.015605 | 1.6238
29 | 0.0007391 | 0.00018486 | -0.00073908 | -0.00018523 | 2.2553e-08 | -3.7427e-07 | 0.0011061 | 0.0011063 | 0.0011063 | 0.99414 | -0.040931 | 0.99411 | -0.041152 | 0.40973
30 | 0.010481 | 0.0026267 | -0.010476 | -0.0026252 | 4.996e-06 | 1.5117e-06 | 0.015799 | 0.015799 | 0.015799 | 0.98713 | -0.090336 | 0.98664 | -0.09378 | 5.8515
31 | 0.0084973 | 0.0021293 | -0.0084937 | -0.0021284 | 3.5711e-06 | 9.2865e-07 | 0.012815 | 0.012815 | 0.012815 | 0.98664 | -0.09378 | 0.98622 | -0.096817 | 4.7464
32 | 0.0057882 | 0.0014503 | -0.0057872 | -0.0014502 | 1.0373e-06 | 1.209e-07 | 0.0087332 | 0.0087333 | 0.0087333 | 0.98622 | -0.096817 | 0.98603 | -0.098112 | 3.2346
33 | 0.0057872 | 0.0014502 | -0.0057859 | -0.0014501 | 1.3018e-06 | 1.5188e-07 | 0.0087333 | 0.0087334 | 0.0087334 | 0.98603 | -0.098112 | 0.9858 | -0.099738 | 3.2346

## res_trafo
| p_hv_mw | q_hv_mvar | p_lv_mw | q_lv_mvar | pl_mw | ql_mvar | i_hv_ka | i_lv_ka | vm_hv_pu | va_hv_degree | vm_lv_pu | va_lv_degree | loading_percent
0 | 2.5187e-16 | 8.8016e-16 | 0.00079998 | 7.4552e-08 | 0.00079998 | 7.4552e-08 | 2.6429e-17 | 0.0011547 | 0.99998 | 149.9947 | 1 | 0 | 0.31999

## res_ext_grid
| p_mw | q_mvar
0 | 0.11521 | 0.028749

## res_load
| p_mw | q_mvar
0 | 0.0016856 | 0.00042245
1 | 0.0094201 | 0.0023609
2 | 0.01708 | 0.0042806
3 | 0.009709 | 0.0024333
4 | 0.005916 | 0.0014827
5 | 0.0032272 | 0.00080881
6 | 0.0028942 | 0.00072535
7 | 0.0069614 | 0.0017447
8 | 0.0083702 | 0.0020978
9 | 0.0068074 | 0.0017061
10 | 0.00055267 | 0.00013851
11 | 0.00033536 | 8.4048e-05
12 | 0.0038796 | 0.00097231
13 | 0.00042355 | 0.00010615
14 | 0.00047144 | 0.00011815
15 | 0.00026832 | 6.7248e-05
16 | 0.0006099 | 0.00015286
17 | 0.002187 | 0.00054811
18 | 0.0032228 | 0.00080771
19 | 0.014791 | 0.003707
20 | 0.0029397 | 0.00073677
21 | 0.00073908 | 0.00018523
22 | 0.00076578 | 0.00019192
23 | 0.0019785 | 0.00049586
24 | 0.0027055 | 0.00067807
25 | 0.0057859 | 0.0014501

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object
62 | res_bus | vm_pu | float64
63 | res_bus | va_degree | float64
64 | res_bus | p_mw | float64
65 | res_bus | q_mvar | float64
66 | res_line | p_from_mw | float64
67 | res_line | q_from_mvar | float64
68 | res_line | p_to_mw | float64
69 | res_line | q_to_mvar | float64
70 | res_line | pl_mw | float64
71 | res_line | ql_mvar | float64
72 | res_line | i_from_ka | float64
73 | res_line | i_to_ka | float64
74 | res_line | i_ka | float64
75 | res_line | vm_from_pu | float64
76 | res_line | va_from_degree | float64
77 | res_line | vm_to_pu | float64
78 | res_line | va_to_degree | float64
79 | res_line | loading_percent | float64
80 | res_trafo | p_hv_mw | float64
81 | res_trafo | q_hv_mvar | float64
82 | res_trafo | p_lv_mw | float64
83 | res_trafo | q_lv_mvar | float64
84 | res_trafo | pl_mw | float64
85 | res_trafo | ql_mvar | float64
86 | res_trafo | i_hv_ka | float64
87 | res_trafo | i_lv_ka | float64
88 | res_trafo | vm_hv_pu | float64
89 | res_trafo | va_hv_degree | float64
90 | res_trafo | vm_lv_pu | float64
91 | res_trafo | va_lv_degree | float64
92 | res_trafo | loading_percent | float64
93 | res_ext_grid | p_mw | float64
94 | res_ext_grid | q_mvar | float64
95 | res_load | p_mw | float64
96 | res_load | q_mvar | float64

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | TRUE | FALSE |  | 50 | 1