## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_1085-3_0_3_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_1085-3_0_3_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_1085-3_0_3_node_2 | 0.4 | n |  | TRUE
3 | bus_LV_1085-3_0_3_node_3 | 0.4 | n |  | TRUE
4 | bus_LV_1085-3_0_3_node_4 | 0.4 | n |  | TRUE
5 | bus_LV_1085-3_0_3_node_5 | 0.4 | n |  | TRUE
6 | bus_LV_1085-3_0_3_node_6 | 0.4 | n |  | TRUE
7 | bus_LV_1085-3_0_3_node_7 | 0.4 | n |  | TRUE
8 | bus_LV_1085-3_0_3_node_19 | 0.4 | n |  | TRUE
9 | bus_LV_1085-3_0_3_node_42 | 0.4 | n |  | TRUE
10 | bus_LV_1085-3_0_3_node_21 | 0.4 | n |  | TRUE
11 | bus_LV_1085-3_0_3_node_28 | 0.4 | n |  | TRUE
12 | bus_LV_1085-3_0_3_node_18 | 0.4 | n |  | TRUE
13 | bus_LV_1085-3_0_3_node_36 | 0.4 | n |  | TRUE
14 | bus_LV_1085-3_0_3_node_16 | 0.4 | n |  | TRUE
15 | bus_LV_1085-3_0_3_node_26 | 0.4 | n |  | TRUE
16 | bus_LV_1085-3_0_3_node_8 | 0.4 | n |  | TRUE
17 | bus_LV_1085-3_0_3_node_9 | 0.4 | n |  | TRUE
18 | bus_LV_1085-3_0_3_node_11 | 0.4 | n |  | TRUE
19 | bus_LV_1085-3_0_3_node_15 | 0.4 | n |  | TRUE
20 | bus_LV_1085-3_0_3_node_12 | 0.4 | n |  | TRUE
21 | bus_LV_1085-3_0_3_node_17 | 0.4 | n |  | TRUE
22 | bus_LV_1085-3_0_3_node_13 | 0.4 | n |  | TRUE
23 | bus_LV_1085-3_0_3_node_14 | 0.4 | n |  | TRUE
24 | bus_LV_1085-3_0_3_node_56 | 0.4 | n |  | TRUE
25 | bus_LV_1085-3_0_3_node_22 | 0.4 | n |  | TRUE
26 | bus_LV_1085-3_0_3_node_20 | 0.4 | n |  | TRUE
27 | bus_LV_1085-3_0_3_node_51 | 0.4 | n |  | TRUE
28 | bus_LV_1085-3_0_3_node_61 | 0.4 | n |  | TRUE
29 | bus_LV_1085-3_0_3_node_59 | 0.4 | n |  | TRUE
30 | bus_LV_1085-3_0_3_node_46 | 0.4 | n |  | TRUE
31 | bus_LV_1085-3_0_3_node_48 | 0.4 | n |  | TRUE
32 | bus_LV_1085-3_0_3_node_44 | 0.4 | n |  | TRUE
33 | bus_LV_1085-3_0_3_node_23 | 0.4 | n |  | TRUE
34 | bus_LV_1085-3_0_3_node_24 | 0.4 | n |  | TRUE
35 | bus_LV_1085-3_0_3_node_25 | 0.4 | n |  | TRUE
36 | bus_LV_1085-3_0_3_node_27 | 0.4 | n |  | TRUE
37 | bus_LV_1085-3_0_3_node_29 | 0.4 | n |  | TRUE
38 | bus_LV_1085-3_0_3_node_52 | 0.4 | n |  | TRUE
39 | bus_LV_1085-3_0_3_node_53 | 0.4 | n |  | TRUE
40 | bus_LV_1085-3_0_3_node_30 | 0.4 | n |  | TRUE
41 | bus_LV_1085-3_0_3_node_31 | 0.4 | n |  | TRUE
42 | bus_LV_1085-3_0_3_node_32 | 0.4 | n |  | TRUE
43 | bus_LV_1085-3_0_3_node_33 | 0.4 | n |  | TRUE
44 | bus_LV_1085-3_0_3_node_34 | 0.4 | n |  | TRUE
45 | bus_LV_1085-3_0_3_node_39 | 0.4 | n |  | TRUE
46 | bus_LV_1085-3_0_3_node_37 | 0.4 | n |  | TRUE
47 | bus_LV_1085-3_0_3_node_38 | 0.4 | n |  | TRUE
48 | bus_LV_1085-3_0_3_node_40 | 0.4 | n |  | TRUE
49 | bus_LV_1085-3_0_3_node_41 | 0.4 | n |  | TRUE
50 | bus_LV_1085-3_0_3_node_43 | 0.4 | n |  | TRUE
51 | bus_LV_1085-3_0_3_node_45 | 0.4 | n |  | TRUE
52 | bus_LV_1085-3_0_3_node_47 | 0.4 | n |  | TRUE
53 | bus_LV_1085-3_0_3_node_49 | 0.4 | n |  | TRUE
54 | bus_LV_1085-3_0_3_node_60 | 0.4 | n |  | TRUE
55 | bus_LV_1085-3_0_3_node_58 | 0.4 | n |  | TRUE
56 | bus_LV_1085-3_0_3_node_54 | 0.4 | n |  | TRUE
57 | bus_LV_1085-3_0_3_node_55 | 0.4 | n |  | TRUE
58 | bus_LV_1085-3_0_3_node_57 | 0.4 | n |  | TRUE
59 | bus_MV_473_0_node_187 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_1085-3_0_3_load_0 | 0 | 0.0058309 | 0.0014614 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_1085-3_0_3_load_1 | 1 | 0.0014801 | 0.00037095 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_1085-3_0_3_load_2 | 2 | 0.0038128 | 0.00095558 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_1085-3_0_3_load_3 | 3 | 0.0021202 | 0.00053138 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_1085-3_0_3_load_5 | 5 | 0.0014807 | 0.00037109 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_1085-3_0_3_load_7 | 7 | 0.0022612 | 0.00056671 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_1085-3_0_3_load_42 | 9 | 0.0029232 | 0.00073264 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_1085-3_0_3_load_21 | 10 | 0.0022612 | 0.00056671 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_1085-3_0_3_load_28 | 11 | 0.0023208 | 0.00058164 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_1085-3_0_3_load_26 | 15 | 0.0023209 | 0.00058168 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_1085-3_0_3_load_8 | 16 | 0.0017575 | 0.00044048 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_1085-3_0_3_load_11 | 18 | 0.0010987 | 0.00027535 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_1085-3_0_3_load_15 | 19 | 0.0019181 | 0.00048071 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_1085-3_0_3_load_17 | 21 | 0.0040035 | 0.0010034 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_1085-3_0_3_load_13 | 22 | 0.015547 | 0.0038965 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_1085-3_0_3_load_56 | 24 | 0.0046241 | 0.0011589 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_1085-3_0_3_load_20 | 26 | 0.014544 | 0.0036451 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_1085-3_0_3_load_61 | 28 | 0.0092193 | 0.0023106 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_1085-3_0_3_load_48 | 31 | 0.0017683 | 0.00044317 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_1085-3_0_3_load_44 | 32 | 0.0051677 | 0.0012951 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_1085-3_0_3_load_23 | 33 | 0.0027456 | 0.00068812 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_1085-3_0_3_load_24 | 34 | 0.0022295 | 0.00055876 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_1085-3_0_3_load_25 | 35 | 0.0022304 | 0.00055899 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_1085-3_0_3_load_27 | 36 | 0.00212 | 0.00053132 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_1085-3_0_3_load_29 | 37 | 0.0014486 | 0.00036305 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_1085-3_0_3_load_52 | 38 | 0.0013473 | 0.00033766 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_1085-3_0_3_load_53 | 39 | 0.0014492 | 0.00036322 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_1085-3_0_3_load_30 | 40 | 0.0025092 | 0.00062887 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_1085-3_0_3_load_31 | 41 | 0.0025452 | 0.00063789 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_1085-3_0_3_load_32 | 42 | 0.0034044 | 0.00085322 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_1085-3_0_3_load_33 | 43 | 0.0025448 | 0.00063779 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_1085-3_0_3_load_34 | 44 | 0.0025114 | 0.00062941 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_1085-3_0_3_load_39 | 45 | 0.0035416 | 0.00088761 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_1085-3_0_3_load_37 | 46 | 0.008508 | 0.0021323 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_1085-3_0_3_load_38 | 47 | 0.0021398 | 0.00053628 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_1085-3_0_3_load_40 | 48 | 0.0017689 | 0.00044332 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_1085-3_0_3_load_41 | 49 | 0.002276 | 0.00057041 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_1085-3_0_3_load_43 | 50 | 0.0024588 | 0.00061622 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_1085-3_0_3_load_47 | 52 | 0.002457 | 0.00061579 | 0 | 0 |  | 1 | TRUE | wye
39 | LV_1085-3_0_3_load_49 | 53 | 0.0034326 | 0.00086029 | 0 | 0 |  | 1 | TRUE | wye
40 | LV_1085-3_0_3_load_60 | 54 | 0.0047377 | 0.0011874 | 0 | 0 |  | 1 | TRUE | wye
41 | LV_1085-3_0_3_load_54 | 56 | 0.0014767 | 0.00037009 | 0 | 0 |  | 1 | TRUE | wye
42 | LV_1085-3_0_3_load_55 | 57 | 0.0014767 | 0.00037009 | 0 | 0 |  | 1 | TRUE | wye
43 | LV_1085-3_0_3_load_57 | 58 | 0.0043442 | 0.0010887 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 14 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_1085-3_0_3_line_0 | NAYY 4x150 SE | 0 | 1 | 0.02861 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
1 | LV_1085-3_0_3_line_1 | NAYY 4x150 SE | 0 | 2 | 0.02769 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
2 | LV_1085-3_0_3_line_2 | NAYY 4x150 SE | 1 | 3 | 0.0038624 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
3 | LV_1085-3_0_3_line_3 | NAYY 4x150 SE | 2 | 4 | 0.032017 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
4 | LV_1085-3_0_3_line_4 | NAYY 4x150 SE | 3 | 5 | 0.004618 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
5 | LV_1085-3_0_3_line_5 | NAYY 4x150 SE | 4 | 6 | 0.0046 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
6 | LV_1085-3_0_3_line_6 | NAYY 4x150 SE | 4 | 7 | 0.0076519 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
7 | LV_1085-3_0_3_line_7 | NAYY 4x150 SE | 5 | 8 | 0.016489 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
8 | LV_1085-3_0_3_line_8 | NAYY 4x150 SE | 6 | 9 | 0.015497 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
9 | LV_1085-3_0_3_line_9 | NAYY 4x150 SE | 6 | 10 | 0.0040222 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
10 | LV_1085-3_0_3_line_10 | NAYY 4x150 SE | 7 | 11 | 0.0113 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
11 | LV_1085-3_0_3_line_11 | NAYY 4x150 SE | 8 | 12 | 0.085138 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
12 | LV_1085-3_0_3_line_12 | NAYY 4x150 SE | 9 | 13 | 0.026284 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
13 | LV_1085-3_0_3_line_13 | NAYY 4x150 SE | 10 | 14 | 0.015106 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
14 | LV_1085-3_0_3_line_14 | NAYY 4x150 SE | 11 | 15 | 0.0080839 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
15 | LV_1085-3_0_3_line_15 | NAYY 4x150 SE | 12 | 21 | 0.052684 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
16 | LV_1085-3_0_3_line_16 | NAYY 4x150 SE | 13 | 45 | 0.043409 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
17 | LV_1085-3_0_3_line_17 | NAYY 4x150 SE | 13 | 44 | 0.0038174 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
18 | LV_1085-3_0_3_line_18 | NAYY 4x150 SE | 14 | 26 | 0.057626 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
19 | LV_1085-3_0_3_line_19 | NAYY 4x150 SE | 14 | 22 | 0.078904 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
20 | LV_1085-3_0_3_line_20 | NAYY 4x150 SE | 15 | 34 | 0.014759 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
21 | LV_1085-3_0_3_line_21 | NAYY 4x150 SE | 16 | 17 | 0.011083 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
22 | LV_1085-3_0_3_line_22 | NAYY 4x150 SE | 17 | 18 | 0.024354 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
23 | LV_1085-3_0_3_line_23 | NAYY 4x150 SE | 18 | 19 | 0.025492 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
24 | LV_1085-3_0_3_line_24 | NAYY 4x150 SE | 19 | 20 | 0.018908 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
25 | LV_1085-3_0_3_line_25 | NAYY 4x150 SE | 20 | 21 | 0.01659 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
26 | LV_1085-3_0_3_line_26 | NAYY 4x150 SE | 23 | 24 | 0.068069 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
27 | LV_1085-3_0_3_line_27 | NAYY 4x150 SE | 23 | 25 | 0.035442 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
28 | LV_1085-3_0_3_line_28 | NAYY 4x150 SE | 25 | 26 | 0.057757 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
29 | LV_1085-3_0_3_line_29 | NAYY 4x150 SE | 25 | 27 | 0.048905 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
30 | LV_1085-3_0_3_line_30 | NAYY 4x150 SE | 27 | 28 | 0.005264 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
31 | LV_1085-3_0_3_line_31 | NAYY 4x150 SE | 27 | 29 | 0.032359 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
32 | LV_1085-3_0_3_line_32 | NAYY 4x150 SE | 29 | 54 | 0.004869 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
33 | LV_1085-3_0_3_line_33 | NAYY 4x150 SE | 29 | 55 | 0.017915 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
34 | LV_1085-3_0_3_line_34 | NAYY 4x150 SE | 30 | 31 | 0.038119 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
35 | LV_1085-3_0_3_line_35 | NAYY 4x150 SE | 30 | 32 | 0.023291 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
36 | LV_1085-3_0_3_line_36 | NAYY 4x150 SE | 31 | 49 | 0.0016884 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
37 | LV_1085-3_0_3_line_37 | NAYY 4x150 SE | 32 | 50 | 0.032814 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
38 | LV_1085-3_0_3_line_38 | NAYY 4x150 SE | 33 | 34 | 0.0047672 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
39 | LV_1085-3_0_3_line_39 | NAYY 4x150 SE | 33 | 35 | 0.0030859 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
40 | LV_1085-3_0_3_line_40 | NAYY 4x150 SE | 35 | 36 | 0.014646 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
41 | LV_1085-3_0_3_line_41 | NAYY 4x150 SE | 36 | 37 | 0.00070566 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
42 | LV_1085-3_0_3_line_42 | NAYY 4x150 SE | 37 | 38 | 0.0074034 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
43 | LV_1085-3_0_3_line_43 | NAYY 4x150 SE | 38 | 39 | 0.00076304 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
44 | LV_1085-3_0_3_line_44 | NAYY 4x150 SE | 39 | 56 | 0.015211 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
45 | LV_1085-3_0_3_line_45 | NAYY 4x150 SE | 40 | 41 | 0.018085 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
46 | LV_1085-3_0_3_line_46 | NAYY 4x150 SE | 40 | 42 | 0.016127 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
47 | LV_1085-3_0_3_line_47 | NAYY 4x150 SE | 41 | 43 | 0.0075638 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
48 | LV_1085-3_0_3_line_48 | NAYY 4x150 SE | 42 | 44 | 0.014124 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
49 | LV_1085-3_0_3_line_49 | NAYY 4x150 SE | 45 | 46 | 0.0052371 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
50 | LV_1085-3_0_3_line_50 | NAYY 4x150 SE | 46 | 47 | 0.01754 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
51 | LV_1085-3_0_3_line_51 | NAYY 4x150 SE | 47 | 48 | 0.018172 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
52 | LV_1085-3_0_3_line_52 | NAYY 4x150 SE | 48 | 49 | 0.0058889 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
53 | LV_1085-3_0_3_line_53 | NAYY 4x150 SE | 50 | 51 | 0.015304 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
54 | LV_1085-3_0_3_line_54 | NAYY 4x150 SE | 51 | 52 | 0.014854 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
55 | LV_1085-3_0_3_line_55 | NAYY 4x150 SE | 52 | 53 | 0.025449 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
56 | LV_1085-3_0_3_line_56 | NAYY 4x150 SE | 55 | 58 | 0.005033 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
57 | LV_1085-3_0_3_line_57 | NAYY 4x150 SE | 56 | 57 | 0.0079657 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_1085-3_0_3_trafo_16 | 0.25 MVA 20/0.4 kV | 59 | 14 | 0.25 | 20 | 0.4 | 6 | 1.44 | 0.8 | 0.32 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6
0 | 2650971.2306 | 1227614.7287 | 2650976.8914 | 1227609.5667 | 2650991.3447 | 1227594.4027
1 | 2650950.2568 | 1227632.7793 | 2650958.5917 | 1227626.2538 | 2650971.2306 | 1227614.7287
2 | 2650994.0095 | 1227591.6068 | 2650991.3447 | 1227594.4027
3 | 2650925.0468 | 1227652.5165 | 2650950.2568 | 1227632.7793
4 | 2650994.0095 | 1227591.6068 | 2650997.1956 | 1227588.264
5 | 2650925.0468 | 1227652.5165 | 2650921.5354 | 1227655.4995
6 | 2650925.0468 | 1227652.5165 | 2650924.9001 | 1227644.8661
7 | 2651008.5718 | 1227576.3284 | 2650997.1956 | 1227588.264
8 | 2650921.5354 | 1227655.4995 | 2650926.7337 | 1227660.8251 | 2650932.3549 | 1227666.595
9 | 2650921.5354 | 1227655.4995 | 2650918.4697 | 1227658.1033
10 | 2650924.9001 | 1227644.8661 | 2650930.9283 | 1227635.3081
11 | 2651008.5718 | 1227576.3284 | 2651021.908 | 1227560.5439 | 2651028.8372 | 1227550.4859 | 2651030.8463 | 1227542.4203 | 2651033.3161 | 1227529.2444 | 2651025.7677 | 1227528.4347 | 2651004.2773 | 1227520.3789
12 | 2650950.8497 | 1227685.2356 | 2650943.1481 | 1227676.6754 | 2650932.5554 | 1227666.8008 | 2650932.3549 | 1227666.595
13 | 2650906.9557 | 1227667.8825 | 2650918.4697 | 1227658.1033
14 | 2650930.9283 | 1227635.3081 | 2650935.2408 | 1227628.4705
15 | 2651004.2773 | 1227520.3789 | 2650980.3779 | 1227513.9813 | 2650962.64 | 1227514.5853 | 2650952.6174 | 1227516.4544
16 | 2650950.8497 | 1227685.2356 | 2650943.7661 | 1227693.8804 | 2650923.8512 | 1227719.2255
17 | 2650950.8497 | 1227685.2356 | 2650953.6002 | 1227687.8826
18 | 2650906.9557 | 1227667.8825 | 2650887.796 | 1227684.1622 | 2650863.0409 | 1227705.195
19 | 2650906.9557 | 1227667.8825 | 2650899.9769 | 1227662.5195 | 2650858.3804 | 1227643.2075 | 2650836.4055 | 1227632.9712
20 | 2650943.1141 | 1227615.9871 | 2650935.2408 | 1227628.4705
21 | 2650873.1462 | 1227510.6841 | 2650867.4884 | 1227520.2136
22 | 2650873.1462 | 1227510.6841 | 2650883.2502 | 1227517.4858 | 2650893.3543 | 1227524.2764
23 | 2650893.3543 | 1227524.2764 | 2650902.8012 | 1227527.2702 | 2650913.7001 | 1227526.196 | 2650918.1824 | 1227525.0336
24 | 2650936.4848 | 1227520.2873 | 2650918.1824 | 1227525.0336
25 | 2650936.4848 | 1227520.2873 | 2650947.8771 | 1227517.3385 | 2650952.6174 | 1227516.4544
26 | 2650831.1236 | 1227674.1385 | 2650809.3824 | 1227707.0179 | 2650805.0759 | 1227710.8279 | 2650802.2189 | 1227712.6269 | 2650792.659 | 1227715.7918 | 2650789.5677 | 1227718.4003 | 2650786.9878 | 1227723.248
27 | 2650786.9878 | 1227723.248 | 2650812.4529 | 1227737.8967 | 2650817.7087 | 1227740.9213
28 | 2650817.7087 | 1227740.9213 | 2650829.9627 | 1227731.9647 | 2650841.1568 | 1227723.7885 | 2650863.0409 | 1227705.195
29 | 2650817.7087 | 1227740.9213 | 2650812.4529 | 1227737.8967 | 2650828.288 | 1227724.8793 | 2650846.0899 | 1227711.3785
30 | 2650841.0099 | 1227709.9453 | 2650846.0899 | 1227711.3785
31 | 2650868.5005 | 1227687.9775 | 2650846.0899 | 1227711.3785
32 | 2650864.4392 | 1227685.2744 | 2650868.5005 | 1227687.9775
33 | 2650881.6389 | 1227675.7599 | 2650868.5005 | 1227687.9775
34 | 2650870.3182 | 1227787.3552 | 2650893.8699 | 1227757.3818
35 | 2650870.3182 | 1227787.3552 | 2650878.4549 | 1227792.8726 | 2650889.511 | 1227799.0488 | 2650890.1933 | 1227799.4586
36 | 2650894.913 | 1227756.0542 | 2650893.8699 | 1227757.3818
37 | 2650918.5324 | 1227815.992 | 2650916.1358 | 1227814.475 | 2650905.4947 | 1227808.5136 | 2650899.2739 | 1227804.9137 | 2650890.1933 | 1227799.4586
38 | 2650943.1141 | 1227615.9871 | 2650945.6572 | 1227611.9549
39 | 2650947.3034 | 1227609.3448 | 2650945.6572 | 1227611.9549
40 | 2650947.3034 | 1227609.3448 | 2650955.1163 | 1227596.9572
41 | 2650955.1163 | 1227596.9572 | 2650955.4927 | 1227596.3603
42 | 2650955.4927 | 1227596.3603 | 2650959.4422 | 1227590.0983
43 | 2650959.4422 | 1227590.0983 | 2650959.8492 | 1227589.4529
44 | 2650959.8492 | 1227589.4529 | 2650967.9637 | 1227576.5872
45 | 2650987.8225 | 1227673.3778 | 2650975.227 | 1227686.3549
46 | 2650963.777 | 1227697.6762 | 2650965.3478 | 1227696.5334 | 2650975.227 | 1227686.3549
47 | 2650987.8225 | 1227673.3778 | 2650993.0905 | 1227667.9501
48 | 2650963.777 | 1227697.6762 | 2650963.777 | 1227697.6762 | 2650953.6002 | 1227687.8826
49 | 2650920.6155 | 1227723.3434 | 2650923.8512 | 1227719.2255
50 | 2650920.6155 | 1227723.3434 | 2650909.7788 | 1227737.135
51 | 2650909.7788 | 1227737.135 | 2650898.5514 | 1227751.4237
52 | 2650894.913 | 1227756.0542 | 2650898.5514 | 1227751.4237
53 | 2650931.9896 | 1227823.1827 | 2650925.3232 | 1227820.2906 | 2650918.5324 | 1227815.992
54 | 2650931.9896 | 1227823.1827 | 2650940.7248 | 1227811.1683
55 | 2650955.6905 | 1227790.5846 | 2650940.7248 | 1227811.1683
56 | 2650877.3268 | 1227673.1436 | 2650881.6389 | 1227675.7599
57 | 2650967.9637 | 1227576.5872 | 2650972.2131 | 1227569.8496

## bus_geodata
| x | y | coords
0 | 2650971.2306 | 1227614.7287
1 | 2650991.3447 | 1227594.4027
2 | 2650950.2568 | 1227632.7793
3 | 2650994.0095 | 1227591.6068
4 | 2650925.0468 | 1227652.5165
5 | 2650997.1956 | 1227588.264
6 | 2650921.5354 | 1227655.4995
7 | 2650924.9001 | 1227644.8661
8 | 2651008.5718 | 1227576.3284
9 | 2650932.3549 | 1227666.595
10 | 2650918.4697 | 1227658.1033
11 | 2650930.9283 | 1227635.3081
12 | 2651004.2773 | 1227520.3789
13 | 2650950.8497 | 1227685.2356
14 | 2650906.9557 | 1227667.8825
15 | 2650935.2408 | 1227628.4705
16 | 2650867.4884 | 1227520.2136
17 | 2650873.1462 | 1227510.6841
18 | 2650893.3543 | 1227524.2764
19 | 2650918.1824 | 1227525.0336
20 | 2650936.4848 | 1227520.2873
21 | 2650952.6174 | 1227516.4544
22 | 2650836.4055 | 1227632.9712
23 | 2650786.9878 | 1227723.248
24 | 2650831.1236 | 1227674.1385
25 | 2650817.7087 | 1227740.9213
26 | 2650863.0409 | 1227705.195
27 | 2650846.0899 | 1227711.3785
28 | 2650841.0099 | 1227709.9453
29 | 2650868.5005 | 1227687.9775
30 | 2650870.3182 | 1227787.3552
31 | 2650893.8699 | 1227757.3818
32 | 2650890.1933 | 1227799.4586
33 | 2650945.6572 | 1227611.9549
34 | 2650943.1141 | 1227615.9871
35 | 2650947.3034 | 1227609.3448
36 | 2650955.1163 | 1227596.9572
37 | 2650955.4927 | 1227596.3603
38 | 2650959.4422 | 1227590.0983
39 | 2650959.8492 | 1227589.4529
40 | 2650975.227 | 1227686.3549
41 | 2650987.8225 | 1227673.3778
42 | 2650963.777 | 1227697.6762
43 | 2650993.0905 | 1227667.9501
44 | 2650953.6002 | 1227687.8826
45 | 2650923.8512 | 1227719.2255
46 | 2650920.6155 | 1227723.3434
47 | 2650909.7788 | 1227737.135
48 | 2650898.5514 | 1227751.4237
49 | 2650894.913 | 1227756.0542
50 | 2650918.5324 | 1227815.992
51 | 2650931.9896 | 1227823.1827
52 | 2650940.7248 | 1227811.1683
53 | 2650955.6905 | 1227790.5846
54 | 2650864.4392 | 1227685.2744
55 | 2650881.6389 | 1227675.7599
56 | 2650967.9637 | 1227576.5872
57 | 2650972.2131 | 1227569.8496
58 | 2650877.3268 | 1227673.1436
59 | 2650921.5354 | 1227655.4995

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## res_bus
| vm_pu | va_degree | p_mw | q_mvar
0 | 0.99512 | -0.034145 | 0.0058309 | 0.0014614
1 | 0.99455 | -0.038151 | 0.0014801 | 0.00037095
2 | 0.9959 | -0.028646 | 0.0038128 | 0.00095558
3 | 0.99448 | -0.038635 | 0.0021202 | 0.00053138
4 | 0.99698 | -0.021072 | 0 | 0
5 | 0.99442 | -0.039114 | 0.0014807 | 0.00037109
6 | 0.99729 | -0.018903 | 0 | 0
7 | 0.99673 | -0.022873 | 0.0022612 | 0.00056671
8 | 0.99421 | -0.040579 | 0 | 0
9 | 0.99618 | -0.026686 | 0.0029232 | 0.00073264
10 | 0.99785 | -0.014992 | 0.0022612 | 0.00056671
11 | 0.99638 | -0.025278 | 0.0023208 | 0.00058164
12 | 0.99313 | -0.048148 | 0 | 0
13 | 0.9944 | -0.039149 | 0 | 0
14 | 1 | 0 | -0.15381 | -0.038445
15 | 0.99617 | -0.02681 | 0.0023209 | 0.00058168
16 | 0.99203 | -0.055929 | 0.0017575 | 0.00044048
17 | 0.99206 | -0.055732 | 0 | 0
18 | 0.99212 | -0.055297 | 0.0010987 | 0.00027535
19 | 0.99223 | -0.054558 | 0.0019181 | 0.00048071
20 | 0.99236 | -0.053641 | 0 | 0
21 | 0.99247 | -0.052837 | 0.0040035 | 0.0010034
22 | 0.99825 | -0.012268 | 0.015547 | 0.0038965
23 | 0.99477 | -0.036625 | 0 | 0
24 | 0.99432 | -0.039803 | 0.0046241 | 0.0011589
25 | 0.99501 | -0.03497 | 0 | 0
26 | 0.99691 | -0.021633 | 0.014544 | 0.0036451
27 | 0.99372 | -0.044008 | 0 | 0
28 | 0.99365 | -0.044499 | 0.0092193 | 0.0023106
29 | 0.9933 | -0.046981 | 0 | 0
30 | 0.99011 | -0.069422 | 0 | 0
31 | 0.99085 | -0.064176 | 0.0017683 | 0.00044317
32 | 0.98965 | -0.072631 | 0.0051677 | 0.0012951
33 | 0.99572 | -0.029951 | 0.0027456 | 0.00068812
34 | 0.99582 | -0.029265 | 0.0022295 | 0.00055876
35 | 0.99567 | -0.03031 | 0.0022304 | 0.00055899
36 | 0.99547 | -0.031685 | 0.00212 | 0.00053132
37 | 0.99547 | -0.031736 | 0.0014486 | 0.00036305
38 | 0.9954 | -0.032165 | 0.0013473 | 0.00033766
39 | 0.9954 | -0.032199 | 0.0014492 | 0.00036322
40 | 0.99393 | -0.042478 | 0.0025092 | 0.00062887
41 | 0.9938 | -0.043408 | 0.0025452 | 0.00063789
42 | 0.99411 | -0.04124 | 0.0034044 | 0.00085322
43 | 0.99377 | -0.043603 | 0.0025448 | 0.00063779
44 | 0.99433 | -0.03967 | 0.0025114 | 0.00062941
45 | 0.99231 | -0.053875 | 0.0035416 | 0.00088761
46 | 0.99208 | -0.055467 | 0.008508 | 0.0021323
47 | 0.99154 | -0.059291 | 0.0021398 | 0.00053628
48 | 0.99104 | -0.062861 | 0.0017689 | 0.00044332
49 | 0.99089 | -0.063913 | 0.002276 | 0.00057041
50 | 0.98926 | -0.075426 | 0.0024588 | 0.00061622
51 | 0.98913 | -0.076346 | 0 | 0
52 | 0.989 | -0.077239 | 0.002457 | 0.00061579
53 | 0.98888 | -0.078131 | 0.0034326 | 0.00086029
54 | 0.99327 | -0.047214 | 0.0047377 | 0.0011874
55 | 0.99319 | -0.047768 | 0 | 0
56 | 0.99534 | -0.032651 | 0.0014767 | 0.00037009
57 | 0.99532 | -0.03277 | 0.0014767 | 0.00037009
58 | 0.99316 | -0.04799 | 0.0043442 | 0.0010887
59 | 0.99998 | 149.9947 | 0 | 0

## res_line
| p_from_mw | q_from_mvar | p_to_mw | q_to_mvar | pl_mw | ql_mvar | i_from_ka | i_to_ka | i_ka | vm_from_pu | va_from_degree | vm_to_pu | va_to_degree | loading_percent
0 | 0.013886 | 0.0034802 | -0.013879 | -0.0034776 | 7.6972e-06 | 2.589e-06 | 0.020764 | 0.020764 | 0.020764 | 0.99512 | -0.034145 | 0.99455 | -0.038151 | 7.6905
1 | -0.019717 | -0.0049416 | 0.019732 | 0.004947 | 1.502e-05 | 5.4168e-06 | 0.029483 | 0.029483 | 0.029483 | 0.99512 | -0.034145 | 0.9959 | -0.028646 | 10.9198
2 | 0.012399 | 0.0031067 | -0.012398 | -0.0031064 | 8.2933e-07 | 2.6886e-07 | 0.01855 | 0.01855 | 0.01855 | 0.99455 | -0.038151 | 0.99448 | -0.038635 | 6.8704
3 | -0.023545 | -0.0059026 | 0.02357 | 0.0059116 | 2.4726e-05 | 9.0931e-06 | 0.03518 | 0.03518 | 0.03518 | 0.9959 | -0.028646 | 0.99698 | -0.021072 | 13.0297
4 | 0.010277 | 0.002575 | -0.010277 | -0.0025748 | 6.8142e-07 | 2.0217e-07 | 0.015378 | 0.015378 | 0.015378 | 0.99448 | -0.038635 | 0.99442 | -0.039114 | 5.6954
5 | -0.047023 | -0.011792 | 0.047038 | 0.011797 | 1.414e-05 | 5.3784e-06 | 0.070186 | 0.070186 | 0.070186 | 0.99698 | -0.021072 | 0.99729 | -0.018903 | 25.9948
6 | 0.023454 | 0.0058804 | -0.023448 | -0.0058782 | 5.8511e-06 | 2.1507e-06 | 0.035006 | 0.035006 | 0.035006 | 0.99698 | -0.021072 | 0.99673 | -0.022873 | 12.9652
7 | 0.0087961 | 0.0022037 | -0.0087943 | -0.0022032 | 1.7824e-06 | 4.7168e-07 | 0.013162 | 0.013162 | 0.013162 | 0.99442 | -0.039114 | 0.99421 | -0.040579 | 4.8748
8 | 0.050218 | 0.012617 | -0.050164 | -0.012596 | 5.4309e-05 | 2.0686e-05 | 0.07494 | 0.07494 | 0.07494 | 0.99729 | -0.018903 | 0.99618 | -0.026686 | 27.7554
9 | -0.097256 | -0.024414 | 0.097309 | 0.024434 | 5.2861e-05 | 2.0279e-05 | 0.14513 | 0.14513 | 0.14513 | 0.99729 | -0.018903 | 0.99785 | -0.014992 | 53.7502
10 | 0.021187 | 0.0053115 | -0.02118 | -0.005309 | 7.0547e-06 | 2.5661e-06 | 0.03163 | 0.03163 | 0.03163 | 0.99673 | -0.022873 | 0.99638 | -0.025278 | 11.7149
11 | 0.0087943 | 0.0022032 | -0.0087851 | -0.0022008 | 9.2037e-06 | 2.437e-06 | 0.013162 | 0.013162 | 0.013162 | 0.99421 | -0.040579 | 0.99313 | -0.048148 | 4.875
12 | 0.047241 | 0.011863 | -0.047159 | -0.011832 | 8.1686e-05 | 3.1076e-05 | 0.070573 | 0.070573 | 0.070573 | 0.99618 | -0.026686 | 0.9944 | -0.039149 | 26.1383
13 | -0.09957 | -0.025001 | 0.099778 | 0.025081 | 0.00020787 | 7.9751e-05 | 0.1485 | 0.1485 | 0.1485 | 0.99785 | -0.014992 | 1 | 0 | 54.999
14 | 0.018859 | 0.0047273 | -0.018855 | -0.0047259 | 4.0014e-06 | 1.4337e-06 | 0.028164 | 0.028164 | 0.028164 | 0.99638 | -0.025278 | 0.99617 | -0.02681 | 10.4313
15 | 0.0087851 | 0.0022008 | -0.0087794 | -0.0021993 | 5.6957e-06 | 1.5094e-06 | 0.013162 | 0.013163 | 0.013163 | 0.99313 | -0.048148 | 0.99247 | -0.052837 | 4.875
16 | 0.033639 | 0.0084437 | -0.03357 | -0.0084179 | 6.8647e-05 | 2.5841e-05 | 0.050342 | 0.050342 | 0.050342 | 0.9944 | -0.039149 | 0.99231 | -0.053875 | 18.6451
17 | 0.01352 | 0.0033885 | -0.013519 | -0.0033881 | 9.7503e-07 | 3.2549e-07 | 0.020232 | 0.020232 | 0.020232 | 0.9944 | -0.039149 | 0.99433 | -0.03967 | 7.4932
18 | 0.037656 | 0.0094581 | -0.037543 | -0.0094154 | 0.00011293 | 4.268e-05 | 0.05604 | 0.05604 | 0.05604 | 1 | 0 | 0.99691 | -0.021633 | 20.7556
19 | 0.015574 | 0.0039056 | -0.015547 | -0.0038965 | 2.6443e-05 | 9.1371e-06 | 0.023175 | 0.023175 | 0.023175 | 1 | 0 | 0.99825 | -0.012268 | 8.5833
20 | 0.016534 | 0.0041442 | -0.016528 | -0.0041423 | 5.6176e-06 | 1.9685e-06 | 0.024698 | 0.024698 | 0.024698 | 0.99617 | -0.02681 | 0.99582 | -0.029265 | 9.1473
21 | -0.0017575 | -0.00044048 | 0.0017576 | 0.00044036 | 4.8061e-08 | -1.2461e-07 | 0.0026363 | 0.0026362 | 0.0026363 | 0.99203 | -0.055929 | 0.99206 | -0.055732 | 0.97639
22 | -0.0017576 | -0.00044036 | 0.0017577 | 0.00044008 | 1.0561e-07 | -2.7386e-07 | 0.0026362 | 0.0026361 | 0.0026362 | 0.99206 | -0.055732 | 0.99212 | -0.055297 | 0.97637
23 | -0.0028564 | -0.00071544 | 0.0028567 | 0.00071522 | 2.9192e-07 | -2.1695e-07 | 0.0042839 | 0.0042838 | 0.0042839 | 0.99212 | -0.055297 | 0.99223 | -0.054558 | 1.5866
24 | -0.0047747 | -0.0011959 | 0.0047753 | 0.0011959 | 6.049e-07 | -1.1596e-08 | 0.0071603 | 0.0071602 | 0.0071603 | 0.99223 | -0.054558 | 0.99236 | -0.053641 | 2.652
25 | -0.0047753 | -0.0011959 | 0.0047759 | 0.0011959 | 5.3072e-07 | -1.0231e-08 | 0.0071602 | 0.0071601 | 0.0071602 | 0.99236 | -0.053641 | 0.99247 | -0.052837 | 2.6519
26 | 0.0046261 | 0.0011588 | -0.0046241 | -0.0011589 | 2.0339e-06 | -1.0104e-07 | 0.0069197 | 0.00692 | 0.00692 | 0.99477 | -0.036625 | 0.99432 | -0.039803 | 2.563
27 | -0.0046261 | -0.0011588 | 0.0046272 | 0.0011588 | 1.0589e-06 | -5.2952e-08 | 0.0069197 | 0.0069195 | 0.0069197 | 0.99477 | -0.036625 | 0.99501 | -0.03497 | 2.5629
28 | -0.022956 | -0.0057548 | 0.022999 | 0.0057703 | 4.2478e-05 | 1.5586e-05 | 0.034331 | 0.034331 | 0.034331 | 0.99501 | -0.03497 | 0.99691 | -0.021633 | 12.7153
29 | 0.018329 | 0.004596 | -0.018306 | -0.0045878 | 2.2931e-05 | 8.1852e-06 | 0.027412 | 0.027412 | 0.027412 | 0.99501 | -0.03497 | 0.99372 | -0.044008 | 10.1526
30 | 0.0092199 | 0.0023107 | -0.0092193 | -0.0023106 | 6.2609e-07 | 1.7261e-07 | 0.013806 | 0.013806 | 0.013806 | 0.99372 | -0.044008 | 0.99365 | -0.044499 | 5.1134
31 | 0.0090864 | 0.0022771 | -0.0090827 | -0.0022761 | 3.7381e-06 | 1.0187e-06 | 0.013606 | 0.013606 | 0.013606 | 0.99372 | -0.044008 | 0.9933 | -0.046981 | 5.0393
32 | 0.0047379 | 0.0011874 | -0.0047377 | -0.0011874 | 1.5305e-07 | -4.1557e-09 | 0.0070976 | 0.0070976 | 0.0070976 | 0.9933 | -0.046981 | 0.99327 | -0.047214 | 2.6287
33 | 0.0043448 | 0.0010887 | -0.0043443 | -0.0010887 | 4.7357e-07 | -4.9726e-08 | 0.0065086 | 0.0065087 | 0.0065087 | 0.9933 | -0.046981 | 0.99319 | -0.047768 | 2.4106
34 | -0.013527 | -0.0033903 | 0.013537 | 0.0033936 | 9.8309e-06 | 3.2905e-06 | 0.02033 | 0.02033 | 0.02033 | 0.99011 | -0.069422 | 0.99085 | -0.064176 | 7.5296
35 | 0.013527 | 0.0033903 | -0.013521 | -0.0033883 | 6.0068e-06 | 2.0109e-06 | 0.02033 | 0.02033 | 0.02033 | 0.99011 | -0.069422 | 0.98965 | -0.072631 | 7.5296
36 | -0.015305 | -0.0038367 | 0.015306 | 0.0038369 | 5.5661e-07 | 1.9233e-07 | 0.022985 | 0.022985 | 0.022985 | 0.99085 | -0.064176 | 0.99089 | -0.063913 | 8.513
37 | 0.0083535 | 0.0020931 | -0.0083503 | -0.0020923 | 3.2302e-06 | 8.2091e-07 | 0.01256 | 0.01256 | 0.01256 | 0.98965 | -0.072631 | 0.98926 | -0.075426 | 4.6519
38 | -0.014297 | -0.003583 | 0.014299 | 0.0035835 | 1.358e-06 | 4.6029e-07 | 0.021366 | 0.021366 | 0.021366 | 0.99572 | -0.029951 | 0.99582 | -0.029265 | 7.9134
39 | 0.011552 | 0.0028949 | -0.011551 | -0.0028947 | 5.7386e-07 | 1.8058e-07 | 0.017263 | 0.017263 | 0.017263 | 0.99572 | -0.029951 | 0.99567 | -0.03031 | 6.3938
40 | 0.0093209 | 0.0023357 | -0.0093191 | -0.0023352 | 1.7733e-06 | 4.9161e-07 | 0.01393 | 0.01393 | 0.01393 | 0.99567 | -0.03031 | 0.99547 | -0.031685 | 5.1592
41 | 0.0071991 | 0.0018039 | -0.007199 | -0.0018039 | 5.0989e-08 | 1.0437e-08 | 0.010761 | 0.010761 | 0.010761 | 0.99547 | -0.031685 | 0.99547 | -0.031736 | 3.9855
42 | 0.0057505 | 0.0014409 | -0.0057501 | -0.0014408 | 3.4133e-07 | 3.5038e-08 | 0.0085956 | 0.0085957 | 0.0085957 | 0.99547 | -0.031736 | 0.9954 | -0.032165 | 3.1836
43 | 0.0044028 | 0.0011032 | -0.0044028 | -0.0011032 | 2.0625e-08 | -1.9858e-09 | 0.0065816 | 0.0065817 | 0.0065817 | 0.9954 | -0.032165 | 0.9954 | -0.032199 | 2.4376
44 | 0.0029536 | 0.00073996 | -0.0029534 | -0.00074009 | 1.8503e-07 | -1.2655e-07 | 0.0044152 | 0.0044153 | 0.0044153 | 0.9954 | -0.032199 | 0.99534 | -0.032651 | 1.6353
45 | 0.0050907 | 0.0012756 | -0.0050901 | -0.0012756 | 6.5547e-07 | 1.775e-08 | 0.0076213 | 0.0076214 | 0.0076214 | 0.99393 | -0.042478 | 0.9938 | -0.043408 | 2.8227
46 | -0.0076 | -0.0019045 | 0.0076013 | 0.0019048 | 1.3027e-06 | 2.92e-07 | 0.011378 | 0.011378 | 0.011378 | 0.99393 | -0.042478 | 0.99411 | -0.04124 | 4.214
47 | 0.0025449 | 0.00063772 | -0.0025448 | -0.00063779 | 6.8529e-08 | -7.1645e-08 | 0.0038104 | 0.0038104 | 0.0038104 | 0.9938 | -0.043408 | 0.99377 | -0.043603 | 1.4113
48 | -0.011006 | -0.002758 | 0.011008 | 0.0027587 | 2.3917e-06 | 7.3673e-07 | 0.016474 | 0.016473 | 0.016474 | 0.99411 | -0.04124 | 0.99433 | -0.03967 | 6.1013
49 | 0.030029 | 0.0075302 | -0.030022 | -0.0075278 | 6.6267e-06 | 2.4811e-06 | 0.045031 | 0.045031 | 0.045031 | 0.99231 | -0.053875 | 0.99208 | -0.055467 | 16.6781
50 | 0.021514 | 0.0053955 | -0.021503 | -0.0053913 | 1.1397e-05 | 4.1572e-06 | 0.03227 | 0.03227 | 0.03227 | 0.99208 | -0.055467 | 0.99154 | -0.059291 | 11.9518
51 | 0.019363 | 0.004855 | -0.019353 | -0.0048516 | 9.5751e-06 | 3.4485e-06 | 0.029059 | 0.029059 | 0.029059 | 0.99154 | -0.059291 | 0.99104 | -0.062861 | 10.7625
52 | 0.017584 | 0.0044082 | -0.017582 | -0.0044073 | 2.5617e-06 | 9.0938e-07 | 0.026403 | 0.026403 | 0.026403 | 0.99104 | -0.062861 | 0.99089 | -0.063913 | 9.7789
53 | 0.0058915 | 0.0014761 | -0.0058908 | -0.001476 | 7.4992e-07 | 9.1975e-08 | 0.0088617 | 0.0088618 | 0.0088618 | 0.98926 | -0.075426 | 0.98913 | -0.076346 | 3.2821
54 | 0.0058908 | 0.001476 | -0.00589 | -0.0014759 | 7.2792e-07 | 8.9329e-08 | 0.0088618 | 0.0088618 | 0.0088618 | 0.98913 | -0.076346 | 0.989 | -0.077239 | 3.2822
55 | 0.003433 | 0.00086012 | -0.0034326 | -0.00086029 | 4.2367e-07 | -1.6358e-07 | 0.0051651 | 0.0051652 | 0.0051652 | 0.989 | -0.077239 | 0.98888 | -0.078131 | 1.913
56 | 0.0043443 | 0.0010887 | -0.0043442 | -0.0010887 | 1.3305e-07 | -1.396e-08 | 0.0065087 | 0.0065087 | 0.0065087 | 0.99319 | -0.047768 | 0.99316 | -0.04799 | 2.4106
57 | 0.0014767 | 0.00037 | -0.0014767 | -0.00037009 | 2.4225e-08 | -9.4212e-08 | 0.0022076 | 0.0022077 | 0.0022077 | 0.99534 | -0.032651 | 0.99532 | -0.03277 | 0.81765

## res_trafo
| p_hv_mw | q_hv_mvar | p_lv_mw | q_lv_mvar | pl_mw | ql_mvar | i_hv_ka | i_lv_ka | vm_hv_pu | va_hv_degree | vm_lv_pu | va_lv_degree | loading_percent
0 | -4.4415e-16 | -7.6913e-16 | 0.00079998 | 7.4552e-08 | 0.00079998 | 7.4552e-08 | 2.564e-17 | 0.0011547 | 0.99998 | 149.9947 | 1 | 0 | 0.31999

## res_ext_grid
| p_mw | q_mvar
0 | 0.15381 | 0.038445

## res_load
| p_mw | q_mvar
0 | 0.0058309 | 0.0014614
1 | 0.0014801 | 0.00037095
2 | 0.0038128 | 0.00095558
3 | 0.0021202 | 0.00053138
4 | 0.0014807 | 0.00037109
5 | 0.0022612 | 0.00056671
6 | 0.0029232 | 0.00073264
7 | 0.0022612 | 0.00056671
8 | 0.0023208 | 0.00058164
9 | 0.0023209 | 0.00058168
10 | 0.0017575 | 0.00044048
11 | 0.0010987 | 0.00027535
12 | 0.0019181 | 0.00048071
13 | 0.0040035 | 0.0010034
14 | 0.015547 | 0.0038965
15 | 0.0046241 | 0.0011589
16 | 0.014544 | 0.0036451
17 | 0.0092193 | 0.0023106
18 | 0.0017683 | 0.00044317
19 | 0.0051677 | 0.0012951
20 | 0.0027456 | 0.00068812
21 | 0.0022295 | 0.00055876
22 | 0.0022304 | 0.00055899
23 | 0.00212 | 0.00053132
24 | 0.0014486 | 0.00036305
25 | 0.0013473 | 0.00033766
26 | 0.0014492 | 0.00036322
27 | 0.0025092 | 0.00062887
28 | 0.0025452 | 0.00063789
29 | 0.0034044 | 0.00085322
30 | 0.0025448 | 0.00063779
31 | 0.0025114 | 0.00062941
32 | 0.0035416 | 0.00088761
33 | 0.008508 | 0.0021323
34 | 0.0021398 | 0.00053628
35 | 0.0017689 | 0.00044332
36 | 0.002276 | 0.00057041
37 | 0.0024588 | 0.00061622
38 | 0.002457 | 0.00061579
39 | 0.0034326 | 0.00086029
40 | 0.0047377 | 0.0011874
41 | 0.0014767 | 0.00037009
42 | 0.0014767 | 0.00037009
43 | 0.0043442 | 0.0010887

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object
62 | res_bus | vm_pu | float64
63 | res_bus | va_degree | float64
64 | res_bus | p_mw | float64
65 | res_bus | q_mvar | float64
66 | res_line | p_from_mw | float64
67 | res_line | q_from_mvar | float64
68 | res_line | p_to_mw | float64
69 | res_line | q_to_mvar | float64
70 | res_line | pl_mw | float64
71 | res_line | ql_mvar | float64
72 | res_line | i_from_ka | float64
73 | res_line | i_to_ka | float64
74 | res_line | i_ka | float64
75 | res_line | vm_from_pu | float64
76 | res_line | va_from_degree | float64
77 | res_line | vm_to_pu | float64
78 | res_line | va_to_degree | float64
79 | res_line | loading_percent | float64
80 | res_trafo | p_hv_mw | float64
81 | res_trafo | q_hv_mvar | float64
82 | res_trafo | p_lv_mw | float64
83 | res_trafo | q_lv_mvar | float64
84 | res_trafo | pl_mw | float64
85 | res_trafo | ql_mvar | float64
86 | res_trafo | i_hv_ka | float64
87 | res_trafo | i_lv_ka | float64
88 | res_trafo | vm_hv_pu | float64
89 | res_trafo | va_hv_degree | float64
90 | res_trafo | vm_lv_pu | float64
91 | res_trafo | va_lv_degree | float64
92 | res_trafo | loading_percent | float64
93 | res_ext_grid | p_mw | float64
94 | res_ext_grid | q_mvar | float64
95 | res_load | p_mw | float64
96 | res_load | q_mvar | float64

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | TRUE | FALSE |  | 50 | 1