## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_1085-5_0_3_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_1085-5_0_3_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_1085-5_0_3_node_2 | 0.4 | n |  | TRUE
3 | bus_LV_1085-5_0_3_node_3 | 0.4 | n |  | TRUE
4 | bus_LV_1085-5_0_3_node_4 | 0.4 | n |  | TRUE
5 | bus_LV_1085-5_0_3_node_5 | 0.4 | n |  | TRUE
6 | bus_LV_1085-5_0_3_node_17 | 0.4 | n |  | TRUE
7 | bus_LV_1085-5_0_3_node_53 | 0.4 | n |  | TRUE
8 | bus_LV_1085-5_0_3_node_55 | 0.4 | n |  | TRUE
9 | bus_LV_1085-5_0_3_node_18 | 0.4 | n |  | TRUE
10 | bus_LV_1085-5_0_3_node_54 | 0.4 | n |  | TRUE
11 | bus_LV_1085-5_0_3_node_25 | 0.4 | n |  | TRUE
12 | bus_LV_1085-5_0_3_node_6 | 0.4 | n |  | TRUE
13 | bus_LV_1085-5_0_3_node_7 | 0.4 | n |  | TRUE
14 | bus_LV_1085-5_0_3_node_9 | 0.4 | n |  | TRUE
15 | bus_LV_1085-5_0_3_node_22 | 0.4 | n |  | TRUE
16 | bus_LV_1085-5_0_3_node_23 | 0.4 | n |  | TRUE
17 | bus_LV_1085-5_0_3_node_52 | 0.4 | n |  | TRUE
18 | bus_LV_1085-5_0_3_node_21 | 0.4 | n |  | TRUE
19 | bus_LV_1085-5_0_3_node_24 | 0.4 | n |  | TRUE
20 | bus_LV_1085-5_0_3_node_10 | 0.4 | n |  | TRUE
21 | bus_LV_1085-5_0_3_node_11 | 0.4 | n |  | TRUE
22 | bus_LV_1085-5_0_3_node_12 | 0.4 | n |  | TRUE
23 | bus_LV_1085-5_0_3_node_13 | 0.4 | n |  | TRUE
24 | bus_LV_1085-5_0_3_node_15 | 0.4 | n |  | TRUE
25 | bus_LV_1085-5_0_3_node_27 | 0.4 | n |  | TRUE
26 | bus_LV_1085-5_0_3_node_28 | 0.4 | n |  | TRUE
27 | bus_LV_1085-5_0_3_node_26 | 0.4 | n |  | TRUE
28 | bus_LV_1085-5_0_3_node_16 | 0.4 | n |  | TRUE
29 | bus_LV_1085-5_0_3_node_29 | 0.4 | n |  | TRUE
30 | bus_LV_1085-5_0_3_node_35 | 0.4 | n |  | TRUE
31 | bus_LV_1085-5_0_3_node_42 | 0.4 | n |  | TRUE
32 | bus_LV_1085-5_0_3_node_47 | 0.4 | n |  | TRUE
33 | bus_LV_1085-5_0_3_node_39 | 0.4 | n |  | TRUE
34 | bus_LV_1085-5_0_3_node_38 | 0.4 | n |  | TRUE
35 | bus_LV_1085-5_0_3_node_30 | 0.4 | n |  | TRUE
36 | bus_LV_1085-5_0_3_node_40 | 0.4 | n |  | TRUE
37 | bus_LV_1085-5_0_3_node_37 | 0.4 | n |  | TRUE
38 | bus_LV_1085-5_0_3_node_44 | 0.4 | n |  | TRUE
39 | bus_LV_1085-5_0_3_node_45 | 0.4 | n |  | TRUE
40 | bus_LV_1085-5_0_3_node_19 | 0.4 | n |  | TRUE
41 | bus_LV_1085-5_0_3_node_20 | 0.4 | n |  | TRUE
42 | bus_LV_1085-5_0_3_node_51 | 0.4 | n |  | TRUE
43 | bus_LV_1085-5_0_3_node_49 | 0.4 | n |  | TRUE
44 | bus_LV_1085-5_0_3_node_33 | 0.4 | n |  | TRUE
45 | bus_LV_1085-5_0_3_node_41 | 0.4 | n |  | TRUE
46 | bus_LV_1085-5_0_3_node_46 | 0.4 | n |  | TRUE
47 | bus_LV_1085-5_0_3_node_32 | 0.4 | n |  | TRUE
48 | bus_LV_1085-5_0_3_node_34 | 0.4 | n |  | TRUE
49 | bus_LV_1085-5_0_3_node_36 | 0.4 | n |  | TRUE
50 | bus_LV_1085-5_0_3_node_43 | 0.4 | n |  | TRUE
51 | bus_LV_1085-5_0_3_node_48 | 0.4 | n |  | TRUE
52 | bus_MV_473_0_node_32 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_1085-5_0_3_load_0 | 0 | 0.0028689 | 0.000719 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_1085-5_0_3_load_1 | 1 | 0.00040863 | 0.00010241 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_1085-5_0_3_load_3 | 3 | 0.0051227 | 0.0012839 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_1085-5_0_3_load_4 | 4 | 0.00040844 | 0.00010237 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_1085-5_0_3_load_5 | 5 | 0.0011173 | 0.00028002 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_1085-5_0_3_load_17 | 6 | 0.0022845 | 0.00057255 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_1085-5_0_3_load_53 | 7 | 0.00018551 | 4.6492e-05 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_1085-5_0_3_load_55 | 8 | 0.014368 | 0.0036009 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_1085-5_0_3_load_54 | 10 | 0.00050667 | 0.00012698 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_1085-5_0_3_load_6 | 12 | 0.014567 | 0.0036507 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_1085-5_0_3_load_7 | 13 | 0.016541 | 0.0041456 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_1085-5_0_3_load_23 | 16 | 0.016418 | 0.0041146 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_1085-5_0_3_load_52 | 17 | 0.0069824 | 0.0017499 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_1085-5_0_3_load_24 | 19 | 0.018724 | 0.0046926 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_1085-5_0_3_load_10 | 20 | 0.0045696 | 0.0011452 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_1085-5_0_3_load_15 | 24 | 0.0064108 | 0.0016067 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_1085-5_0_3_load_28 | 26 | 0.0011376 | 0.00028512 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_1085-5_0_3_load_26 | 27 | 0.0038492 | 0.0009647 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_1085-5_0_3_load_29 | 29 | 0.0070149 | 0.0017581 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_1085-5_0_3_load_35 | 30 | 0.002061 | 0.00051653 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_1085-5_0_3_load_42 | 31 | 0.0023332 | 0.00058475 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_1085-5_0_3_load_47 | 32 | 0.0011356 | 0.0002846 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_1085-5_0_3_load_39 | 33 | 0.0072184 | 0.0018091 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_1085-5_0_3_load_38 | 34 | 0.0082055 | 0.0020565 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_1085-5_0_3_load_30 | 35 | 0.0019973 | 0.00050057 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_1085-5_0_3_load_37 | 37 | 0.0088983 | 0.0022301 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_1085-5_0_3_load_44 | 38 | 0.0022845 | 0.00057255 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_1085-5_0_3_load_45 | 39 | 0.0016843 | 0.00042214 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_1085-5_0_3_load_19 | 40 | 0.016431 | 0.004118 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_1085-5_0_3_load_20 | 41 | 0.0044534 | 0.0011161 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_1085-5_0_3_load_49 | 43 | 0.0079405 | 0.0019901 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_1085-5_0_3_load_33 | 44 | 0.00082232 | 0.00020609 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_1085-5_0_3_load_41 | 45 | 0.0028179 | 0.00070624 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_1085-5_0_3_load_46 | 46 | 0.0016843 | 0.00042214 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_1085-5_0_3_load_32 | 47 | 0.0038207 | 0.00095755 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_1085-5_0_3_load_34 | 48 | 0.0041267 | 0.0010342 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_1085-5_0_3_load_36 | 49 | 0.0051822 | 0.0012988 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_1085-5_0_3_load_43 | 50 | 0.0010074 | 0.00025247 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_1085-5_0_3_load_48 | 51 | 0.0046335 | 0.0011613 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 0 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_1085-5_0_3_line_0 | NAYY 4x150 SE | 0 | 1 | 0.0033792 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
1 | LV_1085-5_0_3_line_1 | NAYY 4x150 SE | 0 | 2 | 0.01586 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
2 | LV_1085-5_0_3_line_2 | NAYY 4x150 SE | 1 | 3 | 0.014502 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
3 | LV_1085-5_0_3_line_3 | NAYY 4x150 SE | 2 | 4 | 0.0091556 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
4 | LV_1085-5_0_3_line_4 | NAYY 4x150 SE | 2 | 5 | 0.031943 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
5 | LV_1085-5_0_3_line_5 | NAYY 4x150 SE | 3 | 6 | 0.01008 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
6 | LV_1085-5_0_3_line_6 | NAYY 4x150 SE | 4 | 7 | 0.0024869 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
7 | LV_1085-5_0_3_line_7 | NAYY 4x150 SE | 5 | 8 | 0.023195 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
8 | LV_1085-5_0_3_line_8 | NAYY 4x150 SE | 6 | 9 | 0.0018357 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
9 | LV_1085-5_0_3_line_9 | NAYY 4x150 SE | 7 | 10 | 0.0060271 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
10 | LV_1085-5_0_3_line_10 | NAYY 4x150 SE | 8 | 11 | 0.0095703 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
11 | LV_1085-5_0_3_line_11 | NAYY 4x150 SE | 9 | 36 | 0.009056 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
12 | LV_1085-5_0_3_line_12 | NAYY 4x150 SE | 9 | 37 | 0.026126 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
13 | LV_1085-5_0_3_line_13 | NAYY 4x150 SE | 11 | 42 | 0.006312 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
14 | LV_1085-5_0_3_line_14 | NAYY 4x150 SE | 11 | 19 | 0.023995 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
15 | LV_1085-5_0_3_line_15 | NAYY 4x150 SE | 12 | 13 | 0.025446 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
16 | LV_1085-5_0_3_line_16 | NAYY 4x150 SE | 13 | 14 | 0.030683 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
17 | LV_1085-5_0_3_line_17 | NAYY 4x150 SE | 14 | 15 | 0.010583 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
18 | LV_1085-5_0_3_line_18 | NAYY 4x150 SE | 14 | 16 | 0.015908 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
19 | LV_1085-5_0_3_line_19 | NAYY 4x150 SE | 15 | 17 | 0.016404 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
20 | LV_1085-5_0_3_line_20 | NAYY 4x150 SE | 15 | 18 | 0.035003 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
21 | LV_1085-5_0_3_line_21 | NAYY 4x150 SE | 16 | 19 | 0.021281 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
22 | LV_1085-5_0_3_line_22 | NAYY 4x150 SE | 18 | 40 | 0.012711 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
23 | LV_1085-5_0_3_line_23 | NAYY 4x150 SE | 20 | 21 | 0.011859 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
24 | LV_1085-5_0_3_line_24 | NAYY 4x150 SE | 20 | 22 | 0.0093739 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
25 | LV_1085-5_0_3_line_25 | NAYY 4x150 SE | 21 | 23 | 0.038918 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
26 | LV_1085-5_0_3_line_26 | NAYY 4x150 SE | 22 | 24 | 0.00257 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
27 | LV_1085-5_0_3_line_27 | NAYY 4x150 SE | 23 | 25 | 0.019832 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
28 | LV_1085-5_0_3_line_28 | NAYY 4x150 SE | 23 | 26 | 0.01054 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
29 | LV_1085-5_0_3_line_29 | NAYY 4x150 SE | 23 | 27 | 0.017478 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
30 | LV_1085-5_0_3_line_30 | NAYY 4x150 SE | 25 | 30 | 0.030378 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
31 | LV_1085-5_0_3_line_31 | NAYY 4x150 SE | 25 | 31 | 0.016539 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
32 | LV_1085-5_0_3_line_32 | NAYY 4x150 SE | 26 | 32 | 0.0063835 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
33 | LV_1085-5_0_3_line_33 | NAYY 4x150 SE | 27 | 28 | 0.027454 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
34 | LV_1085-5_0_3_line_34 | NAYY 4x150 SE | 28 | 29 | 0.014354 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
35 | LV_1085-5_0_3_line_35 | NAYY 4x150 SE | 29 | 35 | 0.0018103 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
36 | LV_1085-5_0_3_line_36 | NAYY 4x150 SE | 30 | 44 | 0.0025245 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
37 | LV_1085-5_0_3_line_37 | NAYY 4x150 SE | 31 | 45 | 0.02684 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
38 | LV_1085-5_0_3_line_38 | NAYY 4x150 SE | 32 | 46 | 0.015902 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
39 | LV_1085-5_0_3_line_39 | NAYY 4x150 SE | 33 | 34 | 0.0097419 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
40 | LV_1085-5_0_3_line_40 | NAYY 4x150 SE | 34 | 37 | 0.02833 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
41 | LV_1085-5_0_3_line_41 | NAYY 4x150 SE | 36 | 38 | 0.018223 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
42 | LV_1085-5_0_3_line_42 | NAYY 4x150 SE | 36 | 39 | 0.012873 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
43 | LV_1085-5_0_3_line_43 | NAYY 4x150 SE | 38 | 50 | 0.040397 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
44 | LV_1085-5_0_3_line_44 | NAYY 4x150 SE | 39 | 46 | 0.0062877 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
45 | LV_1085-5_0_3_line_45 | NAYY 4x150 SE | 40 | 41 | 0.037056 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
46 | LV_1085-5_0_3_line_46 | NAYY 4x150 SE | 42 | 43 | 0.0069466 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
47 | LV_1085-5_0_3_line_47 | NAYY 4x150 SE | 43 | 51 | 0.01478 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
48 | LV_1085-5_0_3_line_48 | NAYY 4x150 SE | 44 | 47 | 0.03778 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
49 | LV_1085-5_0_3_line_49 | NAYY 4x150 SE | 47 | 48 | 0.020233 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
50 | LV_1085-5_0_3_line_50 | NAYY 4x150 SE | 48 | 49 | 0.027324 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_1085-5_0_3_trafo_0 | 0.25 MVA 20/0.4 kV | 52 | 0 | 0.25 | 20 | 0.4 | 6 | 1.44 | 0.8 | 0.32 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6
0 | 2650660.3336 | 1227701.8611 | 2650657.5661 | 1227703.8002
1 | 2650673.323 | 1227692.7604 | 2650660.3336 | 1227701.8611
2 | 2650645.6893 | 1227712.1214 | 2650657.5661 | 1227703.8002
3 | 2650673.323 | 1227692.7604 | 2650668.7691 | 1227684.8176
4 | 2650673.323 | 1227692.7604 | 2650686.0769 | 1227683.8189 | 2650699.9781 | 1227675.1789
5 | 2650637.4342 | 1227717.9052 | 2650645.6893 | 1227712.1214
6 | 2650668.7691 | 1227684.8176 | 2650667.5322 | 1227682.6602
7 | 2650699.9781 | 1227675.1789 | 2650706.1584 | 1227671.3377 | 2650718.7506 | 1227665.3745 | 2650720.488 | 1227664.4131
8 | 2650635.9308 | 1227718.9586 | 2650637.4342 | 1227717.9052
9 | 2650664.5344 | 1227677.4315 | 2650667.5322 | 1227682.6602
10 | 2650728.8617 | 1227659.7794 | 2650720.488 | 1227664.4131
11 | 2650635.9308 | 1227718.9586 | 2650628.7229 | 1227724.4674
12 | 2650635.9308 | 1227718.9586 | 2650638.8207 | 1227735.5491 | 2650638.8771 | 1227744.835
13 | 2650728.8617 | 1227659.7794 | 2650734.1129 | 1227656.2553
14 | 2650728.8617 | 1227659.7794 | 2650737.7275 | 1227682.0768
15 | 2650721.9343 | 1227763.0908 | 2650735.2251 | 1227741.3917
16 | 2650751.2511 | 1227715.2271 | 2650735.2251 | 1227741.3917
17 | 2650756.4449 | 1227705.999 | 2650751.2511 | 1227715.2271
18 | 2650751.2511 | 1227715.2271 | 2650747.7928 | 1227712.8962 | 2650748.3351 | 1227707.0638 | 2650745.7691 | 1227701.7733
19 | 2650756.4449 | 1227705.999 | 2650764.9258 | 1227691.9574
20 | 2650756.4449 | 1227705.999 | 2650764.6595 | 1227710.4051 | 2650786.9878 | 1227723.248
21 | 2650737.7275 | 1227682.0768 | 2650744.6043 | 1227699.3717 | 2650745.7691 | 1227701.7733
22 | 2650786.9878 | 1227723.248 | 2650789.5677 | 1227718.4003 | 2650792.659 | 1227715.7918 | 2650795.673 | 1227714.7939
23 | 2650614.2173 | 1227784.3481 | 2650605.0349 | 1227791.853
24 | 2650598.0283 | 1227798.0635 | 2650600.2908 | 1227795.7702 | 2650603.6487 | 1227792.9859 | 2650605.0349 | 1227791.853
25 | 2650614.2173 | 1227784.3481 | 2650587.4282 | 1227756.0472
26 | 2650596.5153 | 1227795.9827 | 2650598.0283 | 1227798.0635
27 | 2650587.4282 | 1227756.0472 | 2650572.0462 | 1227743.4753
28 | 2650587.4282 | 1227756.0472 | 2650595.8003 | 1227749.6447
29 | 2650587.4282 | 1227756.0472 | 2650573.7523 | 1227766.9314
30 | 2650572.0462 | 1227743.4753 | 2650549.974 | 1227725.421 | 2650548.5159 | 1227724.2625
31 | 2650572.0462 | 1227743.4753 | 2650573.8688 | 1227738.5544 | 2650578.9669 | 1227730.7372 | 2650580.4317 | 1227729.4371
32 | 2650600.871 | 1227745.7669 | 2650595.8003 | 1227749.6447
33 | 2650550.103 | 1227780.69 | 2650551.8751 | 1227779.0373 | 2650572.3068 | 1227768.0818 | 2650573.7523 | 1227766.9314
34 | 2650550.103 | 1227780.69 | 2650539.6262 | 1227790.502
35 | 2650538.3049 | 1227791.7394 | 2650539.6262 | 1227790.502
36 | 2650548.5159 | 1227724.2625 | 2650546.5393 | 1227722.692
37 | 2650599.8911 | 1227711.0021 | 2650593.8906 | 1227716.1216 | 2650586.3121 | 1227724.2178 | 2650580.4317 | 1227729.4371
38 | 2650600.871 | 1227745.7669 | 2650613.5025 | 1227736.107
39 | 2650640.2638 | 1227773.0753 | 2650641.2961 | 1227780.3537 | 2650641.9457 | 1227782.6543
40 | 2650638.8771 | 1227744.835 | 2650638.9942 | 1227764.124 | 2650640.2638 | 1227773.0753
41 | 2650628.7229 | 1227724.4674 | 2650619.4263 | 1227708.7939
42 | 2650628.7229 | 1227724.4674 | 2650618.4971 | 1227732.2875
43 | 2650628.7035 | 1227676.7536 | 2650627.5309 | 1227681.9862 | 2650617.5029 | 1227689.4056 | 2650613.6168 | 1227692.8191 | 2650613.5807 | 1227697.0659 | 2650615.9705 | 1227702.9677 | 2650619.4263 | 1227708.7939
44 | 2650618.4971 | 1227732.2875 | 2650613.5025 | 1227736.107
45 | 2650820.9841 | 1227689.4725 | 2650809.3824 | 1227707.0179 | 2650805.0759 | 1227710.8279 | 2650802.2189 | 1227712.6269 | 2650795.673 | 1227714.7939
46 | 2650734.1129 | 1227656.2553 | 2650740.5969 | 1227653.7626
47 | 2650754.7835 | 1227649.8726 | 2650750.9487 | 1227650.3062 | 2650744.4679 | 1227652.2744 | 2650740.5969 | 1227653.7626
48 | 2650517.4617 | 1227698.6137 | 2650523.5242 | 1227704.4055 | 2650546.5393 | 1227722.692
49 | 2650517.4617 | 1227698.6137 | 2650502.8322 | 1227684.637
50 | 2650502.8322 | 1227684.637 | 2650495.2382 | 1227677.382 | 2650483.3346 | 1227665.4959

## bus_geodata
| x | y | coords
0 | 2650660.3336 | 1227701.8611
1 | 2650657.5661 | 1227703.8002
2 | 2650673.323 | 1227692.7604
3 | 2650645.6893 | 1227712.1214
4 | 2650668.7691 | 1227684.8176
5 | 2650699.9781 | 1227675.1789
6 | 2650637.4342 | 1227717.9052
7 | 2650667.5322 | 1227682.6602
8 | 2650720.488 | 1227664.4131
9 | 2650635.9308 | 1227718.9586
10 | 2650664.5344 | 1227677.4315
11 | 2650728.8617 | 1227659.7794
12 | 2650721.9343 | 1227763.0908
13 | 2650735.2251 | 1227741.3917
14 | 2650751.2511 | 1227715.2271
15 | 2650756.4449 | 1227705.999
16 | 2650745.7691 | 1227701.7733
17 | 2650764.9258 | 1227691.9574
18 | 2650786.9878 | 1227723.248
19 | 2650737.7275 | 1227682.0768
20 | 2650605.0349 | 1227791.853
21 | 2650614.2173 | 1227784.3481
22 | 2650598.0283 | 1227798.0635
23 | 2650587.4282 | 1227756.0472
24 | 2650596.5153 | 1227795.9827
25 | 2650572.0462 | 1227743.4753
26 | 2650595.8003 | 1227749.6447
27 | 2650573.7523 | 1227766.9314
28 | 2650550.103 | 1227780.69
29 | 2650539.6262 | 1227790.502
30 | 2650548.5159 | 1227724.2625
31 | 2650580.4317 | 1227729.4371
32 | 2650600.871 | 1227745.7669
33 | 2650641.9457 | 1227782.6543
34 | 2650640.2638 | 1227773.0753
35 | 2650538.3049 | 1227791.7394
36 | 2650628.7229 | 1227724.4674
37 | 2650638.8771 | 1227744.835
38 | 2650619.4263 | 1227708.7939
39 | 2650618.4971 | 1227732.2875
40 | 2650795.673 | 1227714.7939
41 | 2650820.9841 | 1227689.4725
42 | 2650734.1129 | 1227656.2553
43 | 2650740.5969 | 1227653.7626
44 | 2650546.5393 | 1227722.692
45 | 2650599.8911 | 1227711.0021
46 | 2650613.5025 | 1227736.107
47 | 2650517.4617 | 1227698.6137
48 | 2650502.8322 | 1227684.637
49 | 2650483.3346 | 1227665.4959
50 | 2650628.7035 | 1227676.7536
51 | 2650754.7835 | 1227649.8726
52 | 2650673.323 | 1227692.7604

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## res_bus
| vm_pu | va_degree | p_mw | q_mvar
0 | 1 | 0 | -0.21221 | -0.053249
1 | 0.99958 | -0.0029059 | 0.00040863 | 0.00010241
2 | 0.99859 | -0.0097737 | 0 | 0
3 | 0.9978 | -0.015345 | 0.0051227 | 0.0012839
4 | 0.99857 | -0.0098746 | 0.00040844 | 0.00010237
5 | 0.99577 | -0.029364 | 0.0011173 | 0.00028002
6 | 0.99663 | -0.023498 | 0.0022845 | 0.00057255
7 | 0.99857 | -0.0098919 | 0.00018551 | 4.6492e-05
8 | 0.99375 | -0.043528 | 0.014368 | 0.0036009
9 | 0.99643 | -0.024942 | 0 | 0
10 | 0.99857 | -0.0099225 | 0.00050667 | 0.00012698
11 | 0.99301 | -0.048693 | 0 | 0
12 | 0.98415 | -0.11127 | 0.014567 | 0.0036507
13 | 0.98468 | -0.10745 | 0.016541 | 0.0041456
14 | 0.98606 | -0.097638 | 0 | 0
15 | 0.98564 | -0.10067 | 0 | 0
16 | 0.98742 | -0.088019 | 0.016418 | 0.0041146
17 | 0.98547 | -0.10184 | 0.0069824 | 0.0017499
18 | 0.98458 | -0.10819 | 0 | 0
19 | 0.98974 | -0.07163 | 0.018724 | 0.0046926
20 | 0.99136 | -0.060596 | 0.0045696 | 0.0011452
21 | 0.99154 | -0.059273 | 0 | 0
22 | 0.99127 | -0.061206 | 0 | 0
23 | 0.99216 | -0.054936 | 0 | 0
24 | 0.99125 | -0.061373 | 0.0064108 | 0.0016067
25 | 0.99155 | -0.059198 | 0 | 0
26 | 0.99284 | -0.050127 | 0.0011376 | 0.00028512
27 | 0.99183 | -0.057217 | 0.0038492 | 0.0009647
28 | 0.99148 | -0.059729 | 0 | 0
29 | 0.99129 | -0.061043 | 0.0070149 | 0.0017581
30 | 0.99085 | -0.064142 | 0.002061 | 0.00051653
31 | 0.99143 | -0.060063 | 0.0023332 | 0.00058475
32 | 0.99326 | -0.047144 | 0.0011356 | 0.0002846
33 | 0.99479 | -0.03645 | 0.0072184 | 0.0018091
34 | 0.99489 | -0.035741 | 0.0082055 | 0.0020565
35 | 0.99129 | -0.061079 | 0.0019973 | 0.00050057
36 | 0.99572 | -0.02986 | 0 | 0
37 | 0.99552 | -0.031337 | 0.0088983 | 0.0022301
38 | 0.99564 | -0.030464 | 0.0022845 | 0.00057255
39 | 0.99479 | -0.036433 | 0.0016843 | 0.00042214
40 | 0.98419 | -0.11092 | 0.016431 | 0.004118
41 | 0.98396 | -0.11262 | 0.0044534 | 0.0011161
42 | 0.9929 | -0.049496 | 0 | 0
43 | 0.99277 | -0.050381 | 0.0079405 | 0.0019901
44 | 0.9908 | -0.0645 | 0.00082232 | 0.00020609
45 | 0.99132 | -0.060831 | 0.0028179 | 0.00070624
46 | 0.99434 | -0.039542 | 0.0016843 | 0.00042214
47 | 0.99009 | -0.069549 | 0.0038207 | 0.00095755
48 | 0.98982 | -0.071468 | 0.0041267 | 0.0010342
49 | 0.98961 | -0.072911 | 0.0051822 | 0.0012988
50 | 0.99558 | -0.030875 | 0.0010074 | 0.00025247
51 | 0.99267 | -0.051074 | 0.0046335 | 0.0011613
52 | 0.99998 | 149.9947 | 0 | 0

## res_line
| p_from_mw | q_from_mvar | p_to_mw | q_to_mvar | pl_mw | ql_mvar | i_from_ka | i_to_ka | i_ka | vm_from_pu | va_from_degree | vm_to_pu | va_to_degree | loading_percent
0 | 0.086661 | 0.021791 | -0.086626 | -0.021777 | 3.5078e-05 | 1.3447e-05 | 0.12898 | 0.12898 | 0.12898 | 1 | 0 | 0.99958 | -0.0029059 | 47.7697
1 | 0.12475 | 0.031458 | -0.12458 | -0.031393 | 0.00017064 | 6.5217e-05 | 0.1857 | 0.1857 | 0.1857 | 1 | 0 | 0.99859 | -0.0097737 | 34.3891
2 | 0.086217 | 0.021675 | -0.086068 | -0.021618 | 0.00014912 | 5.7164e-05 | 0.12837 | 0.12837 | 0.12837 | 0.99958 | -0.0029059 | 0.9978 | -0.015345 | 47.5444
3 | 0.0011006 | 0.00027562 | -0.0011006 | -0.00027573 | 1.5366e-08 | -1.1386e-07 | 0.00164 | 0.00164 | 0.00164 | 0.99859 | -0.0097737 | 0.99857 | -0.0098746 | 0.60743
4 | 0.12348 | 0.031117 | -0.12314 | -0.030988 | 0.00033765 | 0.00012903 | 0.18406 | 0.18406 | 0.18406 | 0.99859 | -0.0097737 | 0.99577 | -0.029364 | 34.0854
5 | 0.080945 | 0.020334 | -0.080854 | -0.020299 | 9.1677e-05 | 3.5129e-05 | 0.12073 | 0.12073 | 0.12073 | 0.9978 | -0.015345 | 0.99663 | -0.023498 | 44.715
6 | 0.00069218 | 0.00017337 | -0.00069218 | -0.0001734 | 1.6509e-09 | -3.1898e-08 | 0.0010314 | 0.0010314 | 0.0010314 | 0.99857 | -0.0098746 | 0.99857 | -0.0098919 | 0.38201
7 | 0.12203 | 0.030708 | -0.12179 | -0.030616 | 0.00024075 | 9.1993e-05 | 0.18239 | 0.18239 | 0.18239 | 0.99577 | -0.029364 | 0.99375 | -0.043528 | 33.7763
8 | 0.078569 | 0.019726 | -0.078554 | -0.01972 | 1.5766e-05 | 6.0401e-06 | 0.11732 | 0.11732 | 0.11732 | 0.99663 | -0.023498 | 0.99643 | -0.024942 | 43.4517
9 | 0.00050668 | 0.00012691 | -0.00050667 | -0.00012698 | 2.1438e-09 | -7.8021e-08 | 0.00075499 | 0.00075502 | 0.00075502 | 0.99857 | -0.0098919 | 0.99857 | -0.0099225 | 0.27964
10 | 0.10742 | 0.027015 | -0.10734 | -0.026986 | 7.7281e-05 | 2.9476e-05 | 0.16088 | 0.16088 | 0.16088 | 0.99375 | -0.043528 | 0.99301 | -0.048693 | 29.7922
11 | 0.0542 | 0.013613 | -0.054163 | -0.013599 | 3.703e-05 | 1.4124e-05 | 0.08095 | 0.08095 | 0.08095 | 0.99643 | -0.024942 | 0.99572 | -0.02986 | 29.9813
12 | 0.024354 | 0.0061071 | -0.024332 | -0.0060991 | 2.1565e-05 | 7.9543e-06 | 0.03637 | 0.03637 | 0.03637 | 0.99643 | -0.024942 | 0.99552 | -0.031337 | 13.4704
13 | 0.012577 | 0.0031523 | -0.012576 | -0.0031518 | 1.3991e-06 | 4.5646e-07 | 0.018847 | 0.018847 | 0.018847 | 0.99301 | -0.048693 | 0.9929 | -0.049496 | 6.9804
14 | 0.094763 | 0.023833 | -0.094461 | -0.023718 | 0.00030205 | 0.00011586 | 0.14203 | 0.14203 | 0.14203 | 0.99301 | -0.048693 | 0.98974 | -0.07163 | 52.604
15 | -0.014567 | -0.0036507 | 0.014574 | 0.0036534 | 7.7021e-06 | 2.6388e-06 | 0.022024 | 0.022024 | 0.022024 | 0.98415 | -0.11127 | 0.98468 | -0.10745 | 8.1572
16 | -0.031115 | -0.0077989 | 0.031158 | 0.0078148 | 4.233e-05 | 1.589e-05 | 0.047021 | 0.04702 | 0.047021 | 0.98468 | -0.10745 | 0.98606 | -0.097638 | 17.415
17 | 0.02791 | 0.0069994 | -0.027899 | -0.006995 | 1.1716e-05 | 4.371e-06 | 0.04212 | 0.04212 | 0.04212 | 0.98606 | -0.097638 | 0.98564 | -0.10067 | 15.5999
18 | -0.059068 | -0.014814 | 0.059147 | 0.014844 | 7.8876e-05 | 3.0134e-05 | 0.08914 | 0.08914 | 0.08914 | 0.98606 | -0.097638 | 0.98742 | -0.088019 | 33.0148
19 | 0.0069835 | 0.0017502 | -0.0069824 | -0.0017499 | 1.1378e-06 | 2.2858e-07 | 0.010543 | 0.010543 | 0.010543 | 0.98564 | -0.10067 | 0.98547 | -0.10184 | 3.9048
20 | 0.020915 | 0.0052449 | -0.020893 | -0.0052369 | 2.1778e-05 | 7.9306e-06 | 0.031577 | 0.031577 | 0.031577 | 0.98564 | -0.10067 | 0.98458 | -0.10819 | 11.6951
21 | -0.075565 | -0.018959 | 0.075737 | 0.019025 | 0.00017222 | 6.5965e-05 | 0.11388 | 0.11388 | 0.11388 | 0.98742 | -0.088019 | 0.98974 | -0.07163 | 42.1781
22 | 0.020893 | 0.0052369 | -0.020885 | -0.0052341 | 7.9088e-06 | 2.8802e-06 | 0.031577 | 0.031577 | 0.031577 | 0.98458 | -0.10819 | 0.98419 | -0.11092 | 11.6951
23 | -0.010981 | -0.0027521 | 0.010983 | 0.0027527 | 2.0104e-06 | 6.203e-07 | 0.016483 | 0.016482 | 0.016483 | 0.99136 | -0.060596 | 0.99154 | -0.059273 | 6.1046
24 | 0.0064115 | 0.0016068 | -0.006411 | -0.0016067 | 5.4172e-07 | 8.7505e-08 | 0.0096236 | 0.0096236 | 0.0096236 | 0.99136 | -0.060596 | 0.99127 | -0.061206 | 3.5643
25 | -0.010983 | -0.0027527 | 0.01099 | 0.0027547 | 6.5974e-06 | 2.0352e-06 | 0.016482 | 0.016482 | 0.016482 | 0.99154 | -0.059273 | 0.99216 | -0.054936 | 6.1046
26 | 0.006411 | 0.0016067 | -0.0064108 | -0.0016067 | 1.4852e-07 | 2.3995e-08 | 0.0096236 | 0.0096236 | 0.0096236 | 0.99127 | -0.061206 | 0.99125 | -0.061373 | 3.5643
27 | 0.021202 | 0.0053164 | -0.021189 | -0.0053118 | 1.2513e-05 | 4.5569e-06 | 0.031799 | 0.031799 | 0.031799 | 0.99216 | -0.054936 | 0.99155 | -0.059198 | 11.7774
28 | -0.045062 | -0.011297 | 0.045092 | 0.011309 | 3.004e-05 | 1.1418e-05 | 0.067584 | 0.067584 | 0.067584 | 0.99216 | -0.054936 | 0.99284 | -0.050127 | 25.0311
29 | 0.01287 | 0.003226 | -0.012866 | -0.0032247 | 4.0638e-06 | 1.3373e-06 | 0.019303 | 0.019303 | 0.019303 | 0.99216 | -0.054936 | 0.99183 | -0.057217 | 7.1492
30 | 0.016037 | 0.004021 | -0.016026 | -0.0040172 | 1.098e-05 | 3.8316e-06 | 0.024068 | 0.024068 | 0.024068 | 0.99155 | -0.059198 | 0.99085 | -0.064142 | 8.914
31 | 0.005152 | 0.0012908 | -0.0051514 | -0.0012908 | 6.169e-07 | 2.397e-08 | 0.0077315 | 0.0077315 | 0.0077315 | 0.99155 | -0.059198 | 0.99143 | -0.060063 | 2.8635
32 | -0.046229 | -0.011594 | 0.046249 | 0.011601 | 1.9124e-05 | 7.2727e-06 | 0.069289 | 0.069289 | 0.069289 | 0.99284 | -0.050127 | 0.99326 | -0.047144 | 25.6626
33 | 0.009017 | 0.00226 | -0.0090139 | -0.0022591 | 3.1352e-06 | 8.5164e-07 | 0.013528 | 0.013528 | 0.013528 | 0.99183 | -0.057217 | 0.99148 | -0.059729 | 5.0104
34 | 0.0090139 | 0.0022591 | -0.0090123 | -0.0022587 | 1.6392e-06 | 4.4538e-07 | 0.013528 | 0.013528 | 0.013528 | 0.99148 | -0.059729 | 0.99129 | -0.061043 | 5.0104
35 | 0.0019973 | 0.00050055 | -0.0019973 | -0.00050057 | 1.0154e-08 | -1.9433e-08 | 0.0029981 | 0.0029981 | 0.0029981 | 0.99129 | -0.061043 | 0.99129 | -0.061079 | 1.1104
36 | 0.013965 | 0.0035007 | -0.013965 | -0.0035004 | 6.929e-07 | 2.3399e-07 | 0.020973 | 0.020973 | 0.020973 | 0.99085 | -0.064142 | 0.9908 | -0.0645 | 7.7676
37 | 0.0028182 | 0.00070601 | -0.0028179 | -0.00070624 | 2.9964e-07 | -2.3083e-07 | 0.0042297 | 0.0042298 | 0.0042298 | 0.99143 | -0.060063 | 0.99132 | -0.060831 | 1.5666
38 | -0.047384 | -0.011886 | 0.047434 | 0.011905 | 5.0006e-05 | 1.9027e-05 | 0.07099 | 0.07099 | 0.07099 | 0.99326 | -0.047144 | 0.99434 | -0.039542 | 26.2926
39 | -0.0072184 | -0.0018091 | 0.0072191 | 0.0018093 | 7.087e-07 | 1.4609e-07 | 0.010797 | 0.010797 | 0.010797 | 0.99479 | -0.03645 | 0.99489 | -0.035741 | 3.999
40 | -0.015425 | -0.0038657 | 0.015434 | 0.003869 | 9.4086e-06 | 3.2506e-06 | 0.02307 | 0.02307 | 0.02307 | 0.99489 | -0.035741 | 0.99552 | -0.031337 | 8.5444
41 | 0.0032922 | 0.00082438 | -0.0032919 | -0.00082452 | 2.7522e-07 | -1.3116e-07 | 0.0049196 | 0.0049197 | 0.0049197 | 0.99572 | -0.02986 | 0.99564 | -0.030464 | 1.8221
42 | 0.05087 | 0.012775 | -0.050824 | -0.012757 | 4.6435e-05 | 1.7692e-05 | 0.07603 | 0.07603 | 0.07603 | 0.99572 | -0.02986 | 0.99479 | -0.036433 | 28.1593
43 | 0.0010074 | 0.00025196 | -0.0010074 | -0.00025247 | 5.7137e-08 | -5.0337e-07 | 0.0015054 | 0.0015056 | 0.0015056 | 0.99564 | -0.030464 | 0.99558 | -0.030875 | 0.55764
44 | 0.04914 | 0.012335 | -0.049118 | -0.012327 | 2.1202e-05 | 8.073e-06 | 0.073511 | 0.073511 | 0.073511 | 0.99479 | -0.036433 | 0.99434 | -0.039542 | 27.2261
45 | 0.0044545 | 0.0011161 | -0.0044534 | -0.0011161 | 1.0488e-06 | -6.7407e-08 | 0.0067347 | 0.0067348 | 0.0067348 | 0.98419 | -0.11092 | 0.98396 | -0.11262 | 2.4944
46 | 0.012576 | 0.0031518 | -0.012574 | -0.0031513 | 1.5397e-06 | 5.0238e-07 | 0.018847 | 0.018847 | 0.018847 | 0.9929 | -0.049496 | 0.99277 | -0.050381 | 6.9804
47 | 0.0046339 | 0.0011612 | -0.0046335 | -0.0011613 | 4.449e-07 | -1.997e-08 | 0.0069455 | 0.0069456 | 0.0069456 | 0.99277 | -0.050381 | 0.99267 | -0.051074 | 2.5724
48 | 0.013142 | 0.0032944 | -0.013133 | -0.0032913 | 9.1841e-06 | 3.0461e-06 | 0.019738 | 0.019738 | 0.019738 | 0.9908 | -0.0645 | 0.99009 | -0.069549 | 7.3103
49 | 0.0093124 | 0.0023338 | -0.0093099 | -0.0023331 | 2.473e-06 | 6.9104e-07 | 0.013996 | 0.013996 | 0.013996 | 0.99009 | -0.069549 | 0.98982 | -0.071468 | 5.1836
50 | 0.0051832 | 0.0012988 | -0.0051822 | -0.0012988 | 1.0352e-06 | 4.7026e-08 | 0.007792 | 0.0077921 | 0.0077921 | 0.98982 | -0.071468 | 0.98961 | -0.072911 | 2.886

## res_trafo
| p_hv_mw | q_hv_mvar | p_lv_mw | q_lv_mvar | pl_mw | ql_mvar | i_hv_ka | i_lv_ka | vm_hv_pu | va_hv_degree | vm_lv_pu | va_lv_degree | loading_percent
0 | 2.5187e-16 | 8.8016e-16 | 0.00079998 | 7.4552e-08 | 0.00079998 | 7.4552e-08 | 2.6429e-17 | 0.0011547 | 0.99998 | 149.9947 | 1 | 0 | 0.31999

## res_ext_grid
| p_mw | q_mvar
0 | 0.21508 | 0.053968

## res_load
| p_mw | q_mvar
0 | 0.0028689 | 0.000719
1 | 0.00040863 | 0.00010241
2 | 0.0051227 | 0.0012839
3 | 0.00040844 | 0.00010237
4 | 0.0011173 | 0.00028002
5 | 0.0022845 | 0.00057255
6 | 0.00018551 | 4.6492e-05
7 | 0.014368 | 0.0036009
8 | 0.00050667 | 0.00012698
9 | 0.014567 | 0.0036507
10 | 0.016541 | 0.0041456
11 | 0.016418 | 0.0041146
12 | 0.0069824 | 0.0017499
13 | 0.018724 | 0.0046926
14 | 0.0045696 | 0.0011452
15 | 0.0064108 | 0.0016067
16 | 0.0011376 | 0.00028512
17 | 0.0038492 | 0.0009647
18 | 0.0070149 | 0.0017581
19 | 0.002061 | 0.00051653
20 | 0.0023332 | 0.00058475
21 | 0.0011356 | 0.0002846
22 | 0.0072184 | 0.0018091
23 | 0.0082055 | 0.0020565
24 | 0.0019973 | 0.00050057
25 | 0.0088983 | 0.0022301
26 | 0.0022845 | 0.00057255
27 | 0.0016843 | 0.00042214
28 | 0.016431 | 0.004118
29 | 0.0044534 | 0.0011161
30 | 0.0079405 | 0.0019901
31 | 0.00082232 | 0.00020609
32 | 0.0028179 | 0.00070624
33 | 0.0016843 | 0.00042214
34 | 0.0038207 | 0.00095755
35 | 0.0041267 | 0.0010342
36 | 0.0051822 | 0.0012988
37 | 0.0010074 | 0.00025247
38 | 0.0046335 | 0.0011613

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object
62 | res_bus | vm_pu | float64
63 | res_bus | va_degree | float64
64 | res_bus | p_mw | float64
65 | res_bus | q_mvar | float64
66 | res_line | p_from_mw | float64
67 | res_line | q_from_mvar | float64
68 | res_line | p_to_mw | float64
69 | res_line | q_to_mvar | float64
70 | res_line | pl_mw | float64
71 | res_line | ql_mvar | float64
72 | res_line | i_from_ka | float64
73 | res_line | i_to_ka | float64
74 | res_line | i_ka | float64
75 | res_line | vm_from_pu | float64
76 | res_line | va_from_degree | float64
77 | res_line | vm_to_pu | float64
78 | res_line | va_to_degree | float64
79 | res_line | loading_percent | float64
80 | res_trafo | p_hv_mw | float64
81 | res_trafo | q_hv_mvar | float64
82 | res_trafo | p_lv_mw | float64
83 | res_trafo | q_lv_mvar | float64
84 | res_trafo | pl_mw | float64
85 | res_trafo | ql_mvar | float64
86 | res_trafo | i_hv_ka | float64
87 | res_trafo | i_lv_ka | float64
88 | res_trafo | vm_hv_pu | float64
89 | res_trafo | va_hv_degree | float64
90 | res_trafo | vm_lv_pu | float64
91 | res_trafo | va_lv_degree | float64
92 | res_trafo | loading_percent | float64
93 | res_ext_grid | p_mw | float64
94 | res_ext_grid | q_mvar | float64
95 | res_load | p_mw | float64
96 | res_load | q_mvar | float64

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | TRUE | FALSE |  | 50 | 1