## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_1085-8_0_3_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_1085-8_0_3_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_1085-8_0_3_node_3 | 0.4 | n |  | TRUE
3 | bus_LV_1085-8_0_3_node_38 | 0.4 | n |  | TRUE
4 | bus_LV_1085-8_0_3_node_39 | 0.4 | n |  | TRUE
5 | bus_LV_1085-8_0_3_node_34 | 0.4 | n |  | TRUE
6 | bus_LV_1085-8_0_3_node_4 | 0.4 | n |  | TRUE
7 | bus_LV_1085-8_0_3_node_32 | 0.4 | n |  | TRUE
8 | bus_LV_1085-8_0_3_node_31 | 0.4 | n |  | TRUE
9 | bus_LV_1085-8_0_3_node_40 | 0.4 | n |  | TRUE
10 | bus_LV_1085-8_0_3_node_48 | 0.4 | n |  | TRUE
11 | bus_LV_1085-8_0_3_node_50 | 0.4 | n |  | TRUE
12 | bus_LV_1085-8_0_3_node_49 | 0.4 | n |  | TRUE
13 | bus_LV_1085-8_0_3_node_51 | 0.4 | n |  | TRUE
14 | bus_LV_1085-8_0_3_node_47 | 0.4 | n |  | TRUE
15 | bus_LV_1085-8_0_3_node_5 | 0.4 | n |  | TRUE
16 | bus_LV_1085-8_0_3_node_6 | 0.4 | n |  | TRUE
17 | bus_LV_1085-8_0_3_node_7 | 0.4 | n |  | TRUE
18 | bus_LV_1085-8_0_3_node_8 | 0.4 | n |  | TRUE
19 | bus_LV_1085-8_0_3_node_9 | 0.4 | n |  | TRUE
20 | bus_LV_1085-8_0_3_node_59 | 0.4 | n |  | TRUE
21 | bus_LV_1085-8_0_3_node_43 | 0.4 | n |  | TRUE
22 | bus_LV_1085-8_0_3_node_60 | 0.4 | n |  | TRUE
23 | bus_LV_1085-8_0_3_node_42 | 0.4 | n |  | TRUE
24 | bus_LV_1085-8_0_3_node_61 | 0.4 | n |  | TRUE
25 | bus_LV_1085-8_0_3_node_10 | 0.4 | n |  | TRUE
26 | bus_LV_1085-8_0_3_node_11 | 0.4 | n |  | TRUE
27 | bus_LV_1085-8_0_3_node_12 | 0.4 | n |  | TRUE
28 | bus_LV_1085-8_0_3_node_13 | 0.4 | n |  | TRUE
29 | bus_LV_1085-8_0_3_node_14 | 0.4 | n |  | TRUE
30 | bus_LV_1085-8_0_3_node_44 | 0.4 | n |  | TRUE
31 | bus_LV_1085-8_0_3_node_23 | 0.4 | n |  | TRUE
32 | bus_LV_1085-8_0_3_node_15 | 0.4 | n |  | TRUE
33 | bus_LV_1085-8_0_3_node_45 | 0.4 | n |  | TRUE
34 | bus_LV_1085-8_0_3_node_22 | 0.4 | n |  | TRUE
35 | bus_LV_1085-8_0_3_node_16 | 0.4 | n |  | TRUE
36 | bus_LV_1085-8_0_3_node_17 | 0.4 | n |  | TRUE
37 | bus_LV_1085-8_0_3_node_18 | 0.4 | n |  | TRUE
38 | bus_LV_1085-8_0_3_node_19 | 0.4 | n |  | TRUE
39 | bus_LV_1085-8_0_3_node_20 | 0.4 | n |  | TRUE
40 | bus_LV_1085-8_0_3_node_21 | 0.4 | n |  | TRUE
41 | bus_LV_1085-8_0_3_node_27 | 0.4 | n |  | TRUE
42 | bus_LV_1085-8_0_3_node_33 | 0.4 | n |  | TRUE
43 | bus_LV_1085-8_0_3_node_24 | 0.4 | n |  | TRUE
44 | bus_LV_1085-8_0_3_node_25 | 0.4 | n |  | TRUE
45 | bus_LV_1085-8_0_3_node_26 | 0.4 | n |  | TRUE
46 | bus_LV_1085-8_0_3_node_55 | 0.4 | n |  | TRUE
47 | bus_LV_1085-8_0_3_node_52 | 0.4 | n |  | TRUE
48 | bus_LV_1085-8_0_3_node_41 | 0.4 | n |  | TRUE
49 | bus_LV_1085-8_0_3_node_56 | 0.4 | n |  | TRUE
50 | bus_LV_1085-8_0_3_node_53 | 0.4 | n |  | TRUE
51 | bus_LV_1085-8_0_3_node_28 | 0.4 | n |  | TRUE
52 | bus_LV_1085-8_0_3_node_29 | 0.4 | n |  | TRUE
53 | bus_LV_1085-8_0_3_node_30 | 0.4 | n |  | TRUE
54 | bus_LV_1085-8_0_3_node_35 | 0.4 | n |  | TRUE
55 | bus_LV_1085-8_0_3_node_36 | 0.4 | n |  | TRUE
56 | bus_LV_1085-8_0_3_node_37 | 0.4 | n |  | TRUE
57 | bus_LV_1085-8_0_3_node_46 | 0.4 | n |  | TRUE
58 | bus_LV_1085-8_0_3_node_65 | 0.4 | n |  | TRUE
59 | bus_LV_1085-8_0_3_node_66 | 0.4 | n |  | TRUE
60 | bus_LV_1085-8_0_3_node_54 | 0.4 | n |  | TRUE
61 | bus_LV_1085-8_0_3_node_58 | 0.4 | n |  | TRUE
62 | bus_LV_1085-8_0_3_node_57 | 0.4 | n |  | TRUE
63 | bus_LV_1085-8_0_3_node_64 | 0.4 | n |  | TRUE
64 | bus_LV_1085-8_0_3_node_63 | 0.4 | n |  | TRUE
65 | bus_LV_1085-8_0_3_node_62 | 0.4 | n |  | TRUE
66 | bus_LV_1085-8_0_3_node_70 | 0.4 | n |  | TRUE
67 | bus_LV_1085-8_0_3_node_67 | 0.4 | n |  | TRUE
68 | bus_LV_1085-8_0_3_node_68 | 0.4 | n |  | TRUE
69 | bus_LV_1085-8_0_3_node_69 | 0.4 | n |  | TRUE
70 | bus_MV_473_0_node_35 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_1085-8_0_3_load_0 | 0 | 0.0032508 | 0.00081472 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_1085-8_0_3_load_1 | 1 | 0.0041895 | 0.00105 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_1085-8_0_3_load_3 | 2 | 0.0097559 | 0.0024451 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_1085-8_0_3_load_38 | 3 | 0.0027274 | 0.00068356 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_1085-8_0_3_load_34 | 5 | 0.0027247 | 0.00068288 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_1085-8_0_3_load_4 | 6 | 0.0090661 | 0.0022722 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_1085-8_0_3_load_32 | 7 | 0.0031625 | 0.00079258 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_1085-8_0_3_load_31 | 8 | 0.001791 | 0.00044887 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_1085-8_0_3_load_48 | 10 | 0.0022336 | 0.0005598 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_1085-8_0_3_load_50 | 11 | 0.0020544 | 0.00051487 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_1085-8_0_3_load_49 | 12 | 0.0037186 | 0.00093196 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_1085-8_0_3_load_51 | 13 | 0.010767 | 0.0026985 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_1085-8_0_3_load_47 | 14 | 0.00083762 | 0.00020993 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_1085-8_0_3_load_5 | 15 | 0.0014957 | 0.00037486 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_1085-8_0_3_load_6 | 16 | 0.0025347 | 0.00063527 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_1085-8_0_3_load_8 | 18 | 0.0033989 | 0.00085184 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_1085-8_0_3_load_9 | 19 | 0.001629 | 0.00040826 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_1085-8_0_3_load_59 | 20 | 0.0023198 | 0.00058139 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_1085-8_0_3_load_43 | 21 | 0.0047984 | 0.0012026 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_1085-8_0_3_load_60 | 22 | 0.0029179 | 0.00073131 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_1085-8_0_3_load_42 | 23 | 0.0028374 | 0.00071111 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_1085-8_0_3_load_61 | 24 | 0.0033329 | 0.00083532 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_1085-8_0_3_load_10 | 25 | 0.004755 | 0.0011917 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_1085-8_0_3_load_11 | 26 | 0.0026169 | 0.00065585 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_1085-8_0_3_load_12 | 27 | 0.0027092 | 0.00067899 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_1085-8_0_3_load_14 | 29 | 0.0018752 | 0.00046996 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_1085-8_0_3_load_44 | 30 | 0.0024696 | 0.00061894 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_1085-8_0_3_load_23 | 31 | 0.0030186 | 0.00075654 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_1085-8_0_3_load_15 | 32 | 0.0021361 | 0.00053537 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_1085-8_0_3_load_45 | 33 | 0.0061116 | 0.0015317 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_1085-8_0_3_load_22 | 34 | 0.0036501 | 0.0009148 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_1085-8_0_3_load_16 | 35 | 0.0042191 | 0.0010574 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_1085-8_0_3_load_17 | 36 | 0.0030534 | 0.00076525 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_1085-8_0_3_load_18 | 37 | 0.0034004 | 0.00085221 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_1085-8_0_3_load_19 | 38 | 0.002716 | 0.00068068 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_1085-8_0_3_load_20 | 39 | 0.0033747 | 0.00084578 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_1085-8_0_3_load_21 | 40 | 0.0024928 | 0.00062474 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_1085-8_0_3_load_27 | 41 | 0.0016948 | 0.00042476 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_1085-8_0_3_load_33 | 42 | 0.0026298 | 0.00065908 | 0 | 0 |  | 1 | TRUE | wye
39 | LV_1085-8_0_3_load_26 | 45 | 0.0061392 | 0.0015386 | 0 | 0 |  | 1 | TRUE | wye
40 | LV_1085-8_0_3_load_55 | 46 | 0.006152 | 0.0015418 | 0 | 0 |  | 1 | TRUE | wye
41 | LV_1085-8_0_3_load_52 | 47 | 0.0094335 | 0.0023642 | 0 | 0 |  | 1 | TRUE | wye
42 | LV_1085-8_0_3_load_41 | 48 | 0.0033727 | 0.00084529 | 0 | 0 |  | 1 | TRUE | wye
43 | LV_1085-8_0_3_load_56 | 49 | 0.0055198 | 0.0013834 | 0 | 0 |  | 1 | TRUE | wye
44 | LV_1085-8_0_3_load_53 | 50 | 0.0090501 | 0.0022682 | 0 | 0 |  | 1 | TRUE | wye
45 | LV_1085-8_0_3_load_28 | 51 | 0.0055736 | 0.0013969 | 0 | 0 |  | 1 | TRUE | wye
46 | LV_1085-8_0_3_load_29 | 52 | 0.0023969 | 0.00060072 | 0 | 0 |  | 1 | TRUE | wye
47 | LV_1085-8_0_3_load_30 | 53 | 0.0025213 | 0.00063189 | 0 | 0 |  | 1 | TRUE | wye
48 | LV_1085-8_0_3_load_35 | 54 | 0.0028154 | 0.0007056 | 0 | 0 |  | 1 | TRUE | wye
49 | LV_1085-8_0_3_load_36 | 55 | 0.0025425 | 0.00063721 | 0 | 0 |  | 1 | TRUE | wye
50 | LV_1085-8_0_3_load_37 | 56 | 0.00245 | 0.00061402 | 0 | 0 |  | 1 | TRUE | wye
51 | LV_1085-8_0_3_load_46 | 57 | 0.0026303 | 0.00065922 | 0 | 0 |  | 1 | TRUE | wye
52 | LV_1085-8_0_3_load_65 | 58 | 0.010614 | 0.0026601 | 0 | 0 |  | 1 | TRUE | wye
53 | LV_1085-8_0_3_load_66 | 59 | 0.010331 | 0.0025892 | 0 | 0 |  | 1 | TRUE | wye
54 | LV_1085-8_0_3_load_54 | 60 | 0.0035611 | 0.0008925 | 0 | 0 |  | 1 | TRUE | wye
55 | LV_1085-8_0_3_load_58 | 61 | 0.0024003 | 0.00060157 | 0 | 0 |  | 1 | TRUE | wye
56 | LV_1085-8_0_3_load_57 | 62 | 0.0050167 | 0.0012573 | 0 | 0 |  | 1 | TRUE | wye
57 | LV_1085-8_0_3_load_64 | 63 | 0.0019147 | 0.00047987 | 0 | 0 |  | 1 | TRUE | wye
58 | LV_1085-8_0_3_load_63 | 64 | 0.0018969 | 0.00047542 | 0 | 0 |  | 1 | TRUE | wye
59 | LV_1085-8_0_3_load_62 | 65 | 0.0018487 | 0.00046333 | 0 | 0 |  | 1 | TRUE | wye
60 | LV_1085-8_0_3_load_70 | 66 | 0.00033983 | 8.5169e-05 | 0 | 0 |  | 1 | TRUE | wye
61 | LV_1085-8_0_3_load_67 | 67 | 0.00081041 | 0.00020311 | 0 | 0 |  | 1 | TRUE | wye
62 | LV_1085-8_0_3_load_68 | 68 | 0.00088648 | 0.00022217 | 0 | 0 |  | 1 | TRUE | wye
63 | LV_1085-8_0_3_load_69 | 69 | 0.00023154 | 5.8029e-05 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 25 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_1085-8_0_3_line_0 | NAYY 4x150 SE | 0 | 1 | 0.019949 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
1 | LV_1085-8_0_3_line_1 | NAYY 4x150 SE | 1 | 2 | 0.0026958 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
2 | LV_1085-8_0_3_line_2 | NAYY 4x150 SE | 2 | 6 | 0.023576 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
3 | LV_1085-8_0_3_line_3 | NAYY 4x150 SE | 3 | 4 | 0.031298 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
4 | LV_1085-8_0_3_line_4 | NAYY 4x150 SE | 3 | 5 | 0.0087991 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
5 | LV_1085-8_0_3_line_5 | NAYY 4x150 SE | 4 | 9 | 0.04146 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
6 | LV_1085-8_0_3_line_6 | NAYY 4x150 SE | 5 | 7 | 0.011677 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
7 | LV_1085-8_0_3_line_7 | NAYY 4x150 SE | 6 | 10 | 0.0023527 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
8 | LV_1085-8_0_3_line_8 | NAYY 4x150 SE | 7 | 8 | 0.0086897 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
9 | LV_1085-8_0_3_line_9 | NAYY 4x150 SE | 8 | 42 | 0.0010918 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
10 | LV_1085-8_0_3_line_10 | NAYY 4x150 SE | 9 | 58 | 0.040025 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
11 | LV_1085-8_0_3_line_11 | NAYY 4x150 SE | 10 | 11 | 0.008172 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
12 | LV_1085-8_0_3_line_12 | NAYY 4x150 SE | 11 | 13 | 0.013728 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
13 | LV_1085-8_0_3_line_13 | NAYY 4x150 SE | 12 | 13 | 0.025444 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
14 | LV_1085-8_0_3_line_14 | NAYY 4x150 SE | 12 | 14 | 0.0037773 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
15 | LV_1085-8_0_3_line_15 | NAYY 4x150 SE | 14 | 18 | 0.02357 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
16 | LV_1085-8_0_3_line_16 | NAYY 4x150 SE | 15 | 16 | 0.02232 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
17 | LV_1085-8_0_3_line_17 | NAYY 4x150 SE | 15 | 17 | 0.024633 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
18 | LV_1085-8_0_3_line_18 | NAYY 4x150 SE | 16 | 18 | 0.0012183 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
19 | LV_1085-8_0_3_line_19 | NAYY 4x150 SE | 17 | 19 | 0.019404 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
20 | LV_1085-8_0_3_line_20 | NAYY 4x150 SE | 17 | 20 | 0.062813 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
21 | LV_1085-8_0_3_line_21 | NAYY 4x150 SE | 19 | 21 | 0.0027947 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
22 | LV_1085-8_0_3_line_22 | NAYY 4x150 SE | 20 | 22 | 0.0069666 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
23 | LV_1085-8_0_3_line_23 | NAYY 4x150 SE | 21 | 23 | 0.026225 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
24 | LV_1085-8_0_3_line_24 | NAYY 4x150 SE | 22 | 24 | 0.0050631 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
25 | LV_1085-8_0_3_line_25 | NAYY 4x150 SE | 23 | 48 | 0.0030758 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
26 | LV_1085-8_0_3_line_26 | NAYY 4x150 SE | 25 | 26 | 0.019499 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
27 | LV_1085-8_0_3_line_27 | NAYY 4x150 SE | 25 | 27 | 0.0052769 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
28 | LV_1085-8_0_3_line_28 | NAYY 4x150 SE | 26 | 28 | 0.00048749 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
29 | LV_1085-8_0_3_line_29 | NAYY 4x150 SE | 27 | 29 | 0.015798 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
30 | LV_1085-8_0_3_line_30 | NAYY 4x150 SE | 28 | 30 | 0.027502 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
31 | LV_1085-8_0_3_line_31 | NAYY 4x150 SE | 28 | 31 | 0.02895 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
32 | LV_1085-8_0_3_line_32 | NAYY 4x150 SE | 29 | 32 | 0.0074968 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
33 | LV_1085-8_0_3_line_33 | NAYY 4x150 SE | 30 | 33 | 0.0092761 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
34 | LV_1085-8_0_3_line_34 | NAYY 4x150 SE | 31 | 34 | 0.040161 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
35 | LV_1085-8_0_3_line_35 | NAYY 4x150 SE | 32 | 35 | 0.0022573 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
36 | LV_1085-8_0_3_line_36 | NAYY 4x150 SE | 33 | 57 | 0.00021632 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
37 | LV_1085-8_0_3_line_37 | NAYY 4x150 SE | 34 | 43 | 0.02145 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
38 | LV_1085-8_0_3_line_38 | NAYY 4x150 SE | 35 | 36 | 0.027284 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
39 | LV_1085-8_0_3_line_39 | NAYY 4x150 SE | 36 | 37 | 0.001329 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
40 | LV_1085-8_0_3_line_40 | NAYY 4x150 SE | 37 | 38 | 0.019114 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
41 | LV_1085-8_0_3_line_41 | NAYY 4x150 SE | 38 | 39 | 0.0087801 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
42 | LV_1085-8_0_3_line_42 | NAYY 4x150 SE | 39 | 40 | 0.0091421 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
43 | LV_1085-8_0_3_line_43 | NAYY 4x150 SE | 40 | 41 | 0.014664 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
44 | LV_1085-8_0_3_line_44 | NAYY 4x150 SE | 41 | 42 | 0.0065952 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
45 | LV_1085-8_0_3_line_45 | NAYY 4x150 SE | 43 | 44 | 0.030762 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
46 | LV_1085-8_0_3_line_46 | NAYY 4x150 SE | 43 | 45 | 0.01138 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
47 | LV_1085-8_0_3_line_47 | NAYY 4x150 SE | 44 | 46 | 0.032886 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
48 | LV_1085-8_0_3_line_48 | NAYY 4x150 SE | 44 | 47 | 0.045863 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
49 | LV_1085-8_0_3_line_49 | NAYY 4x150 SE | 45 | 48 | 0.015633 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
50 | LV_1085-8_0_3_line_50 | NAYY 4x150 SE | 46 | 49 | 0.011844 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
51 | LV_1085-8_0_3_line_51 | NAYY 4x150 SE | 47 | 50 | 0.023925 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
52 | LV_1085-8_0_3_line_52 | NAYY 4x150 SE | 49 | 62 | 0.021537 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
53 | LV_1085-8_0_3_line_53 | NAYY 4x150 SE | 50 | 60 | 0.023597 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
54 | LV_1085-8_0_3_line_54 | NAYY 4x150 SE | 51 | 52 | 0.0079682 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
55 | LV_1085-8_0_3_line_55 | NAYY 4x150 SE | 52 | 53 | 0.0069978 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
56 | LV_1085-8_0_3_line_56 | NAYY 4x150 SE | 53 | 54 | 0.0094076 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
57 | LV_1085-8_0_3_line_57 | NAYY 4x150 SE | 54 | 55 | 0.0016882 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
58 | LV_1085-8_0_3_line_58 | NAYY 4x150 SE | 55 | 56 | 0.0044567 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
59 | LV_1085-8_0_3_line_59 | NAYY 4x150 SE | 56 | 57 | 0.017227 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
60 | LV_1085-8_0_3_line_60 | NAYY 4x150 SE | 58 | 59 | 0.035931 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
61 | LV_1085-8_0_3_line_61 | NAYY 4x150 SE | 59 | 66 | 0.13309 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
62 | LV_1085-8_0_3_line_62 | NAYY 4x150 SE | 60 | 61 | 0.027238 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
63 | LV_1085-8_0_3_line_63 | NAYY 4x150 SE | 62 | 63 | 0.022078 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
64 | LV_1085-8_0_3_line_64 | NAYY 4x150 SE | 63 | 64 | 0.021999 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
65 | LV_1085-8_0_3_line_65 | NAYY 4x150 SE | 64 | 65 | 0.021041 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
66 | LV_1085-8_0_3_line_66 | NAYY 4x150 SE | 66 | 69 | 0.037825 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
67 | LV_1085-8_0_3_line_67 | NAYY 4x150 SE | 67 | 68 | 0.019058 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
68 | LV_1085-8_0_3_line_68 | NAYY 4x150 SE | 68 | 69 | 0.031544 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_1085-8_0_3_trafo_10 | 0.25 MVA 20/0.4 kV | 70 | 25 | 0.25 | 20 | 0.4 | 6 | 1.44 | 0.8 | 0.32 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6
0 | 2651051.9335 | 1227574.8898 | 2651054.1187 | 1227573.2947 | 2651065.7377 | 1227560.5537
1 | 2651065.7377 | 1227560.5537 | 2651067.5541 | 1227558.5618
2 | 2651067.5541 | 1227558.5618 | 2651083.4399 | 1227541.1419
3 | 2651094.4097 | 1227640.4936 | 2651112.4276 | 1227614.9018
4 | 2651112.4276 | 1227614.9018 | 2651117.4931 | 1227607.707
5 | 2651127.8361 | 1227665.1515 | 2651105.0495 | 1227648.3787 | 2651094.4097 | 1227640.4936
6 | 2651124.2155 | 1227598.1589 | 2651117.4931 | 1227607.707
7 | 2651085.0252 | 1227539.4035 | 2651083.4399 | 1227541.1419
8 | 2651129.218 | 1227591.0536 | 2651124.2155 | 1227598.1589
9 | 2651129.218 | 1227591.0536 | 2651129.8465 | 1227590.1608
10 | 2651127.8361 | 1227665.1515 | 2651150.9786 | 1227632.4956
11 | 2651085.0252 | 1227539.4035 | 2651090.5317 | 1227533.3653
12 | 2651099.7818 | 1227523.2219 | 2651090.5317 | 1227533.3653
13 | 2651115.7254 | 1227503.393 | 2651099.7818 | 1227523.2219
14 | 2651115.7254 | 1227503.393 | 2651117.68 | 1227500.1607
15 | 2651129.8768 | 1227479.9918 | 2651117.68 | 1227500.1607
16 | 2651141.2366 | 1227459.4157 | 2651137.8462 | 1227466.8134 | 2651130.5073 | 1227478.9493
17 | 2651133.9419 | 1227437.0168 | 2651139.3265 | 1227444.4788 | 2651141.8901 | 1227451.2718 | 2651141.2366 | 1227459.4157 | 2651141.2366 | 1227459.4157
18 | 2651130.5073 | 1227478.9493 | 2651129.8768 | 1227479.9918
19 | 2651133.9419 | 1227437.0168 | 2651148.3502 | 1227424.0204
20 | 2651133.9419 | 1227437.0168 | 2651097.8391 | 1227385.6163
21 | 2651148.3502 | 1227424.0204 | 2651150.4254 | 1227422.1486
22 | 2651097.8391 | 1227385.6163 | 2651102.4975 | 1227380.4362
23 | 2651169.8989 | 1227404.5833 | 2651150.4254 | 1227422.1486
24 | 2651105.883 | 1227376.6715 | 2651102.4975 | 1227380.4362
25 | 2651172.5047 | 1227402.9491 | 2651169.8989 | 1227404.5833 | 2651169.8989 | 1227404.5833
26 | 2651195.8134 | 1227470.2712 | 2651187.842 | 1227488.0662
27 | 2651185.6847 | 1227492.882 | 2651187.842 | 1227488.0662
28 | 2651195.8134 | 1227470.2712 | 2651196.0127 | 1227469.8264
29 | 2651185.6847 | 1227492.882 | 2651179.2263 | 1227507.2994
30 | 2651196.0127 | 1227469.8264 | 2651206.6441 | 1227474.3095 | 2651213.3015 | 1227472.9882 | 2651220.1807 | 1227468.7892 | 2651220.945 | 1227467.9747
31 | 2651196.0127 | 1227469.8264 | 2651206.5798 | 1227442.8737
32 | 2651175.9761 | 1227514.0544 | 2651178.6976 | 1227508.4794 | 2651179.2263 | 1227507.2994
33 | 2651227.2928 | 1227461.2107 | 2651220.945 | 1227467.9747
34 | 2651206.5798 | 1227442.8737 | 2651212.5862 | 1227427.5536 | 2651214.1013 | 1227421.4517 | 2651214.6567 | 1227415.0413 | 2651214.3287 | 1227410.002 | 2651213.454 | 1227404.2131 | 2651213.4161 | 1227404.1434
35 | 2651174.9859 | 1227516.0829 | 2651175.9761 | 1227514.0544
36 | 2651227.4408 | 1227461.0529 | 2651227.2928 | 1227461.2107
37 | 2651196.7308 | 1227392.5397 | 2651201.4363 | 1227393.4919 | 2651204.7305 | 1227394.6432 | 2651208.3863 | 1227396.9205 | 2651211.3577 | 1227400.3593 | 2651213.4161 | 1227404.1434
38 | 2651174.9859 | 1227516.0829 | 2651167.8827 | 1227530.6337 | 2651162.3611 | 1227540.2543
39 | 2651161.6996 | 1227541.4069 | 2651162.3611 | 1227540.2543
40 | 2651161.6996 | 1227541.4069 | 2651152.185 | 1227557.9851
41 | 2651152.185 | 1227557.9851 | 2651150.7958 | 1227560.4055 | 2651147.3478 | 1227565.3029
42 | 2651142.0849 | 1227572.7781 | 2651147.3478 | 1227565.3029
43 | 2651142.0849 | 1227572.7781 | 2651133.6433 | 1227584.7682
44 | 2651133.6433 | 1227584.7682 | 2651129.8465 | 1227590.1608
45 | 2651196.7308 | 1227392.5397 | 2651197.1984 | 1227391.0428 | 2651198.3908 | 1227388.974 | 2651201.5115 | 1227384.7538 | 2651207.1236 | 1227378.0979 | 2651217.1886 | 1227370.0461
46 | 2651196.7308 | 1227392.5397 | 2651190.1712 | 1227393.0614 | 2651185.6776 | 1227394.748
47 | 2651217.1886 | 1227370.0461 | 2651223.2007 | 1227364.4721 | 2651225.34 | 1227358.9315 | 2651225.1666 | 1227353.5489 | 2651218.8644 | 1227341.765
48 | 2651217.1886 | 1227370.0461 | 2651222.2645 | 1227370.2232 | 2651229.8756 | 1227368.1763 | 2651238.017 | 1227365.2557 | 2651244.602 | 1227359.153 | 2651253.1429 | 1227346.4892
49 | 2651172.5047 | 1227402.9491 | 2651172.5047 | 1227402.9491 | 2651178.3861 | 1227398.4524 | 2651181.8309 | 1227396.1917 | 2651185.6776 | 1227394.748
50 | 2651218.8644 | 1227341.765 | 2651217.3974 | 1227336.1156 | 2651218.2064 | 1227330.1632 | 2651218.2064 | 1227330.1632
51 | 2651253.1429 | 1227346.4892 | 2651256.7613 | 1227341.1241 | 2651265.8925 | 1227326.249
52 | 2651231.5103 | 1227313.2265 | 2651218.2064 | 1227330.1632
53 | 2651265.8925 | 1227326.249 | 2651279.2992 | 1227306.8301 | 2651279.2992 | 1227306.8301
54 | 2651250.5621 | 1227429.2106 | 2651253.6616 | 1227421.8699
55 | 2651247.8402 | 1227435.6573 | 2651250.5621 | 1227429.2106
56 | 2651243.066 | 1227443.7142 | 2651246.6314 | 1227438.5201 | 2651247.8402 | 1227435.6573
57 | 2651243.066 | 1227443.7142 | 2651242.1106 | 1227445.106
58 | 2651239.2292 | 1227448.4914 | 2651241.3054 | 1227446.2791 | 2651242.1106 | 1227445.106
59 | 2651239.2292 | 1227448.4914 | 2651227.4408 | 1227461.0529
60 | 2651150.9786 | 1227632.4956 | 2651171.7543 | 1227603.1794
61 | 2651171.7543 | 1227603.1794 | 2651299.6438 | 1227640.0214
62 | 2651295.5791 | 1227284.9986 | 2651293.2273 | 1227288.472 | 2651279.2992 | 1227306.8301
63 | 2651231.5103 | 1227313.2265 | 2651237.117 | 1227306.0887 | 2651244.1963 | 1227295.1836
64 | 2651244.1963 | 1227295.1836 | 2651256.1749 | 1227276.7315
65 | 2651267.6318 | 1227259.083 | 2651256.1749 | 1227276.7315
66 | 2651331.4891 | 1227660.4327 | 2651299.6438 | 1227640.0214
67 | 2651298.9523 | 1227698.9727 | 2651310.6596 | 1227683.9349
68 | 2651331.4891 | 1227660.4327 | 2651323.9595 | 1227666.8514 | 2651310.6596 | 1227683.9349

## bus_geodata
| x | y | coords
0 | 2651051.9335 | 1227574.8898
1 | 2651065.7377 | 1227560.5537
2 | 2651067.5541 | 1227558.5618
3 | 2651112.4276 | 1227614.9018
4 | 2651094.4097 | 1227640.4936
5 | 2651117.4931 | 1227607.707
6 | 2651083.4399 | 1227541.1419
7 | 2651124.2155 | 1227598.1589
8 | 2651129.218 | 1227591.0536
9 | 2651127.8361 | 1227665.1515
10 | 2651085.0252 | 1227539.4035
11 | 2651090.5317 | 1227533.3653
12 | 2651115.7254 | 1227503.393
13 | 2651099.7818 | 1227523.2219
14 | 2651117.68 | 1227500.1607
15 | 2651141.2366 | 1227459.4157
16 | 2651130.5073 | 1227478.9493
17 | 2651133.9419 | 1227437.0168
18 | 2651129.8768 | 1227479.9918
19 | 2651148.3502 | 1227424.0204
20 | 2651097.8391 | 1227385.6163
21 | 2651150.4254 | 1227422.1486
22 | 2651102.4975 | 1227380.4362
23 | 2651169.8989 | 1227404.5833
24 | 2651105.883 | 1227376.6715
25 | 2651187.842 | 1227488.0662
26 | 2651195.8134 | 1227470.2712
27 | 2651185.6847 | 1227492.882
28 | 2651196.0127 | 1227469.8264
29 | 2651179.2263 | 1227507.2994
30 | 2651220.945 | 1227467.9747
31 | 2651206.5798 | 1227442.8737
32 | 2651175.9761 | 1227514.0544
33 | 2651227.2928 | 1227461.2107
34 | 2651213.4161 | 1227404.1434
35 | 2651174.9859 | 1227516.0829
36 | 2651162.3611 | 1227540.2543
37 | 2651161.6996 | 1227541.4069
38 | 2651152.185 | 1227557.9851
39 | 2651147.3478 | 1227565.3029
40 | 2651142.0849 | 1227572.7781
41 | 2651133.6433 | 1227584.7682
42 | 2651129.8465 | 1227590.1608
43 | 2651196.7308 | 1227392.5397
44 | 2651217.1886 | 1227370.0461
45 | 2651185.6776 | 1227394.748
46 | 2651218.8644 | 1227341.765
47 | 2651253.1429 | 1227346.4892
48 | 2651172.5047 | 1227402.9491
49 | 2651218.2064 | 1227330.1632
50 | 2651265.8925 | 1227326.249
51 | 2651253.6616 | 1227421.8699
52 | 2651250.5621 | 1227429.2106
53 | 2651247.8402 | 1227435.6573
54 | 2651243.066 | 1227443.7142
55 | 2651242.1106 | 1227445.106
56 | 2651239.2292 | 1227448.4914
57 | 2651227.4408 | 1227461.0529
58 | 2651150.9786 | 1227632.4956
59 | 2651171.7543 | 1227603.1794
60 | 2651279.2992 | 1227306.8301
61 | 2651295.5791 | 1227284.9987
62 | 2651231.5103 | 1227313.2265
63 | 2651244.1963 | 1227295.1836
64 | 2651256.1749 | 1227276.7315
65 | 2651267.6318 | 1227259.083
66 | 2651299.6438 | 1227640.0214
67 | 2651298.9523 | 1227698.9727
68 | 2651310.6596 | 1227683.9349
69 | 2651331.4891 | 1227660.4327
70 | 2651196.0127 | 1227469.8264

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## res_bus
| vm_pu | va_degree | p_mw | q_mvar
0 | 0.97212 | -0.19624 | 0.0032508 | 0.00081472
1 | 0.97222 | -0.19555 | 0.0041895 | 0.00105
2 | 0.97225 | -0.19534 | 0.0097559 | 0.0024451
3 | 0.99034 | -0.067639 | 0.0027274 | 0.00068356
4 | 0.98929 | -0.075051 | 0 | 0
5 | 0.99067 | -0.065314 | 0.0027247 | 0.00068288
6 | 0.97284 | -0.19106 | 0.0090661 | 0.0022722
7 | 0.99115 | -0.061907 | 0.0031625 | 0.00079258
8 | 0.99155 | -0.059095 | 0.001791 | 0.00044887
9 | 0.9879 | -0.084892 | 0 | 0
10 | 0.97293 | -0.19041 | 0.0022336 | 0.0005598
11 | 0.97327 | -0.18796 | 0.0020544 | 0.00051487
12 | 0.97543 | -0.17249 | 0.0037186 | 0.00093196
13 | 0.97389 | -0.18354 | 0.010767 | 0.0026985
14 | 0.97568 | -0.17071 | 0.00083762 | 0.00020993
15 | 0.97904 | -0.1467 | 0.0014957 | 0.00037486
16 | 0.97735 | -0.15876 | 0.0025347 | 0.00063527
17 | 0.98096 | -0.13305 | 0 | 0
18 | 0.97726 | -0.15939 | 0.0033989 | 0.00085184
19 | 0.98272 | -0.12062 | 0.001629 | 0.00040826
20 | 0.98018 | -0.13864 | 0.0023198 | 0.00058139
21 | 0.98298 | -0.11878 | 0.0047984 | 0.0012026
22 | 0.98012 | -0.13909 | 0.0029179 | 0.00073131
23 | 0.9856 | -0.10032 | 0.0028374 | 0.00071111
24 | 0.98009 | -0.13927 | 0.0033329 | 0.00083532
25 | 1 | 0 | -0.23421 | -0.058914
26 | 0.99765 | -0.016222 | 0.0026169 | 0.00065585
27 | 0.99951 | -0.0033706 | 0.0027092 | 0.00067899
28 | 0.99759 | -0.016622 | 0 | 0
29 | 0.99812 | -0.013052 | 0.0018752 | 0.00046996
30 | 0.99643 | -0.024773 | 0.0024696 | 0.00061894
31 | 0.99477 | -0.036156 | 0.0030186 | 0.00075654
32 | 0.99748 | -0.017515 | 0.0021361 | 0.00053537
33 | 0.99607 | -0.027296 | 0.0061116 | 0.0015317
34 | 0.99094 | -0.062821 | 0.0036501 | 0.0009148
35 | 0.9973 | -0.018811 | 0.0042191 | 0.0010574
36 | 0.99522 | -0.033359 | 0.0030534 | 0.00076525
37 | 0.99512 | -0.034028 | 0.0034004 | 0.00085221
38 | 0.99384 | -0.043011 | 0.002716 | 0.00068068
39 | 0.99328 | -0.046904 | 0.0033747 | 0.00084578
40 | 0.99275 | -0.050649 | 0.0024928 | 0.00062474
41 | 0.99195 | -0.056294 | 0.0016948 | 0.00042476
42 | 0.9916 | -0.058722 | 0.0026298 | 0.00065908
43 | 0.98895 | -0.076748 | 0 | 0
44 | 0.98687 | -0.091476 | 0 | 0
45 | 0.98762 | -0.08613 | 0.0061392 | 0.0015386
46 | 0.98581 | -0.099019 | 0.006152 | 0.0015418
47 | 0.98525 | -0.10299 | 0.0094335 | 0.0023642
48 | 0.98592 | -0.098073 | 0.0033727 | 0.00084529
49 | 0.98553 | -0.10099 | 0.0055198 | 0.0013834
50 | 0.98473 | -0.10668 | 0.0090501 | 0.0022682
51 | 0.9952 | -0.033456 | 0.0055736 | 0.0013969
52 | 0.99526 | -0.033008 | 0.0023969 | 0.00060072
53 | 0.99534 | -0.032446 | 0.0025213 | 0.00063189
54 | 0.99548 | -0.031452 | 0.0028154 | 0.0007056
55 | 0.99551 | -0.031226 | 0.0025425 | 0.00063721
56 | 0.99561 | -0.030514 | 0.00245 | 0.00061402
57 | 0.99607 | -0.027341 | 0.0026303 | 0.00065922
58 | 0.98655 | -0.094417 | 0.010614 | 0.0026601
59 | 0.9859 | -0.09907 | 0.010331 | 0.0025892
60 | 0.98453 | -0.10813 | 0.0035611 | 0.0008925
61 | 0.98443 | -0.10881 | 0.0024003 | 0.00060157
62 | 0.9852 | -0.10336 | 0.0050167 | 0.0012573
63 | 0.98502 | -0.10464 | 0.0019147 | 0.00047987
64 | 0.9849 | -0.10549 | 0.0018969 | 0.00047542
65 | 0.98484 | -0.10589 | 0.0018487 | 0.00046333
66 | 0.98546 | -0.10219 | 0.00033983 | 8.5169e-05
67 | 0.98526 | -0.10365 | 0.00081041 | 0.00020311
68 | 0.98528 | -0.1035 | 0.00088648 | 0.00022217
69 | 0.98536 | -0.10294 | 0.00023154 | 5.8029e-05
70 | 0.99998 | 149.9947 | 0 | 0

## res_line
| p_from_mw | q_from_mvar | p_to_mw | q_to_mvar | pl_mw | ql_mvar | i_from_ka | i_to_ka | i_ka | vm_from_pu | va_from_degree | vm_to_pu | va_to_degree | loading_percent
0 | -0.0032508 | -0.00081472 | 0.0032511 | 0.0008146 | 3.0821e-07 | -1.2881e-07 | 0.0049759 | 0.0049759 | 0.0049759 | 0.97212 | -0.19624 | 0.97222 | -0.19555 | 1.8429
1 | -0.0074406 | -0.0018646 | 0.0074408 | 0.0018646 | 2.1816e-07 | 5.0477e-08 | 0.011388 | 0.011388 | 0.011388 | 0.97222 | -0.19555 | 0.97225 | -0.19534 | 4.2178
2 | -0.017197 | -0.0043097 | 0.017207 | 0.0043133 | 1.0191e-05 | 3.6269e-06 | 0.026319 | 0.026319 | 0.026319 | 0.97225 | -0.19534 | 0.97284 | -0.19106 | 9.748
3 | 0.023309 | 0.0058499 | -0.023285 | -0.005841 | 2.3959e-05 | 8.8127e-06 | 0.035025 | 0.035025 | 0.035025 | 0.99034 | -0.067639 | 0.98929 | -0.075051 | 12.9723
4 | -0.026036 | -0.0065334 | 0.026045 | 0.0065365 | 8.4041e-06 | 3.1191e-06 | 0.039123 | 0.039123 | 0.039123 | 0.99034 | -0.067639 | 0.99067 | -0.065314 | 14.4901
5 | 0.023285 | 0.005841 | -0.023253 | -0.0058294 | 3.1738e-05 | 1.1675e-05 | 0.035025 | 0.035026 | 0.035026 | 0.98929 | -0.075051 | 0.9879 | -0.084892 | 12.9724
6 | -0.028769 | -0.0072194 | 0.028783 | 0.0072245 | 1.3609e-05 | 5.0836e-06 | 0.043216 | 0.043216 | 0.043216 | 0.99067 | -0.065314 | 0.99115 | -0.061907 | 16.0059
7 | -0.026273 | -0.0065855 | 0.026275 | 0.0065864 | 2.3709e-06 | 8.8269e-07 | 0.040187 | 0.040187 | 0.040187 | 0.97284 | -0.19106 | 0.97293 | -0.19041 | 14.8839
8 | -0.031945 | -0.0080171 | 0.031958 | 0.0080218 | 1.2474e-05 | 4.6857e-06 | 0.047964 | 0.047964 | 0.047964 | 0.99115 | -0.061907 | 0.99155 | -0.059095 | 17.7643
9 | -0.033749 | -0.0084706 | 0.033751 | 0.0084713 | 1.7479e-06 | 6.5817e-07 | 0.050651 | 0.050651 | 0.050651 | 0.99155 | -0.059095 | 0.9916 | -0.058722 | 18.7597
10 | 0.023253 | 0.0058294 | -0.023223 | -0.0058181 | 3.064e-05 | 1.1273e-05 | 0.035026 | 0.035026 | 0.035026 | 0.9879 | -0.084892 | 0.98655 | -0.094417 | 12.9725
11 | -0.028509 | -0.0071462 | 0.028519 | 0.0071498 | 9.6948e-06 | 3.6272e-06 | 0.043603 | 0.043603 | 0.043603 | 0.97293 | -0.19041 | 0.97327 | -0.18796 | 16.1491
12 | -0.030573 | -0.0076647 | 0.030592 | 0.0076717 | 1.8717e-05 | 7.028e-06 | 0.046743 | 0.046743 | 0.046743 | 0.97327 | -0.18796 | 0.97389 | -0.18354 | 17.3124
13 | 0.041422 | 0.010394 | -0.041359 | -0.01037 | 6.3405e-05 | 2.407e-05 | 0.063195 | 0.063195 | 0.063195 | 0.97543 | -0.17249 | 0.97389 | -0.18354 | 23.4055
14 | -0.045141 | -0.011326 | 0.045152 | 0.011331 | 1.1179e-05 | 4.2523e-06 | 0.068867 | 0.068867 | 0.068867 | 0.97543 | -0.17249 | 0.97568 | -0.17071 | 25.5064
15 | -0.04599 | -0.01154 | 0.046062 | 0.011568 | 7.2366e-05 | 2.7538e-05 | 0.070145 | 0.070145 | 0.070145 | 0.97568 | -0.17071 | 0.97726 | -0.15939 | 25.9796
16 | 0.052087 | 0.01309 | -0.052 | -0.013057 | 8.7317e-05 | 3.3303e-05 | 0.079179 | 0.079179 | 0.079179 | 0.97904 | -0.1467 | 0.97735 | -0.15876 | 29.3256
17 | -0.053583 | -0.013465 | 0.053685 | 0.013504 | 0.00010198 | 3.8912e-05 | 0.081452 | 0.081452 | 0.081452 | 0.97904 | -0.1467 | 0.98096 | -0.13305 | 30.1675
18 | 0.049465 | 0.012421 | -0.049461 | -0.01242 | 4.3128e-06 | 1.6435e-06 | 0.07532 | 0.07532 | 0.07532 | 0.97735 | -0.15876 | 0.97726 | -0.15939 | 27.8963
19 | -0.062263 | -0.015654 | 0.062371 | 0.015695 | 0.00010804 | 4.131e-05 | 0.094464 | 0.094464 | 0.094464 | 0.98096 | -0.13305 | 0.98272 | -0.12062 | 34.9866
20 | 0.0085778 | 0.0021498 | -0.0085711 | -0.002148 | 6.6359e-06 | 1.7599e-06 | 0.013012 | 0.013012 | 0.013012 | 0.98096 | -0.13305 | 0.98018 | -0.13864 | 4.8192
21 | -0.064 | -0.016103 | 0.064016 | 0.016109 | 1.6385e-05 | 6.2664e-06 | 0.09693 | 0.09693 | 0.09693 | 0.98272 | -0.12062 | 0.98298 | -0.11878 | 35.9001
22 | 0.0062514 | 0.0015667 | -0.006251 | -0.0015666 | 3.9153e-07 | 6.2782e-08 | 0.0094902 | 0.0094902 | 0.0094902 | 0.98018 | -0.13864 | 0.98012 | -0.13909 | 3.5149
23 | -0.068815 | -0.017312 | 0.068992 | 0.01738 | 0.00017766 | 6.7997e-05 | 0.10419 | 0.10419 | 0.10419 | 0.98298 | -0.11878 | 0.9856 | -0.10032 | 38.5904
24 | 0.003333 | 0.00083528 | -0.0033329 | -0.00083532 | 8.0898e-08 | -3.2693e-08 | 0.0050602 | 0.0050602 | 0.0050602 | 0.98012 | -0.13909 | 0.98009 | -0.13927 | 1.8742
25 | -0.07183 | -0.018091 | 0.071852 | 0.0181 | 2.2585e-05 | 8.6475e-06 | 0.10848 | 0.10848 | 0.10848 | 0.9856 | -0.10032 | 0.98592 | -0.098073 | 40.1769
26 | 0.16893 | 0.042688 | -0.16855 | -0.042541 | 0.00038481 | 0.00014749 | 0.2515 | 0.2515 | 0.2515 | 1 | 0 | 0.99765 | -0.016222 | 46.5743
27 | 0.064472 | 0.016225 | -0.064441 | -0.016214 | 3.032e-05 | 1.1592e-05 | 0.095958 | 0.095958 | 0.095958 | 1 | 0 | 0.99951 | -0.0033706 | 35.5401
28 | 0.16593 | 0.041885 | -0.16592 | -0.041881 | 9.3242e-06 | 3.5735e-06 | 0.2476 | 0.2476 | 0.2476 | 0.99765 | -0.016222 | 0.99759 | -0.016622 | 45.8515
29 | 0.061732 | 0.015535 | -0.061649 | -0.015503 | 8.3301e-05 | 3.1832e-05 | 0.091925 | 0.091925 | 0.091925 | 0.99951 | -0.0033706 | 0.99812 | -0.013052 | 34.0463
30 | 0.029567 | 0.0074164 | -0.029533 | -0.0074039 | 3.3381e-05 | 1.248e-05 | 0.044104 | 0.044104 | 0.044104 | 0.99759 | -0.016622 | 0.99643 | -0.024773 | 16.3348
31 | 0.13636 | 0.034465 | -0.13598 | -0.034322 | 0.00037403 | 0.0001431 | 0.20349 | 0.20349 | 0.20349 | 0.99759 | -0.016622 | 0.99477 | -0.036156 | 37.6842
32 | 0.059774 | 0.015033 | -0.059736 | -0.015019 | 3.7162e-05 | 1.4195e-05 | 0.08913 | 0.08913 | 0.08913 | 0.99812 | -0.013052 | 0.99748 | -0.017515 | 33.011
33 | 0.027064 | 0.006785 | -0.027054 | -0.0067815 | 9.4549e-06 | 3.5157e-06 | 0.040416 | 0.040416 | 0.040416 | 0.99643 | -0.024773 | 0.99607 | -0.027296 | 14.9689
34 | 0.13296 | 0.033565 | -0.13247 | -0.033376 | 0.00049611 | 0.00018977 | 0.19898 | 0.19898 | 0.19898 | 0.99477 | -0.036156 | 0.99094 | -0.062821 | 36.848
35 | 0.0576 | 0.014483 | -0.05759 | -0.014479 | 1.0404e-05 | 3.9721e-06 | 0.085943 | 0.085943 | 0.085943 | 0.99748 | -0.017515 | 0.9973 | -0.018811 | 31.8308
36 | 0.020943 | 0.0052497 | -0.020942 | -0.0052497 | 1.3212e-07 | 4.8e-08 | 0.031286 | 0.031286 | 0.031286 | 0.99607 | -0.027296 | 0.99607 | -0.027341 | 11.5874
37 | 0.12882 | 0.032461 | -0.12857 | -0.032365 | 0.00025057 | 9.5823e-05 | 0.1935 | 0.1935 | 0.1935 | 0.99094 | -0.062821 | 0.98895 | -0.076748 | 35.8331
38 | 0.053371 | 0.013422 | -0.053263 | -0.013381 | 0.00010801 | 4.1186e-05 | 0.079648 | 0.079648 | 0.079648 | 0.9973 | -0.018811 | 0.99522 | -0.033359 | 29.4993
39 | 0.050209 | 0.012616 | -0.050205 | -0.012614 | 4.6749e-06 | 1.7808e-06 | 0.075083 | 0.075083 | 0.075083 | 0.99522 | -0.033359 | 0.99512 | -0.034028 | 27.8084
40 | 0.046804 | 0.011762 | -0.046746 | -0.011739 | 5.8441e-05 | 2.2229e-05 | 0.069998 | 0.069998 | 0.069998 | 0.99512 | -0.034028 | 0.99384 | -0.043011 | 25.9252
41 | 0.04403 | 0.011059 | -0.044006 | -0.01105 | 2.3816e-05 | 9.0464e-06 | 0.065932 | 0.065932 | 0.065932 | 0.99384 | -0.043011 | 0.99328 | -0.046904 | 24.4192
42 | 0.040631 | 0.010204 | -0.04061 | -0.010196 | 2.1141e-05 | 8.0129e-06 | 0.060876 | 0.060876 | 0.060876 | 0.99328 | -0.046904 | 0.99275 | -0.050649 | 22.5467
43 | 0.038117 | 0.0095711 | -0.038088 | -0.0095598 | 2.9875e-05 | 1.1301e-05 | 0.05714 | 0.05714 | 0.05714 | 0.99275 | -0.050649 | 0.99195 | -0.056294 | 21.1629
44 | 0.036393 | 0.009135 | -0.03638 | -0.0091304 | 1.2268e-05 | 4.6332e-06 | 0.054598 | 0.054598 | 0.054598 | 0.99195 | -0.056294 | 0.9916 | -0.058722 | 20.2213
45 | 0.046971 | 0.011792 | -0.046875 | -0.011756 | 9.5897e-05 | 3.649e-05 | 0.070681 | 0.070681 | 0.070681 | 0.98895 | -0.076748 | 0.98687 | -0.091476 | 26.1782
46 | 0.081597 | 0.020573 | -0.08149 | -0.020532 | 0.00010711 | 4.1052e-05 | 0.12282 | 0.12282 | 0.12282 | 0.98895 | -0.076748 | 0.98762 | -0.08613 | 45.488
47 | 0.022382 | 0.0056121 | -0.022358 | -0.0056035 | 2.3373e-05 | 8.5697e-06 | 0.033748 | 0.033748 | 0.033748 | 0.98687 | -0.091476 | 0.98581 | -0.099019 | 12.4994
48 | 0.024493 | 0.0061435 | -0.024454 | -0.006129 | 3.9036e-05 | 1.4429e-05 | 0.036933 | 0.036933 | 0.036933 | 0.98687 | -0.091476 | 0.98525 | -0.10299 | 13.6789
49 | 0.075351 | 0.018993 | -0.075225 | -0.018945 | 0.00012581 | 4.819e-05 | 0.11357 | 0.11357 | 0.11357 | 0.98762 | -0.08613 | 0.98592 | -0.098073 | 42.0622
50 | 0.016206 | 0.0040617 | -0.016202 | -0.0040601 | 4.4226e-06 | 1.55e-06 | 0.024462 | 0.024462 | 0.024462 | 0.98581 | -0.099019 | 0.98553 | -0.10099 | 9.0602
51 | 0.015021 | 0.0037648 | -0.015013 | -0.0037621 | 7.6833e-06 | 2.6506e-06 | 0.022686 | 0.022686 | 0.022686 | 0.98525 | -0.10299 | 0.98473 | -0.10668 | 8.4021
52 | 0.010682 | 0.0026768 | -0.010679 | -0.0026757 | 3.4958e-06 | 1.0702e-06 | 0.016128 | 0.016128 | 0.016128 | 0.98553 | -0.10099 | 0.9852 | -0.10336 | 5.9735
53 | 0.0059628 | 0.001494 | -0.0059616 | -0.0014938 | 1.1954e-06 | 1.5964e-07 | 0.0090102 | 0.0090103 | 0.0090103 | 0.98473 | -0.10668 | 0.98453 | -0.10813 | 3.3372
54 | -0.0055736 | -0.0013969 | 0.0055739 | 0.0013969 | 3.4531e-07 | 2.927e-08 | 0.0083336 | 0.0083336 | 0.0083336 | 0.9952 | -0.033456 | 0.99526 | -0.033008 | 3.0865
55 | -0.0079708 | -0.0019976 | 0.0079714 | 0.0019978 | 6.2015e-07 | 1.4757e-07 | 0.011917 | 0.011917 | 0.011917 | 0.99526 | -0.033008 | 0.99534 | -0.032446 | 4.4138
56 | -0.010493 | -0.0026297 | 0.010494 | 0.0026301 | 1.4445e-06 | 4.3328e-07 | 0.015686 | 0.015686 | 0.015686 | 0.99534 | -0.032446 | 0.99548 | -0.031452 | 5.8098
57 | -0.01331 | -0.0033357 | 0.01331 | 0.0033358 | 4.1694e-07 | 1.3841e-07 | 0.019895 | 0.019895 | 0.019895 | 0.99548 | -0.031452 | 0.99551 | -0.031226 | 7.3684
58 | -0.015852 | -0.003973 | 0.015854 | 0.0039736 | 1.5614e-06 | 5.4259e-07 | 0.023695 | 0.023695 | 0.023695 | 0.99551 | -0.031226 | 0.99561 | -0.030514 | 8.776
59 | -0.018304 | -0.0045876 | 0.018312 | 0.0045905 | 8.0448e-06 | 2.87e-06 | 0.027357 | 0.027357 | 0.027357 | 0.99561 | -0.030514 | 0.99607 | -0.027341 | 10.1321
60 | 0.012609 | 0.003158 | -0.012601 | -0.0031554 | 8.1086e-06 | 2.6602e-06 | 0.019017 | 0.019017 | 0.019017 | 0.98655 | -0.094417 | 0.9859 | -0.09907 | 7.0434
61 | 0.0022696 | 0.00056616 | -0.0022686 | -0.00056749 | 9.7411e-07 | -1.3218e-06 | 0.0034245 | 0.0034251 | 0.0034251 | 0.9859 | -0.09907 | 0.98546 | -0.10219 | 1.2686
62 | 0.0024005 | 0.00060131 | -0.0024003 | -0.00060157 | 2.2373e-07 | -2.6029e-07 | 0.003628 | 0.0036282 | 0.0036282 | 0.98453 | -0.10813 | 0.98443 | -0.10881 | 1.3438
63 | 0.0056619 | 0.0014184 | -0.0056609 | -0.0014183 | 1.0074e-06 | 1.0639e-07 | 0.0085514 | 0.0085515 | 0.0085515 | 0.9852 | -0.10336 | 0.98502 | -0.10464 | 3.1672
64 | 0.0037462 | 0.00093841 | -0.0037458 | -0.00093852 | 4.3962e-07 | -1.1091e-07 | 0.005659 | 0.0056591 | 0.0056591 | 0.98502 | -0.10464 | 0.9849 | -0.10549 | 2.096
65 | 0.0018488 | 0.00046311 | -0.0018487 | -0.00046333 | 1.0244e-07 | -2.2836e-07 | 0.0027932 | 0.0027933 | 0.0027933 | 0.9849 | -0.10549 | 0.98484 | -0.10589 | 1.0345
66 | 0.0019288 | 0.00048232 | -0.0019286 | -0.00048272 | 2.0016e-07 | -4.0488e-07 | 0.002912 | 0.0029122 | 0.0029122 | 0.98546 | -0.10219 | 0.98536 | -0.10294 | 1.0786
67 | -0.00081041 | -0.00020311 | 0.00081042 | 0.00020287 | 1.7813e-08 | -2.3586e-07 | 0.0012239 | 0.0012239 | 0.0012239 | 0.98526 | -0.10365 | 0.98528 | -0.1035 | 0.45331
68 | -0.0016969 | -0.00042504 | 0.001697 | 0.00042469 | 1.2926e-07 | -3.5206e-07 | 0.0025627 | 0.0025625 | 0.0025627 | 0.98528 | -0.1035 | 0.98536 | -0.10294 | 0.94913

## res_trafo
| p_hv_mw | q_hv_mvar | p_lv_mw | q_lv_mvar | pl_mw | ql_mvar | i_hv_ka | i_lv_ka | vm_hv_pu | va_hv_degree | vm_lv_pu | va_lv_degree | loading_percent
0 | 2.5187e-16 | 8.8016e-16 | 0.00079998 | 7.4552e-08 | 0.00079998 | 7.4552e-08 | 2.6429e-17 | 0.0011547 | 0.99998 | 149.9947 | 1 | 0 | 0.31999

## res_ext_grid
| p_mw | q_mvar
0 | 0.23896 | 0.060105

## res_load
| p_mw | q_mvar
0 | 0.0032508 | 0.00081472
1 | 0.0041895 | 0.00105
2 | 0.0097559 | 0.0024451
3 | 0.0027274 | 0.00068356
4 | 0.0027247 | 0.00068288
5 | 0.0090661 | 0.0022722
6 | 0.0031625 | 0.00079258
7 | 0.001791 | 0.00044887
8 | 0.0022336 | 0.0005598
9 | 0.0020544 | 0.00051487
10 | 0.0037186 | 0.00093196
11 | 0.010767 | 0.0026985
12 | 0.00083762 | 0.00020993
13 | 0.0014957 | 0.00037486
14 | 0.0025347 | 0.00063527
15 | 0.0033989 | 0.00085184
16 | 0.001629 | 0.00040826
17 | 0.0023198 | 0.00058139
18 | 0.0047984 | 0.0012026
19 | 0.0029179 | 0.00073131
20 | 0.0028374 | 0.00071111
21 | 0.0033329 | 0.00083532
22 | 0.004755 | 0.0011917
23 | 0.0026169 | 0.00065585
24 | 0.0027092 | 0.00067899
25 | 0.0018752 | 0.00046996
26 | 0.0024696 | 0.00061894
27 | 0.0030186 | 0.00075654
28 | 0.0021361 | 0.00053537
29 | 0.0061116 | 0.0015317
30 | 0.0036501 | 0.0009148
31 | 0.0042191 | 0.0010574
32 | 0.0030534 | 0.00076525
33 | 0.0034004 | 0.00085221
34 | 0.002716 | 0.00068068
35 | 0.0033747 | 0.00084578
36 | 0.0024928 | 0.00062474
37 | 0.0016948 | 0.00042476
38 | 0.0026298 | 0.00065908
39 | 0.0061392 | 0.0015386
40 | 0.006152 | 0.0015418
41 | 0.0094335 | 0.0023642
42 | 0.0033727 | 0.00084529
43 | 0.0055198 | 0.0013834
44 | 0.0090501 | 0.0022682
45 | 0.0055736 | 0.0013969
46 | 0.0023969 | 0.00060072
47 | 0.0025213 | 0.00063189
48 | 0.0028154 | 0.0007056
49 | 0.0025425 | 0.00063721
50 | 0.00245 | 0.00061402
51 | 0.0026303 | 0.00065922
52 | 0.010614 | 0.0026601
53 | 0.010331 | 0.0025892
54 | 0.0035611 | 0.0008925
55 | 0.0024003 | 0.00060157
56 | 0.0050167 | 0.0012573
57 | 0.0019147 | 0.00047987
58 | 0.0018969 | 0.00047542
59 | 0.0018487 | 0.00046333
60 | 0.00033983 | 8.5169e-05
61 | 0.00081041 | 0.00020311
62 | 0.00088648 | 0.00022217
63 | 0.00023154 | 5.8029e-05

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object
62 | res_bus | vm_pu | float64
63 | res_bus | va_degree | float64
64 | res_bus | p_mw | float64
65 | res_bus | q_mvar | float64
66 | res_line | p_from_mw | float64
67 | res_line | q_from_mvar | float64
68 | res_line | p_to_mw | float64
69 | res_line | q_to_mvar | float64
70 | res_line | pl_mw | float64
71 | res_line | ql_mvar | float64
72 | res_line | i_from_ka | float64
73 | res_line | i_to_ka | float64
74 | res_line | i_ka | float64
75 | res_line | vm_from_pu | float64
76 | res_line | va_from_degree | float64
77 | res_line | vm_to_pu | float64
78 | res_line | va_to_degree | float64
79 | res_line | loading_percent | float64
80 | res_trafo | p_hv_mw | float64
81 | res_trafo | q_hv_mvar | float64
82 | res_trafo | p_lv_mw | float64
83 | res_trafo | q_lv_mvar | float64
84 | res_trafo | pl_mw | float64
85 | res_trafo | ql_mvar | float64
86 | res_trafo | i_hv_ka | float64
87 | res_trafo | i_lv_ka | float64
88 | res_trafo | vm_hv_pu | float64
89 | res_trafo | va_hv_degree | float64
90 | res_trafo | vm_lv_pu | float64
91 | res_trafo | va_lv_degree | float64
92 | res_trafo | loading_percent | float64
93 | res_ext_grid | p_mw | float64
94 | res_ext_grid | q_mvar | float64
95 | res_load | p_mw | float64
96 | res_load | q_mvar | float64

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | TRUE | FALSE |  | 50 | 1