## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_1085-9_0_4_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_1085-9_0_4_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_1085-9_0_4_node_2 | 0.4 | n |  | TRUE
3 | bus_LV_1085-9_0_4_node_3 | 0.4 | n |  | TRUE
4 | bus_LV_1085-9_0_4_node_5 | 0.4 | n |  | TRUE
5 | bus_LV_1085-9_0_4_node_52 | 0.4 | n |  | TRUE
6 | bus_LV_1085-9_0_4_node_9 | 0.4 | n |  | TRUE
7 | bus_LV_1085-9_0_4_node_6 | 0.4 | n |  | TRUE
8 | bus_LV_1085-9_0_4_node_7 | 0.4 | n |  | TRUE
9 | bus_LV_1085-9_0_4_node_8 | 0.4 | n |  | TRUE
10 | bus_LV_1085-9_0_4_node_10 | 0.4 | n |  | TRUE
11 | bus_LV_1085-9_0_4_node_22 | 0.4 | n |  | TRUE
12 | bus_LV_1085-9_0_4_node_49 | 0.4 | n |  | TRUE
13 | bus_LV_1085-9_0_4_node_24 | 0.4 | n |  | TRUE
14 | bus_LV_1085-9_0_4_node_21 | 0.4 | n |  | TRUE
15 | bus_LV_1085-9_0_4_node_47 | 0.4 | n |  | TRUE
16 | bus_LV_1085-9_0_4_node_11 | 0.4 | n |  | TRUE
17 | bus_LV_1085-9_0_4_node_12 | 0.4 | n |  | TRUE
18 | bus_LV_1085-9_0_4_node_13 | 0.4 | n |  | TRUE
19 | bus_LV_1085-9_0_4_node_14 | 0.4 | n |  | TRUE
20 | bus_LV_1085-9_0_4_node_55 | 0.4 | n |  | TRUE
21 | bus_LV_1085-9_0_4_node_56 | 0.4 | n |  | TRUE
22 | bus_LV_1085-9_0_4_node_15 | 0.4 | n |  | TRUE
23 | bus_LV_1085-9_0_4_node_16 | 0.4 | n |  | TRUE
24 | bus_LV_1085-9_0_4_node_17 | 0.4 | n |  | TRUE
25 | bus_LV_1085-9_0_4_node_18 | 0.4 | n |  | TRUE
26 | bus_LV_1085-9_0_4_node_19 | 0.4 | n |  | TRUE
27 | bus_LV_1085-9_0_4_node_20 | 0.4 | n |  | TRUE
28 | bus_LV_1085-9_0_4_node_28 | 0.4 | n |  | TRUE
29 | bus_LV_1085-9_0_4_node_36 | 0.4 | n |  | TRUE
30 | bus_LV_1085-9_0_4_node_60 | 0.4 | n |  | TRUE
31 | bus_LV_1085-9_0_4_node_27 | 0.4 | n |  | TRUE
32 | bus_LV_1085-9_0_4_node_59 | 0.4 | n |  | TRUE
33 | bus_LV_1085-9_0_4_node_23 | 0.4 | n |  | TRUE
34 | bus_LV_1085-9_0_4_node_25 | 0.4 | n |  | TRUE
35 | bus_LV_1085-9_0_4_node_26 | 0.4 | n |  | TRUE
36 | bus_LV_1085-9_0_4_node_43 | 0.4 | n |  | TRUE
37 | bus_LV_1085-9_0_4_node_33 | 0.4 | n |  | TRUE
38 | bus_LV_1085-9_0_4_node_29 | 0.4 | n |  | TRUE
39 | bus_LV_1085-9_0_4_node_44 | 0.4 | n |  | TRUE
40 | bus_LV_1085-9_0_4_node_31 | 0.4 | n |  | TRUE
41 | bus_LV_1085-9_0_4_node_62 | 0.4 | n |  | TRUE
42 | bus_LV_1085-9_0_4_node_30 | 0.4 | n |  | TRUE
43 | bus_LV_1085-9_0_4_node_32 | 0.4 | n |  | TRUE
44 | bus_LV_1085-9_0_4_node_34 | 0.4 | n |  | TRUE
45 | bus_LV_1085-9_0_4_node_35 | 0.4 | n |  | TRUE
46 | bus_LV_1085-9_0_4_node_40 | 0.4 | n |  | TRUE
47 | bus_LV_1085-9_0_4_node_45 | 0.4 | n |  | TRUE
48 | bus_LV_1085-9_0_4_node_39 | 0.4 | n |  | TRUE
49 | bus_LV_1085-9_0_4_node_46 | 0.4 | n |  | TRUE
50 | bus_LV_1085-9_0_4_node_41 | 0.4 | n |  | TRUE
51 | bus_LV_1085-9_0_4_node_42 | 0.4 | n |  | TRUE
52 | bus_LV_1085-9_0_4_node_48 | 0.4 | n |  | TRUE
53 | bus_LV_1085-9_0_4_node_50 | 0.4 | n |  | TRUE
54 | bus_LV_1085-9_0_4_node_51 | 0.4 | n |  | TRUE
55 | bus_LV_1085-9_0_4_node_57 | 0.4 | n |  | TRUE
56 | bus_LV_1085-9_0_4_node_58 | 0.4 | n |  | TRUE
57 | bus_MV_473_0_node_188 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_1085-9_0_4_load_0 | 0 | 0.0022663 | 0.00056798 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_1085-9_0_4_load_1 | 1 | 0.0022143 | 0.00055495 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_1085-9_0_4_load_2 | 2 | 0.002597 | 0.00065087 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_1085-9_0_4_load_3 | 3 | 0.0052874 | 0.0013251 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_1085-9_0_4_load_5 | 4 | 0.010251 | 0.002569 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_1085-9_0_4_load_6 | 7 | 0.0028305 | 0.00070939 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_1085-9_0_4_load_7 | 8 | 0.0022786 | 0.00057107 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_1085-9_0_4_load_8 | 9 | 0.0026026 | 0.00065226 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_1085-9_0_4_load_10 | 10 | 0.0020085 | 0.00050338 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_1085-9_0_4_load_49 | 12 | 0.0031402 | 0.00078702 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_1085-9_0_4_load_21 | 14 | 0.020524 | 0.0051439 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_1085-9_0_4_load_47 | 15 | 0.0016886 | 0.0004232 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_1085-9_0_4_load_11 | 16 | 0.0079693 | 0.0019973 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_1085-9_0_4_load_12 | 17 | 0.0026354 | 0.00066049 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_1085-9_0_4_load_13 | 18 | 0.0015986 | 0.00040065 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_1085-9_0_4_load_14 | 19 | 0.001531 | 0.00038369 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_1085-9_0_4_load_55 | 20 | 0.0015361 | 0.00038499 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_1085-9_0_4_load_56 | 21 | 0.0015332 | 0.00038425 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_1085-9_0_4_load_15 | 22 | 0.0069326 | 0.0017375 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_1085-9_0_4_load_16 | 23 | 0.0019368 | 0.00048541 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_1085-9_0_4_load_17 | 24 | 0.0041099 | 0.00103 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_1085-9_0_4_load_18 | 25 | 0.0019486 | 0.00048836 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_1085-9_0_4_load_19 | 26 | 0.0033158 | 0.00083102 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_1085-9_0_4_load_20 | 27 | 0.0015342 | 0.0003845 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_1085-9_0_4_load_28 | 28 | 0.016403 | 0.0041109 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_1085-9_0_4_load_36 | 29 | 0.0024195 | 0.00060639 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_1085-9_0_4_load_60 | 30 | 0.0015309 | 0.00038369 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_1085-9_0_4_load_27 | 31 | 0.0046855 | 0.0011743 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_1085-9_0_4_load_59 | 32 | 0.0015348 | 0.00038465 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_1085-9_0_4_load_25 | 34 | 0.0048125 | 0.0012061 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_1085-9_0_4_load_43 | 36 | 0.0016358 | 0.00040997 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_1085-9_0_4_load_33 | 37 | 0.0041394 | 0.0010374 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_1085-9_0_4_load_44 | 39 | 0.0023787 | 0.00059615 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_1085-9_0_4_load_31 | 40 | 0.0013548 | 0.00033955 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_1085-9_0_4_load_62 | 41 | 0.0011855 | 0.00029711 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_1085-9_0_4_load_30 | 42 | 0.0011943 | 0.00029931 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_1085-9_0_4_load_34 | 44 | 0.010061 | 0.0025215 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_1085-9_0_4_load_40 | 46 | 0.0017411 | 0.00043635 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_1085-9_0_4_load_45 | 47 | 0.032233 | 0.0080783 | 0 | 0 |  | 1 | TRUE | wye
39 | LV_1085-9_0_4_load_39 | 48 | 0.0036744 | 0.00092089 | 0 | 0 |  | 1 | TRUE | wye
40 | LV_1085-9_0_4_load_46 | 49 | 0.043999 | 0.011027 | 0 | 0 |  | 1 | TRUE | wye
41 | LV_1085-9_0_4_load_42 | 51 | 0.0007804 | 0.00019559 | 0 | 0 |  | 1 | TRUE | wye
42 | LV_1085-9_0_4_load_48 | 52 | 0.0022315 | 0.00055925 | 0 | 0 |  | 1 | TRUE | wye
43 | LV_1085-9_0_4_load_50 | 53 | 0.002055 | 0.00051503 | 0 | 0 |  | 1 | TRUE | wye
44 | LV_1085-9_0_4_load_51 | 54 | 0.0025246 | 0.00063271 | 0 | 0 |  | 1 | TRUE | wye
45 | LV_1085-9_0_4_load_57 | 55 | 0.0015328 | 0.00038416 | 0 | 0 |  | 1 | TRUE | wye
46 | LV_1085-9_0_4_load_58 | 56 | 0.0015342 | 0.0003845 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 13 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_1085-9_0_4_line_0 | NAYY 4x150 SE | 0 | 1 | 0.023602 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
1 | LV_1085-9_0_4_line_1 | NAYY 4x150 SE | 0 | 2 | 0.021721 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
2 | LV_1085-9_0_4_line_2 | NAYY 4x150 SE | 1 | 3 | 0.034653 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
3 | LV_1085-9_0_4_line_3 | NAYY 4x150 SE | 3 | 4 | 0.029405 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
4 | LV_1085-9_0_4_line_4 | NAYY 4x150 SE | 4 | 5 | 0.013858 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
5 | LV_1085-9_0_4_line_5 | NAYY 4x150 SE | 5 | 6 | 0.030462 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
6 | LV_1085-9_0_4_line_6 | NAYY 4x150 SE | 6 | 11 | 0.13803 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
7 | LV_1085-9_0_4_line_7 | NAYY 4x150 SE | 6 | 8 | 0.011721 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
8 | LV_1085-9_0_4_line_8 | NAYY 4x150 SE | 7 | 8 | 0.021994 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
9 | LV_1085-9_0_4_line_9 | NAYY 4x150 SE | 7 | 9 | 0.037299 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
10 | LV_1085-9_0_4_line_10 | NAYY 4x150 SE | 9 | 10 | 0.0042572 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
11 | LV_1085-9_0_4_line_11 | NAYY 4x150 SE | 10 | 12 | 0.024596 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
12 | LV_1085-9_0_4_line_12 | NAYY 4x150 SE | 11 | 13 | 0.021586 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
13 | LV_1085-9_0_4_line_13 | NAYY 4x150 SE | 11 | 14 | 0.077741 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
14 | LV_1085-9_0_4_line_14 | NAYY 4x150 SE | 12 | 15 | 8.1405e-05 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
15 | LV_1085-9_0_4_line_15 | NAYY 4x150 SE | 13 | 36 | 0.046989 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
16 | LV_1085-9_0_4_line_16 | NAYY 4x150 SE | 13 | 37 | 0.018674 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
17 | LV_1085-9_0_4_line_17 | NAYY 4x150 SE | 14 | 33 | 0.049221 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
18 | LV_1085-9_0_4_line_18 | NAYY 4x150 SE | 15 | 52 | 0.018663 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
19 | LV_1085-9_0_4_line_19 | NAYY 4x150 SE | 16 | 17 | 0.0033713 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
20 | LV_1085-9_0_4_line_20 | NAYY 4x150 SE | 16 | 18 | 0.00010862 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
21 | LV_1085-9_0_4_line_21 | NAYY 4x150 SE | 18 | 19 | 0.00047718 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
22 | LV_1085-9_0_4_line_22 | NAYY 4x150 SE | 19 | 20 | 0.0004619 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
23 | LV_1085-9_0_4_line_23 | NAYY 4x150 SE | 20 | 21 | 0.00046678 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
24 | LV_1085-9_0_4_line_24 | NAYY 4x150 SE | 21 | 55 | 0.00046611 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
25 | LV_1085-9_0_4_line_25 | NAYY 4x150 SE | 22 | 23 | 0.021813 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
26 | LV_1085-9_0_4_line_26 | NAYY 4x150 SE | 22 | 24 | 0.026102 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
27 | LV_1085-9_0_4_line_27 | NAYY 4x150 SE | 23 | 25 | 0.022934 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
28 | LV_1085-9_0_4_line_28 | NAYY 4x150 SE | 24 | 26 | 0.0055767 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
29 | LV_1085-9_0_4_line_29 | NAYY 4x150 SE | 24 | 27 | 0.034822 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
30 | LV_1085-9_0_4_line_30 | NAYY 4x150 SE | 25 | 28 | 0.021656 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
31 | LV_1085-9_0_4_line_31 | NAYY 4x150 SE | 26 | 29 | 0.01772 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
32 | LV_1085-9_0_4_line_32 | NAYY 4x150 SE | 27 | 30 | 0.00046614 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
33 | LV_1085-9_0_4_line_33 | NAYY 4x150 SE | 28 | 31 | 0.0042649 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
34 | LV_1085-9_0_4_line_34 | NAYY 4x150 SE | 30 | 32 | 0.00046468 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
35 | LV_1085-9_0_4_line_35 | NAYY 4x150 SE | 31 | 35 | 0.032604 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
36 | LV_1085-9_0_4_line_36 | NAYY 4x150 SE | 32 | 56 | 0.00046718 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
37 | LV_1085-9_0_4_line_37 | NAYY 4x150 SE | 33 | 34 | 0.023221 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
38 | LV_1085-9_0_4_line_38 | NAYY 4x150 SE | 33 | 35 | 0.098634 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
39 | LV_1085-9_0_4_line_39 | NAYY 4x150 SE | 35 | 38 | 0.071033 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
40 | LV_1085-9_0_4_line_40 | NAYY 4x150 SE | 36 | 39 | 0.030685 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
41 | LV_1085-9_0_4_line_41 | NAYY 4x150 SE | 37 | 40 | 0.02502 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
42 | LV_1085-9_0_4_line_42 | NAYY 4x150 SE | 38 | 41 | 0.017659 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
43 | LV_1085-9_0_4_line_43 | NAYY 4x150 SE | 40 | 42 | 0.019303 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
44 | LV_1085-9_0_4_line_44 | NAYY 4x150 SE | 42 | 43 | 0.0059099 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
45 | LV_1085-9_0_4_line_45 | NAYY 4x150 SE | 43 | 44 | 0.014283 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
46 | LV_1085-9_0_4_line_46 | NAYY 4x150 SE | 43 | 45 | 0.006163 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
47 | LV_1085-9_0_4_line_47 | NAYY 4x150 SE | 44 | 46 | 0.0009257 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
48 | LV_1085-9_0_4_line_48 | NAYY 4x150 SE | 45 | 47 | 0.054739 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
49 | LV_1085-9_0_4_line_49 | NAYY 4x150 SE | 46 | 48 | 0.061477 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
50 | LV_1085-9_0_4_line_50 | NAYY 4x150 SE | 47 | 49 | 0.023473 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
51 | LV_1085-9_0_4_line_51 | NAYY 4x150 SE | 48 | 50 | 0.015543 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
52 | LV_1085-9_0_4_line_52 | NAYY 4x150 SE | 50 | 51 | 0.07974 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
53 | LV_1085-9_0_4_line_53 | NAYY 4x150 SE | 52 | 53 | 0.022741 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
54 | LV_1085-9_0_4_line_54 | NAYY 4x150 SE | 53 | 54 | 0.011951 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
55 | LV_1085-9_0_4_line_55 | NAYY 4x150 SE | 55 | 56 | 0.00046773 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_1085-9_0_4_trafo_24 | 0.25 MVA 20/0.4 kV | 57 | 13 | 0.25 | 20 | 0.4 | 6 | 1.44 | 0.8 | 0.32 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6 | x7 | y7 | x8 | y8 | x9 | y9 | x10 | y10
0 | 2651106.5442 | 1227460.7153 | 2651105.6623 | 1227461.4782 | 2651097.3704 | 1227469.5787 | 2651090.0293 | 1227477.5597
1 | 2651106.5442 | 1227460.7153 | 2651122.9724 | 1227446.5052
2 | 2651090.0293 | 1227477.5597 | 2651066.5698 | 1227503.0637
3 | 2651066.5698 | 1227503.0637 | 2651050.6857 | 1227520.3322 | 2651045.8063 | 1227523.7228
4 | 2651033.3161 | 1227529.2444 | 2651040.7446 | 1227527.2401 | 2651045.8063 | 1227523.7228
5 | 2651033.3161 | 1227529.2444 | 2651025.7677 | 1227528.4347 | 2651004.2773 | 1227520.3789
6 | 2650873.1462 | 1227510.6841 | 2650883.2502 | 1227517.4858 | 2650893.3543 | 1227524.2764 | 2650902.8012 | 1227527.2702 | 2650913.7001 | 1227526.196 | 2650936.4848 | 1227520.2873 | 2650947.8771 | 1227517.3385 | 2650962.64 | 1227514.5853 | 2650980.3779 | 1227513.9813 | 2651004.2773 | 1227520.3789
7 | 2651004.2773 | 1227520.3789 | 2651010.6132 | 1227510.5182
8 | 2651022.5025 | 1227492.0148 | 2651010.6132 | 1227510.5182
9 | 2651022.5025 | 1227492.0148 | 2651042.6655 | 1227460.6351
10 | 2651044.9669 | 1227457.0535 | 2651042.6655 | 1227460.6351
11 | 2651044.9669 | 1227457.0535 | 2651058.263 | 1227436.3607
12 | 2650873.1462 | 1227510.6841 | 2650884.4736 | 1227492.2916
13 | 2650873.1462 | 1227510.6841 | 2650833.4586 | 1227577.5309
14 | 2651058.307 | 1227436.2922 | 2651058.263 | 1227436.3607
15 | 2650884.4736 | 1227492.2916 | 2650840.8375 | 1227474.8598
16 | 2650884.4736 | 1227492.2916 | 2650891.6006 | 1227480.3451 | 2650894.0403 | 1227476.2545
17 | 2650808.3308 | 1227619.8544 | 2650833.4586 | 1227577.5309
18 | 2651058.307 | 1227436.2922 | 2651068.396 | 1227420.5908
19 | 2650662.0114 | 1227536.6347 | 2650659.5796 | 1227534.2997
20 | 2650662.0114 | 1227536.6347 | 2650662.0897 | 1227536.7099
21 | 2650662.0897 | 1227536.7099 | 2650662.4339 | 1227537.0404
22 | 2650662.4339 | 1227537.0404 | 2650662.7671 | 1227537.3603
23 | 2650662.7671 | 1227537.3603 | 2650663.1038 | 1227537.6836
24 | 2650663.1038 | 1227537.6836 | 2650663.44 | 1227538.0065
25 | 2650709.3238 | 1227578.6598 | 2650708.8332 | 1227577.1238 | 2650707.3592 | 1227572.2415 | 2650703.0017 | 1227557.7832
26 | 2650691.1898 | 1227534.647 | 2650701.2719 | 1227552.0437 | 2650703.0017 | 1227557.7832
27 | 2650709.3238 | 1227578.6598 | 2650716.302 | 1227600.5062
28 | 2650691.1898 | 1227534.647 | 2650688.3967 | 1227529.8202
29 | 2650691.1898 | 1227534.647 | 2650674.1594 | 1227548.2994 | 2650664.7858 | 1227539.2987
30 | 2650722.8915 | 1227621.1356 | 2650716.302 | 1227600.5062
31 | 2650677.6023 | 1227515.7672 | 2650688.3967 | 1227529.8202
32 | 2650664.4495 | 1227538.9759 | 2650664.7858 | 1227539.2987
33 | 2650724.1894 | 1227625.1982 | 2650723.3515 | 1227622.5759 | 2650722.8915 | 1227621.1356
34 | 2650664.1143 | 1227538.654 | 2650664.4495 | 1227538.9759
35 | 2650734.1129 | 1227656.2553 | 2650724.1894 | 1227625.1982
36 | 2650663.7774 | 1227538.3304 | 2650664.1143 | 1227538.654
37 | 2650808.3308 | 1227619.8544 | 2650826.1888 | 1227628.212 | 2650829.3648 | 1227629.6915
38 | 2650808.3308 | 1227619.8544 | 2650806.993 | 1227622.111 | 2650794.9067 | 1227642.4651 | 2650785.4535 | 1227657.9719 | 2650776.0793 | 1227652.6886 | 2650770.4646 | 1227650.8507 | 2650761.7679 | 1227649.6536 | 2650757.7147 | 1227649.5412 | 2650750.9487 | 1227650.3062 | 2650744.4679 | 1227652.2744 | 2650734.1129 | 1227656.2553
39 | 2650673.323 | 1227692.7604 | 2650686.0769 | 1227683.8189 | 2650706.1584 | 1227671.3377 | 2650718.7506 | 1227665.3745 | 2650728.8617 | 1227659.7794 | 2650734.1129 | 1227656.2553
40 | 2650840.8375 | 1227474.8598 | 2650812.3424 | 1227463.4765
41 | 2650894.0403 | 1227476.2545 | 2650906.8563 | 1227454.7661
42 | 2650664.5344 | 1227677.4315 | 2650673.323 | 1227692.7604
43 | 2650916.7439 | 1227438.1877 | 2650906.8563 | 1227454.7661
44 | 2650919.7711 | 1227433.112 | 2650916.7439 | 1227438.1877
45 | 2650919.7711 | 1227433.112 | 2650927.087 | 1227420.845
46 | 2650919.7711 | 1227433.112 | 2650924.6723 | 1227436.8674
47 | 2650927.087 | 1227420.845 | 2650927.5612 | 1227420.05
48 | 2650924.6723 | 1227436.8674 | 2650933.9669 | 1227419.6028 | 2650941.8139 | 1227420.0702 | 2650945.416 | 1227418.9003 | 2650954.6664 | 1227426.2841 | 2650964.4563 | 1227432.594
49 | 2650959.0494 | 1227367.2493 | 2650945.1433 | 1227390.5691 | 2650927.5612 | 1227420.05
50 | 2650980.7285 | 1227427.9638 | 2650971.4644 | 1227422.1809 | 2650964.4563 | 1227432.594
51 | 2650967.0099 | 1227353.9001 | 2650959.0494 | 1227367.2493
52 | 2650967.0099 | 1227353.9001 | 2650969.0935 | 1227350.4046 | 2650985.9857 | 1227322.076 | 2651007.8508 | 1227285.4127
53 | 2651068.396 | 1227420.5908 | 2651068.8025 | 1227419.9581 | 2651076.3261 | 1227409.5384 | 2651082.4356 | 1227402.7447
54 | 2651082.4356 | 1227402.7447 | 2651090.427 | 1227393.8584
55 | 2650663.44 | 1227538.0065 | 2650663.7774 | 1227538.3304

## bus_geodata
| x | y | coords
0 | 2651106.5442 | 1227460.7153
1 | 2651090.0293 | 1227477.5597
2 | 2651122.9724 | 1227446.5052
3 | 2651066.5698 | 1227503.0637
4 | 2651045.8063 | 1227523.7228
5 | 2651033.3161 | 1227529.2444
6 | 2651004.2773 | 1227520.3789
7 | 2651022.5025 | 1227492.0148
8 | 2651010.6132 | 1227510.5182
9 | 2651042.6655 | 1227460.6351
10 | 2651044.9669 | 1227457.0535
11 | 2650873.1462 | 1227510.6841
12 | 2651058.263 | 1227436.3607
13 | 2650884.4736 | 1227492.2916
14 | 2650833.4586 | 1227577.5309
15 | 2651058.307 | 1227436.2922
16 | 2650662.0114 | 1227536.6347
17 | 2650659.5796 | 1227534.2997
18 | 2650662.0897 | 1227536.7099
19 | 2650662.4339 | 1227537.0404
20 | 2650662.7671 | 1227537.3603
21 | 2650663.1038 | 1227537.6836
22 | 2650703.0017 | 1227557.7832
23 | 2650709.3238 | 1227578.6598
24 | 2650691.1898 | 1227534.647
25 | 2650716.302 | 1227600.5062
26 | 2650688.3967 | 1227529.8202
27 | 2650664.7858 | 1227539.2987
28 | 2650722.8915 | 1227621.1356
29 | 2650677.6023 | 1227515.7672
30 | 2650664.4495 | 1227538.9759
31 | 2650724.1894 | 1227625.1982
32 | 2650664.1143 | 1227538.654
33 | 2650808.3308 | 1227619.8544
34 | 2650829.3648 | 1227629.6915
35 | 2650734.1129 | 1227656.2553
36 | 2650840.8375 | 1227474.8598
37 | 2650894.0403 | 1227476.2545
38 | 2650673.323 | 1227692.7604
39 | 2650812.3424 | 1227463.4765
40 | 2650906.8563 | 1227454.7661
41 | 2650664.5344 | 1227677.4315
42 | 2650916.7439 | 1227438.1877
43 | 2650919.7711 | 1227433.112
44 | 2650927.087 | 1227420.845
45 | 2650924.6723 | 1227436.8674
46 | 2650927.5612 | 1227420.05
47 | 2650964.4563 | 1227432.594
48 | 2650959.0494 | 1227367.2493
49 | 2650980.7285 | 1227427.9638
50 | 2650967.0099 | 1227353.9001
51 | 2651007.8508 | 1227285.4127
52 | 2651068.396 | 1227420.5908
53 | 2651082.4356 | 1227402.7447
54 | 2651090.427 | 1227393.8584
55 | 2650663.44 | 1227538.0065
56 | 2650663.7774 | 1227538.3304
57 | 2650873.1462 | 1227510.6841

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## res_bus
| vm_pu | va_degree | p_mw | q_mvar
0 | 0.9866 | -0.093862 | 0.0022663 | 0.00056798
1 | 0.98677 | -0.092685 | 0.0022143 | 0.00055495
2 | 0.98652 | -0.094441 | 0.002597 | 0.00065087
3 | 0.98712 | -0.09017 | 0.0052874 | 0.0013251
4 | 0.98765 | -0.086445 | 0.010251 | 0.002569
5 | 0.9881 | -0.083239 | 0 | 0
6 | 0.9891 | -0.076199 | 0 | 0
7 | 0.98813 | -0.083046 | 0.0028305 | 0.00070939
8 | 0.98874 | -0.078756 | 0.0022786 | 0.00057107
9 | 0.98725 | -0.089251 | 0.0026026 | 0.00065226
10 | 0.98717 | -0.089846 | 0.0020085 | 0.00050338
11 | 0.99786 | -0.014771 | 0 | 0
12 | 0.98676 | -0.092781 | 0.0031402 | 0.00078702
13 | 1 | 0 | -0.24441 | -0.06153
14 | 0.99263 | -0.051121 | 0.020524 | 0.0051439
15 | 0.98676 | -0.092788 | 0.0016886 | 0.0004232
16 | 0.97482 | -0.17706 | 0.0079693 | 0.0019973
17 | 0.97481 | -0.17715 | 0.0026354 | 0.00066049
18 | 0.97482 | -0.17704 | 0.0015986 | 0.00040065
19 | 0.97483 | -0.17698 | 0.001531 | 0.00038369
20 | 0.97484 | -0.17692 | 0.0015361 | 0.00038499
21 | 0.97485 | -0.17684 | 0.0015332 | 0.00038425
22 | 0.97747 | -0.15805 | 0.0069326 | 0.0017375
23 | 0.97879 | -0.14866 | 0.0019368 | 0.00048541
24 | 0.97616 | -0.16742 | 0.0041099 | 0.00103
25 | 0.98023 | -0.13835 | 0.0019486 | 0.00048836
26 | 0.97612 | -0.16775 | 0.0033158 | 0.00083102
27 | 0.97492 | -0.17635 | 0.0015342 | 0.0003845
28 | 0.98166 | -0.12821 | 0.016403 | 0.0041109
29 | 0.97605 | -0.1682 | 0.0024195 | 0.00060639
30 | 0.9749 | -0.17647 | 0.0015309 | 0.00038369
31 | 0.98204 | -0.1255 | 0.0046855 | 0.0011743
32 | 0.97489 | -0.17657 | 0.0015348 | 0.00038465
33 | 0.99004 | -0.069184 | 0 | 0
34 | 0.98988 | -0.070322 | 0.0048125 | 0.0012061
35 | 0.98519 | -0.10322 | 0 | 0
36 | 0.99973 | -0.0018856 | 0.0016358 | 0.00040997
37 | 0.99732 | -0.018539 | 0.0041394 | 0.0010374
38 | 0.98507 | -0.10409 | 0 | 0
39 | 0.99963 | -0.002615 | 0.0023787 | 0.00059615
40 | 0.99388 | -0.042488 | 0.0013548 | 0.00033955
41 | 0.98504 | -0.1043 | 0.0011855 | 0.00029711
42 | 0.99126 | -0.060813 | 0.0011943 | 0.00029931
43 | 0.99046 | -0.06637 | 0 | 0
44 | 0.99013 | -0.068736 | 0.010061 | 0.0025215
45 | 0.98978 | -0.071154 | 0 | 0
46 | 0.99012 | -0.068794 | 0.0017411 | 0.00043635
47 | 0.98373 | -0.11393 | 0.032233 | 0.0080783
48 | 0.98973 | -0.071591 | 0.0036744 | 0.00092089
49 | 0.98223 | -0.1246 | 0.043999 | 0.011027
50 | 0.98971 | -0.071716 | 0 | 0
51 | 0.98962 | -0.072353 | 0.0007804 | 0.00019559
52 | 0.98657 | -0.094092 | 0.0022315 | 0.00055925
53 | 0.98642 | -0.095161 | 0.002055 | 0.00051503
54 | 0.98638 | -0.09547 | 0.0025246 | 0.00063271
55 | 0.97486 | -0.17676 | 0.0015328 | 0.00038416
56 | 0.97487 | -0.17667 | 0.0015342 | 0.0003845
57 | 0.99998 | 149.9947 | 0 | 0

## res_line
| p_from_mw | q_from_mvar | p_to_mw | q_to_mvar | pl_mw | ql_mvar | i_from_ka | i_to_ka | i_ka | vm_from_pu | va_from_degree | vm_to_pu | va_to_degree | loading_percent
0 | -0.0048635 | -0.0012187 | 0.0048643 | 0.0012187 | 7.9238e-07 | 3.3125e-09 | 0.0073351 | 0.007335 | 0.0073351 | 0.9866 | -0.093862 | 0.98677 | -0.092685 | 2.7167
1 | 0.0025972 | 0.00065067 | -0.002597 | -0.00065087 | 2.0797e-07 | -1.9737e-07 | 0.003917 | 0.0039171 | 0.0039171 | 0.9866 | -0.093862 | 0.98652 | -0.094441 | 1.4508
2 | -0.0070785 | -0.0017736 | 0.007081 | 0.0017741 | 2.4636e-06 | 5.0471e-07 | 0.010674 | 0.010674 | 0.010674 | 0.98677 | -0.092685 | 0.98712 | -0.09017 | 3.9533
3 | -0.012368 | -0.0030992 | 0.012375 | 0.0031013 | 6.378e-06 | 2.077e-06 | 0.018644 | 0.018644 | 0.018644 | 0.98712 | -0.09017 | 0.98765 | -0.086445 | 6.9052
4 | -0.022625 | -0.0056703 | 0.022635 | 0.005674 | 1.0048e-05 | 3.6872e-06 | 0.034088 | 0.034088 | 0.034088 | 0.98765 | -0.086445 | 0.9881 | -0.083239 | 12.6251
5 | -0.022635 | -0.005674 | 0.022657 | 0.0056821 | 2.2087e-05 | 8.1044e-06 | 0.034088 | 0.034088 | 0.034088 | 0.9881 | -0.083239 | 0.9891 | -0.076199 | 12.6251
6 | -0.044058 | -0.011049 | 0.044437 | 0.011193 | 0.00037842 | 0.00014376 | 0.066285 | 0.066284 | 0.066285 | 0.9891 | -0.076199 | 0.99786 | -0.014771 | 24.5498
7 | 0.021401 | 0.005367 | -0.021393 | -0.0053643 | 7.5818e-06 | 2.7657e-06 | 0.032197 | 0.032197 | 0.032197 | 0.9891 | -0.076199 | 0.98874 | -0.078756 | 11.9248
8 | -0.019103 | -0.0047891 | 0.019115 | 0.0047932 | 1.1358e-05 | 4.0866e-06 | 0.028768 | 0.028768 | 0.028768 | 0.98813 | -0.083046 | 0.98874 | -0.078756 | 10.6548
9 | 0.016273 | 0.0040797 | -0.016259 | -0.0040748 | 1.3977e-05 | 4.8984e-06 | 0.024505 | 0.024506 | 0.024506 | 0.98813 | -0.083046 | 0.98725 | -0.089251 | 9.0762
10 | 0.013656 | 0.0034226 | -0.013655 | -0.0034222 | 1.1255e-06 | 3.7843e-07 | 0.020583 | 0.020583 | 0.020583 | 0.98725 | -0.089251 | 0.98717 | -0.089846 | 7.6233
11 | 0.011647 | 0.0029188 | -0.011642 | -0.0029173 | 4.7302e-06 | 1.505e-06 | 0.017555 | 0.017556 | 0.017556 | 0.98717 | -0.089846 | 0.98676 | -0.092781 | 6.5021
12 | -0.13866 | -0.034995 | 0.13895 | 0.035105 | 0.00028817 | 0.00011027 | 0.20685 | 0.20685 | 0.20685 | 0.99786 | -0.014771 | 1 | 0 | 38.306
13 | 0.09422 | 0.023802 | -0.093741 | -0.02362 | 0.00047927 | 0.00018231 | 0.14057 | 0.14057 | 0.14057 | 0.99786 | -0.014771 | 0.99263 | -0.051121 | 26.0313
14 | 0.0085016 | 0.0021303 | -0.0085016 | -0.0021303 | 8.3489e-09 | 2.1709e-09 | 0.01282 | 0.01282 | 0.01282 | 0.98676 | -0.092781 | 0.98676 | -0.092788 | 4.7482
15 | 0.0040157 | 0.0010056 | -0.0040147 | -0.0010058 | 1.0469e-06 | -2.1365e-07 | 0.0059752 | 0.0059754 | 0.0059754 | 1 | 0 | 0.99973 | -0.0018856 | 2.2131
16 | 0.10065 | 0.02542 | -0.10039 | -0.025319 | 0.00026163 | 0.00010038 | 0.14984 | 0.14984 | 0.14984 | 1 | 0 | 0.99732 | -0.018539 | 55.4968
17 | 0.073217 | 0.018476 | -0.073032 | -0.018406 | 0.00018515 | 6.9942e-05 | 0.1098 | 0.1098 | 0.1098 | 0.99263 | -0.051121 | 0.99004 | -0.069184 | 20.3337
18 | 0.006813 | 0.0017071 | -0.0068118 | -0.0017069 | 1.2293e-06 | 2.3443e-07 | 0.010274 | 0.010274 | 0.010274 | 0.98676 | -0.092788 | 0.98657 | -0.094092 | 3.8052
19 | 0.0026354 | 0.00066046 | -0.0026354 | -0.00066049 | 3.4044e-08 | -2.8935e-08 | 0.0040228 | 0.0040228 | 0.0040228 | 0.97482 | -0.17706 | 0.97481 | -0.17715 | 1.4899
20 | -0.010605 | -0.0026578 | 0.010605 | 0.0026578 | 1.7761e-08 | 5.477e-09 | 0.016188 | 0.016188 | 0.016188 | 0.97482 | -0.17706 | 0.97482 | -0.17704 | 5.9954
21 | -0.012203 | -0.0030584 | 0.012203 | 0.0030585 | 1.0332e-07 | 3.379e-08 | 0.018628 | 0.018628 | 0.018628 | 0.97482 | -0.17704 | 0.97483 | -0.17698 | 6.8992
22 | -0.013734 | -0.0034421 | 0.013735 | 0.0034422 | 1.2668e-07 | 4.2965e-08 | 0.020965 | 0.020965 | 0.020965 | 0.97483 | -0.17698 | 0.97484 | -0.17692 | 7.7647
23 | -0.015271 | -0.0038272 | 0.015271 | 0.0038272 | 1.5826e-07 | 5.5049e-08 | 0.02331 | 0.02331 | 0.02331 | 0.97484 | -0.17692 | 0.97485 | -0.17684 | 8.6332
24 | -0.016804 | -0.0042115 | 0.016804 | 0.0042115 | 1.9136e-07 | 6.7787e-08 | 0.02565 | 0.02565 | 0.02565 | 0.97485 | -0.17684 | 0.97486 | -0.17676 | 9.4999
25 | -0.041326 | -0.010366 | 0.041379 | 0.010387 | 5.3875e-05 | 2.0447e-05 | 0.062914 | 0.062913 | 0.062914 | 0.97747 | -0.15805 | 0.97879 | -0.14866 | 23.3013
26 | 0.034393 | 0.0086289 | -0.034348 | -0.008612 | 4.4653e-05 | 1.6848e-05 | 0.05236 | 0.05236 | 0.05236 | 0.97747 | -0.15805 | 0.97616 | -0.16742 | 19.3926
27 | -0.043316 | -0.010872 | 0.043378 | 0.010896 | 6.2069e-05 | 2.3584e-05 | 0.065858 | 0.065858 | 0.065858 | 0.97879 | -0.14866 | 0.98023 | -0.13835 | 24.3918
28 | 0.0057358 | 0.0014373 | -0.0057355 | -0.0014373 | 2.6601e-07 | 3.2601e-08 | 0.0087432 | 0.0087433 | 0.0087433 | 0.97616 | -0.16742 | 0.97612 | -0.16775 | 3.2382
29 | 0.024503 | 0.0061447 | -0.024472 | -0.0061335 | 3.0316e-05 | 1.1225e-05 | 0.037352 | 0.037352 | 0.037352 | 0.97616 | -0.16742 | 0.97492 | -0.17635 | 13.8341
30 | -0.045327 | -0.011384 | 0.045391 | 0.011408 | 6.3995e-05 | 2.434e-05 | 0.068816 | 0.068816 | 0.068816 | 0.98023 | -0.13835 | 0.98166 | -0.12821 | 25.4873
31 | 0.0024197 | 0.00060623 | -0.0024195 | -0.00060639 | 1.5044e-07 | -1.6363e-07 | 0.0036885 | 0.0036886 | 0.0036886 | 0.97612 | -0.16775 | 0.97605 | -0.1682 | 1.3662
32 | 0.022938 | 0.005749 | -0.022938 | -0.0057488 | 3.5653e-07 | 1.3131e-07 | 0.03501 | 0.03501 | 0.03501 | 0.97492 | -0.17635 | 0.9749 | -0.17647 | 12.9668
33 | -0.061793 | -0.015519 | 0.061817 | 0.015528 | 2.3355e-05 | 8.9287e-06 | 0.093679 | 0.093679 | 0.093679 | 0.98166 | -0.12821 | 0.98204 | -0.1255 | 34.6959
34 | 0.021407 | 0.0053652 | -0.021406 | -0.005365 | 3.0955e-07 | 1.1327e-07 | 0.032674 | 0.032674 | 0.032674 | 0.9749 | -0.17647 | 0.97489 | -0.17657 | 12.1014
35 | -0.066502 | -0.016703 | 0.066709 | 0.016782 | 0.00020663 | 7.9059e-05 | 0.10078 | 0.10078 | 0.10078 | 0.98204 | -0.1255 | 0.98519 | -0.10322 | 37.3254
36 | 0.019872 | 0.0049804 | -0.019871 | -0.0049803 | 2.6819e-07 | 9.7326e-08 | 0.030331 | 0.030331 | 0.030331 | 0.97489 | -0.17657 | 0.97487 | -0.17667 | 11.2337
37 | 0.0048133 | 0.0012061 | -0.0048125 | -0.0012061 | 7.5831e-07 | -6.8916e-09 | 0.0072342 | 0.0072343 | 0.0072343 | 0.99004 | -0.069184 | 0.98988 | -0.070322 | 2.6794
38 | 0.068218 | 0.0172 | -0.067895 | -0.017078 | 0.00032375 | 0.00012199 | 0.10257 | 0.10257 | 0.10257 | 0.99004 | -0.069184 | 0.98519 | -0.10322 | 18.9942
39 | 0.0011857 | 0.00029605 | -0.0011855 | -0.0002969 | 1.4211e-07 | -8.4974e-07 | 0.0017904 | 0.0017907 | 0.0017907 | 0.98519 | -0.10322 | 0.98507 | -0.10409 | 0.66323
40 | 0.0023789 | 0.00059584 | -0.0023787 | -0.00059615 | 2.4004e-07 | -3.0998e-07 | 0.0035407 | 0.0035408 | 0.0035408 | 0.99973 | -0.0018856 | 0.99963 | -0.002615 | 1.3114
41 | 0.096252 | 0.024282 | -0.09593 | -0.024158 | 0.00032224 | 0.00012361 | 0.14367 | 0.14367 | 0.14367 | 0.99732 | -0.018539 | 0.99388 | -0.042488 | 53.2094
42 | 0.0011855 | 0.0002969 | -0.0011855 | -0.00029711 | 3.5337e-08 | -2.1121e-07 | 0.0017907 | 0.0017908 | 0.0017908 | 0.98507 | -0.10409 | 0.98504 | -0.1043 | 0.66326
43 | 0.094575 | 0.023819 | -0.094333 | -0.023726 | 0.00024164 | 9.2688e-05 | 0.14164 | 0.14164 | 0.14164 | 0.99388 | -0.042488 | 0.99126 | -0.060813 | 52.4582
44 | 0.093139 | 0.023427 | -0.093067 | -0.023399 | 7.2119e-05 | 2.7662e-05 | 0.13984 | 0.13984 | 0.13984 | 0.99126 | -0.060813 | 0.99046 | -0.06637 | 51.7942
45 | 0.016264 | 0.0040749 | -0.016259 | -0.004073 | 5.3208e-06 | 1.8627e-06 | 0.024434 | 0.024434 | 0.024434 | 0.99046 | -0.06637 | 0.99013 | -0.068736 | 9.0495
46 | 0.076803 | 0.019324 | -0.076752 | -0.019304 | 5.1224e-05 | 1.9622e-05 | 0.11541 | 0.11541 | 0.11541 | 0.99046 | -0.06637 | 0.98978 | -0.071154 | 42.7448
47 | 0.0061977 | 0.0015515 | -0.0061976 | -0.0015515 | 5.0106e-08 | 7.3655e-09 | 0.0093136 | 0.0093136 | 0.0093136 | 0.99013 | -0.068736 | 0.99012 | -0.068794 | 3.4495
48 | 0.076752 | 0.019304 | -0.076297 | -0.01913 | 0.00045496 | 0.00017429 | 0.11541 | 0.11541 | 0.11541 | 0.98978 | -0.071154 | 0.98373 | -0.11393 | 42.7449
49 | 0.0044566 | 0.0011152 | -0.0044549 | -0.0011153 | 1.7206e-06 | -1.286e-07 | 0.006697 | 0.0066973 | 0.0066973 | 0.99012 | -0.068794 | 0.98973 | -0.071591 | 2.4805
50 | 0.044064 | 0.011052 | -0.043999 | -0.011027 | 6.5075e-05 | 2.4731e-05 | 0.066655 | 0.066655 | 0.066655 | 0.98373 | -0.11393 | 0.98223 | -0.1246 | 24.6871
51 | 0.00078048 | 0.00019439 | -0.00078047 | -0.00019459 | 1.3345e-08 | -1.946e-07 | 0.001173 | 0.0011731 | 0.0011731 | 0.98973 | -0.071591 | 0.98971 | -0.071716 | 0.43447
52 | 0.00078047 | 0.00019459 | -0.0007804 | -0.00019559 | 6.8491e-08 | -9.9828e-07 | 0.0011731 | 0.0011734 | 0.0011734 | 0.98971 | -0.071716 | 0.98962 | -0.072353 | 0.4346
53 | 0.0045803 | 0.0011476 | -0.0045797 | -0.0011476 | 6.7723e-07 | -2.9867e-08 | 0.0069083 | 0.0069084 | 0.0069084 | 0.98657 | -0.094092 | 0.98642 | -0.095161 | 2.5587
54 | 0.0025247 | 0.0006326 | -0.0025246 | -0.00063271 | 1.0817e-07 | -1.1095e-07 | 0.0038084 | 0.0038085 | 0.0038085 | 0.98642 | -0.095161 | 0.98638 | -0.09547 | 1.4105
55 | -0.018337 | -0.0045957 | 0.018337 | 0.0045958 | 2.2865e-07 | 8.2109e-08 | 0.027989 | 0.027989 | 0.027989 | 0.97486 | -0.17676 | 0.97487 | -0.17667 | 10.3664

## res_trafo
| p_hv_mw | q_hv_mvar | p_lv_mw | q_lv_mvar | pl_mw | ql_mvar | i_hv_ka | i_lv_ka | vm_hv_pu | va_hv_degree | vm_lv_pu | va_lv_degree | loading_percent
0 | 2.5187e-16 | 8.8016e-16 | 0.00079998 | 7.4552e-08 | 0.00079998 | 7.4552e-08 | 2.6429e-17 | 0.0011547 | 0.99998 | 149.9947 | 1 | 0 | 0.31999

## res_ext_grid
| p_mw | q_mvar
0 | 0.24441 | 0.06153

## res_load
| p_mw | q_mvar
0 | 0.0022663 | 0.00056798
1 | 0.0022143 | 0.00055495
2 | 0.002597 | 0.00065087
3 | 0.0052874 | 0.0013251
4 | 0.010251 | 0.002569
5 | 0.0028305 | 0.00070939
6 | 0.0022786 | 0.00057107
7 | 0.0026026 | 0.00065226
8 | 0.0020085 | 0.00050338
9 | 0.0031402 | 0.00078702
10 | 0.020524 | 0.0051439
11 | 0.0016886 | 0.0004232
12 | 0.0079693 | 0.0019973
13 | 0.0026354 | 0.00066049
14 | 0.0015986 | 0.00040065
15 | 0.001531 | 0.00038369
16 | 0.0015361 | 0.00038499
17 | 0.0015332 | 0.00038425
18 | 0.0069326 | 0.0017375
19 | 0.0019368 | 0.00048541
20 | 0.0041099 | 0.00103
21 | 0.0019486 | 0.00048836
22 | 0.0033158 | 0.00083102
23 | 0.0015342 | 0.0003845
24 | 0.016403 | 0.0041109
25 | 0.0024195 | 0.00060639
26 | 0.0015309 | 0.00038369
27 | 0.0046855 | 0.0011743
28 | 0.0015348 | 0.00038465
29 | 0.0048125 | 0.0012061
30 | 0.0016358 | 0.00040997
31 | 0.0041394 | 0.0010374
32 | 0.0023787 | 0.00059615
33 | 0.0013548 | 0.00033955
34 | 0.0011855 | 0.00029711
35 | 0.0011943 | 0.00029931
36 | 0.010061 | 0.0025215
37 | 0.0017411 | 0.00043635
38 | 0.032233 | 0.0080783
39 | 0.0036744 | 0.00092089
40 | 0.043999 | 0.011027
41 | 0.0007804 | 0.00019559
42 | 0.0022315 | 0.00055925
43 | 0.002055 | 0.00051503
44 | 0.0025246 | 0.00063271
45 | 0.0015328 | 0.00038416
46 | 0.0015342 | 0.0003845

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object
62 | res_bus | vm_pu | float64
63 | res_bus | va_degree | float64
64 | res_bus | p_mw | float64
65 | res_bus | q_mvar | float64
66 | res_line | p_from_mw | float64
67 | res_line | q_from_mvar | float64
68 | res_line | p_to_mw | float64
69 | res_line | q_to_mvar | float64
70 | res_line | pl_mw | float64
71 | res_line | ql_mvar | float64
72 | res_line | i_from_ka | float64
73 | res_line | i_to_ka | float64
74 | res_line | i_ka | float64
75 | res_line | vm_from_pu | float64
76 | res_line | va_from_degree | float64
77 | res_line | vm_to_pu | float64
78 | res_line | va_to_degree | float64
79 | res_line | loading_percent | float64
80 | res_trafo | p_hv_mw | float64
81 | res_trafo | q_hv_mvar | float64
82 | res_trafo | p_lv_mw | float64
83 | res_trafo | q_lv_mvar | float64
84 | res_trafo | pl_mw | float64
85 | res_trafo | ql_mvar | float64
86 | res_trafo | i_hv_ka | float64
87 | res_trafo | i_lv_ka | float64
88 | res_trafo | vm_hv_pu | float64
89 | res_trafo | va_hv_degree | float64
90 | res_trafo | vm_lv_pu | float64
91 | res_trafo | va_lv_degree | float64
92 | res_trafo | loading_percent | float64
93 | res_ext_grid | p_mw | float64
94 | res_ext_grid | q_mvar | float64
95 | res_load | p_mw | float64
96 | res_load | q_mvar | float64

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | TRUE | FALSE |  | 50 | 1