## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_1089-5_0_4_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_1089-5_0_4_node_3 | 0.4 | n |  | TRUE
2 | bus_LV_1089-5_0_4_node_12 | 0.4 | n |  | TRUE
3 | bus_LV_1089-5_0_4_node_8 | 0.4 | n |  | TRUE
4 | bus_LV_1089-5_0_4_node_6 | 0.4 | n |  | TRUE
5 | bus_LV_1089-5_0_4_node_80 | 0.4 | n |  | TRUE
6 | bus_LV_1089-5_0_4_node_16 | 0.4 | n |  | TRUE
7 | bus_LV_1089-5_0_4_node_79 | 0.4 | n |  | TRUE
8 | bus_LV_1089-5_0_4_node_5 | 0.4 | n |  | TRUE
9 | bus_LV_1089-5_0_4_node_11 | 0.4 | n |  | TRUE
10 | bus_LV_1089-5_0_4_node_7 | 0.4 | n |  | TRUE
11 | bus_LV_1089-5_0_4_node_9 | 0.4 | n |  | TRUE
12 | bus_LV_1089-5_0_4_node_10 | 0.4 | n |  | TRUE
13 | bus_LV_1089-5_0_4_node_30 | 0.4 | n |  | TRUE
14 | bus_LV_1089-5_0_4_node_14 | 0.4 | n |  | TRUE
15 | bus_LV_1089-5_0_4_node_31 | 0.4 | n |  | TRUE
16 | bus_LV_1089-5_0_4_node_78 | 0.4 | n |  | TRUE
17 | bus_LV_1089-5_0_4_node_13 | 0.4 | n |  | TRUE
18 | bus_LV_1089-5_0_4_node_15 | 0.4 | n |  | TRUE
19 | bus_LV_1089-5_0_4_node_17 | 0.4 | n |  | TRUE
20 | bus_LV_1089-5_0_4_node_18 | 0.4 | n |  | TRUE
21 | bus_LV_1089-5_0_4_node_19 | 0.4 | n |  | TRUE
22 | bus_LV_1089-5_0_4_node_20 | 0.4 | n |  | TRUE
23 | bus_LV_1089-5_0_4_node_21 | 0.4 | n |  | TRUE
24 | bus_LV_1089-5_0_4_node_22 | 0.4 | n |  | TRUE
25 | bus_LV_1089-5_0_4_node_23 | 0.4 | n |  | TRUE
26 | bus_LV_1089-5_0_4_node_24 | 0.4 | n |  | TRUE
27 | bus_LV_1089-5_0_4_node_54 | 0.4 | n |  | TRUE
28 | bus_LV_1089-5_0_4_node_50 | 0.4 | n |  | TRUE
29 | bus_LV_1089-5_0_4_node_25 | 0.4 | n |  | TRUE
30 | bus_LV_1089-5_0_4_node_42 | 0.4 | n |  | TRUE
31 | bus_LV_1089-5_0_4_node_63 | 0.4 | n |  | TRUE
32 | bus_LV_1089-5_0_4_node_40 | 0.4 | n |  | TRUE
33 | bus_LV_1089-5_0_4_node_26 | 0.4 | n |  | TRUE
34 | bus_LV_1089-5_0_4_node_35 | 0.4 | n |  | TRUE
35 | bus_LV_1089-5_0_4_node_34 | 0.4 | n |  | TRUE
36 | bus_LV_1089-5_0_4_node_38 | 0.4 | n |  | TRUE
37 | bus_LV_1089-5_0_4_node_39 | 0.4 | n |  | TRUE
38 | bus_LV_1089-5_0_4_node_27 | 0.4 | n |  | TRUE
39 | bus_LV_1089-5_0_4_node_64 | 0.4 | n |  | TRUE
40 | bus_LV_1089-5_0_4_node_65 | 0.4 | n |  | TRUE
41 | bus_LV_1089-5_0_4_node_33 | 0.4 | n |  | TRUE
42 | bus_LV_1089-5_0_4_node_41 | 0.4 | n |  | TRUE
43 | bus_LV_1089-5_0_4_node_29 | 0.4 | n |  | TRUE
44 | bus_LV_1089-5_0_4_node_28 | 0.4 | n |  | TRUE
45 | bus_LV_1089-5_0_4_node_37 | 0.4 | n |  | TRUE
46 | bus_LV_1089-5_0_4_node_36 | 0.4 | n |  | TRUE
47 | bus_LV_1089-5_0_4_node_32 | 0.4 | n |  | TRUE
48 | bus_LV_1089-5_0_4_node_55 | 0.4 | n |  | TRUE
49 | bus_LV_1089-5_0_4_node_43 | 0.4 | n |  | TRUE
50 | bus_LV_1089-5_0_4_node_44 | 0.4 | n |  | TRUE
51 | bus_LV_1089-5_0_4_node_45 | 0.4 | n |  | TRUE
52 | bus_LV_1089-5_0_4_node_46 | 0.4 | n |  | TRUE
53 | bus_LV_1089-5_0_4_node_47 | 0.4 | n |  | TRUE
54 | bus_LV_1089-5_0_4_node_56 | 0.4 | n |  | TRUE
55 | bus_LV_1089-5_0_4_node_60 | 0.4 | n |  | TRUE
56 | bus_LV_1089-5_0_4_node_77 | 0.4 | n |  | TRUE
57 | bus_LV_1089-5_0_4_node_72 | 0.4 | n |  | TRUE
58 | bus_LV_1089-5_0_4_node_58 | 0.4 | n |  | TRUE
59 | bus_LV_1089-5_0_4_node_48 | 0.4 | n |  | TRUE
60 | bus_LV_1089-5_0_4_node_49 | 0.4 | n |  | TRUE
61 | bus_LV_1089-5_0_4_node_51 | 0.4 | n |  | TRUE
62 | bus_LV_1089-5_0_4_node_53 | 0.4 | n |  | TRUE
63 | bus_LV_1089-5_0_4_node_52 | 0.4 | n |  | TRUE
64 | bus_LV_1089-5_0_4_node_70 | 0.4 | n |  | TRUE
65 | bus_LV_1089-5_0_4_node_81 | 0.4 | n |  | TRUE
66 | bus_LV_1089-5_0_4_node_68 | 0.4 | n |  | TRUE
67 | bus_LV_1089-5_0_4_node_76 | 0.4 | n |  | TRUE
68 | bus_LV_1089-5_0_4_node_57 | 0.4 | n |  | TRUE
69 | bus_LV_1089-5_0_4_node_59 | 0.4 | n |  | TRUE
70 | bus_LV_1089-5_0_4_node_61 | 0.4 | n |  | TRUE
71 | bus_LV_1089-5_0_4_node_62 | 0.4 | n |  | TRUE
72 | bus_LV_1089-5_0_4_node_74 | 0.4 | n |  | TRUE
73 | bus_LV_1089-5_0_4_node_71 | 0.4 | n |  | TRUE
74 | bus_LV_1089-5_0_4_node_75 | 0.4 | n |  | TRUE
75 | bus_LV_1089-5_0_4_node_73 | 0.4 | n |  | TRUE
76 | bus_LV_1089-5_0_4_node_66 | 0.4 | n |  | TRUE
77 | bus_LV_1089-5_0_4_node_67 | 0.4 | n |  | TRUE
78 | bus_LV_1089-5_0_4_node_69 | 0.4 | n |  | TRUE
79 | bus_MV_131_1_node_198 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_1089-5_0_4_load_0 | 0 | 0.00083485 | 0.00020923 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_1089-5_0_4_load_3 | 1 | 0.002949 | 0.0007391 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_1089-5_0_4_load_8 | 3 | 0.0016581 | 0.00041556 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_1089-5_0_4_load_6 | 4 | 0.0043764 | 0.0010968 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_1089-5_0_4_load_80 | 5 | 0.003524 | 0.00088319 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_1089-5_0_4_load_16 | 6 | 0.0046181 | 0.0011574 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_1089-5_0_4_load_5 | 8 | 0.0052984 | 0.0013279 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_1089-5_0_4_load_11 | 9 | 0.0031634 | 0.00079283 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_1089-5_0_4_load_9 | 11 | 0.0057466 | 0.0014402 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_1089-5_0_4_load_10 | 12 | 0.0012441 | 0.0003118 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_1089-5_0_4_load_30 | 13 | 0.0042067 | 0.0010543 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_1089-5_0_4_load_14 | 14 | 0.0020302 | 0.00050881 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_1089-5_0_4_load_31 | 15 | 0.0031135 | 0.0007803 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_1089-5_0_4_load_78 | 16 | 0.0015706 | 0.00039363 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_1089-5_0_4_load_13 | 17 | 0.0018973 | 0.00047552 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_1089-5_0_4_load_15 | 18 | 0.0011103 | 0.00027828 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_1089-5_0_4_load_17 | 19 | 0.0011485 | 0.00028783 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_1089-5_0_4_load_18 | 20 | 0.0021823 | 0.00054693 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_1089-5_0_4_load_19 | 21 | 0.0034878 | 0.00087412 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_1089-5_0_4_load_20 | 22 | 0.0029811 | 0.00074713 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_1089-5_0_4_load_22 | 24 | 0.0019347 | 0.00048489 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_1089-5_0_4_load_23 | 25 | 0.0030839 | 0.0007729 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_1089-5_0_4_load_24 | 26 | 0.0019285 | 0.00048334 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_1089-5_0_4_load_54 | 27 | 0.0011201 | 0.00028072 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_1089-5_0_4_load_25 | 29 | 0.0014665 | 0.00036754 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_1089-5_0_4_load_42 | 30 | 0.0017302 | 0.00043363 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_1089-5_0_4_load_63 | 31 | 0.004078 | 0.001022 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_1089-5_0_4_load_40 | 32 | 0.0017565 | 0.00044023 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_1089-5_0_4_load_26 | 33 | 0.002209 | 0.00055363 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_1089-5_0_4_load_35 | 34 | 0.0044542 | 0.0011163 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_1089-5_0_4_load_34 | 35 | 0.00048147 | 0.00012067 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_1089-5_0_4_load_38 | 36 | 0.0024013 | 0.00060182 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_1089-5_0_4_load_39 | 37 | 0.0018942 | 0.00047474 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_1089-5_0_4_load_27 | 38 | 0.0015338 | 0.00038441 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_1089-5_0_4_load_64 | 39 | 0.0016822 | 0.00042161 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_1089-5_0_4_load_65 | 40 | 0.0016973 | 0.00042539 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_1089-5_0_4_load_33 | 41 | 0.0021047 | 0.00052749 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_1089-5_0_4_load_41 | 42 | 0.0021412 | 0.00053663 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_1089-5_0_4_load_28 | 44 | 0.0017472 | 0.0004379 | 0 | 0 |  | 1 | TRUE | wye
39 | LV_1089-5_0_4_load_37 | 45 | 0.0021389 | 0.00053607 | 0 | 0 |  | 1 | TRUE | wye
40 | LV_1089-5_0_4_load_36 | 46 | 0.0014623 | 0.00036647 | 0 | 0 |  | 1 | TRUE | wye
41 | LV_1089-5_0_4_load_32 | 47 | 0.0011531 | 0.00028898 | 0 | 0 |  | 1 | TRUE | wye
42 | LV_1089-5_0_4_load_55 | 48 | 0.0016588 | 0.00041572 | 0 | 0 |  | 1 | TRUE | wye
43 | LV_1089-5_0_4_load_43 | 49 | 0.0032032 | 0.0008028 | 0 | 0 |  | 1 | TRUE | wye
44 | LV_1089-5_0_4_load_44 | 50 | 0.0010529 | 0.00026389 | 0 | 0 |  | 1 | TRUE | wye
45 | LV_1089-5_0_4_load_45 | 51 | 0.0021071 | 0.00052809 | 0 | 0 |  | 1 | TRUE | wye
46 | LV_1089-5_0_4_load_47 | 53 | 0.00074364 | 0.00018637 | 0 | 0 |  | 1 | TRUE | wye
47 | LV_1089-5_0_4_load_56 | 54 | 0.0014722 | 0.00036896 | 0 | 0 |  | 1 | TRUE | wye
48 | LV_1089-5_0_4_load_77 | 56 | 0.0019728 | 0.00049444 | 0 | 0 |  | 1 | TRUE | wye
49 | LV_1089-5_0_4_load_72 | 57 | 0.0023794 | 0.00059634 | 0 | 0 |  | 1 | TRUE | wye
50 | LV_1089-5_0_4_load_58 | 58 | 0.0028323 | 0.00070984 | 0 | 0 |  | 1 | TRUE | wye
51 | LV_1089-5_0_4_load_48 | 59 | 0.0011059 | 0.00027716 | 0 | 0 |  | 1 | TRUE | wye
52 | LV_1089-5_0_4_load_49 | 60 | 0.0010251 | 0.00025692 | 0 | 0 |  | 1 | TRUE | wye
53 | LV_1089-5_0_4_load_51 | 61 | 0.0010622 | 0.00026621 | 0 | 0 |  | 1 | TRUE | wye
54 | LV_1089-5_0_4_load_53 | 62 | 0.001503 | 0.00037669 | 0 | 0 |  | 1 | TRUE | wye
55 | LV_1089-5_0_4_load_70 | 64 | 0.0013619 | 0.00034133 | 0 | 0 |  | 1 | TRUE | wye
56 | LV_1089-5_0_4_load_81 | 65 | 0.0009187 | 0.00023025 | 0 | 0 |  | 1 | TRUE | wye
57 | LV_1089-5_0_4_load_68 | 66 | 0.0015504 | 0.00038857 | 0 | 0 |  | 1 | TRUE | wye
58 | LV_1089-5_0_4_load_76 | 67 | 0.0017679 | 0.00044307 | 0 | 0 |  | 1 | TRUE | wye
59 | LV_1089-5_0_4_load_57 | 68 | 0.0025912 | 0.00064941 | 0 | 0 |  | 1 | TRUE | wye
60 | LV_1089-5_0_4_load_61 | 70 | 0.0028928 | 0.00072501 | 0 | 0 |  | 1 | TRUE | wye
61 | LV_1089-5_0_4_load_62 | 71 | 0.0010764 | 0.00026977 | 0 | 0 |  | 1 | TRUE | wye
62 | LV_1089-5_0_4_load_71 | 73 | 0.0036331 | 0.00091054 | 0 | 0 |  | 1 | TRUE | wye
63 | LV_1089-5_0_4_load_75 | 74 | 0.0021053 | 0.00052763 | 0 | 0 |  | 1 | TRUE | wye
64 | LV_1089-5_0_4_load_73 | 75 | 0.0020736 | 0.00051969 | 0 | 0 |  | 1 | TRUE | wye
65 | LV_1089-5_0_4_load_66 | 76 | 0.002372 | 0.00059447 | 0 | 0 |  | 1 | TRUE | wye
66 | LV_1089-5_0_4_load_67 | 77 | 0.002726 | 0.00068319 | 0 | 0 |  | 1 | TRUE | wye
67 | LV_1089-5_0_4_load_69 | 78 | 0.0033477 | 0.00083902 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 23 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_1089-5_0_4_line_0 | NAYY 4x150 SE | 0 | 1 | 0.065335 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
1 | LV_1089-5_0_4_line_1 | NAYY 4x150 SE | 1 | 2 | 0.10156 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
2 | LV_1089-5_0_4_line_2 | NAYY 4x150 SE | 2 | 9 | 0.026822 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
3 | LV_1089-5_0_4_line_3 | NAYY 4x150 SE | 2 | 3 | 0.035364 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
4 | LV_1089-5_0_4_line_4 | NAYY 4x150 SE | 3 | 4 | 0.032672 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
5 | LV_1089-5_0_4_line_5 | NAYY 4x150 SE | 4 | 8 | 0.048135 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
6 | LV_1089-5_0_4_line_6 | NAYY 4x150 SE | 5 | 6 | 0.03937 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
7 | LV_1089-5_0_4_line_7 | NAYY 4x150 SE | 5 | 7 | 0.003376 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
8 | LV_1089-5_0_4_line_8 | NAYY 4x150 SE | 6 | 14 | 0.01849 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
9 | LV_1089-5_0_4_line_9 | NAYY 4x150 SE | 6 | 11 | 0.019015 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
10 | LV_1089-5_0_4_line_10 | NAYY 4x150 SE | 7 | 16 | 0.020028 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
11 | LV_1089-5_0_4_line_11 | NAYY 4x150 SE | 8 | 10 | 0.01148 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
12 | LV_1089-5_0_4_line_12 | NAYY 4x150 SE | 10 | 11 | 0.016568 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
13 | LV_1089-5_0_4_line_13 | NAYY 4x150 SE | 10 | 12 | 0.012319 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
14 | LV_1089-5_0_4_line_14 | NAYY 4x150 SE | 12 | 13 | 0.016917 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
15 | LV_1089-5_0_4_line_15 | NAYY 4x150 SE | 13 | 15 | 0.0267 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
16 | LV_1089-5_0_4_line_16 | NAYY 4x150 SE | 14 | 17 | 0.0099554 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
17 | LV_1089-5_0_4_line_17 | NAYY 4x150 SE | 15 | 34 | 0.022007 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
18 | LV_1089-5_0_4_line_18 | NAYY 4x150 SE | 16 | 61 | 0.0035023 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
19 | LV_1089-5_0_4_line_19 | NAYY 4x150 SE | 17 | 18 | 0.0070225 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
20 | LV_1089-5_0_4_line_20 | NAYY 4x150 SE | 18 | 19 | 0.011137 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
21 | LV_1089-5_0_4_line_21 | NAYY 4x150 SE | 19 | 20 | 0.0069524 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
22 | LV_1089-5_0_4_line_22 | NAYY 4x150 SE | 21 | 22 | 0.028246 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
23 | LV_1089-5_0_4_line_23 | NAYY 4x150 SE | 21 | 23 | 0.016585 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
24 | LV_1089-5_0_4_line_24 | NAYY 4x150 SE | 22 | 24 | 0.034075 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
25 | LV_1089-5_0_4_line_25 | NAYY 4x150 SE | 23 | 25 | 0.029423 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
26 | LV_1089-5_0_4_line_26 | NAYY 4x150 SE | 23 | 26 | 0.0041564 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
27 | LV_1089-5_0_4_line_27 | NAYY 4x150 SE | 24 | 29 | 0.029261 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
28 | LV_1089-5_0_4_line_28 | NAYY 4x150 SE | 25 | 33 | 0.022738 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
29 | LV_1089-5_0_4_line_29 | NAYY 4x150 SE | 26 | 34 | 0.0064538 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
30 | LV_1089-5_0_4_line_30 | NAYY 4x150 SE | 27 | 28 | 0.036389 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
31 | LV_1089-5_0_4_line_31 | NAYY 4x150 SE | 28 | 62 | 0.013865 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
32 | LV_1089-5_0_4_line_32 | NAYY 4x150 SE | 28 | 59 | 0.013054 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
33 | LV_1089-5_0_4_line_33 | NAYY 4x150 SE | 29 | 35 | 0.016753 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
34 | LV_1089-5_0_4_line_34 | NAYY 4x150 SE | 30 | 31 | 0.0081766 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
35 | LV_1089-5_0_4_line_35 | NAYY 4x150 SE | 30 | 32 | 0.020006 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
36 | LV_1089-5_0_4_line_36 | NAYY 4x150 SE | 31 | 39 | 0.012137 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
37 | LV_1089-5_0_4_line_37 | NAYY 4x150 SE | 32 | 36 | 0.0023722 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
38 | LV_1089-5_0_4_line_38 | NAYY 4x150 SE | 32 | 46 | 0.042833 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
39 | LV_1089-5_0_4_line_39 | NAYY 4x150 SE | 33 | 38 | 0.011404 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
40 | LV_1089-5_0_4_line_40 | NAYY 4x150 SE | 35 | 41 | 0.0091343 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
41 | LV_1089-5_0_4_line_41 | NAYY 4x150 SE | 36 | 37 | 0.025017 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
42 | LV_1089-5_0_4_line_42 | NAYY 4x150 SE | 37 | 42 | 0.031268 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
43 | LV_1089-5_0_4_line_43 | NAYY 4x150 SE | 37 | 43 | 0.042274 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
44 | LV_1089-5_0_4_line_44 | NAYY 4x150 SE | 38 | 44 | 0.051313 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
45 | LV_1089-5_0_4_line_45 | NAYY 4x150 SE | 39 | 40 | 0.021355 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
46 | LV_1089-5_0_4_line_46 | NAYY 4x150 SE | 40 | 75 | 0.030381 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
47 | LV_1089-5_0_4_line_47 | NAYY 4x150 SE | 41 | 47 | 0.0043949 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
48 | LV_1089-5_0_4_line_48 | NAYY 4x150 SE | 42 | 48 | 0.0042042 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
49 | LV_1089-5_0_4_line_49 | NAYY 4x150 SE | 43 | 45 | 0.042455 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
50 | LV_1089-5_0_4_line_50 | NAYY 4x150 SE | 43 | 44 | 0.014161 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
51 | LV_1089-5_0_4_line_51 | NAYY 4x150 SE | 49 | 50 | 0.027202 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
52 | LV_1089-5_0_4_line_52 | NAYY 4x150 SE | 49 | 51 | 0.036191 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
53 | LV_1089-5_0_4_line_53 | NAYY 4x150 SE | 50 | 52 | 0.015025 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
54 | LV_1089-5_0_4_line_54 | NAYY 4x150 SE | 51 | 53 | 0.017907 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
55 | LV_1089-5_0_4_line_55 | NAYY 4x150 SE | 52 | 54 | 0.015139 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
56 | LV_1089-5_0_4_line_56 | NAYY 4x150 SE | 53 | 55 | 0.029937 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
57 | LV_1089-5_0_4_line_57 | NAYY 4x150 SE | 54 | 56 | 0.02308 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
58 | LV_1089-5_0_4_line_58 | NAYY 4x150 SE | 55 | 57 | 0.012968 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
59 | LV_1089-5_0_4_line_59 | NAYY 4x150 SE | 55 | 58 | 0.014729 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
60 | LV_1089-5_0_4_line_60 | NAYY 4x150 SE | 57 | 73 | 0.029703 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
61 | LV_1089-5_0_4_line_61 | NAYY 4x150 SE | 58 | 68 | 0.03322 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
62 | LV_1089-5_0_4_line_62 | NAYY 4x150 SE | 59 | 60 | 0.029097 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
63 | LV_1089-5_0_4_line_63 | NAYY 4x150 SE | 60 | 61 | 0.0025622 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
64 | LV_1089-5_0_4_line_64 | NAYY 4x150 SE | 63 | 64 | 0.032129 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
65 | LV_1089-5_0_4_line_65 | NAYY 4x150 SE | 63 | 65 | 0.021475 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
66 | LV_1089-5_0_4_line_66 | NAYY 4x150 SE | 64 | 66 | 0.0059473 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
67 | LV_1089-5_0_4_line_67 | NAYY 4x150 SE | 65 | 67 | 0.0022151 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
68 | LV_1089-5_0_4_line_68 | NAYY 4x150 SE | 66 | 76 | 0.018865 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
69 | LV_1089-5_0_4_line_69 | NAYY 4x150 SE | 67 | 72 | 0.041786 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
70 | LV_1089-5_0_4_line_70 | NAYY 4x150 SE | 68 | 69 | 0.013951 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
71 | LV_1089-5_0_4_line_71 | NAYY 4x150 SE | 69 | 70 | 0.019304 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
72 | LV_1089-5_0_4_line_72 | NAYY 4x150 SE | 69 | 71 | 0.047316 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
73 | LV_1089-5_0_4_line_73 | NAYY 4x150 SE | 70 | 72 | 0.014237 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
74 | LV_1089-5_0_4_line_74 | NAYY 4x150 SE | 72 | 74 | 0.015151 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
75 | LV_1089-5_0_4_line_75 | NAYY 4x150 SE | 73 | 75 | 0.0013127 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
76 | LV_1089-5_0_4_line_76 | NAYY 4x150 SE | 76 | 77 | 0.0074954 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
77 | LV_1089-5_0_4_line_77 | NAYY 4x150 SE | 77 | 78 | 0.0087052 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_1089-5_0_4_trafo_21 | 0.25 MVA 20/0.4 kV | 79 | 23 | 0.25 | 20 | 0.4 | 6 | 1.44 | 0.8 | 0.32 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6 | x7 | y7
0 | 2647889.9793 | 1225876.7004 | 2647944.5451 | 1225912.6335
1 | 2647943.8719 | 1226014.1911 | 2647944.5451 | 1225912.6335
2 | 2647943.8719 | 1226014.1911 | 2647944.1655 | 1226020.0971 | 2647944.7804 | 1226028.4406 | 2647946.2288 | 1226034.0112 | 2647948.1169 | 1226037.6842 | 2647949.7346 | 1226039.7916
3 | 2647943.8719 | 1226014.1911 | 2647936.9262 | 1226013.5681 | 2647908.8051 | 1226017.4705
4 | 2647876.4429 | 1226021.9614 | 2647908.8051 | 1226017.4705
5 | 2647839.2953 | 1226049.9688 | 2647853.1652 | 1226033.7403 | 2647861.1207 | 1226026.6109 | 2647871.3474 | 1226022.6685 | 2647876.4429 | 1226021.9614
6 | 2647861.8716 | 1226111.3804 | 2647865.1222 | 1226072.1446
7 | 2647861.8716 | 1226111.3804 | 2647864.6991 | 1226113.2376
8 | 2647865.1222 | 1226072.1446 | 2647873.2369 | 1226073.2927 | 2647883.1908 | 1226075.9188 | 2647883.1908 | 1226075.9188
9 | 2647846.4175 | 1226068.8188 | 2647854.0741 | 1226070.5815 | 2647865.1222 | 1226072.1446
10 | 2647864.6991 | 1226113.2376 | 2647854.5634 | 1226130.5113
11 | 2647832.902 | 1226059.4712 | 2647837.3105 | 1226052.291 | 2647839.2953 | 1226049.9688
12 | 2647832.902 | 1226059.4712 | 2647841.1462 | 1226066.3972 | 2647846.4175 | 1226068.8188
13 | 2647832.902 | 1226059.4712 | 2647822.1247 | 1226065.4389
14 | 2647822.1247 | 1226065.4389 | 2647819.5627 | 1226066.8575 | 2647809.3754 | 1226069.6886 | 2647805.9633 | 1226069.8416
15 | 2647805.9633 | 1226069.8416 | 2647779.2901 | 1226071.0375
16 | 2647892.3426 | 1226079.8374 | 2647883.1908 | 1226075.9188
17 | 2647779.2901 | 1226071.0375 | 2647757.3051 | 1226072.0233
18 | 2647854.5634 | 1226130.5113 | 2647852.791 | 1226133.532
19 | 2647892.3426 | 1226079.8374 | 2647895.3373 | 1226081.1197 | 2647898.6489 | 1226082.9103
20 | 2647908.4458 | 1226088.2076 | 2647898.6489 | 1226082.9103
21 | 2647908.4458 | 1226088.2076 | 2647914.5614 | 1226091.5143
22 | 2647734.9681 | 1226060.9869 | 2647732.9629 | 1226059.3247 | 2647728.9198 | 1226056.8575 | 2647708.8994 | 1226050.8418
23 | 2647746.7055 | 1226072.4986 | 2647744.0693 | 1226068.5306 | 2647734.9681 | 1226060.9869
24 | 2647708.8994 | 1226050.8418 | 2647695.6562 | 1226046.8626 | 2647676.4042 | 1226040.5935
25 | 2647746.7055 | 1226072.4986 | 2647725.7697 | 1226073.4869 | 2647717.3158 | 1226073.8881
26 | 2647746.7055 | 1226072.4986 | 2647750.8578 | 1226072.3124
27 | 2647649.7005 | 1226028.6675 | 2647673.9888 | 1226039.807 | 2647676.4042 | 1226040.5935
28 | 2647717.3158 | 1226073.8881 | 2647694.6036 | 1226074.966
29 | 2647750.8578 | 1226072.3124 | 2647757.3051 | 1226072.0233
30 | 2647830.1625 | 1226172.0965 | 2647798.7685 | 1226153.6964
31 | 2647830.1625 | 1226172.0965 | 2647842.1201 | 1226179.1139
32 | 2647830.1625 | 1226172.0965 | 2647836.7687 | 1226160.8379
33 | 2647634.127 | 1226022.5893 | 2647641.1747 | 1226024.7573 | 2647649.7005 | 1226028.6675
34 | 2647659.2787 | 1226147.5493 | 2647652.2621 | 1226143.3513
35 | 2647652.2621 | 1226143.3513 | 2647645.1635 | 1226139.1042 | 2647634.6993 | 1226133.7954
36 | 2647659.2787 | 1226147.5493 | 2647669.694 | 1226153.7808
37 | 2647632.5837 | 1226132.7221 | 2647634.6993 | 1226133.7954
38 | 2647634.6993 | 1226133.7954 | 2647653.5259 | 1226095.3219
39 | 2647683.2124 | 1226075.5065 | 2647694.6036 | 1226074.966
40 | 2647634.127 | 1226022.5893 | 2647625.3964 | 1226019.9037
41 | 2647632.5837 | 1226132.7221 | 2647610.2734 | 1226121.4034
42 | 2647610.2734 | 1226121.4034 | 2647603.3037 | 1226117.8675 | 2647599.8984 | 1226117.1621 | 2647596.5637 | 1226118.0693 | 2647593.6562 | 1226119.5692 | 2647590.6454 | 1226122.6137 | 2647586.3961 | 1226130.5091
43 | 2647610.2734 | 1226121.4034 | 2647617.9262 | 1226079.8276
44 | 2647683.2124 | 1226075.5065 | 2647631.9571 | 1226077.9389
45 | 2647669.694 | 1226153.7808 | 2647688.0194 | 1226164.7448
46 | 2647695.6559 | 1226190.1939 | 2647697.5091 | 1226186.4081 | 2647698.6149 | 1226181.7807 | 2647698.4767 | 1226177.2768 | 2647696.8075 | 1226172.7496 | 2647693.9443 | 1226168.7353 | 2647689.3689 | 1226165.5522 | 2647688.0194 | 1226164.7448
47 | 2647621.1958 | 1226018.6115 | 2647625.3964 | 1226019.9037
48 | 2647584.4037 | 1226134.2112 | 2647586.3961 | 1226130.5091
49 | 2647617.9262 | 1226079.8276 | 2647576.0888 | 1226087.0447
50 | 2647617.9262 | 1226079.8276 | 2647631.1603 | 1226077.9767 | 2647631.9571 | 1226077.9389
51 | 2647601.0863 | 1226192.2913 | 2647576.8393 | 1226179.9605
52 | 2647601.0863 | 1226192.2913 | 2647633.3458 | 1226208.6969
53 | 2647563.4471 | 1226173.1498 | 2647576.8393 | 1226179.9605
54 | 2647633.3458 | 1226208.6969 | 2647649.3076 | 1226216.8143
55 | 2647563.4471 | 1226173.1498 | 2647549.8726 | 1226166.4476
56 | 2647676.3182 | 1226229.6984 | 2647663.5764 | 1226224.0707 | 2647649.3076 | 1226216.8143
57 | 2647529.1778 | 1226156.2299 | 2647549.8726 | 1226166.4476
58 | 2647676.3182 | 1226229.6984 | 2647682.0197 | 1226218.051
59 | 2647676.3182 | 1226229.6984 | 2647689.0683 | 1226237.0734
60 | 2647695.0788 | 1226191.3729 | 2647682.0197 | 1226218.051
61 | 2647716.1786 | 1226256.1311 | 2647700.1366 | 1226243.4755 | 2647689.0683 | 1226237.0734
62 | 2647836.7687 | 1226160.8379 | 2647851.4943 | 1226135.7419
63 | 2647852.791 | 1226133.532 | 2647851.4943 | 1226135.7419
64 | 2647792.8632 | 1226232.4566 | 2647768.1362 | 1226211.9414
65 | 2647792.8632 | 1226232.4566 | 2647780.0688 | 1226249.7036
66 | 2647763.5591 | 1226208.1439 | 2647768.1362 | 1226211.9414
67 | 2647780.0688 | 1226249.7036 | 2647778.7491 | 1226251.4827
68 | 2647749.0405 | 1226196.0983 | 2647763.5591 | 1226208.1439
69 | 2647753.8533 | 1226285.0428 | 2647778.7491 | 1226251.4827
70 | 2647727.1312 | 1226264.7716 | 2647716.1786 | 1226256.1311
71 | 2647727.1312 | 1226264.7716 | 2647742.511 | 1226276.4386
72 | 2647727.1312 | 1226264.7716 | 2647696.8518 | 1226301.1309
73 | 2647753.8533 | 1226285.0428 | 2647742.511 | 1226276.4386
74 | 2647753.8533 | 1226285.0428 | 2647765.764 | 1226294.4075
75 | 2647695.0788 | 1226191.3729 | 2647695.6559 | 1226190.1939
76 | 2647749.0405 | 1226196.0983 | 2647743.272 | 1226191.3124
77 | 2647736.5725 | 1226185.754 | 2647743.272 | 1226191.3124

## bus_geodata
| x | y | coords
0 | 2647889.9793 | 1225876.7004
1 | 2647944.5451 | 1225912.6335
2 | 2647943.8719 | 1226014.1911
3 | 2647908.8051 | 1226017.4705
4 | 2647876.4429 | 1226021.9614
5 | 2647861.8716 | 1226111.3804
6 | 2647865.1222 | 1226072.1446
7 | 2647864.6991 | 1226113.2376
8 | 2647839.2953 | 1226049.9688
9 | 2647949.7346 | 1226039.7916
10 | 2647832.902 | 1226059.4712
11 | 2647846.4175 | 1226068.8188
12 | 2647822.1247 | 1226065.4389
13 | 2647805.9633 | 1226069.8415
14 | 2647883.1908 | 1226075.9188
15 | 2647779.2901 | 1226071.0375
16 | 2647854.5634 | 1226130.5113
17 | 2647892.3426 | 1226079.8374
18 | 2647898.6489 | 1226082.9103
19 | 2647908.4458 | 1226088.2076
20 | 2647914.5614 | 1226091.5143
21 | 2647734.9681 | 1226060.9869
22 | 2647708.8994 | 1226050.8418
23 | 2647746.7055 | 1226072.4986
24 | 2647676.4042 | 1226040.5935
25 | 2647717.3158 | 1226073.8881
26 | 2647750.8578 | 1226072.3124
27 | 2647798.7685 | 1226153.6964
28 | 2647830.1625 | 1226172.0965
29 | 2647649.7005 | 1226028.6675
30 | 2647652.2621 | 1226143.3513
31 | 2647659.2787 | 1226147.5493
32 | 2647634.6993 | 1226133.7954
33 | 2647694.6036 | 1226074.966
34 | 2647757.3051 | 1226072.0233
35 | 2647634.127 | 1226022.5893
36 | 2647632.5837 | 1226132.7221
37 | 2647610.2734 | 1226121.4034
38 | 2647683.2124 | 1226075.5065
39 | 2647669.694 | 1226153.7808
40 | 2647688.0194 | 1226164.7448
41 | 2647625.3964 | 1226019.9037
42 | 2647586.3961 | 1226130.5091
43 | 2647617.9262 | 1226079.8276
44 | 2647631.9571 | 1226077.9389
45 | 2647576.0888 | 1226087.0447
46 | 2647653.5259 | 1226095.3219
47 | 2647621.1958 | 1226018.6115
48 | 2647584.4037 | 1226134.2112
49 | 2647601.0863 | 1226192.2913
50 | 2647576.8393 | 1226179.9605
51 | 2647633.3458 | 1226208.6969
52 | 2647563.4471 | 1226173.1498
53 | 2647649.3076 | 1226216.8143
54 | 2647549.8726 | 1226166.4476
55 | 2647676.3182 | 1226229.6984
56 | 2647529.1778 | 1226156.2299
57 | 2647682.0197 | 1226218.051
58 | 2647689.0683 | 1226237.0734
59 | 2647836.7687 | 1226160.8379
60 | 2647851.4943 | 1226135.7419
61 | 2647852.791 | 1226133.532
62 | 2647842.1201 | 1226179.1139
63 | 2647792.8632 | 1226232.4566
64 | 2647768.1362 | 1226211.9414
65 | 2647780.0688 | 1226249.7036
66 | 2647763.5591 | 1226208.1439
67 | 2647778.7491 | 1226251.4827
68 | 2647716.1786 | 1226256.1311
69 | 2647727.1312 | 1226264.7716
70 | 2647742.511 | 1226276.4386
71 | 2647696.8518 | 1226301.1309
72 | 2647753.8533 | 1226285.0428
73 | 2647695.0788 | 1226191.3729
74 | 2647765.764 | 1226294.4075
75 | 2647695.6559 | 1226190.1939
76 | 2647749.0405 | 1226196.0983
77 | 2647743.272 | 1226191.3124
78 | 2647736.5725 | 1226185.754
79 | 2647832.902 | 1226059.4712

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## res_bus
| vm_pu | va_degree | p_mw | q_mvar
0 | 0.99059 | -0.066045 | 0.00083485 | 0.00020923
1 | 0.99067 | -0.065488 | 0.002949 | 0.0007391
2 | 0.99122 | -0.061571 | 0 | 0
3 | 0.99158 | -0.059069 | 0.0016581 | 0.00041556
4 | 0.99198 | -0.056208 | 0.0043764 | 0.0010968
5 | 0.99121 | -0.06169 | 0.003524 | 0.00088319
6 | 0.99182 | -0.057324 | 0.0046181 | 0.0011574
7 | 0.99117 | -0.061944 | 0 | 0
8 | 0.99288 | -0.049863 | 0.0052984 | 0.0013279
9 | 0.9911 | -0.062433 | 0.0031634 | 0.00079283
10 | 0.99318 | -0.047735 | 0 | 0
11 | 0.99248 | -0.052712 | 0.0057466 | 0.0014402
12 | 0.99403 | -0.04176 | 0.0012441 | 0.0003118
13 | 0.99523 | -0.033359 | 0.0042067 | 0.0010543
14 | 0.9916 | -0.058895 | 0.0020302 | 0.00050881
15 | 0.99727 | -0.019012 | 0.0031135 | 0.0007803
16 | 0.99096 | -0.063449 | 0.0015706 | 0.00039363
17 | 0.99151 | -0.059535 | 0.0018973 | 0.00047552
18 | 0.99147 | -0.059852 | 0.0011103 | 0.00027828
19 | 0.99141 | -0.060229 | 0.0011485 | 0.00028783
20 | 0.99139 | -0.060383 | 0.0021823 | 0.00054693
21 | 0.99968 | -0.0022555 | 0.0034878 | 0.00087412
22 | 0.99927 | -0.0051148 | 0.0029811 | 0.00074713
23 | 1 | 0 | -0.15452 | -0.03875
24 | 0.99892 | -0.00755 | 0.0019347 | 0.00048489
25 | 0.99839 | -0.011102 | 0.0030839 | 0.0007729
26 | 0.99962 | -0.0026117 | 0.0019285 | 0.00048334
27 | 0.99065 | -0.06565 | 0.0011201 | 0.00028072
28 | 0.9907 | -0.065235 | 0 | 0
29 | 0.99871 | -0.0090752 | 0.0014665 | 0.00036754
30 | 0.98479 | -0.10601 | 0.0017302 | 0.00043363
31 | 0.98417 | -0.11036 | 0.004078 | 0.001022
32 | 0.98634 | -0.095026 | 0.0017565 | 0.00044023
33 | 0.99719 | -0.019353 | 0.002209 | 0.00055363
34 | 0.99906 | -0.0065463 | 0.0044542 | 0.0011163
35 | 0.99862 | -0.0097024 | 0.00048147 | 0.00012067
36 | 0.98654 | -0.093648 | 0.0024013 | 0.00060182
37 | 0.98869 | -0.078532 | 0.0018942 | 0.00047474
38 | 0.99661 | -0.023372 | 0.0015338 | 0.00038441
39 | 0.98333 | -0.11632 | 0.0016822 | 0.00042161
40 | 0.9819 | -0.12646 | 0.0016973 | 0.00042539
41 | 0.99857 | -0.01 | 0.0021047 | 0.00052749
42 | 0.98852 | -0.079746 | 0.0021412 | 0.00053663
43 | 0.99267 | -0.050697 | 0 | 0
44 | 0.99405 | -0.041116 | 0.0017472 | 0.0004379
45 | 0.99254 | -0.051618 | 0.0021389 | 0.00053607
46 | 0.98625 | -0.09567 | 0.0014623 | 0.00036647
47 | 0.99857 | -0.010051 | 0.0011531 | 0.00028898
48 | 0.98851 | -0.079817 | 0.0016588 | 0.00041572
49 | 0.97637 | -0.16584 | 0.0032032 | 0.0008028
50 | 0.9762 | -0.16712 | 0.0010529 | 0.00026389
51 | 0.97678 | -0.16292 | 0.0021071 | 0.00052809
52 | 0.97612 | -0.16767 | 0 | 0
53 | 0.97704 | -0.16108 | 0.00074364 | 0.00018637
54 | 0.97604 | -0.16821 | 0.0014722 | 0.00036896
55 | 0.9775 | -0.15778 | 0 | 0
56 | 0.97598 | -0.16869 | 0.0019728 | 0.00049444
57 | 0.97818 | -0.15288 | 0.0023794 | 0.00059634
58 | 0.97695 | -0.16171 | 0.0028323 | 0.00070984
59 | 0.99075 | -0.064886 | 0.0011059 | 0.00027716
60 | 0.99091 | -0.06378 | 0.0010251 | 0.00025692
61 | 0.99093 | -0.063656 | 0.0010622 | 0.00026621
62 | 0.99067 | -0.065447 | 0.001503 | 0.00037669
63 | 0.9733 | -0.18788 | 0 | 0
64 | 0.97277 | -0.19173 | 0.0013619 | 0.00034133
65 | 0.97366 | -0.18531 | 0.0009187 | 0.00023025
66 | 0.97268 | -0.19235 | 0.0015504 | 0.00038857
67 | 0.9737 | -0.18502 | 0.0017679 | 0.00044307
68 | 0.97584 | -0.16962 | 0.0025912 | 0.00064941
69 | 0.97543 | -0.17256 | 0 | 0
70 | 0.97489 | -0.17643 | 0.0028928 | 0.00072501
71 | 0.97536 | -0.1731 | 0.0010764 | 0.00026977
72 | 0.97456 | -0.17884 | 0 | 0
73 | 0.97985 | -0.14097 | 0.0036331 | 0.00091054
74 | 0.97451 | -0.17918 | 0.0021053 | 0.00052763
75 | 0.97994 | -0.1404 | 0.0020736 | 0.00051969
76 | 0.97245 | -0.19403 | 0.002372 | 0.00059447
77 | 0.97238 | -0.19452 | 0.002726 | 0.00068319
78 | 0.97234 | -0.19482 | 0.0033477 | 0.00083902
79 | 0.99998 | 149.9947 | 0 | 0

## res_line
| p_from_mw | q_from_mvar | p_to_mw | q_to_mvar | pl_mw | ql_mvar | i_from_ka | i_to_ka | i_ka | vm_from_pu | va_from_degree | vm_to_pu | va_to_degree | loading_percent
0 | -0.00083485 | -0.00020923 | 0.00083491 | 0.00020842 | 6.4101e-08 | -8.1651e-07 | 0.0012541 | 0.0012538 | 0.0012541 | 0.99059 | -0.066045 | 0.99067 | -0.065488 | 0.46447
1 | -0.003784 | -0.00094752 | 0.003786 | 0.000947 | 2.0468e-06 | -5.2115e-07 | 0.0056833 | 0.0056829 | 0.0056833 | 0.99067 | -0.065488 | 0.99122 | -0.061571 | 2.1049
2 | 0.0031638 | 0.00079263 | -0.0031634 | -0.00079283 | 3.7753e-07 | -2.0049e-07 | 0.0047494 | 0.0047495 | 0.0047495 | 0.99122 | -0.061571 | 0.9911 | -0.062433 | 1.7591
3 | -0.0069498 | -0.0017396 | 0.0069522 | 0.0017401 | 2.4016e-06 | 4.6767e-07 | 0.010432 | 0.010432 | 0.010432 | 0.99122 | -0.061571 | 0.99158 | -0.059069 | 3.8638
4 | -0.0086103 | -0.0021557 | 0.0086137 | 0.0021565 | 3.4034e-06 | 8.8736e-07 | 0.01292 | 0.01292 | 0.01292 | 0.99158 | -0.059069 | 0.99198 | -0.056208 | 4.7853
5 | -0.01299 | -0.0032534 | 0.013002 | 0.0032571 | 1.1404e-05 | 3.764e-06 | 0.019485 | 0.019485 | 0.019485 | 0.99198 | -0.056208 | 0.99288 | -0.049863 | 7.2166
6 | -0.010914 | -0.0027341 | 0.01092 | 0.0027361 | 6.5942e-06 | 2.0284e-06 | 0.016383 | 0.016383 | 0.016383 | 0.99121 | -0.06169 | 0.99182 | -0.057324 | 6.068
7 | 0.0073898 | 0.0018509 | -0.0073895 | -0.0018508 | 2.5924e-07 | 5.6195e-08 | 0.011093 | 0.011093 | 0.011093 | 0.99121 | -0.06169 | 0.99117 | -0.061944 | 4.1086
8 | 0.0083714 | 0.0020978 | -0.0083696 | -0.0020973 | 1.8199e-06 | 4.6141e-07 | 0.012559 | 0.012559 | 0.012559 | 0.99182 | -0.057324 | 0.9916 | -0.058895 | 4.6516
9 | -0.02391 | -0.0059912 | 0.023925 | 0.0059969 | 1.5268e-05 | 5.6266e-06 | 0.035871 | 0.035871 | 0.035871 | 0.99182 | -0.057324 | 0.99248 | -0.052712 | 13.2856
10 | 0.0073895 | 0.0018508 | -0.007388 | -0.0018505 | 1.5379e-06 | 3.3344e-07 | 0.011093 | 0.011093 | 0.011093 | 0.99117 | -0.061944 | 0.99096 | -0.063449 | 4.1086
11 | -0.0183 | -0.004585 | 0.018305 | 0.004587 | 5.3882e-06 | 1.9239e-06 | 0.027425 | 0.027425 | 0.027425 | 0.99288 | -0.049863 | 0.99318 | -0.047735 | 10.1575
12 | 0.029692 | 0.0074447 | -0.029672 | -0.0074371 | 2.0461e-05 | 7.6553e-06 | 0.044487 | 0.044487 | 0.044487 | 0.99318 | -0.047735 | 0.99248 | -0.052712 | 16.4766
13 | -0.047997 | -0.012032 | 0.048037 | 0.012047 | 3.9753e-05 | 1.513e-05 | 0.071912 | 0.071912 | 0.071912 | 0.99318 | -0.047735 | 0.99403 | -0.04176 | 26.6341
14 | -0.049281 | -0.012359 | 0.049339 | 0.012381 | 5.7455e-05 | 2.1879e-05 | 0.073774 | 0.073774 | 0.073774 | 0.99403 | -0.04176 | 0.99523 | -0.033359 | 27.3238
15 | -0.053546 | -0.013435 | 0.053652 | 0.013476 | 0.0001068 | 4.0729e-05 | 0.080064 | 0.080064 | 0.080064 | 0.99523 | -0.033359 | 0.99727 | -0.019012 | 29.6533
16 | 0.0063394 | 0.0015885 | -0.0063388 | -0.0015884 | 5.6218e-07 | 8.7811e-08 | 0.0095129 | 0.009513 | 0.009513 | 0.9916 | -0.058895 | 0.99151 | -0.059535 | 3.5233
17 | -0.056766 | -0.014256 | 0.056864 | 0.014293 | 9.8539e-05 | 3.7612e-05 | 0.084709 | 0.084709 | 0.084709 | 0.99727 | -0.019012 | 0.99906 | -0.0065463 | 31.3739
18 | 0.0058174 | 0.0014568 | -0.0058172 | -0.0014568 | 1.6675e-07 | 1.9015e-08 | 0.0087349 | 0.008735 | 0.008735 | 0.99096 | -0.063449 | 0.99093 | -0.063656 | 3.2352
19 | 0.0044415 | 0.0011129 | -0.0044413 | -0.0011129 | 1.9469e-07 | -1.5687e-08 | 0.0066655 | 0.0066656 | 0.0066656 | 0.99151 | -0.059535 | 0.99147 | -0.059852 | 2.4687
20 | 0.003331 | 0.00083461 | -0.0033308 | -0.00083469 | 1.7368e-07 | -7.6821e-08 | 0.0049991 | 0.0049992 | 0.0049992 | 0.99147 | -0.059852 | 0.99141 | -0.060229 | 1.8515
21 | 0.0021823 | 0.00054686 | -0.0021823 | -0.00054693 | 4.6544e-08 | -7.1747e-08 | 0.0032754 | 0.0032755 | 0.0032755 | 0.99141 | -0.060229 | 0.99139 | -0.060383 | 1.2131
22 | 0.01013 | 0.0025382 | -0.010126 | -0.002537 | 4.0069e-06 | 1.1709e-06 | 0.015078 | 0.015078 | 0.015078 | 0.99968 | -0.0022555 | 0.99927 | -0.0051148 | 5.5843
23 | -0.013617 | -0.0034123 | 0.013622 | 0.0034137 | 4.2518e-06 | 1.4178e-06 | 0.020269 | 0.020269 | 0.020269 | 0.99968 | -0.0022555 | 1 | 0 | 7.5071
24 | 0.0071445 | 0.0017899 | -0.0071421 | -0.0017894 | 2.4066e-06 | 4.7937e-07 | 0.010639 | 0.010639 | 0.010639 | 0.99927 | -0.0051148 | 0.99892 | -0.00755 | 3.9403
25 | 0.076797 | 0.019422 | -0.076677 | -0.019376 | 0.00012001 | 4.5386e-05 | 0.11434 | 0.11434 | 0.11434 | 1 | 0 | 0.99839 | -0.011102 | 21.1735
26 | 0.063304 | 0.015915 | -0.063281 | -0.015906 | 2.3022e-05 | 8.8e-06 | 0.094214 | 0.094214 | 0.094214 | 1 | 0 | 0.99962 | -0.0026117 | 34.8942
27 | 0.0052073 | 0.0013045 | -0.0052062 | -0.0013045 | 1.0986e-06 | 3.9565e-08 | 0.0077567 | 0.0077569 | 0.0077569 | 0.99892 | -0.00755 | 0.99871 | -0.0090752 | 2.8729
28 | 0.073593 | 0.018604 | -0.073508 | -0.018571 | 8.5435e-05 | 3.2266e-05 | 0.10974 | 0.10974 | 0.10974 | 0.99839 | -0.011102 | 0.99719 | -0.019353 | 20.3224
29 | 0.061352 | 0.015423 | -0.061319 | -0.01541 | 3.3601e-05 | 1.2839e-05 | 0.091344 | 0.091344 | 0.091344 | 0.99962 | -0.0026117 | 0.99906 | -0.0065463 | 33.8309
30 | -0.0011201 | -0.00028072 | 0.0011202 | 0.00028028 | 6.4269e-08 | -4.4381e-07 | 0.0016825 | 0.0016823 | 0.0016825 | 0.99065 | -0.06565 | 0.9907 | -0.065235 | 0.62314
31 | 0.0015031 | 0.00037653 | -0.001503 | -0.00037669 | 4.4092e-08 | -1.6156e-07 | 0.0022575 | 0.0022576 | 0.0022576 | 0.9907 | -0.065235 | 0.99067 | -0.065447 | 0.83613
32 | -0.0026232 | -0.00065681 | 0.0026234 | 0.00065669 | 1.2643e-07 | -1.1947e-07 | 0.0039398 | 0.0039397 | 0.0039398 | 0.9907 | -0.065235 | 0.99075 | -0.064886 | 1.4592
33 | 0.0037397 | 0.00093693 | -0.0037394 | -0.00093702 | 3.2455e-07 | -9.4374e-08 | 0.0055718 | 0.0055719 | 0.0055719 | 0.99871 | -0.0090752 | 0.99862 | -0.0097024 | 2.0637
34 | 0.052054 | 0.013094 | -0.052022 | -0.013082 | 3.1578e-05 | 1.2041e-05 | 0.07867 | 0.078671 | 0.078671 | 0.98479 | -0.10601 | 0.98417 | -0.11036 | 29.1372
35 | -0.053784 | -0.013528 | 0.053866 | 0.013559 | 8.2482e-05 | 3.1469e-05 | 0.081285 | 0.081285 | 0.081285 | 0.98479 | -0.10601 | 0.98634 | -0.095026 | 30.1055
36 | 0.047944 | 0.01206 | -0.047904 | -0.012045 | 3.9814e-05 | 1.5159e-05 | 0.072505 | 0.072505 | 0.072505 | 0.98417 | -0.11036 | 0.98333 | -0.11632 | 26.8536
37 | -0.057085 | -0.014366 | 0.057096 | 0.01437 | 1.0984e-05 | 4.1943e-06 | 0.086141 | 0.086141 | 0.086141 | 0.98634 | -0.095026 | 0.98654 | -0.093648 | 31.904
38 | 0.0014624 | 0.00036598 | -0.0014623 | -0.00036647 | 1.3008e-07 | -4.9661e-07 | 0.002206 | 0.0022062 | 0.0022062 | 0.98634 | -0.095026 | 0.98625 | -0.09567 | 0.8171
39 | 0.071299 | 0.018018 | -0.071258 | -0.018002 | 4.0314e-05 | 1.5208e-05 | 0.10644 | 0.10644 | 0.10644 | 0.99719 | -0.019353 | 0.99661 | -0.023372 | 19.712
40 | 0.0032579 | 0.00081635 | -0.0032578 | -0.00081642 | 1.3432e-07 | -6.7836e-08 | 0.0048545 | 0.0048545 | 0.0048545 | 0.99862 | -0.0097024 | 0.99857 | -0.01 | 1.798
41 | -0.059497 | -0.014972 | 0.059623 | 0.01502 | 0.00012578 | 4.8057e-05 | 0.089763 | 0.089762 | 0.089763 | 0.98654 | -0.093648 | 0.98869 | -0.078532 | 33.2454
42 | 0.0038006 | 0.00095215 | -0.0038 | -0.00095231 | 6.3838e-07 | -1.554e-07 | 0.0057199 | 0.00572 | 0.00572 | 0.98869 | -0.078532 | 0.98852 | -0.079746 | 2.1185
43 | -0.065318 | -0.016447 | 0.065573 | 0.016544 | 0.00025507 | 9.756e-05 | 0.098333 | 0.098333 | 0.098333 | 0.98869 | -0.078532 | 0.99267 | -0.050697 | 36.4197
44 | 0.069724 | 0.017618 | -0.069551 | -0.017553 | 0.00017368 | 6.5465e-05 | 0.10415 | 0.10415 | 0.10415 | 0.99661 | -0.023372 | 0.99405 | -0.041116 | 19.288
45 | 0.046222 | 0.011623 | -0.046157 | -0.011599 | 6.5219e-05 | 2.4814e-05 | 0.069959 | 0.069959 | 0.069959 | 0.98333 | -0.11632 | 0.9819 | -0.12646 | 25.9108
46 | 0.044459 | 0.011173 | -0.044373 | -0.011141 | 8.6087e-05 | 3.2727e-05 | 0.067387 | 0.067387 | 0.067387 | 0.9819 | -0.12646 | 0.97994 | -0.1404 | 24.9582
47 | 0.0011531 | 0.00028893 | -0.0011531 | -0.00028898 | 8.0964e-09 | -5.4379e-08 | 0.0017182 | 0.0017182 | 0.0017182 | 0.99857 | -0.01 | 0.99857 | -0.010051 | 0.63638
48 | 0.0016588 | 0.00041568 | -0.0016588 | -0.00041572 | 1.6356e-08 | -4.7606e-08 | 0.0024969 | 0.002497 | 0.002497 | 0.98852 | -0.079746 | 0.98851 | -0.079817 | 0.9248
49 | 0.0021392 | 0.00053562 | -0.0021389 | -0.00053607 | 2.724e-07 | -4.4401e-07 | 0.0032065 | 0.0032067 | 0.0032067 | 0.99267 | -0.050697 | 0.99254 | -0.051618 | 1.1877
50 | -0.067712 | -0.01708 | 0.067803 | 0.017115 | 9.1103e-05 | 3.4856e-05 | 0.10154 | 0.10154 | 0.10154 | 0.99267 | -0.050697 | 0.99405 | -0.041116 | 37.6072
51 | 0.0044994 | 0.0011268 | -0.0044986 | -0.0011269 | 7.9808e-07 | -3.3195e-08 | 0.0068569 | 0.006857 | 0.006857 | 0.97637 | -0.16584 | 0.9762 | -0.16712 | 2.5396
52 | -0.0077026 | -0.0019296 | 0.0077057 | 0.0019304 | 3.1119e-06 | 7.4404e-07 | 0.011739 | 0.011738 | 0.011739 | 0.97637 | -0.16584 | 0.97678 | -0.16292 | 4.3476
53 | 0.0034457 | 0.00086298 | -0.0034454 | -0.00086307 | 2.5861e-07 | -8.836e-08 | 0.005252 | 0.0052521 | 0.0052521 | 0.9762 | -0.16712 | 0.97612 | -0.16767 | 1.9452
54 | -0.0098128 | -0.0024585 | 0.0098153 | 0.0024592 | 2.4969e-06 | 7.3614e-07 | 0.014948 | 0.014948 | 0.014948 | 0.97678 | -0.16292 | 0.97704 | -0.16108 | 5.5364
55 | 0.0034454 | 0.00086307 | -0.0034451 | -0.00086316 | 2.6058e-07 | -8.9001e-08 | 0.0052521 | 0.0052521 | 0.0052521 | 0.97612 | -0.16767 | 0.97604 | -0.16821 | 1.9452
56 | -0.010559 | -0.0026456 | 0.010564 | 0.0026471 | 4.8307e-06 | 1.4829e-06 | 0.016081 | 0.016081 | 0.016081 | 0.97704 | -0.16108 | 0.9775 | -0.15778 | 5.9559
57 | 0.001973 | 0.0004942 | -0.0019728 | -0.00049444 | 1.3029e-07 | -2.3833e-07 | 0.0030078 | 0.0030079 | 0.0030079 | 0.97604 | -0.16821 | 0.97598 | -0.16869 | 1.114
58 | -0.036195 | -0.0090792 | 0.03622 | 0.0090885 | 2.4569e-05 | 9.287e-06 | 0.055102 | 0.055102 | 0.055102 | 0.9775 | -0.15778 | 0.97818 | -0.15288 | 20.4081
59 | 0.025632 | 0.0064321 | -0.025618 | -0.0064269 | 1.3995e-05 | 5.1981e-06 | 0.039021 | 0.039021 | 0.039021 | 0.9775 | -0.15778 | 0.97695 | -0.16171 | 14.4523
60 | -0.038599 | -0.0096848 | 0.038663 | 0.009709 | 6.3911e-05 | 2.4208e-05 | 0.058721 | 0.058721 | 0.058721 | 0.97818 | -0.15288 | 0.97985 | -0.14097 | 21.7487
61 | 0.022785 | 0.0057171 | -0.02276 | -0.0057079 | 2.497e-05 | 9.1884e-06 | 0.034707 | 0.034707 | 0.034707 | 0.97695 | -0.16171 | 0.97584 | -0.16962 | 12.8546
62 | -0.0037292 | -0.00093385 | 0.0037298 | 0.0009337 | 5.6952e-07 | -1.5572e-07 | 0.0056007 | 0.0056006 | 0.0056007 | 0.99075 | -0.064886 | 0.99091 | -0.06378 | 2.0743
63 | -0.0047549 | -0.0011906 | 0.004755 | 0.0011906 | 8.1505e-08 | -1.6581e-09 | 0.00714 | 0.00714 | 0.00714 | 0.99091 | -0.06378 | 0.99093 | -0.063656 | 2.6444
64 | 0.011367 | 0.0028493 | -0.011361 | -0.0028474 | 6.0554e-06 | 1.9299e-06 | 0.017379 | 0.017379 | 0.017379 | 0.9733 | -0.18788 | 0.97277 | -0.19173 | 6.4368
65 | -0.011367 | -0.0028493 | 0.011372 | 0.0028506 | 4.0473e-06 | 1.2897e-06 | 0.017379 | 0.017379 | 0.017379 | 0.9733 | -0.18788 | 0.97366 | -0.18531 | 6.4367
66 | 0.0099995 | 0.002506 | -0.0099986 | -0.0025058 | 8.6828e-07 | 2.6013e-07 | 0.015296 | 0.015296 | 0.015296 | 0.97277 | -0.19173 | 0.97268 | -0.19235 | 5.6652
67 | -0.01229 | -0.0030808 | 0.012291 | 0.003081 | 4.8766e-07 | 1.6001e-07 | 0.018783 | 0.018783 | 0.018783 | 0.97366 | -0.18531 | 0.9737 | -0.18502 | 6.9567
68 | 0.0084482 | 0.0021172 | -0.0084462 | -0.0021167 | 1.9663e-06 | 5.2216e-07 | 0.012924 | 0.012924 | 0.012924 | 0.97268 | -0.19235 | 0.97245 | -0.19403 | 4.7867
69 | -0.014059 | -0.0035241 | 0.014071 | 0.0035282 | 1.2036e-05 | 4.1089e-06 | 0.021485 | 0.021485 | 0.021485 | 0.9737 | -0.18502 | 0.97456 | -0.17884 | 7.9573
70 | 0.020169 | 0.0050585 | -0.020161 | -0.0050555 | 8.2346e-06 | 2.9929e-06 | 0.030756 | 0.030756 | 0.030756 | 0.97584 | -0.16962 | 0.97543 | -0.17256 | 11.3912
71 | 0.019084 | 0.0047863 | -0.019074 | -0.0047826 | 1.0211e-05 | 3.6863e-06 | 0.029114 | 0.029114 | 0.029114 | 0.97543 | -0.17256 | 0.97489 | -0.17643 | 10.7831
72 | 0.0010765 | 0.00026921 | -0.0010764 | -0.00026977 | 7.9611e-08 | -5.5997e-07 | 0.001642 | 0.0016422 | 0.0016422 | 0.97543 | -0.17256 | 0.97536 | -0.1731 | 0.60821
73 | 0.016181 | 0.0040576 | -0.016176 | -0.0040557 | 5.4194e-06 | 1.9069e-06 | 0.024699 | 0.024699 | 0.024699 | 0.97489 | -0.17643 | 0.97456 | -0.17884 | 9.1478
74 | 0.0021054 | 0.00052748 | -0.0021053 | -0.00052763 | 9.7697e-08 | -1.512e-07 | 0.0032145 | 0.0032146 | 0.0032146 | 0.97456 | -0.17884 | 0.97451 | -0.17918 | 1.1906
75 | -0.042296 | -0.01062 | 0.0423 | 0.010621 | 3.3803e-06 | 1.2836e-06 | 0.064239 | 0.064238 | 0.064239 | 0.97985 | -0.14097 | 0.97994 | -0.1404 | 23.792
76 | 0.0060743 | 0.0015222 | -0.0060738 | -0.0015222 | 4.0406e-07 | 6.2424e-08 | 0.0092947 | 0.0092947 | 0.0092947 | 0.97245 | -0.19403 | 0.97238 | -0.19452 | 3.4425
77 | 0.0033479 | 0.00083897 | -0.0033477 | -0.00083902 | 1.4258e-07 | -5.3142e-08 | 0.0051232 | 0.0051232 | 0.0051232 | 0.97238 | -0.19452 | 0.97234 | -0.19482 | 1.8975

## res_trafo
| p_hv_mw | q_hv_mvar | p_lv_mw | q_lv_mvar | pl_mw | ql_mvar | i_hv_ka | i_lv_ka | vm_hv_pu | va_hv_degree | vm_lv_pu | va_lv_degree | loading_percent
0 | 2.5187e-16 | 8.8016e-16 | 0.00079998 | 7.4552e-08 | 0.00079998 | 7.4552e-08 | 2.6429e-17 | 0.0011547 | 0.99998 | 149.9947 | 1 | 0 | 0.31999

## res_ext_grid
| p_mw | q_mvar
0 | 0.15452 | 0.03875

## res_load
| p_mw | q_mvar
0 | 0.00083485 | 0.00020923
1 | 0.002949 | 0.0007391
2 | 0.0016581 | 0.00041556
3 | 0.0043764 | 0.0010968
4 | 0.003524 | 0.00088319
5 | 0.0046181 | 0.0011574
6 | 0.0052984 | 0.0013279
7 | 0.0031634 | 0.00079283
8 | 0.0057466 | 0.0014402
9 | 0.0012441 | 0.0003118
10 | 0.0042067 | 0.0010543
11 | 0.0020302 | 0.00050881
12 | 0.0031135 | 0.0007803
13 | 0.0015706 | 0.00039363
14 | 0.0018973 | 0.00047552
15 | 0.0011103 | 0.00027828
16 | 0.0011485 | 0.00028783
17 | 0.0021823 | 0.00054693
18 | 0.0034878 | 0.00087412
19 | 0.0029811 | 0.00074713
20 | 0.0019347 | 0.00048489
21 | 0.0030839 | 0.0007729
22 | 0.0019285 | 0.00048334
23 | 0.0011201 | 0.00028072
24 | 0.0014665 | 0.00036754
25 | 0.0017302 | 0.00043363
26 | 0.004078 | 0.001022
27 | 0.0017565 | 0.00044023
28 | 0.002209 | 0.00055363
29 | 0.0044542 | 0.0011163
30 | 0.00048147 | 0.00012067
31 | 0.0024013 | 0.00060182
32 | 0.0018942 | 0.00047474
33 | 0.0015338 | 0.00038441
34 | 0.0016822 | 0.00042161
35 | 0.0016973 | 0.00042539
36 | 0.0021047 | 0.00052749
37 | 0.0021412 | 0.00053663
38 | 0.0017472 | 0.0004379
39 | 0.0021389 | 0.00053607
40 | 0.0014623 | 0.00036647
41 | 0.0011531 | 0.00028898
42 | 0.0016588 | 0.00041572
43 | 0.0032032 | 0.0008028
44 | 0.0010529 | 0.00026389
45 | 0.0021071 | 0.00052809
46 | 0.00074364 | 0.00018637
47 | 0.0014722 | 0.00036896
48 | 0.0019728 | 0.00049444
49 | 0.0023794 | 0.00059634
50 | 0.0028323 | 0.00070984
51 | 0.0011059 | 0.00027716
52 | 0.0010251 | 0.00025692
53 | 0.0010622 | 0.00026621
54 | 0.001503 | 0.00037669
55 | 0.0013619 | 0.00034133
56 | 0.0009187 | 0.00023025
57 | 0.0015504 | 0.00038857
58 | 0.0017679 | 0.00044307
59 | 0.0025912 | 0.00064941
60 | 0.0028928 | 0.00072501
61 | 0.0010764 | 0.00026977
62 | 0.0036331 | 0.00091054
63 | 0.0021053 | 0.00052763
64 | 0.0020736 | 0.00051969
65 | 0.002372 | 0.00059447
66 | 0.002726 | 0.00068319
67 | 0.0033477 | 0.00083902

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object
62 | res_bus | vm_pu | float64
63 | res_bus | va_degree | float64
64 | res_bus | p_mw | float64
65 | res_bus | q_mvar | float64
66 | res_line | p_from_mw | float64
67 | res_line | q_from_mvar | float64
68 | res_line | p_to_mw | float64
69 | res_line | q_to_mvar | float64
70 | res_line | pl_mw | float64
71 | res_line | ql_mvar | float64
72 | res_line | i_from_ka | float64
73 | res_line | i_to_ka | float64
74 | res_line | i_ka | float64
75 | res_line | vm_from_pu | float64
76 | res_line | va_from_degree | float64
77 | res_line | vm_to_pu | float64
78 | res_line | va_to_degree | float64
79 | res_line | loading_percent | float64
80 | res_trafo | p_hv_mw | float64
81 | res_trafo | q_hv_mvar | float64
82 | res_trafo | p_lv_mw | float64
83 | res_trafo | q_lv_mvar | float64
84 | res_trafo | pl_mw | float64
85 | res_trafo | ql_mvar | float64
86 | res_trafo | i_hv_ka | float64
87 | res_trafo | i_lv_ka | float64
88 | res_trafo | vm_hv_pu | float64
89 | res_trafo | va_hv_degree | float64
90 | res_trafo | vm_lv_pu | float64
91 | res_trafo | va_lv_degree | float64
92 | res_trafo | loading_percent | float64
93 | res_ext_grid | p_mw | float64
94 | res_ext_grid | q_mvar | float64
95 | res_load | p_mw | float64
96 | res_load | q_mvar | float64

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | TRUE | FALSE |  | 50 | 1