## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_1089-8_0_3_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_1089-8_0_3_node_2 | 0.4 | n |  | TRUE
2 | bus_LV_1089-8_0_3_node_3 | 0.4 | n |  | TRUE
3 | bus_LV_1089-8_0_3_node_9 | 0.4 | n |  | TRUE
4 | bus_LV_1089-8_0_3_node_10 | 0.4 | n |  | TRUE
5 | bus_LV_1089-8_0_3_node_4 | 0.4 | n |  | TRUE
6 | bus_LV_1089-8_0_3_node_5 | 0.4 | n |  | TRUE
7 | bus_LV_1089-8_0_3_node_6 | 0.4 | n |  | TRUE
8 | bus_LV_1089-8_0_3_node_7 | 0.4 | n |  | TRUE
9 | bus_LV_1089-8_0_3_node_8 | 0.4 | n |  | TRUE
10 | bus_LV_1089-8_0_3_node_22 | 0.4 | n |  | TRUE
11 | bus_LV_1089-8_0_3_node_28 | 0.4 | n |  | TRUE
12 | bus_LV_1089-8_0_3_node_20 | 0.4 | n |  | TRUE
13 | bus_LV_1089-8_0_3_node_39 | 0.4 | n |  | TRUE
14 | bus_LV_1089-8_0_3_node_27 | 0.4 | n |  | TRUE
15 | bus_LV_1089-8_0_3_node_11 | 0.4 | n |  | TRUE
16 | bus_LV_1089-8_0_3_node_18 | 0.4 | n |  | TRUE
17 | bus_LV_1089-8_0_3_node_19 | 0.4 | n |  | TRUE
18 | bus_LV_1089-8_0_3_node_12 | 0.4 | n |  | TRUE
19 | bus_LV_1089-8_0_3_node_13 | 0.4 | n |  | TRUE
20 | bus_LV_1089-8_0_3_node_14 | 0.4 | n |  | TRUE
21 | bus_LV_1089-8_0_3_node_15 | 0.4 | n |  | TRUE
22 | bus_LV_1089-8_0_3_node_16 | 0.4 | n |  | TRUE
23 | bus_LV_1089-8_0_3_node_17 | 0.4 | n |  | TRUE
24 | bus_LV_1089-8_0_3_node_29 | 0.4 | n |  | TRUE
25 | bus_LV_1089-8_0_3_node_35 | 0.4 | n |  | TRUE
26 | bus_LV_1089-8_0_3_node_30 | 0.4 | n |  | TRUE
27 | bus_LV_1089-8_0_3_node_38 | 0.4 | n |  | TRUE
28 | bus_LV_1089-8_0_3_node_33 | 0.4 | n |  | TRUE
29 | bus_LV_1089-8_0_3_node_24 | 0.4 | n |  | TRUE
30 | bus_LV_1089-8_0_3_node_25 | 0.4 | n |  | TRUE
31 | bus_LV_1089-8_0_3_node_21 | 0.4 | n |  | TRUE
32 | bus_LV_1089-8_0_3_node_23 | 0.4 | n |  | TRUE
33 | bus_LV_1089-8_0_3_node_26 | 0.4 | n |  | TRUE
34 | bus_LV_1089-8_0_3_node_41 | 0.4 | n |  | TRUE
35 | bus_LV_1089-8_0_3_node_31 | 0.4 | n |  | TRUE
36 | bus_LV_1089-8_0_3_node_32 | 0.4 | n |  | TRUE
37 | bus_LV_1089-8_0_3_node_47 | 0.4 | n |  | TRUE
38 | bus_LV_1089-8_0_3_node_46 | 0.4 | n |  | TRUE
39 | bus_LV_1089-8_0_3_node_34 | 0.4 | n |  | TRUE
40 | bus_LV_1089-8_0_3_node_36 | 0.4 | n |  | TRUE
41 | bus_LV_1089-8_0_3_node_37 | 0.4 | n |  | TRUE
42 | bus_LV_1089-8_0_3_node_43 | 0.4 | n |  | TRUE
43 | bus_LV_1089-8_0_3_node_45 | 0.4 | n |  | TRUE
44 | bus_LV_1089-8_0_3_node_42 | 0.4 | n |  | TRUE
45 | bus_LV_1089-8_0_3_node_44 | 0.4 | n |  | TRUE
46 | bus_LV_1089-8_0_3_node_40 | 0.4 | n |  | TRUE
47 | bus_MV_131_1_node_103 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_1089-8_0_3_load_0 | 0 | 0.012365 | 0.0030991 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_1089-8_0_3_load_3 | 2 | 0.010982 | 0.0027523 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_1089-8_0_3_load_9 | 3 | 0.0031076 | 0.00077885 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_1089-8_0_3_load_10 | 4 | 0.001287 | 0.00032256 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_1089-8_0_3_load_4 | 5 | 0.001658 | 0.00041553 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_1089-8_0_3_load_5 | 6 | 0.0016954 | 0.0004249 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_1089-8_0_3_load_6 | 7 | 0.001658 | 0.00041553 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_1089-8_0_3_load_7 | 8 | 0.0016967 | 0.00042524 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_1089-8_0_3_load_8 | 9 | 0.0031331 | 0.00078524 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_1089-8_0_3_load_22 | 10 | 0.0027624 | 0.00069232 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_1089-8_0_3_load_20 | 12 | 0.0056258 | 0.0014099 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_1089-8_0_3_load_27 | 14 | 0.0016718 | 0.00041899 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_1089-8_0_3_load_11 | 15 | 0.0040118 | 0.0010055 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_1089-8_0_3_load_12 | 18 | 0.0069059 | 0.0017308 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_1089-8_0_3_load_14 | 20 | 0.0023345 | 0.00058508 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_1089-8_0_3_load_15 | 21 | 0.0026832 | 0.00067248 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_1089-8_0_3_load_16 | 22 | 0.0016248 | 0.00040721 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_1089-8_0_3_load_17 | 23 | 0.0026242 | 0.00065768 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_1089-8_0_3_load_29 | 24 | 0.0021973 | 0.00055068 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_1089-8_0_3_load_38 | 27 | 0.0035613 | 0.00089256 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_1089-8_0_3_load_33 | 28 | 0.0015672 | 0.00039278 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_1089-8_0_3_load_24 | 29 | 0.0012258 | 0.00030722 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_1089-8_0_3_load_21 | 31 | 0.001949 | 0.00048847 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_1089-8_0_3_load_23 | 32 | 0.0057669 | 0.0014453 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_1089-8_0_3_load_26 | 33 | 0.0016708 | 0.00041873 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_1089-8_0_3_load_41 | 34 | 0.002543 | 0.00063735 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_1089-8_0_3_load_31 | 35 | 0.0031181 | 0.00078146 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_1089-8_0_3_load_32 | 36 | 0.010668 | 0.0026737 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_1089-8_0_3_load_47 | 37 | 0.0028867 | 0.00072348 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_1089-8_0_3_load_46 | 38 | 0.0040745 | 0.0010212 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_1089-8_0_3_load_36 | 40 | 0.003081 | 0.00077217 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_1089-8_0_3_load_37 | 41 | 0.0025731 | 0.00064489 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_1089-8_0_3_load_43 | 42 | 0.0017139 | 0.00042954 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_1089-8_0_3_load_45 | 43 | 0.0035386 | 0.00088686 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_1089-8_0_3_load_42 | 44 | 0.0031048 | 0.00077813 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_1089-8_0_3_load_44 | 45 | 0.002204 | 0.00055237 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_1089-8_0_3_load_40 | 46 | 0.002886 | 0.0007233 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 18 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_1089-8_0_3_line_0 | NAYY 4x150 SE | 0 | 1 | 0.02641 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
1 | LV_1089-8_0_3_line_1 | NAYY 4x150 SE | 1 | 2 | 0.030496 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
2 | LV_1089-8_0_3_line_2 | NAYY 4x150 SE | 2 | 3 | 0.022593 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
3 | LV_1089-8_0_3_line_3 | NAYY 4x150 SE | 3 | 4 | 0.02217 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
4 | LV_1089-8_0_3_line_4 | NAYY 4x150 SE | 4 | 15 | 0.028236 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
5 | LV_1089-8_0_3_line_5 | NAYY 4x150 SE | 5 | 6 | 0.013704 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
6 | LV_1089-8_0_3_line_6 | NAYY 4x150 SE | 5 | 7 | 0.0030589 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
7 | LV_1089-8_0_3_line_7 | NAYY 4x150 SE | 6 | 8 | 0.0022994 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
8 | LV_1089-8_0_3_line_8 | NAYY 4x150 SE | 7 | 9 | 0.0083905 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
9 | LV_1089-8_0_3_line_9 | NAYY 4x150 SE | 8 | 10 | 0.0077385 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
10 | LV_1089-8_0_3_line_10 | NAYY 4x150 SE | 9 | 11 | 0.038952 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
11 | LV_1089-8_0_3_line_11 | NAYY 4x150 SE | 10 | 12 | 0.024051 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
12 | LV_1089-8_0_3_line_12 | NAYY 4x150 SE | 11 | 13 | 0.075454 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
13 | LV_1089-8_0_3_line_13 | NAYY 4x150 SE | 11 | 14 | 0.037004 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
14 | LV_1089-8_0_3_line_14 | NAYY 4x150 SE | 12 | 31 | 0.01134 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
15 | LV_1089-8_0_3_line_15 | NAYY 4x150 SE | 13 | 34 | 0.060942 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
16 | LV_1089-8_0_3_line_16 | NAYY 4x150 SE | 14 | 33 | 0.0024 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
17 | LV_1089-8_0_3_line_17 | NAYY 4x150 SE | 15 | 16 | 0.0607 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
18 | LV_1089-8_0_3_line_18 | NAYY 4x150 SE | 16 | 17 | 0.015897 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
19 | LV_1089-8_0_3_line_19 | NAYY 4x150 SE | 17 | 29 | 0.02393 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
20 | LV_1089-8_0_3_line_20 | NAYY 4x150 SE | 18 | 19 | 0.053813 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
21 | LV_1089-8_0_3_line_21 | NAYY 4x150 SE | 18 | 20 | 0.029726 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
22 | LV_1089-8_0_3_line_22 | NAYY 4x150 SE | 19 | 21 | 0.034041 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
23 | LV_1089-8_0_3_line_23 | NAYY 4x150 SE | 19 | 22 | 0.037169 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
24 | LV_1089-8_0_3_line_24 | NAYY 4x150 SE | 19 | 23 | 0.016292 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
25 | LV_1089-8_0_3_line_25 | NAYY 4x150 SE | 22 | 24 | 0.024907 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
26 | LV_1089-8_0_3_line_26 | NAYY 4x150 SE | 23 | 25 | 0.025642 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
27 | LV_1089-8_0_3_line_27 | NAYY 4x150 SE | 24 | 26 | 0.0093199 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
28 | LV_1089-8_0_3_line_28 | NAYY 4x150 SE | 25 | 27 | 0.018232 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
29 | LV_1089-8_0_3_line_29 | NAYY 4x150 SE | 25 | 28 | 0.022599 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
30 | LV_1089-8_0_3_line_30 | NAYY 4x150 SE | 26 | 35 | 0.016003 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
31 | LV_1089-8_0_3_line_31 | NAYY 4x150 SE | 26 | 36 | 0.024881 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
32 | LV_1089-8_0_3_line_32 | NAYY 4x150 SE | 27 | 43 | 0.039616 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
33 | LV_1089-8_0_3_line_33 | NAYY 4x150 SE | 28 | 39 | 0.0139 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
34 | LV_1089-8_0_3_line_34 | NAYY 4x150 SE | 29 | 30 | 0.082507 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
35 | LV_1089-8_0_3_line_35 | NAYY 4x150 SE | 30 | 33 | 0.026753 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
36 | LV_1089-8_0_3_line_36 | NAYY 4x150 SE | 31 | 32 | 0.0020026 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
37 | LV_1089-8_0_3_line_37 | NAYY 4x150 SE | 34 | 46 | 0.023549 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
38 | LV_1089-8_0_3_line_38 | NAYY 4x150 SE | 36 | 37 | 0.012574 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
39 | LV_1089-8_0_3_line_39 | NAYY 4x150 SE | 37 | 38 | 0.020328 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
40 | LV_1089-8_0_3_line_40 | NAYY 4x150 SE | 39 | 40 | 0.010566 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
41 | LV_1089-8_0_3_line_41 | NAYY 4x150 SE | 39 | 41 | 0.00867 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
42 | LV_1089-8_0_3_line_42 | NAYY 4x150 SE | 40 | 42 | 0.027925 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
43 | LV_1089-8_0_3_line_43 | NAYY 4x150 SE | 42 | 44 | 0.00062851 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
44 | LV_1089-8_0_3_line_44 | NAYY 4x150 SE | 43 | 45 | 0.038543 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
45 | LV_1089-8_0_3_line_45 | NAYY 4x150 SE | 44 | 46 | 0.024318 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_1089-8_0_3_trafo_12 | 0.25 MVA 20/0.4 kV | 47 | 18 | 0.25 | 20 | 0.4 | 6 | 1.44 | 0.8 | 0.32 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6 | x7 | y7 | x8 | y8
0 | 2648248.307 | 1226106.3846 | 2648261.959 | 1226122.1717 | 2648264.843 | 1226126.9008
1 | 2648248.307 | 1226106.3846 | 2648231.5137 | 1226090.9835 | 2648225.5466 | 1226086.1021
2 | 2648208.0597 | 1226071.7968 | 2648225.5466 | 1226086.1021
3 | 2648208.0597 | 1226071.7968 | 2648190.9002 | 1226057.7593
4 | 2648170.6945 | 1226038.0762 | 2648186.3942 | 1226054.0732 | 2648190.9002 | 1226057.7593
5 | 2648064.1169 | 1226060.4411 | 2648077.792 | 1226061.3332 | 2648077.792 | 1226061.3332
6 | 2648064.1169 | 1226060.4411 | 2648061.0645 | 1226060.242 | 2648061.0645 | 1226060.242
7 | 2648079.9758 | 1226062.0532 | 2648077.792 | 1226061.3332
8 | 2648052.7774 | 1226061.5557 | 2648061.0645 | 1226060.242
9 | 2648079.9758 | 1226062.0532 | 2648087.3251 | 1226064.4763
10 | 2648018.1817 | 1226077.5846 | 2648028.8193 | 1226068.7538 | 2648044.6482 | 1226062.8445 | 2648052.7774 | 1226061.5557
11 | 2648087.3251 | 1226064.4763 | 2648091.5506 | 1226065.8694 | 2648104.3074 | 1226072.4542 | 2648108.2947 | 1226075.8624
12 | 2648018.1817 | 1226077.5846 | 2648004.0029 | 1226090.367 | 2648000.0618 | 1226093.137 | 2648004.9275 | 1226102.6043 | 2648007.5185 | 1226109.3404 | 2648009.743 | 1226119.22 | 2648010.7755 | 1226128.4118 | 2648010.4521 | 1226136.5587 | 2648009.8039 | 1226142.6795
13 | 2648018.1817 | 1226077.5846 | 2648017.8918 | 1226070.2999 | 2648023.5254 | 1226041.1248
14 | 2648116.9148 | 1226083.2303 | 2648108.2947 | 1226075.8624
15 | 2648009.8039 | 1226142.6795 | 2648021.5044 | 1226145.8313 | 2648064.6598 | 1226168.6668
16 | 2648023.9804 | 1226038.7683 | 2648023.5254 | 1226041.1248
17 | 2648151.6894 | 1225982.4593 | 2648151.1898 | 1225995.4856 | 2648153.2416 | 1226007.9654 | 2648158.544 | 1226020.5828 | 2648169.2911 | 1226036.6463 | 2648170.6945 | 1226038.0762
18 | 2648137.2355 | 1225987.9459 | 2648143.5554 | 1225983.4831 | 2648151.6894 | 1225982.4593
19 | 2648137.2355 | 1225987.9459 | 2648128.954 | 1225989.4021 | 2648114.0041 | 1225993.5767
20 | 2648195.9546 | 1226196.0717 | 2648182.8982 | 1226158.2093 | 2648178.3798 | 1226145.2091
21 | 2648160.4237 | 1226121.7494 | 2648172.1684 | 1226134.4189 | 2648178.3798 | 1226145.2091
22 | 2648195.9546 | 1226196.0717 | 2648199.5738 | 1226190.9423 | 2648205.7727 | 1226185.4891 | 2648223.3284 | 1226176.9835
23 | 2648195.9546 | 1226196.0717 | 2648194.8057 | 1226200.3539 | 2648194.0617 | 1226207.9971 | 2648194.3413 | 1226221.2075 | 2648194.6178 | 1226224.5007 | 2648194.9215 | 1226228.1832 | 2648195.462 | 1226232.9958
24 | 2648195.9546 | 1226196.0717 | 2648181.4317 | 1226188.6887
25 | 2648199.8452 | 1226257.4914 | 2648196.2789 | 1226240.2683 | 2648195.462 | 1226232.9958
26 | 2648158.5738 | 1226177.0686 | 2648181.4317 | 1226188.6887
27 | 2648201.735 | 1226266.6177 | 2648199.8452 | 1226257.4914
28 | 2648158.5738 | 1226177.0686 | 2648142.9667 | 1226167.6443
29 | 2648158.5738 | 1226177.0686 | 2648153.7074 | 1226186.4684 | 2648148.0694 | 1226197.077
30 | 2648201.735 | 1226266.6177 | 2648205.6174 | 1226282.1425
31 | 2648201.735 | 1226266.6177 | 2648225.191 | 1226259.4921 | 2648225.5563 | 1226259.4591
32 | 2648108.3309 | 1226148.4463 | 2648130.4691 | 1226160.0976 | 2648142.9667 | 1226167.6443
33 | 2648141.5464 | 1226209.3509 | 2648148.0694 | 1226197.077
34 | 2648034.5377 | 1226015.7671 | 2648114.0041 | 1225993.5767
35 | 2648034.5377 | 1226015.7671 | 2648029.6929 | 1226018.7299 | 2648026.9651 | 1226023.3107 | 2648023.9804 | 1226038.7683
36 | 2648118.4371 | 1226084.5314 | 2648116.9148 | 1226083.2303
37 | 2648085.4745 | 1226179.6808 | 2648064.6598 | 1226168.6668
38 | 2648234.9805 | 1226265.0857 | 2648234.7038 | 1226264.1164 | 2648233.2341 | 1226261.2138 | 2648231.4123 | 1226259.6759 | 2648229.0291 | 1226259.1452 | 2648225.5563 | 1226259.4591
39 | 2648240.5606 | 1226284.6327 | 2648234.9805 | 1226265.0857
40 | 2648141.5464 | 1226209.3509 | 2648132.2069 | 1226204.409
41 | 2648149.1604 | 1226213.5373 | 2648141.5464 | 1226209.3509
42 | 2648132.2069 | 1226204.409 | 2648107.5244 | 1226191.3484
43 | 2648107.5244 | 1226191.3484 | 2648106.9689 | 1226191.0544
44 | 2648074.2493 | 1226130.4467 | 2648095.4557 | 1226141.67 | 2648108.3309 | 1226148.4463
45 | 2648085.4745 | 1226179.6808 | 2648106.9689 | 1226191.0544

## bus_geodata
| x | y | coords
0 | 2648264.843 | 1226126.9008
1 | 2648248.307 | 1226106.3846
2 | 2648225.5466 | 1226086.1021
3 | 2648208.0597 | 1226071.7968
4 | 2648190.9002 | 1226057.7593
5 | 2648064.1169 | 1226060.4411
6 | 2648077.792 | 1226061.3332
7 | 2648061.0645 | 1226060.242
8 | 2648079.9758 | 1226062.0532
9 | 2648052.7774 | 1226061.5557
10 | 2648087.3251 | 1226064.4763
11 | 2648018.1817 | 1226077.5846
12 | 2648108.2947 | 1226075.8624
13 | 2648009.8039 | 1226142.6795
14 | 2648023.5254 | 1226041.1248
15 | 2648170.6945 | 1226038.0762
16 | 2648151.6894 | 1225982.4593
17 | 2648137.2355 | 1225987.9459
18 | 2648178.3798 | 1226145.2091
19 | 2648195.9546 | 1226196.0717
20 | 2648160.4237 | 1226121.7494
21 | 2648223.3284 | 1226176.9835
22 | 2648195.462 | 1226232.9958
23 | 2648181.4317 | 1226188.6887
24 | 2648199.8452 | 1226257.4914
25 | 2648158.5738 | 1226177.0686
26 | 2648201.735 | 1226266.6177
27 | 2648142.9667 | 1226167.6443
28 | 2648148.0694 | 1226197.077
29 | 2648114.0041 | 1225993.5767
30 | 2648034.5377 | 1226015.7672
31 | 2648116.9148 | 1226083.2303
32 | 2648118.4371 | 1226084.5314
33 | 2648023.9804 | 1226038.7683
34 | 2648064.6598 | 1226168.6668
35 | 2648205.6174 | 1226282.1425
36 | 2648225.5563 | 1226259.4591
37 | 2648234.9805 | 1226265.0857
38 | 2648240.5606 | 1226284.6327
39 | 2648141.5464 | 1226209.3509
40 | 2648132.2069 | 1226204.409
41 | 2648149.1604 | 1226213.5373
42 | 2648107.5244 | 1226191.3484
43 | 2648108.3309 | 1226148.4463
44 | 2648106.9689 | 1226191.0544
45 | 2648074.2493 | 1226130.4467
46 | 2648085.4745 | 1226179.6808
47 | 2648160.4237 | 1226121.7494

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## res_bus
| vm_pu | va_degree | p_mw | q_mvar
0 | 0.97002 | -0.21127 | 0.012365 | 0.0030991
1 | 0.9705 | -0.20781 | 0 | 0
2 | 0.97106 | -0.20381 | 0.010982 | 0.0027523
3 | 0.97183 | -0.19823 | 0.0031076 | 0.00077885
4 | 0.97269 | -0.19204 | 0.001287 | 0.00032256
5 | 0.97803 | -0.15393 | 0.001658 | 0.00041553
6 | 0.97764 | -0.15672 | 0.0016954 | 0.0004249
7 | 0.97812 | -0.15326 | 0.001658 | 0.00041553
8 | 0.97758 | -0.15715 | 0.0016967 | 0.00042524
9 | 0.9784 | -0.15126 | 0.0031331 | 0.00078524
10 | 0.9774 | -0.15845 | 0.0027624 | 0.00069232
11 | 0.97987 | -0.14074 | 0 | 0
12 | 0.97693 | -0.16181 | 0.0056258 | 0.0014099
13 | 0.98331 | -0.11638 | 0 | 0
14 | 0.97889 | -0.14774 | 0.0016718 | 0.00041899
15 | 0.97384 | -0.18378 | 0.0040118 | 0.0010055
16 | 0.97526 | -0.17365 | 0 | 0
17 | 0.97563 | -0.171 | 0 | 0
18 | 1 | 0 | -0.12412 | -0.031161
19 | 0.99536 | -0.032126 | 0 | 0
20 | 0.9999 | -0.00069309 | 0.0023345 | 0.00058508
21 | 0.99523 | -0.033046 | 0.0026832 | 0.00067248
22 | 0.99405 | -0.041342 | 0.0016248 | 0.00040721
23 | 0.99427 | -0.039667 | 0.0026242 | 0.00065768
24 | 0.99322 | -0.047121 | 0.0021973 | 0.00055068
25 | 0.99261 | -0.051228 | 0 | 0
26 | 0.99295 | -0.049078 | 0 | 0
27 | 0.99236 | -0.052948 | 0.0035613 | 0.00089256
28 | 0.99129 | -0.06038 | 0.0015672 | 0.00039278
29 | 0.97618 | -0.16702 | 0.0012258 | 0.00030722
30 | 0.97818 | -0.15278 | 0 | 0
31 | 0.9768 | -0.16272 | 0.001949 | 0.00048847
32 | 0.97678 | -0.16284 | 0.0057669 | 0.0014453
33 | 0.97883 | -0.14818 | 0.0016708 | 0.00041873
34 | 0.98609 | -0.096818 | 0.002543 | 0.00063735
35 | 0.99288 | -0.049584 | 0.0031181 | 0.00078146
36 | 0.99232 | -0.053522 | 0.010668 | 0.0026737
37 | 0.99219 | -0.05441 | 0.0028867 | 0.00072348
38 | 0.99207 | -0.05525 | 0.0040745 | 0.0010212
39 | 0.9905 | -0.06591 | 0 | 0
40 | 0.98992 | -0.069981 | 0.003081 | 0.00077217
41 | 0.99047 | -0.066137 | 0.0025731 | 0.00064489
42 | 0.98844 | -0.080324 | 0.0017139 | 0.00042954
43 | 0.99204 | -0.055257 | 0.0035386 | 0.00088686
44 | 0.98841 | -0.080551 | 0.0031048 | 0.00077813
45 | 0.99191 | -0.056119 | 0.002204 | 0.00055237
46 | 0.9872 | -0.088983 | 0.002886 | 0.0007233
47 | 0.99998 | 149.9947 | 0 | 0

## res_line
| p_from_mw | q_from_mvar | p_to_mw | q_to_mvar | pl_mw | ql_mvar | i_from_ka | i_to_ka | i_ka | vm_from_pu | va_from_degree | vm_to_pu | va_to_degree | loading_percent
0 | -0.012365 | -0.0030991 | 0.012371 | 0.003101 | 5.9296e-06 | 1.9544e-06 | 0.018969 | 0.018968 | 0.018969 | 0.97002 | -0.21127 | 0.9705 | -0.20781 | 7.0254
1 | -0.012371 | -0.003101 | 0.012378 | 0.0031033 | 6.8467e-06 | 2.2563e-06 | 0.018968 | 0.018968 | 0.018968 | 0.9705 | -0.20781 | 0.97106 | -0.20381 | 7.0253
2 | -0.02336 | -0.0058556 | 0.023378 | 0.0058622 | 1.8065e-05 | 6.6683e-06 | 0.035797 | 0.035796 | 0.035797 | 0.97106 | -0.20381 | 0.97183 | -0.19823 | 13.258
3 | -0.026486 | -0.0066411 | 0.026508 | 0.0066496 | 2.2752e-05 | 8.476e-06 | 0.040555 | 0.040555 | 0.040555 | 0.97183 | -0.19823 | 0.97269 | -0.19204 | 15.0203
4 | -0.027795 | -0.0069721 | 0.027827 | 0.006984 | 3.1859e-05 | 1.1903e-05 | 0.042523 | 0.042523 | 0.042523 | 0.97269 | -0.19204 | 0.97384 | -0.18378 | 15.7494
5 | 0.019515 | 0.0048926 | -0.019507 | -0.0048899 | 7.5388e-06 | 2.7276e-06 | 0.029692 | 0.029692 | 0.029692 | 0.97803 | -0.15393 | 0.97764 | -0.15672 | 10.9969
6 | -0.021173 | -0.0053082 | 0.021175 | 0.0053089 | 1.9808e-06 | 7.2346e-07 | 0.032214 | 0.032214 | 0.032214 | 0.97803 | -0.15393 | 0.97812 | -0.15326 | 11.9311
7 | 0.017812 | 0.004465 | -0.017811 | -0.0044646 | 1.0546e-06 | 3.768e-07 | 0.027111 | 0.027111 | 0.027111 | 0.97764 | -0.15672 | 0.97758 | -0.15715 | 10.0412
8 | -0.022833 | -0.0057244 | 0.022839 | 0.0057268 | 6.3175e-06 | 2.3244e-06 | 0.034736 | 0.034736 | 0.034736 | 0.97812 | -0.15326 | 0.9784 | -0.15126 | 12.8653
9 | 0.016114 | 0.0040394 | -0.016111 | -0.0040384 | 2.9053e-06 | 1.0204e-06 | 0.024529 | 0.024529 | 0.024529 | 0.97758 | -0.15715 | 0.9774 | -0.15845 | 9.0847
10 | -0.025972 | -0.006512 | 0.02601 | 0.0065261 | 3.7926e-05 | 1.4097e-05 | 0.039501 | 0.039501 | 0.039501 | 0.9784 | -0.15126 | 0.97987 | -0.14074 | 14.6302
11 | 0.013349 | 0.0033461 | -0.013343 | -0.003344 | 6.1986e-06 | 2.0828e-06 | 0.020323 | 0.020323 | 0.020323 | 0.9774 | -0.15845 | 0.97693 | -0.16181 | 7.5271
12 | -0.062617 | -0.015731 | 0.06283 | 0.015811 | 0.00021292 | 7.9984e-05 | 0.095102 | 0.095101 | 0.095102 | 0.97987 | -0.14074 | 0.98331 | -0.11638 | 17.6115
13 | 0.036607 | 0.0092048 | -0.036571 | -0.009192 | 3.5692e-05 | 1.2796e-05 | 0.055601 | 0.055601 | 0.055601 | 0.97987 | -0.14074 | 0.97889 | -0.14774 | 10.2965
14 | 0.007717 | 0.001934 | -0.007716 | -0.0019338 | 9.7763e-07 | 2.3405e-07 | 0.011754 | 0.011754 | 0.011754 | 0.97693 | -0.16181 | 0.9768 | -0.16272 | 4.3534
15 | -0.06283 | -0.015811 | 0.063002 | 0.015875 | 0.00017197 | 6.4591e-05 | 0.095101 | 0.095101 | 0.095101 | 0.98331 | -0.11638 | 0.98609 | -0.096818 | 17.6114
16 | 0.034899 | 0.008773 | -0.034897 | -0.0087722 | 2.1081e-06 | 7.5048e-07 | 0.05306 | 0.05306 | 0.05306 | 0.97889 | -0.14774 | 0.97883 | -0.14818 | 9.8259
17 | -0.031839 | -0.0079895 | 0.031884 | 0.0080052 | 4.483e-05 | 1.573e-05 | 0.048653 | 0.048653 | 0.048653 | 0.97384 | -0.18378 | 0.97526 | -0.17365 | 9.0099
18 | -0.031884 | -0.0080052 | 0.031896 | 0.0080093 | 1.174e-05 | 4.1187e-06 | 0.048653 | 0.048653 | 0.048653 | 0.97526 | -0.17365 | 0.97563 | -0.171 | 9.0098
19 | -0.031896 | -0.0080093 | 0.031913 | 0.0080155 | 1.7673e-05 | 6.1994e-06 | 0.048653 | 0.048652 | 0.048653 | 0.97563 | -0.171 | 0.97618 | -0.16702 | 9.0098
20 | 0.12098 | 0.030577 | -0.12044 | -0.030369 | 0.0005447 | 0.00020809 | 0.18012 | 0.18012 | 0.18012 | 1 | 0 | 0.99536 | -0.032126 | 33.3551
21 | 0.0023347 | 0.00058478 | -0.0023345 | -0.00058508 | 2.2387e-07 | -3.0384e-07 | 0.003474 | 0.0034741 | 0.0034741 | 1 | 0 | 0.9999 | -0.00069309 | 1.2867
22 | 0.0026836 | 0.00067217 | -0.0026832 | -0.00067248 | 3.4188e-07 | -3.1091e-07 | 0.0040117 | 0.0040119 | 0.0040119 | 0.99536 | -0.032126 | 0.99523 | -0.033046 | 1.4859
23 | 0.024637 | 0.0061819 | -0.024606 | -0.0061703 | 3.1468e-05 | 1.1621e-05 | 0.036834 | 0.036834 | 0.036834 | 0.99536 | -0.032126 | 0.99405 | -0.041342 | 13.6424
24 | 0.093119 | 0.023514 | -0.093021 | -0.023477 | 9.8594e-05 | 3.7498e-05 | 0.13927 | 0.13927 | 0.13927 | 0.99536 | -0.032126 | 0.99427 | -0.039667 | 25.7911
25 | 0.022981 | 0.0057631 | -0.022963 | -0.0057563 | 1.8394e-05 | 6.752e-06 | 0.034402 | 0.034402 | 0.034402 | 0.99405 | -0.041342 | 0.99322 | -0.047121 | 12.7416
26 | 0.090396 | 0.022819 | -0.09025 | -0.022764 | 0.00014655 | 5.5701e-05 | 0.13534 | 0.13534 | 0.13534 | 0.99427 | -0.039667 | 0.99261 | -0.051228 | 25.0638
27 | 0.020765 | 0.0052056 | -0.02076 | -0.0052036 | 5.6287e-06 | 2.0443e-06 | 0.03111 | 0.031111 | 0.031111 | 0.99322 | -0.047121 | 0.99295 | -0.049078 | 11.5224
28 | 0.0093083 | 0.0023322 | -0.0093061 | -0.0023316 | 2.2151e-06 | 6.1637e-07 | 0.013954 | 0.013954 | 0.013954 | 0.99261 | -0.051228 | 0.99236 | -0.052948 | 5.1681
29 | 0.080942 | 0.020431 | -0.080838 | -0.020392 | 0.0001039 | 3.9377e-05 | 0.12139 | 0.12139 | 0.12139 | 0.99261 | -0.051228 | 0.99129 | -0.06038 | 22.4798
30 | 0.0031183 | 0.00078134 | -0.0031181 | -0.00078146 | 2.1806e-07 | -1.2311e-07 | 0.0046729 | 0.004673 | 0.004673 | 0.99295 | -0.049078 | 0.99288 | -0.049584 | 1.7307
31 | 0.017641 | 0.0044223 | -0.017631 | -0.0044184 | 1.0852e-05 | 3.8521e-06 | 0.026438 | 0.026438 | 0.026438 | 0.99295 | -0.049078 | 0.99232 | -0.053522 | 9.7917
32 | 0.0057447 | 0.001439 | -0.0057429 | -0.0014388 | 1.8342e-06 | 1.9381e-07 | 0.0086137 | 0.0086139 | 0.0086139 | 0.99236 | -0.052948 | 0.99204 | -0.055257 | 3.1903
33 | 0.07927 | 0.019999 | -0.079209 | -0.019976 | 6.1451e-05 | 2.3277e-05 | 0.11904 | 0.11904 | 0.11904 | 0.99129 | -0.06038 | 0.9905 | -0.06591 | 22.0442
34 | -0.033139 | -0.0083228 | 0.033205 | 0.008346 | 6.5702e-05 | 2.3203e-05 | 0.050521 | 0.05052 | 0.050521 | 0.97618 | -0.16702 | 0.97818 | -0.15278 | 9.3557
35 | -0.033205 | -0.008346 | 0.033226 | 0.0083535 | 2.1304e-05 | 7.5218e-06 | 0.05052 | 0.05052 | 0.05052 | 0.97818 | -0.15278 | 0.97883 | -0.14818 | 9.3556
36 | 0.005767 | 0.0014453 | -0.0057669 | -0.0014453 | 9.6444e-08 | 1.2027e-08 | 0.0087852 | 0.0087852 | 0.0087852 | 0.9768 | -0.16272 | 0.97678 | -0.16284 | 3.2538
37 | -0.065545 | -0.016513 | 0.065617 | 0.01654 | 7.1921e-05 | 2.7061e-05 | 0.098938 | 0.098938 | 0.098938 | 0.98609 | -0.096818 | 0.9872 | -0.088983 | 18.3219
38 | 0.0069625 | 0.0017447 | -0.0069617 | -0.0017446 | 8.5527e-07 | 1.6653e-07 | 0.01044 | 0.010441 | 0.010441 | 0.99232 | -0.053522 | 0.99219 | -0.05441 | 3.8669
39 | 0.004075 | 0.0010211 | -0.0040745 | -0.0010212 | 4.7374e-07 | -8.0298e-08 | 0.0061112 | 0.0061113 | 0.0061113 | 0.99219 | -0.05441 | 0.99207 | -0.05525 | 2.2635
40 | 0.076636 | 0.019331 | -0.076592 | -0.019315 | 4.373e-05 | 1.6547e-05 | 0.11517 | 0.11517 | 0.11517 | 0.9905 | -0.06591 | 0.98992 | -0.069981 | 21.3284
41 | 0.0025732 | 0.00064481 | -0.0025731 | -0.00064489 | 8.0845e-08 | -8.0496e-08 | 0.0038657 | 0.0038657 | 0.0038657 | 0.9905 | -0.06591 | 0.99047 | -0.066137 | 1.4317
42 | 0.073511 | 0.018542 | -0.073405 | -0.018502 | 0.00010646 | 4.0231e-05 | 0.11054 | 0.11054 | 0.11054 | 0.98992 | -0.069981 | 0.98844 | -0.080324 | 20.4708
43 | 0.071691 | 0.018073 | -0.071688 | -0.018072 | 2.2856e-06 | 8.6298e-07 | 0.10796 | 0.10796 | 0.10796 | 0.98844 | -0.080324 | 0.98841 | -0.080551 | 19.993
44 | 0.0022042 | 0.00055197 | -0.002204 | -0.00055237 | 2.629e-07 | -3.9646e-07 | 0.0033061 | 0.0033063 | 0.0033063 | 0.99204 | -0.055257 | 0.99191 | -0.056119 | 1.2245
45 | 0.068584 | 0.017294 | -0.068503 | -0.017263 | 8.0944e-05 | 3.051e-05 | 0.10329 | 0.10329 | 0.10329 | 0.98841 | -0.080551 | 0.9872 | -0.088983 | 19.1274

## res_trafo
| p_hv_mw | q_hv_mvar | p_lv_mw | q_lv_mvar | pl_mw | ql_mvar | i_hv_ka | i_lv_ka | vm_hv_pu | va_hv_degree | vm_lv_pu | va_lv_degree | loading_percent
0 | 2.5187e-16 | 8.8016e-16 | 0.00079998 | 7.4552e-08 | 0.00079998 | 7.4552e-08 | 2.6429e-17 | 0.0011547 | 0.99998 | 149.9947 | 1 | 0 | 0.31999

## res_ext_grid
| p_mw | q_mvar
0 | 0.13103 | 0.032892

## res_load
| p_mw | q_mvar
0 | 0.012365 | 0.0030991
1 | 0.010982 | 0.0027523
2 | 0.0031076 | 0.00077885
3 | 0.001287 | 0.00032256
4 | 0.001658 | 0.00041553
5 | 0.0016954 | 0.0004249
6 | 0.001658 | 0.00041553
7 | 0.0016967 | 0.00042524
8 | 0.0031331 | 0.00078524
9 | 0.0027624 | 0.00069232
10 | 0.0056258 | 0.0014099
11 | 0.0016718 | 0.00041899
12 | 0.0040118 | 0.0010055
13 | 0.0069059 | 0.0017308
14 | 0.0023345 | 0.00058508
15 | 0.0026832 | 0.00067248
16 | 0.0016248 | 0.00040721
17 | 0.0026242 | 0.00065768
18 | 0.0021973 | 0.00055068
19 | 0.0035613 | 0.00089256
20 | 0.0015672 | 0.00039278
21 | 0.0012258 | 0.00030722
22 | 0.001949 | 0.00048847
23 | 0.0057669 | 0.0014453
24 | 0.0016708 | 0.00041873
25 | 0.002543 | 0.00063735
26 | 0.0031181 | 0.00078146
27 | 0.010668 | 0.0026737
28 | 0.0028867 | 0.00072348
29 | 0.0040745 | 0.0010212
30 | 0.003081 | 0.00077217
31 | 0.0025731 | 0.00064489
32 | 0.0017139 | 0.00042954
33 | 0.0035386 | 0.00088686
34 | 0.0031048 | 0.00077813
35 | 0.002204 | 0.00055237
36 | 0.002886 | 0.0007233

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object
62 | res_bus | vm_pu | float64
63 | res_bus | va_degree | float64
64 | res_bus | p_mw | float64
65 | res_bus | q_mvar | float64
66 | res_line | p_from_mw | float64
67 | res_line | q_from_mvar | float64
68 | res_line | p_to_mw | float64
69 | res_line | q_to_mvar | float64
70 | res_line | pl_mw | float64
71 | res_line | ql_mvar | float64
72 | res_line | i_from_ka | float64
73 | res_line | i_to_ka | float64
74 | res_line | i_ka | float64
75 | res_line | vm_from_pu | float64
76 | res_line | va_from_degree | float64
77 | res_line | vm_to_pu | float64
78 | res_line | va_to_degree | float64
79 | res_line | loading_percent | float64
80 | res_trafo | p_hv_mw | float64
81 | res_trafo | q_hv_mvar | float64
82 | res_trafo | p_lv_mw | float64
83 | res_trafo | q_lv_mvar | float64
84 | res_trafo | pl_mw | float64
85 | res_trafo | ql_mvar | float64
86 | res_trafo | i_hv_ka | float64
87 | res_trafo | i_lv_ka | float64
88 | res_trafo | vm_hv_pu | float64
89 | res_trafo | va_hv_degree | float64
90 | res_trafo | vm_lv_pu | float64
91 | res_trafo | va_lv_degree | float64
92 | res_trafo | loading_percent | float64
93 | res_ext_grid | p_mw | float64
94 | res_ext_grid | q_mvar | float64
95 | res_load | p_mw | float64
96 | res_load | q_mvar | float64

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | TRUE | FALSE |  | 50 | 1