## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_1089-9_0_3_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_1089-9_0_3_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_1089-9_0_3_node_2 | 0.4 | n |  | TRUE
3 | bus_LV_1089-9_0_3_node_3 | 0.4 | n |  | TRUE
4 | bus_LV_1089-9_0_3_node_4 | 0.4 | n |  | TRUE
5 | bus_LV_1089-9_0_3_node_5 | 0.4 | n |  | TRUE
6 | bus_LV_1089-9_0_3_node_6 | 0.4 | n |  | TRUE
7 | bus_LV_1089-9_0_3_node_29 | 0.4 | n |  | TRUE
8 | bus_LV_1089-9_0_3_node_27 | 0.4 | n |  | TRUE
9 | bus_LV_1089-9_0_3_node_30 | 0.4 | n |  | TRUE
10 | bus_LV_1089-9_0_3_node_7 | 0.4 | n |  | TRUE
11 | bus_LV_1089-9_0_3_node_8 | 0.4 | n |  | TRUE
12 | bus_LV_1089-9_0_3_node_9 | 0.4 | n |  | TRUE
13 | bus_LV_1089-9_0_3_node_10 | 0.4 | n |  | TRUE
14 | bus_LV_1089-9_0_3_node_11 | 0.4 | n |  | TRUE
15 | bus_LV_1089-9_0_3_node_12 | 0.4 | n |  | TRUE
16 | bus_LV_1089-9_0_3_node_13 | 0.4 | n |  | TRUE
17 | bus_LV_1089-9_0_3_node_14 | 0.4 | n |  | TRUE
18 | bus_LV_1089-9_0_3_node_33 | 0.4 | n |  | TRUE
19 | bus_LV_1089-9_0_3_node_25 | 0.4 | n |  | TRUE
20 | bus_LV_1089-9_0_3_node_47 | 0.4 | n |  | TRUE
21 | bus_LV_1089-9_0_3_node_31 | 0.4 | n |  | TRUE
22 | bus_LV_1089-9_0_3_node_34 | 0.4 | n |  | TRUE
23 | bus_LV_1089-9_0_3_node_23 | 0.4 | n |  | TRUE
24 | bus_LV_1089-9_0_3_node_45 | 0.4 | n |  | TRUE
25 | bus_LV_1089-9_0_3_node_46 | 0.4 | n |  | TRUE
26 | bus_LV_1089-9_0_3_node_48 | 0.4 | n |  | TRUE
27 | bus_LV_1089-9_0_3_node_32 | 0.4 | n |  | TRUE
28 | bus_LV_1089-9_0_3_node_15 | 0.4 | n |  | TRUE
29 | bus_LV_1089-9_0_3_node_16 | 0.4 | n |  | TRUE
30 | bus_LV_1089-9_0_3_node_17 | 0.4 | n |  | TRUE
31 | bus_LV_1089-9_0_3_node_18 | 0.4 | n |  | TRUE
32 | bus_LV_1089-9_0_3_node_19 | 0.4 | n |  | TRUE
33 | bus_LV_1089-9_0_3_node_20 | 0.4 | n |  | TRUE
34 | bus_LV_1089-9_0_3_node_44 | 0.4 | n |  | TRUE
35 | bus_LV_1089-9_0_3_node_51 | 0.4 | n |  | TRUE
36 | bus_LV_1089-9_0_3_node_43 | 0.4 | n |  | TRUE
37 | bus_LV_1089-9_0_3_node_40 | 0.4 | n |  | TRUE
38 | bus_LV_1089-9_0_3_node_21 | 0.4 | n |  | TRUE
39 | bus_LV_1089-9_0_3_node_22 | 0.4 | n |  | TRUE
40 | bus_LV_1089-9_0_3_node_24 | 0.4 | n |  | TRUE
41 | bus_LV_1089-9_0_3_node_39 | 0.4 | n |  | TRUE
42 | bus_LV_1089-9_0_3_node_37 | 0.4 | n |  | TRUE
43 | bus_LV_1089-9_0_3_node_38 | 0.4 | n |  | TRUE
44 | bus_LV_1089-9_0_3_node_35 | 0.4 | n |  | TRUE
45 | bus_LV_1089-9_0_3_node_36 | 0.4 | n |  | TRUE
46 | bus_LV_1089-9_0_3_node_50 | 0.4 | n |  | TRUE
47 | bus_LV_1089-9_0_3_node_41 | 0.4 | n |  | TRUE
48 | bus_LV_1089-9_0_3_node_42 | 0.4 | n |  | TRUE
49 | bus_MV_473_0_node_190 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_1089-9_0_3_load_0 | 0 | 0.0019243 | 0.00048226 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_1089-9_0_3_load_1 | 1 | 0.0013784 | 0.00034546 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_1089-9_0_3_load_2 | 2 | 0.0013368 | 0.00033502 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_1089-9_0_3_load_3 | 3 | 0.0013322 | 0.00033387 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_1089-9_0_3_load_4 | 4 | 0.0018439 | 0.00046212 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_1089-9_0_3_load_5 | 5 | 0.0018606 | 0.00046631 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_1089-9_0_3_load_6 | 6 | 0.0015012 | 0.00037623 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_1089-9_0_3_load_29 | 7 | 0.0014678 | 0.00036788 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_1089-9_0_3_load_27 | 8 | 0.0024719 | 0.00061951 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_1089-9_0_3_load_30 | 9 | 0.0095578 | 0.0023954 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_1089-9_0_3_load_7 | 10 | 0.010017 | 0.0025106 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_1089-9_0_3_load_8 | 11 | 0.0043801 | 0.0010978 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_1089-9_0_3_load_9 | 12 | 0.010441 | 0.0026167 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_1089-9_0_3_load_10 | 13 | 0.00080595 | 0.00020199 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_1089-9_0_3_load_12 | 15 | 0.0057265 | 0.0014352 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_1089-9_0_3_load_14 | 17 | 0.0019872 | 0.00049805 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_1089-9_0_3_load_33 | 18 | 0.00079273 | 0.00019868 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_1089-9_0_3_load_25 | 19 | 0.0019434 | 0.00048705 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_1089-9_0_3_load_34 | 22 | 0.0022659 | 0.00056789 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_1089-9_0_3_load_23 | 23 | 0.0014622 | 0.00036646 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_1089-9_0_3_load_45 | 24 | 0.0014514 | 0.00036377 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_1089-9_0_3_load_46 | 25 | 0.0020248 | 0.00050745 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_1089-9_0_3_load_48 | 26 | 0.0043518 | 0.0010907 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_1089-9_0_3_load_15 | 28 | 0.001268 | 0.0003178 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_1089-9_0_3_load_16 | 29 | 0.0012686 | 0.00031794 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_1089-9_0_3_load_17 | 30 | 0.0014747 | 0.00036959 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_1089-9_0_3_load_19 | 32 | 0.0014747 | 0.00036959 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_1089-9_0_3_load_44 | 34 | 0.0032108 | 0.0008047 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_1089-9_0_3_load_51 | 35 | 0.010187 | 0.0025531 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_1089-9_0_3_load_43 | 36 | 0.0032097 | 0.00080444 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_1089-9_0_3_load_21 | 38 | 0.0014002 | 0.00035093 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_1089-9_0_3_load_22 | 39 | 0.0012995 | 0.00032569 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_1089-9_0_3_load_24 | 40 | 0.0037634 | 0.00094319 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_1089-9_0_3_load_39 | 41 | 0.0093796 | 0.0023508 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_1089-9_0_3_load_37 | 42 | 0.010191 | 0.0025542 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_1089-9_0_3_load_38 | 43 | 0.010569 | 0.0026488 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_1089-9_0_3_load_35 | 44 | 0.002553 | 0.00063983 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_1089-9_0_3_load_36 | 45 | 0.0026149 | 0.00065535 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_1089-9_0_3_load_50 | 46 | 0.0022655 | 0.00056779 | 0 | 0 |  | 1 | TRUE | wye
39 | LV_1089-9_0_3_load_41 | 47 | 0.0015725 | 0.00039412 | 0 | 0 |  | 1 | TRUE | wye
40 | LV_1089-9_0_3_load_42 | 48 | 0.0015738 | 0.00039443 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 21 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_1089-9_0_3_line_0 | NAYY 4x150 SE | 0 | 1 | 0.0098599 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
1 | LV_1089-9_0_3_line_1 | NAYY 4x150 SE | 0 | 2 | 0.012688 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
2 | LV_1089-9_0_3_line_2 | NAYY 4x150 SE | 1 | 3 | 0.0093012 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
3 | LV_1089-9_0_3_line_3 | NAYY 4x150 SE | 2 | 4 | 0.0058256 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
4 | LV_1089-9_0_3_line_4 | NAYY 4x150 SE | 3 | 5 | 0.012636 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
5 | LV_1089-9_0_3_line_5 | NAYY 4x150 SE | 4 | 6 | 0.016227 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
6 | LV_1089-9_0_3_line_6 | NAYY 4x150 SE | 5 | 7 | 0.0049172 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
7 | LV_1089-9_0_3_line_7 | NAYY 4x150 SE | 6 | 8 | 0.0032165 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
8 | LV_1089-9_0_3_line_8 | NAYY 4x150 SE | 7 | 9 | 0.027525 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
9 | LV_1089-9_0_3_line_9 | NAYY 4x150 SE | 9 | 21 | 0.022603 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
10 | LV_1089-9_0_3_line_10 | NAYY 4x150 SE | 10 | 11 | 0.036658 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
11 | LV_1089-9_0_3_line_11 | NAYY 4x150 SE | 10 | 12 | 0.0066004 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
12 | LV_1089-9_0_3_line_12 | NAYY 4x150 SE | 11 | 13 | 0.0045305 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
13 | LV_1089-9_0_3_line_13 | NAYY 4x150 SE | 12 | 14 | 0.020959 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
14 | LV_1089-9_0_3_line_14 | NAYY 4x150 SE | 13 | 15 | 0.018172 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
15 | LV_1089-9_0_3_line_15 | NAYY 4x150 SE | 14 | 16 | 0.03563 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
16 | LV_1089-9_0_3_line_16 | NAYY 4x150 SE | 14 | 17 | 0.01221 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
17 | LV_1089-9_0_3_line_17 | NAYY 4x150 SE | 15 | 18 | 0.008498 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
18 | LV_1089-9_0_3_line_18 | NAYY 4x150 SE | 16 | 19 | 0.023571 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
19 | LV_1089-9_0_3_line_19 | NAYY 4x150 SE | 16 | 20 | 0.12728 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
20 | LV_1089-9_0_3_line_20 | NAYY 4x150 SE | 17 | 21 | 0.026895 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
21 | LV_1089-9_0_3_line_21 | NAYY 4x150 SE | 18 | 22 | 0.013784 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
22 | LV_1089-9_0_3_line_22 | NAYY 4x150 SE | 19 | 23 | 0.034434 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
23 | LV_1089-9_0_3_line_23 | NAYY 4x150 SE | 20 | 24 | 0.037268 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
24 | LV_1089-9_0_3_line_24 | NAYY 4x150 SE | 21 | 27 | 0.025771 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
25 | LV_1089-9_0_3_line_25 | NAYY 4x150 SE | 22 | 44 | 0.016803 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
26 | LV_1089-9_0_3_line_26 | NAYY 4x150 SE | 23 | 38 | 0.02347 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
27 | LV_1089-9_0_3_line_27 | NAYY 4x150 SE | 24 | 25 | 0.030923 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
28 | LV_1089-9_0_3_line_28 | NAYY 4x150 SE | 25 | 26 | 0.032608 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
29 | LV_1089-9_0_3_line_29 | NAYY 4x150 SE | 27 | 41 | 0.030516 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
30 | LV_1089-9_0_3_line_30 | NAYY 4x150 SE | 27 | 42 | 0.022194 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
31 | LV_1089-9_0_3_line_31 | NAYY 4x150 SE | 28 | 29 | 0.0073097 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
32 | LV_1089-9_0_3_line_32 | NAYY 4x150 SE | 28 | 30 | 0.022201 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
33 | LV_1089-9_0_3_line_33 | NAYY 4x150 SE | 29 | 31 | 0.011686 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
34 | LV_1089-9_0_3_line_34 | NAYY 4x150 SE | 30 | 32 | 0.0084819 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
35 | LV_1089-9_0_3_line_35 | NAYY 4x150 SE | 31 | 33 | 0.036581 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
36 | LV_1089-9_0_3_line_36 | NAYY 4x150 SE | 33 | 34 | 0.012206 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
37 | LV_1089-9_0_3_line_37 | NAYY 4x150 SE | 33 | 35 | 0.056352 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
38 | LV_1089-9_0_3_line_38 | NAYY 4x150 SE | 34 | 36 | 0.0082564 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
39 | LV_1089-9_0_3_line_39 | NAYY 4x150 SE | 35 | 37 | 0.024617 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
40 | LV_1089-9_0_3_line_40 | NAYY 4x150 SE | 36 | 48 | 0.021118 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
41 | LV_1089-9_0_3_line_41 | NAYY 4x150 SE | 37 | 46 | 0.049984 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
42 | LV_1089-9_0_3_line_42 | NAYY 4x150 SE | 37 | 41 | 0.030271 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
43 | LV_1089-9_0_3_line_43 | NAYY 4x150 SE | 38 | 39 | 0.025136 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
44 | LV_1089-9_0_3_line_44 | NAYY 4x150 SE | 39 | 40 | 0.02187 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
45 | LV_1089-9_0_3_line_45 | NAYY 4x150 SE | 42 | 43 | 0.00048722 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
46 | LV_1089-9_0_3_line_46 | NAYY 4x150 SE | 44 | 45 | 0.0062454 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
47 | LV_1089-9_0_3_line_47 | NAYY 4x150 SE | 47 | 48 | 0.0083287 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_1089-9_0_3_trafo_31 | 0.25 MVA 20/0.4 kV | 49 | 21 | 0.25 | 20 | 0.4 | 6 | 1.44 | 0.8 | 0.32 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3
0 | 2647849.7057 | 1226273.358 | 2647857.709 | 1226279.1169
1 | 2647849.7057 | 1226273.358 | 2647839.4065 | 1226265.9472
2 | 2647865.2589 | 1226284.5494 | 2647857.709 | 1226279.1169
3 | 2647834.6779 | 1226262.5446 | 2647839.4065 | 1226265.9472
4 | 2647865.2589 | 1226284.5494 | 2647875.5153 | 1226291.9295
5 | 2647834.6779 | 1226262.5446 | 2647821.5063 | 1226253.0669
6 | 2647879.5066 | 1226294.8014 | 2647875.5153 | 1226291.9295
7 | 2647818.8954 | 1226251.1883 | 2647821.5063 | 1226253.0669
8 | 2647902.8544 | 1226309.3026 | 2647888.1332 | 1226301.0088 | 2647879.5066 | 1226294.8014
9 | 2647922.5474 | 1226320.3976 | 2647902.8544 | 1226309.3026
10 | 2647929.1318 | 1226366.596 | 2647962.3344 | 1226382.1324
11 | 2647929.1318 | 1226366.596 | 2647923.1535 | 1226363.7986
12 | 2647962.3344 | 1226382.1324 | 2647966.4379 | 1226384.0525
13 | 2647904.1696 | 1226354.9155 | 2647923.1535 | 1226363.7986
14 | 2647982.8973 | 1226391.7543 | 2647966.4379 | 1226384.0525
15 | 2647904.1696 | 1226354.9155 | 2647887.3253 | 1226386.3328
16 | 2647904.1696 | 1226354.9155 | 2647909.9078 | 1226344.1379
17 | 2647982.8973 | 1226391.7543 | 2647990.5944 | 1226395.356
18 | 2647887.3253 | 1226386.3328 | 2647877.0673 | 1226381.0582 | 2647867.2416 | 1226374.1063
19 | 2647887.3253 | 1226386.3328 | 2647864.2321 | 1226511.5024
20 | 2647922.5474 | 1226320.3976 | 2647909.9078 | 1226344.1379
21 | 2648003.0796 | 1226401.1981 | 2647990.5944 | 1226395.356
22 | 2647840.1311 | 1226352.8782 | 2647866.1318 | 1226373.3211 | 2647867.2416 | 1226374.1063
23 | 2647864.2321 | 1226511.5024 | 2647865.262 | 1226548.7563
24 | 2647937.9978 | 1226300.2206 | 2647928.2737 | 1226316.1633 | 2647922.5474 | 1226320.3976
25 | 2648018.2987 | 1226408.3195 | 2648003.0796 | 1226401.1981
26 | 2647840.1311 | 1226352.8782 | 2647821.6809 | 1226338.3719
27 | 2647865.262 | 1226548.7563 | 2647866.1165 | 1226579.6674
28 | 2647867.0176 | 1226612.2625 | 2647866.1165 | 1226579.6674
29 | 2647937.9978 | 1226300.2206 | 2647951.8967 | 1226273.0535
30 | 2647937.9978 | 1226300.2206 | 2647957.6127 | 1226310.6044
31 | 2648059.2065 | 1226317.2841 | 2648062.5061 | 1226310.7615
32 | 2648059.2065 | 1226317.2841 | 2648049.1847 | 1226337.0948
33 | 2648067.7814 | 1226300.3335 | 2648062.5061 | 1226310.7615
34 | 2648045.3559 | 1226344.6633 | 2648049.1847 | 1226337.0948
35 | 2648035.4579 | 1226283.0287 | 2648067.7814 | 1226300.3335
36 | 2648035.4579 | 1226283.0287 | 2648029.8353 | 1226293.8626
37 | 2648035.4579 | 1226283.0287 | 2647985.7709 | 1226256.4444
38 | 2648026.0321 | 1226301.1909 | 2648029.8353 | 1226293.8626
39 | 2647963.8009 | 1226245.3834 | 2647970.1385 | 1226248.0805 | 2647985.7709 | 1226256.4444
40 | 2648026.0321 | 1226301.1909 | 2648016.3042 | 1226319.9349
41 | 2647963.8009 | 1226245.3834 | 2647957.6345 | 1226244.9557 | 2647950.3692 | 1226242.6402 | 2647919.168 | 1226224.3297
42 | 2647963.8009 | 1226245.3834 | 2647961.393 | 1226254.4918 | 2647951.8967 | 1226273.0535
43 | 2647801.921 | 1226322.8357 | 2647821.6809 | 1226338.3719
44 | 2647784.729 | 1226309.3186 | 2647801.921 | 1226322.8357
45 | 2647958.0433 | 1226310.8324 | 2647957.6127 | 1226310.6044
46 | 2648018.2987 | 1226408.3195 | 2648023.9554 | 1226410.9664
47 | 2648016.3042 | 1226319.9349 | 2648012.4677 | 1226327.3274

## bus_geodata
| x | y | coords
0 | 2647849.7057 | 1226273.358
1 | 2647857.709 | 1226279.1169
2 | 2647839.4065 | 1226265.9472
3 | 2647865.2589 | 1226284.5494
4 | 2647834.6779 | 1226262.5446
5 | 2647875.5153 | 1226291.9295
6 | 2647821.5063 | 1226253.0669
7 | 2647879.5066 | 1226294.8014
8 | 2647818.8954 | 1226251.1883
9 | 2647902.8544 | 1226309.3026
10 | 2647929.1318 | 1226366.596
11 | 2647962.3344 | 1226382.1324
12 | 2647923.1535 | 1226363.7986
13 | 2647966.4379 | 1226384.0525
14 | 2647904.1696 | 1226354.9155
15 | 2647982.8973 | 1226391.7543
16 | 2647887.3253 | 1226386.3328
17 | 2647909.9078 | 1226344.1379
18 | 2647990.5944 | 1226395.356
19 | 2647867.2416 | 1226374.1063
20 | 2647864.2321 | 1226511.5024
21 | 2647922.5474 | 1226320.3976
22 | 2648003.0796 | 1226401.1981
23 | 2647840.1311 | 1226352.8781
24 | 2647865.262 | 1226548.7563
25 | 2647866.1165 | 1226579.6674
26 | 2647867.0176 | 1226612.2625
27 | 2647937.9978 | 1226300.2206
28 | 2648059.2065 | 1226317.2841
29 | 2648062.5061 | 1226310.7615
30 | 2648049.1847 | 1226337.0948
31 | 2648067.7814 | 1226300.3335
32 | 2648045.3559 | 1226344.6633
33 | 2648035.4579 | 1226283.0287
34 | 2648029.8353 | 1226293.8626
35 | 2647985.7709 | 1226256.4444
36 | 2648026.0321 | 1226301.1909
37 | 2647963.8009 | 1226245.3834
38 | 2647821.6809 | 1226338.3719
39 | 2647801.9209 | 1226322.8357
40 | 2647784.729 | 1226309.3186
41 | 2647951.8967 | 1226273.0535
42 | 2647957.6127 | 1226310.6044
43 | 2647958.0433 | 1226310.8324
44 | 2648018.2987 | 1226408.3195
45 | 2648023.9554 | 1226410.9664
46 | 2647919.168 | 1226224.3297
47 | 2648012.4677 | 1226327.3274
48 | 2648016.3042 | 1226319.9349
49 | 2647937.9978 | 1226300.2206

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## res_bus
| vm_pu | va_degree | p_mw | q_mvar
0 | 0.99803 | -0.013773 | 0.0019243 | 0.00048226
1 | 0.99816 | -0.012876 | 0.0013784 | 0.00034546
2 | 0.9979 | -0.014683 | 0.0013368 | 0.00033502
3 | 0.9983 | -0.011902 | 0.0013322 | 0.00033387
4 | 0.99786 | -0.015023 | 0.0018439 | 0.00046212
5 | 0.99851 | -0.01041 | 0.0018606 | 0.00046631
6 | 0.99776 | -0.01567 | 0.0015012 | 0.00037623
7 | 0.99861 | -0.0097374 | 0.0014678 | 0.00036788
8 | 0.99775 | -0.015749 | 0.0024719 | 0.00061951
9 | 0.9992 | -0.0055733 | 0.0095578 | 0.0023954
10 | 0.99525 | -0.03328 | 0.010017 | 0.0025106
11 | 0.99424 | -0.040359 | 0.0043801 | 0.0010978
12 | 0.99552 | -0.03134 | 0.010441 | 0.0026167
13 | 0.99415 | -0.041034 | 0.00080595 | 0.00020199
14 | 0.99671 | -0.02299 | 0 | 0
15 | 0.99378 | -0.043597 | 0.0057265 | 0.0014352
16 | 0.99581 | -0.029344 | 0 | 0
17 | 0.99772 | -0.015963 | 0.0019872 | 0.00049805
18 | 0.99368 | -0.044304 | 0.00079273 | 0.00019868
19 | 0.99548 | -0.031688 | 0.0019434 | 0.00048705
20 | 0.99438 | -0.039406 | 0 | 0
21 | 1 | 0 | -0.14302 | -0.035711
22 | 0.99353 | -0.04534 | 0.0022659 | 0.00056789
23 | 0.99508 | -0.034441 | 0.0014622 | 0.00036646
24 | 0.99396 | -0.042355 | 0.0014514 | 0.00036377
25 | 0.99368 | -0.044349 | 0.0020248 | 0.00050745
26 | 0.99347 | -0.045784 | 0.0043518 | 0.0010907
27 | 0.99787 | -0.014867 | 0 | 0
28 | 0.99253 | -0.052422 | 0.001268 | 0.0003178
29 | 0.99257 | -0.05211 | 0.0012686 | 0.00031794
30 | 0.99244 | -0.053086 | 0.0014747 | 0.00036959
31 | 0.99267 | -0.05146 | 0 | 0
32 | 0.99242 | -0.053213 | 0.0014747 | 0.00036959
33 | 0.99295 | -0.049425 | 0 | 0
34 | 0.99279 | -0.050608 | 0.0032108 | 0.0008047
35 | 0.99417 | -0.040841 | 0.010187 | 0.0025531
36 | 0.99271 | -0.05114 | 0.0032097 | 0.00080444
37 | 0.99506 | -0.034567 | 0 | 0
38 | 0.99487 | -0.035971 | 0.0014002 | 0.00035093
39 | 0.99468 | -0.037256 | 0.0012995 | 0.00032569
40 | 0.99457 | -0.038086 | 0.0037634 | 0.00094319
41 | 0.99626 | -0.026176 | 0.0093796 | 0.0023508
42 | 0.99721 | -0.019489 | 0.010191 | 0.0025542
43 | 0.99721 | -0.01954 | 0.010569 | 0.0026488
44 | 0.99341 | -0.046218 | 0.002553 | 0.00063983
45 | 0.99339 | -0.046383 | 0.0026149 | 0.00065535
46 | 0.9949 | -0.03571 | 0.0022655 | 0.00056779
47 | 0.9926 | -0.051946 | 0.0015725 | 0.00039412
48 | 0.99262 | -0.051813 | 0.0015738 | 0.00039443
49 | 0.99998 | 149.9947 | 0 | 0

## res_line
| p_from_mw | q_from_mvar | p_to_mw | q_to_mvar | pl_mw | ql_mvar | i_from_ka | i_to_ka | i_ka | vm_from_pu | va_from_degree | vm_to_pu | va_to_degree | loading_percent
0 | -0.0090795 | -0.0022752 | 0.0090806 | 0.0022755 | 1.1274e-06 | 3.0477e-07 | 0.013537 | 0.013537 | 0.013537 | 0.99803 | -0.013773 | 0.99816 | -0.012876 | 5.0137
1 | 0.0071552 | 0.001793 | -0.0071543 | -0.0017928 | 9.0105e-07 | 1.8077e-07 | 0.010668 | 0.010668 | 0.010668 | 0.99803 | -0.013773 | 0.9979 | -0.014683 | 3.9511
2 | -0.010459 | -0.002621 | 0.01046 | 0.0026214 | 1.4109e-06 | 4.2108e-07 | 0.015592 | 0.015592 | 0.015592 | 0.99816 | -0.012876 | 0.9983 | -0.011902 | 5.7747
3 | 0.0058176 | 0.0014578 | -0.0058173 | -0.0014577 | 2.7355e-07 | 2.9107e-08 | 0.0086747 | 0.0086747 | 0.0086747 | 0.9979 | -0.014683 | 0.99786 | -0.015023 | 3.2129
4 | -0.011793 | -0.0029553 | 0.011795 | 0.0029561 | 2.4361e-06 | 7.717e-07 | 0.017577 | 0.017577 | 0.017577 | 0.9983 | -0.011902 | 0.99851 | -0.01041 | 6.5101
5 | 0.0039734 | 0.00099563 | -0.0039731 | -0.0009957 | 3.5549e-07 | -7.523e-08 | 0.0059251 | 0.0059252 | 0.0059252 | 0.99786 | -0.015023 | 0.99776 | -0.01567 | 2.1945
6 | -0.013656 | -0.0034224 | 0.013657 | 0.0034228 | 1.2707e-06 | 4.2439e-07 | 0.02035 | 0.02035 | 0.02035 | 0.99851 | -0.01041 | 0.99861 | -0.0097374 | 7.537
7 | 0.0024719 | 0.00061947 | -0.0024719 | -0.00061951 | 2.7276e-08 | -3.1519e-08 | 0.0036864 | 0.0036864 | 0.0036864 | 0.99776 | -0.01567 | 0.99775 | -0.015749 | 1.3654
8 | -0.015125 | -0.0037907 | 0.015133 | 0.0037937 | 8.7237e-06 | 2.995e-06 | 0.022537 | 0.022537 | 0.022537 | 0.99861 | -0.0097374 | 0.9992 | -0.0055733 | 8.3471
9 | -0.024691 | -0.0061891 | 0.02471 | 0.0061961 | 1.907e-05 | 7.0384e-06 | 0.03677 | 0.03677 | 0.03677 | 0.9992 | -0.0055733 | 1 | 0 | 13.6187
10 | 0.019167 | 0.004806 | -0.019148 | -0.0047992 | 1.8786e-05 | 6.7494e-06 | 0.028657 | 0.028658 | 0.028658 | 0.99525 | -0.03328 | 0.99424 | -0.040359 | 10.6139
11 | -0.029184 | -0.0073165 | 0.029192 | 0.0073195 | 7.8418e-06 | 2.9303e-06 | 0.043634 | 0.043634 | 0.043634 | 0.99525 | -0.03328 | 0.99552 | -0.03134 | 16.1609
12 | 0.014768 | 0.0037015 | -0.014766 | -0.003701 | 1.381e-06 | 4.7242e-07 | 0.022102 | 0.022102 | 0.022102 | 0.99424 | -0.040359 | 0.99415 | -0.041034 | 8.186
13 | -0.039632 | -0.0099361 | 0.039678 | 0.0099535 | 4.5898e-05 | 1.738e-05 | 0.05924 | 0.05924 | 0.05924 | 0.99552 | -0.03134 | 0.99671 | -0.02299 | 21.9408
14 | 0.01396 | 0.003499 | -0.013956 | -0.0034973 | 4.9512e-06 | 1.6688e-06 | 0.020896 | 0.020896 | 0.020896 | 0.99415 | -0.041034 | 0.99378 | -0.043597 | 7.7392
15 | 0.017738 | 0.004446 | -0.017722 | -0.0044404 | 1.5591e-05 | 5.5328e-06 | 0.026481 | 0.026482 | 0.026482 | 0.99671 | -0.02299 | 0.99581 | -0.029344 | 9.808
16 | -0.057416 | -0.014399 | 0.057472 | 0.014421 | 5.5986e-05 | 2.1374e-05 | 0.085721 | 0.085721 | 0.085721 | 0.99671 | -0.02299 | 0.99772 | -0.015963 | 31.7487
17 | 0.008229 | 0.0020621 | -0.0082282 | -0.0020619 | 8.0506e-07 | 1.9954e-07 | 0.012321 | 0.012321 | 0.012321 | 0.99378 | -0.043597 | 0.99368 | -0.044304 | 4.5635
18 | 0.0098776 | 0.0024751 | -0.0098744 | -0.0024742 | 3.2042e-06 | 9.2584e-07 | 0.01476 | 0.01476 | 0.01476 | 0.99581 | -0.029344 | 0.99548 | -0.031688 | 5.4666
19 | 0.0078447 | 0.0019653 | -0.0078338 | -0.0019628 | 1.0914e-05 | 2.544e-06 | 0.011722 | 0.011722 | 0.011722 | 0.99581 | -0.029344 | 0.99438 | -0.039406 | 4.3417
20 | -0.059459 | -0.014919 | 0.059591 | 0.014969 | 0.000132 | 5.0416e-05 | 0.088685 | 0.088685 | 0.088685 | 0.99772 | -0.015963 | 1 | 0 | 32.8463
21 | 0.0074355 | 0.0018633 | -0.0074344 | -0.001863 | 1.0664e-06 | 2.3161e-07 | 0.011134 | 0.011134 | 0.011134 | 0.99368 | -0.044304 | 0.99353 | -0.04534 | 4.1239
22 | 0.007931 | 0.0019871 | -0.007928 | -0.0019864 | 3.0198e-06 | 7.1396e-07 | 0.011855 | 0.011855 | 0.011855 | 0.99548 | -0.031688 | 0.99508 | -0.034441 | 4.3908
23 | 0.0078338 | 0.0019628 | -0.0078306 | -0.0019621 | 3.1957e-06 | 7.4587e-07 | 0.011722 | 0.011723 | 0.011723 | 0.99438 | -0.039406 | 0.99396 | -0.042355 | 4.3417
24 | 0.057913 | 0.014546 | -0.057794 | -0.0145 | 0.00011945 | 4.5606e-05 | 0.086187 | 0.086187 | 0.086187 | 1 | 0 | 0.99787 | -0.014867 | 31.9212
25 | 0.0051685 | 0.0012951 | -0.0051679 | -0.0012951 | 6.2827e-07 | 2.4069e-08 | 0.0077408 | 0.0077409 | 0.0077409 | 0.99353 | -0.04534 | 0.99341 | -0.046218 | 2.867
26 | 0.0064658 | 0.0016199 | -0.0064644 | -0.0016197 | 1.3691e-06 | 2.2174e-07 | 0.0096685 | 0.0096686 | 0.0096686 | 0.99508 | -0.034441 | 0.99487 | -0.035971 | 3.581
27 | 0.0063791 | 0.0015983 | -0.0063774 | -0.001598 | 1.7598e-06 | 2.7615e-07 | 0.0095498 | 0.0095499 | 0.0095499 | 0.99396 | -0.042355 | 0.99368 | -0.044349 | 3.537
28 | 0.0043526 | 0.0010906 | -0.0043518 | -0.0010907 | 8.6442e-07 | -8.9842e-08 | 0.0065179 | 0.006518 | 0.006518 | 0.99368 | -0.044349 | 0.99347 | -0.045784 | 2.4141
29 | 0.03702 | 0.009292 | -0.036962 | -0.0092701 | 5.8041e-05 | 2.1926e-05 | 0.055209 | 0.055209 | 0.055209 | 0.99787 | -0.014867 | 0.99626 | -0.026176 | 20.4479
30 | 0.020774 | 0.0052079 | -0.02076 | -0.005203 | 1.329e-05 | 4.8218e-06 | 0.030978 | 0.030978 | 0.030978 | 0.99787 | -0.014867 | 0.99721 | -0.019489 | 11.4733
31 | -0.0042177 | -0.0010567 | 0.0042179 | 0.0010567 | 1.8237e-07 | -2.4333e-08 | 0.0063231 | 0.0063231 | 0.0063231 | 0.99253 | -0.052422 | 0.99257 | -0.05211 | 2.3419
32 | 0.0029497 | 0.00073891 | -0.0029494 | -0.00073909 | 2.7091e-07 | -1.8271e-07 | 0.0044221 | 0.0044222 | 0.0044222 | 0.99253 | -0.052422 | 0.99244 | -0.053086 | 1.6379
33 | -0.0054865 | -0.0013746 | 0.005487 | 0.0013747 | 4.9332e-07 | 3.8675e-08 | 0.0082249 | 0.0082249 | 0.0082249 | 0.99257 | -0.05211 | 0.99267 | -0.05146 | 3.0463
34 | 0.0014747 | 0.00036949 | -0.0014747 | -0.00036959 | 2.5876e-08 | -9.9645e-08 | 0.0022111 | 0.0022111 | 0.0022111 | 0.99244 | -0.053086 | 0.99242 | -0.053213 | 0.81894
35 | -0.005487 | -0.0013747 | 0.0054885 | 0.0013748 | 1.5441e-06 | 1.2086e-07 | 0.0082249 | 0.0082247 | 0.0082249 | 0.99267 | -0.05146 | 0.99295 | -0.049425 | 3.0462
36 | 0.0095692 | 0.0023979 | -0.0095677 | -0.0023975 | 1.5663e-06 | 4.4455e-07 | 0.01434 | 0.01434 | 0.01434 | 0.99295 | -0.049425 | 0.99279 | -0.050608 | 5.3112
37 | -0.015058 | -0.0037727 | 0.015076 | 0.0037789 | 1.7904e-05 | 6.1563e-06 | 0.022565 | 0.022565 | 0.022565 | 0.99295 | -0.049425 | 0.99417 | -0.040841 | 8.3573
38 | 0.0063569 | 0.0015928 | -0.0063564 | -0.0015927 | 4.6769e-07 | 7.3127e-08 | 0.0095277 | 0.0095278 | 0.0095278 | 0.99279 | -0.050608 | 0.99271 | -0.05114 | 3.5288
39 | -0.025263 | -0.006332 | 0.025285 | 0.0063401 | 2.1962e-05 | 8.1275e-06 | 0.037812 | 0.037812 | 0.037812 | 0.99417 | -0.040841 | 0.99506 | -0.034567 | 14.0044
40 | 0.0031467 | 0.00078829 | -0.0031464 | -0.00078845 | 2.9315e-07 | -1.6025e-07 | 0.0047166 | 0.0047167 | 0.0047167 | 0.99271 | -0.05114 | 0.99262 | -0.051813 | 1.7469
41 | 0.0022659 | 0.00056728 | -0.0022655 | -0.00056779 | 3.5808e-07 | -5.1147e-07 | 0.0033882 | 0.0033884 | 0.0033884 | 0.99506 | -0.034567 | 0.9949 | -0.03571 | 1.255
42 | -0.027551 | -0.0069074 | 0.027583 | 0.0069194 | 3.2063e-05 | 1.1938e-05 | 0.0412 | 0.0412 | 0.0412 | 0.99506 | -0.034567 | 0.99626 | -0.026176 | 15.2593
43 | 0.0050642 | 0.0012688 | -0.0050633 | -0.0012688 | 8.9987e-07 | 1.977e-08 | 0.0075743 | 0.0075744 | 0.0075744 | 0.99487 | -0.035971 | 0.99468 | -0.037256 | 2.8053
44 | 0.0037638 | 0.00094307 | -0.0037634 | -0.00094318 | 4.3263e-07 | -1.1744e-07 | 0.0056304 | 0.0056305 | 0.0056305 | 0.99468 | -0.037256 | 0.99457 | -0.038086 | 2.0854
45 | 0.010569 | 0.0026488 | -0.010569 | -0.0026488 | 7.5615e-08 | 2.2727e-08 | 0.015771 | 0.015771 | 0.015771 | 0.99721 | -0.019489 | 0.99721 | -0.01954 | 5.841
46 | 0.0026149 | 0.00065529 | -0.0026149 | -0.00065535 | 5.9789e-08 | -5.7861e-08 | 0.0039168 | 0.0039169 | 0.0039169 | 0.99341 | -0.046218 | 0.99339 | -0.046383 | 1.4507
47 | -0.0015725 | -0.00039412 | 0.0015726 | 0.00039402 | 2.8882e-08 | -9.6549e-08 | 0.0023574 | 0.0023574 | 0.0023574 | 0.9926 | -0.051946 | 0.99262 | -0.051813 | 0.87312

## res_trafo
| p_hv_mw | q_hv_mvar | p_lv_mw | q_lv_mvar | pl_mw | ql_mvar | i_hv_ka | i_lv_ka | vm_hv_pu | va_hv_degree | vm_lv_pu | va_lv_degree | loading_percent
0 | -4.4415e-16 | -7.6913e-16 | 0.00079998 | 7.4552e-08 | 0.00079998 | 7.4552e-08 | 2.564e-17 | 0.0011547 | 0.99998 | 149.9947 | 1 | 0 | 0.31999

## res_ext_grid
| p_mw | q_mvar
0 | 0.14302 | 0.035711

## res_load
| p_mw | q_mvar
0 | 0.0019243 | 0.00048226
1 | 0.0013784 | 0.00034546
2 | 0.0013368 | 0.00033502
3 | 0.0013322 | 0.00033387
4 | 0.0018439 | 0.00046212
5 | 0.0018606 | 0.00046631
6 | 0.0015012 | 0.00037623
7 | 0.0014678 | 0.00036788
8 | 0.0024719 | 0.00061951
9 | 0.0095578 | 0.0023954
10 | 0.010017 | 0.0025106
11 | 0.0043801 | 0.0010978
12 | 0.010441 | 0.0026167
13 | 0.00080595 | 0.00020199
14 | 0.0057265 | 0.0014352
15 | 0.0019872 | 0.00049805
16 | 0.00079273 | 0.00019868
17 | 0.0019434 | 0.00048705
18 | 0.0022659 | 0.00056789
19 | 0.0014622 | 0.00036646
20 | 0.0014514 | 0.00036377
21 | 0.0020248 | 0.00050745
22 | 0.0043518 | 0.0010907
23 | 0.001268 | 0.0003178
24 | 0.0012686 | 0.00031794
25 | 0.0014747 | 0.00036959
26 | 0.0014747 | 0.00036959
27 | 0.0032108 | 0.0008047
28 | 0.010187 | 0.0025531
29 | 0.0032097 | 0.00080444
30 | 0.0014002 | 0.00035093
31 | 0.0012995 | 0.00032569
32 | 0.0037634 | 0.00094319
33 | 0.0093796 | 0.0023508
34 | 0.010191 | 0.0025542
35 | 0.010569 | 0.0026488
36 | 0.002553 | 0.00063983
37 | 0.0026149 | 0.00065535
38 | 0.0022655 | 0.00056779
39 | 0.0015725 | 0.00039412
40 | 0.0015738 | 0.00039443

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object
62 | res_bus | vm_pu | float64
63 | res_bus | va_degree | float64
64 | res_bus | p_mw | float64
65 | res_bus | q_mvar | float64
66 | res_line | p_from_mw | float64
67 | res_line | q_from_mvar | float64
68 | res_line | p_to_mw | float64
69 | res_line | q_to_mvar | float64
70 | res_line | pl_mw | float64
71 | res_line | ql_mvar | float64
72 | res_line | i_from_ka | float64
73 | res_line | i_to_ka | float64
74 | res_line | i_ka | float64
75 | res_line | vm_from_pu | float64
76 | res_line | va_from_degree | float64
77 | res_line | vm_to_pu | float64
78 | res_line | va_to_degree | float64
79 | res_line | loading_percent | float64
80 | res_trafo | p_hv_mw | float64
81 | res_trafo | q_hv_mvar | float64
82 | res_trafo | p_lv_mw | float64
83 | res_trafo | q_lv_mvar | float64
84 | res_trafo | pl_mw | float64
85 | res_trafo | ql_mvar | float64
86 | res_trafo | i_hv_ka | float64
87 | res_trafo | i_lv_ka | float64
88 | res_trafo | vm_hv_pu | float64
89 | res_trafo | va_hv_degree | float64
90 | res_trafo | vm_lv_pu | float64
91 | res_trafo | va_lv_degree | float64
92 | res_trafo | loading_percent | float64
93 | res_ext_grid | p_mw | float64
94 | res_ext_grid | q_mvar | float64
95 | res_load | p_mw | float64
96 | res_load | q_mvar | float64

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | TRUE | FALSE |  | 50 | 1