## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_1089-9_1_2_node_52 | 0.4 | n |  | TRUE
1 | bus_LV_1089-9_1_2_node_53 | 0.4 | n |  | TRUE
2 | bus_LV_1089-9_1_2_node_54 | 0.4 | n |  | TRUE
3 | bus_LV_1089-9_1_2_node_55 | 0.4 | n |  | TRUE
4 | bus_LV_1089-9_1_2_node_56 | 0.4 | n |  | TRUE
5 | bus_LV_1089-9_1_2_node_57 | 0.4 | n |  | TRUE
6 | bus_LV_1089-9_1_2_node_58 | 0.4 | n |  | TRUE
7 | bus_LV_1089-9_1_2_node_59 | 0.4 | n |  | TRUE
8 | bus_LV_1089-9_1_2_node_63 | 0.4 | n |  | TRUE
9 | bus_LV_1089-9_1_2_node_60 | 0.4 | n |  | TRUE
10 | bus_LV_1089-9_1_2_node_61 | 0.4 | n |  | TRUE
11 | bus_LV_1089-9_1_2_node_62 | 0.4 | n |  | TRUE
12 | bus_LV_1089-9_1_2_node_73 | 0.4 | n |  | TRUE
13 | bus_LV_1089-9_1_2_node_74 | 0.4 | n |  | TRUE
14 | bus_LV_1089-9_1_2_node_75 | 0.4 | n |  | TRUE
15 | bus_LV_1089-9_1_2_node_64 | 0.4 | n |  | TRUE
16 | bus_LV_1089-9_1_2_node_65 | 0.4 | n |  | TRUE
17 | bus_LV_1089-9_1_2_node_81 | 0.4 | n |  | TRUE
18 | bus_LV_1089-9_1_2_node_69 | 0.4 | n |  | TRUE
19 | bus_LV_1089-9_1_2_node_66 | 0.4 | n |  | TRUE
20 | bus_LV_1089-9_1_2_node_67 | 0.4 | n |  | TRUE
21 | bus_LV_1089-9_1_2_node_68 | 0.4 | n |  | TRUE
22 | bus_LV_1089-9_1_2_node_70 | 0.4 | n |  | TRUE
23 | bus_LV_1089-9_1_2_node_71 | 0.4 | n |  | TRUE
24 | bus_LV_1089-9_1_2_node_72 | 0.4 | n |  | TRUE
25 | bus_LV_1089-9_1_2_node_76 | 0.4 | n |  | TRUE
26 | bus_LV_1089-9_1_2_node_77 | 0.4 | n |  | TRUE
27 | bus_LV_1089-9_1_2_node_79 | 0.4 | n |  | TRUE
28 | bus_LV_1089-9_1_2_node_80 | 0.4 | n |  | TRUE
29 | bus_LV_1089-9_1_2_node_97 | 0.4 | n |  | TRUE
30 | bus_LV_1089-9_1_2_node_96 | 0.4 | n |  | TRUE
31 | bus_LV_1089-9_1_2_node_78 | 0.4 | n |  | TRUE
32 | bus_LV_1089-9_1_2_node_94 | 0.4 | n |  | TRUE
33 | bus_LV_1089-9_1_2_node_90 | 0.4 | n |  | TRUE
34 | bus_LV_1089-9_1_2_node_83 | 0.4 | n |  | TRUE
35 | bus_LV_1089-9_1_2_node_85 | 0.4 | n |  | TRUE
36 | bus_LV_1089-9_1_2_node_86 | 0.4 | n |  | TRUE
37 | bus_LV_1089-9_1_2_node_87 | 0.4 | n |  | TRUE
38 | bus_LV_1089-9_1_2_node_88 | 0.4 | n |  | TRUE
39 | bus_LV_1089-9_1_2_node_91 | 0.4 | n |  | TRUE
40 | bus_LV_1089-9_1_2_node_92 | 0.4 | n |  | TRUE
41 | bus_LV_1089-9_1_2_node_93 | 0.4 | n |  | TRUE
42 | bus_LV_1089-9_1_2_node_95 | 0.4 | n |  | TRUE
43 | bus_LV_1089-9_1_2_node_98 | 0.4 | n |  | TRUE
44 | bus_LV_1089-9_1_2_node_99 | 0.4 | n |  | TRUE
45 | bus_LV_1089-9_1_2_node_100 | 0.4 | n |  | TRUE
46 | bus_LV_1089-9_1_2_node_101 | 0.4 | n |  | TRUE
47 | bus_LV_1089-9_1_2_node_102 | 0.4 | n |  | TRUE
48 | bus_MV_473_0_node_45 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_1089-9_1_2_load_52 | 0 | 0.0045265 | 0.0011344 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_1089-9_1_2_load_53 | 1 | 0.00092741 | 0.00023243 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_1089-9_1_2_load_55 | 3 | 0.0045416 | 0.0011382 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_1089-9_1_2_load_56 | 4 | 0.0013949 | 0.0003496 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_1089-9_1_2_load_57 | 5 | 0.0013037 | 0.00032674 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_1089-9_1_2_load_58 | 6 | 0.00081084 | 0.00020321 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_1089-9_1_2_load_59 | 7 | 0.0012995 | 0.00032569 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_1089-9_1_2_load_60 | 9 | 0.003096 | 0.00077594 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_1089-9_1_2_load_61 | 10 | 0.0019944 | 0.00049986 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_1089-9_1_2_load_73 | 12 | 0.0011039 | 0.00027666 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_1089-9_1_2_load_75 | 14 | 0.0049208 | 0.0012333 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_1089-9_1_2_load_64 | 15 | 0.00075092 | 0.0001882 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_1089-9_1_2_load_65 | 16 | 0.00051057 | 0.00012796 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_1089-9_1_2_load_81 | 17 | 0.0053281 | 0.0013354 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_1089-9_1_2_load_69 | 18 | 0.00033921 | 8.5013e-05 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_1089-9_1_2_load_66 | 19 | 0.0050969 | 0.0012774 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_1089-9_1_2_load_67 | 20 | 0.0088102 | 0.002208 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_1089-9_1_2_load_71 | 23 | 0.00079457 | 0.00019914 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_1089-9_1_2_load_72 | 24 | 0.00070977 | 0.00017788 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_1089-9_1_2_load_76 | 25 | 0.0065648 | 0.0016453 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_1089-9_1_2_load_77 | 26 | 0.001008 | 0.00025264 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_1089-9_1_2_load_79 | 27 | 0.0011849 | 0.00029696 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_1089-9_1_2_load_80 | 28 | 0.00096229 | 0.00024117 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_1089-9_1_2_load_96 | 30 | 0.0011369 | 0.00028492 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_1089-9_1_2_load_78 | 31 | 0.0027878 | 0.00069868 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_1089-9_1_2_load_83 | 34 | 0.0023556 | 0.00059037 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_1089-9_1_2_load_85 | 35 | 0.0016026 | 0.00040165 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_1089-9_1_2_load_86 | 36 | 0.0013178 | 0.00033027 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_1089-9_1_2_load_87 | 37 | 0.0026337 | 0.00066008 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_1089-9_1_2_load_88 | 38 | 0.0020303 | 0.00050885 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_1089-9_1_2_load_92 | 40 | 0.00096417 | 0.00024164 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_1089-9_1_2_load_93 | 41 | 0.0022059 | 0.00055286 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_1089-9_1_2_load_95 | 42 | 0.0011603 | 0.0002908 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_1089-9_1_2_load_98 | 43 | 0.0016936 | 0.00042446 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_1089-9_1_2_load_99 | 44 | 0.00067694 | 0.00016966 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_1089-9_1_2_load_101 | 46 | 0.0018914 | 0.00047402 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_1089-9_1_2_load_102 | 47 | 0.0030496 | 0.00076431 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 7 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_1089-9_1_2_line_0 | NAYY 4x150 SE | 0 | 1 | 0.044585 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
1 | LV_1089-9_1_2_line_1 | NAYY 4x150 SE | 0 | 2 | 0.041136 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
2 | LV_1089-9_1_2_line_2 | NAYY 4x150 SE | 1 | 3 | 0.013906 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
3 | LV_1089-9_1_2_line_3 | NAYY 4x150 SE | 2 | 4 | 0.049246 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
4 | LV_1089-9_1_2_line_4 | NAYY 4x150 SE | 3 | 5 | 0.0030905 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
5 | LV_1089-9_1_2_line_5 | NAYY 4x150 SE | 4 | 6 | 0.017976 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
6 | LV_1089-9_1_2_line_6 | NAYY 4x150 SE | 5 | 7 | 0.0236 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
7 | LV_1089-9_1_2_line_7 | NAYY 4x150 SE | 6 | 8 | 0.012816 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
8 | LV_1089-9_1_2_line_8 | NAYY 4x150 SE | 7 | 9 | 0.017541 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
9 | LV_1089-9_1_2_line_9 | NAYY 4x150 SE | 8 | 15 | 0.025825 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
10 | LV_1089-9_1_2_line_10 | NAYY 4x150 SE | 8 | 16 | 0.0087978 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
11 | LV_1089-9_1_2_line_11 | NAYY 4x150 SE | 9 | 10 | 0.0069464 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
12 | LV_1089-9_1_2_line_12 | NAYY 4x150 SE | 10 | 11 | 0.02503 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
13 | LV_1089-9_1_2_line_13 | NAYY 4x150 SE | 11 | 12 | 0.053431 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
14 | LV_1089-9_1_2_line_14 | NAYY 4x150 SE | 11 | 13 | 0.070511 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
15 | LV_1089-9_1_2_line_15 | NAYY 4x150 SE | 11 | 14 | 0.0188 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
16 | LV_1089-9_1_2_line_16 | NAYY 4x150 SE | 12 | 25 | 0.029486 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
17 | LV_1089-9_1_2_line_17 | NAYY 4x150 SE | 12 | 26 | 0.023269 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
18 | LV_1089-9_1_2_line_18 | NAYY 4x150 SE | 13 | 27 | 0.0077336 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
19 | LV_1089-9_1_2_line_19 | NAYY 4x150 SE | 14 | 28 | 0.01375 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
20 | LV_1089-9_1_2_line_20 | NAYY 4x150 SE | 15 | 17 | 0.0081355 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
21 | LV_1089-9_1_2_line_21 | NAYY 4x150 SE | 16 | 18 | 0.065874 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
22 | LV_1089-9_1_2_line_22 | NAYY 4x150 SE | 18 | 20 | 0.0026662 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
23 | LV_1089-9_1_2_line_23 | NAYY 4x150 SE | 19 | 20 | 0.032293 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
24 | LV_1089-9_1_2_line_24 | NAYY 4x150 SE | 19 | 21 | 0.033251 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
25 | LV_1089-9_1_2_line_25 | NAYY 4x150 SE | 21 | 22 | 0.095064 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
26 | LV_1089-9_1_2_line_26 | NAYY 4x150 SE | 22 | 23 | 0.027392 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
27 | LV_1089-9_1_2_line_27 | NAYY 4x150 SE | 22 | 24 | 0.060142 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
28 | LV_1089-9_1_2_line_28 | NAYY 4x150 SE | 25 | 29 | 0.010315 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
29 | LV_1089-9_1_2_line_29 | NAYY 4x150 SE | 26 | 30 | 0.019031 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
30 | LV_1089-9_1_2_line_30 | NAYY 4x150 SE | 27 | 33 | 0.027176 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
31 | LV_1089-9_1_2_line_31 | NAYY 4x150 SE | 28 | 34 | 0.023562 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
32 | LV_1089-9_1_2_line_32 | NAYY 4x150 SE | 29 | 44 | 0.031309 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
33 | LV_1089-9_1_2_line_33 | NAYY 4x150 SE | 29 | 45 | 0.057533 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
34 | LV_1089-9_1_2_line_34 | NAYY 4x150 SE | 31 | 32 | 0.015633 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
35 | LV_1089-9_1_2_line_35 | NAYY 4x150 SE | 32 | 43 | 0.010209 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
36 | LV_1089-9_1_2_line_36 | NAYY 4x150 SE | 32 | 42 | 0.010042 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
37 | LV_1089-9_1_2_line_37 | NAYY 4x150 SE | 33 | 39 | 0.006855 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
38 | LV_1089-9_1_2_line_38 | NAYY 4x150 SE | 33 | 38 | 0.019341 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
39 | LV_1089-9_1_2_line_39 | NAYY 4x150 SE | 35 | 36 | 0.0058206 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
40 | LV_1089-9_1_2_line_40 | NAYY 4x150 SE | 35 | 37 | 0.018941 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
41 | LV_1089-9_1_2_line_41 | NAYY 4x150 SE | 36 | 38 | 0.026833 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
42 | LV_1089-9_1_2_line_42 | NAYY 4x150 SE | 39 | 40 | 0.012908 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
43 | LV_1089-9_1_2_line_43 | NAYY 4x150 SE | 39 | 41 | 0.027333 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
44 | LV_1089-9_1_2_line_44 | NAYY 4x150 SE | 40 | 42 | 0.037539 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
45 | LV_1089-9_1_2_line_45 | NAYY 4x150 SE | 44 | 46 | 0.0041459 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
46 | LV_1089-9_1_2_line_46 | NAYY 4x150 SE | 45 | 47 | 0.018229 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_1089-9_1_2_trafo_59 | 0.25 MVA 20/0.4 kV | 48 | 7 | 0.25 | 20 | 0.4 | 6 | 1.44 | 0.8 | 0.32 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6 | x7 | y7
0 | 2648076.8529 | 1227683.3942 | 2648085.0219 | 1227671.8566 | 2648099.0599 | 1227644.8378
1 | 2648047.2122 | 1227711.765 | 2648073.8996 | 1227687.5654 | 2648076.8529 | 1227683.3942
2 | 2648099.0599 | 1227644.8378 | 2648105.4714 | 1227632.4977
3 | 2648047.2122 | 1227711.765 | 2648041.4978 | 1227700.6009 | 2648029.7146 | 1227665.8397 | 2648029.7146 | 1227665.8397
4 | 2648106.8963 | 1227629.7553 | 2648105.4714 | 1227632.4977
5 | 2648029.7146 | 1227665.8397 | 2648019.2214 | 1227651.5017 | 2648019.0902 | 1227651.3403
6 | 2648117.7769 | 1227608.8134 | 2648106.8963 | 1227629.7553
7 | 2648011.0053 | 1227641.3959 | 2648019.0902 | 1227651.3403
8 | 2648117.7769 | 1227608.8134 | 2648117.96 | 1227608.4611 | 2648122.833 | 1227600.9069 | 2648128.9953 | 1227595.5664
9 | 2648011.0053 | 1227641.3959 | 2648017.229 | 1227633.5968 | 2648014.942 | 1227617.9156
10 | 2648011.0053 | 1227641.3959 | 2648005.4585 | 1227634.567
11 | 2648135.4768 | 1227593.5187 | 2648130.0905 | 1227594.6172 | 2648128.9953 | 1227595.5664
12 | 2648160.3322 | 1227591.0818 | 2648142.6223 | 1227592.0614 | 2648135.4768 | 1227593.5187
13 | 2648160.3322 | 1227591.0818 | 2648154.598 | 1227626.3796 | 2648148.9836 | 1227643.1335
14 | 2648160.3322 | 1227591.0818 | 2648167.4833 | 1227590.4392 | 2648174.6165 | 1227593.888 | 2648187.8661 | 1227606.5698 | 2648211.2056 | 1227629.9955 | 2648214.6197 | 1227632.3024
15 | 2648160.3322 | 1227591.0818 | 2648163.2334 | 1227572.5067
16 | 2648148.9836 | 1227643.1335 | 2648148.5022 | 1227644.5638 | 2648140.1812 | 1227662.4298 | 2648138.2122 | 1227668.829 | 2648137.9116 | 1227670.3725
17 | 2648148.9836 | 1227643.1335 | 2648171.9764 | 1227639.559
18 | 2648214.6197 | 1227632.3024 | 2648217.1091 | 1227632.7561 | 2648222.0658 | 1227631.1739
19 | 2648163.2334 | 1227572.5067 | 2648164.2084 | 1227566.2644 | 2648165.3557 | 1227558.9218
20 | 2648013.768 | 1227609.8652 | 2648014.942 | 1227617.9156
21 | 2648005.4585 | 1227634.567 | 2647993.1248 | 1227619.3825 | 2647987.6188 | 1227609.6098 | 2647977.198 | 1227576.0985
22 | 2647977.198 | 1227576.0985 | 2647976.4063 | 1227573.5526
23 | 2647945.5557 | 1227570.8811 | 2647968.3521 | 1227568.718 | 2647976.4063 | 1227573.5526 | 2647976.4063 | 1227573.5526
24 | 2647912.5872 | 1227575.173 | 2647940.0572 | 1227571.4029 | 2647945.5557 | 1227570.8811
25 | 2647912.5872 | 1227575.173 | 2647908.0536 | 1227548.1197 | 2647903.3528 | 1227480.6622
26 | 2647903.3528 | 1227480.6622 | 2647876.0431 | 1227482.7801
27 | 2647903.3528 | 1227480.6622 | 2647899.5201 | 1227424.8967 | 2647898.8724 | 1227420.7011
28 | 2648136.541 | 1227680.5783 | 2648136.9235 | 1227675.4449 | 2648137.9116 | 1227670.3725
29 | 2648171.9764 | 1227639.559 | 2648173.9992 | 1227639.2445 | 2648190.1261 | 1227633.918
30 | 2648247.0649 | 1227620.5357 | 2648223.529 | 1227630.7069 | 2648222.0658 | 1227631.1739
31 | 2648168.9932 | 1227535.6425 | 2648165.3557 | 1227558.9218
32 | 2648136.541 | 1227680.5783 | 2648133.3044 | 1227680.6856 | 2648130.9971 | 1227681.1339 | 2648127.9532 | 1227683.6553 | 2648125.3983 | 1227688.4821 | 2648123.3513 | 1227694.2358 | 2648121.6156 | 1227701.7709 | 2648121.0724 | 1227704.1774
33 | 2648136.541 | 1227680.5783 | 2648138.3685 | 1227701.962 | 2648142.2233 | 1227737.8266
34 | 2648242.3328 | 1227671.4401 | 2648227.3264 | 1227667.0602
35 | 2648242.3328 | 1227671.4401 | 2648239.8455 | 1227681.3412
36 | 2648242.3328 | 1227671.4401 | 2648247.8918 | 1227670.8848 | 2648251.1672 | 1227667.865
37 | 2648247.0649 | 1227620.5357 | 2648253.3766 | 1227617.8185
38 | 2648247.0649 | 1227620.5357 | 2648240.0373 | 1227602.5162
39 | 2648228.8536 | 1227571.8763 | 2648230.2877 | 1227577.5174
40 | 2648228.8536 | 1227571.8763 | 2648227.4016 | 1227566.1648 | 2648227.7156 | 1227553.1212
41 | 2648240.0373 | 1227602.5162 | 2648230.2877 | 1227577.5174 | 2648230.2877 | 1227577.5174
42 | 2648253.3766 | 1227617.8185 | 2648254.777 | 1227630.6503
43 | 2648253.3766 | 1227617.8185 | 2648261.3247 | 1227613.2801 | 2648267.1571 | 1227607.0568 | 2648271.6738 | 1227598.5272
44 | 2648254.777 | 1227630.6503 | 2648255.1048 | 1227633.6534 | 2648252.8489 | 1227661.3968 | 2648251.1672 | 1227667.865
45 | 2648120.1595 | 1227708.2215 | 2648121.0724 | 1227704.1774
46 | 2648142.2233 | 1227737.8266 | 2648148.2998 | 1227737.9313 | 2648150.7225 | 1227740.0745 | 2648153.3417 | 1227748.5977

## bus_geodata
| x | y | coords
0 | 2648076.8529 | 1227683.3942
1 | 2648099.0599 | 1227644.8378
2 | 2648047.2122 | 1227711.765
3 | 2648105.4714 | 1227632.4977
4 | 2648029.7146 | 1227665.8397
5 | 2648106.8963 | 1227629.7553
6 | 2648019.0902 | 1227651.3403
7 | 2648117.7769 | 1227608.8134
8 | 2648011.0053 | 1227641.3959
9 | 2648128.9953 | 1227595.5664
10 | 2648135.4768 | 1227593.5187
11 | 2648160.3322 | 1227591.0818
12 | 2648148.9836 | 1227643.1335
13 | 2648214.6197 | 1227632.3024
14 | 2648163.2334 | 1227572.5067
15 | 2648014.942 | 1227617.9156
16 | 2648005.4585 | 1227634.567
17 | 2648013.768 | 1227609.8652
18 | 2647977.198 | 1227576.0985
19 | 2647945.5557 | 1227570.8811
20 | 2647976.4063 | 1227573.5526
21 | 2647912.5872 | 1227575.173
22 | 2647903.3528 | 1227480.6622
23 | 2647876.0431 | 1227482.7801
24 | 2647898.8724 | 1227420.7011
25 | 2648137.9116 | 1227670.3725
26 | 2648171.9764 | 1227639.559
27 | 2648222.0658 | 1227631.1739
28 | 2648165.3557 | 1227558.9218
29 | 2648136.541 | 1227680.5783
30 | 2648190.1261 | 1227633.918
31 | 2648227.3264 | 1227667.0602
32 | 2648242.3328 | 1227671.4401
33 | 2648247.0649 | 1227620.5357
34 | 2648168.9932 | 1227535.6425
35 | 2648228.8536 | 1227571.8763
36 | 2648230.2877 | 1227577.5174
37 | 2648227.7156 | 1227553.1212
38 | 2648240.0373 | 1227602.5162
39 | 2648253.3766 | 1227617.8185
40 | 2648254.777 | 1227630.6503
41 | 2648271.6738 | 1227598.5272
42 | 2648251.1672 | 1227667.865
43 | 2648239.8455 | 1227681.3412
44 | 2648121.0724 | 1227704.1774
45 | 2648142.2233 | 1227737.8266
46 | 2648120.1595 | 1227708.2215
47 | 2648153.3417 | 1227748.5977
48 | 2648160.3322 | 1227591.0818

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## res_bus
| vm_pu | va_degree | p_mw | q_mvar
0 | 0.99617 | -0.026753 | 0.0045265 | 0.0011344
1 | 0.99803 | -0.01372 | 0.00092741 | 0.00023243
2 | 0.99472 | -0.036942 | 0 | 0
3 | 0.99863 | -0.0095354 | 0.0045416 | 0.0011382
4 | 0.99298 | -0.049175 | 0.0013949 | 0.0003496
5 | 0.99879 | -0.0084656 | 0.0013037 | 0.00032674
6 | 0.99238 | -0.053397 | 0.00081084 | 0.00020321
7 | 1 | 0 | -0.083445 | -0.020758
8 | 0.99197 | -0.056304 | 0 | 0
9 | 0.99884 | -0.0081332 | 0.003096 | 0.00077594
10 | 0.99841 | -0.011144 | 0.0019944 | 0.00049986
11 | 0.99693 | -0.021512 | 0 | 0
12 | 0.99575 | -0.029813 | 0.0011039 | 0.00027666
13 | 0.99515 | -0.034001 | 0 | 0
14 | 0.99671 | -0.023068 | 0.0049208 | 0.0012333
15 | 0.99174 | -0.057898 | 0.00075092 | 0.0001882
16 | 0.99176 | -0.057758 | 0.00051057 | 0.00012796
17 | 0.99168 | -0.058338 | 0.0053281 | 0.0013354
18 | 0.99027 | -0.06832 | 0.00033921 | 8.5013e-05
19 | 0.9899 | -0.070917 | 0.0050969 | 0.0012774
20 | 0.99021 | -0.068739 | 0.0088102 | 0.002208
21 | 0.98983 | -0.071433 | 0 | 0
22 | 0.98962 | -0.072903 | 0 | 0
23 | 0.98959 | -0.073125 | 0.00079457 | 0.00019914
24 | 0.98956 | -0.07334 | 0.00070977 | 0.00017788
25 | 0.99523 | -0.033434 | 0.0065648 | 0.0016453
26 | 0.99567 | -0.030316 | 0.001008 | 0.00025264
27 | 0.99495 | -0.035373 | 0.0011849 | 0.00029696
28 | 0.99664 | -0.023527 | 0.00096229 | 0.00024117
29 | 0.99515 | -0.03402 | 0 | 0
30 | 0.99564 | -0.030534 | 0.0011369 | 0.00028492
31 | 0.99368 | -0.044383 | 0.0027878 | 0.00069868
32 | 0.99374 | -0.043942 | 0 | 0
33 | 0.99432 | -0.039873 | 0 | 0
34 | 0.99656 | -0.024085 | 0.0023556 | 0.00059037
35 | 0.99386 | -0.043111 | 0.0016026 | 0.00040165
36 | 0.99389 | -0.042862 | 0.0013178 | 0.00033027
37 | 0.99378 | -0.043616 | 0.0026337 | 0.00066008
38 | 0.9941 | -0.041356 | 0.0020303 | 0.00050885
39 | 0.99423 | -0.040484 | 0 | 0
40 | 0.99411 | -0.041346 | 0.00096417 | 0.00024164
41 | 0.99414 | -0.041093 | 0.0022059 | 0.00055286
42 | 0.9938 | -0.043487 | 0.0011603 | 0.0002908
43 | 0.99371 | -0.044117 | 0.0016936 | 0.00042446
44 | 0.99503 | -0.034831 | 0.00067694 | 0.00016966
45 | 0.9949 | -0.035791 | 0 | 0
46 | 0.99502 | -0.03491 | 0.0018914 | 0.00047402
47 | 0.99482 | -0.036352 | 0.0030496 | 0.00076431
48 | 0.99998 | 149.9947 | 0 | 0

## res_line
| p_from_mw | q_from_mvar | p_to_mw | q_to_mvar | pl_mw | ql_mvar | i_from_ka | i_to_ka | i_ka | vm_from_pu | va_from_degree | vm_to_pu | va_to_degree | loading_percent
0 | -0.029203 | -0.0073303 | 0.029256 | 0.00735 | 5.2948e-05 | 1.9783e-05 | 0.043626 | 0.043625 | 0.043626 | 0.99617 | -0.026753 | 0.99803 | -0.01372 | 16.1576
1 | 0.024677 | 0.0061958 | -0.024642 | -0.0061829 | 3.4884e-05 | 1.2882e-05 | 0.036864 | 0.036864 | 0.036864 | 0.99617 | -0.026753 | 0.99472 | -0.036942 | 13.6535
2 | -0.030183 | -0.0075825 | 0.030201 | 0.0075891 | 1.7578e-05 | 6.579e-06 | 0.045008 | 0.045008 | 0.045008 | 0.99803 | -0.01372 | 0.99863 | -0.0095354 | 16.6697
3 | 0.024642 | 0.0061829 | -0.0246 | -0.0061675 | 4.1761e-05 | 1.5424e-05 | 0.036864 | 0.036865 | 0.036865 | 0.99472 | -0.036942 | 0.99298 | -0.049175 | 13.6536
4 | -0.034743 | -0.0087273 | 0.034748 | 0.0087292 | 5.1697e-06 | 1.9479e-06 | 0.051775 | 0.051775 | 0.051775 | 0.99863 | -0.0095354 | 0.99879 | -0.0084656 | 19.1761
5 | 0.023205 | 0.0058179 | -0.023191 | -0.0058129 | 1.3564e-05 | 4.9845e-06 | 0.034774 | 0.034774 | 0.034774 | 0.99298 | -0.049175 | 0.99238 | -0.053397 | 12.8794
6 | -0.036051 | -0.009056 | 0.036094 | 0.009072 | 4.2494e-05 | 1.6035e-05 | 0.053718 | 0.053718 | 0.053718 | 0.99879 | -0.0084656 | 1 | 0 | 19.8954
7 | 0.022381 | 0.0056097 | -0.022372 | -0.0056064 | 9.0065e-06 | 3.2985e-06 | 0.033559 | 0.033559 | 0.033559 | 0.99238 | -0.053397 | 0.99197 | -0.056304 | 12.4291
8 | 0.046551 | 0.011686 | -0.046498 | -0.011666 | 5.2529e-05 | 1.9973e-05 | 0.069275 | 0.069275 | 0.069275 | 1 | 0 | 0.99884 | -0.0081332 | 25.6575
9 | 0.0060807 | 0.0015238 | -0.0060794 | -0.0015236 | 1.3408e-06 | 1.8237e-07 | 0.0091214 | 0.0091215 | 0.0091215 | 0.99197 | -0.056304 | 0.99174 | -0.057898 | 3.3783
10 | 0.016291 | 0.0040827 | -0.016288 | -0.0040815 | 3.2784e-06 | 1.1474e-06 | 0.024437 | 0.024437 | 0.024437 | 0.99197 | -0.056304 | 0.99176 | -0.057758 | 9.0509
11 | 0.043402 | 0.01089 | -0.043384 | -0.010884 | 1.8124e-05 | 6.88e-06 | 0.064663 | 0.064663 | 0.064663 | 0.99884 | -0.0081332 | 0.99841 | -0.011144 | 23.9493
12 | 0.04139 | 0.010384 | -0.04133 | -0.010361 | 5.944e-05 | 2.2535e-05 | 0.06169 | 0.061691 | 0.061691 | 0.99841 | -0.011144 | 0.99693 | -0.021512 | 22.8484
13 | 0.015457 | 0.0038742 | -0.01544 | -0.0038681 | 1.7748e-05 | 6.1302e-06 | 0.023072 | 0.023072 | 0.023072 | 0.99693 | -0.021512 | 0.99575 | -0.029813 | 8.5452
14 | 0.017632 | 0.004422 | -0.017602 | -0.0044112 | 3.0477e-05 | 1.0804e-05 | 0.026319 | 0.026319 | 0.026319 | 0.99693 | -0.021512 | 0.99515 | -0.034001 | 9.7478
15 | 0.0082408 | 0.0020649 | -0.0082391 | -0.0020645 | 1.7749e-06 | 4.3757e-07 | 0.0123 | 0.0123 | 0.0123 | 0.99693 | -0.021512 | 0.99671 | -0.023068 | 4.5556
16 | 0.012191 | 0.0030543 | -0.012184 | -0.0030524 | 6.1059e-06 | 1.9651e-06 | 0.018217 | 0.018217 | 0.018217 | 0.99575 | -0.029813 | 0.99523 | -0.033434 | 6.7471
17 | 0.0021451 | 0.00053708 | -0.0021449 | -0.00053733 | 1.4919e-07 | -2.4528e-07 | 0.0032054 | 0.0032055 | 0.0032055 | 0.99575 | -0.029813 | 0.99567 | -0.030316 | 1.1872
18 | 0.017602 | 0.0044112 | -0.017598 | -0.00441 | 3.3428e-06 | 1.1852e-06 | 0.026319 | 0.026319 | 0.026319 | 0.99515 | -0.034001 | 0.99495 | -0.035373 | 9.7478
19 | 0.0033183 | 0.0008312 | -0.0033181 | -0.0008313 | 2.1055e-07 | -9.8205e-08 | 0.0049538 | 0.0049539 | 0.0049539 | 0.99671 | -0.023068 | 0.99664 | -0.023527 | 1.8348
20 | 0.0053285 | 0.0013354 | -0.0053281 | -0.0013354 | 3.2448e-07 | 1.983e-08 | 0.0079948 | 0.0079949 | 0.0079949 | 0.99174 | -0.057898 | 0.99168 | -0.058338 | 2.9611
21 | 0.015777 | 0.0039535 | -0.015754 | -0.0039455 | 2.3033e-05 | 8.01e-06 | 0.023671 | 0.023672 | 0.023672 | 0.99176 | -0.057758 | 0.99027 | -0.06832 | 8.7672
22 | 0.015415 | 0.0038605 | -0.015414 | -0.0038602 | 8.9254e-07 | 3.0899e-07 | 0.023162 | 0.023162 | 0.023162 | 0.99027 | -0.06832 | 0.99021 | -0.068739 | 8.5785
23 | -0.0066017 | -0.0016518 | 0.0066037 | 0.0016522 | 1.984e-06 | 3.478e-07 | 0.0099227 | 0.0099225 | 0.0099227 | 0.9899 | -0.070917 | 0.99021 | -0.068739 | 3.6751
24 | 0.0015048 | 0.00037443 | -0.0015047 | -0.00037482 | 1.0608e-07 | -3.8663e-07 | 0.0022611 | 0.0022612 | 0.0022612 | 0.9899 | -0.070917 | 0.98983 | -0.071433 | 0.83749
25 | 0.0015047 | 0.00037482 | -0.0015044 | -0.00037592 | 3.0337e-07 | -1.105e-06 | 0.0022612 | 0.0022617 | 0.0022617 | 0.98983 | -0.071433 | 0.98962 | -0.072903 | 0.83765
26 | 0.0007946 | 0.0001988 | -0.00079457 | -0.00019914 | 2.4396e-08 | -3.4255e-07 | 0.0011946 | 0.0011948 | 0.0011948 | 0.98962 | -0.072903 | 0.98959 | -0.073125 | 0.44251
27 | 0.00070981 | 0.00017713 | -0.00070976 | -0.00017788 | 4.2738e-08 | -7.5625e-07 | 0.001067 | 0.0010673 | 0.0010673 | 0.98962 | -0.072903 | 0.98956 | -0.07334 | 0.39529
28 | 0.0056197 | 0.0014071 | -0.0056192 | -0.001407 | 4.5438e-07 | 4.0728e-08 | 0.0084018 | 0.0084018 | 0.0084018 | 0.99523 | -0.033434 | 0.99515 | -0.03402 | 3.1118
29 | 0.0011369 | 0.00028469 | -0.0011369 | -0.00028492 | 3.428e-08 | -2.3432e-07 | 0.001699 | 0.0016991 | 0.0016991 | 0.99567 | -0.030316 | 0.99564 | -0.030534 | 0.62928
30 | 0.016413 | 0.004113 | -0.016403 | -0.0041095 | 1.0218e-05 | 3.5773e-06 | 0.024547 | 0.024547 | 0.024547 | 0.99495 | -0.035373 | 0.99432 | -0.039873 | 9.0916
31 | 0.0023558 | 0.00059013 | -0.0023556 | -0.00059037 | 1.8188e-07 | -2.3706e-07 | 0.0035172 | 0.0035173 | 0.0035173 | 0.99664 | -0.023527 | 0.99656 | -0.024085 | 1.3027
32 | 0.0025686 | 0.00064334 | -0.0025683 | -0.00064364 | 2.8819e-07 | -2.9589e-07 | 0.0038406 | 0.0038408 | 0.0038408 | 0.99515 | -0.03402 | 0.99503 | -0.034831 | 1.4225
33 | 0.0030506 | 0.0007637 | -0.0030499 | -0.00076416 | 7.4693e-07 | -4.6001e-07 | 0.0045612 | 0.0045614 | 0.0045614 | 0.99515 | -0.03402 | 0.9949 | -0.035791 | 1.6894
34 | -0.0027878 | -0.00069868 | 0.0027879 | 0.00069854 | 1.7e-07 | -1.3713e-07 | 0.0041746 | 0.0041746 | 0.0041746 | 0.99368 | -0.044383 | 0.99374 | -0.043942 | 1.5462
35 | 0.0016937 | 0.00042434 | -0.0016936 | -0.00042446 | 4.0971e-08 | -1.165e-07 | 0.002536 | 0.0025361 | 0.0025361 | 0.99374 | -0.043942 | 0.99371 | -0.044117 | 0.93929
36 | -0.0044816 | -0.0011229 | 0.0044819 | 0.0011229 | 2.8217e-07 | -2.1577e-08 | 0.0067106 | 0.0067105 | 0.0067106 | 0.99374 | -0.043942 | 0.9938 | -0.043487 | 2.4854
37 | 0.0088157 | 0.0022084 | -0.0088149 | -0.0022082 | 7.4447e-07 | 1.9743e-07 | 0.013192 | 0.013193 | 0.013193 | 0.99432 | -0.039873 | 0.99423 | -0.040484 | 4.8861
38 | 0.0075875 | 0.0019011 | -0.007586 | -0.0019008 | 1.5561e-06 | 3.4767e-07 | 0.011355 | 0.011355 | 0.011355 | 0.99432 | -0.039873 | 0.9941 | -0.041356 | 4.2055
39 | -0.0042365 | -0.0010616 | 0.0042367 | 0.0010615 | 1.4613e-07 | -1.9227e-08 | 0.0063429 | 0.0063429 | 0.0063429 | 0.99386 | -0.043111 | 0.99389 | -0.042862 | 2.3492
40 | 0.0026339 | 0.0006599 | -0.0026337 | -0.00066008 | 1.838e-07 | -1.7473e-07 | 0.0039435 | 0.0039436 | 0.0039436 | 0.99386 | -0.043111 | 0.99378 | -0.043616 | 1.4606
41 | -0.0055545 | -0.0013918 | 0.0055556 | 0.0013919 | 1.1579e-06 | 9.7516e-08 | 0.0083158 | 0.0083157 | 0.0083158 | 0.99389 | -0.042862 | 0.9941 | -0.041356 | 3.0799
42 | 0.0066088 | 0.0016556 | -0.006608 | -0.0016555 | 7.8798e-07 | 1.3569e-07 | 0.0098908 | 0.0098909 | 0.0098909 | 0.99423 | -0.040484 | 0.99411 | -0.041346 | 3.6633
43 | 0.0022061 | 0.00055257 | -0.0022059 | -0.00055286 | 1.8594e-07 | -2.8292e-07 | 0.0033017 | 0.0033018 | 0.0033018 | 0.99423 | -0.040484 | 0.99414 | -0.041093 | 1.2229
44 | 0.0056439 | 0.0014138 | -0.0056422 | -0.0014137 | 1.6717e-06 | 1.5641e-07 | 0.0084477 | 0.0084479 | 0.0084479 | 0.99411 | -0.041346 | 0.9938 | -0.043487 | 3.1288
45 | 0.0018914 | 0.00047398 | -0.0018914 | -0.00047402 | 2.0697e-08 | -4.5892e-08 | 0.0028285 | 0.0028285 | 0.0028285 | 0.99503 | -0.034831 | 0.99502 | -0.03491 | 1.0476
46 | 0.0030499 | 0.00076416 | -0.0030496 | -0.00076431 | 2.3667e-07 | -1.4566e-07 | 0.0045614 | 0.0045615 | 0.0045615 | 0.9949 | -0.035791 | 0.99482 | -0.036352 | 1.6895

## res_trafo
| p_hv_mw | q_hv_mvar | p_lv_mw | q_lv_mvar | pl_mw | ql_mvar | i_hv_ka | i_lv_ka | vm_hv_pu | va_hv_degree | vm_lv_pu | va_lv_degree | loading_percent
0 | -4.4415e-16 | -7.6913e-16 | 0.00079998 | 7.4552e-08 | 0.00079998 | 7.4552e-08 | 2.564e-17 | 0.0011547 | 0.99998 | 149.9947 | 1 | 0 | 0.31999

## res_ext_grid
| p_mw | q_mvar
0 | 0.084744 | 0.021084

## res_load
| p_mw | q_mvar
0 | 0.0045265 | 0.0011344
1 | 0.00092741 | 0.00023243
2 | 0.0045416 | 0.0011382
3 | 0.0013949 | 0.0003496
4 | 0.0013037 | 0.00032674
5 | 0.00081084 | 0.00020321
6 | 0.0012995 | 0.00032569
7 | 0.003096 | 0.00077594
8 | 0.0019944 | 0.00049986
9 | 0.0011039 | 0.00027666
10 | 0.0049208 | 0.0012333
11 | 0.00075092 | 0.0001882
12 | 0.00051057 | 0.00012796
13 | 0.0053281 | 0.0013354
14 | 0.00033921 | 8.5013e-05
15 | 0.0050969 | 0.0012774
16 | 0.0088102 | 0.002208
17 | 0.00079457 | 0.00019914
18 | 0.00070977 | 0.00017788
19 | 0.0065648 | 0.0016453
20 | 0.001008 | 0.00025264
21 | 0.0011849 | 0.00029696
22 | 0.00096229 | 0.00024117
23 | 0.0011369 | 0.00028492
24 | 0.0027878 | 0.00069868
25 | 0.0023556 | 0.00059037
26 | 0.0016026 | 0.00040165
27 | 0.0013178 | 0.00033027
28 | 0.0026337 | 0.00066008
29 | 0.0020303 | 0.00050885
30 | 0.00096417 | 0.00024164
31 | 0.0022059 | 0.00055286
32 | 0.0011603 | 0.0002908
33 | 0.0016936 | 0.00042446
34 | 0.00067694 | 0.00016966
35 | 0.0018914 | 0.00047402
36 | 0.0030496 | 0.00076431

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object
62 | res_bus | vm_pu | float64
63 | res_bus | va_degree | float64
64 | res_bus | p_mw | float64
65 | res_bus | q_mvar | float64
66 | res_line | p_from_mw | float64
67 | res_line | q_from_mvar | float64
68 | res_line | p_to_mw | float64
69 | res_line | q_to_mvar | float64
70 | res_line | pl_mw | float64
71 | res_line | ql_mvar | float64
72 | res_line | i_from_ka | float64
73 | res_line | i_to_ka | float64
74 | res_line | i_ka | float64
75 | res_line | vm_from_pu | float64
76 | res_line | va_from_degree | float64
77 | res_line | vm_to_pu | float64
78 | res_line | va_to_degree | float64
79 | res_line | loading_percent | float64
80 | res_trafo | p_hv_mw | float64
81 | res_trafo | q_hv_mvar | float64
82 | res_trafo | p_lv_mw | float64
83 | res_trafo | q_lv_mvar | float64
84 | res_trafo | pl_mw | float64
85 | res_trafo | ql_mvar | float64
86 | res_trafo | i_hv_ka | float64
87 | res_trafo | i_lv_ka | float64
88 | res_trafo | vm_hv_pu | float64
89 | res_trafo | va_hv_degree | float64
90 | res_trafo | vm_lv_pu | float64
91 | res_trafo | va_lv_degree | float64
92 | res_trafo | loading_percent | float64
93 | res_ext_grid | p_mw | float64
94 | res_ext_grid | q_mvar | float64
95 | res_load | p_mw | float64
96 | res_load | q_mvar | float64

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | TRUE | FALSE |  | 50 | 1