## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_1091-1_1_2_node_6 | 0.4 | n |  | TRUE
1 | bus_LV_1091-1_1_2_node_76 | 0.4 | n |  | TRUE
2 | bus_LV_1091-1_1_2_node_77 | 0.4 | n |  | TRUE
3 | bus_LV_1091-1_1_2_node_7 | 0.4 | n |  | TRUE
4 | bus_LV_1091-1_1_2_node_74 | 0.4 | n |  | TRUE
5 | bus_LV_1091-1_1_2_node_101 | 0.4 | n |  | TRUE
6 | bus_LV_1091-1_1_2_node_8 | 0.4 | n |  | TRUE
7 | bus_LV_1091-1_1_2_node_34 | 0.4 | n |  | TRUE
8 | bus_LV_1091-1_1_2_node_102 | 0.4 | n |  | TRUE
9 | bus_LV_1091-1_1_2_node_9 | 0.4 | n |  | TRUE
10 | bus_LV_1091-1_1_2_node_78 | 0.4 | n |  | TRUE
11 | bus_LV_1091-1_1_2_node_75 | 0.4 | n |  | TRUE
12 | bus_LV_1091-1_1_2_node_92 | 0.4 | n |  | TRUE
13 | bus_LV_1091-1_1_2_node_24 | 0.4 | n |  | TRUE
14 | bus_LV_1091-1_1_2_node_25 | 0.4 | n |  | TRUE
15 | bus_LV_1091-1_1_2_node_26 | 0.4 | n |  | TRUE
16 | bus_LV_1091-1_1_2_node_27 | 0.4 | n |  | TRUE
17 | bus_LV_1091-1_1_2_node_28 | 0.4 | n |  | TRUE
18 | bus_LV_1091-1_1_2_node_29 | 0.4 | n |  | TRUE
19 | bus_LV_1091-1_1_2_node_33 | 0.4 | n |  | TRUE
20 | bus_LV_1091-1_1_2_node_30 | 0.4 | n |  | TRUE
21 | bus_LV_1091-1_1_2_node_31 | 0.4 | n |  | TRUE
22 | bus_LV_1091-1_1_2_node_32 | 0.4 | n |  | TRUE
23 | bus_LV_1091-1_1_2_node_85 | 0.4 | n |  | TRUE
24 | bus_LV_1091-1_1_2_node_94 | 0.4 | n |  | TRUE
25 | bus_LV_1091-1_1_2_node_79 | 0.4 | n |  | TRUE
26 | bus_LV_1091-1_1_2_node_95 | 0.4 | n |  | TRUE
27 | bus_LV_1091-1_1_2_node_104 | 0.4 | n |  | TRUE
28 | bus_LV_1091-1_1_2_node_80 | 0.4 | n |  | TRUE
29 | bus_LV_1091-1_1_2_node_81 | 0.4 | n |  | TRUE
30 | bus_LV_1091-1_1_2_node_82 | 0.4 | n |  | TRUE
31 | bus_LV_1091-1_1_2_node_83 | 0.4 | n |  | TRUE
32 | bus_LV_1091-1_1_2_node_84 | 0.4 | n |  | TRUE
33 | bus_LV_1091-1_1_2_node_91 | 0.4 | n |  | TRUE
34 | bus_LV_1091-1_1_2_node_88 | 0.4 | n |  | TRUE
35 | bus_LV_1091-1_1_2_node_86 | 0.4 | n |  | TRUE
36 | bus_LV_1091-1_1_2_node_87 | 0.4 | n |  | TRUE
37 | bus_LV_1091-1_1_2_node_96 | 0.4 | n |  | TRUE
38 | bus_LV_1091-1_1_2_node_89 | 0.4 | n |  | TRUE
39 | bus_LV_1091-1_1_2_node_90 | 0.4 | n |  | TRUE
40 | bus_LV_1091-1_1_2_node_97 | 0.4 | n |  | TRUE
41 | bus_LV_1091-1_1_2_node_93 | 0.4 | n |  | TRUE
42 | bus_LV_1091-1_1_2_node_106 | 0.4 | n |  | TRUE
43 | bus_LV_1091-1_1_2_node_99 | 0.4 | n |  | TRUE
44 | bus_LV_1091-1_1_2_node_100 | 0.4 | n |  | TRUE
45 | bus_LV_1091-1_1_2_node_103 | 0.4 | n |  | TRUE
46 | bus_LV_1091-1_1_2_node_105 | 0.4 | n |  | TRUE
47 | bus_MV_0_node_78 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_1091-1_1_2_load_76 | 1 | 0.00071679 | 0.00017964 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_1091-1_1_2_load_77 | 2 | 0.0018105 | 0.00045374 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_1091-1_1_2_load_74 | 4 | 0.00068133 | 0.00017076 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_1091-1_1_2_load_101 | 5 | 0.0023145 | 0.00058007 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_1091-1_1_2_load_102 | 8 | 0.00074636 | 0.00018705 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_1091-1_1_2_load_75 | 11 | 0.00069035 | 0.00017302 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_1091-1_1_2_load_92 | 12 | 0.0050656 | 0.0012696 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_1091-1_1_2_load_24 | 13 | 0.0011079 | 0.00027766 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_1091-1_1_2_load_25 | 14 | 0.00075452 | 0.0001891 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_1091-1_1_2_load_27 | 16 | 0.00079633 | 0.00019958 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_1091-1_1_2_load_29 | 18 | 0.0050818 | 0.0012736 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_1091-1_1_2_load_33 | 19 | 0.0011127 | 0.00027887 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_1091-1_1_2_load_30 | 20 | 0.00070592 | 0.00017692 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_1091-1_1_2_load_31 | 21 | 0.0018315 | 0.00045903 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_1091-1_1_2_load_32 | 22 | 0.003416 | 0.00085613 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_1091-1_1_2_load_94 | 24 | 0.00016261 | 4.0753e-05 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_1091-1_1_2_load_104 | 27 | 0.00040077 | 0.00010044 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_1091-1_1_2_load_80 | 28 | 0.00039468 | 9.8917e-05 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_1091-1_1_2_load_82 | 30 | 0.0014869 | 0.00037266 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_1091-1_1_2_load_91 | 33 | 0.00037714 | 9.4521e-05 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_1091-1_1_2_load_88 | 34 | 0.0014233 | 0.0003567 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_1091-1_1_2_load_86 | 35 | 0.0014876 | 0.00037282 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_1091-1_1_2_load_87 | 36 | 0.00056197 | 0.00014084 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_1091-1_1_2_load_96 | 37 | 0.0019168 | 0.00048039 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_1091-1_1_2_load_97 | 40 | 0.00057531 | 0.00014419 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_1091-1_1_2_load_93 | 41 | 0.0028257 | 0.00070819 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_1091-1_1_2_load_106 | 42 | 0.00023087 | 5.786e-05 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_1091-1_1_2_load_99 | 43 | 0.0010908 | 0.00027337 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_1091-1_1_2_load_100 | 44 | 0.00051329 | 0.00012864 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_1091-1_1_2_load_105 | 46 | 0.00014328 | 3.591e-05 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 10 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_1091-1_1_2_line_0 | NAYY 4x150 SE | 0 | 1 | 0.018118 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
1 | LV_1091-1_1_2_line_1 | NAYY 4x150 SE | 0 | 2 | 0.027145 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
2 | LV_1091-1_1_2_line_2 | NAYY 4x150 SE | 0 | 3 | 0.025086 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
3 | LV_1091-1_1_2_line_3 | NAYY 4x150 SE | 0 | 4 | 0.034173 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
4 | LV_1091-1_1_2_line_4 | NAYY 4x150 SE | 1 | 23 | 0.016583 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
5 | LV_1091-1_1_2_line_5 | NAYY 4x150 SE | 3 | 5 | 0.032588 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
6 | LV_1091-1_1_2_line_6 | NAYY 4x150 SE | 4 | 11 | 0.020933 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
7 | LV_1091-1_1_2_line_7 | NAYY 4x150 SE | 5 | 44 | 0.006281 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
8 | LV_1091-1_1_2_line_8 | NAYY 4x150 SE | 6 | 7 | 0.080999 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
9 | LV_1091-1_1_2_line_9 | NAYY 4x150 SE | 6 | 8 | 0.11573 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
10 | LV_1091-1_1_2_line_10 | NAYY 4x150 SE | 7 | 19 | 0.044135 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
11 | LV_1091-1_1_2_line_11 | NAYY 4x150 SE | 8 | 45 | 0.02132 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
12 | LV_1091-1_1_2_line_12 | NAYY 4x150 SE | 9 | 10 | 0.28868 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
13 | LV_1091-1_1_2_line_13 | NAYY 4x150 SE | 9 | 11 | 0.040349 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
14 | LV_1091-1_1_2_line_14 | NAYY 4x150 SE | 9 | 12 | 0.024082 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
15 | LV_1091-1_1_2_line_15 | NAYY 4x150 SE | 10 | 24 | 0.013591 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
16 | LV_1091-1_1_2_line_16 | NAYY 4x150 SE | 12 | 41 | 0.0063623 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
17 | LV_1091-1_1_2_line_17 | NAYY 4x150 SE | 13 | 14 | 0.014852 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
18 | LV_1091-1_1_2_line_18 | NAYY 4x150 SE | 13 | 15 | 0.023923 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
19 | LV_1091-1_1_2_line_19 | NAYY 4x150 SE | 14 | 16 | 0.007715 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
20 | LV_1091-1_1_2_line_20 | NAYY 4x150 SE | 15 | 17 | 0.026099 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
21 | LV_1091-1_1_2_line_21 | NAYY 4x150 SE | 15 | 18 | 0.046429 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
22 | LV_1091-1_1_2_line_22 | NAYY 4x150 SE | 16 | 19 | 0.03276 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
23 | LV_1091-1_1_2_line_23 | NAYY 4x150 SE | 17 | 20 | 0.040999 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
24 | LV_1091-1_1_2_line_24 | NAYY 4x150 SE | 20 | 21 | 0.022822 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
25 | LV_1091-1_1_2_line_25 | NAYY 4x150 SE | 21 | 22 | 0.00042098 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
26 | LV_1091-1_1_2_line_26 | NAYY 4x150 SE | 23 | 35 | 0.051572 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
27 | LV_1091-1_1_2_line_27 | NAYY 4x150 SE | 23 | 36 | 0.010163 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
28 | LV_1091-1_1_2_line_28 | NAYY 4x150 SE | 24 | 32 | 0.0191 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
29 | LV_1091-1_1_2_line_29 | NAYY 4x150 SE | 25 | 26 | 0.004562 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
30 | LV_1091-1_1_2_line_30 | NAYY 4x150 SE | 25 | 27 | 0.024625 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
31 | LV_1091-1_1_2_line_31 | NAYY 4x150 SE | 26 | 42 | 0.15035 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
32 | LV_1091-1_1_2_line_32 | NAYY 4x150 SE | 26 | 32 | 0.005682 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
33 | LV_1091-1_1_2_line_33 | NAYY 4x150 SE | 27 | 45 | 0.030279 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
34 | LV_1091-1_1_2_line_34 | NAYY 4x150 SE | 28 | 29 | 0.04758 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
35 | LV_1091-1_1_2_line_35 | NAYY 4x150 SE | 28 | 30 | 0.042134 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
36 | LV_1091-1_1_2_line_36 | NAYY 4x150 SE | 29 | 31 | 0.048113 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
37 | LV_1091-1_1_2_line_37 | NAYY 4x150 SE | 29 | 32 | 0.057473 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
38 | LV_1091-1_1_2_line_38 | NAYY 4x150 SE | 31 | 33 | 0.014576 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
39 | LV_1091-1_1_2_line_39 | NAYY 4x150 SE | 31 | 34 | 0.027387 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
40 | LV_1091-1_1_2_line_40 | NAYY 4x150 SE | 34 | 38 | 0.0033196 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
41 | LV_1091-1_1_2_line_41 | NAYY 4x150 SE | 35 | 37 | 0.01271 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
42 | LV_1091-1_1_2_line_42 | NAYY 4x150 SE | 38 | 39 | 0.026461 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
43 | LV_1091-1_1_2_line_43 | NAYY 4x150 SE | 39 | 40 | 0.032509 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
44 | LV_1091-1_1_2_line_44 | NAYY 4x150 SE | 42 | 46 | 0.011112 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
45 | LV_1091-1_1_2_line_45 | NAYY 4x150 SE | 43 | 44 | 0.025347 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_1091-1_1_2_trafo_78 | 0.25 MVA 20/0.4 kV | 47 | 10 | 0.25 | 20 | 0.4 | 6 | 1.44 | 0.8 | 0.32 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6 | x7 | y7 | x8 | y8 | x9 | y9 | x10 | y10 | x11 | y11
0 | 2648587.77 | 1224074.1138 | 2648587.6158 | 1224072.5671 | 2648585.9619 | 1224056.0867
1 | 2648587.77 | 1224074.1138 | 2648614.2942 | 1224074.9196 | 2648614.9009 | 1224074.9663
2 | 2648587.77 | 1224074.1138 | 2648587.9049 | 1224078.9512 | 2648608.1176 | 1224080.1168
3 | 2648587.77 | 1224074.1138 | 2648577.0528 | 1224073.5816 | 2648561.7111 | 1224073.9012 | 2648553.6294 | 1224074.4039
4 | 2648584.3061 | 1224039.5866 | 2648585.9619 | 1224056.0867
5 | 2648608.1176 | 1224080.1168 | 2648610.5043 | 1224112.6173
6 | 2648553.6294 | 1224074.4039 | 2648536.904 | 1224075.4444 | 2648532.7493 | 1224075.863
7 | 2648610.5043 | 1224112.6173 | 2648610.9643 | 1224118.8815
8 | 2648158.8929 | 1224304.9173 | 2648159.5455 | 1224314.2172 | 2648161.1578 | 1224329.5508 | 2648165.5525 | 1224381.4515 | 2648165.6477 | 1224385.6104
9 | 2648158.8929 | 1224304.9173 | 2648138.9152 | 1224194.1323 | 2648138.3548 | 1224191.0205
10 | 2648165.6477 | 1224385.6104 | 2648185.3464 | 1224399.5783 | 2648194.5695 | 1224405.7122 | 2648201.156 | 1224405.9879 | 2648203.4656 | 1224406.1795
11 | 2648134.5758 | 1224170.0379 | 2648138.3548 | 1224191.0205
12 | 2648210.0369 | 1224141.653 | 2648221.0891 | 1224137.3175 | 2648235.8506 | 1224133.7349 | 2648248.9677 | 1224131.8955 | 2648262.5822 | 1224131.3721 | 2648312.458 | 1224121.1813 | 2648332.1037 | 1224116.5267 | 2648358.8143 | 1224111.1735 | 2648492.9683 | 1224082.3686
13 | 2648492.9683 | 1224082.3686 | 2648519.0404 | 1224077.2444 | 2648532.7493 | 1224075.863
14 | 2648492.9683 | 1224082.3686 | 2648488.891 | 1224058.6346
15 | 2648210.0369 | 1224141.653 | 2648209.2663 | 1224140.3793 | 2648206.7294 | 1224136.234 | 2648204.8269 | 1224134.2841 | 2648202.8367 | 1224133.7899 | 2648200.3925 | 1224134.1259
16 | 2648488.891 | 1224058.6346 | 2648487.8138 | 1224052.3641
17 | 2648218.7539 | 1224449.3578 | 2648221.9854 | 1224445.0805 | 2648225.3101 | 1224436.1909 | 2648225.3101 | 1224436.1909
18 | 2648200.7982 | 1224464.2208 | 2648209.4574 | 1224460.3885 | 2648213.7619 | 1224455.9651 | 2648218.7539 | 1224449.3578
19 | 2648224.9707 | 1224428.4834 | 2648225.3101 | 1224436.1909
20 | 2648175.0254 | 1224468.2148 | 2648194.5654 | 1224466.1494 | 2648200.7982 | 1224464.2208
21 | 2648187.2236 | 1224443.9874 | 2648193.4537 | 1224444.2602 | 2648201.6521 | 1224444.9159 | 2648206.7326 | 1224445.7686 | 2648210.5735 | 1224448.0344 | 2648210.1454 | 1224451.2774 | 2648207.6812 | 1224454.0925 | 2648205.6368 | 1224454.6875 | 2648202.3714 | 1224456.2731 | 2648199.7199 | 1224457.8749 | 2648199.4939 | 1224460.508 | 2648200.7982 | 1224464.2208
22 | 2648203.4656 | 1224406.1795 | 2648206.3537 | 1224406.4191 | 2648213.0414 | 1224410.12 | 2648221.3811 | 1224419.5377 | 2648224.9707 | 1224428.4834 | 2648224.9707 | 1224428.4834
23 | 2648175.0254 | 1224468.2148 | 2648166.6759 | 1224469.3702 | 2648155.0998 | 1224468.2648 | 2648148.6267 | 1224463.3428 | 2648144.2078 | 1224456.614 | 2648142.8732 | 1224452.0454
24 | 2648140.946 | 1224429.477 | 2648140.7001 | 1224437.5295 | 2648141.242 | 1224446.4616 | 2648142.8732 | 1224452.0454
25 | 2648140.946 | 1224429.477 | 2648140.9588 | 1224429.0562
26 | 2648584.3061 | 1224039.5866 | 2648532.8128 | 1224042.4401
27 | 2648584.3061 | 1224039.5866 | 2648594.458 | 1224039.1123
28 | 2648184.2525 | 1224144.0903 | 2648187.2094 | 1224143.1803 | 2648191.3026 | 1224140.5229 | 2648196.5439 | 1224136.5406 | 2648200.3925 | 1224134.1259
29 | 2648185.8994 | 1224149.5292 | 2648187.0617 | 1224153.9413
30 | 2648187.0617 | 1224153.9413 | 2648167.7425 | 1224159.4996 | 2648163.4331 | 1224160.8689
31 | 2648185.8994 | 1224149.5292 | 2648166.2092 | 1224155.0289 | 2648149.7957 | 1224160.3884 | 2648125.05 | 1224168.4711 | 2648092.4529 | 1224180.7821 | 2648044.104 | 1224199.281
32 | 2648185.8994 | 1224149.5292 | 2648184.2525 | 1224144.0903
33 | 2648134.5758 | 1224170.0379 | 2648163.4331 | 1224160.8689
34 | 2648130.0855 | 1224154.292 | 2648106.6165 | 1224160.1505 | 2648108.2956 | 1224166.3011 | 2648091.9392 | 1224170.9887
35 | 2648064.1635 | 1224160.13 | 2648068.8295 | 1224177.6117 | 2648091.9392 | 1224170.9887
36 | 2648130.0855 | 1224154.292 | 2648130.0546 | 1224151.5567 | 2648137.0045 | 1224115.3573 | 2648136.7835 | 1224112.6761 | 2648135.0745 | 1224110.2386 | 2648132.5374 | 1224108.9284
37 | 2648130.0855 | 1224154.292 | 2648131.7816 | 1224156.4626 | 2648135.3487 | 1224157.9145 | 2648140.6191 | 1224157.8237 | 2648184.2525 | 1224144.0903
38 | 2648146.6412 | 1224105.0956 | 2648132.5374 | 1224108.9284
39 | 2648132.5374 | 1224108.9284 | 2648106.1117 | 1224116.1221
40 | 2648102.9087 | 1224116.994 | 2648106.1117 | 1224116.1221
41 | 2648520.1221 | 1224043.1434 | 2648532.8128 | 1224042.4401
42 | 2648102.9087 | 1224116.994 | 2648122.697 | 1224099.3653
43 | 2648122.697 | 1224099.3653 | 2648138.7518 | 1224086.8095 | 2648148.5389 | 1224079.648
44 | 2648033.7363 | 1224203.2798 | 2648036.6193 | 1224202.1447 | 2648044.104 | 1224199.281
45 | 2648613.0551 | 1224144.1306 | 2648612.6622 | 1224142.003 | 2648610.9643 | 1224118.8815

## bus_geodata
| x | y | coords
0 | 2648587.77 | 1224074.1138
1 | 2648585.9619 | 1224056.0867
2 | 2648614.9009 | 1224074.9663
3 | 2648608.1176 | 1224080.1168
4 | 2648553.6294 | 1224074.4039
5 | 2648610.5043 | 1224112.6173
6 | 2648158.8929 | 1224304.9173
7 | 2648165.6477 | 1224385.6104
8 | 2648138.3548 | 1224191.0205
9 | 2648492.9683 | 1224082.3686
10 | 2648210.0369 | 1224141.653
11 | 2648532.7493 | 1224075.863
12 | 2648488.891 | 1224058.6346
13 | 2648218.7539 | 1224449.3578
14 | 2648225.3101 | 1224436.1909
15 | 2648200.7982 | 1224464.2208
16 | 2648224.9707 | 1224428.4834
17 | 2648175.0254 | 1224468.2148
18 | 2648187.2236 | 1224443.9874
19 | 2648203.4656 | 1224406.1795
20 | 2648142.8732 | 1224452.0454
21 | 2648140.946 | 1224429.477
22 | 2648140.9588 | 1224429.0562
23 | 2648584.3061 | 1224039.5866
24 | 2648200.3925 | 1224134.1259
25 | 2648187.0617 | 1224153.9413
26 | 2648185.8994 | 1224149.5292
27 | 2648163.4331 | 1224160.8689
28 | 2648091.9392 | 1224170.9887
29 | 2648130.0855 | 1224154.292
30 | 2648064.1635 | 1224160.13
31 | 2648132.5374 | 1224108.9284
32 | 2648184.2525 | 1224144.0903
33 | 2648146.6412 | 1224105.0956
34 | 2648106.1117 | 1224116.1221
35 | 2648532.8128 | 1224042.4401
36 | 2648594.458 | 1224039.1123
37 | 2648520.1221 | 1224043.1434
38 | 2648102.9087 | 1224116.994
39 | 2648122.697 | 1224099.3653
40 | 2648148.5389 | 1224079.648
41 | 2648487.8138 | 1224052.3641
42 | 2648044.104 | 1224199.281
43 | 2648613.0551 | 1224144.1306
44 | 2648610.9643 | 1224118.8815
45 | 2648134.5758 | 1224170.0379
46 | 2648033.7363 | 1224203.2798
47 | 2648210.0369 | 1224141.653

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## res_bus
| vm_pu | va_degree | p_mw | q_mvar
0 | 0.9903 | -0.068123 | 0 | 0
1 | 0.99018 | -0.068988 | 0.00071679 | 0.00017964
2 | 0.99023 | -0.068624 | 0.0018105 | 0.00045374
3 | 0.99016 | -0.069125 | 0 | 0
4 | 0.99081 | -0.064496 | 0.00068133 | 0.00017076
5 | 0.98997 | -0.070427 | 0.0023145 | 0.00058007
6 | 0.99461 | -0.037746 | 0 | 0
7 | 0.99288 | -0.049891 | 0 | 0
8 | 0.99707 | -0.020456 | 0.00074636 | 0.00018705
9 | 0.99183 | -0.057291 | 0 | 0
10 | 1 | 0 | -0.041553 | -0.010236
11 | 0.99114 | -0.06213 | 0.00069035 | 0.00017302
12 | 0.99156 | -0.05922 | 0.0050656 | 0.0012696
13 | 0.99089 | -0.06393 | 0.0011079 | 0.00027766
14 | 0.99115 | -0.062095 | 0.00075452 | 0.0001891
15 | 0.99051 | -0.066618 | 0 | 0
16 | 0.99129 | -0.061083 | 0.00079633 | 0.00019958
17 | 0.99029 | -0.068201 | 0 | 0
18 | 0.99017 | -0.06902 | 0.0050818 | 0.0012736
19 | 0.99194 | -0.056523 | 0.0011127 | 0.00027887
20 | 0.98994 | -0.070688 | 0.00070592 | 0.00017692
21 | 0.98976 | -0.071908 | 0.0018315 | 0.00045903
22 | 0.98976 | -0.071923 | 0.003416 | 0.00085613
23 | 0.99008 | -0.069659 | 0 | 0
24 | 0.9996 | -0.002829 | 0.00016261 | 4.0753e-05
25 | 0.99879 | -0.0084393 | 0 | 0
26 | 0.9989 | -0.0077089 | 0 | 0
27 | 0.99823 | -0.012384 | 0.00040077 | 0.00010044
28 | 0.99855 | -0.010139 | 0.00039468 | 9.8917e-05
29 | 0.99868 | -0.00924 | 0 | 0
30 | 0.99846 | -0.010767 | 0.0014869 | 0.00037266
31 | 0.99852 | -0.01039 | 0 | 0
32 | 0.99903 | -0.0067772 | 0 | 0
33 | 0.99851 | -0.010445 | 0.00037714 | 9.4521e-05
34 | 0.99844 | -0.01094 | 0.0014233 | 0.0003567
35 | 0.98983 | -0.071449 | 0.0014876 | 0.00037282
36 | 0.99007 | -0.069718 | 0.00056197 | 0.00014084
37 | 0.98979 | -0.071698 | 0.0019168 | 0.00048039
38 | 0.99844 | -0.010959 | 0 | 0
39 | 0.99842 | -0.011113 | 0 | 0
40 | 0.99839 | -0.011301 | 0.00057531 | 0.00014419
41 | 0.99153 | -0.059403 | 0.0028257 | 0.00070819
42 | 0.99882 | -0.0082843 | 0.00023087 | 5.786e-05
43 | 0.98992 | -0.070812 | 0.0010908 | 0.00027337
44 | 0.98996 | -0.07053 | 0.00051329 | 0.00012864
45 | 0.99755 | -0.017119 | 0 | 0
46 | 0.99881 | -0.0083003 | 0.00014328 | 3.591e-05
47 | 0.99998 | 149.9947 | 0 | 0

## res_line
| p_from_mw | q_from_mvar | p_to_mw | q_to_mvar | pl_mw | ql_mvar | i_from_ka | i_to_ka | i_ka | vm_from_pu | va_from_degree | vm_to_pu | va_to_degree | loading_percent
0 | 0.004685 | 0.001173 | -0.0046844 | -0.001173 | 5.6019e-07 | -1.7612e-08 | 0.0070392 | 0.0070393 | 0.0070393 | 0.9903 | -0.068123 | 0.99018 | -0.068988 | 2.6071
1 | 0.0018106 | 0.00045344 | -0.0018105 | -0.00045374 | 1.2537e-07 | -3.01e-07 | 0.0027205 | 0.0027206 | 0.0027206 | 0.9903 | -0.068123 | 0.99023 | -0.068624 | 1.0076
2 | 0.0039199 | 0.00098143 | -0.0039193 | -0.00098155 | 5.4299e-07 | -1.1386e-07 | 0.0058896 | 0.0058897 | 0.0058897 | 0.9903 | -0.068123 | 0.99016 | -0.069125 | 2.1814
3 | -0.010415 | -0.0026079 | 0.010421 | 0.0026094 | 5.2221e-06 | 1.5686e-06 | 0.015649 | 0.015649 | 0.015649 | 0.9903 | -0.068123 | 0.99081 | -0.064496 | 5.796
4 | 0.0039676 | 0.00099338 | -0.0039673 | -0.00099345 | 3.6784e-07 | -7.1808e-08 | 0.0059621 | 0.0059622 | 0.0059622 | 0.99018 | -0.068988 | 0.99008 | -0.069659 | 2.2082
5 | 0.0039193 | 0.00098155 | -0.0039186 | -0.00098169 | 7.0541e-07 | -1.4777e-07 | 0.0058897 | 0.0058899 | 0.0058899 | 0.99016 | -0.069125 | 0.98997 | -0.070427 | 2.1814
6 | -0.011102 | -0.0027802 | 0.011106 | 0.0027813 | 3.6309e-06 | 1.1268e-06 | 0.016672 | 0.016672 | 0.016672 | 0.99081 | -0.064496 | 0.99114 | -0.06213 | 6.1749
7 | 0.0016041 | 0.00040163 | -0.0016041 | -0.0004017 | 2.2783e-08 | -7.1995e-08 | 0.002411 | 0.002411 | 0.002411 | 0.98997 | -0.070427 | 0.98996 | -0.07053 | 0.89297
8 | 0.014869 | 0.0037304 | -0.014844 | -0.0037219 | 2.5015e-05 | 8.5717e-06 | 0.022247 | 0.022247 | 0.022247 | 0.99461 | -0.037746 | 0.99288 | -0.049891 | 8.2396
9 | -0.014869 | -0.0037304 | 0.014905 | 0.0037427 | 3.574e-05 | 1.2241e-05 | 0.022247 | 0.022246 | 0.022247 | 0.99461 | -0.037746 | 0.99707 | -0.020456 | 8.2395
10 | 0.014844 | 0.0037219 | -0.01483 | -0.0037172 | 1.363e-05 | 4.6722e-06 | 0.022247 | 0.022247 | 0.022247 | 0.99288 | -0.049891 | 0.99194 | -0.056523 | 8.2397
11 | -0.015651 | -0.0039297 | 0.015658 | 0.0039322 | 7.2596e-06 | 2.514e-06 | 0.02336 | 0.02336 | 0.02336 | 0.99707 | -0.020456 | 0.99755 | -0.017119 | 8.6518
12 | -0.019697 | -0.0049351 | 0.019855 | 0.0049918 | 0.0001573 | 5.6742e-05 | 0.029551 | 0.02955 | 0.029551 | 0.99183 | -0.057291 | 1 | 0 | 10.9448
13 | 0.011804 | 0.0029569 | -0.011796 | -0.0029543 | 7.8957e-06 | 2.5164e-06 | 0.017709 | 0.017709 | 0.017709 | 0.99183 | -0.057291 | 0.99114 | -0.06213 | 6.5588
14 | 0.0078935 | 0.0019782 | -0.0078914 | -0.0019777 | 2.1074e-06 | 4.9985e-07 | 0.011842 | 0.011843 | 0.011843 | 0.99183 | -0.057291 | 0.99156 | -0.05922 | 4.3861
15 | 0.020898 | 0.0052441 | -0.02089 | -0.0052412 | 8.2019e-06 | 2.9764e-06 | 0.031099 | 0.031099 | 0.031099 | 1 | 0 | 0.9996 | -0.002829 | 11.5181
16 | 0.0028258 | 0.00070813 | -0.0028257 | -0.00070818 | 7.1392e-08 | -5.4605e-08 | 0.0042406 | 0.0042406 | 0.0042406 | 0.99156 | -0.05922 | 0.99153 | -0.059403 | 1.5706
17 | -0.012153 | -0.0030451 | 0.012156 | 0.0030461 | 3.0867e-06 | 9.9582e-07 | 0.01825 | 0.01825 | 0.01825 | 0.99089 | -0.06393 | 0.99115 | -0.062095 | 6.7593
18 | 0.011045 | 0.0027675 | -0.011041 | -0.0027662 | 4.1068e-06 | 1.2715e-06 | 0.016586 | 0.016587 | 0.016587 | 0.99089 | -0.06393 | 0.99051 | -0.066618 | 6.1432
19 | -0.012911 | -0.0032352 | 0.012913 | 0.0032358 | 1.8086e-06 | 5.9618e-07 | 0.019383 | 0.019383 | 0.019383 | 0.99115 | -0.062095 | 0.99129 | -0.061083 | 7.1788
20 | 0.0059577 | 0.0014925 | -0.0059564 | -0.0014924 | 1.3045e-06 | 1.6587e-07 | 0.0089498 | 0.00895 | 0.00895 | 0.99051 | -0.066618 | 0.99029 | -0.068201 | 3.3148
21 | 0.0050835 | 0.0012737 | -0.0050818 | -0.0012736 | 1.6896e-06 | 5.2456e-08 | 0.0076367 | 0.0076369 | 0.0076369 | 0.99051 | -0.066618 | 0.99017 | -0.06902 | 2.8285
22 | -0.013709 | -0.0034354 | 0.013718 | 0.0034383 | 8.6564e-06 | 2.9068e-06 | 0.020578 | 0.020578 | 0.020578 | 0.99129 | -0.061083 | 0.99194 | -0.056523 | 7.6215
23 | 0.0059564 | 0.0014924 | -0.0059543 | -0.0014921 | 2.0493e-06 | 2.6091e-07 | 0.00895 | 0.0089501 | 0.0089501 | 0.99029 | -0.068201 | 0.98994 | -0.070688 | 3.3149
24 | 0.0052484 | 0.0013152 | -0.0052475 | -0.0013151 | 8.8632e-07 | 4.7533e-08 | 0.007889 | 0.0078891 | 0.0078891 | 0.98994 | -0.070688 | 0.98976 | -0.071908 | 2.9219
25 | 0.003416 | 0.00085612 | -0.003416 | -0.00085612 | 6.9282e-09 | -2.7456e-09 | 0.0051356 | 0.0051356 | 0.0051356 | 0.98976 | -0.071908 | 0.98976 | -0.071923 | 1.9021
26 | 0.0034053 | 0.00085274 | -0.0034044 | -0.00085307 | 8.4287e-07 | -3.3889e-07 | 0.0051176 | 0.0051179 | 0.0051179 | 0.99008 | -0.069659 | 0.98983 | -0.071449 | 1.8955
27 | 0.00056198 | 0.00014071 | -0.00056197 | -0.00014084 | 4.5237e-09 | -1.2896e-07 | 0.00084456 | 0.00084461 | 0.00084461 | 0.99008 | -0.069659 | 0.99007 | -0.069718 | 0.31282
28 | 0.020727 | 0.0052004 | -0.020716 | -0.0051963 | 1.1348e-05 | 4.1144e-06 | 0.030857 | 0.030857 | 0.030857 | 0.9996 | -0.002829 | 0.99903 | -0.0067772 | 11.4285
29 | -0.016078 | -0.0040393 | 0.01608 | 0.0040399 | 1.6338e-06 | 5.6868e-07 | 0.023957 | 0.023957 | 0.023957 | 0.99879 | -0.0084393 | 0.9989 | -0.0077089 | 8.8729
30 | 0.016078 | 0.0040393 | -0.016069 | -0.0040363 | 8.819e-06 | 3.0698e-06 | 0.023957 | 0.023957 | 0.023957 | 0.99879 | -0.0084393 | 0.99823 | -0.012384 | 8.873
31 | 0.00037418 | 9.1668e-05 | -0.00037415 | -9.3625e-05 | 2.9108e-08 | -1.9568e-06 | 0.00055666 | 0.00055735 | 0.00055735 | 0.9989 | -0.0077089 | 0.99882 | -0.0082843 | 0.20642
32 | -0.016454 | -0.0041316 | 0.016456 | 0.0041323 | 2.1306e-06 | 7.4507e-07 | 0.024514 | 0.024514 | 0.024514 | 0.9989 | -0.0077089 | 0.99903 | -0.0067772 | 9.0791
33 | 0.015669 | 0.0039358 | -0.015658 | -0.0039322 | 1.031e-05 | 3.5698e-06 | 0.02336 | 0.02336 | 0.02336 | 0.99823 | -0.012384 | 0.99755 | -0.017119 | 8.6518
34 | -0.0018818 | -0.00047108 | 0.001882 | 0.00047055 | 2.3341e-07 | -5.3272e-07 | 0.0028039 | 0.0028037 | 0.0028039 | 0.99855 | -0.010139 | 0.99868 | -0.00924 | 1.0385
35 | 0.0014871 | 0.00037216 | -0.0014869 | -0.00037266 | 1.291e-07 | -5.0146e-07 | 0.0022158 | 0.002216 | 0.002216 | 0.99855 | -0.010139 | 0.99846 | -0.010767 | 0.82074
36 | 0.0023763 | 0.00059363 | -0.0023759 | -0.00059412 | 3.7624e-07 | -4.8474e-07 | 0.0035399 | 0.0035401 | 0.0035401 | 0.99868 | -0.00924 | 0.99852 | -0.01039 | 1.3112
37 | -0.0042583 | -0.0010642 | 0.0042597 | 0.001064 | 1.4431e-06 | -1.9723e-07 | 0.0063436 | 0.0063434 | 0.0063436 | 0.99868 | -0.00924 | 0.99903 | -0.0067772 | 2.3495
38 | 0.00037715 | 9.4332e-05 | -0.00037714 | -9.4521e-05 | 2.8727e-09 | -1.8955e-07 | 0.00056197 | 0.00056203 | 0.00056203 | 0.99852 | -0.01039 | 0.99851 | -0.010445 | 0.20816
39 | 0.0019987 | 0.00049978 | -0.0019986 | -0.00050008 | 1.5158e-07 | -2.9991e-07 | 0.0029782 | 0.0029783 | 0.0029783 | 0.99852 | -0.01039 | 0.99844 | -0.01094 | 1.1031
40 | 0.00057534 | 0.00014338 | -0.00057534 | -0.00014343 | 1.522e-09 | -4.283e-08 | 0.00085716 | 0.00085718 | 0.00085718 | 0.99844 | -0.01094 | 0.99844 | -0.010959 | 0.31747
41 | 0.0019169 | 0.00048025 | -0.0019168 | -0.00048039 | 6.5857e-08 | -1.3804e-07 | 0.0028816 | 0.0028816 | 0.0028816 | 0.98983 | -0.071449 | 0.98979 | -0.071698 | 1.0673
42 | 0.00057534 | 0.00014343 | -0.00057532 | -0.00014377 | 1.2134e-08 | -3.4139e-07 | 0.00085718 | 0.0008573 | 0.0008573 | 0.99844 | -0.010959 | 0.99842 | -0.011113 | 0.31752
43 | 0.00057532 | 0.00014377 | -0.00057531 | -0.00014419 | 1.4912e-08 | -4.194e-07 | 0.0008573 | 0.00085745 | 0.00085745 | 0.99842 | -0.011113 | 0.99839 | -0.011301 | 0.31757
44 | 0.00014328 | 3.5765e-05 | -0.00014328 | -3.591e-05 | 3.1587e-10 | -1.4532e-07 | 0.00021341 | 0.00021346 | 0.00021346 | 0.99882 | -0.0082843 | 0.99881 | -0.0083003 | 0.079059
45 | -0.0010908 | -0.00027337 | 0.0010908 | 0.00027306 | 4.2517e-08 | -3.0953e-07 | 0.0016396 | 0.0016395 | 0.0016396 | 0.98992 | -0.070812 | 0.98996 | -0.07053 | 0.60726

## res_trafo
| p_hv_mw | q_hv_mvar | p_lv_mw | q_lv_mvar | pl_mw | ql_mvar | i_hv_ka | i_lv_ka | vm_hv_pu | va_hv_degree | vm_lv_pu | va_lv_degree | loading_percent
0 | -4.4415e-16 | -7.6913e-16 | 0.00079998 | 7.4552e-08 | 0.00079998 | 7.4552e-08 | 2.564e-17 | 0.0011547 | 0.99998 | 149.9947 | 1 | 0 | 0.31999

## res_ext_grid
| p_mw | q_mvar
0 | 0.041553 | 0.010236

## res_load
| p_mw | q_mvar
0 | 0.00071679 | 0.00017964
1 | 0.0018105 | 0.00045374
2 | 0.00068133 | 0.00017076
3 | 0.0023145 | 0.00058007
4 | 0.00074636 | 0.00018705
5 | 0.00069035 | 0.00017302
6 | 0.0050656 | 0.0012696
7 | 0.0011079 | 0.00027766
8 | 0.00075452 | 0.0001891
9 | 0.00079633 | 0.00019958
10 | 0.0050818 | 0.0012736
11 | 0.0011127 | 0.00027887
12 | 0.00070592 | 0.00017692
13 | 0.0018315 | 0.00045903
14 | 0.003416 | 0.00085613
15 | 0.00016261 | 4.0753e-05
16 | 0.00040077 | 0.00010044
17 | 0.00039468 | 9.8917e-05
18 | 0.0014869 | 0.00037266
19 | 0.00037714 | 9.4521e-05
20 | 0.0014233 | 0.0003567
21 | 0.0014876 | 0.00037282
22 | 0.00056197 | 0.00014084
23 | 0.0019168 | 0.00048039
24 | 0.00057531 | 0.00014419
25 | 0.0028257 | 0.00070819
26 | 0.00023087 | 5.786e-05
27 | 0.0010908 | 0.00027337
28 | 0.00051329 | 0.00012864
29 | 0.00014328 | 3.591e-05

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object
62 | res_bus | vm_pu | float64
63 | res_bus | va_degree | float64
64 | res_bus | p_mw | float64
65 | res_bus | q_mvar | float64
66 | res_line | p_from_mw | float64
67 | res_line | q_from_mvar | float64
68 | res_line | p_to_mw | float64
69 | res_line | q_to_mvar | float64
70 | res_line | pl_mw | float64
71 | res_line | ql_mvar | float64
72 | res_line | i_from_ka | float64
73 | res_line | i_to_ka | float64
74 | res_line | i_ka | float64
75 | res_line | vm_from_pu | float64
76 | res_line | va_from_degree | float64
77 | res_line | vm_to_pu | float64
78 | res_line | va_to_degree | float64
79 | res_line | loading_percent | float64
80 | res_trafo | p_hv_mw | float64
81 | res_trafo | q_hv_mvar | float64
82 | res_trafo | p_lv_mw | float64
83 | res_trafo | q_lv_mvar | float64
84 | res_trafo | pl_mw | float64
85 | res_trafo | ql_mvar | float64
86 | res_trafo | i_hv_ka | float64
87 | res_trafo | i_lv_ka | float64
88 | res_trafo | vm_hv_pu | float64
89 | res_trafo | va_hv_degree | float64
90 | res_trafo | vm_lv_pu | float64
91 | res_trafo | va_lv_degree | float64
92 | res_trafo | loading_percent | float64
93 | res_ext_grid | p_mw | float64
94 | res_ext_grid | q_mvar | float64
95 | res_load | p_mw | float64
96 | res_load | q_mvar | float64

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | TRUE | FALSE |  | 50 | 1