## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_1094-1_0_6_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_1094-1_0_6_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_1094-1_0_6_node_2 | 0.4 | n |  | TRUE
3 | bus_LV_1094-1_0_6_node_3 | 0.4 | n |  | TRUE
4 | bus_LV_1094-1_0_6_node_4 | 0.4 | n |  | TRUE
5 | bus_LV_1094-1_0_6_node_5 | 0.4 | n |  | TRUE
6 | bus_LV_1094-1_0_6_node_22 | 0.4 | n |  | TRUE
7 | bus_LV_1094-1_0_6_node_47 | 0.4 | n |  | TRUE
8 | bus_LV_1094-1_0_6_node_46 | 0.4 | n |  | TRUE
9 | bus_LV_1094-1_0_6_node_25 | 0.4 | n |  | TRUE
10 | bus_LV_1094-1_0_6_node_48 | 0.4 | n |  | TRUE
11 | bus_LV_1094-1_0_6_node_23 | 0.4 | n |  | TRUE
12 | bus_LV_1094-1_0_6_node_79 | 0.4 | n |  | TRUE
13 | bus_LV_1094-1_0_6_node_76 | 0.4 | n |  | TRUE
14 | bus_LV_1094-1_0_6_node_75 | 0.4 | n |  | TRUE
15 | bus_LV_1094-1_0_6_node_28 | 0.4 | n |  | TRUE
16 | bus_LV_1094-1_0_6_node_59 | 0.4 | n |  | TRUE
17 | bus_LV_1094-1_0_6_node_57 | 0.4 | n |  | TRUE
18 | bus_LV_1094-1_0_6_node_27 | 0.4 | n |  | TRUE
19 | bus_LV_1094-1_0_6_node_87 | 0.4 | n |  | TRUE
20 | bus_LV_1094-1_0_6_node_51 | 0.4 | n |  | TRUE
21 | bus_LV_1094-1_0_6_node_20 | 0.4 | n |  | TRUE
22 | bus_LV_1094-1_0_6_node_19 | 0.4 | n |  | TRUE
23 | bus_LV_1094-1_0_6_node_45 | 0.4 | n |  | TRUE
24 | bus_LV_1094-1_0_6_node_6 | 0.4 | n |  | TRUE
25 | bus_LV_1094-1_0_6_node_7 | 0.4 | n |  | TRUE
26 | bus_LV_1094-1_0_6_node_8 | 0.4 | n |  | TRUE
27 | bus_LV_1094-1_0_6_node_9 | 0.4 | n |  | TRUE
28 | bus_LV_1094-1_0_6_node_10 | 0.4 | n |  | TRUE
29 | bus_LV_1094-1_0_6_node_17 | 0.4 | n |  | TRUE
30 | bus_LV_1094-1_0_6_node_13 | 0.4 | n |  | TRUE
31 | bus_LV_1094-1_0_6_node_18 | 0.4 | n |  | TRUE
32 | bus_LV_1094-1_0_6_node_11 | 0.4 | n |  | TRUE
33 | bus_LV_1094-1_0_6_node_12 | 0.4 | n |  | TRUE
34 | bus_LV_1094-1_0_6_node_14 | 0.4 | n |  | TRUE
35 | bus_LV_1094-1_0_6_node_15 | 0.4 | n |  | TRUE
36 | bus_LV_1094-1_0_6_node_16 | 0.4 | n |  | TRUE
37 | bus_LV_1094-1_0_6_node_31 | 0.4 | n |  | TRUE
38 | bus_LV_1094-1_0_6_node_32 | 0.4 | n |  | TRUE
39 | bus_LV_1094-1_0_6_node_21 | 0.4 | n |  | TRUE
40 | bus_LV_1094-1_0_6_node_90 | 0.4 | n |  | TRUE
41 | bus_LV_1094-1_0_6_node_44 | 0.4 | n |  | TRUE
42 | bus_LV_1094-1_0_6_node_26 | 0.4 | n |  | TRUE
43 | bus_LV_1094-1_0_6_node_41 | 0.4 | n |  | TRUE
44 | bus_LV_1094-1_0_6_node_43 | 0.4 | n |  | TRUE
45 | bus_LV_1094-1_0_6_node_29 | 0.4 | n |  | TRUE
46 | bus_LV_1094-1_0_6_node_40 | 0.4 | n |  | TRUE
47 | bus_LV_1094-1_0_6_node_42 | 0.4 | n |  | TRUE
48 | bus_LV_1094-1_0_6_node_89 | 0.4 | n |  | TRUE
49 | bus_LV_1094-1_0_6_node_73 | 0.4 | n |  | TRUE
50 | bus_LV_1094-1_0_6_node_77 | 0.4 | n |  | TRUE
51 | bus_LV_1094-1_0_6_node_68 | 0.4 | n |  | TRUE
52 | bus_LV_1094-1_0_6_node_66 | 0.4 | n |  | TRUE
53 | bus_LV_1094-1_0_6_node_61 | 0.4 | n |  | TRUE
54 | bus_LV_1094-1_0_6_node_88 | 0.4 | n |  | TRUE
55 | bus_LV_1094-1_0_6_node_52 | 0.4 | n |  | TRUE
56 | bus_LV_1094-1_0_6_node_50 | 0.4 | n |  | TRUE
57 | bus_LV_1094-1_0_6_node_56 | 0.4 | n |  | TRUE
58 | bus_LV_1094-1_0_6_node_39 | 0.4 | n |  | TRUE
59 | bus_LV_1094-1_0_6_node_33 | 0.4 | n |  | TRUE
60 | bus_LV_1094-1_0_6_node_34 | 0.4 | n |  | TRUE
61 | bus_LV_1094-1_0_6_node_35 | 0.4 | n |  | TRUE
62 | bus_LV_1094-1_0_6_node_36 | 0.4 | n |  | TRUE
63 | bus_LV_1094-1_0_6_node_37 | 0.4 | n |  | TRUE
64 | bus_LV_1094-1_0_6_node_38 | 0.4 | n |  | TRUE
65 | bus_LV_1094-1_0_6_node_49 | 0.4 | n |  | TRUE
66 | bus_LV_1094-1_0_6_node_85 | 0.4 | n |  | TRUE
67 | bus_LV_1094-1_0_6_node_83 | 0.4 | n |  | TRUE
68 | bus_LV_1094-1_0_6_node_53 | 0.4 | n |  | TRUE
69 | bus_LV_1094-1_0_6_node_54 | 0.4 | n |  | TRUE
70 | bus_LV_1094-1_0_6_node_55 | 0.4 | n |  | TRUE
71 | bus_LV_1094-1_0_6_node_58 | 0.4 | n |  | TRUE
72 | bus_LV_1094-1_0_6_node_64 | 0.4 | n |  | TRUE
73 | bus_LV_1094-1_0_6_node_62 | 0.4 | n |  | TRUE
74 | bus_LV_1094-1_0_6_node_63 | 0.4 | n |  | TRUE
75 | bus_LV_1094-1_0_6_node_60 | 0.4 | n |  | TRUE
76 | bus_LV_1094-1_0_6_node_69 | 0.4 | n |  | TRUE
77 | bus_LV_1094-1_0_6_node_70 | 0.4 | n |  | TRUE
78 | bus_LV_1094-1_0_6_node_74 | 0.4 | n |  | TRUE
79 | bus_LV_1094-1_0_6_node_67 | 0.4 | n |  | TRUE
80 | bus_LV_1094-1_0_6_node_65 | 0.4 | n |  | TRUE
81 | bus_LV_1094-1_0_6_node_72 | 0.4 | n |  | TRUE
82 | bus_LV_1094-1_0_6_node_71 | 0.4 | n |  | TRUE
83 | bus_LV_1094-1_0_6_node_78 | 0.4 | n |  | TRUE
84 | bus_LV_1094-1_0_6_node_81 | 0.4 | n |  | TRUE
85 | bus_LV_1094-1_0_6_node_80 | 0.4 | n |  | TRUE
86 | bus_LV_1094-1_0_6_node_82 | 0.4 | n |  | TRUE
87 | bus_LV_1094-1_0_6_node_84 | 0.4 | n |  | TRUE
88 | bus_LV_1094-1_0_6_node_86 | 0.4 | n |  | TRUE
89 | bus_MV_2_1_node_240 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_1094-1_0_6_load_0 | 0 | 0.0015652 | 0.00039227 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_1094-1_0_6_load_1 | 1 | 0.0037548 | 0.00094104 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_1094-1_0_6_load_3 | 3 | 0.0030208 | 0.00075708 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_1094-1_0_6_load_47 | 7 | 0.00095271 | 0.00023877 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_1094-1_0_6_load_46 | 8 | 0.0019162 | 0.00048023 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_1094-1_0_6_load_76 | 13 | 0.0013185 | 0.00033044 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_1094-1_0_6_load_75 | 14 | 0.00068606 | 0.00017194 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_1094-1_0_6_load_57 | 17 | 0.0009293 | 0.0002329 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_1094-1_0_6_load_87 | 19 | 0.002543 | 0.00063733 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_1094-1_0_6_load_19 | 22 | 0.0040797 | 0.0010225 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_1094-1_0_6_load_45 | 23 | 0.0025385 | 0.00063621 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_1094-1_0_6_load_6 | 24 | 0.003407 | 0.00085388 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_1094-1_0_6_load_7 | 25 | 0.0024941 | 0.00062507 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_1094-1_0_6_load_8 | 26 | 0.0028113 | 0.00070458 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_1094-1_0_6_load_9 | 27 | 0.0024975 | 0.00062592 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_1094-1_0_6_load_10 | 28 | 0.0029424 | 0.00073743 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_1094-1_0_6_load_17 | 29 | 0.0020954 | 0.00052517 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_1094-1_0_6_load_13 | 30 | 0.0040312 | 0.0010103 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_1094-1_0_6_load_18 | 31 | 0.0050725 | 0.0012713 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_1094-1_0_6_load_11 | 32 | 0.0047619 | 0.0011935 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_1094-1_0_6_load_12 | 33 | 0.0043299 | 0.0010852 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_1094-1_0_6_load_14 | 34 | 0.0040205 | 0.0010076 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_1094-1_0_6_load_15 | 35 | 0.0055818 | 0.0013989 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_1094-1_0_6_load_16 | 36 | 0.0050002 | 0.0012532 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_1094-1_0_6_load_31 | 37 | 0.0033161 | 0.00083109 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_1094-1_0_6_load_90 | 40 | 0.0092752 | 0.0023246 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_1094-1_0_6_load_43 | 44 | 0.014849 | 0.0037214 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_1094-1_0_6_load_42 | 47 | 0.016442 | 0.0041208 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_1094-1_0_6_load_89 | 48 | 0.016685 | 0.0041818 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_1094-1_0_6_load_73 | 49 | 0.00080972 | 0.00020294 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_1094-1_0_6_load_77 | 50 | 0.00073752 | 0.00018484 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_1094-1_0_6_load_68 | 51 | 0.0011741 | 0.00029427 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_1094-1_0_6_load_66 | 52 | 0.00075286 | 0.00018868 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_1094-1_0_6_load_61 | 53 | 0.0011299 | 0.00028319 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_1094-1_0_6_load_88 | 54 | 0.015328 | 0.0038417 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_1094-1_0_6_load_52 | 55 | 0.0046995 | 0.0011778 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_1094-1_0_6_load_50 | 56 | 0.0015798 | 0.00039594 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_1094-1_0_6_load_56 | 57 | 0.0026268 | 0.00065833 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_1094-1_0_6_load_39 | 58 | 0.01389 | 0.0034811 | 0 | 0 |  | 1 | TRUE | wye
39 | LV_1094-1_0_6_load_33 | 59 | 0.011624 | 0.0029134 | 0 | 0 |  | 1 | TRUE | wye
40 | LV_1094-1_0_6_load_34 | 60 | 0.0054241 | 0.0013594 | 0 | 0 |  | 1 | TRUE | wye
41 | LV_1094-1_0_6_load_35 | 61 | 0.0072819 | 0.001825 | 0 | 0 |  | 1 | TRUE | wye
42 | LV_1094-1_0_6_load_36 | 62 | 0.0012187 | 0.00030545 | 0 | 0 |  | 1 | TRUE | wye
43 | LV_1094-1_0_6_load_37 | 63 | 0.0023968 | 0.00060071 | 0 | 0 |  | 1 | TRUE | wye
44 | LV_1094-1_0_6_load_38 | 64 | 0.0012936 | 0.00032422 | 0 | 0 |  | 1 | TRUE | wye
45 | LV_1094-1_0_6_load_85 | 66 | 0.00068035 | 0.00017051 | 0 | 0 |  | 1 | TRUE | wye
46 | LV_1094-1_0_6_load_83 | 67 | 0.0028088 | 0.00070395 | 0 | 0 |  | 1 | TRUE | wye
47 | LV_1094-1_0_6_load_55 | 70 | 0.0024051 | 0.00060279 | 0 | 0 |  | 1 | TRUE | wye
48 | LV_1094-1_0_6_load_58 | 71 | 0.0018567 | 0.00046533 | 0 | 0 |  | 1 | TRUE | wye
49 | LV_1094-1_0_6_load_64 | 72 | 0.0018689 | 0.0004684 | 0 | 0 |  | 1 | TRUE | wye
50 | LV_1094-1_0_6_load_60 | 75 | 0.00089357 | 0.00022395 | 0 | 0 |  | 1 | TRUE | wye
51 | LV_1094-1_0_6_load_70 | 77 | 0.0009674 | 0.00024245 | 0 | 0 |  | 1 | TRUE | wye
52 | LV_1094-1_0_6_load_74 | 78 | 0.00063653 | 0.00015953 | 0 | 0 |  | 1 | TRUE | wye
53 | LV_1094-1_0_6_load_67 | 79 | 0.00059218 | 0.00014841 | 0 | 0 |  | 1 | TRUE | wye
54 | LV_1094-1_0_6_load_65 | 80 | 0.0010536 | 0.00026407 | 0 | 0 |  | 1 | TRUE | wye
55 | LV_1094-1_0_6_load_72 | 81 | 0.0026425 | 0.00066228 | 0 | 0 |  | 1 | TRUE | wye
56 | LV_1094-1_0_6_load_78 | 83 | 0.00074464 | 0.00018663 | 0 | 0 |  | 1 | TRUE | wye
57 | LV_1094-1_0_6_load_81 | 84 | 0.00081475 | 0.0002042 | 0 | 0 |  | 1 | TRUE | wye
58 | LV_1094-1_0_6_load_80 | 85 | 0.0011143 | 0.00027926 | 0 | 0 |  | 1 | TRUE | wye
59 | LV_1094-1_0_6_load_82 | 86 | 0.0013782 | 0.00034541 | 0 | 0 |  | 1 | TRUE | wye
60 | LV_1094-1_0_6_load_84 | 87 | 0.0018038 | 0.00045207 | 0 | 0 |  | 1 | TRUE | wye
61 | LV_1094-1_0_6_load_86 | 88 | 0.00086315 | 0.00021633 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 36 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_1094-1_0_6_line_0 | NAYY 4x150 SE | 0 | 1 | 0.06118 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
1 | LV_1094-1_0_6_line_1 | NAYY 4x150 SE | 0 | 2 | 0.019387 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
2 | LV_1094-1_0_6_line_2 | NAYY 4x150 SE | 1 | 3 | 0.027297 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
3 | LV_1094-1_0_6_line_3 | NAYY 4x150 SE | 2 | 4 | 0.061036 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
4 | LV_1094-1_0_6_line_4 | NAYY 4x150 SE | 2 | 5 | 0.002242 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
5 | LV_1094-1_0_6_line_5 | NAYY 4x150 SE | 3 | 6 | 0.024387 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
6 | LV_1094-1_0_6_line_6 | NAYY 4x150 SE | 4 | 7 | 0.13365 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
7 | LV_1094-1_0_6_line_7 | NAYY 4x150 SE | 5 | 8 | 0.047921 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
8 | LV_1094-1_0_6_line_8 | NAYY 4x150 SE | 6 | 9 | 0.032697 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
9 | LV_1094-1_0_6_line_9 | NAYY 4x150 SE | 7 | 10 | 0.027812 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
10 | LV_1094-1_0_6_line_10 | NAYY 4x150 SE | 8 | 23 | 0.0026125 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
11 | LV_1094-1_0_6_line_11 | NAYY 4x150 SE | 9 | 14 | 0.01848 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
12 | LV_1094-1_0_6_line_12 | NAYY 4x150 SE | 10 | 65 | 0.066916 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
13 | LV_1094-1_0_6_line_13 | NAYY 4x150 SE | 11 | 12 | 0.003844 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
14 | LV_1094-1_0_6_line_14 | NAYY 4x150 SE | 11 | 13 | 0.026463 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
15 | LV_1094-1_0_6_line_15 | NAYY 4x150 SE | 12 | 49 | 0.017008 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
16 | LV_1094-1_0_6_line_16 | NAYY 4x150 SE | 13 | 50 | 0.0075212 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
17 | LV_1094-1_0_6_line_17 | NAYY 4x150 SE | 14 | 51 | 0.01238 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
18 | LV_1094-1_0_6_line_18 | NAYY 4x150 SE | 15 | 16 | 0.028481 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
19 | LV_1094-1_0_6_line_19 | NAYY 4x150 SE | 15 | 17 | 0.011999 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
20 | LV_1094-1_0_6_line_20 | NAYY 4x150 SE | 16 | 53 | 0.014427 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
21 | LV_1094-1_0_6_line_21 | NAYY 4x150 SE | 17 | 57 | 0.0028235 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
22 | LV_1094-1_0_6_line_22 | NAYY 4x150 SE | 18 | 19 | 0.01372 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
23 | LV_1094-1_0_6_line_23 | NAYY 4x150 SE | 18 | 20 | 0.005048 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
24 | LV_1094-1_0_6_line_24 | NAYY 4x150 SE | 18 | 21 | 0.42493 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
25 | LV_1094-1_0_6_line_25 | NAYY 4x150 SE | 20 | 55 | 0.01835 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
26 | LV_1094-1_0_6_line_26 | NAYY 4x150 SE | 20 | 56 | 0.014945 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
27 | LV_1094-1_0_6_line_27 | NAYY 4x150 SE | 21 | 22 | 0.048968 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
28 | LV_1094-1_0_6_line_28 | NAYY 4x150 SE | 22 | 36 | 0.028168 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
29 | LV_1094-1_0_6_line_29 | NAYY 4x150 SE | 23 | 64 | 0.028103 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
30 | LV_1094-1_0_6_line_30 | NAYY 4x150 SE | 24 | 25 | 0.013237 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
31 | LV_1094-1_0_6_line_31 | NAYY 4x150 SE | 24 | 26 | 0.0085668 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
32 | LV_1094-1_0_6_line_32 | NAYY 4x150 SE | 25 | 27 | 0.0078785 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
33 | LV_1094-1_0_6_line_33 | NAYY 4x150 SE | 26 | 28 | 0.014761 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
34 | LV_1094-1_0_6_line_34 | NAYY 4x150 SE | 27 | 29 | 0.0038354 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
35 | LV_1094-1_0_6_line_35 | NAYY 4x150 SE | 28 | 30 | 0.0077925 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
36 | LV_1094-1_0_6_line_36 | NAYY 4x150 SE | 29 | 31 | 0.013899 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
37 | LV_1094-1_0_6_line_37 | NAYY 4x150 SE | 30 | 32 | 0.017168 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
38 | LV_1094-1_0_6_line_38 | NAYY 4x150 SE | 31 | 37 | 0.0062099 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
39 | LV_1094-1_0_6_line_39 | NAYY 4x150 SE | 32 | 33 | 0.0060786 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
40 | LV_1094-1_0_6_line_40 | NAYY 4x150 SE | 33 | 34 | 0.017703 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
41 | LV_1094-1_0_6_line_41 | NAYY 4x150 SE | 34 | 35 | 0.0026741 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
42 | LV_1094-1_0_6_line_42 | NAYY 4x150 SE | 35 | 36 | 0.018192 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
43 | LV_1094-1_0_6_line_43 | NAYY 4x150 SE | 37 | 38 | 0.015652 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
44 | LV_1094-1_0_6_line_44 | NAYY 4x150 SE | 38 | 60 | 0.012451 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
45 | LV_1094-1_0_6_line_45 | NAYY 4x150 SE | 38 | 59 | 0.016023 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
46 | LV_1094-1_0_6_line_46 | NAYY 4x150 SE | 39 | 40 | 0.041662 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
47 | LV_1094-1_0_6_line_47 | NAYY 4x150 SE | 39 | 41 | 0.032396 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
48 | LV_1094-1_0_6_line_48 | NAYY 4x150 SE | 41 | 48 | 0.05102 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
49 | LV_1094-1_0_6_line_49 | NAYY 4x150 SE | 41 | 43 | 0.041834 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
50 | LV_1094-1_0_6_line_50 | NAYY 4x150 SE | 42 | 43 | 0.052036 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
51 | LV_1094-1_0_6_line_51 | NAYY 4x150 SE | 42 | 44 | 0.022651 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
52 | LV_1094-1_0_6_line_52 | NAYY 4x150 SE | 43 | 54 | 0.057872 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
53 | LV_1094-1_0_6_line_53 | NAYY 4x150 SE | 44 | 47 | 0.039422 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
54 | LV_1094-1_0_6_line_54 | NAYY 4x150 SE | 45 | 46 | 0.027074 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
55 | LV_1094-1_0_6_line_55 | NAYY 4x150 SE | 45 | 47 | 0.026927 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
56 | LV_1094-1_0_6_line_56 | NAYY 4x150 SE | 46 | 58 | 0.052006 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
57 | LV_1094-1_0_6_line_57 | NAYY 4x150 SE | 49 | 82 | 0.015862 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
58 | LV_1094-1_0_6_line_58 | NAYY 4x150 SE | 50 | 83 | 0.0058799 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
59 | LV_1094-1_0_6_line_59 | NAYY 4x150 SE | 51 | 52 | 0.011211 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
60 | LV_1094-1_0_6_line_60 | NAYY 4x150 SE | 52 | 80 | 0.011629 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
61 | LV_1094-1_0_6_line_61 | NAYY 4x150 SE | 53 | 75 | 0.025009 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
62 | LV_1094-1_0_6_line_62 | NAYY 4x150 SE | 55 | 68 | 0.029079 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
63 | LV_1094-1_0_6_line_63 | NAYY 4x150 SE | 58 | 60 | 0.035026 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
64 | LV_1094-1_0_6_line_64 | NAYY 4x150 SE | 61 | 62 | 0.023469 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
65 | LV_1094-1_0_6_line_65 | NAYY 4x150 SE | 61 | 63 | 0.038526 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
66 | LV_1094-1_0_6_line_66 | NAYY 4x150 SE | 63 | 64 | 0.0094511 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
67 | LV_1094-1_0_6_line_67 | NAYY 4x150 SE | 65 | 66 | 0.046513 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
68 | LV_1094-1_0_6_line_68 | NAYY 4x150 SE | 66 | 67 | 0.039465 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
69 | LV_1094-1_0_6_line_69 | NAYY 4x150 SE | 67 | 87 | 0.047794 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
70 | LV_1094-1_0_6_line_70 | NAYY 4x150 SE | 68 | 69 | 0.005342 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
71 | LV_1094-1_0_6_line_71 | NAYY 4x150 SE | 68 | 70 | 0.011812 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
72 | LV_1094-1_0_6_line_72 | NAYY 4x150 SE | 69 | 71 | 0.017391 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
73 | LV_1094-1_0_6_line_73 | NAYY 4x150 SE | 70 | 72 | 0.019734 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
74 | LV_1094-1_0_6_line_74 | NAYY 4x150 SE | 71 | 73 | 0.010702 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
75 | LV_1094-1_0_6_line_75 | NAYY 4x150 SE | 73 | 74 | 0.0184 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
76 | LV_1094-1_0_6_line_76 | NAYY 4x150 SE | 73 | 75 | 0.014868 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
77 | LV_1094-1_0_6_line_77 | NAYY 4x150 SE | 74 | 76 | 0.026569 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
78 | LV_1094-1_0_6_line_78 | NAYY 4x150 SE | 74 | 77 | 0.01477 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
79 | LV_1094-1_0_6_line_79 | NAYY 4x150 SE | 76 | 78 | 0.021688 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
80 | LV_1094-1_0_6_line_80 | NAYY 4x150 SE | 76 | 79 | 0.0020344 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
81 | LV_1094-1_0_6_line_81 | NAYY 4x150 SE | 78 | 81 | 0.0068083 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
82 | LV_1094-1_0_6_line_82 | NAYY 4x150 SE | 79 | 80 | 0.011829 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
83 | LV_1094-1_0_6_line_83 | NAYY 4x150 SE | 81 | 82 | 0.0056061 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
84 | LV_1094-1_0_6_line_84 | NAYY 4x150 SE | 83 | 84 | 0.0063807 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
85 | LV_1094-1_0_6_line_85 | NAYY 4x150 SE | 84 | 85 | 0.0052268 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
86 | LV_1094-1_0_6_line_86 | NAYY 4x150 SE | 85 | 86 | 0.0087885 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
87 | LV_1094-1_0_6_line_87 | NAYY 4x150 SE | 87 | 88 | 0.079447 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_1094-1_0_6_trafo_16 | 0.25 MVA 20/0.4 kV | 89 | 36 | 0.25 | 20 | 0.4 | 6 | 1.44 | 0.8 | 0.32 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6 | x7 | y7 | x8 | y8 | x9 | y9 | x10 | y10 | x11 | y11 | x12 | y12 | x13 | y13 | x14 | y14 | x15 | y15 | x16 | y16 | x17 | y17 | x18 | y18 | x19 | y19
0 | 2653087.7362 | 1221096.8481 | 2653120.2652 | 1221047.1624 | 2653121.1548 | 1221045.6056
1 | 2653076.5454 | 1221112.6686 | 2653083.2789 | 1221103.6564 | 2653087.7362 | 1221096.8481
2 | 2653121.1548 | 1221045.6056 | 2653127.4016 | 1221034.6739 | 2653130.5475 | 1221028.1424 | 2653132.6741 | 1221020.995
3 | 2653076.5454 | 1221112.6686 | 2653083.673 | 1221118.1688 | 2653075.7345 | 1221127.048 | 2653092.122 | 1221141.3806 | 2653100.9966 | 1221132.1651 | 2653102.8166 | 1221133.9491 | 2653105.2115 | 1221135.9161
4 | 2653076.5454 | 1221112.6686 | 2653074.7673 | 1221111.2964
5 | 2653133.8621 | 1220996.7526 | 2653134.2158 | 1221003.8713 | 2653133.2166 | 1221011.278 | 2653133.144 | 1221019.4157 | 2653132.6741 | 1221020.995
6 | 2653105.2115 | 1221135.9161 | 2653192.4411 | 1221034.6526
7 | 2653074.7673 | 1221111.2964 | 2653043.5579 | 1221147.6617
8 | 2653115.7211 | 1220972.2981 | 2653128.3705 | 1220985.5857 | 2653130.8214 | 1220987.2308 | 2653133.4308 | 1220988.1213 | 2653133.7521 | 1220994.6281 | 2653133.8621 | 1220996.7526
9 | 2653210.5926 | 1221013.5809 | 2653192.4411 | 1221034.6526
10 | 2653041.8565 | 1221149.6443 | 2653043.5579 | 1221147.6617
11 | 2653115.7211 | 1220972.2981 | 2653127.884 | 1220958.3855
12 | 2653210.5926 | 1221013.5809 | 2653253.8825 | 1220962.4584
13 | 2653203.7903 | 1220921.5526 | 2653200.8768 | 1220919.0361
14 | 2653203.7903 | 1220921.5526 | 2653206.7189 | 1220924.0803 | 2653221.8605 | 1220907.3103
15 | 2653200.8768 | 1220919.0361 | 2653203.62 | 1220915.9921 | 2653203.6676 | 1220914.914 | 2653200.4898 | 1220911.4057 | 2653195.1516 | 1220906.7285
16 | 2653221.8605 | 1220907.3103 | 2653226.9009 | 1220901.7279
17 | 2653136.0324 | 1220949.0649 | 2653127.884 | 1220958.3855
18 | 2653092.871 | 1220948.4354 | 2653073.3236 | 1220927.6707
19 | 2653073.3236 | 1220927.6707 | 2653081.2174 | 1220918.6345
20 | 2653092.871 | 1220948.4354 | 2653102.3042 | 1220937.5199
21 | 2653083.075 | 1220916.5081 | 2653081.2174 | 1220918.6345
22 | 2653082.8376 | 1220888.4536 | 2653071.7271 | 1220880.3608
23 | 2653074.6012 | 1220876.2394 | 2653072.8682 | 1220879.1591 | 2653071.7271 | 1220880.3608
24 | 2652784.6319 | 1220976.7368 | 2652781.0007 | 1220968.722 | 2652771.5902 | 1220941.6998 | 2652768.3316 | 1220935.3004 | 2652781.1535 | 1220927.5203 | 2652816.881 | 1220905.8235 | 2652857.4891 | 1220883.0362 | 2652897.2858 | 1220861.0981 | 2652903.2783 | 1220857.7826 | 2652903.8577 | 1220857.4653 | 2652946.8203 | 1220833.61 | 2652950.7812 | 1220831.8218 | 2652958.6854 | 1220829.3795 | 2652963.1094 | 1220825.005 | 2652966.4296 | 1220821.8993 | 2652979.1837 | 1220834.5871 | 2653012.4301 | 1220868.4813 | 2653047.7717 | 1220905.5852 | 2653049.6786 | 1220903.5788 | 2653071.7271 | 1220880.3608
25 | 2653074.6012 | 1220876.2394 | 2653079.8258 | 1220875.6745 | 2653088.6669 | 1220866.014
26 | 2653074.6012 | 1220876.2394 | 2653074.6003 | 1220873.7935 | 2653073.2689 | 1220870.802 | 2653066.4454 | 1220864.5947
27 | 2652784.6319 | 1220976.7368 | 2652798.152 | 1221006.5638 | 2652804.8528 | 1221021.3348
28 | 2652798.4972 | 1221043.4977 | 2652806.095 | 1221036.5081 | 2652808.2703 | 1221034.1704 | 2652809.9459 | 1221032.562 | 2652804.8528 | 1221021.3348
29 | 2653026.8715 | 1221173.2955 | 2653027.791 | 1221172.0155 | 2653037.3734 | 1221154.868 | 2653041.8565 | 1221149.6443
30 | 2652730.101 | 1221106.4184 | 2652720.3596 | 1221115.38
31 | 2652730.101 | 1221106.4184 | 2652736.4057 | 1221100.6185
32 | 2652720.3596 | 1221115.38 | 2652714.5614 | 1221120.714
33 | 2652736.4057 | 1221100.6185 | 2652747.2692 | 1221090.6247
34 | 2652711.7388 | 1221123.3107 | 2652714.5614 | 1221120.714
35 | 2652753.0041 | 1221085.3488 | 2652747.2692 | 1221090.6247
36 | 2652711.7388 | 1221123.3107 | 2652701.5101 | 1221132.7205
37 | 2652753.0041 | 1221085.3488 | 2652765.6387 | 1221073.7258
38 | 2652701.5101 | 1221132.7205 | 2652696.94 | 1221136.9248
39 | 2652765.6387 | 1221073.7258 | 2652770.1122 | 1221069.6103
40 | 2652770.1122 | 1221069.6103 | 2652783.1406 | 1221057.6249
41 | 2652785.1086 | 1221055.8144 | 2652783.1406 | 1221057.6249
42 | 2652785.1086 | 1221055.8144 | 2652798.4972 | 1221043.4977
43 | 2652684.7119 | 1221146.4234 | 2652688.2605 | 1221144.9094 | 2652696.94 | 1221136.9248
44 | 2652684.7119 | 1221146.4234 | 2652675.6766 | 1221137.8573
45 | 2652684.7119 | 1221146.4234 | 2652673.8847 | 1221158.2351
46 | 2652735.0734 | 1221002.8808 | 2652740.506 | 1221020.7843 | 2652743.6781 | 1221030.9519 | 2652732.689 | 1221036.547
47 | 2652708.5526 | 1221021.591 | 2652735.0734 | 1221002.8808
48 | 2652703.2478 | 1221062.1023 | 2652716.1774 | 1221056.68 | 2652708.5696 | 1221042.8153 | 2652708.5526 | 1221021.591
49 | 2652674.375 | 1221045.7147 | 2652685.1619 | 1221038.1054 | 2652708.5526 | 1221021.591
50 | 2652663.0034 | 1221006.2122 | 2652685.1619 | 1221038.1054 | 2652674.375 | 1221045.7147
51 | 2652663.0034 | 1221006.2122 | 2652645.8475 | 1221018.5793 | 2652644.6591 | 1221019.4975
52 | 2652674.375 | 1221045.7147 | 2652674.9846 | 1221066.8553 | 2652681.7377 | 1221085.582 | 2652670.7177 | 1221089.5426 | 2652665.5666 | 1221089.5415
53 | 2652613.4642 | 1221043.6005 | 2652644.6591 | 1221019.4975
54 | 2652592.1565 | 1221060.064 | 2652612.4657 | 1221078.0321
55 | 2652592.1565 | 1221060.064 | 2652613.4642 | 1221043.6005
56 | 2652612.4657 | 1221078.0321 | 2652638.7002 | 1221102.8012 | 2652650.2579 | 1221113.7587
57 | 2653183.2214 | 1220896.2757 | 2653195.1516 | 1220906.7285
58 | 2653226.9009 | 1220901.7279 | 2653230.8413 | 1220897.3637
59 | 2653136.0324 | 1220949.0649 | 2653143.5034 | 1220940.7066
60 | 2653151.2536 | 1220932.0361 | 2653143.5034 | 1220940.7066
61 | 2653118.6565 | 1220918.598 | 2653102.3042 | 1220937.5199
62 | 2653110.673 | 1220885.0217 | 2653088.6669 | 1220866.014
63 | 2652650.2579 | 1221113.7587 | 2652675.6766 | 1221137.8573
64 | 2652996.6665 | 1221210.4546 | 2652980.7399 | 1221227.6928
65 | 2652996.6665 | 1221210.4546 | 2653012.4513 | 1221193.3699 | 2653021.3576 | 1221180.9715
66 | 2653026.8715 | 1221173.2955 | 2653021.3576 | 1221180.9715
67 | 2653253.8825 | 1220962.4584 | 2653280.1938 | 1220933.4647 | 2653286.852 | 1220930.3267
68 | 2653322.5805 | 1220913.571 | 2653321.5631 | 1220913.9672 | 2653286.852 | 1220930.3267
69 | 2653322.5805 | 1220913.571 | 2653353.4391 | 1220901.5559 | 2653355.8536 | 1220897.942 | 2653358.9558 | 1220888.0861
70 | 2653110.673 | 1220885.0217 | 2653107.1021 | 1220889.0035
71 | 2653110.673 | 1220885.0217 | 2653118.56 | 1220876.2286
72 | 2653107.1021 | 1220889.0035 | 2653120.2732 | 1220900.3603
73 | 2653135.652 | 1220869.257 | 2653126.475 | 1220869.7977 | 2653123.623 | 1220870.5839 | 2653118.56 | 1220876.2286
74 | 2653128.3781 | 1220907.3488 | 2653120.2732 | 1220900.3603
75 | 2653128.3781 | 1220907.3488 | 2653133.2236 | 1220911.8503 | 2653141.3193 | 1220903.2506
76 | 2653128.3781 | 1220907.3488 | 2653118.6565 | 1220918.598
77 | 2653160.4928 | 1220921.6996 | 2653141.3193 | 1220903.2506
78 | 2653141.3193 | 1220903.2506 | 2653151.4408 | 1220892.4943
79 | 2653160.4928 | 1220921.6996 | 2653174.9474 | 1220905.5308
80 | 2653160.4928 | 1220921.6996 | 2653159.137 | 1220923.2163
81 | 2653179.485 | 1220900.4551 | 2653174.9474 | 1220905.5308
82 | 2653151.2536 | 1220932.0361 | 2653159.137 | 1220923.2163
83 | 2653183.2214 | 1220896.2757 | 2653179.485 | 1220900.4551
84 | 2653230.8413 | 1220897.3637 | 2653235.1174 | 1220892.6278
85 | 2653238.6201 | 1220888.7484 | 2653235.1174 | 1220892.6278
86 | 2653244.5098 | 1220882.2254 | 2653238.6201 | 1220888.7484
87 | 2653358.9558 | 1220888.0861 | 2653359.3676 | 1220886.7777 | 2653361.1317 | 1220882.9467 | 2653361.2671 | 1220878.8343 | 2653359.4743 | 1220874.8714 | 2653345.0607 | 1220859.5218 | 2653344.2863 | 1220855.3456 | 2653345.3346 | 1220851.8084 | 2653369.8946 | 1220824.9418

## bus_geodata
| x | y | coords
0 | 2653087.7362 | 1221096.8481
1 | 2653121.1548 | 1221045.6056
2 | 2653076.5454 | 1221112.6686
3 | 2653132.6741 | 1221020.995
4 | 2653105.2115 | 1221135.9161
5 | 2653074.7673 | 1221111.2964
6 | 2653133.8621 | 1220996.7526
7 | 2653192.4411 | 1221034.6526
8 | 2653043.5579 | 1221147.6617
9 | 2653115.7211 | 1220972.2981
10 | 2653210.5926 | 1221013.5809
11 | 2653203.7903 | 1220921.5526
12 | 2653200.8768 | 1220919.0361
13 | 2653221.8605 | 1220907.3103
14 | 2653127.884 | 1220958.3855
15 | 2653073.3236 | 1220927.6707
16 | 2653092.871 | 1220948.4354
17 | 2653081.2174 | 1220918.6345
18 | 2653071.7271 | 1220880.3608
19 | 2653082.8376 | 1220888.4536
20 | 2653074.6012 | 1220876.2394
21 | 2652784.6319 | 1220976.7368
22 | 2652804.8528 | 1221021.3348
23 | 2653041.8565 | 1221149.6443
24 | 2652730.101 | 1221106.4184
25 | 2652720.3596 | 1221115.38
26 | 2652736.4057 | 1221100.6185
27 | 2652714.5614 | 1221120.714
28 | 2652747.2692 | 1221090.6247
29 | 2652711.7388 | 1221123.3107
30 | 2652753.0041 | 1221085.3488
31 | 2652701.5101 | 1221132.7205
32 | 2652765.6387 | 1221073.7258
33 | 2652770.1122 | 1221069.6103
34 | 2652783.1406 | 1221057.6249
35 | 2652785.1086 | 1221055.8144
36 | 2652798.4972 | 1221043.4977
37 | 2652696.94 | 1221136.9248
38 | 2652684.7119 | 1221146.4234
39 | 2652735.0734 | 1221002.8808
40 | 2652732.689 | 1221036.547
41 | 2652708.5526 | 1221021.591
42 | 2652663.0034 | 1221006.2122
43 | 2652674.375 | 1221045.7147
44 | 2652644.6591 | 1221019.4975
45 | 2652592.1565 | 1221060.064
46 | 2652612.4657 | 1221078.0321
47 | 2652613.4642 | 1221043.6005
48 | 2652703.2478 | 1221062.1023
49 | 2653195.1516 | 1220906.7285
50 | 2653226.9009 | 1220901.7279
51 | 2653136.0324 | 1220949.0649
52 | 2653143.5034 | 1220940.7066
53 | 2653102.3042 | 1220937.5199
54 | 2652665.5666 | 1221089.5415
55 | 2653088.6669 | 1220866.014
56 | 2653066.4454 | 1220864.5947
57 | 2653083.075 | 1220916.5081
58 | 2652650.2579 | 1221113.7587
59 | 2652673.8847 | 1221158.2351
60 | 2652675.6766 | 1221137.8573
61 | 2652996.6665 | 1221210.4546
62 | 2652980.7399 | 1221227.6928
63 | 2653021.3576 | 1221180.9715
64 | 2653026.8715 | 1221173.2955
65 | 2653253.8825 | 1220962.4584
66 | 2653286.852 | 1220930.3267
67 | 2653322.5805 | 1220913.571
68 | 2653110.673 | 1220885.0217
69 | 2653107.1021 | 1220889.0035
70 | 2653118.56 | 1220876.2286
71 | 2653120.2732 | 1220900.3603
72 | 2653135.652 | 1220869.257
73 | 2653128.3781 | 1220907.3488
74 | 2653141.3193 | 1220903.2506
75 | 2653118.6565 | 1220918.598
76 | 2653160.4928 | 1220921.6996
77 | 2653151.4408 | 1220892.4943
78 | 2653174.9474 | 1220905.5308
79 | 2653159.137 | 1220923.2163
80 | 2653151.2536 | 1220932.0361
81 | 2653179.485 | 1220900.4551
82 | 2653183.2214 | 1220896.2757
83 | 2653230.8413 | 1220897.3637
84 | 2653235.1174 | 1220892.6278
85 | 2653238.6201 | 1220888.7484
86 | 2653244.5098 | 1220882.2254
87 | 2653358.9558 | 1220888.0861
88 | 2653369.8946 | 1220824.9418
89 | 2652784.6319 | 1220976.7368

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## res_bus
| vm_pu | va_degree | p_mw | q_mvar
0 | 0.97499 | -0.17591 | 0.0015652 | 0.00039227
1 | 0.97726 | -0.15964 | 0.0037548 | 0.00094104
2 | 0.97431 | -0.18076 | 0 | 0
3 | 0.97784 | -0.15548 | 0.0030208 | 0.00075708
4 | 0.97368 | -0.18535 | 0 | 0
5 | 0.97426 | -0.18115 | 0 | 0
6 | 0.97822 | -0.15275 | 0 | 0
7 | 0.97228 | -0.19541 | 0.00095271 | 0.00023877
8 | 0.97309 | -0.18955 | 0.0019162 | 0.00048023
9 | 0.97874 | -0.1491 | 0 | 0
10 | 0.97203 | -0.19723 | 0 | 0
11 | 0.97903 | -0.14702 | 0 | 0
12 | 0.97907 | -0.14678 | 0 | 0
13 | 0.9788 | -0.1487 | 0.0013185 | 0.00033044
14 | 0.97903 | -0.14703 | 0.00068606 | 0.00017194
15 | 0.98037 | -0.1375 | 0 | 0
16 | 0.98051 | -0.13645 | 0 | 0
17 | 0.9803 | -0.13795 | 0.0009293 | 0.0002329
18 | 0.98333 | -0.1164 | 0 | 0
19 | 0.98328 | -0.11676 | 0.002543 | 0.00063733
20 | 0.98317 | -0.11754 | 0 | 0
21 | 0.99739 | -0.017971 | 0 | 0
22 | 0.99901 | -0.0067955 | 0.0040797 | 0.0010225
23 | 0.97303 | -0.18996 | 0.0025385 | 0.00063621
24 | 0.99389 | -0.042311 | 0.003407 | 0.00085388
25 | 0.99313 | -0.047623 | 0.0024941 | 0.00062507
26 | 0.9944 | -0.038779 | 0.0028113 | 0.00070458
27 | 0.99268 | -0.050723 | 0.0024975 | 0.00062592
28 | 0.99529 | -0.032562 | 0.0029424 | 0.00073743
29 | 0.99247 | -0.0522 | 0.0020954 | 0.00052517
30 | 0.99578 | -0.029208 | 0.0040312 | 0.0010103
31 | 0.99172 | -0.057461 | 0.0050725 | 0.0012713
32 | 0.99688 | -0.021597 | 0.0047619 | 0.0011935
33 | 0.99728 | -0.018809 | 0.0043299 | 0.0010852
34 | 0.99849 | -0.010447 | 0.0040205 | 0.0010076
35 | 0.99867 | -0.0091502 | 0.0055818 | 0.0013989
36 | 1 | 0 | -0.22773 | -0.057341
37 | 0.9914 | -0.059707 | 0.0033161 | 0.00083109
38 | 0.99061 | -0.065199 | 0 | 0
39 | 0.9712 | -0.20274 | 0 | 0
40 | 0.97063 | -0.20683 | 0.0092752 | 0.0023246
41 | 0.97164 | -0.19956 | 0 | 0
42 | 0.97639 | -0.16552 | 0 | 0
43 | 0.97324 | -0.18809 | 0 | 0
44 | 0.97776 | -0.15573 | 0.014849 | 0.0037214
45 | 0.98386 | -0.11248 | 0 | 0
46 | 0.98674 | -0.092265 | 0 | 0
47 | 0.98101 | -0.13269 | 0.016442 | 0.0041208
48 | 0.97039 | -0.20857 | 0.016685 | 0.0041818
49 | 0.97922 | -0.14569 | 0.00080972 | 0.00020294
50 | 0.97874 | -0.14908 | 0.00073752 | 0.00018484
51 | 0.97922 | -0.14562 | 0.0011741 | 0.00029427
52 | 0.97941 | -0.1443 | 0.00075286 | 0.00018868
53 | 0.98059 | -0.13592 | 0.0011299 | 0.00028319
54 | 0.97194 | -0.19746 | 0.015328 | 0.0038417
55 | 0.9826 | -0.12159 | 0.0046995 | 0.0011778
56 | 0.98314 | -0.11778 | 0.0015798 | 0.00039594
57 | 0.98029 | -0.13802 | 0.0026268 | 0.00065833
58 | 0.98858 | -0.079384 | 0.01389 | 0.0034811
59 | 0.99034 | -0.067094 | 0.011624 | 0.0029134
60 | 0.99005 | -0.069083 | 0.0054241 | 0.0013594
61 | 0.9719 | -0.19812 | 0.0072819 | 0.001825
62 | 0.97186 | -0.19842 | 0.0012187 | 0.00030545
63 | 0.97238 | -0.19466 | 0.0023968 | 0.00060071
64 | 0.97253 | -0.19357 | 0.0012936 | 0.00032422
65 | 0.97143 | -0.2016 | 0 | 0
66 | 0.97101 | -0.20464 | 0.00068035 | 0.00017051
67 | 0.97069 | -0.20693 | 0.0028088 | 0.00070395
68 | 0.98176 | -0.12754 | 0 | 0
69 | 0.98162 | -0.12856 | 0 | 0
70 | 0.98169 | -0.12807 | 0.0024051 | 0.00060279
71 | 0.98115 | -0.13187 | 0.0018567 | 0.00046533
72 | 0.98164 | -0.12845 | 0.0018689 | 0.0004684
73 | 0.98088 | -0.13384 | 0 | 0
74 | 0.98045 | -0.13687 | 0 | 0
75 | 0.98076 | -0.1347 | 0.00089357 | 0.00022395
76 | 0.97985 | -0.14117 | 0 | 0
77 | 0.98043 | -0.13702 | 0.0009674 | 0.00024245
78 | 0.97953 | -0.14347 | 0.00063653 | 0.00015953
79 | 0.97981 | -0.14142 | 0.00059218 | 0.00014841
80 | 0.97961 | -0.14289 | 0.0010536 | 0.00026407
81 | 0.97943 | -0.14415 | 0.0026425 | 0.00066228
82 | 0.97938 | -0.14455 | 0 | 0
83 | 0.97871 | -0.14933 | 0.00074464 | 0.00018663
84 | 0.97868 | -0.14955 | 0.00081475 | 0.0002042
85 | 0.97866 | -0.14968 | 0.0011143 | 0.00027926
86 | 0.97864 | -0.14981 | 0.0013782 | 0.00034541
87 | 0.9705 | -0.20829 | 0.0018038 | 0.00045207
88 | 0.9704 | -0.20902 | 0.00086315 | 0.00021633
89 | 0.99998 | 149.9947 | 0 | 0

## res_line
| p_from_mw | q_from_mvar | p_to_mw | q_to_mvar | pl_mw | ql_mvar | i_from_ka | i_to_ka | i_ka | vm_from_pu | va_from_degree | vm_to_pu | va_to_degree | loading_percent
0 | -0.025393 | -0.0063657 | 0.025451 | 0.006387 | 5.734e-05 | 2.1289e-05 | 0.038756 | 0.038755 | 0.038756 | 0.97499 | -0.17591 | 0.97726 | -0.15964 | 14.3539
1 | 0.023828 | 0.0059734 | -0.023812 | -0.0059675 | 1.6e-05 | 5.9122e-06 | 0.036367 | 0.036367 | 0.036367 | 0.97499 | -0.17591 | 0.97431 | -0.18076 | 13.4692
2 | -0.029206 | -0.007328 | 0.029222 | 0.0073338 | 1.6844e-05 | 5.7942e-06 | 0.044472 | 0.044472 | 0.044472 | 0.97726 | -0.15964 | 0.97784 | -0.15548 | 8.2356
3 | 0.0071334 | 0.0017849 | -0.0071289 | -0.0017839 | 4.5197e-06 | 9.7869e-07 | 0.010893 | 0.010894 | 0.010894 | 0.97431 | -0.18076 | 0.97368 | -0.18535 | 4.0347
4 | 0.016679 | 0.0041826 | -0.016678 | -0.0041823 | 9.0782e-07 | 3.2124e-07 | 0.025474 | 0.025474 | 0.025474 | 0.97431 | -0.18076 | 0.97426 | -0.18115 | 9.4346
5 | -0.032243 | -0.0080909 | 0.032255 | 0.0080947 | 1.2213e-05 | 3.7793e-06 | 0.049069 | 0.049069 | 0.049069 | 0.97784 | -0.15548 | 0.97822 | -0.15275 | 6.0579
6 | 0.0071289 | 0.0017839 | -0.007119 | -0.0017817 | 9.8977e-06 | 2.1469e-06 | 0.010894 | 0.010894 | 0.010894 | 0.97368 | -0.18535 | 0.97228 | -0.19541 | 4.0349
7 | 0.016678 | 0.0041823 | -0.016658 | -0.0041754 | 1.9404e-05 | 6.8671e-06 | 0.025474 | 0.025474 | 0.025474 | 0.97426 | -0.18115 | 0.97309 | -0.18955 | 9.4347
8 | -0.032255 | -0.0080947 | 0.032272 | 0.0080997 | 1.6375e-05 | 5.0659e-06 | 0.049069 | 0.049068 | 0.049069 | 0.97822 | -0.15275 | 0.97874 | -0.1491 | 6.0579
9 | 0.0061663 | 0.001543 | -0.0061647 | -0.0015427 | 1.5453e-06 | 2.4951e-07 | 0.0094362 | 0.0094363 | 0.0094363 | 0.97228 | -0.19541 | 0.97203 | -0.19723 | 3.4949
10 | 0.014742 | 0.0036952 | -0.014742 | -0.0036949 | 8.285e-07 | 2.862e-07 | 0.022544 | 0.022544 | 0.022544 | 0.97309 | -0.18955 | 0.97303 | -0.18996 | 8.3495
11 | -0.032272 | -0.0080997 | 0.032281 | 0.0081026 | 9.2546e-06 | 2.8625e-06 | 0.049068 | 0.049068 | 0.049068 | 0.97874 | -0.1491 | 0.97903 | -0.14703 | 6.0578
12 | 0.0061647 | 0.0015427 | -0.006161 | -0.0015421 | 3.7182e-06 | 6.0112e-07 | 0.0094363 | 0.0094366 | 0.0094366 | 0.97203 | -0.19723 | 0.97143 | -0.2016 | 3.495
13 | -0.0061099 | -0.0015308 | 0.0061101 | 0.0015308 | 2.0684e-07 | 3.1214e-08 | 0.0092861 | 0.0092861 | 0.0092861 | 0.97903 | -0.14702 | 0.97907 | -0.14678 | 3.4393
14 | 0.0061099 | 0.0015308 | -0.0061084 | -0.0015306 | 1.4239e-06 | 2.1499e-07 | 0.0092861 | 0.0092862 | 0.0092862 | 0.97903 | -0.14702 | 0.9788 | -0.1487 | 3.4393
15 | -0.0061101 | -0.0015308 | 0.006111 | 0.001531 | 9.1515e-07 | 1.3806e-07 | 0.0092861 | 0.009286 | 0.0092861 | 0.97907 | -0.14678 | 0.97922 | -0.14569 | 3.4393
16 | 0.00479 | 0.0012001 | -0.0047897 | -0.0012001 | 2.4886e-07 | 1.1883e-09 | 0.0072818 | 0.0072819 | 0.0072819 | 0.9788 | -0.1487 | 0.97874 | -0.14908 | 2.697
17 | -0.032967 | -0.0082745 | 0.032973 | 0.0082765 | 6.4663e-06 | 2.0199e-06 | 0.050111 | 0.050111 | 0.050111 | 0.97903 | -0.14703 | 0.97922 | -0.14562 | 6.1865
18 | -0.0035563 | -0.00089114 | 0.0035568 | 0.00089098 | 5.1779e-07 | -1.6002e-07 | 0.0053978 | 0.0053976 | 0.0053978 | 0.98037 | -0.1375 | 0.98051 | -0.13645 | 1.9992
19 | 0.0035563 | 0.00089114 | -0.0035561 | -0.00089121 | 2.1815e-07 | -6.7381e-08 | 0.0053978 | 0.0053978 | 0.0053978 | 0.98037 | -0.1375 | 0.9803 | -0.13795 | 1.9992
20 | -0.0035568 | -0.00089098 | 0.0035571 | 0.0008909 | 2.6227e-07 | -8.1104e-08 | 0.0053976 | 0.0053976 | 0.0053976 | 0.98051 | -0.13645 | 0.98059 | -0.13592 | 1.9991
21 | 0.0026268 | 0.0006583 | -0.0026268 | -0.00065833 | 2.801e-08 | -2.4824e-08 | 0.0039872 | 0.0039872 | 0.0039872 | 0.9803 | -0.13795 | 0.98029 | -0.13802 | 1.4768
22 | 0.0025431 | 0.0006372 | -0.002543 | -0.00063733 | 1.2679e-07 | -1.2527e-07 | 0.0038483 | 0.0038483 | 0.0038483 | 0.98333 | -0.1164 | 0.98328 | -0.11676 | 1.4253
23 | 0.065925 | 0.016555 | -0.065915 | -0.016551 | 1.0452e-05 | 3.8279e-06 | 0.099772 | 0.099772 | 0.099772 | 0.98333 | -0.1164 | 0.98317 | -0.11754 | 12.3176
24 | -0.068468 | -0.017192 | 0.069417 | 0.017541 | 0.00094896 | 0.00034858 | 0.10362 | 0.10361 | 0.10362 | 0.98333 | -0.1164 | 0.99739 | -0.017971 | 12.7926
25 | 0.064335 | 0.016156 | -0.064299 | -0.016142 | 3.6196e-05 | 1.3224e-05 | 0.097381 | 0.097381 | 0.097381 | 0.98317 | -0.11754 | 0.9826 | -0.12159 | 12.0224
26 | 0.0015799 | 0.00039577 | -0.0015798 | -0.00039594 | 5.3317e-08 | -1.6901e-07 | 0.0023911 | 0.0023911 | 0.0023911 | 0.98317 | -0.11754 | 0.98314 | -0.11778 | 0.8856
27 | -0.069417 | -0.017541 | 0.069527 | 0.017581 | 0.00010935 | 4.0137e-05 | 0.10361 | 0.10361 | 0.10361 | 0.99739 | -0.017971 | 0.99901 | -0.0067955 | 12.7919
28 | -0.073606 | -0.018604 | 0.073677 | 0.01863 | 7.0495e-05 | 2.6006e-05 | 0.10969 | 0.10969 | 0.10969 | 0.99901 | -0.0067955 | 1 | 0 | 13.542
29 | 0.012203 | 0.0030587 | -0.012197 | -0.0030567 | 6.1071e-06 | 2e-06 | 0.018662 | 0.018662 | 0.018662 | 0.97303 | -0.18996 | 0.97253 | -0.19357 | 6.9117
30 | 0.12054 | 0.030407 | -0.12045 | -0.030373 | 8.9742e-05 | 3.4002e-05 | 0.18054 | 0.18054 | 0.18054 | 0.99389 | -0.042311 | 0.99313 | -0.047623 | 22.2892
31 | -0.12395 | -0.031261 | 0.12401 | 0.031284 | 6.141e-05 | 2.3286e-05 | 0.18564 | 0.18564 | 0.18564 | 0.99389 | -0.042311 | 0.9944 | -0.038779 | 22.9189
32 | 0.11796 | 0.029748 | -0.11791 | -0.029729 | 5.1227e-05 | 1.9397e-05 | 0.17681 | 0.17681 | 0.17681 | 0.99313 | -0.047623 | 0.99268 | -0.050723 | 21.8278
33 | -0.12682 | -0.031989 | 0.12693 | 0.032031 | 0.00011066 | 4.1988e-05 | 0.18985 | 0.18985 | 0.18985 | 0.9944 | -0.038779 | 0.99529 | -0.032562 | 23.4382
34 | 0.11541 | 0.029103 | -0.11539 | -0.029094 | 2.3893e-05 | 9.041e-06 | 0.17306 | 0.17306 | 0.17306 | 0.99268 | -0.050723 | 0.99247 | -0.0522 | 21.3657
35 | -0.12988 | -0.032768 | 0.12994 | 0.032792 | 6.1158e-05 | 2.3219e-05 | 0.19425 | 0.19425 | 0.19425 | 0.99529 | -0.032562 | 0.99578 | -0.029208 | 23.9813
36 | 0.11329 | 0.028569 | -0.11321 | -0.028537 | 8.3468e-05 | 3.1565e-05 | 0.16992 | 0.16992 | 0.16992 | 0.99247 | -0.0522 | 0.99172 | -0.057461 | 20.9778
37 | -0.13397 | -0.033802 | 0.13411 | 0.033856 | 0.00014322 | 5.4415e-05 | 0.20027 | 0.20027 | 0.20027 | 0.99578 | -0.029208 | 0.99688 | -0.021597 | 24.7249
38 | 0.10814 | 0.027266 | -0.1081 | -0.027253 | 3.4028e-05 | 1.2847e-05 | 0.16231 | 0.16231 | 0.16231 | 0.99172 | -0.057461 | 0.9914 | -0.059707 | 20.0382
39 | -0.13887 | -0.03505 | 0.13893 | 0.03507 | 5.4375e-05 | 2.0676e-05 | 0.20738 | 0.20738 | 0.20738 | 0.99688 | -0.021597 | 0.99728 | -0.018809 | 25.6025
40 | -0.14326 | -0.036156 | 0.14343 | 0.03622 | 0.00016838 | 6.4067e-05 | 0.21384 | 0.21384 | 0.21384 | 0.99728 | -0.018809 | 0.99849 | -0.010447 | 26.4
41 | -0.14745 | -0.037227 | 0.14747 | 0.037238 | 2.688e-05 | 1.0233e-05 | 0.21983 | 0.21983 | 0.21983 | 0.99849 | -0.010447 | 0.99867 | -0.0091502 | 27.1397
42 | -0.15306 | -0.038636 | 0.15325 | 0.038712 | 0.00019696 | 7.504e-05 | 0.22815 | 0.22815 | 0.22815 | 0.99867 | -0.0091502 | 1 | 0 | 28.1665
43 | 0.10479 | 0.026422 | -0.1047 | -0.026391 | 8.0585e-05 | 3.0389e-05 | 0.15733 | 0.15733 | 0.15733 | 0.9914 | -0.059707 | 0.99061 | -0.065199 | 19.4237
44 | 0.093077 | 0.023477 | -0.093026 | -0.023458 | 5.0662e-05 | 1.9005e-05 | 0.13987 | 0.13987 | 0.13987 | 0.99061 | -0.065199 | 0.99005 | -0.069083 | 17.2675
45 | 0.011627 | 0.0029143 | -0.011624 | -0.0029134 | 3.0502e-06 | 9.6691e-07 | 0.017466 | 0.017466 | 0.017466 | 0.99061 | -0.065199 | 0.99034 | -0.067094 | 6.4689
46 | 0.0092805 | 0.0023261 | -0.0092752 | -0.0023246 | 5.2562e-06 | 1.5064e-06 | 0.014219 | 0.014219 | 0.014219 | 0.9712 | -0.20274 | 0.97063 | -0.20683 | 5.2664
47 | -0.0092805 | -0.0023261 | 0.0092846 | 0.0023273 | 4.0871e-06 | 1.1709e-06 | 0.014219 | 0.014219 | 0.014219 | 0.9712 | -0.20274 | 0.97164 | -0.19956 | 5.2663
48 | 0.016706 | 0.0041892 | -0.016685 | -0.0041818 | 2.0841e-05 | 7.3847e-06 | 0.025586 | 0.025586 | 0.025586 | 0.97164 | -0.19956 | 0.97039 | -0.20857 | 9.4762
49 | -0.025991 | -0.0065164 | 0.026032 | 0.0065318 | 4.1359e-05 | 1.5388e-05 | 0.039805 | 0.039804 | 0.039805 | 0.97164 | -0.19956 | 0.97324 | -0.18809 | 14.7424
50 | 0.041511 | 0.01043 | -0.041381 | -0.01038 | 0.00012999 | 4.9347e-05 | 0.063271 | 0.063272 | 0.063272 | 0.97639 | -0.16552 | 0.97324 | -0.18809 | 23.4339
51 | -0.041511 | -0.01043 | 0.041567 | 0.010451 | 5.6582e-05 | 2.1479e-05 | 0.063271 | 0.063271 | 0.063271 | 0.97639 | -0.16552 | 0.97776 | -0.15573 | 23.4338
52 | 0.015348 | 0.0038486 | -0.015328 | -0.0038417 | 1.9888e-05 | 6.9309e-06 | 0.023467 | 0.023468 | 0.023468 | 0.97324 | -0.18809 | 0.97194 | -0.19746 | 8.6917
53 | -0.056416 | -0.014173 | 0.056597 | 0.014242 | 0.00018138 | 6.9266e-05 | 0.085869 | 0.085869 | 0.085869 | 0.97776 | -0.15573 | 0.98101 | -0.13269 | 31.8032
54 | -0.073246 | -0.018442 | 0.073453 | 0.018521 | 0.00020744 | 7.9438e-05 | 0.11081 | 0.11081 | 0.11081 | 0.98386 | -0.11248 | 0.98674 | -0.092265 | 41.0402
55 | 0.073246 | 0.018442 | -0.07304 | -0.018363 | 0.00020631 | 7.9009e-05 | 0.11081 | 0.11081 | 0.11081 | 0.98386 | -0.11248 | 0.98101 | -0.13269 | 41.0403
56 | -0.073453 | -0.018521 | 0.073586 | 0.01857 | 0.00013282 | 4.9088e-05 | 0.11081 | 0.11081 | 0.11081 | 0.98674 | -0.092265 | 0.98858 | -0.079384 | 13.6801
57 | -0.0069207 | -0.0017339 | 0.0069218 | 0.0017341 | 1.0946e-06 | 2.2145e-07 | 0.010516 | 0.010516 | 0.010516 | 0.97922 | -0.14569 | 0.97938 | -0.14455 | 3.895
58 | 0.0040522 | 0.0010153 | -0.0040521 | -0.0010153 | 1.3925e-07 | -2.0334e-08 | 0.0061606 | 0.0061606 | 0.0061606 | 0.97874 | -0.14908 | 0.97871 | -0.14933 | 2.2817
59 | -0.034148 | -0.0085708 | 0.034154 | 0.0085728 | 6.2797e-06 | 1.9921e-06 | 0.051895 | 0.051895 | 0.051895 | 0.97922 | -0.14562 | 0.97941 | -0.1443 | 6.4068
60 | -0.034907 | -0.0087615 | 0.034914 | 0.0087637 | 6.8046e-06 | 2.178e-06 | 0.053038 | 0.053038 | 0.053038 | 0.97941 | -0.1443 | 0.97961 | -0.14289 | 6.548
61 | -0.004687 | -0.0011741 | 0.0046878 | 0.0011741 | 7.8937e-07 | -1.1932e-08 | 0.0071122 | 0.0071121 | 0.0071122 | 0.98059 | -0.13592 | 0.98076 | -0.1347 | 2.6342
62 | 0.059599 | 0.014965 | -0.05955 | -0.014947 | 4.928e-05 | 1.785e-05 | 0.090265 | 0.090265 | 0.090265 | 0.9826 | -0.12159 | 0.98176 | -0.12754 | 11.1438
63 | -0.087476 | -0.022051 | 0.087602 | 0.022099 | 0.00012639 | 4.7264e-05 | 0.13171 | 0.13171 | 0.13171 | 0.98858 | -0.079384 | 0.99005 | -0.069083 | 16.2611
64 | 0.0012188 | 0.00030517 | -0.0012187 | -0.00030545 | 5.0991e-08 | -2.7122e-07 | 0.0018659 | 0.001866 | 0.001866 | 0.9719 | -0.19812 | 0.97186 | -0.19842 | 0.69112
65 | -0.0085007 | -0.0021302 | 0.0085047 | 0.0021313 | 4.072e-06 | 1.0885e-06 | 0.013015 | 0.013015 | 0.013015 | 0.9719 | -0.19812 | 0.97238 | -0.19466 | 4.8203
66 | -0.010902 | -0.002732 | 0.010903 | 0.0027325 | 1.6413e-06 | 5.1401e-07 | 0.016682 | 0.016682 | 0.016682 | 0.97238 | -0.19466 | 0.97253 | -0.19357 | 6.1787
67 | 0.006161 | 0.0015421 | -0.0061584 | -0.0015417 | 2.5846e-06 | 4.185e-07 | 0.0094366 | 0.0094368 | 0.0094368 | 0.97143 | -0.2016 | 0.97101 | -0.20464 | 3.4951
68 | 0.0054781 | 0.0013712 | -0.0054763 | -0.001371 | 1.7353e-06 | 1.794e-07 | 0.0083942 | 0.0083944 | 0.0083944 | 0.97101 | -0.20464 | 0.97069 | -0.20693 | 3.109
69 | 0.0026675 | 0.00066705 | -0.002667 | -0.00066745 | 4.9859e-07 | -3.9893e-07 | 0.0040886 | 0.0040889 | 0.0040889 | 0.97069 | -0.20693 | 0.9705 | -0.20829 | 1.5144
70 | 0.055275 | 0.013876 | -0.055268 | -0.013873 | 7.8004e-06 | 2.7975e-06 | 0.083786 | 0.083787 | 0.083787 | 0.98176 | -0.12754 | 0.98162 | -0.12856 | 10.344
71 | 0.0042745 | 0.0010709 | -0.0042742 | -0.001071 | 3.0936e-07 | -3.0368e-08 | 0.0064786 | 0.0064786 | 0.0064786 | 0.98176 | -0.12754 | 0.98169 | -0.12807 | 2.3995
72 | 0.055268 | 0.013873 | -0.055242 | -0.013864 | 2.5395e-05 | 9.108e-06 | 0.083787 | 0.083787 | 0.083787 | 0.98162 | -0.12856 | 0.98115 | -0.13187 | 10.344
73 | 0.001869 | 0.00046819 | -0.0018689 | -0.0004684 | 9.8831e-08 | -2.1148e-07 | 0.002833 | 0.002833 | 0.002833 | 0.98169 | -0.12807 | 0.98164 | -0.12845 | 1.0493
74 | 0.053385 | 0.013399 | -0.053371 | -0.013393 | 1.4594e-05 | 5.2078e-06 | 0.080971 | 0.080971 | 0.080971 | 0.98115 | -0.13187 | 0.98088 | -0.13384 | 9.9964
75 | 0.047789 | 0.011995 | -0.047769 | -0.011988 | 2.0119e-05 | 7.0415e-06 | 0.072503 | 0.072504 | 0.072504 | 0.98088 | -0.13384 | 0.98045 | -0.13687 | 8.9511
76 | 0.005582 | 0.0013981 | -0.0055814 | -0.001398 | 6.6523e-07 | 6.8216e-08 | 0.0084678 | 0.0084678 | 0.0084678 | 0.98088 | -0.13384 | 0.98076 | -0.1347 | 3.1362
77 | 0.046801 | 0.011746 | -0.046773 | -0.011736 | 2.7886e-05 | 9.7209e-06 | 0.071035 | 0.071036 | 0.071036 | 0.98045 | -0.13687 | 0.97985 | -0.14117 | 8.7699
78 | 0.00096742 | 0.00024227 | -0.0009674 | -0.00024245 | 1.9867e-08 | -1.7862e-07 | 0.0014682 | 0.0014682 | 0.0014682 | 0.98045 | -0.13687 | 0.98043 | -0.13702 | 0.54379
79 | 0.010205 | 0.0025572 | -0.010202 | -0.0025563 | 3.2505e-06 | 9.771e-07 | 0.015498 | 0.015498 | 0.015498 | 0.97985 | -0.14117 | 0.97953 | -0.14347 | 5.74
80 | 0.036568 | 0.009179 | -0.036567 | -0.0091785 | 1.3052e-06 | 4.2512e-07 | 0.055538 | 0.055538 | 0.055538 | 0.97985 | -0.14117 | 0.97981 | -0.14142 | 6.8565
81 | 0.0095656 | 0.0023967 | -0.0095647 | -0.0023965 | 8.9705e-07 | 2.5933e-07 | 0.014531 | 0.014531 | 0.014531 | 0.97953 | -0.14347 | 0.97943 | -0.14415 | 5.3819
82 | 0.035975 | 0.0090301 | -0.035967 | -0.0090277 | 7.3456e-06 | 2.3784e-06 | 0.054639 | 0.054639 | 0.054639 | 0.97981 | -0.14142 | 0.97961 | -0.14289 | 6.7455
83 | 0.0069222 | 0.0017342 | -0.0069218 | -0.0017341 | 3.8688e-07 | 7.8251e-08 | 0.010516 | 0.010516 | 0.010516 | 0.97943 | -0.14415 | 0.97938 | -0.14455 | 3.895
84 | 0.0033074 | 0.00082868 | -0.0033073 | -0.00082873 | 1.0068e-07 | -4.1459e-08 | 0.0050285 | 0.0050285 | 0.0050285 | 0.97871 | -0.14933 | 0.97868 | -0.14955 | 1.8624
85 | 0.0024926 | 0.00062453 | -0.0024925 | -0.00062458 | 4.6842e-08 | -4.7661e-08 | 0.0037897 | 0.0037898 | 0.0037898 | 0.97868 | -0.14955 | 0.97866 | -0.14968 | 1.4036
86 | 0.0013782 | 0.00034531 | -0.0013782 | -0.00034541 | 2.4082e-08 | -1.0117e-07 | 0.0020955 | 0.0020956 | 0.0020956 | 0.97866 | -0.14968 | 0.97864 | -0.14981 | 0.77614
87 | 0.00086324 | 0.00021538 | -0.00086315 | -0.00021633 | 8.6822e-08 | -9.4821e-07 | 0.0013232 | 0.0013236 | 0.0013236 | 0.9705 | -0.20829 | 0.9704 | -0.20902 | 0.49021

## res_trafo
| p_hv_mw | q_hv_mvar | p_lv_mw | q_lv_mvar | pl_mw | ql_mvar | i_hv_ka | i_lv_ka | vm_hv_pu | va_hv_degree | vm_lv_pu | va_lv_degree | loading_percent
0 | 2.5187e-16 | 8.8016e-16 | 0.00079998 | 7.4552e-08 | 0.00079998 | 7.4552e-08 | 2.6429e-17 | 0.0011547 | 0.99998 | 149.9947 | 1 | 0 | 0.31999

## res_ext_grid
| p_mw | q_mvar
0 | 0.23273 | 0.058594

## res_load
| p_mw | q_mvar
0 | 0.0015652 | 0.00039227
1 | 0.0037548 | 0.00094104
2 | 0.0030208 | 0.00075708
3 | 0.00095271 | 0.00023877
4 | 0.0019162 | 0.00048023
5 | 0.0013185 | 0.00033044
6 | 0.00068606 | 0.00017194
7 | 0.0009293 | 0.0002329
8 | 0.002543 | 0.00063733
9 | 0.0040797 | 0.0010225
10 | 0.0025385 | 0.00063621
11 | 0.003407 | 0.00085388
12 | 0.0024941 | 0.00062507
13 | 0.0028113 | 0.00070458
14 | 0.0024975 | 0.00062592
15 | 0.0029424 | 0.00073743
16 | 0.0020954 | 0.00052517
17 | 0.0040312 | 0.0010103
18 | 0.0050725 | 0.0012713
19 | 0.0047619 | 0.0011935
20 | 0.0043299 | 0.0010852
21 | 0.0040205 | 0.0010076
22 | 0.0055818 | 0.0013989
23 | 0.0050002 | 0.0012532
24 | 0.0033161 | 0.00083109
25 | 0.0092752 | 0.0023246
26 | 0.014849 | 0.0037214
27 | 0.016442 | 0.0041208
28 | 0.016685 | 0.0041818
29 | 0.00080972 | 0.00020294
30 | 0.00073752 | 0.00018484
31 | 0.0011741 | 0.00029427
32 | 0.00075286 | 0.00018868
33 | 0.0011299 | 0.00028319
34 | 0.015328 | 0.0038417
35 | 0.0046995 | 0.0011778
36 | 0.0015798 | 0.00039594
37 | 0.0026268 | 0.00065833
38 | 0.01389 | 0.0034811
39 | 0.011624 | 0.0029134
40 | 0.0054241 | 0.0013594
41 | 0.0072819 | 0.001825
42 | 0.0012187 | 0.00030545
43 | 0.0023968 | 0.00060071
44 | 0.0012936 | 0.00032422
45 | 0.00068035 | 0.00017051
46 | 0.0028088 | 0.00070395
47 | 0.0024051 | 0.00060279
48 | 0.0018567 | 0.00046533
49 | 0.0018689 | 0.0004684
50 | 0.00089357 | 0.00022395
51 | 0.0009674 | 0.00024245
52 | 0.00063653 | 0.00015953
53 | 0.00059218 | 0.00014841
54 | 0.0010536 | 0.00026407
55 | 0.0026425 | 0.00066228
56 | 0.00074464 | 0.00018663
57 | 0.00081475 | 0.0002042
58 | 0.0011143 | 0.00027926
59 | 0.0013782 | 0.00034541
60 | 0.0018038 | 0.00045207
61 | 0.00086315 | 0.00021633

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object
62 | res_bus | vm_pu | float64
63 | res_bus | va_degree | float64
64 | res_bus | p_mw | float64
65 | res_bus | q_mvar | float64
66 | res_line | p_from_mw | float64
67 | res_line | q_from_mvar | float64
68 | res_line | p_to_mw | float64
69 | res_line | q_to_mvar | float64
70 | res_line | pl_mw | float64
71 | res_line | ql_mvar | float64
72 | res_line | i_from_ka | float64
73 | res_line | i_to_ka | float64
74 | res_line | i_ka | float64
75 | res_line | vm_from_pu | float64
76 | res_line | va_from_degree | float64
77 | res_line | vm_to_pu | float64
78 | res_line | va_to_degree | float64
79 | res_line | loading_percent | float64
80 | res_trafo | p_hv_mw | float64
81 | res_trafo | q_hv_mvar | float64
82 | res_trafo | p_lv_mw | float64
83 | res_trafo | q_lv_mvar | float64
84 | res_trafo | pl_mw | float64
85 | res_trafo | ql_mvar | float64
86 | res_trafo | i_hv_ka | float64
87 | res_trafo | i_lv_ka | float64
88 | res_trafo | vm_hv_pu | float64
89 | res_trafo | va_hv_degree | float64
90 | res_trafo | vm_lv_pu | float64
91 | res_trafo | va_lv_degree | float64
92 | res_trafo | loading_percent | float64
93 | res_ext_grid | p_mw | float64
94 | res_ext_grid | q_mvar | float64
95 | res_load | p_mw | float64
96 | res_load | q_mvar | float64

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | TRUE | FALSE |  | 50 | 1