## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_1097-17_0_4_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_1097-17_0_4_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_1097-17_0_4_node_3 | 0.4 | n |  | TRUE
3 | bus_LV_1097-17_0_4_node_39 | 0.4 | n |  | TRUE
4 | bus_LV_1097-17_0_4_node_40 | 0.4 | n |  | TRUE
5 | bus_LV_1097-17_0_4_node_14 | 0.4 | n |  | TRUE
6 | bus_LV_1097-17_0_4_node_38 | 0.4 | n |  | TRUE
7 | bus_LV_1097-17_0_4_node_20 | 0.4 | n |  | TRUE
8 | bus_LV_1097-17_0_4_node_15 | 0.4 | n |  | TRUE
9 | bus_LV_1097-17_0_4_node_4 | 0.4 | n |  | TRUE
10 | bus_LV_1097-17_0_4_node_5 | 0.4 | n |  | TRUE
11 | bus_LV_1097-17_0_4_node_6 | 0.4 | n |  | TRUE
12 | bus_LV_1097-17_0_4_node_7 | 0.4 | n |  | TRUE
13 | bus_LV_1097-17_0_4_node_8 | 0.4 | n |  | TRUE
14 | bus_LV_1097-17_0_4_node_11 | 0.4 | n |  | TRUE
15 | bus_LV_1097-17_0_4_node_13 | 0.4 | n |  | TRUE
16 | bus_LV_1097-17_0_4_node_9 | 0.4 | n |  | TRUE
17 | bus_LV_1097-17_0_4_node_10 | 0.4 | n |  | TRUE
18 | bus_LV_1097-17_0_4_node_12 | 0.4 | n |  | TRUE
19 | bus_LV_1097-17_0_4_node_36 | 0.4 | n |  | TRUE
20 | bus_LV_1097-17_0_4_node_37 | 0.4 | n |  | TRUE
21 | bus_LV_1097-17_0_4_node_16 | 0.4 | n |  | TRUE
22 | bus_LV_1097-17_0_4_node_17 | 0.4 | n |  | TRUE
23 | bus_LV_1097-17_0_4_node_18 | 0.4 | n |  | TRUE
24 | bus_LV_1097-17_0_4_node_19 | 0.4 | n |  | TRUE
25 | bus_LV_1097-17_0_4_node_21 | 0.4 | n |  | TRUE
26 | bus_LV_1097-17_0_4_node_22 | 0.4 | n |  | TRUE
27 | bus_LV_1097-17_0_4_node_47 | 0.4 | n |  | TRUE
28 | bus_LV_1097-17_0_4_node_25 | 0.4 | n |  | TRUE
29 | bus_LV_1097-17_0_4_node_23 | 0.4 | n |  | TRUE
30 | bus_LV_1097-17_0_4_node_46 | 0.4 | n |  | TRUE
31 | bus_LV_1097-17_0_4_node_24 | 0.4 | n |  | TRUE
32 | bus_LV_1097-17_0_4_node_34 | 0.4 | n |  | TRUE
33 | bus_LV_1097-17_0_4_node_35 | 0.4 | n |  | TRUE
34 | bus_LV_1097-17_0_4_node_26 | 0.4 | n |  | TRUE
35 | bus_LV_1097-17_0_4_node_27 | 0.4 | n |  | TRUE
36 | bus_LV_1097-17_0_4_node_28 | 0.4 | n |  | TRUE
37 | bus_LV_1097-17_0_4_node_29 | 0.4 | n |  | TRUE
38 | bus_LV_1097-17_0_4_node_30 | 0.4 | n |  | TRUE
39 | bus_LV_1097-17_0_4_node_31 | 0.4 | n |  | TRUE
40 | bus_LV_1097-17_0_4_node_33 | 0.4 | n |  | TRUE
41 | bus_LV_1097-17_0_4_node_41 | 0.4 | n |  | TRUE
42 | bus_LV_1097-17_0_4_node_59 | 0.4 | n |  | TRUE
43 | bus_LV_1097-17_0_4_node_60 | 0.4 | n |  | TRUE
44 | bus_LV_1097-17_0_4_node_48 | 0.4 | n |  | TRUE
45 | bus_LV_1097-17_0_4_node_49 | 0.4 | n |  | TRUE
46 | bus_LV_1097-17_0_4_node_50 | 0.4 | n |  | TRUE
47 | bus_LV_1097-17_0_4_node_51 | 0.4 | n |  | TRUE
48 | bus_LV_1097-17_0_4_node_52 | 0.4 | n |  | TRUE
49 | bus_LV_1097-17_0_4_node_53 | 0.4 | n |  | TRUE
50 | bus_LV_1097-17_0_4_node_54 | 0.4 | n |  | TRUE
51 | bus_LV_1097-17_0_4_node_58 | 0.4 | n |  | TRUE
52 | bus_LV_1097-17_0_4_node_55 | 0.4 | n |  | TRUE
53 | bus_LV_1097-17_0_4_node_56 | 0.4 | n |  | TRUE
54 | bus_LV_1097-17_0_4_node_57 | 0.4 | n |  | TRUE
55 | bus_LV_1097-17_0_4_node_42 | 0.4 | n |  | TRUE
56 | bus_LV_1097-17_0_4_node_43 | 0.4 | n |  | TRUE
57 | bus_LV_1097-17_0_4_node_44 | 0.4 | n |  | TRUE
58 | bus_LV_1097-17_0_4_node_45 | 0.4 | n |  | TRUE
59 | bus_MV_473_2_node_64 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_1097-17_0_4_load_0 | 0 | 0.0057974 | 0.001453 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_1097-17_0_4_load_1 | 1 | 0.004994 | 0.0012516 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_1097-17_0_4_load_3 | 2 | 0.0028633 | 0.00071762 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_1097-17_0_4_load_39 | 3 | 0.0061681 | 0.0015459 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_1097-17_0_4_load_40 | 4 | 0.0059065 | 0.0014803 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_1097-17_0_4_load_14 | 5 | 0.0025964 | 0.00065071 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_1097-17_0_4_load_38 | 6 | 0.0036409 | 0.00091248 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_1097-17_0_4_load_15 | 8 | 0.0033558 | 0.00084103 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_1097-17_0_4_load_4 | 9 | 0.003217 | 0.00080625 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_1097-17_0_4_load_5 | 10 | 0.0022883 | 0.00057349 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_1097-17_0_4_load_6 | 11 | 0.0069405 | 0.0017395 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_1097-17_0_4_load_7 | 12 | 0.0027994 | 0.0007016 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_1097-17_0_4_load_8 | 13 | 0.0035452 | 0.0008885 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_1097-17_0_4_load_13 | 15 | 0.0059137 | 0.0014821 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_1097-17_0_4_load_9 | 16 | 0.0019642 | 0.00049229 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_1097-17_0_4_load_12 | 18 | 0.0031432 | 0.00078776 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_1097-17_0_4_load_36 | 19 | 0.011001 | 0.0027572 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_1097-17_0_4_load_37 | 20 | 0.0077855 | 0.0019512 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_1097-17_0_4_load_16 | 21 | 0.0022341 | 0.00055993 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_1097-17_0_4_load_19 | 24 | 0.0023836 | 0.00059738 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_1097-17_0_4_load_22 | 26 | 0.0015012 | 0.00037625 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_1097-17_0_4_load_47 | 27 | 0.0051406 | 0.0012884 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_1097-17_0_4_load_25 | 28 | 0.0027787 | 0.0006964 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_1097-17_0_4_load_23 | 29 | 0.0027489 | 0.00068895 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_1097-17_0_4_load_46 | 30 | 0.0028978 | 0.00072626 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_1097-17_0_4_load_24 | 31 | 0.0021639 | 0.00054232 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_1097-17_0_4_load_34 | 32 | 0.0036683 | 0.00091936 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_1097-17_0_4_load_35 | 33 | 0.003313 | 0.00083032 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_1097-17_0_4_load_27 | 35 | 0.0031068 | 0.00077864 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_1097-17_0_4_load_28 | 36 | 0.0056089 | 0.0014057 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_1097-17_0_4_load_29 | 37 | 0.0039117 | 0.00098037 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_1097-17_0_4_load_31 | 39 | 0.00478 | 0.001198 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_1097-17_0_4_load_33 | 40 | 0.0032516 | 0.00081494 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_1097-17_0_4_load_59 | 42 | 0.0067308 | 0.0016869 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_1097-17_0_4_load_60 | 43 | 0.0057526 | 0.0014417 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_1097-17_0_4_load_48 | 44 | 0.0026164 | 0.00065574 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_1097-17_0_4_load_49 | 45 | 0.001936 | 0.0004852 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_1097-17_0_4_load_50 | 46 | 0.0039014 | 0.00097778 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_1097-17_0_4_load_51 | 47 | 0.0012829 | 0.00032152 | 0 | 0 |  | 1 | TRUE | wye
39 | LV_1097-17_0_4_load_54 | 50 | 0.0018669 | 0.00046789 | 0 | 0 |  | 1 | TRUE | wye
40 | LV_1097-17_0_4_load_55 | 52 | 0.011795 | 0.0029562 | 0 | 0 |  | 1 | TRUE | wye
41 | LV_1097-17_0_4_load_56 | 53 | 0.011797 | 0.0029567 | 0 | 0 |  | 1 | TRUE | wye
42 | LV_1097-17_0_4_load_57 | 54 | 0.011582 | 0.0029028 | 0 | 0 |  | 1 | TRUE | wye
43 | LV_1097-17_0_4_load_42 | 55 | 0.0028601 | 0.00071681 | 0 | 0 |  | 1 | TRUE | wye
44 | LV_1097-17_0_4_load_43 | 56 | 0.0027113 | 0.00067952 | 0 | 0 |  | 1 | TRUE | wye
45 | LV_1097-17_0_4_load_44 | 57 | 0.0030135 | 0.00075526 | 0 | 0 |  | 1 | TRUE | wye
46 | LV_1097-17_0_4_load_45 | 58 | 0.0015731 | 0.00039426 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 55 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_1097-17_0_4_line_0 | NAYY 4x150 SE | 0 | 1 | 0.00067277 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
1 | LV_1097-17_0_4_line_1 | NAYY 4x150 SE | 1 | 2 | 0.024958 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
2 | LV_1097-17_0_4_line_2 | NAYY 4x150 SE | 2 | 5 | 0.010988 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
3 | LV_1097-17_0_4_line_3 | NAYY 4x150 SE | 3 | 4 | 0.024651 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
4 | LV_1097-17_0_4_line_4 | NAYY 4x150 SE | 3 | 5 | 0.053087 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
5 | LV_1097-17_0_4_line_5 | NAYY 4x150 SE | 3 | 6 | 0.051767 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
6 | LV_1097-17_0_4_line_6 | NAYY 4x150 SE | 4 | 7 | 0.01134 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
7 | LV_1097-17_0_4_line_7 | NAYY 4x150 SE | 5 | 8 | 0.015256 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
8 | LV_1097-17_0_4_line_8 | NAYY 4x150 SE | 7 | 27 | 0.027605 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
9 | LV_1097-17_0_4_line_9 | NAYY 4x150 SE | 7 | 22 | 0.025343 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
10 | LV_1097-17_0_4_line_10 | NAYY 4x150 SE | 8 | 13 | 0.010995 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
11 | LV_1097-17_0_4_line_11 | NAYY 4x150 SE | 9 | 10 | 0.014342 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
12 | LV_1097-17_0_4_line_12 | NAYY 4x150 SE | 9 | 11 | 0.0092951 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
13 | LV_1097-17_0_4_line_13 | NAYY 4x150 SE | 10 | 12 | 0.0078597 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
14 | LV_1097-17_0_4_line_14 | NAYY 4x150 SE | 11 | 13 | 0.015218 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
15 | LV_1097-17_0_4_line_15 | NAYY 4x150 SE | 12 | 14 | 0.0041658 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
16 | LV_1097-17_0_4_line_16 | NAYY 4x150 SE | 14 | 15 | 0.022341 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
17 | LV_1097-17_0_4_line_17 | NAYY 4x150 SE | 14 | 16 | 0.021553 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
18 | LV_1097-17_0_4_line_18 | NAYY 4x150 SE | 15 | 19 | 0.012606 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
19 | LV_1097-17_0_4_line_19 | NAYY 4x150 SE | 16 | 17 | 0.065178 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
20 | LV_1097-17_0_4_line_20 | NAYY 4x150 SE | 17 | 18 | 0.05227 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
21 | LV_1097-17_0_4_line_21 | NAYY 4x150 SE | 19 | 20 | 0.041097 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
22 | LV_1097-17_0_4_line_22 | NAYY 4x150 SE | 21 | 22 | 0.026435 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
23 | LV_1097-17_0_4_line_23 | NAYY 4x150 SE | 21 | 23 | 0.039356 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
24 | LV_1097-17_0_4_line_24 | NAYY 4x150 SE | 22 | 24 | 0.017498 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
25 | LV_1097-17_0_4_line_25 | NAYY 4x150 SE | 23 | 25 | 0.015791 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
26 | LV_1097-17_0_4_line_26 | NAYY 4x150 SE | 24 | 26 | 0.019048 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
27 | LV_1097-17_0_4_line_27 | NAYY 4x150 SE | 25 | 28 | 0.019756 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
28 | LV_1097-17_0_4_line_28 | NAYY 4x150 SE | 26 | 29 | 0.020721 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
29 | LV_1097-17_0_4_line_29 | NAYY 4x150 SE | 27 | 30 | 0.0052786 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
30 | LV_1097-17_0_4_line_30 | NAYY 4x150 SE | 28 | 31 | 0.025934 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
31 | LV_1097-17_0_4_line_31 | NAYY 4x150 SE | 29 | 32 | 0.0094912 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
32 | LV_1097-17_0_4_line_32 | NAYY 4x150 SE | 30 | 58 | 0.017203 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
33 | LV_1097-17_0_4_line_33 | NAYY 4x150 SE | 31 | 34 | 0.013095 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
34 | LV_1097-17_0_4_line_34 | NAYY 4x150 SE | 32 | 33 | 0.027422 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
35 | LV_1097-17_0_4_line_35 | NAYY 4x150 SE | 33 | 40 | 0.016035 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
36 | LV_1097-17_0_4_line_36 | NAYY 4x150 SE | 34 | 35 | 0.019636 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
37 | LV_1097-17_0_4_line_37 | NAYY 4x150 SE | 36 | 37 | 0.0097728 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
38 | LV_1097-17_0_4_line_38 | NAYY 4x150 SE | 36 | 38 | 0.016746 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
39 | LV_1097-17_0_4_line_39 | NAYY 4x150 SE | 37 | 39 | 0.028704 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
40 | LV_1097-17_0_4_line_40 | NAYY 4x150 SE | 38 | 40 | 0.0039638 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
41 | LV_1097-17_0_4_line_41 | NAYY 4x150 SE | 39 | 41 | 0.018677 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
42 | LV_1097-17_0_4_line_42 | NAYY 4x150 SE | 41 | 42 | 0.041543 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
43 | LV_1097-17_0_4_line_43 | NAYY 4x150 SE | 42 | 43 | 0.025917 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
44 | LV_1097-17_0_4_line_44 | NAYY 4x150 SE | 42 | 51 | 0.076356 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
45 | LV_1097-17_0_4_line_45 | NAYY 4x150 SE | 44 | 45 | 0.025521 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
46 | LV_1097-17_0_4_line_46 | NAYY 4x150 SE | 44 | 46 | 0.025712 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
47 | LV_1097-17_0_4_line_47 | NAYY 4x150 SE | 45 | 47 | 0.047962 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
48 | LV_1097-17_0_4_line_48 | NAYY 4x150 SE | 47 | 48 | 0.026094 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
49 | LV_1097-17_0_4_line_49 | NAYY 4x150 SE | 48 | 49 | 0.013624 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
50 | LV_1097-17_0_4_line_50 | NAYY 4x150 SE | 48 | 50 | 0.04467 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
51 | LV_1097-17_0_4_line_51 | NAYY 4x150 SE | 49 | 51 | 0.035155 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
52 | LV_1097-17_0_4_line_52 | NAYY 4x150 SE | 49 | 52 | 0.035032 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
53 | LV_1097-17_0_4_line_53 | NAYY 4x150 SE | 52 | 53 | 0.026806 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
54 | LV_1097-17_0_4_line_54 | NAYY 4x150 SE | 53 | 54 | 0.018777 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
55 | LV_1097-17_0_4_line_55 | NAYY 4x150 SE | 55 | 56 | 0.020053 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
56 | LV_1097-17_0_4_line_56 | NAYY 4x150 SE | 55 | 57 | 0.0033355 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
57 | LV_1097-17_0_4_line_57 | NAYY 4x150 SE | 56 | 58 | 0.042309 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_1097-17_0_4_trafo_42 | 0.25 MVA 20/0.4 kV | 59 | 55 | 0.25 | 20 | 0.4 | 6 | 1.44 | 0.8 | 0.32 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6 | x7 | y7 | x8 | y8
0 | 2653685.9629 | 1230424.0623 | 2653686.518 | 1230423.6822
1 | 2653665.3665 | 1230438.1587 | 2653682.8049 | 1230426.2245 | 2653685.9629 | 1230424.0623
2 | 2653665.3665 | 1230438.1587 | 2653664.1246 | 1230439.0086 | 2653656.4209 | 1230444.5391
3 | 2653686.5075 | 1230488.2768 | 2653695.4979 | 1230485.966 | 2653707.0817 | 1230485.6703 | 2653710.7859 | 1230486.4285
4 | 2653686.5075 | 1230488.2768 | 2653656.4209 | 1230444.5391
5 | 2653649.5182 | 1230522.5868 | 2653655.4306 | 1230513.5554 | 2653661.8331 | 1230504.9187 | 2653669.5919 | 1230497.0726 | 2653676.9537 | 1230492.0803 | 2653685.5524 | 1230488.5223 | 2653686.5075 | 1230488.2768
6 | 2653721.8371 | 1230488.9501 | 2653717.4242 | 1230487.7873 | 2653710.7859 | 1230486.4285
7 | 2653656.4209 | 1230444.5391 | 2653644.0281 | 1230453.436
8 | 2653721.8371 | 1230488.9501 | 2653716.502 | 1230499.3196 | 2653710.0808 | 1230507.5113 | 2653705.3213 | 1230510.3368
9 | 2653721.8371 | 1230488.9501 | 2653743.0026 | 1230494.5114 | 2653742.2903 | 1230497.896
10 | 2653644.0281 | 1230453.436 | 2653635.0966 | 1230459.8479
11 | 2653614.7116 | 1230473.4323 | 2653602.4811 | 1230480.9221
12 | 2653614.7116 | 1230473.4323 | 2653622.6385 | 1230468.578
13 | 2653602.4811 | 1230480.9221 | 2653595.7784 | 1230485.0268
14 | 2653622.6385 | 1230468.578 | 2653624.6641 | 1230467.3375 | 2653635.0966 | 1230459.8479
15 | 2653592.2259 | 1230487.2023 | 2653595.7784 | 1230485.0268
16 | 2653592.2259 | 1230487.2023 | 2653592.3731 | 1230509.543
17 | 2653592.2259 | 1230487.2023 | 2653586.0637 | 1230490.1932 | 2653572.1744 | 1230495.017
18 | 2653592.4562 | 1230522.1488 | 2653592.3731 | 1230509.543
19 | 2653512.1728 | 1230520.0249 | 2653534.1828 | 1230508.3488 | 2653566.4682 | 1230496.9988 | 2653572.1744 | 1230495.017
20 | 2653512.1728 | 1230520.0249 | 2653508.9296 | 1230519.3397 | 2653505.6288 | 1230516.6417 | 2653504.6506 | 1230512.5525 | 2653505.0733 | 1230508.5093 | 2653514.51 | 1230482.5109 | 2653515.9903 | 1230476.2536 | 2653516.0113 | 1230473.9194
21 | 2653565.0969 | 1230550.0091 | 2653568.8362 | 1230544.3836 | 2653573.1013 | 1230541.7759 | 2653579.2032 | 1230540.4189 | 2653583.2686 | 1230537.2757 | 2653585.3657 | 1230533.1809 | 2653588.0436 | 1230529.3581 | 2653591.2164 | 1230526.0846 | 2653592.4562 | 1230522.1488
22 | 2653742.2903 | 1230497.896 | 2653766.4458 | 1230508.635
23 | 2653802.4082 | 1230524.623 | 2653766.4458 | 1230508.635
24 | 2653742.2903 | 1230497.896 | 2653737.066 | 1230514.5957
25 | 2653802.4082 | 1230524.623 | 2653816.7076 | 1230531.4122
26 | 2653731.3786 | 1230532.7752 | 2653731.3786 | 1230532.7752 | 2653737.066 | 1230514.5957
27 | 2653816.7076 | 1230531.4122 | 2653806.6387 | 1230548.4095
28 | 2653731.3786 | 1230532.7752 | 2653723.01 | 1230551.7307
29 | 2653705.3213 | 1230510.3368 | 2653705.3213 | 1230510.3368 | 2653700.28 | 1230511.9019
30 | 2653806.6387 | 1230548.4095 | 2653803.8085 | 1230553.1872 | 2653793.1859 | 1230570.5806
31 | 2653723.01 | 1230551.7307 | 2653719.1767 | 1230560.4134
32 | 2653688.8421 | 1230523.3904 | 2653689.0701 | 1230522.5646 | 2653691.1455 | 1230517.5245 | 2653694.0188 | 1230514.7153 | 2653698.9182 | 1230512.3247 | 2653700.28 | 1230511.9019
33 | 2653787.2993 | 1230582.2008 | 2653788.932 | 1230577.546 | 2653793.1859 | 1230570.5806
34 | 2653706.7228 | 1230584.8156 | 2653715.0785 | 1230569.696 | 2653719.1767 | 1230560.4134
35 | 2653706.7228 | 1230584.8156 | 2653701.4263 | 1230594.3996 | 2653698.9686 | 1230598.8507
36 | 2653787.2993 | 1230582.2008 | 2653776.1216 | 1230578.642 | 2653769.1872 | 1230582.4373
37 | 2653689.1018 | 1230617.059 | 2653685.4672 | 1230623.7965 | 2653684.4615 | 1230625.6599
38 | 2653697.0526 | 1230602.3207 | 2653689.1018 | 1230617.059
39 | 2653684.4615 | 1230625.6599 | 2653670.8285 | 1230650.9201
40 | 2653697.0526 | 1230602.3207 | 2653698.9686 | 1230598.8507
41 | 2653661.9577 | 1230667.3566 | 2653670.8285 | 1230650.9201
42 | 2653661.9577 | 1230667.3566 | 2653621.8008 | 1230656.7143
43 | 2653621.8008 | 1230656.7143 | 2653632.355 | 1230633.0442
44 | 2653590.7057 | 1230726.452 | 2653621.8008 | 1230656.7143
45 | 2653464.7428 | 1230751.8935 | 2653482.9043 | 1230733.9636
46 | 2653464.7428 | 1230751.8935 | 2653446.4451 | 1230769.9579
47 | 2653482.9043 | 1230733.9636 | 2653494.6661 | 1230722.3517 | 2653503.6724 | 1230715.5395 | 2653521.5774 | 1230706.3145
48 | 2653546.9403 | 1230704.8886 | 2653538.9886 | 1230703.0826 | 2653525.3057 | 1230704.3936 | 2653521.5774 | 1230706.3145
49 | 2653559.381 | 1230710.3152 | 2653550.3417 | 1230705.6531 | 2653546.9403 | 1230704.8886
50 | 2653546.9403 | 1230704.8886 | 2653531.0899 | 1230746.6515
51 | 2653590.7057 | 1230726.452 | 2653559.381 | 1230710.3152
52 | 2653559.381 | 1230710.3152 | 2653573.0904 | 1230678.0773
53 | 2653573.0904 | 1230678.0773 | 2653583.5807 | 1230653.4093
54 | 2653590.929 | 1230636.1298 | 2653583.5807 | 1230653.4093
55 | 2653657.9639 | 1230570.2773 | 2653657.9484 | 1230562.7316 | 2653658.8778 | 1230559.6269 | 2653660.8031 | 1230556.9425 | 2653663.6141 | 1230555.1557 | 2653666.1895 | 1230554.6117
56 | 2653657.9639 | 1230570.2773 | 2653657.9707 | 1230573.6128
57 | 2653666.1895 | 1230554.6117 | 2653673.7602 | 1230553.0125 | 2653675.4514 | 1230551.9382 | 2653677.8511 | 1230550.4144 | 2653681.5723 | 1230546.8123 | 2653684.6615 | 1230538.535 | 2653688.8421 | 1230523.3904

## bus_geodata
| x | y | coords
0 | 2653686.518 | 1230423.6822
1 | 2653685.9629 | 1230424.0623
2 | 2653665.3665 | 1230438.1587
3 | 2653686.5075 | 1230488.2768
4 | 2653710.7859 | 1230486.4285
5 | 2653656.4209 | 1230444.5391
6 | 2653649.5182 | 1230522.5868
7 | 2653721.8371 | 1230488.9501
8 | 2653644.0281 | 1230453.436
9 | 2653614.7116 | 1230473.4323
10 | 2653602.4811 | 1230480.9221
11 | 2653622.6385 | 1230468.578
12 | 2653595.7784 | 1230485.0268
13 | 2653635.0966 | 1230459.8479
14 | 2653592.2259 | 1230487.2023
15 | 2653592.3731 | 1230509.543
16 | 2653572.1744 | 1230495.017
17 | 2653512.1728 | 1230520.0249
18 | 2653516.0113 | 1230473.9194
19 | 2653592.4562 | 1230522.1488
20 | 2653565.0969 | 1230550.0091
21 | 2653766.4458 | 1230508.635
22 | 2653742.2903 | 1230497.896
23 | 2653802.4082 | 1230524.623
24 | 2653737.066 | 1230514.5957
25 | 2653816.7076 | 1230531.4122
26 | 2653731.3786 | 1230532.7752
27 | 2653705.3213 | 1230510.3368
28 | 2653806.6387 | 1230548.4095
29 | 2653723.01 | 1230551.7307
30 | 2653700.28 | 1230511.9019
31 | 2653793.1859 | 1230570.5806
32 | 2653719.1767 | 1230560.4134
33 | 2653706.7228 | 1230584.8156
34 | 2653787.2993 | 1230582.2008
35 | 2653769.1872 | 1230582.4373
36 | 2653689.1018 | 1230617.059
37 | 2653684.4615 | 1230625.6599
38 | 2653697.0526 | 1230602.3207
39 | 2653670.8285 | 1230650.9201
40 | 2653698.9686 | 1230598.8507
41 | 2653661.9577 | 1230667.3566
42 | 2653621.8008 | 1230656.7143
43 | 2653632.355 | 1230633.0442
44 | 2653464.7428 | 1230751.8935
45 | 2653482.9043 | 1230733.9636
46 | 2653446.4451 | 1230769.9579
47 | 2653521.5774 | 1230706.3145
48 | 2653546.9403 | 1230704.8886
49 | 2653559.381 | 1230710.3152
50 | 2653531.0899 | 1230746.6515
51 | 2653590.7057 | 1230726.452
52 | 2653573.0904 | 1230678.0773
53 | 2653583.5807 | 1230653.4093
54 | 2653590.929 | 1230636.1298
55 | 2653657.9639 | 1230570.2773
56 | 2653666.1895 | 1230554.6117
57 | 2653657.9707 | 1230573.6128
58 | 2653688.8421 | 1230523.3904
59 | 2653658.0017 | 1230588.7153

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## res_bus
| vm_pu | va_degree | p_mw | q_mvar
0 | 0.97943 | -0.14391 | 0.0057974 | 0.001453
1 | 0.97944 | -0.14387 | 0.004994 | 0.0012516
2 | 0.97983 | -0.14107 | 0.0028633 | 0.00071762
3 | 0.98533 | -0.10207 | 0.0061681 | 0.0015459
4 | 0.98814 | -0.082346 | 0.0059065 | 0.0014803
5 | 0.98005 | -0.13951 | 0.0025964 | 0.00065071
6 | 0.98506 | -0.10401 | 0.0036409 | 0.00091248
7 | 0.98952 | -0.072628 | 0 | 0
8 | 0.97889 | -0.14776 | 0.0033558 | 0.00084103
9 | 0.97659 | -0.1642 | 0.003217 | 0.00080625
10 | 0.97586 | -0.16945 | 0.0022883 | 0.00057349
11 | 0.97711 | -0.16049 | 0.0069405 | 0.0017395
12 | 0.97548 | -0.17213 | 0.0027994 | 0.0007016
13 | 0.97811 | -0.15333 | 0.0035452 | 0.0008885
14 | 0.9753 | -0.17344 | 0 | 0
15 | 0.97449 | -0.17923 | 0.0059137 | 0.0014821
16 | 0.97514 | -0.1746 | 0.0019642 | 0.00049229
17 | 0.97484 | -0.17675 | 0 | 0
18 | 0.9746 | -0.17848 | 0.0031432 | 0.00078776
19 | 0.97415 | -0.18173 | 0.011001 | 0.0027572
20 | 0.97368 | -0.18509 | 0.0077855 | 0.0019512
21 | 0.98789 | -0.084104 | 0.0022341 | 0.00055993
22 | 0.98829 | -0.081321 | 0 | 0
23 | 0.98744 | -0.08735 | 0 | 0
24 | 0.98752 | -0.086722 | 0.0023836 | 0.00059738
25 | 0.98725 | -0.088652 | 0 | 0
26 | 0.9867 | -0.092454 | 0.0015012 | 0.00037625
27 | 0.992 | -0.055337 | 0.0051406 | 0.0012884
28 | 0.98702 | -0.090282 | 0.0027787 | 0.0006964
29 | 0.98583 | -0.098594 | 0.0027489 | 0.00068895
30 | 0.99249 | -0.051949 | 0.0028978 | 0.00072626
31 | 0.98682 | -0.091684 | 0.0021639 | 0.00054232
32 | 0.98544 | -0.10132 | 0.0036683 | 0.00091936
33 | 0.98437 | -0.10886 | 0.003313 | 0.00083032
34 | 0.98677 | -0.092101 | 0 | 0
35 | 0.98668 | -0.092727 | 0.0031068 | 0.00077864
36 | 0.98303 | -0.11835 | 0.0056089 | 0.0014057
37 | 0.98271 | -0.12064 | 0.0039117 | 0.00098037
38 | 0.98363 | -0.1141 | 0 | 0
39 | 0.98181 | -0.12698 | 0.00478 | 0.001198
40 | 0.98377 | -0.1131 | 0.0032516 | 0.00081494
41 | 0.98127 | -0.13081 | 0 | 0
42 | 0.98007 | -0.13933 | 0.0067308 | 0.0016869
43 | 0.97986 | -0.14088 | 0.0057526 | 0.0014417
44 | 0.97361 | -0.18553 | 0.0026164 | 0.00065574
45 | 0.97385 | -0.18378 | 0.001936 | 0.0004852
46 | 0.97346 | -0.18659 | 0.0039014 | 0.00097778
47 | 0.97444 | -0.17951 | 0.0012829 | 0.00032152
48 | 0.97482 | -0.17684 | 0 | 0
49 | 0.97505 | -0.17518 | 0 | 0
50 | 0.97469 | -0.17772 | 0.0018669 | 0.00046789
51 | 0.97746 | -0.15795 | 0 | 0
52 | 0.97324 | -0.18814 | 0.011795 | 0.0029562
53 | 0.97232 | -0.19475 | 0.011797 | 0.0029567
54 | 0.972 | -0.19705 | 0.011582 | 0.0029028
55 | 1 | 0 | -0.20478 | -0.051633
56 | 0.99808 | -0.013178 | 0.0027113 | 0.00067952
57 | 0.99999 | -0.00010033 | 0.0030135 | 0.00075526
58 | 0.9941 | -0.040762 | 0.0015731 | 0.00039426
59 | 0.99998 | 149.9947 | 0 | 0

## res_line
| p_from_mw | q_from_mvar | p_to_mw | q_to_mvar | pl_mw | ql_mvar | i_from_ka | i_to_ka | i_ka | vm_from_pu | va_from_degree | vm_to_pu | va_to_degree | loading_percent
0 | -0.0057974 | -0.001453 | 0.0057974 | 0.001453 | 3.2568e-08 | 4.059e-09 | 0.0088078 | 0.0088078 | 0.0088078 | 0.97943 | -0.14391 | 0.97944 | -0.14387 | 3.2621
1 | -0.010791 | -0.0027046 | 0.010796 | 0.0027059 | 4.1862e-06 | 1.2958e-06 | 0.016395 | 0.016395 | 0.016395 | 0.97944 | -0.14387 | 0.97983 | -0.14107 | 6.0722
2 | -0.013659 | -0.0034235 | 0.013662 | 0.0034245 | 2.9503e-06 | 9.963e-07 | 0.020743 | 0.020743 | 0.020743 | 0.97983 | -0.14107 | 0.98005 | -0.13951 | 7.6827
3 | -0.078618 | -0.019779 | 0.078835 | 0.019862 | 0.00021692 | 8.3117e-05 | 0.11875 | 0.11875 | 0.11875 | 0.98533 | -0.10207 | 0.98814 | -0.082346 | 43.9824
4 | 0.068808 | 0.017321 | -0.06845 | -0.017184 | 0.00035786 | 0.00013697 | 0.10394 | 0.10394 | 0.10394 | 0.98533 | -0.10207 | 0.98005 | -0.13951 | 38.4956
5 | 0.0036418 | 0.0009122 | -0.0036409 | -0.00091248 | 9.7704e-07 | -2.834e-07 | 0.0054996 | 0.0054998 | 0.0054998 | 0.98533 | -0.10207 | 0.98506 | -0.10401 | 2.037
6 | -0.084741 | -0.021342 | 0.084856 | 0.021386 | 0.00011529 | 4.4198e-05 | 0.12765 | 0.12765 | 0.12765 | 0.98814 | -0.082346 | 0.98952 | -0.072628 | 47.2766
7 | 0.052191 | 0.013109 | -0.052132 | -0.013086 | 5.9793e-05 | 2.2805e-05 | 0.079253 | 0.079253 | 0.079253 | 0.98005 | -0.13951 | 0.97889 | -0.14776 | 29.353
8 | -0.18666 | -0.047028 | 0.18711 | 0.047201 | 0.00045266 | 0.00017303 | 0.28078 | 0.28077 | 0.28078 | 0.98952 | -0.072628 | 0.992 | -0.055337 | 34.6636
9 | 0.1018 | 0.025641 | -0.10168 | -0.025595 | 0.0001236 | 4.6564e-05 | 0.15313 | 0.15313 | 0.15313 | 0.98952 | -0.072628 | 0.98829 | -0.081321 | 18.9048
10 | 0.048776 | 0.012245 | -0.048738 | -0.01223 | 3.7724e-05 | 1.4371e-05 | 0.074152 | 0.074152 | 0.074152 | 0.97889 | -0.14776 | 0.97811 | -0.15333 | 27.4637
11 | 0.034971 | 0.0087717 | -0.034946 | -0.0087621 | 2.5412e-05 | 9.5944e-06 | 0.053287 | 0.053287 | 0.053287 | 0.97659 | -0.1642 | 0.97586 | -0.16945 | 19.7361
12 | -0.038188 | -0.0095779 | 0.038208 | 0.0095853 | 1.9639e-05 | 7.4372e-06 | 0.058189 | 0.058189 | 0.058189 | 0.97659 | -0.1642 | 0.97711 | -0.16049 | 21.5515
13 | 0.032657 | 0.0081886 | -0.032645 | -0.008184 | 1.2162e-05 | 4.5797e-06 | 0.049798 | 0.049798 | 0.049798 | 0.97586 | -0.16945 | 0.97548 | -0.17213 | 18.4438
14 | -0.045148 | -0.011325 | 0.045193 | 0.011342 | 4.4894e-05 | 1.7076e-05 | 0.068759 | 0.068759 | 0.068759 | 0.97711 | -0.16049 | 0.97811 | -0.15333 | 25.4662
15 | 0.029846 | 0.0074824 | -0.02984 | -0.0074804 | 5.3882e-06 | 2.0204e-06 | 0.045528 | 0.045528 | 0.045528 | 0.97548 | -0.17213 | 0.9753 | -0.17344 | 16.8623
16 | 0.02473 | 0.0062011 | -0.024711 | -0.0061937 | 1.9848e-05 | 7.3553e-06 | 0.037732 | 0.037732 | 0.037732 | 0.9753 | -0.17344 | 0.97449 | -0.17923 | 13.975
17 | 0.0051099 | 0.0012793 | -0.0051091 | -0.0012792 | 8.1735e-07 | 4.5449e-08 | 0.0077957 | 0.0077958 | 0.0077958 | 0.9753 | -0.17344 | 0.97514 | -0.1746 | 2.8873
18 | 0.018797 | 0.0047116 | -0.01879 | -0.0047093 | 6.4805e-06 | 2.3355e-06 | 0.028702 | 0.028703 | 0.028703 | 0.97449 | -0.17923 | 0.97415 | -0.18173 | 10.6306
19 | 0.0031449 | 0.00078694 | -0.0031439 | -0.0007874 | 9.3653e-07 | -4.5265e-07 | 0.0047985 | 0.0047988 | 0.0047988 | 0.97514 | -0.1746 | 0.97484 | -0.17675 | 1.7773
20 | 0.0031439 | 0.0007874 | -0.0031432 | -0.00078776 | 7.5114e-07 | -3.6261e-07 | 0.0047988 | 0.004799 | 0.004799 | 0.97484 | -0.17675 | 0.9746 | -0.17848 | 1.7774
21 | 0.0077891 | 0.0019521 | -0.0077855 | -0.0019512 | 3.6303e-06 | 8.8489e-07 | 0.011898 | 0.011898 | 0.011898 | 0.97415 | -0.18173 | 0.97368 | -0.18509 | 4.4067
22 | -0.010292 | -0.0025788 | 0.010296 | 0.00258 | 3.964e-06 | 1.186e-06 | 0.015502 | 0.015502 | 0.015502 | 0.98789 | -0.084104 | 0.98829 | -0.081321 | 5.7414
23 | 0.0080577 | 0.0020189 | -0.0080541 | -0.002018 | 3.6175e-06 | 8.8767e-07 | 0.012137 | 0.012137 | 0.012137 | 0.98789 | -0.084104 | 0.98744 | -0.08735 | 4.4951
24 | 0.09138 | 0.023015 | -0.091311 | -0.022989 | 6.8937e-05 | 2.5842e-05 | 0.13763 | 0.13763 | 0.13763 | 0.98829 | -0.081321 | 0.98752 | -0.086722 | 16.991
25 | 0.0080541 | 0.002018 | -0.0080526 | -0.0020176 | 1.4515e-06 | 3.5631e-07 | 0.012137 | 0.012137 | 0.012137 | 0.98744 | -0.08735 | 0.98725 | -0.088652 | 4.4952
26 | 0.088928 | 0.022392 | -0.088857 | -0.022365 | 7.1181e-05 | 2.6647e-05 | 0.13404 | 0.13404 | 0.13404 | 0.98752 | -0.086722 | 0.9867 | -0.092454 | 16.5477
27 | 0.0080526 | 0.0020176 | -0.0080508 | -0.0020172 | 1.8159e-06 | 4.4588e-07 | 0.012137 | 0.012137 | 0.012137 | 0.98725 | -0.088652 | 0.98702 | -0.090282 | 4.4952
28 | 0.087355 | 0.021989 | -0.087281 | -0.021961 | 7.4837e-05 | 2.799e-05 | 0.13177 | 0.13177 | 0.13177 | 0.9867 | -0.092454 | 0.98583 | -0.098594 | 16.2682
29 | -0.19225 | -0.048489 | 0.19234 | 0.048524 | 9.1376e-05 | 3.494e-05 | 0.28849 | 0.28849 | 0.28849 | 0.992 | -0.055337 | 0.99249 | -0.051949 | 35.6155
30 | 0.0052722 | 0.0013208 | -0.0052711 | -0.0013207 | 1.0223e-06 | 6.1794e-08 | 0.007948 | 0.0079481 | 0.0079481 | 0.98702 | -0.090282 | 0.98682 | -0.091684 | 2.9437
31 | 0.084532 | 0.021272 | -0.084499 | -0.02126 | 3.2155e-05 | 1.2004e-05 | 0.12762 | 0.12762 | 0.12762 | 0.98583 | -0.098594 | 0.98544 | -0.10132 | 15.756
32 | -0.19524 | -0.04925 | 0.19555 | 0.049368 | 0.00030684 | 0.00011735 | 0.29283 | 0.29283 | 0.29283 | 0.99249 | -0.051949 | 0.9941 | -0.040762 | 36.1519
33 | 0.0031073 | 0.00077839 | -0.0031071 | -0.00077849 | 1.7937e-07 | -9.8297e-08 | 0.0046852 | 0.0046853 | 0.0046853 | 0.98682 | -0.091684 | 0.98677 | -0.092101 | 1.7353
34 | 0.080831 | 0.02034 | -0.080746 | -0.020309 | 8.5012e-05 | 3.165e-05 | 0.12208 | 0.12208 | 0.12208 | 0.98544 | -0.10132 | 0.98437 | -0.10886 | 15.0722
35 | 0.077433 | 0.019478 | -0.077387 | -0.019461 | 4.5716e-05 | 1.6972e-05 | 0.11708 | 0.11708 | 0.11708 | 0.98437 | -0.10886 | 0.98377 | -0.1131 | 14.4539
36 | 0.0031071 | 0.00077849 | -0.0031068 | -0.00077864 | 2.6898e-07 | -1.4736e-07 | 0.0046853 | 0.0046854 | 0.0046854 | 0.98677 | -0.092101 | 0.98668 | -0.092727 | 1.7353
37 | 0.068473 | 0.017221 | -0.068451 | -0.017213 | 2.1846e-05 | 8.0308e-06 | 0.10367 | 0.10367 | 0.10367 | 0.98303 | -0.11835 | 0.98271 | -0.12064 | 12.7986
38 | -0.074082 | -0.018626 | 0.074125 | 0.018643 | 4.3817e-05 | 1.6215e-05 | 0.11216 | 0.11216 | 0.11216 | 0.98303 | -0.11835 | 0.98363 | -0.1141 | 13.8467
39 | 0.064539 | 0.016232 | -0.064482 | -0.016211 | 5.7043e-05 | 2.085e-05 | 0.097745 | 0.097746 | 0.097746 | 0.98271 | -0.12064 | 0.98181 | -0.12698 | 12.0674
40 | -0.074125 | -0.018643 | 0.074136 | 0.018646 | 1.0371e-05 | 3.8381e-06 | 0.11216 | 0.11216 | 0.11216 | 0.98363 | -0.1141 | 0.98377 | -0.1131 | 13.8467
41 | 0.059702 | 0.015013 | -0.05967 | -0.015002 | 3.1819e-05 | 1.153e-05 | 0.090501 | 0.090502 | 0.090502 | 0.98181 | -0.12698 | 0.98127 | -0.13081 | 11.173
42 | 0.05967 | 0.015002 | -0.059599 | -0.014976 | 7.0775e-05 | 2.5649e-05 | 0.090502 | 0.090502 | 0.090502 | 0.98127 | -0.13081 | 0.98007 | -0.13933 | 11.1731
43 | 0.0057538 | 0.0014419 | -0.0057526 | -0.0014417 | 1.2342e-06 | 1.4815e-07 | 0.0087357 | 0.0087359 | 0.0087359 | 0.98007 | -0.13933 | 0.97986 | -0.14088 | 3.2355
44 | 0.047115 | 0.011848 | -0.046993 | -0.011803 | 0.00012195 | 4.4985e-05 | 0.071547 | 0.071548 | 0.071548 | 0.98007 | -0.13933 | 0.97746 | -0.15795 | 13.2496
45 | -0.0065184 | -0.0016334 | 0.00652 | 0.0016337 | 1.5805e-06 | 2.9044e-07 | 0.0099623 | 0.0099622 | 0.0099623 | 0.97361 | -0.18553 | 0.97385 | -0.18378 | 3.6898
46 | 0.0039019 | 0.00097768 | -0.0039014 | -0.00097778 | 5.706e-07 | -1.0025e-07 | 0.0059635 | 0.0059636 | 0.0059636 | 0.97361 | -0.18553 | 0.97346 | -0.18659 | 2.2087
47 | -0.008456 | -0.0021189 | 0.008461 | 0.0021202 | 4.996e-06 | 1.3244e-06 | 0.01292 | 0.01292 | 0.01292 | 0.97385 | -0.18378 | 0.97444 | -0.17951 | 4.7853
48 | -0.0097438 | -0.0024418 | 0.0097474 | 0.0024428 | 3.6047e-06 | 1.0613e-06 | 0.014879 | 0.014879 | 0.014879 | 0.97444 | -0.17951 | 0.97482 | -0.17684 | 5.5108
49 | -0.011615 | -0.0029102 | 0.011617 | 0.0029111 | 2.6721e-06 | 8.5784e-07 | 0.017729 | 0.017729 | 0.017729 | 0.97482 | -0.17684 | 0.97505 | -0.17518 | 6.5663
50 | 0.0018671 | 0.00046742 | -0.0018669 | -0.00046789 | 2.264e-07 | -4.6974e-07 | 0.0028499 | 0.0028501 | 0.0028501 | 0.97482 | -0.17684 | 0.97469 | -0.17772 | 1.0556
51 | -0.046881 | -0.01176 | 0.046993 | 0.011803 | 0.0001123 | 4.2751e-05 | 0.071548 | 0.071548 | 0.071548 | 0.97505 | -0.17518 | 0.97746 | -0.15795 | 26.4993
52 | 0.035263 | 0.0088487 | -0.0352 | -0.0088248 | 6.3318e-05 | 2.3917e-05 | 0.053819 | 0.053819 | 0.053819 | 0.97505 | -0.17518 | 0.97324 | -0.18814 | 19.9331
53 | 0.023405 | 0.0058686 | -0.023383 | -0.0058607 | 2.142e-05 | 7.9058e-06 | 0.035785 | 0.035786 | 0.035786 | 0.97324 | -0.18814 | 0.97232 | -0.19475 | 13.2539
54 | 0.011586 | 0.002904 | -0.011582 | -0.0029028 | 3.6837e-06 | 1.184e-06 | 0.017731 | 0.017731 | 0.017731 | 0.97232 | -0.19475 | 0.972 | -0.19705 | 6.5671
55 | 0.20097 | 0.050878 | -0.2006 | -0.050735 | 0.00037346 | 0.00014285 | 0.29923 | 0.29923 | 0.29923 | 1 | 0 | 0.99808 | -0.013178 | 36.9415
56 | 0.0030136 | 0.00075524 | -0.0030135 | -0.00075526 | 4.1853e-08 | -2.7662e-08 | 0.0044842 | 0.0044843 | 0.0044843 | 1 | 0 | 0.99999 | -0.00010033 | 1.6608
57 | 0.19789 | 0.050055 | -0.19712 | -0.049762 | 0.0007668 | 0.00029327 | 0.29518 | 0.29518 | 0.29518 | 0.99808 | -0.013178 | 0.9941 | -0.040762 | 36.4426

## res_trafo
| p_hv_mw | q_hv_mvar | p_lv_mw | q_lv_mvar | pl_mw | ql_mvar | i_hv_ka | i_lv_ka | vm_hv_pu | va_hv_degree | vm_lv_pu | va_lv_degree | loading_percent
0 | 2.5187e-16 | 8.8016e-16 | 0.00079998 | 7.4552e-08 | 0.00079998 | 7.4552e-08 | 2.6429e-17 | 0.0011547 | 0.99998 | 149.9947 | 1 | 0 | 0.31999

## res_ext_grid
| p_mw | q_mvar
0 | 0.20764 | 0.05235

## res_load
| p_mw | q_mvar
0 | 0.0057974 | 0.001453
1 | 0.004994 | 0.0012516
2 | 0.0028633 | 0.00071762
3 | 0.0061681 | 0.0015459
4 | 0.0059065 | 0.0014803
5 | 0.0025964 | 0.00065071
6 | 0.0036409 | 0.00091248
7 | 0.0033558 | 0.00084103
8 | 0.003217 | 0.00080625
9 | 0.0022883 | 0.00057349
10 | 0.0069405 | 0.0017395
11 | 0.0027994 | 0.0007016
12 | 0.0035452 | 0.0008885
13 | 0.0059137 | 0.0014821
14 | 0.0019642 | 0.00049229
15 | 0.0031432 | 0.00078776
16 | 0.011001 | 0.0027572
17 | 0.0077855 | 0.0019512
18 | 0.0022341 | 0.00055993
19 | 0.0023836 | 0.00059738
20 | 0.0015012 | 0.00037625
21 | 0.0051406 | 0.0012884
22 | 0.0027787 | 0.0006964
23 | 0.0027489 | 0.00068895
24 | 0.0028978 | 0.00072626
25 | 0.0021639 | 0.00054232
26 | 0.0036683 | 0.00091936
27 | 0.003313 | 0.00083032
28 | 0.0031068 | 0.00077864
29 | 0.0056089 | 0.0014057
30 | 0.0039117 | 0.00098037
31 | 0.00478 | 0.001198
32 | 0.0032516 | 0.00081494
33 | 0.0067308 | 0.0016869
34 | 0.0057526 | 0.0014417
35 | 0.0026164 | 0.00065574
36 | 0.001936 | 0.0004852
37 | 0.0039014 | 0.00097778
38 | 0.0012829 | 0.00032152
39 | 0.0018669 | 0.00046789
40 | 0.011795 | 0.0029562
41 | 0.011797 | 0.0029567
42 | 0.011582 | 0.0029028
43 | 0.0028601 | 0.00071681
44 | 0.0027113 | 0.00067952
45 | 0.0030135 | 0.00075526
46 | 0.0015731 | 0.00039426

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object
62 | res_bus | vm_pu | float64
63 | res_bus | va_degree | float64
64 | res_bus | p_mw | float64
65 | res_bus | q_mvar | float64
66 | res_line | p_from_mw | float64
67 | res_line | q_from_mvar | float64
68 | res_line | p_to_mw | float64
69 | res_line | q_to_mvar | float64
70 | res_line | pl_mw | float64
71 | res_line | ql_mvar | float64
72 | res_line | i_from_ka | float64
73 | res_line | i_to_ka | float64
74 | res_line | i_ka | float64
75 | res_line | vm_from_pu | float64
76 | res_line | va_from_degree | float64
77 | res_line | vm_to_pu | float64
78 | res_line | va_to_degree | float64
79 | res_line | loading_percent | float64
80 | res_trafo | p_hv_mw | float64
81 | res_trafo | q_hv_mvar | float64
82 | res_trafo | p_lv_mw | float64
83 | res_trafo | q_lv_mvar | float64
84 | res_trafo | pl_mw | float64
85 | res_trafo | ql_mvar | float64
86 | res_trafo | i_hv_ka | float64
87 | res_trafo | i_lv_ka | float64
88 | res_trafo | vm_hv_pu | float64
89 | res_trafo | va_hv_degree | float64
90 | res_trafo | vm_lv_pu | float64
91 | res_trafo | va_lv_degree | float64
92 | res_trafo | loading_percent | float64
93 | res_ext_grid | p_mw | float64
94 | res_ext_grid | q_mvar | float64
95 | res_load | p_mw | float64
96 | res_load | q_mvar | float64

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | TRUE | FALSE |  | 50 | 1