## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_1097-2_0_3_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_1097-2_0_3_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_1097-2_0_3_node_2 | 0.4 | n |  | TRUE
3 | bus_LV_1097-2_0_3_node_3 | 0.4 | n |  | TRUE
4 | bus_LV_1097-2_0_3_node_4 | 0.4 | n |  | TRUE
5 | bus_LV_1097-2_0_3_node_6 | 0.4 | n |  | TRUE
6 | bus_LV_1097-2_0_3_node_15 | 0.4 | n |  | TRUE
7 | bus_LV_1097-2_0_3_node_110 | 0.4 | n |  | TRUE
8 | bus_LV_1097-2_0_3_node_5 | 0.4 | n |  | TRUE
9 | bus_LV_1097-2_0_3_node_18 | 0.4 | n |  | TRUE
10 | bus_LV_1097-2_0_3_node_27 | 0.4 | n |  | TRUE
11 | bus_LV_1097-2_0_3_node_7 | 0.4 | n |  | TRUE
12 | bus_LV_1097-2_0_3_node_24 | 0.4 | n |  | TRUE
13 | bus_LV_1097-2_0_3_node_14 | 0.4 | n |  | TRUE
14 | bus_LV_1097-2_0_3_node_111 | 0.4 | n |  | TRUE
15 | bus_LV_1097-2_0_3_node_17 | 0.4 | n |  | TRUE
16 | bus_LV_1097-2_0_3_node_28 | 0.4 | n |  | TRUE
17 | bus_LV_1097-2_0_3_node_29 | 0.4 | n |  | TRUE
18 | bus_LV_1097-2_0_3_node_8 | 0.4 | n |  | TRUE
19 | bus_LV_1097-2_0_3_node_9 | 0.4 | n |  | TRUE
20 | bus_LV_1097-2_0_3_node_10 | 0.4 | n |  | TRUE
21 | bus_LV_1097-2_0_3_node_11 | 0.4 | n |  | TRUE
22 | bus_LV_1097-2_0_3_node_12 | 0.4 | n |  | TRUE
23 | bus_LV_1097-2_0_3_node_19 | 0.4 | n |  | TRUE
24 | bus_LV_1097-2_0_3_node_16 | 0.4 | n |  | TRUE
25 | bus_LV_1097-2_0_3_node_125 | 0.4 | n |  | TRUE
26 | bus_LV_1097-2_0_3_node_20 | 0.4 | n |  | TRUE
27 | bus_LV_1097-2_0_3_node_126 | 0.4 | n |  | TRUE
28 | bus_LV_1097-2_0_3_node_13 | 0.4 | n |  | TRUE
29 | bus_LV_1097-2_0_3_node_22 | 0.4 | n |  | TRUE
30 | bus_LV_1097-2_0_3_node_21 | 0.4 | n |  | TRUE
31 | bus_LV_1097-2_0_3_node_23 | 0.4 | n |  | TRUE
32 | bus_LV_1097-2_0_3_node_25 | 0.4 | n |  | TRUE
33 | bus_LV_1097-2_0_3_node_26 | 0.4 | n |  | TRUE
34 | bus_LV_1097-2_0_3_node_34 | 0.4 | n |  | TRUE
35 | bus_LV_1097-2_0_3_node_91 | 0.4 | n |  | TRUE
36 | bus_LV_1097-2_0_3_node_32 | 0.4 | n |  | TRUE
37 | bus_LV_1097-2_0_3_node_138 | 0.4 | n |  | TRUE
38 | bus_LV_1097-2_0_3_node_30 | 0.4 | n |  | TRUE
39 | bus_LV_1097-2_0_3_node_31 | 0.4 | n |  | TRUE
40 | bus_LV_1097-2_0_3_node_33 | 0.4 | n |  | TRUE
41 | bus_LV_1097-2_0_3_node_35 | 0.4 | n |  | TRUE
42 | bus_LV_1097-2_0_3_node_107 | 0.4 | n |  | TRUE
43 | bus_LV_1097-2_0_3_node_87 | 0.4 | n |  | TRUE
44 | bus_LV_1097-2_0_3_node_88 | 0.4 | n |  | TRUE
45 | bus_LV_1097-2_0_3_node_90 | 0.4 | n |  | TRUE
46 | bus_LV_1097-2_0_3_node_108 | 0.4 | n |  | TRUE
47 | bus_LV_1097-2_0_3_node_100 | 0.4 | n |  | TRUE
48 | bus_LV_1097-2_0_3_node_99 | 0.4 | n |  | TRUE
49 | bus_LV_1097-2_0_3_node_89 | 0.4 | n |  | TRUE
50 | bus_LV_1097-2_0_3_node_103 | 0.4 | n |  | TRUE
51 | bus_LV_1097-2_0_3_node_98 | 0.4 | n |  | TRUE
52 | bus_LV_1097-2_0_3_node_92 | 0.4 | n |  | TRUE
53 | bus_LV_1097-2_0_3_node_94 | 0.4 | n |  | TRUE
54 | bus_LV_1097-2_0_3_node_93 | 0.4 | n |  | TRUE
55 | bus_LV_1097-2_0_3_node_95 | 0.4 | n |  | TRUE
56 | bus_LV_1097-2_0_3_node_96 | 0.4 | n |  | TRUE
57 | bus_LV_1097-2_0_3_node_106 | 0.4 | n |  | TRUE
58 | bus_LV_1097-2_0_3_node_104 | 0.4 | n |  | TRUE
59 | bus_LV_1097-2_0_3_node_101 | 0.4 | n |  | TRUE
60 | bus_LV_1097-2_0_3_node_102 | 0.4 | n |  | TRUE
61 | bus_LV_1097-2_0_3_node_105 | 0.4 | n |  | TRUE
62 | bus_LV_1097-2_0_3_node_112 | 0.4 | n |  | TRUE
63 | bus_LV_1097-2_0_3_node_113 | 0.4 | n |  | TRUE
64 | bus_LV_1097-2_0_3_node_109 | 0.4 | n |  | TRUE
65 | bus_LV_1097-2_0_3_node_129 | 0.4 | n |  | TRUE
66 | bus_LV_1097-2_0_3_node_128 | 0.4 | n |  | TRUE
67 | bus_LV_1097-2_0_3_node_114 | 0.4 | n |  | TRUE
68 | bus_LV_1097-2_0_3_node_115 | 0.4 | n |  | TRUE
69 | bus_LV_1097-2_0_3_node_116 | 0.4 | n |  | TRUE
70 | bus_LV_1097-2_0_3_node_117 | 0.4 | n |  | TRUE
71 | bus_LV_1097-2_0_3_node_118 | 0.4 | n |  | TRUE
72 | bus_LV_1097-2_0_3_node_130 | 0.4 | n |  | TRUE
73 | bus_LV_1097-2_0_3_node_131 | 0.4 | n |  | TRUE
74 | bus_LV_1097-2_0_3_node_122 | 0.4 | n |  | TRUE
75 | bus_LV_1097-2_0_3_node_119 | 0.4 | n |  | TRUE
76 | bus_LV_1097-2_0_3_node_120 | 0.4 | n |  | TRUE
77 | bus_LV_1097-2_0_3_node_121 | 0.4 | n |  | TRUE
78 | bus_LV_1097-2_0_3_node_123 | 0.4 | n |  | TRUE
79 | bus_LV_1097-2_0_3_node_124 | 0.4 | n |  | TRUE
80 | bus_LV_1097-2_0_3_node_127 | 0.4 | n |  | TRUE
81 | bus_LV_1097-2_0_3_node_136 | 0.4 | n |  | TRUE
82 | bus_LV_1097-2_0_3_node_134 | 0.4 | n |  | TRUE
83 | bus_LV_1097-2_0_3_node_133 | 0.4 | n |  | TRUE
84 | bus_LV_1097-2_0_3_node_132 | 0.4 | n |  | TRUE
85 | bus_LV_1097-2_0_3_node_137 | 0.4 | n |  | TRUE
86 | bus_MV_473_2_node_69 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_1097-2_0_3_load_0 | 0 | 0.0032611 | 0.00081732 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_1097-2_0_3_load_1 | 1 | 0.0043441 | 0.0010887 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_1097-2_0_3_load_3 | 3 | 0.0014387 | 0.00036057 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_1097-2_0_3_load_6 | 5 | 0.00096691 | 0.00024233 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_1097-2_0_3_load_110 | 7 | 0.00054695 | 0.00013708 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_1097-2_0_3_load_18 | 9 | 0.0021465 | 0.00053796 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_1097-2_0_3_load_27 | 10 | 0.0029143 | 0.00073039 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_1097-2_0_3_load_7 | 11 | 0.00048994 | 0.00012279 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_1097-2_0_3_load_24 | 12 | 0.00068496 | 0.00017167 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_1097-2_0_3_load_14 | 13 | 0.0013428 | 0.00033655 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_1097-2_0_3_load_111 | 14 | 0.0010081 | 0.00025267 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_1097-2_0_3_load_17 | 15 | 0.002525 | 0.00063283 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_1097-2_0_3_load_28 | 16 | 0.0017122 | 0.00042911 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_1097-2_0_3_load_29 | 17 | 0.00046929 | 0.00011761 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_1097-2_0_3_load_8 | 18 | 0.0033262 | 0.00083361 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_1097-2_0_3_load_9 | 19 | 0.021746 | 0.0054501 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_1097-2_0_3_load_10 | 20 | 0.0030383 | 0.00076147 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_1097-2_0_3_load_12 | 22 | 0.0050369 | 0.0012624 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_1097-2_0_3_load_19 | 23 | 0.0093003 | 0.0023309 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_1097-2_0_3_load_16 | 24 | 0.0054937 | 0.0013769 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_1097-2_0_3_load_125 | 25 | 0.0052597 | 0.0013182 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_1097-2_0_3_load_20 | 26 | 0.00081561 | 0.00020441 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_1097-2_0_3_load_126 | 27 | 0.0026288 | 0.00065885 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_1097-2_0_3_load_13 | 28 | 0.0012896 | 0.00032321 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_1097-2_0_3_load_22 | 29 | 0.00067229 | 0.00016849 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_1097-2_0_3_load_23 | 31 | 0.017528 | 0.0043929 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_1097-2_0_3_load_25 | 32 | 0.0044044 | 0.0011038 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_1097-2_0_3_load_26 | 33 | 0.00025731 | 6.4488e-05 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_1097-2_0_3_load_91 | 35 | 0.00018205 | 4.5626e-05 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_1097-2_0_3_load_138 | 37 | 0.00086837 | 0.00021763 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_1097-2_0_3_load_30 | 38 | 0.00071602 | 0.00017945 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_1097-2_0_3_load_31 | 39 | 0.00052274 | 0.00013101 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_1097-2_0_3_load_33 | 40 | 0.0029505 | 0.00073948 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_1097-2_0_3_load_35 | 41 | 0.0014809 | 0.00037115 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_1097-2_0_3_load_107 | 42 | 0.00095243 | 0.0002387 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_1097-2_0_3_load_87 | 43 | 0.00071281 | 0.00017865 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_1097-2_0_3_load_90 | 45 | 0.00057942 | 0.00014522 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_1097-2_0_3_load_108 | 46 | 0.00039007 | 9.7762e-05 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_1097-2_0_3_load_100 | 47 | 0.0012873 | 0.00032263 | 0 | 0 |  | 1 | TRUE | wye
39 | LV_1097-2_0_3_load_99 | 48 | 0.0029562 | 0.0007409 | 0 | 0 |  | 1 | TRUE | wye
40 | LV_1097-2_0_3_load_89 | 49 | 0.0010815 | 0.00027104 | 0 | 0 |  | 1 | TRUE | wye
41 | LV_1097-2_0_3_load_103 | 50 | 0.004085 | 0.0010238 | 0 | 0 |  | 1 | TRUE | wye
42 | LV_1097-2_0_3_load_94 | 53 | 0.00039695 | 9.9485e-05 | 0 | 0 |  | 1 | TRUE | wye
43 | LV_1097-2_0_3_load_93 | 54 | 0.00060497 | 0.00015162 | 0 | 0 |  | 1 | TRUE | wye
44 | LV_1097-2_0_3_load_95 | 55 | 0.0010596 | 0.00026556 | 0 | 0 |  | 1 | TRUE | wye
45 | LV_1097-2_0_3_load_106 | 57 | 0.0012793 | 0.00032064 | 0 | 0 |  | 1 | TRUE | wye
46 | LV_1097-2_0_3_load_102 | 60 | 0.00088542 | 0.00022191 | 0 | 0 |  | 1 | TRUE | wye
47 | LV_1097-2_0_3_load_105 | 61 | 0.00036836 | 9.2319e-05 | 0 | 0 |  | 1 | TRUE | wye
48 | LV_1097-2_0_3_load_112 | 62 | 0.0039368 | 0.00098666 | 0 | 0 |  | 1 | TRUE | wye
49 | LV_1097-2_0_3_load_113 | 63 | 0.00029473 | 7.3866e-05 | 0 | 0 |  | 1 | TRUE | wye
50 | LV_1097-2_0_3_load_109 | 64 | 0.0012141 | 0.00030429 | 0 | 0 |  | 1 | TRUE | wye
51 | LV_1097-2_0_3_load_129 | 65 | 0.017321 | 0.004341 | 0 | 0 |  | 1 | TRUE | wye
52 | LV_1097-2_0_3_load_128 | 66 | 0.00066481 | 0.00016662 | 0 | 0 |  | 1 | TRUE | wye
53 | LV_1097-2_0_3_load_114 | 67 | 0.0016863 | 0.00042262 | 0 | 0 |  | 1 | TRUE | wye
54 | LV_1097-2_0_3_load_115 | 68 | 0.0028848 | 0.00072301 | 0 | 0 |  | 1 | TRUE | wye
55 | LV_1097-2_0_3_load_116 | 69 | 0.001451 | 0.00036366 | 0 | 0 |  | 1 | TRUE | wye
56 | LV_1097-2_0_3_load_117 | 70 | 0.0038919 | 0.00097541 | 0 | 0 |  | 1 | TRUE | wye
57 | LV_1097-2_0_3_load_118 | 71 | 0.001743 | 0.00043683 | 0 | 0 |  | 1 | TRUE | wye
58 | LV_1097-2_0_3_load_131 | 73 | 0.001595 | 0.00039975 | 0 | 0 |  | 1 | TRUE | wye
59 | LV_1097-2_0_3_load_122 | 74 | 0.0017575 | 0.00044048 | 0 | 0 |  | 1 | TRUE | wye
60 | LV_1097-2_0_3_load_119 | 75 | 0.002249 | 0.00056364 | 0 | 0 |  | 1 | TRUE | wye
61 | LV_1097-2_0_3_load_120 | 76 | 0.0019026 | 0.00047684 | 0 | 0 |  | 1 | TRUE | wye
62 | LV_1097-2_0_3_load_123 | 78 | 0.0026421 | 0.00066217 | 0 | 0 |  | 1 | TRUE | wye
63 | LV_1097-2_0_3_load_127 | 80 | 0.0022364 | 0.0005605 | 0 | 0 |  | 1 | TRUE | wye
64 | LV_1097-2_0_3_load_136 | 81 | 0.0013668 | 0.00034254 | 0 | 0 |  | 1 | TRUE | wye
65 | LV_1097-2_0_3_load_132 | 84 | 0.002998 | 0.00075138 | 0 | 0 |  | 1 | TRUE | wye
66 | LV_1097-2_0_3_load_137 | 85 | 0.0015964 | 0.0004001 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 23 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_1097-2_0_3_line_0 | NAYY 4x150 SE | 0 | 1 | 0.0037906 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
1 | LV_1097-2_0_3_line_1 | NAYY 4x150 SE | 0 | 2 | 0.034756 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
2 | LV_1097-2_0_3_line_2 | NAYY 4x150 SE | 2 | 3 | 0.0015207 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
3 | LV_1097-2_0_3_line_3 | NAYY 4x150 SE | 2 | 4 | 0.049448 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
4 | LV_1097-2_0_3_line_4 | NAYY 4x150 SE | 3 | 5 | 0.02247 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
5 | LV_1097-2_0_3_line_5 | NAYY 4x150 SE | 4 | 6 | 0.043227 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
6 | LV_1097-2_0_3_line_6 | NAYY 4x150 SE | 4 | 7 | 0.04511 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
7 | LV_1097-2_0_3_line_7 | NAYY 4x150 SE | 5 | 11 | 0.0014914 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
8 | LV_1097-2_0_3_line_8 | NAYY 4x150 SE | 6 | 12 | 0.011746 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
9 | LV_1097-2_0_3_line_9 | NAYY 4x150 SE | 6 | 13 | 0.017864 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
10 | LV_1097-2_0_3_line_10 | NAYY 4x150 SE | 7 | 14 | 0.0056044 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
11 | LV_1097-2_0_3_line_11 | NAYY 4x150 SE | 8 | 9 | 0.0024923 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
12 | LV_1097-2_0_3_line_12 | NAYY 4x150 SE | 8 | 10 | 0.024507 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
13 | LV_1097-2_0_3_line_13 | NAYY 4x150 SE | 9 | 15 | 0.030702 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
14 | LV_1097-2_0_3_line_14 | NAYY 4x150 SE | 11 | 16 | 0.040684 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
15 | LV_1097-2_0_3_line_15 | NAYY 4x150 SE | 12 | 29 | 0.031883 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
16 | LV_1097-2_0_3_line_16 | NAYY 4x150 SE | 13 | 28 | 0.0031845 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
17 | LV_1097-2_0_3_line_17 | NAYY 4x150 SE | 15 | 24 | 0.0075473 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
18 | LV_1097-2_0_3_line_18 | NAYY 4x150 SE | 16 | 17 | 0.021615 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
19 | LV_1097-2_0_3_line_19 | NAYY 4x150 SE | 17 | 37 | 0.019056 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
20 | LV_1097-2_0_3_line_20 | NAYY 4x150 SE | 18 | 19 | 0.01665 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
21 | LV_1097-2_0_3_line_21 | NAYY 4x150 SE | 18 | 20 | 0.021168 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
22 | LV_1097-2_0_3_line_22 | NAYY 4x150 SE | 19 | 21 | 0.025659 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
23 | LV_1097-2_0_3_line_23 | NAYY 4x150 SE | 20 | 22 | 0.007206 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
24 | LV_1097-2_0_3_line_24 | NAYY 4x150 SE | 21 | 23 | 0.013203 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
25 | LV_1097-2_0_3_line_25 | NAYY 4x150 SE | 21 | 24 | 0.016163 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
26 | LV_1097-2_0_3_line_26 | NAYY 4x150 SE | 22 | 25 | 0.0045349 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
27 | LV_1097-2_0_3_line_27 | NAYY 4x150 SE | 23 | 26 | 0.038857 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
28 | LV_1097-2_0_3_line_28 | NAYY 4x150 SE | 25 | 27 | 0.030477 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
29 | LV_1097-2_0_3_line_29 | NAYY 4x150 SE | 26 | 30 | 0.014867 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
30 | LV_1097-2_0_3_line_30 | NAYY 4x150 SE | 27 | 83 | 0.012226 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
31 | LV_1097-2_0_3_line_31 | NAYY 4x150 SE | 29 | 30 | 0.016068 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
32 | LV_1097-2_0_3_line_32 | NAYY 4x150 SE | 30 | 31 | 0.003245 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
33 | LV_1097-2_0_3_line_33 | NAYY 4x150 SE | 31 | 32 | 0.01464 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
34 | LV_1097-2_0_3_line_34 | NAYY 4x150 SE | 32 | 33 | 0.037287 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
35 | LV_1097-2_0_3_line_35 | NAYY 4x150 SE | 33 | 34 | 0.0063991 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
36 | LV_1097-2_0_3_line_36 | NAYY 4x150 SE | 34 | 35 | 0.027732 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
37 | LV_1097-2_0_3_line_37 | NAYY 4x150 SE | 34 | 36 | 0.007595 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
38 | LV_1097-2_0_3_line_38 | NAYY 4x150 SE | 35 | 45 | 0.019003 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
39 | LV_1097-2_0_3_line_39 | NAYY 4x150 SE | 36 | 41 | 0.012525 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
40 | LV_1097-2_0_3_line_40 | NAYY 4x150 SE | 36 | 38 | 0.026141 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
41 | LV_1097-2_0_3_line_41 | NAYY 4x150 SE | 38 | 39 | 0.039573 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
42 | LV_1097-2_0_3_line_42 | NAYY 4x150 SE | 39 | 40 | 0.025019 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
43 | LV_1097-2_0_3_line_43 | NAYY 4x150 SE | 41 | 42 | 0.028707 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
44 | LV_1097-2_0_3_line_44 | NAYY 4x150 SE | 42 | 46 | 0.012994 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
45 | LV_1097-2_0_3_line_45 | NAYY 4x150 SE | 43 | 44 | 0.056865 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
46 | LV_1097-2_0_3_line_46 | NAYY 4x150 SE | 44 | 49 | 0.073093 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
47 | LV_1097-2_0_3_line_47 | NAYY 4x150 SE | 45 | 52 | 0.0033022 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
48 | LV_1097-2_0_3_line_48 | NAYY 4x150 SE | 46 | 64 | 0.010374 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
49 | LV_1097-2_0_3_line_49 | NAYY 4x150 SE | 47 | 48 | 0.020057 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
50 | LV_1097-2_0_3_line_50 | NAYY 4x150 SE | 48 | 59 | 0.088417 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
51 | LV_1097-2_0_3_line_51 | NAYY 4x150 SE | 49 | 50 | 0.050591 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
52 | LV_1097-2_0_3_line_52 | NAYY 4x150 SE | 50 | 51 | 0.047174 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
53 | LV_1097-2_0_3_line_53 | NAYY 4x150 SE | 51 | 56 | 0.063982 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
54 | LV_1097-2_0_3_line_54 | NAYY 4x150 SE | 51 | 53 | 0.064228 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
55 | LV_1097-2_0_3_line_55 | NAYY 4x150 SE | 52 | 53 | 0.063217 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
56 | LV_1097-2_0_3_line_56 | NAYY 4x150 SE | 54 | 55 | 0.02593 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
57 | LV_1097-2_0_3_line_57 | NAYY 4x150 SE | 55 | 56 | 0.065203 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
58 | LV_1097-2_0_3_line_58 | NAYY 4x150 SE | 57 | 58 | 0.096424 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
59 | LV_1097-2_0_3_line_59 | NAYY 4x150 SE | 58 | 61 | 0.067116 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
60 | LV_1097-2_0_3_line_60 | NAYY 4x150 SE | 58 | 60 | 0.17675 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
61 | LV_1097-2_0_3_line_61 | NAYY 4x150 SE | 59 | 60 | 0.071615 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
62 | LV_1097-2_0_3_line_62 | NAYY 4x150 SE | 61 | 62 | 0.044725 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
63 | LV_1097-2_0_3_line_63 | NAYY 4x150 SE | 62 | 63 | 0.045695 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
64 | LV_1097-2_0_3_line_64 | NAYY 4x150 SE | 63 | 65 | 0.049257 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
65 | LV_1097-2_0_3_line_65 | NAYY 4x150 SE | 65 | 66 | 0.013608 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
66 | LV_1097-2_0_3_line_66 | NAYY 4x150 SE | 66 | 80 | 0.032924 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
67 | LV_1097-2_0_3_line_67 | NAYY 4x150 SE | 67 | 68 | 0.023658 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
68 | LV_1097-2_0_3_line_68 | NAYY 4x150 SE | 67 | 69 | 0.016002 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
69 | LV_1097-2_0_3_line_69 | NAYY 4x150 SE | 68 | 70 | 0.0046807 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
70 | LV_1097-2_0_3_line_70 | NAYY 4x150 SE | 69 | 71 | 0.01582 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
71 | LV_1097-2_0_3_line_71 | NAYY 4x150 SE | 71 | 72 | 0.014291 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
72 | LV_1097-2_0_3_line_72 | NAYY 4x150 SE | 72 | 73 | 0.016622 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
73 | LV_1097-2_0_3_line_73 | NAYY 4x150 SE | 72 | 74 | 0.0057117 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
74 | LV_1097-2_0_3_line_74 | NAYY 4x150 SE | 73 | 84 | 0.013048 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
75 | LV_1097-2_0_3_line_75 | NAYY 4x150 SE | 74 | 76 | 0.051131 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
76 | LV_1097-2_0_3_line_76 | NAYY 4x150 SE | 75 | 76 | 0.027698 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
77 | LV_1097-2_0_3_line_77 | NAYY 4x150 SE | 75 | 77 | 0.011431 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
78 | LV_1097-2_0_3_line_78 | NAYY 4x150 SE | 77 | 78 | 0.042 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
79 | LV_1097-2_0_3_line_79 | NAYY 4x150 SE | 77 | 79 | 0.027058 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
80 | LV_1097-2_0_3_line_80 | NAYY 4x150 SE | 78 | 80 | 0.035281 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
81 | LV_1097-2_0_3_line_81 | NAYY 4x150 SE | 79 | 81 | 0.05399 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
82 | LV_1097-2_0_3_line_82 | NAYY 4x150 SE | 81 | 82 | 0.015898 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
83 | LV_1097-2_0_3_line_83 | NAYY 4x150 SE | 82 | 85 | 0.01345 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
84 | LV_1097-2_0_3_line_84 | NAYY 4x150 SE | 82 | 83 | 0.057896 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_1097-2_0_3_trafo_19 | 0.25 MVA 20/0.4 kV | 86 | 23 | 0.25 | 20 | 0.4 | 6 | 1.44 | 0.8 | 0.32 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6 | x7 | y7 | x8 | y8
0 | 2654619.5517 | 1230378.7703 | 2654617.5158 | 1230375.5729
1 | 2654638.2194 | 1230408.0877 | 2654619.5517 | 1230378.7703
2 | 2654638.2194 | 1230408.0877 | 2654639.694 | 1230407.7163
3 | 2654590.2837 | 1230420.1332 | 2654592.5866 | 1230419.276 | 2654599.2896 | 1230417.6698 | 2654606.461 | 1230416.1902 | 2654638.2194 | 1230408.0877
4 | 2654639.694 | 1230407.7163 | 2654661.4834 | 1230402.2276
5 | 2654590.2837 | 1230420.1332 | 2654586.985 | 1230421.3704 | 2654581.8686 | 1230423.4247 | 2654576.6224 | 1230426.4119 | 2654552.9174 | 1230441.7709
6 | 2654590.2837 | 1230420.1332 | 2654609.5727 | 1230436.9654 | 2654610.6827 | 1230438.1652 | 2654611.4334 | 1230440.5403 | 2654611.0634 | 1230442.0712 | 2654610.2887 | 1230443.1203 | 2654600.1584 | 1230450.4513
7 | 2654662.9297 | 1230401.8633 | 2654661.4834 | 1230402.2276
8 | 2654552.9174 | 1230441.7709 | 2654543.0585 | 1230448.1558
9 | 2654552.9174 | 1230441.7709 | 2654543.1055 | 1230426.8431
10 | 2654595.6181 | 1230453.7369 | 2654600.1584 | 1230450.4513
11 | 2654503.0349 | 1230386.9566 | 2654501.8473 | 1230389.1477
12 | 2654503.0349 | 1230386.9566 | 2654496.2654 | 1230363.4032
13 | 2654482.4601 | 1230411.4793 | 2654483.8195 | 1230410.818 | 2654489.4543 | 1230408.4014 | 2654491.8369 | 1230406.2886 | 2654495.0836 | 1230401.6265 | 2654501.8473 | 1230389.1477
14 | 2654662.9297 | 1230401.8633 | 2654702.3817 | 1230391.9254
15 | 2654543.0585 | 1230448.1558 | 2654516.2972 | 1230465.4871
16 | 2654541.3564 | 1230424.182 | 2654543.1055 | 1230426.8431
17 | 2654482.4601 | 1230411.4793 | 2654475.6732 | 1230414.7807
18 | 2654702.3817 | 1230391.9254 | 2654723.3423 | 1230386.6455
19 | 2654741.8209 | 1230381.9908 | 2654723.3423 | 1230386.6455
20 | 2654436.2459 | 1230387.7941 | 2654437.2725 | 1230389.5229 | 2654444.7469 | 1230402.1104 | 2654444.7469 | 1230402.1104
21 | 2654436.2459 | 1230387.7941 | 2654425.4374 | 1230369.5937
22 | 2654461.139 | 1230421.8508 | 2654444.7469 | 1230402.1104
23 | 2654421.4544 | 1230363.5899 | 2654425.024 | 1230368.8977 | 2654425.4374 | 1230369.5937
24 | 2654461.139 | 1230421.8508 | 2654469.0387 | 1230431.8183 | 2654469.3404 | 1230432.1972
25 | 2654461.139 | 1230421.8508 | 2654475.6732 | 1230414.7807
26 | 2654421.4544 | 1230363.5899 | 2654418.9236 | 1230359.8269
27 | 2654469.3404 | 1230432.1972 | 2654493.5483 | 1230462.5918
28 | 2654418.9236 | 1230359.8269 | 2654406.2074 | 1230340.9189 | 2654402.496 | 1230334.1832
29 | 2654502.8107 | 1230474.2213 | 2654493.5483 | 1230462.5918
30 | 2654396.5959 | 1230323.4754 | 2654402.496 | 1230334.1832
31 | 2654502.8107 | 1230474.2213 | 2654516.2972 | 1230465.4871
32 | 2654502.8107 | 1230474.2213 | 2654504.6877 | 1230476.8683
33 | 2654513.1563 | 1230488.8105 | 2654504.6877 | 1230476.8683
34 | 2654513.1563 | 1230488.8105 | 2654534.7251 | 1230519.2265
35 | 2654538.4267 | 1230524.4463 | 2654534.7251 | 1230519.2265
36 | 2654538.4267 | 1230524.4463 | 2654543.8972 | 1230532.5016 | 2654553.6513 | 1230547.623
37 | 2654538.4267 | 1230524.4463 | 2654545.9868 | 1230523.515
38 | 2654563.9519 | 1230563.5925 | 2654562.8137 | 1230561.8271 | 2654553.6513 | 1230547.623
39 | 2654545.9868 | 1230523.515 | 2654556.2514 | 1230516.3385
40 | 2654545.9868 | 1230523.515 | 2654570.6698 | 1230532.1248
41 | 2654570.6698 | 1230532.1248 | 2654577.6747 | 1230534.5682 | 2654606.4729 | 1230548.8709
42 | 2654606.4729 | 1230548.8709 | 2654616.9274 | 1230554.0631 | 2654628.809 | 1230560.1409
43 | 2654579.7787 | 1230499.8892 | 2654556.2514 | 1230516.3385
44 | 2654579.7787 | 1230499.8892 | 2654590.4281 | 1230492.4436
45 | 2654779.2647 | 1230640.5996 | 2654776.1305 | 1230635.5009 | 2654730.833 | 1230612.3296
46 | 2654779.2647 | 1230640.5996 | 2654768.6117 | 1230642.6473 | 2654708.303 | 1230658.0517
47 | 2654565.7412 | 1230566.3679 | 2654563.9519 | 1230563.5925
48 | 2654598.9302 | 1230486.4993 | 2654590.4281 | 1230492.4436
49 | 2654100.0329 | 1230867.665 | 2654109.4041 | 1230885.398
50 | 2654058.824 | 1230789.9941 | 2654060.5278 | 1230799.1932 | 2654094.1867 | 1230856.6024 | 2654100.0329 | 1230867.665
51 | 2654708.303 | 1230658.0517 | 2654659.2856 | 1230670.572
52 | 2654613.7813 | 1230683.0053 | 2654649.6682 | 1230673.0285 | 2654659.2856 | 1230670.572
53 | 2654550.1983 | 1230691.0827 | 2654600.7271 | 1230685.9096 | 2654613.7813 | 1230683.0053
54 | 2654613.7813 | 1230683.0053 | 2654613.5764 | 1230679.7458 | 2654611.961 | 1230668.4349 | 2654610.8496 | 1230662.4431 | 2654609.0822 | 1230655.3112 | 2654606.8989 | 1230648.0977 | 2654603.3773 | 1230638.159 | 2654598.3369 | 1230626.1718 | 2654596.3135 | 1230621.5887
55 | 2654565.7412 | 1230566.3679 | 2654577.6061 | 1230584.9442 | 2654585.5887 | 1230599.0486 | 2654592.2155 | 1230612.3068 | 2654596.3135 | 1230621.5887
56 | 2654535.1345 | 1230627.6433 | 2654533.506 | 1230620.7849 | 2654529.737 | 1230614.6798 | 2654524.4861 | 1230611.5963 | 2654522.4753 | 1230606.3515
57 | 2654550.1983 | 1230691.0827 | 2654535.1345 | 1230627.6433
58 | 2654290.6913 | 1230703.9283 | 2654352.6864 | 1230692.1758 | 2654385.5978 | 1230686.9436
59 | 2654290.6913 | 1230703.9283 | 2654288.033 | 1230685.648 | 2654285.4535 | 1230637.0733
60 | 2654290.6913 | 1230703.9283 | 2654255.3351 | 1230716.4249 | 2654126.4726 | 1230769.2023
61 | 2654058.824 | 1230789.9941 | 2654069.6877 | 1230790.5376 | 2654084.5022 | 1230786.3918 | 2654126.4726 | 1230769.2023
62 | 2654285.4535 | 1230637.0733 | 2654283.0817 | 1230592.411
63 | 2654280.6585 | 1230546.7803 | 2654283.0817 | 1230592.411
64 | 2654280.6585 | 1230546.7803 | 2654278.0465 | 1230497.5931
65 | 2654278.0465 | 1230497.5931 | 2654277.3248 | 1230484.0041
66 | 2654275.5789 | 1230451.1259 | 2654277.3248 | 1230484.0041
67 | 2654353.5575 | 1230441.9353 | 2654355.3754 | 1230442.7636 | 2654377.0275 | 1230442.171
68 | 2654353.5575 | 1230441.9353 | 2654353.5575 | 1230441.9353 | 2654352.5157 | 1230439.9023 | 2654351.7567 | 1230426.206
69 | 2654381.7064 | 1230442.0429 | 2654377.0275 | 1230442.171
70 | 2654350.8812 | 1230410.4102 | 2654351.7567 | 1230426.206
71 | 2654350.0905 | 1230396.1412 | 2654350.8812 | 1230410.4102
72 | 2654350.0905 | 1230396.1412 | 2654366.704 | 1230395.6079
73 | 2654350.0905 | 1230396.1412 | 2654349.7758 | 1230390.4381
74 | 2654379.7456 | 1230395.1893 | 2654366.704 | 1230395.6079
75 | 2654310.6031 | 1230374.636 | 2654343.8055 | 1230375.2149 | 2654347.4016 | 1230377.0711 | 2654349.2067 | 1230380.1229 | 2654349.7758 | 1230390.4381
76 | 2654282.9096 | 1230374.1532 | 2654310.6031 | 1230374.636
77 | 2654271.4807 | 1230373.9539 | 2654282.9096 | 1230374.1532
78 | 2654271.4807 | 1230373.9539 | 2654273.7079 | 1230415.8946
79 | 2654271.4807 | 1230373.9539 | 2654270.7693 | 1230360.6056 | 2654271.0078 | 1230346.9213
80 | 2654275.5789 | 1230451.1259 | 2654273.7079 | 1230415.8946
81 | 2654271.0078 | 1230346.9213 | 2654324.3002 | 1230338.2693
82 | 2654339.9929 | 1230335.7216 | 2654324.3002 | 1230338.2693
83 | 2654339.9929 | 1230335.7216 | 2654335.8342 | 1230322.9311
84 | 2654396.5959 | 1230323.4754 | 2654387.2842 | 1230327.0704 | 2654339.9929 | 1230335.7216

## bus_geodata
| x | y | coords
0 | 2654619.5517 | 1230378.7703
1 | 2654617.5158 | 1230375.5729
2 | 2654638.2194 | 1230408.0877
3 | 2654639.694 | 1230407.7163
4 | 2654590.2837 | 1230420.1332
5 | 2654661.4834 | 1230402.2276
6 | 2654552.9174 | 1230441.7709
7 | 2654600.1584 | 1230450.4513
8 | 2654503.0349 | 1230386.9566
9 | 2654501.8473 | 1230389.1477
10 | 2654496.2654 | 1230363.4032
11 | 2654662.9297 | 1230401.8633
12 | 2654543.0585 | 1230448.1558
13 | 2654543.1055 | 1230426.8431
14 | 2654595.6181 | 1230453.7369
15 | 2654482.4601 | 1230411.4793
16 | 2654702.3817 | 1230391.9254
17 | 2654723.3423 | 1230386.6455
18 | 2654436.2459 | 1230387.7941
19 | 2654444.7469 | 1230402.1104
20 | 2654425.4374 | 1230369.5937
21 | 2654461.139 | 1230421.8508
22 | 2654421.4544 | 1230363.5899
23 | 2654469.3404 | 1230432.1972
24 | 2654475.6732 | 1230414.7807
25 | 2654418.9236 | 1230359.8269
26 | 2654493.5483 | 1230462.5918
27 | 2654402.496 | 1230334.1832
28 | 2654541.3564 | 1230424.182
29 | 2654516.2972 | 1230465.4871
30 | 2654502.8107 | 1230474.2213
31 | 2654504.6877 | 1230476.8683
32 | 2654513.1563 | 1230488.8105
33 | 2654534.7251 | 1230519.2265
34 | 2654538.4267 | 1230524.4463
35 | 2654553.6513 | 1230547.623
36 | 2654545.9868 | 1230523.515
37 | 2654741.8209 | 1230381.9908
38 | 2654570.6698 | 1230532.1248
39 | 2654606.4729 | 1230548.8709
40 | 2654628.809 | 1230560.1409
41 | 2654556.2514 | 1230516.3385
42 | 2654579.7787 | 1230499.8892
43 | 2654730.833 | 1230612.3296
44 | 2654779.2647 | 1230640.5996
45 | 2654563.9519 | 1230563.5925
46 | 2654590.4281 | 1230492.4436
47 | 2654109.4041 | 1230885.398
48 | 2654100.0329 | 1230867.665
49 | 2654708.303 | 1230658.0517
50 | 2654659.2856 | 1230670.572
51 | 2654613.7813 | 1230683.0053
52 | 2654565.7412 | 1230566.3679
53 | 2654596.3135 | 1230621.5887
54 | 2654522.4753 | 1230606.3515
55 | 2654535.1345 | 1230627.6433
56 | 2654550.1983 | 1230691.0827
57 | 2654385.5978 | 1230686.9436
58 | 2654290.6913 | 1230703.9283
59 | 2654058.824 | 1230789.9941
60 | 2654126.4726 | 1230769.2023
61 | 2654285.4535 | 1230637.0733
62 | 2654283.0817 | 1230592.411
63 | 2654280.6585 | 1230546.7803
64 | 2654598.9302 | 1230486.4993
65 | 2654278.0465 | 1230497.5931
66 | 2654277.3248 | 1230484.0041
67 | 2654353.5575 | 1230441.9353
68 | 2654377.0275 | 1230442.171
69 | 2654351.7567 | 1230426.206
70 | 2654381.7064 | 1230442.0429
71 | 2654350.8812 | 1230410.4102
72 | 2654350.0905 | 1230396.1412
73 | 2654366.7041 | 1230395.6079
74 | 2654349.7758 | 1230390.4381
75 | 2654282.9096 | 1230374.1532
76 | 2654310.6031 | 1230374.636
77 | 2654271.4807 | 1230373.9539
78 | 2654273.7079 | 1230415.8946
79 | 2654271.0078 | 1230346.9213
80 | 2654275.5789 | 1230451.1259
81 | 2654324.3002 | 1230338.2693
82 | 2654339.9929 | 1230335.7216
83 | 2654396.5959 | 1230323.4754
84 | 2654379.7456 | 1230395.1893
85 | 2654335.8342 | 1230322.9311
86 | 2654461.139 | 1230421.8508

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## res_bus
| vm_pu | va_degree | p_mw | q_mvar
0 | 0.9916 | -0.058971 | 0.0032611 | 0.00081732
1 | 0.99158 | -0.059139 | 0.0043441 | 0.0010887
2 | 0.99198 | -0.056289 | 0 | 0
3 | 0.99197 | -0.056381 | 0.0014387 | 0.00036057
4 | 0.99295 | -0.049491 | 0 | 0
5 | 0.99182 | -0.05741 | 0.00096691 | 0.00024233
6 | 0.99388 | -0.042876 | 0 | 0
7 | 0.99284 | -0.050203 | 0.00054695 | 0.00013708
8 | 0.99831 | -0.011789 | 0 | 0
9 | 0.99832 | -0.011716 | 0.0021465 | 0.00053796
10 | 0.9982 | -0.012505 | 0.0029143 | 0.00073039
11 | 0.99182 | -0.057464 | 0.00048994 | 0.00012279
12 | 0.99418 | -0.040768 | 0.00068496 | 0.00017167
13 | 0.99382 | -0.043352 | 0.0013428 | 0.00033655
14 | 0.99284 | -0.05026 | 0.0010081 | 0.00025267
15 | 0.99854 | -0.010159 | 0.002525 | 0.00063283
16 | 0.99164 | -0.058725 | 0.0017122 | 0.00042911
17 | 0.9916 | -0.059019 | 0.00046929 | 0.00011761
18 | 0.99612 | -0.026906 | 0.0033262 | 0.00083361
19 | 0.99706 | -0.020347 | 0.021746 | 0.0054501
20 | 0.99497 | -0.034909 | 0.0030383 | 0.00076147
21 | 0.99892 | -0.0074698 | 0 | 0
22 | 0.99459 | -0.037527 | 0.0050369 | 0.0012624
23 | 1 | 0 | -0.1748 | -0.043822
24 | 0.99862 | -0.0095859 | 0.0054937 | 0.0013769
25 | 0.99437 | -0.03906 | 0.0052597 | 0.0013182
26 | 0.99671 | -0.023012 | 0.00081561 | 0.00020441
27 | 0.993 | -0.04857 | 0.0026288 | 0.00065885
28 | 0.99381 | -0.043393 | 0.0012896 | 0.00032321
29 | 0.99503 | -0.034832 | 0.00067229 | 0.00016849
30 | 0.99547 | -0.031735 | 0 | 0
31 | 0.99529 | -0.033016 | 0.017528 | 0.0043929
32 | 0.99483 | -0.036213 | 0.0044044 | 0.0011038
33 | 0.99391 | -0.042708 | 0.00025731 | 6.4488e-05
34 | 0.99376 | -0.043808 | 0 | 0
35 | 0.99341 | -0.046262 | 0.00018205 | 4.5626e-05
36 | 0.99367 | -0.04444 | 0 | 0
37 | 0.99157 | -0.059187 | 0.00086837 | 0.00021763
38 | 0.99351 | -0.045549 | 0.00071602 | 0.00017945
39 | 0.99331 | -0.046941 | 0.00052274 | 0.00013101
40 | 0.99321 | -0.047688 | 0.0029505 | 0.00073948
41 | 0.99359 | -0.044952 | 0.0014809 | 0.00037115
42 | 0.99349 | -0.045695 | 0.00095243 | 0.0002387
43 | 0.99106 | -0.062932 | 0.00071281 | 0.00017865
44 | 0.99112 | -0.062519 | 0 | 0
45 | 0.99318 | -0.047909 | 0.00057942 | 0.00014522
46 | 0.99346 | -0.045906 | 0.00039007 | 9.7762e-05
47 | 0.97143 | -0.2017 | 0.0012873 | 0.00032263
48 | 0.97147 | -0.20143 | 0.0029562 | 0.0007409
49 | 0.99119 | -0.061983 | 0.0010815 | 0.00027104
50 | 0.99132 | -0.061053 | 0.004085 | 0.0010238
51 | 0.99172 | -0.058228 | 0 | 0
52 | 0.99314 | -0.048176 | 0 | 0
53 | 0.99242 | -0.053289 | 0.00039695 | 9.9485e-05
54 | 0.99139 | -0.060582 | 0.00060497 | 0.00015162
55 | 0.99141 | -0.060423 | 0.0010596 | 0.00026556
56 | 0.99157 | -0.059317 | 0 | 0
57 | 0.97362 | -0.18594 | 0.0012793 | 0.00032064
58 | 0.9738 | -0.18464 | 0 | 0
59 | 0.97202 | -0.19746 | 0 | 0
60 | 0.97247 | -0.19424 | 0.00088542 | 0.00022191
61 | 0.97443 | -0.18009 | 0.00036836 | 9.2319e-05
62 | 0.97487 | -0.17688 | 0.0039368 | 0.00098666
63 | 0.97559 | -0.17171 | 0.00029473 | 7.3866e-05
64 | 0.99344 | -0.046034 | 0.0012141 | 0.00030429
65 | 0.97638 | -0.166 | 0.017321 | 0.004341
66 | 0.97695 | -0.16196 | 0.00066481 | 0.00016662
67 | 0.97871 | -0.14935 | 0.0016863 | 0.00042262
68 | 0.97848 | -0.15102 | 0.0028848 | 0.00072301
69 | 0.97891 | -0.14794 | 0.001451 | 0.00036366
70 | 0.97845 | -0.15121 | 0.0038919 | 0.00097541
71 | 0.97914 | -0.14631 | 0.001743 | 0.00043683
72 | 0.97938 | -0.14457 | 0 | 0
73 | 0.97927 | -0.14537 | 0.001595 | 0.00039975
74 | 0.97952 | -0.14361 | 0.0017575 | 0.00044048
75 | 0.98166 | -0.12832 | 0.002249 | 0.00056364
76 | 0.98086 | -0.13404 | 0.0019026 | 0.00047684
77 | 0.98203 | -0.12569 | 0 | 0
78 | 0.97995 | -0.14048 | 0.0026421 | 0.00066217
79 | 0.98424 | -0.11001 | 0 | 0
80 | 0.97834 | -0.15197 | 0.0022364 | 0.0005605
81 | 0.98865 | -0.078929 | 0.0013668 | 0.00034254
82 | 0.98998 | -0.069608 | 0 | 0
83 | 0.99247 | -0.052229 | 0 | 0
84 | 0.97921 | -0.14578 | 0.002998 | 0.00075138
85 | 0.98995 | -0.069826 | 0.0015964 | 0.0004001
86 | 0.99998 | 149.9947 | 0 | 0

## res_line
| p_from_mw | q_from_mvar | p_to_mw | q_to_mvar | pl_mw | ql_mvar | i_from_ka | i_to_ka | i_ka | vm_from_pu | va_from_degree | vm_to_pu | va_to_degree | loading_percent
0 | 0.0043442 | 0.0010887 | -0.0043441 | -0.0010887 | 1.0052e-07 | -1.0235e-08 | 0.006519 | 0.0065191 | 0.0065191 | 0.9916 | -0.058971 | 0.99158 | -0.059139 | 2.4145
1 | -0.0076054 | -0.0019061 | 0.0076082 | 0.0019067 | 2.8248e-06 | 6.3795e-07 | 0.011413 | 0.011413 | 0.011413 | 0.9916 | -0.058971 | 0.99198 | -0.056289 | 4.227
2 | 0.0059467 | 0.0014892 | -0.0059466 | -0.0014892 | 7.5501e-08 | 9.407e-09 | 0.0089199 | 0.0089199 | 0.0089199 | 0.99198 | -0.056289 | 0.99197 | -0.056381 | 3.3037
3 | -0.013555 | -0.0033959 | 0.013568 | 0.0034001 | 1.2756e-05 | 4.2671e-06 | 0.020332 | 0.020332 | 0.020332 | 0.99198 | -0.056289 | 0.99295 | -0.049491 | 7.5305
4 | 0.0045079 | 0.0011286 | -0.0045073 | -0.0011287 | 6.4109e-07 | -4.3462e-08 | 0.0067618 | 0.0067619 | 0.0067619 | 0.99197 | -0.056381 | 0.99182 | -0.05741 | 2.5044
5 | -0.015123 | -0.0037893 | 0.015137 | 0.0037941 | 1.3854e-05 | 4.7686e-06 | 0.022663 | 0.022663 | 0.022663 | 0.99295 | -0.049491 | 0.99388 | -0.042876 | 8.3936
6 | 0.0015553 | 0.00038915 | -0.0015551 | -0.00038968 | 1.5289e-07 | -5.2462e-07 | 0.0023305 | 0.0023307 | 0.0023307 | 0.99295 | -0.049491 | 0.99284 | -0.050203 | 0.86322
7 | 0.0035404 | 0.00088632 | -0.0035404 | -0.00088633 | 2.6253e-08 | -9.1504e-09 | 0.0053112 | 0.0053112 | 0.0053112 | 0.99182 | -0.05741 | 0.99182 | -0.057464 | 1.9671
8 | -0.017769 | -0.0044536 | 0.017775 | 0.0044555 | 5.1875e-06 | 1.8429e-06 | 0.026604 | 0.026604 | 0.026604 | 0.99388 | -0.042876 | 0.99418 | -0.040768 | 9.8533
9 | 0.0026326 | 0.00065955 | -0.0026325 | -0.00065972 | 1.7317e-07 | -1.6488e-07 | 0.0039414 | 0.0039415 | 0.0039415 | 0.99388 | -0.042876 | 0.99382 | -0.043352 | 1.4598
10 | 0.0010082 | 0.0002526 | -0.0010081 | -0.00025267 | 7.9839e-09 | -6.9406e-08 | 0.0015109 | 0.001511 | 0.001511 | 0.99284 | -0.050203 | 0.99284 | -0.05026 | 0.55962
11 | -0.0029146 | -0.00073018 | 0.0029146 | 0.00073016 | 2.9349e-08 | -2.1298e-08 | 0.0043442 | 0.0043442 | 0.0043442 | 0.99831 | -0.011789 | 0.99832 | -0.011716 | 1.609
12 | 0.0029146 | 0.00073018 | -0.0029143 | -0.00073039 | 2.8861e-07 | -2.0939e-07 | 0.0043442 | 0.0043443 | 0.0043443 | 0.99831 | -0.011789 | 0.9982 | -0.012505 | 1.609
13 | -0.0050611 | -0.0012681 | 0.0050622 | 0.0012681 | 1.0902e-06 | 1.7779e-08 | 0.0075436 | 0.0075434 | 0.0075436 | 0.99832 | -0.011716 | 0.99854 | -0.010159 | 2.7939
14 | 0.0030504 | 0.00076354 | -0.0030499 | -0.00076386 | 5.3166e-07 | -3.2047e-07 | 0.0045762 | 0.0045764 | 0.0045764 | 0.99182 | -0.057464 | 0.99164 | -0.058725 | 1.695
15 | -0.01846 | -0.0046271 | 0.018475 | 0.0046326 | 1.5187e-05 | 5.4275e-06 | 0.027629 | 0.027629 | 0.027629 | 0.99418 | -0.040768 | 0.99503 | -0.034832 | 10.233
16 | 0.0012896 | 0.00032317 | -0.0012896 | -0.00032321 | 7.4089e-09 | -3.8413e-08 | 0.0019309 | 0.0019309 | 0.0019309 | 0.99382 | -0.043352 | 0.99381 | -0.043393 | 0.71515
17 | -0.0075872 | -0.001901 | 0.0075878 | 0.0019011 | 6.0202e-07 | 1.3281e-07 | 0.011306 | 0.011306 | 0.011306 | 0.99854 | -0.010159 | 0.99862 | -0.0095859 | 4.1875
18 | 0.0013377 | 0.00033475 | -0.0013377 | -0.00033501 | 5.4342e-08 | -2.5794e-07 | 0.0020072 | 0.0020073 | 0.0020073 | 0.99164 | -0.058725 | 0.9916 | -0.059019 | 0.74343
19 | 0.00086839 | 0.0002174 | -0.00086837 | -0.00021763 | 2.0191e-08 | -2.3804e-07 | 0.001303 | 0.0013031 | 0.0013031 | 0.9916 | -0.059019 | 0.99157 | -0.059187 | 0.48264
20 | -0.079385 | -0.020026 | 0.079458 | 0.020054 | 7.3109e-05 | 2.7685e-05 | 0.11863 | 0.11863 | 0.11863 | 0.99612 | -0.026906 | 0.99706 | -0.020347 | 21.9689
21 | 0.076059 | 0.019192 | -0.075973 | -0.01916 | 8.5325e-05 | 3.2267e-05 | 0.11366 | 0.11366 | 0.11366 | 0.99612 | -0.026906 | 0.99497 | -0.034909 | 21.0488
22 | -0.1012 | -0.025504 | 0.10139 | 0.025573 | 0.00018274 | 6.9615e-05 | 0.15109 | 0.15109 | 0.15109 | 0.99706 | -0.020347 | 0.99892 | -0.0074698 | 27.9789
23 | 0.072935 | 0.018399 | -0.072908 | -0.018388 | 2.677e-05 | 1.0109e-05 | 0.10912 | 0.10912 | 0.10912 | 0.99497 | -0.034909 | 0.99459 | -0.037527 | 20.2074
24 | -0.11447 | -0.028853 | 0.11459 | 0.028898 | 0.00011986 | 4.5753e-05 | 0.17058 | 0.17058 | 0.17058 | 0.99892 | -0.0074698 | 1 | 0 | 31.5885
25 | 0.013085 | 0.0032792 | -0.013082 | -0.003278 | 3.8319e-06 | 1.2623e-06 | 0.019492 | 0.019492 | 0.019492 | 0.99892 | -0.0074698 | 0.99862 | -0.0095859 | 7.2194
26 | 0.067871 | 0.017126 | -0.067857 | -0.017121 | 1.4601e-05 | 5.4979e-06 | 0.10158 | 0.10158 | 0.10158 | 0.99459 | -0.037527 | 0.99437 | -0.03906 | 18.8119
27 | 0.059406 | 0.014923 | -0.059216 | -0.014851 | 0.00018952 | 7.2383e-05 | 0.088409 | 0.088409 | 0.088409 | 1 | 0 | 0.99671 | -0.023012 | 32.7443
28 | 0.062597 | 0.015802 | -0.062514 | -0.015771 | 8.3508e-05 | 3.1329e-05 | 0.093713 | 0.093714 | 0.093714 | 0.99437 | -0.03906 | 0.993 | -0.04857 | 17.3544
29 | 0.058401 | 0.014647 | -0.05833 | -0.01462 | 7.0529e-05 | 2.6933e-05 | 0.087192 | 0.087192 | 0.087192 | 0.99671 | -0.023012 | 0.99547 | -0.031735 | 32.2933
30 | 0.059885 | 0.015112 | -0.059854 | -0.015101 | 3.0742e-05 | 1.1508e-05 | 0.089774 | 0.089775 | 0.089775 | 0.993 | -0.04857 | 0.99247 | -0.052229 | 16.6249
31 | -0.019147 | -0.004801 | 0.019155 | 0.004804 | 8.2208e-06 | 2.953e-06 | 0.028634 | 0.028634 | 0.028634 | 0.99503 | -0.034832 | 0.99547 | -0.031735 | 10.6053
32 | 0.039175 | 0.0098156 | -0.039168 | -0.009813 | 6.9433e-06 | 2.6283e-06 | 0.058558 | 0.058558 | 0.058558 | 0.99547 | -0.031735 | 0.99529 | -0.033016 | 21.688
33 | 0.02164 | 0.0054201 | -0.021631 | -0.0054166 | 9.5619e-06 | 3.4875e-06 | 0.032352 | 0.032352 | 0.032352 | 0.99529 | -0.033016 | 0.99483 | -0.036213 | 11.9824
34 | 0.017226 | 0.0043128 | -0.017211 | -0.0043073 | 1.5445e-05 | 5.4568e-06 | 0.025765 | 0.025765 | 0.025765 | 0.99483 | -0.036213 | 0.99391 | -0.042708 | 9.5425
35 | 0.016954 | 0.0042428 | -0.016951 | -0.0042419 | 2.572e-06 | 9.0632e-07 | 0.02538 | 0.02538 | 0.02538 | 0.99391 | -0.042708 | 0.99376 | -0.043808 | 9.3999
36 | 0.0087213 | 0.0021811 | -0.0087183 | -0.0021803 | 2.9503e-06 | 7.7557e-07 | 0.013057 | 0.013057 | 0.013057 | 0.99376 | -0.043808 | 0.99341 | -0.046262 | 4.8361
37 | 0.0082298 | 0.0020609 | -0.0082291 | -0.0020607 | 7.1962e-07 | 1.7839e-07 | 0.012322 | 0.012322 | 0.012322 | 0.99376 | -0.043808 | 0.99367 | -0.04444 | 4.5639
38 | 0.0085363 | 0.0021347 | -0.0085343 | -0.0021342 | 1.9382e-06 | 4.9948e-07 | 0.012785 | 0.012785 | 0.012785 | 0.99341 | -0.046262 | 0.99318 | -0.047909 | 4.7351
39 | 0.0040381 | 0.0010113 | -0.0040379 | -0.0010114 | 2.8577e-07 | -5.2317e-08 | 0.0060469 | 0.0060469 | 0.0060469 | 0.99367 | -0.04444 | 0.99359 | -0.044952 | 2.2396
40 | 0.0041909 | 0.0010494 | -0.0041903 | -0.0010495 | 6.4244e-07 | -9.1483e-08 | 0.0062756 | 0.0062757 | 0.0062757 | 0.99367 | -0.04444 | 0.99351 | -0.045549 | 2.3243
41 | 0.0034743 | 0.00087003 | -0.0034736 | -0.00087028 | 6.6858e-07 | -2.5521e-07 | 0.0052033 | 0.0052035 | 0.0052035 | 0.99351 | -0.045549 | 0.99331 | -0.046941 | 1.9272
42 | 0.0029508 | 0.00073927 | -0.0029505 | -0.00073948 | 3.0506e-07 | -2.0649e-07 | 0.0044204 | 0.0044205 | 0.0044205 | 0.99331 | -0.046941 | 0.99321 | -0.047688 | 1.6372
43 | 0.0025569 | 0.0006402 | -0.0025567 | -0.00064047 | 2.6265e-07 | -2.7075e-07 | 0.0038291 | 0.0038292 | 0.0038292 | 0.99359 | -0.044952 | 0.99349 | -0.045695 | 1.4182
44 | 0.0016043 | 0.00040177 | -0.0016042 | -0.00040192 | 4.681e-08 | -1.5025e-07 | 0.0024027 | 0.0024028 | 0.0024028 | 0.99349 | -0.045695 | 0.99346 | -0.045906 | 0.88991
45 | -0.00071281 | -0.00017865 | 0.00071285 | 0.00017793 | 4.0634e-08 | -7.1716e-07 | 0.0010702 | 0.00107 | 0.0010702 | 0.99106 | -0.062932 | 0.99112 | -0.062519 | 0.39639
46 | -0.00071285 | -0.00017793 | 0.0007129 | 0.00017701 | 5.2201e-08 | -9.2196e-07 | 0.00107 | 0.0010697 | 0.00107 | 0.99112 | -0.062519 | 0.99119 | -0.061983 | 0.39629
47 | 0.0079549 | 0.001989 | -0.0079546 | -0.0019889 | 2.9262e-07 | 6.9813e-08 | 0.011917 | 0.011917 | 0.011917 | 0.99318 | -0.047909 | 0.99314 | -0.048176 | 4.4136
48 | 0.0012141 | 0.00030416 | -0.0012141 | -0.00030429 | 2.1408e-08 | -1.2609e-07 | 0.0018185 | 0.0018186 | 0.0018186 | 0.99346 | -0.045906 | 0.99344 | -0.046034 | 0.67354
49 | -0.0012873 | -0.00032263 | 0.0012874 | 0.0003224 | 4.8662e-08 | -2.2961e-07 | 0.0019719 | 0.0019718 | 0.0019719 | 0.97143 | -0.2017 | 0.97147 | -0.20143 | 0.73033
50 | -0.0042436 | -0.0010633 | 0.0042459 | 0.0010631 | 2.3308e-06 | -1.9888e-07 | 0.0064999 | 0.0064995 | 0.0064999 | 0.97147 | -0.20143 | 0.97202 | -0.19746 | 2.4074
51 | -0.0017944 | -0.00044805 | 0.0017946 | 0.00044749 | 2.2896e-07 | -5.641e-07 | 0.0026932 | 0.002693 | 0.0026932 | 0.99119 | -0.061983 | 0.99132 | -0.061053 | 0.99748
52 | -0.0058796 | -0.0014713 | 0.0058819 | 0.0014715 | 2.2923e-06 | 2.7322e-07 | 0.0088247 | 0.0088244 | 0.0088247 | 0.99132 | -0.061053 | 0.99172 | -0.058228 | 3.2684
53 | 0.0016651 | 0.00041537 | -0.0016648 | -0.0004161 | 2.4909e-07 | -7.2963e-07 | 0.0024976 | 0.0024979 | 0.0024979 | 0.99172 | -0.058228 | 0.99157 | -0.059317 | 0.92516
54 | -0.0075469 | -0.0018869 | 0.0075521 | 0.0018881 | 5.1375e-06 | 1.1466e-06 | 0.011322 | 0.011322 | 0.011322 | 0.99172 | -0.058228 | 0.99242 | -0.053289 | 4.1934
55 | 0.0079546 | 0.0019889 | -0.007949 | -0.0019876 | 5.602e-06 | 1.3372e-06 | 0.011917 | 0.011917 | 0.011917 | 0.99314 | -0.048176 | 0.99242 | -0.053289 | 4.4137
56 | -0.00060497 | -0.00015162 | 0.00060498 | 0.00015129 | 1.3339e-08 | -3.2923e-07 | 0.00090802 | 0.00090791 | 0.00090802 | 0.99139 | -0.060582 | 0.99141 | -0.060423 | 0.3363
57 | -0.0016646 | -0.00041685 | 0.0016648 | 0.0004161 | 2.539e-07 | -7.4327e-07 | 0.0024982 | 0.0024979 | 0.0024982 | 0.99141 | -0.060423 | 0.99157 | -0.059317 | 0.92527
58 | -0.0012793 | -0.00032064 | 0.0012796 | 0.00031952 | 2.2998e-07 | -1.1109e-06 | 0.0019553 | 0.0019548 | 0.0019553 | 0.97362 | -0.18594 | 0.9738 | -0.18464 | 0.72418
59 | -0.0064196 | -0.0016048 | 0.0064237 | 0.0016055 | 4.0287e-06 | 7.1397e-07 | 0.0098081 | 0.0098078 | 0.0098081 | 0.9738 | -0.18464 | 0.97443 | -0.18009 | 3.6326
60 | 0.00514 | 0.0012853 | -0.0051332 | -0.0012849 | 6.8028e-06 | 4.2052e-07 | 0.0078532 | 0.007854 | 0.007854 | 0.9738 | -0.18464 | 0.97247 | -0.19424 | 2.9089
61 | -0.0042459 | -0.0010631 | 0.0042478 | 0.0010629 | 1.8877e-06 | -1.6208e-07 | 0.0064995 | 0.0064992 | 0.0064995 | 0.97202 | -0.19746 | 0.97247 | -0.19424 | 2.4072
62 | -0.006792 | -0.0016978 | 0.006795 | 0.0016984 | 3.0013e-06 | 5.9695e-07 | 0.01037 | 0.01037 | 0.01037 | 0.97443 | -0.18009 | 0.97487 | -0.17688 | 3.8408
63 | -0.010732 | -0.0026851 | 0.010739 | 0.0026875 | 7.6494e-06 | 2.3719e-06 | 0.016379 | 0.016379 | 0.016379 | 0.97487 | -0.17688 | 0.97559 | -0.17171 | 6.0663
64 | -0.011034 | -0.0027613 | 0.011043 | 0.0027641 | 8.7042e-06 | 2.7322e-06 | 0.016828 | 0.016828 | 0.016828 | 0.97559 | -0.17171 | 0.97638 | -0.166 | 6.2327
65 | -0.028364 | -0.0071051 | 0.02838 | 0.007111 | 1.5866e-05 | 5.9319e-06 | 0.043225 | 0.043225 | 0.043225 | 0.97638 | -0.166 | 0.97695 | -0.16196 | 16.0094
66 | -0.029044 | -0.0072776 | 0.029085 | 0.0072927 | 4.0206e-05 | 1.5051e-05 | 0.044238 | 0.044238 | 0.044238 | 0.97695 | -0.16196 | 0.97834 | -0.15197 | 16.3844
67 | 0.0067784 | 0.0016987 | -0.0067769 | -0.0016984 | 1.5679e-06 | 3.0581e-07 | 0.010306 | 0.010306 | 0.010306 | 0.97871 | -0.14935 | 0.97848 | -0.15102 | 3.817
68 | -0.0084647 | -0.0021213 | 0.0084664 | 0.0021218 | 1.6538e-06 | 4.3493e-07 | 0.01287 | 0.012869 | 0.01287 | 0.97871 | -0.14935 | 0.97891 | -0.14794 | 4.7665
69 | 0.003892 | 0.00097539 | -0.0038919 | -0.00097541 | 1.0232e-07 | -1.9438e-08 | 0.0059188 | 0.0059188 | 0.0059188 | 0.97848 | -0.15102 | 0.97845 | -0.15121 | 2.1921
70 | -0.0099174 | -0.0024854 | 0.0099196 | 0.0024861 | 2.2434e-06 | 6.6392e-07 | 0.015075 | 0.015075 | 0.015075 | 0.97891 | -0.14794 | 0.97914 | -0.14631 | 5.5834
71 | -0.011663 | -0.0029229 | 0.011665 | 0.0029238 | 2.8013e-06 | 8.9763e-07 | 0.017724 | 0.017724 | 0.017724 | 0.97914 | -0.14631 | 0.97938 | -0.14457 | 6.5644
72 | 0.0045937 | 0.001151 | -0.0045932 | -0.001151 | 5.0525e-07 | -1.482e-08 | 0.0069794 | 0.0069794 | 0.0069794 | 0.97938 | -0.14457 | 0.97927 | -0.14537 | 2.585
73 | -0.016259 | -0.0040748 | 0.016261 | 0.0040756 | 2.175e-06 | 7.6465e-07 | 0.024703 | 0.024703 | 0.024703 | 0.97938 | -0.14457 | 0.97952 | -0.14361 | 9.1493
74 | 0.0029982 | 0.00075128 | -0.002998 | -0.00075138 | 1.6899e-07 | -9.9155e-08 | 0.0045558 | 0.0045558 | 0.0045558 | 0.97927 | -0.14537 | 0.97921 | -0.14578 | 1.6873
75 | -0.018019 | -0.0045161 | 0.018043 | 0.0045246 | 2.3906e-05 | 8.5502e-06 | 0.027373 | 0.027373 | 0.027373 | 0.97952 | -0.14361 | 0.98086 | -0.13404 | 10.1382
76 | 0.019961 | 0.0050072 | -0.019945 | -0.0050015 | 1.5825e-05 | 5.7366e-06 | 0.030259 | 0.030259 | 0.030259 | 0.98166 | -0.12832 | 0.98086 | -0.13404 | 11.2071
77 | -0.02221 | -0.0055708 | 0.022218 | 0.0055738 | 8.0852e-06 | 2.9651e-06 | 0.033668 | 0.033668 | 0.033668 | 0.98166 | -0.12832 | 0.98203 | -0.12569 | 12.4697
78 | 0.034083 | 0.0085605 | -0.034013 | -0.0085341 | 6.9918e-05 | 2.6361e-05 | 0.051651 | 0.051651 | 0.051651 | 0.98203 | -0.12569 | 0.97995 | -0.14048 | 19.13
79 | -0.056301 | -0.014134 | 0.056424 | 0.014181 | 0.0001229 | 4.6928e-05 | 0.085319 | 0.085319 | 0.085319 | 0.98203 | -0.12569 | 0.98424 | -0.11001 | 31.5996
80 | 0.031371 | 0.0078719 | -0.031321 | -0.0078532 | 4.9964e-05 | 1.8773e-05 | 0.047639 | 0.047639 | 0.047639 | 0.97995 | -0.14048 | 0.97834 | -0.15197 | 17.6442
81 | -0.056424 | -0.014181 | 0.056669 | 0.014275 | 0.00024524 | 9.3633e-05 | 0.085319 | 0.085318 | 0.085319 | 0.98424 | -0.11001 | 0.98865 | -0.078929 | 31.5995
82 | -0.058036 | -0.014617 | 0.058112 | 0.014646 | 7.5738e-05 | 2.8926e-05 | 0.087376 | 0.087375 | 0.087376 | 0.98865 | -0.078929 | 0.98998 | -0.069608 | 32.3613
83 | 0.0015965 | 0.00039995 | -0.0015964 | -0.0004001 | 4.8325e-08 | -1.5434e-07 | 0.0023996 | 0.0023996 | 0.0023996 | 0.98998 | -0.069608 | 0.98995 | -0.069826 | 0.88875
84 | -0.059708 | -0.015046 | 0.059854 | 0.015101 | 0.00014558 | 5.4501e-05 | 0.089775 | 0.089775 | 0.089775 | 0.98998 | -0.069608 | 0.99247 | -0.052229 | 16.625

## res_trafo
| p_hv_mw | q_hv_mvar | p_lv_mw | q_lv_mvar | pl_mw | ql_mvar | i_hv_ka | i_lv_ka | vm_hv_pu | va_hv_degree | vm_lv_pu | va_lv_degree | loading_percent
0 | 2.5187e-16 | 8.8016e-16 | 0.00079998 | 7.4552e-08 | 0.00079998 | 7.4552e-08 | 2.6429e-17 | 0.0011547 | 0.99998 | 149.9947 | 1 | 0 | 0.31999

## res_ext_grid
| p_mw | q_mvar
0 | 0.1841 | 0.046153

## res_load
| p_mw | q_mvar
0 | 0.0032611 | 0.00081732
1 | 0.0043441 | 0.0010887
2 | 0.0014387 | 0.00036057
3 | 0.00096691 | 0.00024233
4 | 0.00054695 | 0.00013708
5 | 0.0021465 | 0.00053796
6 | 0.0029143 | 0.00073039
7 | 0.00048994 | 0.00012279
8 | 0.00068496 | 0.00017167
9 | 0.0013428 | 0.00033655
10 | 0.0010081 | 0.00025267
11 | 0.002525 | 0.00063283
12 | 0.0017122 | 0.00042911
13 | 0.00046929 | 0.00011761
14 | 0.0033262 | 0.00083361
15 | 0.021746 | 0.0054501
16 | 0.0030383 | 0.00076147
17 | 0.0050369 | 0.0012624
18 | 0.0093003 | 0.0023309
19 | 0.0054937 | 0.0013769
20 | 0.0052597 | 0.0013182
21 | 0.00081561 | 0.00020441
22 | 0.0026288 | 0.00065885
23 | 0.0012896 | 0.00032321
24 | 0.00067229 | 0.00016849
25 | 0.017528 | 0.0043929
26 | 0.0044044 | 0.0011038
27 | 0.00025731 | 6.4488e-05
28 | 0.00018205 | 4.5626e-05
29 | 0.00086837 | 0.00021763
30 | 0.00071602 | 0.00017945
31 | 0.00052274 | 0.00013101
32 | 0.0029505 | 0.00073948
33 | 0.0014809 | 0.00037115
34 | 0.00095243 | 0.0002387
35 | 0.00071281 | 0.00017865
36 | 0.00057942 | 0.00014522
37 | 0.00039007 | 9.7762e-05
38 | 0.0012873 | 0.00032263
39 | 0.0029562 | 0.0007409
40 | 0.0010815 | 0.00027104
41 | 0.004085 | 0.0010238
42 | 0.00039695 | 9.9485e-05
43 | 0.00060497 | 0.00015162
44 | 0.0010596 | 0.00026556
45 | 0.0012793 | 0.00032064
46 | 0.00088542 | 0.00022191
47 | 0.00036836 | 9.2319e-05
48 | 0.0039368 | 0.00098666
49 | 0.00029473 | 7.3866e-05
50 | 0.0012141 | 0.00030429
51 | 0.017321 | 0.004341
52 | 0.00066481 | 0.00016662
53 | 0.0016863 | 0.00042262
54 | 0.0028848 | 0.00072301
55 | 0.001451 | 0.00036366
56 | 0.0038919 | 0.00097541
57 | 0.001743 | 0.00043683
58 | 0.001595 | 0.00039975
59 | 0.0017575 | 0.00044048
60 | 0.002249 | 0.00056364
61 | 0.0019026 | 0.00047684
62 | 0.0026421 | 0.00066217
63 | 0.0022364 | 0.0005605
64 | 0.0013668 | 0.00034254
65 | 0.002998 | 0.00075138
66 | 0.0015964 | 0.0004001

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object
62 | res_bus | vm_pu | float64
63 | res_bus | va_degree | float64
64 | res_bus | p_mw | float64
65 | res_bus | q_mvar | float64
66 | res_line | p_from_mw | float64
67 | res_line | q_from_mvar | float64
68 | res_line | p_to_mw | float64
69 | res_line | q_to_mvar | float64
70 | res_line | pl_mw | float64
71 | res_line | ql_mvar | float64
72 | res_line | i_from_ka | float64
73 | res_line | i_to_ka | float64
74 | res_line | i_ka | float64
75 | res_line | vm_from_pu | float64
76 | res_line | va_from_degree | float64
77 | res_line | vm_to_pu | float64
78 | res_line | va_to_degree | float64
79 | res_line | loading_percent | float64
80 | res_trafo | p_hv_mw | float64
81 | res_trafo | q_hv_mvar | float64
82 | res_trafo | p_lv_mw | float64
83 | res_trafo | q_lv_mvar | float64
84 | res_trafo | pl_mw | float64
85 | res_trafo | ql_mvar | float64
86 | res_trafo | i_hv_ka | float64
87 | res_trafo | i_lv_ka | float64
88 | res_trafo | vm_hv_pu | float64
89 | res_trafo | va_hv_degree | float64
90 | res_trafo | vm_lv_pu | float64
91 | res_trafo | va_lv_degree | float64
92 | res_trafo | loading_percent | float64
93 | res_ext_grid | p_mw | float64
94 | res_ext_grid | q_mvar | float64
95 | res_load | p_mw | float64
96 | res_load | q_mvar | float64

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | TRUE | FALSE |  | 50 | 1