## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_1097-3_0_3_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_1097-3_0_3_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_1097-3_0_3_node_3 | 0.4 | n |  | TRUE
3 | bus_LV_1097-3_0_3_node_6 | 0.4 | n |  | TRUE
4 | bus_LV_1097-3_0_3_node_4 | 0.4 | n |  | TRUE
5 | bus_LV_1097-3_0_3_node_8 | 0.4 | n |  | TRUE
6 | bus_LV_1097-3_0_3_node_5 | 0.4 | n |  | TRUE
7 | bus_LV_1097-3_0_3_node_7 | 0.4 | n |  | TRUE
8 | bus_LV_1097-3_0_3_node_15 | 0.4 | n |  | TRUE
9 | bus_LV_1097-3_0_3_node_14 | 0.4 | n |  | TRUE
10 | bus_LV_1097-3_0_3_node_45 | 0.4 | n |  | TRUE
11 | bus_LV_1097-3_0_3_node_12 | 0.4 | n |  | TRUE
12 | bus_LV_1097-3_0_3_node_44 | 0.4 | n |  | TRUE
13 | bus_LV_1097-3_0_3_node_13 | 0.4 | n |  | TRUE
14 | bus_LV_1097-3_0_3_node_46 | 0.4 | n |  | TRUE
15 | bus_LV_1097-3_0_3_node_47 | 0.4 | n |  | TRUE
16 | bus_LV_1097-3_0_3_node_18 | 0.4 | n |  | TRUE
17 | bus_LV_1097-3_0_3_node_52 | 0.4 | n |  | TRUE
18 | bus_LV_1097-3_0_3_node_48 | 0.4 | n |  | TRUE
19 | bus_LV_1097-3_0_3_node_49 | 0.4 | n |  | TRUE
20 | bus_LV_1097-3_0_3_node_16 | 0.4 | n |  | TRUE
21 | bus_LV_1097-3_0_3_node_10 | 0.4 | n |  | TRUE
22 | bus_LV_1097-3_0_3_node_9 | 0.4 | n |  | TRUE
23 | bus_LV_1097-3_0_3_node_11 | 0.4 | n |  | TRUE
24 | bus_LV_1097-3_0_3_node_17 | 0.4 | n |  | TRUE
25 | bus_LV_1097-3_0_3_node_32 | 0.4 | n |  | TRUE
26 | bus_LV_1097-3_0_3_node_30 | 0.4 | n |  | TRUE
27 | bus_LV_1097-3_0_3_node_50 | 0.4 | n |  | TRUE
28 | bus_LV_1097-3_0_3_node_19 | 0.4 | n |  | TRUE
29 | bus_LV_1097-3_0_3_node_20 | 0.4 | n |  | TRUE
30 | bus_LV_1097-3_0_3_node_21 | 0.4 | n |  | TRUE
31 | bus_LV_1097-3_0_3_node_22 | 0.4 | n |  | TRUE
32 | bus_LV_1097-3_0_3_node_23 | 0.4 | n |  | TRUE
33 | bus_LV_1097-3_0_3_node_24 | 0.4 | n |  | TRUE
34 | bus_LV_1097-3_0_3_node_27 | 0.4 | n |  | TRUE
35 | bus_LV_1097-3_0_3_node_36 | 0.4 | n |  | TRUE
36 | bus_LV_1097-3_0_3_node_33 | 0.4 | n |  | TRUE
37 | bus_LV_1097-3_0_3_node_25 | 0.4 | n |  | TRUE
38 | bus_LV_1097-3_0_3_node_41 | 0.4 | n |  | TRUE
39 | bus_LV_1097-3_0_3_node_34 | 0.4 | n |  | TRUE
40 | bus_LV_1097-3_0_3_node_39 | 0.4 | n |  | TRUE
41 | bus_LV_1097-3_0_3_node_28 | 0.4 | n |  | TRUE
42 | bus_LV_1097-3_0_3_node_29 | 0.4 | n |  | TRUE
43 | bus_LV_1097-3_0_3_node_31 | 0.4 | n |  | TRUE
44 | bus_LV_1097-3_0_3_node_40 | 0.4 | n |  | TRUE
45 | bus_LV_1097-3_0_3_node_42 | 0.4 | n |  | TRUE
46 | bus_LV_1097-3_0_3_node_38 | 0.4 | n |  | TRUE
47 | bus_LV_1097-3_0_3_node_35 | 0.4 | n |  | TRUE
48 | bus_LV_1097-3_0_3_node_37 | 0.4 | n |  | TRUE
49 | bus_MV_473_2_node_70 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_1097-3_0_3_load_0 | 0 | 0.0029395 | 0.00073671 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_1097-3_0_3_load_1 | 1 | 0.0088972 | 0.0022298 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_1097-3_0_3_load_3 | 2 | 0.0010178 | 0.00025509 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_1097-3_0_3_load_8 | 5 | 0.0024039 | 0.00060248 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_1097-3_0_3_load_5 | 6 | 0.0013415 | 0.0003362 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_1097-3_0_3_load_7 | 7 | 0.00094066 | 0.00023575 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_1097-3_0_3_load_15 | 8 | 0.0060671 | 0.0015206 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_1097-3_0_3_load_14 | 9 | 0.0018045 | 0.00045226 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_1097-3_0_3_load_45 | 10 | 0.002534 | 0.00063509 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_1097-3_0_3_load_44 | 12 | 0.031602 | 0.0079203 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_1097-3_0_3_load_46 | 14 | 0.064845 | 0.016252 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_1097-3_0_3_load_47 | 15 | 0.0029219 | 0.00073231 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_1097-3_0_3_load_52 | 17 | 0.0022938 | 0.00057487 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_1097-3_0_3_load_48 | 18 | 0.029562 | 0.007409 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_1097-3_0_3_load_10 | 21 | 0.0018317 | 0.00045908 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_1097-3_0_3_load_9 | 22 | 0.001727 | 0.00043284 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_1097-3_0_3_load_11 | 23 | 0.00080017 | 0.00020054 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_1097-3_0_3_load_32 | 25 | 0.0033496 | 0.00083948 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_1097-3_0_3_load_30 | 26 | 0.0021554 | 0.00054019 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_1097-3_0_3_load_50 | 27 | 0.00054147 | 0.00013571 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_1097-3_0_3_load_19 | 28 | 0.001927 | 0.00048295 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_1097-3_0_3_load_20 | 29 | 0.00064185 | 0.00016086 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_1097-3_0_3_load_22 | 31 | 0.00065503 | 0.00016417 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_1097-3_0_3_load_24 | 33 | 0.0055122 | 0.0013815 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_1097-3_0_3_load_27 | 34 | 0.0038974 | 0.00097679 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_1097-3_0_3_load_36 | 35 | 0.0016101 | 0.00040352 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_1097-3_0_3_load_33 | 36 | 0.0033175 | 0.00083145 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_1097-3_0_3_load_25 | 37 | 0.0038797 | 0.00097235 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_1097-3_0_3_load_41 | 38 | 0.00087283 | 0.00021875 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_1097-3_0_3_load_34 | 39 | 0.0072863 | 0.0018261 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_1097-3_0_3_load_39 | 40 | 0.00035845 | 8.9837e-05 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_1097-3_0_3_load_28 | 41 | 0.0007147 | 0.00017912 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_1097-3_0_3_load_29 | 42 | 0.0015462 | 0.00038752 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_1097-3_0_3_load_40 | 44 | 0.00076867 | 0.00019265 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_1097-3_0_3_load_42 | 45 | 0.00079716 | 0.00019979 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_1097-3_0_3_load_38 | 46 | 0.0019872 | 0.00049805 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_1097-3_0_3_load_35 | 47 | 0.0061328 | 0.001537 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_1097-3_0_3_load_37 | 48 | 0.00044056 | 0.00011042 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 12 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_1097-3_0_3_line_0 | NAYY 4x150 SE | 0 | 1 | 0.008595 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
1 | LV_1097-3_0_3_line_1 | NAYY 4x150 SE | 1 | 2 | 0.021527 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
2 | LV_1097-3_0_3_line_2 | NAYY 4x150 SE | 2 | 3 | 0.0028526 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
3 | LV_1097-3_0_3_line_3 | NAYY 4x150 SE | 3 | 7 | 0.023291 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
4 | LV_1097-3_0_3_line_4 | NAYY 4x150 SE | 3 | 6 | 0.023912 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
5 | LV_1097-3_0_3_line_5 | NAYY 4x150 SE | 4 | 5 | 0.0073827 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
6 | LV_1097-3_0_3_line_6 | NAYY 4x150 SE | 4 | 6 | 0.012982 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
7 | LV_1097-3_0_3_line_7 | NAYY 4x150 SE | 5 | 8 | 0.014429 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
8 | LV_1097-3_0_3_line_8 | NAYY 4x150 SE | 7 | 16 | 0.018356 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
9 | LV_1097-3_0_3_line_9 | NAYY 4x150 SE | 8 | 20 | 0.028796 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
10 | LV_1097-3_0_3_line_10 | NAYY 4x150 SE | 9 | 10 | 0.011617 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
11 | LV_1097-3_0_3_line_11 | NAYY 4x150 SE | 9 | 11 | 0.029668 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
12 | LV_1097-3_0_3_line_12 | NAYY 4x150 SE | 10 | 14 | 0.021783 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
13 | LV_1097-3_0_3_line_13 | NAYY 4x150 SE | 11 | 13 | 0.11099 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
14 | LV_1097-3_0_3_line_14 | NAYY 4x150 SE | 11 | 21 | 0.024838 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
15 | LV_1097-3_0_3_line_15 | NAYY 4x150 SE | 12 | 13 | 0.049106 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
16 | LV_1097-3_0_3_line_16 | NAYY 4x150 SE | 14 | 15 | 0.021896 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
17 | LV_1097-3_0_3_line_17 | NAYY 4x150 SE | 15 | 18 | 0.0089202 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
18 | LV_1097-3_0_3_line_18 | NAYY 4x150 SE | 16 | 17 | 0.073123 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
19 | LV_1097-3_0_3_line_19 | NAYY 4x150 SE | 18 | 19 | 0.036677 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
20 | LV_1097-3_0_3_line_20 | NAYY 4x150 SE | 19 | 27 | 0.013945 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
21 | LV_1097-3_0_3_line_21 | NAYY 4x150 SE | 20 | 24 | 0.10786 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
22 | LV_1097-3_0_3_line_22 | NAYY 4x150 SE | 20 | 23 | 0.046418 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
23 | LV_1097-3_0_3_line_23 | NAYY 4x150 SE | 21 | 22 | 0.0091096 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
24 | LV_1097-3_0_3_line_24 | NAYY 4x150 SE | 22 | 23 | 0.026711 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
25 | LV_1097-3_0_3_line_25 | NAYY 4x150 SE | 24 | 25 | 0.093514 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
26 | LV_1097-3_0_3_line_26 | NAYY 4x150 SE | 25 | 26 | 0.041587 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
27 | LV_1097-3_0_3_line_27 | NAYY 4x150 SE | 26 | 41 | 0.019013 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
28 | LV_1097-3_0_3_line_28 | NAYY 4x150 SE | 28 | 29 | 0.02644 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
29 | LV_1097-3_0_3_line_29 | NAYY 4x150 SE | 28 | 30 | 0.0034021 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
30 | LV_1097-3_0_3_line_30 | NAYY 4x150 SE | 29 | 31 | 0.0010877 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
31 | LV_1097-3_0_3_line_31 | NAYY 4x150 SE | 30 | 32 | 0.009431 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
32 | LV_1097-3_0_3_line_32 | NAYY 4x150 SE | 30 | 33 | 0.011951 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
33 | LV_1097-3_0_3_line_33 | NAYY 4x150 SE | 31 | 34 | 0.0018037 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
34 | LV_1097-3_0_3_line_34 | NAYY 4x150 SE | 32 | 35 | 0.022397 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
35 | LV_1097-3_0_3_line_35 | NAYY 4x150 SE | 32 | 36 | 0.07585 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
36 | LV_1097-3_0_3_line_36 | NAYY 4x150 SE | 33 | 37 | 0.0041549 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
37 | LV_1097-3_0_3_line_37 | NAYY 4x150 SE | 34 | 38 | 0.035851 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
38 | LV_1097-3_0_3_line_38 | NAYY 4x150 SE | 36 | 39 | 0.080453 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
39 | LV_1097-3_0_3_line_39 | NAYY 4x150 SE | 38 | 40 | 0.0058728 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
40 | LV_1097-3_0_3_line_40 | NAYY 4x150 SE | 39 | 47 | 0.0097614 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
41 | LV_1097-3_0_3_line_41 | NAYY 4x150 SE | 40 | 48 | 0.027234 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
42 | LV_1097-3_0_3_line_42 | NAYY 4x150 SE | 41 | 42 | 0.010898 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
43 | LV_1097-3_0_3_line_43 | NAYY 4x150 SE | 42 | 43 | 0.017154 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
44 | LV_1097-3_0_3_line_44 | NAYY 4x150 SE | 43 | 44 | 0.051534 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
45 | LV_1097-3_0_3_line_45 | NAYY 4x150 SE | 43 | 45 | 0.030493 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
46 | LV_1097-3_0_3_line_46 | NAYY 4x150 SE | 44 | 46 | 0.013217 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
47 | LV_1097-3_0_3_line_47 | NAYY 4x150 SE | 46 | 48 | 0.012204 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_1097-3_0_3_trafo_44 | 0.25 MVA 20/0.4 kV | 49 | 12 | 0.25 | 20 | 0.4 | 6 | 1.44 | 0.8 | 0.32 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6 | x7 | y7 | x8 | y8 | x9 | y9 | x10 | y10 | x11 | y11 | x12 | y12 | x13 | y13 | x14 | y14 | x15 | y15 | x16 | y16 | x17 | y17 | x18 | y18 | x19 | y19
0 | 2654023.3181 | 1230165.8647 | 2654014.9853 | 1230163.7579
1 | 2653993.9505 | 1230159.2502 | 2654004.5195 | 1230161.1117 | 2654014.9853 | 1230163.7579
2 | 2653991.1412 | 1230158.7554 | 2653993.9505 | 1230159.2502
3 | 2653991.1412 | 1230158.7554 | 2653984.187 | 1230158.8146 | 2653973.8187 | 1230161.9781 | 2653969.3525 | 1230165.1812
4 | 2653991.1412 | 1230158.7554 | 2653993.2537 | 1230147.1672 | 2653996.7964 | 1230141.5736 | 2654000.8598 | 1230137.8497
5 | 2654010.4309 | 1230129.0783 | 2654015.875 | 1230124.0917
6 | 2654010.4309 | 1230129.0783 | 2654000.8598 | 1230137.8497
7 | 2654015.875 | 1230124.0917 | 2654021.1399 | 1230119.2693 | 2654026.7244 | 1230114.5851
8 | 2653956.765 | 1230178.1671 | 2653962.1839 | 1230170.3223 | 2653969.3525 | 1230165.1812
9 | 2654048.3068 | 1230095.5342 | 2654036.902 | 1230106.0485 | 2654026.7244 | 1230114.5851
10 | 2653958.5832 | 1230094.8704 | 2653955.6168 | 1230096.8383 | 2653948.3884 | 1230100.3972
11 | 2653980.2647 | 1230077.7164 | 2653981.3749 | 1230079.7499 | 2653958.5832 | 1230094.8704
12 | 2653948.3884 | 1230100.3972 | 2653948.3884 | 1230100.3972 | 2653943.9676 | 1230099.2453 | 2653942.2213 | 1230094.6933 | 2653932.3349 | 1230087.3101
13 | 2653980.2647 | 1230077.7164 | 2653977.4609 | 1230071.9984 | 2653976.3255 | 1230060.2251 | 2653974.0149 | 1230051.9099 | 2653973.2822 | 1230043.3312 | 2653975.6982 | 1230032.524 | 2653974.6524 | 1230027.5669 | 2653972.3114 | 1230026.7785 | 2653970.1237 | 1230029.1157 | 2653966.42 | 1230035.753 | 2653964.0633 | 1230037.5216 | 2653961.2119 | 1230037.0399 | 2653959.6841 | 1230033.446 | 2653960.1602 | 1230024.3779 | 2653962.7171 | 1230017.2521 | 2653962.8746 | 1230014.0848 | 2653960.9688 | 1230012.9113 | 2653957.8251 | 1230013.75 | 2653954.0685 | 1230017.863 | 2653948.5755 | 1230018.8249
14 | 2653980.2647 | 1230077.7164 | 2654001.2092 | 1230064.3646 | 2654001.2092 | 1230064.3646
15 | 2653948.5755 | 1230018.8249 | 2653946.7271 | 1230028.8589 | 2653943.2264 | 1230034.831 | 2653936.2373 | 1230041.2273 | 2653916.3493 | 1230051.7638
16 | 2653912.2896 | 1230086.7169 | 2653920.9925 | 1230082.6154 | 2653932.3349 | 1230087.3101
17 | 2653904.9487 | 1230082.4961 | 2653905.7338 | 1230082.099 | 2653907.4396 | 1230083.6154 | 2653910.3159 | 1230085.5205 | 2653912.2896 | 1230086.7169 | 2653912.2896 | 1230086.7169
18 | 2653956.765 | 1230178.1671 | 2653904.9672 | 1230126.5537
19 | 2653872.2206 | 1230099.0507 | 2653904.9487 | 1230082.4961
20 | 2653872.2206 | 1230099.0507 | 2653865.7013 | 1230086.7233
21 | 2654048.3068 | 1230095.5342 | 2654056.5269 | 1230091.2173 | 2654074.3325 | 1230083.1962 | 2654098.1974 | 1230074.4186 | 2654115.1399 | 1230070.5258 | 2654116.3429 | 1230049.8792 | 2654118.0894 | 1230034.4297
22 | 2654048.3068 | 1230095.5342 | 2654031.9844 | 1230052.0812
23 | 2654006.5599 | 1230059.1775 | 2654000.3321 | 1230062.5221 | 2654001.2092 | 1230064.3646
24 | 2654031.9844 | 1230052.0812 | 2654014.2773 | 1230055.0328 | 2654006.5599 | 1230059.1775
25 | 2654118.0894 | 1230034.4297 | 2654112.8642 | 1230030.1016 | 2654108.5852 | 1230020.8457 | 2654101.3487 | 1230001.134 | 2654093.124 | 1229978.4671 | 2654080.4148 | 1229953.3022 | 2654078.6402 | 1229950.6041
26 | 2654078.6402 | 1229950.6041 | 2654055.7881 | 1229915.8586
27 | 2654045.5418 | 1229899.8442 | 2654050.8714 | 1229908.383 | 2654055.7881 | 1229915.8586
28 | 2653893.7009 | 1229836.5259 | 2653886.4624 | 1229832.2658 | 2653871.0475 | 1229822.8936
29 | 2653868.1405 | 1229821.1261 | 2653871.0475 | 1229822.8936
30 | 2653893.7009 | 1229836.5259 | 2653894.6383 | 1229837.0776
31 | 2653868.1405 | 1229821.1261 | 2653859.1604 | 1229818.1652
32 | 2653868.1405 | 1229821.1261 | 2653870.7285 | 1229809.4592
33 | 2653896.1928 | 1229837.9924 | 2653894.6383 | 1229837.0776
34 | 2653859.1604 | 1229818.1652 | 2653854.6137 | 1229816.6675 | 2653837.5129 | 1229812.4632
35 | 2653859.1604 | 1229818.1652 | 2653850.7759 | 1229823.048 | 2653831.3497 | 1229843.5185 | 2653823.6075 | 1229858.6247 | 2653824.5574 | 1229870.0072 | 2653828.6693 | 1229878.6038
36 | 2653870.7285 | 1229809.4592 | 2653871.5839 | 1229805.603 | 2653871.6409 | 1229805.4062
37 | 2653896.1928 | 1229837.9924 | 2653923.8961 | 1229854.2967 | 2653927.2791 | 1229855.8104
38 | 2653828.6693 | 1229878.6038 | 2653830.438 | 1229882.3016 | 2653832.854 | 1229887.3711 | 2653856.4348 | 1229921.7174 | 2653832.3887 | 1229938.0639
39 | 2653927.2791 | 1229855.8104 | 2653932.6397 | 1229858.209
40 | 2653824.3159 | 1229943.5518 | 2653832.3887 | 1229938.0639
41 | 2653957.4986 | 1229869.3321 | 2653932.6397 | 1229858.209
42 | 2654045.5418 | 1229899.8442 | 2654039.7716 | 1229890.5991
43 | 2654030.6898 | 1229876.0459 | 2654037.1856 | 1229886.4559 | 2654039.7716 | 1229890.5991
44 | 2654030.6898 | 1229876.0459 | 2654016.5664 | 1229881.4211 | 2654000.6816 | 1229883.0668 | 2653984.0544 | 1229881.3815 | 2653980.6487 | 1229879.8351
45 | 2654030.6898 | 1229876.0459 | 2654016.377 | 1229849.1205
46 | 2653980.6487 | 1229879.8351 | 2653968.6142 | 1229874.3706
47 | 2653957.4986 | 1229869.3321 | 2653958.8196 | 1229869.9232 | 2653968.6142 | 1229874.3706

## bus_geodata
| x | y | coords
0 | 2654023.3181 | 1230165.8647
1 | 2654014.9853 | 1230163.7579
2 | 2653993.9505 | 1230159.2502
3 | 2653991.1412 | 1230158.7554
4 | 2654010.4309 | 1230129.0783
5 | 2654015.875 | 1230124.0917
6 | 2654000.8598 | 1230137.8497
7 | 2653969.3525 | 1230165.1812
8 | 2654026.7244 | 1230114.5851
9 | 2653958.5832 | 1230094.8704
10 | 2653948.3884 | 1230100.3972
11 | 2653980.2647 | 1230077.7164
12 | 2653916.3493 | 1230051.7638
13 | 2653948.5755 | 1230018.8249
14 | 2653932.3349 | 1230087.3101
15 | 2653912.2896 | 1230086.7169
16 | 2653956.765 | 1230178.1671
17 | 2653904.9672 | 1230126.5537
18 | 2653904.9487 | 1230082.4961
19 | 2653872.2206 | 1230099.0507
20 | 2654048.3068 | 1230095.5342
21 | 2654001.2092 | 1230064.3646
22 | 2654006.5599 | 1230059.1775
23 | 2654031.9844 | 1230052.0812
24 | 2654118.0894 | 1230034.4297
25 | 2654078.6402 | 1229950.6041
26 | 2654055.7881 | 1229915.8586
27 | 2653865.7013 | 1230086.7233
28 | 2653871.0475 | 1229822.8936
29 | 2653893.7009 | 1229836.5259
30 | 2653868.1405 | 1229821.1261
31 | 2653894.6383 | 1229837.0776
32 | 2653859.1604 | 1229818.1652
33 | 2653870.7285 | 1229809.4592
34 | 2653896.1928 | 1229837.9924
35 | 2653837.5129 | 1229812.4632
36 | 2653828.6693 | 1229878.6038
37 | 2653871.6409 | 1229805.4062
38 | 2653927.2791 | 1229855.8104
39 | 2653832.3887 | 1229938.0639
40 | 2653932.6397 | 1229858.209
41 | 2654045.5418 | 1229899.8442
42 | 2654039.7716 | 1229890.5991
43 | 2654030.6898 | 1229876.0459
44 | 2653980.6487 | 1229879.8351
45 | 2654016.377 | 1229849.1205
46 | 2653968.6142 | 1229874.3706
47 | 2653824.3159 | 1229943.5517
48 | 2653957.4986 | 1229869.3321
49 | 2653911.4163 | 1230054.3773

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## res_bus
| vm_pu | va_degree | p_mw | q_mvar
0 | 0.97899 | -0.14699 | 0.0029395 | 0.00073671
1 | 0.97902 | -0.14673 | 0.0088972 | 0.0022298
2 | 0.97939 | -0.14408 | 0.0010178 | 0.00025509
3 | 0.97945 | -0.14369 | 0 | 0
4 | 0.98034 | -0.13734 | 0 | 0
5 | 0.98052 | -0.136 | 0.0024039 | 0.00060248
6 | 0.98001 | -0.13969 | 0.0013415 | 0.0003362
7 | 0.97934 | -0.14448 | 0.00094066 | 0.00023575
8 | 0.98094 | -0.13303 | 0.0060671 | 0.0015206
9 | 0.98152 | -0.12883 | 0.0018045 | 0.00045226
10 | 0.97982 | -0.14094 | 0.002534 | 0.00063509
11 | 0.98595 | -0.097554 | 0 | 0
12 | 1 | 0 | -0.18539 | -0.046797
13 | 0.99569 | -0.029633 | 0 | 0
14 | 0.9767 | -0.16317 | 0.064845 | 0.016252
15 | 0.97565 | -0.17075 | 0.0029219 | 0.00073231
16 | 0.97928 | -0.14492 | 0 | 0
17 | 0.97903 | -0.14667 | 0.0022938 | 0.00057487
18 | 0.97525 | -0.17356 | 0.029562 | 0.007409
19 | 0.97523 | -0.17377 | 0 | 0
20 | 0.98203 | -0.12529 | 0 | 0
21 | 0.985 | -0.10422 | 0.0018317 | 0.00045908
22 | 0.98466 | -0.10661 | 0.001727 | 0.00043284
23 | 0.98369 | -0.11347 | 0.00080017 | 0.00020054
24 | 0.97951 | -0.14321 | 0 | 0
25 | 0.97732 | -0.1588 | 0.0033496 | 0.00083948
26 | 0.97642 | -0.16527 | 0.0021554 | 0.00054019
27 | 0.97521 | -0.17385 | 0.00054147 | 0.00013571
28 | 0.97239 | -0.19422 | 0.001927 | 0.00048295
29 | 0.97277 | -0.19145 | 0.00064185 | 0.00016086
30 | 0.97234 | -0.19455 | 0 | 0
31 | 0.97279 | -0.19134 | 0.00065503 | 0.00016417
32 | 0.97226 | -0.19516 | 0 | 0
33 | 0.97218 | -0.19573 | 0.0055122 | 0.0013815
34 | 0.97281 | -0.19114 | 0.0038974 | 0.00097679
35 | 0.9722 | -0.19554 | 0.0016101 | 0.00040352
36 | 0.97164 | -0.19964 | 0.0033175 | 0.00083145
37 | 0.97215 | -0.1959 | 0.0038797 | 0.00097235
38 | 0.97343 | -0.18674 | 0.00087283 | 0.00021875
39 | 0.97111 | -0.20345 | 0.0072863 | 0.0018261
40 | 0.97353 | -0.186 | 0.00035845 | 8.9837e-05
41 | 0.97602 | -0.16809 | 0.0007147 | 0.00017912
42 | 0.9758 | -0.16968 | 0.0015462 | 0.00038752
43 | 0.97547 | -0.17209 | 0 | 0
44 | 0.97448 | -0.17919 | 0.00076867 | 0.00019265
45 | 0.97543 | -0.17234 | 0.00079716 | 0.00019979
46 | 0.97423 | -0.18098 | 0.0019872 | 0.00049805
47 | 0.97102 | -0.20408 | 0.0061328 | 0.001537
48 | 0.97401 | -0.18255 | 0.00044056 | 0.00011042
49 | 0.99998 | 149.9947 | 0 | 0

## res_line
| p_from_mw | q_from_mvar | p_to_mw | q_to_mvar | pl_mw | ql_mvar | i_from_ka | i_to_ka | i_ka | vm_from_pu | va_from_degree | vm_to_pu | va_to_degree | loading_percent
0 | -0.0029395 | -0.00073671 | 0.0029396 | 0.00073665 | 1.0706e-07 | -6.6897e-08 | 0.0044679 | 0.0044679 | 0.0044679 | 0.97899 | -0.14699 | 0.97902 | -0.14673 | 1.6548
1 | -0.011837 | -0.0029665 | 0.011841 | 0.0029679 | 4.3477e-06 | 1.4014e-06 | 0.017991 | 0.017991 | 0.017991 | 0.97902 | -0.14673 | 0.97939 | -0.14408 | 6.6632
2 | -0.012859 | -0.003223 | 0.01286 | 0.0032232 | 6.7942e-07 | 2.2542e-07 | 0.019537 | 0.019537 | 0.019537 | 0.97939 | -0.14408 | 0.97945 | -0.14369 | 7.2359
3 | 0.0032355 | 0.00080958 | -0.0032351 | -0.00080974 | 3.5109e-07 | -1.5806e-07 | 0.004915 | 0.0049151 | 0.0049151 | 0.97945 | -0.14369 | 0.97934 | -0.14448 | 1.8204
4 | -0.016095 | -0.0040328 | 0.016104 | 0.0040359 | 8.9213e-06 | 3.1301e-06 | 0.024452 | 0.024452 | 0.024452 | 0.97945 | -0.14369 | 0.98001 | -0.13969 | 9.0563
5 | -0.017451 | -0.0043741 | 0.017454 | 0.0043753 | 3.2324e-06 | 1.1501e-06 | 0.026489 | 0.026489 | 0.026489 | 0.98034 | -0.13734 | 0.98052 | -0.136 | 9.8106
6 | 0.017451 | 0.0043741 | -0.017446 | -0.0043721 | 5.6841e-06 | 2.0226e-06 | 0.026489 | 0.026489 | 0.026489 | 0.98034 | -0.13734 | 0.98001 | -0.13969 | 9.8106
7 | -0.019858 | -0.0049778 | 0.019867 | 0.0049807 | 8.1771e-06 | 2.963e-06 | 0.030137 | 0.030137 | 0.030137 | 0.98052 | -0.136 | 0.98094 | -0.13303 | 11.1618
8 | 0.0022945 | 0.00057399 | -0.0022943 | -0.00057417 | 1.3918e-07 | -1.7742e-07 | 0.0034859 | 0.0034859 | 0.0034859 | 0.97934 | -0.14448 | 0.97928 | -0.14492 | 1.2911
9 | -0.025934 | -0.0065013 | 0.025961 | 0.0065116 | 2.7809e-05 | 1.0332e-05 | 0.03934 | 0.03934 | 0.03934 | 0.98094 | -0.13303 | 0.98203 | -0.12529 | 14.5704
10 | 0.10092 | 0.025362 | -0.10075 | -0.025297 | 0.00016975 | 6.5142e-05 | 0.15303 | 0.15303 | 0.15303 | 0.98152 | -0.12883 | 0.97982 | -0.14094 | 56.6768
11 | -0.10273 | -0.025814 | 0.10318 | 0.025986 | 0.00044916 | 0.00017238 | 0.15576 | 0.15576 | 0.15576 | 0.98152 | -0.12883 | 0.98595 | -0.097554 | 57.69
12 | 0.098219 | 0.024662 | -0.097917 | -0.024545 | 0.00030249 | 0.00011607 | 0.14918 | 0.14918 | 0.14918 | 0.97982 | -0.14094 | 0.9767 | -0.16317 | 55.2515
13 | -0.18208 | -0.045835 | 0.18382 | 0.046502 | 0.0017442 | 0.00066654 | 0.27487 | 0.27487 | 0.27487 | 0.98595 | -0.097554 | 0.99569 | -0.029633 | 33.9345
14 | 0.078902 | 0.019849 | -0.078828 | -0.019821 | 7.3292e-05 | 2.724e-05 | 0.11911 | 0.11911 | 0.11911 | 0.98595 | -0.097554 | 0.985 | -0.10422 | 14.7046
15 | 0.18459 | 0.046797 | -0.18382 | -0.046502 | 0.0007717 | 0.00029488 | 0.27487 | 0.27487 | 0.27487 | 1 | 0 | 0.99569 | -0.029633 | 33.9343
16 | 0.033072 | 0.0082938 | -0.033037 | -0.0082808 | 3.469e-05 | 1.3069e-05 | 0.050387 | 0.050388 | 0.050388 | 0.9767 | -0.16317 | 0.97565 | -0.17075 | 18.662
17 | 0.030115 | 0.0075485 | -0.030104 | -0.0075441 | 1.1743e-05 | 4.4051e-06 | 0.045931 | 0.045931 | 0.045931 | 0.97565 | -0.17075 | 0.97525 | -0.17356 | 17.0115
18 | 0.0022943 | 0.00057417 | -0.0022938 | -0.00057487 | 5.5452e-07 | -7.0646e-07 | 0.0034859 | 0.0034863 | 0.0034863 | 0.97928 | -0.14492 | 0.97903 | -0.14667 | 1.2912
19 | 0.00054149 | 0.00013508 | -0.00054148 | -0.00013553 | 1.5617e-08 | -4.5163e-07 | 0.00082597 | 0.00082613 | 0.00082613 | 0.97525 | -0.17356 | 0.97523 | -0.17377 | 0.30598
20 | 0.00054148 | 0.00013553 | -0.00054147 | -0.00013571 | 5.9393e-09 | -1.7171e-07 | 0.00082613 | 0.0008262 | 0.0008262 | 0.97523 | -0.17377 | 0.97521 | -0.17385 | 0.306
21 | 0.048288 | 0.012136 | -0.048168 | -0.012094 | 0.00012015 | 4.2126e-05 | 0.073181 | 0.073182 | 0.073182 | 0.98203 | -0.12529 | 0.97951 | -0.14321 | 9.0348
22 | -0.07425 | -0.018648 | 0.074372 | 0.018693 | 0.00012224 | 4.525e-05 | 0.11252 | 0.11252 | 0.11252 | 0.98203 | -0.12529 | 0.98369 | -0.11347 | 13.8914
23 | 0.076996 | 0.019362 | -0.076971 | -0.019353 | 2.5646e-05 | 9.5161e-06 | 0.11634 | 0.11634 | 0.11634 | 0.985 | -0.10422 | 0.98466 | -0.10661 | 14.363
24 | 0.075244 | 0.01892 | -0.075172 | -0.018893 | 7.1864e-05 | 2.6622e-05 | 0.11373 | 0.11373 | 0.11373 | 0.98466 | -0.10661 | 0.98369 | -0.11347 | 14.0408
25 | 0.048168 | 0.012094 | -0.048064 | -0.012057 | 0.00010417 | 3.6544e-05 | 0.073182 | 0.073183 | 0.073183 | 0.97951 | -0.14321 | 0.97732 | -0.1588 | 9.035
26 | 0.044714 | 0.011218 | -0.044674 | -0.011204 | 4.0097e-05 | 1.386e-05 | 0.068084 | 0.068084 | 0.068084 | 0.97732 | -0.1588 | 0.97642 | -0.16527 | 8.4054
27 | 0.042519 | 0.010664 | -0.042502 | -0.010658 | 1.6606e-05 | 5.6737e-06 | 0.064799 | 0.0648 | 0.0648 | 0.97642 | -0.16527 | 0.97602 | -0.16809 | 8
28 | -0.029688 | -0.0074367 | 0.0297 | 0.0074401 | 1.135e-05 | 3.381e-06 | 0.045429 | 0.045429 | 0.045429 | 0.97239 | -0.19422 | 0.97277 | -0.19145 | 5.6086
29 | 0.027761 | 0.0069537 | -0.02776 | -0.0069534 | 1.277e-06 | 3.6456e-07 | 0.042481 | 0.042481 | 0.042481 | 0.97239 | -0.19422 | 0.97234 | -0.19455 | 5.2445
30 | -0.030341 | -0.0076009 | 0.030342 | 0.0076011 | 4.8732e-07 | 1.4692e-07 | 0.046411 | 0.046411 | 0.046411 | 0.97277 | -0.19145 | 0.97279 | -0.19134 | 5.7297
31 | 0.018366 | 0.0045991 | -0.018365 | -0.0045989 | 1.5495e-06 | 2.4507e-07 | 0.028105 | 0.028106 | 0.028106 | 0.97234 | -0.19455 | 0.97226 | -0.19516 | 3.4698
32 | 0.0093935 | 0.0023543 | -0.009392 | -0.0023538 | 1.541e-06 | 4.445e-07 | 0.014375 | 0.014375 | 0.014375 | 0.97234 | -0.19455 | 0.97218 | -0.19573 | 5.3242
33 | -0.030997 | -0.0077652 | 0.030998 | 0.0077655 | 8.4338e-07 | 2.572e-07 | 0.047413 | 0.047413 | 0.047413 | 0.97279 | -0.19134 | 0.97281 | -0.19114 | 5.8534
34 | 0.0016101 | 0.00040327 | -0.0016101 | -0.00040352 | 8.4868e-08 | -2.451e-07 | 0.0024642 | 0.0024643 | 0.0024643 | 0.97226 | -0.19516 | 0.9722 | -0.19554 | 0.9127
35 | 0.016755 | 0.0041956 | -0.016744 | -0.0041944 | 1.0373e-05 | 1.1696e-06 | 0.025641 | 0.025642 | 0.025642 | 0.97226 | -0.19516 | 0.97164 | -0.19964 | 3.1657
36 | 0.0038798 | 0.00097233 | -0.0038797 | -0.00097235 | 9.143e-08 | -1.6352e-08 | 0.0059384 | 0.0059385 | 0.0059385 | 0.97218 | -0.19573 | 0.97215 | -0.1959 | 2.1994
37 | -0.034895 | -0.0087423 | 0.034916 | 0.0087491 | 2.1244e-05 | 6.8344e-06 | 0.053374 | 0.053374 | 0.053374 | 0.97281 | -0.19114 | 0.97343 | -0.18674 | 6.5894
38 | 0.013427 | 0.003363 | -0.01342 | -0.0033632 | 7.0753e-06 | -2.6648e-07 | 0.020562 | 0.020563 | 0.020563 | 0.97164 | -0.19964 | 0.97111 | -0.20345 | 2.5386
39 | -0.035789 | -0.0089679 | 0.035793 | 0.0089691 | 3.6561e-06 | 1.1871e-06 | 0.054708 | 0.054708 | 0.054708 | 0.97343 | -0.18674 | 0.97353 | -0.186 | 6.7541
40 | 0.0061334 | 0.0015371 | -0.0061328 | -0.001537 | 5.3799e-07 | 8.616e-08 | 0.009398 | 0.0093981 | 0.0093981 | 0.97111 | -0.20345 | 0.97102 | -0.20408 | 3.4808
41 | -0.036151 | -0.0090589 | 0.036169 | 0.0090645 | 1.7295e-05 | 5.6357e-06 | 0.055256 | 0.055256 | 0.055256 | 0.97353 | -0.186 | 0.97401 | -0.18255 | 6.8217
42 | 0.041787 | 0.010479 | -0.041778 | -0.010476 | 9.2008e-06 | 3.1303e-06 | 0.06371 | 0.06371 | 0.06371 | 0.97602 | -0.16809 | 0.9758 | -0.16968 | 7.8655
43 | 0.040232 | 0.010088 | -0.040219 | -0.010084 | 1.3431e-05 | 4.5231e-06 | 0.061352 | 0.061353 | 0.061353 | 0.9758 | -0.16968 | 0.97547 | -0.17209 | 7.5744
44 | 0.039421 | 0.0098844 | -0.039383 | -0.0098714 | 3.8765e-05 | 1.2982e-05 | 0.060137 | 0.060137 | 0.060137 | 0.97547 | -0.17209 | 0.97448 | -0.17919 | 7.4244
45 | 0.00079718 | 0.00019942 | -0.00079716 | -0.00019979 | 2.8135e-08 | -3.6982e-07 | 0.0012159 | 0.0012161 | 0.0012161 | 0.97547 | -0.17209 | 0.97543 | -0.17234 | 0.45039
46 | 0.038614 | 0.0096788 | -0.038604 | -0.0096756 | 9.558e-06 | 3.1823e-06 | 0.058964 | 0.058964 | 0.058964 | 0.97448 | -0.17919 | 0.97423 | -0.18098 | 7.2795
47 | 0.036617 | 0.0091776 | -0.036609 | -0.009175 | 7.9404e-06 | 2.5982e-06 | 0.055928 | 0.055929 | 0.055929 | 0.97423 | -0.18098 | 0.97401 | -0.18255 | 6.9048

## res_trafo
| p_hv_mw | q_hv_mvar | p_lv_mw | q_lv_mvar | pl_mw | ql_mvar | i_hv_ka | i_lv_ka | vm_hv_pu | va_hv_degree | vm_lv_pu | va_lv_degree | loading_percent
0 | 2.5187e-16 | 8.8016e-16 | 0.00079998 | 7.4552e-08 | 0.00079998 | 7.4552e-08 | 2.6429e-17 | 0.0011547 | 0.99998 | 149.9947 | 1 | 0 | 0.31999

## res_ext_grid
| p_mw | q_mvar
0 | 0.217 | 0.054717

## res_load
| p_mw | q_mvar
0 | 0.0029395 | 0.00073671
1 | 0.0088972 | 0.0022298
2 | 0.0010178 | 0.00025509
3 | 0.0024039 | 0.00060248
4 | 0.0013415 | 0.0003362
5 | 0.00094066 | 0.00023575
6 | 0.0060671 | 0.0015206
7 | 0.0018045 | 0.00045226
8 | 0.002534 | 0.00063509
9 | 0.031602 | 0.0079203
10 | 0.064845 | 0.016252
11 | 0.0029219 | 0.00073231
12 | 0.0022938 | 0.00057487
13 | 0.029562 | 0.007409
14 | 0.0018317 | 0.00045908
15 | 0.001727 | 0.00043284
16 | 0.00080017 | 0.00020054
17 | 0.0033496 | 0.00083948
18 | 0.0021554 | 0.00054019
19 | 0.00054147 | 0.00013571
20 | 0.001927 | 0.00048295
21 | 0.00064185 | 0.00016086
22 | 0.00065503 | 0.00016417
23 | 0.0055122 | 0.0013815
24 | 0.0038974 | 0.00097679
25 | 0.0016101 | 0.00040352
26 | 0.0033175 | 0.00083145
27 | 0.0038797 | 0.00097235
28 | 0.00087283 | 0.00021875
29 | 0.0072863 | 0.0018261
30 | 0.00035845 | 8.9837e-05
31 | 0.0007147 | 0.00017912
32 | 0.0015462 | 0.00038752
33 | 0.00076867 | 0.00019265
34 | 0.00079716 | 0.00019979
35 | 0.0019872 | 0.00049805
36 | 0.0061328 | 0.001537
37 | 0.00044056 | 0.00011042

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object
62 | res_bus | vm_pu | float64
63 | res_bus | va_degree | float64
64 | res_bus | p_mw | float64
65 | res_bus | q_mvar | float64
66 | res_line | p_from_mw | float64
67 | res_line | q_from_mvar | float64
68 | res_line | p_to_mw | float64
69 | res_line | q_to_mvar | float64
70 | res_line | pl_mw | float64
71 | res_line | ql_mvar | float64
72 | res_line | i_from_ka | float64
73 | res_line | i_to_ka | float64
74 | res_line | i_ka | float64
75 | res_line | vm_from_pu | float64
76 | res_line | va_from_degree | float64
77 | res_line | vm_to_pu | float64
78 | res_line | va_to_degree | float64
79 | res_line | loading_percent | float64
80 | res_trafo | p_hv_mw | float64
81 | res_trafo | q_hv_mvar | float64
82 | res_trafo | p_lv_mw | float64
83 | res_trafo | q_lv_mvar | float64
84 | res_trafo | pl_mw | float64
85 | res_trafo | ql_mvar | float64
86 | res_trafo | i_hv_ka | float64
87 | res_trafo | i_lv_ka | float64
88 | res_trafo | vm_hv_pu | float64
89 | res_trafo | va_hv_degree | float64
90 | res_trafo | vm_lv_pu | float64
91 | res_trafo | va_lv_degree | float64
92 | res_trafo | loading_percent | float64
93 | res_ext_grid | p_mw | float64
94 | res_ext_grid | q_mvar | float64
95 | res_load | p_mw | float64
96 | res_load | q_mvar | float64

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | TRUE | FALSE |  | 50 | 1