## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_1097-7_0_2_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_1097-7_0_2_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_1097-7_0_2_node_6 | 0.4 | n |  | TRUE
3 | bus_LV_1097-7_0_2_node_2 | 0.4 | n |  | TRUE
4 | bus_LV_1097-7_0_2_node_113 | 0.4 | n |  | TRUE
5 | bus_LV_1097-7_0_2_node_73 | 0.4 | n |  | TRUE
6 | bus_LV_1097-7_0_2_node_90 | 0.4 | n |  | TRUE
7 | bus_LV_1097-7_0_2_node_74 | 0.4 | n |  | TRUE
8 | bus_LV_1097-7_0_2_node_75 | 0.4 | n |  | TRUE
9 | bus_LV_1097-7_0_2_node_76 | 0.4 | n |  | TRUE
10 | bus_LV_1097-7_0_2_node_81 | 0.4 | n |  | TRUE
11 | bus_LV_1097-7_0_2_node_77 | 0.4 | n |  | TRUE
12 | bus_LV_1097-7_0_2_node_92 | 0.4 | n |  | TRUE
13 | bus_LV_1097-7_0_2_node_78 | 0.4 | n |  | TRUE
14 | bus_LV_1097-7_0_2_node_79 | 0.4 | n |  | TRUE
15 | bus_LV_1097-7_0_2_node_80 | 0.4 | n |  | TRUE
16 | bus_LV_1097-7_0_2_node_82 | 0.4 | n |  | TRUE
17 | bus_LV_1097-7_0_2_node_91 | 0.4 | n |  | TRUE
18 | bus_LV_1097-7_0_2_node_83 | 0.4 | n |  | TRUE
19 | bus_LV_1097-7_0_2_node_109 | 0.4 | n |  | TRUE
20 | bus_LV_1097-7_0_2_node_84 | 0.4 | n |  | TRUE
21 | bus_LV_1097-7_0_2_node_85 | 0.4 | n |  | TRUE
22 | bus_LV_1097-7_0_2_node_86 | 0.4 | n |  | TRUE
23 | bus_LV_1097-7_0_2_node_87 | 0.4 | n |  | TRUE
24 | bus_LV_1097-7_0_2_node_88 | 0.4 | n |  | TRUE
25 | bus_LV_1097-7_0_2_node_89 | 0.4 | n |  | TRUE
26 | bus_LV_1097-7_0_2_node_100 | 0.4 | n |  | TRUE
27 | bus_LV_1097-7_0_2_node_93 | 0.4 | n |  | TRUE
28 | bus_LV_1097-7_0_2_node_94 | 0.4 | n |  | TRUE
29 | bus_LV_1097-7_0_2_node_103 | 0.4 | n |  | TRUE
30 | bus_LV_1097-7_0_2_node_95 | 0.4 | n |  | TRUE
31 | bus_LV_1097-7_0_2_node_96 | 0.4 | n |  | TRUE
32 | bus_LV_1097-7_0_2_node_97 | 0.4 | n |  | TRUE
33 | bus_LV_1097-7_0_2_node_98 | 0.4 | n |  | TRUE
34 | bus_LV_1097-7_0_2_node_99 | 0.4 | n |  | TRUE
35 | bus_LV_1097-7_0_2_node_104 | 0.4 | n |  | TRUE
36 | bus_LV_1097-7_0_2_node_108 | 0.4 | n |  | TRUE
37 | bus_LV_1097-7_0_2_node_101 | 0.4 | n |  | TRUE
38 | bus_LV_1097-7_0_2_node_102 | 0.4 | n |  | TRUE
39 | bus_LV_1097-7_0_2_node_110 | 0.4 | n |  | TRUE
40 | bus_LV_1097-7_0_2_node_105 | 0.4 | n |  | TRUE
41 | bus_LV_1097-7_0_2_node_106 | 0.4 | n |  | TRUE
42 | bus_LV_1097-7_0_2_node_107 | 0.4 | n |  | TRUE
43 | bus_LV_1097-7_0_2_node_111 | 0.4 | n |  | TRUE
44 | bus_LV_1097-7_0_2_node_112 | 0.4 | n |  | TRUE
45 | bus_MV_0_node_91 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_1097-7_0_2_load_0 | 0 | 0.00025642 | 6.4266e-05 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_1097-7_0_2_load_1 | 1 | 0.0011192 | 0.00028051 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_1097-7_0_2_load_6 | 2 | 0.00070649 | 0.00017706 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_1097-7_0_2_load_2 | 3 | 0.0010902 | 0.00027324 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_1097-7_0_2_load_113 | 4 | 0.0014245 | 0.00035701 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_1097-7_0_2_load_73 | 5 | 0.00043462 | 0.00010893 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_1097-7_0_2_load_90 | 6 | 0.00030185 | 7.5651e-05 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_1097-7_0_2_load_74 | 7 | 0.0041542 | 0.0010412 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_1097-7_0_2_load_76 | 9 | 0.001513 | 0.0003792 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_1097-7_0_2_load_81 | 10 | 0.00056552 | 0.00014173 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_1097-7_0_2_load_77 | 11 | 0.0015385 | 0.00038558 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_1097-7_0_2_load_92 | 12 | 0.00047119 | 0.00011809 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_1097-7_0_2_load_78 | 13 | 0.0017612 | 0.0004414 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_1097-7_0_2_load_79 | 14 | 0.0012441 | 0.0003118 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_1097-7_0_2_load_82 | 16 | 0.001999 | 0.000501 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_1097-7_0_2_load_91 | 17 | 0.00062069 | 0.00015556 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_1097-7_0_2_load_83 | 18 | 0.001229 | 0.00030803 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_1097-7_0_2_load_109 | 19 | 0.00058443 | 0.00014647 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_1097-7_0_2_load_84 | 20 | 0.0048585 | 0.0012177 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_1097-7_0_2_load_87 | 23 | 0.00054838 | 0.00013744 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_1097-7_0_2_load_88 | 24 | 0.0010619 | 0.00026614 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_1097-7_0_2_load_89 | 25 | 0.00041962 | 0.00010517 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_1097-7_0_2_load_100 | 26 | 0.0035751 | 0.00089601 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_1097-7_0_2_load_94 | 28 | 0.00064903 | 0.00016266 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_1097-7_0_2_load_103 | 29 | 0.00065025 | 0.00016297 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_1097-7_0_2_load_95 | 30 | 0.00060038 | 0.00015047 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_1097-7_0_2_load_96 | 31 | 0.0016936 | 0.00042445 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_1097-7_0_2_load_99 | 34 | 0.0010485 | 0.00026279 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_1097-7_0_2_load_101 | 37 | 0.0037738 | 0.0009458 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_1097-7_0_2_load_102 | 38 | 0.0021062 | 0.00052785 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_1097-7_0_2_load_110 | 39 | 0.00080031 | 0.00020058 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_1097-7_0_2_load_105 | 40 | 0.00076122 | 0.00019078 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_1097-7_0_2_load_106 | 41 | 0.0016692 | 0.00041835 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_1097-7_0_2_load_111 | 43 | 0.00058543 | 0.00014672 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 17 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_1097-7_0_2_line_0 | NAYY 4x150 SE | 0 | 1 | 0.0077695 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
1 | LV_1097-7_0_2_line_1 | NAYY 4x150 SE | 0 | 2 | 0.36978 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
2 | LV_1097-7_0_2_line_2 | NAYY 4x150 SE | 1 | 3 | 0.027039 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
3 | LV_1097-7_0_2_line_3 | NAYY 4x150 SE | 2 | 4 | 0.46782 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
4 | LV_1097-7_0_2_line_4 | NAYY 4x150 SE | 4 | 24 | 0.03194 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
5 | LV_1097-7_0_2_line_5 | NAYY 4x150 SE | 4 | 44 | 0.029533 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
6 | LV_1097-7_0_2_line_6 | NAYY 4x150 SE | 5 | 6 | 0.020876 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
7 | LV_1097-7_0_2_line_7 | NAYY 4x150 SE | 6 | 22 | 0.03401 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
8 | LV_1097-7_0_2_line_8 | NAYY 4x150 SE | 7 | 8 | 0.0381 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
9 | LV_1097-7_0_2_line_9 | NAYY 4x150 SE | 8 | 9 | 0.024831 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
10 | LV_1097-7_0_2_line_10 | NAYY 4x150 SE | 9 | 10 | 0.010933 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
11 | LV_1097-7_0_2_line_11 | NAYY 4x150 SE | 10 | 15 | 0.024496 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
12 | LV_1097-7_0_2_line_12 | NAYY 4x150 SE | 11 | 12 | 0.044219 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
13 | LV_1097-7_0_2_line_13 | NAYY 4x150 SE | 12 | 27 | 0.023543 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
14 | LV_1097-7_0_2_line_14 | NAYY 4x150 SE | 13 | 14 | 0.0015637 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
15 | LV_1097-7_0_2_line_15 | NAYY 4x150 SE | 14 | 15 | 0.019145 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
16 | LV_1097-7_0_2_line_16 | NAYY 4x150 SE | 15 | 16 | 0.02265 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
17 | LV_1097-7_0_2_line_17 | NAYY 4x150 SE | 16 | 17 | 0.014435 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
18 | LV_1097-7_0_2_line_18 | NAYY 4x150 SE | 17 | 23 | 0.00063037 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
19 | LV_1097-7_0_2_line_19 | NAYY 4x150 SE | 18 | 19 | 0.02868 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
20 | LV_1097-7_0_2_line_20 | NAYY 4x150 SE | 19 | 39 | 0.0039575 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
21 | LV_1097-7_0_2_line_21 | NAYY 4x150 SE | 20 | 21 | 0.048734 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
22 | LV_1097-7_0_2_line_22 | NAYY 4x150 SE | 20 | 22 | 0.021432 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
23 | LV_1097-7_0_2_line_23 | NAYY 4x150 SE | 21 | 23 | 0.01919 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
24 | LV_1097-7_0_2_line_24 | NAYY 4x150 SE | 21 | 24 | 0.017148 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
25 | LV_1097-7_0_2_line_25 | NAYY 4x150 SE | 22 | 25 | 0.011604 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
26 | LV_1097-7_0_2_line_26 | NAYY 4x150 SE | 25 | 26 | 0.0257 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
27 | LV_1097-7_0_2_line_27 | NAYY 4x150 SE | 26 | 37 | 0.01246 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
28 | LV_1097-7_0_2_line_28 | NAYY 4x150 SE | 27 | 28 | 0.020576 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
29 | LV_1097-7_0_2_line_29 | NAYY 4x150 SE | 28 | 29 | 0.033569 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
30 | LV_1097-7_0_2_line_30 | NAYY 4x150 SE | 29 | 35 | 0.0018483 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
31 | LV_1097-7_0_2_line_31 | NAYY 4x150 SE | 30 | 31 | 0.036264 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
32 | LV_1097-7_0_2_line_32 | NAYY 4x150 SE | 30 | 32 | 0.025558 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
33 | LV_1097-7_0_2_line_33 | NAYY 4x150 SE | 32 | 33 | 0.026627 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
34 | LV_1097-7_0_2_line_34 | NAYY 4x150 SE | 32 | 34 | 0.0013664 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
35 | LV_1097-7_0_2_line_35 | NAYY 4x150 SE | 33 | 35 | 0.021562 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
36 | LV_1097-7_0_2_line_36 | NAYY 4x150 SE | 34 | 36 | 0.022047 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
37 | LV_1097-7_0_2_line_37 | NAYY 4x150 SE | 35 | 39 | 0.028899 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
38 | LV_1097-7_0_2_line_38 | NAYY 4x150 SE | 36 | 43 | 0.027448 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
39 | LV_1097-7_0_2_line_39 | NAYY 4x150 SE | 36 | 42 | 0.051082 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
40 | LV_1097-7_0_2_line_40 | NAYY 4x150 SE | 37 | 38 | 0.0014293 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
41 | LV_1097-7_0_2_line_41 | NAYY 4x150 SE | 40 | 41 | 0.0056721 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
42 | LV_1097-7_0_2_line_42 | NAYY 4x150 SE | 40 | 42 | 0.021913 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
43 | LV_1097-7_0_2_line_43 | NAYY 4x150 SE | 43 | 44 | 0.0056294 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_1097-7_0_2_trafo_91 | 0.25 MVA 20/0.4 kV | 45 | 17 | 0.25 | 20 | 0.4 | 6 | 1.44 | 0.8 | 0.32 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4
0 | 2655002.7495 | 1231175.8446 | 2655006.2521 | 1231168.9093
1 | 2655002.7495 | 1231175.8446 | 2654705.2746 | 1231395.4875
2 | 2655006.2521 | 1231168.9093 | 2655006.2521 | 1231168.9093 | 2655011.8023 | 1231161.6671 | 2655021.4528 | 1231150.8272 | 2655024.1976 | 1231148.8179
3 | 2654711.2538 | 1230927.7092 | 2654705.2746 | 1231395.4875
4 | 2654711.2538 | 1230927.7092 | 2654720.0114 | 1230927.0595 | 2654742.5201 | 1230921.6133
5 | 2654681.7812 | 1230926.8078 | 2654704.6791 | 1230928.197 | 2654711.2538 | 1230927.7092
6 | 2654862.1922 | 1230919.7867 | 2654882.5774 | 1230924.2885
7 | 2654828.743 | 1230913.6742 | 2654854.3627 | 1230918.0576 | 2654862.1922 | 1230919.7867
8 | 2654778.2502 | 1230814.8349 | 2654786.7582 | 1230817.0368 | 2654814.6206 | 1230826.1408
9 | 2654778.2502 | 1230814.8349 | 2654762.6992 | 1230819.9505 | 2654760.0319 | 1230822.561 | 2654759.1787 | 1230827.2116
10 | 2654764.1582 | 1230836.5587 | 2654759.9498 | 1230831.477 | 2654759.1787 | 1230827.2116
11 | 2654762.5656 | 1230860.7754 | 2654764.9213 | 1230842.6632 | 2654764.4591 | 1230836.922 | 2654764.1582 | 1230836.5587
12 | 2654681.7825 | 1230795.34 | 2654725.1778 | 1230803.8335
13 | 2654658.9337 | 1230789.7659 | 2654670.4304 | 1230793.1181 | 2654681.7825 | 1230795.34
14 | 2654783.0655 | 1230863.7057 | 2654781.5175 | 1230863.4844
15 | 2654762.5656 | 1230860.7754 | 2654781.5175 | 1230863.4844
16 | 2654762.5656 | 1230860.7754 | 2654761.2208 | 1230883.3856
17 | 2654760.3638 | 1230897.7948 | 2654761.2208 | 1230883.3856
18 | 2654760.3638 | 1230897.7948 | 2654760.3264 | 1230898.4241
19 | 2654716.7996 | 1230854.2252 | 2654688.4087 | 1230850.1618
20 | 2654684.4911 | 1230849.6011 | 2654688.4087 | 1230850.1618
21 | 2654759.187 | 1230917.5805 | 2654788.6861 | 1230912.749 | 2654805.9004 | 1230911.2066 | 2654807.4527 | 1230911.3425
22 | 2654828.743 | 1230913.6742 | 2654823.2154 | 1230912.7227 | 2654807.4527 | 1230911.3425
23 | 2654759.187 | 1230917.5805 | 2654760.3264 | 1230898.4241
24 | 2654759.187 | 1230917.5805 | 2654742.5201 | 1230921.6133
25 | 2654828.743 | 1230913.6742 | 2654827.5048 | 1230902.1364
26 | 2654829.8202 | 1230876.7822 | 2654826.6158 | 1230893.8531 | 2654827.5048 | 1230902.1364
27 | 2654829.8202 | 1230876.7822 | 2654832.1189 | 1230864.5358
28 | 2654658.9337 | 1230789.7659 | 2654660.0553 | 1230799.5714 | 2654659.087 | 1230810.2344
29 | 2654659.087 | 1230810.2344 | 2654656.0511 | 1230843.666
30 | 2654655.884 | 1230845.5068 | 2654656.0511 | 1230843.666
31 | 2654677.475 | 1230896.13 | 2654713.5516 | 1230899.8113
32 | 2654652.0494 | 1230893.5356 | 2654677.475 | 1230896.13
33 | 2654652.0494 | 1230893.5356 | 2654654.1187 | 1230866.9932
34 | 2654652.0494 | 1230893.5356 | 2654651.9431 | 1230894.8978
35 | 2654655.884 | 1230845.5068 | 2654654.1187 | 1230866.9932
36 | 2654650.2292 | 1230916.8782 | 2654651.9431 | 1230894.8978
37 | 2654655.884 | 1230845.5068 | 2654684.4911 | 1230849.6011
38 | 2654650.2292 | 1230916.8782 | 2654676.4114 | 1230925.1179
39 | 2654650.2292 | 1230916.8782 | 2654600.6559 | 1230903.9815
40 | 2654832.3826 | 1230863.131 | 2654832.1189 | 1230864.5358
41 | 2654600.681 | 1230882.0686 | 2654600.6875 | 1230876.3965
42 | 2654600.6559 | 1230903.9815 | 2654600.681 | 1230882.0686
43 | 2654681.7812 | 1230926.8078 | 2654676.4114 | 1230925.1179

## bus_geodata
| x | y | coords
0 | 2655002.7495 | 1231175.8446
1 | 2655006.2521 | 1231168.9093
2 | 2654705.2746 | 1231395.4875
3 | 2655024.1976 | 1231148.8179
4 | 2654711.2538 | 1230927.7092
5 | 2654882.5774 | 1230924.2885
6 | 2654862.1922 | 1230919.7867
7 | 2654814.6206 | 1230826.1408
8 | 2654778.2502 | 1230814.8349
9 | 2654759.1787 | 1230827.2116
10 | 2654764.1582 | 1230836.5587
11 | 2654725.1778 | 1230803.8335
12 | 2654681.7825 | 1230795.34
13 | 2654783.0655 | 1230863.7057
14 | 2654781.5175 | 1230863.4844
15 | 2654762.5656 | 1230860.7754
16 | 2654761.2208 | 1230883.3856
17 | 2654760.3638 | 1230897.7948
18 | 2654716.7996 | 1230854.2252
19 | 2654688.4087 | 1230850.1618
20 | 2654807.4527 | 1230911.3425
21 | 2654759.187 | 1230917.5805
22 | 2654828.743 | 1230913.6742
23 | 2654760.3264 | 1230898.4241
24 | 2654742.5201 | 1230921.6133
25 | 2654827.5048 | 1230902.1364
26 | 2654829.8202 | 1230876.7822
27 | 2654658.9337 | 1230789.7659
28 | 2654659.087 | 1230810.2344
29 | 2654656.0511 | 1230843.666
30 | 2654677.475 | 1230896.13
31 | 2654713.5516 | 1230899.8113
32 | 2654652.0494 | 1230893.5356
33 | 2654654.1187 | 1230866.9932
34 | 2654651.9431 | 1230894.8978
35 | 2654655.884 | 1230845.5068
36 | 2654650.2292 | 1230916.8782
37 | 2654832.1189 | 1230864.5358
38 | 2654832.3826 | 1230863.131
39 | 2654684.4911 | 1230849.6011
40 | 2654600.681 | 1230882.0686
41 | 2654600.6875 | 1230876.3965
42 | 2654600.6559 | 1230903.9815
43 | 2654676.4114 | 1230925.1179
44 | 2654681.7812 | 1230926.8078
45 | 2654760.3638 | 1230897.7948

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## res_bus
| vm_pu | va_degree | p_mw | q_mvar
0 | 0.99441 | -0.039659 | 0.00025642 | 6.4266e-05
1 | 0.99439 | -0.039833 | 0.0011192 | 0.00028051
2 | 0.99572 | -0.030389 | 0.00070649 | 0.00017706
3 | 0.99434 | -0.04013 | 0.0010902 | 0.00027324
4 | 0.99784 | -0.01519 | 0.0014245 | 0.00035701
5 | 0.9976 | -0.016828 | 0.00043462 | 0.00010893
6 | 0.99761 | -0.016737 | 0.00030185 | 7.5651e-05
7 | 0.99879 | -0.0084785 | 0.0041542 | 0.0010412
8 | 0.99902 | -0.0068946 | 0 | 0
9 | 0.99916 | -0.005862 | 0.001513 | 0.0003792
10 | 0.99925 | -0.0052419 | 0.00056552 | 0.00014173
11 | 0.99569 | -0.030367 | 0.0015385 | 0.00038558
12 | 0.99578 | -0.029682 | 0.00047119 | 0.00011809
13 | 0.99938 | -0.0043167 | 0.0017612 | 0.0004414
14 | 0.99939 | -0.0042892 | 0.0012441 | 0.0003118
15 | 0.99947 | -0.0037141 | 0 | 0
16 | 0.99977 | -0.0016213 | 0.001999 | 0.000501
17 | 1 | 0 | -0.046109 | -0.011348
18 | 0.99588 | -0.029012 | 0.001229 | 0.00030803
19 | 0.99593 | -0.028657 | 0.00058443 | 0.00014647
20 | 0.99798 | -0.014203 | 0.0048585 | 0.0012177
21 | 0.99905 | -0.0066489 | 0 | 0
22 | 0.99765 | -0.016485 | 0 | 0
23 | 0.99997 | -0.00021461 | 0.00054838 | 0.00013744
24 | 0.99861 | -0.0097492 | 0.0010619 | 0.00026614
25 | 0.99749 | -0.017634 | 0.00041962 | 0.00010517
26 | 0.99714 | -0.020073 | 0.0035751 | 0.00089601
27 | 0.99585 | -0.029204 | 0 | 0
28 | 0.99591 | -0.028786 | 0.00064903 | 0.00016266
29 | 0.99604 | -0.027885 | 0.00065025 | 0.00016297
30 | 0.99637 | -0.025534 | 0.00060038 | 0.00015047
31 | 0.99628 | -0.026152 | 0.0016936 | 0.00042445
32 | 0.99646 | -0.024943 | 0 | 0
33 | 0.99623 | -0.026535 | 0 | 0
34 | 0.99647 | -0.02483 | 0.0010485 | 0.00026279
35 | 0.99605 | -0.027823 | 0 | 0
36 | 0.99676 | -0.022771 | 0 | 0
37 | 0.99703 | -0.020809 | 0.0037738 | 0.0009458
38 | 0.99703 | -0.020839 | 0.0021062 | 0.00052785
39 | 0.99594 | -0.028584 | 0.00080031 | 0.00020058
40 | 0.99651 | -0.024557 | 0.00076122 | 0.00019078
41 | 0.9965 | -0.024652 | 0.0016692 | 0.00041835
42 | 0.99659 | -0.024021 | 0 | 0
43 | 0.99722 | -0.019537 | 0.00058543 | 0.00014672
44 | 0.99732 | -0.018841 | 0 | 0
45 | 0.99998 | 149.9947 | 0 | 0

## res_line
| p_from_mw | q_from_mvar | p_to_mw | q_to_mvar | pl_mw | ql_mvar | i_from_ka | i_to_ka | i_ka | vm_from_pu | va_from_degree | vm_to_pu | va_to_degree | loading_percent
0 | 0.0022096 | 0.00055333 | -0.0022095 | -0.00055341 | 5.2995e-08 | -8.0409e-08 | 0.0033062 | 0.0033062 | 0.0033062 | 0.99441 | -0.039659 | 0.99439 | -0.039833 | 1.2245
1 | -0.002466 | -0.00061759 | 0.0024691 | 0.000614 | 3.1402e-06 | -3.5957e-06 | 0.0036899 | 0.0036882 | 0.0036899 | 0.99441 | -0.039659 | 0.99572 | -0.030389 | 1.3666
2 | 0.0010903 | 0.0002729 | -0.0010902 | -0.00027324 | 4.4908e-08 | -3.3348e-07 | 0.0016314 | 0.0016315 | 0.0016315 | 0.99439 | -0.039833 | 0.99434 | -0.04013 | 0.60426
3 | -0.0031756 | -0.00079106 | 0.0031822 | 0.00078749 | 6.5668e-06 | -3.5723e-06 | 0.004744 | 0.0047419 | 0.004744 | 0.99572 | -0.030389 | 0.99784 | -0.01519 | 1.757
4 | -0.016908 | -0.0042241 | 0.01692 | 0.0042285 | 1.2665e-05 | 4.4536e-06 | 0.025208 | 0.025208 | 0.025208 | 0.99784 | -0.01519 | 0.99861 | -0.0097492 | 9.3365
5 | 0.012301 | 0.0030796 | -0.012295 | -0.0030776 | 6.2001e-06 | 1.9991e-06 | 0.018342 | 0.018342 | 0.018342 | 0.99784 | -0.01519 | 0.99732 | -0.018841 | 6.7935
6 | -0.00043462 | -0.00010893 | 0.00043462 | 0.00010866 | 5.4739e-09 | -2.7047e-07 | 0.00064827 | 0.00064818 | 0.00064827 | 0.9976 | -0.016828 | 0.99761 | -0.016737 | 0.2401
7 | -0.00073648 | -0.00018431 | 0.0007365 | 0.00018387 | 2.5601e-08 | -4.3423e-07 | 0.0010984 | 0.0010983 | 0.0010984 | 0.99761 | -0.016737 | 0.99765 | -0.016485 | 0.40682
8 | -0.0041542 | -0.0010412 | 0.0041551 | 0.001041 | 9.1065e-07 | -1.4851e-07 | 0.0061891 | 0.0061889 | 0.0061891 | 0.99879 | -0.0084785 | 0.99902 | -0.0068946 | 2.2922
9 | -0.0041551 | -0.001041 | 0.0041557 | 0.0010409 | 5.9347e-07 | -9.6918e-08 | 0.0061889 | 0.0061888 | 0.0061889 | 0.99902 | -0.0068946 | 0.99916 | -0.005862 | 2.2922
10 | -0.0056688 | -0.0014201 | 0.0056693 | 0.0014202 | 4.8619e-07 | 4.3795e-08 | 0.0084421 | 0.008442 | 0.0084421 | 0.99916 | -0.005862 | 0.99925 | -0.0052419 | 3.1267
11 | -0.0062348 | -0.0015619 | 0.0062361 | 0.0015621 | 1.3175e-06 | 1.8578e-07 | 0.0092842 | 0.009284 | 0.0092842 | 0.99925 | -0.0052419 | 0.99947 | -0.0037141 | 3.4386
12 | -0.0015385 | -0.00038558 | 0.0015386 | 0.00038506 | 1.4585e-07 | -5.1908e-07 | 0.0022992 | 0.002299 | 0.0022992 | 0.99569 | -0.030367 | 0.99578 | -0.029682 | 0.85155
13 | -0.0020098 | -0.00050315 | 0.0020099 | 0.00050289 | 1.3249e-07 | -2.5533e-07 | 0.0030031 | 0.003003 | 0.0030031 | 0.99578 | -0.029682 | 0.99585 | -0.029204 | 1.1123
14 | -0.0017612 | -0.0004414 | 0.0017612 | 0.00044138 | 6.71e-09 | -1.7909e-08 | 0.0026223 | 0.0026223 | 0.0026223 | 0.99938 | -0.0043167 | 0.99939 | -0.0042892 | 0.97123
15 | -0.0030053 | -0.00075318 | 0.0030056 | 0.00075303 | 2.3919e-07 | -1.5888e-07 | 0.0044747 | 0.0044746 | 0.0044747 | 0.99939 | -0.0042892 | 0.99947 | -0.0037141 | 1.6573
16 | -0.0092417 | -0.0023151 | 0.0092443 | 0.0023158 | 2.6755e-06 | 7.3211e-07 | 0.013759 | 0.013759 | 0.013759 | 0.99947 | -0.0037141 | 0.99977 | -0.0016213 | 5.0958
17 | -0.011243 | -0.0028168 | 0.011246 | 0.0028176 | 2.5222e-06 | 7.8074e-07 | 0.016734 | 0.016734 | 0.016734 | 0.99977 | -0.0016213 | 1 | 0 | 6.1977
18 | 0.034064 | 0.0085308 | -0.034063 | -0.0085304 | 1.0105e-06 | 3.8039e-07 | 0.050685 | 0.050685 | 0.050685 | 1 | 0 | 0.99997 | -0.00021461 | 18.7722
19 | -0.001229 | -0.00030803 | 0.0012291 | 0.00030768 | 6.035e-08 | -3.4998e-07 | 0.0018364 | 0.0018363 | 0.0018364 | 0.99588 | -0.029012 | 0.99593 | -0.028657 | 0.68015
20 | -0.0018135 | -0.00045415 | 0.0018136 | 0.00045411 | 1.8129e-08 | -4.4525e-08 | 0.0027095 | 0.0027095 | 0.0027095 | 0.99593 | -0.028657 | 0.99594 | -0.028584 | 1.0035
21 | -0.015478 | -0.0038788 | 0.015495 | 0.0038844 | 1.6197e-05 | 5.5921e-06 | 0.023079 | 0.023078 | 0.023079 | 0.99798 | -0.014203 | 0.99905 | -0.0066489 | 8.5477
22 | 0.01062 | 0.0026611 | -0.010617 | -0.0026601 | 3.3532e-06 | 1.0097e-06 | 0.015834 | 0.015835 | 0.015835 | 0.99798 | -0.014203 | 0.99765 | -0.016485 | 5.8646
23 | -0.033484 | -0.0083817 | 0.033514 | 0.0083929 | 2.978e-05 | 1.1202e-05 | 0.049869 | 0.049869 | 0.049869 | 0.99905 | -0.0066489 | 0.99997 | -0.00021461 | 18.47
24 | 0.01799 | 0.0044974 | -0.017982 | -0.0044946 | 7.68e-06 | 2.7294e-06 | 0.026791 | 0.026791 | 0.026791 | 0.99905 | -0.0066489 | 0.99861 | -0.0097492 | 9.9225
25 | 0.00988 | 0.0024762 | -0.0098785 | -0.0024758 | 1.5724e-06 | 4.5329e-07 | 0.014736 | 0.014736 | 0.014736 | 0.99765 | -0.016485 | 0.99749 | -0.017634 | 5.4579
26 | 0.0094588 | 0.0023706 | -0.0094556 | -0.0023697 | 3.193e-06 | 8.9271e-07 | 0.01411 | 0.01411 | 0.01411 | 0.99749 | -0.017634 | 0.99714 | -0.020073 | 5.2261
27 | 0.0058805 | 0.0014737 | -0.0058799 | -0.0014736 | 5.9876e-07 | 6.7771e-08 | 0.0087754 | 0.0087755 | 0.0087755 | 0.99714 | -0.020073 | 0.99703 | -0.020809 | 3.2502
28 | -0.0020099 | -0.00050289 | 0.0020101 | 0.00050267 | 1.1578e-07 | -2.232e-07 | 0.003003 | 0.0030029 | 0.003003 | 0.99585 | -0.029204 | 0.99591 | -0.028786 | 1.1122
29 | -0.0026591 | -0.00066533 | 0.0026594 | 0.00066502 | 3.3057e-07 | -3.0972e-07 | 0.0039726 | 0.0039725 | 0.0039726 | 0.99591 | -0.028786 | 0.99604 | -0.027885 | 1.4713
30 | -0.0033097 | -0.00082799 | 0.0033097 | 0.00082798 | 2.8191e-08 | -1.3215e-08 | 0.0049439 | 0.0049439 | 0.0049439 | 0.99604 | -0.027885 | 0.99605 | -0.027823 | 1.8311
31 | 0.0016937 | 0.00042403 | -0.0016936 | -0.00042445 | 1.4477e-07 | -4.1659e-07 | 0.0025293 | 0.0025295 | 0.0025295 | 0.99637 | -0.025534 | 0.99628 | -0.026152 | 0.93684
32 | -0.0022941 | -0.0005745 | 0.0022943 | 0.00057424 | 1.8717e-07 | -2.6091e-07 | 0.0034259 | 0.0034258 | 0.0034259 | 0.99637 | -0.025534 | 0.99646 | -0.024943 | 1.2689
33 | 0.0059262 | 0.0014827 | -0.0059249 | -0.0014825 | 1.301e-06 | 1.536e-07 | 0.0088487 | 0.0088489 | 0.0088489 | 0.99646 | -0.024943 | 0.99623 | -0.026535 | 3.2774
34 | -0.0082205 | -0.0020569 | 0.0082206 | 0.0020569 | 1.2846e-07 | 3.1608e-08 | 0.012275 | 0.012275 | 0.012275 | 0.99646 | -0.024943 | 0.99647 | -0.02483 | 4.5461
35 | 0.0059249 | 0.0014825 | -0.0059238 | -0.0014824 | 1.0535e-06 | 1.2451e-07 | 0.0088489 | 0.008849 | 0.008849 | 0.99623 | -0.026535 | 0.99605 | -0.027823 | 3.2774
36 | -0.0092691 | -0.0023197 | 0.0092718 | 0.0023205 | 2.6353e-06 | 7.2627e-07 | 0.01384 | 0.01384 | 0.01384 | 0.99647 | -0.02483 | 0.99676 | -0.022771 | 5.126
37 | 0.0026141 | 0.00065441 | -0.0026139 | -0.00065468 | 2.75e-07 | -2.7033e-07 | 0.0039051 | 0.0039052 | 0.0039052 | 0.99605 | -0.027823 | 0.99594 | -0.028584 | 1.4464
38 | -0.011703 | -0.0029288 | 0.011708 | 0.0029305 | 5.2268e-06 | 1.6524e-06 | 0.017469 | 0.017469 | 0.017469 | 0.99676 | -0.022771 | 0.99722 | -0.019537 | 6.47
39 | 0.0024311 | 0.00060834 | -0.0024306 | -0.00060885 | 4.1978e-07 | -5.0426e-07 | 0.0036289 | 0.0036291 | 0.0036291 | 0.99676 | -0.022771 | 0.99659 | -0.024021 | 1.3441
40 | 0.0021062 | 0.00052784 | -0.0021062 | -0.00052785 | 8.8123e-09 | -1.5251e-08 | 0.0031433 | 0.0031433 | 0.0031433 | 0.99703 | -0.020809 | 0.99703 | -0.020839 | 1.1642
41 | 0.0016692 | 0.00041828 | -0.0016692 | -0.00041835 | 2.199e-08 | -6.5437e-08 | 0.0024925 | 0.0024926 | 0.0024926 | 0.99651 | -0.024557 | 0.9965 | -0.024652 | 0.92317
42 | -0.0024305 | -0.00060906 | 0.0024306 | 0.00060885 | 1.8009e-07 | -2.1623e-07 | 0.0036292 | 0.0036291 | 0.0036292 | 0.99651 | -0.024557 | 0.99659 | -0.024021 | 1.3442
43 | -0.012294 | -0.0030772 | 0.012295 | 0.0030776 | 1.1819e-06 | 3.8111e-07 | 0.018343 | 0.018342 | 0.018343 | 0.99722 | -0.019537 | 0.99732 | -0.018841 | 6.7935

## res_trafo
| p_hv_mw | q_hv_mvar | p_lv_mw | q_lv_mvar | pl_mw | ql_mvar | i_hv_ka | i_lv_ka | vm_hv_pu | va_hv_degree | vm_lv_pu | va_lv_degree | loading_percent
0 | -4.4415e-16 | -7.6913e-16 | 0.00079998 | 7.4552e-08 | 0.00079998 | 7.4552e-08 | 2.564e-17 | 0.0011547 | 0.99998 | 149.9947 | 1 | 0 | 0.31999

## res_ext_grid
| p_mw | q_mvar
0 | 0.04673 | 0.011504

## res_load
| p_mw | q_mvar
0 | 0.00025642 | 6.4266e-05
1 | 0.0011192 | 0.00028051
2 | 0.00070649 | 0.00017706
3 | 0.0010902 | 0.00027324
4 | 0.0014245 | 0.00035701
5 | 0.00043462 | 0.00010893
6 | 0.00030185 | 7.5651e-05
7 | 0.0041542 | 0.0010412
8 | 0.001513 | 0.0003792
9 | 0.00056552 | 0.00014173
10 | 0.0015385 | 0.00038558
11 | 0.00047119 | 0.00011809
12 | 0.0017612 | 0.0004414
13 | 0.0012441 | 0.0003118
14 | 0.001999 | 0.000501
15 | 0.00062069 | 0.00015556
16 | 0.001229 | 0.00030803
17 | 0.00058443 | 0.00014647
18 | 0.0048585 | 0.0012177
19 | 0.00054838 | 0.00013744
20 | 0.0010619 | 0.00026614
21 | 0.00041962 | 0.00010517
22 | 0.0035751 | 0.00089601
23 | 0.00064903 | 0.00016266
24 | 0.00065025 | 0.00016297
25 | 0.00060038 | 0.00015047
26 | 0.0016936 | 0.00042445
27 | 0.0010485 | 0.00026279
28 | 0.0037738 | 0.0009458
29 | 0.0021062 | 0.00052785
30 | 0.00080031 | 0.00020058
31 | 0.00076122 | 0.00019078
32 | 0.0016692 | 0.00041835
33 | 0.00058543 | 0.00014672

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object
62 | res_bus | vm_pu | float64
63 | res_bus | va_degree | float64
64 | res_bus | p_mw | float64
65 | res_bus | q_mvar | float64
66 | res_line | p_from_mw | float64
67 | res_line | q_from_mvar | float64
68 | res_line | p_to_mw | float64
69 | res_line | q_to_mvar | float64
70 | res_line | pl_mw | float64
71 | res_line | ql_mvar | float64
72 | res_line | i_from_ka | float64
73 | res_line | i_to_ka | float64
74 | res_line | i_ka | float64
75 | res_line | vm_from_pu | float64
76 | res_line | va_from_degree | float64
77 | res_line | vm_to_pu | float64
78 | res_line | va_to_degree | float64
79 | res_line | loading_percent | float64
80 | res_trafo | p_hv_mw | float64
81 | res_trafo | q_hv_mvar | float64
82 | res_trafo | p_lv_mw | float64
83 | res_trafo | q_lv_mvar | float64
84 | res_trafo | pl_mw | float64
85 | res_trafo | ql_mvar | float64
86 | res_trafo | i_hv_ka | float64
87 | res_trafo | i_lv_ka | float64
88 | res_trafo | vm_hv_pu | float64
89 | res_trafo | va_hv_degree | float64
90 | res_trafo | vm_lv_pu | float64
91 | res_trafo | va_lv_degree | float64
92 | res_trafo | loading_percent | float64
93 | res_ext_grid | p_mw | float64
94 | res_ext_grid | q_mvar | float64
95 | res_load | p_mw | float64
96 | res_load | q_mvar | float64

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | TRUE | FALSE |  | 50 | 1