## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_1097-7_1_2_node_5 | 0.4 | n |  | TRUE
1 | bus_LV_1097-7_1_2_node_3 | 0.4 | n |  | TRUE
2 | bus_LV_1097-7_1_2_node_4 | 0.4 | n |  | TRUE
3 | bus_LV_1097-7_1_2_node_7 | 0.4 | n |  | TRUE
4 | bus_LV_1097-7_1_2_node_8 | 0.4 | n |  | TRUE
5 | bus_LV_1097-7_1_2_node_36 | 0.4 | n |  | TRUE
6 | bus_LV_1097-7_1_2_node_34 | 0.4 | n |  | TRUE
7 | bus_LV_1097-7_1_2_node_53 | 0.4 | n |  | TRUE
8 | bus_LV_1097-7_1_2_node_35 | 0.4 | n |  | TRUE
9 | bus_LV_1097-7_1_2_node_9 | 0.4 | n |  | TRUE
10 | bus_LV_1097-7_1_2_node_10 | 0.4 | n |  | TRUE
11 | bus_LV_1097-7_1_2_node_11 | 0.4 | n |  | TRUE
12 | bus_LV_1097-7_1_2_node_12 | 0.4 | n |  | TRUE
13 | bus_LV_1097-7_1_2_node_13 | 0.4 | n |  | TRUE
14 | bus_LV_1097-7_1_2_node_39 | 0.4 | n |  | TRUE
15 | bus_LV_1097-7_1_2_node_29 | 0.4 | n |  | TRUE
16 | bus_LV_1097-7_1_2_node_37 | 0.4 | n |  | TRUE
17 | bus_LV_1097-7_1_2_node_25 | 0.4 | n |  | TRUE
18 | bus_LV_1097-7_1_2_node_14 | 0.4 | n |  | TRUE
19 | bus_LV_1097-7_1_2_node_15 | 0.4 | n |  | TRUE
20 | bus_LV_1097-7_1_2_node_16 | 0.4 | n |  | TRUE
21 | bus_LV_1097-7_1_2_node_17 | 0.4 | n |  | TRUE
22 | bus_LV_1097-7_1_2_node_18 | 0.4 | n |  | TRUE
23 | bus_LV_1097-7_1_2_node_27 | 0.4 | n |  | TRUE
24 | bus_LV_1097-7_1_2_node_38 | 0.4 | n |  | TRUE
25 | bus_LV_1097-7_1_2_node_43 | 0.4 | n |  | TRUE
26 | bus_LV_1097-7_1_2_node_28 | 0.4 | n |  | TRUE
27 | bus_LV_1097-7_1_2_node_19 | 0.4 | n |  | TRUE
28 | bus_LV_1097-7_1_2_node_20 | 0.4 | n |  | TRUE
29 | bus_LV_1097-7_1_2_node_21 | 0.4 | n |  | TRUE
30 | bus_LV_1097-7_1_2_node_22 | 0.4 | n |  | TRUE
31 | bus_LV_1097-7_1_2_node_23 | 0.4 | n |  | TRUE
32 | bus_LV_1097-7_1_2_node_24 | 0.4 | n |  | TRUE
33 | bus_LV_1097-7_1_2_node_26 | 0.4 | n |  | TRUE
34 | bus_LV_1097-7_1_2_node_45 | 0.4 | n |  | TRUE
35 | bus_LV_1097-7_1_2_node_63 | 0.4 | n |  | TRUE
36 | bus_LV_1097-7_1_2_node_32 | 0.4 | n |  | TRUE
37 | bus_LV_1097-7_1_2_node_46 | 0.4 | n |  | TRUE
38 | bus_LV_1097-7_1_2_node_65 | 0.4 | n |  | TRUE
39 | bus_LV_1097-7_1_2_node_62 | 0.4 | n |  | TRUE
40 | bus_LV_1097-7_1_2_node_57 | 0.4 | n |  | TRUE
41 | bus_LV_1097-7_1_2_node_56 | 0.4 | n |  | TRUE
42 | bus_LV_1097-7_1_2_node_30 | 0.4 | n |  | TRUE
43 | bus_LV_1097-7_1_2_node_40 | 0.4 | n |  | TRUE
44 | bus_LV_1097-7_1_2_node_31 | 0.4 | n |  | TRUE
45 | bus_LV_1097-7_1_2_node_33 | 0.4 | n |  | TRUE
46 | bus_LV_1097-7_1_2_node_44 | 0.4 | n |  | TRUE
47 | bus_LV_1097-7_1_2_node_52 | 0.4 | n |  | TRUE
48 | bus_LV_1097-7_1_2_node_41 | 0.4 | n |  | TRUE
49 | bus_LV_1097-7_1_2_node_61 | 0.4 | n |  | TRUE
50 | bus_LV_1097-7_1_2_node_42 | 0.4 | n |  | TRUE
51 | bus_LV_1097-7_1_2_node_50 | 0.4 | n |  | TRUE
52 | bus_LV_1097-7_1_2_node_48 | 0.4 | n |  | TRUE
53 | bus_LV_1097-7_1_2_node_47 | 0.4 | n |  | TRUE
54 | bus_LV_1097-7_1_2_node_54 | 0.4 | n |  | TRUE
55 | bus_LV_1097-7_1_2_node_55 | 0.4 | n |  | TRUE
56 | bus_LV_1097-7_1_2_node_71 | 0.4 | n |  | TRUE
57 | bus_LV_1097-7_1_2_node_64 | 0.4 | n |  | TRUE
58 | bus_LV_1097-7_1_2_node_58 | 0.4 | n |  | TRUE
59 | bus_LV_1097-7_1_2_node_59 | 0.4 | n |  | TRUE
60 | bus_LV_1097-7_1_2_node_60 | 0.4 | n |  | TRUE
61 | bus_LV_1097-7_1_2_node_70 | 0.4 | n |  | TRUE
62 | bus_LV_1097-7_1_2_node_66 | 0.4 | n |  | TRUE
63 | bus_LV_1097-7_1_2_node_68 | 0.4 | n |  | TRUE
64 | bus_LV_1097-7_1_2_node_67 | 0.4 | n |  | TRUE
65 | bus_LV_1097-7_1_2_node_69 | 0.4 | n |  | TRUE
66 | bus_MV_0_node_43 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_1097-7_1_2_load_5 | 0 | 0.00096206 | 0.00024111 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_1097-7_1_2_load_4 | 2 | 0.00024356 | 6.1041e-05 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_1097-7_1_2_load_7 | 3 | 0.00063184 | 0.00015835 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_1097-7_1_2_load_36 | 5 | 0.00043616 | 0.00010931 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_1097-7_1_2_load_34 | 6 | 0.00055071 | 0.00013802 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_1097-7_1_2_load_53 | 7 | 0.0015264 | 0.00038256 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_1097-7_1_2_load_35 | 8 | 0.00029403 | 7.3691e-05 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_1097-7_1_2_load_9 | 9 | 0.0010447 | 0.00026182 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_1097-7_1_2_load_10 | 10 | 0.0010484 | 0.00026277 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_1097-7_1_2_load_11 | 11 | 0.00027928 | 6.9995e-05 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_1097-7_1_2_load_12 | 12 | 0.0010126 | 0.00025379 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_1097-7_1_2_load_13 | 13 | 0.00033403 | 8.3715e-05 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_1097-7_1_2_load_39 | 14 | 0.0027291 | 0.00068398 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_1097-7_1_2_load_29 | 15 | 0.00078885 | 0.0001977 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_1097-7_1_2_load_25 | 17 | 0.00038237 | 9.583e-05 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_1097-7_1_2_load_14 | 18 | 0.00096622 | 0.00024216 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_1097-7_1_2_load_15 | 19 | 0.0018116 | 0.00045402 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_1097-7_1_2_load_16 | 20 | 0.0004762 | 0.00011935 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_1097-7_1_2_load_17 | 21 | 0.00058785 | 0.00014733 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_1097-7_1_2_load_18 | 22 | 0.00076575 | 0.00019192 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_1097-7_1_2_load_27 | 23 | 0.001625 | 0.00040728 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_1097-7_1_2_load_38 | 24 | 0.0001788 | 4.4811e-05 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_1097-7_1_2_load_43 | 25 | 0.00031934 | 8.0035e-05 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_1097-7_1_2_load_28 | 26 | 0.00026721 | 6.6968e-05 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_1097-7_1_2_load_19 | 27 | 0.00086748 | 0.00021741 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_1097-7_1_2_load_22 | 30 | 0.0033082 | 0.00082912 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_1097-7_1_2_load_23 | 31 | 0.00080843 | 0.00020261 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_1097-7_1_2_load_24 | 32 | 0.00083579 | 0.00020947 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_1097-7_1_2_load_26 | 33 | 0.0042507 | 0.0010653 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_1097-7_1_2_load_45 | 34 | 0.00069513 | 0.00017422 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_1097-7_1_2_load_46 | 37 | 0.00077261 | 0.00019363 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_1097-7_1_2_load_65 | 38 | 0.00035609 | 8.9244e-05 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_1097-7_1_2_load_62 | 39 | 0.00035534 | 8.9057e-05 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_1097-7_1_2_load_57 | 40 | 0.00091745 | 0.00022994 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_1097-7_1_2_load_56 | 41 | 0.00040091 | 0.00010048 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_1097-7_1_2_load_30 | 42 | 0.00044999 | 0.00011278 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_1097-7_1_2_load_40 | 43 | 0.00054942 | 0.0001377 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_1097-7_1_2_load_31 | 44 | 0.00041416 | 0.0001038 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_1097-7_1_2_load_33 | 45 | 0.00016906 | 4.237e-05 | 0 | 0 |  | 1 | TRUE | wye
39 | LV_1097-7_1_2_load_44 | 46 | 0.00060142 | 0.00015073 | 0 | 0 |  | 1 | TRUE | wye
40 | LV_1097-7_1_2_load_52 | 47 | 0.00078365 | 0.0001964 | 0 | 0 |  | 1 | TRUE | wye
41 | LV_1097-7_1_2_load_41 | 48 | 0.002758 | 0.00069121 | 0 | 0 |  | 1 | TRUE | wye
42 | LV_1097-7_1_2_load_61 | 49 | 0.00025336 | 6.3497e-05 | 0 | 0 |  | 1 | TRUE | wye
43 | LV_1097-7_1_2_load_42 | 50 | 0.0011317 | 0.00028362 | 0 | 0 |  | 1 | TRUE | wye
44 | LV_1097-7_1_2_load_48 | 52 | 0.00096114 | 0.00024089 | 0 | 0 |  | 1 | TRUE | wye
45 | LV_1097-7_1_2_load_47 | 53 | 0.00060397 | 0.00015137 | 0 | 0 |  | 1 | TRUE | wye
46 | LV_1097-7_1_2_load_54 | 54 | 0.0015333 | 0.00038428 | 0 | 0 |  | 1 | TRUE | wye
47 | LV_1097-7_1_2_load_71 | 56 | 0.00026543 | 6.6523e-05 | 0 | 0 |  | 1 | TRUE | wye
48 | LV_1097-7_1_2_load_64 | 57 | 0.00025072 | 6.2836e-05 | 0 | 0 |  | 1 | TRUE | wye
49 | LV_1097-7_1_2_load_60 | 60 | 0.00021707 | 5.4402e-05 | 0 | 0 |  | 1 | TRUE | wye
50 | LV_1097-7_1_2_load_70 | 61 | 0.0023973 | 0.00060081 | 0 | 0 |  | 1 | TRUE | wye
51 | LV_1097-7_1_2_load_66 | 62 | 0.00017515 | 4.3898e-05 | 0 | 0 |  | 1 | TRUE | wye
52 | LV_1097-7_1_2_load_68 | 63 | 0.0002171 | 5.441e-05 | 0 | 0 |  | 1 | TRUE | wye
53 | LV_1097-7_1_2_load_67 | 64 | 0.0013833 | 0.00034668 | 0 | 0 |  | 1 | TRUE | wye
54 | LV_1097-7_1_2_load_69 | 65 | 0.013457 | 0.0033727 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 25 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_1097-7_1_2_line_0 | NAYY 4x150 SE | 0 | 1 | 0.020804 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
1 | LV_1097-7_1_2_line_1 | NAYY 4x150 SE | 1 | 2 | 0.017747 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
2 | LV_1097-7_1_2_line_2 | NAYY 4x150 SE | 2 | 3 | 0.0058754 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
3 | LV_1097-7_1_2_line_3 | NAYY 4x150 SE | 3 | 4 | 0.014961 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
4 | LV_1097-7_1_2_line_4 | NAYY 4x150 SE | 4 | 5 | 0.036161 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
5 | LV_1097-7_1_2_line_5 | NAYY 4x150 SE | 4 | 6 | 0.031026 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
6 | LV_1097-7_1_2_line_6 | NAYY 4x150 SE | 5 | 7 | 0.0087115 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
7 | LV_1097-7_1_2_line_7 | NAYY 4x150 SE | 6 | 8 | 0.030747 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
8 | LV_1097-7_1_2_line_8 | NAYY 4x150 SE | 7 | 47 | 0.027905 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
9 | LV_1097-7_1_2_line_9 | NAYY 4x150 SE | 9 | 10 | 0.0085142 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
10 | LV_1097-7_1_2_line_10 | NAYY 4x150 SE | 9 | 11 | 0.009689 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
11 | LV_1097-7_1_2_line_11 | NAYY 4x150 SE | 10 | 12 | 0.031305 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
12 | LV_1097-7_1_2_line_12 | NAYY 4x150 SE | 11 | 13 | 0.015137 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
13 | LV_1097-7_1_2_line_13 | NAYY 4x150 SE | 12 | 14 | 0.028216 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
14 | LV_1097-7_1_2_line_14 | NAYY 4x150 SE | 13 | 15 | 0.031708 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
15 | LV_1097-7_1_2_line_15 | NAYY 4x150 SE | 14 | 16 | 0.013923 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
16 | LV_1097-7_1_2_line_16 | NAYY 4x150 SE | 15 | 17 | 0.021442 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
17 | LV_1097-7_1_2_line_17 | NAYY 4x150 SE | 16 | 43 | 0.0099432 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
18 | LV_1097-7_1_2_line_18 | NAYY 4x150 SE | 16 | 26 | 0.013147 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
19 | LV_1097-7_1_2_line_19 | NAYY 4x150 SE | 17 | 29 | 0.019798 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
20 | LV_1097-7_1_2_line_20 | NAYY 4x150 SE | 18 | 19 | 0.0084654 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
21 | LV_1097-7_1_2_line_21 | NAYY 4x150 SE | 18 | 20 | 0.024221 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
22 | LV_1097-7_1_2_line_22 | NAYY 4x150 SE | 19 | 21 | 0.015958 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
23 | LV_1097-7_1_2_line_23 | NAYY 4x150 SE | 20 | 22 | 0.027869 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
24 | LV_1097-7_1_2_line_24 | NAYY 4x150 SE | 22 | 23 | 0.007332 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
25 | LV_1097-7_1_2_line_25 | NAYY 4x150 SE | 23 | 26 | 0.01001 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
26 | LV_1097-7_1_2_line_26 | NAYY 4x150 SE | 24 | 25 | 0.019683 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
27 | LV_1097-7_1_2_line_27 | NAYY 4x150 SE | 25 | 49 | 0.013024 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
28 | LV_1097-7_1_2_line_28 | NAYY 4x150 SE | 27 | 28 | 0.018473 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
29 | LV_1097-7_1_2_line_29 | NAYY 4x150 SE | 27 | 29 | 0.012857 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
30 | LV_1097-7_1_2_line_30 | NAYY 4x150 SE | 28 | 30 | 0.022694 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
31 | LV_1097-7_1_2_line_31 | NAYY 4x150 SE | 28 | 31 | 0.024864 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
32 | LV_1097-7_1_2_line_32 | NAYY 4x150 SE | 28 | 32 | 0.047682 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
33 | LV_1097-7_1_2_line_33 | NAYY 4x150 SE | 29 | 33 | 0.05363 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
34 | LV_1097-7_1_2_line_34 | NAYY 4x150 SE | 30 | 34 | 0.030359 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
35 | LV_1097-7_1_2_line_35 | NAYY 4x150 SE | 31 | 35 | 0.038533 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
36 | LV_1097-7_1_2_line_36 | NAYY 4x150 SE | 33 | 36 | 0.03196 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
37 | LV_1097-7_1_2_line_37 | NAYY 4x150 SE | 34 | 37 | 0.0034405 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
38 | LV_1097-7_1_2_line_38 | NAYY 4x150 SE | 35 | 38 | 0.04548 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
39 | LV_1097-7_1_2_line_39 | NAYY 4x150 SE | 35 | 39 | 0.010602 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
40 | LV_1097-7_1_2_line_40 | NAYY 4x150 SE | 36 | 42 | 0.01172 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
41 | LV_1097-7_1_2_line_41 | NAYY 4x150 SE | 37 | 51 | 0.038829 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
42 | LV_1097-7_1_2_line_42 | NAYY 4x150 SE | 38 | 64 | 0.01556 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
43 | LV_1097-7_1_2_line_43 | NAYY 4x150 SE | 39 | 57 | 0.056116 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
44 | LV_1097-7_1_2_line_44 | NAYY 4x150 SE | 39 | 49 | 0.016265 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
45 | LV_1097-7_1_2_line_45 | NAYY 4x150 SE | 40 | 41 | 0.05768 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
46 | LV_1097-7_1_2_line_46 | NAYY 4x150 SE | 41 | 58 | 0.015684 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
47 | LV_1097-7_1_2_line_47 | NAYY 4x150 SE | 42 | 44 | 0.012286 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
48 | LV_1097-7_1_2_line_48 | NAYY 4x150 SE | 43 | 48 | 0.027107 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
49 | LV_1097-7_1_2_line_49 | NAYY 4x150 SE | 44 | 45 | 0.043995 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
50 | LV_1097-7_1_2_line_50 | NAYY 4x150 SE | 45 | 46 | 0.011291 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
51 | LV_1097-7_1_2_line_51 | NAYY 4x150 SE | 47 | 54 | 0.0015413 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
52 | LV_1097-7_1_2_line_52 | NAYY 4x150 SE | 48 | 50 | 0.028526 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
53 | LV_1097-7_1_2_line_53 | NAYY 4x150 SE | 51 | 52 | 0.018451 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
54 | LV_1097-7_1_2_line_54 | NAYY 4x150 SE | 52 | 53 | 0.047522 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
55 | LV_1097-7_1_2_line_55 | NAYY 4x150 SE | 54 | 55 | 0.031617 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
56 | LV_1097-7_1_2_line_56 | NAYY 4x150 SE | 55 | 56 | 0.012404 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
57 | LV_1097-7_1_2_line_57 | NAYY 4x150 SE | 56 | 57 | 0.047975 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
58 | LV_1097-7_1_2_line_58 | NAYY 4x150 SE | 58 | 59 | 0.001851 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
59 | LV_1097-7_1_2_line_59 | NAYY 4x150 SE | 58 | 60 | 0.061345 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
60 | LV_1097-7_1_2_line_60 | NAYY 4x150 SE | 59 | 61 | 0.037848 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
61 | LV_1097-7_1_2_line_61 | NAYY 4x150 SE | 60 | 62 | 0.021106 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
62 | LV_1097-7_1_2_line_62 | NAYY 4x150 SE | 61 | 63 | 0.083763 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
63 | LV_1097-7_1_2_line_63 | NAYY 4x150 SE | 62 | 64 | 0.011147 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
64 | LV_1097-7_1_2_line_64 | NAYY 4x150 SE | 63 | 65 | 0.010168 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_1097-7_1_2_trafo_43 | 0.25 MVA 20/0.4 kV | 66 | 25 | 0.25 | 20 | 0.4 | 6 | 1.44 | 0.8 | 0.32 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5
0 | 2655093.2948 | 1230954.7222 | 2655085.1905 | 1230953.9356 | 2655072.5294 | 1230953.8183
1 | 2655093.2948 | 1230954.7222 | 2655108.0457 | 1230957.4717 | 2655110.6744 | 1230958.253
2 | 2655116.3064 | 1230959.9267 | 2655110.6744 | 1230958.253
3 | 2655130.07 | 1230965.6588 | 2655127.6827 | 1230964.1913 | 2655119.0126 | 1230960.731 | 2655116.3064 | 1230959.9267
4 | 2655130.07 | 1230965.6588 | 2655140.0746 | 1230950.175 | 2655148.0603 | 1230934.35
5 | 2655130.07 | 1230965.6588 | 2655146.4496 | 1230975.717 | 2655155.4942 | 1230983.3033
6 | 2655150.3876 | 1230925.9551 | 2655150.3876 | 1230925.9551 | 2655148.0603 | 1230934.35
7 | 2655155.4942 | 1230983.3033 | 2655179.0515 | 1231003.0623
8 | 2655136.7253 | 1230901.7879 | 2655140.3315 | 1230907.7836 | 2655148.1964 | 1230919.6752 | 2655150.3876 | 1230925.9551
9 | 2655284.8777 | 1230831.9573 | 2655281.5502 | 1230824.1202
10 | 2655277.8557 | 1230815.1634 | 2655280.8764 | 1230822.5334 | 2655281.5502 | 1230824.1202
11 | 2655301.7673 | 1230858.1503 | 2655287.7248 | 1230838.6629 | 2655284.8777 | 1230831.9573
12 | 2655277.8557 | 1230815.1634 | 2655272.1151 | 1230801.1574
13 | 2655307.015 | 1230884.681 | 2655308.9324 | 1230874.4162 | 2655301.7673 | 1230858.1503 | 2655301.7673 | 1230858.1503
14 | 2655259.2356 | 1230772.1889 | 2655268.5529 | 1230792.4663 | 2655272.1151 | 1230801.1574
15 | 2655307.7317 | 1230898.4537 | 2655306.3658 | 1230888.1567 | 2655307.015 | 1230884.681
16 | 2655250.2829 | 1230752.7049 | 2655259.2356 | 1230772.1889
17 | 2655307.7317 | 1230898.4537 | 2655313.9741 | 1230906.1933
18 | 2655307.7317 | 1230898.4537 | 2655296.4466 | 1230891.7088
19 | 2655244.6403 | 1230733.9401 | 2655246.0141 | 1230743.4145 | 2655250.2829 | 1230752.7049
20 | 2655236.2896 | 1230849.3146 | 2655244.7409 | 1230849.8033
21 | 2655265.1611 | 1230859.5953 | 2655261.2673 | 1230854.3382 | 2655257.3191 | 1230851.3107 | 2655252.3151 | 1230850.2413 | 2655244.7409 | 1230849.8033
22 | 2655236.2896 | 1230849.3146 | 2655234.9045 | 1230849.2345 | 2655230.0406 | 1230848.5779 | 2655226.197 | 1230846.5186 | 2655223.3777 | 1230843.4572 | 2655222.8515 | 1230842.4461
23 | 2655265.1611 | 1230859.5953 | 2655274.7088 | 1230872.4858 | 2655283.1166 | 1230880.8052
24 | 2655288.3285 | 1230885.9623 | 2655283.1166 | 1230880.8052
25 | 2655288.3285 | 1230885.9623 | 2655290.6116 | 1230888.2214 | 2655296.4466 | 1230891.7088
26 | 2655186.2948 | 1230785.4318 | 2655186.8056 | 1230786.0811 | 2655197.2153 | 1230801.2541 | 2655197.4974 | 1230801.6124
27 | 2655177.1284 | 1230776.2713 | 2655182.973 | 1230781.2091 | 2655186.2948 | 1230785.4318
28 | 2655219.1712 | 1230715.7365 | 2655233.8878 | 1230726.9016
29 | 2655244.6403 | 1230733.9401 | 2655235.4468 | 1230728.0844 | 2655233.8878 | 1230726.9016
30 | 2655219.1712 | 1230715.7365 | 2655219.5692 | 1230693.0458
31 | 2655219.1712 | 1230715.7365 | 2655200.405 | 1230732.0472
32 | 2655219.1712 | 1230715.7365 | 2655188.7016 | 1230679.0597
33 | 2655244.6403 | 1230733.9401 | 2655269.3193 | 1230730.3893 | 2655281.845 | 1230727.3259 | 2655296.0594 | 1230720.4217
34 | 2655219.5692 | 1230693.0458 | 2655220.0406 | 1230666.1685 | 2655221.1283 | 1230662.8658
35 | 2655172.1586 | 1230758.2164 | 2655183.3523 | 1230746.8685 | 2655200.405 | 1230732.0472
36 | 2655323.8335 | 1230704.7574 | 2655311.7842 | 1230712.7838 | 2655296.0594 | 1230720.4217
37 | 2655222.2045 | 1230659.598 | 2655221.1283 | 1230662.8658
38 | 2655172.1586 | 1230758.2164 | 2655168.1596 | 1230746.7831 | 2655163.4333 | 1230736.1769 | 2655159.1819 | 1230729.0885 | 2655151.7863 | 1230721.2817 | 2655149.5509 | 1230719.7028
39 | 2655164.7038 | 1230765.7743 | 2655172.1586 | 1230758.2164
40 | 2655323.8335 | 1230704.7574 | 2655315.9691 | 1230696.0676
41 | 2655234.3503 | 1230622.718 | 2655222.2045 | 1230659.598
42 | 2655136.8412 | 1230710.7256 | 2655149.5509 | 1230719.7028
43 | 2655164.7038 | 1230765.7743 | 2655160.3839 | 1230770.1481 | 2655154.9573 | 1230778.7033 | 2655151.7042 | 1230787.2897 | 2655145.6006 | 1230814.9397 | 2655144.9484 | 1230817.1864
44 | 2655164.7038 | 1230765.7743 | 2655177.1284 | 1230776.2713
45 | 2655073.9263 | 1230660.6633 | 2655131.5704 | 1230662.6996
46 | 2655058.2525 | 1230660.1096 | 2655073.9263 | 1230660.6633
47 | 2655315.9691 | 1230696.0676 | 2655306.2188 | 1230688.5923
48 | 2655331.7694 | 1230926.6265 | 2655320.101 | 1230913.7896 | 2655313.9741 | 1230906.1933
49 | 2655306.2188 | 1230688.5923 | 2655304.9592 | 1230687.6265 | 2655295.9739 | 1230678.1036 | 2655283.39 | 1230659.7193 | 2655279.8274 | 1230653.6517
50 | 2655274.1104 | 1230643.915 | 2655279.8274 | 1230653.6517
51 | 2655136.7253 | 1230901.7879 | 2655135.9309 | 1230900.4671
52 | 2655331.7694 | 1230926.6265 | 2655350.3216 | 1230947.0365 | 2655350.9451 | 1230947.7456
53 | 2655234.3503 | 1230622.718 | 2655224.3364 | 1230611.3956 | 2655221.991 | 1230609.0233
54 | 2655181.2646 | 1230584.8623 | 2655185.7326 | 1230588.3337 | 2655214.8389 | 1230603.9916 | 2655219.9542 | 1230606.9632 | 2655221.991 | 1230609.0233
55 | 2655121.5815 | 1230872.3538 | 2655129.1954 | 1230889.2685 | 2655135.9309 | 1230900.4671
56 | 2655121.5815 | 1230872.3538 | 2655128.4784 | 1230862.0445 | 2655128.4784 | 1230862.0445
57 | 2655128.4784 | 1230862.0445 | 2655136.6422 | 1230845.7986 | 2655144.9484 | 1230817.1864
58 | 2655058.2525 | 1230660.1096 | 2655056.3975 | 1230660.0479
59 | 2655058.2525 | 1230660.1096 | 2655083.5591 | 1230673.8637 | 2655103.5523 | 1230687.213 | 2655110.497 | 1230692.1181
60 | 2655056.3975 | 1230660.0479 | 2655018.6395 | 1230657.4362
61 | 2655127.7366 | 1230704.2949 | 2655110.497 | 1230692.1181
62 | 2655018.6395 | 1230657.4362 | 2655010.8187 | 1230740.8335
63 | 2655127.7366 | 1230704.2949 | 2655136.8412 | 1230710.7256
64 | 2655010.8187 | 1230740.8335 | 2655009.1473 | 1230746.2882 | 2655009.3106 | 1230750.7481

## bus_geodata
| x | y | coords
0 | 2655072.5294 | 1230953.8183
1 | 2655093.2948 | 1230954.7222
2 | 2655110.6744 | 1230958.253
3 | 2655116.3064 | 1230959.9267
4 | 2655130.07 | 1230965.6588
5 | 2655148.0603 | 1230934.35
6 | 2655155.4942 | 1230983.3033
7 | 2655150.3876 | 1230925.9551
8 | 2655179.0515 | 1231003.0623
9 | 2655281.5502 | 1230824.1202
10 | 2655284.8777 | 1230831.9573
11 | 2655277.8557 | 1230815.1634
12 | 2655301.7673 | 1230858.1503
13 | 2655272.1151 | 1230801.1574
14 | 2655307.015 | 1230884.681
15 | 2655259.2356 | 1230772.1889
16 | 2655307.7317 | 1230898.4537
17 | 2655250.2829 | 1230752.7049
18 | 2655244.7409 | 1230849.8033
19 | 2655236.2896 | 1230849.3146
20 | 2655265.1611 | 1230859.5953
21 | 2655222.8515 | 1230842.4461
22 | 2655283.1166 | 1230880.8052
23 | 2655288.3285 | 1230885.9623
24 | 2655197.4974 | 1230801.6124
25 | 2655186.2948 | 1230785.4318
26 | 2655296.4466 | 1230891.7088
27 | 2655233.8878 | 1230726.9016
28 | 2655219.1712 | 1230715.7365
29 | 2655244.6403 | 1230733.9401
30 | 2655219.5692 | 1230693.0458
31 | 2655200.405 | 1230732.0472
32 | 2655188.7016 | 1230679.0597
33 | 2655296.0594 | 1230720.4217
34 | 2655221.1283 | 1230662.8658
35 | 2655172.1586 | 1230758.2164
36 | 2655323.8335 | 1230704.7574
37 | 2655222.2045 | 1230659.598
38 | 2655149.5509 | 1230719.7028
39 | 2655164.7038 | 1230765.7743
40 | 2655131.5704 | 1230662.6996
41 | 2655073.9263 | 1230660.6633
42 | 2655315.9691 | 1230696.0676
43 | 2655313.9741 | 1230906.1933
44 | 2655306.2188 | 1230688.5923
45 | 2655279.8274 | 1230653.6517
46 | 2655274.1104 | 1230643.915
47 | 2655136.7253 | 1230901.7879
48 | 2655331.7694 | 1230926.6265
49 | 2655177.1284 | 1230776.2713
50 | 2655350.9451 | 1230947.7456
51 | 2655234.3503 | 1230622.718
52 | 2655221.991 | 1230609.0233
53 | 2655181.2646 | 1230584.8623
54 | 2655135.9309 | 1230900.4671
55 | 2655121.5815 | 1230872.3538
56 | 2655128.4784 | 1230862.0445
57 | 2655144.9484 | 1230817.1864
58 | 2655058.2525 | 1230660.1096
59 | 2655056.3975 | 1230660.0479
60 | 2655110.497 | 1230692.1181
61 | 2655018.6395 | 1230657.4362
62 | 2655127.7366 | 1230704.2949
63 | 2655010.8187 | 1230740.8335
64 | 2655136.8412 | 1230710.7256
65 | 2655009.3106 | 1230750.7481
66 | 2655186.2948 | 1230785.4318

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## res_bus
| vm_pu | va_degree | p_mw | q_mvar
0 | 0.99543 | -0.032043 | 0.00096206 | 0.00024111
1 | 0.99546 | -0.031841 | 0 | 0
2 | 0.99548 | -0.031669 | 0.00024356 | 6.1041e-05
3 | 0.99549 | -0.031597 | 0.00063184 | 0.00015835
4 | 0.99553 | -0.031319 | 0 | 0
5 | 0.99567 | -0.030338 | 0.00043616 | 0.00010931
6 | 0.99549 | -0.031585 | 0.00055071 | 0.00013802
7 | 0.99571 | -0.030063 | 0.0015264 | 0.00038256
8 | 0.99548 | -0.031676 | 0.00029403 | 7.3691e-05
9 | 0.99001 | -0.070126 | 0.0010447 | 0.00026182
10 | 0.98981 | -0.071492 | 0.0010484 | 0.00026277
11 | 0.99024 | -0.068469 | 0.00027928 | 6.9995e-05
12 | 0.98915 | -0.076184 | 0.0010126 | 0.00025379
13 | 0.99061 | -0.065839 | 0.00033403 | 8.3715e-05
14 | 0.9886 | -0.080125 | 0.0027291 | 0.00068398
15 | 0.99141 | -0.060227 | 0.00078885 | 0.0001977
16 | 0.98838 | -0.081684 | 0 | 0
17 | 0.99197 | -0.056265 | 0.00038237 | 9.583e-05
18 | 0.98784 | -0.085473 | 0.00096622 | 0.00024216
19 | 0.98781 | -0.085681 | 0.0018116 | 0.00045402
20 | 0.98796 | -0.084639 | 0.0004762 | 0.00011935
21 | 0.9878 | -0.085777 | 0.00058785 | 0.00014733
22 | 0.98811 | -0.083542 | 0.00076575 | 0.00019192
23 | 0.98816 | -0.083196 | 0.001625 | 0.00040728
24 | 0.99999 | -3.5312e-05 | 0.0001788 | 4.4811e-05
25 | 1 | 0 | -0.0624 | -0.015487
26 | 0.98825 | -0.082558 | 0.00026721 | 6.6968e-05
27 | 0.99295 | -0.049345 | 0.00086748 | 0.00021741
28 | 0.99363 | -0.044606 | 0 | 0
29 | 0.9925 | -0.052534 | 0 | 0
30 | 0.99342 | -0.046064 | 0.0033082 | 0.00082912
31 | 0.99479 | -0.036431 | 0.00080843 | 0.00020261
32 | 0.99357 | -0.04501 | 0.00083579 | 0.00020947
33 | 0.99205 | -0.055741 | 0.0042507 | 0.0010653
34 | 0.99329 | -0.046999 | 0.00069513 | 0.00017422
35 | 0.99664 | -0.023486 | 0 | 0
36 | 0.99197 | -0.056274 | 0 | 0
37 | 0.99328 | -0.047081 | 0.00077261 | 0.00019363
38 | 0.99536 | -0.032433 | 0.00035609 | 8.9244e-05
39 | 0.99744 | -0.017852 | 0.00035534 | 8.9057e-05
40 | 0.99247 | -0.052754 | 0.00091745 | 0.00022994
41 | 0.99254 | -0.052217 | 0.00040091 | 0.00010048
42 | 0.99194 | -0.056469 | 0.00044999 | 0.00011278
43 | 0.98831 | -0.082135 | 0.00054942 | 0.0001377
44 | 0.99192 | -0.056617 | 0.00041416 | 0.0001038
45 | 0.99188 | -0.056962 | 0.00016906 | 4.237e-05
46 | 0.99187 | -0.057031 | 0.00060142 | 0.00015073
47 | 0.99589 | -0.028754 | 0.00078365 | 0.0001964
48 | 0.98816 | -0.083214 | 0.002758 | 0.00069121
49 | 0.99886 | -0.0079452 | 0.00025336 | 6.3497e-05
50 | 0.98811 | -0.083544 | 0.0011317 | 0.00028362
51 | 0.99319 | -0.047699 | 0 | 0
52 | 0.99315 | -0.047992 | 0.00096114 | 0.00024089
53 | 0.99311 | -0.048283 | 0.00060397 | 0.00015137
54 | 0.99591 | -0.028669 | 0.0015333 | 0.00038428
55 | 0.99622 | -0.026448 | 0 | 0
56 | 0.99634 | -0.025577 | 0.00026543 | 6.6523e-05
57 | 0.99684 | -0.022081 | 0.00025072 | 6.2836e-05
58 | 0.99257 | -0.052006 | 0 | 0
59 | 0.99253 | -0.052308 | 0 | 0
60 | 0.99411 | -0.041202 | 0.00021707 | 5.4402e-05
61 | 0.99166 | -0.05848 | 0.0023973 | 0.00060081
62 | 0.99464 | -0.037445 | 0.00017515 | 4.3898e-05
63 | 0.99001 | -0.070128 | 0.0002171 | 5.441e-05
64 | 0.99493 | -0.035443 | 0.0013833 | 0.00034668
65 | 0.98981 | -0.071522 | 0.013457 | 0.0033727
66 | 0.99998 | 149.9947 | 0 | 0

## res_line
| p_from_mw | q_from_mvar | p_to_mw | q_to_mvar | pl_mw | ql_mvar | i_from_ka | i_to_ka | i_ka | vm_from_pu | va_from_degree | vm_to_pu | va_to_degree | loading_percent
0 | -0.00096206 | -0.00024111 | 0.00096208 | 0.00024085 | 2.6847e-08 | -2.6012e-07 | 0.0014381 | 0.001438 | 0.0014381 | 0.99543 | -0.032043 | 0.99546 | -0.031841 | 0.53264
1 | -0.00096208 | -0.00024085 | 0.00096211 | 0.00024063 | 2.29e-08 | -2.2192e-07 | 0.001438 | 0.001438 | 0.001438 | 0.99546 | -0.031841 | 0.99548 | -0.031669 | 0.53261
2 | -0.0012057 | -0.00030167 | 0.0012057 | 0.0003016 | 1.1905e-08 | -7.1808e-08 | 0.001802 | 0.001802 | 0.001802 | 0.99548 | -0.031669 | 0.99549 | -0.031597 | 0.66741
3 | -0.0018375 | -0.00045996 | 0.0018376 | 0.00045979 | 7.0415e-08 | -1.6743e-07 | 0.0027464 | 0.0027464 | 0.0027464 | 0.99549 | -0.031597 | 0.99553 | -0.031319 | 1.0172
4 | -0.0026824 | -0.00067071 | 0.0026827 | 0.00067038 | 3.626e-07 | -3.3077e-07 | 0.0040088 | 0.0040086 | 0.0040088 | 0.99553 | -0.031319 | 0.99567 | -0.030338 | 1.4847
5 | 0.00084478 | 0.00021092 | -0.00084475 | -0.00021131 | 3.0857e-08 | -3.9153e-07 | 0.0012624 | 0.0012625 | 0.0012625 | 0.99553 | -0.031319 | 0.99549 | -0.031585 | 0.46761
6 | -0.0031189 | -0.00077969 | 0.003119 | 0.00077962 | 1.1807e-07 | -6.7895e-08 | 0.0046604 | 0.0046604 | 0.0046604 | 0.99567 | -0.030338 | 0.99571 | -0.030063 | 1.7261
7 | 0.00029403 | 7.3293e-05 | -0.00029403 | -7.3691e-05 | 3.7049e-09 | -3.9832e-07 | 0.00043937 | 0.00043951 | 0.00043951 | 0.99549 | -0.031585 | 0.99548 | -0.031676 | 0.16278
8 | -0.0046454 | -0.0011622 | 0.0046463 | 0.0011621 | 8.3902e-07 | -4.0325e-08 | 0.0069416 | 0.0069414 | 0.0069416 | 0.99571 | -0.030063 | 0.99589 | -0.028754 | 2.571
9 | 0.015755 | 0.0039488 | -0.015752 | -0.0039477 | 2.9792e-06 | 1.0364e-06 | 0.02368 | 0.02368 | 0.02368 | 0.99001 | -0.070126 | 0.98981 | -0.071492 | 8.7705
10 | -0.0168 | -0.0042106 | 0.016803 | 0.0042119 | 3.8548e-06 | 1.358e-06 | 0.02525 | 0.02525 | 0.02525 | 0.99001 | -0.070126 | 0.99024 | -0.068469 | 9.352
11 | 0.014704 | 0.003685 | -0.014694 | -0.0036817 | 9.5444e-06 | 3.2688e-06 | 0.022104 | 0.022104 | 0.022104 | 0.98981 | -0.071492 | 0.98915 | -0.076184 | 8.1868
12 | -0.017083 | -0.0042819 | 0.017089 | 0.0042841 | 6.224e-06 | 2.1991e-06 | 0.02567 | 0.02567 | 0.02567 | 0.99024 | -0.068469 | 0.99061 | -0.065839 | 9.5074
13 | 0.013681 | 0.0034279 | -0.013674 | -0.0034254 | 7.458e-06 | 2.5065e-06 | 0.020581 | 0.020581 | 0.020581 | 0.98915 | -0.076184 | 0.9886 | -0.080125 | 7.6226
14 | -0.017423 | -0.0043678 | 0.017437 | 0.0043726 | 1.3553e-05 | 4.804e-06 | 0.026172 | 0.026172 | 0.026172 | 0.99061 | -0.065839 | 0.99141 | -0.060227 | 9.6932
15 | 0.010945 | 0.0027414 | -0.010942 | -0.0027407 | 2.3576e-06 | 7.2831e-07 | 0.016473 | 0.016473 | 0.016473 | 0.9886 | -0.080125 | 0.98838 | -0.081684 | 6.1012
16 | -0.018225 | -0.0045704 | 0.018235 | 0.0045739 | 1.0013e-05 | 3.5744e-06 | 0.027356 | 0.027355 | 0.027356 | 0.99141 | -0.060227 | 0.99197 | -0.056265 | 10.1317
17 | 0.00444 | 0.001112 | -0.0044397 | -0.0011121 | 2.7721e-07 | -2.0805e-08 | 0.0066842 | 0.0066842 | 0.0066842 | 0.98838 | -0.081684 | 0.98831 | -0.082135 | 2.4756
18 | 0.0065024 | 0.0016286 | -0.0065016 | -0.0016285 | 7.8616e-07 | 1.3389e-07 | 0.0097891 | 0.0097892 | 0.0097892 | 0.98838 | -0.081684 | 0.98825 | -0.082558 | 3.6256
19 | -0.018618 | -0.0046698 | 0.018627 | 0.0046732 | 9.6363e-06 | 3.4506e-06 | 0.027929 | 0.027929 | 0.027929 | 0.99197 | -0.056265 | 0.9925 | -0.052534 | 10.3441
20 | 0.0023995 | 0.00060106 | -0.0023994 | -0.00060115 | 6.9006e-08 | -8.1832e-08 | 0.0036143 | 0.0036143 | 0.0036143 | 0.98784 | -0.085473 | 0.98781 | -0.085681 | 1.3386
21 | -0.0033657 | -0.00084322 | 0.0033661 | 0.00084306 | 3.8846e-07 | -1.6072e-07 | 0.0050697 | 0.0050696 | 0.0050697 | 0.98784 | -0.085473 | 0.98796 | -0.084639 | 1.8777
22 | 0.00058785 | 0.00014713 | -0.00058785 | -0.00014733 | 7.8077e-09 | -2.0127e-07 | 0.00088546 | 0.00088553 | 0.00088553 | 0.98781 | -0.085681 | 0.9878 | -0.085777 | 0.32797
23 | -0.0038423 | -0.00096241 | 0.0038429 | 0.00096227 | 5.8236e-07 | -1.3295e-07 | 0.0057869 | 0.0057867 | 0.0057869 | 0.98796 | -0.084639 | 0.98811 | -0.083542 | 2.1433
24 | -0.0046086 | -0.0011542 | 0.0046088 | 0.0011542 | 2.2035e-07 | -9.1728e-09 | 0.0069399 | 0.0069399 | 0.0069399 | 0.98811 | -0.083542 | 0.98816 | -0.083196 | 2.5703
25 | -0.0062339 | -0.0015615 | 0.0062344 | 0.0015615 | 5.5036e-07 | 8.3437e-08 | 0.0093869 | 0.0093869 | 0.0093869 | 0.98816 | -0.083196 | 0.98825 | -0.082558 | 3.4766
26 | -0.0001788 | -4.4811e-05 | 0.0001788 | 4.4553e-05 | 8.6909e-10 | -2.5789e-07 | 0.00026606 | 0.00026597 | 0.00026606 | 0.99999 | -3.5312e-05 | 1 | 0 | 0.098539
27 | 0.061421 | 0.015443 | -0.061353 | -0.015417 | 6.7911e-05 | 2.5949e-05 | 0.091413 | 0.091413 | 0.091413 | 1 | 0 | 0.99886 | -0.0079452 | 33.8565
28 | -0.025394 | -0.0063686 | 0.025411 | 0.0063748 | 1.6694e-05 | 6.1817e-06 | 0.038056 | 0.038056 | 0.038056 | 0.99295 | -0.049345 | 0.99363 | -0.044606 | 14.0949
29 | 0.024526 | 0.0061512 | -0.024516 | -0.0061472 | 1.0839e-05 | 4.0026e-06 | 0.036756 | 0.036756 | 0.036756 | 0.99295 | -0.049345 | 0.9925 | -0.052534 | 13.6134
30 | 0.006343 | 0.0015879 | -0.0063417 | -0.0015877 | 1.2776e-06 | 1.975e-07 | 0.0094984 | 0.0094985 | 0.0094985 | 0.99363 | -0.044606 | 0.99342 | -0.046064 | 3.518
31 | -0.032589 | -0.0081715 | 0.032626 | 0.0081854 | 3.6957e-05 | 1.3892e-05 | 0.048806 | 0.048806 | 0.048806 | 0.99363 | -0.044606 | 0.99479 | -0.036431 | 18.0763
32 | 0.00083584 | 0.00020887 | -0.00083579 | -0.00020947 | 4.661e-08 | -5.9965e-07 | 0.0012515 | 0.0012517 | 0.0012517 | 0.99363 | -0.044606 | 0.99357 | -0.04501 | 0.4636
33 | 0.0058882 | 0.001474 | -0.0058856 | -0.0014737 | 2.6077e-06 | 3.1022e-07 | 0.0088273 | 0.0088276 | 0.0088276 | 0.9925 | -0.052534 | 0.99205 | -0.055741 | 3.2695
34 | 0.0030335 | 0.00075856 | -0.0030331 | -0.0007588 | 3.9102e-07 | -2.4262e-07 | 0.0045432 | 0.0045433 | 0.0045433 | 0.99342 | -0.046064 | 0.99329 | -0.046999 | 1.6827
35 | -0.033435 | -0.008388 | 0.033495 | 0.0084107 | 6.0148e-05 | 2.2633e-05 | 0.050015 | 0.050015 | 0.050015 | 0.99479 | -0.036431 | 0.99664 | -0.023486 | 18.5241
36 | 0.0016349 | 0.00040833 | -0.0016347 | -0.0004087 | 1.1988e-07 | -3.665e-07 | 0.0024517 | 0.0024519 | 0.0024519 | 0.99205 | -0.055741 | 0.99197 | -0.056274 | 0.9081
37 | 0.002338 | 0.00058458 | -0.0023379 | -0.00058462 | 2.6328e-08 | -3.4406e-08 | 0.003502 | 0.003502 | 0.003502 | 0.99329 | -0.046999 | 0.99328 | -0.047081 | 1.297
38 | 0.019633 | 0.0049309 | -0.019609 | -0.0049221 | 2.4392e-05 | 8.7897e-06 | 0.029317 | 0.029317 | 0.029317 | 0.99664 | -0.023486 | 0.99536 | -0.032433 | 10.8582
39 | -0.053128 | -0.013342 | 0.05317 | 0.013357 | 4.1636e-05 | 1.5876e-05 | 0.079332 | 0.079332 | 0.079332 | 0.99664 | -0.023486 | 0.99744 | -0.017852 | 29.3822
40 | 0.0016347 | 0.0004087 | -0.0016347 | -0.00040883 | 4.3966e-08 | -1.3439e-07 | 0.0024519 | 0.0024519 | 0.0024519 | 0.99197 | -0.056274 | 0.99194 | -0.056469 | 0.90811
41 | 0.0015653 | 0.00039098 | -0.0015652 | -0.00039143 | 1.3319e-07 | -4.513e-07 | 0.0023445 | 0.0023447 | 0.0023447 | 0.99328 | -0.047081 | 0.99319 | -0.047699 | 0.86841
42 | 0.019253 | 0.0048329 | -0.019245 | -0.00483 | 8.0452e-06 | 2.8921e-06 | 0.028785 | 0.028785 | 0.028785 | 0.99536 | -0.032433 | 0.99493 | -0.035443 | 10.6611
43 | 0.0074903 | 0.0018744 | -0.0074859 | -0.0018735 | 4.3716e-06 | 9.4938e-07 | 0.011173 | 0.011174 | 0.011174 | 0.99744 | -0.017852 | 0.99684 | -0.022081 | 4.1383
44 | -0.061016 | -0.015321 | 0.0611 | 0.015353 | 8.4113e-05 | 3.2139e-05 | 0.091035 | 0.091035 | 0.091035 | 0.99744 | -0.017852 | 0.99886 | -0.0079452 | 33.7168
45 | -0.00091745 | -0.00022994 | 0.00091752 | 0.00022922 | 6.8089e-08 | -7.1923e-07 | 0.0013755 | 0.0013753 | 0.0013755 | 0.99247 | -0.052754 | 0.99254 | -0.052217 | 0.50946
46 | -0.0013184 | -0.00032969 | 0.0013185 | 0.00032951 | 3.8223e-08 | -1.88e-07 | 0.0019763 | 0.0019763 | 0.0019763 | 0.99254 | -0.052217 | 0.99257 | -0.052006 | 0.73197
47 | 0.0011847 | 0.00029605 | -0.0011847 | -0.0002962 | 2.4206e-08 | -1.4929e-07 | 0.0017769 | 0.0017769 | 0.0017769 | 0.99194 | -0.056469 | 0.99192 | -0.056617 | 0.65812
48 | 0.0038903 | 0.00097436 | -0.0038897 | -0.00097449 | 5.8026e-07 | -1.2413e-07 | 0.005857 | 0.0058571 | 0.0058571 | 0.98831 | -0.082135 | 0.98816 | -0.083214 | 2.1693
49 | 0.00077052 | 0.0001924 | -0.00077048 | -0.00019296 | 3.6669e-08 | -5.5376e-07 | 0.0011556 | 0.0011558 | 0.0011558 | 0.99192 | -0.056617 | 0.99188 | -0.056962 | 0.42809
50 | 0.00060143 | 0.00015059 | -0.00060142 | -0.00015073 | 5.7353e-09 | -1.4353e-07 | 0.00090221 | 0.00090226 | 0.00090226 | 0.99188 | -0.056962 | 0.99187 | -0.057031 | 0.33417
51 | -0.0054299 | -0.0013585 | 0.00543 | 0.0013586 | 6.3295e-08 | 4.2887e-09 | 0.0081123 | 0.0081123 | 0.0081123 | 0.99589 | -0.028754 | 0.99591 | -0.028669 | 3.0046
52 | 0.0011317 | 0.00028328 | -0.0011317 | -0.00028362 | 5.1693e-08 | -3.4553e-07 | 0.0017041 | 0.0017042 | 0.0017042 | 0.98816 | -0.083214 | 0.98811 | -0.083544 | 0.63118
53 | 0.0015652 | 0.00039143 | -0.0015651 | -0.00039165 | 6.3301e-08 | -2.1443e-07 | 0.0023447 | 0.0023448 | 0.0023448 | 0.99319 | -0.047699 | 0.99315 | -0.047992 | 0.86844
54 | 0.00060399 | 0.00015076 | -0.00060397 | -0.00015137 | 2.4279e-08 | -6.0557e-07 | 0.00090474 | 0.00090495 | 0.00090495 | 0.99315 | -0.047992 | 0.99311 | -0.048283 | 0.33517
55 | -0.0069633 | -0.0017428 | 0.0069654 | 0.0017432 | 2.1352e-06 | 4.097e-07 | 0.010403 | 0.010403 | 0.010403 | 0.99591 | -0.028669 | 0.99622 | -0.026448 | 3.8531
56 | -0.0069654 | -0.0017432 | 0.0069663 | 0.0017434 | 8.3764e-07 | 1.6065e-07 | 0.010403 | 0.010403 | 0.010403 | 0.99622 | -0.026448 | 0.99634 | -0.025577 | 3.853
57 | -0.0072317 | -0.0018099 | 0.0072352 | 0.0018106 | 3.4914e-06 | 7.1772e-07 | 0.010799 | 0.010799 | 0.010799 | 0.99634 | -0.025577 | 0.99684 | -0.022081 | 3.9998
58 | 0.016111 | 0.0040412 | -0.01611 | -0.004041 | 6.7383e-07 | 2.3524e-07 | 0.024153 | 0.024153 | 0.024153 | 0.99257 | -0.052006 | 0.99253 | -0.052308 | 8.9457
59 | -0.017429 | -0.0043707 | 0.017455 | 0.00438 | 2.6135e-05 | 9.2579e-06 | 0.02613 | 0.026129 | 0.02613 | 0.99257 | -0.052006 | 0.99411 | -0.041202 | 9.6777
60 | 0.01611 | 0.004041 | -0.016096 | -0.0040362 | 1.3778e-05 | 4.8106e-06 | 0.024153 | 0.024154 | 0.024154 | 0.99253 | -0.052308 | 0.99166 | -0.05848 | 8.9458
61 | -0.017672 | -0.0044344 | 0.017681 | 0.0044377 | 9.217e-06 | 3.2712e-06 | 0.026454 | 0.026454 | 0.026454 | 0.99411 | -0.041202 | 0.99464 | -0.037445 | 9.7979
62 | 0.013699 | 0.0034354 | -0.013677 | -0.0034279 | 2.2087e-05 | 7.4162e-06 | 0.020556 | 0.020557 | 0.020557 | 0.99166 | -0.05848 | 0.99001 | -0.070128 | 7.6136
63 | -0.017857 | -0.0044815 | 0.017862 | 0.0044833 | 4.9646e-06 | 1.7647e-06 | 0.026716 | 0.026716 | 0.026716 | 0.99464 | -0.037445 | 0.99493 | -0.035443 | 9.8949
64 | 0.01346 | 0.0033735 | -0.013457 | -0.0033727 | 2.5967e-06 | 8.6803e-07 | 0.02023 | 0.020231 | 0.020231 | 0.99001 | -0.070128 | 0.98981 | -0.071522 | 7.4928

## res_trafo
| p_hv_mw | q_hv_mvar | p_lv_mw | q_lv_mvar | pl_mw | ql_mvar | i_hv_ka | i_lv_ka | vm_hv_pu | va_hv_degree | vm_lv_pu | va_lv_degree | loading_percent
0 | 2.5187e-16 | 8.8016e-16 | 0.00079998 | 7.4552e-08 | 0.00079998 | 7.4552e-08 | 2.6429e-17 | 0.0011547 | 0.99998 | 149.9947 | 1 | 0 | 0.31999

## res_ext_grid
| p_mw | q_mvar
0 | 0.062719 | 0.015567

## res_load
| p_mw | q_mvar
0 | 0.00096206 | 0.00024111
1 | 0.00024356 | 6.1041e-05
2 | 0.00063184 | 0.00015835
3 | 0.00043616 | 0.00010931
4 | 0.00055071 | 0.00013802
5 | 0.0015264 | 0.00038256
6 | 0.00029403 | 7.3691e-05
7 | 0.0010447 | 0.00026182
8 | 0.0010484 | 0.00026277
9 | 0.00027928 | 6.9995e-05
10 | 0.0010126 | 0.00025379
11 | 0.00033403 | 8.3715e-05
12 | 0.0027291 | 0.00068398
13 | 0.00078885 | 0.0001977
14 | 0.00038237 | 9.583e-05
15 | 0.00096622 | 0.00024216
16 | 0.0018116 | 0.00045402
17 | 0.0004762 | 0.00011935
18 | 0.00058785 | 0.00014733
19 | 0.00076575 | 0.00019192
20 | 0.001625 | 0.00040728
21 | 0.0001788 | 4.4811e-05
22 | 0.00031934 | 8.0035e-05
23 | 0.00026721 | 6.6968e-05
24 | 0.00086748 | 0.00021741
25 | 0.0033082 | 0.00082912
26 | 0.00080843 | 0.00020261
27 | 0.00083579 | 0.00020947
28 | 0.0042507 | 0.0010653
29 | 0.00069513 | 0.00017422
30 | 0.00077261 | 0.00019363
31 | 0.00035609 | 8.9244e-05
32 | 0.00035534 | 8.9057e-05
33 | 0.00091745 | 0.00022994
34 | 0.00040091 | 0.00010048
35 | 0.00044999 | 0.00011278
36 | 0.00054942 | 0.0001377
37 | 0.00041416 | 0.0001038
38 | 0.00016906 | 4.237e-05
39 | 0.00060142 | 0.00015073
40 | 0.00078365 | 0.0001964
41 | 0.002758 | 0.00069121
42 | 0.00025336 | 6.3497e-05
43 | 0.0011317 | 0.00028362
44 | 0.00096114 | 0.00024089
45 | 0.00060397 | 0.00015137
46 | 0.0015333 | 0.00038428
47 | 0.00026543 | 6.6523e-05
48 | 0.00025072 | 6.2836e-05
49 | 0.00021707 | 5.4402e-05
50 | 0.0023973 | 0.00060081
51 | 0.00017515 | 4.3898e-05
52 | 0.0002171 | 5.441e-05
53 | 0.0013833 | 0.00034668
54 | 0.013457 | 0.0033727

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object
62 | res_bus | vm_pu | float64
63 | res_bus | va_degree | float64
64 | res_bus | p_mw | float64
65 | res_bus | q_mvar | float64
66 | res_line | p_from_mw | float64
67 | res_line | q_from_mvar | float64
68 | res_line | p_to_mw | float64
69 | res_line | q_to_mvar | float64
70 | res_line | pl_mw | float64
71 | res_line | ql_mvar | float64
72 | res_line | i_from_ka | float64
73 | res_line | i_to_ka | float64
74 | res_line | i_ka | float64
75 | res_line | vm_from_pu | float64
76 | res_line | va_from_degree | float64
77 | res_line | vm_to_pu | float64
78 | res_line | va_to_degree | float64
79 | res_line | loading_percent | float64
80 | res_trafo | p_hv_mw | float64
81 | res_trafo | q_hv_mvar | float64
82 | res_trafo | p_lv_mw | float64
83 | res_trafo | q_lv_mvar | float64
84 | res_trafo | pl_mw | float64
85 | res_trafo | ql_mvar | float64
86 | res_trafo | i_hv_ka | float64
87 | res_trafo | i_lv_ka | float64
88 | res_trafo | vm_hv_pu | float64
89 | res_trafo | va_hv_degree | float64
90 | res_trafo | vm_lv_pu | float64
91 | res_trafo | va_lv_degree | float64
92 | res_trafo | loading_percent | float64
93 | res_ext_grid | p_mw | float64
94 | res_ext_grid | q_mvar | float64
95 | res_load | p_mw | float64
96 | res_load | q_mvar | float64

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | TRUE | FALSE |  | 50 | 1