## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_1100-1_0_2_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_1100-1_0_2_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_1100-1_0_2_node_2 | 0.4 | n |  | TRUE
3 | bus_LV_1100-1_0_2_node_4 | 0.4 | n |  | TRUE
4 | bus_LV_1100-1_0_2_node_5 | 0.4 | n |  | TRUE
5 | bus_LV_1100-1_0_2_node_6 | 0.4 | n |  | TRUE
6 | bus_LV_1100-1_0_2_node_3 | 0.4 | n |  | TRUE
7 | bus_LV_1100-1_0_2_node_142 | 0.4 | n |  | TRUE
8 | bus_LV_1100-1_0_2_node_147 | 0.4 | n |  | TRUE
9 | bus_LV_1100-1_0_2_node_19 | 0.4 | n |  | TRUE
10 | bus_LV_1100-1_0_2_node_7 | 0.4 | n |  | TRUE
11 | bus_LV_1100-1_0_2_node_8 | 0.4 | n |  | TRUE
12 | bus_LV_1100-1_0_2_node_9 | 0.4 | n |  | TRUE
13 | bus_LV_1100-1_0_2_node_10 | 0.4 | n |  | TRUE
14 | bus_LV_1100-1_0_2_node_11 | 0.4 | n |  | TRUE
15 | bus_LV_1100-1_0_2_node_12 | 0.4 | n |  | TRUE
16 | bus_LV_1100-1_0_2_node_13 | 0.4 | n |  | TRUE
17 | bus_LV_1100-1_0_2_node_24 | 0.4 | n |  | TRUE
18 | bus_LV_1100-1_0_2_node_22 | 0.4 | n |  | TRUE
19 | bus_LV_1100-1_0_2_node_15 | 0.4 | n |  | TRUE
20 | bus_LV_1100-1_0_2_node_16 | 0.4 | n |  | TRUE
21 | bus_LV_1100-1_0_2_node_17 | 0.4 | n |  | TRUE
22 | bus_LV_1100-1_0_2_node_18 | 0.4 | n |  | TRUE
23 | bus_LV_1100-1_0_2_node_61 | 0.4 | n |  | TRUE
24 | bus_LV_1100-1_0_2_node_51 | 0.4 | n |  | TRUE
25 | bus_LV_1100-1_0_2_node_20 | 0.4 | n |  | TRUE
26 | bus_LV_1100-1_0_2_node_146 | 0.4 | n |  | TRUE
27 | bus_LV_1100-1_0_2_node_21 | 0.4 | n |  | TRUE
28 | bus_LV_1100-1_0_2_node_23 | 0.4 | n |  | TRUE
29 | bus_LV_1100-1_0_2_node_38 | 0.4 | n |  | TRUE
30 | bus_LV_1100-1_0_2_node_57 | 0.4 | n |  | TRUE
31 | bus_LV_1100-1_0_2_node_25 | 0.4 | n |  | TRUE
32 | bus_LV_1100-1_0_2_node_26 | 0.4 | n |  | TRUE
33 | bus_LV_1100-1_0_2_node_27 | 0.4 | n |  | TRUE
34 | bus_LV_1100-1_0_2_node_28 | 0.4 | n |  | TRUE
35 | bus_LV_1100-1_0_2_node_29 | 0.4 | n |  | TRUE
36 | bus_LV_1100-1_0_2_node_44 | 0.4 | n |  | TRUE
37 | bus_LV_1100-1_0_2_node_52 | 0.4 | n |  | TRUE
38 | bus_LV_1100-1_0_2_node_49 | 0.4 | n |  | TRUE
39 | bus_LV_1100-1_0_2_node_30 | 0.4 | n |  | TRUE
40 | bus_LV_1100-1_0_2_node_31 | 0.4 | n |  | TRUE
41 | bus_LV_1100-1_0_2_node_32 | 0.4 | n |  | TRUE
42 | bus_LV_1100-1_0_2_node_34 | 0.4 | n |  | TRUE
43 | bus_LV_1100-1_0_2_node_35 | 0.4 | n |  | TRUE
44 | bus_LV_1100-1_0_2_node_33 | 0.4 | n |  | TRUE
45 | bus_LV_1100-1_0_2_node_48 | 0.4 | n |  | TRUE
46 | bus_LV_1100-1_0_2_node_46 | 0.4 | n |  | TRUE
47 | bus_LV_1100-1_0_2_node_55 | 0.4 | n |  | TRUE
48 | bus_LV_1100-1_0_2_node_58 | 0.4 | n |  | TRUE
49 | bus_LV_1100-1_0_2_node_36 | 0.4 | n |  | TRUE
50 | bus_LV_1100-1_0_2_node_39 | 0.4 | n |  | TRUE
51 | bus_LV_1100-1_0_2_node_140 | 0.4 | n |  | TRUE
52 | bus_LV_1100-1_0_2_node_45 | 0.4 | n |  | TRUE
53 | bus_LV_1100-1_0_2_node_50 | 0.4 | n |  | TRUE
54 | bus_LV_1100-1_0_2_node_56 | 0.4 | n |  | TRUE
55 | bus_LV_1100-1_0_2_node_59 | 0.4 | n |  | TRUE
56 | bus_LV_1100-1_0_2_node_137 | 0.4 | n |  | TRUE
57 | bus_LV_1100-1_0_2_node_138 | 0.4 | n |  | TRUE
58 | bus_LV_1100-1_0_2_node_60 | 0.4 | n |  | TRUE
59 | bus_LV_1100-1_0_2_node_64 | 0.4 | n |  | TRUE
60 | bus_LV_1100-1_0_2_node_62 | 0.4 | n |  | TRUE
61 | bus_LV_1100-1_0_2_node_63 | 0.4 | n |  | TRUE
62 | bus_LV_1100-1_0_2_node_65 | 0.4 | n |  | TRUE
63 | bus_LV_1100-1_0_2_node_141 | 0.4 | n |  | TRUE
64 | bus_LV_1100-1_0_2_node_148 | 0.4 | n |  | TRUE
65 | bus_LV_1100-1_0_2_node_143 | 0.4 | n |  | TRUE
66 | bus_LV_1100-1_0_2_node_144 | 0.4 | n |  | TRUE
67 | bus_LV_1100-1_0_2_node_145 | 0.4 | n |  | TRUE
68 | bus_MV_472_0_node_27 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_1100-1_0_2_load_0 | 0 | 0.0073806 | 0.0018498 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_1100-1_0_2_load_4 | 3 | 0.0015142 | 0.00037948 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_1100-1_0_2_load_5 | 4 | 0.0068527 | 0.0017174 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_1100-1_0_2_load_6 | 5 | 0.0017745 | 0.00044473 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_1100-1_0_2_load_142 | 7 | 0.0018531 | 0.00046443 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_1100-1_0_2_load_147 | 8 | 0.0045263 | 0.0011344 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_1100-1_0_2_load_7 | 10 | 0.0024273 | 0.00060834 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_1100-1_0_2_load_10 | 13 | 0.003188 | 0.00079898 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_1100-1_0_2_load_12 | 15 | 0.0035602 | 0.00089227 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_1100-1_0_2_load_13 | 16 | 0.00094805 | 0.0002376 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_1100-1_0_2_load_24 | 17 | 0.003502 | 0.00087767 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_1100-1_0_2_load_22 | 18 | 0.0065901 | 0.0016516 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_1100-1_0_2_load_15 | 19 | 0.00073117 | 0.00018325 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_1100-1_0_2_load_16 | 20 | 0.0009807 | 0.00024579 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_1100-1_0_2_load_17 | 21 | 0.0035677 | 0.00089415 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_1100-1_0_2_load_61 | 23 | 0.0017943 | 0.00044968 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_1100-1_0_2_load_20 | 25 | 0.00087397 | 0.00021904 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_1100-1_0_2_load_146 | 26 | 0.0026715 | 0.00066955 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_1100-1_0_2_load_23 | 28 | 0.0029412 | 0.00073714 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_1100-1_0_2_load_57 | 30 | 0.0047769 | 0.0011972 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_1100-1_0_2_load_25 | 31 | 0.0037828 | 0.00094805 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_1100-1_0_2_load_27 | 33 | 0.0012974 | 0.00032516 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_1100-1_0_2_load_28 | 34 | 0.0042602 | 0.0010677 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_1100-1_0_2_load_44 | 36 | 0.0058294 | 0.001461 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_1100-1_0_2_load_52 | 37 | 0.0015714 | 0.00039382 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_1100-1_0_2_load_49 | 38 | 0.0021805 | 0.0005465 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_1100-1_0_2_load_30 | 39 | 0.0043728 | 0.0010959 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_1100-1_0_2_load_31 | 40 | 0.0033563 | 0.00084116 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_1100-1_0_2_load_34 | 42 | 0.0040721 | 0.0010206 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_1100-1_0_2_load_48 | 45 | 0.010454 | 0.0026201 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_1100-1_0_2_load_55 | 47 | 0.0040499 | 0.001015 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_1100-1_0_2_load_58 | 48 | 0.0035501 | 0.00088975 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_1100-1_0_2_load_36 | 49 | 0.0072628 | 0.0018202 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_1100-1_0_2_load_39 | 50 | 0.012428 | 0.0031147 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_1100-1_0_2_load_140 | 51 | 0.0016155 | 0.00040488 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_1100-1_0_2_load_45 | 52 | 0.0064163 | 0.0016081 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_1100-1_0_2_load_50 | 53 | 0.0013718 | 0.00034381 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_1100-1_0_2_load_56 | 54 | 0.0010751 | 0.00026943 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_1100-1_0_2_load_59 | 55 | 0.0022382 | 0.00056094 | 0 | 0 |  | 1 | TRUE | wye
39 | LV_1100-1_0_2_load_137 | 56 | 7.327e-05 | 1.8363e-05 | 0 | 0 |  | 1 | TRUE | wye
40 | LV_1100-1_0_2_load_60 | 58 | 0.001554 | 0.00038948 | 0 | 0 |  | 1 | TRUE | wye
41 | LV_1100-1_0_2_load_62 | 60 | 0.0017494 | 0.00043845 | 0 | 0 |  | 1 | TRUE | wye
42 | LV_1100-1_0_2_load_63 | 61 | 0.0052737 | 0.0013217 | 0 | 0 |  | 1 | TRUE | wye
43 | LV_1100-1_0_2_load_65 | 62 | 0.0015241 | 0.00038198 | 0 | 0 |  | 1 | TRUE | wye
44 | LV_1100-1_0_2_load_141 | 63 | 0.0014441 | 0.00036193 | 0 | 0 |  | 1 | TRUE | wye
45 | LV_1100-1_0_2_load_148 | 64 | 0.0018614 | 0.00046651 | 0 | 0 |  | 1 | TRUE | wye
46 | LV_1100-1_0_2_load_143 | 65 | 0.0016151 | 0.00040478 | 0 | 0 |  | 1 | TRUE | wye
47 | LV_1100-1_0_2_load_144 | 66 | 0.0018356 | 0.00046004 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 40 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_1100-1_0_2_line_0 | NAYY 4x150 SE | 0 | 1 | 0.018815 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
1 | LV_1100-1_0_2_line_1 | NAYY 4x150 SE | 0 | 2 | 0.0018663 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
2 | LV_1100-1_0_2_line_2 | NAYY 4x150 SE | 1 | 3 | 0.0088697 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
3 | LV_1100-1_0_2_line_3 | NAYY 4x150 SE | 2 | 4 | 0.036308 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
4 | LV_1100-1_0_2_line_4 | NAYY 4x150 SE | 2 | 5 | 0.017447 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
5 | LV_1100-1_0_2_line_5 | NAYY 4x150 SE | 3 | 9 | 0.041486 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
6 | LV_1100-1_0_2_line_6 | NAYY 4x150 SE | 5 | 7 | 0.017935 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
7 | LV_1100-1_0_2_line_7 | NAYY 4x150 SE | 6 | 7 | 0.01128 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
8 | LV_1100-1_0_2_line_8 | NAYY 4x150 SE | 6 | 8 | 0.0025102 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
9 | LV_1100-1_0_2_line_9 | NAYY 4x150 SE | 8 | 67 | 0.025717 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
10 | LV_1100-1_0_2_line_10 | NAYY 4x150 SE | 9 | 25 | 0.021277 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
11 | LV_1100-1_0_2_line_11 | NAYY 4x150 SE | 10 | 11 | 0.020268 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
12 | LV_1100-1_0_2_line_12 | NAYY 4x150 SE | 10 | 12 | 0.0055983 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
13 | LV_1100-1_0_2_line_13 | NAYY 4x150 SE | 11 | 13 | 0.057919 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
14 | LV_1100-1_0_2_line_14 | NAYY 4x150 SE | 12 | 14 | 0.037684 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
15 | LV_1100-1_0_2_line_15 | NAYY 4x150 SE | 12 | 15 | 0.015633 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
16 | LV_1100-1_0_2_line_16 | NAYY 4x150 SE | 13 | 16 | 0.021767 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
17 | LV_1100-1_0_2_line_17 | NAYY 4x150 SE | 14 | 17 | 0.017563 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
18 | LV_1100-1_0_2_line_18 | NAYY 4x150 SE | 14 | 18 | 0.016592 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
19 | LV_1100-1_0_2_line_19 | NAYY 4x150 SE | 17 | 30 | 0.0036291 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
20 | LV_1100-1_0_2_line_20 | NAYY 4x150 SE | 18 | 27 | 0.024432 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
21 | LV_1100-1_0_2_line_21 | NAYY 4x150 SE | 19 | 20 | 0.049002 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
22 | LV_1100-1_0_2_line_22 | NAYY 4x150 SE | 19 | 21 | 0.068778 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
23 | LV_1100-1_0_2_line_23 | NAYY 4x150 SE | 20 | 22 | 0.014903 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
24 | LV_1100-1_0_2_line_24 | NAYY 4x150 SE | 22 | 23 | 0.023729 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
25 | LV_1100-1_0_2_line_25 | NAYY 4x150 SE | 22 | 24 | 0.024785 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
26 | LV_1100-1_0_2_line_26 | NAYY 4x150 SE | 23 | 59 | 0.022912 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
27 | LV_1100-1_0_2_line_27 | NAYY 4x150 SE | 24 | 54 | 0.014328 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
28 | LV_1100-1_0_2_line_28 | NAYY 4x150 SE | 24 | 53 | 0.014201 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
29 | LV_1100-1_0_2_line_29 | NAYY 4x150 SE | 25 | 26 | 0.00068184 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
30 | LV_1100-1_0_2_line_30 | NAYY 4x150 SE | 26 | 66 | 0.018495 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
31 | LV_1100-1_0_2_line_31 | NAYY 4x150 SE | 27 | 28 | 0.0050628 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
32 | LV_1100-1_0_2_line_32 | NAYY 4x150 SE | 28 | 29 | 0.041629 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
33 | LV_1100-1_0_2_line_33 | NAYY 4x150 SE | 29 | 50 | 0.035034 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
34 | LV_1100-1_0_2_line_34 | NAYY 4x150 SE | 29 | 49 | 0.010952 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
35 | LV_1100-1_0_2_line_35 | NAYY 4x150 SE | 30 | 43 | 0.0096466 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
36 | LV_1100-1_0_2_line_36 | NAYY 4x150 SE | 31 | 32 | 0.02327 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
37 | LV_1100-1_0_2_line_37 | NAYY 4x150 SE | 31 | 33 | 0.010211 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
38 | LV_1100-1_0_2_line_38 | NAYY 4x150 SE | 32 | 34 | 0.030461 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
39 | LV_1100-1_0_2_line_39 | NAYY 4x150 SE | 32 | 35 | 0.004522 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
40 | LV_1100-1_0_2_line_40 | NAYY 4x150 SE | 34 | 36 | 0.021049 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
41 | LV_1100-1_0_2_line_41 | NAYY 4x150 SE | 35 | 37 | 0.017473 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
42 | LV_1100-1_0_2_line_42 | NAYY 4x150 SE | 35 | 38 | 0.026539 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
43 | LV_1100-1_0_2_line_43 | NAYY 4x150 SE | 36 | 52 | 0.0065398 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
44 | LV_1100-1_0_2_line_44 | NAYY 4x150 SE | 37 | 55 | 0.006383 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
45 | LV_1100-1_0_2_line_45 | NAYY 4x150 SE | 38 | 53 | 0.0043916 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
46 | LV_1100-1_0_2_line_46 | NAYY 4x150 SE | 39 | 40 | 0.015701 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
47 | LV_1100-1_0_2_line_47 | NAYY 4x150 SE | 39 | 41 | 0.022219 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
48 | LV_1100-1_0_2_line_48 | NAYY 4x150 SE | 41 | 42 | 0.036341 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
49 | LV_1100-1_0_2_line_49 | NAYY 4x150 SE | 41 | 43 | 0.016841 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
50 | LV_1100-1_0_2_line_50 | NAYY 4x150 SE | 42 | 47 | 0.0045726 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
51 | LV_1100-1_0_2_line_51 | NAYY 4x150 SE | 43 | 48 | 0.037945 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
52 | LV_1100-1_0_2_line_52 | NAYY 4x150 SE | 44 | 45 | 0.035893 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
53 | LV_1100-1_0_2_line_53 | NAYY 4x150 SE | 44 | 46 | 0.014093 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
54 | LV_1100-1_0_2_line_54 | NAYY 4x150 SE | 46 | 52 | 0.015102 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
55 | LV_1100-1_0_2_line_55 | NAYY 4x150 SE | 47 | 54 | 0.023376 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
56 | LV_1100-1_0_2_line_56 | NAYY 4x150 SE | 50 | 51 | 0.020727 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
57 | LV_1100-1_0_2_line_57 | NAYY 4x150 SE | 51 | 63 | 0.016207 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
58 | LV_1100-1_0_2_line_58 | NAYY 4x150 SE | 55 | 58 | 0.019918 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
59 | LV_1100-1_0_2_line_59 | NAYY 4x150 SE | 56 | 57 | 0.12924 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
60 | LV_1100-1_0_2_line_60 | NAYY 4x150 SE | 57 | 66 | 0.57432 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
61 | LV_1100-1_0_2_line_61 | NAYY 4x150 SE | 59 | 60 | 0.027224 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
62 | LV_1100-1_0_2_line_62 | NAYY 4x150 SE | 60 | 61 | 0.01301 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
63 | LV_1100-1_0_2_line_63 | NAYY 4x150 SE | 61 | 62 | 0.0047427 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
64 | LV_1100-1_0_2_line_64 | NAYY 4x150 SE | 63 | 64 | 0.016045 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
65 | LV_1100-1_0_2_line_65 | NAYY 4x150 SE | 64 | 67 | 0.007294 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
66 | LV_1100-1_0_2_line_66 | NAYY 4x150 SE | 65 | 66 | 0.01561 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_1100-1_0_2_trafo_31 | 0.25 MVA 20/0.4 kV | 68 | 40 | 0.25 | 20 | 0.4 | 6 | 1.44 | 0.8 | 0.32 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5
0 | 2651062.3991 | 1230514.0375 | 2651058.796 | 1230516.4192 | 2651046.7025 | 1230524.4121
1 | 2651045.1455 | 1230525.4412 | 2651046.7025 | 1230524.4121
2 | 2651062.3991 | 1230514.0375 | 2651069.6671 | 1230508.9534
3 | 2651045.1455 | 1230525.4412 | 2651012.8099 | 1230541.9545
4 | 2651045.1455 | 1230525.4412 | 2651053.9755 | 1230540.4882
5 | 2651103.6616 | 1230485.1735 | 2651069.6671 | 1230508.9534
6 | 2651066.629 | 1230541.6302 | 2651057.8211 | 1230547.0413 | 2651053.9755 | 1230540.4882
7 | 2651076.2403 | 1230535.7256 | 2651066.629 | 1230541.6302
8 | 2651076.2403 | 1230535.7256 | 2651078.3425 | 1230534.3539
9 | 2651091.6507 | 1230556.3598 | 2651078.3425 | 1230534.3539
10 | 2651103.6616 | 1230485.1735 | 2651116.1028 | 1230502.4343
11 | 2650925.3955 | 1230483.1772 | 2650930.0463 | 1230502.9042
12 | 2650931.3681 | 1230508.3443 | 2650930.2046 | 1230503.5757 | 2650930.0463 | 1230502.9042
13 | 2650925.3955 | 1230483.1772 | 2650933.8525 | 1230473.8548 | 2650952.5561 | 1230455.8591 | 2650968.9563 | 1230445.5385
14 | 2650947.0695 | 1230541.9332 | 2650941.3595 | 1230534.7576 | 2650935.1616 | 1230523.5197 | 2650933.0232 | 1230517.6198 | 2650931.3681 | 1230508.3443
15 | 2650931.3681 | 1230508.3443 | 2650917.7194 | 1230506.5597 | 2650916.0249 | 1230505.7735
16 | 2650987.8279 | 1230434.6951 | 2650971.0843 | 1230444.1994 | 2650968.9563 | 1230445.5385
17 | 2650947.0695 | 1230541.9332 | 2650932.8031 | 1230552.1763
18 | 2650947.0695 | 1230541.9332 | 2650960.1915 | 1230552.0867
19 | 2650929.8551 | 1230554.2929 | 2650932.8031 | 1230552.1763
20 | 2650979.5143 | 1230567.0381 | 2650960.1915 | 1230552.0867
21 | 2650752.0244 | 1230627.4388 | 2650798.8531 | 1230613.0077
22 | 2650752.0244 | 1230627.4388 | 2650743.3058 | 1230630.1256 | 2650713.877 | 1230636.7455 | 2650684.6163 | 1230640.4183
23 | 2650813.0954 | 1230608.6187 | 2650798.8531 | 1230613.0077
24 | 2650813.0954 | 1230608.6187 | 2650796.9155 | 1230617.664 | 2650793.1312 | 1230621.2194
25 | 2650837.4652 | 1230603.7349 | 2650813.0954 | 1230608.6187
26 | 2650779.9503 | 1230639.7554 | 2650788.6006 | 1230625.4758 | 2650793.1312 | 1230621.2194
27 | 2650837.4652 | 1230603.7349 | 2650850.6605 | 1230598.1508
28 | 2650837.4652 | 1230603.7349 | 2650843.5568 | 1230616.5633
29 | 2651116.1028 | 1230502.4343 | 2651116.5015 | 1230502.9875
30 | 2651127.0132 | 1230518.1985 | 2651123.0627 | 1230512.0905 | 2651116.5015 | 1230502.9875
31 | 2650979.5143 | 1230567.0381 | 2650983.4543 | 1230570.2174
32 | 2651008.5563 | 1230602.9319 | 2651005.7624 | 1230597.5157 | 2651000.9133 | 1230588.8798 | 2650993.5373 | 1230579.9109 | 2650987.4802 | 1230573.466 | 2650983.4543 | 1230570.2174
33 | 2651008.5563 | 1230602.9319 | 2651022.9144 | 1230596.1508 | 2651039.6103 | 1230586.7619
34 | 2651008.5563 | 1230602.9319 | 2651013.2548 | 1230612.8251
35 | 2650922.0191 | 1230559.9191 | 2650929.8551 | 1230554.2929
36 | 2650860.9456 | 1230642.6157 | 2650875.9813 | 1230635.3952 | 2650877.274 | 1230633.9164 | 2650877.15 | 1230631.5917 | 2650876.1587 | 1230629.5178
37 | 2650871.7553 | 1230620.3051 | 2650876.1587 | 1230629.5178
38 | 2650860.9456 | 1230642.6157 | 2650862.4087 | 1230646.0081 | 2650869.0156 | 1230643.085 | 2650871.4179 | 1230647.3526 | 2650874.9609 | 1230645.7819 | 2650879.8266 | 1230655.389
39 | 2650856.8243 | 1230644.5039 | 2650860.9456 | 1230642.6157
40 | 2650879.8266 | 1230655.389 | 2650884.219 | 1230664.0615 | 2650888.8561 | 1230662.0777 | 2650895.0781 | 1230662.9591
41 | 2650856.8243 | 1230644.5039 | 2650841.0271 | 1230651.9711
42 | 2650856.8243 | 1230644.5039 | 2650845.4405 | 1230620.5304
43 | 2650901.5532 | 1230663.8764 | 2650895.0781 | 1230662.9591
44 | 2650841.0271 | 1230651.9711 | 2650835.2563 | 1230654.6989
45 | 2650845.4405 | 1230620.5304 | 2650843.5568 | 1230616.5633
46 | 2650919.4224 | 1230589.0076 | 2650922.5865 | 1230594.4902 | 2650923.3255 | 1230595.764 | 2650925.434 | 1230603.3758
47 | 2650908.3165 | 1230569.7636 | 2650919.4224 | 1230589.0076
48 | 2650908.3165 | 1230569.7636 | 2650875.9279 | 1230586.2453
49 | 2650922.0191 | 1230559.9191 | 2650908.3165 | 1230569.7636
50 | 2650871.8525 | 1230588.3191 | 2650875.9279 | 1230586.2453
51 | 2650922.0191 | 1230559.9191 | 2650910.4707 | 1230554.3501 | 2650899.0249 | 1230531.9853
52 | 2650918.6019 | 1230652.0592 | 2650951.7748 | 1230638.3539
53 | 2650918.6019 | 1230652.0592 | 2650916.5057 | 1230665.9945
54 | 2650916.5057 | 1230665.9945 | 2650901.5532 | 1230663.8764
55 | 2650871.8525 | 1230588.3191 | 2650861.7752 | 1230593.4472 | 2650850.6605 | 1230598.1508
56 | 2651057.6384 | 1230576.5355 | 2651054.7735 | 1230578.2349 | 2651039.6103 | 1230586.7619
57 | 2651071.5775 | 1230568.267 | 2651057.6384 | 1230576.5355
58 | 2650817.249 | 1230663.2109 | 2650835.2563 | 1230654.6989
59 | 2651640.6086 | 1230261.1676 | 2651667.4894 | 1230237.7862 | 2651694.1562 | 1230219.8731 | 2651733.7099 | 1230201.7054 | 2651750.9071 | 1230196.5057
60 | 2651127.0132 | 1230518.1985 | 2651640.6086 | 1230261.1676
61 | 2650779.9503 | 1230639.7554 | 2650787.2016 | 1230663.3544 | 2650787.4937 | 1230665.8738
62 | 2650787.4937 | 1230665.8738 | 2650788.992 | 1230678.7972
63 | 2650789.5382 | 1230683.5083 | 2650788.992 | 1230678.7972
64 | 2651085.3773 | 1230560.0811 | 2651071.5775 | 1230568.267
65 | 2651091.6507 | 1230556.3598 | 2651085.3773 | 1230560.0811
66 | 2651127.0132 | 1230518.1985 | 2651131.2701 | 1230524.7802 | 2651125.2652 | 1230529.7132

## bus_geodata
| x | y | coords
0 | 2651046.7025 | 1230524.4121
1 | 2651062.3991 | 1230514.0375
2 | 2651045.1455 | 1230525.4412
3 | 2651069.6671 | 1230508.9534
4 | 2651012.8099 | 1230541.9545
5 | 2651053.9755 | 1230540.4882
6 | 2651076.2403 | 1230535.7256
7 | 2651066.629 | 1230541.6302
8 | 2651078.3425 | 1230534.3539
9 | 2651103.6616 | 1230485.1735
10 | 2650930.0463 | 1230502.9042
11 | 2650925.3955 | 1230483.1772
12 | 2650931.3681 | 1230508.3443
13 | 2650968.9563 | 1230445.5385
14 | 2650947.0695 | 1230541.9332
15 | 2650916.0249 | 1230505.7735
16 | 2650987.8279 | 1230434.6951
17 | 2650932.8031 | 1230552.1763
18 | 2650960.1915 | 1230552.0867
19 | 2650752.0244 | 1230627.4388
20 | 2650798.8531 | 1230613.0077
21 | 2650684.6163 | 1230640.4183
22 | 2650813.0954 | 1230608.6187
23 | 2650793.1312 | 1230621.2194
24 | 2650837.4652 | 1230603.7349
25 | 2651116.1028 | 1230502.4343
26 | 2651116.5015 | 1230502.9875
27 | 2650979.5143 | 1230567.0381
28 | 2650983.4543 | 1230570.2174
29 | 2651008.5563 | 1230602.9319
30 | 2650929.8551 | 1230554.2929
31 | 2650876.1587 | 1230629.5178
32 | 2650860.9456 | 1230642.6157
33 | 2650871.7553 | 1230620.3051
34 | 2650879.8266 | 1230655.389
35 | 2650856.8243 | 1230644.5039
36 | 2650895.0781 | 1230662.9591
37 | 2650841.0271 | 1230651.9711
38 | 2650845.4405 | 1230620.5304
39 | 2650919.4224 | 1230589.0076
40 | 2650925.434 | 1230603.3758
41 | 2650908.3165 | 1230569.7636
42 | 2650875.9279 | 1230586.2453
43 | 2650922.0191 | 1230559.9191
44 | 2650918.6019 | 1230652.0592
45 | 2650951.7748 | 1230638.3539
46 | 2650916.5057 | 1230665.9945
47 | 2650871.8525 | 1230588.3191
48 | 2650899.0249 | 1230531.9853
49 | 2651013.2548 | 1230612.8251
50 | 2651039.6103 | 1230586.7619
51 | 2651057.6384 | 1230576.5355
52 | 2650901.5532 | 1230663.8764
53 | 2650843.5568 | 1230616.5633
54 | 2650850.6605 | 1230598.1508
55 | 2650835.2563 | 1230654.6989
56 | 2651750.9071 | 1230196.5057
57 | 2651640.6086 | 1230261.1676
58 | 2650817.249 | 1230663.2109
59 | 2650779.9503 | 1230639.7554
60 | 2650787.4937 | 1230665.8738
61 | 2650788.992 | 1230678.7972
62 | 2650789.5382 | 1230683.5083
63 | 2651071.5775 | 1230568.267
64 | 2651085.3773 | 1230560.0811
65 | 2651125.2652 | 1230529.7132
66 | 2651127.0132 | 1230518.1985
67 | 2651091.6507 | 1230556.3598
68 | 2650908.3165 | 1230569.7636

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## res_bus
| vm_pu | va_degree | p_mw | q_mvar
0 | 0.9742 | -0.18173 | 0.0073806 | 0.0018498
1 | 0.97397 | -0.18345 | 0 | 0
2 | 0.97425 | -0.18142 | 0 | 0
3 | 0.97386 | -0.18425 | 0.0015142 | 0.00037948
4 | 0.97388 | -0.18404 | 0.0068527 | 0.0017174
5 | 0.97483 | -0.17722 | 0.0017745 | 0.00044473
6 | 0.97591 | -0.16944 | 0 | 0
7 | 0.97548 | -0.17257 | 0.0018531 | 0.00046443
8 | 0.97601 | -0.16874 | 0.0045263 | 0.0011344
9 | 0.97343 | -0.18737 | 0 | 0
10 | 0.98951 | -0.073018 | 0.0024273 | 0.00060834
11 | 0.98939 | -0.073875 | 0 | 0
12 | 0.98956 | -0.072643 | 0 | 0
13 | 0.98905 | -0.076321 | 0.003188 | 0.00079898
14 | 0.99011 | -0.068752 | 0 | 0
15 | 0.98948 | -0.073211 | 0.0035602 | 0.00089227
16 | 0.98902 | -0.076532 | 0.00094805 | 0.0002376
17 | 0.99204 | -0.055304 | 0.003502 | 0.00087767
18 | 0.98854 | -0.079786 | 0.0065901 | 0.0016516
19 | 0.98779 | -0.085359 | 0.00073117 | 0.00018325
20 | 0.98809 | -0.0832 | 0.0009807 | 0.00024579
21 | 0.98744 | -0.087872 | 0.0035677 | 0.00089415
22 | 0.98821 | -0.082394 | 0 | 0
23 | 0.98785 | -0.084905 | 0.0017943 | 0.00044968
24 | 0.98877 | -0.078434 | 0 | 0
25 | 0.97321 | -0.18897 | 0.00087397 | 0.00021904
26 | 0.9732 | -0.18902 | 0.0026715 | 0.00066955
27 | 0.98646 | -0.094445 | 0 | 0
28 | 0.98602 | -0.097491 | 0.0029412 | 0.00073714
29 | 0.98265 | -0.12137 | 0 | 0
30 | 0.99245 | -0.052403 | 0.0047769 | 0.0011972
31 | 0.98586 | -0.099037 | 0.0037828 | 0.00094805
32 | 0.98603 | -0.097823 | 0 | 0
33 | 0.98584 | -0.099173 | 0.0012974 | 0.00032516
34 | 0.98484 | -0.10627 | 0.0042602 | 0.0010677
35 | 0.98624 | -0.096335 | 0 | 0
36 | 0.98414 | -0.11119 | 0.0058294 | 0.001461
37 | 0.9861 | -0.097298 | 0.0015714 | 0.00039382
38 | 0.98767 | -0.086159 | 0.0021805 | 0.0005465
39 | 0.99821 | -0.012355 | 0.0043728 | 0.0010959
40 | 1 | 0 | -0.16048 | -0.040324
41 | 0.99575 | -0.029425 | 0 | 0
42 | 0.9923 | -0.053588 | 0.0040721 | 0.0010206
43 | 0.99362 | -0.044237 | 0 | 0
44 | 0.98354 | -0.11547 | 0 | 0
45 | 0.983 | -0.11935 | 0.010454 | 0.0026201
46 | 0.98376 | -0.11395 | 0 | 0
47 | 0.99189 | -0.056451 | 0.0040499 | 0.001015
48 | 0.99343 | -0.0456 | 0.0035501 | 0.00088975
49 | 0.98253 | -0.12219 | 0.0072628 | 0.0018202
50 | 0.98018 | -0.13894 | 0.012428 | 0.0031147
51 | 0.97909 | -0.1467 | 0.0016155 | 0.00040488
52 | 0.98398 | -0.11233 | 0.0064163 | 0.0016081
53 | 0.98793 | -0.08438 | 0.0013718 | 0.00034381
54 | 0.98994 | -0.070161 | 0.0010751 | 0.00026943
55 | 0.98607 | -0.097546 | 0.0022382 | 0.00056094
56 | 0.97303 | -0.1905 | 7.327e-05 | 1.8363e-05
57 | 0.97305 | -0.1904 | 0 | 0
58 | 0.98602 | -0.097864 | 0.001554 | 0.00038948
59 | 0.98757 | -0.08691 | 0 | 0
60 | 0.98724 | -0.089292 | 0.0017494 | 0.00043845
61 | 0.98711 | -0.090198 | 0.0052737 | 0.0013217
62 | 0.9871 | -0.090272 | 0.0015241 | 0.00038198
63 | 0.97828 | -0.1525 | 0.0014441 | 0.00036193
64 | 0.97751 | -0.15802 | 0.0018614 | 0.00046651
65 | 0.97307 | -0.18998 | 0.0016151 | 0.00040478
66 | 0.97311 | -0.18972 | 0.0018356 | 0.00046004
67 | 0.97718 | -0.16038 | 0 | 0
68 | 0.99998 | 149.9947 | 0 | 0

## res_line
| p_from_mw | q_from_mvar | p_to_mw | q_to_mvar | pl_mw | ql_mvar | i_from_ka | i_to_ka | i_ka | vm_from_pu | va_from_degree | vm_to_pu | va_to_degree | loading_percent
0 | 0.0085916 | 0.002144 | -0.0085896 | -0.0021435 | 2.0209e-06 | 5.4304e-07 | 0.01312 | 0.01312 | 0.01312 | 0.9742 | -0.18173 | 0.97397 | -0.18345 | 4.8591
1 | -0.015972 | -0.0039938 | 0.015973 | 0.003994 | 6.9295e-07 | 2.4328e-07 | 0.024393 | 0.024393 | 0.024393 | 0.9742 | -0.18173 | 0.97425 | -0.18142 | 9.0344
2 | 0.0085896 | 0.0021435 | -0.0085886 | -0.0021432 | 9.5267e-07 | 2.5604e-07 | 0.01312 | 0.01312 | 0.01312 | 0.97397 | -0.18345 | 0.97386 | -0.18425 | 4.8592
3 | 0.0068551 | 0.0017179 | -0.0068527 | -0.0017174 | 2.4837e-06 | 5.0332e-07 | 0.01047 | 0.01047 | 0.01047 | 0.97425 | -0.18142 | 0.97388 | -0.18404 | 3.8779
4 | -0.022828 | -0.005712 | 0.022841 | 0.0057168 | 1.3232e-05 | 4.8718e-06 | 0.034863 | 0.034863 | 0.034863 | 0.97425 | -0.18142 | 0.97483 | -0.17722 | 12.9122
5 | 0.0070745 | 0.0017637 | -0.0070714 | -0.0017631 | 3.023e-06 | 6.4674e-07 | 0.010806 | 0.010806 | 0.010806 | 0.97386 | -0.18425 | 0.97343 | -0.18737 | 4.0023
6 | -0.024616 | -0.0061616 | 0.024632 | 0.0061674 | 1.5798e-05 | 5.8526e-06 | 0.037572 | 0.037571 | 0.037572 | 0.97483 | -0.17722 | 0.97548 | -0.17257 | 13.9154
7 | 0.026496 | 0.0066361 | -0.026485 | -0.0066319 | 1.1487e-05 | 4.2774e-06 | 0.040398 | 0.040398 | 0.040398 | 0.97591 | -0.16944 | 0.97548 | -0.17257 | 14.9623
8 | -0.026496 | -0.0066361 | 0.026499 | 0.0066371 | 2.5563e-06 | 9.5184e-07 | 0.040398 | 0.040398 | 0.040398 | 0.97591 | -0.16944 | 0.97601 | -0.16874 | 14.9623
9 | -0.031025 | -0.0077715 | 0.031061 | 0.007785 | 3.5901e-05 | 1.3486e-05 | 0.047299 | 0.047299 | 0.047299 | 0.97601 | -0.16874 | 0.97718 | -0.16038 | 17.5181
10 | 0.0070714 | 0.0017631 | -0.0070699 | -0.0017628 | 1.5505e-06 | 3.3189e-07 | 0.010806 | 0.010806 | 0.010806 | 0.97343 | -0.18737 | 0.97321 | -0.18897 | 4.0024
11 | 0.0041379 | 0.001036 | -0.0041374 | -0.0010361 | 4.8965e-07 | -7.1992e-08 | 0.0062222 | 0.0062223 | 0.0062223 | 0.98951 | -0.073018 | 0.98939 | -0.073875 | 2.3046
12 | -0.0065652 | -0.0016444 | 0.0065656 | 0.0016444 | 3.4047e-07 | 5.9034e-08 | 0.0098723 | 0.0098723 | 0.0098723 | 0.98951 | -0.073018 | 0.98956 | -0.072643 | 3.6564
13 | 0.0041374 | 0.0010361 | -0.004136 | -0.0010363 | 1.3994e-06 | -2.0535e-07 | 0.0062223 | 0.0062226 | 0.0062226 | 0.98939 | -0.073875 | 0.98905 | -0.076321 | 2.3046
14 | -0.010126 | -0.0025366 | 0.010131 | 0.0025382 | 5.4515e-06 | 1.6123e-06 | 0.015226 | 0.015226 | 0.015226 | 0.98956 | -0.072643 | 0.99011 | -0.068752 | 5.6393
15 | 0.0035605 | 0.00089218 | -0.0035602 | -0.00089227 | 2.7962e-07 | -9.3273e-08 | 0.0053539 | 0.0053539 | 0.0053539 | 0.98956 | -0.072643 | 0.98948 | -0.073211 | 1.9829
16 | 0.00094808 | 0.00023734 | -0.00094805 | -0.0002376 | 2.7633e-08 | -2.6871e-07 | 0.0014263 | 0.0014264 | 0.0014264 | 0.98905 | -0.076321 | 0.98902 | -0.076532 | 0.52829
17 | -0.07599 | -0.01913 | 0.076133 | 0.019184 | 0.00014301 | 5.4777e-05 | 0.11423 | 0.11423 | 0.11423 | 0.99011 | -0.068752 | 0.99204 | -0.055304 | 42.3087
18 | 0.065859 | 0.016591 | -0.065757 | -0.016553 | 0.00010149 | 3.882e-05 | 0.099008 | 0.099008 | 0.099008 | 0.99011 | -0.068752 | 0.98854 | -0.079786 | 36.6695
19 | -0.079635 | -0.020062 | 0.079667 | 0.020074 | 3.2331e-05 | 1.2388e-05 | 0.11949 | 0.11949 | 0.11949 | 0.99204 | -0.055304 | 0.99245 | -0.052403 | 44.2542
20 | 0.059167 | 0.014901 | -0.059046 | -0.014855 | 0.000121 | 4.6225e-05 | 0.089088 | 0.089088 | 0.089088 | 0.98854 | -0.079786 | 0.98646 | -0.094445 | 32.9955
21 | -0.0043001 | -0.001077 | 0.0043014 | 0.0010769 | 1.2829e-06 | -1.3404e-07 | 0.0064774 | 0.0064772 | 0.0064774 | 0.98779 | -0.085359 | 0.98809 | -0.0832 | 2.3991
22 | 0.0035689 | 0.00089374 | -0.0035677 | -0.00089415 | 1.2404e-06 | -4.0301e-07 | 0.005376 | 0.0053763 | 0.0053763 | 0.98779 | -0.085359 | 0.98744 | -0.087872 | 1.9912
23 | -0.0052821 | -0.0013226 | 0.0052827 | 0.0013227 | 5.8836e-07 | 3.5378e-08 | 0.0079541 | 0.007954 | 0.0079541 | 0.98809 | -0.0832 | 0.98821 | -0.082394 | 2.946
24 | 0.010351 | 0.0025944 | -0.010348 | -0.0025933 | 3.5972e-06 | 1.0796e-06 | 0.015587 | 0.015587 | 0.015587 | 0.98821 | -0.082394 | 0.98785 | -0.084905 | 5.7728
25 | -0.015634 | -0.003917 | 0.015642 | 0.00392 | 8.5705e-06 | 2.9786e-06 | 0.023541 | 0.02354 | 0.023541 | 0.98821 | -0.082394 | 0.98877 | -0.078434 | 8.7187
26 | 0.0085533 | 0.0021436 | -0.0085509 | -0.002143 | 2.3733e-06 | 6.1955e-07 | 0.012884 | 0.012884 | 0.012884 | 0.98785 | -0.084905 | 0.98757 | -0.08691 | 4.7719
27 | -0.056764 | -0.014245 | 0.056829 | 0.01427 | 6.5255e-05 | 2.4914e-05 | 0.085431 | 0.085431 | 0.085431 | 0.98877 | -0.078434 | 0.98994 | -0.070161 | 31.6413
28 | 0.041121 | 0.010325 | -0.041087 | -0.010312 | 3.3944e-05 | 1.2874e-05 | 0.061891 | 0.061891 | 0.061891 | 0.98877 | -0.078434 | 0.98793 | -0.08438 | 22.9226
29 | 0.0061959 | 0.0015437 | -0.0061959 | -0.0015437 | 3.8158e-08 | 6.2038e-09 | 0.0094702 | 0.0094702 | 0.0094702 | 0.97321 | -0.18897 | 0.9732 | -0.18902 | 3.5075
30 | 0.0035243 | 0.00087417 | -0.003524 | -0.00087428 | 3.3473e-07 | -1.0105e-07 | 0.0053854 | 0.0053855 | 0.0053855 | 0.9732 | -0.18902 | 0.97311 | -0.18972 | 1.9946
31 | 0.059046 | 0.014855 | -0.059021 | -0.014845 | 2.5073e-05 | 9.5789e-06 | 0.089088 | 0.089088 | 0.089088 | 0.98646 | -0.094445 | 0.98602 | -0.097491 | 32.9955
32 | 0.05608 | 0.014108 | -0.055894 | -0.014037 | 0.00018613 | 7.106e-05 | 0.084649 | 0.084649 | 0.084649 | 0.98602 | -0.097491 | 0.98265 | -0.12137 | 31.3517
33 | 0.04863 | 0.012217 | -0.048511 | -0.012171 | 0.00011858 | 4.5166e-05 | 0.07365 | 0.07365 | 0.07365 | 0.98265 | -0.12137 | 0.98018 | -0.13894 | 27.2779
34 | 0.0072636 | 0.0018204 | -0.0072628 | -0.0018202 | 8.2682e-07 | 1.7928e-07 | 0.010999 | 0.010999 | 0.010999 | 0.98265 | -0.12137 | 0.98253 | -0.12219 | 4.0738
35 | -0.084444 | -0.021272 | 0.084541 | 0.021309 | 9.6551e-05 | 3.701e-05 | 0.12665 | 0.12665 | 0.12665 | 0.99245 | -0.052403 | 0.99362 | -0.044237 | 46.9069
36 | -0.0050802 | -0.0012731 | 0.0050811 | 0.0012731 | 8.5374e-07 | 3.1596e-08 | 0.0076678 | 0.0076677 | 0.0076678 | 0.98586 | -0.099037 | 0.98603 | -0.097823 | 2.8399
37 | 0.0012974 | 0.00032504 | -0.0012974 | -0.00032516 | 2.4435e-08 | -1.208e-07 | 0.0019583 | 0.0019583 | 0.0019583 | 0.98586 | -0.099037 | 0.98584 | -0.099173 | 0.7253
38 | 0.02702 | 0.0067783 | -0.026988 | -0.0067666 | 3.1607e-05 | 1.1769e-05 | 0.040778 | 0.040779 | 0.040779 | 0.98603 | -0.097823 | 0.98484 | -0.10627 | 15.1032
39 | -0.032101 | -0.0080515 | 0.032108 | 0.0080539 | 6.6227e-06 | 2.4895e-06 | 0.048446 | 0.048446 | 0.048446 | 0.98603 | -0.097823 | 0.98624 | -0.096335 | 17.943
40 | 0.022728 | 0.0056989 | -0.022713 | -0.0056932 | 1.5491e-05 | 5.6902e-06 | 0.034342 | 0.034342 | 0.034342 | 0.98484 | -0.10627 | 0.98414 | -0.11119 | 12.7192
41 | 0.0053645 | 0.001344 | -0.0053638 | -0.001344 | 7.1426e-07 | 5.1777e-08 | 0.0080937 | 0.0080938 | 0.0080938 | 0.98624 | -0.096335 | 0.9861 | -0.097298 | 2.9977
42 | -0.037472 | -0.009398 | 0.037525 | 0.009418 | 5.2939e-05 | 2.0022e-05 | 0.05654 | 0.05654 | 0.05654 | 0.98624 | -0.096335 | 0.98767 | -0.086159 | 20.9407
43 | 0.016883 | 0.0042322 | -0.016881 | -0.0042312 | 2.6594e-06 | 9.3974e-07 | 0.025528 | 0.025528 | 0.025528 | 0.98414 | -0.11119 | 0.98398 | -0.11233 | 9.4547
44 | 0.0037924 | 0.00095016 | -0.0037923 | -0.00095019 | 1.3044e-07 | -3.1258e-08 | 0.0057226 | 0.0057226 | 0.0057226 | 0.9861 | -0.097298 | 0.98607 | -0.097546 | 2.1195
45 | -0.039706 | -0.0099645 | 0.039716 | 0.0099682 | 9.8079e-06 | 3.716e-06 | 0.059825 | 0.059825 | 0.059825 | 0.98767 | -0.086159 | 0.98793 | -0.08438 | 22.1574
46 | -0.1594 | -0.040218 | 0.15968 | 0.040324 | 0.00027682 | 0.00010606 | 0.23771 | 0.23771 | 0.23771 | 0.99821 | -0.012355 | 1 | 0 | 44.0209
47 | 0.15503 | 0.039122 | -0.15466 | -0.03898 | 0.00037054 | 0.00014193 | 0.23119 | 0.23119 | 0.23119 | 0.99821 | -0.012355 | 0.99575 | -0.029425 | 42.8138
48 | 0.066385 | 0.016712 | -0.066161 | -0.016626 | 0.00022328 | 8.5408e-05 | 0.099229 | 0.099229 | 0.099229 | 0.99575 | -0.029425 | 0.9923 | -0.053588 | 36.7515
49 | 0.088275 | 0.022268 | -0.088092 | -0.022198 | 0.00018301 | 7.017e-05 | 0.13197 | 0.13197 | 0.13197 | 0.99575 | -0.029425 | 0.99362 | -0.044237 | 48.8763
50 | 0.062089 | 0.015606 | -0.062064 | -0.015596 | 2.4744e-05 | 9.4577e-06 | 0.093123 | 0.093123 | 0.093123 | 0.9923 | -0.053588 | 0.99189 | -0.056451 | 34.4899
51 | 0.0035508 | 0.00088951 | -0.0035501 | -0.00088975 | 6.695e-07 | -2.3388e-07 | 0.0053174 | 0.0053176 | 0.0053176 | 0.99362 | -0.044237 | 0.99343 | -0.0456 | 1.9695
52 | 0.01046 | 0.0026218 | -0.010454 | -0.0026201 | 5.609e-06 | 1.702e-06 | 0.015825 | 0.015825 | 0.015825 | 0.98354 | -0.11547 | 0.983 | -0.11935 | 5.8612
53 | -0.01046 | -0.0026218 | 0.010462 | 0.0026225 | 2.2023e-06 | 6.6815e-07 | 0.015825 | 0.015825 | 0.015825 | 0.98354 | -0.11547 | 0.98376 | -0.11395 | 5.8611
54 | -0.010462 | -0.0026225 | 0.010464 | 0.0026232 | 2.3599e-06 | 7.1588e-07 | 0.015825 | 0.015825 | 0.015825 | 0.98376 | -0.11395 | 0.98398 | -0.11233 | 5.8611
55 | 0.058015 | 0.014581 | -0.057904 | -0.014539 | 0.00011053 | 4.2209e-05 | 0.087047 | 0.087047 | 0.087047 | 0.99189 | -0.056451 | 0.98994 | -0.070161 | 32.2398
56 | 0.036084 | 0.0090567 | -0.036045 | -0.009042 | 3.8818e-05 | 1.4669e-05 | 0.054784 | 0.054784 | 0.054784 | 0.98018 | -0.13894 | 0.97909 | -0.1467 | 20.2904
57 | 0.034429 | 0.0086372 | -0.034402 | -0.0086267 | 2.7693e-05 | 1.0448e-05 | 0.052329 | 0.052329 | 0.052329 | 0.97909 | -0.1467 | 0.97828 | -0.1525 | 19.3811
58 | 0.0015541 | 0.00038925 | -0.001554 | -0.00038948 | 6.8356e-08 | -2.2777e-07 | 0.0023451 | 0.0023452 | 0.0023452 | 0.98607 | -0.097546 | 0.98602 | -0.097864 | 0.8686
59 | -7.327e-05 | -1.8363e-05 | 7.3271e-05 | 1.6758e-05 | 1.0074e-09 | -1.605e-06 | 0.00011205 | 0.00011149 | 0.00011205 | 0.97303 | -0.1905 | 0.97305 | -0.1904 | 0.0415
60 | -7.3271e-05 | -1.6758e-05 | 7.3276e-05 | 9.6255e-06 | 4.3707e-09 | -7.1327e-06 | 0.00011149 | 0.00010962 | 0.00011149 | 0.97305 | -0.1904 | 0.97311 | -0.18972 | 0.041294
61 | 0.0085509 | 0.002143 | -0.0085481 | -0.0021423 | 2.82e-06 | 7.3639e-07 | 0.012884 | 0.012884 | 0.012884 | 0.98757 | -0.08691 | 0.98724 | -0.089292 | 4.7719
62 | 0.0067987 | 0.0017038 | -0.0067978 | -0.0017036 | 8.5248e-07 | 1.6155e-07 | 0.010247 | 0.010247 | 0.010247 | 0.98724 | -0.089292 | 0.98711 | -0.090198 | 3.7953
63 | 0.0015242 | 0.00038193 | -0.0015241 | -0.00038198 | 1.5622e-08 | -5.4618e-08 | 0.0022976 | 0.0022976 | 0.0022976 | 0.98711 | -0.090198 | 0.9871 | -0.090272 | 0.85096
64 | 0.032958 | 0.0082648 | -0.032933 | -0.0082553 | 2.5163e-05 | 9.4767e-06 | 0.050132 | 0.050132 | 0.050132 | 0.97828 | -0.1525 | 0.97751 | -0.15802 | 18.5675
65 | 0.031071 | 0.0077888 | -0.031061 | -0.007785 | 1.0182e-05 | 3.8249e-06 | 0.047299 | 0.047299 | 0.047299 | 0.97751 | -0.15802 | 0.97718 | -0.16038 | 17.5181
66 | -0.0016151 | -0.00040478 | 0.0016152 | 0.00040461 | 5.9414e-08 | -1.7106e-07 | 0.0024698 | 0.0024697 | 0.0024698 | 0.97307 | -0.18998 | 0.97311 | -0.18972 | 0.91474

## res_trafo
| p_hv_mw | q_hv_mvar | p_lv_mw | q_lv_mvar | pl_mw | ql_mvar | i_hv_ka | i_lv_ka | vm_hv_pu | va_hv_degree | vm_lv_pu | va_lv_degree | loading_percent
0 | 2.5187e-16 | 8.8016e-16 | 0.00079998 | 7.4552e-08 | 0.00079998 | 7.4552e-08 | 2.6429e-17 | 0.0011547 | 0.99998 | 149.9947 | 1 | 0 | 0.31999

## res_ext_grid
| p_mw | q_mvar
0 | 0.16384 | 0.041165

## res_load
| p_mw | q_mvar
0 | 0.0073806 | 0.0018498
1 | 0.0015142 | 0.00037948
2 | 0.0068527 | 0.0017174
3 | 0.0017745 | 0.00044473
4 | 0.0018531 | 0.00046443
5 | 0.0045263 | 0.0011344
6 | 0.0024273 | 0.00060834
7 | 0.003188 | 0.00079898
8 | 0.0035602 | 0.00089227
9 | 0.00094805 | 0.0002376
10 | 0.003502 | 0.00087767
11 | 0.0065901 | 0.0016516
12 | 0.00073117 | 0.00018325
13 | 0.0009807 | 0.00024579
14 | 0.0035677 | 0.00089415
15 | 0.0017943 | 0.00044968
16 | 0.00087397 | 0.00021904
17 | 0.0026715 | 0.00066955
18 | 0.0029412 | 0.00073714
19 | 0.0047769 | 0.0011972
20 | 0.0037828 | 0.00094805
21 | 0.0012974 | 0.00032516
22 | 0.0042602 | 0.0010677
23 | 0.0058294 | 0.001461
24 | 0.0015714 | 0.00039382
25 | 0.0021805 | 0.0005465
26 | 0.0043728 | 0.0010959
27 | 0.0033563 | 0.00084116
28 | 0.0040721 | 0.0010206
29 | 0.010454 | 0.0026201
30 | 0.0040499 | 0.001015
31 | 0.0035501 | 0.00088975
32 | 0.0072628 | 0.0018202
33 | 0.012428 | 0.0031147
34 | 0.0016155 | 0.00040488
35 | 0.0064163 | 0.0016081
36 | 0.0013718 | 0.00034381
37 | 0.0010751 | 0.00026943
38 | 0.0022382 | 0.00056094
39 | 7.327e-05 | 1.8363e-05
40 | 0.001554 | 0.00038948
41 | 0.0017494 | 0.00043845
42 | 0.0052737 | 0.0013217
43 | 0.0015241 | 0.00038198
44 | 0.0014441 | 0.00036193
45 | 0.0018614 | 0.00046651
46 | 0.0016151 | 0.00040478
47 | 0.0018356 | 0.00046004

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object
62 | res_bus | vm_pu | float64
63 | res_bus | va_degree | float64
64 | res_bus | p_mw | float64
65 | res_bus | q_mvar | float64
66 | res_line | p_from_mw | float64
67 | res_line | q_from_mvar | float64
68 | res_line | p_to_mw | float64
69 | res_line | q_to_mvar | float64
70 | res_line | pl_mw | float64
71 | res_line | ql_mvar | float64
72 | res_line | i_from_ka | float64
73 | res_line | i_to_ka | float64
74 | res_line | i_ka | float64
75 | res_line | vm_from_pu | float64
76 | res_line | va_from_degree | float64
77 | res_line | vm_to_pu | float64
78 | res_line | va_to_degree | float64
79 | res_line | loading_percent | float64
80 | res_trafo | p_hv_mw | float64
81 | res_trafo | q_hv_mvar | float64
82 | res_trafo | p_lv_mw | float64
83 | res_trafo | q_lv_mvar | float64
84 | res_trafo | pl_mw | float64
85 | res_trafo | ql_mvar | float64
86 | res_trafo | i_hv_ka | float64
87 | res_trafo | i_lv_ka | float64
88 | res_trafo | vm_hv_pu | float64
89 | res_trafo | va_hv_degree | float64
90 | res_trafo | vm_lv_pu | float64
91 | res_trafo | va_lv_degree | float64
92 | res_trafo | loading_percent | float64
93 | res_ext_grid | p_mw | float64
94 | res_ext_grid | q_mvar | float64
95 | res_load | p_mw | float64
96 | res_load | q_mvar | float64

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | TRUE | FALSE |  | 50 | 1